838

MINERAL AND ROCK SAMPLE DATABASE
PLANETARY SPECTROPHOTOMETER FACILITY (PSF)

UNIVERSITY OF WINNIPEG

Dr. Edward A. Cloutis – Director, PSF
Last updated: October 5, 2023
TABLE OF CONTENTS
5A. Explanatory Notes for Sample Database


8A.1. Notes on Analytical Data


9A.2. Notes on Spectral Files


101. Elements and Standards


492. Silicates


492.1. Pyroxenes


1202.2. Olivines


1462.3. Feldspars


1632.4. Amphiboles


1662.5. Garnets


1792.6. Melilites


1832.7. Zircons


1862.8. Framework Silicates - Miscellaneous


1892.9. Scapolites


1922.10. Zeolites


2142.11. Other Silicates


2603. Clays (Phyllosilicates)


3234. Borates, Nitrates, Nitrites, Phosphates


3455. Carbonates, Oxalates, Acetates, Formates


4126. Hydroxides


4267. Bromides, Chlorides, Fluorides, Perchlorates


4348. Sulfates


4759. Oxides


4759.1. Spinels


4939.2. Magnetites


5119.3. Chromites


5179.4. Perovskites


5219.5. Ilmenites


5369.6. Other Oxides


55210. Metals and “Ides”


57611. Basalts and Igneous Samples


62312. Palagonites and Planetary Regolith Analogues


66313. Lunar Samples, Analogues, and Glasses


71314. Chromates


71415. Mineral Mixtures


83316. Meteorites, Tektites, and Impactites


110517. Boreal Rocks, Lichens, and Serpentinites


112918. Organics


112918.1. Coals


114418.2. Athabasca Oil Sands


115418.3. Other Organics (Non-coal, non-oil sands)


116318.4. Hosterman (USGS) Organic Samples


118118.5. Synthetic Organics


120019. Pigments – Art Analysis


125820. Analogue Sites


125820.1. East German Creek Area – MB, Canada


130520.2. Gypsumville - Lake St. Martin Crater area, MB, Canada


135220.3. Impact Products  - Tasmania and Sudbury, ON, Canada


135420.4. Eagle Butte Crater, AB, Canada


135520.5. Poplar Bay, MB, Canada


135620.6. Haughton Crater, Devon Island, NT, Canada


136820.7. Mistastin crater, NL, Canada


130520.8. West Hawk Lake, MB, Canada


137220.9. Frank Slide, AB, Canada


137320.10. Saline Lakes, SK, Canada


138920.11. Ormiston, SK, Canada


139120.12. Bird River Sill, MB, Canada


139220.13. Hecla Island, MB, Canada


139420.14. Central Manitoba and San Gold Mines, MB, Canada


140020.15. Iceland


143420.16. Navajo Sandstone iron concretions


143520.17. Greece


145520.18. Serpentinites – QC, Canada


148420.19. Morin Anorthosite Area, QC, Canada


149220.20. Algal mats – Gypsumville, East German Creek, MB, Canada


149420.21. Axel Heiberg Island, NWT, Canada


149920.22. Smoking Hills, Cape Bathurst, NWT, Canada


150020.23. Nova Scotia, Canada


150320.24. Newfoundland and Labrador, Canada


150720.25. Monteregian Hills Kimberlites/polymict breccias, QC, Canada


150820.26. Charlevoix Impact Structure, QC, Canada


151620.27. Dome Mine, ON, Canada


152020.28. International Space Analogue Rockstore (ISAR)


153020.29. Meriden, CT, USA - Pillow Basalts


153520.30. Big Spring Hill Provincial Park, AB, Canada


153720.31. British Columbia, Canada


156320.32. Rift Valley, Oloomirani, Kenya


156420.33. Utah


159720.34. Whiteshell region, MB, Canada


159820.35. Ontario


161320.36. California


161520.37. Manitoba, Canada


163620.38. Kidd Creek Mine and area, Timmins, ON, Canada


164620.39. Antarctica


164920.40. Arizona


165420.41. Hawaii


166220.42. South Africa


166320.43. Tanzania


166420.44. Italy


166720.45. Spain and Canary Islands


169920.46. Australia


170320.47. Alberta


170420.48. Magnesite Lakes – Ian Power


171221. Fossils


171422. Environment Chamber Runs and NOMAD


175923. Miscellaneous Samples


176824. Marble: Greece


178325. Elkford BC, Canada (Kimberlite)


178426. Vegetation


179027. Acid Dissolution Experiments


179428. Phase Angle Measurements


180229. Dust and Optical Constant Spectra


182130. Samples for LIBS Analysis (from CSA)


182831. Mercury Analogues


183032. Glove Box Samples (Air-sensitive)


183233. Biologically-Precipitated Minerals


183534. Simulated Mars Heating Experiments


183735. Coal-Fired Power Plant Materials: AB, Canada


184036. Underdense regolith simulations


184137. Ammonium-Bearing Minerals


184338. High Pressure Phases


184439. Laboratory Space Weathering


185040.  Wagner/Hapke UV spectra


185241.  Single-grain spectroscopy


186242.  Samples for TREX SSERVI


187243.  Samples for Bill Buhay (Summer 2019)


187444.  Samples for possible flight on ManitobaSat-1 cubesat (2018)


188345. LiRS Raman+LIBS Testing


188946. Mn-rich samples (from Nina Lanza – Sept. 2020)


189147. Precipitates for SCAM detection of salts – Juanma (Juan Manuel) Madariaga (August, 2020)


189348. OSIRIS-REx Mission


1912B.  References





A. Explanatory Notes for Sample Database
This document is designed to provide users with information on samples, associated analytical data, and spectral files associated with the Planetary Spectrophotometer Facility (PSF) at the University of Winnipeg.

It is intended to serve as the first stop in searching for and downloading spectral data, or searching for samples that may be of interest.

This document is organized somewhat randomly in the sense that many of the sections do not correspond particularly well to established mineral groups. This document and the sections have evolved as new samples have been added to this document over the years, usually by adding new sections as necessary to the end of the document.

There are two major groupings: minerals and samples from specific localities or regions, as well as other miscellaneous groups of materials. To find specific types of samples, an easy approach would be to use a Search or Find function in a word processing program.

For most of the sections, and where available, the samples are organized in the following order: (a) sample descriptions, (b) X-ray diffraction data; (c) compositional data, and (d) spectral data.

a. Sample Descriptions

Most samples use a six character identifier: three letters followed by three numbers. Depending on the source, some samples may have additional identifiers associated with the source from which the samples were procured. In some cases, samples are not housed at the University of Winnipeg, but were characterized for other investigators. 

Where available, the format that we use is: sample type, locality, (source of sample), purity, and any other information such as supplier sample number, purity, form of sample, etc.
b. X-ray Diffraction Data
X-ray diffractometry (XRD), generally on powdered samples, is used to help in the identification of phase(s) present in the various samples. XRD data are present in both analogue and digital formats. In some cases, the data are of high enough quality, that absolute phase abundances can be determined.

c. Compositional Data

Compositional data have been acquired from a number of sources or using different analytical techniques. The most common are electron microprobe analysis (EMPA), where compositions are an average of a number of point analyses, or X-ray fluorescence analysis, which utilizes ~1-3 grams of sample and is more representative of average or bulk composition. Where ferrous and ferric iron abundances are given, normally ferrous iron has been determined by wet chemistry; ferric iron content in these cases is the difference between total and ferrous iron content.

For some samples, atomic proportions have been calculated, and the methodology for this is provided below.
For a number of samples, their purity has been assessed qualitatively by powder X-ray diffractometry. Phases identified by XRD are provided where available.

d. Spectral Data

The bulk of the spectral data are reflectance spectra, although increasing numbers of Raman and thermal emission data are being added to the database.

Spectral data are organized into three columns. The first column is the sample ID (as described above), the second column provides the source of the data, usually the Reflectance Experiment Laboratory (RELAB) in the Department of Geological Sciences at Brown University (http://www.planetary.brown.edu/relabdocs/relab.htm), or the Planetary Spectrophotometer Facility (PSF) at the University of Winnipeg (http://psf.uwinnipeg.ca). The third column provides information on the physical nature of the sample and spectral measurement conditions, instrument used, and source directory. For example, a listing such as:

PYX003
PSF 031223a.001
<45 µm; 0.35-2.5 µm; i=30º, e=0º; 1 nm spectral output; ASD (directory 031223_pyroxenes)

would indicate that a spectral reflectance measurement exists for, in this example, a pyroxene (PYX003). A <45 µm powder was spectrally characterized from 0.35 to 2.5 microns, with a viewing geometry of 0º incidence angle (i) and 30º emission angle (e). The PSF Analytical Spectral Devices (ASD) FieldSpecPro High Resolution spectrometer was used for the measurements; its spectral resolution varies between ~2 and ~7 nm over the 0.35-2.5 µm range, with a 1.4 nanometre sampling interval; the data is internally resampled/interpolated by the instrument to output data at 1 nanometre intervals. For internal purposes only, we also note the directory in which the spectrum resides: in this case, the spectrum resides in the directory 031223_pyroxenes. Recently we have tried to implement a consistent directory structure using 6 digits which correspond to year (2 digits)-month (2 digits)-day(2 digits), followed by any additional descriptors that may be appropriate, so in this case the user would know that the spectra were measured on December 23, 2003.

Other commonly used PSF spectrometers include:

· an Ocean Optics S2000 spectrometer (labelled S2000 in the data base) that can acquire data from 200 to ~860 or 1100 nanometres with sub-nm resolution. In many cases, data acquired by this instrument were measured over two discrete intervals to optimize signal to noise: 200-400 and 400-1100 nm.

· an Ocean Optics Maya spectrometer (labelled Maya in the database) that can acquire data from ~190 to ~1100 nanometres with sub-nm resolution. 

· a Bruker Vertex 70 Fourier-transform infrared spectrometer. It has been used to date, largely to acquire reflectance spectra and can be interfaced with various accessories to measure bidirectional reflectance spectra over a range of angles. By changing beam splitters, light sources, and detectors, a wide wavelength range is accessible with varying spectral resolution.
· A Designs and Prototypes Model 102F field-portable Fourier transform infrared spectrometer, with a wavelength range of 2 to 16 microns.

Spectrometer Facilities that have provided data included in this database include:

PIMA = Spectral Research PIMA Instrument

PSF = University of Winnipeg Planetary Spectrophotometer Facility

RELAB= Brown University RELAB facility; this includes the RELAB instrument as well as the facility's Nicolet FTIR spectrometer.
UH= University of Hawaii spectrogoniometer

USGS= US Geological Survey spectrometer facility of Roger Clark in Colorado. Spectra measured using an integrating sphere.
The spectral data that are provided on the PSF web site have been organized into Excel spreadsheets to allow for easier dissemination and to minimize the need for external users to import and edit spectral files. We have attempted, as much as possible to provide header information in a consistent format. Data from both RELAB, where a large number of spectra were acquired, and continue to be acquired, and PSF data are available.

A.1. Notes on Analytical Data
1. 
In the sections concerning the number of ions on the basis of x oxygens (and ions normalized to 24 for the non-oxides), the sums do not always agree with the sums obtained by adding up the numbers in the tables. This is due to the fact that an extra decimal place was used in the calculations in order to more accurately account for the trace (tr.) elements which are present in amounts less than 0.001.

CALCULATION OF CHEMICAL FORMULAS FROM THE ANALYSES.

The weight percentage of each oxide from the analytical table is divided by its respective molecular weight. This number represents the molecular proportions of the various oxides. This number is then multiplied by the number of oxygen atoms in the oxide. These totals are added up and multiplied by the factor required to bring the total oxygens to some predetermined total. The recalculated oxygen totals are used to calculate the elemental totals as follows. The number of cations to oxygen determines this factor. In the case of SiO2 for example, the SiO2 oxygen total is divided by 2 to obtain the Si abundance. The analytical procedure is detailed below.

Oxide
(1)

(1a)

    (2)

   (3)

   (4)


   (5)



Wt.% 
Molecular
molecular
atomic

No. of 


No. of



Oxides
weight
proportion
proportion
anions on

ions in








of oxides
of oxygen
basis of 24 oxygens
formula


SiO2
51.63
60.08
0.8593

1.7186

14.392


Si
7.20

Al2O3
 7.39
101.96
0.0725

0.2175

 1.821


Al
0.80














Al
0.41

Fe2O3
 2.50
159.69
0.0157

0.0471

 0.394


Fe3+
0.26

FeO
 
 5.30
71.84
0.0738

0.0738

 0.618


Fe2+
0.62

MnO
 0.17
70.94
0.0024

0.0024

 0.021


Mn
0.02

MgO
18.09
40.30
0.4487

0.4487

 3.758


Mg
3.76

CaO
12.32
56.08
0.2197

0.2197

 1.840


Ca
1.84

Na2O
 0.61
61.98
0.0098

0.0098

 0.082


Na
0.16

H2O+
 2.31
18.02
0.1283

0.1283

 1.074


OH
2.15

_______________



_______


_______________________

Total
100.32




2.8659



      Total
17.22



   24    = 8.3743



 2.8659



Column 1 lists the composition of the mineral expressed in the usual manner as weight percentages of the constituent oxides.



Column 2 is derived by dividing each column 1 entry by the molecular weight of the oxide concerned (column 1a). The figures so obtained therefore express the molecular proportions of the various oxides.

Column 3 is derived from column 2 by multiplying the number of oxygen atoms in the oxide concerned. It thus gives a set of numbers proportional to the number of oxygen atoms associated with each of the elements concerned. At the foot of column 3 is the total (T).

If we require the formula based on 24 oxygen atoms (this represents half the content of the unit cell) we need to re-cast the oxygen atom proportions so that they total 24. This is done by multiplying all of them by 24/T and the results are given in Column 4,

Column 5 gives the number of cations associated with the oxygens in column 4. Thus for SiO2 there is one silicon for two oxygens so the column 4 entry is divided by 2. For Al2O3 there are 2 aluminum atoms for every 3 oxygen atoms so the column 4 entry is multiplied by 2/3. For divalent ions the column 5 value is the same as that of column 4 and for monovalent ions (including hydrogen) the latter is doubled.

For the various assumptions inherent in this approach and examples for anions other than oxygen please see "An Introduction to the Rock Forming Minerals" by Deer et al. (1966).

A.2. Notes on Spectral Filestc "B. NOTES ON SPECTRAL FILES"
FORMAT: 
The format we have tried to consistently use for the spectral data involves three columns as follows:

Column 1: Sample ID (same as those in the sample list)
Column 2: facility where spectrum was measured and digital file number

Column 3: grain size or sample description, viewing geometry, wavelength range, spectral resolution, number of spectra, instrument used, (directory of spectral file).
NOTE: 
Grain size or sample description: grain size of powder measured in microns (µm), WR= whole rock; description refers to spot imaged on solid sample. 

Viewing geometry: (i=incidence angle, e=emergence (viewing) angle):


IS = integrating sphere 

Bi= bidirectional reflectance, but angles unknown.

Wavelength range: range of spectral measurements (µm).

Spectral resolution: in nm or Δ wavelength/wavelength (%).

Number of spectra measured and averaged.

+++++++++++++++++++++++++

Miscellaneous notes: 

USGS spectra are available with error bars, 1x resolution indicates delta wavelength/wavelength = 200. 
PIMA spectral resolution is 7-10 nm, and the spectral sampling interval is 2 nm. 
"Spun" indicates that sample holder was spun to minimize any specular effects. 
University of Hawaii data are currently only available in analogue form.

Some RELAB spectra are also available with error bars. These numbers will appear as a third column of numbers in the ASCII files.

1. Elements and Standards
Note: this section includes a few metals, diamonds, graphite, and some reflectance standards. Other metals are described in section 10.
1.1. Elements and Standards

1.2. Potential calibration standards for Mars 2020 rover (for SuperCam and Mastcam-Z)

1.3. Final SuperCam calibration standards for Mars 2020 rover (August 2018)

1.4. Alodized aluminum plate for possible use on ManitobaSat (December 2018)

1.5. Spacecraft components

1.6. Mastcam-Z calibration targets

1.7. Los Alamos Mn standards – October 2020

1.8. Spectra of epoxied Aluwhite standard after UV/Mars exposure – 2021

1.9. Possible Canadensys white calibration panels

1.11. Test of samples for ABB and Photon etc Raman STDP 2024

1.12. Standards for Julene Aramendia (Juanma Madariaga) Spain – July 28, 2024

++++++++++++++++
1.1a. Sample Descriptions - Elements and Standards
[FORMAT: Sample #, type, locality,  association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or intimate/fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description











Al foil
Pure aluminum foil (from Carter, Winnipeg).

CARBON01
Pure carbon amorphous glass; from Kurt Mengel (August 2022); powder and broken disk; made for testing carbon/graphite crucible; amorphous by XRD.

COP101
Copper: sheet of raw copper with minor adhering black shale; Upper Peninsula, MI, USA?

DIA101
Diamond: natural (Johnson Matthey, #14237A), <1µm size, natural C.

DIA200
Diamond, natural, single crystal: Dudno region, Angola (Excalibur Mineral Co.).

DIA201
Diamond, natural, single crystal: Diamantina, M.G., Brazil (Excalibur Mineral Co.).

DIA202
Diamond, natural, single crystal (carbonado): Bangui region, Central African Republic (Excalibur Mineral Co.).

DIA203
Diamond, natural, single crystal: Liaoning Province, Wafangdian, China (Excalibur Mineral Co.).

DIA204
Diamond, natural, single crystal: Tortia, Ivory Coast (Excalibur Mineral Co.).

DIA205
Diamond, natural, single crystal: Panna region, Mayda Predesch, India (Excalibur Mineral Co.).

DIA206
Diamond, natural, single crystal: Birum Mine, Western Province, Ghana (Excalibur Mineral Co.).

DIA207
Diamond, natural, single crystal: Vaal River, Transvaal, Republic of South Africa (Excalibur Mineral Co.).

DIA208
Diamond, natural, single crystal: Kasai Province, Zaire (Excalibur Mineral Co.).

DIA209
Diamond, natural, single crystal: Sewa River, Sierra Leone (Excalibur Mineral Co.).

DIA210
Diamond, natural, single crystal: Guanaimo region, Venezuela (Excalibur Mineral Co.).

DIA211
Diamond, natural, single crystal: Udachnaya Mine, Yakutia, Russia (Excalibur Mineral Co.).

GRP101
Graphite: Ratnapura District, Sri Lanka (Excalibur Mineral Co.), natural C. 

GRP102
Graphite: synthetic "amorphous" graphite (Johnson Matthey, #10130A), -300 mesh, 99.5% pure. “Amorphous may just refer to the sample being very fine-grained. UW XRD shows it to be graphite (see section 44). UofA XRD and UofM XRD presumably do as well (section 1b).
GRP103
Graphite: Dillon, Beaverhead County, Montana (Minerals Unlimited), with schist. 

GRP104
Graphite: Seathwaite Mine, Borrowdale, Cumbria, England (David Shannon Minerals). 

GRP105
Graphite: 3R - Spitzkoppe, Namibia (David Shannon Minerals). Powders made by crushing, dry sieving (?) and dissolution of host carbonate with HCl.

GRP106
Graphite: Madagascar (University of Winnipeg mineral collection #M100-6). 

GRP107
Graphite: South Dakota (University of Winnipeg mineral collection #M100-5). 

GRP108
Graphite: Synthetic? - A.C. Gilbert Co. 
GRP109
Graphite: locality unknown; one 8 cm piece and a few smaller fragments (Silver Cove Ltd., July 2018).
GRP200
Graphite nanopowder; synthetic (MTI Corporation); <30 nm particle size; 99.5% purity, non-crystalline; >60 m2/g specific surface area; 100 grams; certificate of analysis provided. [“Powder must be opened, stored, and operated in inert gas (N2) environment to avoid explosion and O2 contamination”]; received June 8, 2010.
HD PTFE
~0.25” thick thermally produced high density PTFE sheet.
LCA101
Carbon lampblack: synthetic (Johnson Matthey, #14237A), <0.021µm size. 
LCA102
Lampblack: 95 nm average particle size (Natural Pigments: Rublev Colours; 480-501K; 1 kg); received Nov. 27, 2019.

LCA103
Carbon black, premium grade – 1 kg. Inoxia Ltd. “The premium product is a gas black with an ultrafine 25 nanometre average primary particle size.” CAS 1333-86-4.
PIG321
German vine black (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set); other jar part of Historical Pigment Set; catalog no. 481-11S; 4 ounces. (black/brown group). See section 19 of this document for data.
PIG360
Lamp black (catalog no. 480-50B). 200 grams. (black/brown group). See section 19 of this document for data.
SIL199
Silicon metal, synthetic; 3 pieces. (relabelled from SIL101 – Feb. 1, 2024).
SPR101
Sulphur: (S) Syncrude Canada Ltd. processing plant (self collected).

STD001
Synthetic N-(tert-Butyldimethylsilyl)-N-methyltrifluoroacetamide, 97% [C9H18F3NOSi]. Alfa Aesar B23760; lot: 10172853; CAS: 77377-52-7; EINECS: 000-000-0 (moisture sensitive); 5 grams. Received June 2013. [Reagent for Phoenix Mars lander? (for oxalates project)].

SYN001
Polytetrafluoroethylene (PTFE) powder, synthetic; 1 micron size. Aldrich #49,093-5; 100 grams. For use as reflectance standard.

SYN006
White Reflectance Coating (barium sulfate paint), 1 litre/quart. Munsell Color Lot #51702B38.  For possible use as reflectance standard.
SYN007
Silicon powder, crystalline, - 325 mesh, 99.5% (metals basis), 10 grams. Alfa Aesar stock #12681, lot #F18N17.

ZNS001

Synthetic zinc stearate, ZnO 125-14% [Zn(CH3(CH2)16(CO2)2). Alfa Aesar 33238; lot: I19X026; CAS: 557-05-1; EINECS: 209-151-9; 50 grams (received June 2013). [Standard for MSL Curiosity].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.1.B. Aluminum foils

Al foil 1

“Our Very Own” 50’ heavy duty value pack.

Al foil 2

No name 50’ roll.
Al foil 3

Alcan Heavy Duty Slide 30’.

Al foil 4

Alcan 25’ roll.

Al foil 5

Alcan Heavy Duty 25’ (wide roll).

Al foil 6

No name Heavy Duty Barbecue Strength 25’ (wide roll).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.2.a. Potential calibration standards for Mars 2020 rover (for SuperCam and Mastcam-Z)

1.2.A. First set (from Labsphere- 2016):

Space Grade 99% reflectance Spectralon
SGx
SG2 (disks: 25 x 6.5 mm) – 2 provided

99% reflectance Spectralon 

990x
Labsphere 99 (disks: 12.5 x 10 mm) – 3 provided

50% reflectance Spectralon

500x
Labsphere 50 (disks: 12.5 x 10 mm) – 3 provided

20% reflectance Spectralon

200x
Labsphere 20(disks: 12.5 x 10 mm) – 3 provided

2% reflectance Spectralon


20x
Labsphere 2(disks: 12.5 x 10 mm) – 3 provided

Used to test optical stability. Run under the following conditions:

1. 27 days at 1 to 6 Torr CO2 with continuous gas purge and UV irradiation by a 30 W deuterium lamp for the first 8 days of the run (sample ID: xxx1). 

1. Same as 1 but no UV irradiation (sample ID: xxx2).

3. 34 days at 10-8 – 10-9 Torr and possibly lower (with no gas purge) (sample IDs: xxx3)

+++++++++++++++++++

1.2.B. Second set of samples (from Avian Technologies, Lucideon (color tiles), and Gigahertz Optik (2016-2017):

B.1. Avian Technologies:

Aluwhite98
Disk from Avian Technologies

Blue tile
Blue tile from Avian Technologies (from Lucideon). Tile with pigmented surface glaze, specular surface

Fluorilon Gray 3
3% reflectance doped fluorilon (doped with carbon black)

Fluorilon Gray 53
53% reflectance doped fluorilon (doped with carbon black)

Fluorilon Gray 55
55% reflectance doped fluorilon (doped with carbon black)

Fluorilon White 99
99% reflectance fluorilon

Green tile
Green tile from Avian Technologies (from Lucideon). Tile with pigmented surface glaze, specular surface

Orange tile
Orange tile from Avian Technologies (from Lucideon). Tile with pigmented surface glaze, specular surface

Red tile
Red tile from Avian Technologies (from Lucideon). Tile with pigmented surface glaze, specular surface

B.2. Gigahertz Optik:

Giga 2
2% reflectance doped halon disk from Gigahertz Optik

Giga 20
20% reflectance doped halon disk from Gigahertz Optik

Giga 50
50% reflectance doped halon disk from Gigahertz Optik

Giga 70
70% reflectance doped halon disk from Gigahertz Optik

Giga 99
99% reflectance halon disk from Gigahertz Optik

Samples tested as follows:

99 days at 10-6 – 10-9 Torr, followed by 69 days at 1-6 Torr CO2 (no UV irradiation).

++++++++++++++++++++++++++++++++++++

1.2.C. Possible black target for Mars 2020 SuperCam – from Pierre Beck (July 2017)

“Black standard”
Black painted aluminium plate: “Black standard from Pierre Beck”

1. Two spots/areas measured on as-received target in reflectance (ASD: 0.35-2.5 µm) and by Raman (iRaman 532 nm)
2. Sample exposed to 29 days of  spots, after exposure to a mean of 3x~10-6 Torr for29 days.

3. Sample then exposed to 14 days to 5 Torr CO2 with half the target exposed to UV irradiation and the other half protected from UV irradiation.).
++++++++++++++++++++++++++++++++++++

1.2.D. Aeroglaze Z307 – possible black target from Morten Madsen

Aeroglaze Z307
Approximately 2” square anodized looking matte black target for Mars 2020.

++++++++++++++++++++++++++++++++++++
1.2.E. Testing/determinations of mean and standard deviations for ASD (November 2017)
Spectralon disk

Shungite powder
<45 µm powder

+++++++++++++++++++++++++++++++++++++
1.2.F. Testing of repairs on iRaman (November 2017)

Acrylic sheet

5 mm thick

Barium sulfate
Packed powder

Gypsum slab

Slab

SHU102


Shungite powder, <45 µm.

Spectralon

Disk

+++++++++++++++++++++++++++++++++++
1.2.G. Diffuse and specular geometry measurements of pressed pellets of various opaque minerals, Spectralon, and aluminium mirror (November 2017)

Aluminum mirror

Spectralon disk

++++++++++++++++++++++++++++++++++++++++++

1.2.H. Transmission of new sapphire window purchased for “the Cube” – January 2018 (from Guild Optical- 5 mm thick)
“Sapphire”

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

1.3.a. Final SuperCam calibration standards for Mars 2020 rover (August 2018)

Sample ID


Description

PMIFA0301


Olivine

LCA530101


Calcite CA53

NTE040101


NTE04 (Li, Sr-doped silicate)
LANKE0104


Ankerite 4

PMIFS0504


Ferrosilite

NTE030101


NTE03 (Zn, Rb-doped silicate)
TGIOP0301


TGIOP (iron ore; iron-rich sediment)
NTE010304


NTE01 (Cu-doped silicate)
LBHV020401

BHVO-2 (basalt)
TILBA0203


TILBA

LJMN10101


JMn-1 (Mn ore: Mn-rich rock powder standard)
TAPAX0101


Apatite X

PMIFO0302


PMIFO

PMIEN0603


Enstatite

NTE020101


NTE02 (Cr, Mn, Zn, Ba-dopes silicate)
PPTFE0107


PPTFE

TSERP0103


TSERP (serpentine)
LAGV20406


AGV-2 (andesite)
TSRICH0402

TSRICH

TAPAG0204


Apatite G

LSIDE0101


Siderite 4

PMIOR0504


Orthose

PORGA0107


PORGA

PMIDN0303


Clinopyroxene

LCMB0001


Chert

PMIAN0104


Andesine

LJSC10301


JSC-1 (soil analogue)
NTE050304


NTE05 (Ni-doped silicate)
SHERGOTTITE

Shergottite

Avain – 1.0mm #20


AluWhite 98


Avian Technologies AluWhite standard

SC-CT green


Green standard

SC-CT red


Red standard

SC-CT cyan


Cyan standard

Aeroglaze Z307

Dark standard

++++++

Mars 2020 white paint
Used to coat the SuperCam cal target panel?

+++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.4. Alodized aluminum plate for possible use on ManitobaSat (December 2018)

Alodine chromium plate (on loan from University of Manitoba – Matt Driedger)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.5. Spacecraft components

Spacecraft-01
Multi-layer insulation (MLI) sample (~2 x 3 inches) from Emirates Mare Mission; ~9 layers of aluminized mylar under gold foil. Scrap from University of Colorado for Emirates Mars Mission (February, 2019).

+++++++++++++++++++++++++++++++++++++++

1.6. Mastcam-Z calibration targets

2 sets of 1 cm diameter squares of Mastcam-Z calibration targets from Morten Bo Madsen and Kjartan Kinch for UV irradiation (September 2019). UV irradiation done December 2019.
1. White: 

Aluwhite 98

MCZ001
2. Light grey:
Lucideon 70% grey
MCZ003
3. Dark grey: 
Lucideon 30% grey
MCZ004
4. Black:

Lucideon black

MCZ002
5. Red:


Lucideon red

MCZ008
6. Yellow:

Lucideon yellow

MCZ005
7. Blue:


Lucideon cyan

MCZ007
8. Green:

Lucideon green

MCZ006
+++++++++++++++++++++++++++++++++++++++++++++

1.7. Los Alamos Mn standards – October 2020

Samples from Nina Lanza at Los Alamos National Laboratory for Curiosity/Perseverance spectral properties of Mn-bearing materials (standards). Fine-grained few-gram powders.

1. HollDV

2. IRSID 606-1

3. JMN1

4. NCS-DC28041

5. NCS-DC28044

6. NCS-DC47008

7. NCS-DC47009

8. OREAS170A

9. PacMinNod

10. PsiDV

11. PurpDV

12. RhodDV

13. SARM16

14. SARM17

15. VS 5407-90

16. VS R7/4

	Sample
	Type
	MnOT

	VS R7/4
	Fe-ore (~2% MnO)
	2.46

	IRSID 606-1
	Fe-ore (~3% MnO)
	3.34

	VS 5407-90
	Fe-ore (~13% MnO)
	13.45

	NCS-DC28041
	Mn-ore (rhodochrosite)
	18.66

	NCS-DC47008
	Mn-ore (rhodochrosite)
	29.10

	NCS-DC47009
	Mn Ore (rhodochrosite)
	20.32

	JMN1
	Mn nodule
	33.09

	NCS DC28044
	Mn-ore 
	46.88

	SARM17
	Mn-ore (hausmannite)
	50.11

	OREAS170A
	Mn-ore
	58.17

	SARM16
	Mn-ore (hausmannite, braunite, hematite)
	63.49

	RhodDV
	Rhodochrosite, quartz, pyroxmangite (prev. labeled rhodonite)
	44.73

	PsiDV
	Romanichite (prev. labeled psilomelane)
	60.84

	PurpDV
	Purpurite
	16.52

	HollDV
	Coronadite (prev. labeled hollandite) 
	67.57

	PacMinNod
	Mn nodule: todorokite, quartz
	34.62


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

1.8. Spectra of epoxied Aluwhite standard after UV/Mars exposure – 2021

4 disks of Aluwhite epoxied or not under various conditions

MCZ009
A; Glued in place using adhesive 3M-2216
MCZ010
B; Glazed on backside glues in place using adhesive EA9309
MCZ011
C; Glued in place using adhesive EA9309
MCZ012
D; No adhesive used - so this patch is loose
++++++++++++++++++++++++++++++++++++++++++++++++++++++

1.9.a. Possible Canadensys white calibration panels

Fassade – Acoustic Ceiling Products

Cutting board – probable Dollaram cutting board (matte surface)

Poster board – Dollarama foamboard?

++++++++++++++++++++++++++++++++++++++++++++++++++++

1.11.a. Test of samples for ABB and Photon etc Raman STDP 2024
DIA205
Single crystal diamond (~3 mm)

OLV003
Single crystal olivine (~3 mm)

Silicon-coated window
Silicon-coated window provided by Photon etc.

++++++++++++++++++++++++++++++++++++++++++++++++
1.12a. Standards for Julene Aramendia (Juanma Madariaga) Spain – July 28, 2024

Fine-grained powders in plastic vials:
· MgSO(?) Standard

· Apatite Standard

· NaClO4 Standard

· Mg(ClO4)2 Standard

++++++++++++++++++++++++++++++++++++++++++++

1b. XRD Data - Elements and Standards
1b.1. University of Alberta XRD analogue files:

Sample ID
XRD analogue file
Phases identified
DIA101

Z04684


No pattern matching done (has simple pattern)
GRP101

Z03155



GRP102

Z03156
LCA101

Z03154



1b.2. University of Manitoba XRD digital files :

GRP101

GRP102

LCA101
+++++++++++++

1b.3. University of Winnipeg XRD/Raman analyses:
GRP200

Amorphous carbon (not graphite) by Raman.




XRD shows a mix of amorphous carbon phases, graphite, and chaoite.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
1c. Compositional Data - Elements and Standards
Wt.%

GRP101


Wt. %
GRP200


C


99.1



B
<50 ppm
H


 0.5



Ca
<300 ppm
N


<0.1


Cu
<20 ppm
S


 0.2



Fe
<30 ppm
O


 0.1



Mn
<20 ppm
ash


 0.3



Pb
<5 ppm
aromaticity
 1.0



Si
<300 ppm
Source 

King et al. (1963).
MTI Corp.
1c.1. University of Alberta toluene-soluble fraction determinations – 02/96

Sample

Toluene-soluble fraction (w. %)

GRP101

0.53

GRP102

0.10

GRP103

0.00

LCA101

0.11

Performed using micro-Soxhlet set-up

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

1d. Spectral Data - Elements and Standards
Sample
Facility/File no. 
Description






[Description: grain size; viewing geometry (i°, e°); wavelength range; spectral resolution; number of spectra averaged;  instrument (directory)]

CARBON01
PSF 220920a.00001.asd
Unsorted powder (as-received from Kurt Mengel); i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 220920 CARBON01].

CARBON01
PSF 220920b.vertex.001.specac_insb_nir_kbr_b_6_2mmap_carbon01. 




i=30°, e=0°; 1.-4.8 µm; 6 cm-1 resolution; Vertex 70; 100 spectra averaged [Directory: 220920 carbon01.

DIA101
RELAB c1sc81
<1µm; 0/15; 0.3-2.7µm; 5nm resolution (RELAB).


RELAB mada01
<1µm; 30/30; 1.8-25.9µm; ~0.6-129 nm resolution (Nicolet FTIR).

DIA101
PSF 001 dia101
<1 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 3].

++++++
DIA200
PSF dia200-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA200
PSF dia200
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA200
PSF 080305a.019
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA200
PSF 080305a.020
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA201
PSF dia201
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA201
PSF 080305a.011
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA201
PSF 080305a.012
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA203
PSF dia203
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA203
PSF 080305a.003
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA203
PSF 080305a.004
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA204
PSF dia204
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA204
PSF 080305a.013
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA204
PSF 080305a.014
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA205
PSF dia205-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA205
PSF dia205-3
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.


DIA205
PSF dia205
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA205
PSF 080305a.005
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA205
PSF 080305a.006
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

+++++DIA205 Raman in air and vacuum+++++

DIA205
PSF 004 diamond window vacuum.txtr
Diamond single crystall. Raman in mini-ME with sapphire window; 111-4000 cm-1; ~4 cm-1 resolution; 500 msec; 100 spectra averaged; 4.6E-3 mbar for 1 day [Directory: 240109 mini me raman].

DIA205
PSF 000 diamond no window vacuum.txtr
Diamond single crystal. Raman in mini-ME, no window; 111-4000 cm-1; ~4 cm-1 resolution; 500 msec; 100 spectra averaged; ambient atmosphere [Directory: 240109 mini me raman].

DIA205
PSF 002 diamond window before vacuum.txtr
Diamond single crystal. Raman in mini-ME; 111-4000 cm-1; ~4 cm-1 resolution; 500 msec; 100 spectra averaged; ambient atmosphere [Directory: 240109 mini me raman].

+++++
DIA206
PSF dia206-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA206
PSF dia206
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA206
PSF 080305a.015
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA206
PSF 080305a.016
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA206?
PSF 080305a.001
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA206?
PSF 080305a.002
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA207
PSF dia207-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA207
PSF dia207-3
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA207
PSF dia207-4
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA207
PSF dia207
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA207
PSF 080305a.017
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA207
PSF 080305a.018
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA208
PSF dia208-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA208
PSF dia208
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA208
PSF 080305a.021
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA208
PSF 080305a.022
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA209
PSF dia209
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA209
PSF 080305a.007
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA209
PSF 080305a.008
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA210
PSF dia210-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA210
PSF dia210
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA210
PSF 080305a.009
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA210
PSF 080305a.010
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
DIA211
PSF dia211-2
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)].


DIA211
PSF dia211-3
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA211
PSF dia211
Single grain in aluminium block well; i=0°, e=0°; 350-1100 nm; 1000 spectra averaged; ~0.5 nm resolution; shot relative to empty well; data may be saturated [Directory: Single Grain Maya (Aug. 2016)]. Reshoot.

DIA211
PSF 080305a.001
Single grain in silver-lined aluminium-lined well; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

DIA211
PSF 080305a.002
Single grain in silver-lined aluminium-lined well, spun 180° from previous measurement; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; probably has spectral artifacts [Directory: 080305 diamonds].

++++++
GRP101
RELAB c1sc79
<45µm; 0/15; 0.3-2.7µm; 5nm resolution (RELAB).

GRP101
RELAB casc79
<45; 30°/0°; 0.3-2.6µm; 5 nm resolution (RELAB).

GRP101
RELAB n2sc79
<45µm; 30/30; 0.9-3.2µm; ~0.3-3.9 nm resolution (Nicolet FTIR).

GRP101
RELAB n1sc79
<45µm; 30/30; 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

GRP101
RELAB lasc79
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm resolution; merged at 2.5µm (RELAB+Nicolet); note different viewing geometries.
GRP101
PSF feb2307.010
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resolution; 1000 spectra averaged; ASD (directory: feb2307 meteoritic).

GRP101
PSF feb2607.010
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resolution; 1000 spectra averaged; ASD (directory: feb2607 meteoritic).

GRP101

PSF 005 ac2
<37 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
GRP101

PSF 006 ac4
45-90 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
GRP101E
PSF 005 grp105e
<45 µm, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 
++++++
GRP102
RELAB c1sc80
<45µm; 0/15; 0.3-2.7µm; 5nm (RELAB).

GRP102
RELAB casc80
<45µm; 30°/0°; 0.3-2.6µm; 5 nm (RELAB).

GRP102
RELAB lasc80
<45µm; 30°/0°,30°; 0.3-26µm; 5, 1.2-129 nm; merged at 2.5µm.  (RELAB+Nicolet) note different viewing geometries.

GRP102
RELAB n2sc80
<45µm; 30/30; 0.9-3.2µm; ~0.3-3.9 nm (Nicolet FTIR).

GRP102
RELAB n1sc80
<45µm; 30/30; 1.8-25.9µm; ~0.6-129 nm (Nicolet FTIR).

GRP102
PSF feb2307. 011
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resolution; 1000 spectra averaged; ASD (directory: feb2307 meteoritic).

GRP102
PSF feb2607.011
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resolution; 1000 spectra averaged; ASD (directory: feb2607 meteoritic).

GRP102
PSF 100420a.006
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100420_carbon).

GRP102

PSF 002 f2
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160104 uv dark stuff]. 
++++++
GRP103
RELAB csc111
<45µm; 30/0; 0.3-2.6µm; 5 nm (RELAB).

GRP103
RELAB masc111
<45µm; 30/30; 1.8-25.9µm; ~0.6-129 nm (Nicolet FTIR).

GRP103
RELAB cagp03
<45µm; 30°/0°; 0.3-2.6µm; 5 nm (RELAB).

GRP103
RELAB lagp03
<45µm, 30°/0°,30°, 0.3-26µm; 5, 1.2-129µm, merged at 2.5µm.  (RELAB+Nicolet) note different viewing geometries.

++++++
GRP104
RELAB cagp04
<45µm; 30°/0°; 0.3-2.6µm; 5 nm (RELAB).

GRP104
RELAB lagp04
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
GRP105
RELAB cagp05
<45µm; 30°/0°; 0.3-2.6µm; 5 nm (RELAB).

GRP105
RELAB lagp05
<45µm; 30°/0°,30°, 0.3-26µm; 5, 1.2-129µm; merged at 2.5µm.  (RELAB+Nicolet) note different viewing geometries.

GRP105

PSF 004 grp105
>45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 
++++++
GRP106
RELAB cagp06
<45µm; 30°/0°; 0.3-2.6µm; 5 nm (RELAB).

GRP106
RELAB lagp06
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
GRP107
RELAB cagp07
<45µm; 30°/0°; 0.3-2.6µm; 5 nm (RELAB).

GRP107
RELAB lagp07
<45µm; 30°/0°,30°; 0.3-26µm; 5, 1.2-129µm, merged at 2.5µm.  (RELAB+Nicolet) note different viewing geometries.
++++++
GRP200
PSF 120116a.079 
unsorted; 30º/0º; 0.352.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD (directory: 121016glovebox).

GRP200

PSF 016

<30 nm powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

GRP200

PSF 001 ah5
<0.03 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 
++++++
HD PTFE

PSF 151103b0001
Roughened sheet, 2 layers thick; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 151130 white stuff].
HD PTFE

PSF 151103b0002
Roughened sheet, 2 layers thick, with aluminium reflector under the sheets; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 151130 white stuff].
++++++
LCA101
RELAB c1sc24
<0.021µm; 0/15; 0.34-2.7µm; 5nm (RELAB).

LCA101
RELAB n2sc24
<0.021µm; 30/30; 0.9-3.2µm; ~0.3-3.9 nm (Nicolet FTIR).

LCA101
RELAB n1sc24
<0.021µm; 30/30; 1.8-25.9µm; ~0.6-129 nm (Nicolet FTIR).

LCA101
PSF 100420a.008
<0.021 μm; 30°/0°; 0.35-2.5 μm; 1 nm output, 100 spectra averaged; ASD (Directory: 100412_Carbon-black and 100420_Carbon).
LCA101
PSF OO 79 
<0.021 µm; 0º/0º; 0.2-0.86 µm (0.2-0.4 µm usable range); ~0.4 nm resolution; 200 spectra averaged; Ocean Optics S2000 (directory: Ocean Optics 000); opened in glove box.
LCA101

PSF 002

unsorted powdered end member; baked at 100°C to drive off adsorbed water; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 FTIR (Directory: 150826 carbon black mixtures).

LCA101

PSF 005

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

LCA101

PSF 151104a.002
<0.021 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

LCA101

PSF 001 f1 lca101
<0.021 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to  DUV mirror; Maya 2000 Pro [Directory: 160104 uv dark stuff]. 
++++++
LCA102
PSF 191129a00002.asd
Unsorted powder; <95 nm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191129 Mudpies].
+++++
SYN007 
PSF feb2107.014
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resolution; 1000 spectra averaged; ASD (directory: feb2107 meteoritic).

++++++
ZNS001

PSF 151103b0003
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 151130 white stuff].
++++ Unassigned samples ++++++++++++

Al foil
PSF 071115a.001
Pure aluminum foil; lightly sanded surface; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

Al cup1
PSF 071115a.007
1” Al sample cup holder spray painted black; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

Al cup2
PSF 071115a.008
1” Al sample cup holder hand painted black; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

Cdn penny
PSF 071115a.009
Canadian penny, shiny heads surface; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

Cdn penny
PSF 071115a.010
Canadian penny, less shiny tails surface; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

Commercial aluminium foils – crinkled; Al sample cups, Al plates, steel sample cup

Measured with ASD spectrometer, bifurcated cable. Probe height adjusted to get ~80% reflectance each time.

Al foil 1
PSF oc2407.001
50 heavy duty shiny side; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 1
PSF oc2407.002
50 heavy duty dull side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 2
PSF oc2407.003
no name 50 heavy duty shiny side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 2
PSF oc2407.004
no name 50 heavy duty dull side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 3
PSF oc2407.005
Alcan heavy duty 30 shiny side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 3
PSF oc2407.006
Alcan heavy duty 30 dull side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 4
PSF oc2407.007
Alcan 25 shiny side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 4
PSF oc2407.008
Alcan 25 dull side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 5
PSF oc2407.009
Alcan heavy duty 25 shiny side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 5
PSF oc2407.010
Alcan heavy duty 25 dull side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 6
PSF oc2407.011
no name heavy duty 25 shiny side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al foil 6
PSF oc2407.012
no name heavy duty 25 dull side; crinkled; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al block
PSF oc2407.013
Al cylinder; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al block
PSF oc2407.014
Al cylinder; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al block
PSF oc2407.015
Al cylinder; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al plate
PSF oc2407.016
Roughened AL plate; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al disk 1
PSF oc2407.017
AlO blasted 1” Al disk; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al disk 1
PSF oc2407.018
AlO blasted 1” Al disk; other spot; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al disk 1
PSF oc2407.019
AlO blasted 1” Al disk; dirtier face; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al disk 2
PSF oc2407.020
Glass bead blasted and gold-painted 1” Al disk; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al disk 2
PSF oc2407.021
Glass bead blasted and 1” Al disk; unpainted side; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
SS disk
PSF oc2407.022
1” roughened stainless steel disk. ; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
SS disk
PSF oc2407.023
1” roughened stainless steel disk; spot 2; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
Al disk 3
PSF oc2407.024
1” Al disk; bottom of sample disc; crinkled; i=0°, e=0° (bifurc. cable); 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: oc2407).
++++++++++++++++++++++++++

1.1.d. iRaman 532 nm spectra: 174-24002 cm-1 wavelength range; ~4 cm-1 spectral resolution.

GRP101
PSF 210129_010_532_GRP101_spot1.txtr
45-90 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

GRP101
PSF 210129_011_532_GRP101_spot2.txtr
45-90 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

GRP101
PSF 210129_012_532_GRP101_spot3.txtr
45-90 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

+++++++
GRP102
PSF 210129_013_532_GRP102_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

GRP102
PSF 210203_002_532_GRP102_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210203 LunaR raman].

GRP102
PSF 210203_003_532_GRP102_spot4.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210203 LunaR raman].

GRP102
PSF 210203_004_532_GRP102_spot5.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210203 LunaR raman].

++++++++
Raman spectra of diamonds: iRaman, 532 nm laser; 174-4002 cm-1, 4 cm-1 resolution [Directory: 190212 Diamond Inclusions Raman; 190320 Diamonds;190322 Diamonds]. 

Note: shooting single diamonds with rotation of sample between shots.

Sample
PSF file
Integr.
Number of spectra 
Notes



Time (msec)
averaged

DIA200
003DIA200.txtr
5000
1
small lens; 40% laser

DIA200
004DIA200.txtr
5000
1
small lens; 40% laser

DIA200
005DIA200.txtr
2000
1
small lens; 40% laser

DIA200
011DIA200.txtr
2000
5
small lens

DIA200
012DIA200.txtr
2000
5
small lens

DIA200
013DIA200.txtr
2000
5
medium lens

DIA200
015DIA200.txtr
1000
5
medium lens

DIA200
016DIA200.txtr
1000
5
medium lens

DIA200
017DIA200.txtr
1000
5
medium lens

DIA200
018DIA200.txtr
1000
5
medium lens

++++++

DIA201
012_DIA201.txtr
45000
20
short lens

DIA201
014_DIA201.txtr
45000
20
short lens

DIA201
015_DIA201.txtr
5000
20
medium lens

DIA201
016_DIA201.txtr
5000
20
medium lens

DIA201
017_DIA201.txtr
5000
20
medium lens

DIA201
018_DIA201.txtr
10000
20
medium lens

DIA201
019_DIA201.txtr
15000
20
medium lens

DIA201
023DIA201.txtr
2000
5
small lens

DIA201
024DIA201.txtr
5000
5
medium lens

DIA201
025DIA201.txtr
5000
5
medium lens

++++++

DIA202
019DIA202.txtr
1500
5
medium lens

DIA202
020DIA202.txtr
2000
5
medium lens

DIA202
021DIA202.txtr
1000
5
medium lens

DIA202
022DIA202.txtr
250

5
small lens

++++++

DIA203
008_DIA203.txtr
750

100


DIA203
009_DIA203.txtr
750

100


DIA203
010_DIA203.txtr
3000
100
medium lens


DIA203
011_DIA203.txtr
3000
100
high lens

DIA203
001DIA203.txtr
5000
1
small lens

DIA203
002DIA203.txtr
5000
1
small lens

++++++

DIA204
008DIA204.txtr
5000
5
small lens; 100% laser

DIA204
009DIA204.txtr
5000
5
small lens; 100% laser

DIA204
010DIA204.txtr
5000
5
70% laser

DIA204
011DIA204.txtr
5000
5
medium lens; 70% laser

DIA204
012DIA204.txtr
5000
5
medium lens; 70% laser

++++++

DIA206
001_DIA206.txtr
275

200
short focal lens

DIA206
002_DIA206.txtr
275

200
short focal lens

DIA206
003_DIA206.txtr
4500
100
short focal lens

DIA206
004_DIA206.txtr
350

100
short focal lens

DIA206
005_DIA206.txtr
300

100
short focal lens

DIA206
006_DIA206.txtr
600

100
medium focal lens

DIA206
007_DIA206.txtr
3000
100
high focus lens

DIA206
005DIA206.txtr
5000
5
small lens; 40% laser

DIA206
006DIA206.txtr
5000
5
small lens; 40% laser

++++++

DIA208
001DIA208.txtr
2000
5
medium lens

DIA208
002DIA208.txtr
2000
5
small lens

++++++

DIA209
007DIA209.txtr
40000
1
medium lens

DIA209
008DIA209.txtr
40000
1
medium lens

DIA209
009DIA209.txtr
40000
1
small lens

DIA209
010DIA209.txtr
40000
1
small lens

++++++

DIA210
003DIA210.txtr
2000
5
small lens

DIA210
004DIA210.txtr
2000
5
medium lens

DIA210
005DIA210.txtr
2000
5
medium lens

DIA210
006DIA210.txtr
1000
5
medium lens

+++++++++++++++++++++++++++++

1.2.A.d. New versus old Spectralon and gray scale standards

RUN 1: Potential calibration targets (Spectralon and gray targets) from Labsphere

HOSERLab = old, original standard puck

Labsphere = new 10 mm diameter disks

a.i) ASD spectra: pre-exposure (as-received)
HOSERLab 99%
PSF 1511103b.021
old (~2002) original Labsphere 1.25” diameter spectralon 99% reflectance puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples].
HOSERLab 50%
PSF 1511103b.023
old (~2002) original Labsphere 1.25” diameter spectralon 50% reflectance gray scale puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples].

HOSERLab 20%
PSF 1511103b.024
old (~2002) original Labsphere 1.25” diameter spectralon 20% reflectance gray scale puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples].
HOSERLab 10%
PSF 1511103b.025
old (~2002) original Labsphere 1.25” diameter spectralon 10% reflectance gray scale puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples].
HOSERLab 10%
PSF 1511103b.026
old (~2002) original Labsphere 1.25” diameter spectralon 10% reflectance gray scale puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD; reshoot [Directory: 151103 halon samples].
HOSERLab 5%
PSF 1511103b.027
old (~2002) original Labsphere 1.25” diameter spectralon 5% reflectance gray scale puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples].
HOSERLab 10%
PSF 1511103b.028
old (~2002) original Labsphere 1.25” diameter spectralon 2% reflectance gray scale puck; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples].
Labsphere 99%
PSF 1511103b.029
new (2015) Labsphere 10 mm diameter spectralon 99% reflectance disk; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples] (sample 9904).
Labsphere 50%
PSF 1511103b.030
new (2015) Labsphere 10 mm diameter spectralon 50% reflectance gray scale disk; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples] (sample 5004).
Labsphere 20%
PSF 1511103b.031
new (2015) Labsphere 10 mm diameter spectralon 20% reflectance gray scale disk; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples] (sample 2004).
Labsphere 2%
PSF 1511103b.032
new (2015) Labsphere 10 mm diameter spectralon 2% reflectance gray scale disk; i=30°, e=0°; 0.35-2.5 µm; 1.4 nm spectral output; 100 spectra averaged; ASD [Directory: 151103 halon samples] (sample 204).
+++++++
a.ii) ASD spectra: post-exposure

Spectralon
PSF 160105E.000
Spectralon cal standard; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

SG2
PSF 160105E.001
5 Torr CO2 plus UV – exposed to UV surface; New (2015) Labsphere sample (Space Grade Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

9901
PSF 160105E.002
5 Torr CO2 plus UV – exposed to UV surface; New (2015) Labsphere sample (99% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

5001
PSF 160105E.003
5 Torr CO2 plus UV – exposed to UV surface; New (2015) Labsphere sample (50% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

2001
PSF 160105E.004
5 Torr CO2 plus UV – exposed to UV surface; New (2015) Labsphere sample (20% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

201
PSF 160105E.005
5 Torr CO2 plus UV – exposed to UV surface; New (2015) Labsphere sample (2% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

+++++

SG2 flipped
PSF 160105E.015
5 Torr CO2 plus UV – surface not exposed to UV; New (2015) Labsphere sample (Space Grade Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

9901 flipped
PSF 160105E.002
5 Torr CO2 plus UV – surface not exposed to UV; New (2015) Labsphere sample (99% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

5001 flipped
PSF 160105E.003
5 Torr CO2 plus UV – surface not exposed to UV; New (2015) Labsphere sample (50% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

2001 flipped
PSF 160105E.004
5 Torr CO2 plus UV – surface not exposed to UV; New (2015) Labsphere sample (20% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

201 flipped
PSF 160105E.005
5 Torr CO2 plus UV – surface not exposed to UV; New (2015) Labsphere sample (2% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

+++++
9902
PSF 160105E.006
5 Torr CO2, no UV; New (2015) Labsphere sample (99% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

5002
PSF 160105E.007
5 Torr CO2 no UV; New (2015) Labsphere sample (50% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

2002
PSF 160105E.008
5 Torr CO2 no UV; New (2015) Labsphere sample (20% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

202
PSF 160105E.009
5 Torr CO2 no UV; New (2015) Labsphere sample (2% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

++++

SG1
PSF 160105E.014
Vacuum, no UV; New (2015) Labsphere sample (Space Grade Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

9903
PSF 160105E.010
Vacuum, no UV; New (2015) Labsphere sample (99% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

5003
PSF 160105E.011
Vacuum, no UV; New (2015) Labsphere sample (50% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

2003
PSF 160105E.012
Vacuum, no UV; New (2015) Labsphere sample (20% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

203
PSF 160105E.013
Vacuum no UV; New (2015) Labsphere sample (2% reflectance Spectralon) disk; i=30°, e=0°; 0.35-2.5 µm; 1 nm spectral output; 100 spectra averaged; ASD [Directory: ASD Post bake].

+++++++++++++++++++++++++++

b) Bruker Vertex 70 NIR spectra

HOSERLab spectralon 
PSF spectralon
HOSERLab original (~2002) 99% reflectance puck; i=30°, e=0°; 1.0-2.5 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: FT NIT halon vs spectralon].
Labsphere 99%
PSF 9904
Labsphere new (2015) 99% reflectance 10 mm diameter disk; i=30°, e=0°; 1.0-2.5 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: FT NIT halon vs spectralon].
Labsphere Space grade
PSF SG02
Labsphere new (2015) 99% space grade reflectance disk; i=30°, e=0°; 1.0-2.5 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: FT NIT halon vs spectralon].
Labsphere 50%
PSF 5004
Labsphere new (2015) 50% reflectance 10 mm diameter disk; i=30°, e=0°; 1.0-2.5 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: FT NIT halon vs spectralon].
Labsphere 20%
PSF 2004
Labsphere new (2015) 20% reflectance 10 mm diameter disk; i=30°, e=0°; 1.0-2.5 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: FT NIT halon vs spectralon].
Labsphere 2%
PSF 204
Labsphere new (2015) 2% reflectance 10 mm diameter disk; i=30°, e=0°; 1.0-2.5 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: FT NIT halon vs spectralon].
++++++++++
c) Bruker Vertex 70 IR spectra

Labsphere Gold 
PSF gold start regular 
HOSERLab original (~2002) Labsphere diffuse gold standard puck; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere Gold 
PSF gold start smoothed
HOSERLab original (~2002) Labsphere diffuse gold standard puck; smoothed; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 99% 
PSF 9904 regular 
New Labsphere (2015) 99% reflectance spectralon disk; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 99% 
PSF 9904 smoothed 
New Labsphere (2015) 99% reflectance spectralon disk; smoothed; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere SG 99% 
PSF SG01 regular 
New Labsphere (2015) 99% Space-grade reflectance spectralon disk; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere SG 99% 
PSF SG01 smoothed 
New Labsphere (2015) 99% reflectance spectralon disk; smoothed; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 50% 
PSF 5004 regular 
New Labsphere (2015) 50% reflectance spectralon disk; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 50% 
PSF 5004 smoothed 
New Labsphere (2015) 50% reflectance spectralon disk; smoothed; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 20% 
PSF 2004 regular 
New Labsphere (2015) 20% reflectance spectralon disk; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 20% 
PSF 2004 smoothed 
New Labsphere (2015) 20% reflectance spectralon disk; smoothed; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 2% 
PSF 204 regular 
New Labsphere (2015) 2% reflectance spectralon disk; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
Labsphere 2% 
PSF 204 smoothed 
New Labsphere (2015) 2% reflectance spectralon disk; smoothed; i=30°, e=0°; 1.0-25 µm; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: Halons FTIR].
+++++++++

d) iRaman 532 nm reflectance spectra

Spectralon
PSF Spectralon
Labsphere/ASD calibrated Spectralon puck; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution (Directory: 131111 endoliths).

HOSERLab Spectralon
PSF Spectralon
Original (~2002) Labsphere ASD-calibrated Spectralon puck; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution; 26235 msec [Directory: Standards/Raman].

Labsphere 20% 
PSF 2005
New (2015) Labsphere 20% gray scale reflectance disk; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution [Directory: Standards/Raman].

Labsphere 2% 
PSF 205
New (2015) Labsphere 2% gray scale reflectance disk; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution [Directory: Standards/Raman].

Labsphere 50% 
PSF 5005
New (2015) Labsphere 50% gray scale reflectance disk; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution [Directory: Standards/Raman].

Labsphere 99% 
PSF 9903
New (2015) Labsphere 99% reflectance disk; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution [Directory: Standards/Raman].

Labsphere SG 99% 
PSF SG02
New (2015) Labsphere 99% Space-grade reflectance disk; i=0°, e=0°; 174-4004 cm-1; 4 cm-1 spectral resolution [Directory: Standards/Raman].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.2.A.d. New potential Mars 2020 white, gray, colour targets: Avian Technologies, Lucideon, Gigahertz Optik
RUN 2: 99 days of vacuum followed by 69 days of 5 Torr CO2 (no UV). Vacuum run was done after attaining pressure of ~10-6 Torr and continuous pumping. Mars run was done by getting to appropriate pressure (~5 Torr) and then turning off the vacuum pump).
(a) Raman reflectance spectra (measured with iRaman 532 nm); i=0°, e=0°; 174-4000 cm-1; 4 cm-1 spectral resolution; single spectrum for each (no averaging); variable integration times (auto set)
(a.1) iRaman spectra on as-received samples; prior to exposure to vacuum and Mars surface conditions (August 2016)
Aluwhite98
PSF Avain Aluwhite 98 364
364 msec integration time [Directory: Mars 2020].
Blue tile
PSF Avain blue 55147
55147 msec integration time [Directory: Mars 2020].
Fluorilon Gray 3
PSF Avain FG 03 65535
65535 msec integration time (max possible) [Directory: Mars 2020].
Fluorilon Gray 53
PSF Avain FG 53 19782
19782 msec integration time [Directory: Mars 2020].
Fluorilon Gray 55
PSF Avain FG 55 18765
18765 msec integration time [Directory: Mars 2020].
Fluorilon White 99
PSF Avain FW99 18357
18357 msec integration time [Directory: Mars 2020].
Green tile
PSF Avain Green 44659
44659 msec integration time [Directory: Mars 2020].
Orange tile
PSF Avain Orange 22

22 msec integration time [Directory: Mars 2020].
Red tile
PSF Avain Red 5

5 msec integration time [Directory: Mars 2020].
Giga 2
PSF Giga 02 65535

65535 msec integration time (max possible) [Directory: Mars 2020].
Giga 20
PSF Giga 20 47835

47835 msec integration time [Directory: Mars 2020].
Giga 50
PSF Giga 50 33514

33514 msec integration time [Directory: Mars 2020].
Giga 70
PSF Giga 70 33514

33514 msec integration time [Directory: Mars 2020].
Giga 99
PSF Giga 99 19154

19154 msec integration time [Directory: Mars 2020].
++++++++++++++++++++++++++++

(a.2) iRaman spectra on as-received samples; before and after exposure to 99 days of vacuum AND 69 days of Mars box (January 2017)
(a) Raman reflectance spectra (measured with iRaman 532 nm); i=0°, e=0°; 174-4000 cm-1; 4 cm-1 spectral resolution; single spectrum for each unless otherwise indicated (no averaging); variable integration times (auto set)
Aluwhite 98
PSF Aluwhite 98 364

Before exposure; 263 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Aluwhite 98
PSF alu98


After exposure; 263 msec integration time; 100 spectra averaged [Directory: 170117 mars2020 standards].
+++

Blue tile
PSF Avian blue 55147
Before exposure; 55147 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].
Blue tile
PSF blue


After exposure; 60,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Fluorilon Gray 3
PSF Avian FG 03 65535
Before exposure; 65535 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Fluorilon Gray 3
PSF av03


After exposure; 60,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards].
+++

Fluorilon Gray 53
PSF Avian FG 53 19782
Before exposure; 19782 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Fluorilon Gray 53
PSF av53


After exposure; 20,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards].
+++

Fluorilon Gray 55
PSF Avian FG 55 18765
Before exposure; 18765 msec integration time; 15 spectrum averaged [Directory: 160630 Mars 2020].

Fluorilon Gray 55
PSF av55


After exposure; 20,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Fluorilon White 99
PSF Avian FW99 18537
Before exposure; 18357 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Fluorilon White 99
PSF fw99


After exposure; 9889 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Green tile
PSF Avian green 44659
Before exposure; 44659 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Green tile
PSF green


After exposure; 30,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Orange tile
PSF Avian orange 22

Before exposure; 22 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Orange tile
PSF orange


After exposure; 22 msec integration time; 100 spectra averaged [Directory: 170117 mars2020 standards]

+++

Red tile
PSF Avian red 5

Before exposure; 5 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].
Red tile
PSF red


After exposure; 12 msec integration time; 100 spectra averaged [Directory: 170117 mars2020 standards]

+++

Giga 2
PSF giga02 65535

Before exposure; 65535 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Giga 2
PSF giga02


After exposure; 60,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Giga 20
PSF giga20 47835

Before exposure; 47835 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Giga 20
PSF giga20


After exposure; 60,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Giga 50
PSF giga50 33514

Before exposure; 33514 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020]

Giga 50
PSF giga50


After exposure; 30,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards].
+++

Giga 70
PSF giga70 33514

Before exposure; 33514 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].

Giga 70
PSF giga70


After exposure; 30,000 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

+++

Giga 99
PSF giga99 47835

Before exposure; 47835 msec integration time; 1 spectrum averaged [Directory: 160630 Mars 2020].
Giga 99
PSF giga99


After exposure; 10,664 msec integration time; 5 spectra averaged [Directory: 170117 mars2020 standards]

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

(b) FTIR (Bruker Vertex 70) bidirectional reflectance spectra; i=0°, e=30°; 10,000-400 cm-1(1-25 µm); 6 cm-1 spectral resolution; 1000 spectra averaged; boxcar fill (for smoothing):2; shot relative to brushed gold standard.[Directory: 160630 mars2020].
(b.1) FTIR spectra on as-received samples; prior to exposure to vacuum and Mars surface conditions (August 2016)
Alumina sample cup
PSF Alumina sample cup


Aluwhite98
PSF Avian Aluwhite 98 

Blue tile
PSF Avian blue

Fluorilon Gray 3
PSF Avian FG03

Fluorilon Gray 53
PSF Avian FG53

Fluorilon Gray 55
PSF Avian FG55

Fluorilon White 99
PSF Avian FW99

Green tile
PSF Avian Green

Orange tile
PSF Avian Orange

Red tile
PSF Avian Red 

Giga 2
PSF Giga 02

Giga 20
PSF Giga 20

Giga 50
PSF Giga 50

Giga 70
PSF Giga 70

Giga 99
PSF Giga 99

Gold
PSF Gold start

Spectralon
PSF spectralon

++++++++++++++++++++++++++++

(b.2.) FTIR spectra after 99 days in vacuum chamber, followed by 69 days in Mars box (January 2017)
(b) FTIR (Bruker Vertex 70) bidirectional reflectance spectra; i=0°, e=30°; 6060  - 400 cm-1(1-25 µm); 6 cm-1 spectral resolution; 1500 spectra averaged; boxcar fill (for smoothing):2; shot relative to brushed gold standard.[Directory: 170117 mars2020].
Fluorilon Gray 55
PSF Avain FG55

Blue tile
PSF Avain blue

Fluorilon White 99
PSF Avain FW99

Giga 2
PSF Giga 02

Giga 20
PSF Giga 20

Giga 50
PSF Giga 50

Giga 70
PSF Giga 70

Giga 99
PSF Giga 99

Green tile
PSF Avian Green

Orange tile
PSF Avian Orange

Red tile
PSF Avian Red 

Aluwhite98
PSF Avian Aluwhite 98 

Fluorilon Gray 3
PSF Avian FG03

Fluorilon Gray 53
PSF Avian FG53

Not shot?: 

Alumina sample cup
PSF Alumina sample cup


Gold
PSF Gold start

Spectralon
PSF spectralon

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

(c) ASD reflectance spectra (measured with new ASD; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged [Directory: 160615 Mars 2020 standards] 
(c.1) ASD spectra on as-received samples; prior to exposure to vacuum and Mars surface conditions (August 2016)
Spectralon

PSF 160615a.000

Avain Green

PSF 160615a.001

Avain Blue

PSF 160615a.002

Avian Red

PSF 160615a.003

Avian Orange
PSF 160615a.004

Avian FW99

PSF 160615a.005 (may be AL98)

Avian Alu 98
PSF 160615a.006 (may be FW99)

Avian FG

PSF 160615a.007

Avian FG53

PSF 160615a.008

Avian FG03

PSF 160615a.009

Giga 99


PSF 160615a.010

Giga 70


PSF 160615a.011

Giga 50


PSF 160615a.012

Giga 20


PSF 160615a.013

Giga 02


PSF 160615a.014

+++++++++++++++++++++++++++++++++
(c.2) Spectra on as-received samples; after exposure to vacuum (November 2016)
Measurement conditions: ASD reflectance spectra (measured with new ASD; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 161111 tiles] 
Spectralon

PSF 

Avain Green

PSF 161111b.010

Avain Blue

PSF  161111b.008

Avian Red

PSF  161111b.009

Avian Orange
PSF  161111b.011

Avian FW99

PSF  161111b.005 (may be AL98)

Avian Alu 98
PSF  161111b.013 (may be fw99)

Avian FG

PSF  161111b.006

Avian FG53

PSF  161111b.012

Avian FG03

PSF  161111b.004

Giga 99


PSF  161111b.014

Giga 70


PSF  161111b.003

Giga 50


PSF  161111b.007

Giga 20


PSF  161111b.013

Giga 02


PSF  161111b.001

+++++++++++++++++++++++++++++++
(c.3) Spectra on as-received samples; after exposure to vacuum (99 days) AND Mars conditions (69 days – 5 Torr CO2) (January 2017)
Measurement conditions: ASD reflectance spectra (measured with new ASD; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 170119a mars2020 standards] 
Avian Green
PSF 170119a.011

Avian Blue
PSF 170119a.012

Avian Red
PSF 170119a.013

Avian Orange
PSF 170119a.014

FW99
PSF 170119a.004

Aluwhite 98
PSF 170119a.005

Avian FG55
PSF 170119a.017

Avian FG53
PSF 170119a.009

Avian FG03
PSF 170119a.002

Giga 99
PSF 170119a.003

Giga 70
PSF 170119a.006

Giga 50
PSF 170119a.007

Giga 20
PSF 170119a.010

Giga 02
PSF 170119a.001

+++++++++++++++++++++++++++++++++++
1.2.C.d. Black standard from Pierre Beck (painted Al plate)
(i) As-received (before low pressure and Mars surface-like exposure)
a. ASD spectra

Black standard
PSF 170727b.00001.asd
Spot 1 on plate (as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 170727 black standard].

Black standard
PSF 170727b.00002.asd
Spot 1 (actually spot 2?) on plate (as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 170727 black standard].

Black standard
spectrum from Pierre Beck
0.4-2.6 µm.

Black standard
PSF 170829a00001.asd
Spot on plate; after exposure to vacuum (no gas or UV irradiation) for 29 days; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 170829 black standard].
Black standard
PSF 170829a00003.asd
Second spot on plate; after exposure to vacuum (no gas or UV irradiation) for 29 days; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 170829 black standard].

Black standard
PSF 170912a0001.asd

Spot on plate; after subsequent exposure to 5 Torr CO2 and NO UV irradiation for 14 additional days; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 2000 spectra averaged; ASD4 [Directory: 170912 mars2020 black standard].

Black standard
PSF 170912a0005.asd

Spot on plate; after subsequent exposure to 5 Torr CO2 and WITH UV irradiation for 14 additional days; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 2000 spectra averaged; ASD4 [Directory: 170912 mars2020 black standard].

b. iRaman spectra
Black standard
PSF black standard part 1.txt

Spot on plate (spot 1) (as-received); 174-4000 cm-1; ~4 cm-1 resolution; 50 spectra averaged; iRaman 532 [Directory: 170728 black standard].

Black standard
PSF black standard part 2.txt

Spot on plate (spot 2) (as-received); 174-4000 cm-1; ~4 cm-1 resolution; 50 spectra averaged; iRaman 532 [Directory: 170728 black standard].

Black standard
PSF black standard after vacuum.txt
Spot on plate; after exposure to vacuum (no gas or UV irradiation) for 29 days; 174-4000 cm-1; ~4 cm-1 resolution; 50 spectra averaged; iRaman 532 [Directory: 170829 black standard].

Black standard
PSF black standard after vacuum.txt
Spot on plate; after exposure to vacuum (no gas or UV irradiation) for 29 days; 174-4000 cm-1; ~4 cm-1 resolution; 50 spectra averaged; iRaman 532 [Directory: 170829 black standard].

Black standard
PSF 170912 dark standard no uv.txt
Spot on plate; after subsequent exposure to 5 Torr CO2 for 14 days and NO UV irradiation; 174-4000 cm-1; ~4 cm-1 resolution; 60 spectra averaged; iRaman 532 [Directory: 170912 black standard].

Black standard
PSF 170912 dark standard with uv.txt
Spot on plate (spot a); after subsequent exposure to 5 Torr CO2 for 14 days and WITH UV irradiation; 174-4000 cm-1; ~4 cm-1 resolution; 60 spectra averaged; iRaman 532 [Directory: 170912 black standard].

Black standard
PSF 170912 dark standard with uv 2.txt
Spot on plate (spot b); after subsequent exposure to 5 Torr CO2 for 14 days and WITH UV irradiation; 174-4000 cm-1; ~4 cm-1 resolution; 60 spectra averaged; iRaman 532 [Directory: 170912 black standard].

+++++++++++++++++++++++++++++++++++++

1.2.D.d. Aeroglaze Z307 black standard

(a) ASD reflectance spectra prior to vacuum chamber and Mars box exposure

Aeroglaze Z307
PSF 171003b00001.asd
Spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171030 aeroglaze z307].

Aeroglaze Z307
PSF 171003b00002.asd
Spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171030 aeroglaze z307].

Aeroglaze Z307
PSF 171003b00003.asd
Spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171030 aeroglaze z307].

Aeroglaze Z307
PSF 171003b00004.asd
Spot 4 – specular geometry; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171030 aeroglaze z307].

+++++++++++
Aeroglaze Z307
PSF 171113a00001.asd
Spot; diffuse geometry; after 14 days at 6e-7 Torr; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171113 black standard].

+++++++++++

Aeroglaze Z307
PSF 171127a00001.asd
SpotA; diffuse geometry; after 14 days at 6e-7 Torr followed by 14 days at 4.8Torr CO2, no UV irradiation; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171127 aeroglaze].

Aeroglaze Z307
PSF 171127a00004.asd
SpotB; diffuse geometry; after 14 days at 6e-7 Torr followed by 14 days at 4.8Torr CO2, no UV irradiation; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171127 aeroglaze].

Aeroglaze Z307
PSF 171127a00002.asd
SpotC; diffuse geometry; after 14 days at 6e-7 Torr followed by 14 days at 4.8Torr CO2, WITH UV irradiation; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171127 aeroglaze].

Aeroglaze Z307
PSF 171127a00003.asd
SpotD; diffuse geometry; after 14 days at 6e-7 Torr followed by 14 days at 4.8Torr CO2, WITH UV irradiation; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171127 aeroglaze].

+++++++++++
(b) Raman spectra – end of run (after vacuum and Mars box; with and without UV irradiation)

Aeroglaze Z307
PSF 171128 aeroglaze no uv 1.txt
Spot on plate not exposed to UV irradiation; 174-4002 cm-1; ~4 cm-1 resolution; 200 spectra averaged [Directory: desktop].
Aeroglaze Z307
PSF 171128 aeroglaze uv 1.txt

Spot on plate exposed to UV irradiation; 174-4002 cm-1; ~4 cm-1 resolution; 200 spectra averaged [Directory: desktop].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.2. E.d. Testing/determinations of mean and standard deviations for ASD (November 2017)
SHU101



PSF nomad shu mean.mn
<45 µm powder – mean spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra for determining mean and standard deviation [Directory: 171116 std testing b].

SHU101



PSF nomad shu std.st

<45 µm powder- standard deviation on mean spectrum (above); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra for determining mean and standard deviation [Directory: 171116 std testing b].

Spectralon


PSF nomad spec mean.mn
Spectralon disk – mean spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra for determining mean and standard deviation [Directory: 171116 std testing b].

Spectralon


PSF nomad spec std.st

Spectralon disk- standard deviation on mean spectrum (above); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra for determining mean and standard deviation [Directory: 171116 std testing b].

+++++++++++++++++++++++++++++++
1.2.F.d. Testing of repairs on iRaman (November 2017)

Acrylic sheet

PSF 171121 acryllic.txt

5 mm thick; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

Barium sulfate
PSF 171121 baso4.txt

packed powder; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

Gypsum slab

PSF 171121 gypsum slab.txt
slab; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

SHU102


PSF 171121 shung101sub45.txt
<45 µm powder; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

Spectralon

PSF 171121 spectralon.txt

disk; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

++++++++++++++++++++++++++++++++
1.g.G.d.  Diffuse and specular geometry measurements of pressed pellets of various opaque minerals, Spectralon, and aluminium mirror (November 2017)

Aluminum mirror

PSF 171113a00006.asd
Diffuse geometry; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

Aluminum mirror

PSF 171113a00007.asd
Specular geometry; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

Spectralon disk

PSF 171113a00013.asd
Specular geometry, relative to Al mirror; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

+++++++++++++++++++++++++++++++
1.H. New Sapphire window purchased for “The Cube” – January 2018

Sapphire
PSF sapphire MIR.dpt

Sapphire window in transmission, 5 mm thick; 1200-25000 nm range; i=0°, e=180°; 4 cm-1 resolution; 200 spectra averaged; 2 boxcar; Bruker Vertex 70 [Directory: 180129 sapphire].

Sapphire
PSF sapphire NIR.dpt

Sapphire window in transmission, 5 mm thick; 550-1200 nm range; i=0°, e=180°; 4 cm-1 resolution; 200 spectra averaged; 2 boxcar Bruker Vertex 70 [Directory: 180129 sapphire].

Sapphire
PSF sapphire UV.txt

Sapphire window in transmission, 5 mm thick; 200-800 nm range; i=0°, e=180°; ~0.46 nm resolution; 1000 spectra averaged; Maya 2000 Pro [Directory: 180129 sapphire].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.3.d. Final SuperCam calibration standards for Mars 2020 rover (August 2018)

ASD spectra for bidirectional data. Measurement details: 0.35-2.5 µm range; 1 nm output; 500 spectra averaged; phase angles: (1) i=30°, e=13°, φ=180°; (2) i=20°, e=13°; φ=180°; (3) i=13°, e=13°; φ=180°; (4) i=45°, e=13°; φ=180°. All measured relative to Spectralon at the same viewing geometry as the sample; ASD4. [Directory: 180828 supercam standards ixxexx].
Sample ID


Description

Spectral files
PMIFA0301


Olivine

(1) 180828a00002.asd [180828a supercam standard i30e13]; 









(2) 180828b00032.asd [180828b supercam standards i20e13]; 









(3) 180829a00010.asd [180829supercam standards i13e13a0]; 









(4) 180829b00010.asd [180829supercam standards i45e13a0].
LCA530101


Calcite CA53
(1) 180828a00003.asd [180828a supercam standard i30e13]; 









(2) 180828b00028.asd [180828b supercam standards i20e13]; 









(3) 180829a00001.asd [180829supercam standards i13e13a0]; 









(4) 180829b00003.asd [180829supercam standards i45e13a0].
NTE040101


NTE04

(1) 180828a00004.asd [180828a supercam standard i30e13]; 









(2) 180828b00027.asd [180828b supercam standards i20e13]; 









(3) 180829a00026.asd [180829supercam standards i13e13a0]; 









(4) 180829b00025.asd [180829supercam standards i45e13a0].
LANKE0104


Ankerite 4

(1) 180828a00005.asd [180828a supercam standard i30e13]; 









(2) 180828b00022.asd [180828b supercam standards i20e13]; 









(3) 180829a00027.asd [180829supercam standards i13e13a0]; 









(4) 180829b00013.asd [180829supercam standards i45e13a0].
PMIFS0504


Ferrosilite

(1) 180828a00006.asd [180828a supercam standard i30e13]; 









(2) 180828b00030.asd [180828b supercam standards i20e13]; 









(3) 180829a00031.asd [180829supercam standards i13e13a0]; 









(4) 180829b00001.asd [180829supercam standards i45e13a0].
NTE030101


NTE03

(1) 180828a00007.asd [180828a supercam standard i30e13]; 









(2) 180828b00031.asd [180828b supercam standards i20e13]; 









(3) 180829a00005.asd [180829supercam standards i13e13a0]; 









(4) 180829b00018.asd [180829supercam standards i45e13a0].
TGIOP0301


TGIOP

(1) 180828a00008.asd [180828a supercam standard i30e13]; 









(2) 180828b00029.asd [180828b supercam standards i20e13]; 









(3) 180829a00030.asd [180829supercam standards i13e13a0]; 









(4) 180829b00024.asd [180829supercam standards i45e13a0].
NTE010304


NTE01

(1) 180828a00009.asd [180828a supercam standard i30e13]; 









(2) 180828b00020.asd [180828b supercam standards i20e13]; 









(3) 180829a00003.asd [180829supercam standards i13e13a0]; 









(4) 180829b00008.asd [180829supercam standards i45e13a0].
LBHV020401

BHVO-2

(1) 180828a00010.asd [180828a supercam standard i30e13]; 









(2) 180828b00018.asd [180828b supercam standards i20e13]; 









(3) 180829a00019.asd [180829supercam standards i13e13a0]; 









(4) 180829b00019.asd [180829supercam standards i45e13a0].
TILBA0203


TILBA

(1) 180828a00013.asd [180828a supercam standard i30e13]; 









(2) 180828b00010.asd [180828b supercam standards i20e13]; 









(3) 180829a00009.asd [180829supercam standards i13e13a0]; 









(4) 180829b00007.asd [180829supercam standards i45e13a0].
LJMN10101


JMn-1

(1) 180828a00014.asd [180828a supercam standard i30e13]; 









(2) 180828b00023.asd [180828b supercam standards i20e13]; 









(3) 180829a00032.asd [180829supercam standards i13e13a0]; 









(4) 180829b00032.asd [180829supercam standards i45e13a0].
TAPAX0101


Apatite X

(1) 180828a00015.asd [180828a supercam standard i30e13]; 









(2) 180828b00012.asd [180828b supercam standards i20e13]; 









(3) 180829a00016.asd [180829supercam standards i13e13a0]; 









(4) 180829b00009.asd [180829supercam standards i45e13a0].
PMIFO0302


PMIFO

(1) 180828a00016.asd [180828a supercam standard i30e13]; 









(2) 180828b00024.asd [180828b supercam standards i20e13]; 









(3) 180829a00025.asd [180829supercam standards i13e13a0]; 









(4) 180829b00030.asd [180829supercam standards i45e13a0].
PMIEN0603


Enstatite

(1) 180828a00017.asd [180828a supercam standard i30e13]; 









(2) 180828b00021.asd [180828b supercam standards i20e13]; 









(3) 180829a00021.asd [180829supercam standards i13e13a0]; 









(4) 180829b00031.asd [180829supercam standards i45e13a0].
NTE020101


NTE02

(1) 180828a00018.asd [180828a supercam standard i30e13]; 









(2) 180828b00015.asd [180828b supercam standards i20e13]; 









(3) 180829a00011.asd [180829supercam standards i13e13a0]; 









(4) 180829b00016.asd [180829supercam standards i45e13a0].
PPTFE0107


PPTFE

(1) 180828a00019.asd [180828a supercam standard i30e13]; 









(2) 180828b00017.asd [180828b supercam standards i20e13]; 









(3) 180829a00018.asd [180829supercam standards i13e13a0]; 









(4) 180829b00017.asd [180829supercam standards i45e13a0].
TSERP0103


TSERP

(1) 180828a00020.asd [180828a supercam standard i30e13]; 









(2) 180828b00019.asd [180828b supercam standards i20e13]; 









(3) 180829a00002.asd [180829supercam standards i13e13a0]; 









(4) 180829b00006.asd [180829supercam standards i45e13a0].
LAGV20406


AGV-2

(1) 180828a00022.asd [180828a supercam standard i30e13]; 









(2) 180828b00008.asd [180828b supercam standards i20e13]; 









(3) 180829a00024.asd [180829supercam standards i13e13a0]; 









(4) 180829b00026.asd [180829supercam standards i45e13a0].
TSRICH0402

TSRICH

(1) 180828a00025.asd [180828a supercam standard i30e13]; 









(2) 180828b00011.asd [180828b supercam standards i20e13]; 









(3) 180829a00023.asd [180829supercam standards i13e13a0]; 









(4) 180829b00020.asd [180829supercam standards i45e13a0].
TAPAG0204


Apatite G

(1) 180828a00026.asd [180828a supercam standard i30e13]; 









(2) 180828b00016.asd [180828b supercam standards i20e13]; 









(3) 180829a00004.asd [180829supercam standards i13e13a0]; 









(4) 180829b00011.asd [180829supercam standards i45e13a0].
LSIDE0101


Siderite 4

(1) 180828a00027.asd [180828a supercam standard i30e13]; 









(2) 180828b00009.asd [180828b supercam standards i20e13]; 









(3) 180829a00020.asd [180829supercam standards i13e13a0]; 









(4) 180829b00022.asd [180829supercam standards i45e13a0].
PMIOR0504


Orthose

(1) 180828a00028.asd [180828a supercam standard i30e13]; 









(2) 180828b00007.asd [180828b supercam standards i20e13]; 









(3) 180829a00022.asd [180829supercam standards i13e13a0]; 









(4) 180829b00027.asd [180829supercam standards i45e13a0].
PORGA0107


PORGA

(1) 180828a00029.asd [180828a supercam standard i30e13]; 









(2) 180828b00006.asd [180828b supercam standards i20e13]; 









(3) 180829a00017.asd [180829supercam standards i13e13a0]; 









(4) 180829b00012.asd [180829supercam standards i45e13a0].
PMIDN0303


Clinopyroxene
(1) 180828a00030.asd [180828a supercam standard i30e13]; 









(2) 180828b00005.asd [180828b supercam standards i20e13]; 









(3) 180829a00008.asd [180829supercam standards i13e13a0]; 









(4) 180829b00005.asd [180829supercam standards i45e13a0].
LCMB0001


Chert

(1) 180828a00031.asd [180828a supercam standard i30e13]; 









(2) 180828b00003.asd [180828b supercam standards i20e13]; 









(3) 180829a00014.asd [180829supercam standards i13e13a0]; 









(4) 180829b00023.asd [180829supercam standards i45e13a0].
PMIAN0104


Andesine

(1) 180828a00032.asd [180828a supercam standard i30e13]; 









(2) 180828b00002.asd [180828b supercam standards i20e13]; 









(3) 180829a00007.asd [180829supercam standards i13e13a0]; 









(4) 180829b00002.asd [180829supercam standards i45e13a0].
LJSC10301


JSC-1

(1) 180828a00033.asd [180828a supercam standard i30e13]; 









(2) 180828b00001.asd [180828b supercam standards i20e13]; 









(3) 180829a00006.asd [180829supercam standards i13e13a0]; 









(4) 180829b00021.asd [180829supercam standards i45e13a0].
NTE050304


NTE05

(1) 180828a00034.asd [180828a supercam standard i30e13]; 









(2) 180828b00004.asd [180828b supercam standards i20e13]; 









(3) 180829a00015.asd [180829supercam standards i13e13a0]; 









(4) 180829b00004.asd [180829supercam standards i45e13a0].
SHERGOTTITE

Shergottite

(1) 180828a00035.asd [180828a supercam standard i30e13]; 









(2) 180828b00039.asd [180828b supercam standards i20e13]; 









(3) 180829a00022.asd [180829supercam standards i13e13a0]; 









(4) 180829b00033.asd [180829supercam standards i45e13a0].
Avain – 1.0mm #20



(1) 180828a00039.asd [180828a supercam standard i30e13]; 









(2) 180828b00033.asd [180828b supercam standards i20e13]; 









(3) 180829a00038.asd [180829supercam standards i13e13a0]; 









(4) 180829b00034.asd [180829supercam standards i45e13a0].
AluWhite 98


AluWhite standard
(1) 180828a00040.asd [180828a supercam standard i30e13]; 









(2) 180828b00036.asd [180828b supercam standards i20e13]; 









(3) 180829a00034.asd [180829supercam standards i13e13a0]; 









(4) 180829b00035.asd [180829supercam standards i45e13a0].
SC-CT green


Green standard
(1) 180828a00041.asd [180828a supercam standard i30e13]; 









(2) 180828b00037.asd [180828b supercam standards i20e13]; 









(3) 180829a00035.asd [180829supercam standards i13e13a0]; 









(4) 180829b00036.asd [180829supercam standards i45e13a0].
SC-CT red


Red standard

(1) 180828a00042.asd [180828a supercam standard i30e13]; 









(2) 180828b00035.asd [180828b supercam standards i20e13]; 









(3) 180829a00036.asd [180829supercam standards i13e13a0]; 









(4) 180829b00037.asd [180829supercam standards i45e13a0].
SC-CT cyan


Cyan standard
(1) 180828a00043.asd [180828a supercam standard i30e13]; 









(2) 180828b00034.asd [180828b supercam standards i20e13]; 









(3) 180829a00037.asd [180829supercam standards i13e13a0]; 









(4) 180829b00038.asd [180829supercam standards i45e13a0].
Aeroglaze Z307

Dark standard
(1) 180828a00044.asd [180828a supercam standard i30e13]; 









(2) 180828b00038.asd [180828b supercam standards i20e13]; 









(3) 180829a00039.asd [180829supercam standards i13e13a0]; 









(4) 180829b00039.asd [180829supercam standards i45e13a0].
+++++++++++++
Phase angles done on cal targets (28 total; a few missed or messed up)

Incidence 
Emission 
Phase angle (°)
Azimuth angle (°)

angle (°)
angle (°)

(180° = principal plane)

1. 
30
13
43
180
2. 
20
13
33
180
3.
13
13
26
180
4.
45
13
30
180

5.
0
30
30
180

6.
20
30
50
180

7.
13
30
43
180

8.
30
30
60
180

9.
45
30
75
180

10.
60
30
90
180

11. 
70
30
100 (says 80)
180

12.
60
13
73
180

13.
70
13
83
180

14.
0
13
13
180

15.
20
13
33 (says 30.5)
225

16.
30
13
43 (says 40.2)
225

17.
45
13
58 (says 54.8)
225

18.
60
13
73 (says 69.5)
225

19.
0
30
30
225

20.
13
30
43 (says 40.2)
225

21.
20
30
50 (says 46.1)
225

22.
30
30
60 (says 55)
225

23. 
45
30
75 (says 68.8)
225

24.
60
30
90 (says 82.7)
225

25.
70
30
100 (says 87.9)
225

26.
70
13
83 (says 79.4)
225

27. 
0
13
13
225

28.
13
13
26 (says 24)
225

++++++++++++++

Cal targets done: 
PMIFA0301 – olivine
LCA530101 – calcite (CA53)

NTE040101 – NTE04

LANKE0104 – ankerite4

PMIFS0504 – ferrosilite

NTE030101 – NTE03

TGIOP0301 – TGIOP

NTE010304 – NTE01

LBHVO20401 – BHVO-2

TILBA0203 – TILBA

LJMN10101 – JMn-1

TAPAX0101 – apatite X

PMIFO0302 – PMIFO

PMIEN0603 – enstatite

NTE020101 – NTE02

PPTFE0107 – PPTFE

TSERP0103 – TSERP

LAGV20406 – AGV-2

TSRICH0402 – TSRICH

TAPAG0204 – apatite G

LSIDE0104 – Siderite4

PMIOR0504 – orthose

PORGA0107 – PORGA
PMIDN0303 – clinopyroxene

LCMB0001 – chert

PMIAN0104 – andesine

LJSC10301 – JSC-1

NTE050304 – NTE05

SHERGOTTITE – Shergottite

Avian – 1.0mm #20

AluWhite 98

SC-CT green

SC-CT red

SC-CT cyan

Aeroglaze Z307

++++++++++++++++++

1.3.Ad. Mars 2020 White Paint (SuperCam cal target panel coating?)

(a) Phase angles on white paint acquired with ASD4. Measured relative to Spectralon at same geometry as target; 350-2500 nm; 1 nm output; 500 spectra averaged [Directories: 190104_MARS2020_Paint and 190109_MARS2020_Paint]
Sample

PSF file

Viewing geometry (i, e, p)

Mars 2020 white paint
190104a00001.asd
0/13/180

Mars 2020 white paint
190104a00005.asd
0/30/180

Mars 2020 white paint
190104a00006.asd
0/13/180

Mars 2020 white paint
190104a00010.asd
13/30/180

Mars 2020 white paint
190104a00014.asd
13/13/180

Mars 2020 white paint
190104a00018.asd
20/13/180

Mars 2020 white paint
190104a00022.asd
20/30/180

Mars 2020 white paint
190104a00026.asd
30/30/180

Mars 2020 white paint
190104a00030.asd
30/13/180

Mars 2020 white paint
190104a00034.asd
45/13/180

Mars 2020 white paint
190104a00038.asd
45/30/180

Mars 2020 white paint
190104a00042.asd
60/30/180

Mars 2020 white paint
190104a00046.asd
60/13/180

Mars 2020 white paint
190104a00050.asd
70/13/180

Mars 2020 white paint
190104a00054.asd
70/30/180

Mars 2020 white paint
190104a00122.asd
70/30/225

Mars 2020 white paint
190104a00126.asd
70/13/225

Mars 2020 white paint
190104a00114.asd
60/13/225

Mars 2020 white paint
190104a00118.asd
60/30/225

Mars 2020 white paint
190104a00106.asd
45/30/225

Mars 2020 white paint
190104a00110.asd
45/13/225

Mars 2020 white paint
190104a00082.asd
30/13/225

Mars 2020 white paint
190104a00086.asd
30/30/225

Mars 2020 white paint
190104a00090.asd
20/30/225

Mars 2020 white paint
190104a00094.asd
20/13/225

Mars 2020 white paint
190104a00098.asd
13/13/225

Mars 2020 white paint
190104a00102.asd
13/30/225

Mars 2020 white paint
190109a00001.asd
0/13/225

Mars 2020 white paint
190109a00004.asd
0/30/225 (multiple spots to see variability over target)

Mars 2020 white paint
190109a00005.asd
0/30/225 (multiple spots to see variability over target)

Mars 2020 white paint
190109a00006.asd
0/30/225 (multiple spots to see variability over target)

Mars 2020 white paint
190109a00007.asd
0/30/225 (multiple spots to see variability over target)

Mars 2020 white paint
190109a00008.asd
0/30/225 (multiple spots to see variability over target)

Mars 2020 white paint
190109a00009.asd
0/30/225 (multiple spots to see variability over target)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++

1.4.d. Alodized aluminum plate for possible use on ManitobaSat (December 2018)

Alodine chromium plate (on loan from University of Manitoba – Matt Driedger)

Alodine plate
PSF 181121a00001.asd
Spot 1 on plate; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181121 Alodin Chromium Plate].
Alodine plate
PSF 181121a00002.asd
Spot 2 on plate; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181121 Alodin Chromium Plate].

Alodine plate
PSF 181121a00003.asd
Spot 3 on plate; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181121 Alodin Chromium Plate].

Alodine plate
PSF 181121a00004.asd
Spot 4 on plate; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181121 Alodin Chromium Plate].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++
1.6d. MastCam-Z calibration targets for assessing effects of UV irradiation on spectral stability – December 2019

2 sets of 1 cm diameter squares of Mastcam-Z calibration targets from Morten Bo Madsen and Kjartan Kinch for UV irradiation (September 2019). UV irradiation done December 2019.
(i) Before exposure to UV irradiation; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191107 MCZ targets pre exposure].

MCZ001
PSF 191107a00001.asd

MCZ002
PSF 191107a00002.asd

MCZ003
PSF 191107a00003.asd

MCZ004
PSF 191107a00004.asd

MCZ005
PSF 191107a00005.asd

MCZ006
PSF 191107a00006.asd

MCZ007
PSF 191107a00007.asd

MCZ008
PSF 191107a00008.asd

++++++

(ii) After exposure to 100 Pa CO2, no UV irradiation; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ vacuum only].

MCZ001
PSF 191128a00001.asd

MCZ002
PSF 191128a00002.asd

MCZ003
PSF 191128a00003.asd

MCZ004
PSF 191128a00004.asd

MCZ005
PSF 191128a00005.asd

MCZ006
PSF 191128a00006.asd

MCZ007
PSF 191128a00007.asd

MCZ008
PSF 191128a00008.asd

++++++++

(iii) After exposure to 650 Pa CO2 and UV irradiation: 28 seconds: equivalent to 2 weeks on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 2 weeks].

MCZ001
PSF 191128b00001.asd

MCZ002
PSF 191128b00002.asd

MCZ003
PSF 191128b00003.asd

MCZ004
PSF 191128b00004.asd

MCZ005
PSF 191128b00005.asd

MCZ006
PSF 191128b00006.asd

MCZ007
PSF 191128b00007.asd

MCZ008
PSF 191128b00008.asd

++++++++

(iv) After exposure to 650 Pa CO2 and UV irradiation: 55 seconds: equivalent to4 weeks on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 4 weeks].

MCZ001
PSF 191128c00002.asd

MCZ002
PSF 191128c00003.asd

MCZ003
PSF 191128c00004.asd

MCZ004
PSF 191128c00005.asd

MCZ005
PSF 191128c00006.asd

MCZ006
PSF 191128c00007.asd

MCZ007
PSF 191128c00008.asd

MCZ008
PSF 191128c00009.asd

++++++++

(v) After exposure to 650 Pa CO2 and UV irradiation: 110 seconds: equivalent to 2 months on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 2 months].

MCZ001
PSF 191128d00001.asd

MCZ002
PSF 191128d00002.asd

MCZ003
PSF 191128d00003.asd

MCZ004
PSF 191128d00004.asd

MCZ005
PSF 191128d00005.asd

MCZ006
PSF 191128d00006.asd

MCZ007
PSF 191128d00007.asd

MCZ008
PSF 191128d00008.asd

++++++++

(vi) After exposure to 650 Pa CO2 and UV irradiation: 220 seconds: equivalent to 4 months on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 4 months].

MCZ001
PSF 191128e00001.asd

MCZ002
PSF 191128e00002.asd

MCZ003
PSF 191128e00003.asd

MCZ004
PSF 191128e00004.asd

MCZ005
PSF 191128e00005.asd

MCZ006
PSF 191128e00006.asd

MCZ007
PSF 191128e00007.asd

MCZ008
PSF 191128e00008.asd

++++++++

(vii) After exposure to 650 Pa CO2 and UV irradiation: 440 seconds: equivalent to 8 months on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 8 months].

MCZ001
PSF 191128f00002.asd

MCZ002
PSF 191128f00003.asd

MCZ003
PSF 191128f00004.asd

MCZ004
PSF 191128f00005.asd

MCZ005
PSF 191128f00006.asd

MCZ006
PSF 191128f00007.asd

MCZ007
PSF 191128f00008.asd

MCZ008
PSF 191128f00009.asd

++++++++

(viii) After exposure to 650 Pa CO2 and UV irradiation: 880 seconds: equivalent to 16 months on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 16 months].

MCZ001
PSF 191128g00001.asd

MCZ002
PSF 191128g00002.asd

MCZ003
PSF 191128g00003.asd

MCZ004
PSF 191128g00004.asd

MCZ005
PSF 191128g00005.asd

MCZ006
PSF 191128g00006.asd

MCZ007
PSF 191128g00007.asd

MCZ008
PSF 191128g00008.asd

++++++++

(ix) After exposure to 650 Pa CO2 and UV irradiation: 1760 seconds: equivalent to 32 month on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 32 months].

MCZ001
PSF 191128h00001.asd

MCZ002
PSF 191128h00002.asd

MCZ003
PSF 191128h00003.asd

MCZ004
PSF 191128h00004.asd

MCZ005
PSF 191128h00005.asd

MCZ006
PSF 191128h00006.asd

MCZ007
PSF 191128h00007.asd

MCZ008
PSF 191128h00008.asd

++++++++

(x) After exposure to 650 Pa CO2 and UV irradiation: 3520 seconds: equivalent to 2 weeks on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 64 months].

MCZ001
PSF 191128i00001.asd

MCZ002
PSF 191128i00002.asd

MCZ003
PSF 191128i00003.asd

MCZ004
PSF 191128i00004.asd

MCZ005
PSF 191128i00005.asd

MCZ006
PSF 191128i00006.asd

MCZ007
PSF 191128i00007.asd

MCZ008
PSF 191128i00008.asd

++++++++

(xi) After exposure to 650 Pa CO2 and UV irradiation: 7040 seconds: equivalent to 2 weeks on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191128 MCZ 128 months].

MCZ001
PSF 191128j00001.asd

MCZ002
PSF 191128j00002.asd

MCZ003
PSF 191128j00003.asd

MCZ004
PSF 191128j00004.asd

MCZ005
PSF 191128j00005.asd

MCZ006
PSF 191128j00006.asd

MCZ007
PSF 191128j00007.asd

MCZ008
PSF 191128j00008.asd

++++++++

(iii) After exposure to 650 Pa CO2 and UV irradiation: 68320 seconds: equivalent to 103 years on Mars; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 191129 MCZ 103 years].

MCZ001
PSF 191129a00001.asd

MCZ002
PSF 191129a00002.asd

MCZ003
PSF 191129a00003.asd

MCZ004
PSF 191129a00004.asd

MCZ005
PSF 191129a00005.asd

MCZ006
PSF 191129a00006.asd

MCZ007
PSF 191129a00007.asd

MCZ008
PSF 191129a00008.asd

++++++++

Notes from Dan Applin: Dec. 2019

1.Avian Aluwhite 98: significant spectral reddening over the 350 to 1000 nm range. This spectral change also occurred with exposure to vacuum-only. Therefore the process is unconstrained, but the rate of spectral changed occurred more rapidly with irradiation. The spectral changes are not very significant for the duration of the first year. This sample had by far the largest spectral changes.
2.Lucideon black: very minor spectral reddening also occurs over the same wavelength range, but appears to be largely insignificant. No major changes to the spectrum
3.Lucideon 70%:  very minor spectral reddening occurs over the same wavelength range. The significance is limited, especially for realistic time scales. No major changes to the spectrum
4.Lucideon 33%: very minor spectral reddening occurs over the same wavelength range. The significance is limited, especially for realistic time scales. No major changes to the spectrum
5.Lucideon yellow: There does not appears to be any significant change in the spectra.
6.Lucideon green: There does not appears to be any significant change in the spectra.
7.Lucideon cyan: very minor spectral reddening occurs over the same wavelength range. The significance is limited, especially for realistic time scales. No major changes to the spectrum
8.Lucideon red: There does not appears to be any significant change in the spectra.

++++++++++++++++++++++++++++++++++++
1.7.d. Nina Lanza Mn-rich samples

ASD reflectance spectra of as-received powders – October 20, 2020. i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201019 mn samples].

VS R7/4
PSF 201019a.00001.asd

HollDV
PSF 201019a.00002.asd

VS 5407-90
PSF 201019a.00003.asd

NCS-DC28044
PSF 201019a.00004.asd

NCS-DC47009
PSF 201019a.00005.asd

RhodDV
PSF 201019a.00006.asd

NCS-DC47008
PSF 201019a.00007.asd

PsiDV
PSF 201019a.00008.asd

SARM17
PSF 201019a.00009.asd

NCS-DC28041
PSF 201019a.00010.asd

IRSID 606-1
PSF 201019a.00011.asd

SARM16
PSF 201019a.00012.asd

JMN1
PSF 201019a.00013.asd

PacMinNod
PSF 201019a.00014.asd

PurpDV
PSF 201019a.00015.asd

OREAS170A
PSF 201019a.00016.asd

++++++++++++++++++++++++++++++++++++++
1.8.d. Spectra of epoxied Aluwhite standard after UV/Mars exposure – 2021

4 disks of Aluwhite epoxied or not under various conditions.

I=30°, e=0°; 500 spectra averaged; 1 nm output [Directory: 210827 mcz uv test].
MCZ009
PSF 210817a.00001.asd
as-received.

MCZ010
PSF 210817a.00002.asd
as-received.

MCZ011
PSF 210817a.00003.asd
as-received.

MCZ012
PSF 210817a.00004.asd
as-received.

+++++

MCZ009
PSF 210817a.00007.asd
45 minutes at ~550 Pa CO2 atmosphere, no UV
MCZ010
PSF 210817a.00008.asd
45 minutes at ~550 Pa CO2 atmosphere, no UV
MCZ011
PSF 210817a.00009.asd
45 minutes at ~550 Pa CO2 atmosphere, no UV
MCZ012
PSF 210817a.00010.asd
45 minutes at ~550 Pa CO2 atmosphere, no UV
+++++

MCZ009
PSF 210817a.00014.asd
28 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00015.asd
28 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00016.asd
28 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00017.asd
28 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00020.asd
55 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00021.asd
55 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00022.asd
55 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00023.asd
55 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00027.asd
110 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00028.asd
110 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00029.asd
110 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00030.asd
110 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00033.asd
220 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00034.asd
220 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00035.asd
220 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00036.asd
220 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00039.asd
440 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00040.asd
440 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00041.asd
440 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00042.asd
440 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00045.asd
880 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00046.asd
880 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00047.asd
880 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00048.asd
880 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00051.asd
1760 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00052.asd
1760 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00053.asd
1760 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00054.asd
1760 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210817a.00058.asd
3520 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210817a.00059.asd
3520 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210817a.00060.asd
3520 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210817a.00061.asd
3520 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

MCZ009
PSF 210830b.00001.asd
227,700 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ010
PSF 210830b.00002.asd
227,700 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ011
PSF 210830b.00003.asd
227,700 seconds UV exposure, ~550 Pa CO2 atmosphere.
MCZ012
PSF 210830b.00004.asd
227,700 seconds UV exposure, ~550 Pa CO2 atmosphere.
+++++

Aluwhite after UV – various phase angles with Maya spectrometer

MCZ001
PSF 007 e25.TXT

Aluwhite disk; i=12.5°, e=25°, phi=180°; 594-852.75 nm; ~0.25 nm sampling interval; ~0.37 nm spectral resolution at 696 nm; 75 msec integration time; 250 spectra averaged; PortaLIBS CCD [Directory: 210913 AW98].

MCZ001
PSF 002 e45.TXT

Aluwhite disk; i=12.5°, e=45°, phi=180°; 594-852.75 nm; ~0.25 nm sampling interval; ~0.37 nm spectral resolution at 696 nm; 75 msec integration time; 250 spectra averaged; PortaLIBS CCD [Directory: 210913 AW98].

 MCZ001
PSF 003 e50.TXT

Aluwhite disk; i=12.5°, e=50°, phi=180°; 594-852.75 nm; ~0.25 nm sampling interval; ~0.37 nm spectral resolution at 696 nm; 75 msec integration time; 250 spectra averaged; PortaLIBS CCD [Directory: 210913 AW98].

MCZ001
PSF 004 e60.TXT

Aluwhite disk; i=12.5°, e=60°, phi=180°; 594-852.75 nm; ~0.25 nm sampling interval; ~0.37 nm spectral resolution at 696 nm; 75 msec integration time; 250 spectra averaged; PortaLIBS CCD [Directory: 210913 AW98].

MCZ001
PSF 006 e30.TXT

Aluwhite disk; i=12.5°, e=30°, phi=180°; 594-852.75 nm; ~0.25 nm sampling interval; ~0.37 nm spectral resolution at 696 nm; 75 msec integration time; 250 spectra averaged; PortaLIBS CCD [Directory: 210913 AW98].

MCZ001a
PSF 000 e25.TXT

Aluwhite disk; i=12.5°, e=25°, phi=180°; 594-852.75 nm; ~0.25 nm sampling interval; ~0.37 nm spectral resolution at 696 nm; 75 msec integration time; 250 spectra averaged; PortaLIBS CCD [Directory: 210913 AW98].

+++++++++++++++++++++++++
1.8.d.i. Pure epoxies used to secure white targets for Perseverance

3M-2216
PSF 211013a.00001.asd
Slab of cured epoxy (“TVACed”), spot; i=30°, e=0°; 350-2300 nm; 1 nm output; 500 spectra averaged [Directory: 211013 mcz epoxies].

EA-9309
PSF 211013a.00002.asd
Slab of cured epoxy (“TVAECed”), spot; i=30°, e=0°; 350-2300 nm; 1 nm output; 500 spectra averaged [Directory: 211013 mcz epoxies].

++++++++++++++++++++++++++++++++++++++++++++++++++++
1.9.d. Possible Canadensys white calibration panels

Note: multiple spots on slabs; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; Directory: 210811 Cal Targets].

Fassade 


PSF 210811a.00001.asd – 210811a.00005.asd

Cutting board 
PSF 210811a.00006.asd – 210811a.00010.asd

Poster board

PSF 210811a.00012.asd – 210811a.00015.asd

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

1.10.d. Test of LunaR Raman breadboard – 144 cm stand-off distance

Directory/file: lunar testing DMA 221202 sulfur (December 2022)

Sulphur chunk
1000 mm plano-convex lens, uncoated; 600 µm slit; 144 cm lens-to-sample distance; 50 µm silica collection fibre; 5 sec integration time; 10 spectra averaged; shot twice.
Gypsum slab
1000 mm plano-convex lens, uncoated; 600 µm slit; variable lens-to-sample distance; 50 µm silica collection fibre; 10 sec integration time; 5 spectra averaged; shot four times.

++++++++++++++++++++++

1.11.d. Test of samples for ABB and Photon etc Raman STDP 2024
(i) iRaman test – 1 metre standoff distance; 532 nm irradiance; 174-4002 cm-1 range; ~4 cm-1 resolution. [Directories: 240201 silicon LunaR; 240205 siliocn stand off].
DIA205




PSF diamond 4.txtr
Single crystal; 45000 msec integration time; 20 spectra averaged.

OLV003




PSF olivine.txtr

Single crystal; 65000 msec integration time; 20 spectra averaged.

Silicon-coated window
PSF silicon.txtr

Silicon-coated window; 65000 msec integration time; 20 spectra averaged.

SYN007
PSF 000 silicon powder.txtr
Unsorted powder; 1 m standoff; 65000 msec integration time; 20 spectra averaged 150 wW power.
SIL199
PSF 001 silicon chunk.txtr
Slab; 1 m standoff; 65000 msec integration time; 20 spectra averaged; 150 wW power.
Silicon wafer
PSF 002 wafer angled.txtr
Silicon wafer; 1 m standoff; 65000 msec integration time; 20 spectra averaged; 150 wW power.
SYN007
PSF 003 silicon powder 4 cm.txtr
Unsorted powder; 4 cm standoff; 65000 msec integration time; 20 spectra averaged; 150 wW power.
SIL199
PSF 004 silicon chunk 4 cm.txtr
Slab; 4 cm standoff; 10000 msec integration time; 20 spectra averaged;150 wW power.
Silicon wafer
PSF 005 wafer 4 cm.txtr
Silicon wafer; 4 cm standoff; 15000 msec integration time; 20 spectra averaged; 150 wW power.
DIA205
PSF 006 diamond 4 cm.txtr
Single crystal (~3 mm); 4 cm standoff; 100 msec integration time; 100 spectra averaged; 150 wW power.
OLV003
PSF 007 olivine 4 cm.txtr
Single crystal (~3 mm); 4 cm standoff; 5000 msec integration time; 20 spectra averaged; 150 wW power. 
DIA205
PSF 008 diamond bw.txtr
Single crystal (~3 mm); held in halon, 5 mm standoff; 1000 msec integration time; 20 spectra averaged; 50 mW power.

OLV003
PSF 009 olivine bw.txtr
Single crystal (~3 mm); held in halon, 5 mm standoff; 10000 msec integration time; 20 spectra averaged; 50 mW power.

SIL199
PSF 010 silicon powder bw.txtr
Unsorted powder; held in halon, 5 mm standoff; 65000 msec integration time; 20 spectra averaged; 50 mW power.

Silicon wafer
PSF 011 silicon wafer bw.txtr
Silicon wafer; 5 mm standoff; 65000 msec integration time; 20 spectra averaged; 50 mW power.

SYN007
PSF 012 silicon chunk bw.txtr
Slab; 5 mm standoff; 65000 msec integration time; 20 spectra averaged; 50 mW power.

+++++++++++++++++++++++++++++++++

1.12a. Standards for Julene Aramendia (Juanma Madariaga) Spain – July 28, 2024

(i) ASD4 reflectance spectra:i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 240731 Standards].

Apatite standard
PSF 240731a.00001.asd
Unsorted powder

Mg(ClO4)2 standard
PSF 240731a.00002.asd
Unsorted big grains

MgSO4 standard
PSF 240731a.00003.asd
Unsorted powder

NaClO4 standard
PSF 240731a.00004.sad
Unsorted very big grains

++++++++++++++++END of 1.++++++++++++++
2. Silicates 
2.1. Pyroxenes 
2.1a. Sample Descriptions - Pyroxenes
[FORMAT: Sample #, type, locality,  association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either not pyroxenes or are too fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description










PYX001
now amphibole AMP001 (originally labelled as enstatite): Tilly Foster Mine, Brewster, New York (Dr. David Garske, collected by Gunnar Bjareby #A106).

PYX001A
New sample of enstatite (?). Brewster, Putnam Co., NY, USA (Minerals Unlimited – June 2013).

PYX002
now incompletely characterized phase INC002 (originally labelled as pyroxene): locality unknown, probably Bancroft, Ontario (G. Hudecek).
PYX003
Bronzite: Mantyharja, Finland (Dr. David Garske #A1647) (originally labelled as hypersthene).

PYX004
now apatite APA104 (originally labelled as diopside): Wilson's Corner, Quebec (Dr. David Garske #AL14b).

PYX005
Diopside: locality unknown, probably Ontario (G. Hudecek), with some amphibole AMP305.

PYX006
Diopside: locality unknown, probably Haliburton, Ontario, with titanite (GAR108) (G. Hudecek).

PYX007
Fassaite: locality unknown, probably Ontario (G. Hudecek).

PYX008
now incompletely characterized phase INC008 (originally labelled as pyroxene): locality unknown, probably Sudbury, Ontario (G. Hudecek).

PYX009
Diopside: locality only given as Canada, probably Quebec (Banff Rock Shop).

PYX010
Salite: locality unknown, probably Bancroft, Ontario (G. Hudecek).

PYX011
Wollastonite, Harquahala Mountains, Yuma County, Arizona (Wetaskiwin Rock Show), with incompletely characterized phase INC011.

PYX012
Diopside: locality unknown, probably Ontario (G. Hudecek).

PYX013
Urbanite (Fe-Mn pyx): Mangruvan Mine, Linde, Sweden (Dr. David Garske #D1870), with pyroxene (rhodonite) PYX044.

PYX014
Norbergite: Franklin, Sussex County, New Jersey (Minerals Unlimited), in limestone with diopside (PYX183) (too intimate to separate). Norbergite is not really a pyroxene anyway.

PYX015
Endiopside: Navajo Indian Reservation, San Carlos County, Arizona (Minerals Unlimited), with olivine OLV013, volcanic bomb intrusion.

PYX016
Diopside: N.W. Bird's Creek, Ontario (Minerals Unlimited). (lot of 10 and single pieces received June 17/09).
PYX017
Endiopside: Tillamook Burn Area, approximately 20 miles east of Tillamook, near Grindstone Lookout, Tillamook County, Oregon (Minerals Unlimited).

PYX018
Diopside (Cr-rich): near Dallas Gem Mine, San Benito County, California, with tremolite (Minerals Unlimited).

PYX019
Salite: Trail Creek, Grand County, Colorado (Minerals Unlimited).

PYX020
Diopside: Hirado Mine, Hirado-Mura, Bugi-gun, Gifu-ken, Honshu, Japan (Minerals Unlimited).

PYX021
Hedenbergite: Rio Marina, Elba, Italy (Minerals Unlimited).

PYX022
now incompletely characterized phase INC022 (originally diopside): Kafveltorp Quarry, Kopperberg, Sweden (Minerals Unlimited), with olivine OLV008.

PYX023
Enstatite: Mirabel Springs, Mount St. Helena, Lake County, California (Minerals Unlimited).

PYX024
too intimate to separate: Hypersthene: Summit Rock, Klamath County, Oregon (Minerals Unlimited), with lots of other minerals.

PYX025
Diopside: Jefferson County, Colorado, with actinolite (Minerals Unlimited).

PYX026
Hedenbergite (Mn-rich): Broadway Mine, near Silver Star, Madison County, Montana (Minerals Unlimited).

PYX027
too intimate to separate: Pyroxene: near Moti, Lane County, Oregon (Minerals Unlimited), in diabase.

PYX028
too intimate to separate: Hypersthene: Summit Rock, Klamath County, Oregon (Minerals Unlimited), in andesite.

PYX029
Diopside: Oaxaca, Oaxaca State, Mexico (Minerals Unlimited).

PYX030
siliceous glass (obsidian?) (originally labelled as augite): Mount Lassen, Lassen County, California (Minerals Unlimited), in augite andesite with sulphur.

PYX031
now amphibole AMP031 (originally labelled as augite): Gjerstad, Norway (Minerals Unlimited), in pegmatite.

PYX032
Hypersthene: Ekersund, Norway (Minerals Unlimited), mixed with and unknown amount of AMP232 which is not spectrally detectable but found by EMPA.

PYX033
Augite: Franklin, New Jersey (Dr. David Garske #C254).

PYX034
Endiopside: Hopi Buttes, Winslow, Arizona (Minerals Unlimited).

PYX035
Salite: Mount Etna, Sicily, Italy (Minerals Unlimited) (originally labelled as augite).

PYX036
Augite: Buffaure, Val di Fassa, Trento, Italy (Minerals Unlimited).

PYX037
Endiopside: Nye, Springwater County, Montana (Minerals Unlimited), mixed with an incompletely characterized phase (INC037) in spectrally significant amounts.

PYX038
Ferrosalite: Avery County, North Carolina (Mineral Unlimited).

PYX039
Salite: Risor, Aust-Adger, Norway (Smithsonian Institution Museum of Natural History, MNH #R15398).

PYX040
Fassaite/diopside: 1300' elevation N 30 W of Haleakala Observatory, Maui, Hawaii (University of Hawaii Collection).

PYX041
Fassaite: Val di Fassa, Italy (Dr. David Garske), with topazolite garnet GAR111.

PYX042
Enstatite: Bamle, Norway (Ward's collection).

PYX043
Clinopyroxene: analysis in Singer (1981).

PYX044
Rhodonite: Mangruvan Mine, Linde, Sweden (Dr. David Garske #D1870), with pyroxene (urbanite) PYX013.

PYX045
Diopside: Bancroft, ON, Canada (from Discovery Gemstones Ltd. – Edmonton, AB, Canada; #03D040; July 2009).
PYX046
Hypersthene: Quebec, Canada (~1 kg cobble, 1 side polished; massive black, crystalline) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).
PYX047
Diopside: Brazil (massive pale to dark green cobble with abundant crystals) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).

PYX048
Bronzite: locality unknown; four 1.5” pieces; shiny brown (Silver Cove Ltd., July 2018).

PYX049
Rhodonite: locality unknown; polished ~10 cm slice (Rocks and Gems Canada – Whistler, BC; July 2018).
PYX050
Diopside: Schwartzenstein, Tyrol, Austria (Smithsonian Institution National Museum of Natural History (NMNH) #82,325). Received from UND Jan. 2009. [John Adams sample].
PYX051
Pyroxmangite: Homedale, Idaho, USA (Smithsonian Institution National Museum of Natural History (NMNH) #102794). Received from UND Jan. 2009. [John Adams sample].
PYX052
Augite: Templeton, Quebec, Canada (Smithsonian Institution National Museum of Natural History (NMNH) #R15161). Received from UND Jan. 2009. [John Adams sample].
PYX053
Diopside (chrome): Outokumpo Mine, Outokumpo, Finland (Smithsonian Institution National Museum of Natural History (NMNH) #106659). Received from UND Jan. 2009. [John Adams sample].
PYX054
Augite: Nasinu, Fiji (Smithsonian Institution National Museum of Natural History (NMNH) #122303). Received from UND Jan. 2009. [John Adams sample].
PYX055
Augite: Monti Rossi, Sicilia, Italy (Smithsonian Institution National Museum of Natural History (NMNH) #95707). Received from UND Jan. 2009. [John Adams sample].
PYX056
Augite: Etna, Sicilia, Italy (Smithsonian Institution National Museum of Natural History (NMNH) #86581). Received from UND Jan. 2009. [John Adams sample].
PYX057
Pigeonite: Arlington Quarry, Loudon Co., VA, USA (Smithsonian Institution National Museum of Natural History (NMNH) #91916). Received from UND Jan. 2009. [John Adams sample].
PYX058
Diopside: Wakefield, Quebec, Canada (Smithsonian Institution National Museum of Natural History (NMNH) #R10308). Received from UND Jan. 2009. [John Adams sample].
PYX059
Diopside (chrome): Yakutia, Russia (Smithsonian Institution National Museum of Natural History (NMNH) #119491). Received from UND Jan. 2009. [John Adams sample].
PYX060
Diopside: Fianarantosa, Madagascar (Smithsonian Institution National Museum of Natural History (NMNH) #R15379). Received from UND Jan. 2009. [John Adams sample].
PYX061
Enstatite (bronzite): Kraubath, Austria (Smithsonian Institution National Museum of Natural History (NMNH) #C2367). Received from UND Jan. 2009. [John Adams sample].
PYX062
Hedenbergite: Furstenberg, Sachsen, Germany (Smithsonian Institution National Museum of Natural History (NMNH) #R3022). Received from UND Jan. 2009. [John Adams sample].
PYX063
Enstatite: Webster, NC, USA (Smithsonian Institution National Museum of Natural History (NMNH) #38833). Received from UND Jan. 2009. [John Adams sample].
PYX064
Enstatite (bronzite): Bonin Islands, Japan (Smithsonian Institution National Museum of Natural History (NMNH) #95715). Received from UND Jan. 2009. [John Adams sample].
PYX065
Diopside: Orford Nickel Mine, On, Canada. From David van Dieven (7120 Tabor Dr., Vernon, BC V1B 4A4); various beige-pale green pieces; received Feb. 2020.
PYX070
Enstatite: Embilipitiya, Sri Lanka (low Fe variety); from Hanco Zwaan (March 2009).
PYX101
Augite: Loudon County, Virginia (Excalibur Mineral Co.).

PYX102
Diopside: locality unknown (University of Alberta GEOL330 laboratory collection #A67).

PYX103
Augite: locality unknown (University of Alberta GEOL330 laboratory collection #D77), extremely heterogeneous.

PYX104
Diopside: locality unknown (University of Alberta GEOL330 laboratory collection #unknown), with calcite CRB110.

PYX105
Diopside: locality unknown (University of Alberta GEOL330 laboratory collection #8/4/6).

PYX106
now amphibole AMP106 (originally labelled as diopside-hedenbergite): University of Alberta GEOL330 laboratory collection #8/4/5).

PYX107
Diopside: locality unknown (University of Alberta GEOL330 laboratory collection #D81), with plagioclase PLG114.

PYX108
Enstatite: Jackson County, North Carolina (University of Alberta GEOL330 laboratory collection #D76; World Mineral Supply Co.).

PYX109
Salite: locality unknown (University of Alberta GEOL330 laboratory collection #7).

PYX110
Bronzite: locality unknown (University of Alberta GEOL330 laboratory collection #8/4/4).

PYX111
Diopside: Markt Schorgass, The Fichtelgegirge, Germany (Smithsonian Institution Museum of Natural History MNH #B20009).

PYX112
Pigeonite: Heinola, Finland (Smithsonian Institution Museum of Natural History MNH #B18247).

PYX113
Salite: Gerdeshagen, Germany (Smithsonian Institution Museum of Natural History MNH #85855), with plagioclase PLG124 and olivine OLV111.

PYX114
Augite: Skaergaard Intrusion, Greenland (University of Hawaii collection #10-21-6), heterogeneous, with plagioclase PLG116 and olivine OLV022.

PYX115
Augite: Skaergaard Intrusion, Greenland (University of Hawaii collection #10-21-9), with plagioclase PLG125 and olivine OLV020.

PYX116
Spodumene: Newry Township, Maine (Minerals Unlimited), no Li analysis.

PYX117
Bronzite: India (Excalibur Mineral Co.).

PYX118
too intimate to separate: Hypersthene: Diamond Lake, Douglas County, Oregon (Excalibur Mineral Co.), microcrystals.

PYX119
Bronzite: Loch Seaforth, Harris, Outer Hebrides, Scotland (Excalibur Mineral Co.), with olivine OLV103.

PYX120
Diopside: Madoc, Ontario (Minerals Unlimited).

PYX121
Diopside (var. coccolite): Cascade Mountain, Essex County, New York (Minerals Unlimited), with calcite CRB111.

PYX122
Bustamite (Fe-Ca-Mn pyx): Franklin, Sussex County, New Jersey, with willemite (WIL110) and polyadelphite (Minerals Unlimited).

PYX123
too intimate to separate: Hypersthene: Heim Brothers Quarry, Petaluma, Sonoma County, California (Minerals Unlimited), in andesite.

PYX124
Wöhlerite (Zr-Nb-Na-Ca-etc. pyx): Skudesundsjaer, Langesundfjord, Norway (Minerals Unlimited), sparse in nepheline-syenite pegmatite.

PYX125
Hiortdahlite (Na-Ca-Zr pyx): Ary, Langesundfjord, Norway (Minerals Unlimited), sparse with lepidomelane LEP101 and pyroxene PYX172 in nepheline-syenite pegmatite.

PYX126
Fassaite/diopside: June 1, 1929 eruption of Vesuvius, Naples, Campania, Italy (Min. Unlimited).

PYX127
Omphacite (Na-Al pyx): Tiburon Peninsula, Marin County, California (Minerals Unlimited).

PYX128
Aegerine (Na-Fe3+ pyx): Barkeviksjaer, Langesundfjord, Norway (Minerals Unlimited), in nepheline-syenite pegmatite.

PYX129
Babingtonite (Fe3+-Fe2+ pyx): Hampden Quarry, West Springfield, Massachusetts (Minerals Unlimited); little sample available.

PYX130
Pectolite (Na-H pyx): near Middletown, Lake County, California (Minerals Unlimited) no H analysis.

PYX131
Fassaite: Casa Collina Quarry, Pitigliano Grosseto, Tuscany, Italy (Minerals Unlimited), with melilite MEL103.

PYX132
Schefferite (Fe-Mn pyx): Langban, Sweden (Minerals Unlimited).

PYX133
Rosenbuschite (Na-Mn-Zr-Ti-F-OH pyx): Norra Kaar, Sweden (Minerals Unlimited), little sample available.

PYX134
Lavrovite (V-rich diopside): Sljudjauka, Lake Baikal, Russia (Dr. David Garske #R54).

PYX135
Diopside: DeKalb, New York (Dr. David Garske #M21a).

PYX136
Diopside: Dog's Lake, Storrington Township, Ontario (Dr. David Garske #M22a).

PYX150
Diopside: locality unknown, probably Bancroft, Ontario (G. Hudecek), formerly OLV001.

PYX151
Fassaite: San Vito Quarry, Vesuvio, Napoli, Italy (Excalibur Mineral Co.), formerly OLV004, with spinel (supposedly) which is too intimate to separate.

PYX152
Pyroxmangite/Rhodonite (Mn pyx): Kaso Mine, Tochigi-ken, Honshu, Japan (Minerals Unlimited), formerly OLV104.

PYX153
Ureyite (Na-Cr-Al pyx): Twomow, Burma (Minerals Unlimited), with jadeite, formerly URE101. See Harlow et al. (1987).
PYX160
Augite: Goose River, Quebec (Tyson's Minerals).

PYX161
Bronzite: locality unknown (Geological Survey of Canada collection at the University of Alberta #I59), in peridotite, with olivine OLV108.

PYX162
Diopside: Timber Lake Stage, Kootenay Lake, British Columbia (R. Burwash via R. Rushton), in diopside pegmatite.

PYX163
Unknown type: locality unknown (Geological Survey of Canada collection at the University of Alberta #I62), with plagioclase feldspar PLG126.

PYX164
no good analyses obtained: Pyroxene (type unknown): locality unknown, (source unknown), with plagioclase feldspar PLG127.

PYX165
Augite: Harcourt Township, Ontario (Ward's collection).

PYX166
Augite?: Wyoming (University of Alberta GEOL401 collection).

PYX167
Augite: locality unknown (Geological Survey of Canada collection at the University of Alberta #I57), in gabbro, heterogeneous, with plagioclase PLG128.

PYX168
Unknown type: (Colorado Geological Institute #511 in University of Alberta GEOL401 laboratory collection), with plagioclase PLG129 and olivine OLV110, in norite pegmatite. 

PYX169
total mystery. Do I even have a sample?

PYX170
Diopside: KR4011 xenolith from Kettle River, British Columbia (D. Canil), originally OLV109.

PYX171
Fassaite/Diopside: Palumbo Farm, Villafranca, Cecchina, near Rome, Italy (Minerals Unlimited), with OLV007.

PYX172
Augite: Ary, Langesundfjord, Norway (Minerals Unlimited), black, non-micaceous mineral with hiortdahlite PYX125 and lepidomelane LEP101.

PYX173
Ferrosilite: Road cut near Big Squaw, Maine (mauve to brown-black with associated labradorite (PLG131), fayalite (green-brown; OLV113), and biotite (too intimate to separate) (David Shannon).

PYX174
Hedenbergite: Iron Cap prospect, Santa Teressa Mountains, Graham County, Arizona (David Shannon).

PYX180
Wollastonite: 150' level, Gold Hill Mine, Tooele County, Utah, with calcite (David Shannon Minerals) [aka WOL101].

PYX181
Rhodonite: Kaso Mine, Tochigi-ken, Honshu, Japan (David Shannon?).

PYX182
Wollastonite: Drum Valley, Tulare County, California (aka WOL101) (Minerals Unlimited).

PYX183
Diopside: Franklin, Sussex County, New Jersey (Minerals Unlimited), in limestone with norbergite (PYX014, but not really a pyroxene).

PYX184
Omphacite: Panoche Pass, San Benito County, California (with glaucophane) (Minerals Unlimited).

PYX185
Hypersthene: Lac Onatchiway, Chicoutimi County, Quebec, Canada (Minerals Unlimited).

PYX186
Hypersthene: Nain, Labrador, Canada (Minerals Unlimited).

PYX187
Diopside: Dog Lake, ON, Canada, in calcite (CRB146) [The Crystal Circle, Tucson 2011 show].

PYX188
Chrome diopside: Russia [Intergeoresources Ltd.; Tucson 2011 show].

PYX190
Augite: Kakanui, Damaru, South Island, New Zealand (Smithsonian Institution NMNH #122142; received June 11, 2007).

PYX191
Chrome diopside: near Aracuai, Minas Gerais, Brazil (Excalibur Minerals; received Dec. 7, 2007).

PYX192
Chrome diopside: Orford, Quebec, Canada; with grossular (Excalibur Minerals; received Dec. 7, 2007).

PYX193
Enstatite/norite from Springwater intrusion (~500 grams). From American Museum of Natural History, Department of Earth and Planetary Sciences; catalog number ST88-6; received May 24, 2013.
PYX194
Pyroxene: hypersthene; locality unknown. Jasper Rock and Gem shop; 11 small polished pebbles; purchased August 2020.
PYX205
Enstatite: Happy Canyon, Texas E7 anomalous enstatite chondrite (American Meteorite Laboratory; #H314.111; 1.6 grams; received 1987). See MET200. See Huss (1976).
PYX206
Enstatite: Norton County, Kansas aubrite (David New Meteorites), with pyroxene PYX207. See MET201.

PYX207
Diopside: Norton County, Kansas aubrite (David New Meteorites), with pyroxene PYX206. See MET201.

++++++++++++++++++++++++++++
2.1.a.1. Sample descriptions: Pyroxenes - Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	Pyroxenite
	 
	SARM 5

	hand sample44
	**Augite
	ActLabs

	Wollastonite
	 
	GBW 03123 (NCS DC60124)


Pyroxenite grain size information from Brammer: <75 μm: 98%
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.1.a.2. Sample Descriptions: Pyroxenes - John Adams and RELAB pyroxenes (Digital spectral data available from RELAB)
Sample ID
Description









JA2368

John Adams hypersthene. No analysis available.

106006

John Adams hypersthene. No analysis available.

2427ACM
John Adams acmite. No analysis available.

7208

John Adams hedenbergite. No analysis available.

79558

John Adams hypersthene. No analysis available.

86618

John Adams hypersthene. No analysis available.

104265

John Adams hedenbergite. No analysis available.

R7209

John Adams hypersthene. No analysis available.

112538

John Adams jadeite. No analysis available.

PP-CMP-21
RELAB clinopyroxene (diopside). See Sunshine and Pieters (1993).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.1a.x Pyroxenes – Alternative names for pyroxenes
Aegirine / acmite 
(NaFe3+Si2O6) (Na, Fe pyroxene)

Alalite 
(faint green var. of diopside)

Augite 
(Mg, Fe, Ca pyroxene)

Babingtonite 
(Fe3+-Fe2+ pyroxene)

Baikalite 
(green var. of hedenbergite)

Bronzite 
(12-30% Fe) (Mg, Fe pyroxene)

Bustamite 
(Mn,Ca,Fe)(SiO3) (Ca, Mn pyroxenoid)

Canaanite 
(gray or bluish white var. of diopside)

Chladnite 
(Mg rich var. of enstatite; from Bishopville meteorite)

Chrome diopside 
(Cr- rich diopside)

Coccolite 
(granular var. of hedenbergite embedded in calcite)

Diallage 
(lamellar var. of hedenbergite)

Diopside 
(CaMgSi2O6) (Mg, Ca pyroxene)

Enstatite (ortho/clino) 
(MgSiO3) (0-12% Fe) (Mg, Fe pyroxene)

Eulite 
(70-90% Fe) (Mg, Fe pyroxene)

Fassaite 
(Ca-, Al-, Fe3+ -rich augite)

Ferrohypersthene 
(50-70% Fe) (Mg, Fe pyroxene)

Ferrosilite 
(90-100% Fe) (Mg, Fe pyroxene)

Hedenbergite 
(CaFeSi2O6) (Fe, Ca pyroxene)

Hiortdahlite 
(Na-Ca-Zr pyroxene)

Hypersthene 
(30-50% Fe) (Mg, Fe pyroxene)

Jadeite 
(NaAlSi2O6) (Na, Al pyroxene)

Jeffersonite 
(var. of schefferite; Ca, Mg, Fe, Mn, Zn pyroxene)

Johannsenite 
(Ca(Mn,Fe)Si2O6) (Ca, Mn pyroxene)

Lavenite 
(monoclinic)

Lavrovite 
(V-rich var. of diopside)

Leucaugite 
(var. of augite)

Malacolite 
(pale coloured, translucent var. of diopside)

Manganhedenbergite 
(var. of hedenbergite)

Omphacite 
(Na-Al pyroxene)

Peckhamite 
(var. of hypersthene, from Estherville meteorite)

Pectolite 
(Ca2NaH(SiO3)3) (Ca, Na, H pyroxenoid)

Pigeonite 
(Mg, Fe, Ca pyroxene)

Pyroxmangite 
(Mn,Fe)(SiO3) (Mn, Fe pyroxenoid)

Rhodonite 
((Mn,Ca,Fe)(SiO3)) (Mn pyroxenoid)

Rosenbuschite 
(Na-Mn-Zr-Ti-F-OH pyroxene)

Salite 
(Mg, Fe, Ca pyroxene [along diopside-hedenbergite join])

Schefferite 
(Fe-Mn pyroxene)

Spodumene 
(LiAlSi2O6) (Li, Al pyroxene)

Traversellite 
(faint green var. of diopside)

Urbanite 
(Fe-Mn pyroxene)

Ureyite 
(Na-Cr-Al pyroxene)

Victorite 
(Mg rich var. of enstatite; from Deesa meteorite)

Violan 
(blue var. of diopside)

Wöhlerite 
(Zr-Nb-Na-Ca etc. pyroxene)

Wollastonite 
(CaSiO3) (Ca pyroxenoid)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.1b. XRD Data - Pyroxenes
2.1.b.1. Analogue files from University of Alberta instrument
Sample

XRD File
Phases identified
PYX003

Z03214

Enstatite, ferroan

PYX009

Z03243

Diopside
PYX015

Z03215

Enstatite, ferroan

PYX018

Z03244

Diopside, aluminium; augite; chromite

PYX021

Z03216

Hedenbergite, magnesian

PYX023

Z03245

Enstatite, ordered; minor actinolite

PYX025

Z03246

Diopside; minor actinolite; minor alliettite; minor annite
PYX026

Z03247

Hedenbergite

PYX029

Z03217

Diopside

PYX032

Z03226

Enstatite, magnesian
PYX034

Z03248

Pigeonite ; johannsenite possibly

PYX036

Z03249

Augite ; diopside, aluminous

PYX037

Z03268

Augite ; talc ; clinochlore

PYX038

Z03250

Hedenbergite, magnesian
PYX039

Z03251

Hedenbergite, magnesian ; diopside

PYX040

Z03252

Diopside, aluminous ; minor annite ; minor nontronite

PYX041

Z03253

Diopside, aluminian
PYX042

Z03254

Enstatite, ferroan

PYX101

Z03269

Augite ; minor magnesiohornblende, ferroan

PYX103

Z03255

Diopside ; minor albite ; minor sanidine ; minor halloysite
PYX104

Z03256

Augite

PYX107

Z03257

Diopside ; minor anorthite
PYX108

Z03259

Enstatite, ferroan ; minor mixed clay ; minor cummingtonite

PYX111

Z03260

Diopside ; minor hastingsite (amphibole)

PYX112

Z03261

Enstatite, ordered ; enstatite, ferroan

PYX114

Z03262

Hedenbergite, magnesian

PYX115

Z03263

Hedenbergite, magnesian ; minor anorthite

PYX117

Z03227

Enstatite, ferroan

PYX131

Z03233

Augite, aluminous

PYX135

Z03264

Diopside

PYX136

Z03265

Hypersthene ; minor magnesiohornblende
PYX150

Z03266

Diopside

PYX151

Z03232

Fassaite ; aluminum diopside ; minor muscovite

PYX160

Z03197

Diopside

PYX161

Z03201

Olivine ; enstatite ; chrysotile
PYX162

Z03204

Diopsdie ; minor actinolite

PYX165

Z03202

Augite ; hedenergite ; minor quartz ; minor actinolite

PYX205

Z03267

Enstatite, ordered ; minor clinoenstatite, synthetic
+++++++++++++
(ii) Measured on HOSERLab Bruker D8 (February, 2019)

Sample



Phases identified by XRD
PYX193 (should be enstatite)
Ferroan enstatite solid identification; probably also a bit of phyllosilicate (11 Angstrom peak

++++++++++++++++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes
Wt. %
PYX003
PYX005
PYX006
PYX007
PYX009
PYX010
PYX011*

SiO2
50.33
49.70
54.07
44.46
53.90
51.94
51.49


Al2O3
 5.46
 4.12
 0.52
 8.08
 0.51
 0.50
 0.04

FeO1
17.30
 5.93
 4.18
 6.11
 6.20
10.18
 0.39

Fe2O31
 1.43
 0.77
 2.07
 2.07
 0.00
 4.83
 n.d.

MgO
23.58
13.80
14.63
10.92
14.18
 9.31
 0.23

CaO
 1.59
22.94
23.85
22.64
25.08
21.65
48.06

Na2O
 0.05
 0.57
 0.73
 0.94
 0.05
 1.39
 n.d.

TiO2
 0.41
 1.48
 0.02
 3.92
 0.01
  tr.
 0.05

Cr2O3
 0.11
 0.17
 0.04
 0.05
 0.04
 0.03
 n.d.

V2O5
 0.02
 0.00
 0.02
 0.00
 0.02
  tr.
 n.d.

CoO
 0.04
 0.04
 0.03
 0.04
 0.05
 0.02
 n.d.

NiO
 0.01
 0.04
 0.03
 0.02
 0.15
 0.01
 n.d.

MnO
 0.29
 0.11
 0.18
 0.27
 0.26
 0.52
 n.d.

ZrO2*
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00
 n.d.

TOTAL
100.62
99.67
100.37
99.52
100.45
100.38
100.26


ATOMIC RATIOS

Mg (En)
68.5
41.0
42.9
35.7
39.8
30.4
 0.7


Fe2+ (Fs)
28.2
 9.9
 6.9
11.2
 9.7
18.7
 0.6

Ca (Wo)
 3.3
49.1
50.2
53.1
50.5
50.9
98.7
Other
High Al
High Ti

High Al,Ti

High Na

NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.838
1.854
1.987
1.686
1.991
1.953
1.990

Al
0.162
0.146
0.013
0.314
0.009
0.023
0.002

Al
0.073
0.035
0.009
0.046
0.013
  --
  --

V
  tr.
  --
  tr.
  --
  tr.
  tr.
  --

Ti
0.011
0.041
0.002
0.112
  tr.
  tr.
0.001

Zr
  --
  --
  --
  --
  --
  --
  --

Cr
0.002
0.005
0.001
0.002
0.001
0.001
  --

Fe3+
0.039
0.021
0.057
0.059
  --
0.137
  --

Fe2+
0.529
0.185
0.128
0.194
0.191
0.325
0.012

Mg
1.283
0.767
0.802
0.617
0.781
0.528
0.013

Ca
0.061
0.917
0.938
0.920
0.992
0.883
1.990

Co
  tr.
0.001
0.001
0.001
0.002
0.001
  --

Ni
  tr.
0.001
0.001
0.001
0.004
  tr.
  --

Mn
0.009
0.004
0.005
0.009
0.008
0.016
  --

Na
  tr.
0.041
0.053
0.068
0.004
0.103
  –

Total
4.008
4.018
3.997
4.029
3.996
3.970
4.008

M2 cations2

0.967
0.998
1.000
1.007
1.004


Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-7
EMPA-4
EMPA-8
EMPA-7
EMPA-8
EMPA-8
EMPA-1

1. FeO determined by wet chemistry at University of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX006
PYX007
PYX009

Wt.%

SiO2
53.61
49.86
51.44

TiO2
0.35
2.59
0.00

Al2O3
2.14
18.63
0.43

FeOc
4.19
4.86
6.99


Fe2O3c
1.78
3.75
0.17
Fe2O3Ta
6.44
9.15
7.94

MnO
0.20
0.24
0.38

MgO
14.81
2.83
19.00

CaO
21.51
7.69
21.07

Na2O
0.89
4.85
0.04

K2O
0.12
3.15
0.00

P2O5
0.17
0.89
0.00

Totalb
100.24
99.88
100.30

LOId
1.87
2.52
0.74
Mg (En)
45.4
25.2
49.9

Fe2+ (Fs)
7.2
24.6
10.3

Ca (Wo)
47.4
49.9
39.8

Other

HighAl,Na.K


ppm:

Sr
170
1302
4

Zr
99
230
15

V
58
217
13

Cr
24
31
21

Source of
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC

a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX011
PYX018
PYX023
PYX025
PYX026
PYX033A
PYX033B

Wt.%

SiO2
50.42
53.63
55.79
53.16
47.97
41.87
43.42

TiO2
0.07
0.03
0.01
0.04
0.01
0.80
1.17

Al2O3
1.63
0.75
0.99
0.95
0.82
1.17
0.57

FeO
c
0.31
2.13
5.66
3.30
14.45
5.64
6.42

Fe2O3c
0.11
1.45
0.89
0.11
4.67
4.24
2.35

Fe2O3Ta
0.45
3.82
7.18
3.78
20.73
10.51
9.48

MnO
0.05
0.13
0.16
0.53
5.14
8.60
21.21

MgO
21.60
16.83
32.60
15.84
2.87
4.15
2.57

CaO
24.83
23.76
2.80
25.58
22.00
12.48
10.19

Na2O
0.23
0.42
0.04
0.12
0.37
0.20
0.18

K2O
0.40
0.00
0.01
0.03
0.07
0.34
0.17

P2O5
0.27
0.00
0.00
0.07
0.01
0.00
0.01

ZnO





20.27
11.38

Totalb
99.95
99.37
99.58
100.10
99.99
100.39
100.35
LOI
d
11.25
0.98
2.19
2.28
5.73
3.73
1.58
Mg (En)
54.5
47.9
86.3
43.9
10.7
25.5
(19.0)
Fe2+ (Fs)
0.4
3.4
8.4
5.1
30.2
19.4
(26.7)
Ca (Wo)
45.1
48.7
5.3
51.0
59.0
55.1
(54.3)
Other




High Mn
High Mn,Ti
High Mn,Ti
ppm:








Sr

62
17
28
24
110
58
33

Zr

70
10
5
18
<2
<2
4

V

35
123
59
22
<2
5
8

Cr

25
4387
2687
6
47
<2
4

Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX012
PYX013
PYX015
PYX016
PYX017
PYX018
PYX019

SiO2
52.12
52.48
52.07
55.08
50.57
55.17
48.41

Al2O3
 0.50
 0.56
 6.34
 0.23
 4.09
 0.37
 5.29

FeO1
 0.40
 0.50
 3.25
 1.69
 4.88
 2.42
 6.15

Fe2O31
15.89
14.55
 0.01
 0.10
 1.25
 0.00
 3.79

MgO
 9.13
 8.05
16.42
17.82
16.05
17.01
12.37

CaO
21.58
13.14
19.38
24.96
20.85
23.93
22.15

Na2O
 1.42
 5.91
 1.31
 0.13
 0.32
 0.51
 0.36

TiO2
  tr.
 0.01
 0.21
 0.07
 1.04
  tr.
 1.05

Cr2O3
 0.08
 0.04
 1.39
 0.03
 0.78
 0.91
 0.03

V2O5
 0.04
 0.01
 0.03
 0.00
 0.02
 0.03
 0.03

CoO
 0.02
 0.05
 0.03
 0.04
 0.03
 0.02
 0.05

NiO
 0.04
 0.02
 0.07
 0.03
 0.06
 0.07
 0.02

MnO
 0.55
 5.17
 0.10
 0.07
 0.13
 0.10
 0.26

ZrO2*
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

ZnO*
 n.d.
 0.18
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.

TOTAL
101.77
100.67
100.61
100.25
100.07
100.54
99.96

ATOMIC RATIOS

Mg (En)
36.7
45.3
51.0
48.6
47.5
47.8
39.0

Fe2+ (Fs)
 0.9
 1.6
 5.6
 2.5
 8.1
 3.8
10.9

Ca (Wo)
62.4
53.1
43.4
48.9
44.4
48.4
50.1
Other

High Na,Mn
High Al,Cr

High Ti

High Al,Ti
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.927
1.977
1.875
1.994
1.862
1.995
1.815

Al
0.022
0.023
0.125
0.006
0.138
0.005
0.185

Al
  --
0.002
0.143
0.003
0.039
0.010
0.049

V
0.001
 tr.
0.001
  --
 tr.
0.001
0.001

Ti
 tr.
 tr.
0.006
0.002
0.029
 tr.
0.029

Zr
  --
  --
  --
  --
  --
  --
  --

Cr
0.002
0.001
0.039
0.001
0.022
0.026
0.001

Fe3+
0.442
0.412
0.001
0.002
0.035
  --
0.106

Fe2+
0.012
0.016
0.097
0.050
0.150
0.073
0.194

Mg
0.503
0.453
0.880
0.961
0.880
0.917
0.691

Ca
0.855
0.530
0.748
0.968
0.822
0.928
0.889

Co
0.001
0.002
0.001
0.001
0.001
0.001
0.002

Ni
0.001
0.001
0.002
0.001
0.002
0.002
0.001

Mn
0.017
0.165
0.003
0.002
0.004
0.003
0.009

Na
0.102
0.433
0.091
0.009
0.022
0.036
0.027

Zn
  --
0.004
  --
  --
  --
  --
  –

Total
3.886
4.019
4.012
4.000
4.006
3.998
3.998

M2 cations2
0.977
1.135
0.882
0.981
0.871
0.994
0.929

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-4
EMPA-5
EMPA-6
EMPA-7
EMPA-9
EMPA-7
EMPA-6

1. FeO determined by wet chemistry at University of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX020
PYX021
PYX023
PYX025
PYX026
PYX029
PYX032

SiO2
55.23
48.35
56.86
54.34
49.37
51.56
50.21

Al2O3
 0.59
 0.54
 0.76
 0.34
 0.61
 3.48
 1.24

FeO1
 2.07
23.25
 6.36
 3.46
13.62
 4.20
23.65

Fe2O31
 0.00
 3.81
 0.83
 0.00
 5.07
 1.39
 5.11

MgO
17.06
 1.25
34.04
15.99
 2.79
14.01
17.57

CaO
24.08
21.66
 0.65
25.20
22.54
24.22
 1.59

Na2O
 0.52
 0.18
 0.00
 0.03
 0.13
 0.40
 0.00

TiO2
 0.09
 0.00
 0.01
 0.01
 0.01
 0.38
 0.19

Cr2O3
 0.96
 0.02
 0.45
 0.06
 0.03
 0.03
 0.04

V2O5
 0.05
 tr.
  tr.
  tr.
 0.01
 0.00
  tr.

CoO
 0.05
 0.06
 0.03
 0.04
 0.05
 0.03
 0.06

NiO
 0.06
 0.02
 0.08
 0.02
 0.03
 0.03
 0.01

MnO
 0.10
 1.17
 0.17
 0.51
 6.71
 0.31
 0.53

ZrO2*
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

ZnO*
 n.d.
 n.d.
 n.d.
 n.d.
 0.00
 n.d.
 n.d.

TOTAL
100.86
100.31
100.24
100.00
100.97
100.04
100.20

ATOMIC RATIOS

Mg (En)
48.0
 4.2
89.3
44.4
10.4
41.5
54.9

Fe2+ (Fs)
 3.3
43.7
 9.4
 5.4
28.7
 6.9
41.5

Ca (Wo)
48.7
52.1
 1.3
50.2
60.9
51.6
 3.6
Other
High Cr
Mod. Mn


High Mn


NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.991
1.964
1.965
1.993
1.960
1.905
1.920

Al
0.009
0.027
0.031
0.007
0.029
0.095
0.056

Al
0.017
  --
  --
0.008
  --
0.056
  --

V
0.001
  tr.
  tr.
  tr.
  tr.
  --
  tr.

Ti
0.002
  --
  tr.
  tr.
  tr.
0.011
0.005

Zr
  --
  --
  --
  --
  --
  --
  --

Cr
0.028
0.001
0.012
0.002
0.001
0.001
0.001

Fe3+
  --
0.117
0.022
  --
0.150
0.038
0.147

Fe2+
0.063
0.791
0.184
0.106
0.453
0.129
0.756

Mg
0.916
0.076
1.753
0.875
0.164
0.773
1.002

Ca
0.929
0.942
0.025
0.989
0.959
0.959
0.065

Co
0.002
0.002
0.001
0.001
0.002
0.001
0.002

Ni
0.002
0.001
0.002
0.001
0.001
0.001
  tr.

Mn
0.003
0.039
0.004
0.016
0.226
0.009
0.017

Na
0.037
0.015
  --
0.002
0.009
0.029
  --

Zn
  --
  --
  --
  --
  --
  --
  –

Total
4.000
3.975
4.000
4.000
3.954
4.007
3.972

M2 cations2
0.999
0.999

1.010
1.197
0.999


Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-6
EMPA-8
EMPA-7
EMPA-8
EMPA-6
EMPA-9
EMPA-7

1. FeO determined by wet chemistry at University of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX021
PYX041
PYX045
PYX103
PYX167

Wt. %
SiO2
47.08
45.24
54.56
51.62
49.78

TiO2
0.01
0.71
0.01
1.64
0.67

Al2O3
1.08
11.21
0.64
14.82
18.02

Fe2O3T
27.67
4.71
2.81
12.71
9.26

MnO
0.88
0.07
0.12
0.19
0.14

MgO
2.00
12.57
16.75
5.15
7.22

CaO
21.02
25.35
24.29
10.55
11.71

Na2O
0.27
0.02
0.21
2.36
2.43

K2O

0.03
0.04
0.02
0.69
0.26

P2O5
0.01
0.01
0.00
0.16
0.04

Total
100.05
99.93
99.41
99.89
99.53

LOI

2.64
0.30
0.80
1.23
1.43

FeO

22.99
0.63
2.30
8.75
7.07

Fe2O3
2.12
4.01
0.25
2.99
1.40

ppm:





Sr

<1
107
66
164
240

Zr

5
363
11
58
9

V

4
42
33
425
186

Cr

<2
<2
<2
<2
203

Ni








Mertzman
Mertzman
Mertzman
Mertzman
Mertzman



XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


Fe2O3T: Total Fe reported as Fe2O3. 

Total: expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX033
PYX034
PYX035
PYX036
PYX037
PYX038
PYX039

SiO2
48.46
49.80
48.05
50.54
53.13
49.40
51.45

Al2O3
 1.01
 5.63
 5.15
 2.99
 2.44
 0.31
 1.16

FeO1
 6.02
 5.21
 6.29
 8.18
 4.48
17.49
10.26

Fe2O31
 7.73
 2.03
 2.56
 1.71
 n.d.
 8.70
 6.47

MgO
 3.54
14.58
13.12
14.64
17.35
 3.06
 8.47

CaO
17.65
19.86
21.95
20.35
21.25
20.80
20.03

Na2O
 2.59
 1.06
 0.53
 0.27
 0.30
 0.61
 2.14

TiO2
 0.02
 1.55
 1.73
 0.86
 0.17
 0.00
 0.05

Cr2O3
 0.06
 0.12
 0.03
 0.07
 1.12
 0.02
 0.02

V2O5
 0.00
 0.01
 0.02
 0.08
 0.04
 0.00
 tr.

CoO
 0.06
 0.03
 0.04
 0.04
 0.05
 0.08
 0.05

NiO
 0.06
 0.05
 0.02
 0.02
 0.07
 0.01
 0.02

MnO
 7.66
 0.12
 0.19
 0.25
 0.11
 0.61
 0.67

ZrO2*
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

ZnO*
 5.04
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.

TOTAL
99.90
100.05
99.68
100.00
100.51
101.09
100.79

ATOMIC RATIOS

Mg (En)
18.1
47.4
40.5
43.3
49.4
11.0
29.6

Fe2+ (Fs)
17.2
 8.9
10.8
13.4
 7.1
35.2
20.1

Ca (Wo)
64.7
43.7
48.7
43.3
43.5
53.8
50.3
Other
High Na,Mn
High Al,Ti
High Al,Ti
High Ti
High Cr

High Na
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.944
1.820
1.805
1.888
1.931
1.953
1.957

Al
0.048
0.180
0.195
0.112
0.069
0.014
0.043

Al
  --
0.062
0.033
0.020
0.036
  --
0.010

V
  --
  tr.
  tr.
0.002
0.001
  --
  --

Ti
0.001
0.042
0.050
0.025
0.005
  --
0.002

Zr
  --
  --
  --
  --
  --
  --
  --

Cr
0.002
0.004
0.001
0.002
0.032
  tr.
0.001

Fe3+
0.234
0.055
0.072
0.047
  --
0.257
0.185

Fe2+
0.202
0.158
0.196
0.251
0.136
0.577
0.327

Mg
0.212
0.843
0.733
0.815
0.940
0.181
0.480

Ca
0.759
0.777
0.882
0.815
0.827
0.881
0.816

Co
0.002
0.001
0.001
0.002
0.001
0.002
0.002

Ni
0.002
0.001
0.001
0.001
0.002
  tr.
0.001

Mn
0.260
  tr.
0.007
0.007
0.003
0.021
0.021

Na
0.202
0.075
0.038
0.020
0.021
0.047
0.158

Zn
0.149
  --
  --
  --
  --
  --
  –

Total
4.017
4.019
4.014
4.007
4.004
3.934
4.003

M2 cations2
1.374
0.857
0.929
0.846
0.885
0.951
0.998

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-7
EMPA-9
EMPA-8
EMPA-8
EMPA-3
EMPA-7
EMPA-7

1. FeO determined by wet chemistry at University of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX034
PYX035
PYX036
PYX038
PYX039
PYX048
PYX049

Wt.%

SiO2
48.79
46.53
51.02
43.95
50.54
52.36
62.48

TiO2
1.83
1.76
1.20
0.01
0.06
0.00
0.01

Al2O3
6.49
6.52
17.86
0.51
1.24
0.34
0.61

FeOc
4.67
6.32
3.11
17.97
10.39
1.88
0.00

Fe2O3c
2.93
4.34
5.34
15.89
5.68
44.12
0.00

Fe2O3Ta
8.12
11.36
8.80
35.86
17.23
46.21
0.00

MnO
0.11
0.21
0.18
0.63
0.62
0.06
34.51

MgO
13.99
12.82
3.53
2.54
8.32
0.52
0.09

CaO
19.51
19.79
12.33
15.92
19.71
0.12
2.40

Na2O
1.06
0.65
2.63
0.48
2.07
0.00
0.12

K2O
0.19
0.09
2.05
0.04
0.00
0.01
0.01

P2O5
0.03
0.05
0.38
0.01
0.00
0.06
0.06

Totalb
100.12
99.78
99.98
99.95
99.79
99.68
100.29

LOId
0.78
1.01
4.97
4.03
0.83
5.23
0.72
Mg (En)
45.7
41.9
25.0
10.6
29.4
(31.3)
(5.0)
Fe2+ (Fs)
8.5
11.6
12.3
41.9
20.6
(63.5)
(0.0)
Ca (Wo)
45.8
46.5
62.7
47.6
50.1
(5.2)
(95.0)
Other
High Ti,Al
High Ti,Al
High Ti.Al+
High Fe3+
High Na,Fe3+
High Fe3+
High Mn
ppm:

Sr
177
170
573
5
<2
<2
179

Zr
69
106
25
3
21
<2
<2

V
236
417
291
4
28
<2
23

Cr
579
109
59
2
8
44
85


Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX040
PYX041
PYX042
PYX043
PYX044
PYX046
PYX047

SiO2
47.27
45.67
56.59
50.10
47.25
48.49
53.56
Al2O3
 8.28
10.93
 0.09
  2.71
 tr.
3.76
1.54
FeO1
 4.69
 1.64
 8.93
  4.00
 0.13
20.43
4.42
Fe2O31
 2.77
 2.90
 0.84
  1.11
 0.00
1.82
1.10
Fe2O3T





24.52
6.01

MgO
13.19
12.60
33.88
17.60
 2.44
19.07
14.97
CaO
20.90
23.58
 0.22
20.00
 5.95
2.01
23.17
Na2O
 0.63
 0.00
 0.00
  0.19
 0.03
0.21
0.48
TiO2
 1.73
 0.66
 0.04
  0.66
 tr.
0.85
0.08
Cr2O3
 0.43
 0.03
 0.04

 0.08


V2O5
 tr.
 0.00
 tr.

 0.01


CoO
 0.03
 0.04
 0.02

 0.09


NiO
 0.03
 0.02
 0.01

 0.12


MnO
 0.11
 0.07
 0.04
  0.24
42.81
0.43
0.14
ZrO2*
 0.00
 0.00
 0.00

 0.00


ZnO*
 n.d.
 n.d.
 n.d.

 0.20


Nb2O5*
 n.d.
 n.d.
 0.00

 n.d.


K2O



  0.00

0.16
0.13
P2O5



  0.01

0.06
0.01
SO3





0.00
0.00
LOI2



  0.69

2.15
1.39
Total
100.06
98.14
100.70
97.33
99.11
99.56
100.09
ppm

Sr





6
90
Zr





50
12
V





161
35
Cr





561
1292
Co





83
57
ATOMIC RATIOS

Mg (En)
42.7
39.7
86.8
51.4
 (35.93)
59.6
43.9
Fe2+ (Fs)
 8.5
 2.9
12.8
6.6
 (1.07)
35.8
7.3
Ca (Wo)
48.8
57.4
 0.4
42.0
 (63.00)
4.5
48.9
Other
High Al,Ti
High Al


High Mn


NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.750
1.687
1.942

2.005


Al
0.250
0.313
0.004

  tr.


Al
0.110
0.162
  --

  --


V
  --
  --
  tr.

  tr.


Ti
0.049
0.018
0.001

  tr.


Zr
  --
  --
  --

  --


Cr
0.013
0.001
0.001

0.003


Fe3+
0.078
0.080
0.021

  --


Fe2+
0.144
0.051
0.256

0.005


Mg
0.727
0.695
1.732

0.153


Ca
0.829
1.005
0.008

0.270


Co
0.001
0.001
0.001

0.003


Ni
0.001
0.001
  tr.

0.004


Mn
0.004
0.002
0.001

1.538


Na
0.044
  --
  --

0.003


Zn
  --
  --
  --

0.006


Nb
  --
  --
  --

  --


Total
4.000
4.016
3.967

3.991


M2 cations3
0.891
1.009


1.823


Source
U of C
U of C
U of C
Singer
U of C
Mertzman
Mertzman


Analysis
EMPA-6
EMPA-8
EMPA-9
XRF/WC
EMPA-10
XRF/WC
XRF/WC
1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. LOI = loss on ignition: weight loss after heating sample in air for one hour at 950°C.  

3. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Fe2O3T – all Fe reported as Fe2O3 and included in total.
Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%). +++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX050
PYX051
PYX052
PYX053
PYX054
PYX055

SiO2
51.63
46.48
51.84
55.57
46.40
45.63

Al2O3
1.75
0.43
0.49
0.65
6.56
5.56

Fe2O3*
(4.42)
(23.67)
(4.59)
(3.31)
(11.37)
(11.53)

FeO
2.65
19.04
3.81
2.41
7.08

Fe2O3
1.47
2.51
0.36
0.63
3.50

MgO
15.76
2.22
16.22
16.69
13.68
12.81

CaO
25.92
2.64
26.02
23.03
20.83
21.28

Na2O
0.24
0.57
0.39
0.30
0.60
0.69

TiO2
0.12
0.05
0.03
0.01
1.12
1.71

MnO
0.29
25.74
0.20
0.09
0.23
0.80

K2O
0.12
0.03
0.00
0.01
0.05
0.04

P2O5
0.03
0.04
0.02
0.02
0.04
0.05

TOTAL
99.89
99.75
99.68
99.41
100.09
100.10

LOI
0.68
0.15
0.88
0.77
1.42
0.61

ATOMIC RATIOS

Mg (En)
43.9
(15.0)
43.8
48.2
41.9
(>37.0)


Fe2+ (Fs)
4.1
(72.2)
5.8
3.9
12.2
(<18.7)
Ca (Wo)
51.9
(12.8)
50.5
47.9
45.9
(>44.3)


Other

High Mn


High Ti
High Ti,Al,Fe2+?
ppm
Sr
82
15
105
70
120
154

Zr
47
20
10
25
71
146

V
139
63
90
60
441
446

Cr
95
<2
10
4350
90
110

Co
<2
<2
<2
21
23
18

M2 cations1
4.219
4.378
4.284
3.686
3.563


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

1. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn).
* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX056
PYX057
PYX058
PYX059
PYX060
PYX061

SiO2
46.40
53.81
48.98
53.22

56.36


Al2O3
5.52
14.02
0.25
0.58

0.77

Fe2O3*
(11.00)
(11.17)
(0.17)
(1.55)

(6.87)

FeO

7.57
0.14
1.38

4.27

Fe2O3

2.76
0.01
0.02

2.12

MgO
12.85
5.84
17.92
18.04

33.96

CaO
21.40
9.76
32.45
25.60

1.82

Na2O
0.72
3.17
0.10
0.47

0.16

TiO2
1.75
1.41
0.08
0.09

0.03

MnO
0.19
0.16
0.05
0.06

0.17

K2O
0.12
0.85
0.00
0.01

0.01

P2O5
0.04
0.33
0.03
0.03

0.02

TOTAL
99.99
99.68
100.01
99.50
0.00
99.69

LOI
0.73
2.86
5.72
0.85
1.01
2.60

ATOMIC RATIOS

Mg (En)
(>37.3)
34.1
43.4
48.5

90.1


Fe2+ (Fs)
(<17.9)
24.9
0.2
2.1

6.4

Ca (Wo)
(>44.7)
41.0
56.4
49.4

3.5


Other
High Al,Ti
Hi Al,Ti,Na





Fe2+ NA

ppm
Sr
188
304
349
2104

67

Zr
160
158
52
91

10

V
439
250
148
42

67

Cr
102
20
<2
1710

2610

Co
38
10
<2
<2

38

M2 cations1

2.416
5.241
4.164

0.334

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


1 Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX062
PYX063
PYX064

SiO2
46.90
54.71


Al2O3
4.62
1.68

Fe2O3*
(11.20)
(8.83)

FeO
5.41
6.05

Fe2O3
5.19
2.11

MgO
11.04
33.31

CaO
24.17
1.37

Na2O
0.78
0.11

TiO2
0.12
0.03

MnO
1.51
0.20

K2O
0.01
0.01

P2O5
0.02
0.02



TOTAL
99.77
99.60

LOI
1.18
0.91
1.01


ATOMIC RATIOS

Mg (En)
35.1
88.4

Fe2+ (Fs)
9.7
9.0

Ca (Wo)
55.2
2.6




Other
High Al
ppm
Sr
53
39

Zr
74
32

V
77
75

Cr
23
2845

Co
45
70

M2 cations1
4.387
0.261



Source
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC



1 Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX070
PYX070
PYX070

SiO2
60.03


Al2O3
1.19

FeO*
(0.59)

FeO


Fe2O3


MgO
38.94

CaO
0.04

Na2O


TiO2
0.02

Cr2O3


V2O5


CoO


NiO


MnO


K2O


P2O5




TOTAL
100.81
99.97

LOI




ATOMIC RATIOS

Mg (En)
99.09
99.62
99.4

Fe2+ (Fs)
0.07
0.18

Ca (Wo)
0.84
0.20
Other
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.99

Al
0.01

Al
0.04

V


Ti


Zr


Cr


Fe3+


Fe2+
0.02

Mg
1.93

Ca


Co


Ni


Mn


Na


Zn





Source
Cherniak
McGuire
Zwaan


(2001)
et al. (1992)
(1996)



* - all Fe reported as FeO

See reference list for sources of analyses.
+++++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX102
PYX105
PYX109
PYX111
PYX116
PYX120
PYX121

Wt.%

SiO2
52.75
53.91
52.07
53.65
69.04
54.65
52.10

TiO2
0.07
0.18
0.08
0.04
0.00
0.06
0.12

Al2O3
1.00
1.29
0.68
1.12
29.86
1.09
2.47

FeOc
1.13
3.91
10.50
2.55
0.18
2.65
0.33

Fe2O3c
0.13
1.95
3.05
0.30
0.03
0.93
1.68

Fe2O3Ta
1.39
6.30
14.72
3.13
0.23
3.88
2.05

MnO
0.06
0.07
0.38
0.17
0.04
0.35
0.08

MgO
19.12
15.44
10.19
16.53
0.07
15.62
16.53

CaO
25.20
21.23
20.44
24.25
0.06
22.90
26.15

Na2O
0.22
1.31
1.16
0.37
0.10
0.95
0.00

K2O
0.07
0.03
0.02
0.03
0.01
0.15
0.00

P2O5
0.03
0.00
0.01
0.35
0.02
0.00
0.00

Totalb
99.91
99.76
99.75
99.64
99.43
99.65
99.50

LOIb
5.20
1.19
2.87
1.88
0.25
0.90
0.59
Mg (En)
50.5
46.9
33.1
46.7
(32.7)
46.5
46.5

Fe2+ (Fs)
1.7
6.7
19.1
4.0
(47.2)
4.4
0.5

Ca (Wo)
47.9
46.4
47.8
49.3
(20.2)
49.1
52.9
Other




High Al


ppm:

Sr
232
4
199
56
6
232
106

Zr
86
69
38
34
<2
90
38

V
44
188
122
26
5
56
7

Cr
91
66
<2
9
<2
165
<2


Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX122
PYX127
PYX128
PYX130
PYX132
PYX136
PYX151

SiO2
33.58
50.80
47.86
55.19
52.82
49.08
40.67

TiO2
0.03
0.88
1.24
0.00
0.00
0.04
0.48

Al2O3
3.31
13.89
6.36
0.72
0.37
0.21
17.27

FeOc
0.28
7.03
8.41
0.13
0.15
0.75
0.99

Fe2O3c
22.77
3.37
18.27
0.01
8.07
0.00
3.62

Fe2O3Ta
23.08
11.18
27.62
0.15
8.24
0.83
4.72

MnO
8.49
0.20
1.03
0.03
4.54
0.10
0.08

MgO
0.25
9.54
1.26
0.00
11.72
17.44
15.18

CaO
24.19
10.43
3.17
34.74
19.36
32.40
19.97

Na2O
1.74
2.67
8.78
8.79
3.21
0.08
0.18

K2O
0.01
0.29
2.60
0.14
0.01
0.03
0.89

P2O5
0.01
0.16
0.15
0.01
0.00
0.00
0.05
ZnO
5.56







Totalb
100.25
100.04
100.07
99.77
100.27
100.21
99.49

LOId
0.14
6.10
1.45
4.04
1.39
9.77
0.65

Mg (En)
(1.4)
45.5
15.3
0.0
45.6
42.4
50.4

Fe2+ (Fs)
(0.9)
18.8
57.1
0.3
0.3
1.0
1.8

Ca (Wo)
(97.7)
35.7
27.6
99.7
54.1
56.6
47.7

Other
High Fe3+,
High Al
High Ti,Na
High Na
High Mn,Na

High Al


Mn,Zn

ppm:

Sr
<2
190
48
92
8
726
265

Zr
115
39
2558
<2
15
14
240

V
60
286
28
2
10
29
65

Cr
<2
279
<2
27
<2
<2
<2

Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX101
PYX102
PYX103

SiO2
50.63
54.72
52.06

Al2O3
1.49
 0.94
 0.98

FeO1
12.99
 1.40
11.38

Fe2O31
1.44
 0.02
 1.32

MgO
11.52
17.79
13.96

CaO
19.99
25.00
19.31

Na2O
0.16
 0.16
 0.22

TiO2
0.67
 0.08
 0.35

Cr2O3
0.14
 0.04
 0.07

V2O5
0.05
 0.02
 0.06

CoO
0.05
 0.03
 0.05

NiO
0.09
 0.04
 0.04

MnO
0.38
 0.06
 0.29

ZrO2*
0.00
 0.00
 0.00

TOTAL
99.60
100.30
100.09

ATOMIC RATIOS

Mg (En)
34.7
48.7
40.8

Fe2+ (Fs)
22.0
 2.1
18.7

Ca (Wo)
43.3
49.2
40.5
Other


NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.938
1.977
1.957

Al
0.062
0.023
0.043

Al
0.005
0.016
  --

V
0.001
  tr.
0.002

Ti
0.019
0.002
0.010

Zr
  --
  --
  --

Cr
0.004
0.001
0.002

Fe3+
0.041
0.001
0.037

Fe2+
0.416
0.041
0.358

Mg
0.657
0.957
0.782

Ca
0.819
0.968
0.778

Co
0.002
0.001
0.002

Ni
0.003
0.001
0.001

Mn
0.012
0.002
0.009

Na
0.012
0.011
0.016

Total
3.991
4.001
3.997

M2 cations2
0.849
0.983
0.807

Source
U of C
U of C
U of C


Analysis
EMPA-8
EMPA-5
EMPA-6

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX104
PYX105
PYX107
PYX108
PYX109
PYX110
PYX111

SiO2
54.99
54.17
52.35
56.97
52.48
56.65
54.83

Al2O3
 0.38
 0.79
 2.52
 0.82
 0.51
 0.03
 0.72

FeO1
 1.50
 4.47
 5.61
 5.29
10.37
 9.19
 2.67

Fe2O31
 0.04
 2.09
 0.00
 1.13
 4.45
 0.44
 0.00

MgO
17.72
14.58
15.77
34.82
 8.99
33.92
16.59

CaO
25.19
22.41
22.92
 0.54
20.36
 0.30
25.01

Na2O
 0.13
 1.39
 0.14
 0.00
 2.13
 0.00
 0.40

TiO2
 0.07
 0.05
 0.36
 0.02
 0.06
 0.03
 0.02

Cr2O3
 0.04
 0.07
 0.25
 0.38
 0.06
 0.05
 0.07

V2O5
 tr.
 0.02
 0.05
 0.00
 0.01
 0.01
 0.02

CoO
 0.03
 0.03
 0.04
 0.02
 0.05
 0.01
 0.04

NiO
 0.04
 0.02
 0.03
 0.05
 0.02
 0.02
 0.04

MnO
 0.08
 0.06
 0.17
 0.18
 1.29
 0.04
 0.15

ZrO2*
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

Nb2O5*
 n.d.
 n.d.
 n.d.
 0.00
 n.d.
 0.00
 n.d.

TOTAL
100.21
100.15
100.21
100.22
100.78
100.69
100.56

ATOMIC RATIOS

Mg (En)
48.4
43.9
44.5
91.1
30.6
86.3
46.0

Fe2+ (Fs)
 2.3
 7.5
 8.9
 7.8
19.7
13.2
 4.2

Ca (Wo)
49.3
48.6
46.6
 1.1
49.7
 0.5
49.8
Other







NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.986
1.993
1.924
1.961
2.002
1.970
1.990

Al
0.014
0.007
0.076
0.033
  --
0.001
0.010

Al
0.001
0.026
0.033
  --
0.023
  --
0.020

V
  tr.
  tr.
0.001
  --
  tr.
  tr.
  tr.

Ti
0.002
0.001
0.010
0.001
0.002
0.001
0.001

Zr
  --
  --
  --
  -- 
  --
  --
  --

Cr
0.001
0.002
0.007
0.010
0.002
0.001
0.002

Fe3+
0.001
0.057
  --
0.029
0.128
0.011
  --

Fe2+
0.046
0.137
0.172
0.153
0.330
0.267
0.081

Mg
0.955
0.800
0.864
1.787
0.511
1.757
0.898

Ca
0.975
0.884
0.903
0.021
0.833
0.010
0.972

Co
0.001
0.001
0.001
0.001
0.001
  tr.
0.001

Ni
0.011
0.001
0.001
0.001
0.001
0.001
0.001

Mn
0.002
0.002
0.005
0.005
0.041
0.001
0.005

Na
0.009
0.099
0.010
  --
0.158
  --
0.028

Nb
  --
  --
  --
  -- 
  --
  -- 
  –

Total
4.004
4.010
4.007
4.002
4.032
4.021
4.009

M2 cations2
0.988
0.988
0.926

1.035

1.008

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6
EMPA-6
EMPA-6
EMPA-6

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX112
PYX113*
PYX114
PYX115
PYX116
PYX117
PYX119

SiO2
49.99
49.62
51.27
51.82
65.35
53.54
55.40

Al2O3
 6.21
 6.33
 1.91
 1.96
28.76
 1.54
 1.31

FeO1
16.56
 7.69
11.34
10.46
 0.16
16.17
 9.92

Fe2O31
 0.58
 0.60
 0.57
 0.22
 n.d.
 1.02
 0.72

MgO
22.31
11.53
14.47
16.04
 0.00
27.53
32.37

CaO
 3.99
23.27
18.45
18.00
 0.00
 0.35
 0.19

Na2O
 0.06
 n.d.
 0.23
 0.19
 0.05
 0.00
 0.00

TiO2
 0.53
 0.52
 0.95
 0.84
 tr.
 0.03
 0.04

Cr2O3
 0.13
 n.d.
 0.17
 0.09
 0.01
 0.07
 0.68

V2O5
 0.00
 n.d.
 0.04
 0.05
 0.00
 0.00
 0.00

CoO
 0.04
 n.d.
 0.04
 0.06
 0.00
 0.01
 0.03

NiO
 0.03
 n.d.
 0.04
 0.05
 0.00
 0.05
 0.05

MnO
 0.26
 n.d.
 0.28
 0.24
 0.03
 0.44
 0.26

ZrO2*
 0.00
 n.d.
 0.00
 0.00
 0.00
 0.00
 0.00

Li2O
 
 


  n.d.



TOTAL
100.69
99.56
99.76
100.02
94.36
100.75
100.97

ATOMIC RATIOS

Mg (En)
64.8
35.4
41.1
46.0
 (0.00)
74.7
85.1

Fe2+ (Fs)
26.9
13.2
19.1
16.9
 (100.0)
24.6
14.6

Ca (Wo)
 8.3
51.4
39.8
37.1
 (0.0)
 0.7
 0.3
Other
High Al
High Al
High Ti

High Al
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.826
1.856
1.940
1.927
 n.d.
1.931
1.935

Al
0.174
0.144 
0.060
0.073
 n.d.
0.065
0.055

Al
0.094
0.135 
0.024
0.012
 n.d.
  --
  --

V
  --
  --  
0.001
0.001
 n.d.
  --
  --

Ti
0.015
0.015 
0.027
0.020
 n.d.
0.001
0.001

Zr
  --
  --  
  --
  --
 n.d.
  --
  --

Cr
0.004
  --  
0.004
0.002
 n.d.
0.002
0.019

Fe3+
0.015
0.017 
0.016
0.007
 n.d.
0.028
0.019

Fe2+
0.505
0.240 
0.359
0.326
 n.d.
0.487
0.290

Mg
1.214
0.643 
0.773
0.890
 n.d.
1.480
1.685

Ca
0.156
0.932 
0.748
0.718
 n.d.
0.013
0.006

Co
0.001
  --  
0.001
0.002
 n.d.
  tr.
0.001

Ni
0.001
  --
0.001
0.002
 n.d.
0.001
0.001

Mn
0.009
  --  
0.009
0.007
 n.d.
0.013
0.008

Na
0.004
  --  
0.016
0.013
 n.d.
  --
  --

Li




  n.d.



Total
4.018
3.982
3.979
4.000
  n.d.
4.022
4.021

M2 cations2

>0.932
0.778
0.742




Source
U of C
U of A
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-6
EMPA-2
EMPA-5
EMPA-5
EMPA-2
EMPA-4
EMPA-5

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX120
PYX121
PYX122
PYX124
PYX125
PYX126
PYX127

SiO2
54.83
52.79
48.22
29.63
68.57
47.83
50.88

Al2O3 
 0.57
 2.18
 0.00
 0.00
19.56
 6.44
21.31

FeO1
 3.05
 0.80
 0.37
 1.24
 0.29
 5.22
 7.52

Fe2O31
 0.68
 1.43
 0.00
 n.d.
 n.d.
 3.80
 0.92

MgO
15.84
16.80
 1.09
 0.04
 0.00
12.38
 0.08

CaO
24.20
25.73
20.71
26.52
 0.00
22.20
13.23

Na2O
 0.69
 0.00
 0.11
 6.22
11.37
 0.28
 4.98

TiO2
 0.04
 0.11
 0.00
 1.01
 0.01
 1.32
 0.06

Cr2O3
 0.02
 0.06
 0.11
 0.10
 0.07
 0.08
 0.10

V2O5
 0.00
 0.00
 0.01
 0.00
 0.00
 0.03
 0.05

CoO
 0.04
 0.02
 0.08
 0.15
 0.04
 0.05
 0.00

NiO
 0.04
 0.03
 0.09
 0.14
 0.01
 0.04
 0.00

MnO
 0.35
 0.10
27.27
 0.62
 0.01
 0.16
 0.08

ZrO2*
 0.00
 0.00
 0.00
34.26
 0.04
 0.00
 0.00

ZnO*
 n.d.
 n.d.
 1.68
 n.d.
 n.d.
 n.d.
 n.d.

Nb2O5*
 n.d.
 n.d.
 n.d.
 0.00
 0.01
 n.d.
 n.d.

TOTAL
100.35
100.05
99.74
99.93
99.98
99.83
99.21

ATOMIC RATIOS

Mg (En)
45.4
47.0
6.73
(0.2)
(100.0)
39.8
0.6
Fe2+ (Fs)
 4.8
 1.2
1.27
 (3.5)
(0.0)
 8.9
30.5

Ca (Wo)
49.8
51.8
92.00
 (96.3)
(0.0)
51.3
68.9
Other


High Mn
High Na,Zr
High Al,Na
High Al,Ti
High Al,Na
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
2.000
1.924
1.993
1.311
2.246
1.788
1.836

Al
  --
0.076
  --
  --
0.754
0.212
0.164

Al
0.024
0.018
  --
  --
0.002
0.071
0.742

V
  --
  --
  tr.
  --
  --
0.001
0.001

Ti
0.001
0.003
  --
0.035
  tr.
0.037
0.002

Zr
  --
  --
  --
0.848
0.001
  --
  --

Cr
0.001
0.002
0.003
0.003
0.002
0.002
0.003

Fe3+
0.019
0.039
  --
  --
  --
0.107
0.025

Fe2+
0.092
0.024
0.012
0.045
0.008
0.163
0.227

Mg
0.861
0.913
0.067
0.003
  --
0.690
0.004

Ca
0.944
1.005
0.916
1.258
  --
0.889
0.512

Co
0.001
0.001
0.003
0.005
0.001
0.002
  --

Ni
0.001
0.001
0.003
0.005
  tr.
0.001
  --

Mn
0.011
0.003
0.953
0.024
  tr.
0.004
0.002

Na
0.048
  --
0.009
0.535
0.722
0.020
0.349

Zn
  --
  --
0.052
  --
  --
  --
  --

Nb
  --
  --
  --
  --
  tr.
  --
  –

Total
4.003
4.009
4.012
4.072
3.737
3.987
3.867

M2 cations2
1.005
>1.011
1.936


0.917
>0.866

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-4
EMPA-5
EMPA-5
EMPA-4
EMPA-2
EMPA-5
EMPA-1

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX128
PYX129
PYX130
PYX131
PYX132
PYX133
PYX134

SiO2
51.25
52.16
53.42
43.09
53.61
 n.d.
55.59

Al2O3
 0.90
 0.35
 0.23
14.09
 0.27
 n.d.
 1.08

FeO1
 3.59
12.79
 0.04
 0.95
 0.37
 n.d.
 0.22

Fe2O31
26.45
10.55
 n.d.
 4.25
 8.19
 n.d.
 0.00

MgO
 0.29
 0.99
 0.00
11.10
11.85
 n.d.
17.17

CaO
 2.45
19.46
33.11
25.31
17.89
 n.d.
24.54

Na2O
12.52
 0.00
 8.90
 tr.
 3.44
 n.d.
 0.86

TiO2
 0.43
 0.00
 0.00
 0.73
 0.01
 n.d.
 0.02

Cr2O3
 0.04
 0.05
 0.02
 0.06
 0.07
 n.d.
 0.10

V2O5
 0.00
 0.00
 0.01
 0.00
 0.04
 n.d.
 1.27

CoO
 0.04
 0.07
 0.01
 0.04
 0.03 
 n.d.
 0.03

NiO
 0.00
 0.02
 0.04
 0.03
 0.02
 n.d.
 0.03

MnO
 0.49
 0.87
 0.00
 0.11
 4.67
 n.d.
 0.03

ZrO2*
 1.86
 0.00
 0.00
 0.00
 0.00
 n.d.
 0.00

ZnO*
 n.d.
 0.00
 n.d.
 n.d.
 0.13
 n.d.
 n.d.

TOTAL
100.31
97.31
95.78
99.76
100.59
 n.d.
100.94

ATOMIC RATIOS

Mg (En)
(7.1)
4.5
0.0
37.2
47.6
n.d.
49.1

Fe2+ (Fs)
(49.5)
32.4
0.1
 1.8
 0.8
n.d.
 0.4

Ca (Wo)
(43.3)
63.2
99.9
61.0
51.6
n.d.
50.5
Other
High Fe3+,
High Fe3+
High Na
High Al,Fe3+
High Fe3+,

High V


Na, Zr



Na,Mn
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.979
  n.d.
  n.d.
1.599
1.989
  n.d.
1.981

Al
0.021
  n.d.
  n.d.
0.401
0.011
  n.d.
0.019

Al
0.021
  n.d.
  n.d.
0.215
  --
  n.d.
0.026

V
  --
  n.d.
  n.d.
  --
0.001
  n.d.
0.030

Ti
0.012
  n.d.
  n.d.
0.020
  tr.
  n.d.
0.001

Zr
0.040
  n.d.
  n.d.
  --
  --
  n.d.
  --

Cr
0.001
  n.d.
  n.d.
0.002
0.002
  n.d.
0.003

Fe3+
0.768
  n.d.
  n.d.
0.118
0.230
  n.d.
  --

Fe2+
0.116
  n.d.
  n.d.
0.029
0.011
  n.d.
0.006

Mg
0.016
  n.d.
  n.d.
0.613
0.655
  n.d.
0.912

Ca
0.102
  n.d.
  n.d.
1.006
0.711
  n.d.
0.938

Co
0.001
  n.d.
  n.d.
0.001
0.001
  n.d.
0.001

Ni
  --
  n.d.
  n.d.
0.001
0.001
  n.d.
0.001

Mn
0.016
  n.d.
  n.d.
0.004
0.147
  n.d.
0.001

Na
0.937
  n.d.
  n.d.
  tr.
0.247
  n.d.
0.060

H
  -- 
  ???
  ???
  -- 
  -- 
   -- 
  -- 

Zn
  --
  n.d.
  n.d.
  --
0.004
  n.d.
  --

Total
4.030
  n.d.
  n.d.
4.009
4.010
  n.d.
3.979

M2 cations2
1.056


1.013
1.108

1.003

Source
U of C
U of C
U of C
U of C
U of C

U of C

Analysis
EMPA-4
EMPA-5
EMPA-4
EMPA-4
EMPA-4

EMPA-5

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX135
PYX136
PYX150
PYX151
PYX152*
PYX153
PYX160*

SiO2
55.39
55.07
55.75
46.20
47.00
56.30
53.31

Al2O3
 0.54
 0.06
 0.24
12.54
 0.00
 9.03
 0.06

FeO1
 1.03
 1.05
 2.56
 1.73
 7.54
 3.31
 8.53

Fe2O31
 0.00
 0.05
 0.00
 2.30
 0.00
 n.d.
 2.24

MgO
17.38
18.02
16.26
12.49
 3.17
12.87
12.07

CaO
24.88
25.45
25.70
24.92
 1.24
 1.00
24.10

Na2O
 0.35
 0.02
 0.05
 0.10
 0.00
11.62
 n.d.

TiO2
 0.02
 0.05
 0.00
 0.55
 0.06
 0.18
 0.04

Cr2O3
 0.05
 0.04
  tr.
 0.00
 0.02 
 3.41
 0.14

V2O5
 0.01 
 0.03
 0.00
  tr.
 0.01
 n.d.
 0.00

CoO
 0.04
 0.02 
 0.05
 0.06
 0.09
 0.07
 0.00

NiO
 0.02 
 0.03
  tr.
 0.01
 0.10
 0.07
 0.07

MnO
 0.05
 0.08
 0.11
 0.05
40.75
 0.06
 0.37

ZrO2*
 0.00
 0.00
  tr.
 0.00
 n.d.
 n.d.
 n.d.

ZnO*
 n.d.
 n.d.
 0.03
 0.05
 0.15
 n.d.
 0.00

K2O*
 n.d.
 n.d.
 0.00
 0.00
 0.00
 0.04
 0.02

TOTAL
99.76
99.97
100.75
101.00
100.13
97.96
100.95

ATOMIC RATIOS

Mg (En)
48.5
48.8
44.9
39.8
(38.23)
(>55.7)
35.3

Fe2+ (Fs)
 1.6
 1.6
 4.0
 3.1
(51.02)
(<8.0)
14.0

Ca (Wo)
49.9
49.6
51.1
57.1
(10.75)
(>36.2)
50.7
Other



High Al
High Mn
Hi Cr,Na
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
2.006
1.996
2.014
1.680
1.995
2.018
 1.989

Al
  --
0.002
  --
0.320
  --
  --
 0.003

Al
0.024
  --
0.011
0.217
  --
0.382
   -- 

V
  tr.
0.001
  --
  tr.
  tr.
  --
   -- 

Ti
0.001
0.001
  --
0.015
0.002
0.005
 0.001

Zr
  --
  --
  --
  --
  --
  --
   -- 

Cr
0.001
0.001
  tr.
  --
0.001
0.097
 0.004

Fe3+
  --
0.001
  --
0.063
  --
  --
 0.063

Fe2+
0.030
0.033
0.077
0.052
0.268
0.099
 0.266

Mg
0.937
0.973
0.876
0.677
0.202
0.688
 0.671

Ca
0.966
0.988
0.995
0.970
0.056
0.038
 0.963

Co
0.001
0.001
0.001
0.002
0.003
0.002
   -- 

Ni
0.001
0.001
  tr.
  tr.
0.003
0.002
 0.002

Mn
0.001
0.002
0.003
0.001
1.465
0.002
 0.012

Na
0.024
0.001
0.003
0.007
  --
0.808
   -- 

Zn
 --
  --
0.001
0.001
0.005
  --
   --

K
 --
  --
  --
  --
  -- 
0.002
 0.001

Total
3.993
4.001
3.982
4.006
4.000
4.143
 3.975

M2 cations2
0.993
0.993
1.003
0.981
1.530
0.850
0.979

Source
U of C
U of C
U of C
U of C
U of A
U of C
U of A

Analysis
EMPA-5
EMPA-5
EMPA-6
EMPA-5
EMPA-6
EMPA-6
EMPA-2

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX160
PYX162
PYX166
PYX174
PYX180
PYX181
PYX182

Wt.%

SiO2
51.70
54.92
42.23
49.62
51.71
44.99
50.27

TiO2
0.03
0.02
0.59
0.01
0.02
0.06
0.01

Al2O3
1.14
0.67
6.43
0.55
0.47
1.00
0.30

FeOc
8.53
0.60
11.04
11.35
0.34
2.73
0.20

Fe2O3c
1.44
0.04
3.93
1.86
0.01
0.31
0.04

Fe2O3Ta
10.92
0.71
16.20
14.47
0.39
3.34
0.26

MnO
0.29
0.03
0.17
7.28
0.07
44.52
0.07

MgO
11.84
17.91
26.50
5.11
0.82
1.68
1.01

CaO
23.60
25.18
5.01
22.49
46.35
3.91
46.37

Na2O
0.56
0.10
1.43
0.07
0.00
0.00
0.00

K2O
0.01
0.01
0.64
0.01
0.01
0.01
0.03

P2O5
0.00
0.01
0.46
0.01
0.00
0.04
1.18

Totalb
100.09
99.56
99.66
99.62
99.84
99.55
99.50

LOId
1.02
0.43
3.20
1.29
0.55
0.23
0.37
Mg (En)
35.2
49.3
73.0
18.5
2.4
(27.9)
2.9

Fe2+ (Fs)
14.2
0.9
17.1
23.0
0.6
(25.4)
0.3

Ca (Wo)
50.5
49.8
9.9
58.5
97.1
(46.7)
96.7

Other


High Al
High Mn

High Mn

ppm:








Sr
89
19
500
7
116
10
109

Zr
13
30
38
7
13
21
12

V
123
12
94
7
10
18
18

Cr
47
<2
34
<2
<2
<2
<2
Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Specimen
PYX184
PYX185
PYX186
PYX188
PYX190

Wt.%

SiO2
53.69
51.93
46.32
55.08
49.76

TiO2
0.59
0.38
0.97
0.13
0.83

Al2O3
8.63
5.32
2.69
0.50
8.81

FeOc
4.02
12.00
13.33
1.34
5.83

Fe2O3c
5.64
0.68
5.93
0.16
1.29

Fe2O3Ta
10.11
14.02
20.74
1.65
7.77

MnO
0.32
0.23
0.33
0.07
0.15

MgO
6.14
25.92
12.09
17.53
15.93

CaO
12.53
1.71
16.56
24.36
15.23

Na2O
6.87
0.17
0.33
0.29
1.36

K2O
0.16
0.16
0.02
0.01
0.03

P2O5
0.50
0.01
0.08
0.00
0.03

Totalb
99.54
99.85
100.13
99.62
99.90

LOId
0.66
1.42
1.38
0.25
0.74

Mg (En)
35.3
76.5
38.4
49.0
52.8

Fe2+ (Fs)
13.0
19.9
23.8
2.1
10.8

Ca (Wo)
51.8
3.6
37.8
48.9
36.3

Other
High Al,Na
High Al
High Ti

High Al

ppm:

Sr
20
11
11
1841
45

Zr
23
12
47
8
26

V
336
177
373
19
284

Cr
312
1078
<2
1201
260

Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX161*
PYX162*
PYX165*
PYX167*
PYX170*
PYX171*

SiO2
56.54
55.72
52.16
53.39
52.49
48.11

Al2O3
 0.53
 0.00
 0.30
 0.54
 4.48
 7.92

FeO1
 4.06
 0.95
11.30
16.42
 2.62
 1.86

Fe2O31
 2.61
 n.d.
 5.32
 n.d.
 0.34
 0.00

MgO
35.25
18.10
 8.25
18.76
15.28
14.44

CaO
 0.36
25.73
22.33
10.87
22.47
25.95

Na2O
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.

TiO2
 0.00
 0.00
 0.00
 0.56
 0.04
 1.07

Cr2O3
 0.47
 0.08
 0.04
 0.00
 0.99
 0.04

V2O5
 0.00
 0.13
 0.06
 0.16
 0.16
 0.00

CoO
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

NiO
 0.17
 0.11
 0.09
 0.27
 0.20
 0.14

MnO
 0.20
 0.00
 0.75
 0.35
 0.00
 0.00

ZnO*
 0.00
 0.00
 0.27
 0.00
 0.00
 0.08

K2O*
 n.d.
 0.02
 n.d.
 n.d.
 n.d.
 n.d.

TOTAL
100.19
100.84
100.87
101.32
99.07
99.61

ATOMIC RATIOS

Mg (En)
93.3
(>48.8)
26.9
(>52.8)
46.4
42.3

Fe2+ (Fs)
 6.0
(<1.4)
20.7
(<25.8)
 4.5
 3.1

Ca (Wo)
 0.7
(>49.8)
52.4
(>21.2)
49.1
54.6
Other

Fe3+: nd

Fe3+: nd

High Al,Ti
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.948
2.000
1.986
n.d.
1.920
1.772

Al
0.021
  -- 
0.013
n.d.
0.080
0.228

Al
  --
  -- 
  --
n.d.
0.114
0.115

V
  --
0.003
0.001
n.d.
0.004
  --

Ti
  --
  --
  --
n.d.
0.001
0.030

Zr
  --
  --
  --
n.d.
  --
  --

Cr
0.013
0.002
0.001
n.d.
0.029
0.001

Fe3+
0.068
  --
0.152
n.d.
0.009
  --

Fe2+
0.117
0.028
0.360
n.d.
0.080
0.057

Mg
1.810
0.968
0.468
n.d.
0.833
0.792

Ca
0.013
0.989
0.911
n.d.
0.881
1.024

Co
  --
  --
  --
n.d.
  --
  --

Ni
0.005
0.003
0.003
n.d.
0.006
0.004

Mn
0.006
  --
0.024
n.d.
  --
  --

Na
  --
  --
  --
n.d.
  --
  --

Zn
  -- 
  --
0.008
n.d.
  --
0.002

K
  -- 
  tr.
  --
n.d.
  --
  –

Total
4.001
3.994
3.927
n.d.
3.957
4.025

M2 cations2

>0.994
>0.945

>0.916
>1.027

Source
U of A
U of A
U of A
U of A
U of A
U of A

Analysis
EMPA-1
EMPA-2
EMPA-2
EMPA-2
EMPA-3
EMPA-3

1. FeO determined by wet chemistry at U. of Alberta; Fe2O3 is determined as difference between total Fe and FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX172*
PYX183
SiO2
50.46
n.d.
Al2O3
 4.65
n.d.
FeO1
 8.44
n.d
Fe2O3
 n.d.
n.d
MgO
12.09
n.d
CaO
23.97
n.d
Na2O
 n.d.
n.d
TiO2
 0.51
n.d.
Cr2O3
 0.17
n.d
V2O5
 0.10
n.d.
CoO
 0.00
n.d.
NiO
 0.19
n.d.
MnO
 0.15
n.d.
ZnO*
 0.00
n.d.
K2O*
 0.00
n.d.







TOTAL
100.73
n.d.







ATOMIC RATIOS

Mg (En)
(>35.5)
n.d.
Fe2+ (Fs)
(<13.9)
n.d
Ca (Wo)
(>50.6)
n.d
Other
Fe3+: nd
n.d.
NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
n.d.


Al
n.d.


Al
n.d.


V
n.d.


Ti
n.d.


Zr
n.d.


Cr
n.d.


Fe3+
n.d.


Fe2+
n.d.


Mg
n.d.


Ca
n.d.


Co
n.d.


Ni
n.d.


Mn
n.d.


Na
n.d.


Zn
n.d.


K
n.d.








Total
n.d.


M2 cations2









Source
U of A


Analysis
EMPA-1








1. All Fe reported as FeO.

2. Sum of cations that preferentially occupy M2 site in clinopyroxene (Cr + Ca + Co + Mn + Na + Zn)

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. U of A: University of Alberta EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)

Bulk
Separate

Wt. %
PYX191
PYX192
PYX193
PYX193

SiO2
52.14
52.06
54.34
54.71

Al2O3
0.60
1.30
3.10
2.25

Fe2O3*


(10.26)
(10.61)

FeO
3.95
3.60
4.84
5.57

Fe2O3
0.21
0.28
4.88
4.42

MgO
15.88
15.06
28.74
29.91

CaO
25.75
25.15
2.86
2.38

Na2O
0.24
0.26
0.22
0.14

TiO2
0.02
0.03
0.13
0.13

MnO
0.14
0.11
0.20
0.22

K2O
0.00
0.00
0.02
0.01

P2O5
0.02
0.03
0.02
0.01

SO3


0.05
0.05

TOTAL
99.64
99.27
99.94
100.42

LOI
0.69
1.39
0.30
0.27


ppm

Rb


<2
<2

Sr
20
10
103
58

Zr
20
15
28
29

V
5
10
112
126

Ni
410
1170
550
617

Cr
1200
3650
3248
3383

Co
5
55
69
85
ATOMIC RATIOS

Mg (En)
43.4
42.9
85.8
87.7


Fe2+ (Fs)
6.0
5.7
8.1
7.3
Ca (Wo)
50.6
51.4
6.1
5.0
Other


High Fe3+
High Fe3+
Source
Mertzman
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3 (*). Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).++++++++++++++++++++++++++++++++++++++++++++

2.1c. Compositional Data - Pyroxenes (continued)
Wt. %
PYX205
PYX206
PYX207
PP-CMP-21

SiO2
60.40
61.21
57.56
49.69

Al2O3
0.00
 0.00
 0.00
  6.4

FeO
0.071
 0.081
 0.00
  6.291
Fe2O3
n.d.
 n.d.
 0.00
  n.d.

MgO
40.78
41.50
21.73
15.14

CaO
0.34
 0.43
23.36
20.92

Na2O
n.d.
 n.d.
 n.d.
  0.4

TiO2
0.00
 0.06
 0.25
  0.79

Cr2O3
0.00
 0.00
 0.12
  0.91

V2O5
0.03
 0.00
 n.d.
  n.d.

CoO
0.00
 0.00
 0.00
  n.d.

NiO
0.12
 0.00
 0.15
  n.d.

MnO
0.04
 0.00
 0.00
  0.12

ZnO
0.00*
 0.00*
 0.00*
 n.d.

K2O
n.d.
 n.d. 
 0.00*
 0.01

P2O5





TOTAL
101.78
103.28
103.17
99.76

LOI






ATOMIC RATIOS

Mg (En)
(>99.3)
(>99.2)
56.4
(>45.9)
Fe2+ (Fs)
(<0.1)
 (<0.1)
 0.0
 (<8.5)
Ca (Wo)
(>0.6)
 (>0.7)
43.4
(>45.6)
Other
Fe3+: nd
Fe3+: nd

Fe3+: nd
ppm

Sr

Zr


V


Ni


Cr


Co


NUMBER OF IONS ON THE BASIS OF 6 OXYGENS

Si
1.989
1.986
1.994

Al
  --
  --
  --

Al
  --
  --
  --

V
0.001
  --
  --

Ti
  --
0.001
0.007

Cr
  -- 
  --
0.003

Fe3+
  --
  --
  --

Fe2+
0.002
0.002
  --

Mg
2.002
2.007
1.122

Ca
0.012
0.015
0.867

Co
  -- 
  --
  --

Ni
0.003
  --
0.004

Mn
0.001
  --
  --

Na
  --
  --
  --

Zn
  --
  --
  --

K
  --
  --
  –


Total
4.010
4.011
3.997


M2 cations2


>0.870


Source
U of A
U of A
U of A
Sunshine &
Analysis
EMPA-2
EMPA-2
EMPA-1
Pieters (1993)
1. all Fe reported as FeO. n.d. = not determined. tr.: trace (<0.01 wt.%).

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.1d. Spectral Data - Pyroxenes
Sample
Facility/File No. 
Description







PYX003
PSF pyx00390
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (oo directory).

PYX003
RELAB C1PP40
<45µm, 30/0, 0.3-3.6µm, 5nm.
PYX003
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX003
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX003
PSF 160507pyx003
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX003
PSF 100707pyx003
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX003
PSF pyx003
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX003
PSF jun0707.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX003
PSF jun0707.002
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX003
PSF 345
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.
PYX003
PSF 34590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX003
PSF pyx003.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: HED minerals MidIR_july 2012).
PYX003
PSF 200318a.00001.asd
45-90 µm, cleaned; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].
++++++
PYX005
RELAB C1PP01
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

PYX005
PSF 160507pyx005
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX005
PSF 100707pyx005
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX005
PSF pyx005
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX005
PSF 100304a.001
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

PYX005
PSF dec1606.001
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX2101.

PYX005
PSF dec1406.013
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX1101.

++++++
PYX006
RELAB C1PP03
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

++++++
PYX007
RELAB C1PP04
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.
PYX007
PSF 200110b00001.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX009
RELAB C1PP68
45-90µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.7µm.

PYX009
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX009
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX009
PSF mar3006.000
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PYX009
PSF mar3006.014
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PYX009
PSF 160507pyx009
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX009
PSF 100707pyx009
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX009
PSF pyx009
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX009
PSF pyx009.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PYX010
RELAB C1PP05
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

PYX010
PSF 160507pyx010
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX010
PSF 100707pyx010
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX010
PSF pyx010
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX011
PSF 19092400050.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
PYX012d
RELAB C1PP07
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

++++++
PYX013
RELAB C1PP08
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

++++++
PYX015
RELAB C1PP46
<45µm, 30/0, 0.3-3.6µm, 5nm.

++++++
PYX016
RELAB C1PP16
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX016
PSF 100304a.002
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

PYX016
PSF 100412b.002
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).
PYX016
PSF 121016a.157
<250 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

PYX016
PSF OO 157
<250 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

PYX016
PSF 121016a.211
<45 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

PYX016
PSF OO 211
<45 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

PYX016
PSF 121016a.214
45-90 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

PYX016
PSF OO 214
45-90 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

PYX016
See also section 15.25 of this document for mixtures of this material with nanophase iron and nanophase iron-impregnated silica gels.
++++++
PYX017
RELAB C1PP09
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

PYX017
PSF 160507pyx017
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX017
PSF 100707pyx017
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX017
PSF pyx017
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX017
PSF pyx017.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PYX017
PSF dec1606.007
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX2001

PYX017
PSF dec1406.001
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX1001.

++++++
PYX018
RELAB C1PP69
45-90µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

PYX018
PSF 160507pyx018
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX018
PSF 100707pyx018
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX018
PSF pyx018
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX019
RELAB C1PP11
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

++++++
PYX020
PSF mar3006.001
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PYX020
PSF mar3006.002
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PYX020
RELAB C1PP70
45-90µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

PYX020
PSF 160507pyx020
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX020
PSF 100707pyx020
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX020
PSF pyx020
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX021
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX021
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX021
RELAB C1PP12
45-90µm?, 30/0, 0.3-2.6µm, 5 nm resol.

PYX021
PSF 170507pyx021
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX021
PSF 100707pyx021
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX021
PSF pyx021
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX023
PSF pyx02390
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX023
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX023
RELAB C1PP13
45-90µm?, 30/0, 0.3-2.6µm, 5 nm resol.

PYX023
PSF 170507pyx023
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX023
PSF 100707pyx023
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX023
PSF pyx023
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX023
PSF 071116a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071116grainsize).
PYX023
PSF 071116a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF 071116a.001-002
avge; <45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF 071116a.003
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071116grainsize).

PYX023
PSF 071116a.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.003-004
avge; 45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF 071116a.005
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071116grainsize).

PYX023
PSF 071116a.006
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.005-007
avge; 90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF 071116a.008
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071116grainsize).

PYX023
PSF 071116a.009
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.008-010
avge; 250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF 071116a.011
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071116grainsize).

PYX023
PSF 071116a.013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.017
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.011,13,17
avge; 500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF 071116a.014
whole rock; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071116grainsize).

PYX023
PSF 071116a.015
whole rock; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.016
whole rock; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071116grainsize).

PYX023
PSF 071116a.014-016
avge; whole rock; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX023
PSF jun0707.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX023
PSF jun0707.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX023
PSF 2345
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX023
PSF 234590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX023
PSF 100412b.012
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

PYX023
PSF 111201a.034
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 111201_optech).
PYX023
PSF pyx023.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).
PYX023
PSF dec1606.006
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX2106.
PYX023
PSF dec1406.023
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX1111.

+++++++
Monster grain size series run: 071228 (PYX023)

PYX023
PSF 071228a.001
<10 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.002
<10 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.001-002
Average of previous two spectra.
PYX023
PSF 071228a.003
10-15 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF071228a.004
10-15 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.003-004
Average of previous two spectra.

PYX023
PSF 071228a.005
15-20 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.006
15-20 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.005-006
Average of previous two spectra.

PYX023
PSF 071228a.007
20-25 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.008
20-25 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.007-008
Average of previous two spectra.

PYX023
PSF 071228a.009
25-38 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.010
25-38 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.009-010
Average of previous two spectra.

PYX023
PSF 071228a.011
<20 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.012
<20 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.011-012
Average of previous two spectra.

PYX023
PSF 071228a.013
<25 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.014
<25 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.013-014
Average of previous two spectra.

PYX023
PSF 071228a.015
25-38 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.016
25-38 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.015-016
Average of previous two spectra.

PYX023
PSF 071228a.017
38-45 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.018
38-45 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.017-018
Average of previous two spectra.

PYX023
PSF 071228a.019
45-63 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.020
45-63 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.019-020
Average of previous two spectra.

PYX023
PSF 071228a.021
63-75 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.022
63-75 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.021-022
Average of previous two spectra.

PYX023
PSF 071228a.023
75-90 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.024
75-90 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.023-024
Average of previous two spectra.

PYX023
PSF 071228a.025
90-125 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.026
90-125 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.025-026
Average of previous two spectra.

PYX023
PSF 071228a.027
125-150 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.028
125-150 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.027-028
Average of previous two spectra.

PYX023
PSF 071228a.029
150-180 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.030
150-180 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.031
150-180 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.029-031
Average of previous three spectra.

PYX023
PSF 071228a.032
180-212 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.033
180-212 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.034
180-212 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.032-034
Average of previous three spectra.

PYX023
PSF 071228a.035
212-250 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.036
212-250 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.037
212-250 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.035-037
Average of previous three spectra.

PYX023
PSF 071228a.038
250-300 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.039
250-300 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.040
250-300 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.038-040
Average of previous three spectra.

PYX023
PSF 071228a.041
300-355 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.042
300-355 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.043
300-355 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.041-043
Average of previous three spectra.

PYX023
PSF 071228a.044
355-425 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.045
355-425 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.046
355-425 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.044-046
Average of previous three spectra.

PYX023
PSF 071228a.047
425-500 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.048
425-500 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.049
425-500 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.047-049
Average of previous three spectra.

PYX023
PSF 071228a.050
500-600 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.051
500-600 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.052
500-600 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.050-052
Average of previous three spectra.

PYX023
PSF071228a.053
600-700 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.054
600-700 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.055
600-700 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.053-055
Average of previous three spectra.

PYX023
PSF 071228a.056
700-850 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.057
700-850 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.058
700-850 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.056-058
Average of previous three spectra.

PYX023
PSF 071228a.059
850-1000 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.060
850-1000 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.061
850-1000 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.059-061
Average of previous three spectra.

PYX023
PSF 071228a.062
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.063
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.064
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.065
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.066
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.062-066
Average of previous five spectra.

PYX023
PSF 071228a.067
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.068
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.069
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.070
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.071
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.067-071
Average of previous five spectra.

PYX023
PSF 071228a.072
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.073
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.074
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.075
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.076
1.7-20 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.072-076
Average of previous five spectra.

PYX023
PSF 071228a.077
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.078
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.079
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.080
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.081
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.077-081
Average of previous five spectra.

PYX023
PSF 071228a.082
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.083
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.084
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.085
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.086
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.082-086
Average of previous five spectra.

PYX023
PSF 071228a.087
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.088
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.089
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.090
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.091
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.087-091
Average of previous five spectra.

PYX023
PSF 071228a.092
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.093
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.094
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.095
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.096
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.092-096
Average of previous five spectra.

PYX023
PSF 071228a.097
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071228grainsize). 

PYX023
PSF 071228a.098
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.099
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.100
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.101
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071228grainsize). 

PYX023
PSF 071228a.097-101
Average of previous five spectra.

PYX023
PSF pyx023m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

PYX023
PSF pyx023n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

PYX023
PSF 200318a.00004.asd
45-90 µm, wet sieved; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

++++++
PYX025
RELAB C1PP62
<45µm, 30/0, 0.3-3.6µm, 5nm.

++++++
PYX026
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX026
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX026
RELAB C1PP14
45-90µm?, 30/0, 0.3-2.6µm, 5 nm resol.

PYX26
PSF 200110b00018.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX029
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX029
RELAB C1PP15
45-90µm?, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX030
PSF 090728a.002
<45µm (glassy fraction); 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

++++++
PYX032
USGS 240
45-90µm, IS, 0.35-2.6µm, 1x resol.

PYX032
RELAB C1SC36
45-90µm, 30/0, 0.3-2.6µm, 5nm.

PYX032
RELAB C2SC36
45-90µm, 0/15, 0.3-2.6µm, 5nm, with errors.

PYX032
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX032
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX032
PSF 170507pyx03245
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX032
PSF 100707pyx03245
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX032
PSF pyx03245
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX032
PSF pyx03290
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX032
PSF 170507pyx03290
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX032
PSF 100707pyx03290
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX032
PSF pyx03290
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX032
PSF 170507pyx032250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX032
PSF 110707pyx032250
90-250 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX032
PSF pyx032250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX032
PSF 170507pyx032500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX032
PSF 110707pyx032500
250-500 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX032
PSF pyx032500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX032
PSF 170507pyx0321000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX032
PSF 110707pyx0321000
500-1000 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX032
PSF pyx0321000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX032
PSF 071123a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.001-002
avge; <45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.003
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.003-004
avge; 45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF pyx032250
90-250 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX032
PSF 071123a.005
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.006
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.005-007
avge; 90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF pyx032500
250-500 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX032
PSF 071123a.008
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.009
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.008-010
avge; 250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF pyx0231000
500-1000 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX032
PSF 071123a.011
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.012
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.011-013
avge; 500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.014
whole rock roughened with 220 grit sandpaper; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071123grainsize).

PYX032
PSF 071123a.015
whole rock roughened with 220 grit sandpaper; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.017
whole rock roughened with 220 grit sandpaper; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.018
whole rock roughened with 220 grit sandpaper; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.019
whole rock roughened with 220 grit sandpaper; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (reshoot of previous sample; directory: 071123grainsize).

PYX032
PSF 071123a.014-019
avge; whole rock roughened with 220 grit sandpaper; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

PYX032
PSF jun0707.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun0707.006
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF 3245
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX032
PSF 324590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX032
PSF feb1507.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.002-003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; average of 002 and 003; ASD.

PYX032
PSF feb1507.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.005
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.004-005
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; average of 004 and 005; ASD.

PYX032
PSF feb1507.006
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.008
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.006-008
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; average of 006-009; ASD.

PYX032
PSF feb1507.009
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.011
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.009-011
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; average of 009-011; ASD.

PYX032
PSF feb1507.012
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.014
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF feb1507.012-014
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; average of 012-014; ASD.

PYX032
PSF 100413a.006
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

PYX032
PSF pyx032.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PYX032
PSF pyx032_250_500.dpt
250-500 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).
PYX032
PSF dec1606.012
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX2006.

PYX032
PSF dec1406.011
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD; aka PMIX1011.

++++ PYX032 grain size series – jun2706++++++

PYX032
PSF jun2706.005
<45 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

PYX032
PSF jun2706.006
45-90 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

PYX032
PSF jun2706.007
90-250 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

PYX032
PSF jun2706.008
250-500 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

PYX032
PSF jun2706.009
500-1000 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

PYX032
PSF 200318a.00003.asd
45-90 µm, wet sieved; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

PYX032 – single grain study: June 1, 2009
PYX032
PSF 090601a.006
Al block “L” well: C grain (250-500 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.007
Al block “L” well: C grain (250-500 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

PYX032
PSF 090601a.008
Al block “L” well: C grain (250-500 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

PYX032
PSF 090601a.009
Al block “L” well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.010
Al block “L” well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

PYX032
PSF 090601a.011
Al block “L” well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

PYX032
PSF 090601a.030
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.034
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.035
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD.

PYX032
PSF 090601a.039
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.040
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. able), 1000 avg., grain shaken and remeasured, ASD.

PYX032
PSF 090601a.044
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.050
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.051
Al block 5 mm deep well: D’ grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD.

PYX032
PSF 090601a.059
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.060
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD.

PYX032
PSF 090601a.068
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.069
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD.

PYX032
PSF 090601a.077
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., ASD.

PYX032
PSF 090601a.078
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD; grain lost.

PYX032
PSF 090601a.086
Al block 25 mm deep well: D’ grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., ASD.

PYX032
PSF 090601a.087
Al block 25 mm deep well: D’ grain (500-1000 μm), i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD; grain lost.

PYX032
PSF 090601a.100
45-90 μm single grain (hopefully got a grain), Al block 10 mm deep well, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., ASD.

PYX032
PSF 090601a.101
90-250 μm single grain, Al block 10 mm deep well, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.102
250-500 μm single grain (C grain), Al block 10 mm deep well, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg., ASD.

PYX032
PSF 090601a.103
500-1000 μm single grain (D’ grain), Al block 10 mm deep well, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 1000 avg. ASD.

PYX032
PSF 090601a.127
45-90 μm bulk powder, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 100 avg., ASD.

PYX032
PSF 090601a.128
90-250 μm bulk powder, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 100 avg. ASD.

PYX032
PSF 090601a.129
250-500 μm bulk powder, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 100 avg., ASD.

PYX032
PSF 090601a.130
500-1000 μm bulk powder, i=0°/e=0°; 0.35-2.5 µm; 1 nm res.; (bifurc. cable), 100 avg. ASD.

++++++++

PYX032 – phase angle measurements – all relative to Spectralon at i=13°, e=0° with ASD
PYX032
PSF 101001a.002
<45 µm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.011
<45 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.020
<45 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.029
<45 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.038
<45 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.047
<45 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.056
<45 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.066
<45 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.076
<45 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PYX032
PSF 101001a.085
<45 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

++++ Bidirectional study 1. (June 2006) with ASD  ++++

Series 1 (same viewing geometry for standard and sample; i=0°)

PYX032
PSF jun2806.011
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.012
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.013
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.014
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 2 (same viewing geometry for standard and sample; e=75°)

PYX032
PSF jun2806.015
<45 µm; 30°/75°; 30°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.016
<45 µm; 60°/75°; 60°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.017
<45 µm; 75°/75°; 75°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 3 (same viewing geometry for standard and sample; i=30°)

PYX032
PSF jun2806.018
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.019
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 4 (same viewing geometry for standard and sample; i=60°)

PYX032
PSF jun2806.020
<45 µm; 60°/60°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.021
<45 µm; 60°/30°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.022
<45 µm; 60°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.023
<45 µm; 60°/-30°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

“Series” 5 (same viewing geometry for standard and sample; 30°/0°)

PYX032
PSF jun2806.024
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 6 (different viewing geometry for standard (30°/0°) and sample (e=30°))

PYX032
PSF jun2806.025
<45 µm; 30°/0°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.026
<45 µm; 30°/0°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.027
<45 µm; 30°/0°; 75°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 7 (different viewing geometry for standard (30°/0°) and sample (i=60°)

PYX032
PSF jun2806.028
<45 µm; 30°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.029
<45 µm; 30°/0°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.030
<45 µm; 30°/0°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 8 (different viewing geometry for standard (30°/0°) and sample (i=75°)

PYX032
PSF jun2806.031
<45 µm; 30°/0°; 75°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.032
<45 µm; 30°/0°; 75°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.033
<45 µm; 30°/0°; 75°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.034
<45 µm; 30°/0°; 75°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 9 (different viewing geometry for standard (30°/0°) and sample (i=0°)

PYX032
PSF jun2806.035
<45 µm; 30°/0°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.036
<45 µm; 30°/0°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.037
<45 µm; 30°/0°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.038
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 10 (different viewing geometry for standard (30°/0°) and sample (i=e: bifurcated cable)

PYX032
PSF jun2806.039
<45 µm; 30°/0°; 0°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.040
<45 µm; 30°/0°; 30°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.041
<45 µm; 30°/0°; 45°/-45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.042
<45 µm; 30°/0°; 60°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.043
<45 µm; 30°/0°; 75°/-75°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF jun2806.044
<45 µm; 30°/0°; 15°/-15°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

++++ Bidirectional study 2. (February - March 2007) with ASD++++

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

Series 0a (same viewing geometry for standard and sample)
PYX032
PSF feb2707.005
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

PYX032
PSF feb2707.013
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

PYX032
PSF feb2707.021
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

PYX032
PSF feb2707.029
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

+++++
Series 0b (same viewing geometry for standard and sample)
PYX032
PSF feb2807.005
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

PYX032
PSF feb2807.013
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

PYX032
PSF feb2807.021
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

PYX032
PSF feb2807.029
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

Series 1 (same viewing geometry for standard and sample

PYX032
PSF mar0107.005
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0107.013
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0107.021
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0107.029
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 2 (same viewing geometry for standard and sample

PYX032
PSF mar0207a.005
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0207.013
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0207.021
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0207.029
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 3 (same viewing geometry for standard and sample)

PYX032
PSF mar0207.037
<45 µm; 60°/60°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0207.045
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0207.053
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0207.061
<45 µm; 60°/-30°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 4 (different viewing geometry for standard vs. sample)

PYX032
PSF mar0607.005
<45 µm; 30°/0°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0607.013
<45 µm; 30°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0607.021
<45 µm; 30°/0°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0607.029
<45 µm; 30°/0°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 5 (bifurcated cable; same viewing geometry for standard and sample)

PYX032
PSF mar0707.005
<45 µm; 0°/0°; 0°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PYX032
PSF mar0707.013
<45 µm; 30°/-30°; 30°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF mar0707.021
<45 µm; 45°/-45°; 45°/-45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX032
PSF mar0707.029
<45 µm; 60°/-60°; 60°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

++++++++++++++++++++++
++++ Bidirectional study 3. (110506 – May 6, 2011) with ASD++++

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

PYX032
PSF 110506a.002
<45 µm; standard: i=18°, e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).
PYX032
PSF 110506a.016
<45 µm; standard: i=18°, e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.017
<45 µm; standard: i=18°, e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.036
<45 µm; standard: i=18°, e=0°; sample: i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.037
<45 µm; standard: i=18°, e=0°; sample: i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.003
<45 µm; standard: i=18°, e=0°; sample: i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.013
<45 µm; standard: i=18°, e=0°; sample: i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.020
<45 µm; standard: i=18°, e=0°; sample: i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.033
<45 µm; standard: i=18°, e=0°; sample: i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.040
<45 µm; standard: i=18°, e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.004
<45 µm; standard: i=18°, e=0°; sample: i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.011
<45 µm; standard: i=18°, e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.021
<45 µm; standard: i=18°, e=0°; sample: i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.032
<45 µm; standard: i=18°, e=0°; sample: i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.041
<45 µm; standard: i=18°, e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.005
<45 µm; standard: i=18°, e=0°; sample: i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.012
<45 µm; standard: i=18°, e=0°; sample: i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.024
<45 µm; standard: i=18°, e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.029
<45 µm; standard: i=18°, e=0°; sample: i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.044
<45 µm; standard: i=18°, e=0°; sample: i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.006
<45 µm; standard: i=18°, e=0°; sample: i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.007
<45 µm; standard: i=18°, e=0°; sample: i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.025
<45 µm; standard: i=18°, e=0°; sample: i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

PYX032
PSF 110506a.028
<45 µm; standard: i=18°, e=0°; sample: i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

++++++++++++++++++++++++++++
PYX032 – phase angle measurements – all relative to brushed gold at i=18°, e=0°; with Bruker Vertex 70 – shot in 2011
PYX032
PSF gold 18_0.dpt
brushed gold; standard i/e= 18°/0°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF poly on gold 18_0.dpt
polystyrene on brushed gold for wavelength calibration; standard i/e= 18°/0°, sample i/e= 18°/0°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 0_18.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 0°/18°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 0_30.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 0°/30°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 0_45.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 0°/45°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 0_60.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 0°/60°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 15_15.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 15°/15°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 15_30.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 15°/30°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 15_45.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 15°/45°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 15_60.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 15°/60°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 18_0.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 18°/0°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 30_0.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 30°/0°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 30_15.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 30°/15°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 30_30.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 30°/30°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 30_45.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 30°/45°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 30_60.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 30°/60°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 45_0.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 45°/0°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 45_15.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 45°/15°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 45_30.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 45°/30°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 45_45.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 45°/45°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 45_60.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 45°/60°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 60_0.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 60°/0°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 60_15.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 60°/15°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 60_30.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 60°/30°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 60_45.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 60°/45°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

PYX032
PSF pyx032 60_60.dpt
<45 µm; standard i/e= 18°/0°, sample i/e= 60°/60°; 1.6-25 μm; 7.7 cm-1 resolution; Bruker Vertex 70.

++++++

PYX033
RELAB C1PP19
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX033
PSF 19092400038.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX034
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.% resol.

PYX034
RELAB C1PP17
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX034
PSF 170507pyx034
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX034
PSF 110707pyx034
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX034
PSF pyx034
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX035
RELAB C1PP18
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX035
PSF 19092400027.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX036
RELAB C1SC35
45-90µm, 30/0, 0.3-2.6µm, 5nm.

PYX036
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX036
PSF 170507pyx036
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX036
PSF 110707pyx036
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX036
PSF pyx036
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX036
PSF pyx036.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PYX036
PSF 200318a.00002.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

++++++
PYX037
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol., w/ INC037?

PYX037
RELAB C1PP79
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX037
PSF 19092400039.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX038
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX038
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX038
RELAB C1PP86
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX038
PSF 220507pyx038
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX038
PSF 110707pyx038
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX038
PSF pyx038
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX038
PSF pyx038.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PYX039
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX039
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX039
RELAB C1PP28
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX039
PSF 220507pyx039
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX039
PSF 110707pyx039
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX039
PSF pyx039
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX039
PSF pyx039.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PYX039
PSF pyx039_250_500.dpt
250-500 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PYX040
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX040
RELAB C1PP29
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX040
PSF 19092400037.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
PYX040
PSF 200318a.00007.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

++++++
PYX041
UH Analogue
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX041
RELAB C1PP91
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX042
PSF pyx04290
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX042
UH Analogue
38-53µm, 0/15, 0.35-2.55µm, 1.5% resol.

PYX042
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX042
UH Analogue
90-125µm, 0/15, 0.35-2.55µm, 1.5% resol.

PYX042
RELAB C1PP87
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX042
PSF 220507pyx042
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX042
PSF 110707pyx042
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX042
PSF pyx042
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX042
PSF jun0707.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX042
PSF jun0707.008
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX042
PSF 4245
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX042
PSF 424590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX042
PSF pyx042.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PYX042
PSF 121102a.018
<45 µm; i=30°, e=0°; 0.35-2.5 μm ASD; 1000 spectra averaged; 1 nm output. Directory: 121101mafic metal]. Aka PXMETS01.

PYX042
PSF 121016a.003
<250 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

PYX042
PSF OO 2
<250 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

PYX042
PSF 121016a.199
<45 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

PYX042
PSF OO 199
<45 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

PYX042
PSF 121016a.194
45-90 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

PYX042
PSF OO 194
45-90 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

PYX042
PSF sep0407.001
100% orthopyroxene (PYX042; <45 µm); aka COMIX1101.

PYX042
PSF 100907.016
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; aka MPMIX1001.

PYX042
PSF 100907.026
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; aka MPMIX1011.
PYX042
PSF 300807b.011
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX1011 (directory: 300807b).

PYX042
PSF 31aug07.011
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX2011 (directory: 31aug07).

PYX042
PSF 06sep07.011
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX3011 (directory: 06sep07).

PYX042
PSF 060907a.001
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX4011 (directory: 060907a).

PYX042
PSF 060907b.005
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX5011 (directory: 060907b).

PYX042
PSF 200318a.00005.asd
63-125 µm, wet sieved; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

PYX042
PSF 200318a.00006.asd
<63 µm, wet sieved; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

PYX042
See also section 15.25 of this document for mixtures of this material with nanophase iron and nanophase iron-impregnated silica gels.
++++++
PYX043
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

++++++
PYX044
RELAB C1PP88
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX045
PSF 100522a.001
<45 μm, 30°/0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100522_rocks).

PYX045
PSF 100522a.002
45-90 μm, 30°/0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100522_rocks).

++++++
PYX046
PSF 19092400036.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++

PYX048
PSF 200110b00005.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++

PYX049
PSF 200110b00007.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX050
PSF 090319a.004
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX050
PSF 090602a.018
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.
++++++

PYX051
PSF 090319a.005
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX051
PSF 090602a.019
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX052
PSF 090319a.006
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX052
PSF 090602a.020
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX053
PSF 090319a.007
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX053
PSF 090602a.021
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX054
PSF 090319a.008
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX054
PSF 090602a.022
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX055
PSF 090319a.009
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX055
PSF 090602a.023
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX056
PSF 090319a.010
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX056
PSF 090602a.024
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX057
PSF 090319a.011
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX057
PSF 090602a.025
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX058
PSF 090319a.012
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX058
PSF 090602a.026
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX059
PSF 090319a.013
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX059
PSF 090602a.027
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX060
PSF 090319a.014
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX060
PSF 090602a.028
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX061
PSF 090319a.015
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX061
PSF 090602a.029
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX062
PSF 090319a.016
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX062
PSF 090602a.030
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX063
PSF 090319a.017
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX063
PSF 090602a.031
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX064
PSF 090319a.018
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

PYX064
PSF 090602a.032
<45 μm, i=30°, e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
PYX070
PSF 090313a.021
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PYX070
PSF 090313a.022
45-90 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PYX070
PSF pyx07045
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 200 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX070
PSF pyx07045
<45 µm, 30°/0°, 0.35-0.86 µm, 30 msec, 1000 avg., ~0.3 nm resol. (OO S2000) (090430oo directory).

PYX070
PSF pyx07090
45-90µm, 30°/0°, 0.35-0.86 μm, 30 msec, 200 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX070
PSF pyx07090
45-90 µm, 30°/0°, 0.35-0.86 µm, 30 msec, 1000 avg., ~0.3 nm resol. (OO S2000) (090430oo directory).

PYX070
PSF pyx070.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PYX070
PSF 090313a.021
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD (directory: 090313a).
MPMIX6000
PSF 150519a.009
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

++++++
PYX101
UH Analogue
? g.s., diffuse, 0.9-2.5µm, ? resol.

PYX101
RELAB C1PP89
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX101
PSF 220507pyx101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX101
PSF 110707pyx101
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX101
PSF pyx101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX101
PSF 100304a.003
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

PYX101
PSF 19092400041.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX102
RELAB C1PP39
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.
PYX102
PSF 200110b00012.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX103
RELAB C1PP48
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

PYX103
UH Analogue
? g.s., diffuse, 0.9-2.5µm, ? resol.

PYX103
PSF 200110b00022.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX104
RELAB C1PP56
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

PYX104
PSF 200110b00020.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX105
RELAB C1PP41
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX105
PSF 200110b00021.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX107
RELAB C1PP54
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

++++++
PYX108
PSF pyx10890
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX108
USGS 228
45-90µm, IS, 0.35-2.6µm, 1x resol.

PYX108
RELAB C1PP43
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX108
PSF 220507pyx108
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX108
PSF 110707pyx108
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX108
PSF pyx108
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX108
PSF jun0707.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX108
PSF jun0707.010
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX108
PSF 10845
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX108
PSF 1084590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

++++++
PYX109
RELAB C1PP45
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX109
PSF 200110b00015.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX110
PSF pyx11090
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX110
RELAB C1PP47
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX110
RELAB CAPP47
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol.

PYX110
RELAB CBPP47
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm resol.

PYX110
RELAB MAPP47A
<45µm, 30°/30°, 1.8-26µm, 0.6-129nm resol.

PYX110
RELAB MAPP47B
45-90µm, 30°/30°, 1.8-26µm, 0.6-129 nm resol.

PYX110
RELAB LAPP47A
<45µm, 30°/0°,30°, 0.3-26µm, 5/0.6-129 nm resol. (merged RELAB + Nicolet, at 2.5µm) [Note different viewing geometries].

PYX110
RELAB LAPP47B
45-90µm, 30°/0°,30°, 0.3-26µm, 5/0.6-129 nm resol. (merged RELAB + Nicolet, at 2.5µm) [Note different viewing geometries].

PYX110
PSF 220507pyx110
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX110
PSF 110707pyx110
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX110
PSF pyx110
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX110
PSF jun0707a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX110
PSF jun0707a.002
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX110
PSF 11045
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX110
PSF 1104590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

++++++
PYX111
RELAB C1PP66
<45µm, 30/0, 0.3-3.6µm, 5nm.

PYX111
PSF 19092400004.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX112
PSF pyx11290
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX112
RELAB C1PP42
<45µm, 30/0, 0.3-3.6µm, 5nm.

PYX112
PSF jun0707a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX112
PSF jun0707a.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX112
PSF 11245
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX112
PSF 1124590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX112
PSF 100304a.004
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

PYX112
PSF pyx112.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PYX113
RELAB C1PP92
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX114
UH Analogue
? g.s., diffuse, 0.9-2.5µm, ? resol.

PYX114
RELAB C1PP49
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX114
PSF 220507pyx114
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX114
PSF 110707pyx114
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX114
PSF pyx114
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX115
RELAB C1PP50
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

PYX115
UH Analogue
? g.s., diffuse, 0.9-2.5µm, ? resol.

PYX115
PSF 19092400040.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
PYX115
PSF 19092400051.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX116
RELAB C1PP51
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX116
PSF 19092400016.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX117
RELAB C1PP44
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.85-2.75µm.

PYX117
RELAB C2SC09
45-90µm, 0/15, 0.3-2.6µm, 5nm, with errors.

PYX117
RELAB C3SC09
45-90µm, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

PYX117
RELAB C4SC09
45-90µm, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

PYX117
RELAB C1SC09
45-90µm, 0/15, 0.3-3.6µm, 5nm, spun 1.6-2.6µm.

PYX117
RELAB CASC09
45-90µm, 0°/15°, 0.3-2.6µm, 5 nm (3 run average)

PYX117
USGS 224
45-90µm, IS, 0.35-2.6µm, 1x resol.

PYX117
PSF 220507pyx117
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX117
PSF 110707pyx117
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX117
PSF pyx117
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX117
PSF jun0707a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX117
PSF 11745
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX117
PSF pyx117.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PYX119
PSF pyx11990
45-90 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; (OO S2000) (090416oo directory).

PYX119
RELAB C1PP52
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX119
PSF 220507pyx119
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX119
PSF 110707pyx119
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX119
PSF pyx119
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX119
PSF jun0707a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX119
PSF jun0707a.006
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PYX119
PSF 11945
<45 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

PYX119
PSF 1194590
45-90 µm; 30°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

++++++
PYX120
RELAB C1PP53
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX120
PSF 19092400005.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].

PYX120
PSF 200110b00011.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX121
RELAB C1PP55
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX121
PSF 200110b00002.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX122
RELAB C1PP57
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX122
PSF 200110b00013.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX124
RELAB CAPP93
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX124
RELAB LAPP93
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX125
RELAB CAPX06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX125
RELAB LAPX06
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX126
RELAB C1PP61
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX127
RELAB C1PP63
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX127
PSF 19092400003.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX128
RELAB C1PP65
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX128
PSF 19092400017.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++

PYX129
RELAB CAPP94
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX129
RELAB LAPP94
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX130
RELAB C1PP59
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX130
PSF 19092400002.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX131
RELAB C1SC70
45-90µm, 0/15, 0.3-2.7µm, 5nm.

PYX131
PSF pyx131.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PYX132
RELAB C1PP67
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.
PYX132
PSF 19092400001.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX134
RELAB C1PP71
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX135
RELAB C1PP58
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.85-2.75µm.

PYX135
PSF 200110b00016.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX136
RELAB C1PP60
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

PYX136
PSF 200110b00003.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX150
RELAB C1PP64
<45µm, 30/0, 0.3-3.6µm, 5nm.

PYX150
PSF mar3006.003
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PYX150
PSF mar3006.004
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PYX150
PSF 220507pyx150
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX150
PSF 110707pyx150
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX150
PSF pyx150
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PYX150
PSF sep0407.014
100% type A clinopyroxene (PYX150; <45 µm); aka COMIX1111.

PYX150
PSF 090724a.012
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd; aka OCMIX1011.

++++++
PYX151
RELAB C1SC69
45-90µm, 0/15, 0.3-2.7µm, 5nm.

PYX151
PSF 200110b00014.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
PYX152
RELAB C1PP72
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX153
RELAB C1PP90
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX160
RELAB C1PP73
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX160
PSF 19092400018.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX161
RELAB C1PP74
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

++++++
PYX162
RELAB C1PP75
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX162
PSF 19092400019.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX164
RELAB capx07
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX164
RELAB lapx07
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX164
PSF 19092400020.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX165
RELAB C1PP76
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX165
PSF 19092400006.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX166
RELAB C1PP77
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX166
PSF 19092400007.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX167
RELAB CAPP95
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX167
RELAB LAPP95
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX167
PSF 220507pyx167
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PYX167
PSF 110707pyx167
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PYX167
PSF pyx167
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PYX168
RELAB C1PP78
45-90µm, 30/0, 0.3-2.6µm, 5 nm resol.

PYX168
RELAB capx08
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX168
RELAB lapx08
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX168
PSF 19092400008.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX170
RELAB CAPP97
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX170
RELAB LAPP97
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX171
RELAB CAPP98
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX171
RELAB LAPP98
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX172
RELAB CAPP96
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX172
RELAB LAPP96
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX174
RELAB CAPX02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX174
RELAB LAPX02
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX179
PSF 19092400009.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX180
RELAB CAPX03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX180
RELAB LAPX03
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX180
PSF 19092400010.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX181
RELAB CAPX04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX181
RELAB LAPX04
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX181
PSF 19092400031.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX182
RELAB CAPX05
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX182
RELAB LAPX05
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX182
PSF 19092400032.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX183
RELAB capp99
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX183
RELAB lapp99
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

++++++
PYX184
RELAB CAPX01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX184
RELAB LAPX01
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX184
RELAB c1px01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX184
RELAB lbpx01
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX184
PSF 19092400033.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX185
RELAB capx09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX185
RELAB lapx09
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX185
PSF 19092400034.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX186
RELAB capx10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

PYX186
RELAB lapx10
<45µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

PYX186
PSF 19092400035.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++
PYX188
PSF 200110b00019.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++

PYX190
PSF jun1407c.007
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

++++++
PYX191
PSF 080114b.005 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

PYX192
PSF 080114b.006 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++
PYX193
PSF 130910a.011
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

++++++

PYX205
RELAB C1SC01
45-90µm, 0/15, 0.3-3.6µm, 5nm, spun 1.6-2.6µm. See MET200.

++++++++++++++++++++++++++++
d. Raman spectra: iRaman 532 nm; 168-4003 cm-1; 4 cm-1 resolution

PYX003
PSF 200805_010_PYX003_Spot1
<45 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

PYX003
PSF 200805_011_PYX003_Spot2
<45 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

++++++

PYX016
PSF 200805_012_PYX003_Spot1
<45 µm powder; 1000 msec integration time; 300 spectra averaged [Directory: 200805 Lunar Raman].

PYX016
PSF 200805_013_PYX003_Spot2
<45 µm powder; 5000 msec integration time; 60 spectra averaged [Directory: 200805 Lunar Raman].

++++++

PYX023
PSF 200805_006_PYX023_Spot1
<45 µm powder; 13,000 msec integration time; 23 spectra averaged [Directory: 200805 Lunar Raman].

PYX023
PSF 200805_007_PYX023_Spot2
<45 µm powder; 10,000 msec integration time; 30 spectra averaged [Directory: 200805 Lunar Raman].

+++++++

d.1. Raman spectra: iRaman 532 nm; 174-4002 cm-1; ~4 cm-1 resolution

PYX003
PSF 210215_001_532_PYX003_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210215 LunaR raman].

PYX003
PSF 210215_002_532_PYX003_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210215 LunaR raman].

PYX003
PSF 210215_003_532_PYX003_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210215 LunaR raman].

++++++

PYX005
PSF 210217_013_532_PYX025_spot1.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

PYX005
PSF 210217_014_532_PYX025_spot2.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

PYX005
PSF 210217_015_532_PYX025_spot3.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

++++++

PYX015
PSF 210222_007_532_PYX015_spot1.txtr
500-700 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210222 LunaR raman].

PYX015
PSF 210222_008_532_PYX015_spot2.txtr
500-700 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210222 LunaR raman].

PYX015
PSF 210222_009_532_PYX015_spot3.txtr
500-700 µm powder; 20,000 msec integration time; 10 spectra averaged; [Directory: 210222 LunaR raman].

++++++

PYX018
PSF 210217_007_532_PYX018_spot1.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

PYX018
PSF 210217_008_532_PYX018_spot2.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

PYX018
PSF 210217_009_532_PYX018_spot3.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

++++++

PYX023
PSF 210205_001_532_PYX023_spot1.txtr
<45 µm powder; 15,000 msec integration time; 30 spectra averaged; [Directory: 210205 LunaR raman].

PYX023
PSF 210205_002_532_PYX023_spot2.txtr
<45 µm powder; 15,000 msec integration time; 30 spectra averaged; [Directory: 210205 LunaR raman].

PYX023
PSF 210205_003_532_PYX023_spot3.txtr
<45 µm powder; 15,000 msec integration time; 30 spectra averaged; [Directory: 210205 LunaR raman].

+++++++

PYX025
PSF 210217_010_532_PYX025_spot1.txtr
<45 µm powder; 10,000 msec integration time; 30 spectra averaged; [Directory: 210217 LunaR raman].

PYX025
PSF 210217_011_532_PYX025_spot2.txtr
<45 µm powder; 4,000 msec integration time; 60 spectra averaged; [Directory: 210217 LunaR raman].

PYX025
PSF 210217_012_532_PYX025_spot3.txtr
<45 µm powder; 2,000 msec integration time; 100 spectra averaged; [Directory: 210217 LunaR raman].

++++++

PYX032
PSF 210217_004_532_PYX032_spot1.txtr
<45 µm powder; 5,000 msec integration time; 62 spectra averaged; [Directory: 210217 LunaR raman].

PYX032
PSF 210217_005_532_PYX032_spot2.txtr
<45 µm powder; 2,000 msec integration time; 100 spectra averaged; [Directory: 210217 LunaR raman].

PYX032
PSF 210217_006_532_PYX032_spot3.txtr
<45 µm powder; 1,000 msec integration time; 150 spectra averaged; [Directory: 210217 LunaR raman].

+++++++

PYX036
PSF 210217_016_532_PYX036_spot1.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

PYX036
PSF 210217_017_532_PYX036_spot2.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

PYX036
PSF 210217_018_532_PYX036_spot3.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210217 LunaR raman].

+++++++

PYX042
PSF 210203_007_532_PYX042_spot1_test.txtr
<45 µm powder; 1,000 msec integration time; 600 spectra averaged; [Directory: 210203 LunaR raman].

PYX042
PSF 210203_008_532_PYX042_spot2.txtr
<45 µm powder; 19,000 msec integration time; 10 spectra averaged; [Directory: 210203 LunaR raman].

PYX042
PSF 210203_009_532_PYX042_spot3.txtr
<45 µm powder; 19,000 msec integration time; 10 spectra averaged; [Directory: 210203 LunaR raman].

PYX042
PSF 210203_010_532_PYX042_spot4.txtr
<45 µm powder; 19,000 msec integration time; 10 spectra averaged; [Directory: 210203 LunaR raman].

++++++

PYX046
PSF 210215_004_532_PYX046_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210215 LunaR raman].

PYX046
PSF 210215_005_532_PYX046_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210215 LunaR raman].

PYX046
PSF 210215_006_532_PYX046_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210215 LunaR raman].

++++++

PYX070
PSF 210205_004_532_PYX070_spot1.txtr
<45 µm powder; 15,000 msec integration time; 30 spectra averaged; [Directory: 210205 LunaR raman].

PYX070
PSF 210205_005_532_PYX070_spot2.txtr
<45 µm powder; 15,000 msec integration time; 30 spectra averaged; [Directory: 210205 LunaR raman].

PYX070
PSF 210205_006_532_PYX070_spot3.txtr
<45 µm powder; 15,000 msec integration time; 30 spectra averaged; [Directory: 210205 LunaR raman].

++++++
PYX108
PSF 210205_007_532_PYX108_spot1.txtr
<45 µm powder; 2,500 msec integration time; 125 spectra averaged; [Directory: 210205 LunaR raman].

PYX108
PSF 210205_008_532_PYX108_spot2.txtr
<45 µm powder; 2,500 msec integration time; 125 spectra averaged; [Directory: 210205 LunaR raman].

PYX108
PSF 210205_009_532_PYX108_spot3.txtr
<45 µm powder; 2,500 msec integration time; 125 spectra averaged; [Directory: 210205 LunaR raman].

++++++

PYX109
PSF 210223_004_532_PYX109_spot1.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210223 LunaR raman].

PYX109
PSF 210223_005_532_PYX109_spot2.txtr
<45 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210223 LunaR raman].

PYX109
PSF 210223_006_532_PYX109_spot3.txtr
<45 µm powder; 10,000 msec integration time; 30 spectra averaged; [Directory: 210223 LunaR raman].

++++++

PYX110
PSF 210212_001_532_PYX110_spot1.txtr
<45 µm powder; 10,000 msec integration time; 30 spectra averaged; [Directory: 210212 LunaR raman].

PYX110
PSF 210212_002_532_PYX110_spot2.txtr
<45 µm powder; 10,000 msec integration time; 30 spectra averaged; [Directory: 210212 LunaR raman].

PYX110
PSF 210212_003_532_PYX110_spot3.txtr
<45 µm powder; 10,000 msec integration time; 30 spectra averaged; [Directory: 210212 LunaR raman].

++++++

PYX112
PSF 210224_001_532_PYX112_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

PYX112
PSF 210224_002_532_PYX112_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

PYX112
PSF 210224_003_532_PYX112_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

++++++

PYX114
PSF 210223_001_532_PYX114_spot1.txtr
<45 µm powder; 3,000 msec integration time; 100 spectra averaged; [Directory: 210223 LunaR raman].

PYX114
PSF 210223_002_532_PYX114_spot2.txtr
<45 µm powder; 50,000 msec integration time; 10 spectra averaged; [Directory: 210223 LunaR raman].

PYX114
PSF 210223_003_532_PYX114_spot3.txtr
<45 µm powder; 30,000 msec integration time; 10 spectra averaged; [Directory: 210223 LunaR raman].

++++++

PYX115
PSF 210222_004_532_PYX115_spot1.txtr
<45 µm powder; 2,000 msec integration time; 100 spectra averaged; [Directory: 210222 LunaR raman].

PYX115
PSF 210222_005_532_PYX115_spot2.txtr
<45 µm powder; 1,000 msec integration time; 100 spectra averaged; [Directory: 210222 LunaR raman].

PYX115
PSF 210222_006_532_PYX115_spot3.txtr
<45 µm powder; 1,000 msec integration time; 100 spectra averaged; [Directory: 210222 LunaR raman].

++++++

PYX117
PSF 210215_007_532_PYX117_spot1.txtr
<45 µm powder; 2,500 msec integration time; 1 spectrum averaged; [Directory: 210215 LunaR raman].

PYX117
PSF 210215_008_532_PYX117_spot2.txtr
<45 µm powder; 2,500 msec integration time; 125 spectra averaged; [Directory: 210215 LunaR raman].

PYX117
PSF 210215_009_532_PYX117_spot3.txtr
<45 µm powder; 2,500 msec integration time; 125 spectra averaged; [Directory: 210215 LunaR raman].

++++++

PYX119
PSF 210212_004_532_PYX119_spot1.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210212 LunaR raman].

PYX119
PSF 210212_005_532_PYX119_spot5.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210212 LunaR raman].

PYX119
PSF 210212_006_532_PYX119_spot3.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210212 LunaR raman].

++++++

PYX166
PSF 210224_004_532_PYX166_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

PYX166
PSF 210224_005_532_PYX166_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

PYX166
PSF 210224_006_532_PYX166_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

++++++

PYX185
PSF 210217_001_532_PYX185_spot1.txtr
<45 µm powder; 40,00 msec integration time; 10 spectra averaged; [Directory: 210217 LunaR raman].

PYX185
PSF 210217_002_532_PYX185_spot2.txtr
<45 µm powder; 40,00 msec integration time; 10 spectra averaged; [Directory: 210217 LunaR raman].

PYX185
PSF 210217_003_532_PYX185_spot3.txtr
<45 µm powder; 40,00 msec integration time; 10 spectra averaged; [Directory: 210217 LunaR raman].

++++++

PYX186
PSF 210222_001_532_PYX186_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210222 LunaR raman].

PYX186
PSF 210222_002_532_PYX186_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210222 LunaR raman].

PYX186
PSF 210222_003_532_PYX186_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210222 LunaR raman].

++++++

PYX190
PSF 210219_001_532_PYX190_spot1.txtr
<45 µm powder; 40,000 msec integration time; 1 spectrum averaged; [Directory: 210217 LunaR raman].

PYX190
PSF 210219_002_532_PYX190_spot2.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210217 LunaR raman].

PYX190
PSF 210219_003_532_PYX190_spot3.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210217 LunaR raman].

++++++

PYX193
PSF 210212_007_532_PYX193_spot1.txtr
<45 µm powder; 5,000 msec integration time; 1 spectrum averaged; [Directory: 210212 LunaR raman].

PYX193
PSF 210212_008_532_PYX193_spot2.txtr
<45 µm powder; 5,000 msec integration time; 60 spectra averaged; [Directory: 210212 LunaR raman].

PYX193
PSF 210212_009_532_PYX193_spot3.txtr
<45 µm powder; 5,000 msec integration time; 60 spectra averaged; [Directory: 210212 LunaR raman].

+++++++++++++++++++++++++++++++++
2.1d.1. Spectral Data: Pyroxenes: John Adams and RELAB Pyroxenes
JA2368
RELAB C1JA01
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

106006
RELAB C1JA03
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

2427ACM
RELAB C1JA04
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

7208
RELAB C1JA05
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

79558
RELAB C1JA07
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

86618
RELAB C1JA09
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

104265
RELAB C1JA12
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

R7209
RELAB C1JA15
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

112538
RELAB C1JA17
bulk powder, 30°/0°, 0.3-2.6µm, 5 nm.

PP-CMP-21
RELAB C1PP20
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PP-CMP-21
RELAB C1PP21
<45µm, 30°/0°, 0.3-2.75µm, 5 nm.

PP-CMP-21
RELAB C1PP22
<45µm, 30°/0°, 0.315-2.7µm, 5 nm, spun.

PP-CMP-21
RELAB C1PP23
<45µm, 30°/0°, 0.3-2.75µm, 5 nm, spun.

PP-CMP-21
RELAB C1PP24
45-75µm, 30°/0°, 0.3-2.6µm, 5 nm.

PP-CMP-21
RELAB C1PP25
45-75µm, 30°/0°, 0.3-2.75µm, 5 nm.

PP-CMP-21
RELAB C1PP26
45-75µm, 30°/0°, 0.325-2.7µm, 5 nm, rerun.

PP-CMP-21
RELAB C2PP21
75-125µm, 30°/0°, 0.3-2.6µm, 5 nm.

PP-CMP-21
RELAB C2PP22
75-125µm, 30°/0°, 0.3-2.75µm, 5 nm.

PP-CMP-21
RELAB C2PP23
75-125µm, 30°/0°, 0.3-2.75µm, 5 nm, chopped, spun.

PP-CMP-21
RELAB C3PP22
<25µm, 30°/0°, 0.32-2.6µm, 10 nm.

PP-CMP-21
RELAB C4PP21
25-63µm, 30°/0°, 0.32-2.6µm, 10 nm.

PP-CMP-21
RELAB C5PP21
63-125µm, 30°/0°, 0.32-2.6µm, 10 nm.

PP-CMP-21
RELAB C5PP23
<250µm, 30°/0°, 0.32-2.7µm, 10 nm.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.1d.x Pyroxenes – Polynomial (quadratic) fits to absorption bands



Note: polynomial fits to RELAB pyroxene spectra. Equation y=a+bx+cx2
Differentiate & solve for x at y=0 i.e. 0=-b+2cx, b=2cx

Band depth, solve for y (if normalized only)

____________________________________________________________________________________________
Sample 

Poly. Coeff's 

Band

Band
Grain

Compil.
         Channels



a
b
c
Min (µm)
Depth% Size (µm)
& File#

Fitted

____________________________________________________________________________________________
"PYX" prefix
BAND I
003




0.915


45-90

U of Hawaii

003

11.34
-24.24
13.20
0.918


<45

brown2a-114
106-144

003/s.l.

23.99
-50.89 
27.49
0.926

56.2
<45

brown2a-147
106-144

003/s.l.f

24.65
-52.36 
28.31
0.925

57.3
<45

brown2a-175

009a




0.962


45-90

U of Hawaii

009a




1.121


45-90

U of Hawaii

009a

6.317
-12.02 
6.123
0.982


45-90

brown2d-169
121-148

009a

5.759
-9.559 
4.276
1.118


45-90

brown2d-123
151-190

009/s.l.a

8.484
-16.20 
8.240
0.983

47.8
45-90

brown2d-164
121-147

009/s.l.a

7.004
-11.56 
5.149
1.123

48.4
45-90

brown2d-165
151-189

015

10.23
-21.47 
11.72
0.916


<45

brown2a-117
106-144

015/s.l.

17.39
-36.37 
19.77
0.920

33.7
<45

brown2a-150
106-144

015/s.l.f

19.28
-40.51 
22.05
0.919

32.6
<45

brown2a-171

018

11.74
-21.82 
10.43
1.046


45-90

brown2d-125
120-180

018/s.l.

18.17
-33.66 
16.05
1.049

47.8
45-90

brown2d-166
120-180

020a

3.586
-6.254 
3.202
0.977


45-90

brown2d-127
111-150

020a

3.598
-5.622 
2.584
1.088


45-90

brown2d-128
151-189

020/s.l.a

5.070
-8.341 
4.114
1.014

15.8
45-90

brown2d-167
121-150

020/s.l.a

5.738
-8.728 
3.872
1.127

18.1
45-90

brown2d-172
157-199

021a




0.960


<45

U of Hawaii

021a




1.15


<45

U of Hawaii

023




0.912


45-90

U of Hawaii

025

2.664
-3.944 
1.905
1.035


<45

brown2d-115
120-180

025/s.l.

3.576
-5.248 
2.494
1.052

18.5
<45

brown2d-160
120-180

026a




~0.97


45-90

U of Hawaii

026a




1.125


45-90

U of Hawaii

029




1.011


45-90

U of Hawaii

032




0.928


45-90

U of Hawaii

034




1.005


45-90

U of Hawaii

036




1.011


45-90

U of Hawaii

036/s.l.

18.78
-35.77 
17.34
1.031

65.2
45-90

brown3a-147

037




1.015


45-90

U of Hawaii

038a




0.950


<45

U of Hawaii

038a




1.15


<45

U of Hawaii

039a




0.938


<45

U of Hawaii

039a




1.145


<45

U of Hawaii

040




1.011


45-90

U of Hawaii

041a




0.928


45-90

U of Hawaii

041a




1.13


45-90

U of Hawaii

042




0.917


45-90

U of Hawaii

043




1.033


45-90

U of Hawaii

103

1.406
-2.291 
1.158
0.989


<45

brown2d-103
110-170

103/s.l.

3.413
-5.027 
2.522
0.997

9.2
<45

brown2d-154
120-180

104

8.943
-15.94 
7.628
1.045


<45

brown2d-109
120-180

104/s.l.

11.26
-20.00 
9.529
1.049

23.4
<45

brown2d-157
120-180

107

4.333
-7.742 
3.761
1.029


<45

brown2d-107
120-180

107/s.l.

5.760
-9.691 
4.724
1.026

21.0
<45

brown2d-171
131-189

111

2.908
-4.506 
2.162
1.042


<45

brown2d-120
120-180

111/s.l.

4.623
-7.143 
3.411
1.047

11.7
<45

brown2d-163
120-180

112

10.38
-22.07 
12.02
0.918


<45

brown2a-115
106-144

112/s.l.

23.06
-48.65 
26.27
0.926

46.4
<45

brown2a-148
106-144

112/s.l.f

24.15
-51.04 
27.58
0.925

46.4
<45

brown2a-173

115

3.498
-6.526 
3.312
0.985


<45

brown2d-105
120-180

115/s.l.

8.532
-15.69 
7.855
0.999

30.3
<45

brown2d-155
120-180

117

14.97
-32.16 
17.53
0.917


<45

brown2a-116
106-144

117

8.961
-19.58 
10.79
0.907


<45

brown1a-144
101-129

117/s.l.

23.41
-50.14 
27.24
0.920

66.3
<45

brown2a-149
106-144

117/s.l.f

23.24
-49.75 
27.02
0.921

67.9
<45

brown2a-177

117/s.l.

16.02
-34.45 
18.73
0.920

82.1
45-90?

brown1b-183
106-144

135

3.110
-4.522 
2.167
1.043


<45

brown2d-111
120-180

135/s.l.

3.865
-5.584 
2.640
1.058

8.8
<45

brown2d-158
120-180

136

6.755
-11.58 
5.550
1.043


<45

brown2d-113
120-180

136/s.l.

8.028
-13.69 
6.523
1.049

15.5
<45

brown2d-159
120-180

150a

2.167
-3.075 
1.566
0.982


<45

brown2d-117
111-150

150a

2.487
-3.286 
1.478
1.112


<45

brown2d-118
151-189

150/s.l.a

3.460
-5.295 
2.683
0.987

15.2
<45

brown2d-161
115-148

150/s.l.a

3.691
-5.031 
2.225
1.131

15.3
<45

brown2d-162
155-190

++++++
BAND II
003




1.784


45-90

U of Hawaii

003

5.735
-5.933 
1.631
1.819


<45

brown2a-151
26-74

003/s.l.f

7.124
-7.189 
1.929
1.863


<45

brown2a-176

009a

2.484
-1.338 
.2682
2.492


45-90

brown2d-170
127-195

015

3.975
-3.827 
1.065
1.797


<45

brown2a-154
26-74

015/s.l.f

5.294
-4.932 
1.344
1.835


<45

brown2a-172

018

10.39
-8.468 
1.810
2.339


45-90

brown2d-126
127-175

020

.3075
-699.0 
152.9  
2.286


45-90

brown2d-129
106-194

023




1.856


45-90

U of Hawaii

025

3.100
-1.917 
.3988
2.403


<45

brown2d-116d
026




2.28


45-90

U of Hawaii

029




2.296


45-90

U of Hawaii

032




1.958


45-90

U of Hawaii

034




2.243


45-90

U of Hawaii

036




2.28


45-90

U of Hawaii

036/s.l.

12.52
-10.36 
2.215
2.339


45-90

brown3a-148

040




2.214


45-90

U of Hawaii

042




1.878


45-90

U of Hawaii

043




2.286


45-90

U of Hawaii

103

.7870
-.4749 
.1174
2.023


<45

brown2d-104
55-115

104

6.857
-5.204 
1.105
2.355


<45

brown2d-110
105-205

107

5.070
-3.973 
.8511
2.334


<45

brown2d-108
125-175

111

1.624
-.8189 
.1659
2.468


<45

brown2d-121e
112

4.969
-5.001 
1.361
1.837


<45

brown2a-152
26-74

112/s.l.f

9.112
-9.113 
2.413
1.888


<45

brown2a-174

115

1.792
-1.370 
.3397
2.016


<45

brown2d-106
55-115

117

7.195
-7.311 
1.952
1.873


<45

brown2a-153
41-84

117/s.l.f

8.694
-8.739 
2.303
1.897


<45

brown2a-178

117

4.405
-4.560 
1.219
1.870


45-90?

brown1a-168
41-69

135

2.627
-1.500 
.3158
2.375


<45

brown2d-112
b
136

6.329
-4.578 
.9444
2.424


<45

brown2d-114
c
150a

1.657
-.6699 
.1319
2.539


<45

brown2d-119
116-204

Notes:
a : Type A or mixed type clinopyroxene


b : Channels 116-142, 153-195 used for polyfit


c : Channels 116-135, 157-161, 171-187, 195-205 used for polyfit


d : Channels 106-141, 153-159, 169-205 used for polyfit


e : Channels 106-141, 157-163, 171-194 used for polyfit


f : Separate polyfit run


s.l.= straight line continuum


/ : division by straight line continuum

Band I = major absorption band near 1µm.

Band II = major absorption band near 2µm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.1.

2. Silicates
2.2. Olivines 

2.2a. Sample Descriptions - Olivines
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either not olivines or are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








OLV001
now pyroxene PYX150 (originally labelled as olivine): locality unknown, probably Bancroft, Ontario, Canada (G. Hudecek).
OLV002
Chrysolite: Cinder cone, 100 m west of Hale Pohaku, south flank of Mauna Kea, Hawaii, USA (E. Cloutis), volcanic bomb inclusion.
OLV003
Forsterite: Peridot, San Carlos County, Arizona, USA (Wetaskiwin Rock Show).
OLV003a
Forsterite, San Carlos Co., AZ, USA (2 bags of peridot sand; ~1 lb.) [Tucson 2011 show].

OLV003b
Forsterite, San Carlos Co., AZ, USA (5 pounds (2-1 lb bags, 1-1 lb. bag) [Tucson 2011 show].
OLV003c
Olivine: San Carlos Co. AZ, USA; 6 bags of rough and tumbled olivine – from roadside stand (Miami Trading Post) – Miami, Arizona (purchased Oct. 2018).

OLV003d
Olivine/forsterite: San Carlos, AZ, USA area (3 pound bag of unsorted grains); 2019 Tucson Rock and Gem show.
OLV004
now pyroxene PYX151 (originally labelled as forsterite): San Vito Quarry, Vesuvio, Napoli, Italy (Excalibur Mineral Co.).
OLV005
Forsterite: St. John's Island, Red Sea, Egypt (Minerals Unlimited).
OLV006
too intimate to separate: Fayalite: Kajia-Kanagawa ken, Honshu, Japan (Minerals Unlimited).

OLV007
Forsterite: Palumbo Farm, Villafranca, Cecchina, near Rome, Italy (Minerals Unlimited), with pyroxene PYX171.
OLV008
Forsterite: Kafveltorp Quarry, near Kopperberg, Sweden (Minerals Unlimited), with pyroxene PYX022; more received July 25, 2008.
OLV009
Forsterite: Jackson County, North Carolina, USA (Minerals Unlimited). (More (2 lbs) received June 17/09).
OLV010
Chrysolite: Green Sand Beach, near South Point, Hawaii, USA (R.B. Singer).
OLV011
Fayalite: Rockport, Massachusetts, USA (Smithsonian Institution Museum of Natural History MNH #35117).  See Palache (1950).
OLV012
Forsterite: Twin Sisters Range, Washington, USA (Ward's collection #136053).
OLV013
Forsterite: Navajo Indian Reservation, San Carlos County, Arizona, USA (Minerals Unlimited), with pyroxene PYX015, volcanic bomb inclusion.
OLV014
now apatite APA102 (originally labelled as olivine): Jacupiranga Mine, Sao Paulo State, Brazil (Nature's Treasures), with magnetite MAG101.

OLV015
Fayalite: Zwartkloof, 707KR, 15 km west of Warmbaths, Northern Transvaal, South Africa (Smithsonian Institution Museum of Natural History MNH #36053), analysis in Pringle (1975).
OLV016
too intimate and sparse to separate: Fayalite: Coso Hot Springs, Inyo County, California, USA (Nature's Treasures).
OLV017
Olivine: India, 2-5 mm, semi-tumbled; 2 pounds (www.world of gaia.net; Received November 2018; ordered on Ebay).

OLV018
Olivine: China; purchased on ebay (50 gram lots): “50g Natural Peridot Olivine Quartz Crystal Stone Green Rock Chip Healing Gravel” – from xixi_style.
OLV020
Hyalosiderite: Skaergaard Intrusion, Greenland (University of Hawaii collection #10-21-9), with pyroxene PYX115 and plagioclase PLG125.
OLV021
Chrysolite: Springwater Intrusion, Montana, USA (University of Hawaii collection #10-3-10), with chromite CHR102.
OLV022
Olivine: Skaergaard Intrusion, Greenland (University of Hawaii collection #10-21-6), with pyroxene PYX114 and plagioclase PLG116.

OLV023
Roepperite (Mn-Zn olv): Sterling Hills, New Jersey, USA (Smithsonian Institution Museum of Natural History MNH #C2824).

OLV024
Number used for olivine in Chassigny SNC meteorite.

OLV025
Chrysolite: Springwater Intrusion, Montana, USA (University of Hawaii collection #10-3-6).
OLV026
Peridot (olivine) – Norway; 100 grams total – larger rough crystals (Rough Stone LLC – 2019 Tucson Rock and Gem Show).

OLV027
Olivine: locality unknown; pale green colour; sent accidentally by Kurt Mengel, Clausthal University; unsorted ~90% pure olivine grains (2 mm in size); ~2 grams of sample.
OLV101
Monticellite (Ca-Mg olv): locality unknown (University of Alberta GEOL330 laboratory collection #unknown).
OLV102
Forsterite: West Loch Tarbert, Harris, Outer Hebrides, Scotland (Excalibur Mineral Co.).

OLV103
Chrysolite: Loch Seaforth, Outer Hebrides, Scotland (Excalibur Mineral Co.), with pyroxene PYX119.
OLV104
now pyroxene PYX152 (originally labelled as tephroite, one of the other phases may be it): Kaso Mine, Tochigi-ken, Honshu, Japan (Minerals Unlimited).

OLV105
Knebelite (Mn-Fe olv): Highland Bell Mine, Beaverdell, British Columbia, Canada (Minerals Unlimited).
OLV106
Forsterite: Kettle River, British Columbia, Canada (X. Xue), in KR4000 xenolith.
OLV107
Forsterite: Rayfield River, British Columbia, Canada (D. Canil), in xenolith.

OLV108
Forsterite: locality unknown (Geological Survey of Canada collection at the University of Alberta #I59), in peridotite, with pyroxene PYX161. Either too intimate or confused with PYX161.

OLV109
now pyroxene PYX170 (originally labelled as olivine): KR4011 xenolith, Kettle River, British Columbia, Canada (D. Canil).

OLV110
Forsterite: locality unknown (Colorado Geological Institute #511 in University of Alberta GEOL401 collection), in norite pegmatite, with PYX168 and plagioclase PLG129. Either too intimate or confused with PYX168.

OLV111
Forsterite: Gerdeshagen, Germany (Smithsonian Institution Museum of Natural History MNH #85855), with plagioclase PLG124 and pyroxene PYX113. Either too intimate or confused with PYX113.

OLV112
Fayalite: Crystal Park, El Paso County, Colorado, USA (somewhat oxidized) (David Shannon).

OLV113
Fayalite: Road cut near Big Squaw, Maine, USA (green-brown, with ferrosilite (PYX173; mauve to brown-black, labradorite (PLG131), and biotite) (too intimate to separate) (David Shannon).

OLV114
Tephroite: Noda Tamagawa Mine, Noda Mura, Kunohe-gun, Iwate-ken, Japan, with hausmannite (HAU102), rhodochrosite and manganophyllite (too intimate to separate) (Minerals Unlimited).

OLV115
Green synthetic glass: decorative “stones”; locality unknown; perhaps China. Supplier: Abbott - China; purchased at Kuhlmann Greenhouses - Edmonton, Alberta, Canada.

OLV120
Olivine, variety monticellite: Magnet Cove, AR, USA; in carbonatite (received from Excalibur Minerals, March 27, 2008).

OLV121
Olivine, variety monticellite: Crestmore Quarry, Riverside Co., CA, USA; in calcite matrix (received from Excalibur Minerals, March 27, 2008).
OLV122
Olivine, variety monticellite: Monte Somma, Campania, Italy; 5 single crystals, 1-3 mm. (received from Excalibur Minerals, March 27, 2008).
OLV123
Olivine: North-West Frontier Province, Pakistan; large single crystals [M.K. Gems & Minerals, Tucson 2011 show].

OLV124
Olivine (Peridot sand), likely San Carlos, AZ, USA [Tucson 2011 show].

OLV125
Olivine, var,. forsterite; with calcite. Crestmore Quarry, Riverside, Riverside Co., CA, USA [Minerals Unlimited, received August 2011].
OLV126
Olivine: separates; Lanzarote, Spain (purchased at/near Uga, Lanzarote, Spain (3 ~25 g vials) (July 2019).

OLV201
Chrysolite: Pallasite meteorite, Imilac, Chile (Robert A. Haag) [6,P].
OLV300
Single olivine grains, with surficial nanophase iron produced by Thomas Kohout (University of Finland); received April 2016.

WIL101
Willemite: Sterling Hills, New Jersey, USA; with franklinite (SPI112) (Tyson’s Minerals). Maybe see Leavens et al. (1987).
WIL110
Willemite: Franklin, Sussex County, New Jersey, USA; in calcite, with franklinite (SPI120) (Minerals Unlimited). Also a sample from same locality and supplier with magnetite (MAG122). Maybe see Leavens et al. (1987).
+++++++++++++++++++++++++++++++++++
2.2.a.1. Sample Descriptions: Olivines - Sample from Mike Gaffey (Feb. 2007; in Meteorites box)
Vial: 5.4. Gaffey olivine <250 µm

Vial: 5.5. Brachina meteorite (310 mg) (“Brachina meteorite, 0.31 grams”) See Meteorites section.

+++++++++++++++++++++++++++++++++++
2.2.a.2. Sample Descriptions: Olivines - Samples from Mike Gaffey (Feb. 2009; in meteorites box)

MJG-a
Unlabeled vial of coarse green sand beach sand (likely for olivine separates) (vial labelled by me)

MJG-b
Unlabeled vial of coarse green sand beach sand (olivines picked out) (vial labelled by me)

MJGxxx
“Green Olivine; V.F.B.” crushed olivine (?) likely from MJG-b 

MJGyyy
“Steamed Green Olivine; VFB” (likely from MJG-b)

++++++++++++++++++++++++++++++++++++
2.2.a.3. Sample Descriptions: Olivines - Olivine-rich meteorites
Brachina

+++++++++++++++++++++++++++++++++++
2.2.4.a. Sample Descriptions: Olivines - Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012. Descriptions provided in section 30 of this document.

	Olivine
	 
	DH 4912

	PeridotiteJP1
	 
	JP-1

	hand sample50
	**Olivine
	ActLabs


Olivine grain size information from Brammer: <0.125 mm

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.2.a.x. Olivines - Alternative names for olivines
Chrysolite (10-30% Fe olivine)

Fayalite (Fe-rich olivine)

Ferrohortonolite (70-90% Fe olivine)

Forsterite (Mg-rich olivine)

Glaucochroite (CaMnSiO4 olivine)

Hortonolite (50-70% Fe olivine)

Hyalosiderite (30-50% Fe olivine)

Kirschsteinite (CaFeSiO4 olivine)

Knebelite ((Mn,Fe)2(SiO4))

Monticellite (CaMgSiO4 olivine)

Olivine

Tephroite (Mn2SiO4 olivine)

(Willemite) (compositionally has olivine type formula: Zn2SiO4)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.2b. XRD Data: Olivines
2.2.b.1. XRD Data: Olivines - Analogue files from University of Alberta instrument
Sample

XRD File
Phases identified
OLV003

Z03218

forsterite, synthetic

OLV011

Z03270

fayalite, synthetic; trace magnetite, synthetic

OLV022

Z03271

fayalite, manganoan; some low angle scatter

++++++++++++++++++++++++++++++++++++++++++++++++
2.2c. Compositional Data – Olivines (partial)
Wt. %
OLV002
OLV007
OLV011
OLV022
OLV103

FeO
12.62
2.71
61.46
28.52
10.14

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
WC
WC
WC
WC
WC

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). FeO was determined by wet chemistry (WC). 

2.2c. Compositional Data - Olivines
Specimen
OLV002
OLV003
OLV009

Wt.%

SiO2
38.52
40.57
40.87

TiO2
0.02
0.01
0.00

Al2O3
0.45
0.46
0.12

FeOc
12.70
8.44
7.70

Fe2O3c
1.19
0.20
0.84
Fe2O3Ta
15.30
9.58
9.40

MnO
0.19
0.12
0.13

MgO
44.44
48.47
49.14

CaO
0.23
0.19
0.07

Na2O
0.06
0.09
0.06

K2O
0.00
0.01
0.00

P2O5
0.01
0.01
0.00

Totalb
99.22
99.51
99.79

LOId
0.39
0.69
0.95
Mg (Fo)
86.2
91.1
91.9
Fe2+ (Fs)
13.8
8.9
8.1
Other

ppm:

Sr
<2
<2
<2

Zr
5
8
4

V
73
75
76

Cr
2020
349
107

Ni
~2100
~2000
~2300 ppm
Source of
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. 

2.2c. Compositional Data – Olivines (continued)
Wt. %
OLV002
OLV003
OLV003
OLV005
OLV007
OLV008
OLV009
OLV010

SiO2
39.74
40.64
40.37
40.97
41.72
36.65
40.64
40.42


FeO1
12.62
 9.25
8.83
n.d. 
 2.71
 7.15
n.d.
n.d.
Fe2O31
1.43
 0.59
0.39
 n.d.
 0.45
 0.00
 n.d.
 n.d.

FeOa
(13.92)

(10.20)
(9.59)


(8.72)
(11.11)

MgO
46.38
49.13
48.95
49.64
54.65
51.19
50.16
48.25

MnO
 0.23
 0.09
0.15
 0.09
 0.19
 2.15
 0.10
 0.15

ZnO
 0.00
 0.00

 tr.
 0.00
 0.11
 0.01
 0.00

NiO
 0.32
 0.33

 0.32
 0.01
 0.03
 0.31
 0.43

CaO
 0.13
 0.07
0.16
 0.00
 0.63
 tr.
 0.00
 0.19

TiO2
 tr.
 0.00
0.02
 tr.
 0.00
 0.01
 0.00
 tr.

Cr2O3
 tr.
 0.01

 0.00
 tr.
 0.00
 0.00
 0.13

CoO
 0.06
 0.04

 0.06
 0.01
 0.02
 0.04
 0.04

V2O5
 0.00
 0.00

 0.00
 0.00
 tr.
 0.00
 0.00

K2O
 0.00
 0.00
0.00
 0.00
 0.00
 0.00
 0.00
 0.00

Na2O
 0.00
 0.00
0.08
 0.00
 0.00
 0.00
 0.00
 0.00

Al2O3
 0.00
 tr.
0.11
 0.00
 0.00
 0.00
 0.00
 0.03

P2O5


0.00






TOTAL
100.78
100.15

100.67
100.33
97.31
99.98
100.75

LOI


0.80






ATOMIC RATIOS

Mg (Fo)
86.7
90.4
90.8
90.2
97.3
92.7
91.1
88.5

Fe2+ (Fa)
13.3
 9.6
9.2
 9.8
 2.7
 7.3
 8.9
11.5
Other





Some Mn
ppm

Sr


29

Zr


22

V


2

Ni


3350

Cr


412

Co


155

NUMBER OF IONS ON THE BASIS OF 4 OXYGENS

Si
0.988
0.994

0.997
0.991
0.930
0.993
0.992

Al
 --
 tr.

 --
 --
 --
 --
0.001

V
 --
 --

 --
 --
 tr.
 --
 --

Ti
 tr.
 --

 tr.
 --
 tr.
 --
 tr.

Cr
 tr.
 tr.

 --
 tr.
 --
 --
0.002

Fe3+
 --
0.011

 --
 --
 --
 --
 --

Fe2+
0.290
0.190

0.195
0.062
0.152
0.178
0.228

Mg
1.719
1.793

1.801
1.935
1.937
1.827
1.765

Mn
0.005
0.002

0.002
0.004
0.046
0.002
0.003

Zn
 --
 --

 tr.
 --
0.002
 tr.
 --

Ni
0.006
0.006

0.006
 tr.
0.001
0.006
0.009

Ca
0.003
0.002

 --
0.016
 tr.
 --
0.005

Co
0.001
0.001

0.001
 tr.
 tr.
0.001
0.001

Total
3.013
3.000

3.002
3.008
3.069
3.007
3.006

Source
U of C
U of C
Mertzman
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-5
EMPA-5
XRF/WC
EMPA-6
EMPA-7
EMPA-6
EMPA-7
EMPA9

a. Total Fe as FeO. OLV002, 007 FeO determined by Mertzman Sept./07. n.d. = not determined. tr.: trace (<0.01 wt.%).  
1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.  

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as FeO. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes. 

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of point analyses averaged together also indicated. U of C: University of Calgary EMPA. +++++++++++++++++
2.2c. Compositional Data – Olivines (continued)
Specimen
OLV010
OLV012
OLV015
OLV017
OLV018
OLV021
OLV023

Wt.%

SiO2
39.72
42.49
23.84
40.32
40.65
40.07
32.02

TiO2
0.03
0.00
0.04
0.00
0.00
0.08
0.01

Al2O3
0.88
0.50
0.24
0.22
0.46
2.24
0.13

FeO
c
10.75
7.15
40.15
8.44
8.33
9.48
0.00

Fe2O3c
0.96
0.47
27.75
0.53
0.32
2.60
0.15
Fe2O3Ta
12.91
8.42
72.37
9.91
9.58
13.14
0.15

MnO
0.15
0.11
0.82
0.12
0.12
0.18
61.71

MgO
45.37
47.62
1.11
48.89
48.74
38.54
1.54

CaO
0.34
0.20
1.74
0.14
0.15
3.55
0.88

Na2O
0.24
0.05
0.00
0.07
0.07
0.19
3.41

K2O
0.01
0.00
0.02
0.00
0.00
0.03
0.00

P2O5
0.03
0.00
0.02
0.00
0.00
0.01
0.00

Totalb
99.68
99.39
100.20
99.67
99.77
98.03
99.85

LOI
d
0.64
0.48
22.58
0.44
0.41
1.55
-1.68
Mg (Fo)
88.3
92.2
4.7
91.2
91.3
87.9
(94.8)

Fe2+ (Fa)
11.7
7.8
95.3
8.8
8.7
12.1
(5.2)

Other


High Fe3+


Some Ca
High Mn
ppm:

Sr

4
<2
<2
<2
<2
<2
4

Zr

9
8
4
6
6
10
10

V

18
10
<2
2
6
77
<2

Cr

1339
1014
47
271
240
11692
9

Ni

~3200
~3000

~3300
~2900
~2200


Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.  

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF.
+++++++
2.2c. Compositional Data - Olivines (continued)
Wt. %
OLV011
OLV012
OLV013
OLV015
OLV020
OLV021
OLV022
NMNH#
35117


36053





SiO2
29.78
40.95
40.68
29.83
36.15
40.14
36.50

FeO1
61.46
n.d.
n.d.
n.d.
n.d.
n.d
28.52

Fe2O31
 5.52
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.
8.64

FeOa
(66.48)
 (8.05)
(9.27)
(69.79)
(34.97)
(13.36)
(36.37)

MgO
 0.05
50.83
49.67
 0.74
28.86
45.55
27.73

MnO
 2.14
 0.10
 0.13
 0.71
 0.47
 0.19
 n.d.

ZnO
 0.54
 0.00
 tr.
 n.d.
 0.00
 tr.
 n.d.

NiO
 0.04
 0.40
 0.36
 n.d.
 0.10
 0.27
 n.d.

CaO
 0.05
 tr.
 0.09
 n.d.
 0.03
 0.03
 0.12

TiO2
 tr.
 0.00
 0.00
 0.04
 0.03
 0.01
 0.01

Cr2O3
 0.00
 0.00
 tr.
 n.d.
 tr.
 0.00
 n.d.

CoO
 0.10
 0.06
 0.04
 n.d.
 0.12
 0.05
 n.d.

V2O5
 0.00
 0.00
 0.00
 n.d.
 0.00
 0.00
 n.d.

K2O
 0.00
 0.00
 0.00
 n.d.
 0.00
 0.00
 n.d.

Na2O
 0.00
 0.00
 0.00
 n.d.
 0.00
 0.00
 n.d.

Al2O3
 0.00
 0.00
 0.01
 n.d.
 0.00
 0.00
 0.09

TOTAL
99.18
100.39
100.25
101.11
100.73
99.60
100.82

ATOMIC RATIOS

Mg (Fo)
 0.1
(≥91.8)
(≥90.5)
(≥1.9)
(≥59.5)
(≥85.9)
63.4

Fe2+ (Fa)
99.9
 (≤8.2)
(≤9.5)
(≤98.1)
(≤40.5)
(≤14.1)
36.6
Other
Some Mn
Fe3+:nd
Fe3+:nd
Fe3+:nd
Fe3+:nd
Fe3+:nd

NUMBER OF IONS ON THE BASIS OF 4 OXYGENS

Si
1.014
0.994
0.994
0.996
0.996
1.004
1.007 

Al
 --
 --
 tr.
 --
 --
 --
0.003

V
 --
 --
 --
 --
 --
 --
  -- 

Ti
 tr.
 --
 --
0.001
0.001
 tr.
0.001

Cr
 --
 --
 tr.
 --
 tr.
 --
  -- 

Fe3+
 --
 --
 --
 --
 --
 --
  -- 

Fe2+
1.891
0.163
0.189
1.949
0.806
0.280
0.839

Mg
0.002
1.838
1.809
0.037
1.185
1.699
1.140

Mn
0.061
0.002
0.003
0.020
0.011
0.004
  -- 

Zn
0.013
 --
 tr.
 --
 --
 tr.
  -- 

Ni
0.001
0.008
0.007
 --
0.002
0.005
  -- 

Ca
0.002
 tr.
0.002
 --
0.001
0.001
0.003

Co
0.003
0.001
0.001
 --
0.003
0.001
  -- 

K
 --
 --
 --
 --
 --
 --
  -- 

Na
 --
 --
 --
 --
 --
 --
  --

Total
2.988
3.006
3.006
3.003
3.005
2.995
2.993

Source
U of C
U of C
U of C
Pringle
U of C
U of C
U of A

Analysis
EMPA-5
EMPA-6
EMPA-9
(1975)
EMPA-2
EMPA-7
EMPA-1

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

a. Total Fe expressed as FeO. OLV011 and OLV022 FeO determinations by Stan Mertzman Sept./07.

Note: Source and Analysis: Mertzman: Total expressed on a volatile (LOI)-free basis and with all Fe reported as FeO. Analysis by XRF and ferrous iron (FeO) determined by wet chemistry (WC) by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Fe2O3 calculated as difference between total Fe and FeO. 

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA.
n.d. = not determined. tr.: trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++

2.2c. Compositional Data – Olivines (continued)
Specimen
OLV025
OLV026
OLV102
OLV103
OLV106
OLV111
OLV112

Wt. %

SiO2
38.41
41.22
39.01
43.09
43.36
47.62
27.27

TiO2
0.21
0.00
0.02
0.25
0.03
0.01
0.01

Al2O3
4.88
0.27
0.64
4.47
1.42
28.57
0.24

FeOc
6.83
6.24
7.20
9.57
8.07
0.05
61.42

Fe2O3c
6.02
0.34
2.54
2.65
0.14
0.13
0.06
Fe2O3Ta
13.61
7.27
10.54
13.29
9.11
0.19
68.32

MnO
0.22
0.09
0.16
0.18
0.15
0.01
3.65

MgO
31.82
51.11
47.33
33.19
44.98
0.36
0.49

CaO
2.87
0.02
0.23
3.07
0.62
18.92
0.14

Na2O
0.15
0.06
0.10
0.73
0.12
3.33
0.03

K2O
0.03
0.00
0.00
0.32
0.03
0.32
0.01

P2O5
0.01
0.00
0.00
0.04
0.01
0.01
0.01

Totalb
92.21
100.04
98.03
98.63
99.83
99.34
100.17

LOId
2.79
0.36
1.60
5.95
0.79
2.71
0.44

Mg (Fo)
89.3
93.6
92.1
86.1
90.9
(99.9)
1.4

Fe2+ (Fa)
10.7
6.4
7.9
13.9
9.1
(0.1)
98.6

Other
Some Fe3+,


Some Ca,Al

High Ca,Na
Some Mn

Ca,Al
ppm:








Sr
4
<2
<2
47
29
3865
<2

Zr
15
9
6
25
9
<2
7

V
259
<2
36
89
23
2
<2

Cr
43809
37
11582
6395
1652
<2
15

Ni
~1600
~3100
~3600
~2400
~1800




Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.  

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF.
+++++++

2.2c. Compositional Data - Olivines (continued)
Wt. %
OLV023
OLV025
OLV101
OLV102
OLV103
OLV105
OLV106

NMNH#
C2824








SiO2
28.83
39.72
38.29
40.84
39.58
30.19
40.48

FeO1
n.d.
n.d.
n.d.
n.d.
10.14
n.d.
n.d.
Fe2O31
 n.d.
 n.d.
 n.d.
 n.d.
6.31
 n.d.
 n.d.

FeOa
(2.24)
(13.81)
 (2.73)
 (9.09)
(15.88)
(46.86)
 (9.32)

MgO
 3.41
46.31
23.98
50.12
44.59
 1.36
49.68

MnO
56.90
 0.22
 0.14
 0.13
 0.18
20.69
 0.14

ZnO
 5.94
 0.00
 0.15
 0.00
 0.00
 0.07
 0.00

NiO
 0.25
 0.31
 0.01
 0.45
 0.40
 0.13
 0.41

CaO
 0.56
 0.03
35.05
 0.00
 0.00
 0.04
 0.08

TiO2
 0.08
 0.00
 0.00
 0.00
 0.00
 0.02
 0.00

Cr2O3
 0.04
 0.00
 0.00
 0.00
 tr.
 0.01
 0.00

CoO
 0.12
 0.05
 0.06
 0.04
 0.06
 0.11
 0.06

V2O5
 0.07
 0.00
 tr.
 0.00
 0.00
 0.01
 0.00

K2O
 0.02
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

Na2O
 0.59
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

Al2O3
 tr.
 0.00
 0.01
 0.00
 0.00
 0.00
 tr.

ZrO2*
 n.d.
 n.d.
 0.00
 n.d.
 n.d.
 n.d.
 n.d.

TOTAL
99.05
100.45
100.42
100.67
100.69
99.49
100.17

ATOMIC RATIOS

Mg (Fo)
(≥73.1)
(≥85.7)
(≥94.0)
(≥90.8)
88.7
(≥4.9)
(≥90.5)
Fe2+ (Fa)
(≤26.9)
(≤14.3)
(≤6.0)
(≤9.2)
11.3
(≤95.1)
(≤9.5)
Other
Fe3+:nd
Fe3+:nd
Fe3+:nd
Fe3+:nd

Fe3+:nd
Fe3+:nd

High Mn

High Ca


High Mn


NUMBER OF IONS ON THE BASIS OF 4 OXYGENS

Si
0.969
0.990
1.004
0.993
0.993
1.011
0.996

Al
 tr.
 --
 tr.
 --
 --
 --
 tr.

V
0.002
 --
 tr.
 --
 --
 tr.
 --

Ti
0.002
 --
 --
 --
 --
0.001
 --

Cr
0.001
 --
 --
 --
 tr.
 tr.
 --

Fe3+
 --
 --
 --
 --
 --
 --
 --

Fe2+
0.063
0.287
0.060
0.185
0.333
1.311
0.190

Mg
0.172
1.721
0.938
1.817
1.667
0.068
1.804

Mn
1.620
0.004
0.003
0.003
0.004
0.587
0.003

Zn
0.147
 --
0.003
 --
 --
0.002
 --

Ni
0.007
0.006
 tr.
0.009
0.008
0.003
0.008

Ca
0.020
0.001
0.985
 --
 --
0.001
0.002

Co
0.003
0.001
0.001
0.001
0.001
0.003
0.001

K
0.001
 --
 --
 --
 --
 --
 --

Na
0.038
 --
 --
 --
 --
 --
 --

Zr
 --
 --
 --
 --
 --
 --
 –

Total
3.045
3.010
2.995
3.008
3.006
2.988
3.004

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-4
EMPA-3
EMPA-1
EMPA-8
EMPA-5
EMPA-4
EMPA-6

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

a. Total Fe expressed as FeO. OLV103 FeO determinations by Stan Mertzman Sept./07.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++

2.2c. Compositional Data - Olivines (continued)
Wt. %
OLV107
OLV108
OLV110
OLV111

NMNH#



85855


SiO2
41.09
40.55
37.41
37.01



FeO1
n.d.
n.d.
n.d.
n.d.
Fe2O31
 n.d.
 n.d.
 n.d.
 n.d.



FeOa
(10.01)
(9.18)
(35.22)
(37.89)



MgO
50.81
51.14
30.75
28.48



MnO
 0.17
 0.11
 0.20
 0.69



ZnO
 0.00
 0.00
 0.11
 0.00



NiO
 0.45
 0.33
 0.00
 0.00



CaO
 0.06
 0.00
 0.06
 0.09



TiO2
 0.00
 0.00
 0.00
 0.00



Cr2O3
 0.03
 0.00
 0.04
 0.00



CoO
 0.00
 0.00
 0.00
 0.00



V2O5
 0.03
 0.00
 0.00
 0.00



K2O
 0.00
 0.00
 n.d.
 0.00



Na2O
 n.d.
 n.d.
 n.d.
 n.d.



Al2O3
 0.00
 0.00
 0.00
 0.00

TOTAL
102.65
101.31
103.79
104.16

ATOMIC RATIOS

Mg (Fo)
(≥90.0)
(≥90.8)
(≥60.9)
(≥57.3)



Fe2+ (Fa)
(≤10.0)
(≤9.2)
(≤39.1)
(≤42.7)


Other
Fe3+:nd
Fe3+:nd
Fe3+:nd
Fe3+:nd
NUMBER OF IONS ON THE BASIS OF 4 OXYGENS

Si
0.985
0.981
0.994
0.995



Al
  -- 
  --
  --
  --



V
0.001
  --
  --
  --



Ti
  --
  --
  --
  --



Cr
0.001
  --
0.001
  --



Fe3+
  --
  --
  --
  --



Fe2+
0.201
0.186
0.783
0.852



Mg
1.815
1.844
1.218
1.141



Mn
0.003
0.002
0.004
0.016



Zn
  --      --
0.002
  --
  --

Ni
0.009
0.006
  --
  --



Ca
0.002
  --
0.002
0.003



Co
  --
  --
  --
  --



K
  --
  --
  --
  --



Na
  --
  --
  --
  --



Zr
  --
  --
  --
  --


Total
3.017
3.019
3.004
3.007

Source
U of A
U of A
U of A
U of A



Analysis
EMPA-8
EMPA-8
EMPA-8
EMPA-8


a. All Fe reported as FeO.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA.
n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++

2.2c. Compositional Data - Olivines (continued)
Wt. %
OLV120
OLV121
OLV201
WIL101
WIL110
SiO2
35.96
37.46
40.36
FeO
4.92
3.98
n.d.
Fe2O3
1.70
--
n.d.
FeOa


(12.00)
(1.12)
(0.00)
MgO
21.36
22.78
47.76
MnO
1.17
0.52
0.26
ZnO


0.00
NiO


0.01
CaO
34.31
35.20
tr.
TiO2
0.00
--
tr.
Cr2O3


0.02
CoO


0.03
V2O5


0.00
K2O
-- 
--
0.00
Na2O
-- 
--
0.00
Al2O3
0.00
--
tr.
H2O
0.00
0.15

ZrO2*


0.00



TOTAL
100.10
100.09
100.44



ATOMIC RATIOS

Mg (Fo)
(88.6)
(≥91.1)
(≥87.6)
Fe2+ (Fa)
(11.4)
(≤8.9)
(≤12.4)
Other
High Ca
Fe3+:nd
Fe3+:nd



High Ca


NUMBER OF IONS ON THE BASIS OF 4 OXYGENS

Si


0.995
Al


tr.
V


--
Ti


tr.
Cr


tr.
Fe3+


--
Fe2+


0.247
Mg


1.755
Mn


0.005
Zn


Ni


tr.
Ca


tr.
Co


0.001
K


--
Na


--
Zr


--



Total


3.004



Source
DHZ-1A
DHZ-1A
U of C
Mertzman
Mertzman

Analysis


EMPA
XRF/WC
XRF/WC


 DHZ-1A indicates Deer. Howie and Zussman: Rock Forming Minerals, Volume 1a. Orthosilicates (Geological Society (1997).  
a - all Fe reported as FeO.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and FeO was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= from U. of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%). +++++++++++++++++++++++++++++++++++
2.2c. Compositional Data - Olivines (continued)
Specimen
OLV120
OLV121
OLV123
WIL110

Wt.%

SiO2
11.39
39.54
40.86
49.36

TiO2
0.06
0.25
0.00
0.00

Al2O3
0.24
7.30
0.22
0.28

FeOc
0.95
1.16
7.38
0.00

Fe2O3c
0.75
1.70
0.41
0.00

Fe2O3Ta
1.81
2.99
8.61
0.00

MnO
0.33
0.26
0.14
26.79

MgO
6.02
16.92
50.07
1.33

CaO
69.80
32.75
0.08
21.68

Na2O
0.00
0.00
0.08
0.64

K2O
0.01
0.00
0.00
0.01

P2O5
9.63
0.00
0.01
0.00

Totalb
99.29
100.01
100.07
100.09

LOId
26.70
3.56
0.27
0.15
Mg (Fo)
(91.9)
(96.3)
92.4
(100.0)
Fe2+ (Fa)
(8.1)
(3.7)
7.6
(0.0)

Other
High Ca
High Ca

High Mn,Ca
ppm:

Sr
5417
19
<1
25

Zr
<2
22
10
12

V
312
16
<2
3

Cr
<2
14
48
3

Source of
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC

a. Total Fe as Fe2O3. 

b. Total expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.  

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF.
+++++++

2.2d. Spectral Data - Olivines
Sample
Facility/File No. 
Description







OLV002
RELAB C1OL01
45-90 µm, 30/0, 0.3-2.6µm, 5 nm

OLV002
RELAB C2OL01
<45µm, 30/0, 0.3-2.6µm, 5 nm

OLV002
PSF 160507olv002
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV002
PSF 090707olv002
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV002
PSF olv002
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
OLV003
PSF 090421a.005
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

OLV003
RELAB C1SC02
45-90 µm, 0/15, 0.3-3.6µm, 5nm, spun 1.6-2.6µm.

OLV003
RELAB C2SC02
45-90 µm, 0/15, 0.3-2.6µm, 5nm.

OLV003
UH Analog
45-90 µm, 0248/15, 0.65-2.55µm, 1.5% resol.

OLV003
RELAB CSC099
<45µm, 0/15, 0.3-2.7µm, 5nm.

OLV003
RELAB C1PO50
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

OLV003
USGS 232
45-90 µm, IS, 0.35-2.6µm, 1x resol.

OLV003
RELAB casc02
45-90 µm, 30°/0°, 0.3-2.6µm, 5 nm.

OLV003
RELAB capo50
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

OLV003
PSF 041007olv00345
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV003
PSF 090707olv00345
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV003
PSF olv00345
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV003
PSF jun2706.000
<45 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF 041007olv00390
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV003
PSF 100707olv00390
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV003
PSF olv00390
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV003
PSF jun2706.001
45-90 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF 041007olv003250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV003
PSF 100707olv003250
90-250 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV003
PSF olv003250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV003
PSF jun2706.002
90-250 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF 041007olv003500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV003
PSF 100707olv003500
250-500 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV003
PSF olv003500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV003
PSF jun2706.003
250-500 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF 041007olv0031000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV003
PSF 160707olv0031000
500-1000 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV003
PSF olv0031000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV003
PSF jun2706.004
500-1000 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF 100413a.031
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OLV003
PSF 100420a.005
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

OLV003
PSF 100420a.004
45-90 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

OLV003
PSF mar3006.009
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

OLV003
PSF mar3006.010
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

OLV003
PSF 111201a.035
<45 μm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

OLV003
PSF 111201a.005
unsorted large grains (whole rock),  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

OLV003
INO olv 003
unsorted large grains (whole rock);  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 1 spectrum acquired.

OLV003
PSF olv003.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).
OLV003
PSF olv003_250_500.dpt
250-500 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

OLV003 
PSF 121016a.029
100% OLV003 (<250 μm) + 0% SGE101A; 
ASD. aka ZMIX017.
OLV003 
PSF OO 29
100% OLV003 (<250 μm) + 0% SGE101A; OO S2000; OO PSF file: 29. aka ZMIX017.

OLV003 
PSF 121016a.202
100% OLV003 (<45 μm) + 0% IRO102 or IRO103; ASD; aka ZMIX109.
OLV003
PSF 100907.001
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; aka MOMIX2001 (directory: 100907).

OLV003
PSF 100907.011
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; aka MOMIX2101.
OLV003
PSF 300807b.001
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX1001 (directory: 300807b).

OLV003
PSF 31aug07.001
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX2001 (directory: 31aug07).

OLV003
PSF 06sep07.001
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX3001 (directory: 06sep07).

OLV003
PSF 060907a.011
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX4001 (directory: 060907a).

OLV003
PSF 060907b.001
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD; aka POMIX5001 (directory: 060907b).

OLV003
PSF 200318a.00008.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

OLV003
PSF 211027a.00001.asd

850-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

OLV003
PSF 211027a.00002.asd

425-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

OLV003
PSF 211027a.00003.asd

212-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

OLV003
PSF 211027a.00004.asd

105-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

OLV003
PSF 211027a.00005.asd

45-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

OLV003
PSF 211027a.00006.asd

25-38 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

++++++
OLV003

See section 32 of this document for spectra of sample measured in a controlled atmosphere as well as mixed with nanophase iron.


+++++
OLV003 – single grain study – feasibility test: October 25, 2007

OLV003
PSF 071025a.000
Empty Al well; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [directory: 071025a].

OLV003
PSF 071025a.008
500-1000 μm olivine grain in well; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [directory: 071025a].

OLV003
PSF 071025a.009
500-1000 μm olivine grain in well; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [directory: 071025a].

OLV003
PSF 071025a.010
500-1000 μm olivine grain in well; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [directory: 071025a].

(OLV003)
PSF 071025a.000
Empty Al well; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [directory: 071025a].


++++++

OLV003 – single grain study: June 1, 2009

OLV003
PSF 090601a.012
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 1000 avg. ASD.

OLV003
PSF 090601a.013
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

OLV003
PSF 090601a.014
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

OLV003
PSF 090601a.015
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg. ASD.

OLV003
PSF 090601a.016
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg., grain shaken and remeasured. ASD.

OLV003
PSF 090601a.029
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg. ASD.


++++

OLV003
PSF 090601a.031
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg. ASD.

OLV003
PSF 090601a.036
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD.

OLV003
PSF 090601a.041
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. able), 1000 avg., grain shaken and remeasured, ASD.

OLV003
PSF 090601a.045
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg. ASD; grain lost.

OLV003
PSF 090601a.052
Al block 5 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

OLV003
PSF 090601a.053
Al block 5 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

OLV003
PSF 090601a.061
Al block 10 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

OLV003
PSF 090601a.062
Al block 10 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

OLV003
PSF 090601a.070
Al block 15 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

OLV003
PSF 090601a.071
Al block 15 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

OLV003
PSF 090601a.079
Al block 20 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., ASD.

OLV003
PSF 090601a.080
Al block 20 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD; grain lost.

OLV003
PSF 090601a.088
Al block 25 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., ASD.

OLV003
PSF 090601a.089
Al block 25 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD; grain lost.


++++++
OLV003
PSF 090601a.104
45-90 μm single grain (hopefully got a grain, maybe a few), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg., ASD.

OLV003
PSF 090601a.106
90-250 μm single grain, Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg. ASD.

OLV003
PSF 090601a.105
250-500 μm single grain (C grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg., ASD.

OLV003
PSF 090601a.107
500-1000 μm single grain (D’ grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg. ASD.


++++++
OLV003
PSF 090601a.117
500-1000 μm single grain (D’ grain), Al block 10 mm deep full bore well, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

OLV003
PSF 090601a.118
500-1000 μm single grain (D’ grain), Al block 10 mm deep full bore well, i=0°/e=0° (bifurc. cable), 100 avg., shaken and remeas, ASD.

OLV003
PSF 090601a.119
500-1000 μm single grain (D’ grain), Al block 10 mm deep full bore well, i=0°/e=0° (bifurc. cable), 100 avg., shaken and remeas, ASD.

OLV003
PSF 090601a.120
500-1000 μm single grain (D’ grain), Al block 10 mm deep tapered well, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

OLV003
PSF 090601a.121
500-1000 μm single grain (D’ grain), Al block 10 mm deep tapered well, i=0°/e=0° (bifurc. cable), 100 avg., shaken and remeas, ASD.

OLV003
PSF 090601a.122
500-1000 μm single grain (D’ grain), Al block 10 mm deep tapered well, i=0°/e=0° (bifurc. cable), 100 avg., shaken and remeas, ASD.


+++++
OLV003
PSF 090601a.131
45-90 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

OLV003
PSF 090601a.132
90-250 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

OLV003
PSF 090601a.133
250-500 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

OLV003
PSF 090601a.134
500-1000 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg. ASD.


++++++
OLV003
PSF 100412b.007
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).
OLV003
PSF 090724a.002
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd; aka OCMIX1001.


++++++++

OLV003 – phase angle measurements – all relative to Spectralon at i=30°, e=0°
OLV003
PSF 100930a.001
<45 μm; 13°/0° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.002
<45 μm; 30°/0° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.003
<45 μm; 60°/0° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.004
<45 μm; 0°/30° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.005
<45 μm; 30°/30° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.006
<45 μm; 60°/30° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.007
<45 μm; 0°/60° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.008
<45 μm; 30°/60° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).

OLV003
PSF 100930a.010
<45 μm; 60°/60° relative to standard at i=13°/e=0°; 0.35-2.5 μm; 1 nm output; 250 averaged spectra; ASD (Directory: 100930_angles).


+++++++++++++

OLV003 – phase angle measurements – all relative to Spectralon at i=13°, e=0°
OLV003
PSF 101001a.001
<45 µm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.010
<45 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.019
<45 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.028
<45 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.037
<45 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.046
<45 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.055
<45 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.065
<45 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.075
<45 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 101001a.084
<45 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

OLV003
PSF 121101a.017
<45 µm; i=30°, e=0°; 0.35-2.5 μm ASD; 1000 spectra averaged; 1 nm output. Directory: 121101mafic metal]. Aka OLMETS06.

++++++++ Glove box mixtures - OLV003 end member)+++++
OLV003
PSF 121016a.029
<250 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

OLV003
PSF OO 29 and 35
<250 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

OLV003
PSF 121016a.202
<45 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

OLV003
PSF OO 202
<45 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

OLV003
PSF 121016a.206
45-90 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

OLV003
PSF OO 206
45-90 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

+++++++
OLV003
PSF 160128a.001
<150 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160128 olivine]

OLV003
PSF 160128a.002
150-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160128 olivine]

OLV003
PSF 160128a.003
>150 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160128 olivine]

OLV003
PSF 160128a.004
>1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160128 olivine]

OLV003
See also section 15.25 of this document for mixtures of this material with nanophase iron and nanophase iron-impregnated silica gels.
+++++++ Raman in air and vacuum++++++
OLV003
PSF 005 olivine window vacuum.txtr
Olivine single crystal. Raman in mini-ME with sapphire window; 111-4000 cm-1; ~4 cm-1 resolution; 5000 msec; 20 spectra averaged; 4.6E-3 mbar for 1 day [Directory: 240109 mini me raman].

OLV003
PSF 001 olivine no window before vacuum.txtr
Olivine single crystal. Raman in mini-ME, no window; 111-4000 cm-1; ~4 cm-1 resolution; 5000 msec; 20 spectra averaged; ambient atmosphere [Directory: 240109 mini me raman].

OLV003
PSF 003 olivine window before vacuum.txtr
Olivine single crystal. Raman in mini-ME; 111-4000 cm-1; ~4 cm-1 resolution; 5000 msec; 20 spectra averaged; ambient atmosphere [Directory: 240109 mini me raman].

++++++
OLV005
RELAB C1OL02
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV005
RELAB C2OL02
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV005
PSF 19092400011.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV007
RELAB C1PO52
<45 µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

OLV007
PSF 160507olv007
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV007
PSF 100707olv007
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV007
PSF olv007
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV007
PSF olv007.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).
MOMIX5000
PSF 150519a.004
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

+++++++
OLV008
RELAB C1PO54
45-90 µm, other info unknown, 5nm (file lost?).

OLV008
RELAB CAPO54
<45 µm; 30°/0°; 0.3-2.6µm; 5 nm resol.

OLV008
RELAB LAPO54
<45 µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

OLV008
PSF 160507olv008
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV008
PSF 100707olv008
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV008
PSF olv008
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

+++++++
OLV009
RELAB C1OL03
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV009
RELAB C2OL03
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV009
PSF 19092400012.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV010
RELAB C1PO56
<45 µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

OLV010
UH Analog
38-53 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV010
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV010
UH Analog
63-90 µm, 0/15, 0.35-2.55µm, 1.5% resol.

OLV010
UH Analog
90-125 µm, 0/15, 0.35-2.55µm, 1.5% resol.

OLV010
UH Analog
63-90 µm dry sieve, 0/15, 0.35-2.55µm, 1.5% resol.

OLV010
PSF 19092400013.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
++++++++
OLV011
PSF 090421a.006
<90 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD (45-90 µm grains over <45 µm grains).

OLV011
RELAB C1PO58
<45µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

OLV011
UH Analog
<45µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV011
PSF 160507olv011
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV011
PSF 100707olv011
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV011
PSF olv011
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

OLV011
PSF olv011.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

OLV011
PSF 200318a.00009.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

+++++++
OLV012
RELAB C1PO60
<45 µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

OLV012
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV012
PSF 19092400014.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV013
RELAB C1OL04
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.

OLV013
RELAB C2OL04
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

OLV013
PSF 19092400015.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV015
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV015
UH Analog
<45 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV015
RELAB C1OL05
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV015
RELAB C2OL05
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV015
PSF 19092400026.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV017
PSF 19092400021.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

OLV018
PSF 19092400042.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV020
RELAB C1PO62
<45 µm, 30/0, 0.3-2.75µm, 5nm, spun 0.84-2.75µm.

OLV020
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV020
UH Analog
<45 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV020
PSF 200318a.00022.asd
45-90 µm, cleaned; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

+++++++
OLV021
RELAB C1PO64
<45 µm, 30/0, 0.3-2.75µm, 5nm, spun .84-2.75µm.

OLV021
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV021
PSF 19092400028.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV022
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV022
UH Analog
<45 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV022
RELAB C1OL06
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV022
RELAB C2OL06
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV022
PSF 160507olv022
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV022
PSF 100707olv022
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

OLV022
PSF olv022
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

+++++++
OLV023
UH Analog
<45 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV023
RELAB C1OL07
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV023
RELAB C2OL07
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV023
PSF 19092400044.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV024
UH Analog
45-90 µm, 0/15, 0.65-2.55µm,1.5% resol.(Chassigny).
OLV024
RELAB c1dd01
unsorted (?) powder; 30°0°; 0.3-2.6 μm; 5 nm resolution.

OLV024
RELAB c1dd02
<100 μm; 30°0°; 0.3-2.6 μm; 5 nm resolution.

+++++++
OLV025
RELAB C1OL08
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV025
RELAB C2OL08
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

OLV025
PSF 19092400045.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV026
PSF 19092400046.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

OLV029
PSF 19092400043.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV101
RELAB C1OL09
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV101
RELAB C2OL09
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV101
PSF mar3006.005
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

OLV101
PSF mar3006.006
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

++++++++
OLV102
RELAB C1OL10
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV102
RELAB C2OL10
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV102
PSF olv102m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

OLV102
PSF olv102n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

+++++++
OLV103
RELAB C1OL11
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV103
RELAB C2OL11
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV103
PSF mar3006.007
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

OLV103
PSF mar3006.008
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

OLV103
PSF 160507olv103
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

OLV103
PSF olv103
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

+++++++
OLV105
RELAB C1OL12
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV105
RELAB C2OL12
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV105
PSF 19092400022.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV106
RELAB C1OL13
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV106
RELAB C2OL13
<45 µm, 30/0, 0.3-2.6µm, 5 nm.
OLV106
PSF 19092400023.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV107
RELAB CAPO04
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

OLV107
RELAB LAPO04
<45 µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

OLV107
PSF 19092400024.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
OLV110
PSF 200110b00004.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++

OLV111
PSF 200110b00009.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
OLV112
RELAB CAPO05
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

OLV112
RELAB LAPO05
<45 µm, 30°/0°,30°; 0.3-26µm, 5/1.2-129 nm resol. Merged RELAB + Nicolet (note different viewing geometries).

+++++++
OLV120
PSF 19092400025.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

OLV121
PSF 19092400047.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

OLV123
PSF 200110b00001.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++
OLV201
RELAB C1SC68
<45 µm, 0/15, 0.3-2.7µm, 5nm.
+++++++
WIL101
PSF 19092400048.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

WIL110
PSF 19092400049.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++
Brachina
RELAB camt49
<45 μm; 30°, e0°; 0.3-2.6 μm; 5 nm resolution.

+++++++++++++++++++++++++++++++++++
Raman spectra: iRaman (532 nm); i=e=0°; 168-4003 cm-1; 4 cm-1 resolution

OLV003
PSF 200805_002_OLV003_Spot1
45-1000 µm powder; 40,000 msec integration time; 8 spectra averaged [Directory: 200805 Lunar Raman].

OLV003
PSF 200805_003_OLV003_Spot2
45-1000 µm powder; 40,000 msec integration time; 8 spectra averaged [Directory: 200805 Lunar Raman].

++++++

OLV011
PSF 200805_017_OLV011_Spot1
<90 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

OLV011
PSF 200805_018_OLV011_Spot2
<90 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

Raman spectra: iRaman (532 nm); i=e=0°; 174-4002 cm-1 wavelength range; ~4 cm-1 resolution.

OLV002
PSF 210224_007_532_OLV002_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

OLV002
PSF 210224_008_532_OLV002_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

OLV002
PSF 210224_009_532_OLV002_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

++++++

OLV003
PSF 210225_007_532_OLV003_spot1.txtr
45-100 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210225 LunaR raman].

OLV003
PSF 210225_008_532_OLV003_spot2.txtr
45-100 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210225 LunaR raman].

OLV003
PSF 210225_009_532_OLV003_spot3.txtr
45-100 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210225 LunaR raman].

++++++

OLV007
PSF 210225_004_532_OLV007_spot1.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210225 LunaR raman].

OLV007
PSF 210225_005_532_OLV007_spot2.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210225 LunaR raman].

OLV007
PSF 210225_006_532_OLV007_spot3.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210225 LunaR raman].

++++++

OLV010
PSF 210224_010_532_OLV010_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

OLV010
PSF 210224_011_532_OLV010_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

OLV010
PSF 210224_012_532_OLV010_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

++++++

OLV015
PSF 210225_001_532_OLV015_spot1.txtr
<45 µm powder; 50,000 msec integration time; 10 spectra averaged; [Directory: 210225 LunaR raman].

OLV015
PSF 210225_002_532_OLV015_spot2.txtr
<45 µm powder; 50,000 msec integration time; 10 spectra averaged; [Directory: 210225 LunaR raman].

OLV015
PSF 210225_003_532_OLV015_spot3.txtr
<45 µm powder; 50,000 msec integration time; 10 spectra averaged; [Directory: 210225 LunaR raman].

++++++

OLV020
PSF 210224_013_532_OLV020_spot1.txtr
<45 µm powder; 40,000 msec integration time; 1 spectrum averaged; [Directory: 210224 LunaR raman].

OLV020
PSF 210224_014_532_OLV020_spot2.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

OLV020
PSF 210224_015_532_OLV020_spot3.txtr
<45 µm powder; 40,000 msec integration time; 10 spectra averaged; [Directory: 210224 LunaR raman].

++++++
OLV112
PSF 210225_010_532_OLV112_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210225 LunaR raman].

OLV112
PSF 210225_011_532_OLV112_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210225 LunaR raman].

OLV112
PSF 210225_012_532_OLV112_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210225 LunaR raman].

++++++++++++++++++++++++++++++++++++++++++++

2.2d.1. Polynomial (quadratic) fits to olivine absorption bands (RELAB spectra)
Equation y=a+bx+cx2
Differentiate & solve for x at y=0 i.e. 0=-b+2cx, b=2cx

Band depth, solve for y (if normalized only)

Sample 

Poly. Coeff's 

Band
  
Band

Grain
Compil.

Channels



  a
   b
  c
Min (µm) 
Depth%
Size(µm)
& File#


Fitted

"OLV" prefix


003




1.052



45-90
U of Hawaii

003 

9.977
-18.46 
8.741
1.056



45-90
brown1a-136
136-164

003/s.l.

11.62
-21.35 
10.07
1.060

69.6

45-90
brown1b-177

003

9.024
-16.19 
7.668
1.056



<45

brown2a-107
131-164

003/s.l.

11.27
-20.12 
9.496
1.059

38.7

<45

brown2a-140
131-169

007

6.385
-10.89 
5.170
1.053



<45

brown2a-108
131-164

007/s.l.

7.780
-13.16 
6.215
1.059

18.6

<45

brown2a-141
131-169

010




1.055



45-90
U of Hawaii


010

8.258
-14.80 
6.999
1.057



<45

brown2a-109
131-164

010/s.l.

11.71
-20.86 
9.809
1.063

38.0

<45

brown2a-142
131-169

011




1.069



<45

U of Hawaii

011

2.834
-4.927 
2.294
1.074



<45

brown2a-110
136-169

011/s.l.

7.288
-12.38 
5.680
1.090

45.8

<45

brown2a-143
141-179

012




1.050



45-90
U of Hawaii

012

7.377
-13.01 
6.175
1.053



<45

brown2a-111
131-164

012/s.l.

9.971
-17.46 
8.237
1.060

28.2

<45

brown2a-144
131-169

015




1.017



45-90
U of Hawaii

015




1.030



<45

U of Hawaii

020




1.030



45-90
U of Hawaii

020




1.027



<45

U of Hawaii

020

3.089
-5.388 
2.565
1.050



<45

brown2a-112
131-164

020/s.l.

7.740
-13.52 
6.410
1.055

38.9

<45

brown2a-145
131-169

021




1.057



45-90
U of Hawaii

021

7.060
-12.65 
5.982
1.057



<45

brown2a-113
131-164

021/s.l.

11.47
-20.44 
9.616
1.063

39.2

<45

brown2a-146
131-169

022




1.010



45-90
U of Hawaii

022




1.033



<45

U of Hawaii

024




1.064



N.A.
U of Hawaii

Notes: 
s.l.= straight line continuum


/ = division by straight line continuum

Polynomial fits to major absorption band near 1µm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.2.

2. Silicates 
2.3. Feldspars 
2.3a. Sample Descriptions - Feldspars
[FORMAT: Sample #, type, locality, association/comments, and (supplier/supplier sample number)].

Note: sample IDs in italics are either not plagioclase or are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








PLG101
Andesine: Ylijarvi, Ylamaa, Kimi, Finland (David Shannon Minerals).

PLG102
Andesine: near Palmdale, Los Angeles County, California, USA (Minerals Unlimited).

PLG103
Albite (var. cleavelandite): Bob Ingersoll Mine, Keystone, Pennington County, South Dakota, USA (Minerals Unlimited).

PLG104
Andesine: Nain, Newfoundland and Labrador, Canada (Minerals Unlimited).

PLG105
Andesine: Sannidal, Norway (Minerals Unlimited).

PLG106
Albite: Dungannon Township, Ontario, Canada (Minerals Unlimited).

PLG107
Andesine (var. anemousite): Island of Linosa, Italy (Minerals Unlimited), intimately contaminated with aqua regia insoluble red material.

PLG108
Bytownite: Springwater Complex, Montana, USA (Dr. R. St J. Lambert), from norite layer.

PLG109
Labradorite: locality unknown (University of Alberta GEOL330 laboratory collection #A50).

PLG110
Albite: locality unknown (University of Alberta GEOL330 laboratory collection #A148).

PLG111
Bytownite: locality unknown (University of Alberta GEOL330 laboratory collection #A146).

PLG112
now calcite CRB110 (originally bytownite): U. of Alberta GEOL330 laboratory collection #A152.

PLG113
Labradorite: locality unknown (University of Alberta GEOL330 laboratory collection #A139).

PLG114
Anorthite: locality unknown (U. of Alberta GEOL330 lab collection #D81), with pyroxene PYX107.

PLG115
Oligoclase: Carter Mine, Holcombe Ranch, 0.5 miles north of Pleasant Gap, Madison County, North Carolina, USA (David Shannon Minerals).

PLG116
Labradorite: Skaergaard Intrusion, Greenland (University of Hawaii collection #10-21-6), with pyroxene PYX114 and olivine OLV022.

PLG117
Bytownite: Linewath, Cumbria, England (Excalibur Mineral Co.).

PLG118
Albite (var. moonstone): Colombo, Sri Lanka (Minerals Unlimited).

PLG119
Oligoclase (var. sunstone): Tvedesstrand, Norway (Minerals Unlimited Ralph Deitz collection), with quartz, analysis incomplete.

PLG120
Oligoclase: near Crown Point, Essex County, New York, USA (Minerals Unlimited).

PLG121
Oligoclase: India (Minerals Unlimited).

PLG122
Anorthite: Grass Valley, Nevada County, California (Minerals Unlimited). (More (3 lbs) received June 17/09).
PLG123
Albite (?): Bancroft, Ontario, Canada (Minerals Unlimited) with nepheline NEP101 and mica, too intimate to separate?

PLG124
Oligoclase?: Gerdeshagen, Germany (Smithsonian Institution Museum of Natural History MNH #85855), with pyroxene PYX113 and olivine OLV111.

PLG125
Plagioclase: Skaergaard Intrusion, Greenland (University of Hawaii collection #10-21-9), with pyroxene PYX115 and olivine OLV020.

PLG126
Plagioclase: locality unknown (Geological Survey of Canada collection at the University of Alberta #I62), analysis incomplete, with pyroxene PYX163.

PLG127
Locality unknown (source unknown), with pyroxene PYX164.
PLG128
Locality unknown (Geological Survey of Canada collection at U of Alberta).

PLG129
Plagioclase: locality unknown (Colorado Geological Institute #511 in University of Alberta GEOL401 laboratory collection), in norite pegmatite, with pyroxene PYX168.

PLG130
Anorthite: Split Rock, Minnesota (Ward's), in massive anorthosite.

PLG131
Labradorite: Road cut near Big Squaw, Maine, USA (with ferrosilite (PYX173, mauve to brown black, fayalite (OLV113), and biotite) (too intimate to separate) (David Shannon).

PLG132
Feldspar (5 pink, 1 gray specimen): localities unknown (Minerals Society of Manitoba).

PLG133
Feldspar, white, East German Creek, Manitoba, Canada (collected Aug. 2005).

PLG134
Plagioclase feldspar, massive white. landscaping stones by Twin Palms Motel, Phoenix, AZ, USA. Collected September 2008.

PLG135
Anorthite (An96): Miyake-jima, Tokyo, Japan, 1874 eruption (crystals covered with thin lava coating; clear underneath) [Alfredo Petrov, Tucson 2011 show].

PLG136
Amazonite: locality unknown [Western Woods Inc. Tucson 2011 show].

PLG137
Labradorite (iridescent) Antosahamamy, Ianapera, Benenitra Dept., SW Region, Tulear Province, Madagascar (December 2012 AGU Fall Meeting, purchased from Ikon Mining and Exploration).
PLG138
Buddingtonite (probably) (ammonium plagioclase); from "buddingtonite bump", Cuprite, NV, USA. (from Wendy Calvin, University of Nevada at Reno, Reno, NV, USA 89564; received April 29, 2013).
PLG139
Feldspar sand: locality: Ontario; from Sandtastik Products Limited; January 2019; purchased to fill the UW Geography “Sand Table”.

+++++++++++++
2.3.a.1. Sample Descriptions: Feldspars - Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	KFeldspar
	 
	GBW 03116 (NCS DC61102)

	hand sample6
	**Potash feldspar
	ActLabs

	hand sample48
	**Plagioclase feldspar
	ActLabs


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.3a.x Feldspars – Alternative Names
Albite (0-10% Ca)

Amphodelite (= anorthite)

Andesine (30-50% Ca)

Anorthite (90-100% Ca)

Aventurine (var. of albite; maybe also other minerals?)

Biotine (= anorthite)

Bytownite (70-90% Ca)

Christianite (= anorthite)

Cleavelandite (lamellar mass of albite)

Cyclopite (= anorthite)

Indianite (= granular anorthite from India)

Labradorite (50-70% Ca)

Latrobite (= anorthite)

Lepolite (= anorthite)

Maskelynite (glassy labradorite, from meteorites)

Moonstone (var. of albite; maybe also other minerals?)

Oligoclase (10-30% Ca)

Pericline (albite from the Alps)

Peristerite (whitish adularia-like albite)

Thiorsauite (= anorthite)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.3b. XRD Data - Feldspars
2.3b.1. Analogue files from U of A instrument
Sample

XRD File
Phases identified
PLG108

Z03219

Anorthite, ordered

PLG124

Z03203

Meionite (scapolite-group mineral: Ca4Al6Si6O24CO3)

PLG129

Z03199

Albite







++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.3b.2. University of Manitoba identifications - January 2006

Note: in many cases, albite and anorthite come up as equally good matches, probably because the JCPDS data base has few samples of intermediate composition.

PLG101 (An52.8)
Disordered albite (not a perfect match), maybe a few other very minor bands.

PLG102 (An48.3)
Anorthite and albite, maybe a minor peak or two missed.

PLG103 (An0.1)

Clean pattern - totally albite, nothing else.

PLG104 (An52.8)
Albite and/or anorthite, clean pattern.

PLG105 (An37.4)
Albite and/or anorthite and definitely some quartz (don’t need much to get a strong peak).

PLG106 (An9.8)

Albite and/or anorthite, nothing else.

PLG107 (An49.2)
Albite and/or anorthite match all the peaks; no sign at all of hematite or anything else.

PLG108 (An84.7)
Albite and/or anorthite; nothing else.

PLG109 (An67.3)
Albite and/or anorthite; nothing else.

PLG110 (An1.6)

Albite totally; maybe a trace of anorthite to make peaks fit a bit better.

PLG111 (An78.6)
Albite and/or anorthite only; no sign of hematite or anything else.

PLG113 (An53.7)
Albite and/or anorthite; nothing else.

PLG114 (An94.2)
Anorthite and/or albite only; nothing else.

PLG115 (An23.5)
Albite and/or anorthite; ID of cristobalite probably not real; no sign of hematite.

PLG116 (An58.0)
Albite and/or anorthite, nothing else.

PLG117 (An85.8) 
Anorthite, then albite; trace has wonky background; some clay mineral present (8.9°); muscovite or glauconite, and minor clinochlore.

PLG118 (An1.5)

Microcline fits best, albite is further down the list; but albite fits just as well or better; anorthoclase also.

PLG119 (An26.5)
Quartz and albite, no sign of hematite or goethite.

PLG120 (An14.4)
Albite and/or anorthite; no hematite or goethite.

PLG121 (An11.5)
Albite, has quartz; no hematite or goethite.

PLG122 (An92.8)
Anorthite and/or albite; plus some extra minor peaks, maybe a bit of muscovite; clinochlore/dickite or some clay to fit the lowest angle peak and a few other minor peaks.

PLG124 (An72.4)
Actually meionite (a scapolite) provides a perfect match, no sign of plagioclase.

PLG125 (An64.0)
Albite and/or anorthite; nothing else.

PLG129 (An59.7)
Albite and/or anorthite; nothing else.

PLG130 (An76.5)
Anorthite and/or albite; plus a few minor peaks - don’t fit any one thing well (probably a bit of alteration?).

2.3b.3. University of Winnipeg identifications - January 2015
PLG138


A bit of buddingtonite, plus siliceous earth, and sanidine (or related feldspar).
++++++++++++++++++++++++++++++++++++++++++++++++++++

2.3c. Compositional Data - Feldspars
Wt. %
PLG101
PLG102
PLG103
PLG104
PLG105
PLG106
PLG107

SiO2
54.85
55.58
69.08
54.90
58.73
65.89
55.47

Al2O3
27.71
27.29
19.16
27.85
24.99
21.21
27.17

Na2O
 5.15
 5.99
11.79
 5.21
 7.33
10.51
 5.68

CaO
10.97
10.19
 0.01
11.05
 7.95
 2.08
10.30

K2O
 0.40
 0.05
 0.03
 0.37
 0.05
 0.09
 0.32

SrO
 0.10
 0.19
 0.04
 0.10
 0.04
 0.21
 0.21

BaO
 0.07
 0.03
 tr.
 0.06
 0.06
 0.07
 0.06

Fe2O3*
 0.46
 0.11
 0.03
 0.41
 0.07
 0.07
 0.54

TiO2
 0.06
 0.03
 0.02 
 0.06
 0.02
 0.02
 0.11

NiO
 0.07
 0.06
 0.04
 0.05
 0.05
 0.04
 0.07

MnO
 0.01
 0.01
 0.01
 0.01
 0.01
 0.01
 0.02

Cr2O3
 0.02
 0.03
 0.03
 0.04
 0.00
 0.03
 0.03

CoO
 0.03
 0.03
 0.03
 0.03
 0.01
 0.01
 0.03

V2O5
 0.02
 0.02
 0.02
 0.01
 tr.
 tr.
 0.02

MgO
 tr.
 0.00
 0.00
 0.07
 0.00
 0.00
 0.03

ZnO
 0.01
 0.01
 0.01
 0.01
 tr.
 tr.
 0.02


TOTAL
99.93
99.62
100.30
100.23
99.31
100.24
100.08

ATOMIC RATIOS

Ab
44.9
51.4
99.8
45.1
62.3
89.7
49.0

An
52.8
48.3
 0.1
52.8
37.4
 9.8
49.2

Or
 2.3
 0.3
 0.1
 2.1
 0.3
 0.5
 1.8

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

Si
 9.943
10.069
12.032
 9.923
10.586
11.578
10.038

Al
 5.919
 5.835
 3.932
 5.931
 5.307
 4.392
 5.794

V
 0.002
 0.002
 0.002
 0.001
 0.001
 0.001
 0.002

Ti
 0.009
 0.004
 0.003 
 0.009
 0.003 
 0.003 
 0.015

Fe3+
 0.063
 0.015
 0.004 
 0.054
 0.010
 0.010
 0.074

Cr
 0.003
 0.004 
 0.004
 0.005
   --
 0.004
 0.004

Ca
 2.130
 1.981
 0.002
 2.139
 1.538
 0.391
 2.000

Sr
 0.011
 0.020
 0.004
 0.011
 0.004
 0.021
 0.022

Ba
 0.005
 0.002
 0.001
 0.004
 0.004 
 0.005
 0.004

Ni
 0.010
 0.009
 0.005
 0.008
 0.008
 0.005 
 0.011

Mn
 0.001 
 0.001 
 0.001
 0.001
 0.001
 0.001 
 0.003

Co
 0.005
 0.005
 0.005
 0.005
 0.002 
 0.002
 0.005

Mg
 0.001
   --
   --
 0.019
   --
   --
 0.008

Zn
 0.001 
 0.001
 0.001
 0.001
 0.001
 0.001
 0.002

Na
 1.810
 2.104
 3.981
 1.825
 2.561
 3.580
 1.993

K
 0.093
 0.011
 0.006
 0.087
 0.012
 0.021
 0.074

Total
20.006
20.063
19.983
20.023
20.038
20.015
20.049

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-6
EMPA-7
EMPA-7
EMPA-6
EMPA-2
EMPA-7
EMPA-7


* - all Fe reported as Fe2O3.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA.
n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++

2.3c. Compositional Data - Feldspars (continued) 

Wt. %
PLG108
PLG109
PLG110
PLG111
PLG113
PLG114
PLG115

SiO2
46.55
50.77
68.04
48.60
54.76
43.97
62.07

Al2O3
32.70
31.19
20.53
33.52
28.30
34.66
23.58

Na2O
 1.71
 3.60
11.58
 2.32
 5.23
 0.65
 8.98

CaO
17.28
13.71
 0.36
15.46
11.15
19.03
 4.99

K2O
 0.02
 0.12
 0.19
 0.01
 0.25
 0.00
 0.03

SrO
 0.03 
 0.08
 0.05
 0.07
 0.12
 0.06
 0.28

BaO
 0.03
 0.04 
 0.03
 0.03
 0.06
 0.05
 0.03

Fe2O3*
 0.64
 0.43
 0.06
 0.59
 0.36
 0.58
 0.07

TiO2
 0.05
 0.03
 0.03
 0.06
 0.04
 0.05
 0.02

NiO
 0.09
 0.07
 0.04
 0.10
 0.07
 0.08
 0.05

MnO
 0.01
 tr.
 0.01 
 0.00
 0.01
 0.01
 0.01

Cr2O3
 0.03 
 0.05
 0.02
 0.00
 0.01
 0.03
 0.02

CoO
 0.03
 0.03
 0.01
 0.03
 0.03
 0.04
 0.01

V2O5
 0.01
 0.01
 0.01 
 0.01
 0.01
 0.02
 tr.

MgO
 0.04
 0.02
 0.00
 0.14
 tr.
 0.01
 0.03

ZnO
 0.02
 0.02 
 0.00
 0.00
 0.01
 0.03
 tr.

TOTAL
99.24
 100.17
100.96
100.94
100.41
99.27
100.17

ATOMIC RATIOS

Ab
15.2
32.0
97.4
21.3
45.6
 5.8
76.4

An
84.7
67.3
 1.6
78.6
53.7
94.2
23.5

Or
 0.1
 0.7
 1.0
 0.1
 0.7
 0.0
 0.1

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

Si
 8.655
 9.246
11.811
 8.815
 9.870
 8.219
11.014

Al
 7.158
 6.694
 4.200
 7.164
 6.013
 7.635
 4.931

V
 0.001
 0.001
 0.001
 0.001
 0.001
 0.002
 0.001

Ti
 0.007
 0.004
 0.004
 0.009
 0.005
 0.007
 0.003

Fe3+
 0.089
 0.059
 0.008
 0.081
 0.049
 0.082
 0.010

Cr
 0.004
 0.008
 0.003
  --
 0.001
 0.004
 0.003

Ca
 3.439
 2.670
 0.063
 3.007
 2.156
 3.806
 0.949

Sr
 0.003
 0.009
 0.005
 0.008
 0.013
 0.007
 0.029

Ba
 0.002
 0.003
 0.002
 0.002 
 0.004
 0.003
 0.002

Ni
 0.013
 0.010
 0.005
 0.014
 0.010
 0.012
 0.007

Mn
 0.001
 0.001
 0.001
  --
 0.001
 0.001
 0.001

Co
 0.006
 0.005
 0.002
 0.005
 0.005
 0.008
 0.002

Mg
 0.011
 0.005
  --
 0.038
 0.001
 0.002
 0.007

Zn
 0.002
 0.002 
  --
  --
 0.001
 0.004
 0.001

Na
 0.616
 1.271
 3.897
 0.817
 1.829
 0.236
 3.090

K
 0.004
 0.027
 0.042
 0.002
 0.029
  --
 0.006

Total
20.011
20.015
20.044
19.963
19.988
20.028
20.056

Source
U of C
U of C
U of C
U of C
U of C
U of C
U of C
Analysis
EMPA-7
EMPA-4
EMPA-6
EMPA-7
EMPA-8
EMPA-6
EMPA-7

* - all Fe reported as Fe2O3.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++

2.3c. Compositional Data - Feldspars (continued) 

Wt. %
PLG116
PLG117
PLG118
PLG119
PLG119
PLG120
PLG121
PLG122

SiO2
53.67
46.95
66.75
62.22
64.82
65.28
65.34
44.80

Al2O3
29.11
33.60
18.41
22.61
21.82
21.94
21.79
35.05

Na2O
 4.64
 1.58
 5.46
 n.d.
7.29
 9.89
10.41
 0.81

CaO
12.04
17.38
 0.31
 5.06
4.90
 3.10
 2.45
18.76

K2O
 0.29
 0.01
 8.83
 n.d.
0.34
 0.40
 0.16
 0.00

SrO
 0.09
 0.03
 0.04
 n.d.

 0.06
 0.06
 0.08

BaO
 0.04
 0.04
 0.03
 n.d.

 0.01
 0.01
 0.05

Fe2O3*
 0.52
 0.54
 0.13
 0.00
0.17
 0.14
 0.12 
 0.61

TiO2
 0.13
 0.05
 0.01
 0.00
0.02
 0.03
 0.01 
 0.05

NiO
 0.06
 0.08
 0.05
 0.00

 0.05
 0.06
 0.08

MnO
 0.02
 tr.
 0.01
 0.00
0.01
 tr.
 tr.
 0.01

Cr2O3
 0.02
 0.01 
 0.02
 0.00

 0.03
 0.02
 0.02

CoO
 0.03
 0.04
 0.03
 0.00

 0.01
 tr.
 0.04

V2O5
 tr.
 0.01
 0.01
 0.00

 tr.
 tr.
 0.01

MgO
 0.03
 0.03
 0.00
 0.00
0.09
 0.00
 0.00
 0.01

ZnO
 0.01
 0.05
 0.01
 0.00

 0.00
 tr.
 0.03

P2O5




0.07




TOTAL
100.70
100.40
100.10
89.88
99.53
100.94
100.43
100.41

LOI




0.33




ppm
Sr




224

Zr




43

V




<2

Cr




<2

ATOMIC RATIOS

Ab
40.4
14.1
47.8
 n.d.
71.3
83.5
87.6
 7.2

An
58.0
85.8
 1.5
 n.d.
26.5
14.4
11.5
92.8

Or
 1.6
 0.1
50.7
 n.d.
2.2
 2.1
 0.9
 0.0

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

Si
 9.674
 8.614
12.081
 n.d.

11.426
11.467
 8.270

Al
 6.186
 7.264
 3.925
 n.d.

 4.526
 4.506
 7.622

V
 0.001
 0.001
 0.001
 n.d.

 0.001
 0.001
 0.001

Ti
 0.017
 0.007
 0.001
 n.d.

 0.004
 0.001
 0.007

Fe3+
 0.070
 0.077
 0.017
 n.d.

 0.019
 0.016
 0.084

Cr
 0.003
 0.001
 0.003
 n.d.

 0.004
 0.003 
 0.003

Ca
 2.329
 3.417
 0.060
 n.d.

 0.578
 0.464
 3.703

Sr
 0.011
 0.003
 0.004
 n.d.

 0.006
 0.006 
 0.009

Ba
 0.003 
 0.003
 0.002
 n.d.

 0.001
 0.001
 0.003

Ni
 0.009
 0.012
 0.008
 n.d.

 0.007
 0.008
 0.012

Mn
 0.003
 0.001
 0.001
 n.d.

 0.001
 0.001
 0.001

Co
 0.005
 0.008
 0.005
 n.d.

 0.002
 0.001
 0.008

Mg
 0.008
 0.008
   --
 n.d.

   --
   --
 0.002

Zn
 0.001
 0.007
 0.001
 n.d.

   --
 0.001
 0.004

Na
 1.622
 0.562
 1.916
 n.d.

 3.355
 3.543
 0.289

K
 0.065
 0.002
 2.033
 n.d.

 0.084
 0.036
   –

Total
20.007
19.987
20.058
 n.d.

20.014
20.055
20.018

Source
U of C
U of C
U of C
U of A
Mertzman
U of C
U of C
U of C

Analysis
EMPA-7
EMPA-4
EMPA-7
EMPA-1
XRF/WC
EMPA-6
EMPA-6
EMPA6

* - all Fe reported as Fe2O3. n.d. = not determined. tr.: trace (<0.01 wt.%). Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes. Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of point analyses averaged together also indicated. U of C: University of Calgary EMPA.+

2.3c. Compositional Data - Feldspars (continued) 

Wt. %
PLG122
PLG122
SiO2
44.80
42.99

TiO2
0.05
0.01

Al2O3
35.05
32.74

FeO1

0.51

Fe2O31

0.24

(Fe2O3)*
0.61
(0.81)

MnO
0.01
0.02

MgO
0.01
0.58

CaO
18.76
21.88

Na2O
0.81
0.91

K2O
0.00
0.06

P2O5

0.02

SO3

0.10

SrO
0.08

BaO
0.05

NiO
0.08

Cr2O3
0.02

CoO
0.04

V2O5
0.01

ZnO
0.03



TOTAL
100.41
100.12

LOI

1.10

ppm
Sr

491

Zr

60

V

37

Ni

<2

Cr

40

Co

<1


Source
U of C
Mertzman

Analysis
EMPA-6
XRF/WC


* - all Fe reported as Fe2O3.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++

2.3c. Compositional Data - Feldspars (continued) 

Wt. %

PLG124
PLG124
PLG125
PLG125
PLG126

SiO2

46.55
47.46
50.28
52.12
42.78

Al2O3

27.21
29.29
31.67
29.37
29.67

Na2O

 3.75
3.56
 n.d.
3.83
 n.d.

CaO

17.00
18.22
15.68
12.91
22.84

K2O

 n.d.
0.42
 n.d.
0.28
 n.d.

Fe2O3*

 0.10
0.30
 0.37
0.69
 3.85

TiO2

 0.00
0.01
 0.00
0.09
 0.00

NiO

 0.00

 0.13

 0.32

MnO

 0.01
0.02
 0.00
0.02
 0.12

Cr2O3

 0.01

 0.00

 0.00

CoO

 0.06

 0.00

 0.00

V2O5

 0.05

 0.00

 0.00

MgO

 0.00
0.35
 0.00
0.31
 0.00

ZnO

 n.d.

 0.00

 0.18

P2O5


0.03

0.05


TOTAL

94.74
99.66
98.13
99.67
99.76

LOI


0.92

0.44


ppm
Sr


3700

492

Zr


40

38

V


<2

<2

Cr


<2

<2

ATOMIC RATIOS

Ab

n.d.
25.6
n.d.
34.4
n.d.

An

n.d.
72.4
n.d.
64.0
n.d.

Or

n.d.
2.0
n.d.
1.6
n.d.

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

Si

n.d.

n.d.

n.d.

Al

n.d.

n.d.

n.d.

V

n.d.

n.d.

n.d.

Ti

n.d.

n.d.

n.d.

Fe3+

n.d.

n.d.

n.d.

Cr

n.d.

n.d.

n.d.

Ca

n.d.

n.d.

n.d.

Ni

n.d.

n.d.

n.d.

Mn

n.d.

n.d.

n.d.

Co

n.d.

n.d.

n.d.

Mg

n.d.

n.d.

n.d.

Zn

n.d.

n.d.

n.d.

Na

n.d.

n.d.

n.d.

K

n.d.

n.d.

n.d.


Total

n.d.

n.d.

n.d.


Source

U of C
Mertzman
U of A
Mertzman
U of A

Analysis

EMPA-1
XRF/WC
EMPA-1
XRF/WC
EMPA-1



* - all Fe reported as Fe2O3. n.d. = not determined. tr.: trace (<0.01 wt.%)
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. +++++++++++++++++++++

2.3c. Compositional Data - Feldspars (continued) 

Wt. %
PLG129
PLG129
PLG130
PLG130
PLG138

SiO2
55.35
53.61
49.27
49.20
79.71
Al2O3
26.17
28.47
32.08
31.74
12.39
Na2O
 n.d.
4.22
 n.d.
2.60
1.18
CaO
 9.93
11.94
16.02
15.56
0.29
K2O
 n.d.
0.37
 0.08
0.06
5.090
(Fe2O3)*
(1.61)
(0.77)
(0.44)
(0.42)
(0.24)
FeO




0.00

Fe2O3




0.24
TiO2
 0.10
0.14
 0.08
0.04
0.10
NiO
 0.15

 0.00

MnO
 0.00
0.02
 0.00
0.01
0.018
Cr2O3
 0.00

 0.00

CoO
 0.00

 0.00

V2O5
 0.08

 0.00

MgO
 0.00
0.57
 0.25
0.26
0.13
ZnO
 0.00

 0.00
P2O5

0.07

0.03
0.010
SO3a




0.050
Cl




0.000

TOTAL
93.39
100.18
98.22
99.92
99.208
LOI

0.59

0.83
2.88

N^




0.57

C^




0.12

S^




0

ppm
Sr

488

471
10
Zr

34

31
129
V

<2

<2
5
Cr

<2

<2
25
Rb




216

Ni




<2

Co




<2
ATOMIC RATIOS

Ab
n.d.
38.1
n.d.
23.1

An
n.d.
59.7
n.d.
76.5

Or
n.d.
2.2
n.d.
0.4


Source
U of A
Mertzman
U of A
Mertzman
Mertzman
Analysis
EMPA-1
XRF/WC
EMPA-1
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3. n.d. = not determined. tr.: trace (<0.01 wt.%)
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. 
^ - N, C, and S determined using a light element analyzer. Due to the small amount of sample used, there may be issues of sample heterogeneity and representativeness.

a - SO3 content may represent a minimum value due to heating of the sample twice.
+++++++++++++++++++++++++++++++++++++++++++++++++

2.3d. Spectral Data - Feldspars
Sample
Facility/File No. 
Description







PLG101
RELAB capl29
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG101
RELAB lapl29
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG102
RELAB capl30
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG102
RELAB lapl30
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG103
RELAB capl31
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG103
RELAB lapl31
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG103
PSF 150507plg103
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG103
PSF 090707plg103
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG103
PSF plg103
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG103
PSF plg103.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG104
RELAB capl32
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG104
RELAB lapl32
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG104
PSF 150507plg104
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG104
PSF 090707plg104
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG104
PSF plg104
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PLG105
RELAB capl33
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG105
RELAB lapl33
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG105
PSF 150507plg105
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG105
PSF 090707plg105
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG105
PSF plg105
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source  (OO S2000).

++++++
PLG106
RELAB capl34
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG106
RELAB lapl34
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG106
PSF 150507plg106
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG106
PSF 090707plg106
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG106
PSF plg106
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG106
PSF plg016.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012). (Mislabelled?)

++++++
PLG107
RELAB capl35
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG107
RELAB lapl35
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG108
RELAB capl36
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG108
RELAB lapl36
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG108
USGS 236
unsorted, IS, 0.35-2.6µm, 1x resol.

PLG108
RELAB C1SC37
45-90µm, 30/0, 0.3-2.6µm, 5nm.

PLG108
UH Analog
? g.s., diffuse, 0.9-2.5µm, ? resol.

PLG108
PSF mar3006.015
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PLG108
PSF mar3006.016
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PLG108
PSF 160507plg108
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG108
PSF 090707plg108
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG108
PSF plg108
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG108
PSF 130707plg108u
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Unpacked (loose) sample.

PLG108
PSF 130707plg108p
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Packed (tamped down) sample.

PLG108
PSF 130707plg108slick
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. “Slick” (packed and mirror surface made) sample.

PLG108
PSF 160707plg108packed
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Packed (tamped down) sample.

PLG108
PSF 160707plg108unpacked
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Unpacked (loose) sample.

PLG108
PSF 100824b.012
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

PLG108
PSF plg108.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PLG108
PSF 121016a.219
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; measured in glove box; ASD; aka ZMIX121; see section 32 (directory: 121016 GLOVEBOX).

PLG108
PSF 121016a.224
45-90 µm; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; measured in glove box; ASD; aka ZMIX124; see section 32 (directory: 121016 GLOVEBOX).

PLG108
PSF 121016a.136
<250 µm; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; measured in glove box; ASD; aka ZMIX086; see section 32 (directory: 121016 GLOVEBOX).

PLG108 
PSF OO 219
<45 μm (100% PLG108 (<250 μm) + 0% SGE101A); 0.2-0.4 μm; i=0°, e=0° (bifurcated probe); Ocean Optics S2000; 100 averaged; aka ZMIX121.

PLG108 
PSF OO 224
45-90 μm (100% PLG108 (<250 μm) + 0% SGE101A); 0.2-0.4 μm; i=0°, e=0° (bifurcated probe); Ocean Optics S2000; 100 averaged; aka ZMIX124.

PLG108 
PSF OO 136
<250 μm (100% PLG108 (<250 μm) + 0% SGE101A); 0.2-0.4 μm; i=0°, e=0° (bifurcated probe); Ocean Optics S2000; 100 averaged; aka ZMIX086.

PLG108
See also section 15.25 of this document for mixtures of this material with nanophase iron and nanophase iron-impregnated silica gels.
++++++
PLG109
RELAB capl37
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG109
RELAB lapl37
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG109
PSF 160507plg109
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG109
PSF 090707plg109
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG109
PSF plg109
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG109
PSF plg109.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG110
RELAB capl38
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG110
RELAB lapl38
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG111
RELAB capl39
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG111
RELAB lapl39
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG111
PSF 160507plg111
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG111
PSF 090707plg111
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG111
PSF plg111
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PLG113
RELAB capl40
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG113
RELAB lapl40
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG113
PSF plg113.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG114
RELAB capl41
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG114
RELAB lapl41
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG114
UH Analog
? g.s., diffuse, 0.9-2.5µm, ? resol.

PLG114
PSF 160507plg114
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG114
PSF 090707plg114
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG114
PSF plg114
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG114
PSF plg114.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG115
RELAB capl42
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG115
RELAB lapl42
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG115
PSF 160507plg115
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG115
PSF 090707plg115
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG115
PSF plg115
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG115
PSF 090922a.019
<45 µm, i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; in steel sample cup.

PLG115
PSF 090922a.020
<45 µm, i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; in steel sample cup.

PLG115
PSF 090922a.021
<45 µm, i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; in aluminum sample cup.

PLG115
PSF 090922a.022
<45 µm, i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; in aluminum sample cup; reshoot.

PLG115
PSF 090922a.023
<45 µm, i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; in aluminum sample cup; reshoot.

PLG115
PSF 090922a.024
<45 µm, i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; in aluminum sample cup; reshoot.

PLG115
PSF 090825 sub45
<45 μm; i=30/e=0; 0.35-0.86 μm; ~0.3 nm resol.; 41 msec, 1000 spectra avgd; Ocean Optics S2000 + QTH light.
PLG115
PSF 090825 45-90
45-90 μm; i=30/e=0; 0.35-0.86 μm; ~0.3 nm resol.; 41 msec, 1000 spectra avgd; Ocean Optics S2000 + QTH light.

PLG115
PSF 090825 90-250
90-250 μm; i=30/e=0; 0.35-0.86 μm; ~0.3 nm resol.; 41 msec, 1000 spectra avgd; Ocean Optics S2000 + QTH light.

PLG115
PSF 090825 25-500
250-500 μm; i=30/e=0; 0.35-0.86 μm; ~0.3 nm resol.; 41 msec, 1000 spectra avgd; Ocean Optics S2000 + QTH light.

PLG115
PSF 090825 500-1000
500-1000 μm; i=30/e=0; 0.35-0.86 μm; ~0.3 nm resol.; 41 msec, 1000 spectra avgd; Ocean Optics S2000 + QTH light.


++++++

PLG115
PSF 091015a.001
<45 μm; i=30/e=0; 0.35-2.5 μm; 1 nm output; 100 spectra avgd; ASD + QTH light.

PLG115
PSF 091015a.002
45-90 μm; i=30/e=0; 0.35-2.5 μm; 1 nm output; 100 spectra avgd; ASD + QTH light.

PLG115
PSF 091015a.003
90-250 μm; i=30/e=0; 0.35-2.5 μm; 1 nm output; 100 spectra avgd; ASD + QTH light.

PLG115
PSF 091015a.004
250-500 μm; i=30/e=0; 0.35-2.5 μm; 1 nm output; 100 spectra avgd; ASD + QTH light.

PLG115
PSF 091015a.005
500-1000 μm; i=30/e=0; 0.35-2.5 μm; 1 nm output; 100 spectra avgd; ASD + QTH light.

PLG115
PSF plg115.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG116
RELAB capl43
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG116
RELAB lapl43
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG117
RELAB capl44
<45µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG117
RELAB lapl44
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG117
UH Analog
? g.s., diffuse, 0.9-2.5µm, ? resol.

PLG117
PSF plg117.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG118
RELAB capl45
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG118
RELAB lapl45
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG119
RELAB capl46
<45µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG119
RELAB lapl46
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG120
RELAB capl47
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG120
RELAB lapl47
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG120
PSF 160507plg120
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG120
PSF 090707plg120
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG120
PSF plg120
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

++++++
PLG121
RELAB capl48
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG121
RELAB lapl48
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG122
RELAB capl49
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG122
RELAB lapl49
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

PLG122
UH Analog
? g.s., diffuse, 0.9-2.5µm, ? resol.

PLG122
PSF mar3006.011
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PLG122
PSF mar3006.012
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory mar3006].

PLG122
PSF 160507plg122
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG122
PSF 090707plg122
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG122
PSF plg122
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG122
PSF plg122.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
PLG124
RELAB capl51
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG124
RELAB lapl51
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG125
RELAB capl52
<45 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PLG125
RELAB bmr1pl052
<45 µm, 30°/30°, 1.67-25 µm, 0.6-129 nm.

PLG125
RELAB bkr1pl052
<45 µm, 30°/0°,30°, 0.3-25 µm, 5,0.6-129; merged RELAB+Nicolet at 1.8 µm, note change in viewing geometry.

PLG125
RELAB bkr1ec014
<45 µm, 30°/0°,30°, 0.3-25 µm, 5,0.6-129; merged RELAB+Nicolet at 1.8 µm, note change in viewing geometry.

++++++
PLG129
RELAB capl50
<45 µm, 30°/0°; 0.3-2.6µm, 5 nm.

PLG129
RELAB lapl50
<45 µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet (at 2.525 µm); note change in viewing geometry.

++++++
PLG130
RELAB capl53
<45 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PLG130
RELAB bmr1pl053
<45 µm, 30°/30°, 1.67-25 µm, 0.6-129 nm.

PLG130
RELAB bkr1pl053
<45 µm, 30°/0°,30°, 0.3-25 µm, 5,0.6-129; merged RELAB+Nicolet at 1.8 µm, note change in viewing geometry.
PLG130
PSF 130607plg13045
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG130
PSF 090707plg13045
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG130
PSF plg13045
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG130
PSF 130607plg13090
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG130
PSF 090707plg13090
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG130
PSF plg13090
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG130
PSF 130607plg130250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG130
PSF 090707plg130250
90-250 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG130
PSF plg130250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG130
PSF 130607plg130500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG130
PSF 090707plg130500
250-500 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG130
PSF plg130500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG130
PSF 130607plg1301000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm (OO S2000).

PLG130
PSF 090707plg1301000
500-1000 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm (OO S2000).

PLG130
PSF plg1301000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source (OO S2000).

PLG130
PSF plg130.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

PLG130
PSF plg130_250_500.dpt
250-500 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).


++++++
PLG130 – single grain study: June 1, 2009

PLG130
PSF 090601a.017
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.018
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

PLG130
PSF 090601a.019
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

PLG130
PSF 090601a.020
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.021
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

PLG130
PSF 090601a.032
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.037
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.042
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. able), 100 avg., ASD.

PLG130
PSF 090601a.046
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD; grain lost.

PLG130
PSF 090601a.054
Al block 5 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.055
Al block 5 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

PLG130
PSF 090601a.063
Al block 10 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.064
Al block 10 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

PLG130
PSF 090601a.072
Al block 15 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.073
Al block 15 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

PLG130
PSF 090601a.081
Al block 20 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., ASD.

PLG130
PSF 090601a.082
Al block 20 mm deep well: D’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 1000 avg., grain shaken and remeasured, ASD; grain lost.

PLG130
PSF 090601a.090
Al block 25 mm deep well: D’’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., ASD.

PLG130
PSF 090601a.091
Al block 25 mm deep well: D’’ grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD; grain lost.

PLG130
PSF 090601a.108
45-90 μm single grain (hopefully got a grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg., ASD.

PLG130
PSF 090601a.109
90-250 μm single grain, Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg. ASD.

PLG130
PSF 090601a.110
250-500 μm single grain (C grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg., ASD.

PLG130
PSF 090601a.111
500-1000 μm single grain (D’’ grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 1000 avg. ASD.


++++++
PLG130
PSF 090601a.135
45-90 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

PLG130
PSF 090601a.136
90-250 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

PLG130
PSF 090601a.137
250-500 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

PLG130
PSF 090601a.138
500-1000 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

++++++
PLG137
PSF 130723b.013
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

PLG137
PSF 130723b.014
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).
++++++

PLG138
PSF 140508a.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140508a.001].
PLG138
PSF tw3
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
++++++++++++++++++++++++++++++++++++++++++
d. Raman spectra: iRaman 532 nm; 168-4003 cm-1; 4 cm-1 resolution

PLG122
PSF 200805_008_PLG122_Spot1
<45 µm powder; 900 msec integration time; 334 spectra averaged [Directory: 200805 Lunar Raman].

PLG122
PSF 200805_009_PLG122_Spot2
<45 µm powder; 1000 msec integration time; 300 spectra averaged [Directory: 200805 Lunar Raman].

++++++

PLG130
PSF 200805_019_PLG130_Spot1
<45 µm powder; 18,000 msec integration time; 17 spectra averaged [Directory: 200805 Lunar Raman].

PLG130
PSF 200805_020_PLG130_Spot2
<45 µm powder; 18,000 msec integration time; 17 spectra averaged [Directory: 200805 Lunar Raman].

+++++++++++++++++++
Raman spectra: iRaman 532 nm; 174-4002 cm-1 wavelength range; ~4 cm-1 resolution

PLG101
PSF 210226_001_532_PLG101_spot1.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210226 LunaR raman].

PLG101
PSF 210226_002_532_PLG101_spot2.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210226 LunaR raman].

PLG101
PSF 210226_003_532_PLG101_spot3.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210226 LunaR raman].

++++++

PLG103
PSF 210226_004_532_PLG103_spot1.txtr
<45 µm powder; 1,000 msec integration time; 1 spectrum averaged; [Directory: 210226 LunaR raman].

PLG103
PSF 210226_005_532_PLG103_spot2.txtr
<45 µm powder; 1,000 msec integration time; 125 spectra averaged; [Directory: 210226 LunaR raman].

PLG103
PSF 210226_006_532_PLG103_spot3.txtr
<45 µm powder; 1,000 msec integration time; 125 spectra averaged; [Directory: 210226 LunaR raman].

++++++
PLG106
PSF 210301_001_532_PLG106_spot1.txtr
<45 µm powder; 1,000 msec integration time; 1 spectrum averaged; [Directory: 210301 LunaR raman].

PLG106
PSF 210301_002_532_PLG106_spot2.txtr
<45 µm powder; 500 msec integration time; 250 spectr1 averaged; [Directory: 210301 LunaR raman].

PLG106
PSF 210301_003_532_PLG106_spot2.txtr
<45 µm powder; 500 msec integration time;250 spectr1 averaged; [Directory: 210301 LunaR raman].

++++++

PLG108
PSF 210226_007_532_PLG108_spot1.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210226 LunaR raman].

PLG108
PSF 210226_008_532_PLG108_spot2.txtr
<45 µm powder; 2,000 msec integration time; 1 spectrum averaged; [Directory: 210226 LunaR raman].

PLG108
PSF 210226_009_532_PLG108_spot31.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210226 LunaR raman].

+++++

PLG109
PSF 210301_004_532_PLG109_spot1.txtr
<45 µm powder; 1,000 msec integration time; 125 spectra averaged; [Directory: 210301 LunaR raman].

PLG109
PSF 210301_005_532_PLG109_spot2.txtr
<45 µm powder; 1,000 msec integration time; 125 spectra averaged; [Directory: 210301 LunaR raman].

PLG109
PSF 210301_006_532_PLG109_spot3.txtr
<45 µm powder; 1,000 msec integration time; 125 spectra averaged; [Directory: 210301 LunaR raman].

++++++

PLG111
PSF 210301_007_532_PLG111_spot1.txtr
<45 µm powder; 500 msec integration time; 1 spectrum averaged; [Directory: 210301 LunaR raman].

PLG111
PSF 210301_008_532_PLG111_spot2.txtr
<45 µm powder; 500 msec integration time; 250 spectra averaged; [Directory: 210301 LunaR raman].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 2.3. 

2. Silicates
2.4. Amphiboles
2.4a. Sample Descriptions - Amphiboles
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are  too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample
Description








AMP001
Amphibole: Tilly Foster Mine, Brewster, New York, USA (Dr. David Garske, collected by Gunnar Bjareby #A106), originally labelled as pyroxene PYX001.

AMP031
Amphibole: Gjerstad, Norway (Minerals Unlimited), originally labelled as pyroxene PYX031.
AMP048
Amphibole; was labelled originally PYX048: (Pyroxene (locality unknown, from UWinnipeg room 4CM42)).

AMP101
Richterite: Langban, Sweden (Minerals Unlimited), originally labelled as richterite RIC101.

AMP106
Amphibole: locality unknown (University of Alberta GEOL330 laboratory collection #8/4/5), originally labelled as pyroxene PYX106.

AMP232
Amphibole: Ekersund, Norway (Minerals Unlimited), occurs intimately with pyroxene PYX032 but not spectrally apparent.

AMP305
Amphibole: locality unknown, probably Ontario, Canada (G. Hudecek), occurs intimately with pyroxene PYX005.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.4b. XRD Data - Amphiboles
None

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.4c. Compositional Data - Amphiboles
Wt. %
AMP001
AMP031
AMP101
AMP101
AMP106
AMP232
AMP305
SiO2
55.28
50.69
54.42
54.28
53.84
48.98
39.95

Al2O3
 1.94
 7.46
 0.77
1.05
 3.62
 1.21
12.50

FeO1
 3.54
 6.02
 1.35*
1.11*
 7.67
23.65
 5.93

Fe2O31
 0.00
 0.18
 n.d.

 0.00
 4.16
 5.37

MgO
22.86
18.04
18.32
18.88
18.58
17.49
12.80

CaO
12.17
12.59
 5.72
5.72
12.02
 1.07
11.77

Na2O
 0.65
 0.69
 6.09
6.09
 0.77
 0.00
 2.74

TiO2
 0.01
 0.58
 0.06
0.06
 0.10
 0.02
 6.23

Cr2O3
 0.02
 0.02
 0.02 
0.07
 0.34
 0.04
 0.07

V2O5
 0.02
 0.00
 tr.
0.01b
 0.03
 0.00
 0.00

CoO
 0.02
 0.03
 0.02
0.03b
 0.04
 0.06
 0.03

NiO
 0.01
 0.01
 0.04
0.05
 0.09
 0.01
 0.02

MnO
 0.07
 0.11
 8.42
7.93
 0.20
 0.47
 0.10

ZrO2*
 0.00
 0.00
 0.04
0.20
 0.00
 0.00
 0.00

ZnO*
 n.d.
 n.d.
 0.15
0.05
 n.d.
 n.d.
 n.d.

Nb2O5*
 n.d.
 n.d.
 
0.03
 n.d.
 n.d.
 n.d.

K2O*
 n.d.
 n.d.
 
1.32b
 n.d. 
 n.d.
 n.d.
HfO2



0.00b
P2O5*
 n.d.
 n.d.
 .
0.01a
 n.d.
 n.d.
 n.d.
Cl



0.03a
F*
 n.d.
 n.d.
 
1.30
 n.d.
 n.d.
 n.d.

TOTAL
96.59
96.42
98.04
98.21
97.30
97.16
97.51

O=F,Cl


-0.55

TOTAL


97.49




Source
U of C
U of C
U of C
U of A
U of C
U of C
U of C

Analysis
EMPA-8
EMPA-9
EMPA-8
EMPA-5
EMPA-6
EMPA-4
EMPA-4

* - all Fe reported as FeO.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

n.d. = not determined. tr.: trace (<0.01 wt.%).
a – average of two analytical points.

b – average of three analytical points.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.4d. Spectral Data - Amphiboles
Sample
Facility/File No.  
Description





AMP001
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

++++++

AMP106
PSF 071212a.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

AMP106
PSF 080708.amp106
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics S2000.
++++++++++++++++++++++++++++++

iRaman 532 nm spectra: 174-4002 cm-1 wavelength range; ~4cm-1 resolution

AMP031
PSF 210129_004_532_AMP031_spot1.txtr
<45 µm powder; 7000 msec integration time; 65 spectra averaged; [Directory: 210129 LunaR raman].

AMP031
PSF 210129_005_532_AMP031_spot2.txtr
<45 µm powder; 7000 msec integration time; 65 spectra averaged; [Directory: 210129 LunaR raman].

AMP031
PSF 210129_006_532_AMP031_spot3.txtr
<45 µm powder; 7000 msec integration time; 65 spectra averaged; [Directory: 210129 LunaR raman].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.4.

2. Silicates
2.5. Garnets
2.5a. Sample Descriptions - Garnets
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample
Description








GAR102
Grossular (originally labelled as grossular garnet, var. essonite (or hessonite)): West Redding, Fairfield County, Connecticut, USA (Minerals Unlimited). Grossular: Ca3Al2(SiO4)3; essonite/hessonite: cinnamon-coloured variety containing iron. Forms three series, with andradite, with hibschite and katoite, and with uvarovite.

GAR103
Almandine-pyrope (originally labelled as almandine garnet): Namib Desert, near Usakos, Namibia (Minerals Unlimited). Almandine: Fe32+Al2(SiO4)3. Forms two series with pyrope and spessartine.

GAR104
Andradite (originally labelled as andradite garnet): Stanley, Graham County, Arizona, USA; some on quartz (Minerals Unlimited) (Ca3Fe23+(SiO4)3). Forms two series, with grossular and with schorlomite.

GAR105
Uvarovite garnet: El Dorado, El Dorado County, California, USA (Minerals Unlimited). With chromite (CHR103). Uvarovite: Ca3Cr2(SiO4)3. Forms series with grossular.

GAR106
Grossular (originally labelled as spessartine garnet): near Los Gavilanes, Baja California, Mexico (Minerals Unlimited) (Mn32+Al2(SiO4)3). Forms series with almandine.

GAR107
Andradite garnet: Red Head Lease, San Benito County, California, USA. With perovskite (PER101) (too intimate and fine grained for a decent sample) (David Shannon). Andradite: Ca3Fe23+(SiO4)3. Forms two series, with grossular and with schorlomite.

GAR109
Uvarovite garnet: Placer County, California, USA. With chromite (CHR107) (Minerals Unlimited). Too intimate, sparse and heterogeneous to separate. Uvarovite: Ca3Cr2(SiO4)3. Forms series with grossular.

GAR110
Grossular (originally labelled as grossular garnet): near Los Lamentos, Chihuahua, Mexico (Minerals Unlimited). (Was GRO101). Grossular: Ca3Al2(SiO4)3. Forms three series, with andradite, with hibschite and katoite, and with uvarovite.

GAR111
Grossular (originally labelled as andradite garnet, var. Topazolite): Val di Fassa, Italy (Dr. David Garske), with pyroxene PYX041. (Was TOP101). Andradite: Ca3Fe23+(SiO4)3. Forms two series, with grossular and with schorlomite. Topazolite: transparent yellow-green variety of andradite.

GAR112
Almandine-pyrope (originally labelled as almandine garnet): near Roxbury, Litchfield County, Connecticut, USA (Minerals Unlimited; received April 5/05). Almandine: Fe32+Al2(SiO4)3. Forms two series with pyrope and spessartine.

GAR113
Almandine-pyrope (originally labelled as pyrope garnet, variety rhodolite): Kongsberg, Norway, in matrix (Minerals Unlimited; received April 5/05). Pyrope: Mg3Al2(SiO4)3. Rhodolite: Fe2+-bearing pyrope.

GAR114
Almandine-pyrope (originally labelled as pyrope garnet, variety rhodolite): Macon County, North Carolina, USA, in matrix (Minerals Unlimited; received April 5/05). Pyrope: Mg3Al2(SiO4)3. Rhodolite: Fe2+-bearing pyrope. Same as GAR143.
GAR115
Andradite (originally labelled as andradite garnet): Garnet Hill, Calaveras County, California, USA; some with epidote, quartz, and a minor amount of scheelite (Ca3Fe23+(SiO4)3) (Minerals Unlimited - May 17/05).

GAR116
Grossular (originally labelled as grossular garnet): Deep Springs Valley, Inyo County, California, USA (Ca3Al2(SiO4)3) (Minerals Unlimited - May 17/05).

GAR117
Andradite-spessartine (originally labelled as andradite garnet, var. polyadelphite): Franklin, Sussex, New Jersey, USA (Ca3Fe23+(SiO4)3), with franklinite, willemite, and calcite (Minerals Unlimited - May 17/05).

GAR118
Almandine-pyrope (originally labelled as almandine garnet): Governador Valadares, Minas Gerais, Brazil; in gneiss (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05); more received November 2017.
GAR120
Almandine-pyrope (originally labelled as lamnadine garnet): Salida, Chaffee County, Colorado, USA (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05).

GAR121
Almandine-pyrope (originally labelled as almandine garnet): Wrangell, Alaska, USA, in biotite schist (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05).

GAR122
Almandine-pyrope (originally labelled as almandine garnet): Oetzel, Tyrol, Austria (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05).

GAR123
Almandine-pyrope (originally labelled as almandine garnet): Ampandramaika, Madagascar (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05; more received June 2013).
GAR124
Almandine-pyrope (originally labelled as almandine garnet): Mysore District, India (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05).

GAR125
(originally labelled as almandine garnet): Old Cat Tail Mine, Spruce Pine, North Carolina, USA; in muscovite mica (Fe32+Al2(SiO4)3) (Minerals Unlimited - May 17/05; more received June 2013).

GAR130
Grossular (originally labelled as grossular garnet): Lake Jaco, Chihuahua, Mexico (Ca3Al2(SiO4)3 (Minerals Unlimited: May 17/05).

GAR131
Grossular garnet (originally labelled as grossular garnet): near Los Lamentos, Chihuahua, Mexico (Ca3Al2(SiO4)3 (Minerals Unlimited: May 17/05).

GAR140
Andradite (originally labelled as andradite garnet, var. melanite): near the Dallas Gem Mine, San Benito County, California, USA; on rock (Ca3Fe23+(SiO4)3) (Minerals Unlimited - May 17/05).

GAR141
Andradite (originally labelled as andradite garnet, var. melanite): Frascati, Albaner Mountains, Italy (Ca3Fe23+(SiO4)3) (Minerals Unlimited - May 17/05).

GAR142
Grossular (originally labelled as andradite garnet): Nightengale District, Pershing County, Nevada, USA (Ca3Fe23+(SiO4)3) (Minerals Unlimited - May 17/05).

GAR143
Almandine-pyrope (originally labelled as pyrope garnet, var. rhodolite (Mg:Fe ~2:1)): Macon Co., NC, USA; in matrix (Minerals Unlimited – Nov. 22/07). Same as GAR114.
GAR144
Almandine-pyrope (originally labelled as pyrope garnet): near Taegi, Mohave Co., AZ, USA (Minerals Unlimited – Nov. 22/07; more received June 2013).

GAR145
Almandine-pyrope (originally labelled as pyrope garnet, var. rhodolite (Mg:Fe ~2:1)): Kongsberg, Norway; in matrix (Minerals Unlimited – Nov. 22/07).

GAR146
Almandine-pyrope (originally labelled as pyrope garnet, var. rhodolite (Mg:Fe ~2:1)): Gjerstad, Norway; in matrix (Minerals Unlimited – Nov. 22/07).

GAR150
Grossular (originally labelled as almandine garnet): Gore Mountain, Adirondack Mtns region, NY, USA. From Stan Mertzman – his sample #SAM – Gar-1 (received April 2008)

GAR151
Andradite (originally labelled as andradite garnet): Epidote/garnet contact metamorphic skarn around latest Triassic diabase in the rift valleys of SE Pennsylvania; Reading, PA, USA. From Stan Mertzman – his sample RT222 or US222 (received May 2008: a few grains and powder).
GAR160
Uvarovite garnet: Russia (crust on rock) [The Crystal Circle, Tucson 2011 show].

GAR161
Yellow garnet, Mali, Africa [Winnipeg Rock and Mineral Club purchase – May 2011).

++++++++++++++++++++

2.5a. Garnet types:

Pyrope
Mg3Al2Si3O12
Mg 
Al

Almandine
Fe2+3Al2Si3O12
Fe3+
Al

Spessartine
Mn3Al2Si3O12
Mn
Al

Grossular
Ca3Al2Si3O12
Ca
Al

Andradite
Ca3(Fe3+,Ti)2Si3O12
Ca
Fe3+, Ti

Uvarovite
Ca3Cr2Si3O12
Ca
Cr

Solid solution series: 
· pyrope – almandine – spessartine:
Mg – Fe3+ - Mn (plus Ca)
· uvarovite – grossular – andradite:
Cr – Al – Fe3+,Ti (plus Ca in 1st pos’n)
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.5b. XRD Data - Garnets
2.5b.1. Analogue files from U of A instrument
Sample
XRD File
Phases identified
GAR110
Z03200
grossular

GAR111
Z03198
grossular; minor possible andradite or henritermierite or katoite
++++++++++++++++++++++++++++++++++++

2.5b.2. Quick scan XRD identifications – University of Winnipeg
Sample #
Phases Identified by XRD (not very precise – unit cells overlap?) 



GAR102
Grossular



GAR103
Pyrope



GAR104
Andradite



GAR105
uvarovite
serpentine


GAR106
Grossular
GAR108
Titanite (from Terra)



GAR110
Grossular



GAR111
Grossular
Dolomite
Maybe Spessartine

GAR112
Almandine



GAR113
Pyrope
Quartz
Cronstedite ???

GAR115
Andradite
Quartz


GAR116
Grossular
Diopside
Calcite
GAR117
Grossular
some calcite (from Terra)
GAR118
Almandine
Quartz


GAR120
Pyrope
Clinochlore


GAR121
Almandine
Quartz


GAR122
Spessartine
Quartz
Cronstedite ???
GAR123
Pyrope/garnet (from Terra)
GAR124
Almandine



GAR125
Almandine
Quartz
Rerun by Terra: Pyrope/garnet
GAR130
Grossular



GAR131
Grossular



GAR140
Andradite
Kaolinite


GAR141
Andradite



GAR142
Grossular
Quartz

GAR143
Garnet
small amt of something else (by Terra)
GAR144
Pyrope



GAR145
Pyrope



GAR146
Pyrope
Quartz


GAR150
pyrope


GAR151
andradite, possible quartz/graphite (by Terra)

+++++++++++++++
(ii) February 2019 run

GAR113
Almandine-pyrope, bit of quartz, and a minor phyllosilicate (10 and 14 Angstrom peaks).

++++++++++++++++++++++++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets
Wt. %
GAR102
GAR102
GAR103
GAR103


SiO2
37.44

36.47



TiO2
1.26

0.51



Al2O3
18.18

21.59



Fe2O3
3.73

7.70



FeO
1.75
2.531
25.50
33.521


MnO
0.20

2.61



MgO
1.00

3.09



CaO
36.07

1.89



Na2O
0.12

0.19



K2O
0.00

0.02



P2O5
0.18

0.07


TOTAL
99.93

99.64



ppm

Sr
41

23



Zr
571

426



V
133

67



Cr
106

137



NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na






Total





Source
Mertzman
U of A
Mertzman
U of A


Analysis
XRF/WC
WC
XRF/WC
WC


Type
Grossular

almandine




Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1. FeO determined by wet chemistry (WC) at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets (continued)
Wt. %
GAR104
GAR105
GAR106
GAR106


SiO2
34.02

37.42

TiO2
0.03

0.51

Al2O3
1.70

19.41

Fe2O3
29.49

4.62

FeO
0.25
3.501
1.27
1.791
MnO
0.25

1.06

MgO
0.32

0.28

CaO
34.01

35.15

Na2O
0.22

0.11

K2O
0.00

0.00

P2O5
0.05

0.10


TOTAL
100.34

99.93

ppm

Sr
19

30

Zr
32

73

V
40

104

Cr
40

75

NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na






Total





Source
Mertzman
U of A
Mertzman
U of A


Analysis
XRF/WC
WC
XRF/WC
WC


Type
andradite

grossular





n.d. = not determined. tr.: trace (<0.01 wt.%).

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1. FeO determined by wet chemistry (WC) at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets (continued)
Wt. %
GAR110
GAR111
GAR111
GAR112
GAR113

SiO2
40.13
39.76
38.07
41.78
40.31

TiO2
 0.46
 0.36
0.41
0.76
0.16

Al2O3
18.61
18.10
17.40
19.90
20.37

Fe2O3
 3.801
 4.901
4.74
4.86
2.88

FeO
 0.691
 1.771
0.85
24.69
28.80

MnO
 0.19
 0.10
0.15
0.73
1.92

MgO
 1.19
 0.84
3.08
2.10
2.92

CaO
37.45
36.91
35.43
4.78
1.83

Na2O


0.11
0.20
0.18

K2O


0.02
0.06
0.11

P2O5


0.03
0.18
0.08

Cr2O3
 0.11
 0.06


V2O5
 0.00
 0.15


CoO
 0.00
 0.00


NiO
 0.07
 0.22


ZnO
 0.00
 0.00




TOTAL
102.70*
103.17*
100.29
100.04
99.56

ppm

Sr


84
53
34

Zr


276
125
195

V


135
56
31

Cr


105
95
40

NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si
 5.983
 5.947


Al
 0.017
 0.053


Al
 3.254
 3.139


Cr
 0.013
 0.007


Fe3+
 0.426
 0.551


Ti
 0.051
 0.040


Mg
 0.264
 0.187


Fe2+
 0.086
 0.221


Mn
 0.024
 0.013


Ca
 5.982
 5.916


V
   --
 0.015


Co
   --
   --


Ni
 0.008
 0.026


Zn
   --
   --


P
   --
   --


Na
   --
   --





Total
16.108
16.115





Source
U of A
U of A
Mertzman
Mertzman
Mertzman

Analysis
EMPA-2
EMPA-2

Type
Grossular
Grossular
grossular
almandine
almandine


Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis. FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets (continued)
Wt. %
GAR115
GAR116
GAR117

SiO2
35.91
41.58
35.46
TiO2
0.35
0.68
0.19
Al2O3
6.66
12.77
8.32

(Fe2O3T)a


(18.18)

Fe2O3
20.09
4.21
17.79
FeO
2.28
2.37
0.35
MnO
0.65
0.25
12.21
MgO
1.04
3.93
0.39
CaO
32.89
33.56
24.47
Na2O
0.19
0.54
0.54
K2O
0.00
0.03
0.02
P2O5
0.25
0.10
0.13

SO3


0.07
TOTAL
100.31
100.02
99.98
LOIb


1.48

Cl (%)


0.02
ppm

Sr
25
138
153
Zr
53
156
118
V
686
93
45
Cr
543
87
18
NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na









Total









Source
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC


Type
andradite
grossular
(almandine)

XRD


Grossular




Some calcite


Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis (and with all Fe reported as Fe2O3). FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.
a. All Fe reported as Fe2O3.

b. LOI: loss on ignition – weight loss after heating sample to 950°C in air for one hour.
+++++++++++++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets (continued)
Wt. %
GAR118
GAR120
GAR121
GAR122
GAR123
GAR124

SiO2
39.89
37.43
39.74
40.35
35.74
37.96

TiO2
0.77
0.30
0.55
1.10
0.63
0.07

Al2O3
21.48
21.79
21.39
20.05
19.93
22.93
(Fe2O3T)a




(34.32)
Fe2O3
3.05
4.46
4.82
3.77
7.56
4.36

FeO
25.32
28.63
24.92
22.42
24.08
24.27

MnO
0.17
1.15
0.91
0.87
0.77
0.37

MgO
6.20
4.20
5.19
3.27
3.97
7.27

CaO
2.31
1.41
1.90
7.38
4.19
2.74

Na2O
0.17
0.19
0.18
0.18
0.23
0.13

K2O
0.07
0.01
0.05
0.09
0.00
0.00

P2O5
0.14
0.06
0.08
0.21
1.05
0.10

SO3




0.03


TOTAL
99.57
99.63
99.73
99.69
99.96
100.20

LOIb




2.65
Cl (%)




0.00

ppm

Sr
27
25
34
46
95
27

Zr
1198
546
56
216
132
43

V
48
27
113
173
145
33

Cr
47
35
185
213
305
50

NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na








Total








Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


Type
andradite
grossular
almandine
almandine
(almandine)
almandine
almandine

XRD




pyrope






garnet



Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis. FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.

+++++++++++++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets (continued)
Wt. %
GAR130
GAR131
GAR140
GAR141
GAR142


SiO2
37.48
37.13
33.31
32.66
38.88


TiO2
0.85
0.31
5.50
4.03
0.25


Al2O3
18.35
19.86
2.84
6.01
18.85


Fe2O3
3.72
3.76
19.77
19.17
3.57


FeO
0.63
0.34
2.10
2.24
3.06


MnO
0.10
0.19
0.09
0.34
0.98


MgO
0.84
1.23
2.15
0.79
0.28


CaO
37.98
36.83
34.29
33.81
34.45


Na2O
0.09
0.09
0.21
0.22
0.10


K2O
0.00
0.02
0.00
0.01
0.04


P2O5
0.02
0.03
0.03
0.16
0.02


TOTAL
100.06
99.79
100.29
99.44
100.48


ppm

Sr
33
29
42
145
35


Zr
464
265
213
2818
72


V
84
75
1135
2010
267


Cr
65
70
756
1470
209


NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na






Total






Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


Type
grossular
grossular
andradite
andradite
grossular


Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis. FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.

++++++++++++++++++++++++++++++++++++

2.5c. Compositional Data - Garnets (continued)
Wt. %
GAR143
GAR144
GAR145
GAR146
GAR150
GAR151

MertzmanID




SAM Gar-1
RT 222

SiO2
36.19
40.03
37.60
37.22
37.89
42.12

TiO2
0.30
0.19
0.16
0.03
1.18
0.08

Al2O3
20.93
22.48
20.58
21.99
19.68
0.62

Fe2O3
3.47
0.52
3.57
6.56
6.01
26.54

FeO
27.10
12.40
26.70
22.00
8.60
0.53

MnO
1.90
0.68
2.92
0.63
0.28
0.14

MgO
4.36
14.86
3.60
7.33
6.86
0.31

CaO
2.49
6.42
1.82
1.68
19.49
29.55

Na2O
0.31
0.20
0.30
0.26
0.21
0.08

K2O
0.42
0.00
0.08
0.10
0.00
0.01

P2O5
0.10
0.10
0.25
0.12
0.06
0.04

TOTAL
99.73
98.24
99.64
99.84
100.26
100.27

LOI
2.16
0.36
2.06
1.92
n.d.
0.25

ppm

Sr
5
15
5
10
162
4

Zr
35
35
105
30
70
35

V
195
175
30
20
134
30

Ni
<5
15
<5
<5

5

Cr
20
11900
23
13
115
16

Co
<2
30
<2
35

20

Rb





2.3

La





68

Ce





76

U





39

Th





5

NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na







Total







Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


Type
(almandine)
pyrope
almandine
almandine
grossular
andradite 
XRD
garnet




andradite







Maybe quartz
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis. FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.5d. Spectral Data - Garnets
Sample
Facility/File No. 
Description




GAR102
RELAB caga16
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm. (Relabelled by RELAB as cagn02.asc).

GAR102
RELAB laga16
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note diff. viewing geometries. (Relabelled as lagn02.asc).

GAR102
PSF 280807.001
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR102
PSF 280807.002
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR102
PSF 080708.gar102
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics S2000.

++++++
GAR103
RELAB cagn03
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

GAR103
RELAB lagn03
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

GAR103
PSF 280807.003
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR103
PSF 280807.004
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++
GAR104
RELAB cagn04
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

GAR104
RELAB lagn04
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

GAR104
PSF 280807.005
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR104
PSF 280807.006
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR104
PSF 080708.gar104
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics S2000.

GAR104
PSF 170721a.0005
crystals coating rock; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++
GAR105
RELAB cagn05
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

GAR105
RELAB lagn05
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.
GAR105
PSF 290807.013
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR106
RELAB cagn06
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

GAR106
RELAB lagn06
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

GAR106
PSF 290807.014
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR106
PSF 280807.007
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR106
PSF 280807.008
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR110
RELAB c1sc71
<45 µm, 0/15, 0.3-2.7µm, 5 nm.

GAR110
PSF 290807.016
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR111
RELAB cato03
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

GAR111
RELAB lato03
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

GAR111
PSF 280807.009
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR111
PSF 280807.010
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR112
PSF 280807.014
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR112
PSF 280807.015
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR112
PSF 170721a.0004
rough crystal face; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++

GAR113
PSF 280807.016
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR113
PSF 280807.017
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR114
PSF 280807.018
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR115
PSF 280807.019
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR115
PSF 280807.020
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR116
PSF 280807.021
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR116
PSF 280807.022
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++
GAR117
PSF 160511a.008
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160511 garnet].

++++++
GAR118
PSF 280807.023
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR118
PSF 280807.024
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR118
PSF 170721a.0003
crystal face; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++

GAR120
PSF 280807.028
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR120
PSF 280807.030
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR121
PSF 280807.031
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR121
PSF 280807.032
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR122
PSF 280807.033
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR122
PSF 280807.034
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR123
PSF 160511a.009
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160511 garnet].

GAR123
PSF 160511a.010
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160511 garnet].

++++++
GAR124
PSF 280807.035
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR124
PSF 280807.036
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR124
PSF 170721a.0001
crystal face; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++

GAR125
PSF 280807.037
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR130
PSF 290807.001
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR130
PSF 290807.002
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR131
PSF 290807.003
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR131
PSF 290807.004
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR140
PSF 290807.005
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR140
PSF 290807.006
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR140
PSF 170721a.0008
crystals coating rock; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++

GAR141
PSF 290807.007
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR141
PSF 290807.008
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR142
PSF 290807.010
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR142
PSF 290807.012
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++
GAR143
PSF 080114b.001 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

GAR143
PSF 170721a.0002
large (>1 mm) grains; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++

GAR144
PSF 080114b.002 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR145
PSF 080114b.003 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

GAR146
PSF 080114b.004 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.
GAR146
PSF 170721a.0009
crystal face; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++
GAR150
PSF 160511a.011
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160511 garnet].

GAR150
PSF 170721a.0006
crystal face; i=30, e=0; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. [Directory: 170721 garnets].

++++++

GAR160
PSF 160511a.013
solid sample surface (of mineral crystal coating); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160511 garnet].

++++++

GAR161
PSF 160511a.012
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160511 garnet].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.5.

2. Silicates
2.6. Melilites 
2.6a. Sample Descriptions - Melilites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








MEL101
Melilite: Crestmore Quarry, Riverside County, California, USA (David Shannon Min.), with spinel SPI102.

MEL102
Melilite: Cave dell'Osa, Rome, Latium, Italy (Dr. David Garske #G19c), with fluorapatite APA103 and nepheline NEP102 (impure and very hard to separate).

MEL103
Melilite: Casa Collina Quarry, Pitigliano, Grosseto, Tuscany, Italy (Minerals Unlimited), with pyroxene PYX131.

MEL104
Melilite: Capo di Bova, Via Appia, Antica, near Rome, Italy (Minerals Unlimited). In leucitite, with nepheline, and contaminated with magnetite.

MEL105
Melilite: Crestmore Quarry, Riverside, Riverside County, California, USA (Minerals Unlimited). In monticellite (same locality, but different supplier and appearance than MEL101).

MEL106
Melilite: Powderhorn, Gunnison County, Colorado, USA (Excalibur Mineral Co.).

MEL107
Melilite: Alnon Island, Sweden (Excalibur Mineral Co.).

MEL108
Melilite, var. Akermanite: Lago de Vico, Viterbo, Italy (Excalibur Mineral Co.)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.6a.c. Alternative names for melilites: 


Akermanite



Gehlenite



Melilite

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.6b. XRD Data - Melilites
2.6b.1. Analogue files from U of A instrument.
Sample
XRD File
Phases identified
MEL101
Z03230
gehlenite, synthetic; spinel, synthetic
MEL103
Z03231
akermanite; minor pyroxene, aluminous, titaniferrous
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.6c. Compositional Data - Melilites
Wt. %
MEL101
MEL101
MEL102
MEL102
MEL103
MEL103
P2O5
 0.02
0.00
 0.15
0.03a
 0.02
0.00a
Cr2O3
 0.07
0.03
 0.09
0.07
 0.10
0.14
MnO
 0.20
0.14
 0.25
0.02
 0.19
0.01
TiO2
 0.06
0.01
 0.09
0.02
 0.05
0.01
SiO2
39.09
34.59
43.66
44.88
38.74
38.73
Al2O3
 0.00
0.30
 6.21
6.81
13.68
14.64
FeO1
 4.17
4.28^
 4.45
4.11^
 1.42
1.32^
Fe2O31
 n.d.

 n.d.

 0.00

MgO
21.72
22.68
 7.17
7.29
 5.93
6.31
Na2O*
 
0.03
 
2.35
 
2.33
ZrO2*
 
0.00
 
0.00
 
0.01
Nb2O5*
 
0.00
 
0.07
 
0.00
K2O*
 

 
0.39b
 
0.10c
CoO*
 

 
0.02b
 
0.00c
CaO*

35.74

32.93

37.52
NiO*
 
0.02

0.02

0.04
HfO2*
 


0.13b

0.26c
V2O5*
 


0.04b

0.03c






Cl

0.03

0.01a

0.04a


TOTAL
65.33
97.86
62.07
99.19
60.13
101.49
NUMBER OF IONS ON THE BASIS OF 14 OXYGENS

Si
 3.582

 4.007

 3.506

Al
  --

 0.672

 1.460

P
 0.002

 0.012

 0.002

Nb
  -- 

  --

  --

V
  --

 0.001

 0.001

Ti
 0.004

 0.006

 0.003

Zr
  --

  --

  --

Hf
  --

  --

  --

Cr
 0.005

 0.007

 0.007

Fe3+
  --

  --

  --

Mn
 0.015

 0.019

 0.015

Fe2+
 0.319

 0.341

 0.108

Mg
 2.967

 0.981

 0.800

Co
  --

 0.002

   --

Ni
 0.002

 0.002

 0.002

Ca
 3.510

 3.346

 3.639

Na
 0.005

 0.419

 0.409

K
  --

 0.046

 0.011




Total
10.411

 9.861

 9.963



Source
U of C
U of A
U of C
U of A
U of C
U of A
Analysis
EMPA-4
EMPA-1
EMPA-8
EMPA-5
EMPA-8
EMPA-4



Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO (where available).

n.d. = not determined. tr.: trace (<0.01 wt.%).
^ - all Fe reported as FeO.

a – single analytical point.

b – average of four analytical points.

c – average of three analytical points.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.6c. Compositional Data – Melilites (continued)
Wt. %
MEL104
MEL105
MEL106
MEL107

P2O5


Cr2O3


MnO


TiO2


SiO2


Al2O3


FeO1
16.71
0.83
2.10
2.88

Fe2O31


MgO


Na2O*


ZrO2*


Nb2O5*


K2O*


CoO*


CaO*


NiO*


HfO2*


V2O5*


Cl








TOTAL


NUMBER OF IONS ON THE BASIS OF 14 OXYGENS

Si


Al


P


Nb


V


Ti


Zr


Hf


Cr


Fe3+


Mn


Fe2+


Mg


Co


Ni


Ca


Na


K








Total






Source
U of A
U of A
U of A
U of A

Analysis
WC
WC
WC
WC


Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO (where available).

n.d. = not determined. tr.: trace (<0.01 wt.%).
^ - all Fe reported as FeO.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.6d. Spectral Data - Melilites
Sample
Facility/File No. 
Description





MEL101
RELAB C1SC66
<45 µm, 0/15, 0.3-2.7µm, 5 nm.

MEL101
RELAB CASC66
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL101
RELAB LASC66
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
MEL102
RELAB CAME02
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm resol. With errors.

++++++
MEL103
RELAB CASC67
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL103
RELAB LASC67
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MEL103
RELAB C1SC67
<45 µm, 0/15, 0.3-2.7µm, 5 nm.

++++++
MEL104
RELAB CAME04
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL104
RELAB LAME04
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
MEL105
RELAB CAME05
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL105
RELAB LAME05
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
MEL106
RELAB CAME06
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL106
RELAB LAME06
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
MEL107
RELAB CAME07
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL107
RELAB LAME07
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
MEL108
RELAB CAME08
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

MEL108
RELAB LAME08
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.6.

2. Silicates
2.7. Zircons 
2.7a. Sample Descriptions - Zircons
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








ZIR101
Zircon: Pacoima Canyon, San Gabriel Mountains, Los Angeles County, California, USA (Minerals Unlimited), analysis incomplete.
ZIR102
Zircon: Sigulani Valley, Tambani area, Blantyre District, Malawi (Minerals Unlimited).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.7b. XRD Data - Zircons
None

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.7c. Compositional Data - Zircons
Wt. %
ZIR101


SiO2
34.91

TiO2
 0.18

Al2O3
 0.02

Cr2O3
 0.23

Fe2O3
 n.d.

FeO
 0.31

MnO
 0.28

MgO
 0.04

CaO
 0.00*

V2O5
 0.00*

CoO
 0.00*

NiO
 0.33*

ZnO
 0.00*

P2O5*
 0.14

Nb2O5*
 0.00

K2O*
 0.00

HfO2*
 0.99

SnO2*
 0.03



TOTAL
37.46

NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si
n.d.

Al
n.d.

Al
n.d.

Cr
n.d.

Fe3+
n.d.

Ti
n.d.

Mg
n.d.

Fe2+
n.d.

Mn
n.d.

Ca
n.d.

V
n.d.

Co
n.d.

Ni
n.d.

Zn
n.d.

P
n.d.

Na
n.d.

Zr
n.d.

Nb
n.d.

K
n.d.

Hf
n.d.

Sn
n.d.



Total
n.d.


Source
U of C

Analysis
EMPA-6








Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. U of A: University of Alberta EMPA. *= data from University of Alberta EMPA.

All Fe reported as FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.7d. Spectral Data - Zircons
Sample
Facility/File No.  
Description





ZIR101
RELAB cazi01
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

ZIR101
RELAB lazi01
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
ZIR102
RELAB cazi02
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

ZIR102
RELAB lazi02
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.7.

2. Silicates
2.8. Framework Silicates - Miscellaneous
2.8a. Sample Descriptions - Framework Silicates: Miscellaneous
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description







CAN101
Cancrinite: Minas Gerais, Brazil (Minerals Unlimited), with sodalite SOD102, not analyzed. Not enough in the sample to separate for analysis.

HUY101
Hauyne: Ariccia, near Rome, Italy; in rock: ((Na,Ca)4-8Al6Si6(O,S)24(SO4,Cl)1-2)  (Minerals Unlimited; blue, white, gray, sometimes green). (For pigments project). (was HAU101).
NEP101
Nepheline: Bancroft, Ontario, Canada (Minerals Unlimited), with plagioclase feldspar PLG123 and mica, too intimate to separate?

NEP102
Nepheline: Cave dell'Osa, Rome Latium, Italy (Dr. David Garske #G19c), with fluorapatite APA103 and melilite MEL102. Too intimate to separate.

NEP103
Nepheline: Dungannon Township, Ontario, Canada (Minerals Unlimited). With biotite and chlorite.

NOS101
Nosean: Laacher See, Eifel, Kaiserstuhl, Rheinland, Germany (Na8Al6Si6O24(SO4)·H2O (small black crystals in phonolite; member of sodalite group. (Minerals Unlimited) (For pigment project - present in lapis lazuli according to Bacci).
RHO101
Rhönite (rhoenite): Nickenicher Sattel, Nickenich, Eifel, Germany (Ca, Fe, Mg, Ti Al silicate) (Minerals Unlimited); with martite, on basalt. Too fine-grained and intimate to separate.

SOD102
Sodalite: Minas Gerais, Brazil (Minerals Unlimited), with cancrinite CAN101 (Aka SOD101) [Na4Al3Si3O12Cl].
SOD110
Sodalite: Cerro Sapo, Ayopaya, Cochabamba, Bolivia [Na4Al3Si3O12Cl], blue material) with ankerite ([Ca(Mg,Fe+2,Mn)(CO3)2] – light green crystals) and dawsonite (CRB220; [NaAl(CO3)(OH)2] white powdery material) (From Alfredo Petrov, Tucson 2011 show).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.8b. XRD Data - Framework Silicates: Miscellaneous
None

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.8c. Compositional Data - Framework Silicates: Miscellaneous
Wt. %
CAN101
NEP101
NEP102
NEP103
RHO101
SOD102

SiO2


TiO2


Al2O3


Cr2O3


Fe2O3


FeO



0.22

0.28

MnO


MgO


CaO


V2O5


CoO


NiO


ZnO








TOTAL


NUMBER OF IONS ON THE BASIS OF 24 OXYGEN

Si


Al


Al


Cr


Fe3+


Ti


Mg


Fe2+


Mn


Ca


V


Co


Ni


Zn


P


Na








Total







Source



U of A

U of A

Analysis



WC

WC

1. FeO determined by wet chemistry (WC) at University of Alberta.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.8d. Spectral Data - Framework Silicates: Miscellaneous
Sample
Facility/File No. 
Description





NEP103
RELAB CANE03
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

NEP103
RELAB LANE03
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++

NOS101
PSF 180205a00003.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
++++++
SOD102
RELAB CASO12
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SOD102
RELAB LASO12
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.8.

2. Silicates
2.9. Scapolites
2.9a. Sample Descriptions - Scapolites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








PLG124
Meionite: Misidentified as plagioclase feldspar; U of Manitoba X-ray diffraction matches meionite perfectly.

SCA101
Scapolite: Pointe au Chene, Quebec, Canada [(Na,Ca,K)4(Al3(Al,Si)3Si6O24)(Cl,CO3,SO4,OH)] (Minerals Unlimited). {Wernerite (?): Crystalline with assoc. Bright orange-yellow}. Lots available, many grams of <45 and 45-90µm powders.

SCA102
Dipyre: Singatse Range, near Yerington, Lyon County, Nevada, USA [close to marialite end member] (Minerals Unlimited). {White fibro-columnar masses}. Lots of sample left, many grams of <45 and 45-90 powders.

SCA103
Marialite: Singatse Range, near Yerington, Lyon County, Nevada, USA [Na4(Al3Si9O24)Cl]. (Minerals Unlimited). {Unknown, see dipyre above?}. Some sample left, lots of <45 and 45-90µm powder.

SCA104
Meionite: Lago Termorgio, Ticino, Switzerland [Ca4(Al6Si6O24)CO3] (Minerals Unlimited). {Description for Italy locality: small white or glassy crystals on rock}. Not much sample, only <45µm made (~1gram).

SCA105
Mizzonite: Susan Lode, Black Hills, near Custer, Custer County, South Dakota, USA [close to meionite end member] (Minerals Unlimited). {Rich cleavable, some assoc.}. Lots of sample, lots of <45 and 45-90µm powders.

SCA110
Scapolite: Morogoro, Tanzania (single crystal) [The Crystal Circle, Tucson 2011 show].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.9b. XRD Data - Scapolites
2.9b.1. University of Manitoba - January 2006
PLG124
Meionite matches perfectly.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.9c. Compositional Data - Scapolites
Wt. %
SCA101
SiO2
46.67
TiO2
0.03
Al2O3
30.82

(Fe2O3T)a
(0.23)

Fe2O3
0.13
FeO
0.09
MnO
0.02
MgO
0.62
CaO
16.53
Na2O
2.52
K2O
1.91
P2O5
0.48

SO3
0.10
TOTAL
99.93
LOI
1.47
ppm

Sr
1225
Zr
97
V
<1
Cr
<1
Source
Mertzman


Analysis
XRF/WC


Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis. FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
a All Fe reported as Fe2O3.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.9c. Spectral Data - Scapolites
Sample
Facility/File No. 
Description





SCA101
RELAB csc114
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SCA101
RELAB lasc114
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
SCA102
RELAB csc115
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SCA102
RELAB lasc115
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
SCA103
RELAB csc116
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SCA103
RELAB lasc116
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
SCA104
RELAB csc117
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SCA104
RELAB lasc117
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
SCA105
RELAB csc118
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SCA105
RELAB lasc118
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 2.9.

2. Silicates
2.10. Zeolites 
2.10a. Sample Descriptions - Zeolites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








ZEO105
Wairakite: Ejected from drill hole #66, Wairakei, New Zealand (Smithsonian Institution NMNH #137255) (Group 1 zeolite: Breck textbook).

ZEO106
Wairakite: Bandai-atami, Kohriyama, Fukushima, Japan (Smithsonian Institution NMNH #143354). (Group 1 zeolite: Breck textbook).

ZEO107
Gismondine: Capo di Bova, Rome, Italy (Smithsonian Institution NMNH #85160). (Group 1 zeolite: Breck textbook).

ZEO108
Gismondine: Castel de Decimo, Roma, Lazio, Italy (Smithsonian Institution NMNH #138649). (Group 1 zeolite: Breck textbook).

ZEO109
Thomsonite: Elipse Beach, N. shore of Lake Superior, Minnesota, USA (Smithsonian Institution NMNH #46267-1). [pink phase in pebbles]. (Group 5 zeolite: Breck textbook).

ZEO110
Thomsonite: North Table Mountain, Golden, Jefferson County, Colorado, USA (Smithsonian Institution NMNH #83259). (Group 5 zeolite: Breck textbook).

ZEO111
Scolecite: Hyerabad, India (Smithsonian Institution NMNH #93085). (Group 5 zeolite: Breck textbook).

ZEO112
Scolecite: Poonah, Maharashtra, India (Smithsonian Institution NMNH #R4301-1). (Group 5 zeolite: Breck textbook).

ZEO113
Mesolite: Advocate Harbour, Nova Scotia, Canada (Smithsonian Institution NMNH #113929). (Group 5 zeolite: Breck textbook).

ZEO114
Mesolite: Cape d'Or, Cumberland County, Nova Scotia, Canada (Smithsonian Institution NMNH #94550). (Group 5 zeolite: Breck textbook).

ZEO115
Natrolite: Sao Pedro, Sao Paulo, Brazil (Smithsonian Institution NMNH #106928). (Group 5 zeolite: Breck textbook).

ZEO116
Natrolite: Techlovice, Czechoslovakia (Smithsonian Institution NMNH #162474). (Group 5 zeolite: Breck textbook).

ZEO117
Chabazite: Christmas, Gila County, Arizona, USA (Smithsonian Institution NMNH #122868). (Group 4 zeolite: Breck textbook).

ZEO118
Chabazite: Cape Blomiden, Nova Scotia, Canada (Smithsonian Institution NMNH #R4175). (Group 4 zeolite: Breck textbook).

ZEO119
Laumontite: Great Notch, Essex County, New Jersey, USA (Smithsonian Institution NMNH #85382). (Group 1 zeolite: Breck textbook).

ZEO120
Laumontite: Baltimore, Maryland, USA (Smithsonian Institution NMNH #97504). (Group 1 zeolite: Breck textbook).

ZEO121
Stilbite: Margaretsville, Nova Scotia, Canada (Smithsonian Institution NMNH #132753). (Group 7 zeolite: Breck textbook).

ZEO122
Stilbite: Nova Scotia, Canada (Smithsonian Institution NMNH #104654). (Group 7 zeolite: Breck textbook).

ZEO123
Phillipsite: Pine Valley, Eureka County, Nevada, USA (Smithsonian Institution NMNH #122858). (Group 1 zeolite: Breck textbook).

ZEO124
Phillipsite: Garbagna, Allesandria, Italy (Smithsonian Institution NMNH #121217). (Group 1 zeolite: Breck textbook).

ZEO125
Erionite: Needle Peak, Pershing County, Nevada, USA (Smithsonian Institution NMNH #122860). (Group 2 zeolite: Breck textbook).

ZEO126
Erionite: Crooked Creek, Rome, Malheur County, Oregon, USA (Smithsonian Institution NMNH #122847). (Group 2 zeolite: Breck textbook).

ZEO127
Clinoptilolite: Sheaville, Malheur County, Oregon, USA (Smithsonian Institution NMNH #144077). (Group 7 zeolite: Breck textbook).

ZEO128
Clinoptilolite: Fish Creek Mountains, Nevada, USA (Smithsonian Institution NMNH #114104-1). (Group 7 zeolite: Breck textbook).

ZEO129
Mordenite: Trinity Basin, Pershing County, Nevada, USA (Smithsonian Institution NMNH #122861). (Group 6 zeolite: Breck textbook).

ZEO130
Mordenite: Crooked Creek, Rome, Malheur County, Oregon, USA (Smithsonian Institution NMNH #122848). (Group 6 zeolite: Breck textbook).

ZEO131
Heulandite: Paterson, New Jersey, USA (Smithsonian Institution NMNH #R4073-1). (Group 7 zeolite: Breck textbook).

ZEO132
Heulandite: Teigarhorn, Iceland (Smithsonian Institution NMNH #138663). (Group 7 zeolite: Breck textbook).


++++++
ZEO133
Levyne: Spray, Wheeler County, Oregon, USA; with basalt (BAS301) [Minerals Unlimited]. (Group 2 zeolite: Breck textbook).

ZEO134
Natrolite: Headwaters of the San Benito River, San Benito County, California, USA [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO135
Natrolite: near Portsgrund, Norway [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO136
Heulandite: Lookout Point Dam, Lane County, Oregon, USA [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO137
Mesolite: Skookum-chuk Dam, Bucoda, Thurston County, Washington, USA [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO138
Natrolite: Springfield, Lane County, Oregon, USA [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO139
Offretite-erionite (cloudy white overgrowths on levyne (ZEO140) in basalt (BAS302): Beech Creek, Grant County, Oregon, USA [Minerals Unlimited]. (Group 2 zeolite: Breck textbook).

ZEO140
Levyne, with offretite-erionite (cloudy white) overgrowths (ZEO139) in basalt (BAS302): Beech Creek, Grant County, Oregon, USA [Minerals Unlimited]. (Group 2 zeolite: Breck textbook).

ZEO141
Chabazite: Bow Dam, Snake River, near Homestead, Baker County, Oregon, USA [Minerals Unlimited]. (Group 4 zeolite: Breck textbook).

ZEO142
Chabazite: Beech Creek, Grant County, Oregon, USA; in rock [Minerals Unlimited]. (Group 4 zeolite: Breck textbook).

ZEO143
Laumontite: South Fork of the Lewis River, Clark County, Washington, USA [Minerals Unlimited]. (Group 1 zeolite: Breck textbook).

ZEO144
Heulandite: Poona, India; on basalt (too thin for a basalt separate) [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO145
Heulandite: Smith's Cove, near Parrsboro, Nova Scotia, Canada [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO146
Stilbite: Flodigarry, Island of Skye, Scotland [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO147
Gmelinite: Springfield Butte, Lane County, Oregon, USA; with analcime (ANA001) and natrolite (ZEO149) [Minerals Unlimited]. (Group 4 zeolite: Breck textbook).

ZEO149
Natrolite: Springfield Butte, Lane County, Oregon, USA; with gmelinite (ZEO147) and analcime (ANA001) [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO150
Scolecite: Green Peter Dam, near Foster, Linn County, Oregon, USA; on basalt (BAS303) with stilbite (ZEO151) [Minerals Unlimited]. (Group 5 zeolite: Breck textbook). Not enough of the scolecite to separate out, but enough stilbite (ZEO151).

ZEO151
Stilbite: Green Peter Dam, near Foster, Linn County, Oregon, USA; on basalt (BAS303) with scolecite (ZEO150) [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO152
Ferrierite: Kamloops Lake, British Columbia, Canada; on chalcedony [Minerals Unlimited]. (Group 6 zeolite: Breck textbook).

ZEO153
Stilbite: Poona, India [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO154
Gonnardite (variety ranite): Barkevik, Langesundfjord, Norway; in nepheline syenite [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO155
Stilbite: Dead Indian Road, near Ashland, Jackson County, Oregon, USA [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO156
Stilbite (variety epidesmine): Perkiomenville, Montgomery County, Pennsylvania, USA [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO157
Analcime: Waldport, Lincoln County, Oregon, USA; on calcite [Minerals Unlimited]. (Group 1 zeolite: Breck textbook).

ZEO158
Thompsonite: Poona, India [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO159
Thompsonite: Drain, Douglas County, Oregon, USA [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO160
Paulingite: near Riggins, Idaho County, Idaho, USA; in basalt (BAS304) [Minerals Unlimited]. (Group 1 zeolite: Breck textbook).

ZEO161
Stellerite: Grant County, Oregon, USA [Minerals Unlimited]. (Group zeolite unknown: Breck textbook).

ZEO162
Dachiardite: Cape Lookout, Tillamook County, Oregon, USA; with mordenite (ZEO163) and clinoptilolite [ZEO164]. {mordenite is white minute crystals (crusts, assumed); clinoptilolite is a variation of heulandite; assumed to be the larger bluish-white radiating masses in the other vugs} [Minerals Unlimited]. (Group 6 zeolite: Breck textbook).

ZEO163
Mordenite: Cape Lookout, Tillamook County, Oregon, USA; with dachiardite (ZEO162) and clinoptilolite [ZEO164]. {mordenite is white minute crystals (crusts, assumed); clinoptilolite is a variation of heulandite; assumed to be the larger bluish-white radiating masses in the other vugs} [Minerals Unlimited]. (Group 6 zeolite: Breck textbook).

ZEO164
Clinoptilolite: Cape Lookout, Tillamook County, Oregon, USA; with dachiardite (ZEO162) and mordenite (ZEO163). {mordenite is white minute crystals (crusts, assumed); clinoptilolite is a variation of heulandite; assumed to be the larger bluish-white radiating masses in the other vugs} [Minerals Unlimited]. (Group 7 zeolite: Breck textbook).

ZEO165
Thomsonite (variety faroelite): The Ouirang, Island of Skye, Scotland; with chabazite (not enough chabazite for a separate) [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO166
Phillipsite: Kimberley, Grant County, Oregon, USA [Minerals Unlimited]. (Group 1 zeolite: Breck textbook).

ZEO167
Thomsonite: Grand Marais, Cook County, Minnesota, USA; in basalt (BAS305) [Minerals Unlimited]. (Group 5 zeolite: Breck textbook).

ZEO168
Analcime: Springfield Butte, Lane County, Oregon, USA; with gmelinite (ZEO147) and natrolite (ZEO149) [Minerals Unlimited]. Also labelled as ANA001. See also ZEO157 (it’s analcime).

2.10a.1. From Jim Crowley (USGS) June 2008 for Mars box run
ZEO200
Heulandite, USGS #42 (<45 μm powder) (from Jim Crowley at USGS, June 2008 for Mars box run).

ZEO201
Chabazite; USGS #40 (<45 μm powder) (from Jim Crowley at USGS, June 2008 for Mars box run).

++++++++++++++++++++++
NOTE: samples in very small vials are the remains after baking at 950°C for 1 to 1-1/2 hours for loss on ignition determinations.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.10b. XRD Data - Zeolites
ZEO158
Sodium-calcium zeolite (plus a few minor peaks) – UW June 2017
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.10c. Compositional Data - Zeolites
Wt. %
ZEO105
ZEO106
ZEO107
ZEO108
ZEO109
ZEO110
ZEO111

NMNH#
137255
143354
85160
138649
46267-1
83259
93085


SiO2
82.04
59.59
46.85
45.36
51.22
46.85
53.63

TiO2
0.14
0.06
0.00
0.01
0.00
0.00
0.00

Al2O3
10.11
25.14
33.06
33.65
31.00
33.01
29.98

Fe2O3*
(1.05)
(0.91)
(0.21)
(0.33)
(0.18)
(0.12)
(0.11)
FeO
0.29
n.d.
n.d.
n.d.
n.d.
n.d.
n.d.

Fe2O3
0.73
n.d.
n.d.
n.d.
n.d.
n.d.
n.d.

MnO
0.03
0.02
0.01
0.01
0.01
0.01
0.01

MgO
0.29
0.22
0.06
0.13
0.08
0.05
0.04

CaO
3.20
13.35
15.28
15.56
11.24
12.32
16.28

Na2O
0.15
0.39
0.44
0.45
6.82
6.83
0.24

K2O
2.48
0.02
3.51
2.39
0.01
0.02
0.02

P2O5
0.03
0.02
0.01
0.02
0.01
0.01
0.01


TOTAL
99.52
99.75
99.81
99.36
100.65
99.63
100.34

LOI
2.59
9.01
20.32
21.33
13.13
12.82
14.12

ppm
Sr
80
109
3124
12174
555
3401
90

Zr
98
38
54
<2
30
7
40

V
47
40
35
38
33
32
33

Cr
41
36
39
34
31
33
38


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO112
ZEO113
ZEO114
ZEO115
ZEO116
ZEO117
ZEO118

NMNH#
R43010-1
113929
94550
106928
162474
122868
R4175


SiO2
68.46
51.61
52.12
52.71
50.08
65.30
64.38

TiO2
0.00
0.00
0.00
0.00
0.01
0.37
0.00

Al2O3
19.43
29.35
29.67
29.04
30.25
18.17
22.30

Fe2O3*
(0.11)
(0.10)
(0.25)
(0.20)
(0.11)
(2.28)
(0.14)
FeO
n.d.
n.d.
n.d.
n.d.
n.d.
0.28
n.d.

Fe2O3
n.d.
n.d.
n.d.
n.d.
n.d.
1.97
n.d.

MnO
0.00
0.01
0.01
0.01
0.01
0.04
0.01

MgO
0.09
0.13
0.06
0.11
0.05
3.05
0.09

CaO
10.39
10.24
11.05
0.97
1.56
3.40
10.18

Na2O
1.23
8.14
6.68
17.34
16.83
4.82
0.77

K2O
0.03
0.11
0.02
0.04
0.04
1.88
1.46

P2O5
0.01
0.01
0.01
0.01
0.01
0.09
0.01


TOTAL
99.77
99.73
99.89
100.47
100.16
99.49
100.11

LOI
18.94
13.38
13.00
10.27
10.29
18.39
27.19

ppm
Sr
77
95
72
115
10201
681
6404

Zr
31
44
49
36
<2
173
<2

V
36
37
33
34
30
69
32

Cr
30
35
34
122
35
48
33


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC



* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO119
ZEO120
ZEO121
ZEO122
ZEO123
ZEO124
ZEO125

NMNH#
85382
97504
132753
104654
122858
121217
122860


SiO2
65.93
38.09
68.04
67.41
65.35
66.24
70.46

TiO2
0.00
0.00
0.00
0.00
0.18
0.66
0.52

Al2O3
21.30
15.72
20.12
20.76
18.54
18.77
14.81

Fe2O3*
(0.18)
(0.16)
(0.13)
(0.09)
(2.16)
(2.12)
(3.05)
FeO
n.d.
n.d.
n.d.
n.d.
0.22
0.24
n.d.

Fe2O3
n.d.
n.d.
n.d.
n.d.
1.92
1.85
n.d.

MnO
0.01
0.23
0.01
0.00
0.01
0.02
0.03

MgO
0.23
0.44
0.08
0.03
0.29
1.78
1.07

CaO
10.61
43.47
7.20
9.71
0.31
4.79
0.99

Na2O
1.10
0.32
3.76
2.09
9.18
1.30
5.20

K2O
0.29
0.93
1.06
0.04
4.24
3.47
4.10

P2O5
0.01
0.03
0.01
0.01
0.07
0.06
0.06


TOTAL
99.69
99.43
100.50
100.16
100.35
99.57
100.43

LOI
17.24
26.38
17.60
18.71
16.68
15.02
10.94

ppm

Sr
218
236
723
101
65
2230
287

Zr
23
16
25
23
200
703
577

V
31
36
37
35
60
79
145

Cr
47
38
35
35
39
67
39


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO126
ZEO127
ZEO128
ZEO129
ZEO130
ZEO131
ZEO132

NMNH#
122847
144077
114104-1
122861
122848
R4073-1
138663


SiO2
70.25
73.80
77.37
71.96
64.66
66.46
69.42

TiO2
0.32
0.30
0.06
0.68
0.54
0.00
0.00

Al2O3
15.97
13.22
13.53
14.42
10.00
19.78
19.18

Fe2O3*
(2.37)
(3.28)
(0.48)
(1.93)
(4.14)
(0.12)
(0.15)
FeO
n.d.
0.24
n.d.
n.d.
n.d.
n.d.
n.d.

Fe2O3
n.d.
3.01
n.d.
n.d.
n.d.
n.d.
n.d.

MnO
0.05
0.05
0.01
0.01
0.09
0.01
0.01

MgO
1.45
0.34
0.81
0.38
2.56
0.02
0.03

CaO
2.29
1.72
3.31
1.52
10.34
6.66
8.32

Na2O
2.18
1.78
1.17
4.10
2.21
2.35
1.78

K2O
5.21
4.96
3.33
4.38
4.92
0.94
0.90

P2O5
0.06
0.04
0.02
0.24
0.23
0.01
0.01


TOTAL
100.25
99.58
100.13
99.73
99.82
99.91
100.32

LOI
16.14
11.57
13.20
9.41
9.61
15.65
15.70

ppm

Sr
158
313
154
152
587
29990
4263
Zr
464
565
138
253
174
<2
3
V
116
40
42
331
195
35
32
Cr
40
32
34
39
76
39
34


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO133
ZEO134
ZEO135
ZEO136
ZEO137
ZEO138
ZEO139
ZEO140

None yet
SiO2


TiO2


Al2O3


Fe2O3*


FeO


Fe2O3


MnO


MgO


CaO


Na2O


K2O


P2O5


TOTAL


LOI


ppm

Sr

Zr

V

Cr

Source


Analysis

++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO141
ZEO142
ZEO143
ZEO144
ZEO145
ZEO146
ZEO147

None yet

SiO2


TiO2


Al2O3


Fe2O3*


FeO


Fe2O3


MnO


MgO


CaO


Na2O


K2O


P2O5


SrO


ZrO2


V2O5


Cr2O3


TOTAL


LOI


ppm

Sr

Zr

V

Cr

Source


Analysis








++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO149
ZEO151
ZEO153
ZEO154
ZEO155
ZEO156
ZEO157

SiO2






  8.35

TiO2






  0.00

Al2O3






  3.51

Fe2O3*






(1.76)

FeO






  0.57

Fe2O3






  1.13

MnO






  0.53

MgO






  0.31

CaO






82.79

Na2O






  1.91

K2O






  0.12

P2O5






  0.04

TOTAL






99.32

LOI






38.39

ppm
Sr






147

Zr






29

V






37

Co






<2

Cr






18

Cu






110

Ni






<2

Rb






<2


Source






Mertzman

Analysis






XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO158
ZEO159
ZEO160
ZEO161
ZEO162
ZEO163
ZEO164

None yet

SiO2


TiO2


Al2O3


Fe2O3*


FeO


Fe2O3


MnO


MgO


CaO


Na2O


K2O


P2O5


TOTAL


LOI


ppm

Sr

Zr

V

Cr

Source


Analysis






++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO165
ZEO166
ZEO167
ZEO168
ZEO170
ZEO200
ZEO201

ROM#




M34039





USGS#





42
40


SiO2




45.16
66.61
62.56

TiO2




0.00
0.00
0.00

Al2O3




24.99
19.40
23.48

Fe2O3*




(0.73)
(0.17)
(0.17)

FeO




0.14
n.d.
n.d.
Fe2O3




0.57
n.d.
n.d.
MnO




0.012
0.01
0.01

MgO




0.05
0.09
0.04

CaO




28.24
6.10
9.02

Na2O




0.10
2.54
3.59

K2O




0.000
0.70
0.73

P2O5




0.012
0.02
0.01

SO3




0.53
0.43
0.21


TOTAL




99.82
96.07
99.82

LOI




4.23
16.11
21.05

ppm

Rb





10
5

Sr




61
29615
4863

Zr




28
163
136

V




<2
30
26

Ni




<2
<2
<2

Cr




<2
23
17

Co




<2
1
<1


Source




Mertzman
Mertzman
Mertzman
Analysis




XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++
2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO105

ZEO106

ZEO107

ZEO108

Na2O
0.1887±0.0026
0.413±0.006
0.438±0.005
0.434±0.005

K2O
2.60±0.07

<0.08

3.53±0.10

2.41±0.08

CaO
2.99±0.18

13.34±0.29

15.7±0.4

16.0±0.4

Sc
2.451±0.028
1.855±0.021
0.1283±0.0019
0.229±0.003

Cr
2.90±0.28

5.68±0.29

3.78±0.25

3.6±0.3

FeO
0.840±0.010
0.738±0.009
0.1090±0.0019
0.225±0.003

Co
1.257±0.023
1.197±0.020
0.253±0.011
0.781±0.019

Ni
---

---

---

---

As
4.55±0.14

0.47±0.11

9.33±0.16

1.03±0.08

Se
<0.3

---

---

---

Br
---

---

---

0.16±0.03

Rb
125±4

16.0±0.9

191±6

132±4

Sr
46±10

75±11

3160±140

12100±500

Zr
76±12

15±7

<80

<33

Sb
0.529±0.019
0.762±0.023
1.185±0.021
0.584±0.015

Cs
35.0±0.5

102.6±1.5

0.396±0.012
1.029±0.022

Ba
239±9

<21

2040±40

1860±40

La
12.43±0.14

1.461±0.029
7.98±0.09

4.88±0.06

Ce
22.6±0.3

2.99±0.12

10.90±0.21
8.19±0.19

Nd
7.3±1.7

<5

3.1±1.5

<7

Sm
1.142±0.016
0.366±0.007
0.945±0.019
0.837±0.016

Eu
0.405±0.010
0.212±0.007
0.113±0.006
0.098±0.006

Tb
0.154±0.009
0.071±0.010
0.064±0.007
0.063±0.009

Yb
0.779±0.024
0.236±0.018
0.135±0.013
0.115±0.014

Lu
0.124±0.005
0.0378±0.0028
0.018±0.007
0.0179±0.0019

Hf
2.27±0.06

0.51±0.03

1.29±0.03

0.424±0.028

Ta
0.237±0.012
0.033±0.007
0.051±0.007
0.103±0.010

W
0.90±0.12

0.48±0.18

0.38±0.14

0.29±0.12

Au
5.9±1.1

<5

2.8±0.5

21.0±0.8

Th
3.89±0.06

0.224±0.022
1.344±0.028
1.52±0.03

U
0.95±0.05

<0.23

14.18±0.26
10.76±0.20

2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO109

ZEO110

ZEO111

ZEO112

Na2O
6.44±0.08

6.48±0.08

0.2486±0.0030
1.215±0.015

K2O
<0.4 

<0.25

<0.048

<0.14

CaO
10.9±0.3

12.06±0.29

16.2±0.3

10.09±0.25

Sc
0.1583±0.0022
0.1132±0.0016
0.0917±0.0013
0.0272±0.0006

Cr
0.77±0.16

1.11±0.18

1.27±0.11

3.78±0.18

FeO
0.0805±0.0015
0.0421±0.0011
0.0356±0.0008
0.0067±0.0005

Co
0.374±0.012
0.099±0.007
0.298±0.008
0.026±0.004

Ni
---

---

17±6

---

As
<0.5

1.09±0.08

0.22±0.03

<0.57

Se
---

---

---

---

Br
0.53±0.08

---

<0.08

---

Rb
<1.3

<2.0

0.97±0.20

0.71±0.24

Sr
522±23

3190±130

49±6

50±6

Zr
12±3

---

22±3

11.0±2.1

Sb
0.089±0.009
0.085±0.009
0.099±0.005
0.037±0.007

Cs
0.723±0.015
0.949±0.017
0.187±0.006
0.050±0.005

Ba
<13

<12

9±4

<11

La
0.121±0.020
0.281±0.022
0.148±0.008
0.037±0.011

Ce
0.23±0.06

0.53±0.08

0.23±0.05

<0.22

Nd
<2.2

<2.4

<2.2

<2.7

Sm
0.0272±0.0025
0.045±0.004
0.0376±0.0017
0.0102±0.0022

Eu
0.014±0.003
0.0143±0.0027
0.0095±0.0017
<0.006

Tb
<0.019

<0.021

<0.015

<0.011

Yb
<0.050

<0.06

0.021±0.009
<0.06

Lu
0.0043±0.0015
0.0044±0.0015
0.0043±0.0018
<0.006

Hf
0.327±0.023
0.094±0.018
0.549±0.020
0.279±0.017

Ta
---

---

<0.013

---

W
---

---

---

---

Au
5.8±0.7

2.3±0.9

6.0±0.4

5.3±0.9

Th
<0.049

0.051±0.011
0.037±0.009
<0.045

U
<0.12

<0.18

0.179±0.017
<0.14

2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO113

ZEO114

ZEO115

ZEO116

Na2O
7.51±0.09

6.30±0.07

16.29±0.19
15.98±0.19

K2O
<0.36

<0.3

<1.3

<0.9

CaO
10.2±0.5

11.0±0.4

0.91±0.11

1.54±0.11

Sc
0.0389±0.0009
0.1547±0.0023
0.1611±0.0021
0.1337±0.0016

Cr
0.58±0.7

1.33±0.21

1.55±0.17

1.43±0.14

FeO
0.0131±0.0008
0.0807±0.0016
0.0230±0.0008
0.0487±0.0009

Co
0.050±0.006
0.154±0.009
0.263±0.008
0.143±0.005

Ni
---

---

5.3±2.0

---

As
0.42±0.13

<0.32

<0.7

<0.7

Se
---

---

---

<0.14

Br
27.4±1.4

0.98±0.10

---

---

Rb
0.60±0.26

1.0±0.3

0.88±0.29

2.03±0.22

Sr
44±8

46±9

87±6

9660±290

Zr
27±4

36±6

16±3

11.1±2.7

Sb
0.113±0.012
0.107±0.010
0.039±0.007
0.090±0.007

Cs
0.582±0.013
0.041±0.007
0.107±0.006
0.118±0.005

Ba
<21

<20

43±4

17±3

La
0.09±0.04

0.312±0.023
0.38±0.03

0.479±0.030

Ce
0.22±0.07

0.48±0.07

0.62±0.07

0.96±0.05

Nd
<2.9

<2.5

<2.2

<2.1

Sm
0.0160±0.0022
0.0374±0.0026
0.084±0.004
0.091±0.005

Eu
0.0117±0.0028
0.026±0.003
0.0236±0.0025
0.0141±0.0017

Tb
<0.08

<0.012

0.017±0.005
0.0169±0.0030

Yb
<0.06

0.042±0.015
0.039±0.013
0.044±0.011

Lu
<0.013

0.0070±0.0024
0.0065±0.0018
0.0086±0.0016

Hf
0.590±0.025
0.75±0.03

0.379±0.020
0.229±0.013

Ta
0.016±0.007
---

---

0.043±0.003

W
---

---

---

---

Au
<2.5

2.3±0.7

1.5±0.7

1.4±0.6

Th
0.030±0.013
0.045±0.013
0.027±0.012
0.209±0.011

U
<0.18

<0.15

<0.13

0.12±0.05

2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO117

ZEO118

ZEO119

ZEO120

Na2O
4.73±0.06

0.769±0.010
1.101±0.013
0.315±0.005

K2O
1.86±0.19

1.46±0.08

0.30±0.05

0.87±0.10

CaO
3.24±0.28

10.21±0.23

10.58±0.27
38.8±0.8

Sc
5.28±0.06

0.2416±0.0030
0.1658±0.0022
0.251±0.003

Cr
21.3±0.5

5.41±0.23

12.05±0.23
4.34±0.25

FeO
1.911±0.022
0.0827±0.0014
0.0798±0.0013
0.1064±0.0018

Co
9.40±0.12

0.191±0.008
0.595±0.011
0.352±0.011

Ni
<35

<7

8.2±1.8

---

As
2.62±0.29

0.39±0.09

0.65±0.05

<0.6

Se
<0.6

---

<0.13

---

Br
1.57±0.14

---

<0.10

---

Rb
39.3±2.0

7.5±0.5

2.9±0.3

3.3±0.4

Sr
653±29

6250±270

208±11

156±11

Zr
191±29

<9

4.8±2.3

<16

Sb
0.462±0.020
0.069±0.008
0.084±0.006
0.078±0.010

Cs
3.45±0.06

1.572±0.027
1.638±0.025
1.446±0.025

Ba
246±10

1790±40

<11

<17

La
21.82±0.26

0.212±0.013
1.002±0.017
0.657±0.024

Ce
49.7±0.7

0.44±0.06

2.24±0.06

1.15±0.09

Nd
18.3±2.2

<2.2

<2.6

<5

Sm
3.35±0.05

0.0522±0.0024
0.243±0.004
0.242±0.008

Eu
0.568±0.013
0.197±0.005
0.0259±0.0024
0.159±0.006

Tb
0.493±0.014
<0.025

0.042±0.004
0.071±0.008

Yb
1.97±0.04

0.034±0.014
0.166±0.009
0.325±0.018

Lu
0.267±0.007
0.0050±0.0014
0.0243±0.0017
0.050±0.003

Hf
5.40±0.10

0.047±0.023
0.152±0.013
---

Ta
2.99±0.07

---

0.086±0.005
---

W
1.7±0.6

<2.7

---

---

Au
12.2±1.2

2.6±0.6

8.0±0.4

<3.2

Th
19.32±0.27

<0.042

0.193±0.009
<0.04

U
2.12±0.09

<0.14

0.065±0.016
0.28±0.05

2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO121

ZEO122

ZEO123

ZEO124

Na2O
3.56±0.04

2.012±0.023
8.66±0.10

1.272±0.018

K2O
1.06±0.11

<0.18

4.4±0.5

3.49±0.22

CaO
6.90±0.23

9.65±0.25

0.32±0.09

4.4±0.3

Sc
0.1636±0.0022
0.0338±0.0007
1.532±0.018
4.82±0.05 

Cr
3.07±0.18

6.42±0.19

6.85±0.26

35.3±0.7

FeO
0.0535±0.0011
0.0153±0.0007
1.810±0.021
2.031±0.021

Co
0.135±0.007
0.063±0.006
1.674±0.026
2.77±0.04

Ni
---

---

---

39±8

As
0.51±0.08

0.22±0.05

83.7±1.2

4.2±0.3

Se
---

---

<0.3

<0.6

Br
<0.15

---

3.39±0.21

---

Rb
4.8±0.4

1.20±0.26

40.6±1.7

103±3

Sr
716±29

62±6

44±9

2350±90

Zr
9.4±2.8

5.1±2.4

200±30

730±80

Sb
0.053±0.006
0.227±0.008
4.11±0.06

0.505±0.020

Cs
0.098±0.007
0.085±0.005
1.052±0.021
2.00±0.04

Ba
139±5

47±3

108±6

11450±210

La
0.273±0.016
0.142±0.011
1.80±0.04

126.0±1.4

Ce
0.57±0.06

0.25±0.05

4.59±0.15

225.2±2.8

Nd
<2.5

<2.1

<4.5

77±4

Sm
0.0577±0.0029
0.0245±0.0014
0.594±0.017
11.20±0.15

Eu
0.0115±0.0022
0.0049±0.0023
0.079±0.005
1.93±0.03

Tb
<0.017

<0.008

0.045±0.006
1.473±0.028

Yb
0.035±0.010
<0.028

0.139±0.014
3.80±0.06

Lu
0.0058±0.0014
<0.0028

0.0237±0.0019
0.514±0.010

Hf
0.205±0.018
0.079±0.012
6.50±0.12

17.11±0.29

Ta
0.015±0.005
<0.019

0.869±0.023
10.91±0.21

W
---

---

8.8±0.5

3.6±0.5

Au
2.0±0.4

9.2±0.5

5.3±0.8

<4.6

Th
0.122±0.011
0.035±0.007
0.431±0.019
38.0±0.5

U
0.174±0.024
<0.07

7.22±0.16

4.9±0.5

2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO125

ZEO126

ZEO127

ZEO128

Na2O
4.89±0.6

2.181±0.028
1.745±0.0023
1.169±0.014

K2O
4.04±0.28

5.2±0.5

4.7±0.4

3.38±0.35

CaO
0.9±0.3

2.21±0.27

1.42±0.22

3.39±0.15

Sc
5.54±0.06

4.09±0.05

4.20±0.05

3.37±0.04

Cr
8.5±0.6

5.3±0.4

4.6±0.5

2.81±0.28

FeO
2.67±0.03

2.046±0.023
2.612±0.029
0.374±0.005

Co
3.18±0.05

2.20±0.04

0.696±0.019
0.190±0.013

Ni
74±12

---

---

---

As
39.4±0.8

19.8±0.5

6.1±0.5

1.33±0.14

Se
<0.6

<0.6

<0.7

<0.6

Br
5.3±0.3

0.34±0.15

---

0.17±0.08

Rb
133±4

85.8±2.9

166±4

290±8

Sr
262±24

164±15

278±17

145±12

Zr
590±80

480±50

590±60

97±28

Sb
0.73±0.03

1.103±0.027
0.799±0.024
0.429±0.016

Cs
5.05±0.08

2.21±0.04

7.87±0.11

21.33±0.28

Ba
606±18

395±11

1740±13

270±9

La
125.1±1.4

50.6±0.6

64.9±0.7

10.14±0.12

Ce
242±3

97.8±1.2

131.8±1.7

24.6±0.4

Nd
96±6

38±3

61±4

13.4±1.8

Sm
18.19±0.25

7.04±0.10

11.54±0.16
4.66±0.06

Eu
1.456±0.028
1.044±0.020
1.246±0.022
0.097±0.006

Tb
2.41±0.04

1.015±0.019
1.690±0.028
0.851±0.017

Yb
4.76±0.08

2.54±0.04

5.65±0.08

2.07±0.03

Lu
0.608±0.013
0.355±0.008
0.753±0.013
0.276±0.005

Hf
16.35±0.30

13.07±0.22

15.42±0.26
6.82±0.12

Ta
3.54±0.08

3.13±0.07

2.27±0.05

6.34±0.13

W
2.3±0.8

---

---

---

Au
<5

<4.2

<2.8

2.0±0.6

Th
34.0±0.5

12.02±0.16

18.41±0.25
18.82±0.25

U
4.88±0.16

0.91±0.10

4.00±0.12

11.00±0.21

2.10c. Compositional Data - Zeolites (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO129

ZEO130

ZEO131

ZEO132

Na2O
3.89±0.05

2.211±0.028
2.231±0.026
1.712±0.020

K2O
4.40±0.26

4.7±0.4

0.92±0.12

0.91±0.14

CaO
1.77±0.20

10.1±0.3

6.72±0.19

8.19±0.21

Sc
10.45±0.12

12.00±0.13

0.1084±0.0015
0.0633±0.0011

Cr
16.4±0.5

32.3±0.7

0.67±0.15

1.49±0.16

FeO
1.612±0.019
3.49±0.04

0.0208±0.0007
0.0263±0.0008

Co
1.370±0.029
8.82±0.11

0.023±0.004
0.105±0.006

Ni
---

44

---

10.0±2.1

As
223.0±3.0

30.1±0.6

<0.21

<0.14

Se
<0.9

<0.5

---

---

Br
0.62±0.12

---

---

---

Rb
93±3

98±3

20.8±0.8

4.5±0.4

Sr
138±15

585±29

30100±1100
4460±170

Zr
250±40

180±40

---

---

Sb
7.87±0.12

1.45±0.13

0.161±0.007
0.068±0.006

Cs
17.28±0.24

5.54±0.08

0.686±0.013
0.081±0.006

Ba
800±19

282±10

447±9

2200±40

La
37.2±0.4

26.1±0.3

0.139±0.013
0.123±0.010

Ce
73.0±1.0

56.9±0.8

0.35±0.06

0.22±0.05

Nd
38±3

27.8±2.7

<1.3

<1.5

Sm
7.46±0.11

6.37±0.09

0.0307±0.0017
0.0167±0.0011

Eu
1.377±0.027
1.088±0.020
<0.006

0.0072±0.0024

Tb
0.904±0.020
0.907±0.018
<0.014

<0.015

Yb
2.42±0.04

3.31±0.05

0.018±0.009
0.017±0.008

Lu
0.345±0.008
0.493±0.009
0.0030±0.0015
<0.0037

Hf
6.48±0.13

4.54±0.09

0.099±0.014
0.129±0.014

Ta
0.729±0.024
0.549±0.018
0.011±0.005
---

W
3.7±0.4

---

---

0.44±0.14

Au
3.1±1.2

4.5±1.0

2.7±0.4

0.68±0.26

Th
7.04±0.10

12.92±0.17

0.052±0.011
<0.039

U
3.50±0.10

14.8±0.3

<0.11

<0.05

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.10d. Spectral Data - Zeolites
Sample
Facility/File No. 
Description





ZEO101 - ZEO104 are listed under other silicates (prehnite and pumpellyite)

ZEO105
RELAB c1ze05
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO105
RELAB laze05
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO106
RELAB c1ze06
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO106
RELAB laze06
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO107
RELAB c1ze07
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO107
RELAB laze07
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO108
RELAB c1ze08
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO108
RELAB laze08
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO109
RELAB c1ze09
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO109
RELAB laze09
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO110
RELAB c1ze10
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO110
RELAB laze10
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

ZEO110
PSF jul1306.009
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

ZEO110
PSF azeo110
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).

++++++
ZEO111
RELAB c1ze11
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO111
RELAB laze11
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO112
RELAB c1ze12
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO112
RELAB laze12
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO113
RELAB c1ze13
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO113
RELAB laze13
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO114
RELAB c1ze14
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO114
RELAB laze14
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO115
RELAB c1ze15
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO115
RELAB laze15
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO116
RELAB c1ze16
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO116
RELAB laze16
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO117
RELAB c1ze17
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO117
RELAB laze17
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO118
RELAB c1ze18
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO118
RELAB laze18
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO119
RELAB c1ze19
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO119
RELAB laze19
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO120
RELAB c1ze20
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO120
RELAB laze20
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO121
RELAB c1ze21
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO121
RELAB laze21
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO122
RELAB c1ze22
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO122
RELAB laze22
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO123
RELAB c1ze23
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO123
RELAB laze23
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO124
RELAB c1ze24
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO124
RELAB laze24
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO125
RELAB c1ze25
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO125
RELAB laze25
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO126
RELAB c1ze26
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO126
RELAB laze26
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO127
RELAB c1ze27
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO127
RELAB laze27
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO128
RELAB c1ze28
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO128
RELAB laze28
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO129
RELAB c1ze29
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO129
RELAB laze29
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO130
RELAB c1ze30
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO130
RELAB laze30
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO131
RELAB c1ze31
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO131
RELAB laze31
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO132
RELAB c1ze32
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO132
RELAB laze32
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO157
RELAB c1ze57
<45µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO157
RELAB laze57
<45µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

++++++
ZEO200
PSF 080801a.009
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).
ZEO200
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
ZEO201
PSF 080801a.008
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).
ZEO201
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.10.

2. Silicates 
2.11. Other Silicates
2.11.1. Samples from International Space Analogue Rockstore (ISAR)
2.11.2. Cross-calibration sample from Joern Helbert – Planet X Soil Challenge

2.11.3. Odd and incompletely-characterized samples

2.11.4. Low-grade metamorphic minerals

2.11.5. Other silicates

2.11.6. Silica-rich samples from Robin Renaut – University of Saskatchewan
2.11.7. Silica-rich sinters from New Zealand from Bruce Mountain
2.11.8. Titanite (sphene)
2.11.9. Samples from Alex Koujelev at Canadian Space Agency (for LIBS development)
2.11.10. Samples from Brendt Hyde – Royal Ontario Museum
2.11.11. Opal samples from Mark Fox-Powell (University of St. Andrews)
2.11.12. Silicate smokes from Devin Schrader (ASU)

2.11.13. Mg silicate cement from Andreas Beinlich (Oct. 2021)
+++++++++++++++++++++++++++

2.11a. Sample Descriptions - Other Silicates
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

2.11a.1. Samples from International Space Analogue Rockstore (ISAR) – Nov. 2012

06AU01-3
Banded iron formation: Kitty's Gap outcrop, Pilbara, Australia.

99SA01-3
Chert: Buck Reef Chert, Barberton, South Africa.

++++++++++++++++++++++++++++++++++++++
2.11a.2. Cross-calibration sample from Joern Helbert – Planet X soil challenge

PlanetX
"Secret" sample from Joern Helbert (DLR) for 2009-2010 Planet X Soil Challenge – powdered (unsorted?) sample. Received Dec. 17, 2009; 5 grams.
++++++++++++++++++++++++++++++++++++++
2.11a.3. Odd & Incompletely Characterized Samples:

INC002
Unknown: locality unknown, probably Bancroft, Ontario, Canada (G. Hudecek), originally pyroxene PYX002.

INC008
Unknown: locality unknown, probably Sudbury, Ontario, Canada (G. Hudecek), originally pyroxene PYX008.
INC011
Unknown: Harquahala Mountains, Yuma County, Arizona, USA (Wetaskiwin Rock Show), with pyroxene (wollastonite) PYX011.

INC022
Unknown: Kafveltorp Quarry, Kopperberg, Sweden (Minerals Unlimited), originally pyroxene PYX022, with olivine OLV008.

INC037
Unknown: Nye, Springwater County, Montana, USA (Minerals Unlimited), with pyroxene PYX037.

++++++++++++++++++++++++++++++++++++++

2.11a.4. Low-grade metamorphic minerals
ZEO101
Pumpellyite: Carbunele, Paringu, Romania (Smithsonian Institution NMNH #C3189). [not a zeolite but common low grade metamorphic product].

ZEO102
Pumpellyite: Isle Royale, Lake Superior, Michigan, USA (Smithsonian Institution NMNH #82505). [not a zeolite but common low grade metamorphic product].

ZEO103
Prehnite: Kilpatrick Hills, Scotland (Smithsonian Institution NMNH #78734-1). [not a zeolite but common low grade metamorphic product].

ZEO104
Prehnite: Prospect Park, New Jersey, USA (Smithsonian Institution NMNH #171671). [not a zeolite but common low grade metamorphic product].

ZEO169
Prehnite: Bendoukou, Sandare District, Kayes region, Mali (see section 2.11 – low grade metamorphic minerals).

ZEO170
Prehnite: Ilimaussaq Complex, head of Kangerdluarssuk Fjord, Narrssaq Kommune, Greenland (received from Royal Ontario Museum, their sample ID M34039; March 2014; for Karly Pitman optical constants project). [Wet sieve powder series made.]
PUM101
Pumpelleyite: Darian Dixon sample; Western Washington University 2017. Part of NOMAD3 Mars box run - section 22.5 of this document.

+++++++++++++++++++++++++++++++++++++++
2.11a.5. Other silicates
APO101
Apophyllite: Deccan Plateau, Maharashtra, India [KCa4Si8O20(F,OH)-8H2O] (December 2012 AGU Fall Meeting, purchased from Ikon Mining and Exploration).

BOREA07c
Lightest coloured bands in BOREA07 banded iron formation boreal sample.

CHM103c
Chert: Host rock of chamosite (CHM103).

DIS001
Diatomaceous silica; Kieselguhr. Sigma Aldrich #392545-1KG [91053-39-3], batch #MKAA0910; 1 kg (received Dec. 12, 2009).

EME001
Emerald: Columbia (variety of beryl: Be3Al2Si6O18) (Discovery Gemstones Ltd. Edmonton, AB, Canada – August 2008).

JAD001
“Jade”: locality unknown, probably British Columbia, Canada [could be nephrite (tremolite-actinolite (Ca2(Mg,Fe)5Si8O22(OH)2 (more probable); or jadeite - a pyroxenoid (NaAlSi2O6)] (acquired from 2001 Manitoba Rock and Mineral Show) (for pigments project - although not a pigment).

JAD002
Nephrite (variety of actinolite; “BC Jade”): Mud Bay beach, Vancouver, BC, Canada (self collected; July 2004) (Ca2(Mg,Fe)5Si8O22(OH)2. 

JAD003
Nephrite (variety of actinolite; “BC Jade”): Mud Bay beach, Vancouver, BC, Canada (self collected; July 2004) (Ca2(Mg,Fe)5Si8O22(OH)2. 

JAD004
Nephrite (variety of actinolite; “BC Jade”): Mud Bay beach, Vancouver, BC, Canada (self collected; July 2004) (Ca2(Mg,Fe)5Si8O22(OH)2. 

KYA001
Kyanite; locality unknown (Al2SiO5).
KYA002
Kyanite: blue (2 pieces: 20 grams total – locality unknown (Tucson Rock and Gem Show – February 2018).

KYA003
Kyanite: black (3 pieces: 89 grams total – locality unknown (Tucson Rock and Gem Show – February 2018).
MIS015
Milky quartz.
MSI-A2-05
Quartz vein in marble.

OPA001
Opal: locality unknown – University of Winnipeg Department of Geography collection #M268-5. “c”: colourless/whitest part of the sample; “b”: browner portion of the sample.

OPA002
Opal: locality unknown – University of Winnipeg Department of Geography collection “#13”. “r”: reddest part of the sample; “o”: orange part of the sample; “y”: yellowest part of the sample.

PER001
Perlite, heated (Schultz brand); locality unknown. (Amorphous water-bearing volcanic glass (obsidian) – heated (~850-950C) to drive off water and expand the structure).

PIG205X
Is it sodium silicate decahydrate or sodium sulfate decahydrate? Make silicate PIG205X, sulphate keep as PIG205.
PIG351
Lazurite, Baikal (lapis lazuli) (catalog no. 410-17S). 10 grams. (green/blue group). See section 19 of this document for data.
PIG352
Lapis lazuli, premium grade lazurite (catalog no. 410-19S). 10 grams. (green/blue group). See section 19 of this document for data.
PIG353
Lapis Lazuli, standard grade lazurite (catalog no. 410-18S). 10 grams. (green/blue group). See section 19 of this document for data.
PIG373
Lazurite (natural pigment from Natural Pigments – naturalpigments.com). Sodalite group mineral containing sulfate groups. See section 19 of this document for data.
POL001
Pollucite; Manitoba (Mineral Society of Manitoba) [(Ca,Na)2Al2Si4O10·2H2O].

PYX030
siliceous glass (obsidian?) (originally labelled as augite): Mount Lassen, Lassen County, California (Minerals Unlimited), in augite andesite with sulphur.

QUA101
Quartz: locality unknown (National Museum of Nature, Ottawa).
QUA102
Quartz: locality unknown; well-developed crystal group.

QUA103
Quartz; 8 samples from unknown localities; some are amethyst (Mineral Society of Manitoba).

QUA104
Aventurine quartz (quartz + mica inclusions); Cambia, Mysore District, India (Minerals Unlimited).

QUA105
Quartz, with plagioclase (?), unknown locality (display specimen from Tyson’s).

QUA107
Rose quartz (from QUA103 set).

QUA108
Amethyst (from QUA103 set).

SGE001
Synthetic silica gel: Guangyi Food Additive Co. Ltd. (December 2007).

SGE002
Synthetic silica gel – EMD Chemicals, Grade 62; 60-200 mesh; cat. #SX0143U-3; CAS 63231-67-4 (obtained from U of W Dept. of Chemistry stores; Dec. 2007). Pore size is not controlled but is probably around 60-100 Angstroms.
SGE003
Synthetic silica gel desiccant (unknown brand).

SGE004
Synthetic silica gel desiccant (unknown brand).

SGE005
Synthetic silica gel desiccant (unknown brand, 11 packets from Canadian Tire skate boxes).

SGE006
Synthetic silica gel desiccant (“packed by N.O.P.”, from rice cracker snacks; 1 packet).

SGE007
Synthetic silica gel desiccant (Nippon Kako-Kizai Co. Ltd. – cobalt chloride-free); one pack.

SGE101
Synthetic silica gel: Grade 12, pore size 22 Angstroms, 28-200 mesh (75-650 microns); pore volume: 0.43 cm3/gm, BET surface area ca. 800m2/g. Sigma-Aldrich #21,439-6-250G, Lot: S64006-438; EC 231-545-4. 250 grams, received Dec. 18, 2009.
SGE102
Synthetic silica gel: Grade 10180, 70-230 mesh (63-230 microns), 40 Angstrom pore size; pore volume: ~0.68 cm3/gm, BET surface area ca. 750m2/g. Sigma-Aldrich #40,356-3-100G, lot #S30196-277. 100 grams, received Dec. 18, 2009.

SGE103
Synthetic silica gel: 70-230 mesh (63-230 microns), 60 Angstrom pore size; pore volume: 0.75 cm3/gm, BET surface area ca. 500m2/g. Sigma-Aldrich #28824-250G, batch #23206KB; EC 231-545-4. 250 grams, received Dec. 12, 2009.

SGE104
Synthetic silica gel: Grade 10184, 70-230 mesh (63-230 microns), 100 Angstrom pore size; surface area ca. 300m2/g. Sigma-Aldrich #40,360-1-100G, batch #15413LH, EC 231-545-4. 100 grams, received Dec. 18, 2009.

SGE105
Synthetic silica gel: Davisil >99%, Grade 646, 35-60 mesh (250-500 microns), 150 Angstrom pore size; pore volume: ~1.15 cm3/gm, surface area ca. 300m2/g. Sigma-Aldrich #236845-100G, batch #MKAA4429. 100 grams, received Dec. 18, 2009.

SIL001
Silicon (IV) oxide (SiO2): -325 mesh, fused amorphous powder; 99.8% (metals basis); Alfa Aesar stock #89709, lot #B21S042; CAS #7631-86-9; 250 g. (received Jan. 17/08).

SIL002
Silicic acid, hydrate, reagent grade; SiO2· XH2O; loss on ignition: 12%. Alfa Aesar stock #33270, lot #H03S028; CAS #7699-41-4; 100 g. (received Feb. 1, 2008).

SIL003
Obsidian – Apache tears; unknown locality (Discovery Gemstones Ltd. – Edmonton, AB, Canada; July 2009).

SIL004
Obsidian – unknown locality (Discover Gemstones Ltd. – Edmonton, AB, Canada; July 2009).
SIL005
Five silica nodules: some with interior banding; white to medium gray; Fe-oxide coated; conchoidal fracturing: landscaping stones at Hilton Garden Inn, The Woodlands; TX, USA (March 2018).

SIL006
Slag glass from Cu/Fe smelter (Lelanau blue); medium blue glass cobble with flow lines; Remains of smelter near Ishpeming, MI, USA [StoneHouseRock@cs.com; 2019 Tucson Rock and Gem Show].
SIL016
Granular groundmass of OLV016. Coso Hot Springs, Inyo Co., CA, USA [Nature’s Treasures]. See Bishop and Bird (1987).
SIL020
Lawsonite: CA, USA; lilac to blue, or pale pink, with minor mica. (metamorphic sorosilicate: CaAl₂Si₂O₇(OH)₂·H₂O) [Minerals unlimited; received Oct. 2020).
SIL021
Silica sand from Sio Silica Corp., (Troy Needham); ~1 kg; from site near Vivian, MB [received June 2023].
SIL100
Tridymite, in rock: near Portola, Plumas Co., CA, USA [Minerals Unlimited; received March 2008].

SIL101
Opal, variety diatomite (“diatomaceous earth”). Napa Co., CA, USA [tan chalk masses; Minerals Unlimited; received March 2008].
SIL102
Quartz, variety lechatelierite (“fulgurite”). Cline Butte, near Bend, Deschutes Co., OR, USA [pieces showing fusion crust; Minerals Unlimited; received March 2008].

SIL103
Quartz, variety flint, with chalk. White Cliffs of Dover, England [Minerals Unlimited; received March 2008].

SIL104
Quartz, sulfuritic; colour due to inclusions of sulphur. Kalahari Desert, Namibia [pale yellow, sulphur impregnated massive; Minerals Unlimited; received March 2008].

SIL105
Quartz, variety chert. Mississippian Period, Boone Formation; Jefferson City, MO, USA [off white to gray fine-grained masses; Minerals Unlimited; received March 2008].
SIL106
Opal in chert; fluorescent green SW UV. North Edwards, Kramer Hills, Kern Co., CA, USA [cream-white massive in rock; Minerals Unlimited; received March 2008].

SIL107
Quartz, variety trinitite (fused radioactive sand from the first atomic bomb); White Sands Proving Ground, NM, USA [dull green fused masses; Minerals Unlimited; received March 2008].
SIL108
Quartz, variety chrysoprase (colour due to nickel oxide); Minas Gerais, Brazil [light green masses, minor rock; Minerals Unlimited; received March 2008].
SIL109
Quartz, variety milky quartz; Carson Hill, near Angel’s Camp, Calaveras Co., CA, USA [Minerals Unlimited; received March 2008].

SIL110
Quartz, variety milky quartz with limonite; Carson Hill, near Angel’s Camp, Calaveras Co., CA, USA [Minerals Unlimited; received March 2008].

SIL111
Quartz, variety citrine: Rio Grande do Sul, Brazil [orange-brown chunk; Minerals Unlimited; received March 2008].

SIL112
Quartz, variety novaculite, with limonite: Hot Springs, Garland Co., Arkansas, USA [white, fine-grained, massive; Minerals Unlimited; received March 2008].
SIL113
Quartz, variety chalcedony/agate (a nodule or portion): near El Sueco, Chihuahua, Mexico [Minerals Unlimited; received March 2008].

SIL114
Quartz, variety cristobalite: Glass Mountain, near Coso, Inyo Co., CA, USA [Minerals Unlimited; received March 2008].

SIL115
Quartz, variety opal: Coober Pedy, Australia (from Bill Buhay, April 2008).

SIL116
Quartz, variety diatomaceous earth; from U of Winnipeg Biology Department (May 29, 2009); used to treat water.
SIL117
Quartz, variety lechatelierite (“fulgurite”), Morocco (Discovery Gemstones Ltd. – Edmonton, AB, Canada, July 2009).

SIL120
Cordierite, with almandine, phlogopite, and anthophyllite: Governador Valadares, Minas Gerais, Brazil [Minerals Unlimited; received March 2008].
SIL121
Cordierite, in gneiss: Sannidal, Krageroo, Telemark, Norway [gray-blue crystalline in gneiss; Minerals Unlimited; received March 2008].

SIL122
Beryl: Minas Gerais, Brazil [gray to blue cloudy crystal fragments; Minerals Unlimited; received March 2008].

SIL123
Utah lace opal: mostly orange-yellow with smaller purple area, slab with one cut face [Aspen Rock and Gem, Tucson 2011 show].
SIL124
Utah lace opal: orange-yellow, purple, and lavender coloured areas, slab with two cut faces [Aspen Rock and Gem, Tucson 2011 show].

SIL125
Utah lace opal: glassy, thinly-bedded slab with one cut face [Aspen Rock and Gem, Tucson 2011 show].

SIL126
Pink agate: locality unknown [Western Woods Inc., Tucson 2011 show].

SIL127
Rose quartz: locality unknown [Western Woods Inc., Tucson 2011 show].

SIL128
Blue chalcedony: Madagascar [Mineral Treasure, Tucson 2011 show].

SIL129
Datolite (possibly) [CaBSiO4(OH)]; from Rebecca Greenberger (Brown U. – June 2013). Collected in Connecticut River valley – road cut in Tarriffville, CT, USA (41°54'3"N 72° 45'42" W).
SIL130
“Libyan glass” aka “Libyan Desert Glass” (lechatelierite): ROM #M26692, 3.9 grams, sawn portion (from Royal Ontario Museum - April 14, 2009). See also Section 16.

SIL131
“Dakhleh glass”. ROM #M48024 (lechatelierite), 2 grams (from Royal Ontario Museum - April 14, 2009). See also Section 16.

SIL132
Libyan Desert Glass: Gilf Kebir region, Egypt [The Crystal Circle, Tucson 2011 show]. See also Section 16.
SIL133
Fire opal (white): ~2 grams (Rainbow King Solomon Mines; Tucson Rock and Gem Show – February 2018).
SIL134
Fire opal (clear): ~2 grams (Rainbow King Solomon Mines; Tucson Rock and Gem Show – February 2018).
SIL135
Black opal: ~2 grams (Rainbow King Solomon Mines; Tucson Rock and Gem Show – February 2018).

SIL136
Libyan Desert Glass: 17 grams; Pangaea Industries; Tucson Rock and Gem Show – February 2018). See also section 16.
SIL137
Citrine: carved pyramid: 25 grams (Tucson Rock and Gem Show – February 2018).

SIL138
Rose quartz: carved pyramid: 53 grams (Tucson Rock and Gem Show – February 2018).

SIL139
Idocrase, aka vesuvianite [Ca10(Mg, Fe)2Al4(SiO4)5(Si2O7)2(OH,F)4]: Fushan Mine, She Co., Handan Province, China; ~1.5” single crystal) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).

SIL140
Idocrase, aka vesuvianite; ~6 cm crystal [Ca10(Mg, Fe)2Al4(SiO4)5(Si2O7)2(OH,F)4]: Fushan Mine, She Co., Handan Province, China; ~1.5” single crystal) (Silver Cove Ltd., July 2018). 
SIL141
“Lab grown crystal” (likely synthetic quartz (Silver Cove Ltd., July 2018).
SIL142
Translucent milky quartz: locality unknown; single 10 cm crystal (Silver Cove Ltd., July 2018).

SIL143
Orange quartz (sold as orange calcite): locality unknown; some layering (Silver Cove Ltd., July 2018).

SIL144
Green quartz: locality unknown; 6 cm piece (Silver Cove Ltd., July 2018).

SIL145
“Lightning struck” materials: striated, sparsely porous light grey pieces (three ~1 cm pieces) [Silver Cove Ltd., July 2018].
SIL146
Mahogany obsidian: locality unknown; double polished ~15 cm slab (Rock and Gem Canada – Whistler, BC; July 2018).

SIL147
Snowflake epidote – South Africa; 1 2 cm tumbled piece (from www.worldofgaia.net). Free sample received Nov. 2018.
SIL147
Quartz, variety lechatelierite (“fulgurite”); 10 pieces. Probably Morocco [Bellpoint Gems].
SIL150
Datolite: West Paterson, NJ, USA (received from Royal Ontario Museum, their sample ID E3580; March 2014; for Karly Pitman optical constants project). [Wet sieve powder series made.].
SIL151
Tridymite (in rock): near Portola, Plumas Co., CA, USA [Minerals Unlimited; Feb. 2023].

SIL152
Cordierite; schistose; near Laramie, WY, USA [Minerals Unlimited; Feb. 2023].

SIL153
Staurolite: Madagascar [Minerals Unlimited; Feb. 2023].

SIL154
Andalusite, with mica: Custer Co. SD, USA [Minerals Unlimited; Feb. 2023].
SIL155
Kyanite: Capelinha, Minas Gerais, Brazil [Minerals Unlimited; Feb. 2023].

SIL156
Andalusite, in pegmatite: Bautista Canyon, Riverside Co., CA, USA [Minerals Unlimited, Feb. 2023].

SIL157
Nepheline with biotite plus/or chlorite: Dungannon Township, ON, Canada [Minerals Unlimited; Feb. 2023].

SIL158
Sillimanite with quartz: Custer Co., SD, USA [Minerals Unlimited; Feb. 2023].

SIL159
Cristobalite: Glass Mountain, near Coso Hot Springs, Inyo Co., CA, USA [Minerals Unlimited; Feb. 2023].

SIL160
Leucite, in rock with nepheline: Albano Hills, near Rome, Italy [Minerals Unlimited; Feb. 2023].
SIL250
Synthetic sodium meta-silicate, nonahydrate, crystal. Baker Analyzed reagent – Na2SiO3● 9H2O. J.T. Baker no. 3686-01; Lot G14639; CAS No. 6834-92-0; 500 grams (received July 31, 2008).

SIL251
Synthetic sodium meta-silicate pentahydrate, granular, practical. EMD (via VWR) – Na2SiO3 ● 5H2O. EMD SX0750-1, Lot 46300829 500 grams; corrosive (received July 31, 2008)..

++++++++++++++++++++++++++++++++++++++++
2.11a.6. Silica-rich samples from Robin Renaut – University of Saskatchewan; received June 1, 2008

SIL200
Fossil geyser mound (100+ years); Wairakei stream, New Zealand; opal-A + ?. (his ID number: NZ007).

SIL201
Sinter – recent. Wairakei Thermal Valley, New Zealand (vent mound); Opal-A (his ID number: NZ042).

SIL202
Silicified plants; Loop Road Hot Springs. Reporoa, New Zealand; Opal-A (his ID number: NZ054).

SIL203
Geyser vent sinter; Wairakei Thermal Valley, New Zealand; Opal-A (his ID number: NZ028).
SIL204
Vent sinter; Wairakei Thermal Valley, New Zealand; Opal-A (his ID number: NZ027).

SIL205
Silicified wood; from Loop Road Hot Springs, Reporoa, New Zealand; Opal-A (his ID number: NZ056).

SIL206
Effluent sinter from Wairakei geothermal power station, New Zealand (his ID number: NZ092).

SIL207
Native sulphur cemented by Opal-A, Waiotapu, New Zealand (no sample ID number).

SIL208
Magadi-type chert (quartz), Lake Magadi, Kenya (no sample ID number).

SIL209
Magadiite with alteration products (mainly quartz, some zeolites possible), Lake Magadi, Kenya (no sample ID number).
SIL210
Scoria cemented by hydrothermal silica, Korosi Volcano. Kenya (no sample ID number).

+++++++++++++++++++++++++++++++++++++++++
2.11a.7. Silica-rich sinters from New Zealand from Bruce Mountain – April 2008 
SIL300
Pumice rock: Rotokawa, New Zealand (10/04/08); 4 pieces.

SIL301
Spicular microstromatolite: Rotokawa, New Zealand (10/4/08).

SIL302
Laminated sinter: Rotokawa, New Zealand (10/04/08).

SIL303
Quartz/silica sand: Waiotapu, west of Champagne Pool, New Zealand (2/4/8).

SIL304
Sulphur/sulphate: Waiotapu; Devil’s Bath, New Zealand (2/4/8).

SIL305
Sulphur/sulphate: Waiotapu; Bird’s Nest Crater, New Zealand (2/4/8).

SIL306
Altered volcanic: Rotokawa, New Zealand (10/04/08).

SIL307
Argillized volcanics: Waiotapu; Devil’s Bath, New Zealand (2/4/8).

SIL308
Fresh sinter: Wairakei Terraces, New Zealand.

++++++++++++++++++++++++++++++++++++++++

2.11a.8. Titanite (sphene)
GAR108
Actually titanite: locality unknown, probably Haliburton, Ontario, Canada; with pyroxene (PYX006) (G. Hudecek).

SIL401
Titanite (sphene):  near Ribbonwood, Riverside Co., CA, USA [CaTi(SiO4)(O,OH,F)]. (Minerals Unlimited, received June 17, 2009 – 4 small fragments).

SIL402
Titanite (sphene):  Minas Gerais, Brazil [CaTi(SiO4)(O,OH,F)]. (Minerals Unlimited, received June 17, 2009 – 2 crystal fragments).

SIL403
Titanite (sphene):  Trinidad Valley, Baja California, Mexico [CaTi(SiO4)(O,OH,F)]. (Minerals Unlimited, received June 17, 2009 – 2 vials of fragments).

SIL404
Titanite (sphene): Yates Uranium Mine, Sandy Creek, Pontiac Co.,  QC, Canada [The Crystal Circle, Tucson 2011 show].

++++++++++++++++++++++++++++++++++++++++
2.11a.9. Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	QuartzSARM49
	 
	SARM 49

	QuartzQLO1
	 
	US QLO-1

	Sillimanite
	 
	BCS 309

	hand sample51
	**Epidote
	ActLabs

	hand sample42
	**Kyanite
	ActLabs

	hand sample74
	**Sandstone
	ActLabs

	hand sample82
	**Travertine
	ActLabs


++++++++++++++++++++++++++++++++++
2.11a.10. Samples from Brendt Hyde – Royal Ontario Museum (April 2014 and Feb. 2015)

a. Fracking sand (April 2014)


1 sample (unlabelled)

b. Tobermorite samples (February 2015)

M56155
Pure “tobermorite” powder. [Tobermorite ideal formula: Ca5Si6O16(OH)2 – 4H2O].
M56115
“Tobermorite” with minor secondary phases, likely aragonite.

Su11
Pure “tobermorite”.

Grey suolinite
Powder and crystal sample for comparison with “tobermorite”. [Suolinite ideal formula: Ca2Si2O5(OH)2 – H2O].
++++++++++++++++++++++++++++++++++
2.11a.11. Opal samples from Mark Fox-Powell (University of St. Andrews)

Note: Cryogenic opals with microbes

COA_Blank
Cryogenic opal-A silica

COA_C2
Cryogenic opal-A silica + Chloroflexus aurantiacus (DSM 635 (10-2 cell dilution)

COA_C1
Cryogenic opal-A silica + Chloroflexus aurantiacus (DSM 635 (10-1 cell dilution)

COA_R1
Cryogenic opal-A silica + Rhodopseudomonas palustris (TIE-1 (10-1 cell dilution); grown on acetate.
COA_R2
Cryogenic opal-A silica + Rhodopseudomonas palustris (TIE-1 (10-2 cell dilution); grown on acetate.
COA_T2
Cryogenic opal-A silica + Thermodesulfovibrio islandicus (DSM 12570 (10-2 cell dilution)

COA_T1
Cryogenic opal-A silica + Thermodesulfovibrio islandicus (DSM 12570 (10-1 cell dilution)

COA_T0
Cryogenic opal-A silica + Thermodesulfovibrio islandicus (DSM 12570 (cells at culture density)

++++++

COA M. therm
Cryogenic opal-A silica + Methanoculleus thermophilus DSM 2373 (cells at culture density)

COA R. pal [Fe]
Cryogenic opal-A silica + Rhodopseudomonas palustris TIE-1 [grown on Fe2+] (cells at culture density)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.11.a.12. Amorphous silicate smokes from Devin Schrader (ASU) – February 2018

Note: “Mg amorphous silicate smoke + Fe amorphous silicate smoke: Joe Nuth and Natasha Johnson – Goddard” “careful – wear mask”

Fe amorphous smoke

“0.1434 g; Joe Nuth, Natasha Johnson, Devin Schrader”

Mg amorphous smoke

“0.2821 g; Joe Nuth, Natasha Johnson, Devin Schrader”

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

2.11.13.a. Mg silicate cement from Andreas Beinlich (Oct. 2021)
NOR001
Mg-silicate hydrate cement; Feragen ultramafic body, Norway; various <2 cm chunks; from Andreas Beinlich (Oct. 2021); see de Ruiter and Austrheim (2017).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.11b. XRD Data - Other silicates
2.11b.1. Data and analyses from David Bish - Indiana University


OPA001c
Nice opal-CT, very similar to the other OPA samples (from Dave Bish – December 2011).

OPA002o and OPA002y
indistinguishable from each other, they are opal-CT, less well-ordered than ICE102 (from Dave Bish – December 2011).

QUA107
Pure quartz (from Dave Bish – December 2011).

QUA108
Pure quartz (from Dave Bish – December 2011).

2.11b.2. Data from University of Manitoba

IDD001

SIL108

(Quartz – chrysoprase). XRD shows quartz and minor pecoraite (Ni3Si2O5(OH)4). From Raven Sharma – U of M: Nov. 2011.

SIL122

(Beryl). XRD shows only beryl. From Raven Sharma – U of M: Nov. 2011.
SIL131

Diopside only phase identified.
SIL302

(Laminated sinter). XRD shows it to be largely amorphous. Phases tentatively identified include nacrite (Al2Si2O5(OH)4) and bannermanite (NaV6O15). From Raven Sharma – U of M: Nov. 2011.

SIL307

(Argillized volcanics). XRD shows a significant amorphous component. Phases identified include quartz, cristobalite (and diomignite: Li2B4O7). From Raven Sharma – U of M: Nov. 2011.

++++++++++++++++++++++++++++++++

2.11b.3. University of Winnipeg data

SIL120
Cordierite plus something not identified.

SIL121
Quartz (wrong phase may have been separated out).

SIL131
XRD trace is very noisy, indicative of amorphous component. Only phase identified – diopside. University of Winnipeg Bruker D8 powder XRD analysis.
SIL152
Looks like cordierite with some other stuff; the pattern is a bit ambiguous (March 2024).

SIL153
Quartz and staurolite (March 2024)

SIL154
andalusite with some ambiguous minor components, possibly a combination of muscovite and/or birnessite and/or kaolinite
SIL155
very ambiguous with probably a lot of preferred orientation. Would need to be prepped carefully and rescanned. But, it looks like kyanite with a mixture of some clays and possibly ephesite.
SIL156
Andalusite, muscovite, albite.

SIL157
Nepheline with sodalite and probably biotite.

SIL158
quartz, sillimanite, feldspar, very minor kaolinite, another clay that was identified as illite but could be something else (biotite?)
SIL159
Cristobalite and anorthoclase

SIL208
Major: Quartz, syn.; trace: calcite, syn.; calcite, sodian,syn.; olivine.
+++++++++++++++++++++++++++++++++
2.11b.5. XRD data: Other silicates

UWinnipeg quick scan XRD trace – August 2015

Sample

Phases identified by XRD

GAR108
titanite (UW January 2017 quick scan)

SIL100

albite, syn (01-071-1150); anorthite, sodian (01-085-0916); tridymite-O (00-042-1401); quartz, low (00-005-0490).

+++++++++++++++++++++++++++++++++++++++++++++
2.11a.11. XRD data: Opal samples from Mark Fox-Powell (University of St. Andrews)

Note: Cryogenic opals with microbes [Directory: 170726 COA].
COA_t1

170727_d8a.009coa_t1


5-43° 2-theta; 0.02A step size.

COA rpal Fe
170725_d8b.001coa rpal Fe
5-43° 2-theta; 0.02A step size.

COA_r1

170726_d8a.003coa_r1


5-43° 2-theta; 0.02A step size.

COA_r2

1707265_d8a.004coa_r2


5-43° 2-theta; 0.02A step size.

COA_t2

170725_d8b.005coa_t2


5-43° 2-theta; 0.02A step size.

COA_t0

170726_d8a.006coa_t0


5-43° 2-theta; 0.02A step size.

COA_c1

170727_d8a.007coa_c1


5-43° 2-theta; 0.02A step size.

M therm

170727_d81.008coa_mtherm
5-43° 2-theta; 0.02A step size.

COA_c2

170727_d8a.010coa_c2


5-43° 2-theta; 0.02A step size.

COA_blank
170725_d8b.002coa blank

2-90° 2-theta; 0.02A step size.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
2.11c. Compositional Data - Other silicates (alphabetical order)
Wt. %
INC002
INC008
INC011
INC022
INC037

SiO2
64.03
36.36
56.46
37.68
44.10

Al2O3
16.41
41.71
 1.46
 0.01
 6.71

FeO
 1.75
 0.90
 0.32*
 8.60*
 8.12

Fe2O3
 0.51
 0.64
 n.d.
 n.d.
 2.79

MgO
 0.62
 0.00
23.99
48.84
23.73

CaO
 0.00
 1.46
13.64
  tr.
 3.22

Na2O
 1.09
 1.87
 0.45
 0.01
 0.05

TiO2
 0.00
 tr.
 0.11
  tr.
 0.04

Cr2O3
 0.01
 0.03
 0.11
 0.03
 0.82

V2O5
 tr.
 0.00
 n.d.
 n.d.
 0.04

CoO
 tr.
 tr.
 0.00
 0.02
 0.03

NiO
 0.00
 0.00
 0.04
 0.01
 0.07

MnO
 0.07
 0.97
 0.00
 2.43
 0.28

ZrO2*
 0.00
 0.00
 n.d.
 n.d.
 0.00

TOTAL
84.49
83.94
96.58
97.63
90.00

Source
U of C
U of C
U of C
U of C
U of C

Analysis
EMPA-7
EMPA-8
EMPA-1
EMPA-8
EMPA-3

* - all Fe reported as FeO.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %

JAD001
LAZ001
LAZ002
MIS015
Type

"Jade"
lazurite
lazurite
quartz


SiO2

57.95
48.51
47.79
99.29
Al2O3

  0.48
  9.89
15.16
0.43
FeO

  3.02
  0.00
  0.00
n.d.
Fe2O3

  1.63
  0.36
  0.17
n.d.
(Fe2O3)*

(4.99)
(0.36)
(0.17)
(0.08)
MgO

21.86
14.02
  9.06
0.06
CaO

13.39
17.73
11.95
0.04
Na2O
 
  0.21
  4.25
  8.70
0.03
TiO2

  0.05
  0.03
  0.36
0.01
MnO
 
   0.06
  0.03
  0.02
0.003
K2O

   0.08
  1.92
  2.13
0.00
P2O5

   0.01
  0.03
  0.11
0.02
SO3


  0.55
  2.38


Cl






TOTAL

99.08
97.32
97.83
99.963
LOI

  1.60
  2.71
  0.71
0.12

ppm
Sr

75
125
120
8
Zr

25
140
130
12
V

49
60
125
8
Co

55
<2
<2
<1
Cr

1020
25
75
25
Cu

1850
500
810

Ni

1700
<2
<2
<5
Rb

<2
70
45


Source 

Mertzman
Mertzman
Mertzman
Mertzman
Analysis

XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
OPA001c
OPA002r
OPA002y
QUA101
QUA101
Type
opal
opal
opal

quartz

quartz


SiO2
98.60
98.71
98.64

98.98

99.77
TiO2
0.02
0.01
0.01

0.02

n.d.
Al2O3
0.52
0.39
0.40

0.95

0.00
(Fe2O3)*
(0.01)
(0.32)
(0.19)

(0.24)

(0.15)
FeO








Fe2O3








MnO
0.002
0.004
0.004

0.005

0.01
MgO
0.07
0.06
0.08

0.03

0.00
CaO
0.13
0.11
0.09

0.04

0.03
Na2O
0.04
0.03
0.02

0.01

0.00
K2O
0.02
0.00
0.01

0.00

0.003
P2O5
0.02
0.02
0.03

0.02

0.005
SO3
0.03
0.03
0.03

0.02

0.02
Cl






0.00

TOTAL
99.462
99.684
99.504

100.315

100.058
LOI
3.67
3.22
3.09

0.20

0.00

ppm

Sr
29
28
25

27

86
Zr
13
16
16

18

60
V
34
32
33

26

42
Co
<1
<1
<1

<1

2
Cr
<1
10
<1

1

27
Cu
535
465
335

365



Ni
<1
10
<1

<1

<2

Rb






<5

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
QUA103

QUA107
QUA108

Type
quartz

rose quartz
amethyst

SiO2
98.60
98.12

99.13

TiO2
0.01
0.01

0.01

Al2O3
0.43
1.02

0.50

(Fe2O3)*
(0.00)
(0.12)

(0.19)

FeO


Fe2O3


MnO
0.002
0.006

0.003

MgO
0.04
0.10

0.05

CaO
0.04
0.13

0.05

Na2O
0.04
0.05

0.03

K2O
0.00
0.00

0.01

P2O5
0.01
0.01

0.01

TOTAL
99.172
99.566

99.981

LOI
0.17
0.46

0.34

ppm

Sr
10
12

15

Zr
10
10

15

V
5
5

10

Co
<1
<1

<1

Cr
<2
154

33

Ni
<5
<5

<5

Source
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SGE001
SGE002
SIL001

SIL002



Type
silica gel
silica gel
SiO2 (syn)
silicic acid

SiO2
98.57
98.99
98.85

98.43



TiO2
0.08
0.02
0.02

0.03



Al2O3
0.27
0.08
0.49

0.53



(Fe2O3)*
(0.15)
(0.01)
(0.00)

(0.00)



FeO








Fe2O3








MnO
0.002
0.001
0.002

0.002



MgO
0.06
0.05
0.04

0.05



CaO
0.13
0.14
0.07

0.07



Na2O
0.30
0.08
0.01

0.30



K2O
0.01
0.00
0.00

0.00



P2O5
0.02
0.02
0.02

0.01



SO3
0.08
0.04
0.03

0.03



TOTAL
99.672
99.431
99.532

99.452



LOI
16.69
5.70
0.66

59.71



ppm

Sr
39
26
26

26



Zr
165
89
51

65



V
31
23
28

29



Co
>1
2
2

<1



Cr
8
<1
<1

<1



Cu
155
15
55

110



Ni
<1
<1
<1

<1



Source
Mertzman
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL003
SIL004

Type
obsidian
obsidian

SiO2
76.20
75.66

TiO2
0.11
0.13

Al2O3
12.79
12.58

(Fe2O3)*
(0.80)
(1.59)

FeO
0.35
0.80

Fe2O3
0.41
0.70

MnO
0.08
0.06

MgO
0.06
0.07

CaO
0.48
0.50

Na2O
4.10
4.47

K2O
4.63
4.62

P2O5
0.02
0.02

SO3
0.18
0.39

TOTAL
99.45
100.09

LOI
0.37
0.00

ppm

Sr
45
85

Zr
91
319

V
2
<1

Co


Cr
7
2

Source
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL101
SIL102
SIL103

Type
diatomite
fulgurite
flint


SiO2
96.98
60.10
97.88

TiO2
0.06
1.05
0.01

Al2O3
1.41
17.75
1.29

(Fe2O3)*
 (1.31)
(7.52)
(0.00)

FeO

5.79

Fe2O3

1.09

MnO
0.005
0.137
0.002

MgO
0.17
3.02
0.04

CaO
0.23
5.09
0.16

Na2O
0.08
3.72
0.04

K2O
0.12
1.50
0.02

P2O5
0.03
0.20
0.03

SO3
0.02
0.02
0.03

TOTAL
100.415
100.107
99.502

LOI
5.76
0.36
1.41

ppm

Sr
35
565
29

Zr
30
190
18

V
71
147
23

Co
<1
10
2

Cr
20
45
<1

Cu
1100
1110
690

Ni
<1
525
<1

Source
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL104
SIL105
SIL106
SIL108
SIL109
SIL111
SIL112
Type
sulf-qtz
chert
opal/chert
chrysoprase
milky qtz
citrine
novaculite

SiO2
98.85
99.01
64.26
95.04
99.44
98.92
99.17
TiO2
0.01
0.02
0.01
0.01
0.01
0.01
0.04
Al2O3
0.86
0.99
0.16
0.22
0.64
0.77
0.55
(Fe2O3)*
(0.04)
(0.00)
(0.04)
(0.61)
(0.00)
(0.00)
(0.08)
FeO


Fe2O3


MnO
0.002
0.002
0.004
0.018
0.002
0.002
0.002
MgO
0.06
0.04
0.60
2.78
0.06
0.03
0.04
CaO
0.05
0.08
35.11
0.11
0.05
0.05
0.06
Na2O
0.08
0.03
0.13
0.10
0.01
0.03
0.04
K2O
0.01
0.05
0.00
0.00
0.00
0.01
0.03
P2O5
0.02
0.02
0.03
0.02
0.02
0.02
0.02
SO3
0.03
0.03
0.03
0.02
0.03
0.03
0.03

Total
100.012
100.272
100.374
98.928
100.262
99.872
100.062
LOI
0.30
0.68
22.17
2.82
0.25
3.53
0.24

ppm

Sr
24
53
408
26
25
25
39
Zr
15
18
18
15
12
16
47
V
27
22
32
31
22
29
28
Co
5
<1
<1
20
<1
<1
<1
Cr
<1
<1
1
125
<1
2
<1
Cu
440
715
230
415
365
375
425
Ni
<1
<1
<1
10200
15
<1
30

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL113
SIL114
SIL115
SIL116
SIL130
SIL131
SIL150
ROM ID#






E3580

Type
chalcedony
cristobalite
opal
diatomite
Libyan
Dakhleh






glass
glass


SiO2
98.31
75.78
96.40
86.74
97.44
56.22
54.48
TiO2
0.01
0.07
0.01
0.23
0.16
0.71
0.00
Al2O3
1.21
12.71
1.94
4.54
2.01
11.29
0.34
(Fe2O3)*
(0.01)
(1.17)
(0.10)
(1.75)
(0.15)
(4.59)
(0.14)
FeO



0.25
0.12
0.56
0.00
Fe2O3



1.47
0.02
4.69
0.14
MnO
0.003
0.033
0.003
0.01
0.01
0.11
0.025
MgO
0.05
0.15
0.08
0.31
0.08
4.96
0.00
CaO
0.17
0.58
0.52
0.61
0.09
17.11
44.53
Na2O
0.17
5.05
0.27
5.05
0.02
2.29
0.01
K2O
0.01
3.56
0.18
0.33
0.02
1.78
0.001
P2O5
0.03
0.08
0.02
0.08
0.04
0.52
0.008
SO3
0.08
0.08
0.06



0.30

TOTAL
100.053
99.263
99.583
99.62
100.01
100.24
99.829
LOI
1.06
0.68
6.37
0.35
0.50
2.81
6.01

ppm

Sr
30
39
223
93
44
454
42
Zr
59
144
163
78
167
339
26
V
28
29
27
139
31
133
<2
Co
<1
<1
<1
2
<2
2
<2
Cr
<1
<1
<1
18
14
88
<2
Cu
415
510
385


Ni
<1
<1
<1



<2

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL152
SIL153
SIL154
SIL155
SIL156
SIL157
SIL158
SIL159
Type
Cordierite
Staurolite
Andalusite
Kyanite
Andalusite
Nepheline
Sillimanite
Cristob
SiO2
48.87
48.49
79.07
39.40
40.06
43.80
81.16
77.51
TiO2
1.06
0.61
0.03
0.02
0.00
0.00
0.00
0.05
Al2O3
29.54
37.32
19.46
58.15
57.18
34.06
17.59
12.89
(Fe2O3)*
9.49
11.21
0.44
0.34
0.50
0.09
0.10
0.87
FeO
7.31
1.75
0.28
0.29
0.25
0.06
0.06
0.22
Fe2O3
1.37
9.27
0.13
0.02
0.22
0.02
0.03
0.63
MnO
0.09
0.06
0.02
0.00
0.01
0.00
0.00
0.02
MgO
2.93
1.60
0.07
0.18
0.15
0.07
0.02
0.04
CaO
0.94
0.15
0.19
0.04
0.19
0.81
0.15
0.37
Na2O
1.34
0.00
0.27
0.67
0.72
16.49
0.12
5.01
K2O
5.08
0.10
0.12
1.23
1.18
4.87
0.26
3.31
P2O5
0.19
0.03
0.07
0.02
0.01
0.00
0.09
0.01
SO3


TOTAL
99.53
99.57
99.74
100.05
100.00
100.19
99.49
100.08
LOI
1.75
0.80
0.75
1.83
1.52
1.75
0.72
0.60
ppm

Rb
163
<3
6
20
32
80
10
143

Sr
101
<3
17
11
10
124
11
8
Zr
222
53
6
12
<3
116
15
128
Cr
<3
97
53
<3
<3
<3
<3
<3
V
181
120
20
94
13
3
5
<3
Ba
1037
35
31
26
41
23
50
38
Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertz.
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRFWC
* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL200
SIL201
SIL203
SIL206

Type
NZ silica
NZ silica
NIZ silica
NZ silica

SiO2
96.69
96.93
96.13
95.89

TiO2
0.04
0.12
0.03
0.01

Al2O3
1.56
1.36
0.68
0.84

(Fe2O3)*
 (0.35)
(0.39)
(0.18)
(1.50)

FeO


Fe2O3


MnO
0.030
0.015
0.012
0.031

MgO
0.12
0.13
0.15
0.17

CaO
0.59
0.24
1.91
0.29

Na2O
0.10
0.20
0.48
0.42

K2O
0.21
0.08
0.41
0.24

P2O5
0.02
0.02
0.02
0.03

SO3
0.06
0.08
0.08
0.07

TOTAL
99.770
99.565
100.082
99.491

LOI
7.82
4.88
9.69
6.40

ppm

Sr
66
37
79
43

Zr
26
49
23
27

V
34
28
38
24

Co
<1
<1
<1
<1

Cr
<1
<1
<1
<1

Cu
520
560
685
1950

Ni
<1
<1
<1
<1

Source
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
SIL207
SIL208
SIL302
SIL303
SIL304
SIL306
Type
NZ silica
Kenya silica
NZ silica
NZ silica
NZ silica
NZ silica

SiO2

96.81
94.22
97.62
96.15
98.51
TiO2

0.01
0.17
0.44
0.51
0.59
Al2O3

1.29
5.01
1.37
2.28
0.79
(Fe2O3)*

(0.01)
(0.19)
(0.00)
(0.22)
(0.00)
FeO




0.18
Fe2O3




0.02
MnO

0.004
0.002
0.002
0.01
0.003
MgO

0.04
0.09
0.05
0.02
0.05
CaO

1.24
0.07
0.07
0.23
0.06
Na2O

0.29
0.10
0.04
0.05
0.03
K2O

0.06
0.11
0.02
0.22
0.03
P2O5

0.03
0.06
0.01
0.02
0.02
SO3

0.08
0.03
0.07
0.00
0.05

TOTAL

99.864
100.052
99.692
99.71
100.133
LOI
2.57
2.60
11.09
1.91
51.66
1.83

ppm

Sr

146
140
39
39
38
Zr

62
110
299
353
306
V

22
40
28
29
28
Co

<1
<1
<1
5
<1
Cr

1
10
2
27
1
Cu

3730
665
2050

490
Ni

25
<1
<1
22
<1

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++

2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. %
ZEO101
ZEO102
ZEO103
ZEO104

NMNH#
C3189
82505
78734-1
171671

Type
pumpellyite
pumpellyite
prehnite

prehnite


SiO2
33.97
40.32
45.53

44.67

TiO2
0.43
0.02
0.00

0.00

Al2O3
23.67
24.84
25.70

22.38

Fe2O3*
(7.67)
(6.39)
(0.39)

(4.97)

FeO
5.23
n.d.
n.d.

0.16

Fe2O3
1.86
n.d.
n.d.

4.79

MnO
0.30
0.31
0.06

0.01

MgO
31.25
5.87
0.03

0.07

CaO
2.19
22.46
28.14

28.34

Na2O
0.04
0.05
0.11

0.01

K2O
0.00
0.01
0.00

0.00

P2O5
0.07
0.02
0.01

0.01

TOTAL
99.38
100.35
100.01

100.48

LOI
11.71
8.29
4.96

4.82

ppm
Sr
193
130
85

74
Zr
524
43
25

31

V
59
191
171

144

Cr
1276
46
41

39


Source
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++

2.10c. Compositional Data - Zeolites (continued)
Wt. %
ZEO170
ROM#
M34039





USGS#







SiO2
45.16


TiO2
0.00


Al2O3
24.99


Fe2O3*
(0.73)


FeO
0.14


Fe2O3
0.57


MnO
0.012


MgO
0.05


CaO
28.24


Na2O
0.10


K2O
0.000


P2O5
0.012


SO3
0.53


TOTAL
99.82


LOI
4.23


ppm

Rb







Sr
61


Zr
28


V
<2


Ni
<2


Cr
<2


Co
<2


Source
Mertzman


Analysis
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++
2.11c. Compositional Data - Other silicates (alphabetical order) (continued)
Wt. % (for oxides), ppm for elements, ppb for Au (from Johnson Space Center / Pranoti Asher)

Sample
ZEO101

ZEO102

ZEO103

ZEO104

NMNH#
C3189

82505


78734-1

171671

Type
pumpellyite

pumpellyite

prehnite

prehnite
Na2O
0.0337±0.0009
0.0418±0.0007
0.1121±0.0015
0.0263±0.0004

K2O
<0.04

0.016±0.006
<0.019

0.010±0.003

CaO
2.26±0.21

22.1±0.5

28.5±0.6

28.2±0.6

Sc
9.10±0.10

1.723±0.020
0.0666±0.0012
0.0495±0.0018

Cr
1334±15

1.11±0.24

1.77±0.17

1.32±0.18

FeO
6.57±0.07

5.51±0.06

0.314±0.004

4.27±0.05

Co
78.3±0.9

61.4±0.7

0.047±0.006

0.496±0.012

Ni
1590±30

161±12

---


---

As
<0.6

1.08±0.08

0.25±0.05

3.03±0.07

Se
<0.08

---


---


---

Br
---

0.30±0.05

0.29±0.03

<0.09

Rb
---

---


---


---

Sr
186±17

68±16


29±7


24±6

Zr
580±70

<31


7±3


19±6

Sb
0.075±0.020
0.123±0.011
0.153±0.007

0.046±0.007

Cs
0.28±0.03

---


0.030±0.006

---

Ba
<20

30±5


<15


<16

La
95.9±1.1

4.46±0.06

0.648±0.015

0.734±0.015

Ce
220.3±2.8

12.46±0.21

1.71±0.08

1.28±0.08

Nd
111±7

11.8±1.9

<3.9


<4.0

Sm
24.6±0.3

2.098±0.028
0.315±0.005

0.153±0.004

Eu
2.64±0.04

1.505±0.028
0.153±0.0027

0.038±0.003

Tb
4.57±0.07

0.343±0.013
0.089±0.007

0.036±0.006

Yb
22.9±0.3

0.818±0.023
0.192±0.014

0.212±0.014

Lu
3.24±0.05

0.127±0.004
0.0254±0.0022
0.0208±0.0017

Hf
25.2±0.4

0.75±0.04

0.160±0.024

0.347±0.025

Ta
8.09±0.16

---


---


---

W
7.0±2.7

---


---


---

Au
<5

353±5


<1.9


9.5±0.7

Th
18.74±0.26

<0.08


0.034±0.012

0.070±0.012

U
6.40±0.19

<0.19


<0.11


0.135±0.026

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
Libyan Desert Glass papers: 

· Greshake et al. (2010)

· Gucsik et al. (2004), as well as Muong Nong tektite

· Schaaf and Sohnius (2002)

· Giuli et al. (2003)

· Fudali (1981)

Dakhleh Glass papers:

· Osinski et al. (2008)
2.11d. Spectral Data - Other Silicates (alphabetical order, mostly)
Sample
Facility/File No.  
Description







APO101
PSF 130723b.015
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

APO101
PSF 130723b.016
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

+++++++

BOREA07c
PSF 071229a.106
<1 mm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

+++++++
CHM103c
PSF 071229a.105
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

+++++++
CO2 ice
PSF 080619a.001
unsorted; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 averaged; ASD.

+++++++

GAR108
RELAB cagn08
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

GAR108
RELAB lagn08
<45 µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

GAR108
PSF 290807.015
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

++++++

INC037
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol., w/ PYX037?

+++++++
JAD001
RELAB caea16
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

JAD001
RELAB laea16
<45 µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry.

+++++++
MIS015
PSF 071120a.005
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured immediately after removal from freezer.

MIS015
PSF 071120a.012
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured after thawing to room temperature.

+++++++
MSI-A2-05
PSF 071120a.006
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured immediately after removal from freezer.

MSI-A2-05
PSF 071120a.013
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured after thawing to room temperature.

MSI-A2-05
PSF 071229a.109
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

MSI-A2-05
PSF 071229a.119
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; measured after exposure of powder to 100% relative humidity for 1 hour; 1000 avg; ASD spectra.

+++++++

OPA001b
PSF 071116b.003
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

OPA001b
PSF 071116b.004
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also 003 and 004 averaged.
OPA001b
PSF 071120a.004
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured immediately after removal from freezer.

OPA001b
PSF 071120a.011
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured after thawing to room temperature.


++++++
OPA001c
PSF 071116b.001
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

OPA001c
PSF 071116b.002
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also 001 and 002 averaged.
OPA001c
PSF 071229a.108
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

OPA001c
PSF 071229a.120
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; measured after exposure of powder to 100% relative humidity for 1 hour; 1000 avg; ASD spectra.

OPA001c
PSF 090121a.005
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

OPA001c
PSF 090121a.006
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.
OPA001
PSF 090602a.047
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

OPA001
PSF 090602a.048
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

+++++++
OPA002r
PSF 090121a.007
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

OPA002r
PSF 090121a.008
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.
OPA002r
PSF 071116b.005
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

OPA002r
PSF 071116b.006
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also 005 and 006 averaged.

++++++
OPA002o
PSF 090121a.009
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

OPA002o
PSF 090121a.010
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.
OPA002o
PSF 071116b.007
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

OPA002o
PSF 071116b.008
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also 007 and 008 averaged.
OPA002o
PSF 071116b.009
>250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

OPA002o
PSF 071116b.010
>250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also 009 and 010 averaged.
OPA002o
PSF 071120a.002
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured immediately after removal from freezer.

OPA002o
PSF 071120a.009
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured after thawing to room temperature.

OPA002o
PSF 071120a.001
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample run prior to freezing.


++++++

OPA002y
PSF 071116b.011
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

OPA002y
PSF 071116b.012
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also 011 and 012 averaged.
OPA002y
PSF 090121a.011
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

OPA002y
PSF 090121a.012
90-250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

OPA002y_25C
PSF 120529b.003
<45 μm, fresh; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120529_opals).

OPA002y_120C
PSF 120530a.003
<45 μm, after heating at 120°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

OPA002y_265C
PSF 120530a.011
<45 μm, after heating at 120°C for 23 hours, then at 265°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

+++++++

PIG373 – phase angle measurements – all relative to Spectralon at i=13°, e=0°
PIG373
PSF 101001a.003
<45 µm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.012
<45 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.021
<45 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.030
<45 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.039
<45 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.048
<45 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.057
<45 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.067
<45 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.077
<45 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.086
<45 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

++++++++

Planet X
PSF 100107a.001
unsorted; i=30, e=0; 0.35-2.5 μm; 1 nm output spectral sampling interval, 1000 spectra averaged; ASD instrument.

Planet X
PSF Planet X
unsorted; i=0, e=0, bifurcated cable, 200-400 nm, Ocean Optics S2000, corrected to DUV mirror, 600 spectra averaged.

Planet X
PSF Planet X
unsorted; i=0, e=0, bifurcated cable, 380-860 nm, Ocean Optics S2000, 600 spectra averaged.

+++++++
PYX030
PSF 090728a.002
<45 µm; 30/0; 0.35-2.5 µm; 1000 averaged; ASD (directory: 090728lunar dust).

+++++++

QUA101
RELAB c1qz04
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm resol.

QUA101
RELAB maqz04
<45 µm, 30°/30°, 2.5-26µm, 0.6-129 nm resol. (Nicolet).

QUA101
RELAB laqz04
<45 µm, 30°/0°,30°; 0.3-26µm; 5/0.6-129 nm resol. (Merged RELAB + Nicolet at 2.5 µm; note viewing geometry change).

QUA101
PSF 071229a.149
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101
PSF 090121a.013
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

QUA101
PSF 090121a.014
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.
QUA101
PSF 130510a.002
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221]. (see also section 29 for sample in KBr disk transmission measurements).
QUA101
PSF F_45
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 130625_diff]. (see also section 29 for sample in KBr disk transmission measurements).



++++++
QUA101a
PSF 071229a.150
<45 µm, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101a
PSF 071229a.151
<45 µm, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101a
PSF 071229a.152
<45 µm, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra (different spot).

QUA101a
PSF 071229a.153
<45 µm, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra (different spot).

QUA101a
PSF 080730a.035
<45 µm, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra (different spot); remeasured July 31, 2008.


++++++
QUA101
PSF 071229a.168
<45 µm, slurry made with water; frozen at -13°C for 35 minutes; spectrum measured immediately after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101
PSF 071229a.169
<45 µm, slurry made with water; frozen at -13°C for 35 minutes; spectrum measured 3 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101
PSF 071229a.170
<45 µm, slurry made with water; frozen at -13°C for 35 minutes; spectrum measured 5 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101
PSF 071229a.171
<45 µm, slurry made with water; frozen at -13°C for 35 minutes; spectrum measured 20 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101
PSF 071229a.172
<45 µm, slurry made with water; frozen at -13°C for 35 minutes; spectrum measured 22 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

QUA101
PSF 080708.qua101
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics.

+++++++
QUA103
PSF 071120a.003
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured immediately after removal from freezer.

QUA103
PSF 071120a.010
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD; sample frozen to -60°C and measured after thawing to room temperature.

+++++++

QUA107
PSF 090313a.024
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Absolute reflectance probably off; cup may not have been properly positioned vertically.

QUA107
PSF 090313a.025
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. redo of sample .024.

QUA107
PSF 090313a.026
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
QUA108
PSF 090313a.027
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

QUA108
PSF 090313a.028
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
SGE001
PSF 071229a.104
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.110
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured immediately after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.111
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 2 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.112
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 3 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.113
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 5 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.114
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 8 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.115
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 17 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.116
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 19 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.117
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 38 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.118
<1 mm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, then frozen and measured 62 minutes after removal from freezer at -13°C; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.122
<250 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, re-sieved the following day (after exposure to ambient air); 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.123
250-1000 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours, re-sieved the following day (after exposure to ambient air); 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.124
250-1000 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured immediately after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.125
250-1000 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured 2 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.126
<250 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured immediately after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.127
<250 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured 2 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.128
250-1000 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured 11 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.129
<250 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured 10 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.130
250-1000 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured 16 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.131
<250 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; re-sieved the following day (after exposure to ambient air), then frozen at -13°C for 30 minutes and spectrum measured 17 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.133
<250 µm, original sample crushed, never exposed to high humidity; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.134
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air); 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.135
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), frozen at -13°C for 33 minutes, spectrum measured immediately after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.136
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), frozen at -13°C for 33 minutes, spectrum measured 4 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.137
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), frozen at -13°C for 33 minutes, spectrum measured 6 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.138
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), frozen at -13°C for 33 minutes, spectrum measured 8 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.139
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), frozen at -13°C for 33 minutes, spectrum measured 10 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.140
<250 µm, original sample crushed, never exposed to high humidity; frozen at -13°C for 57 minutes, spectrum measured immediately after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.141
<250 µm, original sample crushed, never exposed to high humidity; frozen at -13°C for 57 minutes, spectrum measured 2 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.142
<250 µm, original sample crushed, never exposed to high humidity; frozen at -13°C for 57 minutes, spectrum measured 4 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.143
<250 µm, original sample crushed, never exposed to high humidity; frozen at -13°C for 57 minutes, spectrum measured 6 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001
PSF 071229a.144
<250 µm, original sample crushed, never exposed to high humidity; frozen at -13°C for 57 minutes, spectrum measured 8 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.


++++++

SGE001b
PSF 071229a.160
<250 µm, original sample, never exposed to high humidity; baked at 100°C for 1 hour, spectrum measured 1 minute after removal from drying oven; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001b
PSF 071229a.161
<250 µm, original sample, never exposed to high humidity; baked at 100°C for 1 hour, spectrum measured 6 minutes after removal from drying oven; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001b
PSF 071229a.162
<250 µm, original sample, never exposed to high humidity; baked at 100°C for 1 hour, spectrum measured 8 minutes after removal from drying oven; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001b
PSF 071229a.163
<250 µm, original sample, never exposed to high humidity; baked at 100°C for 1 hour, spectrum measured 11 minutes after removal from drying oven; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001b
PSF 080730a.037
<250 µm, original sample, never exposed to high humidity; baked at 100°C for 1 hour, spectrum measured 11 minutes after removal from drying oven; remeasured July 31, 2008; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.


++++++

SGE001a
PSF 071229a.164
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), then baked at 100°C for 1 hour, spectrum measured 3 minutes after removal from drying oven; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001a
PSF 071229a.165
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), then baked at 100°C for 1 hour, spectrum measured 6 minutes after removal from drying oven; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE001a
PSF 080730a.034
<90 µm, sample crushed then exposed to 100% relative humidity at 23°C for 24 hours; crushed and re-sieved 4 days later (after exposure to ambient air), then baked at 100°C for 1 hour, spectrum measured 6 minutes after removal from drying oven; spectrum remeasured July 31, 2008; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

+++++++
SGE002c
PSF 071229a.145
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002c
PSF 071229a.146
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002c
PSF 080730a.038
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra; remeasured July 31, 2008.


++++++

SGE002a
PSF 071229a.147
unsorted, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002a
PSF 071229a.148
unsorted, slurry made with water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002a
PSF 071229a.154
unsorted, slurry made with water, frozen at -13°C for 30 minutes, spectrum measured immediately after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002a
PSF 071229a.155
unsorted, slurry made with water, frozen at -13°C for 30 minutes, spectrum measured 3 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002a
PSF 071229a.156
unsorted, slurry made with water, frozen at -13°C for 30 minutes, spectrum measured 5 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra (maybe also spectrum #156?).

SGE002a
PSF 071229a.157
unsorted, slurry made with water, frozen at -13°C for 30 minutes, spectrum measured 5 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra (maybe also spectrum #156?).

SGE002a
PSF 071229a.158
unsorted, slurry made with water, frozen at -13°C for 30 minutes, spectrum measured 9 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002a
PSF 071229a.159
unsorted, slurry made with water, frozen at -13°C for 30 minutes, spectrum measured 20 minutes after removal from freezer; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002a
PSF 080730a.033
unsorted slurry made with water; remeasured July 31, 2008 – sample had dried out; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.


++++++
SGE002b
PSF 071229a.166
unsorted, exposed to 100% relative humidity at 23°C for 77 minutes; spectrum measured 1 minute after removal from humidity; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002b
PSF 071229a.167
unsorted, exposed to 100% relative humidity at 23°C for 77 minutes; spectrum measured 4 minutes after removal from humidity; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SGE002b
PSF 080730a.036
unsorted, exposed to 100% relative humidity at 23°C for 77 minutes; spectrum measured 4 minutes after removal from humidity; 30°/0°;  remeasured July 31, 2008; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

+++++++
SGE101
PSF 180108b00000.asd
pure, not-impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180108 silica gels b].

SGE101a
PSF 180105a00003.asd
1N impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180105 lunar analogues].

SGE101a
PSF 180105a00005.asd
1N impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; re-packed and re-shot; ASD4 [Directory: 180105 lunar analogues].

SGE101a
PSF 180105a00008.asd
1N impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180105 lunar analogues].

+++++++

SGE105
PSF 180108b00001.asd
pure, not-impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180108 silica gels b].

SGE105a
PSF 180105a00001.asd
1N impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180105 lunar analogues].

SGE105a
PSF 180105a00004.asd
1N impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; re-packed and re-shot; ASD4 [Directory: 180105 lunar analogues].

SGE105a
PSF 180105a00007.asd
1N impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180105 lunar analogues].

+++++++
SIL001
PSF 080708.sil001
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics.

SIL001
PSF 090121a.017
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL002
PSF 080913a.055
unsorted; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD.

SIL002
PSF 090121a.018
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++

SIL003
PSF 100331a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm resampled; 1000 spectra averaged, ASD.

SIL003
PSF 100331a.002
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm resampled; 1000 spectra averaged, ASD.

+++++++

SIL004
PSF 100331a.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm resampled; 1000 spectra averaged, ASD.

SIL004
PSF 100331a.004
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm resampled; 1000 spectra averaged, ASD.

+++++++
SIL016
PSF 071229a.107
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD spectra.

SIL016
PSF 071116b.013
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

SIL016
PSF 071116b.014
<250 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD; second duplicate run. Also average of 013 and 014.
+++++++
SIL020
PSF 201023a.00003.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 avg; ASD spectra; ASD 4 [Directory: 201023 mars sample return minerals].

SIL020
PSF 201023a.00004.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 avg; ASD spectra; ASD 4 [Directory: 201023 mars sample return minerals].

+++++++

SIL100
PSF 150812a.004
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra averaged; ASD [Directory: 150812 Random clays].

+++++++
SIL101
PSF 090121a.019
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL101
PSF 090121a.020
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL102
PSF 090121a.021
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL103
PSF 090121a.022
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL103
PSF 090121a.023
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL103_25C
PSF 120529b.005
<45 μm, fresh; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120529_opals).

SIL103_120C
PSF 120530a.005
<45 μm, after heating at 120°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

SIL103_265C
PSF 120530a.013
<45 μm, after heating at 120°C for 23 hours, then at 265°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

+++++++
SIL104
PSF 090121a.024
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL104
PSF 090121a.025
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL105
PSF 090121a.026
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL105
PSF 090121a.027
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL106
PSF 090121a.028
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL106
PSF 090121a.029
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL108
PSF 090121a.031
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL108
PSF 090121a.032
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL109
PSF 090121a.033
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL109
PSF 090121a.034
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL111
PSF 090121a.035
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL111
PSF 090121a.036
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL112
PSF 090121a.037
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL112
PSF 090121a.038
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL113
PSF 090121a.039
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL113
PSF 090121a.040
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL114
PSF 090121a.041
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL114
PSF 090121a.042
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL115
PSF 090121a.043
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL115
PSF 090121a.044
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL115_25C
PSF 120529b.002
<45 μm, fresh; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120529_opals).

SIL115_120C
PSF 120530a.002
<45 μm, after heating at 120°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

SIL115_265C
PSF 120530a.010
<45 μm, after heating at 120°C for 23 hours, then at 265°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

+++++++
SIL116
PSF 090602a.049
unsorted, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

SIL116
PSF 090728a.009
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
SIL120
PSF 230714a.00001.asd
unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230714 SIL and Iris].

+++++++

SIL121
PSF 230714a.00002.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230714 SIL and Iris].

+++++++
SIL122
PSF 090121a.045
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL122
PSF 090313a.029
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

SIL122
PSF 090313a.030
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
SIL130
PSF 090602a.035
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

SIL130
PSF 090602a.036
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

+++++++
SIL131
PSF 090602a.043
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

SIL131
PSF 090602a.044
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

+++++++
SIL150
PSF 140406a.021
20-25 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406a.022
45-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406a.023
63-75 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406a.024
106-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406a.025
180-212 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SIL150
PSF 140406b.021
20-25 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406b.022
45-63 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406b.023
63-75 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406b.024
106-125 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406b.025
180-212 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SIL150
PSF 140406c.021
20-25 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406c.022
45-63 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406c.023
63-75 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406c.024
106-125 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406c.025
180-212 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SIL150
PSF 140406d.021
20-25 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406d.022
45-63 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406d.023
63-75 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406d.024
106-125 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406d.025
180-212 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SIL150
PSF 140406e.021
20-25 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406e.022
45-63 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406e.023
63-75 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406e.024
106-125 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SIL150
PSF 140406e.025
180-212 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SIL150
See section 29 for transmission spectra

+++++++

SIL152
PSF 230313b.00010.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL152
PSF 230217a00001.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
+++++

SIL153
PSF 230313b.00002.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL153
PSF 230217a00004.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
++++++

SIL154
PSF 230313b.00007.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL154
PSF 230217a00007.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
+++++

SIL155
PSF 230313b.00005.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL155
PSF 230217a00006.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
+++++

SIL156
PSF 230313b.00003.asd
fine, unsorted; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL156
PSF 230217a00009.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
++++++

SIL157
PSF 230313b.00004.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL157
PSF 230217a00002.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
+++++

SIL158
PSF 230313b.00009.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL158
PSF 230217a00003.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
+++++

SIL159
PSF 230313b.00006.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
SIL159
PSF 230217a00005.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
+++++

SIL200
PSF 080618a.004
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL200
PSF 080618a.005
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL200
PSF 080618a.006
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL200
PSF 090121a.046
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL200
PSF 090121a.047
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL201
PSF 080618a.007
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL201
PSF 080618a.008
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL201
PSF 080618a.009
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL201
PSF 090121a.048
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL201
PSF 090121a.049
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL203
PSF 080618a.010
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL203
PSF 080618a.011
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL203
PSF 080618a.012
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL203
PSF 080619a.008
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL203
PSF 080619a.009
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL203
PSF 080619a.010
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL203
PSF 090121a.050
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL203
PSF 090121a.051
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD.

SIL203
PSF 080801a.005
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).
SIL203_25C
PSF 120529b.001
<45 μm, fresh; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120529_opals).

SIL203_120C
PSF 120530a.001
<45 μm, after heating at 120°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

SIL203_265C
PSF 120530a.009
<45 μm, after heating at 120°C for 23 hours, then at 265°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

SIL203
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SIL204
PSF 080618a.013
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL204
PSF 080618a.014
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL204
PSF 080618a.015
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

+++++++

SIL206
PSF 080618a.016
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL206
PSF 080618a.017
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL206
PSF 080618a.018
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL206
PSF 090121a.052
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL206
PSF 090121a.053
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL207
PSF 080618a.019
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL207
PSF 080618a.020
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL207
PSF 080618a.021
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL207
PSF 090121a.054
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL207
PSF 090121a.055
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL208
PSF 090121a.056
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL208
PSF 090121a.057
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL209
PSF 080730a.008
unprepped surface of powdery gray material; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

SIL209
PSF 080730a.009
unprepped surface of white consolidated material; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

+++++++

SIL210
PSF 080618a.022
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL210
PSF 080618a.023
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL210
PSF 080618a.024
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

+++++++

SIL250
PSF 080730a.020
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

SIL250
PSF 080730a.021
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD; 6 minutes later.

SIL250
PSF 080730a.022
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD; 70 minutes later.

SIL250
PSF 080730a.023
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD; 73 minutes later.

+++++++

SIL251
PSF 080913a.054
unsorted; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD.

SIL251
PSF 090127a.007
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance probably wrong.

SIL251
PSF 090313a.031
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
SIL300
PSF 080618a.028
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL300
PSF 080618a.029
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL300
PSF 080618a.030
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

+++++++

SIL302
PSF 080618a.031
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL302
PSF 080618a.032
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL302
PSF 080618a.033
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL302
PSF 090121a.058
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL302
PSF 090121a.059
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL302
PSF 111201a.042
<45 μm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

SIL302
PSF 111201a.013
whole rock,  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

SIL302
INO SIL302
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 1 spectrum acquired.

+++++++
SIL303
PSF 080618a.034
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL303
PSF 090121a.060
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL303
PSF 090121a.061
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

+++++++
SIL304
PSF 080618a.035
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL304
PSF 080618a.036
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL304
PSF 080618a.037
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

+++++++

SIL305
PSF 080618a.038
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL305
PSF 080618a.039
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL305
PSF 080618a.040
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

+++++++

SIL306
PSF 080618a.041
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL306
PSF 080618a.042
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL306
PSF 080618a.043
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL306
PSF 090121a.062
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL306
PSF 090121a.063
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SIL306
PSF 100517b.009
White surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

SIL306
PSF 111201a.043
<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

SIL306
PSF 111201a.014
whole rock, i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

SIL306
INO SIL306
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

SIL306_25C
PSF 120529b.004
<45 μm, fresh; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120529_opals).

SIL306_120C
PSF 120530a.004
<45 μm, after heating at 120°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

SIL306_265C
PSF 120530a.012
<45 μm, after heating at 120°C for 23 hours, then at 265°C for 23 hours; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 120530_opals).

+++++++
SIL307
PSF 100517b.010
White powder, unsorted; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
SIL308
PSF 080618a.044
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL308
PSF 080618a.045
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL308
PSF 080618a.046
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL308
PSF 080619a.002
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; air dried for 24 hours.

SIL308
PSF 080619a.003
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot; air dried for 24 hours.

SIL308
PSF 080619a.004
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot; air dried for 24 hours.

+++++++
SIL401
PSF 090721a.001
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 averaged spectra; ASD.

+++++++

SIL402
PSF 090721a.002
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 averaged spectra; ASD.

+++++++

SIL403
PSF 090721a.003
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 averaged spectra; ASD.

+++++++
ZEO101
RELAB c1ze01
<45 µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO101
RELAB laze01
<45 µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

+++++++
ZEO102
RELAB c1ze02
<45 µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO102
RELAB laze02
<45 µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

+++++++
ZEO103
RELAB c1ze03
<45 µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO103
RELAB laze03
<45 µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

+++++++
ZEO104
RELAB c1ze04
<45 µm, 0.3-2.6µm, 30°/0°, 5 nm resolution.

ZEO104
RELAB laze04
<45 µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resolution. Merged RELAB+ Nicolet at 2.5 µm; note change in viewing geometry.

+++++++
ZEO169
PSF 130723b.017
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

ZEO169
PSF 130723b.018
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

++++++

ZEO170
PSF 140406a.006
20-25 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406a.007
45-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406a.008
63-75 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406a.009
106-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406a.010
180-212 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ZEO170
PSF 140406b.006
20-25 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406b.007
45-63 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406b.008
63-75 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406b.009
106-125 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406b.010
180-212 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ZEO170
PSF 140406c.006
20-25 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406c.007
45-63 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406c.008
63-75 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406c.009
106-125 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406c.010
180-212 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ZEO170
PSF 140406d.006
20-25 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406d.006
45-63 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406d.008
63-75 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406d.009
106-125 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406d.010
180-212 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ZEO170
PSF 140406e.006
20-25 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406e.007
45-63 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406e.008
63-75 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406e.009
106-125 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ZEO170
PSF 140406e.010
180-212 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ZEO170
See section 29 for transmission spectra

+++++++++++++++++++++++++++++++
2.11.10d. ROM/Brendt Hyde samples

a. Fracking sand

Fracking sand
PSF 140411.02
Unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: fracking sand].

Fracking sand
fracking sand.dpt
Unsorted; i=30°, e=0°; 8500-400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: Bar D].

b. Tobermorite samples (February 2015)

SU11
PSF 150209a.001
Unsorted powder (Pure “tobermorite”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150209 tobermorite].

Suolinite
PSF 150209a.002
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150209 tobermorite].

M56155+aragonite
PSF 150209a.003
Unsorted powder (“tobermorite” with minor secondary phases, likely aragonite); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150209 tobermorite].

M56155
PSF 150209a.004
Unsorted powder (Pure “tobermorite” powder); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150209 tobermorite].

+++++++++++++++++++++++++++++++++++
2.11.11.d. Opal samples from Mark Fox-Powell (University of St. Andrews)

Note: Cryogenic opals with microbes

(i) iRaman spectra: 174-4000 cm-1; ~4 cm-1 resolution; variable integration time; 5 spectra averaged; 532 nm excitation source; 50 mW source; 80 µm field of view.

COA_Blank
PSF COA-BLANK 25000 1 5 
25000 msec integration time

COA_C2
PSF COA_C2 8000 1 5

8000 msec integration time

COA_C1
PSF COA-C0 4000 1 5

4000 msec integration time

COA_R1
PSF COA_R1 8000 1 5

8000 msec integration time

COA_R2
PSF COA_R2 22000 1 5

22000 msec integration time

COA_T2
PSF COA_T2 30000 1 5 

30000 msec integration time

COA_T1
PSF COA_T1 7000 1 5 

7000 msec integration time

COA_T0
PSF COA_T0 6000 1 5

6000 msec integration time

++++++
COA M therm
PSF 003 w1.txt

20 spectra averaged

COA M therm
PSF 003 w2.txt

20 spectra averaged

COA M therm
PSF 003 w3.txt

20 spectra averaged

COA M therm
PSF 003 w4.txt

5 spectra averaged

Average of 4 spectra also done

COA R.pal [Fe]
PSF 000 o1.txt

20 spectra averaged

COA R.pal [Fe]
PSF 000 o2.txt

20 spectra averaged

COA R.pal [Fe]
PSF 000 o3.txt

20 spectra averaged

COA R.pal [Fe]
PSF 000 o4.txt

5 spectra averaged

Average of 4 spectra also done

++++++++++++++++++++++++++++++

(ii) ASD reflectance spectra: 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170328 coa].

COA_R2
PSF 170328a00001.asd

COA_T2
PSF 170328a00002.asd

COA_BLANK
PSF 170328a00003.asd

COA_C1
PSF 170328a00004.asd

COA_C2
PSF 170328a00005.asd

COA_T1
PSF 170328a00006.asd

COA_R1
PSF 170328a00007.asd

COA_T0
PSF 170328a00008.asd

++++++

COA R.pal
PSF 170603a00001.asd
COA R.pal [Fe], 18-4-17; unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 170603 opals].

COA M therm
PSF 170603a00002.asd
COA M therm, 18-4-17; unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 170603 opals].

+++++++++

(iii) Bruker Vertex 70  reflectance spectra: 1.3-25 µm; i=30°, e=0°; 8 cm-1 resolution; 2470 spectra averaged; 2 boxcar; Bruker Vertex 70 [Directory: 170220 opals].

COA_T0
PSF coa_t0.dpt

COA_T1
PSF coa_t1.dpt

COA_T2
PSF coa_t2.dpt

COA_BLANK
PSF coa_blank.dpt

COA_C1
PSF coa_c1.dpt

COA_C2
PSF coa_c2.dpt

COA_R1
PSF coa_r1.dpt

COA_R2
PSF coa_r2.dpt

++++++

COA R.pal [Fe]
PSF 001 orange.dpt
COA R.pal [Fe], 18-4-17; i=30°, e=0°; 1.5-20 µm; 6 cm-1 resolution; 3500 spectra averaged; Bruker Vertex 70 [Directory: 170601 opals].

COA M therm
PSF 002 white.dpt
COA M therm, 18-4-17; i=30°, e=0°; 1.5-20 µm; 6 cm-1 resolution; 3500 spectra averaged; Bruker Vertex 70 [Directory: 170601 opals].

+++++++++++++++++++
(iv) Bruker Vertex 70 transmission spectra; 5% sample in KBr (high concentration to look for minor organic/biogenic bands): 5000-500 cm-1; 2 cm-1 spectral resolution; 100 spectra averaged [Directory: 170727 COA transmission].

COA rpal fe
PSF coa rpla fe.dpt
unsorted grain size.
COA_BLANK
PSF coa blank.dpt 
unsorted grain size.
COA_T0
PSF coa_t0.dpt 
unsorted grain size.
COA_R1
PSF coa_r1.dpt 
unsorted grain size.
+++++++++++++++++++++++++++++++++++++++
2.11.12d. Amorphous smokes from Devin Schrader/Joe Nuth

Fe amorphous smoke
PSF 180215a00011.asd
unsorted powder (heterogeneous flakes observed); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 180215 TREX].

Mg amorphous smoke
PSF 180215a00012.asd
unsorted powder (heterogeneous flakes observed); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 180215 TREX].

SMOKEM001

PSF 180220a00001.asd
mix of 60.04 wt.% Fe amorphous smoke and 39.96 wt.% Mg amorphous smoke, mixed in vial; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 180220 smokes].

SMOKEM001

PSF 180220a00002.asd
mix of 60.04 wt.% Fe amorphous smoke and 39.96 wt.% Mg amorphous smoke, mixed in vial; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; reshoot; ASD4 [Directory: 180220 smokes].

Fe amorphous smoke
PSF 180221a00011.asd
unsorted powder (heterogeneous flakes observed); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; reshoot; ASD4 [Directory: 180215 TREX].

++++++++++++++++++++++++++++++++++++++++++++++++

iRaman 532 nm Raman spectra: 174-4002 cm-1 wavelength range; ~4 cm-1 spectral resolution.

SIL001
PSF 210122_001_532_SIL001_spot1.txtr
unsorted powder; 2500 msec integration time; 125 spectra averaged; [Directory: 210122 LunaR raman].

SIL001
PSF 210122_002_532_SIL001_spot2.txtr
unsorted powder; 2500 msec integration time; 125 spectra averaged; [Directory: 210122 LunaR raman].

SIL001
PSF 210122_003_532_SIL001_spot3.txtr
unsorted powder; 2500 msec integration time; 125 spectra averaged; [Directory: 210122 LunaR raman].

++++++
SIL003
PSF 210122_009_532_SIL003_spot1.txtr
n/a grain size; 25000 msec integration time; 12 spectra averaged; [Directory: 210122 LunaR raman].

SIL003
PSF 210122_010_532_SIL003_spot2.txtr
<45 µm powder; 25000 msec integration time; 12 spectra averaged; [Directory: 210122 LunaR raman].

SIL003
PSF 210122_011_532_SIL003_spot1.txtr
n/a/ grain size; 25000 msec integration time; 12 spectra averaged; [Directory: 210122 LunaR raman].

+++++

SIL102
PSF 210127_001_532_SIL102_spot1.txtr
<45 µm powder; 60000 msec integration time; 10 spectra averaged; [Directory: 210128 LunaR raman].

SIL102
PSF 210127_002_532_SIL102_spot2.txtr
<45 µm powder; 60000 msec integration time; 10 spectra averaged; [Directory: 210128 LunaR raman].

SIL102
PSF 210127_003_532_SIL102_spot3.txtr
<45 µm powder; 60000 msec integration time; 10 spectra averaged; [Directory: 210128 LunaR raman].

SIL102
PSF 210203_005_532_SIL102_spot1.txtr
<45 µm powder; 1,000 msec integration time; 600 spectra averaged; [Directory: 210203 LunaR raman].

+++++

SIL114
PSF 210127_004_532_SIL114_spot1.txtr
<45 µm powder; 10000 msec integration time; 30 spectra averaged; [Directory: 210127 LunaR raman].

SIL114
PSF 210127_005_532_SIL114_spot2.txtr
<45 µm powder; 10000 msec integration time; 30 spectra averaged; [Directory: 210127 LunaR raman].

SIL114
PSF 210127_006_532_SIL114_spot3.txtr
<45 µm powder; 10000 msec integration time; 30 spectra averaged; [Directory: 210127 LunaR raman].

+++++++++++++++++++++++++++++++++++++++++++
2.11.13.d. Mg silicate cement from Andreas Beinlich (Oct. 2021)
NOR001
PSF 211209a.00014.asd
<1000 µm powder; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211209 Atlin etc.].

NOR001
PSF 211209a.00015.asd
whole rock, flat surface; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211209 Atlin etc.].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 2.11.

 3. Clays (Phyllosilicates)
3a. Sample Descriptions - Clays
[FORMAT: Sample #, type, locality,  association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description







ALL001
Allophane: Inspiration, Gila County, Arizona, USA; in chrysocolla and rock (no formula - an amorphous hydrous aluminum silicate; Al2SiO5·nH2O)  [an initial alteration product in igneous rock weathering and in palagonites] (Minerals Unlimited) (description: blue masses with chrysocolla, etc.).
ANN001
Annite: Katugia River, Siberia, Russia; 2 small thin sub-cm fragments [KFe32+AlSi3O10(OH)2] (Minerals Unlimited – April 2019).
BEI101
Beidellite: near Cameron, Coconico County, Arizona, USA ((Na,Ca0.5)0.3Al2(Si,Al)4O10(OH)2 · nH2O) (a smectite group mineral) (Minerals Unlimited) [an initial alteration product in igneous rock weathering and in palagonites](description: pure dark gray massive clay).

BEI102
Beidellite: Idaho, USA. Clay Minerals Society Source Clays Repository #SBId-1 ((Na,Ca0.5)0.3Al2(Si,Al)4O10(OH)2 · nH2O) (50 grams; received March 2008).

BER101
Berthierine: Picton Ultramafic Dike, Picton, Ontario, Canada (Smithsonian NMNH #163358). [(Fe+2,Fe+3,Mg)2-3(Si,Al)2O5(OH)4; kaolinite-serpentine group]. (in carbonaceous chondrites: see Akai). (Estimated purity of ground sample: 95%).

BER102
Berthierine: France (Smithsonian NMNH #93555). [(Fe+2,Fe+3,Mg)2-3(Si,Al)2O5(OH)4; kaolinite-serpentine group]. (in carbonaceous chondrites: see Akai). (Estimated purity of ground sample: 98%).

CEL101
Celadonite: Mt. Baldo, near Verona, Veneto, Italy (K(Mg,Fe2+)(Fe3+,Al)Si4O10(OH)2) (Smithsonian Institution NMNH #R4733) (basaltic alteration product?) (mica group).

CEL102
Celadonite: Wadsworth, Washoe County, Nevada, USA; in basalt (K(Mg,Fe2+)(Fe3+,Al)Si4O10(OH)2) (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

CHM101
Chamosite: Bardo Wroclaw, Poland (Smithsonian NMNH #R4568). [(Fe+2,Mg,Fe+3)5Al(Si3Al)O10(OH,O)8] (=septachlorite; series with clinochlore, chlorite group) (in carbonaceous chondrites: see Bunch and Chang). (Estimated purity of ground sample: 98%).

CHM102
Chamosite: Chamois, France (Smithsonian NMNH #R4558). [(Fe+2,Mg,Fe+3)5Al(Si3Al)O10(OH,O)8] (=septachlorite; series with clinochlore, chlorite group) (in carbonaceous chondrites: see Bunch and Chang). (Estimated purity of ground sample: 98%).



CHM103
Chamosite: Bonita, San Diego County, California; in chert, with pyrite (Minerals Unlimited) [(Fe+2,Mg,Fe+3)5Al(Si3Al)O10(OH,O)8] (=septachlorite; series with clinochlore, chlorite group) (in carbonaceous chondrites: see Bunch and Chang). (Estimated purity of ground sample: 50%; intimately mixed with chert; chert separate also made).

CHY101
Chrysocolla: Inspiration, Gila County, Arizona, USA ((Cu+2,Al)2H2Si2O5(OH)4·nH2O) (Minerals Unlimited) (for pigments project).

CHY102
Chrysocolla: Gila County, Arizona, USA ((Cu+2,Al)2H2Si2O5(OH)4·nH2O) (Smithsonian Institution NMNH #87288) (for pigments project).

CHY103
Chrysocolla: Copper Queen Mine, Bisbee, Cochise County, Arizona, USA ((Cu+2,Al)2H2Si2O5(OH)4·nH2O) (Smithsonian Institution MNMH #104956) (for pigments project).

CLA001
Clay +?: (ironstone): Whitemud Creek area, Edmonton, Alberta, Canada (self collected). 

CLA002
Clay +?: (bentonite?):  Whitemud Creek area, Edmonton, Alberta, Canada (self collected).
CLA003
Clay/shale: Pembina Valley Provincial Park, “Shale Slide” area, Manitoba, Canada (self-collected, May 2005).

CLA004
Clay/shale: Pembina Valley Provincial Park, “Shale Slide” area, Manitoba, Canada (self-collected, August 19, 2007).

CLA005
Clay/shale: Pembina Valley Provincial Park, base of creek draining into Pembina River near Sunrise Point, Manitoba, Canada (self-collected, August 19, 2007).
CLA006
Clay: borings for new UW residence behind Buhler Centre; March 30, 2015. Depth unknown. Likely Lake Agassiz lacustrine clays; Winnipeg, MB, Canada (self-collected).

CLA007
Clay from excavation of sub-basement – 140 Kitson St., Winnipeg, MB, Canada (2015); collected by P. Mann.

CLA008
Pottery clay (1); beige, wet; from Lorna McLarty (March 2020).

CLA009
Pottery clay (2): dark brown, fairly dry; from Lorna McLarty (March 2020).

CLA010
Pottery clay (3); medium gray, moist; from Lorna McLarty (March 2020).

CLA011
Pottery clay (4): light gray, moist; from Lorna McLarty (March 2020).

CLA012
Light gray shale – summit of Baldy Mountain, Riding Mountain National Park, MB, Canada (collected August 2020).

CLA013
Medium gray shale – halfway to summit of Baldy Mountain, Riding Mountain National Park, MB, Canada (collected August 2020).

CLA014
Clay – from 25 metres below Wesley Hall, University of Winnipeg; light and dark clay (Nov. 2013).

CLA015
Clay: black shale, fissile – from base of outcrop on Snow Valley Road, between Roseisle and St. Lupicin, near Leary Brock Works (Aug. 18, 2024).

CLI101
Clinochlore (chlorite): near Murphys, Calaveras County, California, USA (Mg,Fe+2)5Al(Si3Al)O10(OH)8) (Minerals Unlimited) (for pigments project).

CLI102
Clinochlore (chlorite): Cornwall, Pennsylvania, USA (Mg,Fe+2)5Al(Si3Al)O10(OH)8) (Smithsonian Institution MNMH #R14987) (for pigments project).

CLI103
Clinochlore (chlorite): Lane Quarry, Westfield, Massachusetts, USA (Mg,Fe+2)5Al(Si3Al)O10(OH)8) (Smithsonian Institution MNMH #106730) (for pigments project).

COO001
Cookeite: Arkansas, USA. Clay Minerals Society Source Clays Repository #CAr-1 [LiAl4(Si3Al)O10(OH)8] (10 grams; received March 2008).

CRO101
Cronstedtite: 411 level, Llallagua, Bolivia (on hisingerite) (Smithsonian NMNH #193910). [Fe+22 Fe+3(SiFe+3)O5(OH)4] (kaolinite-serpentine group) (in carbonaceous chondrites: see Bunch and Chang). (Estimated purity of ground sample: 95%).

CRO102
Cronstedtite: Herja, Crisana-Maramures, Romania (Smithsonian NMNH #R7807-4). [Fe+22 Fe+3(SiFe+3)O5(OH)4] (kaolinite-serpentine group) (in carbonaceous chondrites: see Bunch and Chang). (Estimated purity of ground sample: 98%).
DIC001
Dickite: Northern Korea [Minerals Unlimited; Feb. 2023; 1 piece].
GLA101
Glauconite: locality unknown (University of Alberta GEOL330 laboratory collection #8/5/11); [(K,Na)(Fe3+,Al,Mg)2(Si,Al)4O10(OH)2]. 

GLA102
Glauconite: Beers Mine, Monmouth County, New Jersey (Minerals Unlimited); [(K,Na)(Fe3+,Al,Mg)2(Si,Al)4O10(OH)2]. 

GLA103
Glauconite: Villers-sur-Mer, Calvados, France (Smithsonian NMNH #46447). [(K,Na)(Fe+3,Al,Mg)2(Si,Al)4O10(OH)2]. (Estimated purity of ground sample: 98%).

GLA104
Glauconite: Bighorn Mountain, Wyoming (8000 feet), Wyoming (Smithsonian NMNH #97839). [(K,Na)(Fe+3,Al,Mg)2(Si,Al)4O10(OH)2]. (Estimated purity of ground sample: 98%).

GRE001
Greenalite: La Union, Murcia, Spain. Smithsonian Institution NMNH #158902. Received May 25, 2006. [(Fe2+,Fe3+)2-3Si2O5(OH)4] Present in carbonaceous chondrites? [kaolinite-serpentine group].
GRE002
Greenalite: Rock dump, Soudan Mine, Soudan, Minnesota, USA. Smithsonian Institution NMNH #123826. Received May 25, 2006. [(Fe2+,Fe3+)2-3Si2O5(OH)4]. Present in carbonaceous chondrites? [kaolinite-serpentine group].
GYR001
Gyrolite: Monument, Grant County, Oregon, USA (NaCa16(Si23Al)O60(OH)5 · 15H2O) [with analcime, on basalt [BAS306]; (crystal aggregates in vugs in basalt)] (Minerals Unlimited) (a known alteration product of basalts - see NSERC grant review).

GYR002
Gyrolite: Fort Point, San Francisco County, California, USA (NaCa16(Si23Al)O60(OH)5 · 15H2O) [on serpentine; (white spherulitic films on serpentine SRP117] (Minerals Unlimited) (a known alteration product of basalts - see NSERC grant review). 6 large pieces received December 2018.
HAL001
Halloysite: Tintic District, Utah, USA (Al2Si2O5(OH)4) [member of kaolinite-serpentine group; initial alteration product in igneous rock weathering and in palagonites] (Minerals Unlimited) (description: white masses). Multiple pieces received Dec. 2013. One more piece received Feb. 2023.
HAL002
Halloysite, var. Indianite; Bedford, Lawrence Co., Indiana, USA [Minerals Unlimited Feb. 2023].
HEC101
Hectorite: Hector, San Bernardino Co., CA, USA [Na0.3(Mg,Li)3Si4O10(F,OH)2] (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

HEC102
Hectorite: San Bernardino Co., CA, USA. [Na0.3(Mg,Li)3Si4O10(F,OH)2]. Clay Minerals Society Source Clays Repository #SHCa-1 (250 grams; received March 2008).

HIS001
Hisingerite: New Pit, Boron, Kern County, California, USA (Fe23+ Si2 O5 (OH)4 · 2H2 O); on basalt (BAS307).  [Initial alteration product in igneous rock weathering and in palagonites] (Minerals Unlimited) (Description: black coatings on rock).

IDD001
Iddingsite: Amboy, San Bernardino County, California, USA [pseudomorphs after olivine] (Minerals Unlimited) (an olivine alteration product).

ILL101
Illite (green shale): Rochester, NY [K1-1.5Al4(Si7-6.5Al1-1.5O20)(OH)4] (Ward's #46 E 0315).

ILL102
Illite: Silver Hill, Montana (Cambrian shale) [K1-1.5Al4(Si7-6.5Al1-1.5O20)(OH)4] (Source Clay Mineral Repository #IMt-2).

ILS103
Illite-smectite mixed layer (70:30 ordered), Slovakia [K1-1.5Al4(Si7-6.5Al1-1.5O20)(OH)4]  (Source Clay Mineral Repository #ISCz-1)b (50 grams received Feb. 20/12).

ILS104
Illite-smectite mixed layer (60:40 ordered), Mancos Shale Ord. [K1-1.5Al4(Si7-6.5Al1-1.5O20)(OH)4] (Source Clay Minerals Repository #ISMt-2).

ILL105
Illite – Cambrian shale: Silver Hill, MT, USA. Clay Minerals Society Source Clays Repository #IMt-1 (50 grams; received March 2008) (50 grams received Feb. 20/12)..

KAO101
Kaolinite: locality unknown [Al4 (Si4O10)(OH)8] (University of Alberta GEOL330 laboratory collection Drawer 23, ascension 13), not analysed. KAO101-5A: surficial part of sample after exposure in Mars box run #5. KAO101-5B: subsurface part of sample after exposure in Mars box run #5.
KAO102
Kaolinite (china clay): Edgar, Florida [Al4 (Si4O10)(OH)8] (Ward's # 46 E 0995).

KAO103
Kaolinite (well ordered), Washington County, Georgia, USA  [Al4 (Si4O10)(OH)8] (Source Clay Minerals Repository #KGa-1b) (came as <45µm powder). (125 grams received Feb. 20/12).
KAO104
Kaolinite (poorly ordered), Warren County, Georgia, USA [Al4 (Si4O10)(OH)8] (Source Clay Minerals Repository #KGA-2) (came as <45µm size powder). (125 grams received Feb. 20/12; additional 500 grams received Dec. 16, 2013).
LAP001
Laponite – synthetic: Southern Clay Products Inc. Clay Minerals Society Source Clays Repository #SYnL-1 [colloidal synthetic layered silicate-Na,Mg,Li] {[Na+0.7[(Si8Mg5.5Li0.3)O20(OH)4]-0.7} (50 grams; received March 2008).

LEP101
Lepidomelane (var. of biotite): Ary, Langesundfjord, Norway [K(Mg,Fe2+)3(Al,Fe3+)Si3O10(OH,F)2] (Minerals Unlimited), with pyroxenes PYX125 (hiortdahlite) and PYX172. (Estimated purity of ground sample: 95%).

LPD101
Lepidolite (lithium phyllosilicates); [K(Li,Al)3(Si,Al)4O10(F,OH)2] desk set; MB, Canada (2011).

MIC001
Mica: Old Mica Mine, near Saluda, Saluda County, South Carolina, USA; with ilmenite (ILM103), and hematite (too minor to separate) (Minerals Unlimited; received April 5/05).

MIC001
Mica: locality unknown (Mineral Society of Manitoba); 2 specimens. {Needs renumbering].

MIC002
Lepidolite: Tanco Mine, Manitoba, Canada (Mineral Society of Manitoba); 3 specimens.

MIC003
Lepidolite: locality unknown [Western Woods Inc., Tucson 2011 show].

MIC004
Biotite mica: Cardiff Twp., ON, Canada [John Medici, Tucson 2011 show].

MIC005
Phengite, var. virginite (Cr-rich phengite mica); Newfoundland, Canada [Winnipeg Rock and Mineral club purchase, May 2011].

MIN001
Minnesotaite: near Merritt Mine, Guyana Range, Minnesota, USA. Smithsonian Institution NMNH #105491. Received May 25, 2006.

MIN002
Minnesotaite: Blue Bell Mine, Riondell, British Columbia, Canada; with knebelite. [(Fe,Mg)3Si4O10(OH)2]. Smithsonian Institution NMNH #138281. Received May 25, 2006. Present in carbonaceous chondrites?
MIN003
Minnesotaite: Breen Mine, Waucadah, Michigan, USA. [(Fe,Mg)3Si4O10(OH)2]. Smithsonian Institution NMNH #169163. Received May 26, 2006. Present in carbonaceous chondrites?
MON101
Montmorillonite: [Na-Ca montmorillonite (beidellite)] 49 E 5107 Cameron, Arizona (Ward's) [API #31] [(½Ca,Na)0.7(Al,Mg,Fe)4((Si,Al)8O20)(OH)4·nH2O)]. MON101-5A: surficial part of sample after exposure in Mars box run #5. MON101-5B: subsurface part of sample after exposure in Mars box run #5.

MON102
Montmorillonite: [powdered bentonite] Clay Spur, Wyoming, Ward's catalogue number 46 E 0435 [(½Ca,Na)0.7(Al,Mg,Fe)4((Si,Al)8O20)(OH)4·nH2O)].

MON103
Montmorillonite (bentonite): Bentonite Spur, Wyoming, USA [(½Ca,Na)0.7(Al,Mg,Fe)4((Si,Al)8O20)(OH)4·nH2O) (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

MON104
Montmorillonite – Ca-rich: Apache Co., AZ, USA. [(½Ca,Na)0.7(Al,Mg,Fe)4((Si,Al)8O20)(OH)4·nH2O). Clay Minerals Society Source Clays Repository #SAz-2 (50 grams; received March 2008; additional 250 grams received Dec. 16, 2013).

MON105
Montmorillonite: Otay, San Diego Co., CA, USA. [(½Ca,Na)0.7(Al,Mg,Fe)4((Si,Al)8O20)(OH)4·nH2O). Clay Minerals Society Source Clays Repository #SCa-3 (50 grams; received March 2008) (50 grams received Feb. 20/12).
MON106
Montmorillonite: Gonzales Co., TX, USA. [(½Ca,Na)0.7(Al,Mg,Fe)4((Si,Al)8O20)(OH)4·nH2O). Clay Minerals Society Source Clays Repository #STx-1b (250 grams; received March 2008) (250 grams received Feb. 20/12).
MON107
Montmorillonite – Na-rich: Crook Co., WY, USA. Clay Minerals Society Source Clays Repository #SWy-2 (250 grams; received March 2008) (250 grams received Feb. 20/12).
MON108
Ca-montmorillonite (bentonite); Amargosa Valley, CA-NV, USA (from IMV Minerals (Lhoist North America); ~1 kg, fine white powder (received June 29, 2015; Dave Rachford - IMV).
NEO101
Neotocite: Itsutanda Mine, Ibuka-Cho, Minokamo-shi, Gifu-Ken, Honshu, Japan. [(Mn2+,Fe2+)SiO3·H2O(?)] (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

NEO102
Neotocite: Ittanda Mine, Minokamo-si, Gifu Prefecture, Japan [(Mn2+,Fe2+)SiO3·H2O(?)] [Alfredo Petrov, Tucson 2011 show].
NON101
Nontronite: Allentown, Lehigh County, Pennsylvania, USA [Na0.3Fe23+(Si,Al)4O10(OH)2·nH2O] (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

NON102
Nontronite: Hohen Hagen, Germany. [Na0.3Fe23+(Si,Al)4O10(OH)2·nH2O]. Clay Minerals Society Source Clays Repository #NG-1 (10 grams; received March 2008).

NON103
Nontronite – brown: Uley Mine, South Australia, Australia. [Na0.3Fe23+(Si,Al)4O10(OH)2·nH2O].  Clay Minerals Society Source Clays Repository #NAu-2 (50 grams; received March 2008) (100 grams received Feb. 20/12; additional 250 grams received Dec. 16, 2013).
NON104
Nontronite – green: Uley Mine, South Australia, Australia. [Na0.3Fe23+(Si,Al)4O10(OH)2·nH2O].  Clay Minerals Society Source Clays Repository #NAu-1 (50 grams; received March 2008) (100 grams received Feb. 20/12)
NON105
Nontronite (ferruginous smectite). Collected from type locality (road cut) for Source Clay Minerals Repository sample SWa-1 (Grant County, WA, USA). Self-collected from type locality, June 2016.
PHL101
Phlogopite: Huddersfield Township, Quebec, Canada [KMg3Si3AlO10(F,OH)2] (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

PIG006
See TAL102. (Synthetic talc); See section 19 of this document for data.
PIG315
Cold green earth - glauconite (catalogue no. 420-30S). 100 grams. (green/blue group). See section 19 of this document for data.
PIG316
Celadonite - green earth (catalogue no. 420-26S). 100 grams. (green/blue group). See section 19 of this document for data.
PIG317
Nicosia green earth - glauconite (catalogue no. 421-31S). 2 jars of 100 grams, 1 in Historical Pigment Set. (green/blue group). See section 19 of this document for data.
PIG318
Dioptase, fine grade (catalogue no. 420-10S). 10 grams. (green/blue group). See section 19 of this document for data.
PIG325
Glauconite (catalogue no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (green/blue group). See section 19 of this document for data.
PLY101
Palygorskite (aka atapulgite): “Mountain leather”: Pend Oreille Mine, Metaline Falls, Pend Oreille County, Washington, USA [(Mg,Al)2Si4O10(OH)·4H2O] (Minerals Unlimited; received Sept. 2002; 3-1" pieces).

PLY102
Palygorskite: Gadsen Co., FL, USA. [(Mg,Al)2Si4O10(OH)·4H2O]. Clay Minerals Society Source Clays Repository #PFl-1 (125 grams; received March 2008) (125 grams received Feb. 20/12).
REC001
Rectorite: Garland Co., Arkansas, USA. [a 1:1 interstratified dioctahedral mica and dioctahedral smectite]. (Na,Ca)Al4(Si,Al)8O20(OH)4•2(H2O) Clay Minerals Society Source Clays Repository #RAr-1 (50 grams; received March 2008).

RIP001
Ripidolite: El Dorado Co., CA, USA. [ferroan clinochlore: (Mg,Fe+2)5Al(Si3Al)O10(OH)8)]. Clay Minerals Society Source Clays Repository #CCa-2 (50 grams; received March 2008).

SAP101
Saponite: Menzenberg, N. Honnef, Rheinish Prussia, Germany (Smithsonian NMNH #C3810). [(Ca/2,Na)0.3(Mg,Fe+2)3(Si,Al)4O10(OH)2·4H2O] (smectite group). May be in carbonaceous chondrites: see Akai article. (Estimated purity of ground sample: 98%).

SAP102
Saponite: Ballaray (Ballarat?), California (Smithsonian NMNH #170279). [(Ca/2,Na)0.3(Mg,Fe+2)3(Si,Al)4O10(OH)2·4H2O] (smectite group). May be in carbonaceous chondrites: see Akai article. (Estimated purity of ground sample: 99%).

SAP103
Saponite, variety griffithite (ferroan saponite): Griffith Park, Los Angeles County, California (Minerals Unlimited); [(Ca/2,Na)0.3(Mg,Fe+2)3(Si,Al)4O10(OH)2·4H2O] (smectite group). May be in carbonaceous chondrites: see Akai article. (Estimated purity of ground sample: 98%). More received Jan. 2017.
SAP104
Saponite, synthetic. Clay Science Society of Japan, Reference Clay Minerals Committee, sample JCSS-3501 (Kunimine); 34 nm median particle diameter (https://pubs.acs.org/doi/pdf/10.1021/acsearthspacechem.6b00006);  200 grams. Received June 2015 (fine-grained white powder). Formula given as: Na0.71(Mg5.93Al0.07)(Si7.22Al0.78)O20(OH)4.
SAP105
Saponite; Amargosa Valley, CA-NV, USA (from IMV Minerals (Lhoist North America)); trade name: Imvite; ~1 kg, fine beige powder (received June 29, 2015; Dave Rachford - IMV).

SAP105b
saponite washed with concentrated HCl

SAP105c
saponite washed with de-ionized water.

SAP105-HCl
Saponite (SAP105) treated with deionized water and HCl: resultant precipitates HCL001, 002, 003, 004 (see below).
SEP101
Sepiolite: Miller Quarry, Santa Cruz, Santa Cruz County, California, USA [Mg4Si6O15(OH)2·6H2O]. (Minerals Unlimited; received Sept. 2002).

SEP102
Sepiolite: Valdemore, Spain. [Mg4Si6O15(OH)2·6H2O]. Clay Minerals Society Source Clays Repository #SepSp-1 (50 grams; received March 2008).

SEP103
Sepiolite; Amargosa Valley, CA-NV, USA (from IMV Minerals (Lhoist North America)); ~1 kg, fine off-white powder (received June 29, 2015; Dave Rachford - IMV).
SRP101
Serpentine: Feather River Canyon, Plumas County, California (Minerals Unlimited) {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (kaolinite-serpentine group). May be in carbonaceous chondrites: see Akai article. (Estimated purity of ground sample: 98%).

SRP102
Serpentine, var. Garnierite (Ni serpentine): Nickel Mountain, near Riddle, Douglas County, Oregon (Minerals Unlimited) {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (kaolinite-serpentine group). May be in carbonaceous chondrites: see Akai article. (Estimated purity of ground sample: 90%).

SRP103
Asbestos: Asbestos, Quebec (Cowan Mineral Co.). [formerly ASB101; see SRP104]. {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (kaolinite-serpentine group). May be in carbonaceous chondrites: see Akai article. Probably same as SRP104, combined with it.

SRP104
Serpentine: Johns-Manville Co., Asbestos, Quebec, Canada (Smithsonian NMNH #152246). {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (kaolinite-serpentine group). May be in carbonaceous chondrites: see Akai article. Combined with old SRP103. (Estimated purity of ground sample: 98%).

SRP105
Serpentine: Quebec, Canada (Smithsonian NMNH #147697). {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (kaolinite-serpentine group). May be in carbonaceous chondrites: see Akai article. (Estimated purity of ground sample: 99%).

SRP106
Serpentinite: Sand Dollar Beach, coast of southern Monterey Co., CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number SDB-1).

SRP107
Serpentinite:  Sand Dollar Beach, coast of southern Monterey Co., CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number SDB-2).

SRP108
Serpentinite: Sand Dollar Beach, coast of southern Monterey Co., CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number SDB-3).

SRP109
Serpentinite: Jade Cove, 2 miles south of Sand Dollar Beach, coast of southern Monterey Co., CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number JC-1).

SRP110
Serpentinite: Clear Creek (New Idria), New Idria serpentinite body at Clear Creek, near King City, CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number CC-1).

SRP111
Serpentinite: Clear Creek (New Idria), New Idria serpentinite body at Clear Creek, near King City, CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number CC-2).

SRP112
Serpentinite: Cuesta Ridge, near San Luis Obispo, CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number CR-1).

SRP113
Serpentinite: Cuesta Ridge, near San Luis Obispo, CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number CR-2).

SRP114
Serpentinite: Cuesta Ridge, near San Luis Obispo, CA, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number CR-3).

SRP115
Serpentinite: Quarry of the Vermont Marble Company, near Proctor, VT, USA {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni} (from Linda Reinen; Pomona College; her sample number VM-14).

SRP116
Serpentinite: Malenco serpentinite body at Franscia, Italy {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (from Linda Reinen; Pomona College; her sample number MG87-8-12).

SRP117
Serpentine: Fort Point, San Francisco Co., CA, USA [with gyrolite (GYR002) (white spherulitic films)] {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (Minerals Unlimited). 6 large pieces received December 2018.
SRP118
Serpentine Dallas Gem Mine, San Benito Co., CA, USA; with coalingite (CRB203) {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (Minerals Unlimited). {Bronze coloured coatings on serpentine}.

SRP119
Serpentine: Mistake Mine, Fresno Co., CA, USA; with artinite (CRB312) {[A3Si2O5(OH)4]; A = Mg, Fe+2, Ni}. (Minerals Unlimited).

SRP120
Serpentinite: locality: Mt. Genevre Massif, France; ROM ID#W68-35 (received from Royal Ontario Museum Dec. 2012).
SRP121
Serpentinite: locality: Mt. Genevre Massif, France; ROM ID#W68-55 (received from Royal Ontario Museum Dec. 2012).

SRP122
Serpentinite: locality: Marbridge, Quebec, Canada ROM ID#W71-99 (received from Royal Ontario Museum Dec. 2012).

SRP123
Serpentinite: locality: Normandie, Quebec, Canada; ROM ID#N-104-A (received from Royal Ontario Museum Dec. 2012).
SRP124
near the Dallas Gem Mine, San Benito County, California, USA (with magnetite (MAG107):) (Minerals Unlimited; more received June 2013). [poorly polished, no usable probe results]. Large lot received December 2018.

STE101
Stevensite: saponite-group clay mineral; <2 µm fraction [ideal formula: (Ca0.5,Na)0.33(Mg,Fe++)3Si4O10(OH)2•n(H2O). From Nick Tosca – July, 2022. His sample ID 5127.70.

STE102
Stevensite: saponite-group clay mineral; <2 µm fraction [ideal formula: (Ca0.5,Na)0.33(Mg,Fe++)3Si4O10(OH)2•n(H2O). From Nick Tosca – July 2022. His sample ID 5128.40.

TAL101
Talc: Esmeralda County, NV, USA (Mg3Si4O10(OH)2) (Minerals Unlimited) (for pigments project)
TAL102
Talc: 3MgO·4SiO2·H2O. Aldrich: 42,043-3: 25 grams. Synthetic? Also labelled as PIG006.
TOC101
Tochilinite: Jeffrey Mine, Asbestos, Shiton Township, Quebec, Canada (Smithsonian NMNH #148696). [6Fe0.9S·5(Mg,Fe+2)(OH)2]. May be in carbonaceous chondrites: see MacKinnon & Zolensky in Akai & Kanno article (also filed under sulphates and sulphides).

Tochilinite
Spectrum (not sample) from RELAB archive.

VER101
Vermiculite: Rutherford Quarry, near Tuxedo, North Carolina (Smithsonian NMNH #C5284). [(Mg,Fe+2,Al)3(Al,Si)4O10(OH)2·4H2O] (a group of minerals of this formula) (Estimated purity of ground sample: 98%).

VER102
Vermiculite: Brinton's Quarry, Westchester, Pennsylvania (Smithsonian NMNH #95036-1) [(Mg,Fe+2,Al)3(Al,Si)4O10(OH)2·4H2O] (a group of minerals of this formula) (Estimated purity of ground sample: 96%).

VER103
Vermiculite: Vermiculite Hill, near Libby, Lincoln County, Montana (Minerals Unlimited) [(Mg,Fe+2,Al)3(Al,Si)4O10(OH)2·4H2O] (a group of minerals of this formula) (Estimated purity of ground sample: 96%). A few pieces received Dec. 2013.
VER104
Vermiculite (heated) – packaging material from some shipment.
VER105
Vermiculite: Gravelotte, North Transvaal, South Africa (Minerals Unlimited). [(Mg,Fe+2,Al)3(Al,Si)4O10(OH)2·4H2O] (a group of minerals of this formula). Some small tabular pieces received Dec. 2013.

VER106
Vermiculite: Riverside, WY, USA; Amazon American Educational Products; pack of 10. 1 pack received January 9, 2014; 3 more packs received Jan. 14, 2014.
NOTE: samples in very small vials are the remains after baking at 950°C for 1 to 1-1/2 hours for loss on ignition determinations. Labelled as “Bk-S” (baked by Stan Mertzman).

+++++++++++++++++++++++++++++++++++
3.1.a. Sample Descriptions- Clays: Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	FlintClay
	 
	*97b (National Bureau of Standards)

	Kaolin
	 
	GBW 03121 (NCS DC60122)

	RedClay
	 
	*CRM 5372-90 (ASSO)

	Shale
	 
	*Sco-1 (United States Geological Survey)

	Serpentinite
	 
	SARM 47

	Talc
	 
	BCS 203a

	hand sample1
	**Talc
	ActLabs

	hand sample54
	**Kaolinite
	ActLabs


++++++++++++++++++++++++++++++++++++++++++++++++++
3.2a. Sample Descriptions - Clays - Samples from Richard Leveille (May 2012) for kerolite spectral study
WC-01; <2 μm, Na-sat.
Kerolite, <2 μm, Na-saturated
WC-09; <2 μm, Na-sat.
Kerolite, <2 μm, Na-saturated
Sepiolite (NM)


No number, plundered from WUSTL.
BCS-RM #203A


Talc reference standard.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

3.3.a. Intercalated clays
Made in-house Jan-Feb, 2017 to produce various ammoniated intercalated clays.

ASB003nh4n
Serpentine, cation exchanged; unwashed after treatment.

ASB003nh4w
Serpentine, cation exchanged; washed after treatment (t remove excess NH4).

ASB267nh4n
Serpentine, cation exchanged; unwashed after treatment.

ASB267nh4w
Serpentine, cation exchanged; washed after treatment (t remove excess NH4).

MON108nh4n
Montmorillonite, cation exchanged; unwashed after treatment.

MON108nh4w
Montmorillonite, cation exchanged; washed after treatment (t remove excess NH4).

SAP104nh4n
Saponite, cation exchanged; unwashed after treatment.

SAP104nh4w
Saponite, cation exchanged; washed after treatment (t remove excess NH4).

SAP105nh4n
Saponite, cation exchanged; unwashed after treatment.

SAP105nh4w
Saponite, cation exchanged; washed after treatment (t remove excess NH4).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

3.4.a. NH4-treated clays from Max Planck Institute (Nathues, Thangjam, Mengel) – March 2019

Accompanying notes:

· Charging liquid: 385 g CH3COONH4/L  (4.8 molar ammonium acetate in water)

· Reaction time: 48 h

· 3 times washed for 1.5 h

· Evaporation to dryness: 125h bei 35°C

1
KM002
B-XR


Bentonite: Na-rich bentonite, Bavaria (Clariant GmBH)

2
KM004
T1X


Na-rich bentonite, Bavaria (Clariant GmBH)

3
KM003
STx-1b


Montmorillonite, Texas (Clay Miner. Soc.)

4
KM005
SWy-2


Na-montmorillonite, Wyoming (Clay Miner. Soc.)

7
KM001
Nontronite. Passau, Bavaria (PA1)
Nontronite with quartz, Kropfmuhl-Untergriesbach. Mineral Collection TU Clausthal.

Note from Kurt Mengel – March 21, 2019: The sheet silicates consists of NH4-saturated montmorillonite and nontronite – excess ammonium has been wash out before drying and the remaining NH4-content of about 1.7 to 1.8 wt.-% represents the equilibrium saturation. Both smectites contain some fine grained quartz and accessory calcite.

Mystery vial: possibly olivine <250 µm? – sent by accident.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

3.5.a. Saponite (SAP105) treated with HCl and deionized water to remove dolomite and halite (SAP105-HCl) – January 2020

HCL001
Precipitate air-dried (yellow)

HCL002
Heated HCL001 (beige)

HCL003
Boiled off HCL002 (faint purplish brown)

HCL004
Left in air over the weekend – hydrated and puffed up

+++++

Water-washed to remove halite (not successful; Feb. 2020)- same phases present in washed and unwashed:

SAP105b
saponite washed with concentrated HCl
SAP105c
saponite washed with de-ionized water.

SAP105C
Dolomite; halite; orthoclase; keatite.
SAP105 – white crust on surface after drying: dolomite; halite

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

3.6a. Samples from Nick Tosca/Adrian Brown for spectroscopy – August 2022

5128.4
<2 micron fraction; stevensite + minor kerolite (by external XRD).

5127.7
<2 micron fraction; kerolite + minor stevensite (by external XRD).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
3b. XRD Data - Clays
A number of the samples were measured by XRD at the University of Manitoba Department of Geological Sciences in May and June of 1999. The samples were run in continuous scanning mode to provide information on the <45µm size samples and whether any accessory phases are present. Other samples were run in June 2000.

When interpreting the results it was found that there are a couple of potential problems when using the JCPDS pattern matching. One is how the baseline is calculated. Minor or diffuse peaks will not be included in the matching routine if they fall below the calculated baseline. Another problem is the broadness of many of the bands; in this case peak positions may not be accurate.

Sample ID
Tentative

XRD Description






ALL001
Allophane

Allophane, and major amorphous component (U of Manitoba - April 2004). Very amorphous, chrysocolla (not bad)?, allophane?, and maybe quartz (July 06). Reanalysis by Ciprian Popa (May 2014): high Cu and low Al indicates little allophane, lots of chrysocolla – probably contains mostly opal/quartz and chrysocolla and ~4% allophane.
BEI101
Beidellite

Some beidellite, also quartz, kaolinite, montmorillonite, and possibly muscovite (U of Manitoba - April 2004)

BER101
Berthierine

Calcite, antigorite, phlogopite/berthierine matches 2 lines.

BER102
Berthierine

No good peaks, poorly crystalline/berthierine pretty good.

CEL101
Celadonite

Pure celadonite, some amorphous component (U of Manitoba - April 2004)

CEL102
Celadonite

Mostly feldspar, some celadonite, also amorphous component; different than CEL101 pattern (U of Manitoba - April 2004)

CHM101
Chamosite

Feldspar first (albite), quartz,, sample pattern didn’t get low end very well.

CHM102
Chamosite

Looks good.

CHM103
Chamosite

Albite, quartz, Mg-chamosite.

CHY101
Chrysocolla

Quartz for all peaks; major amorphous component - could be chrysocolla (U of Manitoba - April 2004)

CHY102
Chrysocolla

Chrysocolla and quartz, also major amorphous component (U of Manitoba - April 2004)

CHY103
Chrysocolla

Pure chrysocolla, also major amorphous component (U of Manitoba - April 2004)

CLA001
Clay(?)

Siderite, hematite, and quartz account for almost all the peaks, some amorphous component (U of Manitoba - April 2004)

CLA002
Clay(?)

Quartz and albite, some amorphous component (U of Manitoba - April 2004)

CLI101
Clinochlore

Pure clinochlore (U of Manitoba - April 2004). Chlorite/serpentine, minor nimite (July 06).

CLI102
Clinochlore

Hendricksite and nimite, no sign of clinochlore (U of Manitoba - April 2004)

CLI103
Clinochlore

Largely clinochlore, some quartz (U of Manitoba - April 2004)

CRO101
Cronstedtite

Cronstedtite (+cassiterite).

CRO102
Cronstedtite

Cronstedtite (+ tourmaline, a bit).

GLA101
(glauconite)

XRD shows siderite and goethite; they account for almost all of the lines. There is also a 7 Angstrom peak that is not used in the fit. (File:gla101.rep).

GLA102
(glauconite)
 
XRD shows siderite and quartz. However a number of peaks are not fit and those found in the pattern are all weak and diffuse. (File: gla102.rep).

GLA103
Glauconite

Quartz + glauconite.

GLA104
Glauconite

Glauconite + mica (roscoelite).

GRE001
Greenalite

Greenalite and some spinel (July 06).

GRE002
Greenalite

Hematite, chlorite, muscovite; no fit to greenalite (July 06).

GYR001
Gyrolite

Pure gyrolite but intensity discrepancies, some amorphous component (U of Manitoba - April 2004)

GYR002
Gyrolite

Some amorphous component; messy XRD pattern - stichite, lizardite, hydromagnesite, and muscovite possibles; no evidence of gyrolite (U of Manitoba - April 2004)

HAL001
Halloysite

Pure halloysite and amorphous component (U of Manitoba - April 2004)

HEC101
Hectorite

Calcite and beidellite, hectorite possibly (U of Manitoba - April 2004)

HIS001
Hisingerite

Largely amorphous, hisingerite and montmorillonite possible (U of Manitoba - April 2004)

IDD001
Iddingsite

Forsterite first, some enstatite, then amphiboles.

ILL101
(illite)

XRD shows quartz and illite; goosecreekite is the best fit if illite is present. 

ILL102
Illite

Quartz, illite (+ muscovite).
ILS103
Illite/smectite
Quartz, disordered illite.

ILS104
Illite/smectite
Gypsum + .... and illite + other stuff.

KAO101
(kaolinite)

XRD shows only kaolinite-1T. (File: kao101.rep).

KAO102
Kaolinite

Kaolinite and

KAO102
(kaolinite) 

XRD shows only kaolinite-1T. (File: kao102.rep).

KAO103
Kaolinite (ordered)
Kaolinite

KAO104
Kaolinite (disordered)
Kaolinite

LEP101
Lepidomelane
Not in the JCPDS. Kinoshitaite (mica group) and minor amphiboles.

MIN001
Minnesotaite

Minnesotaite, quartz, siderite, plus 1 or 2 something else to account for some minor peaks (July 06).

MIN002
Minnesotaite

Greenalite, sphalerite, magnesite, calcite, fayalite

MIN003
Minnesotaite

Quartz, hematite, chlorite

MON101
(montmorillonite)
Quartz for sure. Montmorillonite doesn't appear because the expected basal clay reflection is only a broad hump. Some of the other montmorillonite bands do appear in the sample (File: mon101.rep).

MON102
(montmorillonite)
XRD shows some quartz. There is no basal match but the other montmorillonite peaks are matched. There are other peaks that are not matched however (File: mon102.rep).

MON103
Montmorillonite
Montmorillonite, some quartz, and amorphous component (U of Manitoba - April 2004).
MON108
Montmorillonite, etc.
gypsum (PSF 00-006-0046); calcite, magnesian (PDF 01-086-2335); bentonite (PDF 00-003-0019); montmorillonite (PDF 00-002-0037); montmorillonite, heated (PDF 00-007-0304); quartz (PDF 00-003-0444) [UWinnipeg quick scan Aug. 2015).
NEO101
Neotocite

Quartz for all peaks, some amorphous component, no evidence of neotocite (U of Manitoba - April 2004)

NON101
Nontronite

Quartz and nontronite (U of Manitoba - April 2004)
NON101
Nontronite

Nontronite, minor quartz, minor microcline,  minor goethite – UW August 2021

NON102
Nontronite

Nontronite, trace quartz – UW August 2021

NON103
Nontronite

Nontronite -15A, plus an amorphous component (hump), broadened peaks, and (maybe) trace of talc – UW August 2021.

NON104
Nontronite

Nontronite -15A, plus amorphous component (hump); some disorder (broadened peaks), and some geothite – UW August 2021

NON105
Nontronite

Nontronite – 15A, plus amorphous component (hump); some disorder (broadened peaks) – UW August 2021

PHL101
Phlogopite

Pure phlogopite (U of Manitoba - April 2004)

PIG315
Glauconite 

Major: glauconite; amorphous component; no other phases (UW XRD: April 2020)
PIG316
Celadonite

Major: Celadonite or glauconite (patterns are nearly identical); minor: quartz; trace: siderite, anatase, magnetite, birnessite, glaucophane (UW XRD: April 2020).

PIG317
Glauconite

Major: gypsum; minor: barite, quartz, calcite; trace: chromite (UW XRD: April 2020).
PIG325
Glauconite 

Major: glauconite; minor: quartz; amorphous component (UW XRD: April 2020).

PLY101
Palygorskite

Largely quartz and calcite, no palygorskite peaks (U of Manitoba - April 2004)

SAP101
Saponite

Feldspars + saponite - matches the low end peak

SAP102
Saponite

Minor amphibole + saponite - ugly pattern.

SAP103
Saponite (griffithite)
Minor feldspar. Albite, saponite 16A, ferroan (July 06).
SAP105
Saponite, etc.
dolomite (PDF 00-036-0426); sepiolite (PDF 00-002-0048); halite, syn (PDF 00-005-0628); saponite (PDF 00-011-0056); illite-2M2 (PDF 00-058-2015); illite (PDF 01-078-5138) [UWinnipeg quick scan – Aug. 2015).

SAP105-HCL


HCL001

halite, sylvite, tachyhydrite


HCL002

tachyhydrite mostly dehydrated to sinjarite


HCL003

hydromolysite, hydrophilite, halite, sinjarite, ertyhrosiderite, choloromagnesite, smaller amount of tachyhydrite


HCL004

more tachyhydrite and sinjarite
SEP101
Sepiolite

Largely calcite, some sepiolite (U of Manitoba - April 2004).
SEP103
Sepiolite, etc.
sepiolite, aluminian (PDF 00-002-0034); quartz (PDF 00-003-0419); dolomite (PDF 00-001-0942) [UWinnipeg quick scan Aug. 2015).
SRP101
Serpentinite

Tough to say; big peaks aren’t on. pecoraite, wings match so-so, clinochrysotile is second best match (July 06).

SRP102
Serpentine (garnierite)
Quartz + clinochrysotile. Confirmed July 06.

SRP104
Serpentinite

Antigorite. Pecoraite best, clinochrysotile second best (July 06).

SRP105
Serpentinite

Lizardite, clinochrysotile. Lizardite and pecoraite, although chrysotile provides the best single fit (July 06).

SRP106
Serpentinite

Lizardite (1M) and some magnetite (U of Manitoba - April 2004)

Re-examination may 2006: Lizardite (1M) major and either magnetite or magnesioferrite (both have very similar XRD profiles).

SRP107
Serpentinite

Lizardite (1M) and some augite (U of Manitoba - April 2004)

Re-examination May 2006: Clinochrysotile (2Mc1) plus forsterite; 1 peak unaccounted for.

SRP108
Serpentinite

Lizardite (1M) and some augite (U of Manitoba - April 2004)

Re-examination May 2006: Lizardite (1T) plus some magnetite.

SRP109
Serpentinite

Lizardite (1M) only (U of Manitoba - April 2004)

Re-examination May 2006: Antigorite 8.0M or lizardite 1M; plus something for the broad feature in the 20-25° region.

SRP110
Serpentinite

Lizardite (1M) only (U of Manitoba - April 2004)

Re-examination May 2006: Clinochrysotile 2Mc1 best, but no serpentinite is ideal for the 20-25° broad feature.

SRP111
Serpentinite

Antigorite (8.0M) only (U of Manitoba - April 2004)

Re-examination May 2006: Antigorite 8.0M only, clean pattern; no 20-25° feature.

SRP112
Serpentinite

Lizardite only - 1M (U of Manitoba - April 2004)

Re-examination May 2006: Clinochrysotile 2Mc1; maybe lizardite (1M); some 20-25° tail in the pattern.

SRP113
Serpentinite

Lizardite only - 1M and 1T (U of Manitoba - April 2004)

Re-examination May 2006: Clinochrysotile 2Mc1 plus lizardite 1T; some 20-25° tail in the pattern.

SRP114
Serpentinite

Lizardite only - 1M and 1T (U of Manitoba - April 2004)

Re-examination May 2006: Lizardite 1T and chrysotile; some 20-25° tail in the pattern

SRP115
Serpentinite

Antigorite (8.0M) and magnesite (U of Manitoba - April 2004)

Re-examination May 2006: Antigorite 8M plus 1 peak = magnesite; clean XRD pattern.

SRP116
Serpentinite

Antigorite (8.0M) and minor forsterite (U of Manitoba - April 2004)

Re-examination May 2006: Antigorite 8.0M; clean XRD pattern.

SRP117
Serpentinite

Lizardite only - 1M and amorphous component - broad bands  (U of Manitoba - April 2004)

Re-examination May 2006: messy XRD pattern; clinochrysotile 2Mc1 plus brucite.

SRP118
Serpentinite

Lizardite only - 1M (U of Manitoba - April 2004)

Re-examination May 2006: Clinochrysotile 2Mc1 plus brucite; some 20-25° tail in the XRD pattern.

SRP119
Serpentinite

Lizardite only - 1M and 1T (U of Manitoba - April 2004)

Re-examination May 2006: Clinochrysotile 2Mc1 plus lizardite and brucite; some 20-25° tail in the XRD pattern.
SRP120
Serpentinite

Lizardite, chrysotile (UWinnipeg Bruker D8 XRD).

SRP121
Serpentinite

Chrysotile, lizardite, chromite (UWinnipeg Bruker D8 XRD).

SRP122
Serpentinite

Chrysotile, lizardite, magnetite, baumite, antigorite, talc (UWinnipeg Bruker D8 XRD).

SRP123
Serpentinite

Lizardite, chrysotile, chromite (UWinnipeg Bruker D8 XRD).

TAL101
Talc

Talc only (U of Manitoba - April 2004)

TAL102
Talc

Talc only (U of Manitoba - April 2004)

TOC101
Tochilinite

Clinochrysotile (no sign of tochilinite)

VER101
Vermiculite

Not a match

VER102
Vermiculite

Not a match

VER103
Vermiculite

Biotite/phlogopite.

Note: XRD patterns for the various serpentinite polymorphs in the data bases are often very similar to each other. In addition, there are undoubtedly questions relating to the relative quality of the powder patterns: wavelength range, criteria used to identify peaks, spectral resolution, actual identity and purity of the samples used, etc.

+++++++++++++++++++++++++++++++
University of Alberta XRD data (~1986)

Sample
XRD file
Phases identified

GLA101
Z03144
Glauconite; minor siderite; minor dickite

KAO101
Z03228
Kaolinite; minor illite

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

3.c. Analytical data

From C-TAPE light element analyser (Feb. 2020)

Sample
C content (wt.%)
Calcite (wt.% equivalent; assuming all C in calcite)

SAP105
3.43
28.58

++++++++++++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays
Wt. %
ALL001
ALL001x
BEI101
BEI102
BER101
BER102
CEL101
CEL102

NMNH #




163358
93555
R4733
MU

CMS#



SBId-1






SiO2
47.85
47.50
63.59
57.90
35.09
27.94
57.51
54.89

Al2O3
  4.79
1.76
22.74
30.18
 3.78
 7.92
2.53
15.90

TiO2
  0.00
0.01
  0.75
0.80
 2.02
 0.52
0.00
1.17

Fe2O3
  0.15
0.04
  5.24

 n.d.
30.59
18.19
9.00

FeO
  0.00
0.18
  0.18

 n.d.
20.41
3.57
1.25

(Fe2O3)*
 (0.15)
(0.24)
(5.44)
(2.05)
(13.46)
(53.27)
(22.16)
(10.39)

MnO
  0.00
0.01
  0.02
0.02
 0.16
 0.11
0.02
0.14

MgO
  0.40
0.79
  2.09
0.76
26.24
 3.42
6.91
3.95

CaO
  0.63
0.68
  1.25
0.75
17.16
 4.57
0.20
6.07

Na2O
  0.00
1.47
  1.04
0.30
 0.25
 0.28
0.22
3.32

K2O
  0.09
0.15
  2.19
2.39
 0.61
 0.05
10.28
3.37

P2O5
  0.05
0.16
  0.04

 0.80
 1.81
0.01
0.43

SO3
  0.23








TOTAL
54.19
52.77
99.15

99.57
99.89
99.84
99.63

LOI
12.56
13.07
12.86

18.10
  6.45
5.37
4.34

LOI1



4.77H2O
  0.8
  6.5


LOI2




  1.5
  1.3


LOI3




21.4
19.5


LOI4




23.7
27.3


ppm
Sr
35
109
530

1475
167
20
615

Zr
10
33
198

243
210
40
175

V
10
44
172

183
1000
315
170

Cr
<5
30
70

1390
390
25
65

Co
40

5

Cu
39.8%
46.8%
1650

Ni
125
5
<2

Rb
4
2
85

U
400








Source
Mertzman
Mertzman
Mertzman
CMS
Mertzman
Mertzman
Mertzman
Mertz.
Analysis
XRF/WC
XRF/WC
XRF/WC
Post(1997)
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

x Reanalysis by Stan Mertzman of new split prepared April 2006 for Janice Bishop et al study.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History. CMS: Clay Minerals Society.
++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
CHM101
CHM102
CHM102x
CHM103

NMNH #
R4568
R4558
R4558



SiO2
50.25
27.38
21.77
66.77


Al2O3
15.67
 6.97
5.62
15.65


TiO2
  2.24
 0.42
0.23
  0.72


Fe2O3
  9.62
 n.d.
25.92
  2.82


FeO
   4.31
 n.d. 
29.09
  1.91


(Fe2O3)*
(14.41)
(57.05)
(58.25)
(4.94)


MnO
   0.20
 0.15
0.51
  0.45


MgO
 4.78
 3.59
4.06
  2.92


CaO
 7.97
 3.36
6.36
  3.04


Na2O
 2.83
 0.27
0.77
  3.25


K2O
 0.83
 0.05
0.06
  1.68


P2O5
 0.29
 0.90
1.71
  0.17


SO3





TOTAL
99.47
100.14
99.34
99.59


LOI
  5.29
12.58
20.87
 4.07


LOI1
  1.9
  1.3

  0.9


LOI2
  1.8
  2.1

  0.5


LOI3
  9.2
14.2

  8.6


LOI4
12.9
17.6

10.0


ppm
Sr
317
101
242
184


Zr
189
197
130
186


V
257
920
717
66


Cr
63
370
439
37


Co


65

Cu


70

Ni


45

Rb


5

U





Source
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.
+++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
CHY101
CHY102
CHY103
CLA001
CLA002
CLA004
CLA005
NMNH #

87288
104956





SiO2
50.59
43.89
21.15
17.33
71.86
82.21
53.11
Al2O3
2.04
1.14
44.70
3.85
12.32
9.19
16.88
TiO2
0.02
0.00
0.00
0.19
0.75
0.38
0.72
Fe2O3
0.23
0.00
0.16
64.35
6.44
2.67
3.24
FeO
0.00
0.33
0.00
5.26
0.74
0.82
1.25
(Fe2O3)*
(0.23)
(0.33)
(0.16)
(70.20)
(7.26)
(3.58)
(4.63)
MnO
0.01
0.01
0.06
2.45
0.21
0.25
0.03
MgO
0.39
0.48
0.20
0.76
0.78
1.48
1.37
CaO
0.83
0.73
0.92
2.15
1.75
0.80
16.51
Na2O
0.96
1.16
0.37
0.76
2.69
0.28
0.26
K2O
0.13
0.02
0.03
0.53
2.34
1.64
2.59
P2O5
0.21
0.26
0.06
0.65
0.16
0.07
0.27
SO3





0.12
2.05
CuO


32.4





TOTAL
55.41
48.02
100.05
98.87
100.12
100.00
98.42
LOI
11.60

26.58
17.10
4.86
7.19
20.06

LOIa
14.34
14.97







LOI1






LOI2






LOI3






LOI4






ppm
Sr
150
67
205
135
355
208
334
Zr
35
28
30
100
365
155
193
V
20
30
45
92
95
282
353
Cr
<2
<2
35
85
175
96
115
Ni





25
65

Co





4
7

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a: LOI – duplicate analysis.

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.
+++++++++++++++++++++++++++++++++++
3c. Compositional Data - Clays (continued)
Wt. %
COO001

CMS #
Car-1
SiO2
40.30
Al2O3
43.14
TiO2
0.09
Fe2O3


FeO


(Fe2O3)*
(0.83)
MnO


MgO
0.29
CaO
0.05
Na2O
<0.15
K2O
0.10
H2O
15.05
SO3


TOTAL
100



Source
King and Clark (1989) – JGR v. 94
3c. Compositional Data - Clays (continued)
Wt. %
CLI101
CLI101x
CLI102
CLI103
CRO101
CRO102
DIC001
NMNH #


R14987
106730
193910
R7807-4


SiO2
33.78
33.68
37.74
38.04
16.15
16.36
53.37
Al2O3
21.63
21.63
11.52
15.77
 0.24
 0.06
46.01
TiO2
  0.22
0.15
0.07
0.01
 0.00
 0.02
0.13
Fe2O3
  4.23
3.89
11.49
5.37
63.51
52.79
0.10
FeO
  5.96
6.54
4.84
24.45
15.96
26.79
0.00
(Fe2O3)*
(10.85)
(11.16)
(16.87)
(32.54)
(81.25)
(82.56)
0.10
MnO
  0.20
0.20
0.05
0.20
 0.16
 0.01
0.00
MgO
32.18
32.60
27.15
11.79
 0.22
 0.18
0.09
CaO
  0.07
0.06
0.78
1.29
 0.56
 0.07
0.09
Na2O
  0.11
0.18
0.22
0.23
 0.72
 0.27
0.00
K2O
  0.00
0.00
5.81
0.00
 0.00
 0.01
0.01
P2O5
  0.02
0.03
0.04
0.02
 0.12
 0.01
0.03
SO3
  0.32






TOTAL
99.38
99.69
100.25
99.89
99.42
99.55
99.83
LOI
11.89
13.76
5.37
9.61
 8.64
 9.86
14.75

LOI1




 2.4
  0.7

LOI2




 2.0
  0.3

LOI3




11.7
  9.3

LOI4




16.1
10.3

ppm
Sr
8
72
15
244
5
6
13
Zr
15
28
55
25
2
4
506
V
140
126
50
525
27
29
7
Cr
375
467
15
150
6
31
<3
Co
80
103

Cu
260
30

Ni
1120
770
Ba






27
Rb
<2
5




<3

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.
x Reanalysis by Stan Mertzman of new split prepared April 2006 for Janice Bishop et al study.
+++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
GLA101
GLA102
GLA103
GLA104
GRE001
GRE002

NMNH #


46447
97839
158902
123826

SiO2
29.52
35.31
60.45
52.86
28.05
28.48

Al2O3
 9.18
 9.66
 9.95
 7.80
0.62
21.87

TiO2
 0.28
 0.34
 0.26
 0.06
0.03
1.29

Fe2O3
35.06
 36.99
16.06
22.65
25.05
29.00

FeO
15.19
 10.16
  1.51
 2.06
36.43
10.62

(Fe2O3)*
(51.94)
(47.15)
(17.74)
(24.94)
(65.54)
(40.80)

MnO
 0.07
 0.07
 0.02
 0.16
1.23
0.08

MgO
 2.19
 2.19
 3.51
 3.91
3.06
1.25

CaO
 2.64
 1.72
 0.95
 0.73
0.30
0.15

Na2O
 0.28
 0.25
 0.20
 0.13
0.80
0.63

K2O
 2.22
 2.58
 6.27
 8.63
0.00
4.71

P2O5
 1.55
 0.66
 0.14
 0.20
0.05
0.11

TOTAL
99.87
99.93
99.49
99.42
99.68
99.37

LOI
18.04
14.03
9.53
7.16
10.81
5.64

LOI1
  1.8
  5.3
  1.0
  0.3
  

LOI2
  2.4
  2.6
  2.4
  1.3
 

LOI3
20.5
29.9
10.6
12.2
 

LOI4
24.7
37.8
21.0
13.8


ppm
Sr
49
28
27
12
50
75

Zr
48
66
158
67
20
70

V
610
615
106
57
60
320

Cr
560
500
163
47
50
300

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.
+++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
GYR001
GYR002
HAL001
HAL001
HAL001
HAL002
HEC101
HEC102
SiO2


53.18
52.73
53.81
53.47
59.06
34.7
Al2O3


45.46
45.51
44.93
45.22
0.07
0.69
TiO2


  0.00
0.02
0.04
0.03
0.00
0.038
Fe2O3


  0.44
0.14
0.16
0.09
0.09
0.02
FeO


  0.00
0.10
0.24
0.12
0.00
0.25
(Fe2O3)*


(0.44)
(0.26)
0.43
0.22
(0.09)

MnO


  0.01
0.00
0.00
0.00
0.01
0.008
MgO


  0.11
0.12
0.13
0.14
27.68
15.3
CaO


  0.15
0.17
0.15
0.15
10.83
23.4
Na2O


  0.07
0.00
0.00
0.00
2.43
1.26
K2O


  0.05
0.05
0.13
0.14
0.06
0.13
P2O5


  0.14
0.20
0.16
0.18
0.03
0.014
Li2O







2.18

F







2.60
SO3



0.00



0.01(S)
TOTAL


99.61
99.06
99.78
99.55
100.26

LOI


16.29
16.33
17.53
18.01
17.15
21.85
LOI1
  

LOI2
 

LOI3


LOI4


ppm
Sr


20
28
17
20
370

Zr


15
21
37
<3
25

V


10
24
36
24
40

Cr


145
580?
324
39
10

Co


2
13
Cu


50

Ni


125
40
Ba




216
254
Rb


2

8
6



Source


Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
CMS
Analysis


XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.
5 Heating to 1000°C.
Abbreviations: CMS: Clay Minerals Society. LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.
++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
HIS001
IDD001
ILL101
ILL101
ILL102
ILL102

Ward's ID


46E0315
46E0315

SCMR ID


IMt-2
IMt-2
ISCz-1
ISCz-1

SiO2
46.36
42.92
55.1
63.43
51.6
60.63

Al2O3
  5.71
  3.61
22.0
20.78
25.6
21.97

TiO2
  0.48
  0.10
 0.63
0.93
 0.039
0.74

Fe2O3
30.53
  3.47
 5.28
2.64
 1.11
4.44

FeO
  0.00
  5.61
 1.34
2.11
<0.1
1.31

(Fe2O3)*
(30.53)
(9.70)

(4.98)

(5.90)

MnO
  0.39
  0.17
 NA
0.04
 0.04
0.04

MgO
  9.77
39.56
 2.8
2.43
 2.46
2.23

CaO
  2.00
  2.34
 0.02
0.56
 0.67
0.26

Na2O
  3.17
  0.30
 0.08
0.29
 0.32
0.16

K2O
  0.26
  0.01
 8.04
6.22
 5.36
7.96

P2O5
  0.08
  0.02
 n.d.
0.10
 0.04
0.09

SrO


 n.d.

 n.d.

H2O-


 1.0

 n.d.

H2O+


 6.4

 n.d.


TOTAL
98.75a
98.73a
102.69
99.76
97.4
99.98

LOI
14.63
  0.15

5.44
10.2
5.66

LOI1

  3.3
  2.0

  3.9

LOI2

  2.0
  0.5

  3.7

LOI3

  7.0
12.4

  3.6

LOI4

12.3
14.9

11.2

ppm
Sr
320
20

120

175

Zr
340
30

175

145

V
75
95

125

90

Cr
640
2100

65

60

Co
50
110

Cu
2400
700

Ni
400
2650

Rb
<2
<2





Source
Mertzman
Mertzman
Hower &
Mertzman
CMS
Mertzman




Mowat




(1966)

Analysis
XRF/WC
XRF/WC

XRF/WC

XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. CMS: Clay Minerals Society.  SCMR: Source Clay Minerals Repository. Ward's : Ward's Science.

+++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
ILS103
ILS103
ILS103
ILS104
ILL105
SCMR ID
ISCz-1
ISMt-2
ISMt-2



SiO2
47.64
51.2
67.14
54.85
57.09
Al2O3
25.19
26.3
22.89
28.62
24.07
TiO2
 n.d.
 0.17
0.18
  0.25
0.71
Fe2O3
 0.95
 1.49
1.13
 2.19
5.15
FeO
 n.d.
 0.1
0.24
 0.48
1.43
(Fe2O3)*


(1.40)
(2.72)
(6.74)
MnO
 n.d.
 0.01
0.01
 0.02
0.03
MgO
 2.22
 2.41
1.90
 2.00
2.66
CaO
 0.22
 1.4
0.28
 6.08
0.47
Na2O
 0.08
 0.04
0.08
 0.30
0.24
K2O
 5.18
 4.74
5.68
 5.02
8.03
P2O5
 n.d.
 0.05
0.04
 0.11
0.10
SrO
 4.46
 n.d.

  n.d.

SO3




0.11
Cl




0.00
H2O-
 5.54
 n.d.

  n.d.

H2O+
  n.d.
  n.d.

  n.d.

TOTAL
91.30
100.5
99.60
99.97a
100.25
LOI

12.6
7.50
13.06
6.67
LOI1



  8.0

LOI2



  0.1

LOI3



12.5

LOI4



20.6

ppm
Co




10

Sr


68
708
256
Zr


185
204
110
V


5
39
111
Cr


<2
21
288
Source
Sucha
CMS
Mertzman
Mertzman

Analysis


XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations and notes: LOI: loss on ignition. CMS: Clay Minerals Society.  SCMR: Source Clay Minerals Repository. Sucha = Dr. Vladimir Sucha, Comenius University, Slovakia.

++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
KAO101

SiO2
54.03

TiO2
0.41

Al2O3
42.60

(Fe2O3)*
(0.71)
FeO
0.26

Fe2O3
0.42

MnO
0.01

MgO
0.44

CaO
0.64

Na2O
0.04

K2O
0.466

P2O5
0.457

Cl
0.00

SO3
0.06

TOTAL
99.863

LOI
14.69

ppm

Sr
401

Zr
151

V
104

Ni
10

Cr
95

Co
<1

Rb
20

Source
Mertzman


Analysis
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. CMS: Clay Minerals Society.  SCMR: Source Clay Minerals Repository.

++++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
KAO101
KAO102
KAO103
KAO103
KAO103
KAO103
KAO103

Ward's ID

46E0995

SCMR ID


KGa-1b
KGa-1b
KGa-1b
KGa-1b
KGa-1b

SiO2
53.49
53.53
43.1
45.0
44.2
43.36
52.17

Al2O3
43.28
43.26
38.5
38.0
39.7
38.58
44.76

TiO2
  0.43
 1.66
 1.7 
 1.58
 1.39
1.67
1.87

Fe2O3
 0.36
 0.08
 0.28
 0.26
 0.13
0.35
0.00

FeO
 0.32
 0.41
<0.1
 0.02
 0.08

0.14

(Fe2O3)*
(0.72)
(0.54)




(0.16)

MnO
 0.01
 0.01
 0.04
 0.00
 0.002

0.01

MgO
 0.29
 0.32
 0.14
 0.02
 0.03
0.04
0.13

CaO
 0.63
 0.30
 0.07
 0.02
  --
0.04
0.06

Na2O
 0.10
 0.06
 0.08
 0.01
 0.013
0.05
0.07

K2O
 0.48
 0.19
 0.05
 0.04
 0.050
0.00
0.02

P2O5
 0.47
 0.06
 0.08
 0.05
 0.34
0.37
0.07

S
 n.d.
  n.d.
  n.d.
  n.d.
  n.d.


F5
 n.d.
  n.d.
  n.d.
(0.013)
  n.d.



TOTAL
99.90
99.93




99.32
LOI
14.55
14.24




14.19

LOIc


14.2
14.31

110-550°Ce





13.60

550-1000°Ce





1.45

-550e




12.6


550-1000e




 1.18



TOTALd


98.3d


99.51d


LOI1
  2.8
  3.0





LOI2
  0.0
  1.0





LOI3
18.6
21.9





LOI4
21.4
25.9





ppm
Sr
290
70




75

Zr
109
185




350

V
83
140




220

Cr
95
100




135

Source
Mertzman
Mertzman
CMS
Cl
MH
Mermut
Mertzman
Analysis
XRF/WC
XRF/WC




XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

c: LOI: loss on ignition – included in total. d: Total includes loss on ignition.  e: weight loss over various temperature intervals; see original data sources for explanations.

1 Loss on ignition upon heating sample (in air) to 110°C (%) at UWinnipeg.  2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at UWinnipeg.  3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at UWinnipeg.  4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at UWinnipeg. 5: fluorine by Thomas, not included in total.

Abbreviations and notes: LOI: loss on ignition. CMS: Clay Minerals Society.  SCMR: Source Clay Minerals Repository. Ward's: Ward's Science. Mermut data: <2 µm fraction analyzed (see Mermut and Cano for details).

Sources of data: CL: Clemency; MH: Haydn [analyses from Data Handbook for Clay Materials and other Non-Metallic Minerals]; CMS = Clay Minerals Society; Sucha = Dr. Vladimir Sucha, Comenius University, Slovakia.

Analysis from CMS Source Clay Minerals Repository (CMS): <2µm fraction analyzed.++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
KAO104
KAO104    KAO104
KAO104
KAO104
SCMR ID
KGa-2
KGa-2
KGa-2
KGa-2
KGa-2

SiO2
44.2
43.9
43.7
43.49
51.61
Al2O3
37.2
38.5
33.6
38.14
44.67
TiO2
 2.17
 2.08
 2.28
1.91
2.49
Fe2O3
 1.14
 0.98
 1.01
1.15
0.62
FeO
 0.05
 0.15
 n.d.

0.48
(Fe2O3)*




(1.15)
MnO
 0.00
  --
 0.02

0.01
MgO
 0.04
 0.03
 0.03
0.04
0.11
CaO
 0.04
 0.03
 0.02
0.03
0.02
Na2O
 0.02
<0.005
<0.01
0.06
0.00
K2O
 0.02
 0.065
 0.04
0.02
0.04
P2O5
 0.06
 0.045
 0.11
0.32
0.06
S
  n.d.
 0.02 
  n.d.


SO3




0.07

F5
(0.020)
  n.d.
  n.d.



TOTAL




100.23
LOI




14.20

LOIc
14.24

14.5



110-550°Ce



13.30

550-1000°Ce



1.73

-550e

12.6

550-1000e

 1.17




TOTALd


100.4
100.19

LOI1
  1.2

LOI2
  0.1

LOI3
18.0

LOI4
19.3





ppm
Sr




86
Zr




266
V




136
Cr




142
Ni




5

Co




<1

Source
CL
MH
CMS
Mermut
Mertzman
Analysis




XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO determined by wet chemistry (WC) and Fe2O3 taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

c: LOI: loss on ignition – included in total. d: Total includes loss on ignition.  e: weight loss over various temperature intervals; see original data sources for explanations.

1 Loss on ignition upon heating sample (in air) to 110°C (%) at UWinnipeg.  2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at UWinnipeg.  3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at UWinnipeg.  4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at UWinnipeg. 5: fluorine by Thomas, not included in total.

Abbreviations and notes: LOI: loss on ignition. CMS: Clay Minerals Society.  SCMR: Source Clay Minerals Repository. Ward's: Ward's Science. Mermut data: <2 µm fraction analyzed (see Mermut and Cano for details).

Sources of data: CL: Clemency; MH: Haydn [analyses from Data Handbook for Clay Materials and other Non-Metallic Minerals]; CMS = Clay Minerals Society; Sucha = Dr. Vladimir Sucha, Comenius University, Slovakia.

Analysis from CMS Source Clay Minerals Repository (CMS): <2µm fraction analyzed.++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
LEP101
MIN001
MIN002
MIN003

NMNH #

105491
138281
169163

SiO2
37.65
41.46
12.98
52.68

Al2O3
7.40
2.35
1.55
5.78

TiO2
2.29
0.07
0.13
0.20

Fe2O3
19.43
11.78
5.12
26.70

FeO
8.61
27.35
30.37
9.75

(Fe2O3)*
(29.00)
(42.18)
(38.87)
(37.54)

MnO
1.21
6.42
7.54
0.09

MgO
2.75
3.71
1.91
2.33

CaO
7.26
2.06
14.55
0.47

Na2O
2.70
0.58
3.62
0.32

K2O
5.75
0.79
0.00
0.00

P2O5
3.34
0.18
0.10
0.37

ZnO


19.00


TOTAL

99.80
81.25
99.78

LOI

16.46
5.19
3.55

LOI1
0.6

LOI2
0.8

LOI3
7.1

LOI4
8.5

ppm
Sr
188
55
75
110

Zr
1780
35
55
105

V
61
85
60
105

Cr
14
70
15
80

Source
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History. 

+++++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
MON101
MON101
MON102
MON102
MON102
MON103


Ward's ID
46 E 0995
46 E 0995
46 E 0435
46 E 0435
46E 0435

API #
31
31





SiO2
54.37
65.85
60.96
61.47
65.90
64.81


Al2O3
17.79
19.89
18.27
22.17
21.91
22.71


TiO2
0.56
0.67
 0.08
 0.09
0.15
0.15


Fe2O3
7.14
5.65
 2.83
 4.32
0.21
5.19


FeO
0.27
0.26
 0.14
 n.d.
4.05
0.00


(Fe2O3)*

(5.94)


(4.71)
(5.19)


MgO
1.20
2.02
 2.96
 2.73
2.52
2.90


CaO
1.83
0.94
 0.10
 0.14
1.41
0.53


Na2O
0.26
1.30
 1.44
 3.18
2.27
2.79


K2O
2.49
2.90
 0.31
 0.03
0.54
0.56


MnO
  n.d.
0.02
  n.d.
  tr.
0.04
0.01


P2O5
  n.d.
0.04
  n.d.
 0.02
0.07
0.06


H2O (-)
6.31

 6.78

H2O (+)
6.79

 6.56

H2O



 6.02



TOTAL

99.57


99.52
99.71

LOI

10.38


10.38
10.50


TOTALc
99.50

100.43
100.17




LOI1
  2.7

  2.5



LOI2
  2.2

  5.6



LOI3
10.0

  9.4



LOI4
14.9

17.5



ppm
Sr

348


325
140


Zr

213


225
295


V

78


<2
41


Cr

10


<2
10


Source
Schultz
Mertzman
Schultz
Earley et al.
Mertzman
Mertzman


Analysis

XRF/WC
(1969)
(1953)
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

c: Total includes loss on ignition. 

1 Loss on ignition upon heating sample (in air) to 110°C (%) at UWinnipeg.  2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at UWinnipeg.  3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at UWinnipeg.  4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at UWinnipeg.

1 Loss on ignition upon heating of sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon further heating of sample (in air) to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon further heating of sample (in air) to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Notes and abbreviations: API: American Petroleum Institute. Ward's: Ward's Science.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++
3c. Compositional Data - Clays (continued)
Wt. %
MON104
NEO101
NON101
NON102
NON103
NON104
NON105
NON105
SiO2
67.03
72.06
61.40
55.47
56.08
51.98
43.75
54.04
Al2O3
19.75
0.22
9.49
9.92
4.89
9.14
7.95
8.09
TiO2
0.25
0.00
0.38
0.21
0.56
0.23
0.54
0.46
Fe2O3
0.85
0.28
22.08
29.13
34.15
35.20

33.13
FeO
0.79
0.00
0.79
0.48
0.65
0.17

0.14
(Fe2O3)*
(1.73)
(0.28)
(22.96)
29.66
(34.87)
35.39
(23.25)
33.29
MgO
6.97
1.36
1.07
1.16
0.98
1.10
1.75
1.60
CaO
3.37
0.22
0.10
0.20
1.79
2.18
2.05
2.48
Na2O
0.06
0.12
0.15
0.02
0.52
0.17
0
0.01
K2O
0.17
0.00
3.67
2.32
0.06
0.11
0.03
0.02
MnO
0.10
25.53
0.03
0.03
0.01
0.01
0.03
0.03
P2O5
0.03
0.02
0.51
0.46
0.09
0.02
0.05
0.03
SO3
0.09



0.06




TOTAL
99.55
99.81
99.76
99.45
99.91
100.33

100.05
LOI
21.70
7.32
8.56
14.46
9.79
21.92
19.35
23.11

ppm
Rb



22

<2

<2

Sr
433
45
40
12
112
59

32
Zr
359
42
445
117
70
<2

26
V
83
68
70

220

Cr
47
5
15
<2
68
<2

<2
Ni
2



13

Co
<1



<1




Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
SCMR
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

XRF/WC

· - all Fe reported as Fe2O3.
· SCR: Source Clay Minerals Repository data base.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
REC101
RIP001

CMS
RAr-1
Cca-2

SiO2
72.8
26.0


Al2O3
16.9
20.0


TiO2
0.31
0.476


Fe2O3
1.22
26.6


FeO
0.38
20.8


(Fe2O3)*



MgO
0.26
17.2


CaO
0.09
0.25


Na2O
1.11
<0.1


K2O
0.45
<0.1


MnO
<0.02
0.1


P2O5
0.07
0.02


TOTAL



H2O
6.24
LOI
6.16
9.32
Source
USGS
CMS


Clark lab
3c. Compositional Data - Clays (continued)
Wt. %
PHL101
PLY101
SAP101
SAP102
SAP103
SAP103x
SAP105
SAP105
NMNH #


C3810
170279





SiO2
44.53
79.94
62.89
56.31
46.92
51.27
44.6
43.77
Al2O3
13.23
1.45
18.76
 5.14
  9.86
16.17
7.8
0.24
TiO2
0.34
0.03
  0.90
 0.72
  0.30
1.07

6.27
Fe2O3
1.15
1.16
 7.29
 0.42
14.25
7.09

1.86
FeO
2.65
0.00
  0.39
 0.54
  3.94
3.67

0.08
(Fe2O3)*
(4.10)
(1.16)
(7.72)
(0.96)
(18.63)
(11.17)
2.5
1.95
MgO
25.78
1.46
 1.85
30.86
17.52
7.82
22.8
25.66
CaO
0.11
15.48
 2.30
 2.18
  4.29
8.68
4.5
17.09
Na2O
0.26
0.08
 2.12
 2.87
  0.73
2.84
2.5
2.86
K2O
10.87
0.16
 2.69
 0.41
  0.07
0.39
1.3
0.83
MnO
0.08
0.03
 0.04
 0.03
  0.39
0.29

0.05
P2O5
0.02
0.19
 0.16
 0.13
  0.04
0.13

0.08
TOTAL
99.32
99.98
99.43a
99.61a
98.75a
99.83

98.80
LOI
0.43
9.76
12.27
14.36
17.25
6.16
14.0
29.03
LOI1


  8.6
12.6
12.5

LOI2


  4.4
  2.8
  4.3

LOI3


33.5d
19.4d
19.1d
LOI4


46.5d
34.8d
35.9d
ppm
Sr
125
70
386
70
186
299

2645
Zr
20
35
580
316
53
104

42
V
45
105
117
50
80
204

31
Cr
10
10
52
32
72
221

14
Co





50

Cu





15

Ni





3

Rb





5



Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Lhoist
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
data^
XRF/WC


* - all Fe reported as Fe2O3.
^ - “Typical chemical properties from Lhoist Co. (https://www.lhoist.com/sites/lhoist/files/imvite_1016_product_bulletin.pdf). 
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History. 

x Reanalysis by Stan Mertzman of new split prepared April 2006 for Janice Bishop et al study.

++++++++++++++++++++++++++++++++++++
SAP105 has 3.43 wt.% carbon; equivalent to ~26 wt.% dolomite if all C is present in dolomite (which as detected by XRD).
Wt. %
SAP104
SAP104
SAP104
SAP104
SAP104
JCSS #
JCSS-3501
JCSS-3501
JCSS-3501
JCSS-3501
JCSS-3501

SiO2
43.16
42.63
41.75
41.43
40.3
Al2O3
23.59
23.44
22.87
23.82
23.9
TiO2
0.25
0.22
0.26
0.30
n.d.
Fe2O3
n.a.
n.a
n.a.
1.55b
1.09b
FeO
1.06a
0.97a
1.09a
n.a.
n.a
MgO
30.9
31.5
32.3
33.9
31.6
CaO
0.07
0.08
0.13
0.23
0.14
Na2O
3.99
3.60
4.04
4.04
4.03
K2O
0.02
0.11
0.13
0.10
0.02
MnO
0.02
0.01
n.a.
n.a.
n.a.
SO3
1.44
1.46
n.a.
n.a.
n.a.
P2O5
n.a.
n.a.
0.00
0.02
0.04

TOTAL
100d
100d
100c
100c
100c
Source
Miyoshi
Miyoshi
Miyawaki
Miyawaki
Miyawaki
Analysis
EPMA1
EPMA2
ICP-AES
XRF
WCA
SAP104: Clay Science Society of Japan, Reference Clay Minerals Committee, sample JCSS-3501 (synthetic sample from Kunimine Industries).

a - all Fe presumably reported as FeO.
b - all Fe presumably reported as Fe2O3.
c – data from Miyawaki et al. were normalized to 100 wt.% in total without H2O and CO2.

d – data from Miyoshi et al. (2017) normalized to 100 wt.%; volatile contents not determined.

n.a.: not analysed.

n.d.: not detected.
1: microscale, 3 point average.

2: microscale, 25 point average.

Abbreviations: EMPA: electron probe microanalyzer; ICP-AES: inductively-coupled plasma – atomic emission spectrometer; WCA: wet chemical analysis.

Note: Source and Analysis: 
Miyoshi: Miyoshi et al. (2017): Miyoshi, Y.,K. Shimada, H. Sato, S. Uehara, and J.-I. Ishibashi (2017) Convenient analysis of chemical composition of clay fraction of sediment by electron probe microanalyzer. Geochemical Journal, 51, 583-588; doi:10.2343/geochemj.2.0479.
Miyawaki: Miyawaki,  R.,  Sano,  T.,  Ohashi,  F.,  Suzuki,  M.,  Kogure,  T.,Okumura,  T.,  Kameda,  J.,  Umezome,  T.,  Sato,  T.,  Chino,D., Hiroyama, K., Yamada, H., Tamura, K., Morimoto, K.,Uehara, S. and Hatta, T. (2010) Some reference data for the JCSS Clay Specimens. Journal of the Clay Science Society of Japan, 48, 158–198 (in Japanese).

++++++++++++++++++++++++++++++++++++
Wt. %
SEP101

NMNH #


SiO2
48.76

Al2O3
0.02

TiO2
0.00

Fe2O3
1.41

FeO
0.00

(Fe2O3)*
 (1.41)

MgO
22.72

CaO
27.32

Na2O
0.10

K2O
0.02

MnO
0.10

P2O5
0.02


TOTAL
100.47

LOI
23.96


ppm
Sr
195

Zr
25

V
40

Cr
5

Source
Mertzman

Analysis
XRF/WC


* - all Fe reported as Fe2O3.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Abbreviations: LOI: loss on ignition.

++++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP101
SRP102
SRP102x
SiO2
44.51
85.70
78.83

Al2O3
10.26
 0.22
0.20

TiO2
 0.71
 0.00
0.01

Fe2O3
 2.05
 2.39
0.11

FeO
 1.36
 0.29
2.38

(Fe2O3)*
(3.56)
(2.71)
(2.76)

MgO
39.46
11.36
10.15

CaO
 0.23
 0.06
0.06

Na2O
 0.25
 0.09
0.24

K2O
 0.06
 0.01
0.00

MnO
 0.08
 0.04
0.05

P2O5
 0.05
 0.01
0.03

TOTAL
99.17
100.20
92.33

LOI
13.59
 5.58
5.45

LOI1
  0.3
 0.8


LOI2
  0.8
 0.5


LOI3
30.1
10.1


LOI4
31.2
11.4


ppm
Sr
205
    7
23

Zr
210
  21
20

V
  65
  39
10

Cr
650
590
830

Co


44

Ni


7.4%

Cu


145

Rb


3

Source
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition.  
x Reanalysis by Stan Mertzman of new split prepared April 2006 for Janice Bishop et al study.

+++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP104
SRP105
SRP106
SRP106
SRP107
SRP107

NMNH #
152246
147697

Reinen #


SDB-1
SDB-1
SDB-2
SDB-2

SiO2
44.21
48.66
45.16
45.30
43.74
44.33

Al2O3
  0.32
 0.04
  1.78
1.28
  2.65
2.27

TiO2
  0.04
 0.00
  0.03
0.04
  0.08
0.08

Fe2O3
10.11
 0.71

7.28

5.66

FeO
  1.34
 1.34

1.60

3.73

(Fe2O3)*
(11.60)
(2.20)
(8.7)
(9.06)
(9.57)
(9.78)

MgO
43.21
48.75
42.26
43.20
39.36
39.66

CaO
  0.07
 0.06
  0.60
0.58
  3.16
2.91

Na2O
  0.14
 0.11
  0.96
0.02
  0.63
0.08

K2O
  0.00
 0.00
  0.01
0.00
  0.03
0.00

MnO
  0.08
 0.02
  0.12
0.12
  0.22
0.24

P2O5
  0.01
 0.01
  0.00
0.02
  0.00
0.02

TOTAL
99.68
99.85
99.62
99.62
99.44
99.40

LOI
12.21
13.89
   n.d.
14.86
   n.d.
9.37

LOI1
  0.6
  1.7



LOI2
  1.6
  1.7

LOI3
43.4
24.5

LOI4
45.6
27.9

ppm
Sr
    5
45
    17
58
      5
46

Zr
  20
19
      8
10
      6
10

V
  40
39
    26
10
    40
35

Cr
510
17
1865
1925
2820
2940

Co


    58
138
    67
145

Ni


1746
2750
2469
3280

Cu


    13

  111


Zn


    21

    45


Rb


      6
<2
      4
<2

Y


      1

      0


Nb


      0

      0


Ba


    28

    38


Source
Mertzman
Mertzman
Asher
Mertzman
Asher
Mertzman
Analysis
XRF/WC
XRF/WC
XRF
XRF/WC
XRF
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: Asher. Analysis by Pranoti Asher (Georgia Southern University) by XRF. Totals expressed on a volatile-free basis.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.  Reinen: Linda Reinen – Pomona College.+++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP108
SRP108
SRP109
SRP109
SRP110
SRP110

Reinen #
SDB-3
SDB-3
JC-1
JC-1
CC-1
CC-1

SiO2
43.97
43.30
46.41
45.87
45.11
44.84

Al2O3
  3.34
2.98
2.42
2.04
1.40
0.98

TiO2
  0.09
0.10
0.06
0.07
0.01
0.01

Fe2O3

9.18

4.23

6.51

FeO

3.00

3.70

2.37

(Fe2O3)*
(10.6)
(12.51)
(7.74)
(8.34)
(8.52)
(9.14)

MgO
36.97
36.76
41.81
42.23
43.37
43.69

CaO
  3.62
3.53
0.26
0.32
0.19
0.24

Na2O
  0.67
0.14
0.82
0.05
0.81
0.02

K2O
  0.04
0.00
0.00
0.00
0.00
0.00

MnO
  0.16
0.16
0.13
0.14
0.13
0.12

P2O5
  0.00
0.02
0.00
0.02
0.00
0.02

TOTAL
99.46
99.54
99.65
99.08
99.54
99.06

LOI
   n.d.
10.11

12.51

13.25

LOI1


LOI2


LOI3


LOI4


ppm
Sr
      2
44
4
47
2
47

Zr
    10
10
6
10
6
10

V
    50
45
23
15
17
10

Cr
2750
3025
1835
2185
2682
2845

Co
    70
125
49
102
55
110

Ni
2279
3030
1552
2280
1840
2270

Cu
    91

25

23

Zn
    37

43

26

Rb
      3
<2
3
<2
3
<2

Y
      0

0

3

Nb
      0

0

0

Ba
    26

12

35


Source
Asher
Mertzman
Asher
Mertzman
Asher
Mertzman

Analysis
XRF
XRF/WC
XRF
XRF/WC

XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: Asher. Analysis by Pranoti Asher (Georgia Southern University) by XRF. Totals expressed on a volatile-free basis.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. Reinen: Linda Reinen – Pomona College.

+++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP111
SRP111
SRP112
SRP112
SRP113
SRP113

NMNH #
152246
152246
147697
147697

Reinen #
CC-2
CC-2
CR-1
CR-1
CR-2
CR-2

SiO2
46.99
46.60
47.36
46.96
46.30
45.09

Al2O3
  1.17
0.75
  0.53
0.12
  0.55
0.18

TiO2
  0.01
0.01
  0.00
0.01
  0.00
0.01

Fe2O3

4.88

5.27

10.10

FeO

2.72

2.87

0.25

(Fe2O3)*
(7.75)
(7.90)
(8.40)
(8.46)
(9.54)
(10.38)

MgO
42.42
43.17
42.42
43.26
42.01
42.49

CaO
  0.41
0.44
  0.01
0.05
  0.01
0.05

Na2O
 0.70
0.01
  0.67
0.01
  0.73
0.03

K2O
  0.00
0.00
  0.00
0.00
  0.00
0.00

MnO
  0.10
0.09
  0.13
0.14
  0.18
0.18

P2O5
  0.00
0.02
  0.00
0.02
  0.00
0.02

TOTAL
99.55
98.99
99.52
99.03
99.32
98.43

LOI

12.06

11.16

14.94

LOI1
LOI2
LOI3
LOI4
ppm
Sr
      9
52
      0
44
      0
45

Zr
      3
10
      7
10
      6
10

V
    18
15
      5
5
      4
5

Cr
2337
2605
2260
1905
3593
4755

Co
    47
87
    53
100
    69
195

Ni
1967
2180
2303
2945
2983
4720

Cu
    53

    34

    23


Zn
    33

    28

    38


Rb
      7
<2
      0
<2
      2
<2

Y
      0

      1

      2


Nb
      6

      0

      2


Ba
      8

    14

    12


Source
Asher
Mertzman
Asher
Mertzman
Asher
Mertzman

Analysis
XRF
XRF/WC
XRF
XRF/WC
XRF
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: Asher. Analysis by Pranoti Asher (Georgia Southern University) by XRF. Totals expressed on a volatile-free basis.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.  Reinen: Linda Reinen – Pomona College.

++++++++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP114
SRP114
SRP115
SRP115

Reinen #
CR-3
CR-3
VM-14
VM-14

SiO2
46.36
45.29
43.47
41.12

Al2O3
  1.63
1.24
  2.17
1.82

TiO2
  0.00
0.00
  0.04
0.04

Fe2O3

6.76

6.70

FeO

1.08

2.63

(Fe2O3)*
(7.87)
(7.96)
(9.65)
(9.62)

MgO
42.68
44.52
43.01
45.72

CaO
  0.02
0.06
  0.09
0.13

Na2O
  0.79
0.01
  0.91
0.01

K2O
  0.00
0.00
  0.00
0.00

MnO
  0.14
0.15
  0.16
0.16

P2O5
  0.00
0.02
  0.00
0.06

TOTAL
99.49
99.25
99.50
98.68

LOI

14.64

16.33

LOI1
LOI2
LOI3
LOI4
ppm
Sr
      0
50
      2
44

Zr
      9
15
      9
10

V
      3
3
    18
25

Cr
2705
2705
2632
2895

Co
    55
110
    64
142

Ni
2278
3100
2307
3815

Cu
    78

    11

Zn
    23

    28

Rb
      2
<2
      5
<2

Y
      0

      1

Nb
      0

      0

Ba
    37

      9


Source
Asher
Mertzman
Asher
Mertzman

Analysis
XRF
XRF/WC
XRF
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: Asher. Analysis by Pranoti Asher (Georgia Southern University) by XRF. Totals expressed on a volatile-free basis.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. Reinen: Linda Reinen – Pomona College.

+++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP116
SRP116
SRP117
SRP118
SRP118
SRP119




Reinen #
MG87-8-12
MG87-8-12





SiO2
44.28
43.96
40.74
46.94
46.31
49.23

Al2O3
  1.98
1.39
  0.36
  0.46
0.13
  0.20

TiO2
  0.01
0.02
  0.00
  0.00
0.01
  0.00

Fe2O3

3.71
  6.80

3.23
  3.04

FeO

5.51
  2.51

0.58
  1.78

(Fe2O3)*
(9.44)
(9.83)
(9.59)
(3.60)
(3.87)
(5.02)

MgO
40.16
40.75
46.89
48.02
48.93
44.00

CaO
 2.86
2.72
  0.09
  0.01
0.06
  0.05

Na2O
  0.60
0.03
  0.15
  0.73
0.00
  0.12

K2O
  0.03
0.00
  0.00
  0.00
0.00
  0.00

MnO
  0.16
0.16
  0.15
  0.06
0.08
  0.12

P2O5
  0.00
0.02
  0.01
  0.00
0.02
  0.01

SO3


  0.57


  0.74

TOTAL
99.52
98.88
98.55
99.82
99.41
99.49

LOI

6.83
17.23

14.57
13.69

LOI1





LOI2





LOI3





LOI4





ppm
Sr
      3
45
36
      0
45
28

Zr
      6
10
24
      6
10
27

V
    33
35
67
      0
5
42

Cr
2729
2805
5815
  929
1225
50

Co
    63
141
115
    24
70
60

Ni
1798
2565
2570
  806
1075
110

Cu
    61

10
    14

10

Zn
    33


    27

Rb
      5
<2
<2
      3
<2
<2

Y
      0


      0

Nb
      0


      0

Ba
    33


    18



Source
Asher
Mertzman
Mertzman
Asher
Mertzman
Mertzman

Analysis
XRF
XRF/WC
XRF/WC
XRF
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: Asher. Analysis by Pranoti Asher (Georgia Southern University) by XRF. Totals expressed on a volatile-free basis.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. Reinen: Linda Reinen – Pomona College.

++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
SRP120
SRP121
SRP122
SRP123
ROM #
W68-35
W68-55
W71-99
N-104-A
SiO2
45.72
44.25
43.78
44.58
Al2O3
1.27
3.14
2.90
0.86
TiO2
0.03
0.06
0.16
0.00
Fe2O3
5.64
7.32
7.30
7.09
FeO
3.19
2.29
2.26
2.85
(Fe2O3)*
(9.19)
(9.86)
(9.81)
(10.26)
MgO
42.93
41.27
42.41
43.07
CaO
0.10
0.71
0.15
0.10
Na2O
0.07
0.06
0.07
0.06
K2O
0.01
0.00
0.00
0.00
MnO
0.13
0.16
0.13
0.23
P2O5
0.12
0.01
0.03
0.01
SO3





TOTAL
99.57
99.52
99.44
99.17
LOI
12.92
12.19
11.61
12.58

ppm
Sr
93
85
80
84
Zr
28
32
31
33
V
78
88
111
73
Cr
1920
1695
1832
3363
Co
96
122
96
104
Ni
3301
2338
4018
3119

Source
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
TAL101
TAL102
TOC101
VER101
VER102
VER103
VER104


NMNH #


148696
C5284
95036-1



SiO2
63.23

46.76
41.60
43.20
41.74
44.21
Al2O3
  1.46

  0.78
14.85
13.88
13.63
10.96
TiO2
  0.03

  0.01
 1.73
 1.08
  1.24
1.21
Fe2O3
  0.55

  n.d.
18.80
 9.14
  4.52
7.27
FeO
  0.43

  n.d.
  0.79
 0.99
  5.02
1.61
(Fe2O3)*
(1.03)

(7.21)
(19.68)
(10.24)
(10.10)
(9.06)
MgO
32.46

44.27
14.22
24.10
22.51
26.06
CaO
  0.29

  0.11
 0.11
 1.33
  0.25
0.47
Na2O
  0.12

  0.13
 0.18
 0.27
  0.36
0.09
K2O
  0.00

  0.00
 7.62
 5.66
  9.39
6.86
MnO
  0.01

  0.16
 0.19
 0.09
  0.10
0.06
P2O5
  0.11

  0.01
 0.09
 0.02
  0.02
0.09
SO3
  0.25





0.18
TOTAL
99.08

99.44
100.27
99.87
99.34
99.25
LOI
  3.72

13.03
 6.82
11.03
  2.92
6.96

LOI1



  2.7
  7.6
 3.6

LOI2



  0.5
  5.4
 2.1

LOI3



  9.7
  9.9
 9.8

LOI4



12.9
22.9
15.5

ppm
Sr
25

    14
    37
  110
    57
56
Zr
54

    18
    29
    22
    32
22
V
41

    45
  199
  117
  110
30
Cr
3

1040
  125
2475
1960
226
Co
3





99
Ni
20





109
Cu
25

Rb
2







Source
Mertzman

Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC

XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

1 Loss on ignition upon heating sample (in air) to 110°C (%) at University of Winnipeg.

2 Loss on ignition upon heating sample (in air) from 110°C to 180°C (%) at University of Winnipeg.

3 Loss on ignition upon heating sample (in air) from 180°C to 700°C (%) at University of Winnipeg.

4 Total loss on ignition upon heating of sample from room temperature to 700°C (in air) (%) at Univ. of Winnipeg.

Abbreviations: LOI: loss on ignition. NMNH: Smithsonian Institution National Museum of Natural History.

++++++++++++++++++++++++++++++++++

3c. Compositional Data - Clays (continued)
Wt. %
VER106
SiO2
45.79

TiO2
1.26

Al2O3
22.23

FeO
7.06

Fe2O3
1.54

(Fe2O3)*
(9.39)

MnO
0.09

MgO
13.74

CaO
1.08

Na2O
3.60

K2O
2.64

P2O5
0.07

SO3
0.06


TOTAL
99.95

LOI
5.29


ppm
Sr
163

Zr
442

V
264

Ni
54

Cr
158

Co
22


Source
Mertzman

Analysis
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: Asher. Analysis by Pranoti Asher (Georgia Southern University) by XRF. Totals expressed on a volatile-free basis.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Abbreviations: LOI: loss on ignition. 

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

3d. Spectral Data - Clays
Note: see also section 45 for clays analysed by Raman (iRaman 532 at UWinnipeg)
Sample
Facility/File No. 
Description





ALL001
RELAB caal02
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

ALL001
RELAB laal02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

ALL001
PSF 120229b.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
ANN001
PSF 190524a00001.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190524 ann001].

ANN001
PSF ann001
<45 µm; 30°/0°; 2000-25000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Vertex 70 [Directory: 190524 ann001].

++++++
BEI101
RELAB cabe03
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BEI101
RELAB labe03
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BEI101
PSF may0106.008
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

BEI101
PSF abei101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
BEI101
PSF 120229b.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

BEI101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
BEI102
PSF 120228a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
BER101
RELAB cabe01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

BER101
RELAB labe01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

++++++
BER102
RELAB cabe02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

BER102
RELAB labe02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BER102
PSF may0106.003
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

BER102
PSF aber102
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
BER102
PSF 120229b.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

BER102
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
CEL101
RELAB c1ea19a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CEL101
RELAB bkr1ea019a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CEL101
RELAB bkr2ea019a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CEL101
PSF 120229b.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CEL102
RELAB c1ea20a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CEL102
RELAB bkr1ea020a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CEL102
RELAB bkr2ea020a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CEL102
PSF 120504a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120504_clays].

++++++
CHM101
RELAB cach15
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHM101
RELAB lach15
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CHM101
PSF 120229b.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CHM102
PSF 090421a.012
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CHM102
RELAB cach16
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHM102
RELAB lach16
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CHM102
PSF 050707chm102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.
CHM102
PSF 120707chm102
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

CHM102
PSF chm102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

CHM102
PSF mar2106.009
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

CHM102
PSF achm102
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
CHM102
PSF chm102m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

CHM102
PSF chm102n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

CHM102
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
CHM103
RELAB cach17
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHM103
RELAB lach17
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CHM103
PSF 120229b.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CHY101
RELAB caea13
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHY101
RELAB laea13
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CHY101
PSF 120229b.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CHY102
RELAB c1ea21a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CHY102
RELAB bkr1ea021a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CHY102
RELAB bkr2ea021a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CHY102
PSF 120229b.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CHY103
RELAB c1ea22a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CHY103
RELAB bkr1ea022a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CHY103
RELAB bkr2ea022a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CHY103
PSF 120229b.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CLA001
RELAB c1ea23a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CLA001
RELAB bkr1ea023a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CLA001
RELAB bkr2ea023a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CLA001
PSF 120229b.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CLA002
RELAB c1ea24a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CLA002
RELAB bkr1ea024a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CLA002
RELAB bkr2ea024a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CLA002
PSF 120229b.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CLA003
PSF 120229b.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++

CLA004
PSF 111201a.050
<1000 μm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CLA004
PSF 111201a.027
whole rock,  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CLA004
INO CLA004
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 3 sets of spectra acquired.

CLA004
INO CLA004_2
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 3 sets of spectra acquired.

++++++
CLA005
PSF 120504a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120504_clays].

++++++

CLA006
PSF 150422a.001
<1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].
CLI101
RELAB caea14
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CLI101
RELAB laea14
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CLI101
PSF 100413a.011
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

CLI101
PSF 080128a.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

CLI101
PSF nov1505.053
<45 μm; 0°/0° (bifurcated probe); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; spectrum acquired at start of Mars box run without sapphire window.
CLI101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
CLI102
RELAB c1ea25a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CLI102
RELAB bkr1ea025a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CLI102
RELAB bkr2ea025a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CLI102
PSF 120229b.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
CLI103
RELAB c1ea26a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

CLI103
RELAB bkr1ea026a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

CLI103
RELAB bkr2ea026a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

CLI103
PSF 120229b.014
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
COO001
PSF 120228a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
CRO101
RELAB cacr21
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRO101
RELAB lacr21
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CRO101
PSF pig1307.038
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CRO101
PSF may0106.004
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

CRO101
PSF acro101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
CRO101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
CRO102
RELAB cacr22
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRO102
RELAB lacr22
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

CRO102
PSF 120229b.015
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
DIC001
PSF 230313b.00008.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
DIC001
PSF 230217a00008.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
++++++

GLA101
RELAB C1SC19
<45µm, 0/15, 0.34-2.7µm, 5nm.

GLA101
RELAB c2sc19
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

GLA101
RELAB lasc19
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

GLA101
PSF 120229b.016
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
GLA102
RELAB c1ea08
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

GLA102
RELAB laea08
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

GLA102
PSF 120229b.017
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
GLA103
RELAB caea10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

GLA103
RELAB laea10
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

GLA103
PSF may0106.005
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

GLA103
PSF agla103
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
GLA103
PSF 120229b.018
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

GLA103
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
GLA104
RELAB caea11
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

GLA104
RELAB laea11
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

GLA104
PSF 120229b.018
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
GRE001
PSF jul1306.003
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

GRE001
PSF agre001
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).

GRE001
RELAB c1gr11a
<45 μm; 30°, 0°; 0.3-2.6 μm; 5 nm resolution.

GRE001
RELAB bir1gr011a
<45 µm; i=30°, e=0°; 1-25 µm; 0.2-20.5 nm resolution; Nicolet.

GRE001
RELAB bkr1gr011a
<45 µm; i=30, e=0°/30°; 0.3-25 µm; 5, 0.2-20.5 nm resolution; RELAB + Nicolet, merged at 1.37 μm; note different viewing geometry.
GRE001
PSF 120228a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

GRE001
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
GRE002
RELAB c1gr12a
<45 μm; 30°, 0°; 0.3-2.6 μm; 5 nm resolution.

GRE002
RELAB bir1gr012a
<45 µm; i=30°, e=0°; 1-25 µm; 0.2-20.5 nm resolution; Nicolet.

GRE002
RELAB bkr1gr012a
<45 µm; i=30, e=0°/30°; 0.3-25 µm; 5, 0.2-20.5 nm resolution; RELAB + Nicolet, merged at 1.37 μm; note different viewing geometry.

GRE002
PSF 120228a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
GYR001
RELAB cagy01
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

GYR001
RELAB lagy01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

GYR001
PSF 120228a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
GYR002
RELAB cagy02
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

GYR002
RELAB lagy02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

GYR002
PSF 120228a.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
HAL001
RELAB caha01
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

HAL001
RELAB laha01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

HAL001
PSF may0106.009
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

HAL001
PSF ahal001
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
HAL001
PSF 120229b.020
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

HAL001
See also section 22 for spectra acquired under ambient and Mars-like conditions.
HAL001
PSF 230313b.00013.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
HAL001
PSF 230217a00010.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
++++++Heated HAL001 series+++++++

HAL001_ambient
PSF 230313b.00013.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; unheated; ASD4 [Directory: 230313 heated kaolinite].

HAL001_100C
PSF 230313b.00014.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 100°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_200C
PSF 230313b.00015.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 200°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_300C
PSF 230313b.00016.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 300°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_400C
PSF 230313b.00017.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 400°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_500C
PSF 230313b.00018.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 500°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_600C
PSF 230313b.00019.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 600°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_700C
PSF 230313b.00020.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 700°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_800C
PSF 230313b.00021.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 800°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].

HAL001_900C
PSF 230313b.00022.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 900°C in air for 1 hour; ASD4 [Directory: 230313 metamorphic minerals].
++++++++++++Heated HAL001 – Raman+++++

<125 µm; 174-4002 cm-1 (535-675 nm); ~4 cm-1 resolution; 50 wM laser power; iRaman 532; samples heated in air for one hour at the various temperatures [Directory: 230331 baked clays].  
HAL001
PSF 230331_008_532_HAL001_ambient_1.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001
PSF 230331_009_532_HAL001_ambient_2.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

HAL001_100C
PSF 230331_010_532_HAL001_100_1.txtr
225 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_100C
PSF 230331_011_532_HAL001_100_2.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

HAL001_200C
PSF 230331_012_532_HAL001_200_1.txtr
125 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_200C
PSF 230331_013_532_HAL001_200_2.txtr
75 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

HAL001_300C
PSF 230331_014_532_HAL001_300_1.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_300C
PSF 230331_015_532_HAL001_300_2.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

HAL001_400C
PSF 230331_016_532_HAL001_400_1.txtr
250 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_400C
PSF 230331_017_532_HAL001_400_2.txtr
300 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

HAL001_500C
PSF 230331_018_532_HAL001_500_1.txtr
150 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_500C
PSF 230331_019_532_HAL001_500_2.txtr
800 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

HAL001_600C
PSF 230331_020_532_HAL001_600_1.txtr
7000 msec integration time; 20 spectra averaged; ambient conditions; shot 1.

HAL001_600C
PSF 230331_021_532_HAL001_600_2.txtr
7000 msec integration time; 20 spectra averaged; ambient conditions; shot 2.

HAL001_700C
PSF 230331_022_532_HAL001_700_1.txtr
25000 msec integration time; 20 spectra averaged; ambient conditions; shot 1.

HAL001_700C
PSF 230331_032_532_HAL001_700_2.txtr
37000 msec integration time; 20 spectra averaged; ambient conditions; shot 2.

HAL001_800C
PSF 230331_024_532_HAL001_800_1.txtr
1500 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_800C
PSF 230331_025_532_HAL001_800_2.txtr
2500 msec integration time; 20 spectra averaged; ambient conditions; shot 2.

HAL001_900C
PSF 230331_026_532_HAL001_900_1.txtr
500 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

HAL001_900C
PSF 230331_027_532_HAL001_900_2.txtr
500 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

+++++++++++++++

HAL002
PSF 230313b.00001.asd
<106 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230313 metamorphic minerals].
HAL002
PSF 230217a00011.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230217 Metamorphic AlandSi].
++++++

HEC101
RELAB c1ea27a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

HEC101
RELAB bkr1ea027a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

HEC101
RELAB bkr2ea027a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

HEC101
PSF 120229b.021
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
HEC102
PSF 120228a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

HIS001
RELAB cahi01
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

HIS001
RELAB lahi01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

HIS001
PSF may0106.006
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

HIS001
PSF ahis001
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
HIS001
PSF 120228a.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

+++++HIS001 – Raman+++++

HIS001
PSF 250318_Hisingerite_000-532-001.txtr
<45 µm powder. Spot 1; 174-4002 cm-1; 4 cm-1 resol.; 60000 ms integration time; 20 spectra averaged.

HIS001
PSF 250318_Hisingerite_000-532-002.txtr
<45 µm powder. Spot 2; 174-4002 cm-1; 4 cm-1 resol.; 60000 ms integration time; 20 spectra averaged.

HIS001
PSF 250318_Hisingerite_000-532-003.txtr
<45 µm powder. Spot 3; 174-4002 cm-1; 4 cm-1 resol.; 60000 ms integration time; 20 spectra averaged.

HIS001
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
IDD001
RELAB caid01
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

IDD001
RELAB laid01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

IDD001
PSF 120229b.022
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
ILL101
RELAB cail01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

ILL101
RELAB lail01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

ILL101
PSF 120229b.023
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120229_clays].

++++++
ILL102
RELAB cail02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

ILL102
RELAB lail02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

ILL102
PSF 120218a.025
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
ILL105
PSF 130910a.015
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

ILL105
PSF 120228a.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
ILS103
RELAB cail03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

ILS103
RELAB lail03
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

ILS103
PSF 130910a.005
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

ILS103
PSF 120218a.026
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
ILS104
RELAB cail04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

ILS104
RELAB lail04
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

ILS104
PSF emix0823.011
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

ILS104
PSF 120218a.027
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

ILS104
PSF ILS104
<45 µm dry-sieved; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

++++++
Jeffrey-1
PSF 170208a.001
<45 µm; dry sieved; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD3 [Directory: 170208 grinding]; see also section 15.20.6.
KAO101
RELAB caka01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

KAO101
RELAB laka01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

KAO101-5B
PSF 090602a.012
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

KAO101-5A
PSF 090602a.013
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

KAO101
PSF 090602a.014
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

KAO101
PSF jul1306.004
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

KAO101
PSF akao101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).
KAO101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
KAO102
RELAB caka02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

KAO102
RELAB laka02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

KAO102
PSF 120218a.028
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
KAO103
RELAB caka03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

KAO103
RELAB laka03
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

KAO103
PSF 071212a.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

KAO103
PSF 111201a.032
<45 μm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

KAO103
INO KAO103
<45 μm;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 1 spectrum acquired.

++++++Heated KAO103 series+++++++
KAO103_ambient
PSF 230313c.00001.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; unheated; ASD4 [Directory: 230313 heated kaolinite].

KAO103_100C
PSF 230313c.00002.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 100°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_200C
PSF 230313c.00003.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 200°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_300C
PSF 230313c.00004.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 300°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_400C
PSF 230313c.00005.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 400°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_500C
PSF 230313c.00006.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 500°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_600C
PSF 230313c.00007.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 600°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_700C
PSF 230313c.00008.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 700°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_800C
PSF 230313c.00009.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 800°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

KAO103_900C
PSF 230313c.00010.asd
<125 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; heated to 900°C in air for 1 hour; ASD4 [Directory: 230313 heated kaolinite].

++++++Heated KAO103 – Raman+++++
<125 µm; 174-4002 cm-1 (535-675 nm); ~4 cm-1 resolution; 50 wM laser power; iRaman 532; samples heated in air for one hour at the various temperatures [Directories: 230324 baked clays and 230331 baked clays].  
KAO103
PSF 230324_000_532_KAO103_ambient_1.txtr
1000 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103
PSF 230324_001_532_KAO103_ambient_2.txtr
750 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_100C
PSF 230324_002_532_KAO100_1.txtr
250 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_100C
PSF 230324_003_532_KAO100_2.txtr
250 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_200C
PSF 230324_004_532_KAO200_1.txtr
100 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_200C
PSF 230324_005_532_KAO200_2.txtr
100 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_300C
PSF 230324_006_532_KAO300_1.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_300C
PSF 230324_007_532_KAO300_2.txtr
200 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_400C
PSF 230324_008_532_KAO400_1.txtr
500 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_400C
PSF 230324_009_532_KAO400_2.txtr
300 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_500C
PSF 230324_010_532_KAO500_1.txtr
400 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_500C
PSF 230324_011_532_KAO500_2.txtr
800 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_600C
PSF 230331_000_532_KAO600_1.txtr
700 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_600C
PSF 230331_002_532_KAO600_2.txtr
700 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

KAO103_700C
PSF 230331_002_532_KAO700_1.txtr
7500 msec integration time; 20 spectra averaged; ambient conditions; shot 1.

KAO103_700C
PSF 230331_003_532_KAO700_2.txtr
7500 msec integration time; 20 spectra averaged; ambient conditions; shot 2.

KAO103_800C
PSF 230331_004_532_KAO800_1.txtr
1500 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_800C
PSF 230331_005_532_KAO800_2.txtr
7000 msec integration time; 20 spectra averaged; ambient conditions; shot 2.

KAO103_900C
PSF 230331_006_532_KAO900_1.txtr
600 msec integration time; 100 spectra averaged; ambient conditions; shot 1.

KAO103_900C
PSF 230331_007_532_KAO900_2.txtr
400 msec integration time; 100 spectra averaged; ambient conditions; shot 2.

+++++++
KAO104
RELAB caka04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

KAO104
RELAB laka04
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

KAO104
PSF emix0823.009
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

KAO104
PSF 120218a.029
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
KM001
PSF 007 pa1.DPT
Unknown grain size - powder; ammonium-treated and washed; i=30°, e=0°; 2000-16000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Bruker Vertex 70 [Directory: 190522 mengel clays].

KM001
PSF 190514b00001.asd
Unknown grain size – powder; ammonium-treated and washed; i=30°, e=0°; 0.35-2.5 µm ; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190514 mengel nh4 clays]. 

++++++

KM002
PSF 002 1-b-xr.DPT
Unknown grain size - powder; ammonium-treated and washed; i=30°, e=0°; 2000-16000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Bruker Vertex 70 [Directory: 190522 mengel clays].

KM002
PSF 190514b00002.asd
Unknown grain size – powder; ammonium-treated and washed; i=30°, e=0°; 0.35-2.5 µm ; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190514 mengel nh4 clays]. 

+++++KM002 (1 B-XR) – mini-ME Mars box+++++

1 B-XR
PSF 230621a.00022.asd
NH4-treated saponite, <45 µm powder; before mini-ME, no window; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230621 Mini-me].

1 B-XR
PSF 230627a.00008.asd
NH4-treated saponite, <45 µm powder; 1 day at 500-650 Pa through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230627 1 day].

1 B-XR
PSF 230629a.00009.asd
NH4-treated saponite, <45 µm powder; 1 day at 1E-5 Torr through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230629 1 day high vac].

++++++

KM003
PSF 000 3-stx-16.DPT
Unknown grain size - powder; ammonium-treated and washed; i=30°, e=0°; 2000-16000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Bruker Vertex 70 [Directory: 190522 mengel clays].

KM003
PSF 190514b00003.asd
Unknown grain size – powder; ammonium-treated and washed; i=30°, e=0°; 0.35-2.5 µm ; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190514 mengel nh4 clays]. 

++++++

KM004
PSF 004 2-ti.DPT
Unknown grain size - powder; ammonium-treated and washed; i=30°, e=0°; 2000-16000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Bruker Vertex 70 [Directory: 190522 mengel clays].

KM004
PSF 190514b00004.asd
Unknown grain size – powder; ammonium-treated and washed; i=30°, e=0°; 0.35-2.5 µm ; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190514 mengel nh4 clays]. 

++++++

KM005
PSF 001 4-swy-2.DPT
Unknown grain size - powder; ammonium-treated and washed; i=30°, e=0°; 2000-16000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Bruker Vertex 70 [Directory: 190522 mengel clays].

KM005
PSF 190514b00005.asd
Unknown grain size – powder; ammonium-treated and washed; i=30°, e=0°; 0.35-2.5 µm ; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190514 mengel nh4 clays]. 

++++++

LAP001
PSF 120228a.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
LEP101
RELAB caea12
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

LEP101
RELAB laea12
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

LEP101
PSF 120218a.030
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
MIC002
PSF 120228a.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

MIC003
PSF 120218a.031
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

+++++++

MIC004
PSF 120218a.032
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

+++++++

MIC005
PSF 120218a.033
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++

MIN001
RELAB c1mn01a
<45 μm; 30°, 0°; 0.3-2.6 μm; 5 nm resolution.

MIN001
RELAB bir1mn001a
<45 µm; i=30°, e=0°; 1-25 µm; 0.2-20.5 nm resolution; Nicolet.

MIN001
RELAB bkramn001a
<45 µm; i=30, e=0°/30°; 0.3-25 µm; 5, 0.2-20.5 nm resolution; RELAB + Nicolet, merged at 1.37 μm; note different viewing geometry.

MIN001
PSF 120228a.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

MIN002
RELAB c1mn02a
<45 μm; 30°, 0°; 0.3-2.6 μm; 5 nm resolution.

MIN002
PSF jul1306.006
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

MIN002
PSF amin002
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).

MIN002
RELAB bir1mn002a
<45 µm; i=30°, e=0°; 1-25 µm; 0.2-20.5 nm resolution; Nicolet.

MIN002
RELAB bkramn002a
<45 µm; i=30, e=0°/30°; 0.3-25 µm; 5, 0.2-20.5 nm resolution; RELAB + Nicolet, merged at 1.37 μm; note different viewing geometry.
MIN002
PSF 120228a.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

MIN002
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
MIN003
RELAB c1mn03a
<45 μm; 30°, 0°; 0.3-2.6 μm; 5 nm resolution.

MIN003
RELAB bir1mn003a
<45 µm; i=30°, e=0°; 1-25 µm; 0.2-20.5 nm resolution; Nicolet.

MIN003
RELAB bkr1mn003a
<45 µm; i=30, e=0°/30°; 0.3-25 µm; 5, 0.2-20.5 nm resolution; RELAB + Nicolet, merged at 1.37 μm; note different viewing geometry.

MIN003
PSF 120228a.014
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

MON101
RELAB camo01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MON101
RELAB lamo01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

MON101
PSF 050707mon101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

MON101
PSF 120707mon101
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

MON101
PSF mon101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

MON101-4B
PSF 090602a.015
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

MON101-4A
PSF 090602a.016
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

MON101
PSF 090602a.017
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

MON101
PSF jun0506.005
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

MON101
PSF amon101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).
MON101
PSF mon101m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

MON101
PSF mon101n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

MON101
PSF 120218a.034
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

MON101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
MON102
RELAB camo02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MON102
RELAB lamo02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

MON102
PSF 120218a.035
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
MON103
PSF 090421a.011
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

MON103
RELAB c1ea28a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

MON103
RELAB bkr1ea028a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

MON103
RELAB bkr2ea028a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

MON103
PSF 111201a.031
<45 μm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

MON103
PSF 111201a.003
whole rock,  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

MON103
INO MON103
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

MON103
PSF emix0823.010
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

MON103
PSF 120218a.036
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
MON104
PSF 120228a.015
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays]. Spectrum may be wrong – looks like nontronite.
++++++

MON105
PSF 120228a.016
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

MON106
PSF 130910a.006
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

MON106
PSF 120228a.019
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

MON106
PSF 120504a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120504_clays].

++++++
MON107
PSF 130910a.007
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

MON107
PSF 120228a.020
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

MON107
PSF 120504a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120504_clays].

++++++
MON108
PSF 150812a.003
unsorted as-received powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra averaged; ASD [Directory: 150812 Random clays].

+++++MON1084nh4n – mini-ME Mars box+++++

MON108nh4n
PSF 230621a.00023.asd
NH4-treated saponite, <45 µm powder; before mini-ME, no window; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230621 Mini-me].

MON108nh4n
PSF 230627a.00009.asd
NH4-treated saponite, <45 µm powder; 1 day at 500-650 Pa through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230627 1 day].

MON108nh4n
PSF 230629a.00010.asd
NH4-treated saponite, <45 µm powder; 1 day at 1E-5 Torr through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230629 1 day high vac].

++++++

NEO101
RELAB c1ea29a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

NEO101
RELAB bkr1ea029a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

NEO101
RELAB bkr2ea029a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

NEO101
PSF 120218a.037
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
NEO102
PSF 120228a.021
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

NON101
PSF 090421a.010
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

NON101
RELAB c1ea30a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

NON101
RELAB bkr1ea030a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

NON101
RELAB bkr2ea030a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

NON101
PSF 050707non101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

NON101
PSF 120707non101
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

NON101
PSF non101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.


NON101
PSF jul1306.007
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

NON101
PSF nov1505.051
<45 μm; 0°/0° (bifurcated probe); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; spectrum acquired at start of Mars box run without sapphire window.

NON101
PSF anon101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).
NON101
PSF non101m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

NON101
PSF non101n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).
NON101
PSF 210610a00002.asd
whole rock, green side, spot 1; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON101
PSF 210610a00003.asd
whole rock, green side, spot 2; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON101
PSF 210610a00004.asd
whole rock, green side, spot 3; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
NON102
PSF 120228a.017
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

NON102
PSF 210610a00001.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

++++++

NON103
PSF 130910a.014
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

NON103
PSF 120228a.018
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++
NON104
PSF 130910a.008
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

NON104
PSF 120504a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120504_clays].

++++++
NON105
PSF 210610a00005.asd
<45 µm powder; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON105
PSF 210610a000065.asd
45-90 µm powder; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON105
PSF 210610a00007.asd
90-106 µm powder; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON105
PSF 210610a00008.asd
106-212 µm powder; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON105
PSF 210610a00009.asd
212-430 µm powder; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

NON105
PSF 210610a00010.asd
430-1000 µm powder; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 2100610 Nontronites].

++++++
PHL101
RELAB c1ea31a
unsorted powder; 30°0°; 0.3-2.6µm, 5 nm resolution.

PHL101
RELAB bkr1ea031a
unsorted powder; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

PHL101
RELAB bkr2ea031a
unsorted; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

PHL101
PSF 090127a.003
<1 mm, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Probably not properly calibrated.

PHL101
PSF 090313a.014
<1 mm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

++++++
PIG006
RELAB caec06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG006
RELAB laec06
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG006
PSF 080708.pig006
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics.

PIG006
PSF 130910a.009
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

++++++
PLY101
RELAB c1ea32a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

PLY101
RELAB bkr1ea032a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

PLY101
RELAB bkr2ea032a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

PLY101
PSF 120218a.038
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
PLY102
PSF 120228a.022
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

REC001
PSF 120228a.023
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

SAP101
RELAB casa57
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SAP101
RELAB lasa57
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SAP101
PSF 100413a.016
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

SAP101
PSF may0106.007
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

SAP101
PSF asap101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
SAP101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
SAP102
RELAB casa58
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SAP102
RELAB lasa58
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SAP102
PSF 120218a.039
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SAP103
RELAB casa59
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SAP103
RELAB lasa59
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SAP103
PSF 120218a.040
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SAP104
PSF 150629b.007
unsorted (fine-grained); measured at room temperature; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponite].
SAP104f
PSF 150626a.008
unsorted (fine-grained); measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit].

SAP104
PSF 150629b.007
unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

SAP104
PSF SAP104
unsorted fine powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

SAP104
PSF 200505a.vertex.002.Specac_nMCT_MIR_KBr_b_6_6mmap_SAP104_unsorted.dpt

Unsorted; i=30°, e=0°; 1.27-16 µm; 4 cm-1 resolution; 500 spectra averaged; boxcar/fill: 2; Bruker Vertex 70 [Directory: 200505 saponites].
+++++SAP104nh4n – min-ME Mars box+++++

SAP104nh4n
PSF 230621a.00016.asd
NH4-treated saponite, <45 µm powder; before mini-ME, no window; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230621 Mini-me].

SAP104nh4n
PSF 230627a.00002.asd
NH4-treated saponite, <45 µm powder; 1 day at 500-650 Pa through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230627 1 day].

SAP104nh4n
PSF 230629a.00003.asd
NH4-treated saponite, <45 µm powder; 1 day at 1E-5 Torr through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230629 1 day high vac].

++++++

SAP105
PSF 200505a.vertex.000.Specac_nMCT_MIR_KBr_b_6_6mmap_MUD001_sub45.dpt

<45 µm; i=30°, e=0°; 1.27-16 µm; 4 cm-1 resolution; 500 spectra averaged; boxcar/fill: 2; Bruker Vertex 70 [Directory: 200505 saponites].
SAP105
PSF 200505a.vertex.001.Specac_nMCT_MIR_KBr_b_6_6mmap_MUD001_sub1000.dpt

<1000 µm; i=30°, e=0°; 1.27-16 µm; 4 cm-1 resolution; 500 spectra averaged; boxcar/fill: 2; Bruker Vertex 70 [Directory: 200505 saponites].
SAP105
PSF 150812a.001
unsorted as-received powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra averaged; ASD [Directory: 150812 Random clays].

SAP105nh4w
PSF 201028a.vertex.000.Specac_nMCT_NIR_KBr_REF_3_4mmap_SAP105NH4W_PELLET


Specular pressed pellet; i=e=30; 1.27-16 um; 1000 spectra averaged; boxcar/zerofill: 2; Bruker Vertex 70 [Directory: 201028 specular].

+++++SAP105nh4n – mini-ME Mars box+++++

SAP105nh4n
PSF 230621a.00017.asd
NH4-treated saponite, <45 µm powder; before mini-ME, no window; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230621 Mini-me].

SAP105nh4n
PSF 230627a.000023asd
NH4-treated saponite, <45 µm powder; 1 day at 500-650 Pa through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230627 1 day].

SAP105nh4n
PSF 230629a.00004.asd
NH4-treated saponite, <45 µm powder; 1 day at 1E-5 Torr through sapphire window; mini-ME; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230629 1 day high vac].

++++++

SEP101
RELAB c1ea33a
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SEP101
RELAB bkr1ea033a
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SEP101
RELAB bkr2ea033a
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SEP101
PSF 120218a.041
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SEP102
PSF 120228a.024
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120228_clays].

++++++

SEP103
PSF 150812a.002
unsorted as-received powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra averaged; ASD [Directory: 150812 Random clays].

++++++
SRP101
RELAB casr06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SRP101
RELAB lasr06
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SRP101
PSF 120218a.042
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP102
RELAB casr07
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SRP102
RELAB lasr07
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SRP102
PSF 120218a.043
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP104
RELAB casr09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SRP104
RELAB lasr09
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SRP104
PSF 130910a.010
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

SRP104
PSF nov1505.052
<45 μm; 0°/0° (bifurcated probe); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; spectrum acquired at start of Mars box run without sapphire window.

SRP104
PSF 111201a.030
<45 µm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).
SRP104
PSF 120218a.044
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

SRP104
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
SRP105
RELAB casr10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SRP105
RELAB lasr10
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SRP105
PSF 120218a.045
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP106
RELAB casr11
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP106
RELAB bkr1sr011
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP106
RELAB bkr2sr011
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP106
PSF 100413a.026
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

++++++
SRP107
RELAB casr12
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP107
RELAB bkr1sr012
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP107
RELAB bkr2sr012
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP107
PSF 120218a.046
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP108
RELAB casr13
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP108
RELAB bkr1sr013
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP108
RELAB bkr2sr013
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP108
PSF 120218a.047
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP109
RELAB casr14
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP109
RELAB bkr1sr014
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP109
RELAB bkr2sr014
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP109
PSF 120218a.048
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP110
RELAB casr15
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP110
RELAB bkr1sr015
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP110
RELAB bkr2sr015
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP110
PSF 120218a.049
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP111
RELAB bkr1sr016
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP111
RELAB bkr2sr016
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP111
PSF 120218a.050
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP112
RELAB casr17
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP112
RELAB bkr1sr017
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP112
RELAB bkr2sr017
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP112
PSF 120218a.051
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP113
RELAB casr18
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP113
RELAB bkr1sr018
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP113
RELAB bkr2sr018
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP113
PSF 120218a.052
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP114
RELAB casr19
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP114
RELAB bkr1sr019
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP114
RELAB bkr2sr019
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP114
PSF 120218a.053
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP115
RELAB casr20
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP115
RELAB bkr1sr020
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP115
RELAB bkr2sr020
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP115
PSF 120218a.054
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD Directory: 120218_clays].

++++++
SRP116
RELAB casr21
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP116
RELAB bkr1sr021
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP116
RELAB bkr2sr021
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP116
PSF 120218a.055
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP117
RELAB casr22
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

SRP117
RELAB lasr22
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SRP117
PSF 100413a.001
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

++++++
SRP118
RELAB casr23
<45µm; 30°0°; 0.3-2.6µm, 5 nm resolution.

SRP118
RELAB bkr1sr023
<45µm; 30°/0°,30°; 0.3-50µm; 5/0.6-475 nm resolution; RELAB and Nicolet merged near 1.3 µm; note change in viewing geometry.

SRP118
RELAB bkr2sr023
<45µm; 30°/0°,30°; 0.3-50µm; 5/1.1-475 nm resolution; RELAB and Nicolet merged near 2.5 µm; note change in viewing geometry.

SRP118
PSF 120218a.056
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP119
RELAB casr24
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SRP119
RELAB lasr24
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

SRP119
PSF 120218a.057
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
SRP120
PSF 131020a.006
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

SRP120
PSF 131021a.006
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

SRP120
PSF 120627a
unsorted – sample mechanically crushed for 25 seconds; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 200 spectra averaged (directory: Serp ROM).

++++++

SRP121
PSF 131020a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

SRP121
PSF 131021a.002
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

++++++

SRP122
PSF 131020a.005
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

SRP122
PSF 131021a.005
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

++++++

SRP123
PSF 131020a.004
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

SRP123
PSF 131021a.004
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

++++++
TAL101
RELAB caea15
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

TAL101
RELAB laea15
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

TAL101
PSF pig1307.039
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).


+++++++++++

Test of number of averages on spectral quality – TAL101

TAL101
PSF Test.004
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 1000 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.005
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 500 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.006
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 200 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.007
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 100 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.008
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 50 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.009
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 10 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.010
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 5 spectra averaged [Directory: Test (111006_number of averages test)].

TAL101
PSF Test.011
<45 µm; 30°/0°; 0.35-2.5 μm; 1 nm spectral output; ASD; 1000 averages on standard and dark; 1 spectrum only of clay [Directory: Test (111006_number of averages test)].

++++++
TAL102
PSF 120218a.058
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
TOC101
RELAB cato02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

TOC101
RELAB lato02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

TOC101
PSF 120218a.059
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
Tochilinite
RELAB
<125 μm; 30°/0°; 0.3-2.6 μm (RELAB archive).
++++++
VER101
RELAB cave01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

VER101
RELAB lave01
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

VER101
PSF 120218a.060
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
VER102
RELAB cave02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

VER102
RELAB lave02
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

VER102
PSF 120218a.061
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

++++++
VER103
RELAB cave03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

VER103
RELAB lave03
<45µm, 30°/0°,30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

VER103
PSF 120218a.062
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 120218_clays].

+++++

VER106???????????

+++++++++++++++++++++++++++++
3.3.d. Intercalated Clays

ASB003nh4n
PSF 170215a.005
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

ASB003nh4n
PSF a5.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

ASB003nh4w
PSF 170215a.006
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

ASB003nh4w
PSF a6.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

ASB2675nh4n
PSF 170215a.007
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

ASB267nh4n
PSF b1.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

ASB267nh4w
PSF 170215a.008
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

ASB267nh4w
PSF b2.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

MON108nh4n
PSF 170215a.001
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

MON108nh4n
PSF a1.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

MON108nh4w
PSF 170215a.002
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

MON108nh4w
PSF a2.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

SAP104nh4n
PSF 170215a.009
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

SAP104nh4n
PSF b3.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

SAP104nh4w
PSF 170215a.010
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

SAP104nh4w
PSF b4.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

SAP105nh4n
PSF 170215a.003
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

SAP105nh4n
PSF a3.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

SAP105nh4w
PSF 170215a.004
<45 µm; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

SAP105nh4w
PSF a4.dpt
<45 µm; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

+++++++++++++++++++++++++++
3.6d. Samples from Nick Tosca/Adrian Brown for spectroscopy – August 2022

5128.4
PSF 220816a.00001.asd
<2 µm fraction; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 220816 stevensite].

5128.4
PSF 220816a.vertex.000.Specac_nMCT_MIR_KBr_C_8_4mmap_STE102


<2 µm fraction; i=30°, e=30°; 1.27-15 µm; 6 cm-1 resolution; 500 spectra averaged; Vertex 70 [Directory: 220816 stevensite].

++++++
5127.7
PSF 220816a.00002.asd
<2 µm fraction; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 220816 stevensite].

5127.7
PSF 220816a.vertex.001.Specac_nMCT_MIR_KBr_C_8_4mmap_STE101


<2 µm fraction; i=30°, e=30°; 1.27-15 µm; 6 cm-1 resolution; 500 spectra averaged; Vertex 70 [Directory: 220816 stevensite].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 3.

4. Borates, Nitrates, Nitrites, Phosphates
4a. Sample Descriptions - Borates, Nitrates, Nitrites, Phosphates
 [FORMAT: Sample #, type, locality,  association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample
Description








4.1a. Borates

BOR001
Kernite: Boron, Kern Co., CA, USA; with borax and mud [Na2B4O6(OH)2 ●3H2O] (may attract moisture from the air; store in closed container; Minerals Unlimited) received July 25, 2008.

BOR002
Tincalconite (originally labelled as borax): Boron, Kern Co., CA, USA [Na2B4O5 (OH)4●3H2O] (Minerals Unlimited) received July 25, 2008.
BOR003
Borax (sodium tetraborate): US Borax and Chemical Corp. – 20 Mule Team Borax (99% pure) [Na2B4O7·10H2O]; ~500 grams (purchased Sept. 9, 2017). Rehydrates after crushing?
+++++++

4.2a. Nitrates
NIT001
Sodium nitrate [NaNO3], synthetic. Anachemia #83720-300 (500 g); crystals, reagent ACS. (For Italians carbonates on Mars project).

NIT002
Potassium nitrate [KNO3], synthetic. Anachemia #74336-300 (500 g); crystals, reagent ACS. (For Italians carbonates on Mars project).

NIT003
Ferric nitrate nonahydrate [Fe3+(NO3)3 · 9H2O]. Fisher Scientific #I110-500; lot #017128. For nanophase iron production (from University of Winnipeg Department of Chemistry stores Dec. 8, 2009).
NIT004
Ammonium nitrate, synthetic. University of Winnipeg Department of Chemistry stores. Anachemia, technical grade, 95-100% purity); lot #210703.
NIT005
Calcium nitrate tetrahydrate, synthetic [Ca(NO3)2 · 4H2O] . Sigma Aldrich #C1396, ≥99.0%;  500 grams; received June 2017.

NIT006
Magnesium nitrate hexahydrate, synthetic [Mg(NO3)2 · 6H2O]. Sigma Aldrich #63087, ACS reagent 98.0-102.0% (KT); 250 grams; received June 2017.

NIT007
Ammonium nitrate, synthetic; ≥99.5%. Sigma Aldrich #A7455, lot #SHBG6943V; 2.5 kilograms. Cemented during crushing and sieving.
++++++++

4.3a. Nitrites
NTR001
Sodium nitrite (NaNO2)(?): EMD #SX0665-1, reagent grade 99.5%. From University of Winnipeg Department of Chemistry stores.

++++++++++++++++++

4.4a. Phosphates
PHS101
Chlorapatite: Oodegarden, Bamle Parish, Telemark, Norway (Minerals Unlimited). (Was APA101).

PHS102
Apatite: Jacupiranga Mine, Sao Paulo State, Brazil (Nature's Treasures), with magnetite MAG101, analysis incomplete, originally labelled as olivine OLV014. No sample left. (Was APA102).

PHS103
Fluorapatite: Cave dell'Osa, Rome, Latium, Italy (Dr. David Garske #G19c), with melilite MEL102 and nepheline NEP102. Too intimate to separate? (Was APA103).

PHS104
Apatite: Wilson's Corner, Quebec (Dr. David Garske #AL14b), originally PYX004. Location of sample presently unknown. (Was APA104).

PHS105
Graftonite: Palermo Mine, North Groton, New Hampshire, USA (Minerals Unlimited), [(Fe,Mn)3(PO4)2], with triphyllite TRI101. (Was GRA101).

PHS106
Sarcopside: Bull Moose Mine, Custer County, South Dakota, USA (Minerals Unlimited), [(Fe,Mn)3(PO4)2]. (Was SAR101).

PHS107
Ammonium phosphate, dibasic: ((NH4)2HPO4); synthetic (J.T. Baker Chemical Co.), reagent grade, 99.9% purity. (Was PHO101).

PHS108
Triphyllite: Palermo Mine, North Groton, New Hampshire, USA (Minerals Unlimited), with graftonite GRA101. (Was TRI101). (formula: LiFe2+PO4).
PHS109
Whitlockite: Palermo Mine, North Groton, New Hampshire (Minerals Unlimited), [ideally Ca9(Mg,Fe2+)H(PO4)7], too intimate and sparse to separate. (Was WHI101).
PHS110
Turquoise; locality unknown [CuAl6(PO4)4(OH)8 · 4H2O [Discovery Minerals Ltd.; Edmonton, AB] 2 pieces.

PHS111
Whitlockite: Big Fish River, YT, Canada [ideally Ca9(Mg,Fe2+)H(PO4)7] [Discovery Minerals Ltd.: Edmonton, AB, Canada  - August 2008].
PHS111b
Merrillite – baked/dehydrated whitlockite (Sept. 2020). Heated in air at 1100C for 22 hours. (merrillite formula: Ca18Na2Mg2(PO4)14).
PHS112
Anhydrous potassium hydrogen phosphate [KH2PO4] (synthetic); UW Chemistry stores?

PHS113
Anhydrous sodium hydrogen phosphate (dibasic); [Na2HPO4]UW Chemistry stores?
PHS114
Anhydrous potassium hydrogen phosphate [KH2PO4] (synthetic); UW Chemistry stores; BDH Chemicals, lot 11818/67214; assay 99.5%.

PHS115
Anhydrous sodium hydrogen phosphate [Na2HPO4·7H2O]; UW Chemistry stores; BDH Chemicals, lot# 126284/117477; assay: 98-102%.
PHS120
Whitlockite: Tip Top Mine, Custer Co., SD, USA (Excalibur Minerals) (originally labelled as PHS111 for some strange reason (received Dec. 6, 2007). [ideally Ca9(Mg,Fe2+)H(PO4)7]
PHS121
Magnesium phosphate tribasic, hydrate (synthetic), 98+% pure [Mg3P2O8 – xH2O]. Fisher Scientific/ Acros Organics/ Anachemia: AC391942500; lot: A0349081; 250 grams, received October 2017.

PHS200
Monazite-(Ce): Elk Mountain, NM, USA; Cerium lanthanum neodymium thorium phosphate; 10 fragments:~10 grams total weight [ideal formula:  (Ce,La,Nd,Th)(PO4,SiO4)]. (Minerals Unlimited description: brown crystal portions); received August 2023.
PHS201
Monazite-(Ce): Iveland, Setesdal, Norway; Cerium lanthanum neodymium thorium phosphate; 2 fragments: ~12 grams total weight [ideal formula:  (Ce,La,Nd,Th)(PO4,SiO4)]. (Minerals Unlimited description: brown crystal portions); received August 2023.

PHS202
Carbonate-hydroxylapatite; variety dahllite: near Cody, Beartooth Mountains, WY, USA; Calcium hydroxylcarbonate-phosphate; 1 fragment: radial partial nodule [ideal formula: Ca10(PO4)6(CO3)(H2O), or Ca5(PO4)3(OH)]. (Minerals Unlimited description: fibrous radial nodule portion); received August 2023.
PHS203
Fluoroapatite, in rock: Ham & Weeks Mine, Wakefield, Carroll Co., NH, USA; Calcium fluophosphate; crystalline mass, rich (pure?); gray-white, transparent/translucent [ideal formula: Ca5(PO4)3F]. (Minerals Unlimited description: crystalline mass, rich (pure?); fluorescent yellow, short wave UV); received August 2023.
PHS204
Fluoroapatite: Cerro de Mercado, Durango, Mexico; Calcium fluophosphate; 20 glassy clear crystal pieces; pale green [ideal formula: Ca5(PO4)3F]. (Minerals Unlimited description: glassy clear crystal pieces; received August 2023.

PHS205
Chlorapatite: Sannidal, near Kragero, Telemark, Norway; Calcium chlorophosphate; intermixed but high purity mass [ideal formula: Ca5(PO4)3Cl]. (Minerals Unlimited description: very intetrmixed masses (feldspar and magnesiohornblende); received August 2023.

PHS206
Fluoroapatite: Greenwood, Maine, USA; Calcium fluophosphate; 1 nearly pure green crysyalline mass [ideal formula: Ca5(PO4)3F]. (Minerals Unlimited description: crystalline mass, rich (pure?)); received August 2023.

PHS207
Rhabdophane-(Ce): Lovozero Massif, near Kirovsk, Murmansk Oblast, Kola Peninsula, Russia; Hydrous cerium lanthanum phosphate; 7 small vials, ~50% purity [ideal formula: (Ce,La)PO4• (H2O)]. (Minerals Unlimited description: seven little capsules with about 50% rock in them); August 2023. (usually white acicular crystals or crust-like aggregates).
PIG319
Vivianite, blue ochre (catalogue no. 410-20S). 10 grams. (green/blue group). See section 19 of this document for data.
++++++++
4.4.3a. Eden Lake carbonatite (with REE apatite – Hamid Mimin: Brandon University – August 2023)
EA-1, EA-12
REE fluorapatite concentrate; Eden Lake, ~82% pure; +40, -30 mesh. Mixed together?

EA-4

REE fluorapatite concentrate; Eden Lake; ~92% pure; +30/-20 concentrate..

EA

Whole rock containing REE fluorapatite.

++++++++
4.4.4a. Synthetic samples (cerium monazites) from Emmanuel Lalla – December 2023

1:31
Disc mounted white pressed pellet, ~1 cm diameter, 1 mm thick.

PREP_12_2
~ 2 grams of fine-grained white powder. 1:32 Ce:P.
PRE 14_2
~ 2 grams of fine-grained white powder. 1:32 Ce:P.
PREP 18_2
~ 2 grams of fine-grained white powder. 1:32 Ce:P.
PRE 1:32
~1 gram of fine-grained white powder. 1:32 Ce:P.
+++++++++++++

4.4.5a. Vivianite pigments from Australia (October 2024)

Description, locality: Samples from Demon’s Bluff Gems, Australia (Etsy). Description: Sourced by hand from the Great Ocean Road, Australia (Victoria State). Vivianite pigment 6 pack quality Australian gemstone pgments, and vivianite gemtone pigment rough stones, Australia.
PHS300 
Jungle Mist Vivianite Pigment V2 (ochre.blue); 10 grams.

PHS301
Shadow Green Vivianite Pigment V2 (ochre.blue); 10 grams.

PHS302
Camouflage Green Vivianite Pigment V2 (ochre.blue); 10 grams.

PHS303
Midnight Blue Vivianite Pigment V2 (ochre.blue); 10 grams.

PHS304
San Marino Blue Vivianite Pigment V2 (ochre.blue); 10 grams.
PHS305
River Bed Blue Vivianite Pigment V2 (ochre.blue); 10 grams.
PHS306
Blue Ochre Pigment Stone  (“Vivianite Gemstone Pigment Rough Stones Australia); 3 ~1” stones: deep blue with partial red weathered surfaces; 30 grams total.

+++++++++++++++++++++++++++++++++
4.5a. Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	Borax
	 
	*AN30 (CERAM)


++++++++++++++++++++++++++++++++
4.6a. Samples from Zayn Wolf – May 2024

1- Chlorapatite (ChaBamNor)

3- Apatite (ApaPerOnt)
9 - Blue apatite (BiApat)
14 - Chlorapatite (ChaOdeNor)

17 - Carbonate-fluorapatite monazite (CarFluMon)


+++++++++++++++++++++++++++++++++++++++++++++
4b. XRD Data - Borates, Nitrates, Nitrites, Phosphates
(i) Measured on HOSERLab Bruker D8 (April 2015)

Sample


Phases identified by XRD

4.1b. Borates: XRD data

BOR001 – fresh

PDF 01-070-1527: kernite

BOR001 – exposed1
PDF 01-070-1527: kernite (i.e., no change).

BOR001 – exposed2
PDF 01-070-1527: kernite (i.e., no change).

++++++

BOR002 – fresh

PDF 00-007-0277: tincalconite

BOR001 – exposed1
PDF 00-007-0277: tincalconite (i.e., no change).

+++++++++++++++
(ii) Measured on HOSERLab Bruker D8 (February, 2019)

Sample


Phases identified by XRD
BOR003 (should be borax)
Borax and tincalconite – solid identification.

++++++++++++++++++++++++
4.2b. Nitrates: XRD data

NIT001 – fresh

PDF 00-036-1474: nitratine (sodium nitrate)

NIT001 – exposed1
PDF 00-036-1474: nitratine (sodium nitrate) (i.e., no change)

++++++

NIT002 – fresh

PDF 01-071-1558: niter (potassium nitrate)

NIT002 – exposed1
PDF 01-071-1558: niter (potassium nitrate) (i.e., no change)

++++++

NIT003 – fresh

No PDF match; sample changed very rapidly
NIT003 – exposed1
No PDF match; sample changed very rapidly

++++++
NIT004 - fresh

PDF 00-008-0452: ammonium nitrate (nitrammite)

NIT004 – exposed1
PDF 00-008-0452: ammonium nitrate (nitrammite) (i.e., no change)

++++++++++++++++
Feb. 2019 UWinnipeg HOSERLab Bruker D8 identifications:

NIT007 


Pure ammonium nitrate (nitrammite) – solid identification.

++++++++++++++++++++++++

4.3b. Nitrites: XRD data

NTR001 – fresh

PDF 00-006-0392: sodium nitrite

NTR001 – exposed1
PDF 00-006-0392: sodium nitrite (i.e., no change)

++++++++++++++++++++++++++++++++++++++++

Exposed1: sample left open to ambient air for 48 hours.
Exposed2: sample left in sealed container for 48 hours with water to have 100% relative humidity to see if sample hydration changes.
++++++++++++++++++++++++++++++++++++++++
4.4b. Phosphates: XRD data

PHS107

Phosphammite (NH4)2(HPO4); berborite (Be2(BO3)(OH)-H2O (May 2025) 

PHS111

Whitlockite, quartz

PHS111b
(Heated sample: in air at 1100C for 22 hours) – merrillite, quartz

PHS121

bobierrite, newberryite, brucite, barictite, cattitite, plus two significant unidentified peaks (Nov. 2017 run).
PHS121

Vivianite, brucite, phosphorrossslite (Mg(PO3OH)-(7H2O) (May 2025).

January 2025 UW XRD analysis

PHS300: vivianite, quartz, baricite (Mg2.25Fe2+0.75(PO4)2•8(H2O))
PHS301: vivianite, siderite, quartz, something ambiguous that could be barringerite (Fe2P or (Fe,Ni)2P); portlandite ((Ca(OH)2)), brownmillerite (Ca2(Al,Fe)2O5) (or something with a similar structure)

PHS302: vivianite, quartz, siderite, possibly metavariscite (Al(PO4)•2(H2O)), possibly brownmillerite (Ca2(Al,Fe)2O5)  (or something with a similar structure)

PHS303: vivianite, quartz, and something ambiguous like hydrosodalite (Na6[AlSiO4]6·8H2O or sodic plag

PHS304: vivianite, quartz, siderite, something ambiguous; possibly brownmillerite  (Ca2(Al,Fe)2O5) (or something with a similar structure)

PHS305: quartz, vivianite, siderite, something ambiguous; possibly portlandite ((Ca(OH)2)), or buchwaldite (NaCa(PO4).
PHS306: quartz, vivianite, siderite, something ambiguous; possibly portlandite ((Ca(OH)2)), or buchwaldite (NaCa(PO4).

++++++++++++++++++
4.5.b. Samples from Zayn Wolf – May 2024

XRD results from Wolf

ChaBamNor
Majority carbonate, monazite (~8 wt.%), strontianite (SrCO3, ~6 wt.%), fluoroapatite (~7 wt. %), quartz (~7 wt. %). XRD detection: dolomite; monazite (Ce); fluorapatite; quartz; strontianite.

ApaPerOnt
~85 wt. % apatite with calcite (~5 wt.%); actinolite (~5 wt.%); leucite (~2 wt.%); quartz (~1 wt.%). XRD detection: hydroxylapatite; fluorapatite; calcite; actnolite; leucite; quartz.

BlApat
~95 wt.% apatite (maybe a combo of fluor- and hydroxyl-, but cannot use XRD to tell apart; ~5 wt.% quartz. XRD detection: fluorapatite; fluorapatite; hydroxylapatite; quartz.

ChaOdeNor
Mostly chlorapatite (~75 wt.%); with hydroxylapatite (~10 wt.%); mica (phlogopite- 4 wt.% and biotite – 6 wt.%); and talc (~4 wt.%). XRD detection: biotite-1M; hydroxylapatite; chlorapatite; chlrorapatite; phlogopite; talc-2M.

CarFluMon
Majority (carbonate); monazite (~8 wt.%); strontianite (SrCO3, ~6 wt.%); fluorapatite (~7 wt.%); quartz (~7 wt.%). XRD detection: dolomite; monazite (Ce); fluorapatite; quartz; strontianite.

++++++++++++++++++++++++++++++++++++++++++++++++++++++

4c. Compositional Data -  Borates, Nitrates, Nitrites, Phosphates
BORATES

Wt.%
BOR001
BOR002
BOR003

SiO2
0.00
0.00
0.00
TiO2
0.00
0.00
0.00
Al2O3
0.00
0.03
0.01
(Fe2O3)*
1.24
0.81
0.32
FeO
0.00
0.00
0.10
Fe2O3
1.24
0.81
0.21
MnO
0.12
0.06
0.016
MgO
0.00
0.00
0.00
CaO
0.04
0.11
0.03
Na2O
23.29
22.75
17.24
K2O
0.00
0.05
0.000
P2O5
0.02
0.02
0.011
SO3
0.05
0.05
0.080
Cl
0.20
0.00


LOI
7.11
25.58
44.70
TOTAL
31.87
49.46
17.705
ppm

Rb


<2
Sr
123
144
50
Zr
84
92
45
V
<1
<1
<2
Ni


Cr
<1
<1
<2
Co




Wt.%^

N


C


S




Source
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC





* - all Fe reported as Fe2O3.
^ - N, C, and S determined using a light element analyzer. Due to the small amount of sample used, there may be issues of sample heterogeneity and representativeness.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
4c. Compositional Data -  Borates, Nitrates, Nitrites, Phosphates (continued)
NITRATES

NIT001
NIT002
NIT004
NIT007
Wt.%


NH3NO3


SiO2
0.00
0.00
0.00

TiO2
0.00
0.00
0.00

Al2O3
0.00
0.00
0.07

(Fe2O3)*
0.15
0.00
(0.04)

FeO
0.03
0.00
0

Fe2O3
0.12
0.00
0.04
MnO
0.014
0.013
0.009

MgO
0.00
0.00
1.67

CaO
0.02
0.00
0.05

Na2O
42.21
0.04
0.00

K2O
0.015
56.027
0.004

P2O5
0.000
0.000
0.003

SO3a
0.060
0.080
0.070

Cl


0.118


TOTAL
42.465
56.160
2.037
0.00
LOI
45.68
59.20
99.62
100.00

ppm

Rb
<2
<2
<1

Sr
50
30
20

Zr
45
25
29

V
<2
<2
<2

Ni


<2

Cr
<2
<2
<2

Co


<2


Wt.%^

N


36.66

C


0.29

S


0


Source
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC




* - all Fe reported as Fe2O3.
^ - N, C, and S determined using a light element analyzer. Due to the small amount of sample used, there may be issues of sample heterogeneity and representativeness.

A - SO3 content may represent a minimum value due to heating of the sample twice.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

4c. Compositional Data -  Borates, Nitrates, Nitrites, Phosphates (continued)

NITRATES
Wt. %
NIT001
NIT0011
NIT002
NIT0021
NIT007
NIT0071
N
16.262
15.593
13.085
13.223
31.933
32.971

C
0.215
0.041
0.143
0.189
0.054
0.099

S
0.72
0.68
0.53
0.49
1.27
1.46

SO3
1.80
1.70
1.32
1.22
3.17
3.65

Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

analysis







1 Duplicate analysis

4c. Compositional Data -  Borates, Nitrates, Nitrites, Phosphates (continued)
PHOSPHATES

Wt. %
PHS101
PHS102
PHS104
PHS105
PHS105
PHS106
PHS106  PHS108
P2O5
38.73
 n.d.

40.29

38.87

 n.d.

Cr2O3
 0.11
 0.03

 0.04

0.02

 0.00

MnO
 0.15
 0.01

14.33
14.33
12.44
12.02
 8.70

TiO2
 0.09
 0.00

 0.02

0.00

 0.00

SiO2
 0.05
 0.05

 0.00

0.09

 0.34

Al2O3
 tr.
 0.06

 0.00

0.00

 2.48

FeO
 0.28*
 0.03*

31.23

32.87

29.49

Fe2O3
 n.d.
 n.d.

 0.00

13.79

 0.00

MgO
 0.22
 0.16

 1.54

 0.12

 3.16

Na2O
 0.00
 n.d.

 0.00

0.00

 n.d.

ZrO2
 0.00
 n.d.

 0.00

0.00

 n.d.

Nb2O5
 0.00
 n.d.

 0.00

0.00

 n.d.

CaO
53.33
54.83

10.98

tr.

 3.54

NiO
 0.00
 0.00

 0.02 

0.03

 0.00

ZnO
 0.00
 n.d.

 0.22
0.22
n.d.
0.02
 0.00

F
 0.00
 n.d.

 0.00
0.07
n.d.
0.00
 n.d.

Cl
 6.23
 n.d.

 0.00
0.01
0.00
0.01
 n.d.


TOTAL
99.19
55.17

98.67

98.23

47.71

O=F,Cl
-1.41


TOTAL
97.78







NUMBER OF IONS ON THE BASIS OF 26 O,OH,F,Cl (apatite) & 8 O,OH,F,Cl (others)

P
 5.861
n.d.

1.980

1.932

n.d.

Nb
  --
n.d.

 --

 --

n.d.

Si
 0.009
n.d.

 --

0.005

n.d.

Ti
 0.012
n.d.

0.001

 --

n.d.

Zr
  --
n.d.

 --

 --

n.d.

Cr
 0.015
n.d.

0.002

0.001

n.d.

Al
 0.001
n.d.

 --

 --

n.d.

Fe3+
  --
n.d.

 --

0.609

n.d.

Mn
 0.023
n.d.

0.704

0.619

n.d.

Fe2+
 0.042
n.d.

1.516

1.614

n.d.

Mg
 0.059
n.d.

0.133

0.011

n.d.

Ca
10.214
n.d.

0.683

 tr.

n.d.

Ni
  --
n.d.

 tr.

0.001

n.d.

Zn
  --
n.d.

0.009

 --

n.d.

Na
  --
n.d.

 --

 --

n.d.

F
  --
n.d.

 --

 --

n.d.

Cl
 1.887
n.d.

 --

 --

n.d.

OH
  --
n.d.

 --

 --

n.d.

Total
18.123
n.d.

5.028

4.792

n.d.

Source
U of C
U of A

U of C
U of A
U of C
U of A
U of A

Analysis
EMPA-8
EMPA-1

EMPA-8
EMPA-6
EMPA-8
EMPA-6
EMPA1

* All Fe reported as FeO.
Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. U of A: University of Alberta EMPA.
1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
4c. Compositional Data -  Borates, Nitrates, Nitrites, Phosphates (continued)
PHOSPHATES

Wt. %
PHS106
PHS107
PHS112
PHS112
PHS113
SiO2
0.00
0.00

0.57
1.51
TiO2
0.00
0.00

0.00
0.01
Al2O3
0.05
0.02

0.12
0.48
FeO
33.19
0.00

0.10
0.07
Fe2O3
10.51
0.17
0.00
0.31
0.37
Fe2O3*
46.40
0.17

0.42
0.45
MnO
12.33
0.00

0.06
0.02
MgO
0.51
0.00

0.00
0.00
CaO
0.06
0.05

0.05
0.17
Na2O
0.39
0.00

0.00
44.50
K2O
0.00
0.00

38.80
0.28
P2O5
39.28
68.63

59.92
52.42
SO3
0.12
0.08

0.03
0.14
TOTAL
100.14
58.95

99.97
99.98
LOI
3.74
75.54
13.56
13.56
12.51
ppm

Sr
15
39

1
5
Zr
11
43

8
347
V
55
<2

5
3
Cr
43
50

<2
236
Co
<2
<2

2
8

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* All Fe reported as Fe2O3. Total based on all Fe as Fe2O3.
Note: Source and Analysis: Mertzman: analyses by Stan Mertzman – Franklin and Marshall College. XRF: X-ray fluorescence; WC: wet chemistry for ferrous versus ferric iron.

LOI: loss on ignition: weight loss upon heating sample to 950C in air for one hour.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
	Specimen
	PHS-300
	PHS-301
	PHS-302
	PHS-303

	SiO2
	5.72
	5.99
	9.22
	4.05

	TiO2
	0.09
	0.10
	0.14
	0.04

	Al2O3
	0.97
	1.15
	1.49
	1.41

	Fe2O3T
	60.15
	61.07
	60.28
	60.68

	MnO
	0.07
	0.08
	0.12
	0.05

	MgO
	0.85
	0.30
	0.34
	0.49

	CaO
	0.14
	0.07
	0.14
	0.12

	Na2O
	0.16
	0.20
	0.17
	0.44

	K2O
	0.11
	0.12
	0.16
	0.04

	P2O5
	31.58
	30.90
	27.71
	32.44

	Total
	99.84
	99.98
	99.77
	99.76

	LOI
	22.65
	24.39
	23.49
	24.99

	FeO
	11.34
	19.04
	17.40
	9.79

	Fe2O3
	47.55
	39.91
	40.94
	49.80

	
	
	
	
	

	Rb
	<3
	<3
	<3
	<3

	Sr
	<3
	<3
	<3
	<3

	Zr
	27
	30
	45
	9

	Cr
	<3
	<3
	<3
	<3

	V
	25
	29
	33
	15

	Ba
	366
	106
	161
	64

	Source
	Mertzman

XRF/WC
	Mertzman

XRF/WC
	Mertzman

XRF/WC
	Mertzman

XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

	Specimen
	PHS-304
	PHS-305
	PHS-306

	SiO2
	5.91
	10.58
	0.68

	TiO2
	0.10
	0.14
	0.03

	Al2O3
	1.16
	2.06
	0.65

	Fe2O3T
	61.15
	59.21
	64.05

	MnO
	0.09
	0.11
	0.07

	MgO
	0.30
	0.35
	0.35

	CaO
	0.08
	0.15
	0.09

	Na2O
	0.19
	0.36
	0.13

	K2O
	0.11
	0.17
	0.03

	P2O5
	30.89
	27.15
	33.71

	Total
	99.98
	100.28
	99.79

	LOI
	25.30
	24.92
	27.34

	FeO
	14.92
	13.76
	27.41

	Fe2O3
	44.57
	43.92
	33.59

	
	
	
	

	Rb
	<3
	<3
	<3

	Sr
	<3
	<3
	<3

	Zr
	31
	44
	5

	Cr
	<3
	<3
	<3

	V
	34
	36
	11

	Ba
	102
	158
	50

	Source
	Mertzman

XRF/WC
	Mertzman

XRF/WC
	Mertzman

XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

4c. Eden Lake analytical data 
From Hamid Mumin report - carbonatite (with REE apatite – Hamid Mimin: Brandon University)

Samples from Hamid Mumin – Brandon University – August 2023.

See analytical notes

Element




EA-1
EA-12
EA-4

(ppm)

Sr




6710
7160
6800

Ba




361
373
390

Y




1040
1090
1120

La




3940
3800
4100

Ce




8350
9050
8950

Pr




1330
1300
1410

Nd




5450
5270
5750

Sm




907
964
969

Eu




211
224
228

Gd




635
646
679

Tb




61.8
64.6
67.4

Dy




232
248
251

Ho




33.3
34.9
35.9

Er




74.3
76.9
77.1

Tm




7.81
8.37
8.05

Yb




36.5
39.2
37.7

Lu




3.41
3.48
3.62

P2O5 (wt.%)



31.2
33.4
35.81

% apatite in concentrate


78.9
84.5
90.6

Total REEs



21,273
21,729
22.566

Total REEs normalized to 100% apatite
26,949
25,714
24,907

Source: Mumin et al. (2009)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

4c. Compositional Data -  Borates, Nitrates, Nitrites, Phosphates (continued)
PHOSPHATES

4.5.c. Samples from Zayn Wolf – May 2024

	Report Number: A23-18044
	
	
	
	
	
	
	
	

	Report Date: 23/2/2024
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	Analyte Symbol
	Unit Symbol
	Detection Limit
	Analysis Method
	1 - Chloroapatite (ChaBamNor)
	3 - Apatite (ApaPerOnt)
	9 - Blue apatite (BlApat)
	14 - Chloapatite (ChaOdeNor)
	17 - Carbonate-fluoroapatite monazite (CarFluMon)

	C-Total
	%
	0.01 
	CS
	
	
	
	
	

	Total S
	%
	0.01 
	CS
	
	
	
	
	

	Cl
	%
	0.01 
	INAA
	2.44 
	0.11 
	0.14 
	3.31 
	< 0.01

	Mass
	g
	
	INAA
	1.02 
	1.01 
	1.04 
	1.04 
	1.02 

	F
	%
	0.01 
	FUS-ISE
	0.49 
	3.06 
	3.43 
	0.24 
	0.23 

	SiO2
	%
	0.01 
	FUS-ICP
	1.93 
	2.19 
	5.19 
	11.61 
	5.84 

	Al2O3
	%
	0.01 
	FUS-ICP
	0.11 
	0.07 
	0.09 
	2.28 
	0.22 

	Fe2O3(T)
	%
	0.01 
	FUS-ICP
	0.29 
	0.25 
	0.24 
	0.91 
	6.9 

	MnO
	%
	0.005 
	FUS-ICP
	0.014 
	0.025 
	0.055 
	0.009 
	2.567 

	MgO
	%
	0.01 
	FUS-ICP
	0.06 
	0.58 
	0.01 
	6.48 
	13.53 

	CaO
	%
	0.01 
	FUS-ICP
	53.53 
	54.04 
	53.16 
	40.31 
	22.06 

	Na2O
	%
	0.01 
	FUS-ICP
	0.1 
	0.07 
	0.08 
	0.45 
	0.03 

	K2O
	%
	0.01 
	FUS-ICP
	0.01 
	< 0.01
	< 0.01
	0.99 
	0.01 

	TiO2
	%
	0.001 
	FUS-ICP
	< 0.001
	0.003 
	0.001 
	0.414 
	0.004 

	P2O5
	%
	0.01 
	FUS-ICP
	43.06 
	40.62 
	39.6 
	32.55 
	4.43 

	LOI
	%
	
	GRAV
	-0.38 
	0.73 
	0.33 
	2.3 
	31.52 

	Total
	%
	0.01 
	FUS-ICP
	98.71 
	98.58 
	98.77 
	98.29 
	86.02 

	Sc
	ppm
	1 
	FUS-ICP
	1 
	< 1
	2 
	8 
	13 

	Be
	ppm
	1 
	FUS-ICP
	< 1
	< 1
	< 1
	< 1
	3 

	V
	ppm
	5 
	FUS-ICP
	32 
	22 
	38 
	529 
	31 

	Ba
	ppm
	2 
	FUS-ICP
	4 
	4 
	21 
	22 
	5359 

	Sr
	ppm
	2 
	FUS-ICP
	159 
	2018 
	618 
	157 
	46650 

	Y
	ppm
	1 
	FUS-ICP
	1637 
	109 
	258 
	1939 
	63 

	Zr
	ppm
	2 
	FUS-ICP
	2 
	18 
	18 
	7 
	94 

	Cr
	ppm
	20 
	FUS-MS
	< 20
	30 
	30 
	< 20
	< 20

	Co
	ppm
	1 
	FUS-MS
	< 1
	< 1
	< 1
	< 1
	< 1

	Ni
	ppm
	20 
	FUS-MS
	< 20
	< 20
	30 
	70 
	< 20

	Cu
	ppm
	10 
	FUS-MS
	20 
	10 
	30 
	< 10
	< 10

	Zn
	ppm
	30 
	FUS-MS
	< 30
	< 30
	< 30
	< 30
	1490 

	Ga
	ppm
	1 
	FUS-MS
	16 
	4 
	16 
	23 
	75 

	Ge
	ppm
	1 
	FUS-MS
	< 1
	< 1
	< 1
	2 
	3 

	As
	ppm
	5 
	FUS-MS
	23 
	41 
	24 
	14 
	33 

	Rb
	ppm
	2 
	FUS-MS
	< 2
	< 2
	< 2
	41 
	< 2

	Nb
	ppm
	1 
	FUS-MS
	< 1
	< 1
	3 
	< 1
	5 

	Mo
	ppm
	2 
	FUS-MS
	< 2
	< 2
	< 2
	< 2
	> 100

	Ag
	ppm
	0.5 
	FUS-MS
	< 0.5
	< 0.5
	< 0.5
	< 0.5
	< 0.5

	In
	ppm
	0.2 
	FUS-MS
	< 0.2
	< 0.2
	< 0.2
	< 0.2
	0.4 

	Sn
	ppm
	1 
	FUS-MS
	1 
	< 1
	2 
	< 1
	2 

	Sb
	ppm
	0.5 
	FUS-MS
	< 0.5
	< 0.5
	< 0.5
	< 0.5
	< 0.5

	Cs
	ppm
	0.5 
	FUS-MS
	< 0.5
	< 0.5
	< 0.5
	0.7 
	< 0.5

	La
	ppm
	0.1 
	FUS-MS
	1120 
	297 
	1450 
	549 
	13300 

	Ce
	ppm
	0.1 
	FUS-MS
	2910 
	629 
	3140 
	1590 
	20400 

	Pr
	ppm
	0.05 
	FUS-MS
	390 
	77.3 
	338 
	260 
	1670 

	Nd
	ppm
	0.1 
	FUS-MS
	1700 
	291 
	1070 
	1280 
	4700 

	Sm
	ppm
	0.1 
	FUS-MS
	372 
	44.2 
	143 
	392 
	262 

	Eu
	ppm
	0.05 
	FUS-MS
	39 
	9.62 
	16 
	39.8 
	47.9 

	Gd
	ppm
	0.1 
	FUS-MS
	380 
	33 
	88.7 
	481 
	70.6 

	Tb
	ppm
	0.1 
	FUS-MS
	54.3 
	4.2 
	10 
	74 
	5.3 

	Dy
	ppm
	0.1 
	FUS-MS
	295 
	22.5 
	52 
	429 
	20.7 

	Ho
	ppm
	0.1 
	FUS-MS
	55.8 
	4.1 
	8.8 
	78.7 
	2.6 

	Er
	ppm
	0.1 
	FUS-MS
	148 
	10.8 
	22.3 
	201 
	3.7 

	Tm
	ppm
	0.05 
	FUS-MS
	18.4 
	1.41 
	2.67 
	24.7 
	0.39 

	Yb
	ppm
	0.1 
	FUS-MS
	109 
	8.6 
	15.5 
	134 
	1.8 

	Lu
	ppm
	0.01 
	FUS-MS
	15.6 
	1.13 
	1.96 
	17.8 
	0.23 

	Hf
	ppm
	0.2 
	FUS-MS
	0.3 
	< 0.2
	0.2 
	< 0.2
	1.4 

	Ta
	ppm
	0.1 
	FUS-MS
	0.1 
	0.4 
	0.8 
	< 0.1
	< 0.1

	W
	ppm
	1 
	FUS-MS
	2 
	3 
	1 
	< 1
	< 1

	Tl
	ppm
	0.1 
	FUS-MS
	< 0.1
	< 0.1
	< 0.1
	< 0.1
	< 0.1

	Pb
	ppm
	5 
	FUS-MS
	7 
	14 
	20 
	< 5
	13 

	Bi
	ppm
	0.4 
	FUS-MS
	< 0.4
	< 0.4
	< 0.4
	< 0.4
	< 0.4

	Th
	ppm
	0.1 
	FUS-MS
	126 
	94 
	1860 
	45 
	78.6 

	U
	ppm
	0.1 
	FUS-MS
	7.3 
	18.5 
	60 
	3.2 
	2.3 

	Li
	ppm
	0.1 
	TD-MS
	1.2 
	2.3 
	0.8 
	1.9 
	0.9 

	As
	%
	0.01 
	FUS-Na2O2
	
	
	
	
	

	Co
	%
	0.002 
	FUS-Na2O2
	
	
	
	
	

	Cu
	%
	0.005 
	FUS-Na2O2
	
	
	
	
	

	Mo
	%
	0.001 
	FUS-MS-Na2O2
	
	
	
	
	0.019 


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

4d. Spectral Data - Borates, Nitrates, Nitrites, Phosphates
Sample
Facility/File No. 
Description







4.1. Borates
BOR001
PSF 080730a.000
<500 μm; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

BOR001
PSF bor001
<500 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

BOR001
PSF bor001 smoothed
<500 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

++++++

BOR002
PSF 080730a.001
<500 μm; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

BOR002
PSF bor002
<500 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

BOR002
PSF bor002 smoothed
<500 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

++++++++++++++++++++++++++++++++
4.2. Nitrates
NIT001
PSF 081222a.037
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

NIT001
PSF nit001
<45 µm; ~3 cm-1 resolution; 2-16 µm, 30°/0°; D&P; Hanning apodized.
NIT001
PSF nit001nosm
<45 µm; ~3 cm-1 resolution; 2-16 µm, 30°/0°; D&P; no smoothing.

NIT001
PSF nit001
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

NIT001
PSF nit001 smoothed
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

++++++

NIT002
PSF 081222a.038
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

NIT002
PSF nit002
<45 µm; ~3 cm-1 resolution; 2-16 µm, 30°/0°; D&P; Hanning apodized.

NIT002
PSF nit002nosm
<45 µm; ~3 cm-1 resolution; 2-16 µm, 30°/0°; D&P; no smoothing.

NIT002
PSF nit002
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

++++++
NIT003-purple
PSF 150408a.007
<1 mm, purple slushy crystals, “fresh” sample from jar (slightly altered in jar); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150408 random chems].

NIT003-orange1
PSF 150408a.002
<1 mm, dark orange crystals, left out in air overnight; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150408 random chems].

NIT003-orange2
PSF 150408a.003
<1 mm, dark orange crystals, left in desiccator with Drierite overnight; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150408 random chems].

NIT003-purple
PSF nit003 purple
<1 mm, purple slushy crystals, “fresh” sample from jar (slightly altered in jar); i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

NIT003-purple
PSF nit003 purple smoothed
<1 mm, purple slushy crystals, “fresh” sample from jar (slightly altered in jar); i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

NIT003-orange
PSF nit003 orange
<1 mm, dark orange crystals, sample left out in air overnight; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

NIT003-orange
PSF nit003 orange smoothed
<1 mm, dark orange crystals, sample left out in air overnight; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

++++++

NIT004
PSF 141127.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141127_AmmNit].

NIT004
PSF ca3
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR]. (see section 29 for transmission spectra of sample in KBr disk).
NIT004
PSF B2_6
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 141204]. (see section 29 for transmission spectra of sample in KBr disk).
+++++++++++++++++++++++++++++++++

4.3. Nitrites
NTR001
PSF 081222a.039
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

NTR001
PSF ntr001
<45 µm; ~3 cm-1 resolution; 2-16 µm, 30°/0°; D&P.

NTR001
PSF ntr001
<45 µm, fresh sample from jar; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

NTR001
PSF ntr001 smoothed
<45 µm, fresh sample from jar; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

+++++++++++++++++++++++++++++++++
4.4. Phosphates
(i) Reflectance

PHS101
RELAB caap03
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS101
RELAB laap03
<45 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.
PHS101
PSF 231006a00001.asd
<45 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++
PHS102
RELAB caap04
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS102
RELAB laap04
<45 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

PHS102
PSF 231006a00002.asd
<45 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++
PHS103
PSF 231006a00003.asd
<45 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

+++++
PHS105
RELAB cagf01
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS105
RELAB lagf01
<45 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

++++++
PHS106
RELAB casa44
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS106
RELAB lasa44
<45 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

PHS106
PSF 231006a00004.asd
45-90 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++
PHS107
RELAB caph17
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS107
RELAB laph17
<45 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

PHS107
RELAB cbph17
45-90 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS107
RELAB laph17b
45-90 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

PHS107
PSF ca4
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].

PHS107
PSF 250502a.00001.asd
<45 µm powder; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 150502 PHS107].
++++++
PHS108
RELAB catr01
<45 µm, 30/0, 0.3-2.6µm, 5 nm.

PHS108
RELAB latr01
<45 µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

PHS108
PSF 231006a00019.asd
<45 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++
PHS109
PSF 231006a00006.asd
<45 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS111
PSF 201001a.00001.asd
<150 µm, 30/0, 0.35-2.5 µm, 1 nm output; 500 spectra averaged; ASD4 [Directory: 201001 phs111[.

PHS111b
PSF 201001a.00002.asd
<150 µm, 30/0, 0.35-2.5 µm, 1 nm output; 500 spectra averaged; ASD4 [Directory: 201001 phs111[.

PHS111
PSF 231006a00007.asd
<45 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++
PHS113
PSF 231006a00009.asd
<106 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS121
PSF 250430a00001.asd
Unosrted fine powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 250430 PHS121].

++++++

PHS200
PSF 231006a00010.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS201
PSF 231006a00011.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS202
PSF 231006a00012.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS203
PSF 231006a00015.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS204
PSF 231006a00014.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS205
PSF 231006a00015.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS206
PSF 231006a00016.asd
<125 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PHS207
PSF 231006a00017.asd
<106 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

++++++

PIG319
PSF pig0911.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG319
PSF pig0911.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG319
PSF 080123a.021
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++

EA-4
PSF 231006a00018.asd
<106 µm; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231006 Phosphates].

+++++++Wolf Phosphates – June 2024+++++++++++++
1-Chlorapatite (ChaBamNor)
PSF 240606b.00001.asd
<45 µm; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240606 Phosphates wolf].
3-Apatite (ApaPerOnt)
PSF 240606b.00002.asd
<45 µm; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240606 Phosphates wolf].

9-Blue Apatite (BiApat)
PSF 240606b.00003.asd
<45 µm; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240606 Phosphates wolf].

14-Chlorapatite (ChaOdeNor)
PSF 240606b.00004.asd
<45 µm; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240606 Phosphates wolf].

17-Carbonate fuorapatite monazite (CarFluMon)
PSF 240606b.00001.asd
<45 µm; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240606 Phosphates wolf].

++++++++++++++++++
New vivianites – Oct. 2024

ASD spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD 4 [Directory: 241031 Vivianite Pigments]. Shot on as-received powders.
PHS306
PSF 241031a.00001.asd
Whole rock, A; rusty spot; red dots.

PHS306
PSF 241031a.00002.asd
Whole rock, B; non- rusty spot; red dots.

PHS306
PSF 241031a.00003.asd
Whole rock, S; rusty spot; yellow dots.

PHS306
PSF 241031a.00004.asd
Whole rock, D; dark metallic spot; yellow dots.

PHS306
PSF 241031a.00005.asd
Whole rock, E; non-rusty spot; yellow dots.

PHS306
PSF 241031a.00006.asd
Whole rock, F; rusty spot; green dots.

PHS306
PSF 241031a.00007.asd
Whole rock, G; non- rusty spot; green dots.

+++++

PHS300
PSF 241031a.00009.asd
Unsorted powder; spot 1.

PHS300
PSF 241031a.00010.asd
Unsorted powder; spot 2.

PHS300
PSF 241031a.00011.asd
Unsorted powder; spot 3.

+++++

PHS301
PSF 241031a.00012.asd
Unsorted powder; spot 1.

PHS301
PSF 241031a.00013.asd
Unsorted powder; spot 2.

PHS301
PSF 241031a.00014.asd
Unsorted powder; spot 3.

+++++

PHS302
PSF 241031a.00015.asd
Unsorted powder; spot 1.

PHS302
PSF 241031a.00016.asd
Unsorted powder; spot 2.

PHS302
PSF 241031a.00018.asd
Unsorted powder; spot 3.

+++++

PHS303
PSF 241031a.00019.asd
Unsorted powder; spot 1.

PHS303
PSF 241031a.00020.asd
Unsorted powder; spot 2.

PHS303
PSF 241031a.00021.asd
Unsorted powder; spot 3.

+++++

PHS304
PSF 241031a.00022.asd
Unsorted powder; spot 1.

PHS304
PSF 241031a.00023.asd
Unsorted powder; spot 2.

PHS304
PSF 241031a.00024.asd
Unsorted powder; spot 3.

+++++

PHS305
PSF 241031a.00025.asd
Unsorted powder; spot 1.

PHS305
PSF 241031a.00026.asd
Unsorted powder; spot 2.

PHS305
PSF 241031a.00027.asd
Unsorted powder; spot 3.

++++++++++++++++++++++++++++++++++++++

(ii) 365 nm induced fluorescence. Measured with Maya spectrometer: 201-1132 nm reflectance; ~1.8 nm resolution; 0.46-0.49 nm sampling interval; i=35°, e=10°; 50 spectra averaged [Directory: 231123 Phosphate 365 flurescence]. 

EA-4

PSF 231123
<106 µm powder.

PHS207
PSF 231123
<106 µm powder.

PHS113
PSF 231123
<106 µm powder.

PHS109
PSF 231123
<45 µm powder.

PHS106
PSF 231123
45-90 µm powder.

PHS105
PSF 231123
<45 µm powder.

PHS111
PSF 231123
<45 µm powder.

PHS108
PSF 231123
<45 µm powder.

PHS102
PSF 231123
<45 µm powder.

PHS101
PSF 231123
<45 µm powder.

PHS206
PSF 231123
<125 µm powder.

PHS205
PSF 231123
<106 µm powder.

PHS204
PSF 231123
<125 µm powder.

PHS203
PSF 231123
<125 µm powder.

PHS202
PSF 231123
<125 µm powder.

PHS201
PSF 231123
<125 µm powder.

PHS200
PSF 231123
<125 µm powder.

+++++++
(iii) 255 nm induced fluorescence. Measured with Maya spectrometer: 201-1132 nm reflectance; ~1.8 nm resolution; 0.46-0.49 nm sampling interval; i=35°, e=10°; 50 spectra averaged [Directory: 231120 Phosphate 255 flurescence]. 

PHS201
PSF 231123-1
<125 µm powder.

EA-4

PSF 231123-2
<106 µm powder.

PHS200
PSF 231123-3
<125 µm powder.

PHS202
PSF 231123-4
<125 µm powder.

PHS205
PSF 231123-7
<106 µm powder.

PHS203
PSF 231123-8
<125 µm powder.

PHS204
PSF 231123-9
<125 µm powder.

PHS206
PSF 231123-10
<125 µm powder.

PHS207
PSF 231123-11
<106 µm powder.

PHS113
PSF 231123-12
<106 µm powder.

PHS111
PSF 231123-13
<45 µm powder.

PHS111
PSF 231123-14
<45 µm powder.

PHS109
PSF 231123-15
<45 µm powder.

PHS106
PSF 231123-16
45-90 µm powder.

PHS105
PSF 231123-17
<45 µm powder.

PHS102
PSF 231123-18
<45 µm powder.

PHS101
PSF 231123-19
<45 µm powder.

PHS108
PSF 231123-20
<45 µm powder.

+++++++++++++++++++++++++++++
Nitrates and phosphates: Raman (January 2020); See also section 45.
NIT003
PSF 001 NIT003 1 – 001 NIT003 9.txtr

Powder (9 spectra).

++++++

NIT004
PSF 002 NIT004 1 – 002 NIT004 9.txtr

Powder (9 spectra); spectrum 2: sensor saturated.

++++++

PHS113
PSF 004 Na phosphae 1 – 004 Na phosphate 9.txtr
Powder (9 spectra).

++++++

NIT002
PSF 005 NIT002 1 – 005 NIT002 9.txtr

Powder (9 spectra).

++++++

NIT001
PSF 006 NIT001 1 – 005 NIT001 9.txtr

Powder (9 spectra); spectra 7 and 9: sensor saturated.

++++++

PHS112
PSF 002 K phosphate 1 – 002 K phosphate 9.txtr
Powder (9 spectra); spectra 7-9: sensor saturated.

++++++

PHS113
PSF 004 Na phosphate 1 – 004 Na phosphate 9.txtr
Powder (9 spectra).

++++++

PHS106
PSF 001 PHS106 1 – 001 PHS106 9.txtr

Powder (9 spectra).

++++++

PHS107
PSF 002 PHS107 1 – 002 PHS107 9.txtr

Powder (9 spectra).

+++++++++++++++++++++++++++++++++

(ii) Raman: Oct. 1/20 – PHS111 and PHS111b: 174-4002 cm-1; ~4 cm resolution; 10000 ms integration time; 20 spectra averaged (iRaman 532) [Directory: 201001 PHS111].

PHS111b
PSF 201001_001_532_PHS111b_sub150

<150 um grain size. 
PHS111
PSF 201001_000_532_PHS111_sub150

<150 um grain size.
+++++++++++++++++++++++++++++++++
(iii) Raman: April 2024. BWTek iRaman 532 nm: 174-4002 cm-1; ~4 cm-1 resolution; variable integration times. [Directory: 231019 Phosphates].

Gypsum
PSF 231019_000_532_Gypsum.txtr
10000 msec integration time; 20 spectra averaged. 
PHS101
PSF 231019_001_532_PHS101..txtr
<45 µm; 5000 msec integration time; 20 spectra averaged. 
PHS102
PSF 231019_002_532_PHS102..txtr
<45 µm; 5000 msec integration time; 20 spectra averaged. 
PHS105
PSF 231019_003_532_PHS105..txtr
<45 µm; 5000 msec integration time; 20 spectra averaged. 
PHS106
PSF 231019_004_532_PHS106..txtr
<45 µm; 10000 msec integration time; 20 spectra averaged. 
PHS108
PSF 231019_005_532_PHS108..txtr
<45 µm; 10000 msec integration time; 20 spectra averaged. 
PHS109
PSF 231019_006_532_PHS109..txtr
<45 µm; 10000 msec integration time; 20 spectra averaged. 
PHS113
PSF 231019_007_532_PHS113..txtr
<106 µm; 20000 msec integration time; 10 spectra averaged. 
PHS111
PSF 231019_008_532_PHS111..txtr
<45 µm; 10000 msec integration time; 20 spectra averaged. 
PHS200
PSF 231019_009_532_PHS200..txtr
<125 µm; 10000 msec integration time; 20 spectra averaged. 
PHS203
PSF 231019_010_532_PHS203..txtr
<125 µm; 200 msec integration time; 20 spectra averaged. 
PHS204
PSF 231019_011_532_PHS204..txtr
<125 µm; 2000 msec integration time; 20 spectra averaged. 
PHS205
PSF 231019_012_532_PHS205..txtr
<106 µm; 5000 msec integration time; 20 spectra averaged. 
PHS206
PSF 231019_013_532_PHS206..txtr
<125 µm; 5000 msec integration time; 20 spectra averaged. 
PHS207
PSF 231019_014_532_PHS207..txtr
<106 µm; 50200 msec integration time; 20 spectra averaged. 
EA-4
PSF 231019_015_532_EA-4..txtr

<106 µm; 5000 msec integration time; 20 spectra averaged. 
PHS202
PSF 231019_016_532_PHS202..txtr
<125 µm; 200 msec integration time; 20 spectra averaged. 
PHS201
PSF 231019_017_532_PHS201..txtr
<125 µm; 10000 msec integration time; 20 spectra averaged. 
++++++++++++++++++++++++++++++++++++++++++++
(iv) Induced fluorescence – 365 nm illumination

Maya-2000 measured reflectance: 200-1000 nm; 0.46-0.49 nm resolution; i=35°, e=0°; 0.25 sec integration time; 50 spectra averaged [Directory: 231123 Phosphate 365 flurescence]..

EA-4
PSF EA-4
<106 µm grain size.

PHS207
PSF PHS207
<106 µm grain size.

PHS113
PSF PHS113
<106 µm grain size.

PHS109
PSF PHS109
<45 µm grain size.

PHS106
PSF PHS106
45-90 µm grain size.

PHS105
PSF PHS105
<45 µm grain size.

PHS111
PSF PHS111
<45 µm grain size.

PHS108
PSF PHS108
<45 µm grain size.

PHS102
PSF PHS102
<45 µm grain size.

PHS101
PSF PHS101
<45 µm grain size.

PHS206
PSF PHS206
<125 µm grain size.

PHS205
PSF PHS205
<106 µm grain size.

PHS204
PSF PHS204
<125 µm grain size.

PHS203
PSF PHS203
<125 µm grain size.

PHS202
PSF PHS202
<125 µm grain size.

PHS201
PSF PHS201
<125 µm grain size.

PHS200
PSF PHS200
<125 µm grain size.

+++++++++++++++++++++++++++++++++++++

(v) Induced fluorescence – 255 nm illumination

Maya-2000 measured reflectance: 200-1000 nm; 0.46-0.49 nm resolution; i=35°, e=0°; 5 or 15 sec integration time; 5 spectra averaged [Directory: 231120 Phosphate 255 flurescence].
PHS201
PSF PHS201
<125 µm grain size.

EA-4
PSF EA-4
<106 µm grain size.

PHS200
PSF PHS200
<125 µm grain size.

PHS202
PSF PHS202
<125 µm grain size.

PHS205
PSF PHS205
<106 µm grain size.

PHS203
PSF PHS203
<125 µm grain size.

PHS204
PSF PHS204
<125 µm grain size.

PHS206
PSF PHS206
<125 µm grain size.

PHS207
PSF PHS207
<106 µm grain size.

PHS113
PSF PHS113
<1065 µm grain size.

PHS111
PSF PHS111
<45 µm grain size.

PHS111
PSF PHS111
<45 µm grain size.

PHS109
PSF PHS109
<45 µm grain size.

PHS106
PSF PHS106
<45-90 µm grain size.

PHS105
PSF PHS105
<45 µm grain size.

PHS102
PSF PHS102
<45 µm grain size.

PHS101
PSF PHS101
<45 µm grain size.

PHS108
PSF PHS108
<45 µm grain size.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 4.

5. Carbonates, Oxalates, Acetates, Formates
5.1. Carbonates

5.2. Oxalates
5.3. Acetates

5.4. Formates and related compounds

5.5. Cat kidney stones
++++++++++++++++++++

5.1a. Sample Descriptions - Carbonates
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample
Description








++++++Anhydrous carbonates++++++

CRB101
Ankerite: Chihuahua, Mexico; one with pyrite, pyrrhotite and quartz; other with sphalerite, pyrite, calcite and quartz [Ca(Mg,Fe+2,Mn)(CO3)2] (Minerals Unlimited). {Cream to brown crystals with assoc. on rock. Dana: white, grey, reddish, XLs, masses, compact, granular}.Couple of grams of <45 and 45-90µm made (dry sieved). [trigonal - dolomite group; forms two series, with dolomite, and with kutnohorite].
CRB102
Aragonite+calcite: Washington County, Utah, USA [CaCO3] (Minerals Unlimited). {Silky white compact masses, some rock}. Lots of sample and <45 and 45-90µm sizes made (dry sieved). [orthorhombic - aragonite group; trimorphic with calcite and vaterite].
CRB103
Dolomite: Bamle, Telemark, Norway [CaMg(CO3)2] (Minerals Unlimited). {Grey-white cleavable}. Lots of sample and <45 and 45-90µm samples made (dry sieved). [trigonal - dolomite group; forms two series, with ankerite, and with kutnohorite].
CRB104
Gaspeite: Lemieux Township, Gaspe Nord County, Gaspe Peninsula, Quebec, Canada [(Ni,Mg,Fe+2)CO3] (Minerals Unlimited). {Green crystalline masses, minor rock}. Lots of sample and <45 and 45-90µm sizes made (dry sieved). [trigonal - calcite group; forms a series with magnesite].
CRB105
Huntite: Currant Creek, Nevada, USA; in magnesite (CRB114) [Mg3Ca(CO3)4] (Minerals Unlimited). {White chalky masses in and on magnesite}. Only <45µm grain size made due to very limited amount of sample (<1 gram) (dry sieved) (More received - May 4, 2001). [trigonal].
CRB106
Magnesite: Snarum, Norway [MgCO3] (Minerals Unlimited). {Yellowish-white cleavable or off-white coarse granular, some assoc.}. Lots of sample and <45 and 45-90µm sample made (dry sieved). [trigonal - calcite group; forms two series with gaspeite and with siderite].

CRB107
Nahcolite: Searles Lake, San Bernardino County, California, USA [NaHCO3] (Minerals Unlimited). {MU description: off-white crystallized masses; Dana: white, grey, reddish, crystals, masses, granular, compact}.  MU sample is grayish, dirty looking. Lots of sample left; lots of <45 and 45-90µm sizes made (dry sieved). [monoclinic] {it is a bicarbonate}.
CRB108
Siderite: Ivigtut, in the Arksuk Fiord, Frederikshaab District, West Greenland; with cryolite [FeCO3] (Minerals Unlimited). Lots of sample and <45 and 45-90µm samples made (dry sieved). [trigonal - calcite group; forms two series, with magnesite, and with rhodochrosite].
CRB109
Calcite: locality unknown (University of Alberta GEOL330 laboratory collection #A152), originally PLG112, then CAL101. Some <45 and 45-90µm sample available (few grams) (dry sieved). [trigonal; calcite group; trimorphic with aragonite and vaterite; forms a series with rhodochrosite].
CRB110 
Calcite: locality unknown (University of Alberta GEOL330 laboratory collection # unknown), [CaCO3] with pyroxene PYX104, originally CAL102. <45µm sample made (dry sieved). [trigonal; calcite group; trimorphic with aragonite and vaterite; forms a series with rhodochrosite].
CRB111 
Calcite: Cascade Mountain, Essex County, New York, USA (Minerals Unlimited),  [CaCO3] w/ pyroxene PYX121, orig. CAL103. Only <45µm sample made (dry sieved). [trigonal; calcite group; trimorphic with aragonite and vaterite; forms a series with rhodochrosite].
CRB112 
Calcite: Pendleton County, West Virginia, USA (Ward's), originally CAL110,  [CaCO3]. Lots of sample available, only <45µm size made (dry sieved). [trigonal; calcite group; trimorphic with aragonite and vaterite; forms a series with rhodochrosite].
CRB113
Manganocalcite: Funeral Mountains, Nevada, USA [(Mn,Ca)CO3] (Manitoba Museum of Man and Nature #M-306). Entire sample used for powder, a few grams of both <45 and 45-90µm available (dry sieved). [trigonal; trimorphic with aragonite and vaterite; forms a series with rhodochrosite].
CRB114
Magnesite: Currant Creek, Nevada, USA; with huntite (CRB105) [Mg(CO3)] (Minerals Unlimited). Lots available, made both <45 and 45-90µm grain sizes (dry sieved). [trigonal - calcite group; forms two series with gaspeite and with siderite]. CRB114-4A = surficial part of sample from Mars box after run #4; CRB114-4B = subsurface part of sample from Mars box after run #4.
CRB115
Huntite: Tea Tree Gully, South Australia, Australia [Mg3Ca(CO3)4] (Minerals Unlimited). {White chalky masses in and on magnesite}. [trigonal].
CRB116
Calcite: Oklahoma, USA [CaCO3] (National Museum of Nature, Ottawa). [orthorhombic - aragonite group; trimorphic with calcite and vaterite] (originally labelled as aragonite).
CRB117
Dolomite: Penfield Quarry, Penfield, New York, USA [CaMg(CO3)2] (from Salt Minerals). [trigonal - dolomite group; forms two series, with ankerite, and with kutnohorite].
CRB118
Calcite: Chihuahua, Mexico [CaCO3] (Manitoba Rock and Mineral Show) [orthorhombic - aragonite group; trimorphic with calcite and vaterite] (originally labelled as aragonite). CRB118-AX1: sample from Mars box after run #1.
CRB119
Aragonite, mostly: Goodsprings, Clark County, Nevada, USA [CaCO3] (Minerals Unlimited). [orthorhombic - aragonite group; trimorphic with calcite and vaterite].
CRB120
Aragonite: near Silverton, Briscoe County, Texas, USA [CaCO3] (Minerals Unlimited). [orthorhombic - aragonite group; trimorphic with calcite and vaterite].

CRB121
Ankerite: Zacatecas, Mexico [Ca(Mg,Fe+2,Mn)(CO3)2]; with quartz, pyrite and sphalerite (Minerals Unlimited). {Minerals Unlimited catalogue description: cream to brown crystals with assoc. on rock. Dana: white, grey, reddish, XLs, masses, compact, granular}. [trigonal - dolomite group; forms two series, with dolomite, and with kutnohorite].

CRB122
Calcite, minor dolomite: near Yeso, De Baca County, New Mexico, USA [CaCO3] (Minerals Unlimited). [orthorhombic - aragonite group; trimorphic with calcite and vaterite] (originally labelled as aragonite).
CRB123
Aragonite, wee bit of calcite: Molina de Aragon, Guadalajara, Spain [CaCO3] (Minerals Unlimited). [orthorhombic - aragonite group; trimorphic with calcite and vaterite].

CRB124
Aragonite: Erzberg Eisenwurz, Stiermark, Austria [CaCO3] (Smithsonian Institution MNMH #B10111) [orthorhombic - aragonite group; trimorphic with calcite and vaterite].
CRB125
Aragonite: Stiermark, Austria [CaCO3] (Smithsonian Institution MNMH #B16198) [orthorhombic - aragonite group; trimorphic with calcite and vaterite].

CRB126
Shortite: Stauffer Mine, Green River, Wyoming, USA; in mudstone matrix [Na2Ca2(CO3)3] [Excalibur Minerals, received June 13, 2006], Description: yellow fluorescent, blue phosphorescent crystal sections to 1 cm and denser aggregates richly scattered through a mudstone matrix, which is fluorescent as well; the shortite occurs as nearly transparent pale yellow blocky masses; one 6 cm sample.

CRB127
Calcite: locality unknown (Mineral Society of Manitoba); 1 piece.

CRB128
Calcite, probably Joplin, Missouri, USA (display specimen from Tyson), with pyrite (PRT106).
CRB129
Calcite rhomb (calcite spar), with colour bands (display specimen from Tyson’s).

CRB130
Ankerite: Mt. St. Hilaire, QC, Canada [Ca(Mg,Fe+2,Mn)(CO3)2] (from Discovery Gemstones Ltd. – Edmonton, AB, Canada, #02D182; July 2009).

CRB131
Calcite: Axel Heiberg Island, Nunavut, Canada (vicinity of springs) (from Mike Craig, Aug. 09).
CRB132
Calcite: Pine Point, NWT, Canada. Massive sample (from Discovery Gemstones, Edmonton, AB, Canada; Aug. 2013); 3 pieces; creamy white.
CRB133
Dolomite; Mt. Brussilhof Mine, Radium, BC, Canada (from Discovery Gemstones, Edmonton, AB, Canada; Aug. 2013); 1 piece – crystalline.

CRB134
Dolomite; Radium, BC, Canada (from Discovery Gemstones, Edmonton, AB, Canada; Aug. 2013); 4 pieces – crystalline.
CRB140
Ankerite: Cerro Sapo, Ayopaya, Cochabamba, Bolivia [Ca(Mg,Fe+2,Mn)(CO3)2] – light green crystals; with dawsonite (CRB220; [NaAl(CO3)(OH)2] white powdery material) and sodalite (SOD110 [Na4Al3Si3O12Cl], blue material). [From Alfredo Petrov, Tucson 2011 show).
CRB141
Siderite: Huanuni Mine, Oruro, Bolivia [FeCO3], spheroidal. [Alfredo Petrov, Tucson 2011 show].
CRB142
Rhodochrosite: locality unknown [MnCO3] [Western Wood Inc., Tucson 2011 show].

CRB143
Siderite: Madagascar (single crystal) [Mineral Treasure, Tucson 2011 show].

CRB144
Magnesite: Brumado, Bahia, Brazil (two single crystals) [The Crystal Circle, Tucson 2011 show].
CRB145
Siderite: Governador Valadares, Minas Gerais, Brazil (single crystal) [The Crystal Circle, Tucson 2011 show].

CRB146
Calcite: Dog Lake, ON, Canada, with diopside (PYX187) [The Crystal Circle, Tucson 2011 show].

CRB147
Gaspeite: Australia [(Ni,Mg,Fe+2)CO3], cut slab, mostly gaspeite [Gem Art Center, Tucson 2011 show].
CRB148
Siderite: Eagle Mine, Gilman, Eagle Co., CO, USA [LeHigh Minerals, Tucson 2011 show].

CRB149
Magnesite: Baymag mine, Mt. Brussilof, BC Canada; 2 pieces (a few kg total weight); received Nov. 14, 2013.
CRB150
Natrite, synthetic (Na2CO3); SOURCE:? 

CRB151
Natrite, synthetic (Na2CO3); SOURCE:?

CRB160
Natrite from Ernesto Palomba via Pierre Beck (crushed to very fine powder); received May 3, 2017.
CRB161
Blue calcite: locality unknown; massive, variably blue (Silver Cove Ltd., July 2018).
CRB162
Orange calcite: locality unknown; 5 cm crystal (Silver Cove Ltd., July 2018).
CRB163
“Ni-bearing low-T magnesite (?) – Western Australia (from Andreas Beinlich – Oct. 2021).

CRB164
Nesquehonite possible; ~1 gram of fine-grained powder; Andreas Beinlich sample ID FER-001: “Nesquehonite to check! Beinlich and Austrheim, 2012” [formula: MgCO3 – 3H2O].
CRB165
Lansfordite possible; ~1 gram of fine-grained powder; Andreas Beinlcih sample ID FER-009: “Lansfordite to check! Andreas Beinlich sample FER-009 Beinlich and Austrheim, 2012” [formula: MgCO3 – 5H2O].

CRB166
Siderite, with quartz; dark brown massive pieces. Roxbury, Litchfield Co., CT, USA [Minerals Unlimited; May 2023].
CRB167
Siderite: Ivigtut, in the Arksuk Fiord, Frederikshaab District, West Greenland; brown-black, crystalline mass. Same locality as CRB108 (Minerals Unlimited – May 2023).
CRB168
Siderite, with bauxite (OOH002): Pulaski County, Arkansas, USA (Minerals Unlimited). Sample is predominantly gibbsite. See section 6 of this document.
++++++Hydrous carbonates+++++++++++

CRB201
Artinite: near Hernandez, San Benito County, California, USA; on serpentine, with hydromagnesite [Mg2(CO3)(OH)2·3(H2O)] (Minerals Unlimited). {White acicular crystals on rock}. Not much sample available, only <45µm sample made (~1g) (dry sieved). [monoclinic].
CRB202
Brugnatellite: Higashi-Kuroda-guchi, Inasa cho, Inasa gun, Aichi Prefecture, Japan; with artinite and hydromagnesite on serpentine [Mg6Fe+3(CO3)(OH)13·4(H2O)] (Minerals Unlimited). Not enough sample to separate and too intimate. {Returned to Minerals Unlimited?}. [hexagonal]

CRB203
Coalingite: near the Dallas Gem Mine, San Benito County, California, USA; on serpentine (SRP118) [Mg10Fe+32(CO3)(OH)24·2(H2O)] (Minerals Unlimited). {Bronze coloured coatings on serpentine}. Little sample available, only enough for <45µm grain size sample (dry sieved). [trigonal].
CRB204
Dawsonite: Francon Quarry, Montreal, Quebec, Canada; in rock. [NaAl(CO3)(OH)2] (Minerals Unlimited). {Tiny colourless XLs in vugs in rock M/M; Dana: white radiating bladed XLs}. Just enough for <45µm sample (dry sieved). [orthorhombic].
CRB205
Dypingite: near the Dallas Gem Mine, San Benito County, California; on serpentine [Mg5(CO3)4(OH)2·5(H2O)] (Minerals Unlimited). {White crust of tiny crystal aggregates on rock}. Too intimate and micro to separate. [monoclinic?]

CRB206
Gaylussite: Searles Lake, San Bernardino County, California, USA [CaCO3.Na2CO3·5(H2O)] (Minerals Unlimited). {Loose single crystals, larger crystals are skeletal; Dana: white, yellowish-white}. Made <45 and 45-90µm (dry sieved), a bit of sample left. [monoclinic].
CRB207
Hydromagnesite: Mistake Mine, Fresno County, California; on serpentine [Mg5(CO3)4(OH)2·4(H2O)] (Minerals Unlimited). {Tiny aggregates of bladed crystals on serpentine?}. Too small, returned to Minerals Unlimited [monoclinic]

CRB208
Hydromagnesite: San Benito Mountains, San Benito County, California, USA [Mg5(CO3)4(OH)2·4(H2O)]. (Ted Roush's sample; Minerals Unlimited). {Off-white massive; Dana: silky white}. Made <45 and 45-90µm samples (dry sieved). [monoclinic].
CRB209
Hydrotalcite: Snarum, Norway; with manasseite and serpentine, var. lizardite. (See CRB210). [Mg6Al2(CO3)(OH)16·4(H2O)] (Minerals Unlimited; and Manitoba Museum of Man and Nature #M-629).  {Dana: lamellar massive or foliated. Somewhat fibrous white, pearly]. Lots, <45 and 45-90µm powders made (dry sieved). [trigonal; dimorphic with manasseite; hydrotalcite group].
CRB210
Manasseite: Snarum, Norway; with hydrotalcite and serpentine, var. lizardite. (See CRB209). [Mg6Al2(CO3)(OH)16·4(H2O)] (Minerals Unlimited). {Grey with hydrotalcite and lizardite}. Lots of sample, have few grams of <45 and 45-90 sample (dry sieved). [hexagonal; dimorphic with hydrotalcite; manasseite group].
CRB211
Pirssonite: Searles Lake, San Bernardino County, California, USA [CaCO3.Na2CO3·2(H2O)] (Minerals Unlimited). {For Wyoming sample: glassy crystalline veins in marl, separate XLs; Dana: colourless to white prismatic XLs}. Have 1 gram left, made a couple of grams of <45 and 45-90µm samples (dry sieved). [orthorhombic].
CRB212
Pyroaurite: Valle Grama Quarry, Molina di Laghi, Posina Valley, Vicenza, Veneto, Italy; on calcite [Mg6Fe+32(CO3)(OH)16·4(H2O)] (Minerals Unlimited). {Minute, colourless to tan, bladed crystals on matrix; Dana: gold-like submetallic scales}. Barely enough for a <45µm grain size sample (dry sieved). [trigonal; dimorphic with sjogrenite; hydrotalcite group].
CRB213
Thermonatrite: Keeler, Inyo County, California, USA [Na2CO3·(H2O)] (Minerals Unlimited). A few grams of clean sample left; lots of <45 and 45-90µm sample available (dry sieved); more received November 2017 [orthorhombic] {XRD shows only trona – a bicarbonate}
CRB214
Trona: Green River, Sweetwater County, Wyoming, USA [Na3(CO3)(HCO3)·2(H2O)] (Minerals Unlimited). {Tan fibrous masses; Dana: fibrous or columnar massive, grey or yellowish white}. Lots, made<45 and 45-90µm (dry sieved). [monoclinic] {XRD shows only trona –a bicarbonate}.
CRB215
Hydromagnesite: Atlin, British Columbia, Canada [Mg5(CO3)4(OH)2·4(H2O)] (Manitoba Museum of Man and Nature #M-233). {Dana: crystals, small, tufted, also amorphous as chalky crusts, white}. Lots of sample, made lots of <45µm and some 45-90µm size (dry sieved). [monoclinic].
CRB216
Hydromagnesite: Iwaki, Takamatsu, Japan [Mg5(CO3)4(OH)2·4(H2O)] (from Dr. M. Miyamoto, <100µm). Little sample, all made into <45µm powder (dry sieved). [monoclinic].
CRB217
Brugnatellite: Cava di Serpentino del Crestun, Torre Santa Maria, Valmalenco, Sondrio, Italy (type locality)  [Mg6Fe+3(CO3)(OH)13·4(H2O)] (Dr. Pietro Vignola; Fulvio Grazioli Collection). Powdered sample provided (~1 gram), made only <45µm sample (dry sieved). [hexagonal].
CRB218
Artinite: Rocca di Castellaccio, Torre di Santa Maria, Valmalenco, Sondrio, Italy [Mg2(CO3)(OH)2·3(H2O)](Dr. Pietro Vignola; Fulvio Grazioli Collection). Powdered sample provided (~1 g), made only <45µm sample (dry sieved). [monoclinic].
CRB220
Dawsonite: Cerro Sapo, Ayopaya, Cochabamba, Bolivia ([NaAl(CO3)(OH)2] white powdery material) with ankerite (CRB140 [Ca(Mg,Fe+2,Mn)(CO3)2] – light green crystals) and sodalite (SOD110 [Na4Al3Si3O12Cl], blue material). [from Alfredo Petrov, Tucson 2011 show).
CRB221
Trona: Searles Lake, San Bernardino Co., CA, USA. [Na3(CO3)(HCO3)·2(H2O)] (Minerals Unlimited). {MU: slender elongated colourless crystal sections, may have minor mud associated; Dana: fibrous or columnar massive, grey or yellowish white}. (substitute for CRB214); received November 2017. Only <45 µm powder made during wet sieve series?
CRB310
Northupite: Searles Lake, San Bernardino County, California, USA [Na3Mg(CO3)2Cl] (Minerals Unlimited). 2 small crystals. Only <45µm size made (entire sample used) (dry sieved). [cubic].
CRB311
Alumohydrocalcite: Mount Hamilton, Santa Clara County, California, USA; pink phase in nickel-stained rock (Minerals Unlimited). Very minor in rock. Too sparse and intimate to separate.[triclinic]

CRB312
Artinite: Mistake Mine, Fresno County, California, USA; on serpentine (SRP119) (Minerals Unlimited) [Mg2(CO3)(OH)2·3(H2O)] (Minerals Unlimited catalogue description: white acicular crystals on rock). [monoclinic].
CRB313
Pyroaurite: Langban, Vermland, Sweden [Mg6Fe+32(CO3)(OH)16·4(H2O)] (Minerals Unlimited). [trigonal; dimorphic with sjogrenite; hydrotalcite group].
CRB314
Artinite: Staten Island, New York City, NY, USA; on serpentine, with hydromagnesite [Mg2(CO3)(OH)2·3(H2O)] (National Museum of Nature, Ottawa). {White acicular crystals on rock}. Not much sample available. [monoclinic].
CRB315
Hydromagnesite: Staten Island, New York City, NY, USA; on serpentine, with artinite [Mg5(CO3)4(OH)2·4(H2O)] (National Museum of Nature, Ottawa). Not much sample available. [monoclinic].
CRB316
Stichtite: Drill core from Megantic Mine, Black Lake, Quebec, Canada (ROM sample ID M56437); pink grains in serpentinite/talc core [Mg6Cr2(CO3)(OH)16·4H2O (from Royal Ontario Museum Dec. 2012).

++++++Synthetic carbonates+++++

CRB401
Ammonium carbonate: (NH4HCO3); synthetic (Mallinckrodt; U of W Chemistry Department), 99.98% purity, N.F. Crushed and dry sieved to <45 and 45-90µm grain sizes. (see also “Ammonium-bearing minerals”). See also CRB406, CRB412.
CRB402
Sodium bicarbonate [NaHCO3] (synthetic); UW Chemistry stores?

CRB403
Synthetic magnesium carbonate hydrate [MgCO3 •Mg(OH)2• xH2O (x≈3)] Alfa Aesar Puratronic 99.996% (metals basis); 10796, lot: 23779; CAS39409-82-0; EINECS: 235-192-7; 5 grams (fine powder). Received June 2013.
CRB404
Synthetic magnesium carbonate tetrahydrate, reagent grade, MgO ≈40-43.5% [4MgCO3 • Mg(OH)2 • 4H2O approx. Alfa Aesar 33333; lot: J29T030; CAS: 39409-82-0; EINECS: 235-192-7; 100 grams. Received June 2013.
CRB405
Synthetic ammonium carbonate: 99.999% trace metal basis. [(NH4)2CO3] Sigma Aldrich: 379999-10G; lot #MKBQ1016; 10 grams; received Feb. 13, 2015. See also CRB413.
CRB406
Synthetic ammonium bicarbonate; ReagentPlus, >99.0%. [NH4HCO3]. Sigma Aldrich: A6141-25G; lot #SLBJ6997V; 25 grams; received Feb. 13, 2015. See also CRB401, CRB412.
CRB407
Synthetic zinc carbonate, basic. ≥57% Zn basis (KT). Sigma Aldrich: 96466 – 250G; lot #BCBN8770V; 250 grams; received Feb. 13, 2015. [(ZnCO3)2 – (Zn(OH)2)3]. See also CRB411.
CRB408
Synthetic nickel (II) carbonate hydroxide tetrahydrate (nickel (II) carbonate, basic). [2NiCO3 – 3Ni(OH)2 – 4H2O]. Sigma Aldrich: 339776 – 100G; lot #MKBT4880V; 100 grams; received Feb. 13, 2015. See also CRB414, 415.
CRB409
Synthetic sodium carbonate - 13C (99 atom % 13C). [Na213CO3]. Sigma Aldrich: 490768 – 1G; lot #MBBB2959V; 1 gram; received Feb. 13, 2015. See also CRB416.
CRB410
Synthetic sodium percarbonate – avail. H2O2: 20-30% [linear formula: Na2CO3 – 1.5H2O2]. Sigma Aldrich: 371423-25G; lot: #MKBR0933V; CAS: 15630-89-4; 25 grams; received Feb 19, 2015.

CRB411
Synthetic zinc carbonate basic, 97%, Zn>58.0% [Zn5(CO3)2(OH)6]. Alfa Aesar: A14590, lot: 10186936; 250 grams. Received Feb. 28/15. See also CRB407.

CRB412
Synthetic ammonium hydrogen carbonate, 99.0% powder [(NH4)HCO3]. Alfa Aesar #14249; lot #P06A039; 1 kg. Received Feb. 28/15. See also CRB401, CRB406.
CRB413
Synthetic ammonium carbonate, Puratronic 99.999% (metals basis). [(NH4)2CO3]. Alfa Aesar #12980; lot #24850. 10 grams. Received Feb. 28/15. See also CRB405.

CRB414
Synthetic nickel (II) carbonate (basic) hydrate, Ni 40% min, typically 99.5% (metals basis) powder [CNiO3•2H2NiO2•xH2O]. Alfa Aesar 40106; lot #L23Z043; 250 g (received March 11, 2015). See also CRB408, 415.

CRB415
Synthetic nickel (II) carbonate, anhydrous, 98%, -100 mesh [CNiO3]. Alfa Aesar 22897; lot #I11Z054; 50 g (received March 11, 2015). See also CRB408, 414.

CRB416
Synthetic sodium percarbonate, 13-14% active oxygen [Na2CO3•1.5H2O2]; moisture sensitive. Alfa Aesar A16045; lot 10184558; 100 grams (received March 11, 2015). See also CRB410.
CRB417
Synthetic sodium carbonate (natrite) (Na2CO3), synthetic, anhydrous, free-flowing, Redi-Dri, ACS reagent 99.5% min, 500 grams. Alfa Aesar stock #791768, lot #SLBP1519V, cas #497-19-8.
CRB418
Synthetic lithium carbonate; University of Winnipeg Chemistry stores.

+++++For pigments project+++++

CRB501
Malachite: Copper Queen Mine, Bisbee, Cochise County, Arizona, USA (Cu22+(CO3)(OH)2) (Minerals Unlimited) (for pigments project - green). [monoclinic].
CRB502
Cerussite: Tsumeb, Namibia (PbCO3) (Minerals Unlimited). {Pure mineral is white, but mine is black, probably due to impurities(?)} (for pigments project).[orthorhombic; aragonite group].

CRB503
Azurite: Juanita Mine, Magdalena, Socorro County, New Mexico, USA (Cu3+2(CO3)2(OH)2 (with limonite, malachite, and clay) (Minerals Unlimited) (for pigments project - blue) [monoclinic].

CRB504
Azurite: locality unknown (Cu3+2(CO3)2(OH)2 (acquired at 2001 Manitoba Rock and Mineral Show) (for pigment project). [monoclinic].

CRB505
Hydrocerussite: Langban, Varmland, Sweden (Pb3(CO3)2(OH)2) (Smithsonian Institution MNMH #B8107) (for pigments project).
CRB506
Cerussite: Mammoth Mine, Wallace, Idaho, USA (PbCO3) (Smithsonian Institution MNMH #96778) (for pigments project).
CRB507
Cerussite: Lone Elm, near Joplin, Missouri, USA (PbCO3) (Smithsonian Institution MNMH #C2130-1) (for pigments project).
CRB508
Malachite: Canton, Georgia, USA (Cu22+(CO3)(OH)2) (Smithsonian Institution MNMH #78806) (for pigments project - green) [monoclinic].

CRB509
Malachite: El Cobre Mine, Zacatecas, Mexico (Cu22+(CO3)(OH)2) (Smithsonian Institution MNMH #143514) (for pigments project - green) [monoclinic].
CRB510
Azurite: Guangdong, China (Cu3+2(CO3)2(OH)2) (Smithsonian Institution MNMH #145930) (for pigments project - blue) [monoclinic].

CRB511
Azurite: Chessy, Lyon, Rhone, France  (Cu3+2(CO3)2(OH)2) (Smithsonian Institution MNMH #148829) (for pigments project - blue) [monoclinic].
++++++Newer carbonate samples++++++

CRB600
Coral, water washed; Sandy Beach park, east coast of Oahu, Hawaii, USA (self collected).

CRB610
Carbonate; multi-hued banded cave deposit; Velo (?), Greece, self-collected.

CRB700 
“Carbonates from green sand” (separated from sample box provided by Mike Gaffey, Feb. 2007).

CRB701
Siderite: Mt. St. Hilaire, QC, Canada [#04D1000; Discovery Gemstones Ltd., Edmonton, AB]. 1 mass. (purchased July 28, 2007).

CRB702
Malachite; locality unknown [Discovery Gemstones Ltd., Edmonton, AB], 5 pieces. (purchased July 28, 2007).

CRB710
Clams from shore of Lake Winnipeg – Sunset Beach, Hecla Island, MB, Canada (collected August, 2007).

CRB714
Clams, Lake Manitoba, Ambroise Provincial Park beach, MB, Canada (collected July 2008).

CRB915
Cobaltoan calcite; Bou Azzer District, Tazenakht, Ouarazate Province, Souss-Massa-Draa Region, Morocco (December 2012 AGU Fall Meeting, purchased from Ikon Mining and Exploration). (was CRB715 initially).
CRB716
Rhodochrosite; Wudong Mine, Liubao, Wushou Prefecture, Guangxi Zhuang A.R., China (December 2012 AGU Fall Meeting, purchased from Ikon Mining and Exploration).

CRB717
Orange calcite; Chihuahua, Mexico (December 2012 AGU Fall Meeting; purchased from Ikon Mining and Exploration).
CRB718
“Blue” calcite (blue calcite). Unknown locality (from Vancouver rock shop).
++++++Synthetic carbonates – isotopic effects++++++

CRB-S01
Synthetic calcium carbonate, 99% 13C-enriched. From Boz Wing and Ben Webber – McGill University (June 2009).
CRB-S02
Synthetic calcium carbonate, isotopically normal. From Boz Wing and Ben Webber – McGill University (June 2009).

++++++Synthetic carbonates++++++

PIG004
Synthetic calcite (CaCO3) (also for pigments project). See section 19 of this document for data.
PIG009
Synthetic hydrocerussite (lead (II) carbonate, basic ((PbCO3)2·Pb(OH)2)) (also for pigments project). See section 19 of this document for data.
PIG024
Synthetic malachite (copper (II) carbonate, basic (CuCO3·Cu(OH)2)) (also for pigments project). See section 19 of this document for data.
PIG349
Azurite, coarse (catalogue no. 410-11S). 10 grams. (green/blue group). See section 19 of this document for data.
PIG350
Malachite, medium (catalogue no. 420-21S). 10 grams. (green/blue group). See section 19 of this document for data.
PIG354
Malachite, fine grade (catalogue no. 420-20S). 5 vials of 10 grams each = 50 grams. (green/blue group). See section 19 of this document for data.
PIG372
Malachite (Historical Pigments Set, catalogue no. 420-20G), 100 grams. (green/blue group). See section 19 of this document for data.
SYN009
Sodium carbonate (Na2CO3), synthetic, anhydrous, ACS 99.5% min, 50 grams. Alfa Aesar stock #11552, lot #F19N36, cas #497-19-8.
++++++++++++++++++++++++++++++++++++++++

5.1.1a. Sample Descriptions - Baked carbonate samples

CRB206Bk
Gaylussite - 29.11% mass loss (30% predicted). 65 minutes at 165°C.

CRB206Bka
Gaylussite - 27.74% mass loss (30% predicted). 40 minutes at 165°C.

CRB208Bk
Hydromagnesite - 1.58% mass loss (15% predicted). 80 minutes at 380°C.

CRB209Bk
Hydrotalcite - 14.7% mass loss (12% predicted). 20 minutes at 100°C.

CRB210Bk
Manasseite - 4.91% mass loss (12% predicted). 60 minutes at 340°C.

CRB211Bk
Pirssonite - 13.57% mass loss (15% predicted). 40 minutes at 220°C.

CRB213Bk
Thermonatrite - 22.92% mass loss (15% predicted). 25 minutes at 115°C.

CRB213Bka
Thermonatrite - 15.27% mass loss (15% predicted). 25 minutes at 115°C (unchopped).

CRB213Bkb 
Thermonatrite - 22.59% mass loss (15% predicted). 25 minutes at 115°C (chopped up).

CRB214Bk
Trona - 28.77% mass loss (16% predicted). 25 minutes at 115°C.

CRB214Bkb 
Trona - 24.66% mass loss (16% predicted). 25 minutes at 115°C (unchopped).

CRB214Bkc
Trona - 27.76% mass loss (16% predicted). 25 minutes at 115°C (chopped).

CRB215Bk
Hydromagnesite - 21.21% mass loss (15% predicted). 40 minutes at 375°C.

Groups and series (involving my samples):

· Aragonite group (orthorhombic): aragonite, cerussite

· Calcite group (trigonal): calcite, gaspeite, magnesite, rhodochrosite, siderite

· Dolomite group (trigonal): ankerite, dolomite

· Hydrotalcite group (trigonal): pyroaurite, hydrotalcite

· Manasseite group (?): ? (page missing)

+++++++++++++++++++++++++++++++++++

5.1.2a. Sample Descriptions - International Space Analogue Rockstore (ISAR) 
Nov. 2012 (see section 20.28)

09SV05-4
Carbonate: Sverefjell outcrop, Svalbard, Norway; associated with 09SV02-3 and 09SV15-4.

11CY04-3
Carbonate: Katydata outcrop, Nicosia district, Cyprus.

++++++++++++++++++++++++++++++++++++++++

5.1.3a. Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	AragoniteAK
	 
	UNS AK

	Dolomite71306
	 
	GBW 07114 (NCS DC71306)

	hand sample3
	**Calcite
	ActLabs

	hand sample53
	**Dolomite
	ActLabs

	hand sample72
	**Limestone
	ActLabs

	hand sample82
	**Travertine
	ActLabs


Aragonite AK grain size info (from Brammer): 

>0.09 mm
2.60%


0.071-0.090 mm
2.10%


0.040-0.071 mm
3.80%


<0.040 mm
91.50%

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

5.1.4a. Monohydrocalcite samples from South Australia – Sample Descriptions

Received from Ian Swainson – July 2008.

CRB800
Monohydrocalcite: Lake Butler, Australia. Sample tag: “TV037. L Butler 2. CaCO3-H2O. POS4.” Vial label: “Monohydrocalcite. Lake Butler. Collected 2001. 2.” Received from Ian Swainson: AECL, Chalk River, ON, Canada, July 25, 2008.

CRB801
Monohydrocalcite: Lake Butler, Australia. Sample tag: “TV007. L Butler. CaCO3-H2O. POS6.” Vial label: “Monohydrocalcite. Lake Butler. G19.222”. Received from Ian Swainson: AECL, Chalk River, ON, Canada, July 25, 2008.

CRB802
Monohydrocalcite: Lake Butler, Australia. Sample tag: “TV007. L. Butler. Monohydrocalcite. 1. POS3.” Vial labels (2 vials in package): “(Vial 1): 1. Lake Butler. Ground for XRD. (Vial 2): “Monohydrocalcite. Lake Butler. Collected 2001. 1.” Received from Ian Swainson: AECL, Chalk River, ON, Canada, July 25, 2008.

CRB803
Monohydrocalcite: Lake Butler, Australia. Sample tag: “L Butler. Monohydrocalcite. TV033. POS5.” Vial label: Monohydrocalcite. Lake Butler. Collected 2002. 3.” Received from Ian Swainson: AECL, Chalk River, ON, Canada, July 25, 2008.

CRB804
Monohydrocalcite: Lake Fellmongery, Australia. Sample tag: “TV034. L Fellmongery. Mono. POS7.” Vial label: “Monohydrocalcite. Lake Fellmongery.” Received from Ian Swainson: AECL, Chalk River, ON, Canada.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1.4. Coloured calcites from Dirk Schumann (April 2015)

OC-LC

Orange calcite; Lake Clear, ON, Canada (a few deep orange grains).

OC-RIOS-1

Orange calcite; Brazil (1 small (~1 gram) deep orange fragment).

OC-OL

Orange calcite; Otter Lake, QC, Canada (1 small (~1 gram) orange fragment).

OC-GS

Orange calcite; Goanikontes skarn, north side of Swakop River, Namibia (a few pale orange fragments).

OC-311014-ST1-01
Pink-orange calcite pieces with minor green diopside; QC, Canada.

OC-281014-ST1-01
Pink-orange calcite pieces with minor green diopside; Highway 5 North, Gatineau/Chelsea, QC, Canada (2 larger pieces).

PC-281014-ST1-01
Pink-orange calcite pieces with minor green diopside; Highway 5 North, Gatineau, QC, Canada (3 small pieces).

OC-281014-ST3-01
Pink-orange calcite pieces with minor green diopside; Stop 3, Highway 5 South, 45° 35’ 15.05” N, 75° 55’ 24.65”W, QC, Canada (2 pieces).

OC-281014-ST3-02
Deep orange calcite pieces with minor green diopside; Highway 5 South, QC, Canada (multiple small pieces).

PC-281014-ST3-01
Lavender calcite pieces with minor green diopside; QC, Canada (multiple pieces).

BC-281014-ST4-01
Blue calcite 1 (dark); Highway 5, Gatineau, QC, Canada (3 larger pieces).

BC-281014-ST4-02
Blue calcite 2 (lighter colour); Highway 5, Gatineau, QC, Canada (2 pieces; polished and embedded in epoxy).

D-CD-H50-01

Dolomite?; Highway 50 West, Chemin Doherty, QC, Canada (2 larger pieces; red dolomite?).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.2a. Sample descriptions - Oxalates
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either not plagioclase or are too fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

See also section 19.2.8. and 19.29 - Pigments/artists materials from Alfa Aesar – received December 11, 2006 (ART001-003) and June 2007 (ART004 and 006)- For oxalate study
ART001
Sodium oxalate, ACS 99.5+% (Alfa Aesar stock #41759; 50 grams) [Na2C2O4].
ART001bk
ART001 heated to 250°C.
ART002
Oxalic acid, anhydrous, 98% (Alfa Aesar stock #44410; 50 grams) [HO2CCO2H].
ART002bk
ART002 heated to 400°C.
ART003
Calcium oxalate: CaC2O4·H2O. Synthetic: Alfa Aesar #32430 (lot #H21N04), 99%; 100 g. Synthetic whewellite; weathering product of statuary (Smith and Clark, Reviews in Conservation, vol. 2, (2001), pp. 92-106. Irritates lungs, eyes, skin. (also PIG204).

ART004
Sodium oxalate,  ACS 99.5% Reagent (Sigma-Aldrich #223433; 100 grams).

ART006
Dimethyl oxalate, 99% (Sigma-Aldrich #135623; 100 grams).

CRB711
Caoxite: Cerchiara Mine, La Spezia, Liguria, Italy [Ca(C2O4) · 3H2O] (aka calcium oxalate trihydrate) (Excalibur Minerals) (received Dec. 6, 2007).

CRB712
Weddellite: near Biggs, Wasco Co., OR, USA (light brown) [Ca(C2O4) · 2H2O] (aka calcium oxalate dihydrate) (Excalibur Minerals) (received Dec. 6, 2007).

CRB713
Whewellite: Pirineus Mine, Itinga, Minas Gerais, Brazil; on eosphorite [Ca(C2O4) · H2O] (aka calcium oxalate monohydrate) (Excalibur Minerals) (received Dec. 6, 2007).

CRB715
Iron (II) oxalate dihydrate, synthetic, [FeC2O4 · 2H2O], 99%; Alfa Aesar stock #A13479, Lot #10136824; CAS #6047-25-2; 250 g. (received Feb. 20, 2009).
CRB715bk
CRB715 heated in air to 220°C for several hours, cooled in dry nitrogen.
CRB720
Magnesium oxalate dihydrate, synthetic [MgC2O4 · 2H2O], 98.5%+; Alfa Aesar stock #43976; Lot #J19S011; CAS #547-66-0; 100 g. (received Feb. 20, 2009) [was CRB716]
CRB720bk
CRB720 heated to 250°C.
CRB720bk1
CRB720 heated in air to 220°C for several hours, cooled in dry nitrogen.
M46323
Whewellite (calcium oxalate), powdered sample and small crystals; received from Brendt Hyde of the Royal Ontario Museum – January 23, 2012.

OXA001
Potassium oxalate [K2C2O4] (synthetic); UW Chemistry stores?

OXA002
Sodium oxalate [Na2C2O4] (synthetic); same as ART001?

OXA010
Whewellite: spare coating on rock with ankerite, sphalerite, dickite, and chalcopyrite (received from Gunnar Farber Mineralien; received February 6, 2012; #1719.).

OXA011
Whewellite: 4 crystals: Karl Liebnecht Mine, Oelnitz, Zwickau, Saxony, Germany (Gunnar Farber Mineralien; received February 6, 2012).

OXA012
Weddellite: 1 piece, 1 vial; Meersboden Ablagerung, Weddell See, Antarktis/TYP (Gunnar Farber Mineralien; received February 6, 2012).

OXA013
Weddellite; 1 piece (with newberryite and halite; Punta Verde, Chile (Gunnar Farber Mineralien; received February 6, 2012).

OXA014
Synthetic ammonium oxalate monohydrate, ACS, 99.0-101.0%, granular [(COONH4)2 • H2O. Alfa Aesar 36228; lot: K15Y004; CAS: 6009-70-7; EINECS: 214-202-3; 100 grams (received June 2013) (see OXA017). [Wet sieve powder series made.]. Cemented during crushing and sieving.
OXA015
Synthetic nickel oxalate, dehydrate; [NiC2O4·2H2O]; Alfa Aesar #39454, lot: S20A005; CAS: 6018-94-6; 50 grams (received Dec. 5, 2014).
OXA016
Copper (II) oxalate hemihydrate [CuC2O4·0.5H2O]; Alfa Aesar #A15365, lot: 10182243; CAS: 5893-66-3; 50 grams (received Dec. 5, 2014).

OXA017
Synthetic ammonium oxalate monohydrate, 98%; [(COONH4)2 ·H2O]; Alfa Aesar #A10263, lot: 10178794; CAS: 6009-70-7; 100 grams (received Dec. 5, 2014) (see OXA014).

OXA018
Synthetic lead (II) oxalate, Puratronic 99.999% (metals basis); [PbC2O4?]; Alfa Aesar #122999, lot: S94965; CAS: 814-93-7; 5 grams (received Dec. 5, 2014).

OXA019
Synthetic cadmium oxalate [C2H2CdO4]. AK Scientific Inc.: Z1768; lot #MH38857; (814-88-0); 5 grams; received Dec. 2014.

OXA020
Synthetic benzoic acid; from University of Winnipeg Chemistry Stores (99.99% purity).

OXA021
Maleic acid (a dicarboxylic acid with two carbonyl groups (C4H4O4). Sigma Aldrich: ReagentPlus (≥99.0%); #M0375; lot #SLBM2834V; 100 grams (received Feb. 12, 2016).

OXA022
Adipic acid; (a dicarboxylic acid) (C6H10O4). Sigma Aldrich: BioXtra (≥99.5%); #09582; lot #BCBP3158V; 50 grams (received Feb. 12, 2016).

OXA023
Malonic acid (a dicarboxylic acid) (C3H4O4). Sigma Aldrich: ReagentPlus (≥99%); #M1296; lot #WXBB4020V; 5 grams (received Feb. 12, 2016).

OXA024
Mellitic acid, 99% dry basis (C12H6O12) (aka graphitic acid or benzenehexacarboxylic acid). Sigma Aldrich: M2705; lot #MKBV2474V; 1 gram (received Feb. 16, 2016).

OXA025
Glutaric acid, 99% (C5H8O4). Sigma Aldrich: G3407; lot #STBF1247V; 25 grams (received Feb. 16, 2016).

OXA026
Fumaric acid: >99.0% (T) (C4H4O4) (aka trans-butenedoic acid). Sigma Aldrich: 47910; lot #BCBP2928V; 5 grams (received Feb. 16, 2016).

OXA027
Succinic acid; assay ≥99.0%, anhydrous, free-flowing, RediDri ACS Reagent [C4H6O4]. Sigma Aldrich: 797987; lot #SLBP6847V; 100 grams (received Feb. 22, 2016).
OXA028
Oxalic acid: purified grade, 99.999% trace metals basis. Aldrich 658537; 25 grams (received Nov. 15, 2018).

PIG204
Calcium oxalate: CaC2O4·H2O. Synthetic: Alfa Aesar #32430 (lot #H21N04), 99%; 100 g. Synthetic weddelite (weathering product of statuary (Smith and Clark, Reviews in Conservation, vol. 2, (2001), pp. 92-106). Irritates lungs, eyes, skin. (also ART003). See section 19 of this document for data.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

5.3a. Sample Descriptions - Acetates
ACE001
Calcium acetate monohydrate (linear formula Ca(CH3CO2)2 · H2O). From University of Winnipeg Chemistry Department stores.

ACE001bk
ACE001 heated to 200° C in air for 1 hour; cooled under dry nitrogen. 
ACE002
Magnesium acetate (Mg(C2H3O2)2). From University of Winnipeg Department of Chemistry stores.Analytical grade; Amresco.
ACE002bk
ACE002 heated to 200° C in air for 1 hour; cooled under dry nitrogen.
ACE003
Sodium acetate (formula:  CH3COONa). From University of Winnipeg Department of Chemistry stores. 

ACE003bk
ACE003 heated to 200° C in air for 1 hour; cooled under dry nitrogen.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.4a. Sample Descriptions – Formates and related compounds
Note: acquired in late 2016

ACT001
Sodium acetate. Amresco: CAS:127-09-3; 99% purity.

ACT002
Calcium acetate hemihydrate. Amresco: CAS-62-54-4; 99% purity.

ACT003
Magnesium acetate tetrahydrate. Amresco: CAS:16674-78-5; 99% purity.

ACT004

Fe (II) acetate. Sigma Aldrich: CAS: 3094-87-9 Lot#: MKBT5629V; >99.99% purity.
CBX001
Sodium malonate dibasic monohydrate. Sigma Aldrich: CAS: 629-25-4 Lot#: BCBQ5896V; 99-100% purity.

CBX002
Sodium dodecanoate. Sigma Aldrich: CAS: 26522-85-0 Lot#: SLBM6735V; >98% purity.

CBX003
Sodium citrate. Source unknown.

CBX004
Sodium malonate dibasic monohydrate. Sigma Aldrich: CAS: 26522-85-0 Lot#: SLBM6735V; >98% purity.

FRM001
Calcium formate. Sigma Aldrich: CAS:544-17-2 Lot#: BCBR1725V; >99.0% purity.

FRM002
Sodium formate, anhydrous. Sigma Aldrich: CAS: 141-53-7 Lot#: MKBV7739V; >99% purity.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

5.5. Cat kidney stones (from ebay?)

C07-04789

C07-04792

C07-04212

C07-04490

C07-04665

“Betsy”

C07-04741

C07-04836

C07-04103

C07-04892

C07-04885

C07-04164

+++++++++++++++++++++++++++
5b. XRD Data – Carbonates, Oxalates and Acetates
A number of the samples were measured by XRD at the University of Manitoba Department of Geological Sciences in May and June of 1999, and in June of 2003, unless otherwise indicated. The samples were run in continuous scanning mode to provide information on the <45µm size samples and whether any accessory phases are present. Files are in the format crb###,rep.

5.1b. XRD Data – Carbonates – University of Manitoba
CRB101
(ankerite)

Almost pure quartz.

CRB102
(aragonite)

XRD shows aragonite+calcite in approximately equal amounts.

CRB103
(dolomite)

XRD shows only dolomite.

CRB104
(gaspeite)

Almost all gaspeite and a bit of laumontite (?) (zeolite: CaAl2Si4O12·4H2O).

CRB105
(huntite)


Huntite plus a few very minor peaks.

CRB106
(magnesite)

XRD shows only magnesite.

CRB107
(nahcolite)

XRD shows mostly nahcolite, also thenardite (Na2SO4) + halite (definite and minor).

CRB108
(siderite)

XRD shows only siderite.

CRB109
(calcite)


XRD shows only calcite.

CRB110
(calcite)


XRD shows only calcite.

CRB111
(calcite)


XRD shows only calcite.

CRB112
(calcite)


XRD shows only calcite.

CRB113
(manganocalcite)

XRD shows only calcite.

CRB114
(magnesite)

Magnesite plus other stuff- probably huntite; some broad and low angle peaks.

CRB115
(huntite)


Pure huntite.

CRB116
(aragonite)

Pure calcite.

CRB117
(dolomite)

Pure dolomite.

CRB118
(aragonite)

Pure calcite.

CRB119
(aragonite)

Mostly aragonite, some quartz and calcite.

CRB120
(aragonite)

Pure aragonite.

CRB122
(aragonite)

Nearly pure calcite, minor dolomite.

CRB123
(aragonite)

Nearly pure aragonite, a wee bit of calcite.

CRB124
(aragonite)

Pure aragonite.

CRB125
(aragonite)

Pure aragonite.

CRB126
(shortite)

Pure shortite (July 06).

CRB149
(magnesite)

UofW Bruker D8: Almost all magnesite, very minor dolomite.

CRB201
(artinite)


Only artinite but peak intensities don't jibe.

CRB203
(coalingite)

Meta-alunogen is best fit (Al4(SO4)627H2O), peaks are broad; coalingite is possible but other stuff as well; gibbsite (Al(OH)3) and brucite (Mg(OH)2) come up also.

CRB204
(dawsonite)

Dawsonite but peak intensities don't jibe.

CRB206
(gaylussite)

XRD shows only gaylussite

CRB208
(hydromagnesite)

XRD shows almost total magnesite, no hydromagnesite shows up.

CRB209
(hydrotalcite)

XRD shows hydrotalcite (nearly all), and maybe minor stichite (Mg6Cr2(CO3) (OH)16·4H2O); manasseite also made the cut.

CRB210
(manasseite)

No really sharp peaks; manasseite is a decent match, maybe also antigorite ((Mg,Fe+2)3Si2O5(OH)4)

CRB211
(pirssonite)

Pirssonite plus a few very minor peaks.

CRB212
(pyroaurite)

XRD shows calcite for matching some peaks, many still unidentified peaks (perhaps dolomite, aragonite).

CRB213
(thermonatrite)

XRD shows only trona.

CRB214
(trona)


XRD shows only trona.

CRB215
(hydromagnesite)

XRD shows almost all hydromagnesite, with a bit of magnesite.

CRB216
(hydromagnesite)

Nearly pure hydromagnesite with a bit of artinite.

CRB217
(brugnatellite)

from Italy (no need)

CRB218
(artinite)


from Italy (no need)

CRB310
(northupite)

Almost pure northupite.

CRB312
(artinite)


XRD shows only artinite.

CRB313
(pyroaurite)

XRD suggests that sjogrenite matches the major peaks; pyroaurite also matches the 2 major peaks but not the others.

CRB314
(artinite)


Mostly hydromagnesite and lizardite, a bit of artinite; also a high background indicating amorphous phases.

CRB315
(hydromagnesite)

Hydromagnesite + ? for a low end peak.

CRB501
(malachite)

Nearly pure malachite, high background indicates some amorphous material as well.

CRB502
(cerussite)

Pure cerussite.

CRB503
(azurite)


Pure azurite; high background indicates some amorphous material as well.

CRB504
(azurite)


Pure azurite; high background indicates some amorphous material as well.

CRB505
(hydrocerussite)

Pure calcite.

CRB506
(cerussite)

Pure cerussite.

CRB507
(cerussite)

Pure cerussite.

CRB508
(malachite)

Nearly pure malachite, minor amount of quartz; high background indicates some amorphous material as well.

CRB509
(malachite)

Pure malachite; high background indicates some amorphous material as well.

CRB510 (azurite)


Nearly pure azurite, a couple of minor mystery peaks; high background indicates some amorphous material as well.

CRB511
(azurite)


Pure azurite; high background indicates some amorphous material as well.
PIG204




Whewellite only.
+++++Baked samples+++++

CRB206Bk
(baked gaylussite)
Nyererite (Na2Ca(CO3)2).

CRB208Bk
(baked hydromagnesite)
Almost pure magnesite.

CRB209Bk
(baked hydrotalcite)
Mostly hydrotalcite.

CRB210Bk
(baked manasseite)
No decent matches; some serpentine.

CRB211Bk
(baked pirssonite)
Nyererite (Na2Ca(CO3)2).

CRB213Bk
(baked “thermonatrite”)
Natrite (Na2CO3), and wegscheiderite (Na5(CO3)(HCO3)3). (File: crb213.rep)

CRB213Bkb (baked “thermonatrite”)

Trona, natrite (Na2CO3), and wegscheiderite (Na5(CO3)(HCO3)3). (File: crb213bk.rep).

CRB214Bk
(baked trona)

Natrite (Na2CO3), and a bit of trona.

CRB215Bk
(baked hydromagnesite) 
Almost entirely magnesite.

+++++++++++++++++++++++++
5.1b. XRD Data – Carbonates – University of Winnipeg – Bruker D8
(i) February 2015

Sample



Phase identified by XRD

CRB148


Siderite

CRB402


Sodium bicarbonate

CRB403


Hydromagnesite and brucite (~50:50)
CRB404


Pure hydromagnesite

CRB405


Ammonium carbonate

CRB406


Ammonium bicarbonate

CRB407


Zinc carbonate basic

CRB408


Nickel carbonate basic

CRB409


13C sodium carbonate

CRB718


Calcite

CRB800


Mostly monohydrocalcite; some calcite and trace amount of a mystery phase (probably a chloride or phosphate)

CRB801


Mostly monohydrocalcite; some calcite and trace amount of a mystery phase (probably a chloride or phosphate)

CRB802


Monohydrocalcite, pure, with one mystery peak.

OXA014

Ammonium oxalate.
(ii) August 2015 

Sample




Phase identified by XRD

CRB711 - coating

Weddellite; trace calcite (?)

CRB712 – coating

Whewellite; minor quartz

OXA010 – clear crystals:

Whewellite

OXA010 – brown crystals:
Ankerite; trace siderite; trace dickite

(iii) May 2017

Sample




Phase identified by XRD

CRB160




Natrite, thermonatrite

(iv) February 2018 – U of W Bruker D8 

Sample

Phases identified by XRD

PIG024

Malachite

PIG349

cerussite?; redo

PIG350

malachite

PIG354

malachite

PIG372

malachite

(v) February 2019
Sample



Phase identified by XRD

CRB221 (should be trona)
Pure trona

5.5.b. Cat kidney stones – XRD analyses (June 2025)
C07-04789
Whewellite; weddellite

C07-04792
Weddellite

C07-04212
Whewellite only

C07-04490

C07-04665

“Betsy”

C07-04741

C07-04836

C07-04103

C07-04892

C07-04885
Whewellite; weddellite

C07-04164

+++++++++++++++++++++++++++
++++++++++++++++++++++++++++++++++++++++++++++++++++++++

5c. Compositional data – Carbonates, Oxalates and Acetates
5c.x.  Carbonates – Ideal Formulas
Wt. %

Alumo-
Ankerite*
Aragonite
Artinite
Azurite
Brugnatellite



hydro-



calcite







CO2

26.2
44.0
44.0
22.4
25.5
  7.9

MgO


10.1

41.0

43.6

FeO
 

17.9

Fe2O3






14.4

CaO

16.7
28.0
56.0

Al2O3

30.3

NiO


MnO


Na2O

CuO





69.2

PbO

OH/H2O 
26.8


36.6
 5.3
34.1


TOTAL

100
100
100
100
100
100


Wt. %

Calcite
Cerussite
Coalingite
Dawsonite
Dolomite
Dypingite

CO2

44.0
16.5
  5.1
30.6
47.7
36.3

MgO



46.9

21.9
41.5

FeO
 

Fe2O3



18.6

CaO

56.0



30.4

Al2O3




35.4

NiO


MnO


Na2O




21.5

CuO

PbO


83.5

OH/H2O 


29.4
12.5

22.2


TOTAL

100
100
100
100
100
100


Wt. %

Gaspeite*
Gaylussite
Huntite
Hydro-
Hydrotalcite
Magnesite






magnesite




CO2

41.5
29.7
49.9
37.6
  7.3
52.2

MgO

12.6

34.2
43.1
40.0
47.8

FeO
 
22.5

Fe2O3


CaO


18.9
15.9

Al2O3





16.9

NiO

23.4

MnO


Na2O


20.9

CuO

PbO

OH/H2O 

30.5

19.3
35.8



TOTAL

100
100
100
100
100
100


Notes: for ankerite assume only Fe2+ and Mg present in equal amounts (no Mn). For gaspeite assume equal parts Ni, Mg, and Fe2+. 
5c.x  Carbonates – Ideal Formulas (continued)
Wt. %

Malachite
Manasseite
Mangano-
Nahcolite
Natrite
Northupite*
Nyererite





calcite*







CO2

19.9
  7.3
40.9
52.4
41.5
31.1
42.7

MgO


40.0



16.2

FeO
 

Fe2O3


CaO



26.1



27.2

Al2O3


16.9

NiO


MnO



33.0

Na2O




36.9
58.5
37.4
30.1

CuO

72.0

PbO

Cl






14.3

OH/H2O 
  8.1
35.8

10.7






TOTAL

100
100
100
100
100
100
100


Wt. %

Pirssonite
Pyroaurite
Siderite
Thermo-
Trona
Wegscheiderite






nitrite





CO2

36.3
  6.7
38.0
35.5
38.9
49.4

MgO


36.6

FeO
 


62.0

Fe2O3


24.1

CaO

23.2

Al2O3


NiO


MnO


Na2O

25.6


50.0
41.2
43.5

CuO

PbO

Cl

OH/H2O 
14.9
32.6

14.5
19.9
   7.1


TOTAL

100
100
100
100
100
100


Note: assumes equal parts Mn and Ca in manganocalcite. “Excess” oxygen in northupite subtracted from CO2 total for simplicity. 

5c. Compositional Data - Carbonates and Oxalates
5.1c. Compositional Data - Carbonates

Wt. %
ART001
ART003
CRB101
CRB101
CRB102
CRB102
CRB103
CRB103

SiO2
0.00
0.00

52.52

0.00

0.02

TiO2
0.00
0.00

0.01

0.00

0.00

Al2O3
0.01
0.01

0.44

0.00

0.00

FeO
0.00
0.03

14.58



Fe2O3
0.14
0.16

9.38

(Fe2O3)*
0.14
(0.19)

(25.58)

(0.06)

(6.84)

MnO
0.00
0.008

1.63

0.00

0.14

MgO
0.02
0.41

1.46

1.06

32.42

CaO
0.05
99.18

16.83

98.16

60.19

Na2O
54.06
0.18

0.75

0.35

0.16

K2O
0.00
0.000

0.00

0.00

0.00

P2O5
0.02
0.019

0.03

0.02

0.02

SO3
0.09
0.070







TOTAL
54.39
100.067

99.25

99.65

99.79

LOI
58.66
61.43

14.49

44.47

46.66

ppm:
Sr
64
420

103

4175

144

Zr
45
6

10

15

5

V
<2
<2

5

5

20

Co
<2


<2

<2

<2

Cr
54
<2

3

<2

<2

Ni



50

<2

<2

Rb

<3

<2

<2

<2

Elemental abundances
Ca


1.83

53.1

37.4


Mg


1.05

0.428

12.2


Fe


2.72

0.015

2.24


Mn


0.171

0

0.082


as oxides:
MgO


1.74

0.71

20.23


FeO
 

3.50

0.02

2.88


CaO


2.56

74.29

52.32


MnO


0.22

0.00

0.11


Source
Mertzman

UW
Mertzman
UW
Mertzman
UW
Mertzman

Analysis
 XRF/WC

AA
XRF/WC
AA
XRF/WC
AA
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

+++++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB104
CRB104
CRB105
CRB105
CRB106
CRB106

SiO2


6.33

26.86

0.19

TiO2


0.02

0.03

0.00

Al2O3


0.19

0.60

0.08

FeO


1.05



0.73

Fe2O3


7.03



0.57

(Fe2O3)*


(8.20)

(0.21)

(1.38)

MnO


0.37

0.03

0.03

MgO


23.26

67.34

96.73

CaO


0.48

4.31

1.59

Na2O


0.50

0.00

0.00

K2O


0.00

0.00

0.00

P2O5


0.03

0.04

0.02

NiO


60.35





TOTAL


99.73

99.42

100.02

LOI


47.05

38.28

51.55

ppm:
Sr


37

322

73

Zr


5

15

5

V


5

5

3

Co


675

<2

5

Cr


630

<2

<2

Ni


above

<2

160

Rb


<2

<2

40

Elemental abundances
Ca

0.26

5.61

0.929


Mg

6.39

18.2

21.4


Fe

2.57

0.298

0.513


Mn

0.106

0

0.003


Ni

9.20

as oxides:
MgO

10.60

30.18

35.49


FeOa
 
3.31

0.38

0.66


CaO

0.36

7.85

1.30


NiO

11.71

MnO

0.14

0.00

<0.01


Source 

UW
Mertzman
UW
Mertzman
UW
Mertzman

Analysis

AA
XRF/WC
AA
XRF/WC
AA
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

+++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB107
CRB107
CRB108
CRB108
CRB109
CRB109
CRB110

SiO2


4.76

0.00

0.11

TiO2


0.07

0.03

0.00

Al2O3


1.04

0.08

0.01

FeO




35.67

Fe2O3




55.08

(Fe2O3)*


(0.63)

(94.72)

(0.00)

MnO


0.02

3.83

0.01

MgO


0.96

0.76

1.41

CaO


1.37

0.07

97.75

Na2O


34.10

0.66

0.41

K2O


0.68

0.01

0.00

P2O5


0.05

0.03

0.02



TOTAL


43.68

100.19

99.72

LOI


40.20

32.63

43.43



ppm:
Sr


270

25

366

Zr


10

5

10

V


5

45

10

Co


5

<2

<2

Cr


<2

<2

<2

Ni


160

<2

<2

Rb


40

<2

<2



Elemental abundances
Ca

0.15

0.413

55.7

52.6

Mg

0.938

0.072

0.476

1.34

Fe

0.27

52.66

0.0066

0.241

Mn

0.0105

2.106

0.003

0.083

Na

18.3

Al

0.544

as oxides:
MgO

1.56

0.12

0.79

2.22

FeOa
 
0.35

67.75

0.01

0.31

CaO

0.21

0.58

77.92

73.59

Al2O3

1.03

MnO

0.01

2.72

0.01

0.11

Na2O

24.67








Source 

UW
Mertzman
UW
Mertzman
UW
Mertzman
UW

Analysis

AA
XRF/WC
AA
XRF/WC
AA
XRF/WC
AA

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

++++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB111
CRB111
CRB112
CRB112
CRB113
CRB114
CRB114

SiO2


0.08

0.00


31.21

TiO2


0.01

0.00


0.00

Al2O3


0.00

0.00


0.00

FeO

Fe2O3
(Fe2O3)*


(0.05)

(0.00)
(0.00)

(0.00)

MnO


0.02

0.07


0.01

MgO


0.37

0.29


53.79

CaO


98.01

98.57


14.63

Na2O


0.38

0.36


0.02

K2O


0.00

0.00


0.00

P2O5


0.03

0.03


0.04

TOTAL


98.95

99.32


99.70

LOI


43.17

43.13
42.122

34.57

ppm:
Sr


3185

144


327

Zr


15

5


20

V


10

10


10

Co


<2

<2


<2

Cr


<2

<2


12

Ni


<2

40


<2

Rb


<2

<2


<2

Elemental abundances
Ca

57.1

58.3

51.0
3.27

Mg

0.119

0.11

0.105
22.1

Fe

0.02

0.016

0.285
0.037

Mn

0.0124

0.0522

2.25
0.00247

as oxides:
MgO

0.20

0.18

0.17
36.65

FeOa
 
0.03

0.02

0.37
0.05

CaO

79.88

81.56

71.35
4.57

MnO

0.02

0.07

2.91
<0.01



Source 

UW
Mertzman
UW
Mertzman
UW
UW
Mertzman
Analysis

AA
XRF/WC
AA
XRF/WC
AA
AA
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB115
CRB116
CRB117
CRB118
CRB119
CRB120
CRB121

MgO


  1.29
36.91
  1.90
  0.39
  1.23

(FeOa)
 


FeO


  0.00
  0.00
  0.00
  0.00
  0.00

Fe2O3


  0.19
  0.93
  0.11
  0.21
  0.58

(Fe2O3)*

(0.00)2
  (0.19)
(0.93)
(0.11)
(0.21)
(0.58)

CaO


96.98
61.45
97.03
70.43
91.17

Al2O3


  0.07
  0.00
  0.05
  0.29
  1.01

MnO


  0.13
  0.10
  0.00
  0.00
  0.01

Na2O


  0.05
  0.06
  0.22
  0.04
  0.20

SiO2


  0.19
  0.00
  0.97
28.01
  4.32

TiO2


  0.00
  0.00
  0.00
  0.00
  0.03

K2O


  0.00
  0.00
  0.00
  0.00
  0.19

P2O5


  0.07
  0.01
  0.00
  0.02
  0.04



TOTAL


98.97
99.46
100.28
99.39
98.78

LOIb

49.42c
42.06
46.40
43.07
34.40
40.57

LOI T°

950°C
950°C
950°C
950°C
950°C
950°C

LOI time
30 min.
30 min.
30 min.
30 min.
30 min.
30 min.



ppm
Sr


8730
190
130
2590
9730

Zr


    40
  45
  15
    20
    65

V


    <5
  <5
    5
    <5
      8

Cr


    <5
  <5
    8
    <5
    10

Co

Ni

Rb










Elemental abundances
Ca

9.63


Mg

24.0

Fe

0.0372

Mn

0

as oxides:
MgO

39.80

(FeOa)
 
(0.05)

CaO

13.47

MnO

0.00








Source 

UW
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis

AA
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC



* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

LOI T° = maximum baking temperature. LOI time – duration of heating. LOIc - Ignition loss done at University of Winnipeg. 
++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB122
CRB123
CRB124
CRB125

NMNH #


B10111
B16198
MgO

  4.09
0.60
0.19
0.26


FeO

  0.00





Fe2O3

  0.34





(Fe2O3)*

(0.34)
(0.14)
(0.10)
(0.00)


CaO

93.01
96.49
99.52
98.74


Al2O3

  0.49
0.37
0.00
0.00


MnO

  0.57
0.01
0.00
0.00


Na2O

  0.12
0.09
0.35
0.34


SiO2

  1.15
0.87
0.00
0.00


TiO2

  0.00
0.00
0.00
0.00


K2O

  0.06
0.05
0.00
0.00


P2O5

  0.07
0.03
0.02
0.02


SO3







TOTALa 
99.90
98.65
100.18
99.36


LOIb

39.23
42.08
43.66
43.27

LOI T°

950°C
950°C
950°C
950°C

LOI time
30 min.
30 min.
30 min.
30 min.

ppm
Sr

750
10760
109
62


Zr

  20
      25
10
5


V

  50
        5
15
10


Cr

    5
      10
<2
<2


Co



<2
<2


Ni



45
<2


Rb



<2
<2

Source 

Mertzman
Mertzman
Mertzman
Mertzman


Analysis

XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

LOI T° = maximum baking temperature. LOI time – duration of heating.
NMNH #: Smithsonian Institution National Museum of Natural History sample ID.

+++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %
CRB126
CRB130

SiO2
20.36
0.98

TiO2
0.13
0.00

Al2O3
2.79
0.44

(Fe2O3)*
(1.26)
(29.45)
FeO
0.23
10.76

Fe2O3
1.00
17.49
MnO
0.08
7.55

MgO
5.09
12.63

CaO
15.97
48.25

Na2O
50.18
0.53

K2O
1.68
0.02

P2O5
2.17
0.07

SO3
0.07
0.09
TOTAL
99.78
100.01

%SO31
0.60
0.38
LOI
38.95
41.68
ppm:
Rb
12.8
<0.5

Sr
453
359

Y
6.1
191.2

Zr
35
5

V
32
58

Ni
12
4

Cr
15
10

Nb
0.8
4.8

Ga
2.9
2.5

Cu
20
27

Zn
30
95

Co
<1
7

Ba
159
145

La
16
196

Ce
22
513

U
4.5
<0.5

Th
22.0
18.5

Sc
20
67

Pb
<1
<1

%Cl
0.00
0.00
Source 
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1 %SO3 on a volatile-free basis.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB131
CRB131

MgO

0.06
0.02
FeO

0.01
0.00
Fe2O3

0.01
0.00
(Fe2O3)*

 (0.02)
(0.00)
CaO

98.99
98.89
Al2O3

0.10
0.00
MnO

0.21
0.17
Na2O

0.06
0.06
SiO2

0.00
0.00
TiO2

0.00
0.00
K2O

0.01
0.00
P2O5

0.01
0.01
SO3

0.06
0.12

TOTALa 
99.52
99.27
LOIb

42.67
42.33
LOI T°

950°C
950°C
LOI time
30 min.
30 min.


ppm
Sr

150
156
Zr

49
11
V

34
13
Cr

15
5
Co

<1
<1
Ni

12
1
Rb





Source 

Mertzman
Mertzman

Analysis

XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

LOI T° = maximum baking temperature. LOI time – duration of heating.

+++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %
CRB132
CRB145
CRB147

SiO2
0.00
4.01
0.17
TiO2
0.00
0.24
0.00
Al2O3
0.00
1.62
0.09
(Fe2O3)*
(0.05)
75.16
(1.22)
FeO
0.00
29.12
0.22
Fe2O3
0.05
42.80
0.98
MnO
0.04
0.85
0.15
MgO
0.25
15.65
19.32
CaO
99.54
1.07
7.47
Na2O
0.12
0.37
0.27
K2O
0.00
0.33
0.03
P2O5
0.01
0.36
0.01
SO3
0.06

0.54

TOTAL
100.07
99.66
29.27
%SO31


LOI
43.53
37.58
39.94

ppm:
Rb

<2
Sr
195
<2
55
Y


Zr
21
72
25
V
<1
29
5
Ni


70.0% NiO
Cr
<1
<2
<1
Nb


Ga


Cu


Zn


Co


0.51% CoO
Ba

202
La


Ce


U


Th


Sc


Pb


%Cl
0.00

0.00

Source 
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1 %SO3 on a volatile-free basis.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %
CRB149


SiO2
1.43

TiO2
0.01

Al2O3
0.51

FeO
0.34

Fe2O3
0.04

(Fe2O3)*
(0.42)

MnO
0.03

MgO
93.60

CaO
3.58

Na2O
0.32

K2O
0.00

P2O5
0.01

SO3
0.06



TOTAL
99.97

LOI
52.61


ppm
Sr
174

Zr
133

V
15

Ni
<1

Cr
5

Co
<1



Source
Mertzman

Analysis
XRF/WC



* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB201
CRB203
CRB204
CRB206
CRB206

Ca

2.51
3.9
1.8
24.7



Mg

24.9
30.8
0.0729
0.019



Fe

0.0943
8.49
0.00913
0.0048



Mn

0
0.317
0
0.00105



Na



5.53
16.1


as oxides:
MgO

41.30
51.08
0.12
0.03



FeOa
 
0.12
10.92
0.01
0.01



CaO

3.51
5.46
2.52
34.56



MnO

0.00
0.41
0.00
<0.01



Na2O



7.45
21.70



LOIa


23.42

29.11
27.74


LOI





50.86b
LOI T°


950°C

165°C
165°C


LOI time

30 min.

65 min.
40 min.


Source

UW
UW
UW
UW
UW


Analysis

AA
AA
AA
AA
AA


a: LOI: Loss on ignition represents weight loss after heating sample in air. 

b – LOI ignition weight loss done at Franklin and Marshall College (by Stan Mertzman).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

LOI T° = maximum baking temperature. LOI time – Duration of heating. 

++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB208
CRB208
CRB209
CRB209

MgO

36.30
98.71
41.46
38.89

(FeOa)
 
0.02

1.13

FeO




1.35

Fe2O3




3.19

(Fe2O3)*


(0.00)

(4.69)

CaO

0.33
0.48
0.06
0.53

Al2O3


0.00
9.48
30.76

MnO

0.00
0.01
<0.01
0.01

Na2O


0.00

0.29

SiO2


0.10

24.62

TiO2


0.01

0.10

K2O


0.00

0.03

P2O5


0.03

0.18

TOTAL


99.34

100.10

LOI


51.90

54.38


LOIc

1.58

14.7


LOI T°

380°C
950°C
100°C
950°C

LOI time
80 min.
30 min.
20 min.
30 min.

ppm
Sr


87

93

Zr


5

10

V


5

25

Co


<2

20

Cr


25

140

Ni


65

750

Rb


<2

<2


Wt. %

Ca

0.237

0.044

Mg

21.89

25.0

Fe

0.018

0.875

Mn

0

0.00361

Al



5.02



Source of analysis
UW
Mertzman
UW
Mertzman

Analysis

AA
XRF/WC
AA
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

LOI T° = maximum baking temperature. LOI time – duration of heating. LOIc - Ignition loss done at University of Winnipeg. 

++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB210
CRB210
CRB211
CRB211
CRB212


MgO

27.20
66.38
0.19
0.57

FeO


0.96



Fe2O3


2.88



(Fe2O3)*


(3.95)

(0.12)

CaO

0.06
2.18
36.65
33.67


Al2O3

20.40
23.45

0.27

MnO

0.01
0.01
<0.01
0.01


Na2O


0.00
26.96
26.06


SiO2


3.45

0.90

TiO2


0.00

0.01

K2O


0.00

0.10

P2O5


0.04

0.03


TOTAL
 

99.46

61.74

LOI


17.94

67.46



LOIc

4.91

13.57



LOI T°

340°C
950°C
220°C
950°C


LOI time
60 min.
30 min.
40 min.
30 min.


ppm
Sr


68

2010

Zr


5

5

V


5

5

Co


5

<2

Cr


75

5

Ni


65

25

Rb


<2

10

Wt. %
Ca

0.0436

26.2



Mg

16.4

0.115



Fe

1.57

0.36



Mn

0.0088

0.00232



Na



20.0



Al

10.8





Source 

UW
Mertzman
UW
Mertzman


Analysis

AA
XRF/WC
AA
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

LOI T° = maximum baking temperature. LOI time – duration of heating. LOIc - Ignition loss done at University of Winnipeg. 

+++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB213
CRB213
CRB213
CRB213

MgO

0.09


  0.08

FeO




  0.00

Fe2O3




  0.31

(Fe2O3)*




(0.31)

CaO

0.38


  0.29

Al2O3




  0.00

MnO

0.00


  0.02

Na2O

53.64


97.95

SiO2




  1.16

TiO2




  0.00

K2O




  0.09

P2O5




  0.05

TOTAL




99.95

LOI




40.19


ppm
Sr




  5

Zr




10

V




<5

Cr




<5


Wt. %
Ca

0.271

Mg

0.053

Fe

0.011

Mn

0

Na

39.8

LOIc

22.92
15.27*
22.59

LOI T°

115°C
115°C
115°C
950°C

LOI time
25 min.
25 min.
25 min.
30 min.

Source 

UW
UW
UW
Mertzman

Analysis

AA
AA
AA
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

LOI T° = maximum baking temperature. LOI time – duration of heating. LOIc - Ignition loss done at University of Winnipeg. 

++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB214
CRB214
CRB214
CRB214
CRB215
CRB215

MgO

0.05


0.03
25.26
73.43

FeOa
 
0.01



0.04

Fe2O3


(Fe2O3)*




(0.03)

(0.18)

CaO

0.31


0.07
0.47
0.53

Al2O3




0.00

0.10

NiO


MnO

<0.01


0.01
0.01
0.01

Na2O

47.98


41.78

0.00

K2O




0.00

0.04

SiO2




0.00

1.24

TiO2




0.00

0.01

P2O5




0.02

0.04

TOTAL




41.94

75.58

LOI




43.06

47.89


ppm
Sr




36

195

Zr




5

5

V




<2

5

Co




<2

<2

Cr




5

10

Ni




80

55

Rb




20

25

Wt. %
Ca

0.224



0.337

Mg

0.032



15.23

Fe

0.0099



0.034

Mn

0.00113



0.00758

Na

35.6

LOIc

28.77
24.66
27.76

21.21

LOI T°

115°C
115°C
115°C
950°C
375°C
950°C

LOI time
25 min.
25 min.
25 min.
30 min.
40 min.
30 min.

Source

UW
UW
UW
Mertzman
UW
Mertzman

Analysis

AA
AA
AA
XRF/WC
AA
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

LOI T° = maximum baking temperature. LOI time – duration of heating. LOIc - Ignition loss done at University of Winnipeg. 
+++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB216
CRB217
CRB218
CRB310
CRB311


Ca




0.756



Mg




9.01



Fe




0.088



Mn




0.0154



Na




24.1


as oxides:
CO2


7.78
21.85

MgO


42.79
43.32
14.94



FeO




0.11a



Fe2O3


13.20

CaO




1.06



MnO


1.80

0.02



Na2O




32.48

H2O 


33.77
34.32



TOTAL


99.34
99.49

Source of analysis
UW
Italians
Italians
UW



Analysis

AA


AA


Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

Italians: Sample analyses provided by Dr. Pietro Vignola.

++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Mertzman ID
DA18-68

Wt. %
CRB221

SiO2
0.81

TiO2
0.01

Al2O3
0.19

FeO
0.10

Fe2O3
0.21

Fe2O3T
0.32

MnO
0.01

MgO
0.11

CaO
0.32

Na2O
97.98

K2O
0.08

P2O5
0.01

SO3
0.00

Total
99.84

LOI
43.41

ppm
Sr
35

Zr
<2

V
7

Cr
<2

Co
3

Ni
130

%Cl
0.11


Source of anal.
Mertzman


XRF/WC


Fe2O3T: all Fe reported as Fe2O3 and used to determine total.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
++++++++++++++++++++++++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB312
CRB312
CRB313

MgO

36.32
78.51
31.34

FeO

0.96a

22.00a

 

Fe2O3
(Fe2O3)*


(3.69)

CaO

0.14
0.19
2.17

Al2O3


0.09

MnO

0.00
0.08
0.45

Na2O


0.00

K2O


0.00

P2O5


0.02

SiO2


16.96

TiO2


0.01


TOTAL


99.55

LOI


44.55


ppm:
Sr


64

Zr


5

V


5

Co


50

Cr


455

Ni


1550

Rb


<2


Wt. %
Ca

0.103

1.55

Mg

21.9

18.9

Fe

0.748

17.1

Mn

0

0.35

Source 

UW
Mertzman
UW

Analysis

AA
XRF/WC
AA


* - all Fe reported as Fe2O3.

a – all Fe reported as FeO.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

++++++++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB314
CRB315
CRB404
CRB417

SiO2



0.00
0.00

TiO2



0.00
0.00

MgO



98.55
0.00
Fe2O3



0.03
0.12
FeO



0.17
0.05
(Fe2O3)*

(0.00_
(0.0)
(0.22)
(0.18)
CaO



0.61
0.01
Al2O3



0.05
0.00
NiO


MnO



0.030
0.021

K2O



0.000
0.000

P2O5



0.0171
0.000

SO3



0.11
0.050
Na2O



0.15
64.54




TOTAL



99.791
64.801
FeO






Fe2O3






LOIb


36.29
61.42
39.98
ppm
Rb



<1
<3

Sr



199
58

Zr



27
51

V



30


Ni



<5

Cr



<1
<2

Co



<2

Cu



<5

CuO





PbO






Source

UW
Mertzman
Mertzman
Mertzman


Analysis

AA
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

++++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %


CRB501
CRB502
CRB503
CRB504

SiO2


TiO2



MgO


Fe2O3


   0.61
  0.03

   0.79

FeO


   0.00
  0.00

   0.00

(Fe2O3)*


 (0.61)
 (0.03)
(0.00)
  (0.79)

CaO


Al2O3


NiO


MnO


   0.00
  0.00

   0.00
K2O



P2O5



SO3


Na2O






TOTAL


0.61
0.54

0.36

LOIb


28.21
15.80
25.60
30.65

ppm
Rb



Sr



Zr



V



Ni



Cr



Co



Cu



CuO




98.7%

PbO




83.5%



Source


Mertzman
Mertzman
Mertzman
Mertzman

Analysis


XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

Source UW: analysis by atomic absorption spectroscopy at the University of Winnipeg (and all Fe reported as FeO). 

++++++++++++++++++++++++++++++++++

5.1c. Compositional Data - Carbonates (continued)

Wt. %

CRB505
CRB506
CRB507
CRB508
CRB509
CRB510
CRB511

NMNH #
B8107
96778
C2130-1
78806
143514
145930
148829


MgO

0.46




4.37

FeO

0.07




0.00
Fe2O3

0.00




1.71

(Fe2O3)*

(0.07)




(1.71)
(0.00)

CaO

95.34




1.25

Al2O3

0.00




6.81

MnO

3.50




0.05

Na2O

0.58




0.00

K2O

0.00




0.00

P2O5

0.02




0.00

PbO


83.52
83.41

CuO




71.85
71.98
39.43
69.60

SiO2

0.00




18.62

TiO2

0.00




0.15



TOTAL

99.97
99.95
99.94
99.86
100.36
100.36
99.53

LOI

41.39
16.43
16.53
28.01
28.38
27.97
29.93

LOIa

41.77








ppm:
Sr

139

Zr

3

V

25

Co

<2

Cr

<2

Ni

85

Rb

<2








Source 

Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis

XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

a: Duplicate LOI determination.

NMNH #: Smithsonian Institution National Museum of Natural History sample number.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %
CRB715

SiO2
1.49

TiO2
0.031

Al2O3
0.38

(Fe2O3)*
97.07
FeO
48.16

Fe2O3
43.55
MnO
0.136

MgO
0.074

CaO
0.103

Na2O
0.068

K2O
0.051

P2O5
0.009

SO3
0.60


TOTAL
99.412

LOI
62.09
ppm:
Rb
<2

Sr
<2

Zr
<2

Cr
<2
V
13

Ba
45

Source 
Mertzman


Analysis
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1 %SO3 on a volatile-free basis.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %
CRB702
CRB715???
CRB716
CRB716
CRB717
CRB718
CRB720
SiO2
0.00
0.00
0.09
0.00
0.00
0.00
0.05
TiO2
0.00
0.00
0.00
0.03
0.00
0.00
0.00
Al2O3
0.02
75.16
0.13
0.09
0.00
0.00
0.16
(Fe2O3)*
(0.18)
 (24.20)
(0.30)
(2.80)
(0.01)
(0.02)
0.13
FeO
0.10
21.78
0.12
0.90
0.00
0.00
0.00
Fe2O3
0.07
0.00
0.17
1.80
0.01
0.02
0.13
MnO
0.02
0.052
0.042
92.36
0.01
0.11
0.06
MgO
0.14
0.29
98.11
1.00
2.02
0.62
98.07
CaO
0.07
0.05
0.93
2.58
92.57
99.05
0.98
Na2O
1.70
0.54
0.18
0.37
0.31
0.12
0.00
K2O
0.01
0.000
0.000
0.01
0.01
0.00
0.00
P2O5
0.90
0.003
0.016
0.03
0.02
0.01
0.11
SO3
0.07
0.070
0.050
0.07
4.67
0.12
0.08
TOTAL
3.11
100.335
99.848
99.34
99.62
100.05
99.64
%SO31
0.24


0.59

0.44
LOI
28.06
59.28
73.28
36.51
44.40
45.01
73.26
ppm:
Rb
<0.5
<3
 <3
<0.5

<0.5

Sr
2
23
405
18
3175
179
375
Y
<0.5


<0.5

<0.5

Zr
10
53
40
10
40
10
40
V
23
10
30
<1
<1
1
39
Ni
617


1

1

Cr
2
<2
<2
325
<1
10
278
Nb
<0.5


<0.5

<0.5

Ga
<1


1.6

1.5

Cu
96.1% CuO


10

5

Zn
?


5

5

Co
275


18

<1
<2
Ba
<3


17

15

La
22


20

10

Ce
16


38

13

U
7.1


2.5

0.8

Th
21.3


<0.5

<0.5

Sc
34


40

80

Pb
3


<1

<1

%Cl
0.00


0.00
0.00
0.00


Source 
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman 
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

XRF/WC
* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1 %SO3 on a volatile-free basis.

???: probably wrong sample.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %
CRB915
OXA014
OXA0142
OXA0142
SiO2
1.35

TiO2
0.00

Al2O3
0.02

(Fe2O3)*
 (0.23)
FeO
0.09

Fe2O3
0.13
MnO
0.58

MgO
0.91

CaO
96.31

Na2O
0.12

K2O
0.00

P2O5
0.02

SO3
0.06




TOTAL
99.60
0.000
N

19.031
19.313
19.234

C

12.515
16.714
16.019

S

2.05
2.35
2.13

SO3

5.12
5.87
5.32

LOI
43.41
100.00



ppm:
Rb


Sr
90


Y



Zr
10


V
1


Ni


Cr
<1


Nb


Ga


Cu


Zn


Co


Ba


La


Ce


U


Th


Sc


Pb


%Cl
0.00


Source 
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1 %SO3 on a volatile-free basis.

2 Duplicate analysis
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.1c. Compositional Data - Carbonates (continued)

Wt. %
PIG204

SiO2
0.03

TiO2
0.00

Al2O3
0.07

(Fe2O3)*
0.07
FeO
0.00

Fe2O3
0.07
MnO
0.00

MgO
0.65

CaO
98.81

Na2O
0.12

K2O
0.00

P2O5
0.05

SO3
0.12
TOTAL
99.92

LOI
61.95
ppm:
Sr
398


Zr
12

V
<2

Cr
54

Co
<2


Source 
Mertzman


Analysis
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

1 %SO3 on a volatile-free basis.

2 Duplicate analysis
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5d. Spectral Data -  Carbonates, Oxalates and Acetates (in alphabetical order)
Sample
Facility/File No.  
Description







ACE001
PSF large grain ca acetic mono
large grains, unsorted; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
ACE001bk
PSF baked ca acetate large grain
large grains, unsorted; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
ACE001
PSF ca acetate mono fine
fine grains, unsorted; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
ACE001bk
PSF ca acetate fine baked
fine grains, unsorted; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].

++++++
ACE002
PSF mg acetate unsorted
unsorted powder; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
ACE002bk
PSF mg acetate unsorted baked
unsorted powder; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
++++++

ACE003
PSF na acetate unsorted
unsorted powder; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
ACE003bk
PSF na acetate unsorted baked
unsorted powder; i=30°, e=0°; 1.5-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
++++++
ART001
PSF 090313a.001
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

ART001
RELAB cacb80
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

ART001
RELAB bir1cb080A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

ART001
RELAB bkr1cb080A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

ART001
PSF 121108a.008, r2
<45 µm; 0.2-2.5 µm merged spectra. Maya: 0.2-0.4 µm; i=0°, e=0°; ~0.4 nm resolution; 200 spectra averaged; ASD: 0.4-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged [Directory: 121108oxalatesasd; 121108oxalatesuv].

ART001
PSF b
<45 µm; 1-25 µm; i=30°, e=0°; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 130203].
ART001bk
PSF b
<45 µm (sample heated to 250°C); 1.8-25 µm; i=30°, e=0°; 2cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131109 baked oxalates].
+++++++

ART002
PSF 090313a.002
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

ART002
PSF 090313a.003
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

ART002
RELAB cacb81
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

ART002
RELAB bir1cb081A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

ART002
RELAB bkr1cb081A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 0.93 µm.

ART002
PSF 121108a.010, r4
<45 µm; 0.2-2.5 µm merged spectra. Maya: 0.2-0.4 µm; i=0°, e=0°; ~0.4 nm resolution; 200 spectra averaged; ASD: 0.4-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged [Directory: 121108oxalatesasd; 121108oxalatesuv].

ART002bk
PSF a
<45 µm (sample heated to 400°C); 1.8-25 µm; i=30°, e=0°; 2cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131109 baked oxalates].
+++++++

ART006
PSF 090313a.004
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

ART006
PSF 090313a.005
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
C07-04792
PSF 250530a.00001.asd
<45 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Director: 250530 Cat Kidney Stones].

C07-04885
PSF 250530a.00002.asd
<45 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Director: 250530 Cat Kidney Stones].

C07-04789
PSF 250530a.00003.asd
<45 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Director: 250530 Cat Kidney Stones].

C07-04212
PSF 250530a.00004.asd
<45 µm; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Director: 250530 Cat Kidney Stones].

+++++++
CRB101
RELAB cacb01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB101
RELAB lacb01a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB101
RELAB cbcb01
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB101
RELAB lacb01b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB102
RELAB cacb02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB102
RELAB lacb02a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB102
RELAB cbcb02
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB102
RELAB lacb02b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB103
RELAB cacb03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB103
RELAB lacb03a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB103
RELAB cbcb03
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB103
RELAB lacb03b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB103
PSF 130910a.001
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (Directory: Minerals for Jim).
CRB103
PSF 111201a.044
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 111201_optech).

+++++++
CRB104
RELAB cacb04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB104
RELAB lacb04a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB104
RELAB cbcb04
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB104
RELAB lacb04b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB105
PSF 090421a.015
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB105
RELAB cacb05
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB105
RELAB lacb05a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB105
PSF crb105
<45 µm, 35°/0°, 2-16 µm; D&P 102F; 100 spectra averaged.
CRB105
PSF jul1306.001
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

CRB105
PSF acrb105
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).
CRB105
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
CRB106
RELAB cacb06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB106
RELAB lacb06a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB106
RELAB cbcb06
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB106
RELAB lacb06b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

++++++
CRB107
RELAB cacb07
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB107
RELAB lacb07a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB107
RELAB cbcb07
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB107
RELAB lacb07b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB108
RELAB cacb08
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB108
RELAB lacb08a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB108
RELAB cbcb08
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB108
RELAB lacb08b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB108
PSF jul1306.002
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

CRB108
PSF acrb108
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).
CRB108
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
CRB109
RELAB cacb09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB109
RELAB lacb09a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB109
RELAB cbcb09
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB109
RELAB lacb09b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB110
RELAB cacb10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB110
RELAB lacb10a
<45µm, 30°/0°, 30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB111
RELAB cacb11
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB111
RELAB lacb11a
<45µm, 30°/0°, 30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB111
PSF 071212a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++
CRB112
RELAB cacb12
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB112
RELAB lacb12a
<45µm, 30°/0°, 30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB112
RELAB cbcb12
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB112
RELAB lacb12b
45-90µm, 30°/0°, 30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB112
RELAB CACA10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB112
RELAB LACA10
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

CRB112
PSF pig1307.033
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

+++++++
CRB113
RELAB cacb13
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB113
RELAB lacb13a
<45µm, 30°/0°, 30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB113
RELAB cbcb13
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB113
RELAB lacb13b
45-90µm, 30°/0°, 30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB114
PSF 090421a.016
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB114
RELAB bkr1cb014a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.

CRB114
PSF crb114
<45 µm, 35°/0°, 2-16 µm; D&P 102F; 100 spectra averaged.

CRB114
PSF crb114feb01.rtx
45-90 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

CRB114
PSF jun0506.004
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

CRB114
PSF acrb114
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).
CRB114
See also section 22 for spectra acquired under ambient and Mars-like conditions.

++++++
CRB114-4A
PSF 090602a.004
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

CRB114-4B
PSF 090602a.003
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

CRB114
PSF 090602a.005
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

+++++++
CRB115
RELAB bkr1cb015a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.570 µm.

+++++++
CRB116
PSF 090421a.003
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB116
RELAB bkr1cb016a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.585 µm.

+++++++
CRB117
RELAB bkr1cb017a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.560 µm.

CRB117
PSF 071212a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

CRB117
PSF 111201a.016
whole rock;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

+++++++
CRB118
RELAB bkr1cb018a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.575 µm.


+++++++
CRB118-AX1
PSF 090602a.001
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

CRB118
PSF 090602a.002
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

CRB118
PSF 111201a.045
<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CRB118
PSF 111201a.017
whole rock, i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CRB118
INO CRB 118
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

CRB118
PSF nov1505.054
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #1 WITH sapphire window (Directory: nov1505).

CRB118
PSF nov1505.055
90-180 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #1 WITH sapphire window (Directory: nov1505).
CRB118
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
CRB119
RELAB cacb19
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB119
RELAB bkr1cb019a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.525 µm.

CRB119
PSF 130910a.002
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (Directory: Minerals for Jim).

+++++++

CRB120
RELAB cacb20
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB120
RELAB bkr1cb020a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.525 µm.

CRB120
PSF pig1307.035
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

+++++++
CRB122
RELAB cacb42
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB122
RELAB bkr1cb042a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.

+++++++
CRB123
RELAB cacb43
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB123
RELAB bkr1cb043a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.

+++++++
CRB124
RELAB cacb44
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB124
RELAB bkr1cb044a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.

+++++++
CRB125
RELAB cacb45
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB125
RELAB bkr1cb045a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.580 µm.

+++++++
CRB126
PSF 090421a.017
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB126
PSF jul1606crb126
<45 µm, 35°/0°, 2-16 µm, D&P 102F.
CRB126
PSF jan2407crb126dp
unknown grain size, 35°/0°, 2-16 µm, D&P 102F; smoothed; 100 spectra averaged; D&P; good quality.

CRB126
PSF jan2407crb126dp2
unknown grain size, 35°/0°, 2-16 µm, D&P 102F; unsmoothed; 100 spectra averaged; D&P; good quality.

CRB126
PSF crb126.rtx
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

CRB126
PSF crb126dp.rtx
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.

CRB126
PSF crb126dp2.rtx
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.

CRB126
RELAB cacb62
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB126
RELAB bir1cb062A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB126
RELAB bkr1cb062A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB126
RELAB cbcb62
45-90 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB126
RELAB bir1cb062B
45-90 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB126
RELAB bkr1cb062B
45-90 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB128
RELAB cacb63
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB128
RELAB bir1cb063A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB128
RELAB bkr1cb063A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB130
RELAB cacb64
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB130
RELAB bir1cb064A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB130
RELAB bkr1cb064A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB130
PSF 130910a.013
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (Directory: Minerals for Jim).

+++++++

CRB131
RELAB cacb65
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB131
RELAB bir1cb065A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB131
RELAB bkr1cb065A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB131
PSF 111201a.046
<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

+++++++
CRB140
RELAB cacb66
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB140
RELAB bir1cb066A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB140
RELAB bkr1cb066A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB141
RELAB cacb67
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB141
RELAB bir1cb067A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB141
RELAB bkr1cb067A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB142
RELAB cacb68
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB142
RELAB bir1cb068A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB142
RELAB bkr1cb068A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB143
RELAB cacb69
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB143
RELAB bir1cb069A
<45 µm; 30º/30º; 0.9-25 µm; 0.1-20 nm resolution, Nicolet.

CRB143
RELAB bkr1cb069A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB144
RELAB cacb70
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB144
RELAB bir1cb070A
<45 µm; 30º/30º; 0.9-25 µm; 0.1-20 nm resolution, Nicolet.

CRB144
RELAB bkr1cb070A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB144
PSF c1
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures]. 
+++++++

CRB145
RELAB cacb71
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB145
RELAB bir1cb071A
<45 µm; 30º/30º; 0.9-25 µm; 0.1-20 nm resolution, Nicolet.

CRB145
RELAB bkr1cb071A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.
CRB145
PSF 170405a00001.asd; CRB145 SUB45.DPT
<45 µm; i=30°, e=0°; merged ASD + Vertex 70. ASD: 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 170405 siderite mix]; Vertex 70: 10,000-400 cm-1; 6 cm-1 resol.; 2000 spectra avgd. [Directory: 170405 siderite mix]

CRB145
See section 29 for transmission measurements (in KBr)

++++CRB145: phase angle measurements: ASD reflectance+++++++++++++
i=30°, e=0°

CRB145
PSF 140306a.001
180-212 µm; i=30°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306a.002
106-125 µm; i=30°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306a.003
63-75 µm; i=30°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306a.004
45-63 µm; i=30°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306a.005
20-25 µm; i=30°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].


++++++

i=18°, e=0°

CRB145
PSF 140306b.001
180-212 µm; i=18°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306b.002
106-125 µm; i=18°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306b.003
63-75 µm; i=18°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306b.004
45-63 µm; i=18°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306b.005
20-25 µm; i=18°, e=0° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].


++++++

i=0°, e=30°

CRB145
PSF 140306c.001
180-212 µm; i=0°, e=30° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306c.002
106-125 µm; i=0°, e=30° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306c.003
63-75 µm; i=0°, e=30° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306c.004
45-63 µm; i=0°, e=30° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306c.005
20-25 µm; i=0°, e=30° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].


++++++

i=0°, e=45°

CRB145
PSF 140306d.001
180-212 µm; i=0°, e=45° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306d.002
106-125 µm; i=0°, e=45° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306d.003
63-75 µm; i=0°, e=45° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306d.004
45-63 µm; i=0°, e=45° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306d.005
20-25 µm; i=0°, e=45° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].


++++++

i=0°, e=60°

CRB145
PSF 140306e.001
180-212 µm; i=0°, e=60° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306e.002
106-125 µm; i=0°, e=60° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306e.003
63-75 µm; i=0°, e=60° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306e.004
45-63 µm; i=0°, e=60° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

CRB145
PSF 140306e.005
20-25 µm; i=0°, e=60° on sample and standard; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 140306_CRB145_ASD_DIFF].

++++CRB145: phase angle measurements: Bruker Vertex 70 FTIR reflectance+++++++++++++

i=0°, e=18°

CRB145
PSF crb145_0_18_212_180
180-212 µm; i=0°, e=18° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_18_125_106
106-125 µm; i=0°, e=18° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_18_75_63
63-75 µm; i=0°, e=18° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_18_63_45
45-63 µm; i=0°, e=18° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_18_25_20
20-25 µm; i=0°, e=18° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].


++++++

i=0°, e=30°

CRB145
PSF crb145_0_30_212_180
180-212 µm; i=0°, e=30° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_30_125_106
106-125 µm; i=0°, e=30° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_30_75_63
63-75 µm; i=0°, e=30° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_30_63_45
45-63 µm; i=0°, e=30° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_30_25_20
20-25 µm; i=0°, e=30° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].


++++++

i=0°, e=45°

CRB145
PSF crb145_0_45_212_180
180-212 µm; i=0°, e=45° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_45_125_106
106-125 µm; i=0°, e=45° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_45_75_63
63-75 µm; i=0°, e=45° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_45_63_45
45-63 µm; i=0°, e=45° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_45_25_20
20-25 µm; i=0°, e=45° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].


++++++

i=0°, e=60°

CRB145
PSF crb145_0_60_212_180
180-212 µm; i=0°, e=60° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_60_125_106
106-125 µm; i=0°, e=60° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_60_75_63
63-75 µm; i=0°, e=60° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_60_63_45
45-63 µm; i=0°, e=60° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_0_60_25_20
20-25 µm; i=0°, e=60° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].


++++++

i=30°, e=0°

CRB145
PSF crb145_30_0_212_180
180-212 µm; i=30°, e=0° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_30_0_125_106
106-125 µm; i=30°, e=0° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_30_0_75_63
63-75 µm; i=30°, e=0° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_30_0_63_45
45-63 µm; i=30°, e=0° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

CRB145
PSF crb145_30_0_25_20
20-25 µm; i=30°, e=0° on sample and standard; 10000 – 400 cm-1; 2 cm-1 resolution; 2x boxcar; 1500 spectra averaged; Bruker Vertex 70 FTIR [Directory: 140307_CRB145_FTIR_Diff].

+++++++
CRB147
RELAB cacb72
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB147
RELAB bir1cb072A
<45 µm; 30º/30º; 0.9-25 µm; 0.1-20 nm resolution, Nicolet.

CRB147
RELAB bkr1cb072A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++

CRB148
RELAB cacb73
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB148
RELAB bir1cb073A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB148
RELAB bkr1cb073A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB148
PSF 150211a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB148
PSF ae1 crb148 sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
+++++++

CRB149
PSF 131119a.003
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (Directory: 131119 randoms).
++++CRB149 grain size series++++
CRB149
PSF 151209a00002
500-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 151209 CRB149].

CRB149
PSF 151209a00003
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 151209 CRB149].

CRB149
PSF 151209a00004
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 151209 CRB149].

CRB149
PSF 151209a00005
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD (UV downturn suggests some sieve contamination) [Directory: 151209 CRB149].

CRB149
PSF 151209a00006
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD (UV downturn suggests some sieve contamination) [Directory: 151209 CRB149].

+++++++
CRB150
PSF 1 natrite sub20
<20 µm; heated before sieving, to 170°C to remove hydrated phases; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 reflectance in purged N2 [Directory: 160307 natrite]. 
CRB150
PSF 2 natrite 20-45
20-45 µm; heated before sieving, to 170°C to remove hydrated phases; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 reflectance in purged N2 [Directory: 160307 natrite].

CRB150
PSF 3 natrite 45-90
45-90 µm; heated before sieving, to 170°C to remove hydrated phases; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 reflectance in purged N2 [Directory: 160307 natrite].

CRB150
PSF 4 natrite 90-125
90-125 µm; heated before sieving, to 170°C to remove hydrated phases; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 reflectance in purged N2 [Directory: 160307 natrite].

CRB150
PSF 5 natrite 125-180
125-180 µm; heated before sieving, to 170°C to remove hydrated phases; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 reflectance in purged N2 [Directory: 160307 natrite].

CRB150
PSF 6 natrite 180-250
180-250 µm; heated before sieving, to 170°C to remove hydrated phases; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 reflectance in purged N2 [Directory: 160307 natrite].

CRB150
PSF b2 natrite <10
<10 µm powder, wet sieved with methanol; i=30°, e=0°; 1.65-20 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 [Directory: 160307 natrite].

CRB150
PSF b2 natrite >250
>250 µm powder, wet sieved with methanol; i=30°, e=0°; 1.65-20 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 [Directory: 160307 natrite].

CRB150
PSF b2 natrite <10
<10 µm, wet sieved; i=30°, e=0°; 1.65-25 µm; 64 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
CRB150
PSF b1 natrite >250
>250 µm, wet sieved; i=30°, e=0°; 1.65-25 µm; 64 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
+++++++
CRB151
PSF 8 thermo
unsorted powder; i=30°, e=0°; 1.65-25 µm; 8 cm-1 resolution; 14814 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].

CRB151
PSF 16 thermo fine
unsorted fine powder; i=30°, e=0°; 1.65-25 µm; 8 cm-1 resolution; 14814 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].

CRB151bk
PSF 1 natrite sub20
<20 µm, sample baked to 170°C first, dry sieved; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
CRB151bk
PSF 2 natrite 20-45
20-45 µm, sample baked to 170°C first, dry sieved; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
CRB151bk
PSF 3 natrite sub45-90
45-90 µm, sample baked to 170°C first, dry sieved; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
CRB151bk
PSF 4 natrite 90-125
90-125 µm, sample baked to 170°C first, dry sieved; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
CRB151bk
PSF 5 natrite 125-180
125-180 µm, sample baked to 170°C first, dry sieved; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
CRB151bk
PSF 6 natrite 180-250
180-250 µm, sample baked to 170°C first, dry sieved; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160307 natrite].
+++++++

CRB160

PSF 170516b0003.asd
Ground natrite from Pierre Beck; reground in-house; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170516 cerm]

CRB160

PSF crb160
unsorted powder; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 3974 spectra averaged; Bruker Vertex 70 [Directory: 170505 natrite]

CRB160bk
PSF 170516b0004.asd
Ground natrite from Pierre Beck; reground in-house; heated to 200°C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170516 cerm]

CRB160bk
PSF crb160bk
unsorted powder; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 3974 spectra averaged; Bruker Vertex 70 [Directory: 170505 natrite]

++++++

CRB163
PSF 211209a.00011.asd
unsorted powder; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211209 Atlin etc.].

CRB163
PSF 211209a.00012.asd
whole rock, polished face; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211209 Atlin etc.].

++++++

CRB164
PSF 211209a.00013.asd
unsorted powder; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211209 Atlin etc.].

++++++

CRB165
PSF 211209a.00017.asd
unsorted powder; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211209 Atlin etc.].

++++++
CRB201
RELAB cacb21
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB201
RELAB lacb21a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB203
RELAB cacb23
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB203
RELAB lacb23a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB204
RELAB cacb24
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB204
RELAB lacb24a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB205
PSF 090319a.028
whole rock – brownish surface with sparse green serpentine veins rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB205
PSF 090319a.029
whole rock – biggest piece – white “mold” partially covered whole rock surface – spot 1, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB205
PSF 090319a.030
whole rock – biggest piece – white “mold” partially covered whole rock surface – spot 2, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB205
PSF 090319a.031
whole rock – small piece, striated white whole rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
CRB206
RELAB cacb26
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB206
RELAB cbcb26
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB206
RELAB lacb26a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB206
RELAB lacb26b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.


+++++++

CRB206Bk
RELAB cccb26
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB206Bk
RELAB lacb26c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB208
PSF 090421a.001
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB208
RELAB cacb28
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB208
RELAB cbcb28
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB208
RELAB lacb28a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB208
RELAB lacb28b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB208
PSF 111201a.047
<45 μm;  i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CRB208
PSF 111201a.018
whole rock, i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CRB208
INO CRB 208
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

CRB208
PSF crb208m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

CRB208
PSF crb208n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).


+++++++
CRB208Bk
RELAB cccb28
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB208Bk
RELAB lacb28c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB209
RELAB cacb29
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB209
RELAB cbcb29
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB209
RELAB lacb29a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB209
RELAB lacb29b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.


+++++++

CRB209Bk
RELAB cccb29
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB209Bk
RELAB lacb29c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB210
RELAB cacb30
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB210
RELAB cbcb30
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB210
RELAB lacb30a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB210
RELAB lacb30b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.


+++++++

CRB210Bk
RELAB cccb30
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB210Bk
RELAB lacb30c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB211
RELAB cacb31
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB211
RELAB lacb31a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB211
RELAB cbcb31
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB211
RELAB lacb31b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.


+++++++

CRB211Bk
RELAB cccb31
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB211Bk
RELAB lacb31c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB212
RELAB cacb32
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB212
RELAB lacb32a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB213
RELAB cacb33
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB213
RELAB cbcb33
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB213
RELAB lacb33a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB213
RELAB lacb33b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.


+++++++

CRB213Bk
RELAB cccb33
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB213Bk
RELAB lacb33c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB213Bk-b 
RELAB cdcb33
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB213Bk-b 
RELAB lacb33d
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

++++++
CRB214
RELAB cacb34
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB214
RELAB cbcb34
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB214
RELAB lacb34a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB214
RELAB lacb34b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.


+++++++

CRB214Bk
RELAB cccb34
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB214Bk
RELAB lacb34c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB214Bk-b 
RELAB cdcb34
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB214Bk-b 
RELAB lacb34d
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB215
PSF 090421a.002
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB215
PSF 090421a.018
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB215
RELAB cacb35
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB215
RELAB lacb35a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB215
RELAB cbcb35
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB215
RELAB lacb35b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB215
PSF crb215
<45 µm, 35°/0°, 2-16 µm; D&P 102F; 100 spectra averaged.

CRB215
PSF jun0506.008
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

CRB215
PSF acrb215
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).
CRB215
See also section 22 for spectra acquired under ambient and Mars-like conditions.

+++++++
CRB215Bk
RELAB cccb35
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB215Bk
RELAB lacb35c
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++

CRB216
RELAB cacb36
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB216
RELAB lacb36a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB217
RELAB cacb37
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB217
RELAB lacb37a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB217
RELAB cbcb37
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB217
RELAB lacb37b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB218
RELAB cacb38
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB218
RELAB lacb38a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

CRB218
RELAB cbcb38
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB218
RELAB lacb38b
45-90µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB310
RELAB cacb39
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB310
RELAB lacb39a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm; merged RELAB+Nicolet.

+++++++
CRB312
PSF 090421a.004
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

CRB312
RELAB cacb46
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB312
RELAB bkr1cb046a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.580 µm.

+++++++
CRB313
RELAB cacb47
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB313
RELAB bkr1cb047a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.545 µm.

+++++++
CRB314
RELAB cacb48
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB314
RELAB bkr1cb048a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.580 µm.

+++++++
CRB315
RELAB cacb49
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB315
RELAB bkr1cb049a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.540 µm.

+++++++
CRB401
RELAB cacb41
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB401
RELAB lacb41a
<45µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry.

CRB401
RELAB cbcb41
45-90µm, 30°/0°, 0.3-2.6µm, 5 nm. Sample may have altered before/during spectral measurements.
CRB401
RELAB lacb41b
45-90µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry. Sample may have altered before/during spectral measurements.
+++++++
CRB402
PSF 150211a.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB402
PSF aa1 crb402 sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
++++++

CRB403
PSF 150211a.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB403
PSF aa3 crb403 sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
++++++

CRB404
PSF 150211a.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB404
PSF aa2 crb404 sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
++++++

CRB405
PSF 150310a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150310carbonates].

CRB405
PSF aa1 ammonium carbonate sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150310carbonates].
CRB405
PSF 150316 NH4 carb
<45 µm; i=30°, e=0°; 8000-400 cm-1; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 150316 NH4 FTIR].
CRB405
PSF 150316 NH4 carb smoothed
<45 µm; i=30°, e=0°; 8000-400 cm-1; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 150316 NH4 FTIR]; smoothed data; 25 point moving average.
++++++

CRB406
PSF 150310a.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150310carbonates].

CRB406
PSF aa2 ammonium bicarbonate sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150310carbonates].
CRB406
PSF 150316 NH4 bicarb
<45 µm; i=30°, e=0°; 8000-400 cm-1; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 150316 NH4 FTIR].
CRB406
PSF 150316 NH4 bicarb smoothed
<45 µm; i=30°, e=0°; 8000-400 cm-1; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 150316 NH4 FTIR]; smoothed data; 25 point moving average.
CRB406f
PSF 150626a.006
unsorted, measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit].
++++++

CRB407
PSF 150310a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150310carbonates].

CRB407
PSF a2 zn carbonate basic sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150310carbonates].
CRB407
PSF a4 zn carbonate sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; reshoot; Bruker Vertex 70 [Directory: 150310carbonates].
++++++

CRB408
PSF 150310a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150310carbonates].

CRB408
PSF a5 ni carbonate basic sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150310carbonates].
++++++

CRB409
PSF 150310a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150310carbonates].

CRB409
PSF a1 13C na carbonate sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150310carbonates].
++++++

CRB417
PSF 1 crb417 90-125
90-125 µm, wet sieved; i=30°, e=0°; 1.65-25 µm; 4 cm-1 resolution; 3572 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160430 natrite].
CRB417
PSF 1 crb417 32-45
32-45 µm, wet sieved; i=30°, e=0°; 1.65-25 µm; 4 cm-1 resolution; 3572 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160430 natrite].
CRB417
PSF 1 crb417 10-20
10-20 µm, wet sieved; i=30°, e=0°; 1.65-25 µm; 4 cm-1 resolution; 3572 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160430 natrite].
CRB417
PSF 1 crb417 sub20
<20 µm, wet sieved; i=30°, e=0°; 1.65-25 µm; 4 cm-1 resolution; 3572 spectra averaged; Bruker Vertex 70 FTIR reflectance; scaled to match ASD spectra [Directory: 160430 natrite].

CRB417
PSF 170331.001; CRB417<20
<<20 µm, wet sieved, crushed further: 10 minutes in Wig-L-Bug; 1=30°, e=0°; 0.3-25 µm, merged at 2.050 µm; ASD + Bruker Vertex 70; ASD: 5 nm resolution, 500 spectra averaged [Directory: 170331 natrite]; Vertex 70: 8 cm-1 resolution, 10000-400 cm-1 range, 2489 spectra averaged [Directory: 170330 natrite].

CRB417

PSF 170331.001
<<20 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170331 natrite]

CRB417

PSF crb417<20
<<20 µm; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 2489 spectra averaged; Bruker Vertex 70 [Directory: 170330 natrite]

++++ New fresh, kept dry sample: dry-sieved grain size series+++++
CRB417

PSF 181106a00001.asd
500-1000 µm, dry sieved, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181106 CRB 417].

CRB417

PSF 181106a00002.asd
212-500 µm, dry sieved, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181106 CRB 417].

CRB417

PSF 181106a00003.asd
90-212 µm, dry sieved, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181106 CRB 417].

CRB417

PSF 181106a00004.asd
45-90 µm, dry sieved, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181106 CRB 417].

CRB417

PSF 181106a00005.asd
<45 µm, dry sieved, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181106 CRB 417].

++++ New fresh, kept dry sample: wet-sieved grain size series+++++
CRB417

PSF 181108a00005.asd
500-1000 µm, wet sieved in ethanol, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181108 CRB 417].

CRB417

PSF 181108a00004.asd
212-500 µm, wet sieved in ethanol, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181108 CRB 417].

CRB417

PSF 181108a00003.asd
90-212 µm, wet sieved in ethanol, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181108 CRB 417].

CRB417

PSF 181108a00002.asd
45-90 µm, wet sieved in ethanol, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181108 CRB 417].

CRB417

PSF 181108a00001.asd
<45 µm, wet sieved in ethanol, new fresh sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181108 CRB 417].

See also section 28.5 for phase angle measurements of CRB417 (in- and out-of-principal plane) for Ceres Oxo crater bright spots.

++++++
CRB501
RELAB cacb51
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB501
RELAB lacb51
<45µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry.

CRB501
PSF 180205a00009.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
CRB502
RELAB cacb52
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB502
RELAB lacb52
<45µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry.

+++++++
CRB503
RELAB cacb53
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB503
RELAB lacb53
<45µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry.

CRB503
PSF 180206a00004.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

+++++++
CRB504
RELAB cacb54
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB504
RELAB lacb54
<45µm, 30°/0°,30°, 0.3-26µm, 5,0.6-129 nm, merged RELAB+Nicolet; note changed viewing geometry.

CRB504
PSF 180205a00007.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
CRB505
RELAB cacb55
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB505
RELAB bkr1cb055a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.580 µm.

+++++++
CRB506
RELAB cacb56
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB506
RELAB bkr1cb056a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.580 µm.

CRB506
PSF pig1307.032
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

+++++++
CRB507
RELAB cacb57
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB507
RELAB bkr1cb057a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.

+++++++
CRB508
RELAB cacb58
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB508
RELAB bkr1cb058a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.
CRB508
PSF 180205a00001.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
CRB509
RELAB cacb59
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB509
RELAB bkr1cb059a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.570 µm.

CRB509
PSF 180205a00010.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
CRB510
RELAB cacb60
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB510
RELAB bkr1cb060a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.540 µm.

+++++++
CRB511
RELAB cacb61
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CRB511
RELAB bkr1cb061a
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.540 µm.

CRB511
PSF 180205a00008.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
CRB701
RELAB cacb74
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB701
RELAB bir1cb074A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB701
RELAB bkr1cb074A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB701
PSF 130910a.003
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (Directory: Minerals for Jim).

+++++++

CRB702
RELAB cacb75
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB702
RELAB bir1cb075A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB702
RELAB bkr1cb075A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++
CRB711
PSF 090319a.024
whole rock – fresh host whole rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB711
PSF 090319a.025
whole rock – weathered host whole rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB711
PSF 090319a.026
whole rock – partially caoxite covered rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB711
PSF 090319a.027
whole rock – white “mold” covered area adjacent to caoxite mass whole rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.
CRB711
PSF 150720b.001
scraped-off coating, crushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resol., 1 nm output; 500 spectra averaged; ASD [Directory: 150720 oxalates carbonates 2].
CRB711
PSF 150717a.008
yellow coating, whole rock; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resol., 1 nm output; 500 spectra averaged; ASD [Directory: 150720 oxalates carbonates 2].
+++++++
CRB712
PSF 090319a.022
whole rock – host rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB712
PSF 090319a.023
whole rock – partially weddellite covered rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB712
PSF 150717a.002
coating, whole rock; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resol., 1 nm output; 500 spectra averaged; ASD [Directory: 150717 oxalate coatings].
+++++++
CRB713
PSF 090319a.020
whole rock – host rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB713
PSF 090319a.021
whole rock – partially whewellite covered rock surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++
CRB715
PSF 090313a.006
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB715
RELAB cacb76
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB715
RELAB bir1cb076A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB715
RELAB bkr1cb076A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB715
PSF 121108a.012, r5
<45 µm; 0.2-2.5 µm merged spectra. Maya: 0.2-0.4 µm; i=0°, e=0°; ~0.4 nm resolution; 200 spectra averaged; ASD: 0.4-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged [Directory: 121108oxalatesasd; 121108oxalatesuv].

CRB715
PSF d
<45 µm; 1-25 µm; i=30°, e=0°; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 130203].

CRB715f
PSF 150626a.007
<45 µm, measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit]. Likely originally mislabelled as CRB720 – should be CRB715.
CRB715bk
PSF humboldtine baked
unsorted fine powder; i=30°, e=0°; 1-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
+++++++
CRB716
PSF 130723b.009
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

CRB716
PSF 130723b.010
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

+++++++
CRB717
PSF 130723b.005
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

CRB717
PSF 130723b.006
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

+++++++
CRB718
PSF 150211a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB718
PSF ae2 blue calcite sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
++++++
CRB720
PSF 090313a.007
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB720
PSF 090313a.008
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

CRB720f
PSF 150626a.007
<45 µm, measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit]. Likely mislabelled – should be CRB715.
CRB720
PSF 121108a.013, r6
<45 µm; 0.2-2.5 µm merged spectra. Maya: 0.2-0.4 µm; i=0°, e=0°; ~0.4 nm resolution; 200 spectra averaged; ASD: 0.4-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged [Directory: 121108oxalatesasd; 121108oxalatesuv].

CRB720
PSF e
<45 µm; 1-25 µm; i=30°, e=0°; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 130203].
CRB720bk
PSF c
<45 µm (sample heated to 250°C); 1.8-25 µm; i=30°, e=0°; 2cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131109 baked oxalates].
CRB720bk1
PSF Mg-ox baked
unsorted fine powder; i=30°, e=0°; 1-25 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160429 bennu].
+++++++

CRB800
PSF 080730a.005
unsorted powder from XRD vial; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CRB800
RELAB cacb77
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB800
RELAB bir1cb077A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB800
RELAB bkr1cb077A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.
CRB800
PSF CRB800
<45 µm; i=30°, e=0°; 1.25-25 µm; 4 cm-1 spectral resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: MHC].
CRB800
PSF 150211a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB800
PSF ae3 crb800 sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
+++++++

CRB801
PSF 080730a.006
unsorted powder from XRD vial; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CRB801
RELAB cacb78
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB801
RELAB bir1cb078A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB801
RELAB bkr1cb078A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB801
PSF CRB801
<45 µm; i=30°, e=0°; 1.25-25 µm; 4 cm-1 spectral resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: MHC].
+++++++

CRB802
PSF 080730a.003
unsorted powder from XRD vial; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CRB802
PSF CRB802
<45 µm; i=30°, e=0°; 1.25-25 µm; 4 cm-1 spectral resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: MHC].
CRB802
PSF 150211a.006
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB802
PSF 150211a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

CRB802
PSF ae4 crb802 unsorted
unsorted powder; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
CRB802
PSF ae5 crb802 sub45
<45 µm; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
+++++++

CRB803
PSF 080730a.004
unsorted powder from XRD vial; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

+++++++

CRB804
PSF 080730a.007
unsorted powder from XRD vial; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

+++++++
CRB915
PSF 130723b.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

CRB915
PSF 130723b.002
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

++++++

CRB-S01
PSF 090731a.001
unsorted; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged, ASD.

CRB-S01
RELAB cacb82
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB-S01
RELAB bir1cb082A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB-S01
RELAB bkr1cb082A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB-S01
PSF CRB-S01a
unsorted; 2.5-12.5 μm; 0.4 cm-1 resolution; Buck spectrometer; 12 minute integration time.

CRB-S01
PSF CRB-S01b
unsorted; 2.5-12.5 μm; 0.4 cm-1 resolution; Buck spectrometer; 12 minute integration time (remeasure?).

+++++++

CRB-S02
PSF 090731a.002
unsorted; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged, ASD.
CRB-S02
RELAB cacb83
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

CRB-S02
RELAB bir1cb083A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

CRB-S02
RELAB bkr1cb083A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

CRB-S02
PSF CRB-S02a
unsorted; 2.5-12.5 μm; 0.4 cm-1 resolution; Buck spectrometer; 12 minute integration time.

CRB-S02
PSF CRB-S02b
unsorted; 2.5-12.5 μm; 0.4 cm-1 resolution; Buck spectrometer; 12 minute integration time (remeasure?).

+++++++

OXA001
PSF 121108a.001, r1
<45 µm; 0.2-2.5 µm merged spectra. Maya: 0.2-0.4 µm; i=0°, e=0°; ~0.4 nm resolution; 200 spectra averaged; ASD: 0.4-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged [Directory: 121108oxalatesasd; 121108oxalatesuv].

OXA001
PSF a
<45 µm; 1-25 µm; i=30°, e=0°; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 130203].
OXA001
PSF a
<45 µm; 1.8-25 µm; i=30°, e=0°; 2 cm-1 resolution; 1500 spectra averaged [Directory: 131109 baked oxalates]. ”Baked whewellite”.
+++++++

OXA010
PSF 150720b.002
clear crystals in coating, crushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resol., 1 nm output; 500 spectra averaged; ASD [Directory: 150720 oxalates carbonates 2].
OXA010
PSF 150720b.003
brown crystals in coating, crushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resol., 1 nm output; 500 spectra averaged; ASD [Directory: 150720 oxalates carbonates 2].
OXA010
PSF 150717a.003
clear crystals, whole rock; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resol., 1 nm output; 500 spectra averaged; ASD [Directory: 150717 oxalate coatings].
+++++++

OXA014
PSF 150211a.011
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150211carbonates].

OXA014
PSF aa5 oxa014 unsorted
unsorted powder; 30°/0°; 1.25-25 µm; 4 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 150211carbonates].
OXA014
PSF 150316 NH4 oxa
<45 µm; i=30°, e=0°; 8000-400 cm-1; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 150316 NH4 FTIR].
OXA014
PSF 150316 NH4 oxa smoothed
<45 µm; i=30°, e=0°; 8000-400 cm-1; 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 150316 NH4 FTIR]; smoothed data (25 point moving average)
++++++

OXA015
PSF 141208a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 140208oxalatesulfides].

OXA015
PSF oxa015
<45 µm; 0°/0°; 0.2-0.4 µm usable range; deuterium light; 200 spectra averaged; Maya [Directory: 14a208oxalatesulfides].

OXA015
PSF 141208a.003
<45 µm; 30°/0° ASD, 0°/0° Maya; 0.2-2.5 µm; merged Maya + ASD (Maya with UV, ASD with QTH; merged at 399 nm); 200 and 500 spectra averaged [Directory: 14a208oxalatesulfides].
+++++++
OXA016
PSF 141208a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 140208oxalatesulfides].

OXA016
PSF oxa016
<45 µm; 0°/0°; 0.2-0.4 µm usable range; deuterium light; 200 spectra averaged; Maya [Directory: 140208oxalatesulfides].

OXA016
PSF 141208a.002
<45 µm; 30°/0° ASD, 0°/0° Maya; 0.2-2.5 µm; merged Maya + ASD (Maya with UV, ASD with QTH; merged at 399 nm); 200 and 500 spectra averaged [Directory: 14a208oxalatesulfides].
+++++++

OXA018
PSF 141208a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 140208oxalatesulfides].

OXA018
PSF oxa018
<45 µm; 0°/0°; 0.2-0.4 µm usable range; deuterium light; 200 spectra averaged; Maya [Directory: 140208oxalatesulfides].

OXA018
PSF 141208a.001
<45 µm; 30°/0° ASD, 0°/0° Maya; 0.2-2.5 µm; merged Maya + ASD (Maya with UV, ASD with QTH; merged at 399 nm); 200 and 500 spectra averaged [Directory: 14a208oxalatesulfides].
+++++++

OXA019
PSF 141208a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 141208oxalatesulfides].

OXA019
PSF oxa019
<45 µm; 0°/0°; 0.2-0.4 µm usable range; deuterium light; 200 spectra averaged; Maya [Directory: 141208oxalatesulfides].

OXA019
PSF 141208a.004
<45 µm; 30°/0° ASD, 0°/0° Maya; 0.2-2.5 µm; merged Maya + ASD (Maya with UV, ASD with QTH; merged at 399 nm); 200 and 500 spectra averaged [Directory: 141208oxalatesulfides].
+++++++

OXA020
PSF 011

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 FTIR (Directory: 150826 carbon black mixtures).

OXA020
PSF 151104a.011
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

++++++

PIG004
RELAB caec04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG004
RELAB laec04
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG004
PSF 080708.pig004
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics S2000.

PIG004
PSF 130910a.004
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (Directory: Minerals for Jim).

PIG004
PSF a1
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures]. 
+++++++
PIG009
RELAB caec09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG009
RELAB laec09
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++
PIG024
RELAB c1ec12
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG024
RELAB bkr1ec012
<45µm, 30°/0°,30°, 0.3-26µm, 5, 1.2-120 nm; merged RELAB+Nicolet at 2.550 µm.

+++++++

PIG204
RELAB c1ec14
<45 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PIG204
RELAB bmr1ec014
<45 µm, 30°/30°, 1.67-25 µm, 0.6-129 nm.

PIG204
RELAB bkr1ec014
<45 µm, 30°/0°,30°, 0.3-25 µm, 5,0.6-129; merged RELAB+Nicolet at 1.8 µm, note change in viewing geometry.

PIG204
PSF 090313a.016
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PIG204
PSF 121108a.009, r3
<45 µm; 0.2-2.5 µm merged spectra. Maya: 0.2-0.4 µm; i=0°, e=0°; ~0.4 nm resolution; 200 spectra averaged; ASD: 0.4-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged [Directory: 121108oxalatesasd; 121108oxalatesuv].

PIG204
PSF c
<45 µm; 1-25 µm; i=30°, e=0°; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 130203].
PIG204
PSF a2
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures]. 
+++++++
SYN009
PSF syn009
<45 µm, 35°/0°, 2-16 µm; D&P 102F; 100 spectra averaged; smoothed.

SYN009
PSF syn009nosm
<45 µm, 35°/0°, 2-16 µm; D&P 102F; 100 spectra averaged; not smoothed.

SYN009
RELAB cacb79
<45 µm; 30º/0º; 0.28-2.6 µm; 5 nm resolution, RELAB.

SYN009
RELAB bir1cb079A
<45 µm; 30º/30º; 0.8-25 µm; 0.1-20 nm resolution, Nicolet.

SYN009
RELAB bkr1cb079A
<45 µm; 30º/0º/30°; 0.28-25 µm; 5, 0.1-20 nm resolution; merged RELAB+Nicolet at 1.8 µm.

+++++++++++ Dirk Schumann carbonates+++++++
OC-GS
PSF 150625a.001
whole rock, large chunk, flat; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC-GS
PSF 150715a.004
orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

++++++

D-CD-H50-01
PSF 150625a.002
dolomite, flat; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

D-CD-H50-01
PSF 150715a.005
red dolomite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

D-CD-H50-01
PSF 150625a.003
calcite, flat, redder than .0002; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

D-CD-H50-01
PSF red dolomite
unsorted powder; i=30°, e=0°; ASD: 0.35-2.5 µm; 1 nm output; 500 spectra averaged; Bruker: 1.65-25 (or 16) µm; 6 cm-1 resolution; 398 spectra averaged. Merged at 2.05 µm (Bruker scaled to ASD). [Directories: 150715 coloured calcites powdered; 160429 bennu].

++++++

STI01
PSF 150625a.004
calcite+diopside, orange, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

++++++

OC281014-ST1-01 
PSF 150625a.005
calcite+dolomite from big bag, orange, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC281014-ST1-01
PSF 150715a.008
orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

++++++

OC281014-ST3-01 
PSF 150625a.006
orange calcite, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC281014-ST3-01
PSF 150715a.006
orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

PC281014-ST3-01 
PSF 150625a.007
orange-pink calcite, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

PC281014-ST3-01 
PSF 150625a.008
calcite, more pink than .007, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

PC281014-ST3-01 
PSF 150625a.009
calcite, more pink than .007, different spot than .008, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

PC281014-ST3-01
PSF 150715a.007
pink calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

+++++

OC-LC 
PSF 150625a.010
calcite, dark orange, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC-LC
PSF 150715a.003
orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

OC-LC
PSF orange calcite
unsorted powder; i=30°, e=0°; ASD: 0.35-2.5 µm; 1 nm output; 500 spectra averaged; Bruker: 1.65-25 (or 16) µm; 6 cm-1 resolution; 398 spectra averaged. Merged at 2.05 µm (Bruker scaled to ASD). [Directories: 150715 coloured calcites powdered; 160429 bennu].

++++++

OC-RIOS-1 
PSF 150625a.011
very orange calcite, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC-RIOS-1
PSF 150717a.001
very orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150717 oxalate coatings].

OC-RIOS-1
PSF 150720a.001
very orange calcite, purple spot after XRD, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150720 oxalates carbonates].

++++++

OC281014-ST3-02 
PSF 150625a.012
most orange calcite, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC-281014-ST3-02
PSF 150715a.009
orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

++++++

OC-OL 
PSF 150625a.013
calcite, round and orange, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

OC-OL
PSF 150715a.010
orange calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

++++++

BC20281014-st401 
PSF 150625a.014
blue calcite, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

BC20281014-st401 
PSF 150625a.015
blue calcite, other spot, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

BC-20281014-st401
PSF 150715a.002
blue calcite, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

++++++

BC20281014-st4-02 
PSF 150625a.016
blue calcite, polished, whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 150625 colourful calcites].

BC-20281014-st4-02
PSF 150715a.002
blue calcite, polished, crushed to unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150625 colourful calcites powdered].

BC-20281015-st401
PSF blue calcite
unsorted powder; i=30°, e=0°; ASD: 0.35-2.5 µm; 1 nm output; 500 spectra averaged; Bruker: 1.65-25 (or 16) µm; 6 cm-1 resolution; 398 spectra averaged. Merged at 2.05 µm (Bruker scaled to ASD). [Directories: 150715 coloured calcites powdered; 160429 bennu].

++++++++++++++++++++++++++++++++++++++++++++++
NOTE:  Some of the spectra were measured with the following detectors at RELAB: PbSe (0.9-3.2µm), and DTGS (mid-IR; 1.8-26µm). The reason is that there is a mismatch between RELAB and mid-IR spectra due to non-linearity, etc. of DTGS. 
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
5.4d. Formates and related compounds

(i) ASD spectra: 0.35-2.5 µm; i=30°, e=0°; 2-7 nm resolution, 1 nm output; 500 spectra averaged; new ASD [Directory: 161227 carboxys and 161228 carboxys].
ACT001
PSF 161227a.008
>45 µm powder.

ACT001
PSF 161227a.009
<45 µm powder.

++++++

ACT002
PSF 161227a.010
>45 µm powder.

ACT002
PSF 161227a.011
<45 µm powder.

++++++

ACT003
PSF 161228a.003
>45 µm powder.

ACT003
PSF 161228a.004
<45 µm powder.

++++++

ACT004
PSF 161228a.005
<45 µm powder.

++++++

CBX001
PSF 161227a.005
unsorted powder.

++++++

CBX002
PSF 161227a.006
>45 µm powder.

++++++

CBX003
PSF 161228a.002
>45 µm powder.

CBX003
PSF 161228a.001
<45 µm powder.

++++++

CBX004
PSF 161227a.007
<45 µm powder.

++++++

FRM001
PSF 161227a.001
>45 µm powder.

FRM001
PSF 161227a.002
<45 µm powder.

++++++

FRM002
PSF 161227a.003
>45 µm powder.

FRM002
PSF 161227a.004
<45 µm powder.

+++++++++++++++++++++++++++++
(ii) ASD+ Bruker Vertex 70 merged reflectance spectra, at 2.5 µm: ASD: 0.35-2.5 µm; i=30°, e=0°; 2-7 nm resolution, 1 nm output; 500 spectra averaged; [Directory: 161227 carboxys and 161228 carboxys]. Vertex 70: 2-16 µm; i=30°, e=0°; 6 cm-1 resolution 1500 spectra averaged [Directory: 161228 carboxys].
FRM001
PSF 161227a.001; a
>45 µm powder.
FRM001
PSF 161227a.002; b
<45 µm powder.

FRM002
PSF 161227a.003; c
>45 µm powder.

FRM002
PSF 161227a.004; d
<45 µm powder.

CBX001
PSF 161227a.005; e
unsorted powder.

CBX002
PSF 161227a.006; f
>45 µm powder.

CBX003
PSF 161227a.007; g
<45 µm powder.

ACT001
PSF 161227a.008; h
>45 µm powder.

ACT001
PSF 161227a.009; i
<45 µm powder.

ACT002
PSF 161227a.010; j
>45 µm powder.

ACT002
PSF 161227a.011; k
<45 µm powder.

CBX003
PSF 161228a.001; l
<45 µm powder.

CBX003
PSF 161228a.002; m
>45 µm powder.

ACT003
PSF 161228a.003; n
>45 µm powder.

ACT003
PSF 161228a.004; o
<45 µm powder.

ACT004
PSF 161228a.005; p
<45 µm powder.

+++++++++++++++++++++++
(iii) Bruker Vertex 70 reflectance spectra: 1.6-16 µm; i=30°, e=0°; 6 cm-1 resolution 1500 spectra averaged [Directory: 160429 bennu].
PIG204bk
PSF PIG204bk
<45 µm powder; dehydrated; cooled under dry nitrogen purge.

CRB715bk
PSF CRB715bk
<45 µm powder; baked; cooled under dry nitrogen purge.

ACT002bk
PSF ACT002bk
unsorted powder; baked; cooled under dry nitrogen purge.

ACT002bk
PSF ACT002bk
unsorted by ground to fine powder; dehydrated; cooled under dry nitrogen purge.

CRB720bk1
PSF CRB720bk1
<45 µm powder; baked again; cooled under dry nitrogen purge.

ACT001bk
PSF ACT001bk
unsorted fine powder; baked; cooled under dry nitrogen purge.

ACT003bk
PSF ACT003bk
unsorted fine powder; baked; cooled under dry nitrogen purge.

+++++++++++++++++++++++++++++++++++++++++++++++++++
5.d. Carbonates and Oxalates – Raman spectra

Note: data acquired at i=0°, e=0°; 174-4000 cm-1 range; 100% laser power; auto-integration; ~4 cm-1 resolution; iRaman 532 nm.

ART001
PSF R2
<45 µm; 6482 msec integration time; 10 spectra averaged [Directory: 121101oxalates532].

ART002
PSF R4
<45 µm; 6657 msec integration time; 10 spectra averaged [Directory: 121101oxalates532].

ART003
PSF R3
<45 µm; 1508 msec integration time; 10 spectra averaged [Directory: 121101oxalates532].

CRB413
PSF 200129_5322_007_CRB413_COARSEpowder.txtr
Coarse powder, unsorted [Directory: 200129 nh4].

CRB715
PSF R5
<45 µm; 16108 msec integration time; 10 spectra averaged [Directory: 121101oxalates532]. (see also section 45).
CRB720
PSF R6
<45 µm; 2767 msec integration time; 10 spectra averaged [Directory: 121101oxalates532].

M46323
PSF T2
<45 µm; 7522 msec integration time; 10 spectra averaged [Directory: 121101oxalates532].

OXA001
PSF T1
<45 µm; 8513 msec integration time; 10 spectra averaged [Directory: 121101oxalates532].

OXA017
PSF 200129_532_006_OXA017_COARSEpowder.txtr
Coarse powder, unsorted [Directory: 200129 nh4].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 5
6. Hydroxides
6a. Sample Descriptions - Hydroxides
[FORMAT: Sample #, type, locality, association/comments, and (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).
Alcan International samples provided by George Fulford of Alcan.
Sample ID
Description








OOH001
Bauxite: Guyana (Minerals Unlimited). Lots of sample; made <45 and 45-90µm fractions (dry sieve). Sample is predominantly gibbsite.

OOH002
Bauxite: Pulaski County, Arkansas, USA (Minerals Unlimited). Lots of sample, made <45 and 45-90µm fractions (dry sieve). Sample is predominantly gibbsite. Received more from Minerals Unlimited May 2023 – labelled as siderite (now CRB168x – should be something else) with bauxite).
OOH003
Goethite: Cary Mine, Ironwood, Gogebic County, Michigan, USA; with hematite stain [-FeO·OH] (Minerals Unlimited). Lots of sample [DHZ: yellowish-brown to red]. Lots of sample, made <45 and 45-90µm fractions (dry sieve); more received November 2017.
OOH004
Gibbsite: Minas Gerais, Brazil (Minerals Unlimited) [Al(OH)3] (Minerals Unlimited). A couple of grams (DHZ: white, pale pink, pale green, grey, light brown; MU: white, compact radial fibrous masses). Couple of grams of <45 and 45-90µm made (dry sieve) made.

OOH005
Böhmite: Picheney et Cie Mines, Les Baux, Bouche du Rhone, Provence, France; with minor mixture of other aluminum and iron oxides [-AlO(OH)] (Minerals Unlimited) some sample. (DHZ: white when pure;  MU: red to cream earthy masses). Lots of sample, lots of <45 and 45-90µm made (dry sieve).

OOH006
Manganite: Atikokan, Ontario, Canada [MnO·OH] (Minerals Unlimited). Lots of sample. [S&S: black striated crystals, commonly twinned]. Some <45 and 45-90µm made (dry sieve).

OOH007
Diaspore: Donally Mine, near Thorne, Mineral County, Nevada, USA; with pyrophyllite [-AlO(OH)] (Minerals Unlimited). (MU: light grey-brown crystalline with assoc.; DHZ: white, white-grey or colourless; pyrophyllite: many colours, pearly). Tons of sample, lots of <45 and 45-90µm made (dry sieve).

OOH008
“Diaspore”: Chinese bauxite, high-diaspore, with minor anatase, quartz, kaolinite, and 1% hematite (Alcan Aluminum, #4080). Partially precrushed; made lots of 45-90µm and <45µm fractions (dry sieve).

OOH009
“Diaspore”: Chinese bauxite, high-diaspore, with minor anatase, quartz, kaolinite, and 1% hematite (Alcan Aluminum, #4086). Partially precrushed; made lots of 45-90µm and <45µm fractions (dry sieve).

OOH010
“Diaspore”: Greek bauxite, high-diaspore, with some boehmite and hematite, and smaller amounts of anatase, quartz, kaolinite, and calcite, and probably traces of goethite and gibbsite (hydrargillite) (Alcan Aluminum, #30941-K). Partially precrushed; made lots of 45-90µm and <45µm fractions (dry sieve).

OOH011
Diaspore (manganoan): Postmasburg, Orange Free State, South Africa (Smithsonian Institution National Museum of Natural History MNMH #140594) (dry sieve).

OOH012
Diaspore: Chester, Hampton County, Massachusetts, USA (Smithsonian Institution National Museum of Natural History MNMH #81900-1). Made lots of <45 and 45-90µm fractions (dry sieve).

OOH013
Diaspore: Crestmore, Riverside County, California, USA (Smithsonian Institution National Museum of Natural History MNMH #140597). Made lots of <45 and 45-90µm fractions (dry sieve).

OOH014
Manganite: Caland Pit, Atikokan, Ontario, Canada [MnO·OH] (Tyson's Fine Minerals).

OOH020
Goethite: Ore Hill, Salisbury Hill, Salisbury, CT, USA (crystals) [Mostly Micros: Jason G. Clark Coll. #1564; Tucson 2011 show].

OOH021
Goethite/limonite: Mesabi Iron Range, Chisholm/Hibbing, Minnesota, USA [Mostly Micros, Jason G. Clark Coll. – Coll. 1960 #1573; Tucson 2011 show].

OOH022
Brucite: Texas, Lancaster Co., PA, USA (crystallized plate) [“The Williams’ Mineral Cabinet of Peru, Nebr.”; Lehigh Minerals, Tucson 2011 show].

OOH030
Sodium hydroxide [NaOH], synthetic, EMD Chemicals (NaOH); from Department of Geography supply (Dec. 08).
OOH031
Potassium hydroxide [KOH], synthetic. Mallinckrodt #6984-03, analytical reagent (pellets); from Department of Geography supply (Jan. 09).
OOH032
Magnesium hydroxide [Mg(OH)2] (synthetic brucite), synthetic, 95-100.5%. Alfa Aesar stock #12367 or L13949, lot #E21T031, CAS #1309-42-8; 100 grams (synthetic brucite)
OOH033 
Sodium hydroxide [NaOH) (synthetic); UW Chemistry stores? (same as OOH030?).
OOH034
Brucite, natural; from Jeff Gillis-Davis, University of Hawaii. 95% MgOH, Industrial Grade Magnesium Hydroxide, Powder; Mg(OH)2: 95%; MgO: 65.645%; Mg: 40.04%. Median particle size: >10 microns; 99% passing 325 mesh. [Garrison Minerals].

OOH035
Iron (III) monohydrate, yellow; synthetic (synthetic goethite) [Fe2O3-H2O]; 99.9+%. Strem Chemicals: 93-2618; lot: 28448300; 1 kilogram; received October, 2017.

OOH036
Iron (III) oxide, hydrated (synthetic goethite [FeOOH] ; 30-50 mesh, catalyst grade. Sigma Aldrich: 371254-50G; lot #MKBW9578V; CAS: 20344-49-4; 50 grams; received October 2017.

OOH037
Brucite: white to pale yellow masses: 2 pieces (75 grams) – Pakistan (Tucson Rock and Gem Show – February 2018.
++++++
PIG001
Synthetic gibbsite. See Pigments section (for pigments project). See section 19 of this document for data.
PIG018
Iron (III) oxide, hydrated (FeO(OH)). Synthetic version of goethite. See Pigments section (for pigments project). See section 19 of this document for data.
PIG202
Calcium hydroxide: Ca(OH)2. Synthetic: Sigma Aldrich #23-923-2 (100 g), 95%+. Context: Ann Massing - unknown application but art related. Corrosive, causes burns. See section 19 of this document for data.
PIG332
Goethite, brown ochre (catalogue no. 460-50B). 100 grams. (red/orange group). See section 19 of this document for data.
++++++
WS08
Winnipeg snow, collected at -22°C, January 2008.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
6b. XRD Data - Hydroxides
6.1b. XRD of samples from Alcan International provided in analogue form.
++++++++++
6.1b. Samples measured with HOSERLab Bruker D-8 – April 2015

Sample


Phases identified by XRD

OOH030 – fresh

PDF 01-078-0188: sodium hydroxide (NaOH)




PDF 00-030-1194: sodium hydroxide hydrate (NaOH•H2O)

OOH030 – exposed1
PDF 00-019-1130: sodium carbonate (natrite; Na2CO3) (i.e., changed)
++++++

OOH031 – fresh

PDF 01-077-1221: potassium hydroxide hydrate (KOH(H2O)




PDF 00-001-1054: potassium hydroxide

OOH031 – exposed1
PDF 00-011-0655: potassium carbonate hydrate (K2CO3•1.5H2O) (i.e., changed).

++++++

PIG202 – fresh

PDF 00-044-1481: portlandite, syn (Ca(OH)2)




PDF 00-001-0837: calcite

PIG202 – exposed1
PDF 00-044-1481: portlandite, syn (Ca(OH)2)




PDF 00-001-0837: calcite (i.e., some changes in peak heights)

++++++++++++++++++++++++++++++++++++++++

Exposed1: sample left open to ambient air for 48 hours.
+++++++
PIG202
PSF 003 PIG202 1 – 003 PIG202 9.txtr

Powder (9 spectra).

+++++++++++++
6.1b.(2)  Samples measured with HOSERLab Bruker D-8 – November 2017
OOH035 – unsorted
XRD shows goethite, crystalline.

OOH036 – unsorted
XRD shows a few broad peaks that may have contributions from goethite, hematite, magnetite, etc.

++++++++++++++++++++++++++++++++++++++++++

6c. Compositional data - Hydroxides

6c.1. Compositional Data - Hydroxides: Data from Alcan International
Thermogravimetric analysis (TGA) curves - all samples (Alcan International)

Differential scanning calorimetry (DSC) curves - all samples (Alcan International)

Infrared transmission spectra - all samples (Alcan International)

+++++++++++++++++++++++++++++
6c.2. Compositional Data - Hydroxides: Mineralogical Analysis
Sample
Phases Present








OOH008
82-88% diaspore, ~4% quartz, ~4% kaolinite, ~4% anatase (TiO2), <1% others, including hematite.

OOH009
82-88% diaspore, ~4% quartz, ~4% kaolinite, ~4% anatase (TiO2), <1% others, including hematite.

OOH010
71-76% diaspore and boehmite, 12-15% hematite, ~3% anatase, ~2% quartz, ~4% kaolinite, ~2% calcite, traces of gibbsite and goethite, <1% other minerals.

Mineralogical data provided by Alcan International.

+++++++++++++++++++++++++++++++++++++++++++++
6c. Compositional Data - Hydroxides
Wt. %
OOH001
OOH002
OOH003
OOH003
OOH004
OOH005
OOH006
OOH007


Al2O3
58.56
50.81
1.22
0.47
57.04
47.79
0.75
46.84

Fe2O3*
0.54
7.55
89.29
96.17
0.08
16.00
0.03
0.13

FeO



0.43

SiO2
1.83
4.25
1.40
1.02
0.47
19.38
0.31
37.29

TiO2
1.99
2.08
0.07
0.04
0.03
2.08
0.32
0.94

CuO
0.01
0.01
0.01

0.02
0.02
0.06
0.03

MgO
0.02
0.06
0.19
0.89
0.02
0.02
0.06
0.03

CaO
0.05
0.15
0.06
0.07
0.05
0.21
0.24
0.09

MnO
0.003
0.12
0.21
0.23
0.02
0.10
79.13
0.02

NiO2
0.002
0.003
0.01

0.005
0.02
0.09
0.01
V2O5
0.02
0.05
0.004

0.001
0.05
0.00
0.04

ZnO
0.01
0.01
0.03

0.01
0.03
0.05
0.02

ZrO2
0.16
0.22
0.002

0.002
0.08
0.01
0.02

Na2O
0.34
0.25
0.48
0.00
0.00
0.80
0.82
0.59

K2O



0.02

P2O5



0.61







TOTALa



99.95

LOIb



10.36







LOIc

30.7
9.8
10.36

LOId
31.0
26.9
10.0

30.2
10.2
18.9
8.3

LOId
Gi
Gi
Go

Gi
Bo+Go
Ma
Di

TOTALe
94.535
96.263/
102.776/
99.95
87.948
96.78
100.77
94.35



92.463
102.976

ICP-AES Elemental analyses(wt.%);  ppm for Mertzman data
Al
31.0
26.9
0.647

30.2
25.3
0.395
24.8

Cu
  0.00931
0.00994
0.00578

0.0176
0.0194
0.0485
0.0259

Fe
  0.3760
5.2828
82.5000

0.0534
11.2
0.0215
0.0909

Mgf
 0.0121
0.0384
0.108

0.0110
0.0385
0.0572
0.0111

Mn
 0.00238
0.0919
0.1660

0.0176
0.0767
61.3
0.0150

Ni
 0.00135
0.00205
0.00766

0.00324
0.0148
0.0581
0.0057

Si
 0.8530
1.9842
0.6550

0.2210
9.0416
0.147
17.4

Ti
 1.1921
1.2499
0.0432

0.0160
1.2476
0.00303
0.562

V
 0.0112
0.0265
0.00199
45
0.000709
0.0290
n.d.
0.0211

Zn
 0.0110
 0.0113
0.0235

0.00974
0.0202
0.0436
0.0163

Zr
0.1190
 0.1650
0.00168
15
0.00169
0.0613
0.00045
0.0166

Ca
0.0345
0.1080
0.0408

0.0364
0.148
0.169
0.0623

Naf
0.147
0.0977
0.348

n.d.
0.338
0.366
0.472

Sr



5

Cr



5






Diss.
clear
clear
clear

clear
clear
clear
clear

Source
Alcan
Alcan
Alcan
Mertzman
Alcan
Alcan
Alcan
Alcan

Analysis
ICP-AES
ICP-AES
ICP-AES
XRF/WC
ICP-AES
ICP-AES
ICP-AES
ICP-AES

* - all Fe assumed as Fe2O3 for Alcan data. n.d. - not determined.

a Total expressed on a volatile free basis. b: LOI: Loss on ignition represents weight loss after heating sample in air. 

c LOIc = measured loss on ignition: 25-1000°C (wt. %) (from Alcan International). d LOId = calculated loss on ignition based on the following scenarios: Gi = all Al2O3 as gibbsite; Go = all Fe2O3 as goethite; Bo = all Al2O3 as boehmite; Di = all Al2O3 as diaspore; Ma = all MnO as manganite; Di+Go = all Al2O3 as diaspore and all Fe2O3 as goethite; Bo+Go = all Al2O3 as boehmite and all Fe2O3 as goethite (from Alcan International). e Total includes LOI (from Alcan International). Includes duplicate analyses for OOH002 and OOH003. f Mg and Na are average of low and high values obtained. 

Source Mertzman indicates analysis by XRF and ferrous iron by wet chemistry by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Totals are expressed on a volatile (LOI)-free basis and all Fe as Fe2O3.

ICP-AES = Inductively coupled plasma atomic emission spectroscopy. Diss. = notes on appearance of solution during dissolution (from Alcan International).++++++++++++++++++++++++
6c. Compositional Data - Hydroxides (continued)
Wt. %
OOH008
OOH009
OOH010
OOH011
OOH012
OOH013
OOH020g
OOH032
NMNH#



140594
81900-1
140597

Alcan #
4080
4086
30941-K







Al2O3
70.27
73.86
56.10
83.68
81.22
83.87
0.90
0.13
(Fe2O3T)f






(58.93)
(0.22)
Fe2O3
0.27
1.15
18.71
0.12
0.62
0.49
58.93
0.18
FeO






0.00
0.04
SiO2
7.02
2.69
3.47
0.19
0.28
0.08
1.93
0.13
TiO2
5.47
3.74
2.65
0.01
0.15
0.08
0.06
0.00
CuO
0.02
0.02
0.01
0.05
0.06
0.07

MgO
0.07
0.05
0.13
0.02
0.04
0.06
0.28
98.04
CaO
0.08
0.08
1.81
0.04
0.90
0.06
0.37
1.24
MnO
0.01
0.001
0.08
0.15
0.01
0.02
35.88
0.040
NiO2
0.01
0.01
0.08
0.02
0.01
0.01

V2O5
0.05
0.06
0.10
0.001
0.02
0.02

ZnO
0.03
0.02
0.01
0.02
0.01
0.02

ZrO2
0.26
0.25
0.07
0.002
0.003
0.001

Na2O
1.21
0.54
0.82
0.47
1.10
0.46
0.48
0.14
K2O






0.01
0.000
P2O5






1.05
0.002
SO3






0.08
0.050
Cl






0.00
LOIa
12.4
13.0
9.9/12.0
14.8
14.3
14.8
LOIe






9.75g
30.59g
LOIb
Di
Di
Di/Di+Bo
Di
Di
Di




TOTALc
97.17
95.471
93.94/
99.573
98.723
100.041
99.97
99.992


96.04
ICP-AES Elemental analyses (wt.%)
Al
37.2
39.1
29.7
44.3
44.5
44.4

Cu
0.0132
0.0182
0.00678
0.0365
0.0495
0.0523

Fe
0.187
0.806
12.8
0.0809
0.423
0.344

Mgd
0.0433
0.0365
0.0711
0.00981
0.0123
0.0355

Mn
0.00728
0.000548
0.0177
0.116
0.0207
0.0133

Ni
0.00718
0.00524
0.0544
0.0130
0.00292
0.00469

Si
3.2775
1.2565
1.5311
0.0885
0.0393
0.0364

Ti
2.7323
2.2441
1.5876
0.00724
0.0890
0.0485

V
0.0277
0.0341
0.0537
0.000497
0.00863
0.0128

Zn
0.0202
0.0187
0.0344
0.0177
0.0135
0.0147

Zr
0.190
0.185
0.0560
0.00143
0.000973
0.000475

Ca
0.0546
0.0537
1.0081
0.0301
0.0445
0.0434

Nad
0.773
0.294
0.3025
0.3655
0.3065
0.460




ppm

Rb







<3

Sr






75
179
Zr






64
37
V






110
58
Cr






165
<2
Diss.
clear
clear
coarse
clear
clear
clear

Source
Alcan
Alcan
Alcan
Alcan
Alcan
Alcan

Analysis
ICP-ASE
ICP-AES
ICP-AES
ICP-AES
ICP-AES
ICP-AES
Mertzman
Mertzman








XRF/WC
XRF/WC

Al2O3e 
70-75
70-75
60-65

LOIe
12-14
12-14
11-13







NMNH#: sample ID for samples from the Smithsonian Institution National Museum of Natural History. Alcan#: sample ID for samples from Alcan International. 
a LOIa = measured loss on ignition from 100 to 1000°C (wt. %) (from Alcan International); mostly bound water and CO2. b LOIb = calculated loss on ignition based on the following scenarios: Gi = all Al2O3 as gibbsite; Go = all Fe2O3 as goethite; Bo = all Al2O3 as boehmite; Di = all Al2O3 as diaspore; Ma = all MnO as manganite; Di+Go = all Al2O3 as diaspore and all Fe2O3 as goethite; Bo+Go = all Al2O3 as boehmite and all Fe2O3 as goethite (from Alcan International).  c Total includes LOI (from Alcan International). Includes duplicate analyses for OOH010. 
d Mg and Na are average of low and high values obtained. 
e Range for multiple samples from these deposits (from Alcan International).

ICP-AES = Inductively coupled plasma atomic emission spectroscopy. Diss. = notes on appearance of solution during dissolution (from Alcan International).
f All Fe reported as Fe2O3 Total includes all Fe as Fe2O3. 

g Source Mertzman indicates analysis by XRF and ferrous iron by wet chemistry (WC) by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Totals are expressed on a volatile (LOI)-free basis and all Fe as Fe2O3. LOI = loss on ignition: weight loss after heating sample to 950°C in air for one hour.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
6c. Compositional Data - Hydroxides (continued)
Wt.%

OOH034

Mg(OH)2
>95%

CaO

<3%

SiO2

<3%

Fe2O3

0.3%

Al2O3

0.1%

MnO

<1%

P2O5

0.1%

Na2O

0.02%

K2O

0.02%

Source

Garrison Minerals



“Typical chemical analysis”.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

6c. Compositional Data - Hydroxides (continued)
Wt.%
OOH006
PIG018
PIG202
SiO2
1.30
0.07
0.21
TiO2
0.01
0.00
0.00
Al2O3
0.26
75.17
0.09
(Fe2O3)f
1.02
23.37
0.07
FeO
0.21
0.22
0.00
Fe2O3
0.79
23.13
0.07
MnO
90.11
0.084
0.00
MgO
1.85
0.35
0.85
CaO
2.87
0.27
98.45
Na2O
0.00
0.74
0.11
K2O
0.01
0.005
0.00
P2O5
0.05
0.021
0.04
SO3
2.52
0.080
0.12
TOTALg
100.00
100.160
99.94
LOIg
14.29
15.62
25.19
ppm

Rb

<3

Sr
56
28
159
Zr
<2
53
10
V
20
13
<2
Cr
246
180
38
Co
16

<2

Source of
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
f All Fe reported as Fe2O3 Total includes all Fe as Fe2O3. 

g Source Mertzman indicates analysis by XRF and ferrous iron by wet chemistry (WC) by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Totals are expressed on a volatile (LOI)-free basis and all Fe as Fe2O3. LOI = loss on ignition: weight loss after heating sample to 950°C in air for one hour.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
6d. Spectral Data - Hydroxides
SAMPLE
FACILITY/FILE NO. 
DESCRIPTION

OOH001
RELAB CAHO01
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH001
RELAB LAHO01A
<45µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH001
RELAB CBHO01
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH001
RELAB LAHO01B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH001
Alcan 3550701
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH002
RELAB CAHO02
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH002
RELAB LAHO02A
<45µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH002
RELAB CBHO02
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH002
RELAB LAHO02B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH002
Alcan 3550702
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH003
RELAB CAHO03
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH003
RELAB LAHO03A
<45µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH003
RELAB CBHO03
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH003
RELAB LAHO03B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH003
PSF 050707ooh003
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.
OOH003
PSF 120707ooh003
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

OOH003
PSF ooh003
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

OOH003
PSF 071212a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

OOH003
PSF jun0506.009
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

OOH003
PSF aooh003
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).
OOH003
See also section 22 for spectra acquired under ambient and Mars-like conditions.
OOH003
Alcan 3550703
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH004
RELAB CAHO04
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH004
RELAB LAHO04A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH004
RELAB CBHO04
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH004
RELAB LAHO04B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH004
PSF pig1307.037
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

OOH004
Alcan 3550704
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH005
RELAB CAHO05
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH005
RELAB LAHO05A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH005
RELAB CBHO05
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH005
RELAB LAHO05B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH005
Alcan 3550705
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH006
RELAB CAHO06
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH006
RELAB LAHO06A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH006
RELAB CBHO06
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH006
RELAB LAHO06B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH006
Alcan 3550706
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH007
RELAB CAHO07
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH007
RELAB LAHO07A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH007
RELAB CBHO03
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH007
RELAB LAHO03B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH007
Alcan 3550707
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH008
RELAB CAHO08
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH008
RELAB LAHO08A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH008
RELAB CBHO08
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH008
RELAB LAHO08B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH008
RELAB kaho08c
<5µm, 30°/30°; 0.9-26µm; 0.3-129 nm; Nicolet, dry sieve.

OOH008
Alcan 357172
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH009
RELAB CAHO09
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH009
RELAB LAHO09A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH009
RELAB CBHO09
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH009
RELAB LAHO09B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH009
RELAB kaho09c
<5µm, 30°/30°; 0.9-26µm; 0.3-129 nm; Nicolet, wet sieve.

OOH009
Alcan 357173
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH010
RELAB CAHO10
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH010
RELAB LAHO10A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH010
RELAB CBHO10
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH010
RELAB LAHO10B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH010
Alcan 357171
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH011
RELAB CAHO11
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH011
RELAB LAHO11A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH011
RELAB CBHO11
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH011
RELAB LAHO11B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH011
Alcan 3550708
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH012
RELAB CAHO12
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH012
RELAB LAHO12A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH012
RELAB CBHO12
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH012
RELAB LAHO12B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH012
RELAB kaho12c
<5µm, 30°/30°; 0.9-26µm; 0.3-129 nm; Nicolet, wet sieve.

OOH012
PSF jun0506.006
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

OOH012
PSF aooh012
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).
OOH012
See also section 22 for spectra acquired under ambient and Mars-like conditions.
OOH012
Alcan 3550709
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH013
RELAB CAHO13
<45µm, 30/0, 0.32-2.55µm, 5 nm.

OOH013
RELAB LAHO13A
<45µm, 30°/0°, 30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH013
RELAB CBHO13
45-90µm, 30/0, 0.32-2.55µm, 5 nm.

OOH013
RELAB LAHO13B
45-90µm, 30°/0°,30°; 0.32-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet.

OOH013
RELAB kaho13c
<5µm, 30°/30°; 0.9-26µm; 0.3-129 nm; Nicolet, wet sieve.

OOH013
Alcan 3550710
unsorted; 400-4000 cm-1 transmission spectrum.

+++++++
OOH022
PSF 130409a.001
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 130409_brucite).

+++++++

OOH030
PSF 081222a.040
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

OOH030
PSF 090313a.009
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

OOH030
PSF 090313a.010
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

OOH030
PSF 150408a.005
<45 µm, left in air overnight, sample expanded overnight; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150408 random chems].

OOH030
PSF ooh030
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

OOH030
PSF ooh030 smoothed
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

+++++++
OOH031
PSF 090313a.011
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

OOH031
PSF 090313a.012
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra 3averaged; ASD.

OOH031
PSF 090127a.002
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Probably not properly calibrated.

OOH031
PSF 150408a.006
<45 µm, left in air overnight, sample seemed to contract/shrink overnight; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150408 random chems].

OOH031
PSF ooh031
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

OOH031
PSF ooh031 smoothed
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

+++++++

OOH032
PSF 090313a.013
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

OOH032
PSF 100413a.021
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OOH032f
PSF 150626a.005
unsorted; measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit].
+++++++
OOH034
PSF 150422a.007
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].

+++++++

OOH035

PSF 180123a00002.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 180123 fe oxides].

++++++
PIG018
PSF 130910a.018
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

+++++++
PIG202
PSF 090127a.001
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Probably not properly calibrated.
PIG202
PSF 090313a.015
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PIG202
PSF pig202
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

PIG202
PSF pig202 smoothed
<45 µm, fresh sample; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

+++++++
WS08
PSF 080124a.004
unsorted; fresh snow (-22°C); measured immediately after collection in cooled, black krylon paint coated 2” diameter Al sample disk container; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.005
unsorted; fresh snow (-22°C); measured 30 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.006
unsorted; fresh snow (-22°C); measured 60 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.007
unsorted; fresh snow (-22°C); measured 90 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.008
unsorted; fresh snow (-22°C); measured 120 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.009
unsorted; fresh snow (-22°C); measured 150 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.010
unsorted; fresh snow (-22°C); measured 180 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.011
unsorted; fresh snow (-22°C); measured 210 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.012
unsorted; fresh snow (-22°C); measured 240 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.013
unsorted; fresh snow (-22°C); measured 270 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.014
unsorted; fresh snow (-22°C); measured 300 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.015
unsorted; fresh snow (-22°C); measured 330 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

WS08
PSF 080124a.016
unsorted; fresh snow (-22°C); measured 360 seconds after collection of 080124a.004; 30°/0°; 0.35-2.5 µm; 1 nm resolution; 200 spectra averaged; ASD spectra.

+++++++++++++++++++++++++++++++++++++++++++
6d. Hydroxides – Spectral data – from RELAB archival data base

Akaganeite
RELAB c1jb48
powder, c1jb48; i=30°, e=0°; 0.3-2.6 μm; RELAB.
Maghemite
RELAB c1jb43
powder, c1jb43; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Lepidocrocite-H
RELAB c1jb49
powder, c1jb49; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Lepidocrocite-DS
RELAB c1jb50
powder, c1jb50; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Lepidocrocite-1
RELAB c1jb41
<125 μm, c1jb41; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Lepidocrocite-2
RELAB c1jb56
<125 μm, c1jb56; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Feroxyhite
RELAB c1jb52
powder, c1jb52; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Ferrihydrite
RELAB c1jb45
powder, c1jb45; i=30°, e=0°; 0.3-2.6 μm; RELAB.

Ferrihydrite-syn
RELAB c1jb46
<45 μm. Synthetic powder, c1jb46; i=30°, e=0°; 0.3-2.6 μm; RELAB.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 6.
7. Bromides, Chlorides, Fluorides, Perchlorates
7a. Sample Descriptions - Bromides, Chlorides, Fluorides, Perchlorates
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








7a.1. Bromides
SYN005
Potassium bromide (KBr), synthetic; Spectrograde powder, 100 grams. International Crystal Labs, part #0011-4540, cas # 7758-02-3. For KBr infrared disks.

+++++++++++++++++++++++++++++++++++++++

7a.2. Chlorides
ART005
Calcium chloride dihydrateCS 99+%; synthetic (Sigma-Aldrich #223506; 25 grams).

CHL101
Sal-ammoniac: (NH4Cl), Paricutin Volcano, Michoacan, Mexico; on rock (Minerals Unlimited). Dry sieved to <45 and 45-90µm sizes; a few grams of sample still left. (See also “Ammonium-bearing minerals”).

CHL102
Ammonium chloride:  (NH4Cl); synthetic (Fisher Scientific) 99.99% purity.  Crushed and dry sieved to <45 and 45-90µm grain sizes. (See also “Ammonium-bearing minerals”).

CHL103
Paratacamite: Mason Pass, Lyon County, Nevada, USA (Cu2+2(OH)3Cl) (Minerals Unlimited) (for pigments project - green).

CHL104
Atacamite: Chiquicamata, Chile (Cu2+2(OH)3Cl) (Minerals Unlimited) (for pigments project - green).

CHL105
Atacamite: San Manuel, Arizona, USA (Cu2+2(OH)3Cl) (Smithsonian Institution MNMH #154535) (for pigments project - green).
CHL106
Paratacamite: Chiquicamata, Chile (Cu2+2(OH)3Cl) (Smithsonian Institution MNMH #B8667) (for pigments project - green).

CHL107
Atacamite: Atacama, Chile (Cu2+2(OH)3Cl) (Smithsonian Institution MNMH #17691) (for pigments project - green).
CHL108
Sylvite: Heringen-Werra, Thuringia, Germany (KCl). (Minerals Unlimited). (Possible evaporation product on Mars: Morse and Marion article).

CHL109
Sodium chloride [NaCl] (synthetic); UW Chemistry stores?

CHL110
Ammonium chloride [NH4Cl] (synthetic); UW Chemistry stores?

CHL111
Potassium chloride [KCl] (synthetic); UW Chemistry stores?

CHL112
Halite (sodium chloride), natural blue; caused by deformation of crystal lattice; Klodawa Salt Mine, Poland (December 2012 AGU Fall Meeting, purchased from Ikon Mining and Exploration).
CHL113
Magnesium chloride hexahydrate (white granules, wet, sticky/clumpy); 100.50%. Calbiochem; lot #D00044613; CAS no. 7791-18-6 (from UWinnipeg Chemistry Stores).
CHL114
Potassium chloride (KCl) (fine-grained white granules, somewhat clumped); 99.40%; Mallinkrodt; Lot #6845 KEGH (from UWinnipeg Chemistry Stores).
CHL115
Iron chloride tetrahydrate [FeCl2•4H2O]. Fisher (medium brown powder)

CHL116
Iron chloride hexahydrate [FeCl3•6H2O]. Fisher, technical grade. (orange-brown powder; somewhat clumpy).
CHL117
Calcium chloride [CaCl2]; white granules (~250 µm size); 99.30%; J.T. Baker; Lot # Y06653; CAS no. 10043-52-4 (from UWinnipeg Chemistry Stores).
CHL118
Sodium chloride [NaCl] (white powder). Fisher Scientific; lot #AD-6311-51; CAS no. 7647-14-5 (from UWinnipeg Chemistry Stores).
CHL119
Pink halite: Trona, CA, USA; various cm-size fragments) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).
CHL120
Blue halite: Saskatchewan; 3 cm crystal, mostly dark blue (blue colour apparently disappears upon crushing; maybe “blue ice” effect?) (Silver Cove Ltd., July 2018).
CHL121
Potash (sylvite + halite); probably Saskatchewan; bulk sample – University of Winnipeg, Department of Geography collection.
CHL122
Calcium chloride (synthetic); fine white powder; 5 grams (DMF-free). Superior Dry Desiccant; Desiccant (Shenzen) Co., Ltd. 

LAW101
Lawrencite: synthetic FeCl2 (ESPI Corp., #K2870R). Sample left.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++

7a.3. Fluorides
FLU101
Fluorite (CaF2): Unknown locality (self-collected).

FLU102
Fluorite (CaF2); unknown locality (display specimen from Tyson’s), with galena (GAL101).

SYN004
Magnesium fluoride (MgF2), synthetic; random crystals, 99.99+ % optical grade. Aldrich #378836, 5 grams. Possible reflectance standard.
SYN012
Synthetic calcium fluoride (CaF2). Alfa Aesar Puratronic, 99.9925% (metals basis). Stock #10681, lot #22912, CAS #7789-75-5; 10 grams; powder. Possible reflectance standard.
SYN013
Synthetic barium fluoride (BaF2). Alfa Aesar Puratronic, 99.99% (metals basis). Stock #10647, lot #20932, CAS #7787-32-8; 25 grams; powder. Possible reflectance standard.
SYN014
Synthetic magnesium fluoride (MgF2). Alfa Aesar Puratronic, 99.99% (metals basis). Stock #40755, lot #21361, CAS #7783-40-6; 10 grams; powder. Possible reflectance standard.
+++++++++++++++++++++++++++++++++++++

7a.4. Perchlorates
PRC001
Iron (II) perchlorate hydrate, synthetic, reagent grade [Fe(ClO4)2 · xH2O]; Alfa Aesar Stock #11646; Lot #G22T013; CAS #335159-18-7; 100 g.

PRC002
Iron (III) perchlorate hydrate, synthetic, reagent grade [Fe(ClO4)3 · xH2O]; Alfa Aesar Stock #11647; Lot #E06T051; CAS #13537-24-1; 100 g.

PRC003
Magnesium perchlorate, anhydrous, ACS [Mg(ClO4)2]; Alfa Aesar Stock #11636; Lot #H06T011; CAS #20034-81-8; 100 g.

PRC004
Calcium perchlorate hydrate, reagent grade, crystalline [Ca(ClO4)2·xH2O]. Alfa Aesar 11655; Lot: J12W027; CAS: 13477-36-6; EINECS: 236-768-0; 250 grams; received January 6, 2014.

+++++++++++++++++++++++++++++++++++++++++++

7a.5. Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	hand sample4
	**Fluorite
	ActLabs


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

7b. XRD Data - Bromides, Chlorides, Fluorides, Perchlorates
CHL101
XRD shows only sal-ammoniac (measured at U of Manitoba, May-June 1999; file: chl101.rep).

+++++++++++
U of Winnipeg – February 2018 

CHL103

paratacamite

CHL104

atacamite

CHL105

atacamite

CHL106

antlerite, tr. Paratacamite and possible gypsum
CHL107

brochanite

CHL121

Mix of sylvite and halite (Oct. 2020)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
7c. Compositional Data -  Bromides, Chlorides, Fluorides, Perchlorates (continued)
Wt.%
CHL101
CHL102
CHL108
CHL112
SiO2
0.16
0.00
0.43
0.41
TiO2
0.00
0.00
0.00
0.00
Al2O3
0.25
0.00
0.09
0.08
(Fe2O3)*
(0.22)
(0.04)
0.08
0.00
FeO
0
0


Fe2O3
0.22
0.04

MnO
0.013
0.006
0.00
0.00
MgO
0.00
0.00
0.09
0.00
CaO
0.11
0.01
0.32
0.04
Na2O
0.04
0.00
52.69
41.85
K2O
0.041
0.000
0.18
10.29
P2O5
0.009
0.008
0.02
0.01
SO3a
0.090
0.090
0.00
0.00
Cl
40.317
49.556



TOTAL
41.249
49.711
53.90
52.68
LOI
99.09
99.93
74.85
19.41
ppm

Rb
65
<1


Sr
3
3
24
38
Zr
14
14
<2
<2
V
<2
<2
10
35
Ni
45
<2


Cr
<2
<2
<2
<2
Co
2
<2
7
<2
Wt.%^

N
25.09
25.14


C
0.18
0.12


S
0
0



Source
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC





* - all Fe reported as Fe2O3.
^ - N, C, and S determined using a light element analyzer. Due to the small amount of sample used, there may be issues of sample heterogeneity and representativeness.

A - SO3 content may represent a minimum value due to heating of the sample twice.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
7c. Compositional Data -  Bromides, Chlorides, Fluorides, Perchlorates (continued)
Wt.%
CHL101
CHL102
CHL103
CHL104


Cl

N

H






TOTAL



0.00

LOI



26.17


Source



Mertzman

Analysis



XRF/WC
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

a LOI represents weight loss after heating sample to 950°C.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

7d. Spectral Data - Bromides, Chlorides, Fluorides, Perchlorates – Spectral Files (alphabetical order)
Sample
Facility/File No.
Description






CHL101
RELAB cacl50
<45µm, 30/0, 0.3-2.6µm, 5 nm.

CHL101
RELAB lacl50
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

CHL101
RELAB cbcl50
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

CHL101
RELAB lacl50b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

CHL101
PSF ca1
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
+++++++
CHL102
RELAB cacl49
<45µm, 30/0, 0.3-2.6µm, 5 nm.

CHL102
RELAB cbcl49
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

CHL102
RELAB lacl49b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

CHL102
PSF ca2
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
+++++++
CHL103
RELAB cacl51
<45µm, 30/0, 0.3-2.6µm, 5 nm.

CHL103
RELAB lacl51
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

+++++++
CHL104
RELAB cacl52
<45µm, 30/0, 0.3-2.6µm, 5 nm.

CHL104
RELAB lacl52
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet; note change in viewing geometry at 2.5µm.

CHL104
PSF 111201a.020
whole rock – blue spot; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CHL104
PSF 111201a.021
whole rock – black spot; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CHL104
PSF 111201a.022
whole rock – brown spot, i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

CHL104
INO chl104
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 1 spectrum acquired.

+++++++
CHL105
PSF pig1307.040
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CHL105
PSF 180205a00005.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++

CHL106
PSF 180205a00011.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++

CHL107
PSF 180205a00005.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
CHL112
PSF 130723b.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

CHL112
PSF 130723b.004
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

+++++++
CHL113
PSF chl113 (1)
unsorted, crushed; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer [Directory: 150630 chlorides UV].

CHL113
PSF 150629b.004
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

CHL113
PSF 241129a.00002.asd
unsorted wet powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 241129 Chlorides].

CHL113
PSF 250115a.00003.asd
unsorted, air-dried? powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 250115 Chlorides].

++++++

CHL114
PSF chl114 (3)
crushed, unsorted; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer [Directory: 150630 chlorides UV].

CHL114
PSF 150629b.003
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

++++++

CHL115
PSF chl115 (6)
unsorted, fine-grained; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer [Directory: 150630 chlorides UV].

CHL115
PSF 150629b.005
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

++++++

CHL116
PSF chl116 (7)
unsorted, fine-grained; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer; may have reacted with Al sample cup to form gray bubbly mess [Directory: 150630 chlorides UV].

CHL116
PSF 150629b.006
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

++++++

CHL117
PSF chl117 (2)
<45 µm; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer [Directory: 150630 chlorides UV].

CHL117
PSF chl117 (8)
clear liquid – brine formed after sample exposed to air for a few hours; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer [Directory: 150630 chlorides UV].

CHL117
PSF 150629b.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

CHL117
PSF 241129a.00001.asd
unsorted wet powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 241129 Chlorides].

CHL117
PSF 250115a.00001.asd
unsorted, air-dried powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 250115 Chlorides].

++++++

CHL118
PSF chl118 (4)
<45 µm; 0.2-0.4 µm; i=0°, e=0° (bifurcated cable); ~0.5 nm resolution; deuterium light source; Maya spectrometer [Directory: 150630 chlorides UV].

CHL118
PSF 150629b.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

CHL118
PSF 150629b.005
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150629 chlorides and saponites].

++++++

CHL121
PSF 201013a.00001.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 201013 potash].

CHL121
PSF 201013a.00002.asd
<850 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 201013 potash].

++++++

CHL122
PSF 241129a.00004.asd
unsorted wet powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 241129 Chlorides].

CHL122
PSF 250115a.00002.asd
unsorted, air-dried powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 250115 Chlorides].

++++++
LAW101
RELAB calw01
<120 nm, 30°/0°, 0.3-2.6µm, 5 nm.


RELAB lalw01
spectrum not measured; sample melted under light beam.
+++++++
PRC001
PSF 090313a.017
<1 mm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PRC001
PSF 091026 prc001
<1000 µm; 0°/0° (bifurcated fibres); 0.2-0.4 µm; ~0.3 nm resolution; 100 averaged; Ocean Optics S2000.

+++++++
PRC002
PSF 090313a.018
<1 mm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PRC002
PSF 091026 prc002
<1000 µm; 0°/0° (bifurcated fibres); 0.2-0.4 µm; ~0.3 nm resolution; 100 averaged; Ocean Optics S2000.

+++++++
PRC003
PSF 090313a.019
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PRC003
PSF 091026 prc003
>45 µm; 0°/0° (bifurcated fibres); 0.2-0.4 µm; ~0.3 nm resolution; 100 averaged; Ocean Optics S2000.
PRC003
PSF 090313a.020
90-1000 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

PRC003
PSF 111201a.048
unsorted; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

PRC003
INO prc003
unsorted;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 1 spectrum acquired.
++++++++

SYN014
PSF syn014
unsorted powder; Measured with deuterium and QTH  lamps – usable range (200-~400 nm for deuterium; ~400-1130 nm for QTH) spectra merged at 400 nm; bifurcated cable (i=e=0°); ~0.4 nm sampling interval, ~1.85 nm spectral resolution; 600 msec integration time; 200 spectra averaged (Directory: 130927pah uv reflectance)

SYN014
PSF syn014
unsorted, fine-grained powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 7.
8. Sulfates
8a. Sample Descriptions - Sulphates
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








PIG002
Synthetic anhydrite (Calcium sulphate (CaSO4). (also for pigments project). See section 19 of this document for data.
PIG003
Synthetic barite (Barium sulphate (BaSO4). Aldrich 24,335-3: 100 grams (99% purity) (also for pigments project). See section 19 of this document for data.
PIG005
Synthetic gypsum (Calcium sulphate dihydrate CaSO4·2H2O) (also for pigments project). See section 19 of this document for data.
PIG021
Synthetic anglesite (Lead (II) sulphate) (also for pigments project). See section 19 of this document for data.
PIG203
Synthetic aluminum sulfate: Al2(SO4)3·XH2O (X=14-18). Synthetic: Alfa Aesar #36294 ) lot K15L39), 98-102%, 250 g. Alunogen synthetic (see Bishop (LPSC 30; possible Martian surface material). Irritates skin and eyes. See section 19 of this document for data.
PIG205
Synthetic sodium sulfate decahydrate: Na2SO4·10H2O. Synthetic: Aldrich #403008 - batch 04031KO. 99+%. Synthetic mirabilite (Morse and Marion, American Journal of Science, possible Martian surface material from modelling). See section 19 of this document for data. Note PIG205 Na-silicate now PIG205X.
PIG206
Synthetic barium sulfate (barite; BaSO4). Alfa Aesar Puratronic grade: 99.998% metals basis. CAS #7727-43-7; Stock #10651-14, lot #S20736; 25 grams.

PIG222
Synthetic magnesium sulphate, anhydrous, 99.5% min. Alfa Aesar: stock #33337; CAS #7487-88-9; lot #D14T066; 500 grams.

PIG304
Yellow jarosite (catalogue no. 430-17S). 100 grams. (white/yellow/orange group). See section 19 of this document for data.
PIG305
Jarosite (catalogue no. 430-15S). 100 grams (white/yellow/orange group). See section 19 of this document for data.
PIG331
Cerussite, natural lead white (catalogue no. 470-10S). 50 grams. (white/yellow/orange group). See section 19 of this document for data.
+++++++
SPT101
Mascagnite: (ammonium sulphate; (NH4)2SO4); The Geysers, Sonoma County, California, USA (Minerals Unlimited). [Cellular white to gray-white masses]. Dry sieved to <45 and 45-90µm sizes; a few grams of solid sample still left. (See also "ammonium-bearing minerals").
SPT102
Boussingaultite: (hydrous ammonium magnesium sulphate; (NH4)2Mg(SO4)2·6(H2O)); The Geysers, Sonoma County, California, USA (Minerals Unlimited; in vial). [No description]. Dry sieved to <45 and 45-90µm sizes; a few grams of pieces still left. (See also “Ammonium-bearing minerals”).

SPT103
Letovicite: (ammonium acid sulphate; (NH4)3H(SO4)2), with mascagnite. The Geysers, Sonoma County, California, USA (Minerals Unlimited; in vial). [No description; use as mixed phase]. Dry sieved to <45 and 45-90µm sizes; a few grams of pieces still left. (See also “Ammonium-bearing minerals”).
SPT104
Ferric ammonium sulphate: (FeNH4(SO4)2·12H2O); synthetic (BDH Chemicals); 99.99% purity analytical reagent grant. Not crushed due to alteration problem and “stickiness”. (See also “Ammonium-bearing minerals”).

SPT105
Ammonium sulphate: (NH4)2SO4); synthetic (Anachemia); synthetic, reagent grade A.C.S., >99% purity. Crushed and dry sieved to <45 and 45-90µm grain sizes. (See also “Ammonium-bearing minerals”).

SPT106
Ferrous ammonium sulphate: ((NH4)2FeSO4·6H2O); BDH Chemicals?); analytical reagent grade; 99.9% purity. Crushed and dry sieved to <45 and 45-90µm grain sizes. (See also “Ammonium-bearing minerals”).

SPT107
Jarosite: Skouriotissa Mine, Cyprus (Smithsonian NMNH #104139-1). [KFe3+3(SO4)2(OH)6] (alunite group).
SPT108
Jarosite: Warner Mine, S. of Hot Springs, Mineral County, Nevada, USA (Smithsonian NMNH #95074-1). [KFe3+3(SO4)2(OH)6] (alunite group).

SPT109
Metavoltine: Borate, San Bernardino County, California [K2Na6Fe+2Fe6+3(SO4)12O2·18H2O], with coquimbite [SPT131] and halotrichite [SPT132] (Minerals Unlimited) [ochre-coloured masses with other sulphates] (see also SPT176 and 177); more received November 2017. 10 large pieces received December 2018. Cemented during crushing and sieving.
SPT110
Romerite: Sulphur Hole, near Borate, San Bernardino County, California, USA [Fe+2Fe2+3(SO4)4·14H2O] (Minerals Unlimited) [small brown crystals with other sulphates].
SPT110A
Same as SPT110, but new batch received July 22, 2016.
SPT111
Voltaite: Island Mountain Mine, Trinity County, California, USA; with römerite (SPT134) and copiapite (SPT135) [K2Fe5+2Fe4+3(SO4)12·18H2O] (Minerals Unlimited) [black masses in other sulphates] [not yet analyzed]. Description of sample: voltaite = black; romerite = brown; copiapite = yellow (and other sulphates) (more received Dec. 2/05).

SPT112
Amarantite: Yazd, Iran [Fe+3(SO4)(OH)·3H2O] (Minerals Unlimited) [red fine-grained masses?; catalogue has Chile but mine is from Iran] (more received Dec. 2/05).

SPT113
Jarosite: Sierra Gorda, Chile; with copiapite (SPT125) [KFe3+3(SO4)2(OH)6] (alunite group) (Minerals Unlimited) [compact brown massive; copiapite is yellow]. Large lot received December 2018.
SPT114
Natrojarosite: Laurium, Greece [NaFe3+3(SO4)2(OH)6] (alunite group) (Minerals Unlimited) [no description]. (more received Dec. 2/05: description: with limonite).

SPT115
Jarosite: Arabia District, Pershing County, Nevada, USA [KFe3+3(SO4)2(OH)6] (alunite group) (Minerals Unlimited) [brown massive or crystals on or in quartz] (more received Dec. 2/05).

SPT116
Jarosite: Copiapa Jarosite Mine, Dona Ana County, New Mexico, USA; with hematite [KFe3+3(SO4)2(OH)6] (alunite group) (Minerals Unlimited). (more received Dec. 2/05). SPT116-X1: sample after exposure in Mars box run #1.
SPT117
Copiapite: Alma Pyrite Mine, Leona Heights, Oakland, Alameda County, California, USA [Fe+2Fe4+3(SO4)6·(OH)2  ·20H2O] (Minerals Unlimited) [yellow crystalline masses] (more received Dec. 2/05); even more received November 2017; 10 1-cm pieces received December 2018.
SPT118
Halotrichite: Alma Pyrite Mine, Leona Heights, Oakland, Alameda County, California, USA [Fe+2Al2(SO4)4·  ·22H2O] (Minerals Unlimited) [white fibrous to acicular]; more received November 2017.
SPT119
Coquimbite: Dexter #7 Mine, San Rafael Swell, Utah, USA [Fe2+3(SO4)3·9H2O] (Minerals Unlimited) [groups of small sharp lavender crystals] (more received Dec. 2/05); even more received November 2017.
SPT120
Hydronium jarosite: Rustler Mine, Tooele County, Utah, USA [(H3O)Fe3+3(SO4)2·(OH)6] (Minerals Unlimited) (alunite group).

SPT121
Fibroferrite: Skouriatissa, Cyprus [Fe+3(SO4)·(OH) ·5H2O] (Minerals Unlimited) [tan to grey crystalline] (more received Dec. 2/05; original sample all crushed).

SPT122
Römerite: Alcaparrosa, Chile; with coquimbite (see SPT126) and halotrichite (too sparse to get a separate of it), and copiapite [Fe+2Fe2+3(SO4)4·14H2O] (Minerals Unlimited) [pale pink crystalline in coquimbite, or yellow-brown crystalline masses] (received more Dec. 2/05).

SPT123
Sideronatrite: Capitol Reef National Monument, Wayne County, Utah, USA [Na2Fe+3(SO4)2·(OH)·3H2O] (Minerals Unlimited) [orange crystalline aggregates on, or veinlets in, rock] (more received Dec. 2/05).

SPT124
Botryogen: Redington Mine, Knoxville, Napa County, California, USA [MgFe+3(SO4)2·(OH)·7H2O] (Minerals Unlimited) [Dana: usually in reniform or botryoidal shapes; deep hyacinth red, ochre-yellow] (more received Dec. 2/05); even more received Nov. 2017. Problem making wet sieved powder series.
SPT125
Copiapite: Sierra Gorda, Chile; with jarosite (see SPT113) [Fe+2Fe4+3(SO4)6·(OH)2 ·20H2O] (Minerals Unlimited) [MU description of pure sample: yellow crystalline masses; Dana: yellow]. Large lot received December 2018.
SPT126
Coquimbite: Alcaparrosa, Chile; with römerite (see SPT122) and halotrichite [Fe2+3(SO4)3·9H2O] (Minerals Unlimited) [MU description of pure sample: groups of small sharp lavender crystals] (more received Dec. 2/05). Also see other Alcaparossa, Chile samples (e.g., SPT122).

SPT127
Gypsum (var. selenite): Utah, USA [CaSO4·4H2O] (University of Winnipeg collection M168-39) (for pigments project). SPT127-X1: sample after exposure in Mars box run #1.
SPT128
Anhydrite: locality unknown [CaSO4] (University of Winnipeg collection M170-1) (for pigments project).

SPT129
Alunite: Marysvale, Piute County, Utah, USA [KAl3(SO4)2(OH)6] (Minerals Unlimited).

SPT130
Melanterite: Oage Mine, Ominato, Aomori-ken, Honshu, Japan [Fe2+SO4 ·7H2O] (Minerals Unlimited) [green crystals] (more received Dec. 2/05). Minerals Unlimited notes: efflorescent = loses stability in dry climates. Store sealed. More received December 2018.
SPT131
Coquimbite: Borate, San Bernardino County, California, USA [Fe2+3(SO4)3·9H2O], with metavoltine [SPT109] and halotrichite [SPT132] (Minerals Unlimited) [MU description of pure sample: groups of small sharp lavender crystals] (see also SPT176, 177). 10 large pieces received December 2018.
SPT132
Halotrichite: Borate, San Bernardino County, California, USA [Fe+2Al2(SO4)4·  ·22H2O] , with metavoltine [SPT109] and coquimbite [SPT131] (Minerals Unlimited) [MU description of pure sample: white fibrous to acicular].

SPT133
Metavoltine: Alcaparrosa, Chile [K2Na6Fe+2Fe6+3(SO4)12O2·18H2O]; with copiapite (Minerals Unlimited).

SPT134
Romerite: Island Mountain Mine, Trinity County, California, USA [Fe+2Fe2+3(SO4)4·14H2O]; with voltaite (SPT111) and copiapite (SPT135) (Minerals Unlimited) [black masses (are the voltaite) in other sulphates; MU description of römerite from CA: small brown crystals; can also be pale pink or yellow brown]. Description of sample: voltaite = black; romerite = brown; copiapite = yellow (and other sulphates) (more received Dec. 2/05; description: “on these, the romerite is the tiny brown crystals).

SPT135
Copiapite: Island Mountain Mine, Trinity County, California, USA [Fe+2Fe4+3(SO4)6·(OH)2 ·20H2O]; with voltaite (SPT111) and romerite (SPT134) (Minerals Unlimited) [black masses (are the voltaite) in other sulphates; MU description of römerite from CA: small brown crystals; can also be pale pink or yellow brown]. Description of sample: voltaite = black; romerite = brown; copiapite = yellow (and other sulphates).

SPT136
Sideronatrite: Sierra Gorda, Chile [Na2Fe+3(SO4)2·(OH)·3H2O] (Minerals Unlimited).

SPT137
Kornelite: Coso Hot Spring, Inyo County, California, USA [Fe23+(SO4)3·7H2O]; with copiapite (SPT138) [Minerals Unlimited]. (Description in Minerals Unlimited catalogue: kornelite: lavender fibrous masses in sinter; copiapite = yellow) (water soluble) (more received Dec. 2/05).

SPT138
Copiapite: Coso Hot Spring, Inyo County, California, USA [Fe+2Fe4+3(SO4)6·(OH)2 ·20H2O]; with kornelite (SPT137) [Minerals Unlimited]. (Description in Minerals Unlimited catalogue: kornelite: lavender fibrous masses in sinter; copiapite = yellow).

SPT139
Rhomboclase: Alcaparrosa, Chile [HFe3+(SO4)2·4H2O], Dec. 2/05 batch (only?) may also have associated romerite and szomolnokite (Minerals Unlimited) (Water soluble) (more received Dec. 2/05); no more of original batch left in bulk form.
SPT139A
Same as SPT139 – more received July 22, 2016.
SPT140
Pickeringite: Kelly Mine, Red Mountain, Randsburg Mining District, San Bernardino County, California, USA [MgAl2(SO4)4·22H2O] (Minerals Unlimited) (water soluble) (Minerals Unlimited catalogue description: off-white fibrous crystalline masses) (more received Dec. 2/05).

SPT141
Kieserite: Stassfurt, Saxony, Germany [MgSO4·H2O] (Minerals Unlimited) (water soluble) (more received Dec. 2/05) (more chunks received Dec. 2015).

SPT142
Hexahydrite: Salt Lake, Box Elder County, Utah, USA [MgSO4·6H2O], altered from epsomite (Minerals Unlimited) (water soluble) (more received Dec. 2/05: vials and chunks) (3 new vials and small chunks received Dec. 2015).
SPT143
Hexahydrite: Basque Lakes, near Ashcroft, British Columbia, Canada [MgSO4·6H2O], altered from epsomite (Minerals Unlimited) (water soluble) (more received Dec. 2/05: vials and chunks) (more chunks received Dec. 2015). SPT143-X1: sample after exposure in Mars box run #1.
SPT144
Rozenite: Getchell Mine, near Golconda, Humboldt County, Nevada, USA [Fe2+SO4·4H2O] (Minerals Unlimited).

SPT145
Anglesite: Excepcion Mine, Villa Ahumada, Chihuahua, Mexico (PbSO4) (Minerals Unlimited) (for pigments project).

SPT146
Barite: Castle Dome, Yuma County, Arizona, USA (BaSO4) (Minerals Unlimited) (for pigments project).

SPT147
Anglesite: Tsumeb, Namibia (PbSO4) (Smithsonian Institution MNMH #163581) (for pigments project - white).

SPT148
Anglesite: Italy (PbSO4) (Smithsonian Institution MNMH #B10901) (for pigments project - white).

SPT149
Synthetic ferric sulphate [Fe3+4(SO4)3]. Anachemia 4492; CAS 10028-22-5; lot 000706 (Mfg. date: July 10, 2000); 500 grams (used for wet chem. iron titration).

SPT150
Lazurite: Afghanistan ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (Minerals Unlimited) (for pigments project). (Was LAZ101).

SPT151
Lazurite: locality unknown ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (purchased at 2001 Manitoba Rock and Mineral Show) (for pigments project). (Was LAZ102).
SPT152
Lazurite: Chile ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (Smithsonian Institution MNMH #126134) (for pigments project). (Was LAZ103).
SPT153
Lazurite: Cordicleres, Argentina ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (Smithsonian Institution MNMH #C2677) (for pigments project). (Was LAZ104).
SPT154
Lazurite: Afghanistan [Tucson 2011 show].

SPT155
Alunogen: Manhattan Mine, Napa County, California, USA: (Al2(SO4)3·17H2O). (Minerals Unlimited; November 2003). (Possible evaporation product on Mars: see Bishop (LPSC 30) article) (more received Dec. 2/05).

SPT156
Polyhalite: 18 miles northeast of Carlsbad, Eddy County, New Mexico, USA; with halite. (K2Ca2Mg(SO4)4·2H2O). (Minerals Unlimited: orange-brown compact; November 2003). (Possible evaporation product on Mars; Morse and Marion article). [Wet sieve powder series made.]
SPT157
Sulphate - weathered deposit - Ellef Ringnes Island, Nunavut, Canada; collected by Paul Budkewitsch - Canada Centre for Remote Sensing (April 2004); his sample number 33-A. (Spectral evidence of jarosite).

SPT158
Sulfate - mirabilite (Glauber’s salt) - Chaplin, Saskatchewan, Canada (self collected) (Na2SO4·10H2O) (July 2004). SPT158Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

SPT159
Bloedite: Chuquicamata, Chile; (Na2Mg(SO4)2 ·4H2O); with kröhnkite (Na2Cu(SO4)2·2H2O) (SPT161); bloedite colour can be colourless, grayish, bluish green or reddish due to inclusions); kröhnkite is light blue to dark sky blue, greenish blue to yellowish green on exposure) (Minerals Unlimited: glassy masses with blue kröhnkite; “Mineral is water soluble - do not wash”) (November 2004).

SPT160
Thenardite: near Sodaville, Mineral County, Nevada, USA; (Na2SO4); glassy crystallized masses (Minerals Unlimited; “This mineral may collect moisture from the air - in wet climate keep in a closed container to preserve; This mineral is water soluble -do not wash”) (November 2004). [Wet sieve powder series made.]
SPT161
Kröhnkite: Chuquicamata, Chile; (Na2Cu(SO4)2 ·2H2O); with bloedite (Na2Mg(SO4)2·4H2O) (SPT159); bloedite colour can be colourless, grayish, bluish green or reddish due to inclusions); kröhnkite is light blue to dark sky blue, greenish blue to yellowish green on exposure) (Minerals Unlimited: glassy masses with blue kröhnkite; “Mineral is water soluble - do not wash”) (November 2004).

SPT162
Epsomite: synthetic Magnesium sulfate USP - Shopper’s Drug Mart Life Brand Epsom Salt [Mg(SO4)·7H2O - ideal formula) (December 2004).
SPT162k
SPT162 baked at 300°C; started as starkeyite, transformed to the low-humidity polymorph of kieserite.
SPT163
Amarantite: Sierra Gorda, Chile; with metasideronatrite (SPT164), copiapite (SPT165), and ferrinatrite (SPT166) (Minerals Unlimited, received Dec. 2/05) [amarantite = red; sideronatrite = yellow, fibrous/massive; copiapite = yellow, scales, granules, massive; ferrinatrite = greenish or gray to white; usually spherical, rarely acicular] (December 2005).

SPT164
Metasideronatrite: Sierra Gorda, Chile; with amarantite (SPT163), copiapite (SPT165), and ferrinatrite (SPT166) (Minerals Unlimited, received Dec. 2/05) [amarantite = red; sideronatrite = yellow, fibrous/massive; copiapite = yellow, scales, granules, massive; ferrinatrite = greenish or gray to white; usually spherical, rarely acicular] (December 2005).

SPT165
Copiapite: Sierra Gorda, Chile; with amarantite (SPT163), metasideronatrite (SPT164), and ferrinatrite (SPT166) (Minerals Unlimited, received Dec. 2/05) [amarantite = red; sideronatrite = yellow, fibrous/massive; copiapite = yellow, scales, granules, massive; ferrinatrite = greenish or gray to white; usually spherical, rarely acicular] (December 2005).

SPT166
Ferrinatrite: Sierra Gorda, Chile; with amarantite (SPT163), metasideronatrite (SPT164), and copiapite (SPT165) (Minerals Unlimited, received Dec. 2/05) [amarantite = red; sideronatrite = yellow, fibrous/massive; copiapite = yellow, scales, granules, massive; ferrinatrite = greenish or gray to white; usually spherical, rarely acicular] (December 2005).

SPT167
Voltaite (etc.): Alcaparossa, Chile [Minerals Unlimited] (received Dec. 2/05) (Dana: dull olive green to brown or black); more received November 2017.
SPT168
Pickeringite: Tucumcari, Quay County, New Mexico, USA [Minerals Unlimited] (received Dec. 2/05).

SPT169
Hexahydrite: Cueva de la Soledad, Zaragosa, Spain [Minerals Unlimited] (received Dec. 2/05). Cemented during crushing and sieving.
SPT170
Kornelite: Leviathan Mine, Alpine County, California, USA; with other sulphates (unspecified) [Minerals Unlimited] (received Dec. 2/05).

SPT171
Romerite: Leviathan Mine, near Markleeville, Alpine County, California, USA; with voltaite (SPT172) [Minerals Unlimited] (received Dec. 2/05).

SPT172
Voltaite: Leviathan Mine, near Markleeville, Alpine County, California, USA; with romerite (SPT171) [Minerals Unlimited] (received Dec. 2/05).

SPT173
Fibroferrite: Sierra Gorda, Chile [Minerals Unlimited] (received Dec. 2/05); more received November 2017.
SPT174
Kieserite: Heringen-Werra, Thuringia, Germany [Minerals Unlimited] (received Dec. 2/05) (more pieces received Dec. 2015).

SPT175
Copiapite: Sulphur Hole, Borate, San Bernardino County, California, USA [Minerals Unlimited] (received Dec. 2/05); 200 grams of sample received December 2018.
SPT176
Metavoltine: Sulphur Hole, near Borate, San Bernardino County, California, USA; with coquimbite (SPT177) [Minerals Unlimited]. May be the same as metavoltine SPT109 and coquimbite (SPT131), but locality descriptions are slightly different (received Dec. 2/05). Cemented during crushing and sieving.
SPT177
Coquimbite: Sulphur Hole, near Borate, San Bernardino County, California, USA; with metavoltine (SPT176) [Minerals Unlimited]. May be the same as metavoltine SPT109 and coquimbite (SPT131), but locality descriptions are slightly different (received Dec. 2/05).

SPT178
Gypsum: Long Meg Mine, Little Salkeld, Cumberland, England; variety selenite [Minerals Unlimited] (received Dec. 2/05). More received December 20, 2011.
SPT179
Romerite: Sierra Gorda, Chile [Minerals Unlimited] (received Dec. 2/05); more received November 2017.
SPT180
Jarosite: Santo Tomas Lode, Atoche Mine, Cercado Province, Oruro, Bolivia; with quartz [Minerals Unlimited] (received Dec. 2/05).

SPT181
Halotrichite: Corral Hollow, Alameda County, California, USA [Minerals Unlimited] (received Dec. 2/05).

SPT182
Anhydrite: near Penrith, Cumbria, England [Minerals Unlimited] (received Dec. 2/05).

SPT183
Anhydrite: Carlsbad, Eddy County, New Mexico, USA [Minerals Unlimited] (received Dec. 2/05).

SPT184
Gypsum (variety selenite): locality unknown (Mineral Society of Manitoba); 1 specimen (January 2007).

SPT185
Gypsum; locality unknown (Mineral Society of Manitoba); 1 specimen (January 2007).
SPT186
Lazurite, lapis lazuli; locality unknown [Discovery Gemstones Ltd.; Edmonton, AB], 5 pieces; may also contain sodalite, hauyne, calcite, and pyrite (July 2007). 

SPT187
Celestine: Caledon, ON, Canada (SrSO4); orange platey occurrence (collected by Billy Cloutis). “unusual orange celestine, in platy aggregates, from quarries in the vicinity of the Forks of the Credit River, A. Sabina, 1986, GSC Misc. Report 39, pp. 135-137; best orange said to be from a small quarry on Hart House Farm in the Caledon Hills district, per.com. Ray Hill” (November 2007).

SPT188
Gypsum (“desert rose”), from New Mexico, USA? (display specimen) (November 2007).

SPT189
Gypsum (“rose”) from Red River Floodway, Winnipeg, MB, Canada (November 2007).

SPT190
Hanksite: Searles Lake, San Bernardino Co., CA, USA [KNa22(SO4)9(CO3)2Cl]; two crystals with some powdery white coating (halite?) (Nonesuch Minerals; Tucson show 2011); more received November 2017.
SPT191
Synthetic anhydrous magnesium sulphate [MgSO4] (synthetic); UW Chemistry stores (November 2007).
SPT192
Synthetic sodium sulphate [Na2SO4] (synthetic); UW Chemistry stores? (November 2007)
SPT193
Anhydrite: Naica Mine, Naica, Mun. De Saucillo, Chihuahua, Mexico; spray of bluish crystals (Ikon Mining and Exploration; purchased at December 2012 AGU Fall Meeting).

SPT194
Gypsum – selenite (deep orange colour); Salinas de Otuma, Pisco Province, Ica Department, Peru (December 2012 AGU Fall Meeting; purchased from Ikon Mining and Exploration).

SPT195
Glauberite: Bertram Siding, Salton Sea, Imperial County, California, USA (Na2Ca(SO4)2) (Minerals Unlimited; November 2003). (Possible product of evaporation on Mars, modelled (Morse and Marion article). (was SPT154); more received November 2017.
SPT200
Sulfate deposit - dry surface of west end of West Coteau Lake, Saskatchewan, Canada (collected July 2005).

SPT201
Sulfate deposit - dry surface of west end of West Coteau Lake, Saskatchewan, Canada (collected July 2005).

SPT221
Gypsum: White Sands, NM, USA. Location: southern edge of dune field, next to state highway 70. Received (~500 grams) from Anna Szynkiewicz, Geological Sciences, UTEP, El Paso, TX, USA, August 2011. Originally labelled as CRB221.
SPT222
Hanksite, Searles Lake, CA, USA; two 10 cm translucent/transparent light grey single crystal (Silver Cove Ltd.; July 2018).
SPT300
Meridianiite; produced from heating of synthetic epsomite (SPT162) to produce monohydrate (kieserite; SPT301) and mixing with water at just above stoichiometry and freezing at -5°C to produce (hopefully) meridianiite.

SPT301
“Kieserite”: produced from heating of synthetic epsomite (SPT162) at temperature required to drive off enough water to produce monohydrate.

+++++++

TOC101
Tochilinite: Jeffrey Mine, Asbestos, Shiton Township, Quebec, Canada (Smithsonian NMNH #148696). [6Fe0.9S·5(Mg,Fe+2)(OH)2]. May be in carbonaceous chondrites: see MacKinnon & Zolensky in Akai & Kanno article (also filed under clays and sulphides).

+++++++++++++++++++++++++
8a.1. Sample Descriptions - Sulphates - Samples collected in Gypsumville, MB, Canada - August 23, 2006

Note: original sample IDs were without the "G" suffix. See also section 20.2 for additional sulfate samples.
SPT200G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT201G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT202G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT203G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT204G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT205G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT206G
Anhydrite?: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT207G
Gypsum: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

SPT208G
Gypsum: spoil pile at south quarry, Gypsumville, Manitoba, Canada.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
8a.3. Sample Descriptions - Sulphates:  Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	AnhydriteAN
	 
	GUW AN

	hand sample37
	**Barite
	ActLabs

	hand sample41
	**Gypsum
	ActLabs


AnhydriteAN grain size info from Brammer:


>0.315 mm
trace


0.2-0.315 mm
trace


0.1-0.2 mm
2.00%


0.09-0.1 mm
1.00%


0.063-0.09 mm
trace


<0.063 mm
97.00%

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

8b. XRD Data - Sulphates
(i) A number of the samples were measured by XRD at the University of Manitoba Department of Geological Sciences in May and June of 1999. The samples were run in continuous scanning mode to provide information on the <45µm size samples and whether any accessory phases are present. Additional samples were run in October 2000.

Sample
Tentative
XRD description








SPT101
(mascagnite)
XRD shows almost pure mascagnite with very minor tschermigite ((NH4)Al(SO4)2·12H2O) (File: spt101.rep).

SPT102
(boussingaultite)
XRD shows almost pure boussingaultite and minor ammonium sulphate ((NH4)2S2O8) (File: spt102.rep).

SPT103
(letovicite)

XRD shows predominantly boussingaultite; gypsum is also present, perhaps letovicite and/or tschermigite (File: spt103.rep).


SPT104
(synthetic)
No need for XRD (synthetic).

SPT105
(synthetic)
No need for XRD (synthetic).

SPT106
(synthetic)
No need for XRD (synthetic).

SPT107
(jarosite)
Natrojarosite and goethite; 1 big peak missed.

SPT108
(jarosite)
Natrojarosite and a tiny bit of quartz.

SPT109
(metavoltine)
Ferricopiapite and metavoltine.

SPT110
(romerite)
Rhomboclase (an Fe sulphate hydroxide) + minor pyrite, + some romerite.

SPT111
(voltaite)
Romerite and voltaite.

SPT112 
(amarantite)
Amarantite and minor hematite.

SPT113
(jarosite)
Jarosite, minor copiapite.

SPT114
(natrojarosite)
Natrojarosite, minor goethite (and hematite?).

SPT115
(jarosite)
Jarosite.

SPT116
(jarosite)
Jarosite.

SPT117
(copiapite)
Copiapite.

SPT118
(halotrichite)
Halotrichite + minor pickeringite.

SPT119
(coquimbite)
Coquimbite

SPT120
(hydronium jarosite)
Jarosite + quartz (major).

SPT121
(fibroferrite)
Fibroferrite + minor butlerite

SPT122
(romerite)
Major romerite, minor coquimbite.

SPT123
(sideronatrite)
Sideronatrite + something else (unidentified).

SPT124
(botryogen)
Pure botryogen.

SPT125
(Copiapite)
Pure ferricopiapite.

SPT126
(coquimbite)
Pure coquimbite + paracoquimbite.

SPT127
(gypsum)
Pure gypsum.

SPT128
(anhydrite)
Anhydrite + minor gypsum.

SPT129
(alunite)
Alunite.

SPT130
(melanterite)
Rozenite + melanterite

SPT131
(coquimbite)
Coquimbite + some copiapite + quartz.

SPT132
(halotrichite)
Anhydrite + coquimbite + quartz.

SPT133
(metavoltine)
Copiapite or metavoltine (ferricopiapite fits better).

SPT134
(romerite)
Coquimbite + romerite + szomolnokite.

SPT135
Copiapite
Mainly magnesiocopiapite, some szomolnokite, minor pyrite (U of Manitoba - April 2004)




SPT136
(sideronatrite)
Sideronatrite (although intensity of 100 peak is off) + jarosite (+ezcurrite) + pyrite.

SPT137
Kornelite
Nearly pure paracoquimbite, possibly minor kornelite (U of Manitoba - April 2004)

SPT138
Copiapite
Copiapite and paracoquimbite (U of Manitoba - April 2004)

SPT139
Rhomboclase
Pure rhomboclase (U of Manitoba - April 2004)

SPT140
Pickeringite
Nearly pure pickeringite (apjohnite also identified, but its pattern is almost identical to pickeringite) (U of Manitoba - April 2004)

SPT141
Kieserite
Nearly pure kieserite, minor halite (U of Manitoba - April 2004)

SPT142
Hexahydrite
Largely hexahydrite and pickeringite, some amorphous component (U of Manitoba - April 2004)

SPT143
Hexahydrite
Pure hexahydrite, some amorphous component (U of Manitoba - April 2004)

SPT144
Rozenite
Szomolnokite mostly, some rozenite, and minor pyrite (U of Manitoba - April 2004)

SPT145
Anglesite
Pure anglesite (U of Manitoba - April 2004)

SPT146
Barite
Pure barite (U of Manitoba - April 2004)

SPT147
Anglesite
Anglesite mostly, minor cerussite (U of Manitoba - April 2004)

SPT148
Anglesite
Pure anglesite (U of Manitoba - April 2004)
SPT149
Synth. Fe-sulfate
~40% ferricopiapite, ~40% copiapite, ~20% sulphur (Mertzman, May 2017)
SPT150
Lazurite
Lazurite mostly, some phlogopite, minor augite, minor calcite (U of Manitoba - April 2004)

SPT151
Lazurite
Lazurite mostly, minor phlogopite and augite (U of Manitoba - April 2004)

SPT152
Lazurite
Lazurite, wollastonite largely, and calcite (U of Manitoba - April 2004)

SPT153
Lazurite
Lazurite, wollastonite, and calcite (U of Manitoba - April 2004)

SPT162
“Epsomite”
Appears as mix of epsomite and hexahydrite when fresh; usually appears as starkeyite in normal lab environment.
SPT162k
“Epsomite”
Baked at 300°C – XRD showed low-humidity polymorph of kieserite; stable under normal lab conditions.

SPT169
“Hexahydrite”
XRD shows starkeyite under normal lab environment exposure.
SPT178
Gypsum
Measured by Stan Mertzman at Franklin and Marshall College (Nov. 2013). Phases identified: gypsum only.
+++++++++++++++++++++++

(ii) X-ray diffractograms run at University of Winnipeg with Bruker D8 – March 2019.
Sample
Tentative
XRD description


SPT129
Alunite
Pure alunite

SPT167
Voltaite, etc.
Patterns is pretty clean. Most reliable phases identified are voltaite and quartz, and likely anhydrite.

SPT176
Metavoltine with coquimbite
Complicated X-ray diffractogram; major phases identified: pertlikite; coquimbite; metavoltine; copiapite; bilinite

SPT179
Romerite
Pattern is complicated and some big peaks aren’t perfectly aligned with any one sulfate. Most reliable phases identified are copiapite and romerite.

SPT190
Hanksite
Pure hanksite
SPT195
Glauberite

Clean pattern. Glauberite identification is solid; brushite is doubtful because sample has very little phosphorous even though brushite fits the 13.5 Angstrom peak. This peak may indicate a bit of a clay mineral as there is about 1 wt.% total of Si, Al, Fe, etc. 

SPT204
Anhydrite

Anhydrite major; gypsum minor
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
8c. Compositional Data - Sulphates
8c.x. Sulphates – Ideal Formulas
Wt.%

Alunite
Amarantite
Anglesite
Anhydrite
Barite
Botryogen

Al2O3

36.9



FeO









Fe2O3


35.8



19.2



MgO






  9.7


CaO




41.2

Na2O




K2O

11.4

NH4








PbO



72.7

BaO





65.7

SO3

38.7
35.9
27.3
58.8
34.3
38.6



OH/H2O

13.0
28.3



32.5



Total

100
100
100
100

100



Wt.%

Boussing-
Copiapite
Coquimbite
Ferricopiapite
Fibroferrite
Gypsum



aultite








Al2O3









FeO


  5.7






Fe2O3


25.6
28.4
30.3
30.8

MgO

11.2



CaO






32.5

Na2O





K2O





NH4

10.0



PbO

BaO

SO3

44.4
38.5
42.8
39.0
30.9
46.5


OH/H2O

34.4
30.2
28.8
30.7
38.3
21.0


Total

100
100
100
100
100
100

8c.x. Sulphates – Ideal Formulas (continued)
Wt.%

Halotrichite
Hexahydrite
Hydronium
Jarosite
Kieserite
Kornelite





jarosite






Al2O3

11.5



FeO

  8.1





Fe2O3



49.8
47.8

30.4

MgO


17.6


29.1

CaO




Na2O









K2O




  9.4





NH4






PbO


BaO

SO3

36.0
35.1
33.3
32.0
57.9
45.7

OH/H2O

44.4
47.3
16.9
10.8
13.0
23.9

Total

100
100
100
100
100
100

Wt.%

Letovicite
Mascagnite
Melanterite
Metavoltine
Natrojarosite
Pickeringite

Al2O3






11.9

FeO



25.8
 3.4

Fe2O3




22.6
49.4

MgO






  4.7

CaO




Na2O




  8.8
 6.4

K2O




  4.5

NH4

21.8
27.3

PbO


BaO

SO3

64.8
72.7
28.8
45.4
33.0
37.3

OH/H2O

13.4

45.4
15.3
11.2
46.1

Total

100
100
100
100
100
100

Wt.%

Rhombo-
Romerite
Rozenite
Sideronatrite
Voltaite



clase






Al2O3



FeO


  8.9
32.1

17.5

Fe2O3

24.9
19.9

21.9
15.5

MgO



CaO




Na2O




17.0

K2O





  4.6

NH4



PbO


BaO

SO3

49.9
39.9
35.8
43.9
46.7

OH/H2O

25.2
31.3
32.1
17.2
15.7

Total

100
100
100
100
100


Calculations: 1. Add up total molecular weight of all atoms (e.g., alunite = 414.3). 2. Multiply the amount of each oxide by its molecular weight and divide by total molecular weight (e.g., alunite use 0.5 x molecular weight of K2O). 3. Should total 100%.

+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates
Wt.%

PIG205
SPT101
SPT101
SPT102
SPT103
SPT107

NMNH#1






104139-1

F and Ma

SiO2

0.39


4.04
6.32
  0.02


TiO2

0.00


0.00
0.00
  0.02

Al2O3

0.07


0.35
0.49
  0.00

(Fe2O3)*

0.00


(0.84)
(1.03)
(89.94)

FeO

0.00


0.36
0.21
  0.16

Fe2O3

0.00


0.44
0.80
89.76

MnO

0.01


0.039
0.060
  0.02

MgO

0.00


10.71
7.07
  0.18

CaO

0.53


1.04
0.89
  0.22

Na2O

43.95


0.01
0.01
  6.79

K2O

0.78


0.002
0.003
  2.15

P2O5

0.03


0.018
0.017
  0.04

SO3a

54.55


53.640
44.500



Cl




0.000
0.000


TOTAL

45.76


70.693
60.396
99.38

LOI

36.64


71.15
86.60
31.63

N^




5.85
9.98

C^




0.22
0.29

S^




17.94
19.61

S as SO3a




44.79
48.96


FandMa

ppm
Sr

178


15
5
130

Zr

<2


20
18
  20

V

85


3
<2
  63

Co




25
20
  <2

Cr

<2


169
97
  20

Ni




750
315
 <2

Rb




<1
<1
  10

UofWb
(FeO)





45.55

MgO






<0.01

K2O






0.29

LOI


49.07

65.70

33.21
LOI (°C)


590°C

500°C

550°C

UofAc
N


19.6481
19.6618
  6.2113
  9.4927

C


  0
 0
  0
  0.6101

H


  5.9277
5.9206
  4.4165
  5.3959

S


24.5009
24.3334
19.0984
19.8564
10.3712








11.1607d
SO3


61.18
60.76
47.69
49.58
25.93







27.87d

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3)*: LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 
b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the U. of Alberta (Aug/2000). S also expressed as SO3. d. Duplicate analysis.

1. NMNH# = Smithsonian Institution of National Museum of Natural History sample ID number.

^ - N, C, and S determined using a light element analyzer. Due to the small amount of sample used, there may be issues of sample representativeness.
a - SO3 content may be a minimum value due to heating of the sample twice.+++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT108
SPT109
SPT110
SPT110
SPT111
SPT112

NMNH#1

95074-1







FandMa
SiO2

  2.60
18.23

0.00
27.74
11.21


TiO2

  0.05
  0.23

0.00
0.07
  0.23

Al2O3

  0.47
  7.68

0.10
0.84
  3.63

(Fe2O3)

(85.68)
(68.51)

(29.31)
(23.94)
(78.13)

FeO

  0.21
  2.94
16.04
12.04
10.01
  0.26

FeO





12.44h
Fe2O3

85.45
65.24

15.93
12.82
77.84

MnO

  0.01
 0.05

0.02
0.07
  0.23

MgO

  0.24
 0.95

0.00
0.41
  0.39

CaO

  0.26
 0.90

0.00
0.68
  1.85

Na2O

  8.86
 1.74

0.32
0.28
  0.57

K2O

  1.18
 1.17

0.00
0.61
  1.08

P2O5

  0.09
 0.06

0.00
0.02
  1.68

TOTAL

99.44
99.52

99.43
99.56
99.00
LOI

34.31
66.29
59.20

54.95
39.82
SO3




40.04
33.90

H2O




29.64
11.00


FandMa

ppm
Sr

780
190

2
95
  40

Zr

  25
  82

8
50
125

V

  61
  66

4
65
210

Co

  <2
860


35
  <2

Cr

  25
  58

<2

  50

Ni

  <2
225



  40

Rb

  28
125



  20

Cu




1730

Pb




4815

Zn




4315



UofWb
Al2O3

  0.06


(FeO)

37.94
20.26
23.50

21.75


MgO

  0.02

K2O

  0.31
   0.30


  0.22

Na2O


  0.46

LOI

70.54

68.18
LOI (°C)

550°C

590°C





UofAc
S

11.4683
15.1752
28.8745
28.4103
17.3127
  8.7556

SO3

28.64
37.90
72.10
71.03
43.23
21.86


a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss (loss on ignition) for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

d. Duplicate analysis.

1. NMNH# = Smithsonian Institution of National Museum of Natural History sample ID number.
+++++++++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT113
SPT114
SPT115
SPT116
SPT117
SPT117
SPT118

FandMa
SiO2

  0.02
  0.00
  0.38
  0.05
13.86
34.05
TiO2

  0.04
  0.01
  0.09
  0.02
  0.16
1.38
Al2O3

  0.71
  0.00
  0.06
  0.11
  8.28
19.11
(Fe2O3)

(88.56)
(83.53)
(79.24)
(82.84)
(66.94)
1.38
FeO

  0.30
  0.26
  0.21
  0.29
  0.00
0.88
0.22

Fe2O3

88.23
83.24
79.01
82.52
66.94
0.40
MnO

  0.01
  0.01
 0.01
  0.01
  0.21
0.04
MgO

  0.17
  5.59
 0.26
  0.17
  8.47
27.12
CaO

  0.60
  6.94
 0.07
  0.17
  0.47
7.46
Na2O

  7.38
  1.45
 0.49
  4.77
  0.79
0.59
K2O

  1.85
  1.47
18.28
10.38
  0.43
7.07
P2O5

  0.06
  0.02
 0.12
  0.91
  0.08
0.52

SO3






0.16
TOTAL

99.40
99.02
99.00
99.43
99.69
98.88
LOI

40.81
17.24
34.20
35.46
66.85
7.58
71.11
FandMa

ppm
Sr

  <2
515
  <2
2640
  18
753
Zr

  15
 20
  15
    25
  39
126
V

  75
 60
  75
    75
100
184
Co

  <2
 <2
  <2
    <2
  52
8
Cr

  15
 10
  13
  600
130
99
Ni

  <2
 75
  <2
    <2
  52

Rb

  20
 15
120
  220
  13


UofWb
Al2O3







 6.50

(FeO)

36.48
46.16
37.78
37.67
18.72

 0.03

MgO

  0.004

  0.004
  0.01
  2.93

 7.96

K2O

  0.06

  9.25
  5.28

LOI

41.41
24.04
40.96
29.55
95.37


LOI (°C)

550°C
550°C
550°C
550°C
590°C




UofAc
S

13.1193
10.1162
12.7933
13.0143
15.9981

17.2389

SO3

32.76
25.26
31.95
32.50
39.95

43.05


a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss (loss on ignition) for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

d. Duplicate analysis.
++++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT119
SPT120
SPT120
SPT121
SPT122
SPT123

FandMa
SiO2

  1.95
72.93
50.62
  2.60
  0.62

TiO2

  0.06
  0.28
0.14
  0.04
  0.06

Al2O3

16.09
  1.68
0.74
  0.21
  0.80

(Fe2O3)

(79.16)
(22.64)
(12.17)
(95.02)
(96.85)

FeO

  0.27
  0.40

  0.00
  0.51
 0.36

Fe2O3

78.86
22.20

95.02
96.28

MnO

  0.01
  0.02
0.03
  0.04
  0.02

MgO

  0.82
  0.84
0.69
  0.31
  0.28

CaO

  0.09
  0.44
0.48
  0.70
  0.73

Na2O

  0.28
  0.48
0.31
  0.58
  0.48

K2O

  1.25
  0.07
0.07
  0.10
  0.01

P2O5

  0.11
  0.42
0.34
  0.03
  0.03

SO3



5.46




TOTAL

99.82
99.80
71.05
99.63
99.88
LOI

71.11
10.14
10.56
63.22
69.36
43.38
FandMa
ppm
Sr

  <2
  295
87
  15
 <2

Zr

  24
    <2
383
  29
  15

V

  67
1600
597
  72
  69

Co

  <2
    <2
60
  <2
160

Cr

  40
  280
155
  48
  25

Ni

  <2
  240
287
  <2
 <2

Rb

  25
    <2
40
    8
  10

Cu



44.666

Pb



10+%

Mo



appreciable

Sb



a bit

Ag



detectable

As



likely





UofWb
 (FeO)

17.82
13.93

26.06
24.78
18.24

MgO

  0.01


  0.01
  0.03
  0.003

Na2O






20.60

LOI

54.31
12.95

87.32
76.44
LOI (°C)

675°C
550°C

650°C
590°C



UofAc
C


0.3589

H


0.4061

S

18.4954
2.0549
2.0647
14.1687
17.1093
16.8169

SO3

46.19
5.13
5.16
35.38
42.73
41.99

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss (loss on ignition) for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

d. Duplicate analysis.
++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT124
SPT125
SPT126
SPT126
SPT127
SPT128

FandMa
SiO2

  4.96
4.39

1.14
0.00
0.00

TiO2

  0.02
0.06

0.09
0.00
0.00

Al2O3

  0.76
2.01

1.25
0.20
0.15

(Fe2O3)

(62.79)
(27.01)

(94.05)
(0.03)
(0.04)

FeO

  0.96
0.00
  0.45
0.34
0.00
0.00

Fe2O3

61.79
27.01

93.67
0.03
0.04

MnO

  0.26
0.01

0.08
0.00
0.00

MgO

29.02
0.27

1.34
0.07
0.06

CaO

  0.14
0.41

0.34
32.46
46.06

Na2O

  0.25
4.25

0.44
0.30
0.78

K2O

  0.04
1.69

0.04
0.00
0.00

P2O5

  0.03
0.07

0.04
0.01
0.02

SO3




0.96



TOTAL

98.27
99.16


100.20
100.38
LOI

62.94

67.55
71.45
20.58
15.89

LOI



70.47d
SO3


33.16

31.30
46.55
37.38

H2O


25.83

FandMa

ppm
Sr

      <2
<5

6
200
700

Zr

      18
15

<1
9
10

V

      56
90

13
<2
4

Co

    680

Cr

  2223
55

8
<2
4

Ni

13020

Rb

        2

Pb




65

Zn




2345



UofWb
(FeO)

16.27
26.56
24.16

 0.00
 0.01

MgO

  9.35
 0.06
 0.05

LOI

53.40
49.24
90.54

45.95
LOI (°C)

650°C
650°C
675°C

500°C


UofAc
S

14.3490
15.3060
17.7273

10.2939
19.1753

SO3

35.83
38.22
44.27

25.71
47.88

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss (loss on ignition) for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

d. Duplicate analysis.

+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT129
SPT129
SPT129
SPT130
SPT130
SPT131
SPT132

FandMa
SiO2

  0.00


0.00

83.58
83.25

TiO2

  0.00


0.00

  0.71
 0.46

Al2O3

74.51


0.10

  1.71
 2.64

(Fe2O3)

 (0.06)


97.65

(12.28)
 (7.81)

FeO

  0.05


30.62
25.54
  3.68
 0.19

Fe2O3

  0.00


63.62

  8.19
 7.60

MnO

  0.00


0.020

  0.02
 0.03

MgO

  0.07


0.31

  0.54
 0.33

CaO

  0.12


0.03

  0.37
 4.17

Na2O

  0.46


0.55

  0.29
 0.43

K2O

23.54


0.009

  0.06
 0.20

P2O5

  0.76


0.027

  0.09
 0.04

SO3




0.08




TOTAL

99.52


98.776

99.65
99.36
LOI

40.15


63.84
67.28
27.28
23.82
FandMa

ppm
Cu




12000

Sr

3420


25

825
690

Zr

    20


10

250
175

V

  135


110

  55
 48

Co

    <2


1100

  24
 65

Cr

     40


120

  23
 22

Ni

       8


200

  44
 36

Rb

     25


<1

  <2
 17

UofWb
 (FeO)

  0.02



27.70
 2.13
 0.06

MgO





  0.004
 0.05

CaO





  0.11

Na2O





  0.02

LOI

19.54



96.60
45.38
LOI (°C)

650°C



650°C
675°C


UofAc
S

14.3686
12.4819
14.6222

12.9207
  5.7283
 6.2651

SO3

35.88
31.17
36.51

32.26
14.31
15.65

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss (loss on ignition) for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

d. Duplicate analysis.

+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT133
SPT134
SPT135
SPT136
SPT137
SPT138

FandMa
SiO2

  0.80


22.51
  0.03

TiO2

  0.02


  0.46
  0.10

Al2O3

  0.37


  0.42
  3.37

(Fe2O3)

(96.75)
(0.00)d

(53.15)
(33.12)

FeO

  0.00
 8.56

  0.44
  0.00

Fe2O3

96.75


52.66
33.12
0.00(?)

MnO

  0.06


  0.02
  0.00

MgO

  0.58


  1.40
  0.18

CaO

  0.16


  6.36
  0.06

Na2O

  0.59


10.33
  0.62

K2O

  0.02


  4.82
  0.04

P2O5

  0.03


  0.12
  0.04


TOTAL

99.38


99.59
37.56
0.00
LOI

68.79
66.07

27.98
71.67
71.21
LOI


59.96d
SO3





25.44


FandMa

ppm
Sr

    <2


  10
10

Zr

    18


  50
45

V

    55


  87
10

Co

1405


    3
525

Cr

    28


  45
4

Ni

    25


  13
125

Rb

      9


190
<2

Cu





1450


UofWb
(FeO)

26.89


15.02

MgO

  0.09


<0.001

Na2O

  0.07


12.23

LOI


77.59
LOI (°C)


590°C





UofAc
S

16.7464
17.1065

15.3979

SO3

41.82
42.72

38.45



a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. Analyses by atomic absorption spectroscopy at the University of Winnipeg (summer 2000 and 2001). (FeO): total Fe expressed as FeO. LOI: weight loss (loss on ignition) for samples heated in air to the temperature indicated (LOI (ºC))..

c. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

d. Duplicate analysis.

++++++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT139
SPT139
SPT140
SPT141
SPT142
SPT143
SPT144

FandMa
SiO2


0.48
  4.84
  0.00
  6.61
  0.00
31.42

TiO2


0.04
  0.05
  0.00
  0.10
  0.00
  0.98

Al2O3


0.02
40.87
  0.02
34.14
  0.06
10.77

(Fe2O3)

(98.24)
(12.01)
(0.48)
(0.80)
(0.00)
  0.00
(27.35)

FeO


0.28
  0.38
  0.48
  0.00
  0.00
  8.88

Fe2O3

0.00(?)
97.93
11.59
  0.00
  0.80
  0.00
17.48

MnO


0.01
  1.11
  0.01
  0.37
  0.01
  0.03

MgO


0.02
21.65
15.38
26.19
25.09
  1.99

CaO


0.22
  0.95
  0.06
  0.83
  0.46
  1.48

Na2O


0.08
  2.79
13.82
  0.58
  0.94
  0.66

K2O


0.01
  0.22
  4.04
  0.49
  0.09
  1.28

P2O5


0.01
  0.17
  0.02
  0.18
  0.04
  0.11

SO3


0.50



23.53



TOTAL
   0.00
99.63
84.66
33.83
70.29
26.69
99.60
LOI
74.66
74.79
77.03
46.55
71.70
38.11
29.55

SO3


26.87








FandMa
ppm
Sr


<2
80
30
175
90

100

Zr


10
35
25
50
25

215

V


<1
55
30
50
30

170

Co



525
5
420
<2

45

Cr


21
100
<5
80
15

75

Ni



1825
<2
2330
<2

20

Rb



10
15
13
<2

70

Cu



2600
520
3050
600

1700

Pb


5

Zn


33








a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

++++++++++++++++++++++++++++++++++++++
8c. Compositional Data - Sulphates (continued)
Wt.%

SPT145
SPT146
SPT147
SPT148
SPT150
SPT151


NMNH#1



163581
B10901




FandMa
SiO2

  0.00
  0.00


47.31
44.75

TiO2

  0.00
  0.23


0.02
0.42

Al2O3

  0.00
  0.23


9.96
15.19

(Fe2O3)

(0.00)
(0.00)


(0.41)
(0.16)

FeO

  0.00
  0.00


0.00
0.00

Fe2O3

  0.00
  0.00


0.41
0.61

MnO

  0.00
  0.00


0.02
0.01

MgO

  0.08
  0.00


14.10
10.35

CaO

  0.03
  0.27


18.41
13.30

Na2O

  0.16
  0.07


4.29
8.59

K2O

  0.00
  0.00


2.08
2.51

P2O5

  0.04
  0.02


0.04
0.10

S

11.80

SO3


34.15


2.88
2.90

TOTAL

12.11
34.97


100.04
99.30
LOI

  1.07
  0.07


1.09
0.73
Cl





0.52
1.02

FandMa

ppm
Sr

80
15920


140
85

Zr

<5
75


135
140

V

40
425


56
130

Co

20
<2

Cr

<5
<5


10
118

Ni

650
35

Rb

<5
7

Cu

1600
190






a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

1. NMNH# = Smithsonian Institution of National Museum of Natural History sample ID number.
+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt. %
SPT156
SPT158
SPT158
SPT160
SPT162
SPT167
FandMa

SiO2
0.00
5.45
1.94
0.00
0.00
43.53
TiO2
0.00
0.04
0.03
0.00
0.00
0.14
Al2O3
0.00
1.02
0.45
0.00
0.01
5.62
(Fe2O3)
(0.02)
(0.06)
(0.14)
(0.00)
(0.04)
30.11
FeO
0.00
0.42

0.00
0.01
8.74
Fe2O3
0.02
0.19

0.00
0.03
20.40
MnO
0.006
0.02
0.008
0.007
0.01
0.00
MgO
6.17
0.27
0.10
0.00
29.68
0.00
CaO
18.27
0.57
0.30
0.03
0.06
6.52
Na2O
0.04
39.77
42.27
44.24
0.04
0.04
K2O
14.032
0.21
0.175
0.000
0.00
4.01
P2O5
0.016
0.05
0.023
0.017
0.02
0.05
Cl


0.00

0.00

Na






SO3
61.38
51.35
55.14
55.49
70.44
2.05
TOTAL
99.934
99.41
100.573
99.784
100.30
92.07
LOI
7.70
1.66
0.74
0.14
47.52
43.25
FandMa

ppm

Sr
1007
121
36
62
44
202
Zr
36
80
31
<2
32
<2
V
<2
35
22
<2
<1
101
Ni
<2
2
<2
<2
2


Cr
<2
13
13
<2
12
<2
Co
<2
<2
<2
<2
20
25
Rb


2

<1


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 
b. Total excludes Cl (52.10%) and includes LOI.

* analysis of second batch of this sample. Appears to be almost pure NaCl; original batch contained both kieserite and halite (as seen by reflectance spectroscopy)..
+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt. %
SPT170
SPT173
SPT174*
SPT176
SPT178
SPT179
SPT190
FandMa

SiO2
54.62
0.11
0.30
32.22
0.00
4.48
0.00
TiO2
0.16
0.01
0.00
0.34
0.00
0.01
0.00
Al2O3
5.08
75.30
0.19
5.53
0.00
0.85
0.08
(Fe2O3)
35.78
23.33
0.00
45.04
(0.44)
93.21
(0.48)
FeO
0.87
0.15
0.00
0.37

0.45
0.09
Fe2O3
34.81
23.16
0.00
44.63

92.71
0.38
MnO
0.040
0.019
0.02
0.17
0.00
0.17
0.013
MgO
2.84
0.28
0.14
0.90
0.00
0.42
0.18
CaO
0.09
0.04
0.49
5.01
41.12
0.27
0.06
Na2O
0.25
0.68

3.84
0.00
0.08
40.71
K2O
0.059
0.235
0.29
3.50
0.001
0.04
3.145
P2O5
0.029
0.004
0.01
0.05
0.010
0.02
0.001
Cl


52.10



2.62
Na


36.22

SO3
0.61
0.080
0.06
1.08
57.91
0.00
17.330
TOTAL
99.558
100.088
48.41b
97.68
99.481
99.55
61.999
LOI
56.39
62.75
10.75
53.47
20.92
69.97
19.00
FandMa

ppm

Cu
3100

Sr
80
23
195
870
511
5
48
Zr
75
67
52
<2
56
21
80
V
60
16
<1
24
27
<2
<2
Ni
1800



<2

Cr
1630
<2
<1
55
<2
242
<2
Co
135


407
<1
320
Rb
2
<3




<2
Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 
b. Total excludes Cl (52.10%) and includes LOI.

* analysis of second batch of this sample. Appears to be almost pure NaCl; original batch contained both kieserite and halite (as seen by reflectance spectroscopy)..
+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt. %
SPT195
SPT195
SPT204
FandMa

SiO2
0.00
0.46
0.65
TiO2
0.00
0.02
0.04
Al2O3
1.43
0.11
0.17
(Fe2O3)
 (2.16)
0.20
0.06
FeO
0.40
0.02
0.00
Fe2O3
1.74
0.18
0.06
MnO
0.013
0.01
0.03
MgO
0.75
0.00
0.00
CaO
20.44
21.05
41.63
Na2O
25.34
22.30
0.00
K2O
0.005
0.01
0.02
P2O5
0.012
0.03
0.00
Cl


0.03
SO3
0.160
55.81
55.35
TOTAL
50.310
100.00
97.98
LOI
0.47
0.26
11.89
FandMa

ppm

Cu


Sr
165
1190
16250
Zr
95
<2
<2
V
<2
15
<2
Ni


Cr
<2
<2
<2
Co

10

Ba


53
Rb
<2

50
Source
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 
b. Total excludes Cl (52.10%) and includes LOI.

* analysis of second batch of this sample. Appears to be almost pure NaCl; original batch contained both kieserite and halite (as seen by reflectance spectroscopy)..
+++++++++++++++++++++++++++++++++

8c. Compositional Data - Sulphates (continued)
Wt.%

SPT207
TOC101

NMNH#1


148696

FandMa

SiO2

0.71

TiO2

0.01

Al2O3

0.15

(Fe2O3)


FeO

0.52

Fe2O3

0.22

MnO

0.00

MgO

0.47

CaO

97.33

Na2O

0.15

K2O

0.04

P2O5

0.03

SO3




TOTAL

99.69
LOI

20.91

FandMa
ppm
Sr

2450

Zr

75

V

5

Cr

<2


UofAb
S


0.00



SO3

46.31c
0.00

a. Analysed by X-ray fluorescence at Franklin and Marshall College by Stan Mertzman. Elemental totals expressed on a volatile-free basis (and with all Fe reported as Fe2O3). FeO determined by wet chemistry and Fe2O3 as difference between total Fe and FeO. (Fe2O3): All Fe reported as Fe2O3. LOI = loss on ignition: weight loss after heating to 950°C for 1 to 1-1/2 hours. 

b. H, C, N, and S determined by ignition at the University of Alberta (August 2000). S also expressed as SO3.

c. SO3 determined as S at U of W September 2007 using CHNS analyzer.

1. NMNH# = Smithsonian Institution of National Museum of Natural History sample ID number.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

8d. Spectral Data - Sulphates
Sample 
Facility/File No. 
Description






PIG002
RELAB caec02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG002
RELAB laec02
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.580µm (RELAB+Nicolet) note different viewing geometries.

PIG002
PSF 080708.pig002
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics.

+++++++
PIG003
RELAB caec03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG003
RELAB laec03
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.580µm (RELAB+Nicolet) note different viewing geometries.

+++++++
PIG005
RELAB caec05
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG005
RELAB laec05
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.580µm (RELAB+Nicolet) note different viewing geometries.

PIG005f
PSF 150626a.002
<45 µm; measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit].
+++++++
PIG021
RELAB c1ec13
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG021
RELAB bkr2ec013
<45 µm; 30°/0°,30°; 0.3-50 µm; 1.2-475 nm resolution; merged RELAB+ Nicolet at 2.55 µm; note different viewing geometry.

PIG021
RELAB bkr1ec013
<45 µm; 30°/0°,30°; 0.3-50 µm; 0.7-475 nm resolution; merged RELAB+ Nicolet at 1.3 µm; note different viewing geometry.

+++++++
PIG205
PSF 080619a.027
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

PIG205
PSF 080619a.028
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; melted/hardened central pit.

PIG205
PSF 080619a.029
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; topped off.

PIG205
PSF 080619a.030
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; topped off, different spot?.

PIG205
PSF 080619a.031
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; topped off, different spot?.

PIG205
PSF 080619a.032
larger grains; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

PIG205
PSF 080619a.033
larger grains; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; melted/hardened central pit.

PIG205
PSF 080619a.034
larger grains; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.
PIG205
PSF 080801a.007
<90 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).

PIG205
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT101
RELAB casf15
<45µm, 30/0, 0.3-2.6µm, 5 nm.

SPT101
RELAB lasf15a
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2560 nm; change in view geometry at merge.

SPT101
RELAB cbsf15
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

SPT101
RELAB lasf15b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; change in view geometry at merge.

SPT101
PSF 130221b.010
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221]. (see section 29 for sample in KBr disk for transmission measurements).
SPT101
PSF B1S5
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130315_FTIR]. (see section 29 for sample in KBR disk transmission measurements).
++++++

SPT102
RELAB casf16
<45µm, 30/0, 0.3-2.6µm, 5 nm.

SPT102
RELAB lasf16a
<45µm, 30°/0°, 30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2530 nm; change in viewing geometry at 2.5µm.

SPT102
RELAB cbsf16
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

SPT102
RELAB lasf16b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Sample spectrum may have been altered due to heating by incident light beam during first run; remeasured after first spectrum with lower incident light intensity.

SPT102
RELAB lbsf16b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Measured with lower incident light intensity.

SPT102
PSF ca5
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
+++++++
SPT103
RELAB casf17
<45µm, 30/0, 0.3-2.6µm, 5 nm.

SPT103
RELAB lasf17a
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Sample spectrum may have been altered due to heating by incident light beam during first run; remeasured after first spectrum with lower incident light intensity.

SPT103
RELAB lbsf17a
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Measured with lower incident light intensity.

SPT103
RELAB cbsf17
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

SPT103
RELAB lasf17b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Sample spectrum may have been altered due to heating by incident light beam during first run; remeasured after first spectrum with lower incident light intensity.

SPT103
RELAB lbsf17b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Measured with lower incident light intensity.

SPT103
PSF tw1
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
+++++++
SPT104
RELAB c1sf18
unsorted, 30/0, 0.3-2.6µm, 5 nm.

SPT104
RELAB lasf18
unsorted, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Sample spectrum may have been altered due to heating by incident light beam during first run; remeasured after first spectrum with lower incident light intensity.

SPT104
RELAB lbsf18
unsorted, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Measured with lower incident light intensity.

SPT104
PSF tw4
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
+++++++
SPT105
RELAB casf19
<45µm, 30/0, 0.3-2.6µm, 5 nm.

SPT105
RELAB lasf19a
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Sample spectrum may have been altered due to heating by incident light beam during first run; remeasured after first spectrum with lower incident light intensity.

SPT105
RELAB lbsf19a
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; note change in viewing geometry at 2.5µm. Measured with lower incident light intensity.

SPT105
RELAB cbsf19
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

SPT105
RELAB lasf19b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2500 nm; note change in viewing geometry at 2.5µm.

SPT105
PSF tw2
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
SPT105
PSF 130221b.005
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221]. (see section 29 for sample in KBr disk transmission measurements).
SPT105
PSF B1S4
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130315_FTIR]. (see section 29 for sample in KBr disk transmission measurements).
++++++

SPT106
RELAB casf20
<45µm, 30/0, 0.3-2.6µm, 5 nm.

SPT106
RELAB lasf20a
<45µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2540 nm; note change in viewing geometry at 2.5µm.

SPT106
RELAB cbsf20
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

SPT106
RELAB lasf20b
45-90µm, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; change in view geometry at merge.

SPT106
RELAB ccsf20
unsorted, 30/0, 0.3-2.6µm, 5 nm.

SPT106
RELAB lasf20c
unsorted, 30°/0°,30°; 0.3-26µm, 5, 0.6-129 nm; merged RELAB + Nicolet at 2550 nm; change in viewing geometry at 2.5µm.

SPT106
PSF tw5
<45 µm; i=30°, e=0°; 1.17-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: NH4 FTIR].
+++++++
SPT107
RELAB casf21
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT107
RELAB lasf21a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2525 nm; note different viewing geometry).

SPT107
PSF 050707spt107
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SPT107
PSF 120707spt107
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SPT107
PSF spt107
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

+++++++
SPT108
RELAB casf22
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT108
RELAB lasf22a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2525 nm; note different viewing geometry).

+++++++
SPT109
RELAB casf23
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT109
RELAB lasf23a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2525 nm; note different viewing geometry).

+++++++
SPT110
RELAB casf24
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT110
RELAB lasf24a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2515 nm; note different viewing geometry).

+++++++
SPT111
RELAB casf25
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT111
RELAB lasf25a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT112
RELAB casf26
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT112
RELAB lasf26a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT113
RELAB casf27
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT113
RELAB lasf27a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT114
RELAB casf28
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT114
RELAB lasf28a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT115
RELAB casf29
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT115
RELAB lasf29a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT115
PSF 071212a.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++
SPT116
RELAB casf30
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT116
RELAB lasf30a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT116
PSF 090602a.007
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.
SPT116
PSF spt116m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

SPT116
PSF spt116n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

SPT116
See also section 22 for spectra acquired under ambient and Mars-like conditions.

++++++
SPT116-X1
PSF 090602a.006
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

+++++++
SPT117
RELAB casf31
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT117
RELAB lasf31a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2575 nm; note different viewing geometry).

SPT117
PSF mar2106.001
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT117
PSF aspt117
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT117
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT118
RELAB casf32
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT118
RELAB lasf32a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2575 nm; note different viewing geometry).

+++++++
SPT119
RELAB casf33
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT119
RELAB lasf33a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT120
RELAB casf34
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT120
RELAB lasf34a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT120
PSF 080801a.006
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).
SPT120f
PSF 150626a.001
<45 µm; measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit].
SPT120
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT121
RELAB casf35
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT121
RELAB lasf35a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2530 nm; note different viewing geometry).

SPT121
PSF 090127a.005
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
SPT121
PSF 090313a.032
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

SPT121
PSF aspt121
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).

SPT121
PSF 080801a.004
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).
SPT121
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT122
RELAB casf36
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT122
RELAB lasf36a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2540 nm; note different viewing geometry).

SPT122
PSF 071212a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++
SPT123
RELAB casf37
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT123
RELAB lasf37a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2540 nm; note different viewing geometry).

+++++++
SPT124
RELAB casf38
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT124
RELAB lasf38a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2500 nm; note different viewing geometry).

++++++SPT124 packing experiment spectra (160817)++++++

SPT124
PSF 160817a.004
<45 µm, regular packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT124
PSF 160817a.007
<45 µm, fluffy packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT124
PSF 160817a.010
<45 µm, dense packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

++++++

SPT125
RELAB casf39
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT125
RELAB lasf39a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT125
PSF 080801a.002
<90 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).

++++++SPT125 packing experiment spectra (160817)++++++

SPT125
PSF 160817a.005
<45 µm, regular packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT125
PSF 160817a.008
<45 µm, fluffy packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT125
PSF 160817a.011
<45 µm, dense packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT125
See also section 22 for spectra acquired under ambient and Mars-like conditions, and Raman spectra with and without a sapphire window..
+++++++
SPT126
RELAB casf40
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT126
RELAB lasf40a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT126
PSF 080801a.003
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).
SPT126
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT127
RELAB casf41
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT127
RELAB lasf41a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT127
PSF 090602a.009
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

SPT127
PSF may0106.001
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

SPT127
PSF aspt127
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
SPT127
See also section 22 for spectra acquired under ambient and Mars-like conditions.
SPT127-X1
PSF 090602a.008
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

+++++++
SPT128
RELAB casf42
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT128
RELAB lasf42a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2540 nm; note different viewing geometry).

SPT128
PSF 090127a.004
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
SPT128
PSF 090313a.033
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

SPT128
PSF mar2106.003
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT128
PSF aspt128
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT128
PSF spt128m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

SPT128
PSF spt128n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

SPT128
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT129
RELAB casf43
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT129
RELAB lasf43a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT129
PSF mar2106.004
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT129
PSF aspt129
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT129
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT130
RELAB casf44
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT130
RELAB lasf44a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2540 nm; note different viewing geometry).

SPT130
PSF 071212a.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++
SPT131
RELAB casf45
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT131
RELAB lasf45a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT132
RELAB casf46
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT132
RELAB lasf46a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT133
RELAB casf47
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT133
RELAB lasf47a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2540 nm; note different viewing geometry).

+++++++
SPT134
RELAB casf48
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT134
RELAB lasf48a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT136
RELAB casf50
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT136
RELAB lasf50a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT137
RELAB casf51
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT137
RELAB lasf51a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT137
PSF mar2106.005
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT137
PSF aspt137
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT137
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT138
RELAB casf52
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT138
RELAB lasf52a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT139
RELAB casf53
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT139
RELAB lasf53a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT139
PSF mar2106.006
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT139
PSF 080801a.001
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 1000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #6 (Directory: runsix 080801).

SPT139
PSF aspt139
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT139
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT140
RELAB casf54
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT140
RELAB lasf54a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2575 nm; note different viewing geometry).

+++++++
SPT141
PSF 090421a.008
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD; clumpy.

SPT141
RELAB casf55
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT141
RELAB lasf55a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT141
PSF mar2106.007
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT141
PSF aspt141
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT141
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT142
PSF 090421a.009
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

SPT142
RELAB casf56
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT142
RELAB lasf56a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2575 nm; note different viewing geometry).

SPT142
PSF 071212a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.


+++++++SPT142 – grain size series with Bruker Vertex 70 reflectance+++++
SPT142
PSF spt142 sub 45 um
<45 µm; i=30°, e=0°; 10000-400 cm-1 (1-25 µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: SPT142 grain size].
SPT142
PSF spt142 45-90 um
45-90 µm; i=30°, e=0°; 10000-400 cm-1 (1-25 µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: SPT142 grain size].
SPT142
PSF spt142 90-250 um
90-250 µm; i=30°, e=0°; 10000-400 cm-1 (1-25 µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: SPT142 grain size].
SPT142
PSF spt142 250-500 um
250-500 µm; i=30°, e=0°; 10000-400 cm-1 (1-25 µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: SPT142 grain size].
SPT142
PSF spt142 500-1000 um
500-1000 µm; i=30°, e=0°; 10000-400 cm-1 (1-25 µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 reflectance [Directory: SPT142 grain size].

+++++++SPT142 – grain size series with Maya UV-vis reflectance+++++

SPT142
PSF 151105_Reflection_002
<45 µm; i=30°, e=0°; 400-1132 nm; ~0.5 nm resolution; 1000 spectra averaged; Maya UV-vis [Directory: 151105].

SPT142
PSF 151105_Reflection_003
45-90 µm; i=30°, e=0°; 400-1132 nm; ~0.5 nm resolution; 1000 spectra averaged; Maya UV-vis [Directory: 151105].

SPT142
PSF 151105_Reflection_004
90-250 µm; i=30°, e=0°; 400-1132 nm; ~0.5 nm resolution; 1000 spectra averaged; Maya UV-vis [Directory: 151105].

SPT142
PSF 151105_Reflection_005
250-500 µm; i=30°, e=0°; 400-1132 nm; ~0.5 nm resolution; 1000 spectra averaged; Maya UV-vis [Directory: 151105].

SPT142
PSF 151105_Reflection_006
500-1000 µm; i=30°, e=0°; 400-1132 nm; ~0.5 nm resolution; 1000 spectra averaged; Maya UV-vis [Directory: 151105].

+++++++
SPT143
RELAB casf57
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT143
RELAB lasf57a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2525 nm; note different viewing geometry).

SPT143
PSF 050707spt143
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SPT143
PSF 120707spt143
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SPT143
PSF spt143
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

SPT143
PSF 090602a.011
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

SPT143
PSF 091026 spt143
<45 µm; 0°/0° (bifurcated fibres); 0.2-0.4 µm; ~0.3 nm resolution; 100 averaged; Ocean Optics S2000.
SPT143
PSF may0106.002
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).

SPT143
PSF aspt143
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #3 without sapphire window (Directory: may0106).
SPT143
See also section 22 for spectra acquired under ambient and Mars-like conditions.
SPT143-X1
PSF 090602a.010
<45 μm, 0°/0° (bifurc. cable), 0.35-2.5 μm; 1 nm resol., 100 avg, ASD.

+++++++
SPT144
RELAB casf58
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT144
RELAB lasf58a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT144
PSF mar2106.008
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106aarefnw).

SPT144
PSF aspt144
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #2 without sapphire window (Directory: mar2106airrefnw).
SPT144
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
SPT145
RELAB casf59
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT145
RELAB lasf59a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT146
RELAB casf60
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT146
RELAB lasf60a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

SPT146
PSF pig1307.034
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

+++++++
SPT147
RELAB casf61
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT147
RELAB bkr2sf061a
<45 µm; 30°/0°,30°; 0.3-50 µm; 1.2-475 nm resolution; merged RELAB+ Nicolet at 2.55 µm; note different viewing geometry.

SPT147
RELAB bkr1sf061a
<45 µm; 30°/0°,30°; 0.3-50 µm; 0.7-475 nm resolution; merged RELAB+ Nicolet at 1.3 µm; note different viewing geometry.

+++++++
SPT148
RELAB casf62
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT148
RELAB bkr2sf062a
<45 µm; 30°/0°,30°; 0.3-50 µm; 1.2-475 nm resolution; merged RELAB+ Nicolet at 2.55 µm; note different viewing geometry.

SPT148
RELAB bkr1sf062a
<45 µm; 30°/0°,30°; 0.3-50 µm; 0.7-475 nm resolution; merged RELAB+ Nicolet at 1.3 µm; note different viewing geometry.

+++++++
SPT149
PSF 090731b.001
<45µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; July 31/09.

SPT149
PSF 090731b.002
45-90µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD; July 31/09.

+++++++
SPT150
RELAB caea17
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT150
RELAB laea17
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT151
RELAB caea18
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT151
RELAB laea18
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet at 2550 nm; note different viewing geometry).

+++++++
SPT152
RELAB casf63
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT152
RELAB bkr2sf063a
<45 µm; 30°/0°,30°; 0.3-50 µm; 1.2-475 nm resolution; merged RELAB+ Nicolet at 2.55 µm; note different viewing geometry.

SPT152
RELAB bkr1sf063a
<45 µm; 30°/0°,30°; 0.3-50 µm; 0.7-475 nm resolution; merged RELAB+ Nicolet at 1.3 µm; note different viewing geometry.

SPT152
PSF 180205a00002.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].
+++++++
SPT153
RELAB casf64
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPT153
RELAB bkr2sf064a
<45 µm; 30°/0°,30°; 0.3-50 µm; 1.2-475 nm resolution; merged RELAB+ Nicolet at 2.55 µm; note different viewing geometry.

SPT153
RELAB bkr1sf064a
<45 µm; 30°/0°,30°; 0.3-50 µm; 0.7-475 nm resolution; merged RELAB+ Nicolet at 1.3 µm; note different viewing geometry.

+++++++
SPT156
PSF 140406a.011
20-25 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406a.012
45-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406a.013
63-75 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406a.014
106-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406a.015
180-212 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT156
PSF 140406b.011
20-25 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406b.012
45-63 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406b.013
63-75 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406b.014
106-125 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406b.015
180-212 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT156
PSF 140406c.011
20-25 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406c.012
45-63 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406c.013
63-75 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406c.014
106-125 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406c.015
180-212 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT156
PSF 140406d.011
20-25 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406d.012
45-63 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406d.013
63-75 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406d.014
106-125 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406d.015
180-212 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT156
PSF 140406e.011
20-25 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406e.012
45-63 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406e.013
63-75 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406e.014
106-125 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT156
PSF 140406e.015
180-212 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT156
See section 29 for transmission spectra

+++++++
SPT158
PSF 080730a.002
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

+++++++
SPT160
PSF 140406a.006
20-25 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406a.007
45-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406a.008
63-75 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406a.009
106-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406a.010
180-212 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT160
PSF 140406b.006
20-25 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406b.007
45-63 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406b.008
63-75 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406b.009
106-125 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406b.010
180-212 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT160
PSF 140406c.006
20-25 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406c.007
45-63 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406c.008
63-75 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406c.009
106-125 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406c.010
180-212 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT160
PSF 140406d.006
20-25 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406d.007
45-63 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406d.008
63-75 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406d.009
106-125 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406d.010
180-212 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT160
PSF 140406e.006
20-25 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406e.007
45-63 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406e.008
63-75 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406e.009
106-125 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

SPT160
PSF 140406e.010
180-212 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

SPT160
See section 29 for transmission spectra

+++++++
SPT162
PSF 080619a.011
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SPT162
PSF 080619a.012
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SPT162
PSF 080619a.013
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SPT162
PSF 091026 spt162
<45 µm; 0°/0° (bifurcated fibres); 0.2-0.4 µm; ~0.3 nm resolution; 100 averaged; Ocean Optics S2000.
SPT162
PSF 100304a.010
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

SPT162
PSF 080125a.007
unsorted; room temp. spectrum; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD.
SPT162k
PSF 001

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 (Directory: 150826 carbon black mixtures).

SPT162k
PSF 004

unsorted powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

SPT162k
PSF 151104a.001
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

+++++++
SPT169

PSF 006

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 FTIR (Directory: 150826 carbon black mixtures).

SPT169

PSF 009

unsorted powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

SPT169

PSF 151104a.006
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

++++++


++++++SPT170 packing experiment spectra (160817)++++++

SPT170
PSF 160817a.006
<45 µm, regular packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT170
PSF 160817a.009
<45 µm, fluffy packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

SPT170
PSF 160817a.012
<45 µm, dense packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160817nomadexperiment].

++++++

SPT178
PSF 130221b.009
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221]. (see section 29 for sample in KBr disk transmission measurements).
SPT178
PSF B2S4
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130315_FTIR]. (see section 29 for sample in KBr disk transmission measurements).
+++SPT178: Grain size series – diffuse reflectance++++

ASD reflectance

SPT178
PSF 130411x.001; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




850-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.002; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




710- 850 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.003; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




600-710 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.004; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




500-600 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.005; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




355-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.006; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




300-355 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.007; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




250-300 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.008; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




212-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.009; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




90-212 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130411x.010; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




63-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130411].

SPT178
PSF 130416x.001; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




53-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130416].

SPT178
PSF 130416x.002; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




45-53 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130416].

SPT178
PSF 130416x.003; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




38-45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130416].

SPT178
PSF 130416x.004; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




25-38 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130416].

SPT178
PSF 130416x.005; where x=a,b,c,d,e,f,g,h,i,j,k,l,m,n,o




20-25 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; multiple shots [Directory: 130416].

++++++

Bruker Vertex 70 STIR reflectance

SPT178
PSF a_1 to o_1
850-1000 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_2 to o_2
710-850 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_3 to o_3
600-710 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_4 to o_4
500-600 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_5 to o_5
355-500 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_6 to o_6
300-355 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_7 to o_7
250-300 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_8 to o_8
212-250 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_9 to o_
90-212 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_10 to o_10
63-90 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_11 to o_11
53-63 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_12 to o_12
45-53 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_13 to o_13
38-45 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_14 to o_14
25-38 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
SPT178
PSF a_15 to o_15
20-25 µm; i=30°, e=0°; 10000 – 400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; 2x boxcar; Bruker Vertex 70; multiple runs [Directory: 130416_LongRuns].
++++++
SPT193
PSF 130723b.007
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

SPT193
PSF 130723b.008
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

+++++++
SPT194
PSF 130723b.011
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

SPT194
PSF 130723b.012
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 250 spectra averaged; ASD. (Directory: 130723 random minerals).

+++++++

SPT204
PSF 071212a.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++
SPT207
PSF 090421a.007
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

SPT207
PSF 050707spt207
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics.

SPT207
PSF 120707spt207
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics.

SPT207
PSF spt207
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics.

SPT207
PSF jun1407c.002
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.
SPT207
PSF jun1407c.003
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF jun1407c.004
90-250 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF jun1407c.005
250-500 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF jun1407c.006
500-1000 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF jun1407c.007
1000-2000 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF jun1407c.008
2000-4000 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF jun1407c.009
4000-6000 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SPT207
PSF 071212a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++
Meridianiite synthesis run and comparison

SPT300
PSF 080123a.032
unsorted; quick-melting slurry of probably meridianiite, water and epsomite; measured immediately after removal from -5°C freezer; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

SPT300
PSF 080123a.033
unsorted; more stable (close to stoichiometric) material, much less ice; measured immediately after removal from -5°C freezer; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

SPT300
PSF 080123a.034
unsorted; more stable (close to stoichiometric) material, much less ice; same as #.033; measured 2 minutes after removal from -5°C freezer; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

SPT300
PSF 080123a.035
unsorted; more stable (close to stoichiometric) material, much less ice; same as #.033; measured 4 minutes after removal from -5°C freezer; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

SPT300
PSF 080123a.036
unsorted; more stable (close to stoichiometric) material, much less ice; same as #.033; measured 6 minutes after removal from -5°C freezer; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD.

SPT301
PSF 13.006
unsorted; monohydrate (“kieserite”) made from heating of epsomite (SPT162); room temp. spectrum; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD.

+++++++

TOC001
RELAB lato02
<45 µm; i=30º, e=0º30º; 0.3-26 µm; 5, 1.3-29 nm resolution; merged RELAB+Nicolet; note change in viewing geometry.
++++++++++++++++++++++++++++++++++++

8d.a. Raman spectral Data - Sulphates
a. 160817 run

Variable (auto-set) integration times

SPT124
PSF spt124_experi
<45 µm, regular fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 5000 msec integration time; iRaman 532 nm.
SPT124
PSF spt124_experi_fluff

<45 µm, fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 15000 msec integration time; iRaman 532 nm.
SPT124
PSF spt124_experi_pressed
<45 µm, pressed packed (compacted, flat); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 10000 msec integration time; iRaman 532 nm.
SPT125
PSF spt125_experi
<45 µm, regular fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 33000 msec integration time; iRaman 532 nm.
SPT125
PSF spt125_experi_fluff

<45 µm, fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 35000 msec integration time; iRaman 532 nm.
SPT125
PSF spt125_experi_pressed
<45 µm, pressed packed (compacted, flat); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 40000 msec integration time; iRaman 532 nm.
SPT170
PSF spt170_experi
<45 µm, regular fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 3000 msec integration time; iRaman 532 nm.
SPT170
PSF spt170_experi_fluff

<45 µm, fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 8000 msec integration time; iRaman 532 nm.
SPT170
PSF spt170_experi_pressed
<45 µm, pressed packed (compacted, flat); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 5000 msec integration time; iRaman 532 nm.
b. 160829 run

Same integration time for each sample

SPT124
PSF spt124_reg
<45 µm, regular fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 2500 msec integration time; iRaman 532 nm.
SPT124
PSF spt124_fluff

<45 µm, fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 2500 msec integration time; iRaman 532 nm.
SPT124
PSF spt124_press
<45 µm, pressed packed (compacted, flat); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 2500 msec integration time; iRaman 532 nm.
SPT125
PSF spt125_reg
<45 µm, regular fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 33000 msec integration time; iRaman 532 nm.
SPT125
PSF spt125_fluff

<45 µm, fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 33000 msec integration time; iRaman 532 nm.
SPT125
PSF spt125_press
<45 µm, pressed packed (compacted, flat); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 33000 msec integration time; iRaman 532 nm.
SPT170
PSF spt170_reg
<45 µm, regular fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 3000 msec integration time; iRaman 532 nm.
SPT170
PSF spt170_fluff

<45 µm, fluffy packed (rough, stirred); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 3000 msec integration time; iRaman 532 nm.
SPT170
PSF spt170_press
<45 µm, pressed packed (compacted, flat); i=e=0°; 174-4000 cm-1; 4 cm-1 resolution; 3000 msec integration time; iRaman 532 nm.
+++++++
See also section 22.5 for iRaman 532 nm spectra of SPT125 and SPT178 taken without and through a sapphire window.

+++++++++++++++++++++++++++++
Testing of repairs on iRaman (November 2017)

Barium sulfate
PSF 171121 baso4.txt

packed powder; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

Gypsum slab

PSF 171121 gypsum slab.txt
slab; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

+++++++++++++

For Janice Bishop NH4 minerals:

SPT105
PSF 200129_532_008_SPT105_COARSEpowder.txtr
Coarse powder, unsorted [Directory: 200129 nh4].

+++++++++++++++++++++++++++++++++++++++++++++++++++
END of 8.

9. Oxides
9.1. Spinels
9.1a. Sample Descriptions - Spinels
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description






HER101
Hercynite: Sycamore Canyon, Cochise County, Arizona, USA (Dr. David Garske #G112a).

SPI101
Spinel: Salem District, Kangayam, Madras Province, India (Minerals Unlimited), single crystal; more received November 2017. 
SPI102
Spinel: Crestmore Quarry, Riverside County, California, USA (David Shannon Minerals), with melilite MEL101 in probe disc at least.

SPI112
Spinel, var. franklinite: Sterling Hill, New Jersey, USA (Tyson's Fine Minerals).

SPI113
Spinel, var. pleonaste: near Acaponeta, Nyarit, Mexico (Minerals Unlimited). [not a spinel by microprobe].
SPI114
Spinel, var. pleonaste: Anakie, Queensland, Australia (Minerals Unlimited); more received November 2017.
SPI115
Spinel, var. pleonaste: near Hawthorne, Lyon County, Nevada, USA (Minerals Unlimited). Intimately mixed with calcite and quartz(?).

SPI116
Spinel: Helena, Montana, USA (Minerals Unlimited).

SPI117
Spinel: Limecrest, New Jersey, USA (Minerals Unlimited). Intimately assoc. with calcite and mica; more received November 2017.
SPI118
Spinel, var. gahnite: near Stratford, Alleghany County, North Carolina, USA (Minerals Unlimited). In quartz with some limonitic staining.

SPI119
Spinel: Parker Mine, Notre Dame de Laus, Quebec, Canada (Tyson's Minerals and David Shannon Minerals).

SPI120
Spinel, var. franklinite: Franklin, Sussex County, New Jersey, USA (Minerals Unlimited and Excalibur Mineral Co.). Associated with calcite and willemite (WIL110).

SPI121
Spinel: Mogok, Burma (Carousel Gems and Minerals) [poor polish on probe disc; many little grains].

SPI122
Spinel: Sri Lanka (David Shannon Minerals). [poor polish on probe disc; many little grains].

SPI123
Spinel, var. gahnite: Otjozondjupa region, near Otjiva, Namibia (David Shannon Minerals). Crystals in chondrodite and biotite matrix.

SPI124
Spinel: Amity, Orange County, New York, USA (Excalibur Mineral Co.).

SPI125
Spinel, var. pleonaste: Kinkaid Siding, Mineral County, Nevada, USA (Excalibur Mineral Co.).

SPI126
Spinel: Ambatomaninty, Madagascar (Excalibur Mineral Co.).

SPI127
Spinel, var. galaxite: Bo Phloi, Kanchoutabori Province, Thailand (Excalibur Mineral Co.). [poor polish on probe disc].

SPI128
Spinel, var. galaxite: Bald Knob, Alleghany County, North Carolina, USA (Excalibur Mineral Co.). Too intimate and fine-grained to use.

SPI129
Spinel, var. nichromite: Bon Accord deposit, Barberton, South Africa. Microscopic grains, with trevorite (SPI130) in serpentine (Minerals Unlimited); too intimate to separate.

SPI130
Spinel, var. trevorite: Bon Accord deposit, Barberton, South Africa. With microscopic grains of nichromite (SPI129) in serpentine (Minerals Unlimited); too intimate to separate..

SPI131
Spinel, var. coulsonite: Buena Vista Hills, near Lovelock, Pershing County, Nevada. Microscopic, intergrown with magnetite and scapolite. (Minerals Unlimited); too intimate to separate.

SPI132
Spinel, var. magnesioferrite: Kaiserstuhl, Black Forest Germany. In calcite (Minerals Unlimited) (not enough to probe, but spectra of selected regions on whole rock may be possible).

SPI133
Spinel, var. Gahnite: Pyrite Mine, Charlmont, Massachusetts, USA (Excalibur Mineral Co.)

SPI134

Magnesioferrite: Langban, Vermland, Sweden; in calcite-dolomite matrix (MgFe3+2O4) (Minerals Unlimited); too intimate or sparse to separate.
SPI135
Spinel, raw crystals: pale pink to dark purple; 80 grams total [from Daaman Enterprises; Amazon] received Nov. 2023 (to separate by colour groups). Initial results: Looks like the darker sample has garnet, and the medium has a higher concentration of corundum than the light sample. All probably have Cr, which explain the variation in the Cr phosphorence peak in the VNIR data. The lighter grains are the purest.
+++++++++++++++++++++++++++++++

9.1a. Sample Descriptions - Spinels: Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	Coulsonite
	Spinel
	NCS DC 19003A


+++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1.x. SPINEL-TYPE MINERALS: Pseudonyms and Formulas
Most important end members are preceded by asterisk.
  (ALEXANDRITE)

BeAl2O4


Emerald-green chrysoberyl (Mason & Berry). Not a spinel.
  (ALMANDINE)

MgAl2O4


Violet spinel (Dana). Note: A garnet has the same name.

  AUTOMOLITE

ZnAl2O4


Pseudonym for gahnite (Dana).

* BALAS RUBY

MgAl2O4


Pale red variety of spinel (DH&Z).

  (BIXBYITE)

MnFe2O4


Black variety of braunite (Dana). Not a spinel.
  BRUNOGEIERITE
(Ge2+,Fe2+)Fe3+2O4

A recognized species (Fleischer).

  (CAT'S EYE)

BeAl2O4


Green chatoyant chrysoberyl (Dana). Also used for other minerals, not a spinel.
* CEYLONITE

MgAl2O4


Spinel with significant Fe2+ replacing Mg (DH&Z).

* CHLOROSPINEL
MgO(Al,Fe)2O3

Grass-green spinel due to Cu; Fe replaces Al (Dana).

  CHROMITE

Fe2+Cr2O4

An end member (DH&Z).

  (CHRYSOBERYL)

BeAl2O4


Spinel formula but olivine structure. Not a spinel. (Mason).

  COCHROMITE

(Co,Ni,Fe2+)(Cr,Al)2O4
A recognized species (Fleischer).

  COULSONITE

Fe2+V3+2O4

A recognized species (Fleischer).

  CUPROSPINEL

(Cu2+,Mg)Fe3+2O4

A recognized species (Fleischer).

  (CREDNERITE)

Cu3Mn4O9

A black variant of chrysoberyl (Dana). Not a spinel?
  (CYMOPHANE)

BeAl2O4


Pseudo-opalescent variety of chrysoberyl (Dana). Not a spinel?
  DYSLUITE

ZnAl2O4


A Zn-,Fe-, Mn-gahnite (Dana). Yellowish- to greyish-brown.

  FRANKLINITE

ZnFe3+2O4

An end member (DH&Z).

  GAHNITE

ZnAl2O4


An end member (DH&Z).

  GALAXITE

MnAl2O4


An end member (DH&Z).

  HAUSMANNITE

MnMn2O4

Distorted spinel structure (Mason).

* HERCYNITE

Fe2+Al2O4

An end member (DH&Z).

  (HETEROCLINE)

(Mn,Si)2O3

Impure braunite. Not a spinel. (Dana).

* JACOBSITE

MnFe3+2O4

An end member (DH&Z).

* KREITTONITE

ZnAl2O4


A Zn-, Fe-, Mg-gahnite; velvet- to greenish-black (Dana).

  MAGHEMITE

(y-Fe2O3)


Has spinel structure (DH&Z).

  MAGNESIOCHROMITE
MgCr2O4


An end member (DH&Z).

* MAGNESIOFERRITE
MgFe3+2O4

An end member (DH&Z).

  MAGNETITE

Fe2+Fe3+2O4

An end member (DH&Z).

  MANGAN-MAGNETITE
Fe2+Fe3+2O4

Magnetite with 4-6% Mn (Dana).

  MANGANO-CHROMITE
(Mn2+,Fe2+)(Cr3+,V3+)2O4  
A recognized species (Fleischer).

  (MARCELINE)

(Mn,Si)2O3

Impure braunite. Not a spinel. (Dana).

  (MINIUM)

Pb3O4


Var.(?) of chrysoberyl; red w/ yellow (Dana). Not a spinel.
  NICHROMITE

(Ni,Co,Fe2+)(Cr3+,Fe3+,Al)2O4 A recognized species (Fleischer).

* PICOTITE

MgAl2O4


Hercynite with appreciable Cr replacing Al. (DH&Z).

* PLEONASTE

MgAl2O4


Spinel with appreciable Fe2+ replacing Mg (DH&Z).

  (PSEUDOBROOKITE)
Fe2TiO5


Not a spinel (DH&Z). Uncertain composition (Dana).

* QANDILITE

(Mg,Fe2+)2(Ti,Fe2+,Al)O4
A recognized species (Fleischer).

* RINGWOODITE




An isostructural silicate (Fleischer).

* RUBICELLE

MgAl2O4


Yellow or orange-red spinel (Dana).

* RUBY SPINEL

MgAl2O4


Clear or reddish spinel (Dana).

* SPINEL

MgAl2O4


An end member (DH&Z).

* TREVORITE

NiFe3+2O4

An end member (DH&Z).

* ULVOSPINEL

Fe2+2TiO4


An end member (DH&Z).

* VUORELAINENITE
(Mn2+,Fe2+)(V3+,Cr3+)2O4
A recognized species (Fleischer).

  ZINCOCHROMITE
ZnCr3+2O4

A recognized species (Fleischer).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1b. XRD Data - Spinels
9.1b.1. Analog University of Alberta files
Sample

UofA file
Phases identified
HER101

Z03223

hercynite, synthetic

SPI101

Z03234

spinel
++++++++
9.1b.2. University of Manitoba Files:

HER101

XRD shows only hercynite, synthetic (JCPDS 3-0894D).

SPI101

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI112

XRD shows only franklinite (JCPDS 22-1012I).

SPI113

XRD shows diopside and albite (could it be basaltic glass?).

SPI114

XRD shows only hercynite, synthetic (JCPDS 3-0894D).

SPI115

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI116

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI117

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI118

XRD shows only gahnite, ferroan (JCPDS 12-0267D).

SPI119

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI120

XRD shows only franklinite, synthetic (JCPDS 22-1012I).

SPI121

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI122

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI123

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI124

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI125

XRD shows spinel, synthetic (JCPDS 21-1152), plus minor calcite (JCPDS 5-0586).

SPI126

XRD shows only spinel, synthetic (JCPDS 21-1152).

SPI127

XRD shows only hercynite, synthetic (JCPDS 34-0192).

SPI133

XRD shows only gahnite, synthetic (JCPDS 5-0669).

++++++++++++++++++++
UWinnnipeg XRD data

SPI135 – lightest-toned fraction:
spinel; minor corundum; trace quartz

SPI135 – medium-toned fraction: 
spinel; more corundum

SPI135 – darkest-toned fraction:
spinel; minor corundum; trace MgSiO3 garnet

++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1c. Compositional Data – Spinels (alphabetical)
Note: analyses provided in two alphabetically ordered sets below.

9.1c.1.  Larger analytical suite
Wt. %
HER101
HER101
SPI101*
SPI101
SPI102
SPI112


P2O5
 tr.
0.002
 n.d.

 0.00
  n.d.



Cr2O3
 0.05
0.03
 0.41

 0.06
  0.05



MnO
 0.12
0.07 
 0.00
0.0
 0.07
  4.68


TiO2
 0.67
0.61
 0.14

 0.01
  0.18



SiO2
 0.07
0.09
 0.38

 0.00
  0.06



Al2O3
59.84
61.78
70.33
70.3
70.51
  1.54

(FeO)1
(20.79)
(19.78)
(0.52)
(0.5)
(7.62)
(63.44)


FeO
15.18#

 0.52#

 n.d.
 0.00#

Fe2O3
 6.23#

 ~0.00#

 n.d.
70.50#

MgO
18.01
18.37
26.72
26.7
24.78
 0.35


Na2O
 0.03*
0.05
 n.d.

 n.d.
 n.d.



ZrO2
  0.00*
0.00
  n.d.

  n.d.
  n.d.



K2O
 0.00*
0.082
 n.d.

 n.d.
  n.d.



CoO
 0.04*
0.042
 0.09*

 n.d.
  n.d.



CaO
 0.00*
tr.
 0.02*

 n.d.
  0.02



NiO
 0.04*
0.06
 0.10*

 n.d.
  0.07



HfO2
 0.02*
0.002
 n.d.

 n.d.
  n.d.



V2O5
 0.14*
0.142
 0.13*

 n.d.
  n.d.



SnO
 0.00*
tr.3
 n.d.

 n.d.
  n.d.



ZnO
 n.d.

 1.03*
1.0
 n.d.
29.05


Nb2O5

0.02

Cl

0.032






TOTAL
100.44
101.22
99.87
98.5
103.05
106.50


NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
0.019

0.016

n.d.
0.000

Ti
0.105

0.020

0.002
0.040

Si
0.014

0.072

0.000
0.018

Cr
0.008

0.093

0.009
0.012

Al
14.654

15.841

15.820
0.532

Fe3+
0.974

0.000

n.d.
15.562

Mn
0.021

0.000

0.011
1.163

Fe2+
2.639

0.083

1.213
0.000

Mg
5.581

7.616

7.028
0.153

Co
0.006

0.014

n.d.
0.000

Ca
0.000

0.006

n.d.
0.007

Ni
0.006

0.015

n.d.
0.016

Na
0.013

n.d.

n.d.
0.000

Zn
0.000

0.146

n.d.
6.387

Total
24.040

23.922

24.083
23.890

Source
U of C
U of A
U of A
U of A
U of A
U of A

Analysis
EMPA-6
EMPA-2
EMPA-2
EMPA
EMPA-4
EMPA

#-Fe3+/Fetot from Dick Morris at NASA JSC - determined by Mossbauer. 

* - determined by electron microprobe at the University of Alberta.

1. (FeO): all Fe reported as FeO.

2. Single analytical point.

3. Average of 5 analytical points.

n.d.: not determined. tr.: trace (<0.01 wt.%).
U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1c. Compositional Data - Spinels (continued)
9.1c.1. larger analytical suite (continued)
Wt. %
SPI114
SPI114
SPI115
SPI115
P2O5
  n.d.

  n.d.

Cr2O3
  0.15
0.15
  0.00
0.00
MnO
  0.09^
0.10
  0.14^
0.10
TiO2
  0.58
0.58
  0.21
0.21
SiO2
  0.13
0.13
  0.01
0.01
Al2O3
61.82^
58.56
65.55^
61.81
(FeO)1
(18.00^)
(17.57)
 (6.61) 
(6.61)

FeO
14.04#

 3.17#


Fe2O3
 4.40#

 3.82#


MgO
18.56^
19.32
25.74^
25.93
Na2O
  0.01

  0.01

CaO
  0.00
0.00
  0.00
0.00
NiO
  0.19
0.19
  0.00
0.00
V2O5
  0.33
0.33
  0.00
0.00
ZnO
  0.14^
0.10
  0.08
0.08

TOTAL
100.44
97.03
98.73
94.76
NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
0.045

0.000

Ti
0.089

0.031

Si
0.026

0.002

Cr
0.025

0.000

Al
14.956

15.282

Fe3+
0.680

0.569

Mn
0.016

0.024

Fe2+
2.411

0.524

Mg
5.682

7.594

Co
0.000

0.000

Ca
0.000

0.000

Ni
0.031

0.000

Na
0.005

0.005

Zn
0.021

0.012


Total 
23.987

24.043


Source
U of C
U of M
U of C
U of M
Analysis
EMPA-4
EMPA-8
EMPA-4
EMPA-6


^: Determined by electron microprobe analysis at the University of Manitoba.

1. (FeO): all Fe reported as FeO.

n.d.: not determined.

#-Fe3+/Fetot from Dick Morris at NASA JSC - determined by Mossbauer. 

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1c. Compositional Data - Spinels (continued)
9.1c.1. Larger analytical suite (continued)
Wt. %
SPI116
SPI116
SPI117
SPI117
SPI118
SPI118
SPI119 
SPI119

P2O5
  n.d.

  n.d.

  n.d.

  n.d.


Cr2O3
  0.00
0.00
  0.15
0.15
  0.04
0.04
  0.06
0.06
MnO
  0.17^
0.24
  0.12^
0.10
  0.06^
0.08
  0.18^
0.15
TiO2
  0.00
0.00
  0.00
0.00
  0.13
0.13
  0.05
0.05
SiO2
<0.01
tr.
  0.00
0.00
<0.01
0.05
  0.01
0.01
Al2O3
69.22^
64.89
69.16^
64.87
56.64^
56.99
64.75^
61.43
(FeO)1
 (2.04^)
(1.52)
 (2.92^)
(3.08)
 (6.89^)
(6.68)
(12.27^)
(11.86)

FeO
 2.04#

 2.92#

 6.55#

 9.33#


Fe2O3
 ~0.00#

 0.00#

 0.38#

 3.27#


MgO
25.77^
25.94
24.54^
24.70
  1.77^
1.94
21.36^
21.75
Na2O
  0.04
0.04
  0.06
0.06
  1.16
1.16
<0.01
 0.01
ZrO2
  n.d.

  n.d.

  n.d

  n.d.
 

K2O
  n.d.

  n.d.

  n.d.

  n.d.
 

CoO
  n.d.

  n.d.

  n.d.

  n.d.
 

CaO
<0.01
tr.
  0.00
0.00
  0.04
0.04
<0.01
0.01
NiO
  0.00
0.00
<0.01
tr.
  0.09
0.09
  0.03
0.03
V2O5
  0.00
0.00
  0.06
0.06
  0.36
0.36
  0.04
0.04
SnO
  n.d.

  n.d.

  n.d.

  n.d.


ZnO
  1.92^
1.17
  2.56^
2.13
33.31^
34.71
  0.92^
0.84

TOTAL
99.17
93.80
99.58
95.14
100.53
102.23
100.01
96.24
NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
0.000

0.007

0.056

0.005

Ti
0.000

0.000

0.023

0.008

Si
0.000

0.000

0.000

0.002

Cr
0.000

0.024

0.008

0.010

Al
15.907

15.940

15.778

15.367

Fe3+
0.000

0.000

0.067

0.495

Mn
0.028

0.020

0.011

0.030

Fe2+
0.333

0.477

1.296

1.572

Mg
7.495

7.158

0.624

6.415

Co
0.000

0.000

0.000

0.000

Ca
0.000

0.000

0.007

0.000

Ni
0.000

0.000

0.017

0.005

Na
0.014

0.023

0.531

0.000

Zn
0.277

0.369

5.813

0.137



Total 
24.054

24.018

24.231

24.046



Source
U of A
U of M
U of A
U of M
U of A
U of M
U of A
U of M
Analysis
EMPA-4
EMPA-6
EMPA-4
EMPA-6
EMPA-4
EMPA-6
EMPA-4
EMPA-6
1. (FeO): all Fe reported as FeO.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

^: Determined by electron microprobe analysis at the University of Manitoba.

n.d.: not determined. tr.: trace (<0.01 wt.%).
#-Fe3+/Fetot from Dick Morris at NASA JSC - determined by Mossbauer. 

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.1. Larger analytical suite (continued)
Wt. %
SPI120 
SPI120
SPI121
SPI122

P2O5
  n.d.

  n.d.
  n.d.

Cr2O3
  0.08

  0.19
  0.25

MnO
 11.15^
12.8
  0.02^
  0.02^

TiO2
   0.05

  0.00
  0.00

SiO2
  0.04

  0.00
  0.00

Al2O3
  1.01^
1.0
69.88^
70.84^

(FeO)1
(55.70^)
(57.4)
 (0.16^)
 (0.22^)

FeO
 0.00#

 n.d.
 n.d.

Fe2O3
61.90#

 n.d.
 n.d.

MgO
  0.30^
 0.4
27.76^
27.73^

Na2O
  n.d.

  n.d.
  n.d.

ZrO2
  n.d.

  n.d.
  n.d.

K2O
  n.d.

  n.d.
  n.d.

CoO
  n.d.

  n.d.
  n.d.

CaO
  0.02

  0.00
  0.00

NiO
   0.13

  0.00
  0.00

V2O5
   n.d.

  n.d.
  n.d.

SnO
   n.d.

  n.d.
  n.d.

ZnO
 21.70^
26.0
  0.55^
  0.33^

TOTAL
96.38

98.56
99.39

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
n.d.    

n.d.
n.d.

Ti
0.013

0.000
0.000

Si
0.013

0.000
0.000

Cr
0.021

0.029
0.038

Al
0.389

15.903
15.966

Fe3+
15.219

0.000
0.000

Mn
3.086

0.004
0.003

Fe2+
0.000

0.026
0.036

Mg
0.145

7.994
7.909

Co
0.000

0.000
0.000

Ca
0.008

0.000
0.000

Ni
0.033

0.000
0.000

Na
0.000

0.000
0.000

Zn
5.234

0.079
0.047

Total 
24.161

24.035
23.999

Source
U of A
U of A
U of A
U of A


Analysis
EMPA-4
EMPA
EMPA-2
EMPA-2

1. (FeO): all Fe reported as FeO.

^: Determined by electron microprobe analysis at the University of Manitoba.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

n.d.: not determined.

#-Fe3+/Fetot from Dick Morris at NASA JSC - determined by Mossbauer. 

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1c. Compositional Data - Spinels (continued)
9.1c.1. Larger analytical suite (continued)
Wt. %
SPI123
SPI123
SPI124
SPI124
SPI125
SPI125

P2O5
  n.d.

  n.d.

  n.d.


Cr2O3
  0.11
0.10
  0.03
0.03
  0.02
0.02
MnO
  0.33^
0.33
  0.09^
0.08
  0.16^
0.14
TiO2
  0.04
0.04
  0.02
0.02
  0.43
0.43
SiO2
  0.01
0.01
  0.01
0.01
  0.05
0.05
Al2O3
65.79^
62.31
67.85^
64.19
65.30^
61.46
(FeO)1
(13.21^)
(13.00)
 (7.24^)
(7.10)
 (7.18^)
(7.08)

FeO
12.42#

 6.88#

 3.59#


Fe2O3
 0.88#

 0.40#

 3.98#


MgO
19.10^
19.38
22.49^
22.76
25.90^
25.66
Na2O
  0.01
0.01
  0.03
0.03
<0.01
tr.
ZrO2
  n.d.

  n.d.

  n.d.


K2O
  n.d.

  n.d.

  n.d.


CoO
  n.d.

  n.d.

  n.d.


CaO
  0.01
0.01
  0.00
0.00
  0.00
0.00
NiO
  0.02
0.02
<0.01
tr.
<0.01
tr.
V2O5
  n.d.
0.08
  n.d.
0.03
  n.d.
0.00
SnO
  n.d.

  n.d.

  n.d.


ZnO
  0.84^
 0.79
  1.57^
 1.35
  0.05^
 0.08

TOTAL
99.56
96.07
99.37
95.60
99.48
94.94
NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
n.d.

n.d.

n.d.

Ti
0.006

0.003

0.064

Si
0.002

0.002

0.010

Cr
0.018

0.005

0.003

Al
15.771

15.888

15.153

Fe3+
0.134

0.060

0.590

Mn
0.057

0.016

0.027

Fe2+
2.114

1.144

0.592

Mg
5.794

6.665

7.606

Co
0.000

0.000

0.000

Ca
0.002

0.000

0.000

Ni
0.003

0.000

0.000

Na
0.005

0.012

0.000

Zn
0.126

0.231

0.007


Total 
24.032

24.026

24.052


Source
U of A
U of M
U of A
U of M
U of A
U of M
Analysis
EMPA-4
EMPA-9
EMPA-4
EMPA-6
EMPA-2
EMPA-3


1. (FeO): all Fe reported as FeO.

^: Determined by electron microprobe analysis at the University of Manitoba.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined. tr.: trace (<0.01 wt.%).
#-Fe3+/Fetot from Dick Morris at NASA JSC - determined by Mossbauer. 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.1. Larger analytical suite (continued)
Wt. %
SPI126
SPI126
SPI127
SPI127
SPI133
SPI133

P2O5
  n.d.

  n.d.

  n.d.

Cr2O3
  0.04
0.04
  0.23
0.23
  0.00
0.00
MnO
  0.18^
0.17
  0.15^
0.13
  0.08
0.08
TiO2
  0.03
0.03
  0.68
0.68
  0.01
0.01
SiO2
  0.02
0.02
  0.13
0.13
  0.00
0.00
Al2O3
64.68^
59.00
61.29^
57.29
56.05
56.05
(FeO)1
(13.83^)
(16.26)
(17.97^)
(18.05)
 (6.18)
(6.18)

FeO
12.03#

12.58#

 5.31#


Fe2O3
 2.00#

 5.98#

 0.96#


MgO
19.11^
18.95
19.37^
19.30
  0.00
0.00
Na2O
  0.01
0.01
  0.00
0.00
  0.00
0.00
ZrO2
  n.d.

  n.d.

  n.d.

K2O
  n.d.

  n.d.

  n.d.

CoO
  n.d.

  n.d.

  n.d.

CaO
<0.01
tr.
  0.00
0.00
<0.01

NiO
  0.03
0.03
  0.20
0.20
  0.00
0.00
V2O5
  n.d.
0.00
  n.d.
0.34
  n.d.
0.00
SnO
  n.d.

  n.d.

  n.d.

ZnO
 1.08^
0.95
  0.14^
 0.13
37.49
37.49

TOTAL
99.21
95.47
100.75
96.47
99.90
99.80
NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
n.d.

n.d.

n.d.

Ti
0.005

0.104

0.002

Si
0.004

0.026

0.000

Cr
0.007

0.037

0.000

Al
15.608

14.774

15.968

Fe3+
0.356

0.983

0.187

Mn
0.031

0.026

0.016

Fe2+
2.013

2.089

1.062

Mg
5.836

5.909

0.000

Co
0.000

0.000

0.000

Ca
0.000

0.000

0.000

Ni
0.005

0.033

0.000

Na
0.005

0.000

0.000

Zn
0.164

0.021

6.692


Total 
24.033

24.003

23.926


Source
U of A
U of M
U of A
U of M
U of A
U of M
Analysis
EMPA-2
EMPA-3
EMPA-1
EMPA-3
EMPA
EMPA-9


1. (FeO): all Fe reported as FeO.

^: Determined by electron microprobe analysis at the University of Manitoba.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined. tr.: trace (<0.01 wt.%).
#-Fe3+/Fetot from Dick Morris at NASA JSC - determined by Mossbauer. 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite
Wt.%
SPI110
SPI110
SPI112
SPI113
SPI114
SPI114

1st run
2nd run


1st run
2nd run


SiO2
tr.
0.02
0.05
69.95
0.16
0.13

TiO2
0.00
0.00
0.18
0.00
0.40
0.47

Al2O3
0.01
0.02
1.54
8.29
57.14
56.57

Cr2O3
tr.
tr.
0.06
0.00
0.57
0.01

(FeO)1
0.90
0.78
63.44
5.11
15.85
18.45

MnO
68.67
55.61
4.68
tr.
0.11
0.11

MgO
tr.
0.07
0.36
0.00
19.56
18.32

CaO
tr.
0.01
0.02
0.04
0.00
0.00

NiO
0.00
0.01
0.07
0.00
0.27
0.19

ZnO
tr.
0.03
29.05
0.00
0.14
0.10

TOTAL
69.59
56.54
99.45
83.39
94.20
94.35

Source
U of A
U of A
U of A
U of A
U of A
U of A

Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6
EMPA-6
EMPA-6


1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

SPI110 and SPI114 analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI115
SPI115
SPI116
SPI116

1st run
2nd run
1st run
2nd run

SiO2
0.03
0.03
0.02
tr.




TiO2
0.20
0.16
0.00
0.00




Al2O3
58.54
60.95
62.66
64.40




Cr2O3
0.00
0.00
0.00
0.00



(FeO)1
7.01
6.82
2.91
1.14



MnO
0.16
0.12
0.13
0.35



MgO
25.02
25.30
25.36
25.16




CaO
0.00
0.00
0.00
0.00




NiO
0.00
tr.
0.00
0.00




ZnO
0.07
0.05
0.65
1.44


TOTAL
91.03
93.43
91.73
92.49


Source
U of A
U of A
U of A
U of A


Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6




1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI117
SPI117
SPI118
SPI118


1st run
2nd run
1st run
2nd run


SiO2
0.02
tr.
tr.
0.04




TiO2
57.64
tr.
0.00
0.11




Al2O3
0.01
62.85
54.17
54.85




Cr2O3
0.04
0.14
0.02
0.05




(FeO)1
23.83
3.13
7.46
7.81




MnO
1.36
0.11
0.08
0.15




MgO
14.97
23.91
1.73
1.98




CaO
0.01
tr.
0.00
0.04




NiO
0.05
tr.
tr.
0.14




ZnO
0.03
2.24
34.57
34.22


TOTAL
97.96
92.38
98.03
99.39


Source
U of A
U of A
U of A
U of A


Analysis
EMPA-6
EMPA-6
EMPA-5
EMPA-5





1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI119
SPI119
SPI120
SPI120



1st run
2nd run
1st run
2nd run


SiO2
0.00
0.01
0.05
0.10




TiO2
0.00
0.04
0.05
0.20




Al2O3
57.65
59.50
1.03
1.00




Cr2O3
0.02
0.04
0.08
0.10




(FeO)1
12.02
12.10
57.37
58.80




MnO
0.11
0.18
12.84
12.47




MgO
20.17
20.97
0.36
0.36




CaO
0.00
tr.
0.02
0.06




NiO
0.00
0.02
0.12
0.24




ZnO
0.82
0.90
26.05
26.75


TOTAL
90.79
93.76
97.97
100.08


Source
U of A
U of A
U of A
U of A


Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6





1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI121
SPI121
SPI122
SPI122



1st run
2nd run
1st run
2nd run


SiO2
0.00
0.00
0.00
0.00




TiO2
0.00
0.00
0.00
0.00




Al2O3
62.53
55.76
62.05
56.58




Cr2O3
0.19
0.31
0.25
0.26




(FeO)1
0.00
0.03
0.00
0.00




MnO
0.00
0.00
0.00
0.00




MgO
26.17
22.91
26.01
23.06




CaO
0.00
0.00
0.00
0.00




NiO
0.00
0.00
0.00
0.00




ZnO
0.38
0.31
0.22
0.16


TOTAL
89.27
79.32
88.53
80.06


Source
U of A
U of A
U of A
U of A


Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6





1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI123
SPI123
SPI124
SPI124



1st run
2nd run
1st run
2nd run


SiO2
0.00
0.00
tr.
0.01




TiO2
0.00
0.00
0.03
0.02




Al2O3
59.70
60.24
62.13
62.68




Cr2O3
0.00
0.00
0.02
tr.



(FeO)1
12.97
13.18
7.28
7.32



MnO
0.17
0.19
0.06
0.05




MgO
18.11
18.60
21.24
21.87




CaO
0.00
0.00
tr.
0.00




NiO
0.00
0.00
0.00
0.01




ZnO
0.72
0.73
1.37
1.37


TOTAL
91.67
92.94
92.13
93.33


Source
U of A
U of A
U of A
U of A


Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6




1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI125
SPI125
SPI126
SPI126



1st run
2nd run
1st run
2nd run


SiO2
0.01
0.06
tr.
0.02




TiO2
0.25
0.37
0.06
0.03




Al2O3
61.32
59.64
60.84
59.63




Cr2O3
0.01
tr.
0.06
0.02




(FeO)1
6.59
7.24
13.40
15.20




MnO
0.18
0.15
0.21
0.18




MgO
24.45
24.98
18.98
19.23




CaO
0.00
0.00
0.00
tr.




NiO
tr.
0.01
0.03
0.04




ZnO
0.05
0.05
0.94
1.09


TOTAL
92.86
92.50
94.52
95.44

Source
U of A
U of A
U of A
U of A


Analysis
EMPA-6
EMPA-6
EMPA-6
EMPA-6





1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.2. Smaller analytical suite (continued)
Wt.%
SPI127
SPI127


1st run
2nd run


SiO2
0.12
0.14






TiO2
0.56
0.53






Al2O3
56.21
55.60






Cr2O3
0.19
0.20






(FeO)1
17.90
18.62






MnO
0.13
0.13






MgO
18.67
18.73






CaO
tr.
tr.






NiO
0.20
0.23






ZnO
0.11
0.06


TOTAL
94.09
94.24


Source
U of A
U of A


Analysis
EMPA-6
EMPA-6







1. (FeO)1: All Fe reported as FeO.

U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated.

Samples analyzed in two runs.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.1c. Compositional Data - Spinels (continued)
9.1c.3. Compositional Data - Spinels: Fe+3/FeTot (ferric iron/total iron) from Dick Morris using Mossbauer spectroscopy.
Sample
Ferric/Total iron
HER101
0.27

SPI101
<0.02 (too little Fe for a good measurement)

SPI112
1.00

SPI114
0.22

SPI115
0.52

SPI116
<0.10 (too little Fe for a good measurement)

SPI117
0.00

SPI118
0.05

SPI119
0.24

SPI120
1.00

SPI121
(too little Fe?)

SPI122
(too little Fe?)

SPI123
0.06

SPI124
0.05

SPI125
0.50

SPI126
0.13

SPI127
0.30

SPI133
0.14



To use these values, we multiply the total FeO number in the sample by the percentage that is ferric (from the Mossbauer) and by 1.1113 to allow for the extra oxygen this entails.

As an example, consider HER101. It has 20.79% FeO as determined by FeO, and a ferric/total iron ratio of 0.27.

Therefore we break this total down as follows:

(1-0.27) * 20.79% FeO = 0.73 * 20.79 = 15.18% FeO

0.27 * 20.79% FeO * 1.1113 = 6.24% Fe2O3.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1c. Compositional Data - Spinels (continued)
	
	Dark
	Light
	Medium

	Specimen
	SPI-135
	SPI 135
	SPI 135

	Wt. %
	
	
	

	SiO2
	7.51
	3.73
	1.74

	TiO2
	0.65
	0.11
	0.14

	Al2O3
	62.20
	68.07
	73.05

	Fe2O3T
	4.78
	0.73
	0.64

	MnO
	0.19
	0.02
	0.02

	MgO
	23.46
	26.56
	23.60

	CaO
	0.40
	0.25
	0.07

	Na2O
	0.07
	0.13
	0.09

	K2O
	0.01
	0.02
	0.01

	P2O5
	0.03
	0.00
	0.01

	Total
	99.30
	99.62
	99.37

	LOI
	0.46
	0.58
	0.68

	FeO
	4.19
	0.33
	0.47

	Fe2O3
	0.12
	0.36
	0.12

	ppm
	
	
	

	Rb
	<3
	3
	<3

	Sr
	<3
	3
	4

	Zr
	27
	13
	99

	Cr
	7116
	2873
	6258

	V
	1820
	830
	1294

	Ba
	22
	20
	25

	Source
	Mertzman

XRF/WC
	Mertzman

XRF/WC
	Mertzman

XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.1d. Spectral Data - Spinels
Sample
Facility/File No.  
Description








HER101
RELAB C1SC74
<45µm, 0/15, 0.3-2.7µm, 5 nm.

HER101
RELAB CASC74
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

HER101
RELAB LASC74
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI101
RELAB C1SC75
<45µm, 0/15, 0.3-2.7µm, 5 nm.

SPI101
RELAB CASC75
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

++++++

SPI112
RELAB LASC75
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

SPI112
RELAB CASP12
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI112
RELAB LASP12
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++

SPI113
RELAB CASP13
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI113
RELAB LASP13
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI114
RELAB CASP14
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI114
RELAB LASP14
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI115
RELAB CASP15
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI115
RELAB LASP15
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI116
RELAB CASP16
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI116
RELAB LASP16
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI117
RELAB CASP17
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI117
RELAB LASP17
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI118
RELAB CASP18
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI118
RELAB LASP18
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI119
RELAB CASP19
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI119
RELAB LASP19
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI120
RELAB CASP20
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI120
RELAB LASP20
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI121
RELAB CASP21
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI121
RELAB LASP21
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI122
RELAB CASP22
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI122
RELAB LASP22
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

++++++

SPI123
RELAB CASP23
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI123
RELAB LASP23
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet), note different viewing geometries.

SPI123
PSF 170215a.011
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170215 clays].

++++++

SPI124
RELAB CASP24
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI124
RELAB LASP24
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++

SPI125
RELAB CASP25
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI125
RELAB LASP25
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++

SPI126
RELAB CASP26
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI126
RELAB LASP26
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++

SPI127
RELAB CASP27
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI127
RELAB LASP27
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++

SPI133
RELAB CASP33
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

SPI133
RELAB LASP33
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 9.1.
9. Oxides 
9.2. Magnetites 

9.2a. Sample Descriptions - Magnetites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description









MAG101
Magnetite: Jacupiranga Mine, Sao Paulo State, Brazil (Nature's Treasures), with apatite APA102.

MAG102
Magnetite: Utah, USA (Green's Rock Shop).

MAG103
Magnetite: Langesundfjord, Norway (Minerals Unlimited). In nepheline syenite.

MAG104
Magnetite: from 2500' level, ZCA #4, Balmet, New York, USA (David Shannon).

MAG105
Magnetite: 100 km west of Bangui, Central African Republic (David Shannon).

MAG106
Magnetite: Christie Mine, San Benito County, California, USA. In dolomite; separated w/ HCl (David Shannon).

MAG107
Magnetite: near the Dallas Gem Mine, San Benito County, California, USA (on serpentine: SRP124) (Minerals Unlimited; more received June 2013). [poorly polished, no usable probe results]. Large lot received December 2018; last available piece received Jan. 2/20.
MAG108
Magnetite: Marble Mountains, San Bernardino County, California, USA (Minerals Unlimited).

MAG109
Magnetite, variety lodestone: Magnet Cove, Hot Spring County, Arkansas, USA (Minerals Unlimited).

MAG110
Magnetite: Grangesberg, Sweden (Minerals Unlimited).

MAG111
Magnetite: Oka, Quebec, Canada (Minerals Unlimited). 

MAG112
Magnetite: Gladhammar, Sweden (Minerals Unlimited).

MAG113
Magnetite: Republic, Marquette County, Michigan, USA (Minerals Unlimited).

MAG114
Magnetite: Las Piedras Mine, Barrio Junta, Puerto Rico, USA (with malachite) (Minerals Unlimited).

MAG115
Magnetite (sand): Walker Mine, Mother Lode District, California, USA (Minerals Unlimited).[poorly polished probe disc, no usable probe results; there are sulphur bearing phases in the probe disc as well].

MAG116
Magnetite: Evje, Norway (Minerals Unlimited). [not a magnetite by probe; sample has a bit of magnetite only].
MAG117
Magnetite: Washington County, Utah, USA (Minerals Unlimited).

MAG118
Magnetite: Glacier National Park, Montana, USA (with pyroxene (too sparse)) (Minerals Unlimited).

MAG119
Magnetite: Gabbs, Nye County, Nevada, USA (Minerals Unlimited).
MAG120
Magnetite, var. lodestone: Great Western Mine, Iron Mountain, west of Cedar City, Iron County, Utah, USA (Minerals Unlimited). [lousy finish on probe disc, there are also some silicates in the disc mount]. 4 large pieces received December 2018.
MAG121
Magnetite: Tilly Foster Mine, Brewster, Putnam County, New York, USA (Minerals Unlimited); 2 kg (impure) received Mar. 2022.

MAG122
Magnetite: Franklin, Sussex County, New Jersey, USA (with willemite) (Minerals Unlimited).[some calcium-bearing phases also come up during probing].
MAG123
Magnetite: Espanola, Ontario, Canada (National Museum of Nature, Ottawa).

MAG124
Magnetite: locality unknown (Manitoba Rock and Mineral Show).
MAG125
Magnetite – polished beads: 1.5 kg (Tucson Rock and Gem Show – February 2018).

MAG126
Magnetite: “Magnetite specimen from Canada (Iron ore metal rock) Metallic stone, 1/2 lb”. ~10 black metallic chunks with conchoidal fractures. From Ebay; 2-1018 2nd Ave. W., Shelburne, ON L9V 2X2.
MAG127
Magnetite: “Magnetite iron ore 1 kg”; bag of fine (sub-mm) powder. Ebay.

MAG128
Magnetite: Described as: "natural" magnetite from Inoxia. 500 grams. Mined and processed in Sweden. 95% <75 micron particle size. Particle shape: irregular, low aspect ratio. >98.1% Fe3O4, <0.3% SiO2; CAS: 1309-38-2. Purchased via Amazon (received Dec. 2019).
MAG129
Magnetite: “largest size magnetite crystals from Brazil; 27 pieces, 45 grams”. Octahedra, some with slight rust. From Dale Young, purchased on E-Bay (December 2019).

MAG130
Magnetite: 7 pieces black lodestone magnetite, tumbled stone Wicca, Message Crystal Healing Reiki. Ordered from Amazon, Germany Postfach 2007, 36243 Niederaula (Received Jan. 2019); 158 grams.
MAG200
Magnetite – nanopowder; synthetic (“Iron oxide (Fe3O4) Nanopowder”) (MTI Corporation); 20 nm particle size; SOL-GEL manufacturing method; 99.5% purity, crystalline; >60 m2/g specific surface area; 100 grams; certificate of analysis provided. [“Fe3O4-alpha nanopowder is stable in air”]; received June 8, 2010. VNIR reflectance, Raman, IR transmittance show this to be some combination of nano Fe-oxides that are not magnetite. The Raman spectra seem to be most consistent with the nanophase hematite presented by Sklute et al., (2017) on their work on the spectral properties of synthetic nanophase iron oxides, but some peaks appear to be consistent with goethite, akaganeite, and lepidocrocite. There is no indication of magnetite or maghemite from the Raman spectra. The XRD patterns of MAG200 do not show any of these other oxide phases but are consistent with either maghemite/magnetite due to the very wide peaks induced by the nano particles sizes. Differentiation between the two is not possible with these XRD patterns. The IR transmittance spectra are equally ambiguous, but do not appear to be at all consistent with maghemite/magnetite. The transmittance spectra appear to be most consistent with akaganeite, but there is no good match. The VNIR reflectance look like a definitive match to maghemite in comparison to all the Fe nanophase oxides presented by Sklute et al., (2017). As such, it may be that these very small (20 nm) nanophase iron oxide particles are some complex combination of "core" iron oxides with a "shell" of maghemite, or some variation of that model. By Raman, reflectance, IR transmission, MAG200 shows maghemite. Most nano- Fe oxides are some form of the "core" + "shell" thing of different phases, I think. I'm pretty sure for this reason that nano magnetite powders are either impossible or extremely difficult to produce, as they end up being volumetrically dominated by maghemite. The XRD peaks are broad because the crystallites are nanophase. Normal grain size magnetite and maghemite have sharp peaks.
MAG202
Magnetite – synthetic [Fe3O4] – Iron (II,III) powder; 97%; -325 mesh. Anachemia/Alfa Aesar: 12374; lot: P29D011; (AA12374A1); 1 kg; received October 2017.

MAG203
Magnetite – synthetic black iron oxide [Fe3O4], as-received: <45 µm (725410; 978229); from Alpha Chemicals, 1 pound; received Nov, 27/19.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.2b. XRD Data - Magnetites
9.2b.1. University of Alberta analogue XRD files

Sample
File
Phases identified
MAG101
Z03221
Magnetite, synthetic
+++++++++++++++++++++++++++

9.2b.2. University of Winnipeg XRD files

MAG102
Magnetite, hematite
MAG103
Magnetite, ilmenite (Mn-rich?)
MAG104
Magnetite, hematite
MAG105
Magnetite, hematite
MAG106
Magnetite, hematite

MAG107
Magnetite
MAG108
Magnetite, hematite
MAG109
Magnetite, hematite
MAG111
Magnetite
MAG112
Magnetite
MAG113
Magnetite, hematite, ?
MAG114

MAG116
Magnetite, diopside
MAG117
Magnetite, hematite, goethite
MAG118
Magnetite, hematite, quartz
MAG119

MAG120
Magnetite, hematite, goethite
MAG121
Magnetite
MAG122
Magnetite, willemite
MAG125
Magnetoplumbite

MAG127
Magnetite (major), minor ilmenite, trace hematite

MAG128
Only magnetite; diffraction peaks are much narrower than for MAG203 suggesting absence of maghemite; no trace of hematite.

MAG200
Magnetite (broad peaks)
MAG202
Magnetite, trace wustite and graphite (Nov. 2017 run); spectrally a possible mix of magnetite and maghemite.
MAG203
Magnetite/maghemite and trace hematite.

++++++++++++++++++++++++++++++++++++++++++++++++
EDS/SEM analysis (Dec. 2019)

MAG125
Fe-Ti-Ba oxide; Ba could be high; maybe no Pb. 

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.2c. Compositional Data – Magnetites (alphabetical order)
Wt.%
MAG101
MAG101
MAG101
MAG101
MAG101
MAG101
P2O5

0.00


0.01
0.73
TiO2
2.11
3.17
3.30
4.99
3.04
4.37
FeO
83.631
86.091


26.522
24.373
Fe2O3




63.712
58.873
Fe2O3T





(85.95)

Na2O
0.00
0.44



0.00
SiO2
0.03
0.29
0.03
0.03
0.00
Cr2O3
0.00
0.00


0.03
CoO
0.00
0.00


0.00*
MgO
4.20
3.21
3.45
1.94
3.63
5.03
K2O
0.00
0.02


0.00*
0.01
MnO
0.66
1.09


0.60
0.69
NiO
0.01
0.00


0.00*
ZnO

0.00

Al2O3
0.53
0.37
1.67
0.31
0.33
0.40
V2O5

0.35


0.36*
CaO
0.00
0.00
0.03
0.04
0.00*
1.15

TOTAL
91.17
95.03


98.23
99.50
LOI





1.52

ppm: 

Sr





5

Zr





11

V





1439

Cr





<2
Source
U of A
U of A
U of A
U of A
U of C
Mertzman
Analysis
EMPA-1
EMPA-2
EMPA-4
EMPA-2
EMPA-6
XRF/WC
1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at the Univ. of Alberta, and Fe2O3 taken as difference between total Fe and FeO.
3. FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

U of A: electron microprobe analysis at the University of Alberta. 

* EMPA results from U of A.
LOI: loss on ignition: weight loss after heating in air at 950°C for one hour.

Fe2O3T: all Fe reported as Fe2O3. Total reported with all iron as Fe2O3.
XRF/WC: determined by X-ray fluorescence and wet chemistry (for Fe2+ and Fe3+).
++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Wt. %
MAG102
MAG102^
MAG103^
MAG103
MAG104
MAG105   MAG106
P2O5
n.d.


  n.d.
  n.d.
  n.d.
 n.d.


Cr2O3
  0.01
0.08
0.08
<0.01
  0.02
<0.01
 0.27

MnO
  0.06
0.17
0.57
2.00
  0.08
  0.06
 0.53

TiO2
  0.04
0.21
1.73
7.28
  0.01
  0.01
 4.55

SiO2
  0.00
2.30
0.13
0.00
  0.00
  0.00
 0.00

Al2O3
  0.38
0.48
0.16
0.43
  0.02
  0.03
<0.01

(FeO)1
 (88.546)
(88.05)
(90.73)
(83.131)
(88.941)
(92.36)
(86.82)
FeO2
28.37


28.80
29.443
29.823

Fe2O32
66.88


60.38
56.223
59.223
MgO
  0.61
0.36
0.00
<0.01
  0.13
  0.01
0.35

Na2O
  0.00


0.00
  0.00
  0.00
0.00

K2O
  n.d.


n.d.
  n.d.
  n.d.
n.d.

CoO
  n.d.


n.d.
  n.d.
  n.d.
n.d.

CaO
  0.00
0.42
0.06
0.00
  0.00
  0.00
0.00

NiO
  0.03
0.23
0.21
<0.01
  0.00
  0.00
0.06

V2O5
  0.17


0.05
  0.03
  0.03
0.26

ZnO
  0.03
0.04
0.08
0.42
  3.80
  0.00
<0.01


TOTAL
96.58
92.34
93.75
99.37
93.03
92.49
92.84


Source

U of M
U of A
U of A
U of M
U of M
U of M
U of M


Analysis
EMPA-12
EMPA-6
EMPA-6
EMPA-9
EMPA-6
EMPA-6
EMPA-5

1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at University of Alberta; Fe2O3 taken as difference between total and ferrous iron.

3. FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined.

* = University of Alberta EMPA analysis.
^ = sample analyzed in two runs.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Specimen

MAG103
MAG104
MAG105
MAG108
MAG109
MAG110

Wt.%









SiO2

3.00
0.64
0.80
1.95
0.97
0.90

TiO2

7.68
0.10
0.28
0.05
7.25
0.01

Al2O3

1.77
0.34
0.47
0.48
2.58
0.58

FeO

28.15
30.33
29.23
22.02
20.14
22.69

Fe2O3

51.95
64.42
65.68
70.16
60.40
72.27

Fe2O3T

83.23
98.13
98.16
94.63
82.78
97.49

MnO

2.43
0.06
0.13
0.19
1.34
0.20

MgO

0.20
0.05
0.11
2.10
3.72
0.09

CaO

0.45
0.09
0.06
0.26
0.08
0.37

Na2O

0.31
0.02
0.00
0.00
0.00
0.00

K2O

0.13
0.01
0.01
0.01
0.01
0.03

P2O5

0.02
0.01
0.01
0.01
0.06
0.26

Total

99.22
99.45
100.03
99.68
98.79
99.93

LOI

1.17
0.93
0.35
1.07
0.54
1.24

Ppm:








Sr

<2
<2
<2
<2
8
<2

Zr

15
18
<2
12
225
<2

V

142
215
206
11
1678
199

Cr

<2
<2
<2
6
<2
<2



828ppm


 As2O3



0.25% 






SO3



Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman



XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

1. (Fe2O3)T: all Fe reported as FeO.

FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

n.d.: not determined.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Wt. %
MAG107
MAG108
MAG109
MAG110
MAG111
MAG112
MAG113
MAG114
P2O5

  n.d.
  n.d.
  n.d.

  n.d.
  n.d.
  n.d.


Cr2O3

<0.01
  0.00
<0.01
 0.01
  0.01
<0.01
<0.01

MnO

 0.24
  1.77
  0.24
 4.41
  0.04
  0.01
  0.10

TiO2

  0.06
11.29
  0.01
 4.42
  0.04
  0.38
  0.10

SiO2

  0.00
  0.00
  0.00
 0.39
  0.00
  0.00
  0.00

Al2O3

  0.13
  3.87
  0.08
 4.28
  0.18
  1.39
  0.06

(FeO)1

(90.34)
(73.35)
(91.86)
(71.25)
(91.36)
(88.63)
(89.86)
FeO2
28.254
21.513
20.763
19.083
17.13
26.813
19.393
1.213
Fe2O32

66.443
50.283
70.663
52.253
61.563
67.083
88.523
MgO

  1.48
  6.74
  0.00
 6.81
  0.02
  0.43
<0.01

Na2O

  0.00
  0.00
  0.00
 0.36
  0.00
  0.00
  0.00

CaO

  0.00
  0.00
  0.00
 0.09
  0.00
  0.00
  0.00

NiO

  0.00
  0.00
  0.01
 0.03
  0.09
  0.02
  0.02

V2O5

  0.00
  0.35
  0.03
 0.00
  0.01
  0.03
  0.03

ZnO

  0.00
  0.01
  0.00
 0.11
  0.02
  0.00
  0.07

TOTAL

92.24
97.39
92.23
92.15
91.77
90.89
90.24

Source
Mertzman
U of M
U of M
U of M
U of M
U of M
U of M
U of M


Analysis
WC
EMPA-6
EMPA-6
EMPA-5
EMPA-4
EMPA-7
EMPA-7
EMPA-6
1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at University of Alberta; Fe2O3 taken as difference between total and ferrous iron.
3. FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

4. FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC).

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined.

* = University of Alberta EMPA analysis.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Specimen
MAG111
MAG113
MAG117
MAG118
MAG119
MAG120
MAG121

Wt.%








SiO2
1.54
5.77
2.84
4.40
2.40
3.00
1.21

TiO2
3.77
3.03
2.90
0.21
0.11
0.06
0.00

Al2O3
7.67
2.22
0.57
0.96
0.95
0.52
1.05

FeO
17.69
22.21
12.13
22.78
24.14
21.74
23.24

Fe2O3
52.58
58.74
72.36
67.43
67.63
70.45
66.57

Fe2O3T
72.24
83.42
85.84
92.75
94.46
94.61
92.40

MnO
4.29
1.49
1.88
0.33
0.04
0.24
0.15

MgO
7.37
0.52
1.08
0.80
0.68
0.87
4.40

CaO
1.31
0.86
4.68
0.32
0.62
0.32
0.05

Na2O
0.09
1.52
0.02
0.02
0.03
0.04
0.00

K2O
0.14
0.37
0.04
0.02
0.04
0.04
0.01

P2O5
0.57
0.21
0.20
0.06
0.01
0.03
0.00

Total
98.99
99.41
100.05
99.87
99.34
99.73
99.27

LOI
0.75
1.99
7.97
0.55
1.52
1.22
0.56

ppm:

Sr
86
<2
27
<2
<2
<2
<2

Zr
144
52
<2
8
4
2
<2

V
435
124
2674
1501
1179
1039
<2

Cr
14
<2
<2
<2
<2
<2
<2



354 ppm 
0.18%


0.17% 



As2O3
SO3


Cl


Source of
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
1. (Fe2O3)T: all Fe reported as FeO.

FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

n.d.: not determined.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Specimen
MAG122
MAG123
MAG124
MAG129
Wt.%





SiO2
26.13
2.75
21.96
0.94
TiO2
0.13
0.00
0.45
0.07
Al2O3
3.22
0.23
3.72
0.33
FeO
5.16
28.45
21.27
23.30
Fe2O3
36.44
63.09
34.59
71.61
Fe2O3T
42.17
94.71
58.23
97.50
MnO
7.74
0.17
0.27
0.04
MgO
2.82
1.75
5.60
0.24
CaO
1.38
0.13
9.18
1.15
Na2O
16.29
0.05
0.50
0.00
K2O
0.01
0.02
0.12
0.01
P2O5
0.01
0.01
0.04
0.01
SO3



0.00

Cl



0.00
Total
99.90
99.82
100.07
100.29
LOI
2.61
1.68
1.67
1.33
ppm: 

Sr
<2
<2
2
<2
Zr
13
<2
20
<2
V
62
<2
173

Cr
<2
26
<2
<2
Rb



<2
Source of
Mertzman
Mertzman
Mertzman

analysis
XRF/WC
XRF/WC
XRF/WC
1. (Fe2O3)T: all Fe reported as FeO.

FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

n.d.: not determined.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Wt. %
MAG116
MAG117
MAG118
MAG119
MAG120
MAG121
MAG122

P2O5

  n.d.
  n.d.

Cr2O3
0.00
  0.01
  0.01  
 0.01
 0.00
 0.01
 0.01

MnO
0.28
  0.02
  0.02
 0.07
 0.01
 0.04
 0.08

TiO2
0.00
  1.24
  0.13
 0.10
 0.04
 0.25
 0.03

SiO2
0.00
  0.00
  0.00
 0.01
 0.03
 0.07
 1.97

Al2O3
4.24
  0.57
  0.19
 0.21
 0.17
 0.54
 0.08

(FeO)1
(10.04)
(86.73)
(91.35)
(90.01)
(89.17)
(89.75)
(86.81)
FeO2

11.693
23.53
22.663
19.513
22.433
3.983
Fe2O32

73.743
65.233
64.833
67.493
64.823
82.393
MgO
12.90
  1.04
  0.07
 0.23
 0.18
 0.32
 1.00

Na2O
0.00
  0.00
  0.00
 0.00
 0.00
 0.00
 0.02

CaO
0.00
  0.00
  0.00
 0.01
 0.02
 0.01
 0.30

NiO
0.00
  0.05
  0.04
 0.03
 0.07
 0.05
 0.07

V2O5
0.00
  0.57
  0.31
 0.21
 0.22
 0.18
 0.17

ZnO
0.00
  0.01
  0.00
<0.01
 0.07
 0.03
<0.01

TOTAL
27.46
90.27
92.11
90.76
89.98
91.24
90.53

Source
U of M
U of M
U of M
U of M
U of M
U of M
U of M


Analysis
EMPA-6
EMPA-5
EMPA-5
EMPA-4
EMPA-1
EMPA-4
EMPA-4

1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at University of Alberta; Fe2O3 taken as difference between total and ferrous iron.

3. FeO determined by wet chemistry at Franklin and Marshall College by Stan Mertzman (WC); Fe2O3 taken as difference between total and ferrous iron.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined.

* = University of Alberta EMPA analysis.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2c. Compositional Data - Magnetites (continued)
Wt. %
MAG200

Ca
<0.01

Cl
<0.07

Cr
<0.002

H20
<0.20

K
<0.001

Mg
<0.008

Mn
<0.3

Na
<0.005

Ni
<0.01

Pb
<0.001

SiO2
<0.02

SO42-
<0.05

Analysis from MTI Corp.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.2d. Spectral Data - Magnetites
Sample
Facility/File No.  
Description







MAG101
RELAB C1SC25
45-90µm, 0/15, 0.34-2.7µm, 5 nm.

MAG101
RELAB C2SC25
45-90µm, 0/15, 0.3-2.6µm, 5 nm, with errors.

MAG101
RELAB CBSC25
<45µm, 0/15, 0.3-2.6µm, 5 nm.

MAG101
RELAB CASC25
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG101
RELAB LASC25
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG101
PSF 200110b00008.asd
<45 µm; i=30°,e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
+++++++
MAG102
RELAB CAMG02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG102
RELAB LAMG02
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG102
PSF 100420a.007
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100420_carbon).

MAG102
PSF Mag_102.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG102
PSF 150429a.013

<45 µm; 100% MAG102, <45 µm; i=30°, e=0°; 0.35-2.5 µm’ 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix]. Part of mixture series: aka sample ID MMM012.
MAG102
PSF 012 mag102 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

MAG102
PSF 013 mag102 45-90

45-90 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

MAG102
PSF 014 mag102 90-250
90-250 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

MAG102
PSF 015 mag102 250-500
250-500 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

MAG102
PSF 016 mag102 500-1000
500-1000 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++MAG102 grain size series++++++
MAG102
PSF 150422a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].

MAG102
PSF 150422a.003
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].

MAG102
PSF 150422a.004
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].

MAG102
PSF 150422a.005
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].

MAG102
PSF 150422a.006
500-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150422 MAG Grain Size].

+++++++
MAG103
RELAB CAMG03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG103
RELAB LAMG03
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG103
PSF 050707mag103
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

MAG103
PSF 120707mag103
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

MAG103
PSF mag103
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

MAG103
PSF Mag_103.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG103
PSF 003 F3
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160104 uv dark stuff].

+++++++
MAG104
RELAB CAMG04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG104
RELAB LAMG04
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG104
PSF Mag_104.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG104
PSF 017 mag104 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG105
RELAB CAMG05
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG105
RELAB LAMG05
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG105
PSF Mag_105.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG105
PSF 018 mag105 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG106
RELAB CAMG06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG106
RELAB LAMG06
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm  (RELAB+Nicolet) note different viewing geometries.

+++++++
MAG107
RELAB CAMG07
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG107
RELAB LAMG07
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG107
PSF Mag_107.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG107
PSF 019 mag107 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

MAG107
PSF 180904a00001.asd
<45 µm, normal pack; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180904 magnetites].

MAG107
PSF 180904a00002.asd
<45 µm, fluffed; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180904 magnetites].

MAG107
PSF 180904a00003.asd
<45 µm, densely packed; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180904 magnetites].

MAG107
PSF 180904a00006.asd
<45 µm, pressed pellet; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180904 magnetites].

MAG107
PSF 180906b00001.asd
500-1000 µm, dry sieved, orientation A; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00002.asd
500-1000 µm, dry sieved, orientation B; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00003.asd
500-1000 µm, dry sieved, orientation C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00004.asd
212-500 µm, dry sieved, orientation A; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00005.asd
212-500 µm, dry sieved, orientation B; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00006.asd
212-500 µm, dry sieved, orientation C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00007.asd
90-212 µm, dry sieved, orientation A; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00008.asd
90-212 µm, dry sieved, orientation B; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00009.asd
90-212 µm, dry sieved, orientation C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00010.asd
45-90 µm, dry sieved, orientation A; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00011.asd
45-90 µm, dry sieved, orientation B; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00012.asd
45-90 µm, dry sieved, orientation C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00013.asd
<45 µm, dry sieved, orientation A; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00014.asd
<45 µm, dry sieved, orientation B; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

MAG107
PSF 180906b00015.asd
<45 µm, dry sieved, orientation C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180906 magnetites].

+++++++
MAG108
RELAB CAMG08
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG108
RELAB LAMG08
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG108
PSF Mag_108.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG109
RELAB CAMG09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG109
RELAB LAMG09
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG109
PSF Mag_109.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG109
PSF 021 mag109 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG110
RELAB CAMG10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG110
RELAB LAMG10
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG110
PSF Mag_110.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG110
PSF 022 mag110 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG111
RELAB CAMG11
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG111
RELAB LAMG11
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG111
PSF Mag_111.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG112
RELAB CAMG12
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG112
RELAB LAMG12
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG112
PSF Mag_112.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG112
PSF jul1306.005
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

MAG112
PSF amag112
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).
MAG112
See also section 22 for spectra acquired under ambient and Mars-like conditions.
+++++++
MAG113
RELAB CAMG13
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG113
RELAB LAMG13
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG113
PSF Mag_113.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG113
PSF 023 mag113 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG114
RELAB CAMG14
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG114
RELAB LAMG14
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG114
PSF Mag_114.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG114
PSF 024 mag114 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

MAG114
PSF 200110b00010.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
+++++++
MAG115
RELAB CAMG15
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG115
RELAB LAMG15
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG115
PSF Mag_115.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG116
RELAB CAMG16
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG116
RELAB LAMG16
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG116
PSF Mag_116.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG116
PSF 025 mag116 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG117
RELAB CAMG17
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG117
RELAB LAMG17
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG117
PSF Mag_117.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG117
PSF 026 mag117 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG118
RELAB CAMG18
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG118
RELAB LAMG18
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG118
PSF Mag_118.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

MAG118
PSF 027 mag118 sub45

<45 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

+++++++
MAG119
RELAB CAMG19
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG119
RELAB LAMG19
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG119
PSF Mag_119.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG120
RELAB CAMG20
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG120
RELAB LAMG20
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG120
PSF Mag_120.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG121
RELAB CAMG21
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG121
RELAB LAMG21
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG121
PSF Mag_121.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG122
RELAB CAMG22
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MAG122
RELAB LAMG22
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

MAG122
PSF Mag_122.spec
<45 μm; 198-1132 nm; i=30°, e=0°; 0.42-0.48 nm resolution; Maya spectrometer (Directory: Maya_MAG20713).

+++++++
MAG123
PSF 19092400029.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

MAG124
PSF 19092400030.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 190924 Back Log].
+++++++

MAG125
PSF 200110b00017.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Backlog].
++++++

MAG127
PSF 191216a00001.asd
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 191216 MAG204 unsorted].

+++++++
MAG128
PSF 191216a00002.asd
Unsorted coarse powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 191216 MAG204 unsorted].

MAG128
PSF 200804a0005.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200804 Mud Pies]. 

+++++++MAG128: Ethanol grind-mix+++++
MAG128
Dark_ast_001; PSF 250220a.00001.asd
<45 µm, no grind.

MAG128
Dark_ast_002; PSF 250220a.00002.asd
1 minute of ethanol grind-mix.

MAG128
Dark_ast_003; PSF 250220a.00003.asd
2 minutes of ethanol grind-mix.

MAG128
Dark_ast_004; PSF 250220a.00004.asd
3 minutes of ethanol grind-mix.

MAG128
Dark_ast_005; PSF 250220a.00005.asd
4 minutes of ethanol grind-mix.

MAG128
Dark_ast_006; PSF 250220a.00006.asd
5 minutes of ethanol grind-mix.

++++++

Bulk powders to compare to single grain
MAG129
PSF 211027a.00007.asd

250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

MAG129
PSF 211027a.00008.asd

500-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

MAG129
PSF 211027a.00009.asd

63-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

MAG129
PSF 211027a.00010.asd

38-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

MAG129
PSF 211027a.00011.asd

<38 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

MAG129
PSF 211027a.00012.asd

125-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 111027 Olivine and Magnetite].

+++++++

MAG200
PSF 100616a.011
20 nm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged, ASD (Directory: 100615_crypto; 100615_nano).

MAG200
PSF 020 mag200

<0.02 µm; 0.2-0.45 µm; i=e=0° (bifurcated probe); 200 spectra averaged; ~0.5 nm resolution; Maya 2000 [Directory: 170421 uv mag].

++++++++++++++++++++++++++++++++++++
Magnetites – pressed pellets (25 tons) of pure powders relative to aluminium mirror and spectralon: diffuse and specular geometries.

MAG200

PSF 171113a00001.asd
Diffuse geometry, relative to Al mirror; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

MAG200

PSF 171113a00011.asd
Specular geometry, relative to Al mirror; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

MAG200

PSF 171113a00011.asd
Specular geometry, relative to Spectralon; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

MAG200
PSF mag200.dpt
Pressed pellet: <<0.1 wt.% magnetite in KBr; transmission spectrum: i=0°, e=180°; 0.4-25 µm; 500 spectra averaged; boxcar fill:2; with Bruker Vertex 70; data below 500 nm is questionable [Directory: 171216mag200 IR].

++++++
MAG202

PSF 171113a00002.asd
Diffuse geometry, relative to Al mirror; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

MAG202

PSF 171113a00010.asd
Specular geometry, relative to Al mirror; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

MAG202

PSF 171113a00010.asd
Specular geometry, relative to Spectralon; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

MAG202

PSF 180123a00001.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 180123 fe oxides].

++++++
MAG203
PSF 191129a00002.asd
Unsorted powder; <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191129 Mudpies].

+++++++++++++++++++++++++++++++++++++++++++++
9.2d.1. Magnetites: Polynomial (quadratic) fits to 1 micron band (RELAB spectra)

Equation y=a+bx+cx2
Differentiate & solve for x at y=0 i.e. 0=-b+2cx, b=2cx

Band depth, solve for y (if normalized only)

Sample 

Poly. Coeff's 

Band
 
Band
Grain

Compil.

Channels



  a
   b
  c
Min(µm) 
Depth% Size (µm)
& File#

Fitted


MAG101 
.3993
-.6822 
.3328
1.025


45-90

brown1a-158
131-149

MAG101/s.l.
2.262
-2.768 
1.257
1.101

26.2
45-90

brown1b-192
120-190

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 9.2.
9. Oxides 
9.3. Chromites 

9.3a. Sample Descriptions - Chromites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








CHR101
Chromite: Valley Springs, Calaveras County, California, USA (Minerals Unlimited).

CHR102
Chromite: Springwater Intrusion, Montana, USA (U. of Hawaii collection #10-3-10), with olivine OLV021.

CHR103
Chromite: El Dorado, El Dorado County, California, USA (Minerals Unlimited); w/ uvarovite garnet (GAR105).

CHR104
Chromite: Manila Bay, The Philippines (Minerals Unlimited). With serpentine ("spotted leopard ore").

CHR105
Chromite: Red Ledge Mine, Washington, Nevada County, California, USA (Minerals Unlimited).

CHR106
Chromite: Jacksonville, Tuolumne County, California, USA (with uvarovite) (Minerals Unlimited)

CHR107
Chromite: Placer County, California, USA (with uvarovite garnet (GAR109)) (Minerals Unlimited).

CHR108
Chromite: Headwaters of the San Benito River, San Benito County, California, USA (Minerals Unlimited).

CHR109
Chromite: El Dorado County, California, USA (Excalibur Mineral Co.).

CHR110
Chromite: Delight Quarry, Reistertown, Baltimore County, Maryland, USA (Minerals Unlimited).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.3a.1. Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	hand sample16
	**Chromite
	ActLabs


++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.3b. XRD Data - Chromites
9.3b.1. Analogue files from U of A instrument
None.
+++++++
9.3b.2. University of Manitoba files:

CHR101
XRD shows either coulsonite (FeV2O4) or nichromite (NiCr2O4) or magnesiochromite ((Mg,Fe)(Cr,Al)2O4) plus minor clinochlore ((Mg,Fe+2)5Al(Si3Al)O10(OH)8).

CHR103
XRD shows mostly magnesiochromite with minor andradite and perhaps magnetite.

CHR104
XRD shows only spinel.

CHR105
XRD shows magnesiochromite ((Mg,Fe)(Cr,Al)2O4) plus some minor clinochlore ((Mg,Fe+2)5Al(Si3Al)O10(OH)8).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.3c. Compositional Data – Chromites (alphabetical order)
Wt.%
CHR101
CHR101
CHR101
CHR102
CHR102
CHR102
SiO2
0.23
0.00

0.13

0.07
Al2O3
10.87
10.98

18.75

19.73
MgO
14.50
13.62

9.11

9.88
CaO
0.09
0.09

0.08

0.05
TiO2
0.12
0.15

0.84

0.67
(FeO)1
15.11
(14.97)
(14.97)
(27.94)
(27.94)
27.91
FeO2

10.93
14.47
22.63
25.27


Fe2O32

3.83
0.56
5.90
2.97

MnO
0.15
0.26

0.35

0.52
K2O
0.00
0.00

0.00

0.06
P2O5
0.00
tr.

tr.

0.00
Cr2O3
56.70
57.56

40.98

40.92
CoO
0.00
0.00

0.00

0.00
NiO
0.23
0.23

0.00

0.00
ZnO
0.10




0.00
V2O5
0.20
0.19

0.28

0.23
Na2O
1.68




1.51

TOTAL

97.84

99.05



Source
U of A
U of C
U of A
U of C
U of A
U of A

Analysis
EMPA-2
EMPA-6
WC
EMPA-6
WC
EMPA-1


1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at Univ. of Alberta (WC); Fe2O3 taken as difference between total and ferrous iron.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta; # of analytical points indicated.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined.

tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.3c. Compositional Data - Chromites (continued)

Wt. %
CHR103
CHR103^
CHR104^
CHR104
CHR105
CHR106
P2O5
n.d.


  n.d.
  n.d.
  n.d.

Cr2O3
63.10
62.85
35.87
35.80
51.28
56.66

MnO
0.31
0.32
0.20
  0.20
  0.29
  0.62

TiO2
0.05
0.06
0.25
  0.06
  0.36
  0.14

SiO2
0.02
tr.
0.16
<0.01
  0.02
  0.06

Al2O3
6.99
6.78
30.07
30.05
17.07
  9.89

(FeO)1
(16.14)
(16.08)
(13.12)
(13.41)
(15.75)
(21.01)

FeO2
11.94


10.46
13.23
15.55

Fe2O32
4.66


  3.28
 2.80
 6.07

MgO
12.16
11.88
17.43
17.42
13.44
10.26

Na2O
0.00


  0.00
  0.00
  0.00

K2O
n.d.


  n.d.
  n.d.
  n.d.

CoO
n.d.


  n.d.
  n.d.
  n.d.

CaO
0.03
0.00
0.01
<0.01
<0.01
<0.01

NiO
0.10
0.07
0.32
  0.25
  0.12
  0.06
ZnO

tr.
0.07
V2O5
0.20


  0.05
  0.26
  0.14

TOTAL
99.56
98.04
97.40
97.57
98.87
99.45

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
0.035


0.008
0.043
0.025

Ti
0.010


0.011
0.068
0.029

Si
0.006


0.000
0.005
0.017

Cr
13.149


6.733
10.248
12.451

Al
2.171


8.421
5.084
2.159

Fe3+
0.928


0.587
0.533
1.269

Mn
0.070


0.040
0.062
0.145

Fe2+
2.632


2.081
2.796
3.614

Mg
4.778


6.179
5.065
4.252

Co
--


--
--
--

Ca
0.008


0.000
0.000
0.000

Ni
0.021


0.047
0.024
0.013

Na
0.000


0.000
0.000
0.000


Total 
23.808


24.107
23.928
23.974

Source

U of M
U of A
U of A
U of M
U of M
U of M
Analysis
EMPA-8
EMPA-6
EMPA-6
EMPA-5
EMPA-4
EMPA-6
1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 taken as difference between total and ferrous iron.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta; # of analytical points indicated.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined.

tr.: trace (<0.01 wt.%).
^ = samples analyzed in two EMPA runs.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.3c. Compositional Data - Chromites (continued)

Wt. %
CHR107
CHR108
CHR109
CHR110

P2O5
 n.d.
  n.d.
  n.d.

Cr2O3
63.99
52.06
58.84

MnO
 0.31
  0.25
  0.31
 

TiO2
 0.13
  0.28
  0.32

SiO2
 0.01
   0.01
<0.01

Al2O3
 5.49
16.78
  8.51

(FeO)1
(16.62)
(14.22)
(17.36)

FeO2
13.63
12.94
14.24


Fe2O32
 3.32
 1.42
 3.47

MgO
12.40
14.35
12.36

Na2O
 0.00
  0.00
<0.01



K2O
 n.d.
  n.d.
  n.d.

CoO
 n.d.
  n.d.
  n.d.

CaO 
<0.01
  0.00
<0.01

NiO
0.10
  0.11
  0.08

V2O5
0.10
 0.20
 0.14


TOTAL
99.48
98.40
98.27

NUMBER OF IONS ON THE BASIS OF 32 OXYGENS

V
0.017
0.041
0.030

Ti
0.026
0.053
0.064

Si
0.002
0.002
0.000

Cr
13.497
10.424
12.387

Al
1.726
5.006
2.670

Fe3+
0.667
0.271
0.696

Mn
0.071
0.053
0.070

Fe2+
3.041
2.741
3.173

Mg
4.932
5.419
4.907

Co
--
--
--

Ca
0.000
0.000
0.000




Ni
0.021
0.023
0.018

Na
0.000
0.000
0.000


Total 
24.000
24.033
24.015


Source
U of M
U of M
U of M
Analysis
EMPA-6
EMPA-5
EMPA-10



1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at University of Alberta; Fe2O3 taken as difference between total and ferrous iron.

U of A: electron microprobe analysis at the University of Alberta.

U of M: electron microprobe analysis at the University of Manitoba.

n.d.: not determined.

tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.3c. Compositional Data - Chromites (continued)
9.3c.1. Fe+3/FeTot (ferric iron/total iron) from Dick Morris using Mossbauer spectroscopy:

Sample
Ferric/Total iron

CHR101
0.23

CHR102
0.19

CHR103
0.26

CHR104
0.22

CHR105
0.16

CHR107
0.18

CHR108
0.09

CHR109
0.18


To use these values, we multiply the total FeO number in the sample by the percentage that is ferric (from the Mossbauer) and by 1.1113 to allow for the extra oxygen this entails.

As an example, consider HER101. It has 20.79% FeO as determined by FeO, and a ferric/total iron ratio of 0.27.

Therefore we break this total down as follows:

(1-0.27) * 20.79% FeO = 0.73 * 20.79 = 15.18% FeO

0.27 * 20.79% FeO * 1.1113 = 6.24% Fe2O3.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.3d. Spectral Data - Chromites
Sample
Facility/File No.  
Description








CHR101
RELAB CACR11
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR101
RELAB LACR11
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR102
RELAB CACR12
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR102
RELAB LACR12
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR103
RELAB CACR13
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR103
RELAB LACR13
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR104
RELAB CACR14
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR104
RELAB LACR14
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR105
RELAB CACR15
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR105
RELAB LACR15
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR106
RELAB CACR16
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR106
RELAB LACR16
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR107
RELAB CACR17
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR107
RELAB LACR17
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR108
RELAB CACR18
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR108
RELAB LACR18
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

CHR109
RELAB CACR19
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CHR109
RELAB LACR19
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 9.3.
9. Oxides
9.4. Perovskites
9.4a. Sample Descriptions - Perovskites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description







PER101
Perovskite: Red Head Lease, San Benito County, California. USA. With andradite garnet (GAR107; garnet too intimate and fine grained to separate) (David Shannon Minerals).

PER102
Perovskite: Magnet Cove, Arkansas, USA (Ward’s via U. Of Alberta GEOL330 lab collection) (little sample available).

PER103
Perovskite: synthetic CaTiO3 (ESPI Corp., #K1005G). <45µm sample by crushing and dry sieving (?). Sample left.

PER120
Perovskite: Tapira, Brazil (#54-C-1) (Bjarne Gautason) [no perovskite grains exposed on “others” microprobe disc].
PER121
Perovskite: Serra Negra, Minas Gerais, Brazil (#89-B-5), from a massive perovskite/magnetite in carbonatite; annealed in argon (Bjarne Gautason)

PER122
Perovskite: Ice River Complex, BC, Canada (Bjarne Gautason); >90% perovskite.

PER123
Perovskite: Achmatowsk, Ural Mountains, Russia; in chlorite (Bjarne Gautason and The Collector's Edge - 402 Gladiola St., Golden, CO [303 278 9724]).

PER124
Perovskite (cerian): Afrikanda, Kola, Russia. In hornblende, with magnetite and titanite (David Shannon) [no perovskite grains exposed on “others” microprobe disc, probably just seeing hornblende].
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.4b. XRD Data - Perovskites
9.4b.1. Analogue files from U of A instrument.
Sample

XRD File
Phases identified
PER101

Z03225
perovskite, synthetic; minor kaolinite; minor motmorillonite
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.4c. Compositional Data – Perovskites (alphabetical order)
Wt. %
PER101
PER101
PER101
PER120
PER121
PER121






AP
OD

P2O5
 0.02
0.01
0.15




Cr2O3
 0.09
0.00
0.00

0.00
0.00
MnO
 0.12
0.00
0.07

0.01
tr.
TiO2
55.72
59.15
59.19

63.13
63.02
SiO2
 0.05
tr.
0.17

0.00
0.00
Al2O3
 0.00
0.09
0.18

0.04
0.07
(FeO)1
(0.40)
(0.07)
(0.21)
(3.20)
(0.91)
(1.07)
FeO2
 n.d.


n.d.
0.85
Fe2O32
 n.d.


n.d.
0.05
MgO
 0.00
0.04
0.00

0.00
0.02
Na2O
 
0.10
0.00

0.35
0.43
K2O


0.00

ZrO2
 
0.003





Nb2O5
 
0.043





CaO

42.26
42.21

37.81
37.34
NiO
 
0.02
0.10

0.01
tr.
V2O5
 

0.37

0.39
0.38
CoO
 

0.07




ZnO
 

0.00

0.00
0.00
Cl

0.03






TOTAL

99.24


102.64
102.33

NUMBER OF IONS ON THE BASIS OF 24 OXYGENS

Ca
 8.364

Ti
 7.740

P
 0.003

Nb
 0.003

Si
 0.009

Zr
   --

Cr
 0.013

Al
   --

Fe3+
   --

Mn
 0.019

Fe2+
 0.062

Mg
   --

Ni
 0.003

Na
 0.035







Total
16.251







Source
U of C
U of A
U of A
???
U of M
U of M
Analysis
EMPA-8
EMPA-1
EMPA-2
???
EMPA-5
EMPA-6


1. (FeO): all Fe reported as FeO.

2. FeO determined by wet chemistry at University of Alberta; Fe2O3 taken as difference between total and ferrous iron.

3. Average of 7 analyses.

U of C: electron microprobe analysis at the University of Calgary; # of analytical points indicated.

U of A: electron microprobe analysis at the University of Alberta.
U of M: electron microprobe analysis at the University of Manitoba.
n.d.: not determined. tr.: trace (<0.01 wt.%).
* = University of Alberta EMPA analysis.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.4c. Compositional Data - Perovskites (continued)
Wt.%
PER122
PER122
PER122
PER123

OD
OD
AP
OD

Na2O
0.44
0.37
0.39
0.42

SiO2
0.00
0.00
0.00
0.00

MgO
0.02
0.01
0.02
0.01

Al2O3
0.06
0.06
0.06
0.06

TiO2
60.48
64.01
60.59
60.11

CaO
37.55
37.77
37.51
37.43

V2O3
0.40
0.30
0.39
0.39

Cr2O3
tr.
0.00
0.00
tr.

NiO
tr.
0.00
0.01
0.01

(FeO)1
1.10
0.75
 (1.08)
(1.07)

FeO2


1.08
1.07
Fe2O3


0.00
0.00
MnO
0.01
tr.
0.00
tr.
ZnO
0.00
0.00
0.00
0.00
TOTAL
100.07
103.28
100.04
99.49
Source
U of M
U of M
U of M
U of M
Analysis
EMPA-7
EMPA-6
EMPA-6
EMPA-8
1. (FeO): all Fe reported as FeO.
2. FeO determined by wet chemistry at University of Alberta; Fe2O3 taken as difference between total and ferrous iron.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of M: electron microprobe analysis at the University of Manitoba.

tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.4d. Spectral Data - Perovskites
Sample
Facility/File No.  
Description








PER101
RELAB C1SC73
<45µm, 0/15, 0.3-2.7µm, 5 nm.

PER101
RELAB CASC73
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER101
RELAB LASC73
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER102
RELAB CAPV02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER102
RELAB LAPV02
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER103
RELAB CAPV03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER103
RELAB LAPV03
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER120
RELAB CAPV20
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER120
RELAB LAPV20
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER121
RELAB CAPV21
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER121
RELAB LAPV21
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER122
RELAB CAPV22
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER122
RELAB LAPV22
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER123
RELAB CAPV23
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER123
RELAB LAPV23
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
PER124
RELAB CAPV24
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PER124
RELAB LAPV24
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 9.4.
9. Oxides
9.5. Ilmenites 

9.5a. Sample Descriptions - Ilmenites
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description







ILM101
Ilmenite: Kragero, Telemark, Norway (Minerals Unlimited) (ideally FeTiO3).

ILM102
Ilmenite: St. Urbain, Quebec, Canada (FeTiO3) (National Museum of Nature, Ottawa).

ILM103
Ilmenite: Old Mica Mine, near Saluda, Saluda County, South Carolina, USA (FeTiO3); with mica (MIC001), and hematite (too minor to separate) (Minerals Unlimited; received April 5/05).

ILM110
Ilmenite, var. menaccanite: Egersund, Norway (Excalibur Mineral Co., received June 3/05; their no. 3510 - Michigan College of Mines).

ILM111
Ilmenite, var. iserine: Iserweise (Izerska Louka), Bohemia, Czech Republic (Excalibur Mineral Co., received June 3/05).

ILM112
Ilmenite: Riverside County, California, USA; ilmenite ore. (Excalibur Mineral Co., label information: Mt 63B SP; Hmt 50B, Psp; Ilmt 50c, Mag 1c; AWP 1709 (one); AW Pinger Collection; received June 3/05).

ILM113
Ilmenite: E. of Hartwell Dam, Anderson County, South Carolina, USA (Excalibur Mineral Co., received June 3/05).

ILM114
Ilmenite: Rock Flat, near McCall, Idaho, USA (Excalibur Mineral Co., received June 3/05).

ILM115
Ilmenite: Tellnes, Norway (Excalibur Mineral Co., received June 3/05).

ILM116
Ilmenite: Sorel, Quebec, Canada (Excalibur Mineral Co., received June 3/05).

ILM117
Ilmenite: Glidden M., Lenoir, Caldwell County, North Carolina, USA (Excalibur Mineral Co., label info: 50 C, AWP 1719 (non-mag) (one); [A.W. Pinger Collection?]; received June 3/05).

ILM118
Ilmenite: Chester Emry Mine, Chester, Massachusetts, USA; with corundophyllite (Excalibur Mineral Co., received June 3/05).

ILM119
Ilmenite: Valle di Susa, Torino Piemonte, Italy; with albite and clinochlore (Excalibur Mineral Co., received June 3/05).

ILM120
Ilmenite: Antisirabe District, Madagascar (Excalibur Mineral Co., received June 3/05).

ILM121
Ilmenite: Graves Mountain, Lincoln County, North Carolina, USA (Excalibur Mineral Co., received June 3/05).

++++++++++received Feb. 2010 (from Caroline Morisset)++++++

ILM151
Caroline Morisset sample #2006-C1; Bignell deposit, St. Urbain, QC, Canada area. XRF data, powdered sample and thin section images available. Received as powder. (Label on vial: “2006-C1; Ilmenite M 0.2 (almost pure)”).

ILM152
Caroline Morisset sample #2006-D1; Bignell deposit, St. Urbain, QC, Canada area. XRF data, powdered sample and thin section images available. Received as powder. (Label on vial: “2006-D1; Ilmenite M 0.2 (almost pure)”).

ILM153
Caroline Morisset sample #2009-B1; Coulomb West deposit, St. Urbain, QC, Canada area. XRF data, powdered sample and thin section images available. Received as powder. (Label on vial: “2009-B1; Ilmenite M 0.2 (almost pure)”).

ILM154
Caroline Morisset sample #2015-B4; Coulomb East deposit, St. Urbain, QC, Canada area. XRF data, powdered sample and thin section images available. Received as powder. (Label on vial: “2015-B4; Ilmenite M 0.2 LClé Ba+ (pure)”).

ILM155
Caroline Morisset sample #2030-B2; General Electric deposit, St. Urbain, QC, Canada area. XRF data, powdered sample and thin section images available. Received as powder. (Label on vial: “2030-B2; Ilmenite M 0.3 (almost pure)”).

ILM156
Caroline Morisset sample #2036-D2; Furnace deposit, St. Urbain, QC, Canada area. XRF data, powdered sample and thin section images available. Received as powder. (Label on vial: “2036-D2; Ilmenite M 0.2 Lclé Ba+ (pure)”).

++++++++++++++++

ILM200
Synthetic ilmenite (Sigma Aldrich, iron (II) titanate, -100 mesh; prod. no. 400874. Received from Miriam Riner and Mark Robinson, Arizona State U., Sept. 25/07.

ILM201
Synthetic ilmenite (Sigma Aldrich, iron (II) titanate, -100 mesh; prod. no. 400874. Received directly from Sigma Aldrich May 20, 2009 [100 grams].

++++++++++++++++

Grain size information on ilmenite from Brammer: <75 μm: 99.20%

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.5b. XRD Data - Ilmenites
9.5b.1. Analogue files from U of A instrument
Sample
XRD File
Phases identified

ILM101

Z03220

ilmenite - ilmenorutile; minor hematite; minor rutile
++++++++++++++++++++++++
9.5.b.2. Powder XRD scans at UWinnipeg with Bruker D8

Sample
Phases identified


Very likely




Less likely


ILM101
Hematite




Ilmenite

ILM103
Ilmenite

ILM110
Magnetite-ulvospinel

ILM111
Ilmenite




Ecandrewsite (syn ZnTiO3)

ILM112
Magnesiocoulsonite (syn. Mg2VO4)/magnetite titanian

ILM113
Hematite




Ilmenite

ILM114
Ilmenite; nickel manganese titanium oxide (Ni.5 Mn.5)TiO3

ILM115
Magnetite

ILM116
Ilmenite




Hematite; nickel manganese titanium oxide (Ni.5 Mn.5)TiO3
ILM117
Chlorite-serpentine (Mg,Al)6(Si,Al)4O10 (OH)8

Ilmenite

ILM118
Margarite Ca2Li.21Mg.21Al8Si4O20(OH)4
ILM119
Magnesiohornblende, Actinolite

ILM120
Ilmenite




Magnetite

ILM121
Ilmenite




Hematite, iron oxide

ILM151
Ilmenite

ILM152
Ilmenite

ILM153
Ilmenite

ILM154
Ilmenite

ILM155
Ilmenite

ILM156
Ilmenite

ILM200
Ilmenite
++++++++++++++++++++++++++++
December 2019 re-analysis

ILM117
clinochlore; ilmenite; minor rutile; minor micas; possibly sphalerite; plus unidentified phase(s)

ILM118
margarite; minor magnetite; trace hematite; possibly trace ilmenite; plus unidentified phase(s)

ILM119
magnesiohornblende; albite; trace ülvospinel/magnetite

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.5c. Compositional Data – Ilmenites (alphabetical order)
Wt. %
ILM101
ILM101
ILM101
ILM101
ILM101
ILM101
ILM101

P2O5
<0.01
0.00
n.d. 


0.00
0.03
Cr2O3
0.02
0.00
n.d.

0.01
0.00


MnO
0.02
0.13
n.d.

0.04
0.13
0.01

TiO2
47.61
57.24
53.50
51.23
54.96
57.25
63.28

SiO2
0.20
0.31
0.22
0.07
0.27
0.31
0.40

Al2O3
0.01
0.24
0.16
0.13
0.13
0.25
0.72

FeO1
42.79
35.79
40.41^
44.13^
37.92^
38.44^
33.05

Fe2O31
2.90
2.90




1.38

(Fe2O3)*





MgO
0.01
0.13
0.03
0.06
0.07
0.13
0.43

Na2O
n.d.
0.00
n.d.

0.08
0.00
0.41

K2O
n.d.
0.00
n.d.

0.00
0.00
0.01

CoO
n.d.
0.00
n.d.

0.04
0.00


CaO
n.d.
0.00
0.07
0.00
0.05
0.00
0.15

NiO
n.d.
0.00
n.d.

tr.
0.00


V2O5
n.d.
0.51
n.d.


0.50


ZnO2
n.d.
0.00
n.d.


0.00


TOTAL
93.56
97.25
94.39
95.62
93.57
97.01
99.87

ppm

Sr






45

Zr






50

V






632

Cr






75

Co






<2


Source
UofC
UofA
UofA
UofA
UofA
UofA
Mertzman

Analysis
EMPA-8
EMPA-8
EMPA-4
EMPA-1
EMPA-3
EMPA-2
XRF/WC


* - all Fe reported as Fe2O3.
^ - all Fe reported as FeO.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).

n.d.: not determined. Tr.: trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.5c. Compositional Data - Ilmenites (continued)
Wt. %
ILM102
ILM102
ILM103
ILM110
ILM111
ILM112
ILM113

SiO2
0.85
0.61
0.09
0.18
0.00
2.92
0.22

TiO2
52.49
50.69
64.20
0.17
54.59
35.01
31.74

Al2O3
0.83
0.94
0.28
0.99
1.35
5.33
0.54

(Fe2O3)*
Fe2O31
26.64
18.61
1.32
78.14
13.00
29.86
50.55

FeO1
15.78
24.64
31.60
0.00
25.66
22.01
15.20

MnO
0.25
0.12
1.19
14.01
0.21
0.22
0.46

MgO
2.42
2.72
0.43
1.35
4.17
3.30
0.60

CaO
0.21
0.32
0.07
0.06
0.07
0.13
0.05

Na2O
0.10
0.61
0.39
4.59
0.32
0.27
0.23

K2O
0.08
0.08
0.03
0.01
0.01
0.03
0.02

P2O5
0.08
0.12
0.03
0.04
0.04
0.10
0.06

TOTAL
99.63
99.46
99.63
99.54
99.42
99.18
99.67

ppm

Sr 
5
50
26
41
23
28
21

Zr
135
294
23
53
395
115
36

V
1405
1426
<5
42
1262
2354
936

Cr
<5
465
5
25
120
410
100
Co

110
<2
<2
75
215
<2

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.5c. Compositional Data - Ilmenites (continued)
Wt. %
ILM114
ILM115
ILM116
ILM117
ILM118
ILM119
ILM120
ILM121

SiO2
1.53
0.32
0.90
20.41
25.81
52.31
0.64
0.47

TiO2
58.45
27.40
49.39
29.93
4.26
1.89
30.68
5.75

Al2O3
5.09
4.64
1.74
7.84
37.75
10.25
5.60
0.78

(Fe2O3)*


Fe2O31
2.76
33.84
14.48
0.51
10.75
1.80
20.82
90.73

FeO1
27.46
30.49
29.31
19.87
7.72
8.94
32.08
0.96

MnO
0.76
0.18
0.07
0.12
0.09
0.30
0.17
0.02

MgO
1.95
2.48
2.64
9.89
0.72
8.92
2.05
0.69


CaO
0.50
0.05
0.22
5.32
6.26
8.34
0.07
0.05

Na2O
0.45
0.19
0.38
0.26
2.14
3.62
0.24
0.02

K2O
0.02
0.01
0.02
0.49
0.21
0.10
0.01
0.01

P2O5
0.05
0.04
0.03
0.36
0.03
0.20
0.04
0.17

TOTAL
99.12
99.64
99.18
99.55
99.69
99.73
99.43
99.65

ppm

Sr 
38
20
35
180
395
82
25
118

Zr
401
79
223
290
164
183
99
37

V
517
3230
1773
1393
383
409
3630
2744

Cr
2050
450
410
1405
101
465
2920
310


Co
5
310
32
105
<2
<2
15
<2


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.5c. Compositional Data - Ilmenites (continued)
Wt.%
ILM151
ILM152
ILM153
ILM154
ILM155
ILM156

SiO2
0.06
bd
0.04
0.14
0.05
bd
TiO2
42.71
45.27
44.62
47.39
44.31
39.38
Al2O3
0.04
0.00
0.03
0.03
0.07
0.00
V2O3
0.28
0.27
0.29
0.30
0.26
0.36
Cr2O3
0.08
0.47
0.15
0.18
0.13
0.08
(Fe2O3)*
58.14
53.56
55.32
52.02
55.31
61.59
MnO
0.17
0.21
0.16
0.16
0.17
0.14
ZnO
0.01
0.01
0.01
0.00
0.01
bd

MgO
2.44
2.99
2.73
3.22
3.14
2.22
CaO
0.01
0.04
0.01
0.02
0.02
0.01
LOI
-2.88
-3.10
-2.82
-3.17
-2.79
-3.14
TOTAL
101.06
99.71
100.53
100.28
100.69
101.24

Fe2O3
20.47
14.46
16.30
11.22
17.44
26.18
FeO
33.89
35.17
35.11
36.71
34.07
31.86
Si apfu
0.001
0.000
0.001
0.003
0.001
0.000
Ti
0.802
0.855
0.841
0.887
0.830
0.850
Al
0.001
0.000
0.001
0.001
0.002
0.000
V
0.006
0.005
0.006
0.006
0.005
0.007
Cr
0.002
0.009
0.003
0.003
0.003
0.001
Fe3+
0.385
0.273
0.307
0.210
0.327
0.491
Fe2+
0.708
0.739
0.736
0.764
0.710
0.665
Mn
0.004
0.004
0.003
0.003
0.004
0.003
Zn
0.000
0.000
0.000
0.000
0.000
0.000

Mg
0.091
0.112
0.102
0.120
0.117
0.082
Ca
0.000
0.001
0.000
0.001
0.001
0.000
Total
2.000
2.000
2.000
1.999
2.000
2.000
Xilm
79
84
83
88
81
73
Xhem
21
16
17
12
19
27
RO
45
46
46
47
45
43
R2O3
11
8
9
6
9
14
TO2
44
46
46
47
45
43
Source 
Morisset
Morisset
Morisset
Morisset
Morisset
Morisset

Notes: cations are calculated on the basis of 2 cations and Fe3+ and Fe2++Mg+Mn+Ti followed by a calculation based on 3 oxygens. Xilm (ilm/ilm+hem); Xhem (hem/hem+ilm); ilm (Ti-Mg-Mn+Al/2); hem (0.5*(Fe2++Fe3++Mg+Mn-Ti) (Lindsley and Frost, 1992). RO (MgO+CaO+MnO+ZnO+FeO); all in molar %); R2O3 (Al2O3+V2O3+Cr2O3+Fe2O3; all in molar %); TO2 (TiO2 in molar %).

* - all Fe reported as Fe2O3.
bd: below detection limit.
LOI: loss on ignition.

Morisset: analytical data provided by Caroline Morisset.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.5c. Compositional Data - Ilmenites (continued)
ILM151-156 – Trace Elements
ppm
ILM151
ILM152
ILM153
ILM154
ILM155
ILM156
Sc
39.95
42.89
66.57
62.13
35.41
44.41

V
2075
2010
2071
1962
1954
2573

Cr
599
3566
1116
1118
1029
511

Mn
1437
1875
1385
1357
1466
1185

Co
34.6
79.3
117.8
100.1
78.7
51.0

Ni
77
235
291
181
161
15

Cu
16
99
5
4
8
6

Zn
121
79
45
97
43
75

Rb
1.3
1.4
1.4
1.4
1.4
1.3

Sr
2.3
1.6
3.9
2.5
2.2
0.6

Y
0.50
0.28
0.47
0.49
0.26
0.26

Zr
31.45
19.94
22.77
22.43
41.67
66.68

Nb
20.79
1.52
1.36
2.38
3.94
30.48

Sn
7.20
2.81
0.91
0.70
4.06
5.20

La
0.341
0.187
0.309
0.436
0.149
0.085

Ce
0.802
0.374
0.913
1.372
0.303
0.216

Pr
0.104
0.044
0.120
0.169
0.040
0.031

Nd
0.427
0.164
0.543
0.751
0.156
0.143

Sm
0.087
0.032
0.127
0.169
0.034
0.030

Eu
0.051
0.010
0.050
0.044
0.014
0.007

Gd
0.095
0.003
0.093
0.114
0.035
0.032

Tb
0.015
0.005
0.018
0.019
0.006
0.004

Dy
0.091
0.034
0.086
0.087
0.035
0.018

Ho
0.019
0.007
0.016
0.015
0.007
0.004

Er
0.077
0.044
0.039
0.042
0.019
0.010

Tm
0.018
0.012
0.006
0.006
0.004
0.001

Yb
0.177
0.163
0.066
0.061
0.041
0.006

Lu
0.037
0.035
0.013
0.011
0.009
0.001

Hf
1.40
0.74
0.64
0.68
0.94
3.38

Ta
1.28
0.01
0.00
0.18
0.19
1.70

Pb
7.1
15.5
6.8
12.9
7.6
9.7

Th
0.023
0.015
0.034
0.064
0.016
0.018

U
0.044
0.078
0.002
0.003
0.007
0.007

Source
Morisset
Morisset
Morisset
Morisset
Morisset
Morisset


Morisset: analytical data provided by Caroline Morisset.

Trace element compositions (HR-ICP-MS) of ilmenite separates (from University of British Columbia); analyses by Caroline Morisset.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.5c. Compositional Data - Ilmenites (continued)
Wt. %
ILM201

P2O5
0.12

MnO
0.05

TiO2
52.58

SiO2
0.19

Al2O3
0.07

FeO1
42.12

Fe2O31
0.22

(Fe2O3)*
(47.03)

MgO
0.01

Na2O
0.10

K2O
0.05

CaO
0.05

SO3
0.06


TOTAL
100.31

LOI
0.79


ppm

Sr
55

Zr
98

V 
<3


Cr
267

Ni
85

Co
<2


Source
Mertzman

Analysis
XRF/WC









* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

n.d. = not determined. tr.: trace (<0.01 wt.%).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.5d. Spectral Data - Ilmenites
Sample
Facility/File No.  
Description








ILM101
RELAB C1SC34
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

ILM101
PSF  150507ilm10145
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM101
PSF  150507ilm10190
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM101
PSF 110707ilm10145
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM101
PSF ilm10145
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM101
PSF 110707ilm10190
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM101
PSF ilm10190
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM101
PSF 290807.020
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM101
PSF 290807.021
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM101
PSF ilm101.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM101

PSF a3

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

ILM101

PSF a4

45-90 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM102
PSF 041007ilm102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM102
PSF 290807.022
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM102
PSF 290807.023
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.


++++Grain size series+++++

ILM102
PSF 071201b.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.001-002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD.

ILM102
PSF 071201b.003
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.003-004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD.

ILM102
PSF 071201b.005
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.006
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.005-007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD.

ILM102
PSF 071201b.008
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.009
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.008-010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD.

ILM102
PSF 071201b.011
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.012
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

ILM102
PSF 071201b.011-013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD.
++++ grain size series+++++++++

ILM102
PSF 181102a00001.asd
<45 µm, wet sieved and baked; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00002.asd
<45 µm, wet sieved and baked, same sample as 0001, rotated 90°; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00003.asd
45-90 µm, wet sieved and baked; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00004.asd
45-90 µm, wet sieved and baked, same sample as 0001, rotated 90°; ; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00005.asd
90-212 µm, wet sieved and baked; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00006.asd
90-212 µm, wet sieved and baked, same sample as 0001, rotated 90°; ; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00007.asd
212-500 µm, wet sieved and baked; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00008.asd
212-500 µm, wet sieved and baked, same sample as 0001, rotated 90°; ; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00010.asd
500-1000 µm, wet sieved and baked; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

ILM102
PSF 181102a00011.asd
500-1000 µm, wet sieved and baked, same sample as 0001, rotated 90°; ; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181102 ilmenites].

+++++++
ILM103
PSF  041007ilm10345
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM103
PSF  041007ilm10390
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM103
PSF  041007ilm103250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM103
PSF  041007ilm103500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM103
PSF  041007ilm1031000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM103
PSF 121007ilm10345
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM103
PSF ilm10345
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM103
PSF 121007ilm10390
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM103
PSF ilm10390
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM103
PSF 121007ilm103250
90-250 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM103
PSF ilm103250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM103
PSF 121007ilm103500
250-500 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM103
PSF ilm103500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM103
PSF 121007ilm1031000
500-1000 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM103
PSF ilm1031000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM103
PSF 290807.024
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM103
PSF 290807.025
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM103
PSF ilm103.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

++++++++ILM103 – single grain study: June 1, 2009+++++
ILM103
PSF 090601a.022
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.023
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

ILM103
PSF 090601a.024
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

ILM103
PSF 090601a.025
Al block “L” well: C grain (250-500 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

ILM103
PSF 090601a.026
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.027
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.

ILM103
PSF 090601a.028
Al block “L” well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured. ASD.


++++++
ILM103
PSF 090601a.033
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.038
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.043
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. able), 100 avg., ASD.

ILM103
PSF 090601a.047
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.056
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.057
Al block 5 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

ILM103
PSF 090601a.065
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.066
Al block 10 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

ILM103
PSF 090601a.074
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.075
Al block 15 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD.

ILM103
PSF 090601a.083
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., ASD.

ILM103
PSF 090601a.084
Al block 20 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD; grain lost.

ILM103
PSF 090601a.092
Al block 25 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., ASD.

ILM103
PSF 090601a.093
Al block 25 mm deep well: D grain (500-1000 μm), i=0°/e=0° (bifurc. cable), 100 avg., grain shaken and remeasured, ASD; grain lost.

ILM103
PSF 090601a.112
45-90 μm single grain, Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

ILM103
PSF 090601a.113
90-250 μm single grain, Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.114
250-500 μm single grain (C grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

ILM103
PSF 090601a.115
500-1000 μm single grain (D’’ grain), Al block 10 mm deep well, i=0°/e=0° (bifurc. cable), 100 avg. ASD.


+++++++
ILM103
PSF 090601a.139
45-90 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

ILM103
PSF 090601a.140
90-250 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103
PSF 090601a.141
250-500 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg., ASD.

ILM103
PSF 090601a.142
500-1000 μm bulk powder, i=0°/e=0° (bifurc. cable), 100 avg. ASD.

ILM103

PSF B1

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

ILM103

PSF B4

45-90 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

ILM103

PSF B5

90-250 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

ILM103

PSF B6

250-500 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

ILM103

PSF B8

500-1000 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++

ILM110
PSF 290807.026
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM110
PSF 290807.027
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM110
PSF ilm110.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

+++++++
ILM111
PSF 290807.028
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM111
PSF 290807.030
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM111
PSF ilm111.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM111

PSF a15

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM112
PSF 290807.031
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM112
PSF 290807.032
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM112
PSF ilm112.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM112

PSF a16

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM113
PSF 290807.033
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM113
PSF 290807.034
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM113
PSF ilm113.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM113

PSF a17

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM114
PSF 290807.035
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM114
PSF 290807.036
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM114
PSF ilm114.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM114

PSF B2

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM115
PSF  300807.001
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM115
PSF  300807.002
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM115
PSF ilm115.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM115

PSF B11

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM116
PSF  300807.003
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM116
PSF  300807.004
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM116
PSF ilm116.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

+++++++
ILM117
PSF  300807.005
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM117
PSF  300807.006
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM117
PSF ilm117.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

+++++++
ILM118
PSF  300807.007
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM118
PSF  300807.008
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM118
PSF ilm118.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM118

PSF B14

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM119
PSF  300807.009
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM119
PSF  300807.010
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM119
PSF ilm119.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

+++++++
ILM120
PSF  300807.011
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM120
PSF  300807.012
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM120
PSF ilm120.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM120

PSF B15

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM121
PSF  300807.013
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM121
PSF  300807.014
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

ILM121
PSF ilm121.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

+++++++
ILM151
PSF 100305a.001
<45 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avgd; ASD.

ILM151
PSF 100304b.003
45-500 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avg; ASD.

ILM151
PSF ilm151.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM151

PSF a5

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM152
PSF 100305a.002
<45 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avgd; ASD.

ILM152
PSF 100304b.004
45-500 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avg; ASD.

ILM152
PSF ilm152.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM152

PSF a7

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM153
PSF 100305a.003
<45 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avgd; ASD.

ILM153
PSF 100304b.005
45-500 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avg; ASD.

ILM153
PSF ilm153.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM153

PSF a9

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM154
PSF 100305a.004
<45 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avgd; ASD.

ILM154
PSF 100304b.006
45-500 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avg; ASD.

ILM154
PSF ilm154.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM154

PSF a11

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM155
PSF 100305a.005
<45 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avgd; ASD.

ILM155
PSF 100304b.007
45-500 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avg; ASD.

ILM155
PSF ilm155.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM155

PSF a13

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM156
PSF 100305a.006
<45 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avgd; ASD.

ILM156
PSF 100304b.008
45-500 μm; 30°/0°; 0.35-2.5 µm; 1 nm output; 1000 spectra avg; ASD.

ILM156
PSF ilm156.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM156

PSF a14

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

+++++++
ILM200
PSF  041007ilm20045
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM200
PSF  041007ilm20090
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

ILM200
PSF 121007ilm20045
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM200
PSF ilm20045
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM200
PSF 121007ilm20090
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

ILM200
PSF ilm20090
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

ILM200
PSF 100824b.013
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

ILM200
PSF ilm200.spec
<45 µm; 0°/0° (bifurcated probe); 0.42 nm resolution; Maya spectrometer (directory: 20130613).

ILM200

PSF 091006a.007
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; aka LAN008.

ILM200

PSF 091021 LAN008
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source; aka LAN008. 

ILM200

PSF 091015 LAN008
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source; aka LAN008. 

ILM200

PSF LAN008 merged
Merged Ocean Optics UV + visible spectra; aka LAN008.
++++++

ILM201

PSF a1

<45 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

ILM201

PSF a2

45-90 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 250 spectra averaged; DUV mirror corrected; Maya [Directory: 140116ilmenites].

++++++++++++++++++++++++++++++++++++
Ilmenites – pressed pellets (25 tons) of pure powders relative to aluminium mirror and spectralon: diffuse and specular geometries.

ILM201

PSF 171113a00004.asd
Diffuse geometry, relative to Al mirror; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

ILM201

PSF 171113a00008.asd
Specular geometry, relative to Al mirror; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

ILM201

PSF 171113a00008.asd
Specular geometry, relative to Spectralon; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

++++++++++++++++++++++++++++++++++++++++++
d. Raman spectra: iRaman 532 nm; 168-4003 cm-1; 4 cm-1 resolution

ILM200
PSF 200805_016_ILM200

45-90 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

+++++

ILM154
PSF 210120_005_532_ILM154_spot2.txtr
<45 µm; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].
ILM154
PSF 210120_006_532_ILM154_spot3.txtr
<45 µm; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

ILM154
PSF 210120_004_532_ILM154_spot1.txtr
<45 µm; 65000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

+++++

ILM201
PSF 210120_007_532_ILM201_spot1.txtr
<45 µm; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

ILM201
PSF 210120_008_532_ILM201_spot2.txtr
<45 µm; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

ILM201
PSF 210120_009_532_ILM201_spot3.txtr
<45 µm; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 9.5

9. Oxides
9.6. Other Oxides
9.6a. Sample Descriptions - Other Oxides
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

i) M1O2 Oxides: Rutile, anatase, brookite
BRO001
Brookite (TiO2): Magnet Cove, AK, USA (trimorphous with anatase and rutile) [Rockaholics LLC, Tucson 2011 show] (M1O2 oxide).
CO2-1
Carbon dioxide, solid (dry ice); from Linde.
OXI003
Pyrolusite (MnO2): Morocco (cobble with acicular pyrolusite veins) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).
OXI005
Xenotime: CO, USA (YPO4) [Minerals Unlimited; xenotime-(Y) - red-brown xl fragments; received Oct. 2020].
PIG007
Synthetic anatase (TiO2). See Pigments section for details (M1O2 oxide). See section 19 of this document for data.
PIG008
Synthetic rutile (TiO2). See Pigments section for details (M1O2 oxide). See section 19 of this document for data.
PIG201
Manganese (IV) oxide: MnO2. Synthetic: 100 grams: -60 +230 mesh; 99%+. Aldrich #243442. (Black pigment, affected by Raman laser heating. Ideally want beta MnO2 (pyrolusite). See Smith and Clark (2001) art Raman article for context). Oxidizing, harmful; harmful by inhalation and if swallowed; avoid contact with eyes; target organs: central nervous system, lungs (M1O2 oxide). See section 19 of this document for data.
PIG330
Titanium white/titanium dioxide (catalogue no. 475-21S). 2 jars of 100 grams each. (white/yellow/orange group). See section 19 of this document for data.
PIG358
Pyrolusite, Mineral brown black (catalogue no. 480-20S). 100 grams. (black/brown group). See section 19 of this document for data.
PRL101
Pyrolusite: Lake Valley, Sierra County, New Mexico, USA; in rock. (-Mn+4O2) (Minerals Unlimited). (For pigments project- black pigment affected by Raman heating - Smith and Clark) (M1O2 oxide).

RUT101
Rutile: near Roseland, Nelson County, Virginia, USA (Minerals Unlimited) (ideally TiO2) (for pigments project) (M1O2 oxide).

RUT102
Rutile: Kragero, Telemark, Norway (Minerals Unlimited) (ideally TiO2) (for pigments project) (M1O2 oxide).

+++++++
ii) M1O2 Oxides: Carbon dioxide ice

CO2-1
Carbon dioxide pellets from Linde.
OXI001
Cassiterite (SnO2): tin oxide; Ximeng Co., Pu’er Prefecture, Yunnan Province, China; massive cobble (~250 g) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).
+++++++

iii) M13O19 Oxides: Hibonite
HIB101
Hibonite: Esiva, Fort Dauphine, Madagascar (Minerals Unlimited and David Shannon), contains some rare earth elements, alternative analysis in Maaskant et al. (1980). (ideally (Ca,Ce)(Al,Ti,Mg)12O19).

+++++++
iv) M8O13 Oxides: Mullite
MUL101
Mullite: Type locality, Loch Scridian, Isle of Mull, Scotland; with corundum and anorthite [Al6Si2O13] (Minerals Unlimited; received Sept. 2002; 3-1" pieces) (pink phase).

+++++++
v) M2O3 Oxides: Corundum, Hematite, Braunnite, Antimony oxide
BRA101
Braunnite: Kuratomi Mine, Tsukumi-shi, Oita-ken, Kyushu, Japan; with feitnechtite and rhodochrosite (too intimate to separate) (Minerals Unlimited). (ideally Mn+2Mn6+3SiO12).

COR101
Corundum: Sigulani Village, Tambani area, Blantyre District, Malawi (Minerals Unlimited). (ideally -Al2O3).

++++++
HEM101
Hematite: (Dick Morris sample HMS3; from Pfizer; produced by calcination of iron salts) [See Morris et al., JGR 90, pp. 3126-3144 (1985) for description]. <140 nm powder provided. (ideally  -Fe2O3).

HEM102
Hematite: Bouse, Arizona, USA (-Fe2O3) (Tyson's Fine Minerals).

HEM103
Hematite: locality unknown (-Fe2O3) (National Museum of Nature, Ottawa).

HEM104
Hematite; locality unknown [Discovery Gemstones Ltd., Edmonton, AB; July 28, 2007]. 8 pieces.
HEM105
Hematite, with quartz. Florence Mine, Egremont, Cumbria, England. (Minerals Unlimited). Multiple pieces received Dec. 2013.
HEM106
Hematite – botryoidal: 511 grams  – Morocco (Tucson Rock and Gem Show – February 2018).

HEM107
Hematite – specular. Bladed cobble with some filled vesicles; locality unknown) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).

HEM108
Hematite – botryoidal: locality unknown; cobble, shiny black) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).

HEM109
Hematite – specular: locality unknown; ~15 cm slab: one side crust, one side cut and polished (Rock and Gems Canada – Whistler, BC, Canada; July 2018).

HEM110
Hematite – botryoidal: locality unknown; ~15 cm cobble (Rocks and Gems Canada – Whistler, BC; July 2018).
HEM200
Hematite – nanopowder; synthetic (“Iron oxide (Fe2O3, alpha) nanopowder”) (MTI Corporation); 30 nm particle size; SOL-GEL manufacturing method; 99.9% purity, crystalline; >50 m2/g specific surface area; 100 grams; certificate of analysis provided. [“Fe2O3-alpha nanopowder is stable in air”]; received June 8, 2010.
HEM201
Hematite, synthetic, from Mike Shepard, Bloomsburg University; sample ID: FE), 4±3 µm grain size, ~100 µm aggregates. 

HEM202
Hematite, synthetic (Iron (III) oxide; 99.995%-FE; Puratrem); Strem Chemicals Inc. #26-2750; lot #30470800; CAS 1309-37-1; two 10-gram vials; received October 2017.
++++++
M141-21
Hematite, specular – University of Winnipeg, Department of Geography collection.
PIG011
Synthetic antimony oxide (Sb2O3). See Pigments section (for pigments project). See section 19 of this document for data.
PIG023
Synthetic chromium (III) oxide (Cr2O3). See Pigments section (for pigments project). See section 19 of this document for data.
++++++

PIG312
Hematite (contains natural iron oxide) (catalogue no. 450-31S). 100 grams. (red/orange group). See section 19 of this document for data.
PIG313
Hematite Crimean (catalogue no. 450-34S). 100 grams. (red/orange group). See section 19 of this document for data.
PIG314
Violet hematite; violet caput mortem (cold hematite) (catalogue no. 450-32S). 100 grams. (red/orange group). See section 19 of this document for data.
PIG323
Hematite (catalogue no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (red/orange group). See section 19 of this document for data.
SYN010
Synthetic aluminum oxide (Al2O3), a 99.9% (metals basis); 20-50 microns APS, spherical powder. Alfa Aesar #42571-22; stock number 42571; Lot #D10R003, CAS# 1344-28-1; 100 grams. For possible use as ultraviolet reflectance standard.

SYN011
Synthetic aluminum oxide (Al2O3), a 99.99% (metals basis); 1.0 micron APS powder. Alfa Aesar #39815-14; stock number 39815; Lot #J05Q066, CAS# 1344-28-1; 25 grams. For possible use as ultraviolet reflectance standard.
+++++++

See also TREX section for additional hematites (TREXxxx): Section 42.
+++++++

vi) M3O4 Oxides: Alexandrite, Hausmannite, Minium
ALE101
Alexandrite (var. of chrysoberyl): Fort Victoria, Zimbabwe (Tyson's Fine Minerals). (ideally BeAl2O4).

HAU101
Hausmannite (distorted spinel structure): N'Chwaning Mine, Kuruman, South Africa (formerly SPI110) (Tyson's Fine Minerals). (ideally Mn+2Mn2+3O4).

HAU102
Hausmannite (distorted spinel structure): Noda Tamagawa Mine, Noda Mura, Kunohe-gun, Iwate-ken, Japan; with manganophyllite, rhodochrosite and tephroite (OLV114) (Minerals Unlimited). (ideally Mn+2Mn2+3O4). Little sample available.

MIN101
Minium: 30 miles south of Tucson, Arizona, USA (Pb22+Pb4+O4) (Smithsonian Institution MNMH #R12526) (for pigments project).

MIN102
Minium: Del Pratt shaft, BHP Mine, Broken Hill, New South Wales, Australia  (Smithsonian Institution MNMH #R10165) (for pigments project).
PIG014
Synthetic lead oxide (Pb3O4) (no natural analogue?). See Pigments section (for pigments project). See section 19 of this document for data.
PIG348
Minium, red lead (Surik) (catalogue no. 457-10S). 50 grams. (red/orange group). See section 19 of this document for data.
+++++++

vii) M3O5 oxides

SYN020
Titanium oxide (Ti3O5); synthetic; 99.9% metals basis; 25 grams. Alfa Aesar #39000; lot G01Z029; CAS: 12065-65-5.

+++++++

viii) MO oxides
PIG010
Synthetic zincite (ZnO). See Pigments section (for pigments project). See section 19 of this document for data.
PIG022
Synthetic lead (II) oxide (PbO). See Pigments section (for pigments project). See section 19 of this document for data.
PIG101
Synthetic litharge (PbO) (Smithsonian Institution MNMH #93589). See Pigments section (for pigments project - red). See section 19 of this document for data.
PIG329
Zinc oxide (catalogue no. 475-31S). 4 ounces. (white/yellow/orange group). See section 19 of this document for data.
TIO001
Synthetic titanium (II) oxide (TiO). Optical grade, 99+% (metals basis); 3 mm pieces, 25g. Alfa Aesar  #88520, lot B23HC. Received Dec. 5, 2013.

WUS101
Wustite: synthetic FeO (Alfa Chemical Co., #10718); <45µm powder by crushing and wet sieving (?). Sample left.

+++++++

ix) Peroxides and hydroxides (water)
H2O001
Distilled water from Geography Department supply – Dec. 30/08.

POX001
Hydrogen peroxide, 35% w/w aq. soln., stab. (Alfa Aesar #L14000; 100 ml; received May 23, 2008).

POX002
Sodium peroxide, 95% (Alfa Aesar #L13306; 50 g; received May 23, 2008)Na2O2.

++++++
x) Other oxides (MnxOx)

OXI002
Psilomelane (group name for manganese oxides): Morocco; massive (~300 g cobble) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).

OXI004
Hollandite: Sweden (Ba(Mn4+6Mn3+2)O16) [Minerals Unlimited description: gray-black prismatic masses, with quartz].
++++++++++++++++++++++++++++
9.6a.1. Samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	RutileSX58
	 
	DH 5803

	hand sample15
	**Hematite
	ActLabs

	hand sample32
	**Pyrolusite
	ActLabs


++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.6b. XRD Data - Other Oxides
9.6b.1. Analogue files from U of A instrument
Sample

XRD File
Phases identified
HIB101

Z03222
hibonite 5H - ferroan
++++++++++++++++++++++++++++++++
9.6b.2. Samples measured with HOSERLab Bruker D-8 – April 2015

Sample


Phases identified by XRD

POX002 – fresh

PDF 00-015-0064: sodium oxide hydrate




PDF 03-065-1996: sodium oxide




PDF 01-085-0733: sodium hydroxide




PDF 00-018-1208: sodium carbonate




PDF 00-020-0231: whewellite, syn.




Plus a few still unidentified peaks

POX002 – exposed1
PDF 00-019-1130: sodium carbonate (natrite, syn) (i.e., changed)

++++++++++++++++++++++++++++++++++++++++

Exposed1: sample left open to ambient air for 48 hours.
++++++++++++++++++++++++++++++++++++++++++
HEM202
Hematite (Nov. 2017 run)

February 2018 UW XRD:

PIG023

eskolaite

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.6c. Compositional Data - Other Oxides (alphabetical order) (continued)
Wt. %
COR101
HEM1013
HEM102
HEM103
HEM104
HEM105

Morris#

(HMS3)






P2O5

  0.00
 0.04
 0.02
0.02
0.02

SO3

  0.25
 0.32
 0.40
0.07
0.06

MnO

  0.00
 0.01
 0.02
0.01
0.02

TiO2

  0.03
 0.02
 0.03
0.06
0.02

SiO2

  1.06
 0.29
 0.31
0.24
2.48

Al2O3

  0.39
 0.71
 0.71
0.26
0.14

FeO
0.00
  0.19
 0.91
 1.33
7.52
1.35

Fe2O3

97.40
96.66
96.35
89.77
94.61

(Fe2O3)*


(97.67)
(97.83)
(98.13)
(96.11)

MgO

  0.14
 0.36
 0.35
0.07
0.11

CO2

  0.04

(+)H2O

  0.27

(-)H2O

  0.29

K2O

  0.00

CaO

  0.06
 0.13
 0.05
0.06
0.04

Na2O


 0.29
 0.28
0.18
0.19

K2O


 0.01
 0.01
0.02
0.01

TOTAL

100.12
99.85b
100.01b
99.12
99.20

LOI


0.00
0.20
0.33
0.40

ppm
Sr


<2
<2
1
87

Zr


20
23
22
50

V


78
105
43
93

Co


735
760
<1
<2

Cr


20
10
25
35

Cu


260
190

Ni


<5
<5
25
<2

Rb


<5
<5



Source
U of A
Morris
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
U of A: FeO determined by wet chemistry at the University of Alberta.
3. Analysis from Morris et al. (1985)

* - All Fe expressed as Fe2O3
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.6c. Compositional Data - Other Oxides (alphabetical order) (continued)
Wt. %
HEM200

Ca
<0.01

Cl
<0.07

Cr
<0.002

H2O
<0.20

K
<0.001

Mg
<0.008

Mn
<0.3

Na
<0.005

Ni
<0.01

Pb
<0.001

SiO2
<0.02

SO42-
<0.05

Analysis from MTI Corp.

9.6c. Compositional Data - Other Oxides (alphabetical order)
Wt. %
HIB101
HIB101
HIB101
HIB101
P2O5
0.02

tr.5
0.00
Cr2O3
0.08

0.04
0.00

MnO
0.06 

0.00
0.00

TiO2
3.19
3.02
2.88
5.63

SiO2
0.52
0.58
0.59
0.58

Al2O3
73.31
75.93
77.05
75.56

FeO
3.661
3.461
3.321
 3.831
Fe2O3
n.d.




MgO
2.38
2.35
2.42
2.76
Na2O


0.05
0.36
ZrO2


0.03


Nb2O5


0.15


K2O


0.023
0.00
CoO


0.013
0.00
CaO

6.03
5.92
5.89
NiO


0.01
0.24
HfO2


0.093


V2O5


0.313
0.00
ZnO2



0.40
SnO2





Cl


0.032







TOTAL
89.63
91.37
92.89
95.25


LOI









Source
U of C
U of A
U of A
U of A
Analysis
EMPA-7
EMPA-1
EMPA-5
EMPA-2





Note: Source and Analysis: U of A: electron microprobe analysis at the University of Alberta; number of analytical points indicated. U of C: electron microprobe analysis at the University of Calgary; number of analytical points indicated.

1. All Fe reported as FeO.

2. Average of 2 analytical points.

3. Average of 3 analytical points.

n.d.: not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.6c. Compositional Data - Other Oxides (alphabetical order) (continued)
Wt. %
RUT101
RUT101
RUT101
RUT101
RUT102


P2O5
 tr.
0.05

tr.
0.03

Cr2O3
 0.12


0.18
MnO
 0.00
0.00

tr.
0.00

TiO2
96.63
95.54
98.43
99.72
97.25

SiO2
 0.00
0.70
0.01
tr.
0.09


Al2O3
 0.03
0.61
0.10
0.06
0.25

FeO
 0.433
0.49
0.943
0.363
0.65

Fe2O3
 
0.70


0.06

MgO
 0.00
0.35
0.05
0.04
0.39

Na2O
 
0.72

0.07
0.68

ZrO2
 


0.044
Nb2O5
 


0.064
K2O
 
0.02

0.014
0.02

CaO
 
0.48
0.02
0.01
0.09

NiO
 


0.064
HfO2
 



SnO2
 


0.014
Cl



0.02



TOTAL

99.98


99.69


LOI

0.32


0.18


ppm

Sr

<2


<2


Zr 

80


640


V 

740


1620


Cr

500


527

Ni

175


123

Co

<2


<2


Source
U of C
Mertzman
U of A
U of A
Mertzman

Analysis
EMPA-8
XRF/WC
EMPA-1
EMPA-1
XRF/WC


Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of C: University of Calgary EMPA. *= data from University of Alberta EMPA.

3. All Fe reported as FeO.

4. Average of 6 analytical points.

n.d.: not determined. tr.: trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

9.6d. Spectral Data - Other Oxides (alphabetical order)
Sample
Facility/File No.  
Description








ALE101
RELAB caal03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

ALE101
RELAB laal03
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

BRA101
PSF 090319a.032
whole rock – matte brown surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

BRA101
PSF 090319a.033
whole rock – lighter part of crystalline mass, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++

CO2-1
PSF 080619a.001
crushed, unsorted, 30°/0°, 0.35-2.5 μm, 2-7 nm resolution, 200 spectra averaged, ASD.

+++++++

COR101
RELAB CACD01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COR101
RELAB LACD01
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

H2O001
PSF 081222a.049
liquid; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; room temp.

H2O001cup
PSF 081222a.050
empty sample cup; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; shot empty without changing vertical height.

+++++++

HAU101
RELAB csc120
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

HAU101
RELAB lasc120
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

+++++++

HAU102
PSF 090319a.034
whole rock – matte brown surface, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

HAU102
PSF 090319a.035
whole rock – crystalline mass with many purple crystals, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

+++++++

HEMATITE
HEM101
RELAB cahe01
<120 nm, 30°/0°, 0.3-2.6µm, 5 nm.


RELAB lahe01a
<120 nm, 30°/0, 30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet, different viewing geometry).
HEM101
PSF 220507hem101
<120 nm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM101
PSF 110707hem101
<120 nm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM101
PSF hem101
<120 nm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

+++++++

HEM102
RELAB cahe02
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.


RELAB lahe02
<45 µm, 30°/0, 30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet, different viewing geometry).
HEM102
PSF 220507hem102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM102
PSF 110707hem102
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM102
PSF hem102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

HEM102
PSF 130707hem102up
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Unpacked (loose) sample; Ocean Optics S2000.

HEM102
PSF 130707hem102unpacked
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Unpacked (loose) sample; Ocean Optics S2000.

HEM102
PSF 130707hem102p
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Packed (tamped down) sample; Ocean Optics S2000.

HEM102
PSF 130707hem102slick
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. “Slick” (tamped down and mirror surface made) sample; Ocean Optics S2000.

HEM102
PSF 160707hem102unpacked
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm. Unpacked (loose) sample; Ocean Optics S2000.

+++++++

HEM103
RELAB cahe03
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.


RELAB lahe03
<45 µm, 30°/0, 30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet, different viewing geometry).

HEM103
PSF hem103m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

HEM103
PSF hem103n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

++++Grain size series: HEM103+++++
HEM103
PSF 220507hem10345
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF 110707hem10345
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF hem10345
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

HEM103
PSF 220507hem10390
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF 110707hem10390
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF hem10390
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

HEM103
PSF 220507hem103250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF 110707hem103250
90-250 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF hem103250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

HEM103
PSF 220507hem103500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF 110707hem103500
250-500 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF hem103500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

HEM103
PSF 220507hem1031000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF 110707hem1031000
500-1000 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

HEM103
PSF hem1031000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.
HEM103
PSF 111201a.039
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 111201_optech]
+++++++Grain size series: HEM103+++++

HEM103
PSF 071201a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize).

HEM103
PSF 071201a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.001-002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD (directory: 071201grainsize).

HEM103
PSF 071201a.003
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize).

HEM103
PSF 071201a.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.003-004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD (directory: 071201grainsize).

HEM103
PSF 071201a.005
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize).

HEM103
PSF 071201a.006
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.005-007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD (directory: 071201grainsize).

HEM103
PSF 071201a.008
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize).

HEM103
PSF 071201a.009
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.008-010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD (directory: 071201grainsize).

HEM103
PSF 071201a.011
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize).

HEM103
PSF 071201a.012
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD (directory: 071201grainsize; reshoot of previous sample).

HEM103
PSF 071201a.011-013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, avgd; ASD (directory: 071201grainsize).


+++++++

HEM103
PSF 111201a.039
<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

+++++++

HEM104
PSF 130910a.017
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

+++++++

HEM200
PSF 100616a.012
30 nm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged, ASD (Directory: 100615_crypto; 100615_nano).

+++++++

HIB101
RELAB C1SC72
<45µm, 0/15, 0.3-2.7µm, 5 nm.

+++++++
M121-14
PSF 180329a00001.asd
Unsorted loose powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180329 hematite].

M121-14
PSF 180329a00002.asd
Whole rock; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180329 hematite].

M121-14
PSF 180329a00003.asd
Whole rock, different facet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180329 hematite].

M121-14
PSF 180329a00004.asd
Whole rock, different facet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180329 hematite].

M121-14
PSF 180329a00005.asd
Crushed powder, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180329 hematite].

++++++
MIN101
PSF 150324a.007
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++

MIN102
PSF 150324a.008
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++

OXI004
PSF 201023a.00005.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 avg; ASD spectra; ASD 4 [Directory: 201023 mars sample return minerals].

OXI004
PSF 201023a.00006.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 avg; ASD spectra; ASD 4 [Directory: 201023 mars sample return minerals].

+++++++

OXI005
PSF 201023a.00001.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 avg; ASD spectra; ASD 4 [Directory: 201023 mars sample return minerals].

OXI005
PSF 201023a.00002.asd
<1000 µm; 30°/0°; 0.35-2.5 µm; 1 nm output; 500 avg; ASD spectra; ASD 4 [Directory: 201023 mars sample return minerals].

+++++++

PIG007
PSF 050707pig007
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

PIG007
PSF 120707pig007
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

PIG007
PSF pig007
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

PIG007
PSF 080913a.052
<45 µm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD.

+++++++
PIG008
PSF 050707pig008
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

PIG008
PSF 120707pig008
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

PIG008
PSF pig008
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

PIG008
PSF 080913a.053
<45 µm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD.

+++++++
PIG101
PSF 150324a.011
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++
POX001c
PSF 081222a.046
liquid; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; -23° C, immediately after bringing inside.

POX001c
PSF 081222a.047
liquid; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; -23° C, 3 minutes after bringing inside.

POX001cup
PSF 081222a.048
empty sample cup; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; shot empty without changing vertical height.
Distilled water
PSF 081222a.049
Distilled water; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; room temperature.
Empty cup
PSF 081222a.050
Empty cup for distilled water, same position; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; shot empty without changing vertical height.

++++++

POX002
PSF 081222a.041
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

POX002
PSF 091026 pox002
unsorted pellets; 0°/0° (bifurcated fibres); 0.2-0.4 µm; ~0.3 nm resolution; 100 averaged; Ocean Optics S2000.
POX002f
PSF 081222a.042
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; -23° C, immediately after bringing inside.

POX002f
PSF 081222a.043
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; -23° C, 3 minutes after bringing inside.

POX002f
PSF 081222a.044
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; -23° C, 6 minutes after bringing inside.

POX002f
PSF 081222a.045
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; -23° C, 9 minutes after bringing inside.

POX002
PSF 130910a.016
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).
POX002
PSF 150408a.004
<45 µm, left in open air overnight, greatly expanded overnight; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150408 random chems].

POX002
PSF pox002
<45 µm, fresh sample from jar; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408].

NIT003
PSF pox002 smoothed
<45 µm, fresh sample from jar; i=30°, e=0°; 70000-400 cm-1 (1.43-25  µm); 6 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: Random Chems 150408]. Same as above, smoothed after acquisition with 25 point running average.

+++++++

RUT101
PSF 080114b.007 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

+++++++

RUT102
PSF 080114b.008 
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 spectra avgd; ASD.

+++++++
SYN020
PSF 150715a.012
pressed pellet, left in air for 2 weeks; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 150715 colored calcites powdered].

SYN020
PSF 150715a.013
pressed pellet, new pellet from vial; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 150715 colored calcites powdered].

SYN020
PSF 150715a.014
pressed pellet crushed into sample holder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 150715 colored calcites powdered].

SYN020
PSF 17
whole rock; i=e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya2000 Pro [Directory: 152627 condensed organics].

SYN020
PSF 19
crushed, fine, unsorted; i=e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya2000 Pro [Directory: 152627 condensed organics].

++++++

TIO001
PSF 150715a.015
powderd – crushed, unsorted, left out for 2 weeks; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 150715 colored calcites powdered].

TIO001
PSF 150715a.016
new from vial, whole chip; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 150715 colored calcites powdered].

TIO001
PSF 16
whole rock; i=e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya2000 Pro [Directory: 152627 condensed organics].

TIO001
PSF 18
crushed, fine, unsorted; i=e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya2000 Pro [Directory: 152627 condensed organics].

++++++
WUS101
RELAB c1sc13
<63µm, 0°/15°, 0.34-2.7µm, 5nm.

WUS101 
PSF feb2107.017
<45 µm, 35°/0°, 0.35-2.5 µm, 1 nm, 1000 avg, ASD (directory: feb2107 meteoritic).

WUS101 
PSF feb2107.018
45-90 µm, 35°/0°, 0.35-2.5 µm, 1 nm, 1000 avg, ASD (directory: feb2107 meteoritic).

++++++++++++++++++++++++++++++++++++++
Hematites – pressed pellets (25 tons) of pure powders relative to aluminium mirror and spectralon: diffuse and specular geometries.

HEM200

PSF 171113a00003.asd
Diffuse geometry, relative to Al mirror; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

HEM200

PSF 171113a00009.asd
Specular geometry, relative to Al mirror; i=30°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

HEM200

PSF 171113a00009.asd
Specular geometry, relative to Spectralon; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171123 oxides].

+++++++++++++++++++++++++++++++++++++++

Raman spectra – other oxides: iRaman (532 nm); i=e=0°; 168-4003 cm-1; 4 cm-1 resolution

HIB101
PSF 200805_014_HIB101_Spot1
<45 µm powder; 100 msec integration time; 3000 spectra averaged [Directory: 200805 Lunar Raman].
HIB101
PSF 200805_015_HIB101_Spot2
<45 µm powder; 100 msec integration time; 3000 spectra averaged [Directory: 200805 Lunar Raman].

+++++++++++++++++++++++

iRaman 532 nm Raman spectra; 174-4002 cm-1 wavelength range; ~4 cm-1 resolution

COR101
PSF 210128_013_532_COR101_spot1.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

COR101
PSF 210128_014_532_COR101_spot2.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

COR101
PSF 210128_015_532_COR101_spot3.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

COR101
PSF 210203_006_532_COR101_spot1_test.txtr
<45 µm powder; 1,000 msec integration time; 600 spectra averaged; [Directory: 210203 LunaR raman].

++++++

HEM101
PSF 210129_001_532_HEM101_spot1.txtr
<140 nm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

HEM101
PSF 210129_002_532_HEM101_spot2.txtr
<140 nm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

HEM101
PSF 210129_003_532_HEM101_spot3.txtr
<140 nm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

++++++

RUT001
PSF 210128_009_532_RUT001_spot1.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

RUT001
PSF 210128_010_532_RUT001_spot2.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

RUT001
PSF 210128_011_532_RUT001_spot3.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
9.6d.1. Other oxides - Polynomial (quadratic) fits to spectra
Equation y=a+bx+cx2
Differentiate & solve for x at y=0 i.e. 0=-b+2cx, b=2cx

Band depth, solve for y (if normalized only)

Sample 


Poly. Coeff's 
Band

Band
Grain

Compil.
           Channels



  a
   b
  c
Min(µm)
Depth% Size (µm)
& File#

Fitted

WUS101
2.989
-1.811 
.9042
1.001


<63

brown1a-146
111-139

WUS101/s.l.
1.407
-.9944 
.4772
1.042

11.1
<63

brown1b-184
111-174

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 9.6.
10. Metals and “Ides” 
10.1. Metals

10.2. Carbides

10.3. Nitrides

10.4 Phosphides

10.5. Selenides

10.6. Silicides

10.7. Sulphides
10.8. Arsenides
++++++++++++++

10a. Sample Descriptions - Metals and "Ides"
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description








10a.1. METALS/ALLOYS
See also Meteorites, and Synthetics and Elemental sections

AWA101
Awaruite: Josephine County, Oregon, USA (Minerals Unlimited).

IRO101

Iron: synthetic Fe (ESPI Corp., #K2869B), +325 mesh (>90 microns), 3N+ purity. Unsorted (>45µm) powder.
IRO102

Iron, synthetic nanophase; average particle size <50 nm. MTI Corporation. PCVD manufacturing method, 50 grams ordered. Packed under vacuum; 40-60 metres2/gram surface area. Note: open/stored in Ar atmosphere only. Received June 18, 2008.

IRO103

Iron, synthetic powder, spherical, <10 micron, 99.9%+ (metals basis), 99.5% (Alfa Aesar stock #00170-14, 62-03-02; lot #L05R011) 25 grams.
IRO104

Iron powder, atomized; >99/0% Fe; particle size: 300 mesh, <2% +75 microns, <20% +45 microns; susceptible to rusting if exposed to moisture. Inoxia Limited; 500 grams (EC number 231-096-4; CAS 7439-89-6).
MTL001
Cobalt foil: 25 x 25 mm, p.1 mm thick; Alfa Aesar #42658 (99.95% metals basis).

MTL002
Nickel foil: 50 x 50 mm, 0.1 mm thick; Alfa Aesar #44821 (99.5% metals basis).

MTL003
Tin foil: 50 x 50 mm, 0.1 mm thick; Alfa Aesar #11460 (Puratronic 99.998% metals basis).

MTL004
Titanium foil: 150 x 50 mm, 0.127 mm thick, annealed; Alfa Aesar #00971 (99% metals basis).

MTL005
Zinc foil: 30 x 10 cm, 0.25 mm thick; Alfa Aesar #10436 (99.98% metals basis).

MTL006
Silver foil: 150 x 150 mm, 0.025 mm thick; Alfa Aesar #12190 (stock #K08S017); annealed 99.95% (metals basis).

MTL007
Silver foil: 50 x 50 mm, 0.127 mm thick; Alfa Aesar #11440 (stock #J09N21); annealed 99.9% (metals basis).

MTL008
Silver capsules pressed: 5 x 3.5 mm; Elemental Microanalysis Ltd; D2002.
MTL009
Zinc pucks cast for assaying: Cominco Smelter, Trail, BC, Canada; 2 pucks (~42 mm diameter x 12 mm thick).
NIC101
Nickel: synthetic Ni (ESPI Corp., #K3603E), -500 mesh, 3N6 purity. <45µm sample by crushing and dry sieving (?). Sample left.

NIF101
Nickel-iron 50:50 alloy: synthetic (ESPI Corp., #K3602O). <45µm sample by crushing and dry sieving (?). Sample left.

SIL101
Silicon metal, synthetic; 3 pieces. 

SYN002
Gold powder, synthetic, spherical, - 325 mesh, 99/9% (metals basis) 5 grams. Alfa Aesar #43900. For use as reflectance standard.
SYN003
Aluminum powder, spherical, APS 17-30 microns, 99% (metals basis). 100 grams. Alfa Aesar stock #10576; lot #I21K08. For use as reflectance standard.

+++++++++++++++++++++++++++++++

10a.1.1. Metal samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	CuMo
	Metal alloy
	*USZ 3-85 (Central Geological Laboratory)


+++++++++++++++++++++++++++
10a.2. CARBIDES
CEM101
Cementite: synthetic Fe3C, -325 mesh (Alfa Chemical Co., #88173). <45µm powder made by crushing (?) and wet sieving (?). Sample left.

SIC101
Silicon carbide: synthetic SiC (Carveth Metallurgical Ltd., unsorted). <37µm sample by dry sieving. Sample left.

SIC102
Silicon carbide: synthetic SiC (ET Enterprises Ltd., <7µm size). <7µm sample used as is. Sample left.

SIC103
Silicon carbide, 100 grit (?). Naturalpigments.com (670-1210?); 50 ml.
++++++++++++++++++++++++++

10a.3. NITRIDES
CAR101
Carlsbergite: synthetic CrN (ESPI Corp., #K1367R). No powder made. Sample left.

TIN001
Titanium nitride (TiN), synthetic. “99.5% (metals basis), Alfa Aesar stock number 41556-18, lot #X29S045.CAS #25583-20-4.” 50 grams.

++++++++++++++++++++++++++++++++++++++

10a.4. PHOSPHIDES
See also Meteorites section.
++++++++++++++++++++++++++++++++++++++
10a.5. SELENIDES
PIG013
Synthetic cadmium selenide (CdSe) (no natural analogue) (for pigments project). See section 19 of this document for data.
+++++++++++++++++++++++++++++++++++++++

10a.6. SILICIDES
SYN008
Iron silicide (FeSi2), 99.9% (metals basis), 5 grams. Alfa Aesar stock #14022, lot #C26M51, CAS #12022-99-0.

++++++++++++++++++++++++++++++++++++++++

10a.7. SULPHIDES
ALA101
Alabandite: Alchichicha, Puebla, Mexico (Minerals Unlimited).

CAS001
Calcium sulphide, synthetic (CaS) (oldhamite); “99.9% (metals basis excluding Sr) Sr typically 500 ppm 5g (glass); CAS #20548-54-3. Alfa Aesar stock number 13121, lot #G16U051, -325 mesh powder”. 5 grams (packed under argon).

CHA101
Chalcopyrite: Temegami, Ontario, Canada (Cowan Mineral Co.).

CHA102
Chalcopyrite: Butte, Silver Bow County, Montana, USA; with bornite and quartz (Minerals Unlimited).

CHA103
Chalcopyrite; locality unknown (Mineral Society of Manitoba); 3 specimens.

CIN101
Cinnabar: Arcana Creek, near Aleknagic, Alaska, USA (HgS) (Minerals Unlimited) (for pigments project).

CIN102
Cinnabar: New Almaden, California, USA (HgS) (Smithsonian Institution #C458) (for pigments project - red).

CIN103
Cinnabar: Idria, Carinthia, Austria (HgS) (Smithsonian Institution MNMH #78539-1) (for pigments project - red).

CUB101
Cubanite: Mackinaw Mine, Monte Cristo, Snohomish County, Washington, USA (Minerals Unlimited), contains chalcopyrite CUB101a and cubanite CUB101b.

GAL101
Galena, unknown locality [PbS], (display specimen from Tyson’s), with fluorite (FLU102).

GRE101
Greenockite: San Bernardino County, California, USA (CdS) (Smithsonian Institution MNMH #156721) (for pigment project - yellow). Too sparse to get a pure separate (thin yellow coating on rock).

HAW101
Hawleyite: Eureka County, Nevada, USA (CdS) (Smithsonian Institution MNMH #120642) (for pigment project - yellow). Too sparse to get a pure separate (thin yellow coating on rock).

MAC101
Mackinawite: Hitura, Finland (Minerals Unlimited).

MAR101
Marcasite: locality unknown (University of Alberta GEOL330 laboratory collection # unknown), intimately mixed with pyrite.

MAR103
Marcasite: Athabasca oil sands, Fort McMurray, Alberta, Canada (self collected).

MAR104
Marcasite cast: Athabasca oil sands, Fort McMurray, Alberta, Canada (self collected).

MAR110
Marcasite: Consumer’s Quarry, Racine, Wisconsin, USA; with calcite (Minerals Unlimited).

MAR111
Marcasite: Tri-State Mining District, Kansas, USA; with sphalerite (SPH103) (Minerals Unlimited).

MAR112
Marcasite: Texas Mine, Hockerville, Ottawa Co., OK, USA (received from Royal Ontario Museum, their sample ID M27691; March 2014; for Karly Pitman optical constants project). [Wet sieve powder series made.]
ORP101
Orpiment: Getchell Mine, near Golconda, Humboldt County, Nevada, USA (As2S3); with realgar, on rock (Minerals Unlimited) (light sensitive) (for pigments project - yellow). More received June 11/07.
ORP102
Orpiment: Felsobanya, Romania (As2S3) (Smithsonian Institution MNMH #R13305) (for pigments project - yellow).

ORP103
Orpiment: Manhattan, Nevada, USA (As2S3) (Smithsonian Institution MNMH #155082) (for pigments project - yellow).
PEN101
Pentlandite: Sudbury, Ontario, Canada (Cowan Mineral Co.).

PIG012
Synthetic cadmium sulphide (CdS) (no natural analogue?). See Pigments section (for pigments project). See section 19 of this document for data.
PIG015
Synthetic mercury sulphide - red (HgS) (synthetic version of vermilion/cinnabar. See Pigments section (for pigments project). See section 19 of this document for data.
PIG016
Synthetic mercury sulphide - black (HgS) (synthetic version of vermilion/cinnabar. See Pigments section (for pigments project). See section 19 of this document for data.
PIG308
Orpiment (catalogue no. 430-20S). 10 grams; 0.35 ounces. (white/yellow/orange group). See section 19 of this document for data.
PIG309
Cinnabar, warm (catalogue no. 450-10S). 10 grams.  (red/orange group). See section 19 of this document for data.
PIG384
Realgar; originally mislabelled as PIG309 (Natural Pigments #450-20S), 10 grams (red-orange group). See section 19 of this document for data.
PRH101
Pyrrhotite: locality unknown (University of Alberta GEOL330 laboratory collection # unknown).

PRH102
Pyrrhotite: Creighton Mine, Sudbury, Ontario, Canada; with chalcopyrite and plagioclase feldspar (Minerals Unlimited).

PRH103
Pyrrhotite: Kuratomi Mine, Tsukumi shi, Oita ken, Kyushu, Japan (Minerals Unlimited).

PRH104
Pyrrhotite: near Crown Point, Essex County, New York, USA; with limonite (Minerals Unlimited).

PRH105
Pyrrhotite: Murray Mine, Nipissing District. Ontario (received from Royal Ontario Museum, their sample ID M3924; March 2014; for Karly Pitman optical constants project). [Wet sieve powder series made.]
PRT101
Pyrite: locality unknown (University of Alberta GEOL330 laboratory collection # unknown).

PRT102
Pyrite: locality unknown (from some rock show).

PRT103
Pyrite: Island of Elba, Italy (Minerals Unlimited).

PRT104
Pyrite: locality unknown (Mineral Society of Manitoba).

PRT105
Pyrite-bearing carbonate?, northern Ontario?

PRT106
Pyrite, probably from Joplin, Missouri; display specimen (from Tysons), with calcite (CRB128).

PRT107
Pyrite, probably from Nanisivik Mine, NWT, Canada; 4 1.5" pieces; from Manitoba Museum gift shop – December 2013.

PRT108
Pyrite: Bingham, UT, USA (received from Royal Ontario Museum, their sample ID M8751; March 2014; for Karly Pitman optical constants project). [Wet sieve powder series made.]
PRT109
Pyrite – locality unknown: 254 grams (Tucson Rock and Gem Show – February 2018).
REA101
Realgar: Getchell Mine, near Golconda, Humboldt County, Nevada, USA (AsS) (Minerals Unlimited) (light sensitive) (for pigments project). More received June 11/07.
REA102
Realgar: Cavnic, Crisana-Maramures, Romania (AsS) (Smithsonian Institution MNMH #159151) (for pigments project).
REA103
Realgar: Basses Alps, France (AsS) (Smithsonian Institution MNMH #B551) (for pigments project).
SPH101
Sphalerite: Bromley Hill Mine, Nenthead, Alston, Cumbria, England [(Zn,Fe)S] (Minerals Unlimited).

SPH102
Sphalerite: Ballard Mine, Baxter Springs, Kansas, USA [(Zn,Fe)S] (Minerals Unlimited).

SPH103
Sphalerite: Tri-State Mining District, Kansas, USA; with marcasite (MAR111) (Minerals Unlimited).

SPH104
Sphalerite: locality unknown (Mineral Society of Manitoba); 3 specimens.
SUL001
Synthetic copper (II) sulphide (CuS), 99.5% (metals basis); Alfa Aesar #14718, lot: R19A012; CAS: 22205-45-4; 50 grams (received Dec. 5, 2014).

SUL002
Synthetic nickel sulphide, 99.9% (metals basis); -200 mesh powder [Ni3S2]; Alfa Aesar #35661, lot: C12Y018; CAS: 12035-72-2; 10 grams (received Dec. 5, 2014).
TRO101
Cubanite: Alta Mine, Del Norte County, California (Minerals Unlimited), labelled as troilite but more cubanite-like analysis.

TRO201
Troilite: Canyon Diablo iron meteorite, Coconino County, Arizona (David Shannon Minerals).

TRO202


Troilite: synthetic FeS (ESPI Corp., #K28860), 3N purity.  Sample left.<45µm powders made from original powdered sample without crushing (TRO202) and with crushing (TRO202g), and after exposure to air (TRO202i). Sample left. See also Meteorite section.

TRO203


Synthetic troilite, stoichiometric FeS (Alfa Aesar, Tech. grade, 99% purity; #A15569-30; Avocado Research Chemicals No. 1317-37-9, lot #C5417A). <45 and 45-90µm powders made by crushing and dry sieving. Sample left.

TOC101
Tochilinite: Jeffrey Mine, Asbestos, Shiton Township, Quebec, Canada (Smithsonian NMNH #148696). [6Fe0.9S·5(Mg,Fe+2)(OH)2]. (May be in carbonaceous chondrites: see MacKinnon & Zolensky in Akai & Kanno article (also filed under clays and sulphates).
VIO101
Violarite: Perseverance Mine, Agnew, Western Australia, Australia (brown submetallic) [Fe2+Ni32+S4]; with pyrite (Minerals Unlimited).

+++++++++++++++++++++++++++++++

10a.7.1. Sulphide samples from Alex Koujelev at Canadian Space Agency for LIBS development

Samples received February 2012.

Descriptions provided in section 30 of this document.

	Hand sample10
	**Galena
	ActLabs

	Hand sample17
	**Pyrite
	ActLabs

	hand sample27
	**Chalcopyrite
	ActLabs


++++++++++++++++++++++++++++++++
10a.8. ARSENIDES
ARS001
Skutterudite (CoAs3): Morocco (small silver gray pebble; ~50 grams) (Silver Cove Ltd., www.silversove.net; Winnipeg Rock Show – April 2018).

++++++++++++++++++++++++++++++++++++++++++++++++
10b. XRD Data - Metals and "Ides" (alphabetical order)
10b.1. Analogue files from U of A instrument
Sample

XRD File
Phases identified
ALA101

Z03273

alabandite; minor masutomilite (mica group)
AWA101
Z03272

awaruite; some clinochlore; minor andradite garnet
CEM101
Z04687

didn’t patter match peaks
CUB101

Z03239

lizardite; some cubanite
MAC101
Z03241

mackinawite; some lizardite; minor magnetite


MAR101
Z03237

marcasite ; pyrite
MET101
Z03229

kamacite ; minor taneite ; minor cohenite
PEN101

Z03240

pentlandite ; annite (mica group)
PRH101

Z03235

pyrrhotite
PRT101

Z03236

pyrite ; minor quartz
SIC101

Z03153

moissanite (SiC (8H))
SIC102

Z04683

various SiC patterns match (4H – hexagonal ; 8G – hexagonal ; 12H – hexagonal ; 8F – cubic)
TRO101

Z03238

major cubanite; minor pyrrhotite; minor troilite
TRO201

Z03224

troilite, 2H; trace graphite
TRO202

Z04717



10b.2. University of Manitoba XRD analysis

TRO202, 202g, and 203 were measured by XRD at the University of Manitoba Department of Geological Sciences in May and June of 1999. The samples were run in step scan mode to provide information on structural differences between the <45µm size samples and whether any accessory phases are present.

TRO202

Sample is predominantly troilite, with definitely some sulphur and minor goethite and pyrrhotite (File: tro202.rep). (XRD completed).

TRO202g
Sample is even more predominantly troilite, with definitely some sulphur and minor goethite and pyrrhotite (File: tro202g.rep). (XRD completed).

TRO203

Sample is predominantly troilite with a bit of wustite (aluminum is from the sample holder). (File: tro203.rep). (XRD completed).

Comparison of the 3 spectra shows some structural offsets between TRO203 versus TRO202 and TRO202g. TRO202g has larger full width half maximum versus TRO202, otherwise the patterns are nearly identical.

++++++++++++++++++++++++++++++++++++++++++++

10b.3. Quantitative XRD results from Dave Bish (2009)

TRO201:
79% troilite (FeS)



18% pyrrhotite (Fe1-x)S



2% greigite (Fe3S4)



1% a-iron

TRO202:
52% troilite (FeS)



21% pyrrhotite (Fe1-x)S



17% goethite (FeOOH)



9% sulfur (S)



1% a-iron

TRO203:
85% troilite (FeS)



7% pyrrhotite (Fe1-x)S



7% a-iron



2% greigite (Fe3S4)

+++++++++++++++++++++++++++++++++++++++++++++++++
10b.4. University of Winnipeg rapid-scan phase identifications (2015)

Sample

Phases identified

CIN102
cinnabar; quartz

CIN103
cinnabar

MIN101
minium

MIN102
minium; quartz

ORP101
orpiment

ORP102
orpiment

ORP103
orpiment

REA101
realgar

REA102
realgar; orpiment

REA103
realgar

++++++

University of Winnipeg rapid-scan phase identifications (Feb. 2016)

MAR112
marcasite plus kornelite/sulphate mixture

PRH105
pyrrhotite + an Fe-Ni sulphide, likely pentlandite

PRT108
pyrite, possibly trace anatase

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10c.  Compositional Data - Metals and "Ides"
10c.1. Metals

Wt. %
AWA101
IRO102
MET101
MET101
MET101
MET102
MET102
MET102
Fe
25.86
99.99
93.39
91.84
93.91
92.49
91.59
92.94
Ni
71.50
<0.09
 6.07
6.05
6.08
 5.93
6.04
5.87
Na
 0.07

 0.00
0.28
0.01
 0.00
0.13
0.01
S
 0.00

 0.00
0.01
tr.
 0.00
0.00
0.00
V
 0.00

 0.00
0.00

 0.00
0.00

Co
 0.88

 0.50
0.50

 0.61
0.61

P
 0.03

 0.02
0.04
0.02
 0.05
0.05
0.05
Cr
 0.00
<0.006
 0.18
0.18

 0.03
0.03


Mg
 0.17

 0.00
0.00

 0.00
0.00

Mn
 0.00
<0.086
 0.00
0.00
0.01
 0.03
0.05
0.02

Cu
 0.00

 0.00
0.00
0.02
 0.00
tr.
0.00
Al
 0.05

 0.03
0.03

 0.01
0.01

Pb
 0.57

 0.87
0.87

 0.57
0.57

Zn
 0.00

 0.11
0.11

 0.05
0.05

Ti
 0.00

 0.00
0.00

 0.00
0.00

Ca

<0.04







Si

<0.22







TOTAL
99.13
~99.99
101.17
99.91
100.05
99.77
99.14

IONS NORMALIZED TO 24

Fe
 6.493

22.355


22.402

Ni
17.078

 1.382


 1.366

Na
 0.042

  --


  --

S 
  --

  --


  --

V 
  --

  --


  --

Co
 0.209

 0.114


 0.141

P
 0.014

 0.008


 0.022

Cr
  --

 0.047


 0.008

Mg
 0.098

  --


  --

Mn
  --

  --


 0.007

Cu
  --

  --


  --

Al
 0.027

 0.015


 0.005

Pb
 0.039

 0.056


 0.038

Zn
  --

 0.023


 0.011

Ti
  --

  --


  –



Source
U of A
MTI^
U of A
U of A
U of A
U of A
U of A
U of A

Analysis
EMPA-3

EMPA-1
EMPA-1
EMPA-3
EMPA-1
EMPA-1
EMPA-2


Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of A: University of Alberta EMPA.
tr. = trace (<0.01 wt.%)
^ - Analysis provided by MTI Corporation
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10c.  Compositional Data - Metals and "Ides"

10c.2. Carbides

1c.1. University of Alberta toluene-soluble fraction determinations – 02/96

Sample

Toluene-soluble fraction (w. %)

SIC101

0.05

SIC102

0.09

Performed using micro-Soxhlet set-up

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
10c.4. Phosphides

Wt. %
SCR101
SCR101
SCR102
SCR102  
SCR102
Fe
66.37
66.17
56.51
57.21
Ni
15.54
15.44
24.68
24.68
Na
 0.00
0.00
 0.00
0.00
S
 0.05
0.04
 0.02
0.03
V
 0.00

 0.00
0.00
Co
 0.33

 0.15
0.15
P
14.18
12.08
12.77
13.13
12.07
Cr
 0.02

 0.00
0.04
Mg
 0.01

 0.00
0.03
Mn
 0.00
0.01
 0.00
0.00
0.03
Cu
 0.00
0.00
 0.00
0.00
0.00
Al
 0.04

 0.09
0.09
Pb
 0.79

 0.67
0.70
Zn
 0.00

 0.00
0.00
Ti
 0.00

 0.00
0.00


TOTAL
97.33
93.74
94.89
96.07
IONS NORMALIZED TO 24

Fe
14.822

13.064

Ni
 3.301

 5.441

Na
  --

  --

S 
 0.020

 0.008

V 
  --

  --

Co
 0.070

 0.037

P
 5.711

 5.366

Cr
 0.005

  --

Mg
 0.005

  --

Mn
  --

  --

Cu
  --

  --

Al
 0.019

 0.043

Pb
 0.047

 0.041

Zn
  --

  --

Ti
  --

  –



Source
U of A
U of A
U of A
U of A
U of A
Analysis
EMPA-5
EMPA-5
EMPA-2
EMPA-2
EMPA-1




Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of A: University of Alberta EMPA. *= data from University of Alberta EMPA.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
10c. Compositional Data - Metals and "Ides"

10c.7. Sulphides

Wt. %
ALA101
ALA101
CHA101
CHA101
CUB101a
CUB101b
 

Fe
 0.67
0.64
32.19
32.21
32.11
42.17


Ni
 0.03
tr.
 0.00 
0.00
 0.03
 0.00


Na
 0.04
0.03
 0.00
0.00
 0.00
 0.00


S
35.07
35.08
32.78
30.99
33.41
35.48


V
 0.00

 0.00

 0.00 
 0.00


Co
 0.06

 0.00

 0.04
 0.00


P
 0.01
0.01a
 tr.
0.01a
 0.05 
 0.02


Cr
 0.00

 0.00 

 0.14
 0.01


Mg
 0.03

 0.00

 0.02
 0.03


Mn
62.85
59.21a
 0.03
0.03a
 0.00 
 0.00


Cu
 0.01
0.02a
34.02
30.88a
31.75
20.88


Al
 0.09

 0.00

 0.07
 0.00


Pb
 0.00

 0.00

 0.00
 0.00


Zn
 0.00

 0.00

 0.00
 0.00


Ti
 0.00

 0.00

 tr.
 0.01


TOTAL
98.86
94.99
99.02
94.12
97.62
98.60


IONS NORMALIZED TO 24

Fe
 0.127

 6.480

 6.491
 8.266


Ni
 0.005

  --

 0.006
  --


Na
 0.018

  --

  --
  --


S 
11.627

11.495

11.766
12.114


V 
  --

  --

  --
  --


Co
 0.011

  --

 0.008
  --


P
 0.003

 0.001

 0.018
 0.007


Cr
  --

  --

 0.031
 0.002


Mg
 0.013

  --

 0.009
 0.013


Mn
12.159

 0.006

  --
  --


Cu
 0.002

 6.018

 5.641
 3.597


Al
 0.035

  --

 0.029
  --


Pb
  --

  --

  --
  --


Zn
  --

  --

  --
  --


Ti
  --

  --
 
 0.001
 0.001


Source
U of A
U of A
U of A
U of A
U of A
U of A


Analysis
EMPA-3
EMPA-5
EMPA-2
EMPA-4
EMPA-2
EMPA-2


Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of A: University of Alberta EMPA.
^  - a number of other analytical points gave totals of 80-90% (possibly oxidized?).

a – average of two analytical points.

tr. = trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
10c. Compositional Data - Metals and "Ides" (alphabetical order; continued)

10c.7. Sulphides (continued)
Wt. %
MAC101
MAR101
MAR101

PEN101
PEN101  

Fe
44.31
45.45
45.49

58.38
58.68
Ni
28.53
 0.00
0.02

 0.64
0.64
Na
0.04
 0.02
0.04

 0.02
0.03
S
25.81
54.98
53.35

40.90
39.57
V
0.00
 0.00


 0.00

Co
1.22
 0.04


 0.00

P
0.00
 0.00
tr.a

 0.00

Cr
0.00
 0.00


 0.02

Mg
0.08
 0.00


 0.00

Mn
0.04
 0.00
0.01a

 0.00

Cu
0.00
 0.00
0.01a

 0.00

Al
0.06
 0.04


 0.00

Pb
0.00
 0.00


 0.00

Zn
0.00
 0.00


 0.00

Ti
0.00
 0.00


 0.02



TOTAL
100.09
100.53
98.92

99.98
98.92
IONS NORMALIZED TO 24

Fe
9.012
 7.714


10.750

Ni
5.519
  --


 0.112

Na
0.019
 0.009


 0.009

S 
9.145
16.256


13.123

V 
  --
  --


  --

Co
0.235
 0.007


  --

P
  --
  --


  --

Cr
  --
  --


 0.004

Mg
0.037
  --


  --

Mn
0.008
  --


  --

Cu
  --
  --


  --

Al
0.025
 0.014


  --

Pb
  --
  --


  --

Zn
  --
  --


  --

Ti
  --
  --


 0.002


Source
U of A
U of A
U of A

U of A
U of A
Analysis
EMPA-1^
EMPA-2
EMPA-7

EMPA-2
EMPA-7

Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of A: University of Alberta EMPA. *= data from University of Alberta EMPA.
^  - a number of other analytical points gave totals of 80-90% (possibly oxidized?).

a – average of three point analyses.

tr. = trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10c. Compositional Data - Metals and "Ides" (alphabetical order; continued)

10c.7. Sulphides (continued)
Wt. %
PRH101
PRH101
PRH101
PRT101
PRT101
PRT102
PRT103


Fe
58.53
57.39
58.66
45.97
45.75



Ni
 0.70
0.67
0.71
 0.00
0.01



Na
 0.03
0.15
0.03
 0.06
0.04



S
40.36
38.34
39.45
54.10
54.47



V
 0.00
0.00

 0.00




Co
 0.07
0.06

 0.01




P
 0.00
0.00
tr.a
 0.00
0.01a


Cr
 0.08
0.07

 0.00




Mg
 0.04
0.04

 0.08




Mn
 0.00
0.00
0.01a
 0.00
0.00a


Cu
 0.00
0.00
0.00a
 0.00
0.00a


Al
 0.05
0.05

 0.08




Pb
 0.00
0.00

 0.00




Zn
 0.18
0.16

 0.00




Ti
 0.00
0.00

 0.00 


 

TOTAL
100.04
96.93
98.86
100.30
100.28



IONS NORMALIZED TO 24

Fe
10.798


 7.840




Ni
 0.123


  --




Na
 0.013


 0.025




S 
12.972


16.073




V 
  --


  --




Co
 0.012


 0.002




P
  --


  --




Cr
 0.016


  --




Mg
 0.017


 0.031




Mn
  --


  --




Cu
  --


  --




Al
 0.020


 0.029




Pb
  --


  --




Zn
 0.029


  --




Ti
  --


  --




Source
U of A
U of A
U of A
U of A
U of A



Analysis
EMPA-3
EMPA-3
EMPA-6
EMPA-2
EMPA-9







Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of A: University of Alberta EMPA.

a – average of three point analyses.

tr. – trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10c. Compositional Data - Metals and "Ides" (alphabetical order; continued)

10c.7. Sulphides (continued)

Wt. %
TRO101
TRO101
TRO201
TRO201

Fe
40.99
42.20
61.50
61.54

Ni
0.10
0.08
 0.03
0.03

Na
0.00
0.00
 0.01
0.02
S
34.75
33.75
37.71
36.63
V
0.00

 0.00

Co
0.00

 0.02

P
0.00
0.01a
 0.00
tr.a
Cr
0.06

 0.32

Mg
0.07

 0.00

Mn
0.00
0.01a
 0.00
0.02a
Cu
20.84
20.09a
 0.00
0.01a
Al
0.04

 0.02

Pb
0.00

 0.00

Zn
0.00

 0.08

Ti
0.02

 0.00



TOTAL
96.87
96.14
99.69
98.25

IONS NORMALIZED TO 24

Fe
8.180

11.558

Ni
0.019

 0.005

Na
  --

 0.004

S 
12.082

12.345

V 
  --

  --

Co
  --

 0.003

P
  --

  --

Cr
0.013

 0.065

Mg
0.032

  --

Mn
  --

  --

Cu
3.655

  --

Al
0.017

 0.007

Pb
  --

  --

Zn
  --

 0.013

Ti
0.002

  –


Source
U of A
U of A
U of A
U of A
Analysis
EMPA-6
EMPA-9
EMPA-5
EMPA-14





Note: Source and Analysis: EMPA indicates analysis by electron microprobe; number of discrete point analyses that were averaged together also indicated. U of A: University of Alberta EMPA. *= data from University of Alberta EMPA.
a – average of three point analyses.

tr. – trace (<0.01 wt.%).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10c. Compositional Data - Metals and "Ides" (alphabetical order; continued)

10c.7. Sulphides (continued)
Wt. %
MAR101
PRH101
PRT101
TRO202
TRO203

SiO2
11.08
0.48
4.30

0.00

TiO2
0.21
0.04
0.84

0.06


Al2O3
2.52
0.14
1.16

0.45


(Fe2O3)*
54.73
90.10
92.00

(63.33)


FeO1
0.32
6.37
1.04

0.00

Fe2O31
53.26
83.02
90.84

63.33

MnO
0.01
0.02
0.04

0.16


MgO
0.65
0.00
0.02

0.05


CaO
0.92
0.02
1.10

0.00


Na2O
0.25
0.00
0.00

0.10


K2O
0.48
0.01
0.33

0.00


P2O5
0.06
0.01
0.16

0.00
SO3
1.80
0.00
0.00

S




36.10

TOTAL
72.71
90.82
99.95

100.25

LOI
29.42
15.50
32.57
12.49
4.52


ppm
Sr
48
<2
24

<5

Zr
<2
25
118

10

V
19
43
64

<5

Co
30
1635
85

30

Cr
<2
100
40

70

Cu




350

Ni




140

Rb




<5


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC







* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10c. Compositional Data - Metals and "Ides" (alphabetical order; continued)

10c.7.1. Sulphides (continued) –as oxides
Wt.%
MAR112
PRH105C
PRT108


ROM ID#
M27691
M3924
M8751

SiO2
0.12
0.17
0.06

TiO2
0.02
0.03
0.02

Al2O3
0.00
0.01
0.08

(Fe2O3)*
(99.10)
(94.75)
(98.65)

FeO
0.53
1.90
0.00

Fe2O3
98.51
92.64
98.65
MnO
0.046
0.027
0.025

MgO
0.00
0.17
0.00

CaO
0.04
0.09
0.32

Na2O
0.09
0.20
0.08

K2O
0.007
0.007
0.013

P2O5
0.006
0.006
0.018

SO3
0.07
0.11
0.30

TOTAL
99.499
95.570^
99.566

LOI
34.84
13.84
33.79

Cu
0.2-0.3

0.1-0.2

ppm

Sr
35
8
49

Zr
10
<2
22

V
29
8
21

Ni
380
38800
100

Cr
70
385
72

Co
<2
1925
40

Source
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC





* - all Fe reported as Fe2O3.

^ - total low due to high Ni.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

10d. Spectral Data - Metals and "Ides" (alphabetical order)

Sample
Facility/File No.  
Description







ALA101
PSF 081222a.035
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

+++++++

AWA101
RELAB c1sc14
45-90 µm, 0/15, 0.34-2.7µm, 5nm.

+++++++

CAR101
RELAB cacn01
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

CAR101
RELAB lacn01
<45 µm, 30°/0, 30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet, different viewing geometry).

CAR101 
PSF feb2107.011
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb 2107 meteoritic).

CAR101
PSF 121016a.082
unsorted; 30º/0º; 0.352.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD.

CAR101
PSF OO 82 

unsorted; 0º/0º; 0.2-0.86 µm (0.2-0.4 µm usable range); ~0.4 nm resolution; 200 spectra averaged; Ocean Optics S2000 (directory: Ocean Optics 000); opened in glove box.

+++++++

CAS001
PSF 121016a.081
unsorted; 30º/0º; 0.352.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD.

CAS001
PSF 121016a.121
unsorted; 30º/0º; 0.352.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD.

CAS001
PSF 121016a.124
unsorted; 30º/0º; 0.352.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD.

CAS001
PSF OO 81 
unsorted; 0º/0º; 0.2-0.86 µm (0.2-0.4 µm usable range); ~0.4 nm resolution; 200 spectra averaged; Ocean Optics S2000 (directory: Ocean Optics 000); opened in glove box.

+++++++

CEM101
RELAB c1sc84
<45 µm, 0/15, 0.3-2.7µm, 5nm.


RELAB mace01
<45 µm (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

CEM101
PSF feb2107.012
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2107 meteoritic).

CEM101
PSF feb2017.013
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2107 meteoritic).

+++++++
CIN101
PSF 150324a.004
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++
CIN102
PSF pig1307.036
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

+++++++
CIN103
PSF 150324a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++
IRO101
RELAB c1sc11
<63 µm, 0/15, 0.34-2.7µm, 5nm.

IRO101
RELAB c2sc11
<63 µm, 0/15, 0.34-2.7µm, 5 nm, spun 0.84-2.7µm.

IRO101
PSF feb2007.002
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2007 meteoritic).

IRO101
PSF feb2007.003
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2007 meteoritic).

+++++++

IRO102
PSF 121016a.015
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.
IRO102
PSF 121016a.031
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF OO 15
<50 nm; 0º/0º; 1200-860 nm (200-400 nm usable range); ~0.3 nm resol.;  opened in glove box; 100 avgd.; Ocean Optics S2000; re-measured periodically while in glove box.

IRO102
PSF 121016a.065
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.075
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.077
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.094
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.109
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.123
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.156
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.160
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.161
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.163
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102
PSF 121016a.164
<50 nm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD; re-measured periodically while in glove box.

IRO102

PSF 018


<50 nm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

IRO102
See also section 15 of this document for various mixture involving IRO102.
+++++IRO102 monitored in glove box +++++++++++++++++

Opened in glove box (received packed in neutral atmosphere) - spectra shot periodically to monitor integrity of glove box (search for signs of oxidation)

IRO102a
0 minutes after opening 
ASD PSF file: 121016a.167

IRO102b
5 minutes after opening 
ASD PSF file: 121016a.168

IRO102c
10 minutes after opening 
ASD PSF file: 121016a.169

IRO102d
20 minutes after opening 
ASD PSF file: 121016a.170

IRO102e
18 hours after opening 
ASD PSF file: 121016a.172

IRO102f

40 hours after opening 
ASD PSF file: 121016a.193

++++++++++++++++++++++++++++++++

IRO103
PSF 121016a.013
<10 µm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD.

IRO103
PSF 121016a.105
<10 µm; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD.

IRO103
PSF OO 13
<10 µm; 0º/0º; 1200-860 nm (200-400 nm usable range); ~0.3 nm resol.;  opened in glove box; 100 avgd.; Ocean Optics S2000.
IRO103

PSF 017


<10 µm; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

IRO103
See also section 15 of this document for various mixture involving IRO103.

+++++++++
+++++++MAC101: Ethanol grind-mix+++++

MAC101
Dark_ast_031; PSF 250330a.00001.asd
<45 µm, no grind.

MAC101
Dark_ast_032; PSF 250330a.00002.asd
1 minute of ethanol grind-mix.

MAC101
Dark_ast_033; PSF 250330a.00004.asd
2 minutes of ethanol grind-mix.

MAC101
Dark_ast_034; PSF 250330a.00005.asd
3 minutes of ethanol grind-mix.

MAC101
Dark_ast_035; PSF 250330a.00006.asd
4 minutes of ethanol grind-mix.

MAC101
Dark_ast_036; PSF 250330a.00008.asd
5 minutes of ethanol grind-mix.

+++++

MAR101
RELAB c1sc78
<45µm, 0/15, 0.3-2.7µm, 5nm.

+++++++ MAR112 – phase angle and grain size effects series ++++++++++++
MAR112
PSF 140406a.031
20-25 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406a.032
45-63 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406a.033
63-75 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406a.034
106-125 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406a.035
180-212 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

MAR112
PSF 140406b.031
20-25 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406b.032
45-63 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406b.033
63-75 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406b.034
106-125 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406b.035
180-212 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

MAR112
PSF 140406c.031
20-25 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406c.032
45-63 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406c.033
63-75 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406c.034
106-125 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406c.035
180-212 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

MAR112
PSF 140406d.031
20-25 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406d.032
45-63 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406d.033
63-75 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406d.034
106-125 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406d.035
180-212 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

MAR112
PSF 140406e.031
20-25 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406e.032
45-63 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406e.033
63-75 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406e.034
106-125 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

MAR112
PSF 140406e.035
180-212 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

MAR112
See section 29 for transmission spectra

+++++++

MTL001
PSF 071115a.003
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL002
PSF 071115a.004
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL003
PSF 071115a.005
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL004
PSF 071115a.002
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL005
PSF 071115a.006
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL006
PSF 071212b.002
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

MTL006
PSF 071212b.004
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

MTL006
PSF 071212b.006
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL007
PSF 071212b.001
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

MTL007
PSF 071212b.003
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

MTL007
PSF 071212b.005
lightly sanded surface (with black sandpaper); 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

MTL008
PSF 071204a.001
pressed, crinkled surface; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

MTL008
PSF 071204a.002
pressed, crinkled surface; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

MTL008
PSF 071204a.003
pressed, crinkled surface; 30°/0°; 0.35-2.5 µm; 1 nm res.; 1000 avg, ASD.

+++++++

NIC101
RELAB c1sc10
<25 µm, 0/15, 0.34-2.7µm, 5 nm, spun 0.84-2.7µm.

NIC101
PSF feb2007.004
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2007 meteoritic).

+++++++

NIF101
RELAB c1sc12
<63 µm, 0/15, 0.34-2.7µm, 5nm.

NIF101
RELAB c2sc12
<63 µm, 0/15, 0.34-3.8µm, 5nm, spun 0.84-2.7µm, with errors.

NIF101
PSF feb2007.005
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2007 meteoritic).

NIF101
PSF feb2007.006
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2007 meteoritic).

+++++++
ORP101
PSF 150504.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150504 orpiment].

+++++++

ORP102
PSF 150504.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150504 orpiment].

+++++++

ORP103
PSF 150504.003
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150504 orpiment].

+++++++
PEN101
PSF 100304a.006
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

+++++++PEN101: Ethanol grind-mix+++++

PEN101
Dark_ast_021; PSF 250228a.00001.asd
<45 µm, no grind.

PEN101
Dark_ast_022; PSF 250228a.00002.asd
1 minute of ethanol grind-mix.

PEN101
Dark_ast_023; PSF 250228a.00005.asd
2 minutes of ethanol grind-mix.

PEN101
Dark_ast_024; PSF 250228a.00007.asd
3 minutes of ethanol grind-mix.

PEN101
Dark_ast_025; PSF 250228a.00009.asd
4 minutes of ethanol grind-mix.

PEN101
Dark_ast_026; PSF 250228a.00010.asd
5 minutes of ethanol grind-mix.

+++++

+++++++

PIG384
PSF 150324a.006
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
+++++++
PRH101
RELAB c1sc76
<45µm, 0/15, 0.3-2.7µm, 5nm.

PRH101
PSF 100304a.007
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.
+++++++PRH101: Ethanol grind-mix+++++

PRH101
Dark_ast_011; PSF 250224a.00001.asd
<45 µm, no grind.

PRH101
Dark_ast_012; PSF 250224a.00002.asd
1 minute of ethanol grind-mix.

PRH101
Dark_ast_013; PSF 250224a.00003.asd
2 minutes of ethanol grind-mix.

PRH101
Dark_ast_014; PSF 250224a.00005.asd
3 minutes of ethanol grind-mix.

PRH101
Dark_ast_015; PSF 250224a.00006.asd
4 minutes of ethanol grind-mix.

PRH101
Dark_ast_016; PSF 250224a.00007.asd
5 minutes of ethanol grind-mix.

+++++

+++++++ PRH105 – phase angle and grain size effects ++++++++++++++++
PRH105
PSF 140406a.026
20-25 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406a.027
45-63 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406a.028
63-75 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406a.029
106-125 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406a.030
180-212 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRH105
PSF 140406b.026
20-25 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406b.027
45-63 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406b.028
63-75 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406b.029
106-125 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406b.030
180-212 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRH105
PSF 140406c.026
20-25 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406c.027
45-63 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406c.028
63-75 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406c.029
106-125 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406c.030
180-212 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRH105
PSF 140406d.026
20-25 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406d.027
45-63 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406d.028
63-75 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406d.029
106-125 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406d.030
180-212 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRH105
PSF 140406e.026
20-25 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406e.027
45-63 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406e.028
63-75 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406e.029
106-125 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRH105
PSF 140406e.030
180-212 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRH105
See section 29 for transmission spectra

+++++++

PRT101
RELAB c1sc77
<45µm, 0/15, 0.3-2.7µm, 5nm.

PRT101
PSF 100304a.008
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

PRT101
PSF jul1306.008
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1306inairnw).

PRT101
PSF aprt101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #5 without sapphire window (Directory: jul1106inairnw).
PRT101
V
+++++++

PRT102
RELAB csc119
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PRT102
RELAB lasc119
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PRT102
PSF 071212a.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++  PRT108: phase angle and grain size effects series ++++++++++++++++++
PRT108
PSF 140406a.001
20-25 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406a.002
45-63 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406a.003
63-75 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406a.004
106-125 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406a.005
180-212 µm; sample and standard: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRT108
PSF 140406b.001
20-25 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406b.002
45-63 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406b.003
63-75 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406b.004
106-125 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406b.005
180-212 µm; sample and standard: i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRT108
PSF 140406c.001
20-25 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406c.002
45-63 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406c.003
63-75 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406c.004
106-125 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406c.005
180-212 µm; sample and standard: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRT108
PSF 140406d.001
20-25 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406d.002
45-63 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406d.003
63-75 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406d.004
106-125 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406d.005
180-212 µm; sample and standard: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRT108
PSF 140406e.001
20-25 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406e.002
45-63 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406e.003
63-75 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406e.004
106-125 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

PRT108
PSF 140406e.005
180-212 µm; sample and standard: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

PRT108
See section 29 for transmission spectra

+++++++

REA101
PSF 150324a.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++

REA102
PSF 150324a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++

REA103
PSF 150324a.003
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++
SIC101
RELAB c1sc82
<37 µm, 0/15, 0.3-2.7µm, 5nm.

SIC101
RELAB masc112
<37 µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

+++++++

SIC102
RELAB c2sc82
<7 µm, 0/15, 0.3-2.7µm, 5nm.

SIC102
RELAB masc110
<7 µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

+++++++

SCR101 45
PSF  feb2307.008
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (feb2307 meteoritic).

SCR101 45-90
PSF feb2307.009
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2307 meteoritic).

SCR101 45
PSF  feb2607.008
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (feb2607 meteoritic).

SCR101 45-90
PSF feb2607.009
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

Also see meteorites section (section 16).

+++++++

SUL001
PSF 141208a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 140208oxalatesulfides].

SUL001
PSF sul001
<45 µm; 0°/0°; 0.2-0.4 µm usable range; deuterium light; 200 spectra averaged; Maya [Directory: 140208oxalatesulfides].

SUL001
PSF 141208a.005
<45 µm; 30°/0° ASD, 0°/0° Maya; 0.2-2.5 µm; merged Maya + ASD (Maya with UV, ASD with QTH; merged at 399 nm); 200 and 500 spectra averaged [Directory: 140208oxalatesulfides].

+++++++

SUL002
PSF 141208a.006
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 140208oxalatesulfides].

SUL002
PSF sul002
<45 µm; 0°/0°; 0.2-0.4 µm usable range; deuterium light; 200 spectra averaged; Maya [Directory: 140208oxalatesulfides].

SUL002
PSF 141208a.006
<45 µm; 30°/0° ASD, 0°/0° Maya; 0.2-2.5 µm; merged Maya + ASD (Maya with UV, ASD with QTH; merged at 399 nm); 200 and 500 spectra averaged [Directory: 140208oxalatesulfides].

+++++++

SYN008
PSF feb2107.015
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2107 meteoritic).

SYN008
PSF feb2107.016
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2107 meteoritic).

SYN008
PSF feb2607.008
<45 µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

SYN008
PSF feb2607.009
45-90 µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

+++++++

TIN101
PSF 120116a.080. 
unsorted; 30º/0º; 0.35-2.5 µm; 1 nm resol.; opened in glove box; 200 avgd.; ASD (directory: 121016glovebox).
TIN101
PSF OO 80 
unsorted; 0º/0º; 0.2-0.86 µm (0.2-0.4 µm usable range); ~0.4 nm resolution; 200 spectra averaged; Ocean Optics S2000 (directory: Ocean Optics 000); opened in glove box.

+++++++

TRO101
PSF feb2307.004
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2307 meteoritic).

TRO101
PSF feb2607.004
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

+++++++

TRO201
RELAB C1SC64
<45µm, 0/15, 0.3-2.7µm, 5nm.

TRO201
RELAB CAEA01
45-90µm, 30°/0°, 0.3-2.6, 5 nm, after “exposure” to air for 2 years.

TRO201
RELAB CBEA01
<45µm, 30°/0°, 0.3-2.6, 5 nm, after “exposure” to air for 2 years.

TRO201A
RELAB CCEA01
<45µm, 30°/0°, 0.3-2.6, 5 nm, after “exposure” to air for 2 years; heated at ~200°C for 1 hour.

TRO201
RELAB LAEA01A
45-90µm, 30°/30°, 0.3-26µm, 1.2-129 nm, after “exposure” to air for 2 years (Nicolet).

TRO201
RELAB LAEA01B
<45µm, 30°/30°, 0.3-26µm, 1.2-129 nm, after “exposure” to air for 2 years (Nicolet).

TRO201A
RELAB LAEA01C
<45µm, 30°/30°, 0.3-26µm, 5 nm, after “exposure” to air for 2 years; heated at ~200°C for 1 hour (Nicolet).

TRO201
PSF feb2307.005
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2307.005).

TRO201
PSF feb2607.005
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

TRO201
PSF 100304a.009
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.

+++++++

TRO202
RELAB c1sc65
<45 µm, 0/15, 0.3-2.7µm, 5nm.

TRO202
RELAB CAEA02
45-90 µm, 30°/0°, 0.3-2.6, 5 nm, after “exposure” to air for 2 years.

TRO202
RELAB CBEA02
<45 µm, 30°/0°, 0.3-2.6, 5 nm, after “exposure” to air for 2 years.

TRO202A
RELAB CCEA02
<45 µm, 30°/0°, 0.3-2.6, 5 nm, after “exposure” to air for 2 years; heated at ~200°C for 1 hour.

TRO202
RELAB LAEA02A
45-90 µm, 30°/30°, 0.3-26µm, 12.-129 nm, after “exposure” to air for 2 years (Nicolet).

TRO202
RELAB LAEA02B
<45 µm, 30°/30°, 0.3-26µm, 1.2-129 nm, after “exposure” to air for 2 years (Nicolet).

TRO202A
RELAB LAEA02C
<45 µm, 30°/30°, 0.3-26µm, 12.-129 nm, after “exposure” to air for 2 years; heated at ~200°C for 1 hour (Nicolet).

TRO202g
RELAB CGEA02
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm, after “exposure” to air for 2 years. 

TRO202g
RELAB CHEA02
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm, after “exposure” to air for 2 years; heated at ~200°C for 1 hour.

TRO202g
RELAB LAEA02G
<45 µm, 30°/30°, 0.3-26µm, 12.-129 nm, after “exposure” to air for 2 years (Nicolet).  

TRO202gA
RELAB LAEA02H
<45 µm, 30°/30°, 0.3-26µm, 12.-129 nm, after “exposure” to air for 2 years; heated at ~200°C for 1 hour (Nicolet).

TRO202
PSF feb2307.006
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2307 meteoritic).

TRO202
PSF feb2607.006
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

TRO202
PSF 002 tro 202
<45 µm, not crushed; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 3].

TRO202
PSF 003 tro 202
coarse powder, not crushed; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 3].

+++++++

TRO203
RELAB caea09
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

TRO203
RELAB laea09a
<45 µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

TRO203
RELAB cbea09
45-90 µm, 30°/0°, 0.3-2.6µm, 5 nm.

TRO203
RELAB laea09b
45-90 µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

TRO203
PSF feb2307.007
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2307 meteoritic).

TRO203
PSF feb2607.007
<45µm; 35°/0°?; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD (directory: feb2607 meteoritic).

+++++++

See also Meteorites section for some troilite information.

++++++++++++++++++++++++++++++++
(ii) Raman spectra: iRaman 532 nm instrument: 174-4002cm-1 range; ~4 cm-1 resolution.
IRO104
PSF 210120_010_532_IRO104_spot1.txtr
unsorted powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

IRO104
PSF 210120_011_532_IRO104_spot2.txtr
unsorted powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

IRO104
PSF 210120_012_532_IRO104_spot3.txtr
unsorted powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

++++++
TRO201
PSF 210128_007_532_TRO201_spot1.txtr
45-90 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

TRO201
PSF 210128_008_532_TRO201_spo21.txtr
45-90 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

TRO201
PSF 210128_009_532_TRO201_spot3.txtr
45-90 µm powder; 20,000 msec integration time; 15 spectra averaged; [Directory: 210128 LunaR raman].

++++++
TRO203
PSF 210129_007_532_TRO203_spot1.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

TRO203
PSF 210129_008_532_TRO203_spot2.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

TRO203
PSF 210129_009_532_TRO203_spot3.txtr
<45 µm powder; 65,000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

+++++++++++++

END of 10.

11. Basalts and Igneous Samples
11.1. Iceland basalts

11.2. Columbia River basalts

11.3. Basalts - various localities

11.4. Basalt-related rocks

11.5. Basalts/samples - Hawaii

11.6. Silica-coated basalts - Hawaii

11.7. Andesites - Hayden Butte, Arizona

11.8. Samples - Tucson, AZ

11.9. Fresh Komatiites - various localities

11.10. Igneous rocks from CSA

11.11. ISAR Samples

11.12. Lonar crater, India

11.13. Miscellaneous igneous rocks

11.14. Marin Co. CA – greenstone
11.15. Columbia River basalts – Melissa Rice

11.16. Columbia River basalts – Ed Cloutis

11.17. Scotland
+++++++++++++++++++++++

11a. Basalts and Igneous Samples - Sample Descriptions
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description







11.1a. BASALTS - Iceland
BAS201
Basalt: Veidivötn Volcanic System, Iceland (postglacial age) (B. Gautason sample # Th-A), analysis in Gautason (1980).

BAS202
Basalt: Veidivötn Volcanic System, Iceland (postglacial age) (B. Gautason, sample # Th-D), analysis in Gautason (1980).

++++++++++++++++++++++++++++

11.2a. BASALTS - Columbia River Basalts

BAS203
Basalt: Columbia River Plateau, Frenchman Springs (S. Atkinson sample #SA-56), analysis (including various trace elements) in Atkinson (1989).

BAS204
Basalt: Columbia River Plateau, Roza Dike, Priest Rapids (S. Atkinson sample #SA-73), analysis (including various trace elements) in Atkinson (1989).

BAS205
Basalt: Columbia River Plateau, Roza Dike (S. Atkinson sample #SA-78), analysis (including various trace elements) in Atkinson (1989).

++++++

11.2a.(i) SUE ATKINSON COLUMBIA RIVER BASALTS
SA-14
Basalt: Roza Member of the Columbia River Basalt Group; dikelet. Whitman County, Washington, Winona Quadrangle; 17N/40E/20SE.

SA-16
Basalt: Roza Member of the Columbia River Basalt Group; scoria. Whitman County, Washington, Winona Quadrangle; 17N/39E/10NE.

SA-19
Basalt: Roza Member of the Columbia River Basalt Group; near vent flows. Whitman County, Washington, Dusty Quadrangle; 16N/41E/21.

SA-20
Basalt: Roza Member of the Columbia River Basalt Group; dike. Garfield County, Washington, Almota Quadrangle; 13N/42E/1N (assumes sample is from margin of dike).

SA-21
Basalt: Roza Member of the Columbia River Basalt Group; dike. Garfield County, Washington, Almota Quadrangle; 13N/42E/1N (assumes sample is from core of dike).

SA-24
Basalt: Roza Member of the Columbia River Basalt Group; dike. Garfield County, Washington, Almota Quadrangle; 13N/42E/1N.

SA-26
Basalt: Roza Member of the Columbia River Basalt Group; near vent flow. Asotin County, Washington, Saddle Butte Quadrangle; 10N/44E/30NNW.

SA-27
Basalt: Roza Member of the Columbia River Basalt Group; dike. Asotin County, Washington, Saddle Butte Quadrangle; 9N/44E/20SWNE.

SA-28
Basalt: Roza Member of the Columbia River Basalt Group; dike. Asotin County, Washington, Saddle Butte Quadrangle; 9N/44E/20SWNE.

SA-29
Basalt: Roza Member of the Columbia River Basalt Group; dike. Asotin County, Washington, Saddle Butte Quadrangle; 9N/44E/20SWNE.

SA-30A
Basalt: Roza Member of the Columbia River Basalt Group; dike. Asotin County, Washington, Saddle Butte Quadrangle; 9N/44E/20SWNE.

SA-35
Basalt: Roza Member of the Columbia River Basalt Group; near vent flow. Asotin County, Washington, Anatone Quadrangle; 7N/44E/1.

SA-36
Basalt: Roza Member of the Columbia River Basalt Group; dike. Asotin County, Washington, Anatone Quadrangle; 7N/44E/25SE.

SA-37
Basalt: Roza Member of the Columbia River Basalt Group; dike. Asotin County, Washington, Anatone Quadrangle; 7N/44E/25SE.

SA-38C
Basalt: Roza Member of the Columbia River Basalt Group; core of dike. Asotin County, Washington, Anatone Quadrangle; 7N/44E/25SE.

SA-40
Basalt: Roza Member of the Columbia River Basalt Group; margin of dike. Asotin County, Washington, Anatone Quadrangle; 7N/44E/25SE.

SA-40C
Basalt: Roza Member of the Columbia River Basalt Group; core of dike. Asotin County, Washington, Anatone Quadrangle; 7N/44E/25SE.

SA-41C
Basalt: Roza Member of the Columbia River Basalt Group; core of dike. Asotin County, Washington, Anatone Quadrangle; 7N/44E/25SE.

SA-43
Basalt: Roza Member of the Columbia River Basalt Group; near vent flow. Wallowa County, Oregon, Elk Mountain Quadrangle; 2N/45E/25SW.

SA-44
Basalt: Roza Member of the Columbia River Basalt Group; near vent flows. Wallowa County, Oregon, Elk Mountain Quadrangle; 2N/45E/25SW.

SA-47
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-49
Basalt: Roza Member of the Columbia River Basalt Group; near vent flows. Wallowa County, Oregon, Elk Mountain Quadrangle; 2N/45E/25SW.

SA-50
Basalt: Roza Member of the Columbia River Basalt Group; margin of dike. Wallowa County, Oregon, Elk Mountain Quadrangle; 4N/45E/34ENW.

SA-51
Basalt: Roza Member of the Columbia River Basalt Group; core of dike. Wallowa County Oregon, Elk Mountain Quadrangle; 4N/45E/34ENW.

SA-52
Basalt: Roza Member of the Columbia River Basalt Group; core of dike. Wallowa County, Oregon, Elk Mountain Quadrangle; 4N/45E/34ENW.

SA-53
Basalt: Roza Member of the Columbia River Basalt Group; dike. Wallowa County, Oregon, Elk Mountain Quadrangle; 4N/45E/34ESW.

SA-54
Basalt: Roza Member of the Columbia River Basalt Group; dike. Wallowa County, Oregon, Elk Mountain Quadrangle; 4N/45E/34ESW.

SA-55
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-56
Basalt: Columbia River Plateau, Frenchman Springs (Roza Member of the Columbia River Basalt Group) (aka BAS203).

SA-57
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-58
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-59
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-60
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-61A
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-62
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-63
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-64
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-65
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-66
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-67
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-68
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-70
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-71
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-72
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-73
Basalt: Columbia River Plateau, Roza Dike, Priest Rapids. Aka BAS204.

SA-74
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-75
Basalt: Roza Member of the Columbia River Basalt Group; plateau proper flow. Yakima County, Washington, Yakima Quadrangle; 14N/19E/9W.

SA-76
Basalt: Roza Member of the Columbia River Basalt Group; unknown locality.

SA-78
Basalt: Columbia River Plateau, Roza Dike. Aka BAS205.

++++++++++++++++++++++++++++++++++++++++++++++

11.3a. BASALTS - Various localities

BAS301
Basalt: Spray, Wheeler County, Oregon, USA; with levyne (zeolite; ZEO133) [Minerals Unlimited].

BAS302
Basalt: Beech Creek, Grant County, Oregon, USA; with offretite-erionite (ZEO139) overgrowths on levyne (ZEO140) [Minerals Unlimited].

BAS303
Basalt: Green Peter Dam, near Foster, Linn County, Oregon, USA; with scolecite (ZEO150) and stilbite (ZEO151).

BAS304
Basalt: near Riggins, Idaho County, Idaho, USA; with paulingite (ZEO160) [Minerals Unlimited].

BAS305
Basalt: Grand Marais, Cook County, Minnesota, USA, with thomsonite (ZEO167) [Minerals Unlimited].

BAS306
Basalt: Monument, Grant County, Oregon, USA [with gyrolite and analcime] (Minerals Unlimited).

BAS307
Basalt: New Pit, Boron, Kern County, California, USA; with hisingerite (HIS001) (Fe23+ Si2 O5 (OH)4 · 2H2 O) [Minerals Unlimited] (hisingerite description: black coatings on rock).

BAS308
Basalt: Giant’s Causeway, Northern Ireland [from Geoff Scott]. 

BAS309
Basalt: Giant’s Causeway, Northern Ireland [from Geoff Scott]; probably from younger part of the flow than BAS308.

BAS400
Basalt (vesicular, a’a): landscaping stone; weathered to red colour (Columbia River basalt?); packed in Regway, Idaho, USA.

BAS500
Weathered basalt - Mud Bay beach, Vancouver, BC, Canada (self collected, July 2004).

BAS501
Weathered olivine basalt - Mud Bay beach, Vancouver, BC, Canada (self collected, July 2004).

BAS502
Weathered olivine basalt - Mud Bay beach, Vancouver, BC, Canada (self collected, July 2004).

BAS503
Basalt/andesite cobble: Santorini Island, Greece (collected by W. Cloutis August 2009).

BAS504
Basalt (?); St. Kitt's, collected by Patricia Fitzpatrick (Feb. 2013). Coordinates: 17.40345 N, -62.78012 E. 
BAS600
Basalt, ilmenite-bearing; 57th Avenue Quarry diabase. Collected from loose blocks/talus pile in corner of the quarry from K. Gordon's thesis. Provided by John Green and Paul Weiblen at University of Minnesota (October 2013); ~6 pound boulder.

+++++++++++++++++++++++++++++++

11.4a. BASALT-RELATED ROCKS
BAS501X
Diabase: Salem Neck, Massachusetts, USA (University of Alberta #Di.15; JAA 122 [essentials: plagioclase, clinopyroxene; sills and dikes].

BAS502X
Essexite: Mount Royal, Quebec (University of Alberta #G.11; GSC #115) [essentials: plagioclase, orthoclase, pyroxene, biotite, amphibole; plutonic].

+++++++++++++++++++++++++++++++++
11.5a. BASALTS/SAMPLES FROM HAWAII (HAWxxx: February 2004)
11.5a.1. BASALTIC GLASSES
BAS101
Basaltic glass: Kilauea Caldera, 1956 flow?, Hawaii (E. Cloutis), 999p on microprobe printout. “A” is <45 µm grain size; “B” is 45-90 µm grain size.

++++++

11.5a.2. BASALTIC “SAND”
BSB101
Basalt (Black Sand Beach sand): Southeast coast, island of Hawaii, Hawaii (R.B. Singer), not analyzed.

+++++++

11.5a.3. HAWAII (2004)

HAW001
Weathered olivine basalt; northeast corner of plateau above Halemaumau crater; Halemaumau Trail, Kilauea caldera, Big Island, Hawaii, USA.

HAW002
Sulphur (and sulphur dioxide crust); northeast corner of plateau above Halemaumau crater; Halemaumau Trail, 1982(?) fire fountain ridge, Kilauea caldera, Big Island, Hawaii, USA.

HAW003
Sulphur encrusted and weathered basalts; northeast corner of plateau above Halemaumau crater; Halemaumau Trail, 1982(?) fire fountain ridge, Kilauea caldera, Big Island, Hawaii, USA.

HAW004
Sulphur (and sulphur dioxide crust); northeast corner of plateau above Halemaumau crater; Halemaumau Trail, 1982(?) fire fountain ridge, Kilauea caldera, Big Island, Hawaii, USA.

HAW005
Sulphur dioxide crust (?) on basalt; northeast corner of plateau above Halemaumau crater; Halemaumau Trail, 1982(?) fire fountain ridge, Kilauea caldera, Big Island, Hawaii, USA.

HAW006
Basalt (partially weathered); Kohala Mountain crest, road cut - Highway 250, Big Island, Hawaii, USA.

HAW007
A’a flow (1977? from Pu’u Kia’i, borrow pit at side of road, approx. ½ mile east of Queen’s Bath (Punalu’u Heiau), on Highway 137, southeast corner of Big Island, Hawaii, USA.

HAW008
Weathered basaltic soil, Kohala Mountain crest, road cut - Highway 250, Big Island, Hawaii, USA.

HAW009
A’a flow (1977? from Pu’u Kia’i, borrow pit at side of road, approx. ½ mile east of Queen’s Bath (Punalu’u Heiau), on Highway 137, southeast corner of Big Island, Hawaii, USA.

HAW010
A’a flow (1977? from Pu’u Kia’i, borrow pit at side of road, approx. ½ mile east of Queen’s Bath (Punalu’u Heiau), on Highway 137, southeast corner of Big Island, Hawaii, USA.

HAW011
A’a flow (1977? from Pu’u Kia’i, borrow pit at side of road, approx. ½ mile east of Queen’s Bath (Punalu’u Heiau), on Highway 137, southeast corner of Big Island, Hawaii, USA.

HAW012
Sulphur encrusted and weathered basalt; northeast corner of plateau above Halemaumau crater; Halemaumau Trail, 1982(?) fire fountain ridge, Kilauea caldera, Big Island, Hawaii, USA.

HAW013
Weathered soil (palagonite?) adjacent to upper parking lot on Mauna Kea Summit Road (John A. Burns Way parking lot), just  before upper paved section begins; Big Island, Hawaii, USA.

HAW014
Volcanic bomb: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW015
Pu’u Huluhulu; junction of Saddle Road and Mauna Kea Summit Road; soil 5 cm from contact of lava flow and underlying cinder (see Bell et al., JGR vol. 98, no. E2, pp. 3373-3385 (1993); Big Island, Hawaii, USA.

HAW016
Pu’u Huluhulu; junction of Saddle Road and Mauna Kea Summit Road; soil 20 cm from contact of lava flow and underlying cinder (see Bell et al., JGR vol. 98, no. E2, pp. 3373-3385 (1993); Big Island, Hawaii, USA.

HAW017
Pu’u Huluhulu; junction of Saddle Road and Mauna Kea Summit Road; soil 50 cm from contact of lava flow and underlying cinder (see Bell et al., JGR vol. 98, no. E2, pp. 3373-3385 (1993); Big Island, Hawaii, USA.

HAW018
Pu’u Huluhulu; junction of Saddle Road and Mauna Kea Summit Road; soil 80 cm from contact of lava flow and underlying cinder (see Bell et al., JGR vol. 98, no. E2, pp. 3373-3385 (1993); Big Island, Hawaii, USA.

HAW019
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW020
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW021
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW022
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW023
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW024
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW025
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW026
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW027
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW028
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW029
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW030
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW031
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW032
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW033
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW034
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW035
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW036
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW037
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW038
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW039
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW040
Unsorted xenolith and basalt fragments: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW041
Unsorted finer grained xenolith and basalt fragments: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW042
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW043
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW044
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW045
Cinders; Pu’u Huluhulu, intersection of Saddle Road and Mauna Kea Summit Road; Big Island, Hawaii, USA.

HAW046
A’a flow adjacent to Pu’u Nene (1843 flow); Big Island Hawaii, USA.

HAW047
Basaltic soil (palagonite?); 1 mile up from Hale Pohaku (John A Burns Road, adjacent to 1st parking lot?); likely 0-2 cm depth; Big Island, Hawaii, USA.

HAW048
Water-washed olivine basalt; mouth of Kolekole stream, N of Hilo along Highway 19; Big Island, Hawaii, USA.

HAW049
Basaltic soil (palagonite?); Mauna Kea Summit Road; soil adjacent to upper parking lot, 0-2 cm depth; Big Island, Hawaii, USA.

HAW050
Basaltic soil (palagonite?); Mauna Kea Summit Road; soil adjacent to upper parking lot, 2-8 cm depth; Big Island, Hawaii, USA.

HAW051
Cinders; Pu’u Nene cinder cone; near junction of Saddle Road and Mauna Kea Summit Road, Big Island Hawaii, W-NW flank, 30" below surface; Big Island, Hawaii, USA.

HAW052
Basalt; northern flank of Subaru Telescope site; Mauna Kea summit; Big Island, Hawaii, USA.

HAW053
Palagonitic soil (?); John P. Burns way parking lot (likely 1 mile up from Hale Pohaku; adjacent to first parking lot 1st; 2-8 cm depth); See sample HAW047; Big Island, Hawaii, USA.

HAW054
Unsorted fragments and soil; mostly from HAW047 sample; all from Mauna Kea Summit Road above Hale Pohaku; from broken bags and spillage; Big Island, Hawaii, USA.

HAW055
Surficial sample: Steam Vent trail, Kilauea Caldera, Hawaii Volcanoes National Park, Big Island, Hawaii, USA.

HAW056
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW057
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW058
Cinders/ash: Pu’u Huluhulu quarry (west side of pu’u), Junction of Summit Road and Mauna Kea Access Road, Big Island, Hawaii, USA.

HAW059
Surficial deposit from below surface at vent: Sulfur Banks trail, Kilauea Caldera, Hawaii Volcanoes National Park, Big Island, Hawaii, USA.

HAW060
Pahoehoe flow: recent lava flows at end of Chain of Craters Road, Big Island, Hawaii, USA.

HAW061
Pahoehoe flow: recent lava flows at end of Chain of Craters Road, Big Island, Hawaii, USA.

HAW062
A’a flow: recent lava flows at end of Chain of Craters Road, Big Island, Hawaii, USA.

HAW063
A’a flow: recent lava flows at end of Chain of Craters Road, Big Island, Hawaii, USA.

HAW064
Pahoehoe flow: recent lava flows at end of Chain of Craters Road, Big Island, Hawaii, USA.

HAW065
Olivine basalt: recent lava flows at end of Chain of Craters Road?, Big Island, Hawaii, USA.

HAW066
Cinders/ash: Pu’u Huluhulu quarry (west side of pu’u), Junction of Summit Road and Mauna Kea Access Road, Big Island, Hawaii, USA.

HAW067
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW068
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW069
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW070
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW071
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW072
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW073
Unsorted xenolith fragments and grains from samples HAW067-072: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW074
Surficial deposit from below ground surface at vent: Sulfur Banks Trail, Kilauea Caldera, Hawaii Volcanoes National Park. Big Island, Hawaii, USA.

HAW075
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW076
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW077
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW078
Xenolith: unnamed Pu’u WSW of Hale Pohaku base camp, Mauna Kea summit road, Big Island, Hawaii, USA.

HAW101
Weathered basalt: Rocky Hill, road cut, NE of Punahou School grounds, Honolulu, Oahu, Hawaii, USA.

HAW102
Basaltic soil: Koko Crater - Botanical Garden, Honolulu, Oahu, Hawaii, USA.

HAW103
Basaltic soil: Koko Crater - Botanical Garden, Honolulu, Oahu, Hawaii, USA.

HAW104
Weathered basalt: Rocky Hill, road cut, NE of Punahou School grounds, Honolulu, Oahu, Hawaii, USA.

HAW105
Weathered basalt: Rocky Hill, road cut, NE of Punahou School grounds, Honolulu, Oahu, Hawaii, USA.

HAW106
Weathered basalt: Rocky Hill, road cut, NE of Punahou School grounds, Honolulu, Oahu, Hawaii, USA.

HAW107
Basalt: red-black contact; Makapuhu Head lighthouse west side of highway of roadside turnout; SE coast of Oahu, Hawaii, USA.

HAW108
Weathered basalt: Round Top Road road cut on east side city lookout; Honolulu, Oahu, Hawaii, USA.

HAW109
Basalt: base of Waipuhio Slide area, Palolo Valley, Honolulu, Hawaii, USA.

HAW110
Basalt: base of Waipuhio Slide area, Palolo Valley, Honolulu, Hawaii, USA.

HAW111
Basalt: base of Waipuhio Slide area, Palolo Valley, Honolulu, Hawaii, USA.

HAW112
Olivine-rich sand deposit: Sandy Beach park, east side of Oahu, Hawaii, USA.

HAW113
Weathered basalt: Round Top Road road cut on east side city lookout; Honolulu, Oahu, Hawaii, USA.

HAW114
Beach sand: just south of Waianae Beach Park, west side of Oahu, Hawaii, USA.

HAW115
Weathered basaltic soil: Tantalus Ridge, city lookout road cut, Honolulu, Oahu, Hawaii, USA.

HAW116
Weathered basalt: Koko Crater floor - in Botanical Garden area; Honolulu, Oahu, Hawaii, USA.

HAW117
Weathered basalt: Koko Crater floor - in Botanical Garden area; Honolulu, Oahu, Hawaii, USA.

HAW118
Weathered basalt: Koko Crater floor - in Botanical Garden area; Honolulu, Oahu, Hawaii, USA.

HAW119
Weathered basalt: Koko Crater floor - in Botanical Garden area; Honolulu, Oahu, Hawaii, USA.

HAW120
Weathered basalt (and fragments from HAW116-121): Koko Crater floor - in Botanical Garden area; Honolulu, Oahu, Hawaii, USA.

HAW200
Unsorted samples and fragments, spills from samples HAW055-078 and 101-120; both Oahu and Big Island, Hawaii, USA.

HAW300-305
Volcanic bombs and fragments, Big Island, cinder cone W of Hale Pohaku.

HAW306-311
Volcanic bomb and pahoehoe fragments, Oahu and Big Island, HI, USA.

HAW312-329
Volcanic bomb fragments, xenoliths, and olivine phenocrystic basalt, Big Island, HI, USA, collected by Vicky and Geneva.
HAW400
Volcanic bomb, Big Island, cinder cone W of Hale Pohaku.
HAW500
Long strands of Pele’s hair (from Matt Izawa?)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
11.6a. Silica-coated basalts from Hawaii (from Brad Jolliff, Washington University – June 2009)
Key: H = Hawaii; KD = Kau Desert; KC = Kilauea Caldera; EA = end of arroyo; ST = solfatara; 71, 74, and 82 refer to year of the flow.

HKD02-74-03
“1974 flow surface” – Hawaii Kau Desert 1974 flow. Discontinuous yellow-white encrustation on pahoehoe surface.

HKD02-ST-74
“1974 flow near solfatara 2, down from vent” – Hawaii Kau Desert, solfatara, 1974 flow. Discontinuous yellow-white encrustation on pahoehoe surface.
HKD03-EA29
“spatter from 1974 flow and end of arroyo basalts – site 2 fissure vent. Brightly colored material downwind of fissure.” Hawaii Kau Desert end of arroyo 2003 flow. Discontinuous yellow-white encrustation on pahoehoe surface.
HKC03-71
“1971 flow surface” – Hawaii Kilauea caldera, 1971 flow. Discontinuous multi-hued encrusted or altered surface on pahoehoe.
HKC03-82-24A
“1982 flow surface, one of two pieces”. Hawaii Kilauea Caldera, 1982 flow. Discontinuous gray amorphous/glassy surface on pahoehoe fragment.
For details, see: Chemtob et al. (2006), (2009), and 2010).
+++++++++++++++++
11.7a. Andesitic samples from Hayden Butte, Arizona
North end of Arizona State University campus adjacent to football stadium (“A” mountain). Loose fragments and partially dislodged bedrock collected along path to summit (June 8, 2009).
Bleaching and/or iron oxide staining subset:

HAY001
Piece with red-orange iron oxide staining on one surface.

HAY002
Piece with red-orange iron oxide staining and some bleaching on surface.

HAY003
Piece with red-orange iron oxide staining and some bleaching on surface.
HAY004
Piece with red-orange iron oxide staining and some bleaching on surface.

HAY005
Piece with red-orange iron oxide staining and some bleaching on surface.

HAY010
Piece with light-toned encrustations on two surfaces.

HAY011
Piece with light-toned encrustations on two surfaces, 

HAY012
Piece with partial light-toned/reddish encrustation on one surface, bleached other surface, unaltered other surfaces, some iron oxide staining.

HAY013
Piece with light-toned encrustation on one surface, bleaching on other surface.

HAY014
Piece with light-toned encrustations on most surfaces.

HAY015
Piece with partial orange-red encrustation on one surface, bleaching on other surface.

HAY016
Piece with light-toned encrustation on one surface, some light-toned staining/bleaching on other surface.

HAY017
Piece with rough light-toned encrustations on two surfaces.

HAY018
Piece with light-toned encrustation on two surfaces.

HAY019
Piece with partial light-toned encrustation on one surface, minor bleaching and iron oxide staining on remaining surfaces.
HAY020
Piece with partial light-toned encrustation on four surfaces, minor bleaching on other surfaces, 

HAY021
Piece with light-toned/beige encrustation on one surface, bleaching on other surface.

HAY022
Piece with brown/beige encrustation on one surface.

HAY023
Piece with partial light-toned irregular encrustations on two surfaces.

Bleaching only subset:

HAY030
Piece with light-toned bleaching on two surfaces.

Desert varnish subset:

HAY040
Piece with grey-black coating (desert varnish?) on multiple surfaces – irregular.

HAY041
Piece with grey-black coating (desert varnish?) on multiple surfaces.

HAY042
Piece with variably glossy grey-black coating (desert varnish?) on multiple surfaces.

HAY043
Piece with gray-black coating (desert varnish?) and iron oxide staining.

HAY044
Piece with discontinuous grey-black coating/staining (desert varnish?) and iron oxide staining.

HAY045
Piece with discontinuous grey-black coating/staining (desert varnish?), iron oxide staining, and bleaching.

HAY046
Piece with discontinuous grey-black coating/staining (desert varnish?), iron oxide staining, and bleaching.
Desert varnish subset (2) – collected December 8, 2014

HAY050
Fist-sized piece with mostly continuous black, sometimes shiny black coating, and subsurface orange subsurface weathering layer; piece from bigger boulder - andesite.

HAY051
Small fragment with discontinuous black shiny desert varnish surface and subsurface orange weathered layer; piece from bigger boulder - andesite.

HAY052
Fist-sized piece with mostly continuous black, sometimes shiny black coating, and subsurface orange subsurface weathering layer; piece from bigger boulder - andesite.

HAY053
Fist-sized piece with mostly continuous black, sometimes shiny black and, in spots, orange coating, and partially penetrative black coating on face in contact with ground; intact cobble - andesite.
+++++++++++++++++++++

11.8a. Samples from Tucson, AZ (collected Nov. 2011)

AZ001
Andesite?; with iron oxide- and black desert varnish-stained surfaces (landscaping stone from bank near Tucson Marriott).

AZ002
Vesicular basalt (fresh) with one weathered surface (from LPL parking lot).

++++++++++++++++++++++++++++++

11.9a. Fresh Komatiites (from Igor Puchtel, U of Maryland
501-3
Spinifex-textured komatiite; 3.3Ga Weltevreden Formation, Barberton Greenstone Belt (Connolly et al. 2011); received January 2012.
501-9
Cumulate komatiite; 3.3 Ga Weltevreden Formation, Barberton Greenstone Belt (Connolly et al. 2011) ; received January 2012.
ZV74
Chilled margin; 2.7 Ga Belingwe Greenstone Belt, Zimbabwe; lower contact zone; 2.7 Ga (Puchtel et al., 2009) ; received January 2012.
91106
Cumulate komatiite; 2.4 Ga Vetreny Belt, Lion Hills, Victoria’s lava lake, Fennoscandinavian Shield; fine-grained basalt: plagioclase laths and and short prismatic clinopyroxene – cumulate zone (Puchtel et al., 1996) ; received January 2012.
Finnish Lapland
Ultra-depleted 2.05 Ga komatiite from Igor Puchtel (Sept. 2023); may have specific sample number.(Puchtel et al., 2020)
+++++++++

Samples received October 2023 (at least 50 g of each) – from Igor Puchtel, University of Maryland, for Joern Helbert at DLR for M.Sc. thesis – relevant to Mercury.

3.26 Ga Weltevreden Fm., Barberton Greenstone Belt, Kaapvaal Craton, South Africa (Puchtel et al., 2013):

501-3
1 metre from top of flow; olivine spinifex; lava flow SA 501, 42
564-2
7 metres from top of flow; cumulate texture; lava flow SA 564.
564-5
2 metres from top of flow; olivine spinifex texture; lava flow SA 564. 
564-6
1 metre from top of flow; chilled margin and spinifex texture; lava flow SA 564.
2.41 Ga Vetreny Belt, Fennoscandia (Puchtel et al., 2016)
12103
105 metres from top of flow; Victoria’s lava lake. (equivalent to 01103 and 91103[ first two digits indicate year collected).
12111
8 metres from top of flow; olivine cumulate; Victoria’s lava lake.
12116
25 metres from top of flow; random coarse pyrixene spinifex; Victoria’s lava lake.
Note from Igor Puchtel: These samples represent different lithologies of thick, differentiated komatiite lava flows/lava lakes. I attached the publications with chemical analyses of these rocks.

++++++++++++++++++++++++++++++++

11.10a. Igneous rocks from Alex Koujelev at Canadian Space Agency (February 2012).

See section 30 of document for descriptions and analyses.

	Andesite73302
	 
	GBW 07104 (NCS DC73302)

	AndesiteAGV2
	 
	US AGV-2

	AndesiteJA1
	 
	JA-1

	AndesiteJA2
	 
	JA-2

	AndesiteJA3
	 
	JA-3

	Anorthosite2120
	 
	VS 2120-81

	AnorthositeMO11
	 
	VS MO11

	AnorthositeANG
	 
	VS MO10

	BasaltBCR2
	 
	US BCR-2

	BasaltBHVO2
	 
	US BHVO-2

	BasaltJB2
	 
	JB-2

	GabbroJGb2
	 
	JGb-2

	Gabbro71304
	 
	GBW 07112 (NCS DC71304)

	Granite
	 
	JG-2

	GranodioriteJG1a
	 
	JG-1a

	GranodioriteGSP2
	 
	US GSP-2

	HornblenditeJH1
	 
	JH-1

	Obsidian
	 
	SRM 278

	OrthoGabbro
	 
	VS MO7

	PeridotiteJP1
	 
	JP-1

	Pyroxenite
	 
	SARM 5

	Rhyolite71305
	 
	GBW 07113 (NCS DC71305)

	RockFer2
	 
	*FeR-2 (Geological Survey of Canada)

	Serpentinite
	 
	SARM 47

	SyeniteJSy1
	 
	JSy-1

	SyeniteSARM2
	 
	SARM 2

	UBRockDC72301
	 
	GBW 07101 (NCS DC72301)

	Hand sample57
	**Granite
	ActLabs

	Hand sample62
	**Andesite
	ActLabs

	Hand sample63
	**Syenite
	ActLabs

	Hand sample64
	**gabbro
	ActLabs

	Hand sample65
	**Basalt
	ActLabs

	Hand sample66
	**Rhyolite
	ActLabs

	Hand sample67
	**Obsidian
	ActLabs


FeR-2 grain size information from Brammer: average 0.07 mm

Obsidian grain size information from Brammer: <200 mesh

Pyroxenite grain size information from Brammer: <75 μm: 98%

++++++++++++++++++++++++++++++++++
11.11a. Samples from International Space Analogue Rockstore (ISAR) – Nov. 2012 (see section 20.28)

07SA20-3
Basalt: Komatii River outcrop, Barberton, South Africa.

09ET01-3
Basalt: Etna, Sicilia, Italy.

09SV02-3
Dunite: Sverefjell outcrop, Svalbard, Norway; associated with 09SV05-4 and 09SV15-4.

09SV15-4
Basalt: Sverefjell outcrop, Svalbard, Norway; associated with 09SV02-3 and 09SV05-4.

09TE08-4
Phonolite: El Tiede Volcano, Tenerife, Canary Islands, Spain.

10SA09-3
Komatiite: Komatii River, Barberton, South Africa.

11CA02-3
Komatiite: Dundonald outcrop, Ontario, Canada. “Theo’s Flow”.
++++++++++++++++++++++++++++++++++++++++

11.12a. Lonar Crater, India
LON001
Lonar crater, India, impact melt rock sample (~50 grams). From Dr. Md. Arif, Research Associate, Indian Institute of Geomagnetism (IIG), Kalamboli Highway, New Panvel (W), Navi Mumbai 410 218, Maharashtra, India; tel: (91) 9930153727; (91) 22 2748 4156. Received October 30, 2013. First piece is black and vesicular with glassy rinds on upper and lower surfaces (42 grams). Second batch (received Nov. 26, 2013) is 4 big fragments, all black and vesicular, some with apparent flow features (total weight: 376 grams). Supplied by P. Senthil Kumar (senthilngri@yahoo.com; 4/18/2011). 
See Misra et al. (2009) for information.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11.13a. Miscellaneous igneous rocks
GRN101
Greenstone (metamorphic rock): Feather River Canyon, Plumas County, California (Minerals Unlimited).

PRD101
Peridotite (kimberlite; “blue ground”): Murfreesboro, Pike County, Arkansas. Mica-augite peridotite (Minerals Unlimited).

GRN101
Granulite: quartz, feldspar, garnet (grossular?), amphibole: glacial erratic - Whitemud Creek area, Edmonton, Alberta, Canada.

BRE101
Breccia - volcanic(?); Mud Bay beach, Vancouver, BC, Canada (self-collected, July 2004).

RHY001-004
Rhyolite (probably); 4 pieces from grounds of Tucson hotel, 1 with malachite staining [Tucson 2011].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11.14a. Marin Co, CA, USA – Jurassic greenstones
GGB001-007
Jurassic greenstone (some with weathered and slickensides surfaces) – at NE base of Golden Gate Bridge, Marin Co, CA, USA. Collected Dec. 3, 2011.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11.15a. Columbia River Basalts – Melissa Rice (2015)
Note: samples of Columbia River basalts from Melissa Rice (Western Washington University) for spectral characterization.

Sample ID
Description

CRB15 2B-R
Hand sample (interior surface?)

CRB215 2B-W1
Hand sample (weathered surface?)

CRB215 2B-W2
Hand sample (weathered surface, different spot?)

CRB15 SLB-R
Hand sample (interior surface?)

CRB15 SLB-W1
Hand sample (weathered surface?)

CRB15 SLB-W2
Hand sample (weathered surface, different spot?)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11.16a. Columbia River Basalts – Ed Cloutis (2016)
Note: samples of Columbia River basalts from MastCam-Z field trip to Channeled Scablands (June 2016)
Sample ID
Description

COL300
Basaltic sand (salt and pepper colour) from Stop 3 of June 2016 field trip – side of Dodson Road, WA, USA.

COL301
Beige calcrete/surface precipitate from dry pond – flats by Lake Lenore caves (stop 10 of June 2016 field trip).
COL302
Carbonate-coated cobble from edge of Soap Lake – across road from Lake Lenore caves (stop 10 of June 2016 MastCam-Z field trip).

COL303
Various yellow to green cobbles/fragments of altered basalt from road cut at SWa-1 nontronite locality (stop 6 of June 2016 MastCam-Z field trip). (see also NON105).
COL304
Possible metamorphosed diatomite – landscaping cobble from Travel Inn in Moses Lake (overnight stop for MastCam-Z June 2016 field trip)..

COL305
Light brown partially altered basalt cobbles, some altered diatomite, some with black veining (altered organics/wood (?) (road cut at Frenchman Coulee (Stop 2 of MastCam-Z June 2016 field trip) multiple pieces.

COL306
Partially altered basalt with brown weathered/altered surface and buff surface with precipitates (Stop 2 of MastCam-Z June 2016 field trip).

COL307
Three pieces of altered brown basalt with nodular/rounded surface and precipitate on one piece (Stop 2 of MastCam-Z June 2016 field trip).

COL308
Metamorphosed diatomite? Pink, glassy veined cobble. (Stop 2 of MastCam-Z June 2016 field trip).

COL309
Various pieces of glassy, banded basalt, some silica veining (Stop 2 of MastCam-Z June 2016 field trip).

COL310
Glassy, banded basalt with altered brown surface, mini-columnar zone (Stop 2 of MastCam-Z June 2016 field trip).
COL311
Unsorted fragments and powder from CRB305-310 samples (Stop 2 of MastCam-Z June 2016 field trip).

NON105
Nontronite (ferruginous smectite) from road cut at SWa-1 nontronite locality (stop 6 of June 2016 MastCam-Z field trip). See Section 3 for details.

++++++++++++++++++++++++++++++++
11.17. Scotland basalts

SCO001-003
Three pieces of largely aphanitic dark grey-black basalt from landscaping at 75 Logie Green Road, Edinburgh, Scotland. Collected August 2016.

SCO004-006
Three pieces of red oxidized basalt; beach at North Berwick, Scotland. Collected August 2016.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
11b. XRD Data - Basalts and Igneous Samples
BAS101
U of W Bruker D8
Low counts, low angle and 33° amorphous humps; no real peaks. (May 2016, quick scan)

BAS205
U of W Bruker D8
Anorthite, sodian, syn; forsterite, ferroan; hematite; magnetite, titanian. Little amorphous material (May 2016, quick scan).

BAS600
U of W Bruker D8. 
Pattern fit by anorthite (sodian), ilmenite, magnetite (titanian), quartz, kaolinite, biotite, saponite, sodium magnesium scandium silicate fluoride.
BSB101
U of W Bruker D8
Anorthite; quartz; forsterite. Low counts, has low angle and 3° amorphous humps. Peaks decently fit (May 2016, quick scan).

HAW003
UW Bruker D8
Coating: natrojarosite; anorthite, sodian, ordered; grossmanite (Ca-Ti-Mg) aluminosilicate); moissanite-6H (SiC); nickel; low counts, broad peaks, amorphous component.

HAW005
UW Bruker D8
Coating: anorthite; low angle and 25° humps, no real peaks.

HAW060
UW Bruker D8
Anorthite, augite, trace forsterite, amorphous component.

LON001
U of W Bruker D8
Phases identified: diopside, labradorite, albite, magnetite; diffractogram is noisy with broad amorphous humps (Nov. 2013).
SA-51A
U of Manitoba Bruker
Jacobsite and anorthite identified (noisy pattern).

++++++++++++++++++++++++++++
SA501
Olivines, may be altered to serpentine; chromite; orthopyroxene; pigeonite; augite; magnetite (Connolly et al., 2011).

++++++++++++++++++++++++++++++++++++++
11.9b. Komatiites – XRD data (Zayn Wolf on UWinnipeg Bruker D8 – December 2021).

ZV74
forsterite, ferroan; fayalite, magnesian; magnesium iron silicate (olivine); chrysotile; augite; diopside, synthetic; chrysotile-2Mc-1; couple of peaks not matched.

91106
forsterite, ferroan; cobalt magnesium silicate; iron vanadium oxide; magnetite, zincian, synthetic; fayalite, magnesian; diopside; franklinite, ferroan, synthetic.
501-3
tremolite, sodian, synthetic; chrysotile-2Mc-1; actinolite.

501-9
forsterite, ferroan; magnesioferrite, synthetic; chrysotile-2Mc-1; magnetite, cobaltian, synthetic.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups)
11c.1. Iceland Basalts

Wt. %

BAS2011
BAS2021


SiO2

49.4
49.0


TiO2

 1.63
 1.60


Al2O3

14.4
16.8


Fe2O3

 1.51
 1.37

FeO

10.0
 9.17


MnO

 0.20
 0.20


MgO

 7.23
 6.12


CaO

12.6
12.8


Na2O

 2.24
 2.22


K2O

 0.21
 0.22


P2O5

 0.20
 0.19


TOTAL

99.62
99.69


Source

Gautason
Gautason






All Fe reported as Fe2O3.

Bjarni Gautason (pers. comm.).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.2. Columbia River Basalts

Wt. %

BAS2031
BAS2041
BAS2051

Atkinson #

SA-56
SA-73
SA-78

SiO2

52.50
50.91
51.55

TiO2

2.80
 3.58
 3.13

Al2O3

13.45
12.78
13.19

Fe2O3

n.d.
 n.d.
 n.d.

FeO

14.11
15.26
14.36

MnO

0.22
 0.25
 0.23

MgO

4.54
 4.43
 4.59

CaO

8.32
 8.58
 8.55

Na2O

2.86
 2.52
 2.90

K2O

1.40
 1.30
 1.29

P2O5

0.54
 0.80
 0.69


TOTAL

100.74
100.41
100.48


Source

Atkinson
Atkinson
Atkinson




All Fe reported as FeO.

Atkinson: values from Susan Atkinson thesis (Atkinson, 1989).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.2. Columbia River Basalts (continued)

Wt. %
SA-14
SA-16
SA-19
SA-20#
SA-20
SiO2
52.92
51.84
51.46
52.73
51.71

Al2O3
14.71
13.71
13.66
14.53
14.69

TiO2
3.322
3.298
3.065
3.136
2.91

FeO*
11.51
15.18
13.66
11.73


(Fe2O3)*




(13.21)

FeO




6.01

Fe2O3




6.53

MnO
0.177
0.204
0.211
0.197
0.18

CaO
9.33
8.01
8.91
9.40
9.62
MgO
3.18
3.71
4.47
3.24
3.44
K2O
1.24
1.22
1.31
1.47
1.09
Na2O
2.93
2.08
2.62
2.91
2.76
P2O5
0.700
0.755
0.635
0.658
0.62

SO3




0.00
TOTAL




100.23

LOI




2.67

ppm
Co




43

Ni
12
14
19
26
75
Cr
53
28
54
57
90
Sc
40
43
40
44


V
444
421
414
423
441
Ba
566
521
459
537


Rb
35
29
30
37


Sr
342
304
310
332
348
Zr
195
191
178
188
183
Y
47
48
43
45


Nb
17.8
19.2
18.3
17.4


Ga
24
20
24
22


Cu
36
19
26
29


Zn
145
142
134
133


Pb
8
9
8
10


La
20
24
18
25


Ce
43
70
50
78


Th
6
5
5
4



Source
Atkinson
Atkinson
Atkinson
Atkinson
Mertzman


(1989)
(1989)
(1989)
(1989)

Analysis




XRF/WC



Major element totals have been normalized to 100% on a volatile-free basis. Analyses from Atkinson (1989). 

* Total Fe expressed as FeO.

# Analysis for sample SA-20M.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.2. Columbia River Basalts (continued)

Wt. %
SA-21$
SA-24
SA-26
SA-27

SiO2
51.76
51.58
51.54
51.57

Al2O3
13.30
13.21
13.37
13.25

TiO2
3.168
3.153
3.160
3.105

FeO*
13.76
14.13
14.06
14.26

MnO
0.223
0.229
0.229
0.230

CaO
8.50
8.41
8.51
8.39

MgO
4.35
4.36
4.25
4.41

K2O
1.54
1.49
1.24
1.57

Na2O
2.69
2.74
2.94
2.53

P2O5
0.713
0.700
0.705
0.690

ppm
Ni
13
12
11
11

Cr
26
28
29
30

Sc
42
39
40
38

V
413
413
410
402

Ba
530
530
535
527

Rb
36
36
33
46

Sr
308
302
304
303

Zr
187
186
186
186

Y
47
44
45
45

Nb
17.5
19.4
16.9
18.3

Ga
25
22
25
21

Cu
18
24
23
22

Zn
133
134
134
128

Pb
10
8
9
9

La
29
36
27
6

Ce
59
50
73
61

Th
4
3
4
5


Source
Atkinson
Atkinson
Atkinson
Atkinson


(1989)
(1989)
(1989)
(1989)




Major element totals have been normalized to 100% on a volatile-free basis. Analyses from Atkinson (1989). 

* Total Fe expressed as FeO.

$ Analysis for sample SA-21C.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.2. Columbia River Basalts (continued)

Wt. %
SA-28
SA-29
SA-30A
SA-35
SA-36
SA-37
SA-38C
SA-40

SiO2
51.61
51.55
51.65
51.67
52.13
51.79
52.50
51.90

Al2O3
13.27
13.31
13.23
13.28
13.29
13.11
13.88
13.51

TiO2
3.168
3.121
3.155
3.187
3.171
3.145
3.233
3.153

FeO*
13.99
13.86
13.87
14.09
13.81
14.23
12.81
13.78

MnO
0.230
0.229
0.238
0.216
0.210
0.223
0.199
0.252

CaO
8.52
8.49
8.47
8.32
8.59
8.53
8.95
8.83

MgO
4.41
4.48
4.44
4.15
3.96
4.18
3.53
4.05

K2O
1.56
1.42
1.46
1.35
1.58
1.43
1.41
1.19

Na2O
2.54
2.84
2.80
3.03
2.56
2.67
2.77
2.66

P2O5
0.698
0.698
0.695
0.709
0.705
0.700
0.714
0.670

ppm
Ni
16
12
14
14
16
13
9
13

Cr
30
33
29
32
26
29
27
46

Sc
38
38
43
42
39
40
39
43

V
410
404
422
429
407
413
418
410

Ba
533
536
528
597
513
497
532
540

Rb
43
36
34
36
48
37
35
32

Sr
302
299
302
305
305
303
319
313

Zr
184
183
187
187
187
188
186
183

Y
46
45
47
52
46
46
46
46

Nb
15.8
18.2
18.0
15.8
16.8
16.8
17.5
17.1

Ga
22
21
21
23
24
23
25
19

Cu
22
21
22
20
27
25
22
23

Zn
132
130
132
138
140
137
138
129

Pb
10
9
7
10
10
9
9
8

La
37
11
16
30
30
20
18
26

Ce
51
61
64
70
61
71
41
47

Th
3
5
4
2
3
4
3
4

Source
Atkinson
Atkinson
Atkinson
Atkinson
Atkinson
Atkinson
Atkinson
Atkinson

(1989)
(1989)
(1989)
(1989)
(1989)
(1989)
(1989)
(1989)


Major element totals have been normalized to 100% on a volatile-free basis. Analyses from Atkinson (1989).

* Total Fe expressed as FeO.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.2. Columbia River Basalts (continued)

Wt. %
SA-40C
SA-41C
SA-43
SA-44
SA-47#
SA-49
SA-50
SA-51

SiO2
51.66
52.07
51.99
51.69

51.91
51.39
51.49

Al2O3
13.40
13.24
13.41
13.82

13.72
13.32
13.27

TiO2
3.175
3.168
3.057
3.026

3.072
3.129
3.122

FeO*
13.83
13.80
13.82
14.12

13.49
14.15
14.23

MnO
0.225
0.220
0.218
0.212

0.241
0.226
0.221

CaO
8.58
8.53
8.51
8.21

8.77
8.68
8.54

MgO
4.26
4.20
4.16
4.11

4.11
4.50
4.47

K2O
1.48
1.45
1.25
1.20

1.30
1.42
1.44

Na2O
2.69
2.62
2.94
2.96

2.71
2.49
2.55

P2O5
0.702
0.697
0.652
0.666

0.662
0.683
0.672

ppm
Ni
13
14
13
17

14
13
9

Cr
25
31
37
46

41
33
29

Sc
41
40
36
41

40
41
40

V
428
413
410
414

410
402
415

Ba
508
518
556
513

619
510
529

Rb
35
36
29
32

44
41
45

Sr
305
299
307
308

320
311
305

Zr
187
188
186
184

183
184
185

Y
46
46
46
47

44
47
44

Nb
17.0
17.9
16.7
15.4

18.0
18.8
18.3

Ga
25
23
22
23

22
21
22

Cu
24
28
28
30

23
27
29

Zn
133
130
133
134

130
133
134

Pb
11
12
8
8

9
6
7

La
21
26
25
34

13
25
31

Ce
52
65
29
43

37
62
35

Th
6
4
6
3

3
3
4

Source
Atkinson
Atkinson
Atkinson
Atkinson

Atkinson
Atkinson
Atkinson

(1989)
(1989)
(1989)
(1989)

(1989)
(1989)
(1989)


Major element totals have been normalized to 100% on a volatile-free basis. Analyses from Atkinson (1989).

* Total Fe expressed as FeO. 

# Analysis for SA-47 not available.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.2. Columbia River Basalts (continued)

Wt. %
SA-51
SA-52
SA-53
SA-54
SA-54
SA-75


SiO2
48.47
50.88
51.42
51.53
50.48
51.32

Al2O3
12.33
13.16
13.38
13.58
14.52
13.15

TiO2
4.15
3.142
3.032
3.017
2.88
3.113

Fe2O3
7.79



4.92
FeO
9.42



8.84
FeO*

14.67
14.10
13.76

14.36
(Fe2O3)^




14.74
MnO
0.25
0.233
0.219
0.241
0.25
0.228

CaO
7.50
8.52
8.61
8.80
8.63
8.48

MgO
4.29
4.70
4.52
4.36
4.22
4.54

K2O
1.51
1.25
1.46
1.46
1.35
1.42

Na2O
2.12
2.77
2.58
2.62
2.50
2.72

P2O5
0.88
0.685
0.667
0.632
0.65
0.682


TOTAL
99.76



100.22
LOI
4.83



3.22


ppm
Ni

12
12
16

13

Cr
325
31
38
47
57
35

Sc

40
38
40

44

V
499
413
409
408
419
413

Ba

509
477
488
485
508

Rb

27
35
38
28
34

Sr
298
305
304
305
239
301

Zr
249
185
183
180
97
185

Y

47
45
43

44

Nb

17.3
17.8
16.2

17.8

Ga

22
22
23

22

Cu

21
22
25

28

Zn

132
131
125

132

Pb

11
11
7

8

La

19
17
24

22

Ce

66
39
40

71

Th

1
5
3

6


Source
Mertzman
Atkinson
Atkinson
Atkinson
Mertzman
Atkinson


XRF/WC
(1989)
(1989)
(1989)
XRF/WC
(1989)
Analysis
XRF/WC








Major element totals have been normalized to 100% on a volatile-free basis for Atkinson analyses (Analyses from Atkinson (1989)). 

* Total Fe expressed as FeO.
^ Total expressed as Fe2O3. 

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.3. Various localities
Wt.%

BAS600
BAS600

SiO2

42.63
43.03
TiO2

6.56

6.65
Al2O3

11.75
12.18
FeO

5.60

11.93
Fe2O3

11.87
5.09
(Fe2O3)*

(18.09)
(18.35)
MnO

0.22

0.23
MgO

5.88

6.18
CaO

11.36
11.04
Na2O

2.38

2.25
K2O

0.29

0.29
P2O5

0.08

0.08
SO3

0.07



TOTAL

99.31
100.28
LOI

0.91

1.95
ppm
Sr

188

141
Zr

72

26
V

735

750
Ni

75



Cr

45

35
Co

44



Source

Mertzman
Mertzman
Analysis

XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.4. Hawaii

Wt. %
BAS101
BAS101
BAS101
BSB101


SiO2
50.58
46.00
50.47
49.51

Al2O3
13.13
12.91
13.07
12.65

Na2O
 3.05
2.74
2.61
1.99

CaO
10.71
10.69
10.75
9.76

K2O
 0.54
0.55
0.54
0.36

FeO1
10.60
11.81^
13.19^
8.84

Fe2O31
 1.07


2.66

(Fe2O3)*



(12.48)

TiO2
 3.19
2.94

2.15

NiO
 0.06
tr.

MnO
 0.18

0.19
0.17

Cr2O3
 0.05
tr.

CoO
 0.04


V2O5
 0.00
0.39

MgO
 6.38

6.33
9.51

ZnO
 0.02


SrO
 0.09


BaO
 0.06



P2O5



0.22

S



0.40


TOTAL
99.75
88.03
97.15
99.20b
LOIc



0.70


ppm
Sr



330

Zr



140

V



270

Co



50

Cr



460

Cu



280

Ni



230

Rb



7


Source
U of A
U of A
U of C
Mertzman


EMPA-4
EMPA-1
EMPA
XRF/WC





* - all Fe reported as Fe2O3.
^ - all Fe reported as FeO.
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

Note: Source and Analysis: U of A EMPA indicates analysis by electron microprobe at the University of Alberta; number of discrete point analyses that were averaged together also indicated. 

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

n.d. = not determined. tr.: trace (<0.01 wt.%).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.4. Hawaii (continued)
Wt.%

HAW006
HAW049
HAW063
SiO2

50.61
40.32
49.86
TiO2

2.61

3.93
2.44
Al2O3

17.45
25.90
13.16
FeO

5.58

2.77
6.77
Fe2O3

5.32

12.77
5.12
(Fe2O3)*

 (11.52)
(15.85)
(12.64)
MnO

0.22

0.32
0.18
MgO

3.84

3.73
8.29
CaO

6.63

4.69
10.65
Na2O

4.27

2.38
2.24
K2O

1.94

0.59
0.44
P2O5

0.91

1.22
0.26
SO3

0.00

0.10
0.06
TOTAL

100.00
99.03
100.22
LOI

1.04

12.99
1.85
ppm
Sr

1249
1050
395
Zr

449

539
183
V

106

146
347
Ni

35

30
149
Cr

8

50
479
Co

29

47
33

Source

Mertzman
Mertzman
Mertzman
Analysis

XRF/WC
XRF/WC
XRF/WC




* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.7. Hayden Butte, AZ, USA

Wt.%
HAY020

SiO2
59.67


TiO2
0.55


Al2O3
16.08


FeO
0.21


Fe2O3
4.35


(Fe2O3)*
 (4.58)


MnO
0.10


MgO
3.66


CaO
4.72


Na2O
6.48


K2O
3.25


P2O5
0.30


SO3
0.00


TOTAL
99.39


LOI
3.95


ppm
Sr
316


Zr
163


V
60


Ni
75


Cr
145


Co
38


Source
Mertzman


Analysis
XRF/WC







* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11.9c. Komatiites

Wt.%

91106

ZV74

501-3

501-9

Finnish
Sample type
Komatiite
Komatiite
Komatiite
Komatiite
Lapland2
SiO2

47.8

46.3

47.7

44.9

43.0-46.6
TiO2

0.451

0.330

0.184

0.110

0.488-0.730
Al2O3

8.5

6.56

5.29

2.91

6.35-10.6
Fe2O33

11.7

12.4

10.15

7.44

12.0-13.7

MnO

0.177

0.196

0.152

0.088

0.169-0.301
MgO

22.6

26.1

30.5

42.1

16.2-28.6
CaO

7.00

6.57

5.18

1.74

6.86-10.6
Na2O

1.28

0.87

0.09

0.07

0.074-1.29
K2O

0.39

0.041

0.12

0.03

0.004-0.135
P2O5

0.07

0.021

0.02

0.01

0.027-0.063
LOI

0.89

2.31

7.80

9.79

0.13-11.3
ppm

Cr

2131

2279

2454

2214

1557-3834
V

161

143

108

101

182-277
Co

96

99

95

101

Ni

952

1668

1561

2532

748-1624
Zr

40







24.3-39.1
Nb

1.3








Y

10.1

Sr

109

Rb

9

Ba

123

La

5.05

Ce

11.2

Nd

6.34

Sm

1.50

Eu

0.494

Gd

1.61

Dy

1.73

Er

1.06

Yb

1.02









Mg/(Mg+Fe)
0.793









Source

Puchtel

Puchtel

Connolly 
Connolly et al.



et al. (1996)
et al. (2009)
et al. (2011)
et al. (2011)



Analyses from Puchtel et al. (1996) and Connolly et al. (2011).
2 Analysis from Puchtel et al. (2020) – range for 15 samples.

3 All Fe as Fe2O3
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11.9c. Komatiites

Wt.%

91106 Komatiite
Sample type
Pigeonite (3)
Augite (3)
SiO2

53.16-53.70
51.32-52.83
TiO2

0.239-0.310
0.395-0.759
Al2O3

0.91-1.26
1.70-1.92
Cr2O3

0.126-0.186
0.108-0.356
FeO

11.78-14.36
8.89-9.04
MnO

0.270-0.319
0.192-0.252
NiO

0.050-0.101
0.036-0.070
MgO

24.19-26.37
17.37-21.47

CaO

3.48-7.88
13.32-18.16

Na2O

0.053-0.113
0.135-0.242
Total

98.66-99.53
99.02-99.30

Wo

6.9-15.5

26.6-36.9

En

66.3-72.5
49.0-59.6

Fs

18.1-22.3
13.9-14.2
Source

Puchtel

Puchtel




et al. (1996)
et al. (1996)



Analyses from Puchtel et al. (1996).
Average of 3 analyses each.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11.c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

12103
depth unknown; Victoria’s lava lake.
12111
8 metres depth; olivine cumulate; Victoria’s lava lake.
12116
25 metres depth; random coarse pyrixene spinifex; Victoria’s lava lake.
11.9c. Komatiites

Sample ID
564-2
501-3a
564-2
564-4
564-6
12103d
12103
12103
12111
12116
Equivalent ID






01103
01103
01103


Sample type
Olivine
WR
WR
WR
WR
WR-A
WR-B
Olivine
WR
WR
Wt. %
SiO2

40.7
47.4
44.4
47.7
46.2
48.7
48.5
39.5
50.3
50.9
TiO2


0.177
0.098
0.195
0.184
0.498
0.497
0.020
0.600
0.650
Al2O3


5.32
2.92
5.83
5.28
9.26
9.32
0.57
11.9
13.0
Cr2O3

0.22


Fe2O3


10.0
8.34
9.96
10.7
11.8
11.7
14.0
11.9
11.7
FeOb

7.82


MnO

0.12
0.156
0.142
0.173
0.163
0.193
0.193
0.193
0.200
0.200
NiO

0.38
MgO

50.1
31.0
41.0
28.8
31.0
20.2
20.2
44.8
13.6
11.1
CaO

0.17
5.05
2.16
6.57
5.68
7.48
7.54
0.53
9.18
10.3
Na2O


0.08
0.07
0.08
0.06
1.05
1.02
0.00
1.42
1.75
K2O


0.118
0.019
0.098
0.027
0.23
0.22
0.00
0.12
0.11
P2O5


0.021
0.011
0.022
0.025
0.08
0.08
0.01
0.07
0.09
Total

99.53
99.9
100.4
100.4
100.1
99.98
99.70
100.06
99.56
100.07
LOIc


7.85
8.73
7.89
8.87
1.69
1.49
n.d.
1.54
0.75
Fo

0.919

ppm

Cr




2430
2640
2073
2090
588
1374
845
V




120
115
151
155
20
199
211
Co




98.4
93.0
100
101
200
46
66
Ni




1396
1722
802
721
2229
351
341
Zn




35.7
51.2

Ga




3.52
3.28

Sc




18.2
16.0

No. of analyses
20
Analyses from Puchtel et al. (2013).
Additional trace element data also available in Puchtel et al. (2013).

WR: whole rock; analyses carried out at Franklin and Marshall College; all Fe reported as Fe2O3.
WR-A and WR-B are replicates of the same crush.

a – analyses were recalcultated on an anhydrous basis (Puchtel et al., 2013).

b – all Fe reported as FeO.

c – LOI: loss on ignition; weight loss after heating sample in air at 950°C for 1 hour.

d – 12103 is equivalent to 01103 – 01103 analysis shown.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.12. Lonar Crater, India

Wt.%
LON001

SiO2
50.34

TiO2
2.38

Al2O3
13.19

FeO
5.08

Fe2O3
9.63

(Fe2O3)*
(15.28)

MnO
0.21

MgO
5.10

CaO
9.77

Na2O
2.25

K2O
0.66

P2O5
0.24

SO3
0.00

TOTAL
99.42

LOI
0.32

ppm
Sr
323

Zr
211

V
347

Ni
202

Cr
116

Co
30

Source
Mertzman
Analysis
XRF/WC







* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c.13. Miscellaneous Rocks

Wt. %
RHY001

SiO2
75.84

TiO2
0.17

Al2O3
12.86

(Fe2O3)*
(0.30)
MnO
0.02

MgO
0.10

CaO
0.22

Na2O
0.17

K2O
10.085

P2O5
0.040

Cl
0.00

SO3
0.06


TOTAL
99.865

LOI
1.13


ppm

Sr
111

Zr
276

V
40

Ni
5

Cr
71

Co
<1

Rb
189


FeO
n.d.

Fe2O3
n.d.


Source
Mertzman

Analysis
XRF/WC









* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11c. Compositional Data - Basalts and Igneous Samples (by groups; continued)

11c. (i) Analytical data: Electron microprobe

Phases analyzed by electron microprobe by M. Izawa (Feb. 2014): 

HAW063: pyroxene, chromite, olivine, plagioclase phenocryst, plagioclase.

SA-20: feldspar, augite, ilmenite, titanomagnetite.

+++++++++++++++++++++++++++++++++++++++++++++++++++

11d. Spectral Data - Basalts and Igneous Samples (alphabetical order)
Sample
Facility/File No. 
Description







BAS101A
RELAB caba01
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS101A
RELAB laba01a
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BAS101B
RELAB cbba01
45-90µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS101B
RELAB laba01b
45-90µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BAS101C
RELAB ccba01
90-250µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS101C
RELAB laba01c
90-250µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BAS101D
RELAB cdba01
250-500µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS101D
RELAB laba01d
250-500µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BAS101
PSF 090728a.003
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
BAS201
RELAB caba02
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS201
RELAB laba02
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

+++++++
BAS202
RELAB caba03
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS202
RELAB laba03
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

+++++++
BAS203
RELAB caba04
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS203
RELAB laba04
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

+++++++
BAS204
RELAB caba05
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS204
RELAB laba05
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

BAS204

PSF 091021 LAN001
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source; aka LAN001. 

BAS204

PSF 091015 LAN001
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source.; aka LAN001 

BAS204

PSF LAN001 merged
Merged Oceaan Optics UV + visible spectra; aka LAN001.

BAS204

PSF 091021 LAN101
90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source; aka LAN101. 

BAS204

PSF 091015 LAN101
90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W; aka LAN101. 

BAS204

PSF LAN101 merged
Merged Oceaan Optics UV + visible spectra; aka LAN101.

+++++++
BAS205
RELAB caba06
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BAS205
RELAB laba06
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

+++++++
BAS400
PSF 090807.012
weathered surface; 35°/0°; 0.35-2.5 µm; 100 avg; 1 nm resol.; ASD.

+++++++
BAS600
PSF 131025A.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, ASD; 500 spectra averaged (Directory: 131025 Basalt).

BAS600
PSF 131025A.002
45-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, ASD; 500 spectra averaged (Directory: 131025 Basalt).

+++++++
BSB101
RELAB cabs02
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

BSB101
RELAB labs02
<45µm, 30°/0°, 30°, 0.3-26µm, 0.6-129 nm (merged RELAB+Nicolet, at 2.54µm; note different viewing geometry).

+++++++
HAW001
PSF 090728a.006
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW003a
PSF 100430a.011
Flat yellow surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW003b
PSF 100430a.012
Rough yellow surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW003c
PSF 100430a.013
Light rough surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW003d
PSF 100430a.014
Light gray vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
HAW005a
PSF 100430a.015
White vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW005b
PSF 100430a.016
White coating surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
HAW006
PSF 174b
Interior surface 1; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; Ocean Optics.

HAW006
PSF 175b
Exterior surface 1; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; Ocean Optics.

HAW006
PSF 177b
Interior surface 2; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; Ocean Optics.

HAW006
PSF 178b
Exterior surface 2; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; Ocean Optics.

HAW006
PSF 181b
Interior surface 3; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; Ocean Optics.

HAW006
PSF 182b
Exterior surface 3; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; Ocean Optics.

HAW006
PSF 1
Interior surface 1; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006); for UV range (200-400 nm).
HAW006
PSF 2
Exterior surface 1; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006) ; for UV range (200-400 nm).

HAW006
PSF 3
Interior surface 2; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006) ; for UV range (200-400 nm).

HAW006
PSF 4
Exterior surface 2; i=0°, e-0°; 0.2-0.4 μm; 100 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006) ; for UV range (200-400 nm).

HAW006
PSF 1
Interior surface 1; i=0°, e-0°; ~0.35-0.86 μm; 1000 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006); for visible range (~350-860 nm).
HAW006
PSF 2
Exterior surface 1; i=0°, e-0°; ~0.35-0.86 μm; 1000 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006); for visible range (~350-860 nm).
HAW006
PSF 3
Interior surface 2; i=0°, e-0°; ~0.35-0.86 μm; 1000 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006); for visible range (~350-860 nm).
HAW006
PSF 4
Exterior surface 2; i=0°, e-0°; ~0.35-0.86 μm; 1000 spectra averaged; shot in air Ocean Optics (Directory Ocean Optics 121030 HAW006); for visible range (~350-860 nm).
HAW006
PSF 121016a.174
Interior surface 1; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; ASD (directory: 121016 glovebox).

HAW006
PSF 121016a.175
Exterior surface 1; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; ASD (directory: 121016 glovebox).

HAW006
PSF 121016a.177
Interior surface 2; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; ASD (directory: 121016 glovebox).

HAW006
PSF 121016a.178
Exterior surface 2; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; ASD (directory: 121016 glovebox).

HAW006
PSF 121016a.181
Interior surface 3; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; ASD (directory: 121016 glovebox).

HAW006
PSF 121016a.184
Exterior surface 3; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; ASD (directory: 121016 glovebox).

HAW006
PSF 121030a.001
Interior surface 1; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; shot in air; ASD (directory: 121016 HAW006).

HAW006
PSF 121030a.002
Exterior surface 1; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; shot in air; ASD (directory: 121016 HAW006).

HAW006
PSF 121030a.003
Interior surface 2; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; shot in air; ASD (directory: 121016 HAW006).

HAW006
PSF 121030a.004
Interior surface 2; i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; shot in air; ASD (directory: 121016 HAW006).

+++++++
HAW007a
PSF 100430a.001
Dark shiny surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW007b
PSF 100430a.002
Light vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW007c
PSF 100430a.003
Red vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
HAW011
PSF 080415a.009
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

HAW011
PSF 080422a.001
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++
HAW012a
PSF 100430a.007
Dull gray vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW012b
PSF 100430a.008
Yellow vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW012c
PSF 100430a.009
Dark red vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAW012d
PSF 100430a.010
Dark gray vesicular surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
HAW013
PSF 080415a.001
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

HAW013
PSF 090728a.007
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW015????
PSF 080415a.002
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD. (or HAW045?)
+++++++

HAW016dry
PSF 120106a.030
unsorted powder - dry; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 120106_HED).

HAW016fro
PSF 120106a.019
unsorted powder, saturated with water (42 wt.%) and frozen, i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 120106_HED).

+++++++
HAW022
PSF 111201a.024
whole rock – oxidized surface; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

HAW022
PSF 111201a.025
whole rock – unoxidized surface, i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

HAW022
INO HAW022
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 3 sets of spectra acquired.

+++++++
HAW045
PSF 080415a.003
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

HAW045
PSF 090728a.008
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW046
PSF 080415a.010
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW047
PSF 080415a.004
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW049
PSF 080415a.005
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW053
PSF 080415a.006
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW055
PSF 080415a.007
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW060
PSF 080415a.011
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.
HAW060
PSF 080415 HAW+ 




200313a.vertex.001.Specac_nMCT_MIR_KBr_b_6_6mmap_HAW060_sub45.dpt



<45 µm; i=30°, e=0°; 0.35-15 µm, merged at 2100 nm; 1000 (ASD) and 2500 (FTIR) spectra averaged; ASD4 + Bruker Vertex 70 [Directory: 080415 HAW + 200313 lunar analogues].
See also section 12 for HAW060 + water ice mixtures (for VMMO project)

+++++++
HAW074
PSF 080415a.012
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
HAW103
PSF 080415a.008
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

HAW103
PSF 080422a.002
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++
HAY013a
PSF 100517b.005
Interior gray surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAY013b
PSF 100517b.006
Exterior tan surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

++++++

HAY030a
PSF 100517b.007
Interior gray surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HAY030b
PSF 100517b.008
Exterior brown/gray surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++++++++++++++++++++++++++++++++

HKC03-71a
PSF 100517b.011
Brown stain smooth surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HKC03-71b
PSF 100517b.012
Gray/blue/tan smooth surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HKC03-71c
PSF 100517b.013
Gray/blue rough surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HKC03-71
PSF 111201a.023
whole rock surface; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

HKC03-71
INO HKC03-71
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

+++++++
HKC03-82
PSF 100430a.004
Blue/gray lustre surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
HKD03a
PSF 100430a.005
Blue/black surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

HKD03b
PSF 100430a.006
Yellow surface; i=30°, e=0°; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++
LON001
PSF 131114a.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 500 spectra averaged; 1 nm spectral output; ASD (directory: 131114).

+++++++

RHY-001
PSF 130221b.002
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221]. (see also section 29 for transmission spectra in KBr disks).
RHY-001
PSF B1S3
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 100 spectra averaged; Bruker Vertex 70 [Directory: 130315_FTIR]. (see also section 29 for transmission spectra in KBr disks).
+++++++

SA-14a
PSF 090421a.020
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

SA-14b
PSF sa14b.rtx.asc
45-90 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

+++++++
SA-51
PSF sa51feb01.rtx.asc
45-90 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

SA-51a
PSF 090421a.021
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

SA-51
PSF sa51bm.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

SA-51
PSF sa51n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

++++SA-51 grain size series++++
SA-51
PSF 220507sa51a45
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF 110707sa51b45
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF sa51b45
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

SA-51
PSF 220507sa51c90
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF 110707sa51c90
45-90 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF sa51c90
45-90 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

SA-51
PSF 230507sa51d250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF 110707sa51d250
90-250 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF sa51d250
90-250 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

SA-51
PSF 230507sa51e500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF 110707sa51e500
250-500 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF sa51e500
250-500 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

SA-51
PSF 230507sa51f1000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF 110707sa51e1000
500-1000 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

SA-51
PSF sa51e1000
500-1000 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

+++SA-51 grain size series+++++

SA-51
PSF 071101a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (directory: 071101grainsize).
SA-51
PSF 071101a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF avg of 002 & 003
<45 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF 071101a.004
45-90 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (directory: 071101grainsize).

SA-51
PSF 071101a.005
45-90 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF avg of 004 & 005
45-90 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF 071101a.006
90-250 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (directory: 071101grainsize).

SA-51
PSF 071101a.007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF avg of 006 & 007
90-250 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF 071101a.008
250-500 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (directory: 071101grainsize).

SA-51
PSF 071101a.009
250-500 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF 071101a.010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF avg of 008-010
250-500 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF 071101a.011
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (directory: 071101grainsize).

SA-51
PSF 071101a.012
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF 071101a.013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF avg of 011-013
500-1000 µm; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF 071101a.014
cut surface; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (directory: 071101grainsize).

SA-51
PSF 071101a.015
cut surface; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF 071101a.016
cut surface; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD (reshoot of previous sample; directory: 071101grainsize).

SA-51
PSF avg of 014-016
cut surface; 30°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

+++++SA-51b- grain size series – jun2706++++++

SA-51b
PSF jun2706.010
<45 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

SA-51b
PSF jun2706.011
45-90 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

Sa-51b
PSF jun2706.012
90-250 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

SA-51b
PSF jun2706.013
250-500 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

SA-51b
PSF jun2706.014
500-1000 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

+++++++++

OLV003
PSF jun2706.000
<45 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF jun2706.001
45-90 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF jun2706.002
90-250 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF jun2706.003
250-500 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

OLV003
PSF jun2706.004
500-1000 µm; 0°/0° (bifurcated probe); 0.35-2.5 µm; 1 nm output; 2000 averages; ASD [directory: jun2706).

++++Sa-51 grain size series++++
SA-51
PSF feb1607a.002
<45 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.003
<45 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF avg of 002 & 003
<45 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.004
45-90 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.005
45-90 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF avg of 004 & 005
45-90 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.006
90-250 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.007
90-250 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.008
90-250 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF avg of 006-008
90-250 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.009
250-500 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.010
250-500 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.011
250-500 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF avg of 009-011
250-500 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.012
500-1000 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.013
500-1000 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF feb1607a.014
500-1000 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

SA-51
PSF avg of 012-014
500-1000 µm; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol., ASD.

++++SA-51 Monster grain size series+++++++

SA-51
071229a.001
<10 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.002
<10 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.001-002
Average of previous two spectra.

SA-51
071229a.003
10-15 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.004
10-15 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.003-004
Average of previous two spectra.

SA-51
071229a.005
15-20 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.006
15-20 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.005-006
Average of previous two spectra.

SA-51
071229a.007
20-25 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.008
20-25 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.007-008
Average of previous two spectra.

SA-51
071229a.009
25-38 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.010
25-38 μm (wet sieved with isopropyl alcohol); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.009-010
Average of previous two spectra.

SA-51
071229a.011
<20 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.012
<20 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.011-012
Average of previous two spectra.

SA-51
071229a.013
<25 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.014
<25 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.013-014
Average of previous two spectra.

SA-51
071229a.015
25-38 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.016
25-38 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.015-016
Average of previous two spectra.

SA-51
071229a.017
38-45 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.018
38-45 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.017-018
Average of previous two spectra.

SA-51
071229a.019
45-63 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.020
45-63 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.019-020
Average of previous two spectra.

SA-51
071229a.021
63-75 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.022
63-75 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.021-022
Average of previous two spectra.

SA-51
071229a.023
75-90 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.024
75-90 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.023-024
Average of previous two spectra.

SA-51
071229a.025
90-125 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.026
90-125 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.025-026
Average of previous two spectra.

SA-51
071229a.027
125-150 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.028
125-150 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.027-028
Average of previous two spectra.

SA-51
071229a.029
150-180 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.030
150-180 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.031
150-180 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.029-031
Average of previous three spectra.

SA-51
071229a.032
180-212 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.033
180-212 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.034
180-212 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.032-034
Average of previous three spectra.

SA-51
071229a.035
212-250 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.036
212-250 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.037
212-250 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.035-037
Average of previous three spectra.

SA-51
071229a.038
250-300 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.039
250-300 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.040
250-300 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.038-040
Average of previous three spectra.

SA-51
071229a.041
300-355 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.042
300-355 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.043
300-355 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.041-043
Average of previous three spectra.

SA-51
071229a.044
355-425 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.045
355-425 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.046
355-425 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.044-046
Average of previous three spectra.

SA-51
071229a.047
425-500 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.048
425-500 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.049
425-500 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.047-049
Average of previous three spectra.

SA-51
071229a.050
500-600 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.051
500-600 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.052
500-600 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.050-052
Average of previous three spectra.

SA-51
071229a.053
600-700 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.054
600-700 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.055
600-700 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.053-055
Average of previous three spectra.

SA-51
071229a.056
700-850 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.057
700-850 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.058
700-850 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.056-058
Average of previous three spectra.

SA-51
071229a.059
850-1000 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.060
850-1000 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.061
850-1000 μm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.059-061
Average of previous three spectra.

SA-51
071229a.062
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.063
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.064
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.065
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.066
1.0-1.4 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.062-066
Average of previous five spectra.

SA-51
071229a.067
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.068
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.069
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.070
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.071
1.4-1.7 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.067-071
Average of previous five spectra.

SA-51
071229a.072
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.073
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.074
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.075
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.076
1.7-2.0 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.072-076
Average of previous five spectra.

SA-51
071229a.077
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.078
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.079
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.080
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.081
2.0-2.36 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.077-081
Average of previous five spectra.

SA-51
071229a.082
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.083
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.084
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.085
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.086
2.36-2.8 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.082-086
Average of previous five spectra.

SA-51
071229a.087
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.088
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.089
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.090
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.091
2.8-3.35 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.087-091
Average of previous five spectra.

SA-51
071229a.092
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.093
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.094
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.095
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.096
3.35-4.75 mm (dry sieved); i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.092-096
Average of previous five spectra.

SA-51
071229a.097
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (directory: 071229grainsize). 

SA-51
071229a.098
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.099
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.100
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.101
whole rock; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged; ASD (repack/reshoot of previous sample; directory: 071229grainsize). 

SA-51
071229a.097-101
Average of previous five spectra.

+++++++++++
++++ SA-51: Bidirectional study (March 2007)++++

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

1. Basalt powder

Series 0a (same viewing geometry for standard and sample)
SA-51b
PSF feb2707.003
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

SA-51b
PSF feb2707.011
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

SA-51b
PSF feb2707.019
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

SA-51b
PSF feb2707.027
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

++++++

SA-51 chip
PSF feb2707.006
chip; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

SA-51 chip
PSF feb2707.014
chip; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

SA-51 chip
PSF feb2707.022
chip; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

SA-51 chip
PSF feb2707.030
chip; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

+++++++++++++++++++++++++++++++++++

Series 0b (same viewing geometry for standard and sample)
SA-51b
PSF feb2807.003
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

SA-51b
PSF feb2807.011
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

SA-51b
PSF feb2807.019
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

SA-51b
PSF feb2807.027
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

++++++

Series 0b (same viewing geometry for standard and sample)
SA-51 chip
PSF feb2807.006
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

SA-51 chip
PSF feb2807.014
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

SA-51 chip
PSF feb2807.022
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

SA-51 chip
PSF feb2807.030
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

+++++++++++++++++++++++
Series 1 (same viewing geometry for standard and sample

SA-51a
PSF mar0107.003
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0107.011
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0107.019
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0107.027
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 2 (same viewing geometry for standard and sample

SA-51a
PSF mar0707a.003
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0207.011
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0207.019
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0207.027
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 3 (same viewing geometry for standard and sample)

SA-51a
PSF mar0207.035
<45 µm; 60°/60°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0207.043
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0207.051
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0207.059
<45 µm; 60°/-30°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 4 (different viewing geometry for standard vs. sample)

SA-51a
PSF mar0607.003
<45 µm; 30°/0°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0607.011
<45 µm; 30°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0607.019
<45 µm; 30°/0°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0607.027
<45 µm; 30°/0°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 5 (bifurcated cable; same viewing geometry for standard and sample)

SA-51a
PSF mar0707.003
<45 µm; 0°/0°; 0°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51a
PSF mar0707.011
<45 µm; 30°/-30°; 30°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SA-51a
PSF mar0707.019
<45 µm; 45°/-45°; 45°/-45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SA-51a
PSF mar0707.027
<45 µm; 60°/-60°; 60°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

++++++++++++++++++++++++++++++

2. Basalt chip

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

Series 1 (same viewing geometry for standard and sample

SA-51 chip
PSF mar0107.006
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0107.014
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0107.022
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0107.030
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 2 (same viewing geometry for standard and sample

SA-51 chip
PSF mar0707a.006
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0207.014
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0207.022
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0207.030
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 3 (same viewing geometry for standard and sample)

SA-51 chip
PSF mar0207.038
<45 µm; 60°/60°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0207.046
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0207.054
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0207.062
<45 µm; 60°/-30°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 4 (different viewing geometry for standard vs. sample)

SA-51 chip
PSF mar0607.006
<45 µm; 30°/0°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0607.014
<45 µm; 30°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0607.022
<45 µm; 30°/0°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0607.030
<45 µm; 30°/0°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 5 (bifurcated cable; same viewing geometry for standard and sample)

SA-51 chip
PSF mar0707.006
<45 µm; 0°/0°; 0°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

SA-51 chip
PSF mar0707.014
<45 µm; 30°/-30°; 30°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SA-51 chip
PSF mar0707.022
<45 µm; 45°/-45°; 45°/-45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

SA-51 chip
PSF mar0707.030
<45 µm; 60°/-60°; 60°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++++++++++++++++++++++++++++++++++++++
SA-53d
PSF 080422a.003
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++

SA-54
PSF 090728a.004
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

+++++++
SA-59d
PSF 080422a.004
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++
SA-60sb
PSF 090807.012
smooth cut surface; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol.; ASD (aka MIXB012).
SA-60rb
PSF 090807.013
rough surface; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol.; ASD.

SA-60rb
PSF 090807.014
rough surface, reshoot; 35°/0°; 0.35-2.5 µm; 1000 avg; 1 nm resol.; ASD.

SA-60
PSF 080619a.017
surface (smooth cut?); 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SA-60
PSF 080619a.018
surface (smooth cut?); 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

+++++++
SA-65d
PSF 080422a.005
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++
SA-66d
PSF 080422a.006
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++
SA-67d
PSF 080422a.007
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++
SA-70d
PSF 080422a.008
90-250 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (080422 HAW Basalts directory).

+++++++

SA-75
PSF 090728a.005
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.

++++++++++++++++++++++++++++++++
11.15d. Columbia River Basalts – Melissa Rice (2015)
Note: samples of Columbia River basalts from Melissa Rice (Western Washington University) for spectral characterization.

Sample ID
PSF spectral file
Description

CRB15 2B-R
150908a.001
Whole rock, spot spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB15 2B-R
150908a.002
Whole rock, spot spectrum, duplicate spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 2B-W1
150908a.004
Whole rock, spot spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 2B-W1
150908a.005
Whole rock, spot spectrum, duplicate spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 2B-W2
150908a.006
Whole rock, spot spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 2B-W2
150908a.007
Whole rock, spot spectrum, duplicate spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 SLB-R
150908a.008
Whole rock, spot spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 SLB-R
150908a.009
Whole rock, spot spectrum, duplicate spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 SLB-W1
150908a.010
Whole rock, spot spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 SLB-W1
150908a.011
Whole rock, spot spectrum, duplicate spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 SLB-W2
150908a.012
Whole rock, spot spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

CRB215 SLB-W2
150908a.013
Whole rock, spot spectrum, duplicate spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 333 spectra averaged; ASD [Directory: 150908 Mel Basalts].

+++++++++++++++++++++++++++++++
11.9.d. Komatiites

(i) Slab/surface reflectance spectra:

ZV-74
PSF 120119a.001
Slab, chilled margin, exterior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].
ZV-74
PSF 120119a.002
Slab, chilled margin, interior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

91106
PSF 120119a.003
Cumulate komatiite, exterior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

91106
PSF 120119a.004
Cumulate komatiite, interior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.3
PSF 120119a.005
Spinifex-textured komatiite, exterior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.3
PSF 120119a.006
Spinifex-textured komatiite, interior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.9
PSF 120119a.007
Cumulate komatiite, exterior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.9
PSF 120119a.008
Cumulate komatiite, interior surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

+++++
(ii) Powder reflectance spectra:

ZV-74
PSF 120119a.012
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

ZV-74
PSF 120119a.013
90-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

91106
PSF 120119a.014
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

91106
PSF 120119a.015
90-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.3
PSF 120119a.016
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.3
PSF 120119a.017
90-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.9
PSF 120119a.018
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

501.9
PSF 120119a.019
90-1000 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD3 [Directory: 120119_Komatiites].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

11. LIBS spectra (with UW LIBS spectrometer) (for CANMOON project 2019)
BAS203
pressed pellet of <45 µm; 100 msec exposure time 

BAS203
pressed pellet of <45 µm; 10 msec exposure time 

BAS203
pressed pellet of <45 µm; 1000 msec exposure time 

BAS203
<45 µm; 100 msec exposure time 

BAS203
<45 µm; 10 msec exposure time 

BAS203
<45 µm; 1000 msec exposure time 

+++++

SA-20
>45 µm; 100 msec exposure time 

SA-20
>45 µm; 100 msec exposure time; reshoot.

+++++

SA-60A
<45 µm; 100 msec exposure time 

SA-60A
<45 µm; 10 msec exposure time 

SA-60A
<45 µm; 1000 msec exposure time 

SA-60A
pressed pellet of <45 µm; 100 msec exposure time 

SA-60A
pressed pellet of <45 µm; 10 msec exposure time 

SA-60A
pressed pellet of <45 µm; 1000 msec exposure time 

+++++++++++++++++++++++++++++++++++++++++++++

(b) Raman spot spectra: iRaman 532 nm; i=e=0°; ~4 cm-1 resolution; 174-4002 cm-1 range; 50 mW laser power; variable number of spectra averaged [Directory: 200721 Lunar Raman]. 

BAS600
PSF 200721_013_BAS600_Powder_Spot1.txtr
Spot 1 on unsorted powder.

BAS600
PSF 200721_014_BAS600_Powder_Spot2.txtr
Spot 2 on unsorted powder.

+++++++

HAW600
PSF 200721_017_HAW060_Powder_Spot1.txtr
Spot 1 on <45 µm powder.

HAW600
PSF 200721_018_HAW060_Powder_Spot2.txtr
Spot 2 on <45 µm powder.

+++++++++++++++++++++++++++++++++++++++++++++
d. Raman spectra: iRaman 532 nm; 168-4003 cm-1; 4 cm-1 resolution

BAS101
PSF 200805_004_BAS101_Spot1
<45 µm powder; 50,000 msec integration time; 6 spectra averaged [Directory: 200805 Lunar Raman].

BAS101
PSF 200805_005_BAS101_Spot2
<45 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

++++++

BSB101
PSF 200805_021_BSB101_Spot1
45-90 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

BSB101
PSF 200805_022_BSB101_Spot2
45-90 µm powder; 65,535 msec integration time; 5 spectra averaged [Directory: 200805 Lunar Raman].

+++++++++++++++

BAS101
PSF 210120_013_532_BAS101_spot1.txtr
<45 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210120 LunaR raman].

BAS101
PSF 210122_001_532_BAS101_spot2.txtr
<45 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210127 LunaR raman].

BAS101
PSF 210122_002_532_BAS101_spot3.txtr
<45 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210127 LunaR raman].

++++++++++
BSB101
PSF 210122_003_532_BSB101_spot1.txtr
<45 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

BSB101
PSF 210122_004_532_BSB101_spot2.txtr
<45 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

BSB101
PSF 210122_005_532_BSB101_spot3.txtr
<45 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 11.
12. Palagonites and Planetary Regolith Analogues
12.1. Palagonites and Buell dust

12.2. Planetary soil analogues

12.3. OB-1/CHENOBI  lunar highland simulant components

12.4. JAXA – Shimizu Corp. lunar analogues

12.5. Synthetic nanophase iron-impregnated silica gel

12.6. University of Winnipeg lunar analogues

12.7. Arizona Test Dust

12.8. Mt. St. Helens ash

12.9. Chinese loess
12.10. Manitoba loess

12.11. Bennu analogue from UofC

12.12. Meteorite simulants from Dan Britt – University of Central Florida

12.13. Lunar simulants for MPB ESA LUCE Cubesat

12.14. Samples for February 2019 Mars 2020 rover ROASTT exercise

12.15. Rockwool (home insulation)

12.16. Lunar analogues for Canadensys

12.17. Planetary analogues from Exolith Labs

12.18.Apollo 11 simulant fromBasque Country U. (Juanma Madariaga)

12.19. Hispansion lunar analogues

++++++++++++++++++++++++++

12a. Sample Descriptions - Palagonites and Planetary Regolith Analogues
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are too sparse or fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID
Description







12.1.a. Palagonites and Buell dust
BUE101
“Buell” dust from Frederic Juenneman (January 2004).

PAL101
Palagonite: (from Dick Morris, sample #HWMK600). <45µm fraction separated without crushing from bulk (<1mm) sample; dry sieve. Collected from south side of road to Very Long Baseline Array telescope (3720 m elevation; Morris et al., 2000).

PAL101A
Palagonite: (from Dick Morris, sample #HWMK600). <45µm fraction separated without crushing from bulk (<1mm) sample; dry sieve. Baked at ~160°C for 2 hours in air, sealed in vial after baking and weighing;  9.6% weight loss.

PAL101B
Palagonite: (from Dick Morris, sample #HWMK600). <45µm fraction separated without crushing from bulk (<1mm) sample; dry sieve. Baked at ~600°C for 2 hours in air, sealed in vial after baking and weighing;  16.4% weight loss.

PAL102
Palagonite: (from Ted Roush, summit of Mauna Kea, sample #91-16). <45µm fraction separated without crushing from bulk (<2mm) sample; dry sieve.

PAL102x
Palagonite: (from Ted Roush, summit of Mauna Kea, sample #91-16). <45µm fraction separated without crushing from bulk (<2mm) sample; dry sieve; rest of sample prepared (spectral properties of PAL102 and PAL102x may not be the same (will be determined from next batch of spectra).

PAL102A
Palagonite: (from Ted Roush, summit of Mauna Kea, sample #91-16). <45µm fraction separated without crushing from bulk (<1mm) sample; dry sieve. Baked at ~160°C for 2 hours in air, sealed in vial after baking and weighing; 6.7% weight loss.

PAL102B
Palagonite: (from Ted Roush, summit of Mauna Kea, sample #91-16). <45µm fraction separated without crushing from bulk (<1mm) sample; dry sieve. Baked at ~600°C for 2 hours in air, sealed in vial after baking and weighing; 14.8% weight loss.

PAL103
Palagonite: JSC Mars-1; Pu'u Nene ash, Island of Hawaii, Hawaii, USA (2050 m elevation) (Martian regolith simulant) Johnson Space Centre; unsorted.

+++++++++
12.2.a. Planetary soil analogues

CHENOBI 
PSA001: lunar highlands regolith physical simulant. NORCAT and EVC: batch number 1, date of mix: June 30/09. 2 1-kg cans available; 3 1-kg cans distributed to MPBC and Alex Ellery at Carleton University. Contains Shawmere anorthosite plus glass made by fusing Shawmere anorthosite (only 2 components in it?).
JSC Mars-1A 
PSA002: Martian regolith simulant, <1 mm size fraction. “Used by NASA as a spectral analogue to the bright regions of Mars". From Planet LLC (Orbital Technologies Corporation; DBA Planet LLC). 5 1-kg containers received. 
JSC-1A Lunar 
PSA003: JSC-1A Lunar regolith simulant, <1 mm size fraction. “Used by NASA as a chemical and mechanical analogue to the lunar mare regions". From Planet LLC (Orbital Technologies Corporation; DBA Planet LLC). 5 1-kg containers received.

MMS

PSA004: Mojave Mars Simulant, from JPL via Jon Abbatt at University of Toronto; received October 30, 2011. [see Peters et al., 2008).
SOPHIA
Mars Oxia Planum simulant: 20 grams of fine-grained powder. From Amy Dugdale – The Open University. Received January 15, 2024. See: Dugdale et al. (2023).
++++++++++++++++++
12.3.a. OB-1/CHENOBI  lunar highland simulant components
AN-1
Shawmere anorthosite; Shawmere, Ontario (An78); drill core; consists of ~97 vol% plagioclase (An78), ~1 vol% olivine, ~ vol% orthoclase, ~0.2-0.5 vol% orthopyroxene and clinopyroxene, accessory opaques, apatite, and zircon (Battler and Spray 2009).; received Nov. 23/09.

FG-1
Fayalitic glass; mine tailings slag; CIPW fayalite olivine normative (Battler and Spray 2009); received Nov. 23/09 (40 g of crushed samples).

OB-1
Lunar simulant made from AN-1 and FG-1.
CHENOBI
Lunar highland simulant; ~150 grams from MDA, Amy Shaw – July 2023.
+++++++++++++++++++++++++++++

12.4.a. JAXA – Shimizu Corp. lunar analogues (from Makiko Ohtake – Feb. 2010)
FJS-1
Lunar mare simulant – produced from Mt. Fuji basalt for JAXA (~ 1 kg received); Apollo 16 simulant.
Shimizu-HS
Lunar highland simulant. “New” simulant of lunar highland from Shimizu Corp.; composition/characterization unknown.

++++++++++++++++++++++++++

12.5.a. Synthetic nanophase iron-impregnated silica gel – August 2010

Two pore sizes of silica gel impregnated with two concentrations of ferric nitrate solution and reduced at University of Manitoba in carbon monoxide to produce nanophase iron-impregnated silica gels for use in producing lunar mare and highland analogues.

SGE101A
SGE101 synthetic silica gel (22 Angstrom pore size; 75-650 μm grain size (28-200 mesh) impregnated with 1 N ferric nitrate solution; heated in air and reduced in carbon monoxide at University of Manitoba.

SGE101B
SGE101 synthetic silica gel (22 Angstrom pore size; 75-650 μm grain size (28-200 mesh) impregnated with 0.1 N ferric nitrate solution; heated in air and reduced in carbon monoxide at University of Manitoba.

SGE105A
SGE105 synthetic silica gel (150 Angstrom pore size; 250-500 μm grain size (35-60 mesh) impregnated with 1 N ferric nitrate solution; heated in air and reduced in carbon monoxide at University of Manitoba.

SGE105B
SGE105 synthetic silica gel (150 Angstrom pore size; 250-500 μm grain size (35-60 mesh) impregnated with 0.1 N ferric nitrate solution; heated in air and reduced in carbon monoxide at University of Manitoba.

Some of these mixtures are also described in section 15 of this document.
++++++++++++++++++++++++++++++++++++
12.6.a. University of Winnipeg lunar analogues – August 23, 2010
UWM1P: Mare simulant 1 precursor (no nanophase iron):

45 wt.% spectral type B clinopyroxene (PYX016; <45 µm grain size)

45 wt.% anorthositic plagioclase feldspar (PLG108; <45 µm grain size)

10 wt.% synthetic stoichiometric ilmenite (ILM200; <45 μm grain size)

UWH1P: Highland simulant 1 precursor (no nanophase iron):
9 wt.% spectral type B clinopyroxene (PYX016; <45 µm grain size)

90 wt.% anorthositic plagioclase feldspar (PLG108; <45 µm grain size)

1 wt.% synthetic stoichiometric ilmenite (ILM200; <45 μm grain size)

UWM1: Mare simulant 1:

33.75 wt.% spectral type B clinopyroxene (PYX016; <45 µm grain size)

33.75 wt.% anorthositic plagioclase feldspar (PLG108; <45 µm grain size)

7.5 wt.% synthetic stoichiometric ilmenite (ILM200; <45 μm grain size)

25 wt.% nanophase-impregnated silica gel (150 nm pore size; ~90-500 μm grain size)

UWH1: Highland simulant 1:
6.75 wt.% spectral type B clinopyroxene (PYX016; <45 µm grain size)

67.5 wt.% anorthositic plagioclase feldspar (PLG108; <45 µm grain size)

0.75 wt.% synthetic stoichiometric ilmenite (ILM200; <45 μm grain size)

25 wt.% nanophase-impregnated silica gel (150 nm pore size; ~90-500 μm grain size)

+++++++++++++++++++++++++++++++++++++++++

12.7.a. Arizona Test Dust

ATD001
Arizona Test Dust, 0-3 microns [500 grams from Powder Technology Inc.; received May 19, 2011] (for MATMOS dust project).
ATD002
Arizona Test Dust, 0-70 microns [500 grams from Powder Technology Inc.; received May 19, 2011] (for MATMOS dust project).
+++++++++++++++++++++++++++++++++++
12.8.a. Mt. St. Helens ash

MSH-ASH
Ash from pyroclastic flow deposits – May 18, 1980 eruption of Mt. St. Helens, WA, USA (from Brittany Brand, Boise State University, Dept. of Geosciences, 1910 University Drive, Boise, ID, USA 83725).

MSH-ASHa
Jar labelled Mt. St. Helen’s ash (locality unknown, from UWinnipeg room 4CM42).

MSH-ASHb
Vial labelled Mt. St. Helen’s ash (locality unknown, from UWinnipeg room 4CM42).

+++++++++++++++++++++++++++++++++++

12.9.a. Chinese loess

Received from Dr. Hoingrui Fan, Institute of Geology and Geophysics, Chinese Academy of Science (?) via Dr. Xueming (Eric) Yang, Manitoba Geological Survey (September 2013); collected by Mr. Gu Chaoyan. Samples are from Linxia City, Gansu Province, China. GPS site: N35.638, E 103.148. Sediment time is ~20,000 year ago. No published information on the samples. 
YP-12D
Fine-grained lighter brown loess.
YP-13D
Fine-grained medium brown powder (~500 grams).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.10.a. Manitoba loess

LOE-001
Windblown silt – Manitoba loess (from Jim Bamburak – Manitoba Geological Survey).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.11.a. OSIRIS-Rex Bennu analogue
Produced by Alan Hildebrand, University of Calgary): composition (I believe): 85% drilling mud (Na-montomorillonite), 10% magnetite, 5% charcoal and India ink? Received Feb. 19, 2016.

Bennu1
See above; 6-1” diameter chunks

Bennu2
Original Bennu simulant made by Alan Hildebrand; new samples (various sized chunks; ~100 grams) received April 2021 (his ID HCCL-1)
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.12.a. CI simulant from Dan Britt – University of Central Florida

Note: two vials of sample received April 14, 2016:

· Pre-Hydrated Powder
· Post-Hydrated Powder
(i) CI-sim1
Pre-hydrated powder (~5 grams of fine-grained powder)
 (ii) CI-sim2
Post-hydrated powder (~5 grams of fine-grained powder)

End members for UCF CI (?) simulant (received from Alex Boivin and Rebecca Ghent at University of Toronto – September 2017), as well as recipe for preparing it.

UCF-CI-1
Antigorite
48%
UCF-CI-1
Attapulgite
5%
UCF-CI-3
Coal
5%
UCF-CI-4
Epsomite
6%
UCF-CI-5
Magnetite
13.5%
UCF-CI-6
Olivine
7%
UCF-CI-7
Pyrite
6.5%
UCF-CI-8
Vermiculite
9%
+++++++++++++

(iii) UCF/DSI CI Asteroid Simulant - received from UCF (February 2019) – 100 grams

Composition from provided SDS (corresponds to CI Prototype in paper preprint provided by Kevin Cannon (February 2019): 
Material


Wt. %

Serpentine (antigorite/lizardite)
48.0

Magnetite


13.5

Vermiculite


9.0

Olivine


7.5

Pyrite


6.5

Epsomite


6.0

Coal, sub-bituminous

5.0

Attapulgite


5.0

+++++++++++++++++++

(iv) UCF/DSI CR Asteroid Simulant – “Old” and “new” – 100 grams of each received February 2019

Composition from provided SDS: 



CR Prototype (aka Old)
CR Update (aka New)
Material


Wt. %

Wt. %)
Olivine


33.7

33.1
Pyroxene


31.6

29.6
Magnetite


14.3

2.5
Serpentine (antigorite/lizardite)
9.2

6.8
Iron metal


4.6

10.6
Nickel metal


0.5

0.0

Pyrite


4.1

5.8
Coal, sub-bituminous

2.0

2.0
Sodium metasilicate pentahydrate
0-5.0

Amorphous silicate

0

9.6
Amorphous silicate is an Fe,Si-rich copper slag grit.

++++++++++++++++++++

(v) UCF/DSI CM Asteroid Simulant - received from UCF (February 2019) – 100 grams

Composition from provided SDS: 

Material


Wt. %

Serpentine (antigorite/lizardite)
72.5

Magnetite


10.4

Olivine


7.8

Coal, sub-bituminous

3.6

Pyrite


2.6

Pyroxene


2.1

Siderite


1.0

Sodium metasilicate pentahydrate
0-5.0

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.13.a. Lunar simulants for MPB ESA LUCE Cubesat
Note: reflectance spectra acquired for supporting 2 wavelength lidar cubesat for ESA project (2017) for polar shadowed region volatile detection. Samples spectrally characterized at UWinnipeg (0.35-2.5 µm) and at MPB in Montreal at 2 wavelengths (July 2017).

Samples include pure end members and mixed with water and frozen.

Highland #1
PSA001a: Fine powder, dense pack

Highland #2
PSA001b: Fine powder, loose pack

Highland #3
PSA001c: Fine powder, dense pack

Highland #4
PSA001d: Fine powder, dense pack with loose powder on top

Highland #5
PSA001e: Coarse powder, regular pack

Highland #6
PSA001f: Unsorted powder, regular pack

Highland #7
PSA001g: Unsorted powder, loose pack

Highland #8
PSA001h: Unsorted powder, dense pack

Highland #9
PSA001i: Unsorted powder, dense pack with loose powder on top

Highland #10
PSA001j: Fine powder, rough surface

Highland #11
PSA001k: Unsorted powder, rough surface

Mare #1
PSA003a: Fine powder, regular pack

Mare #2
PSA003b: Fine powder, loose pack

Mare #3
PSA003c: Fine powder, dense pack

Mare #4
PSA003d: Coarse powder, regular pack

Mare #5
PSA003e: Coarse powder, regular pack

Mare #6
PSA003f: Unsorted powder, regular pack

Mare #7
PSA003g: Unsorted powder, loose pack

Mare #8
PSA003h: Unsorted powder, dense pack

Mare #9
PSA003i: Unsorted powder, dense pack with loose powder on top

Mare #10
PSA003j: Fine powder, rough surface

Mare #11
PSA003k: Unsorted powder, rough surface

Ice #1
Pure ice-a: Pure ice; light went through sample.

Mare #12
PSA003l: Ice with a thin layer of mare powder

Highland #12
PSA001l: Ice with a thin layer of highland powder

Mare #13
PSA003m: Ice with a thick layer of mare powder

Highland #13
PSA001m: Ice with a thick layer of highland powder

Highland #14
PSA001n: Highland powder with 10 wt.% ice mixed in

Highland #15
PSA001o: Highland powder with 20 wt.% ice mixed in

Highland #16
PSA001p: Highland powder with 30 wt.% ice mixed in

Highland #17
PSA001q: Highland powder with 40 wt.% ice mixed in

Highland #18
PSA001r: Highland powder with 50 wt.% ice mixed in

Mare #14
PSA003n: Mare powder with 10 wt.% ice mixed in

Mare #15
PSA003n: Mare powder with 20 wt.% ice mixed in

Mare #16
PSA003p: Mare powder with 30 wt.% ice mixed in

Mare #17
PSA003q: Mare powder with 40 wt.% ice mixed in

Mare #18
PSA003r: Mare powder with 50 wt.% ice mixed in

Highland #19
PSA001s: Fine highland powder, regular pack (Highland 1)

Highland #20
PSA001t: Coarse highland powder, regular pack (Highland 5)

Highland #21
PSA001u: Unsorted highland powder, regular pack (Highland 6)

Mare #19
PSA003s: Fine mare powder, regular pack (Mare 1)

Mare #20
PSA003t: Coarse mare powder, regular pack (Mare 5)

Mare #21
PSA003u: Unsorted mare powder, regular pack (Mare 6)

Highland #22
PSA001v: Highland powder with 10 wt.% ice mixed in

Highland #23
PSA001w: Highland powder with 30 wt.% ice mixed in

Highland #24
PSA001x: Highland powder with 50 wt.% ice mixed in

Mare #22
PSA003v: Mare powder with 10 wt.% ice mixed in

Mare #23
PSA003w: Mare powder with 30 wt.% ice mixed in

Mare #24
PSA003x: Mare powder with 50 wt.% ice mixed in

Ice #2
Pure ice-b: Pure ice; light went through sample.

Highland #25
PSA001y: Highland powder, fine-grained, regular pack, ~1.5 mm lower than original sample (Highland 1)
Highland #26
PSA001z: Highland powder, coarse-grained, regular pack, ~1.5 mm lower than original sample (Highland 5)

Highland #27
PSA001aa: Highland powder, unsorted powder, regular pack, ~1.5 mm lower than original sample (Highland 1)

Mare #25
PSA003z: Mare powder, fine-grained powder, regular pack, ~1.5 mm lower than original sample (Mare 6)

Mare #26
PSA003z: Mare powder, coarse-grained powder, regular pack, ~1.5 mm lower than original sample (Mare 5)

Mare #27
PSA003aa: Mare powder, unsorted powder, regular pack, ~1.5 mm lower than original sample (Mare 6)

Highland #28
PSA001ab: Highland powder with 10 wt.% ice mixed in, ~1.5 mm lower than original sample

Highland #29
PSA001ac: Highland powder with 30 wt.% ice mixed in, ~1.5 mm lower than original sample

Highland #30
PSA001ad: Highland powder with 50 wt.% ice mixed in, ~1.5 mm lower than original sample

Mare #28
PSA003ab: Mare powder with 10 wt.% ice mixed in, ~1.5 mm lower than original sample

Mare #29
PSA003ac: Mare powder with 30 wt.% ice mixed in, ~1.5 mm lower than original sample

Mare #30
PSA003ad: Mare powder with 50 wt.% ice mixed in, ~1.5 mm lower than original sample

Ice #3
Pure ice-b: Pure ice; ~1.5 mm lower than original sample; light went through sample.

Highland #31
PSA001ae: Highland powder, fine powder, regular pack (Highland 1)

Highland #32
PSA001ae: Highland powder, coarse powder, regular pack (Highland 5)

Highland #33
PSA001af: Highland powder, unsorted powder, regular pack (Highland 6)

Mare #31
PSA003ae: Fine mare powder, regular pack; ~ 3mm lower than original samples (Mare 1)

Mare #32
PSA003af: Coarse mare powder, regular pack; ~3 mm lower than original samples (Mare 5)

Mare #33
PSA003ag: Unsorted mare powder, regular pack; ~3 mm lower than original samples (Mare 6)

Highland #34
PSA001ah: Highland powder with 10 wt.% ice mixed in, ~3 mm lower than original sample

Highland #35
PSA001ai: Highland powder with 30 wt.% ice mixed in, ~3 mm lower than original sample

Highland #36
PSA001aj: Highland powder with 50 wt.% ice mixed in, ~3 mm lower than original sample

Mare #34
PSA003ah: Mare powder with 10 wt.% ice mixed in, ~3 mm lower than original sample

Mare #35
PSA003ai: Mare powder with 30 wt.% ice mixed in, ~3 mm lower than original sample

Mare #36
PSA003aj: Mare powder with 50 wt.% ice mixed in, ~3 mm lower than original sample

Ice #4
Pure ice-d: Pure ice; ~3 mm lower than original sample; light went through sample.

+++++

Shimizu-HS-A-0

98% Shimizu-HS; <45um+2% water ice
Shimizu-HS-B-0

96% Shimizu-HS; <45um+4% water ice
Shimizu-HS-C-0

94% Shimizu-HS; <45um+6% water ice
Shimizu-HS-D-0

92% Shimizu-HS; <45um+8% water ice
Shimizu-HS-E-0


90% Shimizu-HS; <45um+10% water ice
HAW060-A-0


98% HAW060; <45um+2% water ice
HAW060-B-0


96% HAW060, <45um+4% water ice

HAW060-C-0


94% HAW060, <45um+6% water ice
HAW060-D-0


92% HAW060, <45um+8% water ice
HAW060-E-0


90% HAW060, <45um+10% water ice
H2O-SLAB-0


100% H2O slab

Shimizu-HS-A-10
98% Shimizu-HS; <45um+2% water ice
Shimizu-HS-B-10
96% Shimizu-HS; <45um+4% water ice
Shimizu-HS-C-10
94% Shimizu-HS; <45um+6% water ice
Shimizu-HS-D-10
92% Shimizu-HS; <45um+8% water ice
Shimizu-HS-E-10
90% Shimizu-HS; <45um+10% water ice

HAW060-A-10


98% HAW060; <45um+2% water ice
HAW060-B-10


96% HAW060, <45um+4% water ice

HAW060-C-10


94% HAW060, <45um+6% water ice
HAW060-D-10


92% HAW060, <45um+8% water ice
HAW060-E-10


90% HAW060, <45um+10% water ice
H2O-SLAB-10


100% H2O slab

Shimizu-HS-A-20
98% Shimizu-HS; <45um+2% water ice
Shimizu-HS-B-20
96% Shimizu-HS; <45um+4% water ice
Shimizu-HS-C-20
94% Shimizu-HS; <45um+6% water ice
Shimizu-HS-D-20
92% Shimizu-HS; <45um+8% water ice
Shimizu-HS-E-20
90% Shimizu-HS; <45um+10% water ice

HAW060-A-20


98% HAW060; <45um+2% water ice
HAW060-B-20


96% HAW060, <45um+4% water ice

HAW060-C-20


94% HAW060, <45um+6% water ice
HAW060-D-20


92% HAW060, <45um+8% water ice
HAW060-E-20


90% HAW060, <45um+10% water ice
H2O-SLAB-20


100% H2O slab

Shimizu-HS-A-30
98% Shimizu-HS; <45um+2% water ice
Shimizu-HS-B-30
96% Shimizu-HS; <45um+4% water ice
Shimizu-HS-C-30
94% Shimizu-HS; <45um+6% water ice
Shimizu-HS-D-30
92% Shimizu-HS; <45um+8% water ice
Shimizu-HS-E-30
90% Shimizu-HS; <45um+10% water ice

HAW060-A-30


98% HAW060; <45um+2% water ice
HAW060-B-30


96% HAW060, <45um+4% water ice

HAW060-C-30


94% HAW060, <45um+6% water ice
HAW060-D-30


92% HAW060, <45um+8% water ice
HAW060-E-30


90% HAW060, <45um+10% water ice
H2O-SLAB-30


100% H2O slab

Shimizu-HS-A-40
98% Shimizu-HS; <45um+2% water ice
Shimizu-HS-B-40
96% Shimizu-HS; <45um+4% water ice
Shimizu-HS-C-40
94% Shimizu-HS; <45um+6% water ice
Shimizu-HS-D-40
92% Shimizu-HS; <45um+8% water ice
Shimizu-HS-E-40
90% Shimizu-HS; <45um+10% water ice

HAW060-A-40


98% HAW060; <45um+2% water ice
HAW060-B-40


96% HAW060, <45um+4% water ice

HAW060-C-40


94% HAW060, <45um+6% water ice
HAW060-D-40


92% HAW060, <45um+8% water ice
HAW060-E-40


90% HAW060, <45um+10% water ice
H2O-SLAB-40


100% H2O slab
+++++++++++++++++++++++++++++++++++
12.13.1.a. Data from MPB from August 2017 run with LUCE breadboard

Here's some really preliminary results for the LUCE test we did last Friday.

I'm not quite sure why there so much variation of the visible light source on the spectralon. I'll have to do a fit for the level calibration over time.   

 

Also included are the imported files into matlab, before processing (no dark signal or gain correction), but I did the averaging and the windowing.

Structure description:

	         Name
	'Highland_1'
	Sample name

	     IRsearch
	[110x1 struct]
	Filename and timestamp of the images

	    VISsearch
	[200x1 struct]
	Filename and timestamp of the images

	     IRtiming
	[7.3689e+05 7.3689e+05]
	Min and max timestamp of the image

	       IRmean
	[26x66 double]
	Average of the 100+ images, 26 pixels by 66 pixels

	        IRstd
	[26x66 double]
	STD of the 100+ images

	    VIStiming
	[7.3689e+05 7.3689e+05]
	Min and max timestamp of the image

	      VISmean
	[46x46 double]
	Average of the 200 images, 46 pixels by 46 pixels

	       VISstd
	[46x46 double]
	STD of the 200 images


 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.14.a. Samples for February 2019 Mars 2020 rover ROASTT exercise

(i) Received from Ann Olilla (Los Alamos National Laboratory) – December 2018

R19-001A-SPCM
Small (~1”) buff-colored laminated pebble with saw-cut faces.

R19-002-SPCM

Small (~1”) laminate gray (sandstone) fragment with saw-cut faces.

R19-004A-SPCM
Small (~1”) gray roughly-laminated pebble with saw-cut faces.

R19-005-SPCM

Gray medium-grained (~1”) laminated/bedded pebble with saw-cut faces.

R19-011-SPCM

Loose brown-gray powder and small fragments.

R19-012-SPCM

Medium brown (~1”) pebble with weak laminations and saw-cut faces.

R19-013B-SPCM
Small (~1”) beige laminated pebble with saw-cut faces.

+++++++++++++++++++++++++++++++++++++++++++++++

(ii) Self-collected in field during ROASTT site visit – April 18, 2019

ROASTT-C01
Piece of stromatolitic boulder at rest stop/campsite for ROASTT field visit; on conglomerate bluff east of parking lot (across arroyo).

ROASTT-C02
Brown andesitic volcanic breccia, vesicular (collected near Waypoint1)

ROASTT-C03
Massive resistant layer – welded tuff (?) – Station 2 of 3 field sites.

ROASTT-C04
Green volcanic breccia, some vesicularity and friability

ROASTT-C05
Green/brown volcanic breccia – Path near Waypoint 1.

ROASTT-C06
Multiple calcitic vein fillings; loose cobble, Rainbow Basin rest stop.

ROASTT-C07
Stromatolitic loose cobble; Rainbow Basin rest stop.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.15.a. Rockwool (home insulation product)
Rockwool-a
Sieved to <45 µm powder

Rockwool-b
Sieved to <45 µm powder and baked at 650°C for 4 hours to get rid of any binder.

+++++++++++++++++++++++++++++++++++++

12.x. Lunar analogues and ilmenite for Canadensys – October 2021

Note: spectra of samples in 3 cm Petri dish; same set-up as used by Canadensys; 50 Watt desk lamp; sample on white foamboard. Shot at three different phase angles.

PSA001 – CHENOBI Highland simulant; unsorted

PSA003 – NASA JSC-1A Mare simulant; unsorted.

ILM201 – Ilmenite; unsorted.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.17.a. Planetary analogues from Exolith Labs
(i) Exolith Labs Order – November 2021
Note: see their web site and downloaded spec sheets; samples may vary depending on batch number.

Their sample ID

Description





Quantity ordered/price

LHAA-1 (No Exolith ID #)*Anorthosite Agglutinates: 10 grams


1 ordered ($50.00)

LHS-1-25A

Lunar Highlands Agglutinated Simulant: 100 grams
1 ordered ($150.00)

LMS-1D


Lunar Mare Dust Simulant: 1 kg



1 ordered ($55.00)

LHS-1D


Lunar Highland Dust Simulant: 1 kg


1 ordered ($55.00)

LHS-1


Lunar Highlands Simulant: 1 kg



1 ordered ($55.00)

LMS-1


Lunar Mare Simulant: 1 kg



1 ordered ($35.00)

JEZ-1


Jezero Delta Simulant: 1 kg



1 ordered ($35.00)

MGS-1


Mars Global Simulant: 1 kg



1 ordered ($35.00)
* Will ID first sample as “LHAA-1” (Anorthosite Agglutinates)

++++++++++++++++++++++
(ii) Exolith Labs Order – November 2023

CM-E
Carbonaceous chondrite (CM-E) high-fidelity asteroid simulant (1 kg) – probably meant as a CM simulant

CI-E
Carbonaceous chondrite (CM-I) high-fidelity asteroid simulant (1 kg) – probably meant as a CI simulant

JEZ-1
Jezero delta simulant (JEZ-1) – Persverance landing, Mars space dirt for education and research (1 kg)
MGS-1
Mars global (MGS-1) high-fidelity martian dirt simulant (1 kg)

LMS-2
Lunar mare (LMS-2) high-fidelity simulant (1 kg)

LSP-2
Lunar south pole (LSP-2) high-fidelity moon dirt simulant (1 kg)

LHS-2
Lunar highlands (LHS-2) high-fidelity moon dirt simulant (1 kg)

LMS-1D
Lunar mare dust (LMS-1D) moon dirt simulant (1 kg)

LHS-1D
Lunar highland dust (LHS-1D) moon dirt simulant (1 kg)

LHS-1
Lunar highlands (LHS-1) high-fidelity moon dirt simulant (1 kg)

LMS-1
Lunar mare (LMS-1) high-fidelity moon dirt simulant (1 kg)

Exolith Labs order – Lunar mare and highland simulant constituents: received February 2024
“Lunar Constituent Mineral Samples”

· Anorthosite: Hudson Resources Inc., GreenSpar; website reports 90% plagioclase feldspar. Small quantities of albite confirmed by XRD. Has FTIR and UVVNIR spectra, and particle size analysis.

· Basalt (merriam crater): mafic igneous rock containing plagioclase, pyroxene, olivine, and volcanic glass. Source: Merriam crater basalt sourced from the Merriam Crater near Flagstaff, AZ. This is the same source as JSC-1A.

· Bronzite: Stillwater Mine. Major phases confirmed by XRD analysis.

· Ilmenite: Source: Ceramic Supply Inc. Ilmenite –powder. Also called manaccanite. XRD analysis shows the presence of both ilmenite and titanium (IV) oxide. The most intense peak in the XRD diffractogram at 2-theta= 54.2° is associated with titanium (IV) oxide. XRF analysis shows concentration of 65.7 wt.% TiO2 and 26.9 wt.% Fe2O3 with small amounts of MgO, Al2O3, and MnO.

· Olivine: Source: United Western Supply. Major phase confirmed by XRD analysis. XRF analysis is consistent with a high fraction of Mg-rich olivine.

+++++++++++++++++++++++++++++++++++++++++++
12.18.a. Apollo 11 lunar regolith simulant

Unsorted powdered sample from Leire Coloma/Juanma Madariaga – from Canary Islands (Las Palmas) recent lava flow

Calling it Basque1_Sim

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.19. Hispansion lunar analogues

TLH-0
Lunar highland analogue
TLM-0
Lunar mare analogue

++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12b. XRD Data - Palagonites and Planetary Regolith Analogues 
12b.1. Available from original sources:  
· PAL101 (HWMK600): Dick Morris; 
· PAL102 (#91-16): Ted Roush.

12b.2. University of Manitoba files:

PAL101
XRD peaks: many are broad, most match to albite.

PAL101a
XRD peaks: many are broad, most match to albite.

PAL101b
XRD peaks: many are broad, most match to anorthite and hematite.

PAL102
XRD peaks: many are broad, most match to anorthite.

PAL102a
XRD peaks: many are broad, most match to albite.

PAL102b
XRD peaks: many are broad, most match to anorthite.

++++++++++++++++++++++++++
12.2.b. SOPHIA Mars Oxia Planum simulant

Composition from Dugdale et al. (2023)

Desired phase
Actual phase used 
Wt.%
Source

Vermiculite

Vermiculite

36 
Dupree Minerals, Uganda

Serpentine

Serpentine

3
Taylor Minerals, UK

Chlorite

Biotite

2
Geosupplies, Norway

Plagioclase

Plagioclase

22
Norwegian Edelsplitt AS, Norway

Orthoclase

Orthoclase

3
Geosupplies, Norway

Pyroxene (augite)
Pyroxene (augite)
15
Ward Science, Norway

Olivine

Olivine

5
Scangrit, UK

Ferrihydrite

Amorphous FeOOH
1
Rowaphos

Fe-glass

Fe-silicate

10
Scangrit, UK

Hematite

Hematite

1
Geosupplies, UK

Siderite

Siderite

2
Taylor Minerals, Wales

++++++++++++

XRD measurements at UWinnipeg (Bruker D8) – August 2020

CHENOBI lunar highland simulant: 
albite, possible rutile and quartz.

JSC-1a lunar mare simulant: 
albite, forsterite, augite. Possibly ilmenite and chromite.
JSC Mars 1A (Mars regolith simulant)
Rietveld: 88% plagioclase, 12 clinopyroxene, Rwp 13.6. Dominated by palagonitic material. Traces (~few percent) of relict unaltered igneous minerals: plagioclase, clinopyroxene, olivine? Optical identification compromised by extensive Fe-oxyhydroxide staining.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.15.b. XRD data: Rockwool (home insulation product) – measured at UWinnipeg with Bruker D8; June 2021)

Rockwool-a
X-ray amorphous with a trace amount of corundum.

Rockwool-b
X-ray amorphous with a trace amount of corundum.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.17.b. Exolith Lab lunar simulants and end member: UWinnipeg Bruker D8 powder XRD – April 2024

Note: Analyses on <45 micron fractions.

Our ID
Exolith Lab sample information from their web site:
Exo-Pyx
Pyroxene (bronzite)
Major enstatite, syn; minor albite, calcian; minor quartz; trace ulvospinel, ferroan, syn; trace cordierite; trace enstatite, ferroan; also unidentified 10.922° and14.264° minor peaks.

Exo-Ano
Anorthosite
Major anorthosite, sodian,disordered; minor quartz; minor albite, disordered; trace anatase, syn; trace muscovite-2M1; also 14.626° unidentified peak.

Exo-Olv
Olivine
Major forsterite; minor lizardite-1M; minor enstatite, ferroan; trace chromite, aluminian, syn.

Exo-Ilm
Ilmenite
Major ilmenite; minor hematite; trace rutile, syn; trace viseite; trace almandine; trace spessartine; trace newberyite, syn.
Exo-Bas
Basalt
Albite, calcian; anorthite, sodian; augite; forsterite, ferroan. 

+++++++++++++++++++++++++++++++++++++++
12.19b. Hispansion lunar analogues

Their data sheets:

TLH-0: Milled anorthsite, basaltic silicates, and altered peridotite

TLM-0: Milled anorthsite, basaltic silicates, and altered peridotite

Highland analogue
Mare analogue

Phases by XRD (from Hispansion)

Phase (wt. %)

TLH-0
TLM-0

Anorthite

57
35.2
Augite


5.7
17.2
Enstatite


1.9

Forsterite

1.8
2.1
Lizardite

6.5
5.7
Analcime

2.6
3.8
Smectite

0.5
1.2
Illite


1
0.6
Quartz


1.2
0.6
Hornblende

2.1
0.3
Amorphous/glass
19.2
31.4
12c. Compositional Data - Palagonites and Planetary Regolith Analogues (by groups)
12.1.c. Palagonites and Buell Dust (continued)
SAMPLE
PAL101a
PAL101
PAL102
PAL102b
PAL103c

SiO2

41.24
41.28
47.19
45.5
34.5

TiO2


3.77

3.47
3.24
 3.0

Al2O3

25
26.02
21.95
18.4
18.5

Fe2O3

12.58
13.00
11.73
13.1
12.4

FeO

 2.77
2.59
2.67

 n.a.

MnO

  0.29
0.30

0.24
0.22
 0.2

MgO

  3.52
3.26
3.12
3.91
 2.7

CaO

  5.11
4.64
5.13
6.02
 4.9

Cr2O3

  0.01


V2O5

  0.02

Na2O

  2.74
2.50

2.21
3.24
 1.9

K2O

  0.67
0.65

0.98
1.07
 0.5

P2O5

  1.34
1.52

0.61
0.59
 0.7


TOTAL

99.19
99.82

99.60
100.4
101.1

LOI

13.89
15.45

10.30
4.77
21.8


ppm

Sr


938

1220

Zr


693

497

V


130

97

Cr


25

22




Source

Morris 
Mertzmand
Mertzmand
Banin
Allen et al.
Analysis

et al. (2000)
XRF/WC
XRF/WC
et al. (1997)
(1997, 1998)



a PAL101 from Dick Morris, analysis by Dick Morris (HWMK600). Analysis of 5-53 µm fraction (Morris et al., 2000).

b  PAL102 from Ted Roush, analysis by Ted Roush (91-16). All Fe reported as Fe2O3. Analysis of <2 mm fraction by Banin et al. (1997).

c  PAL103 from Johnson Space Centre; Carlton B. Allen; analysis in EOS. (Allen et al., 1997, 1998).
d  Analyses from Stan Mertzman, performed September 2007, on <45 µm dry sieved fractions. 

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12c.  Compositional Data - Palagonites and Planetary Regolith Analogues (by groups, continued)

12.2c. Planetary Soil Analogues


PSA001
PSA002
PSA002
PSA002

Wt. %
CHENOBI
JSC Mars-1A
JSC Mars-1A
JSC-Mars-1A

SiO2
47.50
43.48
34.5
40.83
TiO2
0.06
3.62
3.0
3.85
Al2O3
31.69
22.09
18.5
25.08

Cr2O3

0.03

FeO
1.41

2.8
4.45
Fe2O3
0.16

9.3
12.02
(Fe2O3)*
(1.73)
(16.08)

(16.97)
MnO
0.02
0.26
0.2
0.30
MgO
0.72
4.22
2.7
2.86
CaO
15.99
6.05
4.9
5.87
Na2O
2.35
2.34
1.9
1.97
K2O
0.04
0.70
0.5
0.42
P2O5
0.02
0.78
0.7
0.90
SO3
0.12
0.31

0.00

TOTAL
100.24
99.96
79.00
99.05
LOI
0.42
17.36
21.8
21.60

TOTAL


100.806^



ppm
Sr
207


1088
Zr
173


504
V
29


175
Ni
5


68
Cr
15


129
Co
<1


39

Source
Mertzman
Morris et al.
Allen et al.
Mertzman


(2000)
(1997, 1998)
Analysis
XRF/WC


XRF/WC

a All Fe reported as Fe2O3.
^ – total includes loss on ignition (volatiles).
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12c. Compositional Data - Palagonites and Planetary Regolith Analogues (by groups, continued)

12.2c. Planetary Soil Analogues (continued)

PSA003
PSA003
PSA004
PSA004

Wt. %
JSC Lunar-1A
JSC Lunar-1A
Mojave Mars
Mojave Mars

SiO2
46.21
47.71
49.4
51.92

TiO2
1.68
1.59
1.09
1.07

Al2O3
15.78
15.02
17.1
18.29

Cr2O3

0.04
0.05

FeO
7.74
7.35

3.05

Fe2O3
3.32
3.44

6.25

(Fe2O3)*
(11.92)

(10.87)
(9.64)

MnO
0.19
0.18
0.17
0.20

MgO
9.10
9.01
6.08
5.08

CaO
10.38
10.42
10.45
10.43

Na2O
3.07
2.70
3.28
3.25

K2O
0.76
0.82
0.48
0.45

P2O5
0.68
0.66
0.17
0.16

SO3
0.06

0.10
0.07


TOTAL
99.83
98.94
99.4
100.56

LOI
0.63
0.71
3.39
4.96


TOTAL

99.65^




ppm
Sr
865


312

Zr
168


122

V
237


185

Ni
3


65

Cr
212


337

Co
29


58


Source
Mertzman
McKay et al.
Peters et al.
Mertzman



(1994)
(2008)



Analysis
XRF/WC


XRF/WC


a All Fe reported as Fe2O3.
^ – total includes loss on ignition (volatiles).
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12c. Compositional Data - Palagonites and Planetary Regolith Analogues (by groups, continued)

12.2c. Planetary Soil Analogues (continued)

Wt. %
PSA002
PSA002
PSA003
PSA004
PSA002

JSC Mars-1a
JSC Mars-1a
JSC Lunar-1a
MMS
JSC Mars-1A

SiO2
43.48
34.5
47.71
49.4
40.83

TiO2
3.62
3.0
1.59
1.09
3.85

Al2O3
22.09
18.5
15.02
17.1
25.08

Cr2O3
0.03

0.04
0.05
Fe2O3*
[16.08]


[10.87]
[16.97]

Fe2O3

9.3
3.44

12.02

FeO

2.8
7.35

4.45

MnO
0.26
0.2
0.18
0.17
0.30

MgO
4.22
2.7
9.01
6.08
2.86

CaO
6.05
4.9
10.42
10.45
5.87

Na2O
2.34
1.9
2.70
3.28
1.97

K2O
0.70
0.5
0.82
0.48
0.42

P2O5
0.78
0.7
0.66
0.17
0.90

SO3
0.31
n.a.

0.10
0.00

Cl
NA
n.a

NA



LOI
17.36
21.8
0.71
3.39
21.60

TOTAL
99.7

99.65
99.4
99.05b
ppm
Sr




1088

Zr




504

V




175

Ni




68

Cr




129

Co




39


Source
Morris et al.
Allen et al.
McKay et al.
Peters et al.
Mertzman


(2000)
(1997, 1998)
(1994)
(2008)

Analysis




XRF/WC


* - All Fe reported as Fe2O3.

b – Total on a volatile-free basis (Mertzman).

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12c. Compositional Data - Palagonites and Planetary Regolith Analogues (by groups, continued)

12.3. OB-1 (Shawmere anorthosite) and 12.4.c. JAXA  - Shimizu Corp. Lunar Analogues

Wt. %
AN-1
AN-1
FJS-1
Shimizu-HS
Element
FG-1c
SiO2
48.00
48.40
49.19
54.01
Al
2.89
TiO2
0.04
0.08
1.51
0.69
Ca
2.28
Al2O3
32.00
31.60
16.90
18.06
Cr
0.02
FeO


7.75
6.16
Cu
0.02
Fe2O3


4.18
3.20
Fe
27.0
(Fe2O3)*
(1.33)
(1.33)
(12.79)
(10.05)
Mg
1.30
MnO
<0.01
<0.01
0.20
0.17
Ti
0.01
MgO
0.16
0.35
5.70
3.58

CaO
15.60
15.40
9.75
9.95

Na2O
2.44
2.47
2.67
2.21

K2O
0.03
0.08
0.71
0.71

P2O5
<0.01
<0.01
0.30
0.10

SO3


0.06
0.05


TOTAL


99.78
99.54

LOI
0.30
0.55
4.76
0.74


ppm
Sr


374
325

Zr


107
68

V


414
271

Ni


56
59

Cr


147
215

Co


25
20


Source
Battlera
Battlerb
Mertzman
Mertzman

Analysis
ICPMS
ICPMS
XRF/WC
XRF/WC







* - All Fe reported as Fe2O3.
a – Whole rock

b – crushed rock. Additional and more complete analyses available in Battler (2008).
C – 98 wt.% Fe2SiO4 (Battler and Spray, 2009).
Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12c. Compositional Data - Palagonites and Planetary Regolith Analogues (by groups, continued)

12.7.c. Arizona Test Dust (ATD-001)
Wt. %

ATD-001

SiO2

78.28

TiO2

0.35

Al2O3

9.95

FeO

0.32

Fe2O3

2.31
(Fe2O3)*

(2.65)
MnO

0.07

MgO

1.65

CaO

2.77

Na2O

1.77

K2O

2.642

P2O5

0.109

Cl

0.00

SO3

0.07

TOTAL

100.311

LOI

3.64

ppm

Sr

303

Zr

214

V

84

Ni

7

Cr

106

Co

<1

Rb

102

Source
Mertzman
Analysis
XRF/WC







* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12c. Compositional Data - Palagonites and Planetary Regolith Analogues (by groups, continued)
12.8.c. Mt. St. Helen's ash


MSH-ASH

Wt. %
MSH-001
MSH-ASH


Sample type
St. Helen's ash
St. Helen's ash

SiO2
60.34
61.28

TiO2
0.92
0.88

Al2O3
17.54
17.13

(Fe2O3)*
(6.79)
(6.56)

FeO
2.78
3.71

Fe2O3
3.70
2.44

MnO
0.11
0.11

MgO
2.77
2.61

CaO
5.54
5.40

Na2O
4.53
4.26

K2O
1.226
1.18

P2O5
0.188
0.19

Cl
0.00

SO3
0.05
0.06



TOTAL
100.004
99.66

LOI
0.98
1.54



ppm

Sr
564
516

Zr
161
141

V
166
132

Ni
5
9

Cr
45
45

Co
7
2

Rb
25




Source
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC







* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.15.c. Compositional Data – Rockwool
Wt. %
Rockwool
SiO2
42.47
TiO2
0.36
Al2O3
19.01
(Fe2O3)*
8.02
Fe2O3
1.67
FeO
5.71
MnO
0.13
MgO
9.79
CaO
18.75
Na2O
1.02
K2O
0.58
P2O5
0.02
SO3
0.00
Cl
0.00
TOTAL
100.15
LOI
1.77
ppm
Rb
12

Sr
143
Zr
46
V
256


Cr
300
Co

Ba
90

Ni


Source
Mertzman

Analysis
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.17.c. XRF of constituents in Exolith Labs lunar mare and highland simulants

Note: basalt used in our simulants: Merriam crater

Anslyses done by XRF – from Exolith Labs

Element
Sample





Exolith ID
Anorthosite
Basalt
Bronzite
Ilmenite
Olivine
PSF sample ID
Exo-Ano
Exo-Bas
Exo-Pyx
Exo-Ilm
Exo-Olv

Wt.%

Al2O3
29.4
15.02
3.3
1.7
0.8
SiO2
49.3
47.71
45.0
0.4
39.6
P2O5
1.0
0.66
1.1
0.8
1.0
SO3
0.1

0.1

0.4
Cl
0.1

0.2
K2O
0.3
0.82
0.1
CaO
19.0
9.9
4.8
0.2
0.4
TiO2
0.1
1.59
0.3
65.7
Fe2O3a
0.7
10.79
16.5
26.9
12.1
MnO

0.19
0.3
1.2
0.2
MgO

9.39
27.5
2.7
44.3
Na2O

2.7

Cr2O3


0.7
0.1
0.5
NiO


0.1

0.7
Nb2O5



0.1

Total
100.0
98.77
99.9
99.9
100

XRF
XRF
XRF
XRF
XRF

Notes: 

· a: All Fe presumably reported as Fe2O3. Analyses by XRF.

· Anorthosite: Hudson Resources Inc., GreenSpar; website reports 90% plagioclase feldspar. Small quantities of albite confirmed by XRD. Has FTIR ad UVVNIR spectra, and particle size analysis.

· Basalt (merriam crater): mafic igneous rock containing plagioclase, pyroxene, olivine, and volcanic glass. Source: Merriam crater basalt sourced from the Merriam Crater near Flagstaff, AZ. This is the same source as JSC-1A.

· Bronzite: Stillwater Mine. Major phases confirmed by XRD analysis.

· Ilmenite: Source: Ceramic Supply Inc. Ilmenite –powder. Also called manaccanite. XRD analysis shows the presence of both ilmenite and titanium (IV) oxide. The most intense peak in the XRD diffractogram at 2-theta= 54.2° is associated with titanium (IV) oxide. XRF analysis shows concentration of 65.7 wt.% TiO2 and 26.9 wt.% Fe2O3 with small amounts of MgO, Al2O3, and MnO.
· Olivine: Source: United Western Supply. Major phase confirmed by XRD analysis. XRF analysis is consistent with a high fraction of Mg-rich olivine.

	Specimen
	EXO-Ano
	EXO-Bas
	EXO-Ilm
	EXO-Olv
	EXO-Pyx

	Wt. %
	
	
	
	
	

	SiO2
	51.75
	46.75
	2.79
	41.52
	54.40

	TiO2
	0.03
	1.48
	43.62
	0.00
	0.59

	Al2O3
	30.73
	15.89
	1.75
	0.28
	5.61

	Fe2O3T
	0.28
	11.11
	48.75
	8.17
	9.99

	MnO
	0.01
	0.18
	1.24
	0.12
	0.20

	MgO
	0.26
	9.26
	0.57
	49.38
	24.40

	CaO
	14.59
	10.49
	0.42
	0.17
	3.89

	Na2O
	2.50
	2.81
	0.01
	0.06
	0.57

	K2O
	0.24
	0.75
	0.04
	0.00
	0.18

	P2O5
	0.02
	0.64
	0.10
	0.00
	0.03

	Total
	100.41
	99.36
	99.29
	99.70
	99.86

	LOI
	0.68
	0.59
	0.00
	1.15
	1.81

	FeO
	0.18
	7.09
	24.92
	6.33
	6.88

	Fe2O3
	0.08
	3.23
	21.06
	1.14
	2.34

	ppm
	
	
	
	
	

	Rb
	8
	8
	<3
	<3
	<3

	Sr
	270
	653
	3
	<3
	41

	Zr
	32
	60
	560
	<3
	20

	Cr
	<3
	248
	<3
	5753
	2957

	V
	6
	220
	1620
	12
	114

	Ba
	147
	733
	<3
	<3
	69


 * - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12c. Compositional Data - Palagonites and Planetary Regolith Analogues (continued)

12.1.c. Phases analyzed by electron microprobe by M. Izawa (Feb. 2014): 

Shimizu HS: plagioclase, orthopyroxene, clinopyroxene, ilmenite.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.19c. Composition data – Hispansion lunar analogues

Data from Hispansion; XRF analysis

Wt.%
TLH-0
TLM-0

SiO2
46.43
47.33

TiO2
0.82

1.72
Al2O3

25.06
14.38
FeO*

6.78
12.44

MgO

5.09
12.38

CaO

14.13
8.38

Na2O#

0.00
0.00

K2O

0.67
1.28

SrO

0.25
0.25

MnO

0.14
0.14

Cr2O3

0.11
0.11

NiO

0.01
0.01

ZnO

0.19
0.19

* - All Fe presumably reported as FeO.

# - expected to be present but not detected.
12d. Spectral Data - Palagonites and Planetary Regolith Analogues (sorted by group)
Sample
Facility/File No.  
Description








12.1.d. Palagonites and Buell dust

BUE101
PSF 081222a.036
unsorted; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

+++++++
PAL101
RELAB CAPA03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol.

PAL101
RELAB MAPA03A
<45µm, 30°/30°, 1.8-16µm, 0.6-129 nm resol.

PAL101
RELAB LAPA03A
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm resol. (Merged RELAB +Nicolet at 2.5µm) [Note different viewing geometries].

PAL101
PSF  160507pal101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

PAL101
PSF 090707pal101
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

PAL101
PSF pal101
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.

PAL101
PSF 071101a.001
<45 µm; 30°/0°, 0.35-2.5 µm, 1000 avg, 1 nm resol., ASD.

PAL101
PSF jun0506.007
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

PAL101
PSF apal101
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).
PAL101
PSF pal101m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

PAL101
See also section 22 for spectra acquired under ambient and Mars-like conditions.

+++++++
PAL101A
RELAB capa06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PAL101A
RELAB lapa06a
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm (Merged RELAB + Nicolet @ 2.5µm, different viewing geometry).


+++++++

PAL101B
RELAB capa07
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PAL101B
RELAB lapa07a
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm (Merged RELAB + Nicolet @ 2.5µm, different viewing geometry).

+++++++
PAL102
RELAB CAPA04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm resol.

PAL102
RELAB MAPA04A
<45µm, 30°/30°, 1.8-16µm, 0.6-129 nm resol.

PAL102
RELAB LAPA04A
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm resol. (Merged RELAB +Nicolet at 2.5µm) [Note different viewing geometries].

PAL102
PSF  160507pal102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm; Ocean Optics S2000.

PAL102
PSF 090707pal102
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm; Ocean Optics S2000.

PAL102
PSF pal102
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source; Ocean Optics S2000.


+++++++
PAL102A
RELAB capa08
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PAL102A
RELAB lapa08a
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm (Merged RELAB + Nicolet @ 2.5µm, different viewing geometry).


+++++++

PAL102B
RELAB capa09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PAL102B
RELAB lapa09a
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm (Merged RELAB + Nicolet @ 2.5µm, different viewing geometry).


+++++++

PAL102x
RELAB c1pa13
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PAL102x
RELAB lapa13
<45µm, 30°/0°, 30°; 0.3-26µm, 5/0.6-129 nm (Merged RELAB + Nicolet @ 2.5µm, different viewing geometry).

++++ PAL102x: Bidirectional study (February and March 2007)++++

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

Series 0a (same viewing geometry for standard and sample)
PAL102x
PSF feb2707.002
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

PAL102x
PSF feb2707.010
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

PAL102x
PSF feb2707.018
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

PAL102x
PSF feb2707.026
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

++++++
Series 0b (same viewing geometry for standard and sample)
PAL102x
PSF feb2807.002
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

PAL102x
PSF feb2807.010
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

PAL102x
PSF feb2807.018
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

PAL102x
PSF feb2807.026
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).
+++++++++++++++++++++++++++++++
Series 1 (same viewing geometry for standard and sample)
PAL102x
PSF mar0107.002
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0107.010
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0107.018
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0107.026
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 2 (same viewing geometry for standard and sample

PAL102x
PSF mar0707a.002
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0207.010
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0207.018
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0207.026
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 3 (same viewing geometry for standard and sample)

PAL102x
PSF mar0207.034
<45 µm; 60°/60°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0207.042
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0207.050
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0207.058
<45 µm; 60°/-30°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 4 (different viewing geometry for standard vs. sample)

PAL102x
PSF mar0607.002
<45 µm; 30°/0°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0607.010
<45 µm; 30°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0607.018
<45 µm; 30°/0°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0607.026
<45 µm; 30°/0°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 5 (bifurcated cable; same viewing geometry for standard and sample)

PAL102x
PSF mar0707.002
<45 µm; 0°/0°; 0°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PAL102x
PSF mar0707.010
<45 µm; 30°/-30°; 30°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PAL102x
PSF mar0707.018
<45 µm; 45°/-45°; 45°/-45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

PAL102x
PSF mar0707.026
<45 µm; 60°/-60°; 60°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

++++++++++++++++++++++++++++++

PAL103
PSF 090421a.019
<45 µm, 30°/0°, 0.35-2.5 µm, 1 nm resol., 1000 avg; ASD.

PAL103
RELAB c1pa10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PAL103
RELAB lapa10
<45µm, 30°/0°, 30°; 0.3-26 µm, 5/0.6-129 nm (Merged RELAB + Nicolet @ 2.5µm, different viewing geometry).

++++++++++++++++++++++++++++++++++++++
12.2.d. Planetary soil analogues

(i) Full BRDF with ASD on CHENOBI lunar highland simulant and JSC-1 lunar mare simulant. Measured at Western Washington University – August 2023 by Kristiana Lapo.

Too numerous to list. 

(ii) Partial BRDF on CHENOBI and JSC-1 mare powders for Canadensys Canadian Lunar Rover mission – extreme phase angles for South Pole region. 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240209 lunar simulant phase angles]. Variable incidence (i), emission (e), and azimuth (φ).

JSC-1A
PSF 240209a.00000.asd
i/e/φ=85/45/15

CHENOBI
PSF 240209a.00001.asd
i/e/φ=85/45/15

JSC-1A
PSF 240209a.00003.asd
i/e/φ=85/45/45

CHENOBI
PSF 240209a.00004.asd
i/e/φ=85/45/45

JSC-1A
PSF 240209a.00006.asd
i/e/φ=85/45/90

CHENOBI
PSF 240209a.00007.asd
i/e/φ=85/45/90

JSC-1A
PSF 240209a.00009.asd
i/e/φ=85/45/145

CHENOBI
PSF 240209a.00010.asd
i/e/φ=85/45/145

JSC-1A
PSF 240209a.00012.asd
i/e/φ=80/45/145

CHENOBI
PSF 240209a.00013.asd
i/e/φ=80/45/145

JSC-1A
PSF 240209a.00015.asd
i/e/φ=70/45/145

CHENOBI
PSF 240209a.00016.asd
i/e/φ=70/45/145

JSC-1A
PSF 240209a.00018.asd
i/e/φ=705/45/15

CHENOBI
PSF 240209a.00019.asd
i/e/φ=70/45/15

JSC-1A
PSF 240209a.00021.asd
i/e/φ=70/45/45

CHENOBI
PSF 240209a.00022.asd
i/e/φ=70/45/45

JSC-1A
PSF 240209a.00024.asd
i/e/φ=70/45/90

CHENOBI
PSF 240209a.00025.asd
i/e/φ=70/45/90

JSC-1A
PSF 240209a.00027.asd
i/e/φ=80/45/15

CHENOBI
PSF 240209a.00028.asd
i/e/φ=80/45/15

JSC-1A
PSF 240209a.00030.asd
i/e/φ=80/45/45

CHENOBI
PSF 240209a.00031.asd
i/e/φ=80/45/45

JSC-1A
PSF 240209a.00033.asd
i/e/φ=80/45/90

CHENOBI
PSF 240209a.00034.asd
i/e/φ=80/45/90

+++++++++++
(ii) ASD + Bruker Vertex 70

HAW060
PSF 080415 HAW+ 




200313a.vertex.001.Specac_nMCT_MIR_KBr_b_6_6mmap_HAW060_sub45.dpt



<45 µm; i=30°, e=0°; 0.35-15 µm, merged at 2100 nm; 1000 (ASD) and 2500 (FTIR) spectra averaged; ASD4 + Bruker Vertex 70 [Directory: 080415 HAW + 200313 lunar analogues].
Shimizu-HS
PSF 100311a.003+ 




200313a.vertex.002.Specac_nMCT_MIR_KBr_b_6_6mmap_shimizu_unsorted.dpt



Unsorted powder; i=30°, e=0°; 0.35-15 µm, merged at 2100 nm; 1000 (ASD) and 2500 (FTIR) spectra averaged; ASD4 + Bruker Vertex 70 [Directory: 100311_jap_moon + 200313 lunar analogues].
NWA11444
PSF 080815a00001.asd+ 




200313a.vertex.000.Specac_nMCT_MIR_KBr_b_6_6mmap_NWA11444_unsorted.dpt



Unsorted powder; i=30°, e=0°; 0.35-15 µm, merged at 2100 nm; 1000 (ASD) and 2500 (FTIR) spectra averaged; ASD4 + Bruker Vertex 70 [Directory: 180815 Lunar Meteorite + 200313 lunar analogues].
++++++

(ii) ASD reflectance spectra

PSA001a
PSF 090929a.001
<45 µm: sieved only, not crushed; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 averaged, ASD.

PSA001b
PSF 090929a.002
<45 µm: crushed then sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 averaged, ASD.
CHENOBI
PSF 240130a.00000.asd
CHENOBI, unsorted powder; i=80°, e=-20°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240130 chenobi].

CHENOBI
PSF 240130a.00001.asd
CHENOBI, unsorted powder; i=80°, e=20°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240130 chenobi].

+++++++

PSA002a
PSF 090929a.003
<45 µm: sieved only, not crushed; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 averaged, ASD.

PSA002b
PSF 090929a.004
<45 µm: crushed then sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 averaged, ASD.

PSA002
PSF 111201a.052
unsorted powder; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

PSA002
INO PSA002
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 3 sets of spectra acquired.

PSA002
INO PSA002_2
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 3 sets of spectra acquired; re-shoot of sample.
PSA002
INO --
whole rock; i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 200 spectra averaged.
+++++++
PSA003a
PSF 090929a.005
<45 µm: sieved only, not crushed; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 averaged, ASD.

PSA003b
PSF 090929a.006
<45 µm: crushed then sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 averaged, ASD.

PSA003
PSF 111201a.053
unsorted powder; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

PSA003
INO --
whole rock; i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 200 spectra averaged.
+++++++

PSA004
PSF 111118b.002
unsorted powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, ASD; 200 spectra averaged [Directory: 111118_stuff].
PSA004
PSF 130910a.012
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. Directory: (Minerals for Jim).

+++++++
12.2.d.1. Raman spectra

JSC-Mars1A
PSF JSC-Mars-A
unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged; 532 nm laser (directory: 131201_PAH_JSCMARS_mixtures).

+++++++++++++

12.3.d. OB-1/CHENOBI  lunar highland simulant components
AN-1
PSF 091203c.001
<45 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

AN-1
PSF 091203c.002
45-90 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

AN-1
PSF 091203c.003
90-125 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

AN-1
PSF 091203c.004
125-250 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

AN-1
PSF 091203c.005
250-500 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

AN-1
PSF 091203c.006
500-1000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

AN-1
PSF 091203c.007
1000-2000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203-AN1].

+++++++

FG-1
PSF 091203b.001
<45 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203FG-1].

FG-1a
PSF 091214b.001
<45 μm (made by crushing >500 µm fraction rather than sieving the bulk as-received sample) dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged, ASD [Directory 091211_FG1].

FG-1
PSF 091203b.002
45-90 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203FG-1].

FG-1
PSF 091214b.002
45-90 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged, ASD [Directory 091211_FG1].

FG-1
PSF 091203b.003
90-125 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203FG-1].

FG-1
PSF 091214b.003
90-125 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged, ASD [Directory 091211_FG1].

FG-1
PSF 091203b.004
125-250 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203FG-1].

FG-1
PSF 091214b.004
125-250 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged, ASD [Directory 091211_FG1].

FG-1
PSF 091203b.005
250-500 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203FG-1].

FG-1
PSF 091214b.005
250-500 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged, ASD [Directory 091211_FG1].

FG-1
PSF 091203b.006
>500 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203FG-1].

+++++++++++++

12.4.d. JAXA – Shimizu Corp. lunar analogues (from Makiko Ohtake – Feb. 2010)
FJS-1
PSF 100311a.004
<45 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100311).

FJS-1
PSF 100311a.005
unsorted (as-received); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100311).

FJS-1
PSF 121016a.083
<250 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

FJS-1
PSF OO 83
<250 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

FJS-1
PSF 121016a.228
<45 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

FJS-1
PSF OO 228
<45 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

FJS-1
PSF 121016a.231
45-90 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

FJS-1
PSF OO 231
45-90 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra avgd.; Ocean Optics S2000 (directory: Ocean Optics 000).

FJS-1
See also section 15.25 of this document for mixtures of this material with nanophase iron and nanophase iron-impregnated silica gels.
+++++++

Shimizu-HS
PSF 100311a.002
<45 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100311).

Shimizu-HS
PSF 100311a.003
unsorted (as-received); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100311).

++++++++++++++++++++++++++++++++++++++++++++++
12.5.d. Synthetic nanophase iron-impregnated silica gel – August 2010

SGE101A
PSF 100824b.001
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE101B
PSF 100824b.002
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE101A
PSF 121016a.007
unsorted; 30º/0º; 0.35-2.5 µm; 1 nm resol.; 200 avgd.; ASD.

SGE101A
PSF OO 7
unsorted; 0º/0º; 1200-860 nm (200-400 nm usable range); ~0.3 nm resol.;  100 avgd.; Ocean Optics S2000.
SGE101A
See also section 15 of this document for various mixture involving SGE101A.

+++++++

SGE105A
PSF 100824b.003
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE105B
PSF 100824b.004
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE105A
PSF 121016a.011
unsorted; 30º/0º; 0.35-2.5 µm; 1 nm resol.; 200 avgd.; ASD.

SGE105A
PSF OO 11
unsorted; 0º/0º; 1200-860 nm (200-400 nm usable range); ~0.3 nm resol.;  100 avgd.; Ocean Optics S2000.
SGE105A
See also section 15 of this document for various mixture involving SGE105A.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
(12.5.d.) 32.2.2. FJS-1 (JAXA lunar mare simulant; <45, 45-90, and <250 μm) 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

FJS-1 
PSF 121016a.083
100% FJS-1 (<250 μm) + 0% SGE101A (file ZMIX052).
FJS-1 
PSF OO 83
100% FJS-1 (<250 μm) + 0% SGE101A  (file ZXMI052).

FJS-1 
PSF 121016a.228
100% FJS-1 (<45 μm) + 0% IRO102 or IRO103 (file ZMIX127). 
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.6.d. UW lunar analogues
SGE101A
PSF 100824b.001
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE101B
PSF 100824b.002
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE105A
PSF 100824b.003
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

SGE105B
PSF 100824b.004
75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

UWMIP
PSF 100824b.005
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

UWHIP
PSF 100824b.006
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

UWM1
PSF 100824b.007
<45 and 75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

UWH1
PSF 100824b.008
<45 and 75-650 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

PLG108
PSF 100824b.012
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

ILM200
PSF 100824b.013
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory 100824_nanophase).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.7.d. Arizona Test Dust

ATD-001
PSF 130221b.006
<3 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221].

ATD-001
PSF B2S1
<3 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 130315_FTIR].

+++++++

ATD-002
PSF 130221b.007
<70 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130221].

ATD-002
PSF B2S2
<70 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 100 spectra averaged; Bruker Vertex 70 [Directory: 130315_FTIR].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.8.d. Mt. St. Helen’s ash

MSH-001
PSF 130510a.005
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130510]. (see section 29 for sample in KBr disk transmission measurements).
MSH-001
PSF FF
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 130626_diff]. (see section 29 for sample in KBr disk transmission measurements).
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

12.9.d. LOESS

LOE-001
PSF 130625a.001
<45 µm powder; reflectance; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 130625]. (see section 29 for sample in KBr disk transmission measurements).
LOE-001
PSF B2_1
<45 µm powder; reflectance; i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 [Directory: 130626_diff]. (see section 29 for sample in KBr disk transmission measurements).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.11.d. Bennu asteroid analogue from University of Calgary (Alan Hildebrand)

Bennu1
PSF Bennu1
<45 µm powder, dry sieved; i=30°, e=0°; 1.65-20 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160307 natrite].

Bennu1
PSF 160421a.001
<45 µm powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].
Bennu1
PSF 160421a.002
45-90 µm powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].

Bennu1
PSF 160421a.003
90-125 µm powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].

Bennu1
PSF 160421a.004
125-180 µm powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].

Bennu1
PSF 160421a.005
>180 µm powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].

Bennu1
PSF b3 bennu1<45
<45 µm; i=30°, e=0°; Bruker Vertex 70: 1.65-25 µm; 4 cm-1 resolution; 5600 spectra averaged; ASD: 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; merged at 2.05 µm; reflectance  [Directory: 160307 natrite].
See also section 28.5 for phase angle measurements of Bennu1 (in- and out-of-principal plane) for Ceres Oxo crater bright spots.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.12.d. CI simulant from Dan Britt – University of Central Florida

CI-sim1
PSF CI-sim1
Pre-hydrated powder, unsorted; i=30°, e=0°; 1.0-20 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance  [Directory: 160421].
CI-sim1
PSF 160421a.007
Unsorted powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].

CI-sim2
PSF CI-sim2
Post-hydrated powder, unsorted; i=30°, e=0°; 1.0-20 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance  [Directory: 160421].
CI-sim2
PSF 160421a.008
Unsorted powder, dry sieved; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD reflectance [Directory: 160421].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
12.13.d. Lunar simulants for MPB ESA LUCE Cubesat
Note: reflectance spectra acquired for supporting 2 wavelength lidar cubesat for ESA project (2017) for polar shadowed region volatile detection. Samples spectrally characterized at UWinnipeg (0.35-2.5 µm) and at MPB in Montreal at 2 wavelengths (July 2017). Samples include pure end members and mixed with water and frozen.

Spectral acquisition details: all collected with bifurcated cable (i=e=0°), some samples (as indicated) shot at non-normal geometry but still with bifurcated cable. Spectral range: 0.35-2.5 µm (ASD4); 1 nm output; 500 spectra averaged [Directory: 170824 Luce].

Sample IDs

Spectrum ID


Description






Highland #1/PSA001a 
PSF 170824a00001.asd
Fine highland powder, dense pack; i=e=0°.
Highland #2/PSA001b 
PSF 170824a00002.asd
Fine highland powder, loose pack; i=e=0°.
Highland #3/PSA001c 
PSF 170824a00003.asd
Fine highland powder, dense pack

Highland #4/PSA001d
PSF 170824a00004.asd
Fine highland powder, dense pack with loose powder on top; i=e=0°.
Highland #5/PSA001e 
PSF 170824a00006.asd
Coarse highland powder, regular pack; i=e=0°.
Highland #6/PSA001f 
PSF 170824a00007.asd
Unsorted highland powder, regular pack; i=e=0°.
Highland #7/PSA001g 
PSF 170824a00007.asd
Unsorted highland powder, loose pack; i=e=0°.
Highland #8/PSA001h 
PSF 170824a00009.asd
Unsorted highland powder, dense pack; i=e=0°.
Highland #9/PSA001i 
PSF 170824a00010.asd
Unsorted highland powder, dense pack with loose powder on top; i=e=0°.
Highland #10/PSA001j 
PSF 170824a00011.asd
Fine highland powder, rough surface; i=e=0°.
Highland #11/PSA001k
PSF 170824a00012.asd
Unsorted highland powder, rough surface; i=e=0°.
Mare #1/PSA003a 
PSF 170824a00014.asd
Fine mare powder, regular pack; i=e=0°.
Mare #2/PSA003b 
PSF 170824a00015.asd
Fine mare powder, loose pack; i=e=0°.
Mare #3/PSA003c 
PSF 170824a00016.asd
Fine mare powder, dense pack; i=e=0°.
Mare #4/PSA003d
PSF 170824a00017.asd
Coarse mare powder, regular pack; i=e=0°.
Mare #5/PSA003e
PSF 170824a00018.asd
Coarse mare powder, regular pack; i=e=0°.
Mare #6/PSA003f
PSF 170824a00020.asd
Unsorted mare powder, regular pack; i=e=0°.
Mare #7/PSA003g
PSF 170824a00021.asd
Unsorted mare powder, loose pack; i=e=0°.
Mare #8/PSA003h
PSF 170824a00022.asd
Unsorted mare powder, dense pack; i=e=0°.
Mare #9/PSA003i
PSF 170824a00023.asd
Unsorted mare powder, dense pack with loose powder on top; i=e=0°.
Mare #10/PSA003j
PSF 170824a00024.asd
Fine mare powder, rough surface; i=e=0°.
Mare #11/PSA003k
PSF 170824a00025.asd
Unsorted mare powder, rough surface; i=e=0°.
Ice #1/Pure ice-a

PSF 170824a00028.asd
Pure ice; light went through sample; i=e=0°.
Mare #12/PSA003l
PSF 170824a00029.asd
Ice with a thin layer of mare powder on top; i=e=0°.
Highland #12/PSA001l
PSF 170824a00030.asd
Ice with a thin layer of highland powder on top; i=e=0°.
Mare #13/PSA003m
PSF 170824a00031.asd
Ice with a thick layer of mare powder on top; i=e=0°.
Highland #13/PSA001m
PSF 170824a00032.asd
Ice with a thick layer of highland powder on top;’ i=e=0°.
Highland #14/PSA001n
PSF 170824a00034.asd
Highland powder with 10 wt.% ice mixed in; i=e=0°.
Highland #15/PSA001o
PSF 170824a00035.asd
Highland powder with 20 wt.% ice mixed in; i=e=0°.
Highland #16/PSA001p
PSF 170824a00036.asd
Highland powder with 30 wt.% ice mixed in; i=e=0°.
Highland #17/PSA001q
PSF 170824a00037.asd
Highland powder with 40 wt.% ice mixed in; i=e=0°.
Highland #18/PSA001r
PSF 170824a00038.asd
Highland powder with 50 wt.% ice mixed in; i=e=0°.
Mare #14/PSA003n
PSF 170824a00039.asd
Mare powder with 10 wt.% ice mixed in; i=e=0°.
Mare #15/PSA003n
PSF 170824a00040.asd
Mare powder with 20 wt.% ice mixed in; i=e=0°.
Mare #16/PSA003p
PSF 170824a00041.asd
Mare powder with 30 wt.% ice mixed in; i=e=0°.
Mare #17/PSA003q
PSF 170824a00042.asd
Mare powder with 40 wt.% ice mixed in; i=e=0°.
Mare #18/PSA003r
PSF 170824a00043.asd
Mare powder with 50 wt.% ice mixed in; i=e=0°.
Highland #19/PSA001s
PSF 170824a00048.asd
Fine highland powder, regular pack (Highland 1); p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Highland #20/PSA001t
PSF 170824a00049.asd
Coarse highland powder, regular pack (Highland 5) ; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°). 
Highland #21/PSA001u
PSF 170824a00050.asd
Unsorted highland powder, regular pack (Highland 6) ; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Mare #19/PSA003s
PSF 170824a00051.asd
Fine mare powder, regular pack (Mare 1) ; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Mare #20/PSA003t
PSF 170824a00052.asd
Coarse mare powder, regular pack (Mare 5) ; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Mare #21/PSA003u
PSF 170824a00053.asd
Unsorted mare powder, regular pack (Mare 6) ; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Highland #22/PSA001v
PSF 170824a00054.asd
Highland powder with 10 wt.% ice mixed in; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Highland #23/PSA001w
PSF 170824a00055.asd
Highland powder with 30 wt.% ice mixed in; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Highland #24/PSA001x
PSF 170824a00056.asd
Highland powder with 50 wt.% ice mixed in; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Mare #22/PSA003v
PSF 170824a00057.asd
Mare powder with 10 wt.% ice mixed in; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Mare #23/PSA003w
PSF 170824a00058.asd
Mare powder with 30 wt.% ice mixed in; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Mare #24/PSA003x
PSF 170824a00059.asd
Mare powder with 50 wt.% ice mixed in; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Ice #2/Pure ice-b
 
PSF 170824a00060.asd

Pure ice; light went through sample. ; p=0° (i=10°, e=-10°; i.e., 10° off normal; relative to spectralon at 0°).
Highland #25/PSA001y
PSF 170824a00063.asd
Highland powder, fine-grained, regular pack, ~1.5 mm lower than original sample (Highland 1); p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Highland #26/PSA001z
PSF 170824a00064.asd
Highland powder, coarse-grained, regular pack, ~1.5 mm lower than original sample (Highland 5); p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Highland #27/PSA001aa
PSF 170824a00065.asd
Highland powder, unsorted powder, regular pack, ~1.5 mm lower than original sample (Highland 1); p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Mare #25/PSA003z
PSF 170824a00066.asd
Mare powder, fine-grained powder, regular pack, ~1.5 mm lower than original sample (Mare 6); p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Mare #26/PSA003z
PSF 170824a00067.asd
Mare powder, coarse-grained powder, regular pack, ~1.5 mm lower than original sample (Mare 5); p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Mare #27/PSA003aa
PSF 170824a00068.asd
Mare powder, unsorted powder, regular pack, ~1.5 mm lower than original sample (Mare 6); p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Highland #28/PSA001ab
PSF 170824a00069.asd
Highland powder with 10 wt.% ice mixed in, ~1.5 mm lower than original sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Highland #29/PSA001ac: PSF 170824a00070.asd
Highland powder with 30 wt.% ice mixed in, ~1.5 mm lower than original sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Highland #30/PSA001ad
PSF 170824a00071.asd
Highland powder with 50 wt.% ice mixed in, ~1.5 mm lower than original sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Mare #28/PSA003ab
PSF 170824a00072.asd
Mare powder with 10 wt.% ice mixed in, ~1.5 mm lower than original sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Mare #29/PSA003ac
PSF 170824a00073.asd
Mare powder with 30 wt.% ice mixed in, ~1.5 mm lower than original sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Mare #30/PSA003ad
PSF 170824a00074.asd
Mare powder with 50 wt.% ice mixed in, ~1.5 mm lower than original sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Ice #3/Pure ice-b

PSF 170824a00075.asd
Pure ice; ~1.5 mm lower than original sample; light went through sample; p=0° (i=20°, e=-20°; i.e., 20° off normal; relative to spectralon at 0°).
Highland #31/PSA001ae
PSF 170824a00078.asd
Highland powder, fine powder, regular pack (Highland 1); p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Highland #32/PSA001ae
PSF 170824a00079.asd
Highland powder, coarse powder, regular pack (Highland 5); p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Highland #33/PSA001af
PSF 170824a00080.asd
Highland powder, unsorted powder, regular pack (Highland 6); p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Mare #31/PSA003ae
PSF 170824a00081.asd
Fine mare powder, regular pack; ~ 3mm lower than original samples (Mare 1); p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Mare #32/PSA003af
PSF 170824a00082.asd
Coarse mare powder, regular pack; ~3 mm lower than original samples (Mare 5); p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Mare #33/PSA003ag
PSF 170824a00083.asd
Unsorted mare powder, regular pack; ~3 mm lower than original samples (Mare 6); p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Highland #34/PSA001ah
PSF 170824a00084.asd
Highland powder with 10 wt.% ice mixed in, ~3 mm lower than original sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Highland #35/PSA001ai
PSF 170824a00085.asd
Highland powder with 30 wt.% ice mixed in, ~3 mm lower than original sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Highland #36/PSA001aj
PSF 170824a00086.asd
Highland powder with 50 wt.% ice mixed in, ~3 mm lower than original sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Mare #34/PSA003ah
PSF 170824a00087.asd
Mare powder with 10 wt.% ice mixed in, ~3 mm lower than original sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Mare #35/PSA003ai
PSF 170824a00088.asd
Mare powder with 30 wt.% ice mixed in, ~3 mm lower than original sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Mare #36/PSA003aj
PSF 170824a00089.asd
Mare powder with 50 wt.% ice mixed in, ~3 mm lower than original sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
Ice #4/Pure ice-d

PSF 170824a00090.asd
Pure ice; ~3 mm lower than original sample; light went through sample; p=0° (i=30°, e=-30°; i.e., 30° off normal; relative to spectralon at 0°).
++++++++++++++++++++
VMMO lunar analogues

(ii) Shimizu-HS or HAW060 (<45 µm) intimately mixed with water ice: ASD 3 spectra; bifurcated cable (i=e); 35-2500 nm; 1 nm output; 20 spectra averaged [Directory: 200813 lunar mixtures].

(a) Measured with bifurcated probe normal to the surface

Shimizu-HS-A-0

98% Shimizu-HS; <45um+2% water ice
PSF 200813a.00001.asd

Shimizu-HS-B-0

96% Shimizu-HS; <45um+4% water ice
PSF 200813a.00002.asd

Shimizu-HS-C-0

94% Shimizu-HS; <45um+6% water ice
PSF 200813a.00003.asd

Shimizu-HS-D-0

92% Shimizu-HS; <45um+8% water ice
PSF 200813a.00004.asd

Shimizu-HS-E-0


90% Shimizu-HS; <45um+10% water ice
PSF 200813a.00005.asd

HAW060-A-0


98% HAW060; <45um+2% water ice
PSF 200813a.00006.asd

HAW060-B-0


96% HAW060, <45um+4% water ice
PSF 200813a.00007.asd

HAW060-C-0


94% HAW060, <45um+6% water ice
PSF 200813a.00008.asd

HAW060-D-0


92% HAW060, <45um+8% water ice
PSF 200813a.00009.asd

HAW060-E-0


90% HAW060, <45um+10% water ice
PSF 200813a.00010.asd

H2O-SLAB-0


100% H2O slab


PSF 200813a.00011.asd

+++++++

(b) Measured with bifurcated probe 10 degrees off normal to the surface

Shimizu-HS-A-10
98% Shimizu-HS; <45um+2% water ice
PSF 200813a.00014.asd

Shimizu-HS-B-10
96% Shimizu-HS; <45um+4% water ice
PSF 200813a.00015.asd

Shimizu-HS-C-10
94% Shimizu-HS; <45um+6% water ice
PSF 200813a.00016.asd

Shimizu-HS-D-10
92% Shimizu-HS; <45um+8% water ice
PSF 200813a.00017.asd

Shimizu-HS-E-10
90% Shimizu-HS; <45um+10% water ice
PSF 200813a.00018.asd

HAW060-A-10


98% HAW060; <45um+2% water ice
PSF 200813a.00019.asd

HAW060-B-10


96% HAW060, <45um+4% water ice
PSF 200813a.00020.asd

HAW060-C-10


94% HAW060, <45um+6% water ice
PSF 200813a.00021.asd

HAW060-D-10


92% HAW060, <45um+8% water ice
PSF 200813a.00022.asd

HAW060-E-10


90% HAW060, <45um+10% water ice
PSF 200813a.00023.asd

H2O-SLAB-10


100% H2O slab


PSF 200813a.00024.asd

++++++

(c) Measured with bifurcated probe 20 degrees off normal to the surface

Shimizu-HS-A-20
98% Shimizu-HS; <45um+2% water ice
PSF 200813a.00027.asd

Shimizu-HS-B-20
96% Shimizu-HS; <45um+4% water ice
PSF 200813a.00028.asd

Shimizu-HS-C-20
94% Shimizu-HS; <45um+6% water ice
PSF 200813a.00029.asd

Shimizu-HS-D-20
92% Shimizu-HS; <45um+8% water ice
PSF 200813a.00030.asd

Shimizu-HS-E-20
90% Shimizu-HS; <45um+10% water ice
PSF 200813a.00031.asd

HAW060-A-20


98% HAW060; <45um+2% water ice
PSF 200813a.00032.asd

HAW060-B-20


96% HAW060, <45um+4% water ice
PSF 200813a.00033.asd

HAW060-C-20


94% HAW060, <45um+6% water ice
PSF 200813a.00034.asd

HAW060-D-20


92% HAW060, <45um+8% water ice
PSF 200813a.00035.asd

HAW060-E-20


90% HAW060, <45um+10% water ice
PSF 200813a.00036.asd

H2O-SLAB-20


100% H2O slab


PSF 200813a.00037.asd

++++++

(d) Measured with bifurcated probe 30 degrees off normal to the surface
Shimizu-HS-A-30
98% Shimizu-HS; <45um+2% water ice
PSF 200813a.00040.asd

Shimizu-HS-B-30
96% Shimizu-HS; <45um+4% water ice
PSF 200813a.00041.asd

Shimizu-HS-C-30
94% Shimizu-HS; <45um+6% water ice
PSF 200813a.00042.asd

Shimizu-HS-D-30
92% Shimizu-HS; <45um+8% water ice
PSF 200813a.00043.asd

Shimizu-HS-E-30
90% Shimizu-HS; <45um+10% water ice
PSF 200813a.00044.asd

HAW060-A-30


98% HAW060; <45um+2% water ice
PSF 200813a.00045.asd

HAW060-B-30


96% HAW060, <45um+4% water ice
PSF 200813a.00046.asd

HAW060-C-30


94% HAW060, <45um+6% water ice
PSF 200813a.00047.asd

HAW060-D-30


92% HAW060, <45um+8% water ice
PSF 200813a.00048.asd

HAW060-E-30


90% HAW060, <45um+10% water ice
PSF 200813a.00049.asd

H2O-SLAB-30


100% H2O slab


PSF 200813a.00050.asd

++++++++++++++++

(e) Measured with bifurcated probe 40 degrees off normal to the surface
Shimizu-HS-A-40
98% Shimizu-HS; <45um+2% water ice
PSF 200813a.00053.asd

Shimizu-HS-B-40
96% Shimizu-HS; <45um+4% water ice
PSF 200813a.00054.asd

Shimizu-HS-C-40
94% Shimizu-HS; <45um+6% water ice
PSF 200813a.00055.asd

Shimizu-HS-D-40
92% Shimizu-HS; <45um+8% water ice
PSF 200813a.00056.asd

Shimizu-HS-E-40
90% Shimizu-HS; <45um+10% water ice
PSF 200813a.00057.asd

HAW060-A-40


98% HAW060; <45um+2% water ice
PSF 200813a.00058.asd

HAW060-B-40


96% HAW060, <45um+4% water ice
PSF 200813a.00059.asd

HAW060-C-40


94% HAW060, <45um+6% water ice
PSF 200813a.00060.asd

HAW060-D-40


92% HAW060, <45um+8% water ice
PSF 200813a.00061.asd

HAW060-E-40


90% HAW060, <45um+10% water ice
PSF 200813a.00062.asd

H2O-SLAB-40


100% H2O slab


PSF 200813a.00063.asd
+++++++++++++++++++++++++++++++++++

12.14.d. ROASTT samples – spectral data (HOSERLab December 2018)

(i) ASD data: spots on whole rocks, exterior surfaces; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 181217 ROAST01-15].

R19_001A_SPCM
PSF 181217b00001.asd
Spot 1

R19_001A_SPCM
PSF 181217b00002.asd
Spot 2

R19_001A_SPCM
PSF 181217b00003.asd
Spot 3

+++++

R19_002B_SPCM
PSF 181217b00004.asd
Spot 1

R19_002B_SPCM
PSF 181217b00005.asd
Spot 2

R19_002B_SPCM
PSF 181217b00006.asd
Spot 3

+++++

R19_004_SPCM
PSF 181217b00009.asd
Spot 1

R19_004_SPCM
PSF 181217b00010.asd
Spot 2

R19_004_SPCM
PSF 181217b00011.asd
Spot 3

+++++

R19_005_SPCM
PSF 181217b00012.asd
Spot 1

R19_005_SPCM
PSF 181217b00013.asd
Spot 2

R19_005_SPCM
PSF 181217b00014.asd
Spot 3

+++++

R19_011_SPCM
PSF 181217b00015.asd
Spot 1

R19_011_SPCM
PSF 181217b00016.asd
Spot 2

R19_011_SPCM
PSF 181217b00017.asd
Spot 3

+++++

R19_012_SPCM
PSF 181217b00020.asd
Spot 1

R19_012_SPCM
PSF 181217b00021.asd
Spot 2

R19_012_SPCM
PSF 181217b00022.asd
Spot 3

+++++

R19_013B_SPCM
PSF 181217b00023.asd
Spot 1

R19_013B_SPCM
PSF 181217b00024.asd
Spot 2

R19_013B_SPCM
PSF 181217b00025.asd
Spot 3

++++++++++++++++++++++++++++++++++++++++++


(ii) iRaman reflectance spectra: spots on whole rocks, exterior surfaces; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; ~85 µm spot size; auto-integration time; 100 spectra averaged; 532 nm iRaman spectrometer [Directory: 181215].

R19_005_SPCM
PSF 001 R19_005_SPCM_1
Spot 1

R19_005_SPCM
PSF 002 R19_005_SPCM_2
Spot 2

R19_005_SPCM
PSF 003 R19_005_SPCM_3
Spot 3

++++++

R19_004A_SPCM
PSF 004 R19_004A_SPCM_1
Spot 1

R19_004A_SPCM
PSF 005 R19_004A_SPCM_2
Spot 2

R19_004A_SPCM
PSF 006 R19_004A_SPCM_3
Spot 3

++++++

R19_002B_SPCM
PSF 007 R19_002B_SPCM_1
Spot 1

R19_002B_SPCM
PSF 008 R19_002B_SPCM_2
Spot 2

R19_002B_SPCM
PSF 009 R19_002B_SPCM_3
Spot 3

++++++

R19_013B_SPCM
PSF 010 R19_013B_SPCM_1
Spot 1

R19_013B_SPCM
PSF 011 R19_013B_SPCM_2
Spot 2

R19_013B_SPCM
PSF 012 R19_013B_SPCM_3
Spot 3

++++++

R19_012_SPCM
PSF 013 R19_012_SPCM_1
Spot 1

R19_012_SPCM
PSF 014 R19_012_SPCM_2
Spot 2

R19_012_SPCM
PSF 015 R19_012_SPCM_3
Spot 3

++++++

R19_001A_SPCM
PSF 1 R19_001_SPCM_1

Spot 1

R19_001A_SPCM
PSF 002 R19_001_SPCM_2
Spot 2

R19_001A_SPCM
PSF 003 R19_001_SPCM_3
Spot 3

++++++

R19_011_SPCM
PSF 005 R19_011_SPCM_1
Spot 1

R19_011_SPCM
PSF 006 R19_011_SPCM_2
Spot 2

R19_011_SPCM
PSF 007 R19_011_SPCM_3
Spot 3

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

 (b) Raman spot spectra: iRaman 532 nm; i=e=0°; ~4 cm-1 resolution; 174-4002 cm-1 range; 50 mW laser power; variable number of spectra averaged [Directory: 200721 Lunar Raman]. 

CHENOBI
PSF 200721_009_PSA001_Powder_Spot1.txtr
Spot 1 on <45 µm powder.

CHENOBI
PSF 200721_010_PSA001_Powder_Spot2.txtr
Spot 2 on <45 µm powder.

+++++++

JSC-1A
PSF 200721_011_JSC-1A_Powder_Spot1.txtr
Spot 1 on unsorted powder.

JSC-1A
PSF 200721_012_JSC-1A_Powder_Spot2.txtr
Spot 2 on unsorted powder.

+++++++

Shimizu-HS
PSF 200721_015_Shimizu-HS_Powder_Spot1.txtr
Spot 1 on unsorted powder.

Shimizu-HS
PSF 200721_016_Shimizu-HS_Powder_Spot2.txtr
Spot 2 on unsorted powder.

+++++++++++++++++++++++++++++++++++++++++
12.15.d. Spectra: Rockwool

Rockwool-a
PSF 210604a.00001.asd
<45 µm sieved powder; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 210604 rockwool].
Rockwool-b
PSF 210604a.00002.asd
<45 µm sieved powder; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 210604 rockwool].

+++++++++++++++++++++++++++++++++++++++++++
12.16.d. Lunar analogues and ilmenite for Canadensys – October 2021

Note: spectra of samples in 3 cm Petri dish; same set-up as used by Canadensys; 50 Watt desk lamp; sample on white foamboard.
Second set of spectra are the same as tehse but converted to reflectance relative to the posterboard used by Canadensys.
PSA001
PSF 211015a.00005.asd
CHENOBI, unsorted; i=15°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00005.asd
ILM201
PSF 211015a.00006.asd
Ilmenite (ILM201), unsorted; i=15°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00006.asd
PSA003
PSF 211015a.00007.asd
NASA JSC-1A mare simulant, unsorted; i=15°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00007.asd
PSA001
PSF 211015a.00010.asd
CHENOBI, unsorted; i=45°, e=45°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00010.asd
ILM201
PSF 211015a.00013.asd
Ilmenite (ILM201), unsorted; i=45°, e=45°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00009.asd
PSA003
PSF 211015a.00011.asd
NASA JSC-1A mare simulant, unsorted; i=45°, e=45°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00011.asd
PSA001
PSF 211015a.00014.asd
CHENOBI, unsorted; i=45°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00014.asd
ILM201
PSF 211015a.00013.asd
Ilmenite (ILM201), unsorted; i=45°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00013.asd
PSA003
PSF 211015a.00015.asd
NASA JSC-1A mare simulant, unsorted; i=45°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; shot relative to foamboard [Directory: 211019Canadensys]. 211005a.00015.asd
++++++++++++++++++++++++++++++++++++++++++++++

12.17d. Exolith Labs samples - spectra
(i) ASD reflectance spectra. Unsorted (as-received) powdered samples. I=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 211210 Exolith Rerun] (1st spectra were not properly positioned in height).

LHAA-1 (No Exolith ID #)*Anorthosite Agglutinates: 

PSF 211210a.00001.asd
LHS-1-25A

Lunar Highlands Agglutinated Simulant: 
PSF 211210a.00002.asd
LMS-1D


Lunar Mare Dust Simulant: 

PSF 211210a.00008.asd
LHS-1D


Lunar Highland Dust Simulant: 

PSF 211210a.00006.asd
LHS-1


Lunar Highlands Simulant: 

PSF 211210a.00005.asd
LMS-1


Lunar Mare Simulant: 


PSF 211210a.00007.asd
JEZ-1


Jezero Delta Simulant: 


PSF 211210a.00004.asd
MGS-1


Mars Global Simulant: 


PSF 211210a.00003.asd

· Will ID first sample as “LHAA-1” (Anorthosite Agglutinates)

+++++++++++++++++++
(i) ASD reflectance spectra: i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240126 Lunar simulants and SOPHIA].

SOPHIA
PSF 240126a.00001.asd
Unsorted powder.

LMS-2
PSF 240126a.00002.asd
Unsorted powder.

MGS-1
PSF 240126a.00003.asd
Unsorted powder.

LPS-2
PSF 240126a.00004.asd
Unsorted powder.

CI
PSF 240126a.00007.asd
Unsorted powder.

LHS-1
PSF 240126a.00008.asd
Unsorted powder.

LHS-1D
PSF 240126a.00010.asd
Unsorted powder.

LMS-1
PSF 240126a.00011.asd
Unsorted powder.

CM
PSF 240126a.00013.asd
Unsorted powder.

LHS-2
PSF 240126a.00014.asd
Unsorted powder.

LMS-1D
PSF 240126a.00015.asd
Unsorted powder.

JEZ-1
PSF 240126a.00016.asd
Unsorted powder.

+++++++++++++++++++++++++++++++++++++++++++++++++++

(ii) Exolith lunar simulant constituents: ASD reflectance spectra: i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240319 Simulants; 240327 Simulant Powder sub45; 240328 Simulant Powder sub45].

Exo-Olv
PSF 240319a.00001.asd
Unsorted powder.

Exo-Pyx
PSF 240319a.00002.asd
Unsorted powder.

Exo-Ilm
PSF 240319a.00003.asd
Unsorted powder.

Exo-Bas
PSF 240319a.00004.asd
Unsorted powder.

Exo-Ano
PSF 240319a.00005.asd
Unsorted powder.

+++++

Exo-Pyx
PSF 240327a.00003.asd
<45 µm powder.

Exo-Pyx
PSF 240327a.00004.asd
<45 µm powder; refill and reshoot.

Exo-Pyx
PSF 240327a.00005.asd
<45 µm powder; refill and reshoot.

+++++

Exo-Olv
PSF 240327a.00007.asd
<45 µm powder.

Exo-Olv
PSF 240327a.00008.asd
<45 µm powder; refill and reshoot.

Exo-Olv
PSF 240327a.00010.asd
<45 µm powder; refill and reshoot.

+++++

Exo-Bas
PSF 240327a.00012.asd
<45 µm powder.

Exo-Bas
PSF 240327a.00013.asd
<45 µm powder; refill and reshoot.

Exo-Bas
PSF 240327a.00015.asd
<45 µm powder; refill and reshoot.

+++++

Exo-Ano
PSF 240327a.00017.asd
<45 µm powder.

Exo-Ano
PSF 240327a.00018.asd
<45 µm powder; refill and reshoot.

Exo-Ano
PSF 240327a.00019.asd
<45 µm powder; refill and reshoot.

+++++

Exo-Ilm
PSF 240328b.00002.asd
<45 µm powder.

Exo-Ilm
PSF 240328b.00003.asd
<45 µm powder; refill and reshoot.

Exo-Ilm
PSF 240328b.00005.asd
<45 µm powder; refill and reshoot.

+++++

(iii) 12.17.d. Exolith Labs analogues – iRaman 532 nm spectra; multiple spots on <45 µm powders; 111-2002 cm-1; ~4 cm-1 resolution [Directories: 240321 exolith;240320 edolith; 240319 exolith; 240318 exolith; 240315 exolith; 240311; 240309 exolith; 240301 exolith].

Exo-Bas
PSF 240321_001-532_ExoBas_Powder_2.txtr
60000 msec; 20 spectra averaged: <45µm.
Exo-Bas
PSF 240321_002-532_ExoBas_Powder_3.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Bas
PSF 240321_003-532_ExoBas_Powder_4.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Bas
PSF 240321_004-532_ExoBas_Powder_5.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ano
PSF 240320_002-532_ExoAno_Powder_5.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Bas
PSF 240320_003-532_ExoBas_Powder_1.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Bas
PSF 240320_004-532_ExoBas_Powder_2.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ano
PSF 240320_001-532_ExoAno_Powder_4.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Pyx
PSF 240319_001-532_ExoPyx_Powder_4.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Pyx
PSF 240319_002-532_ExoPyx_Powder_5.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ilm
PSF 240319_003-532_ExoIlm_Powder_1.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ilm
PSF 240319_004-532_ExoIlm_Powder_2.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ilm
PSF 240319_005-532_ExoIlm_Powder_3.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ilm
PSF 240319_006-532_ExoIlm_Powder_4.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ilm
PSF 240319_007-532_ExoIlm_Powder_5.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ano
PSF 240319_008-532_ExoAno_Powder_1.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ano
PSF 240319_009-532_ExoAno_Powder_2.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ano
PSF 240319_010-532_ExoAno_Powder_3.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Olv
PSF 240318_001-532_ExoOlv_Powder_1.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Olv
PSF 240318_002-532_ExoOlv_Powder_2.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Olv
PSF 240318_003-532_ExoOlv_Powder_3.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Olv
PSF 240318_004-532_ExoOlv_Powder_4.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Olv
PSF 240318_005-532_ExoOlv_Powder_5.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Pyx
PSF 240318_006-532_ExoPyx_Powder_1.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Pyx
PSF 240318_007-532_ExoPyx_Powder_2.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Pyx
PSF 240318_008-532_ExoPyx_Powder_3.txtr
60000 msec; 20 spectra averaged: <45µm.

Exo-Ilm
PSF 240315_001-532_ExoIlm_Powder_1.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ilm
PSF 240315_002-532_ExoIlm_Powder_2.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ilm
PSF 240315_003-532_ExoIlm_Powder_3.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ilm
PSF 240315_004-532_ExoIlm_Powder_4.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ilm
PSF 240315_005-532_ExoIlm_Powder_5.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Bas
PSF 240315_006-532_ExoBas_Powder_4.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Bas
PSF 240315_007-532_ExoBas_Powder_5.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Pyx
PSF 240311_002-532_ExoPyx_Powder_2.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Pyx
PSF 240311_003-532_ExoPyx_Powder_3.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Pyx
PSF 240311_004-532_ExoPyx_Powder_4.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Pyx
PSF 240311_005-532_ExoPyx_Powder_5.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Bas
PSF 240311_006-532_ExoBas_Powder_1.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Bas
PSF 240311_007-532_ExoBas_Powder_2.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Bas
PSF 240311_008-532_ExoBas_Powder_3.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Pyx
PSF 240311_001-532_ExoPyx_Powder_1.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Olv
PSF 240309_002-532_ExoOlv_Powder_2.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Olv
PSF 240309_002-532_ExoOlv_Powder_3.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Olv
PSF 240309_003-532_ExoOlv_Powder_4.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Olv
PSF 240309_004-532_ExoOlvx_Powder_5.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Olv
PSF 240309_005-532_ExoOlv_Powder_1.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ano
PSF 240301_001-532_ExoAno_Powder_1.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ano
PSF 240301_002-532_ExoAno_Powder_2.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ano
PSF 240301_003-532_ExoAno_Powder_3.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ano
PSF 240301_004-532_ExoAno_Powder_4.txtr
60000 msec; 20 spectra averaged; unsorted.

Exo-Ano
PSF 240301_005-532_ExoAno_Powder_5.txtr
60000 msec; 20 spectra averaged; unsorted.

++++++++++++++++++++++++++++++++++++++++++++++

12.18.d. Apollo 11 lunar regolith simulant

Unsorted powdered sample from Leire Coloma/Juanma Madariaga – from Canary Islands recent lava flow

Calling it Basque1_Sim

Shot with ASD4: i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged [Directory: 250717 Apllo 11simulant].

Basque1_Sim
PSF 250717b.00001.asd
Unsorted powder; spot 1.

Basque1_Sim
PSF 250717b.00002.asd
Unsorted powder; spot 2.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 12.

13. Lunar Samples, Analogues, and Glasses
13.1. Lunar soil samples from NASA

13.2. Lunar analogue synthetic glasses

13.3. Fulgurite from Bruce Jarnot
13.4. Lunar Meteorites at University of Winnipeg

13.5. Lunar Meteorites at the Royal Ontario Museum

13.6. RELAB Lunar spectra archive – June 2024
++++++++++++++++++++++++++++++++

13.1.a. Lunar soil samples from NASA (2008) - Sample Descriptions
Apollo lunar soil samples (supposedly never exposed to atmosphere)

Sample descriptions - as provided by NASA
Generic
Specific

Weight (g)
Description

10084
2008

0.536
Fines

10084
2009

0.502
Fines

12030
184

0.503
<1 mm fines

12030
185

0.511
<1 mm fines

15041
64

0.500
LT. 1MM (<1 mm?)

15041
71

0.500
LT. 1MM (<1 mm?)

61221
176

0.517
Fines

61221
177

0.506
Fines

64801
175

0.503
Fines

64801
176

0.510
Fines

71061
13

0.500

71061
14

0.520



Sample ID

Description




10084,2008,162

Apollo 11 regolith sample (<1 mm?)

10084,2009,162

Apollo 11 regolith sample (<1 mm?)

12030,184,7

Apollo 12 regolith sample (<1 mm?)

12030,185,7

Apollo 12 regolith sample (<1 mm?)

15041,64,20

Apollo 15 regolith sample (<1 mm?)

15041,71,20

Apollo 15 regolith sample (<1 mm?)

61221,176,25

Apollo 16 regolith sample (<1 mm?)

61221,177,25

Apollo 16 regolith sample (<1 mm?)

64801,175,4

Apollo 16 regolith sample (<1 mm?)

64801,176,4

Apollo 16 regolith sample (<1 mm?)

71061,13,5

Apollo 17 regolith sample (<1 mm?)

71061,14,5

Apollo 17 regolith sample (<1 mm?)

See sections 32.1, 32.2 of this document for lunar and air-sensitive samples opened in glove box under dry nitrogen and carbon dioxide-free atmosphere (December 2012).

++++++++++++++++++++++++++++++

Soil
Description


Is/FeO

Ilmenite modal abundance

10084
Mature mare basalt soil 

78

5.6
12030
Immature mare basalt soil

14

2.9
15041
Mature mare basalt soil

94

0.9 (low Ti)
61221
Immature highland anorthositic soil
9.2

0.6

64801
Mature highland anorthositic soil
82

0.2

71061
Immature mare basalt soil

14

9.2 (high Ti)
13.2.a. Apollo regolith samples received from NASA JSC February 2022
Generic
Specific
Parent
Container
Weight (grams)
Notes (and info from Allocation Information Sheet)
10084
2008
162
9 9425

0.536

<1 mm fines
10084
2009
162
9 9422

0.502

<1 mm fines
12030
184
7
9 9458

0.503

FI/CP ; <1 mm fines
12030
185
7
9 9440

0.511

FI/CP ; <1 mm fines
14259
611
130
PV

0.495

<1 mm fines
15041
64
20
PV

0.500

<1 mm fines
15041
71
20
PV

0.500

<1 mm fines
61221
176
25
9 25444

0.517

<1 mm fines
61221
177
25
9. 25481

0.506

<1 mm fines
64801
176
4
9 25454

0.510

Fines
64801
184
173
9 3832

0.500

<1 MMAIRONLY ; Fines
71061
197
5
9 24220

0.500

Fines
71061
198
9
9 3796

0.500

Fines
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13.3.a. Apollo rock samples received from NASA JSC January 2025
Note : samples to study space weatheringof rock – samples include exterior and interiorsurfaces of the same parent rock.

Generic
Specific
Parent
Container
Weight (grams)
Notes (and info from Allocation Information Sheet)
15555
859
47
8 1913

2.045

15555
1117
465
10 9326

1.396

65015
323
15
10 9380

1.397

65015
326
25
9 30490

1.654

71175
48
0
10 9447

1.486

71175
50
0
9 30816

0.849

Detailed descriptions: from Curatoral Functions Allocation Information Sheet (AIS) Report

Generic
Specific
Parent
Weight
Description

Location
Sample : 15555,859 :
15555
0
0
0.000
VG BS
ENTIRELY SUBDIV

15555
47
0
0.000 
WAS 6CM SLAB
ENTIRELY SUBDIV

15555
859
47
2.045
T1 EX+SWDOC CP
CLOUTIS, E

Sample 15555,1117:
15555
0
0
0.000 
VG BS
ENTIRELY SUBDIV

15555
45
0
0.000

ENTIRELY SUBDIV

15555
58
45
0.000 
ROCK RDR
ENTIRELY SUBDIV

15555
465
58
47.298 
DOC CP
PLS-43

15555
1117
465
1.396
LOC EX CP
CLOUTIS, E

Sample : 65015,323 :
65015
0
0
0.000 
XL BX
ENTIRELY SUBDIV

65015
15
0
41.790
STOCK
PSL-38

65015
323
15
1.397
DOC EX+SW CP
CLOUTIS, E

Sample 65015,326 :

65015
0
0
0.000
XL BX
ENTIRELY SUBDIV

65015
25
0
1317.310

PSL-38

65015
326
25
1.654
DOC EX BURIED CP
CLOUTIS, E

Sample : 71175,48 :
71175
0
0
114.202
DB479
PLS-45

71175
48
0
1.486
DOC TOP EX CP
CLOUTIS, E

Sample : 71175,50 :
71175
0
0
114.202
DB479
PSL-45

71175
50
0
0.849
LOC BOTTOM EX CP
CLOUTIS, E

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13.4.a. Lunar Analogue Synthetic Glasses – Sample descriptions
SAMPLE
OLD

  END MEMBER ABUNDANCES (wt.%)


I.D.
OPX
CPX
OLV
PLG
ILM
GLA

ILM101
L4
  0.0
  0.0
  0.0
  0.0
100.0
  0.0

PYX036
L5
  0.0
100.0
  0.0
  0.0
  0.0
  0.0

PYX032
L6
100.0
  0.0
  0.0
  0.0
  0.0
  0.0

PLG108
L7
  0.0
  0.0
  0.0
100.0
  0.0
  0.0

OLV003
--
  0.0
  0.0
100.0
  0.0
  0.0
  0.0

G1
L2
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB1
L1
 50.0
  0.0
  0.0
 20.0
  5.0
 25.0

GF1
L3
 66.7
  0.0
  0.0
 26.7
  6.7
  0.0

GB2a
L8
 50.0
  0.0
  0.0
 20.0
  5.0
 25.0

GF2a
L9
 66.7
  0.0
  0.0
 26.7
  6.7
  0.0

G3
L32
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB3
L28
 52.6
  0.0
  0.0
 21.1
  0.0
 26.3

GF3
L25
 71.4
  0.0
  0.0
 28.6
  0.0
  0.0

G4e
L31
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB4c
L29
 33.3
  0.0
  0.0
 13.3
  3.3
 50.0

GB5b
L26
 33.3
  0.0
  0.0
 13.3
  3.3
 50.0

GB6b
L27
 16.7
  0.0
  0.0
  6.7
  1.7
 75.0

GB7d
L30
 33.3
  0.0
  0.0
 13.3
  3.3
 50.0

G8
L11
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB8
L10
 42.1
  0.0
  0.0
 16.8
 20.0
 21.1

GF8
L12
 53.3
  0.0
  0.0
 21.3
 25.3
  0.0

G9
L14
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB9
L13
 25.0
  0.0
 50.0
 10.0
  2.5
 12.5

GF9
L15
 28.6
  0.0
 57.1
 11.4
  2.9
  0.0

G10
L17
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB10
L16
 75.0
  0.0
  0.0
 10.0
  2.5
 12.5

GF10
L18
 85.7
  0.0
  0.0
 11.4
  2.9
  0.0

G11
L20
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB11
L19
 31.2
  0.0
  0.0
 50.0
  3.1
 15.6

GF11
L21
 37.0
  0.0
  0.0
 59.3
  3.7
  0.0

G12
L23
  0.0
  0.0
  0.0
  0.0
  0.0
100.0

GB12
L22
  0.0
 50.0
  0.0
 20.0
  5.0
 25.0

GF12
L24
  0.0
 66.7
  0.0
 26.7
  6.7
  0.0


NOTES: OPX, orthopyroxene (PYX032); CPX, clinopyroxene (PYX036); OLV, olivine (OLV003); PLG, plagioclase feldspar (PLG108); ILM, ilmenite (ILM101); GLA, glass.

All samples contain 45-90µm sized mineral grains unless otherwise noted.

All glasses were fused for 15 minutes unless otherwise noted.

Each glass contains the same initial proportions of minerals as the glass free sample with which it is numerically paired; e.g., glass G1 was made from the same proportions of minerals as sample GF1.

a Contains <45µm sized plagioclase.

b Contains glass G1.

c Contains <45µm sized glass G1.

d Contains glass G4.

e Glass G4 fused for 90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13.2.a.1. Lunar Analogue Glasses - Descriptions

Sample ID
Description





G1
Lunar analogue glass, formerly L2 [P].

G3
Lunar analogue glass, formerly L32 [P].

G4
Lunar analogue glass, formerly L31, glass is heterogeneous [P].

G8
Lunar analogue glass, formerly L11, glass is heterogeneous [P].

G9
Lunar analogue glass, formerly L14, glass is heterogeneous [P].

G10
Lunar analogue glass, formerly L17, glass is heterogeneous [P].

G11
Lunar analogue glass, formerly L20 [P].

G12
Lunar analogue glass, formerly L23 [P].





+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13.3.a. Fulgurite from Bruce Jarnot – December 2013


[Bruce Jarnot: 443-684-4196; bmjarnot@aol.com].

Description: "These specimens were created in August 2002 by a lightning strike, blown transformer and downed power line on Route 177 (Farmington, Connecticut), diagonally across from the Volunteer Fire Department. The downed power lines resulted in three-plus hours of sustained high voltage current flow, which created an electric furnace with reducing environment – melting sand and gravel into glass, reducing iron oxide and silicon dioxide and melting aluminum debris. This resulted in formation of "native" iron, silicon and aluminum, along with subsequent formation of Si/Fe/Al alloys of differing compositions. A cursory study of the resultant material was presented at the 2002 annual Lunar and Planetary Society meeting, and was contributed as a platform technical presentation at the annual 2003 Rochester Mineralogical symposium".  Preliminary results in Sheffer et al. (2003) and Sheffer et al. (2006).

13 samples received December 2013.

1
7 small (sub-cm low density (aluminum?) fragments.

2
Low density (~3 x 2 x 2 cm) granular aggregate with frothy welded surfaces.

3
Low density (~2 x 2 x 2 cm) granular aggregate with frothy welded surfaces and embedded blebs.

4
Low density (~2 x 2 x 2 cm) granular aggregate with frothy welded surfaces and embedded blebs.

5
Low density (~3 x 3 x 2 cm) granular aggregate with frothy welded surfaces and embedded blebs.

6
Frothy (~1 cm) glassy bleb with smaller metallic embedded blebs.

7
Frothy (~1 cm) glassy bleb with smaller metallic embedded blebs.

8
Frothy 3 cm long piece, vesiculated with glassy surface.

9
Frothy, glass-welded aggregate (~2 cm) with lined vesicle.

10
Aggregate (~3 cm) with large metallic bleb and partial glassy surface.

11
Aggregate (~1.5 cm) with large metallic bleb and partial glassy surface.

12
Aggregate (~3 cm) with large metallic blebs and partial glassy surface.

13
Glassy metallic piece (~3 cm) and smaller fragment; high density.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13.4a. Lunar Meteorites at University of Winnipeg
13.4.a (ii) Lunar meteorites - New samples – December 2020 and January 2022 (and saw-cut powders); and October 2023 and January 2025
Bechar 003
Lunar meteorite (feldspathic breccia); ~1 gram double slice. Medium gray with a few white clasts (Aerolite Meteorites; received January 2025). Meteoritical Bulletin description:  Fresh interiors are medium gray with diffuse small white clasts and rare tiny metal grains visible. Petrography: (A. Irving, UWS and P. Carpenter, WUSL) Electron microprobe analyses were conducted on small slices from four separate stones. Although there is some mineralogical and compositional heterogeneity among these pieces, all consist of mineral clasts of calcic plagioclase (predominantly anorthite but also some sodic bytownite), olivine, low-Ca pyroxene and augite within a very fine grained, sparsely microvesicular matrix containing Ti-chromite, troilite, kamacite and minor secondary barite. Geochemistry: Calcic plagioclase (An70.7-97.7Or1.1-0.0, N = 12), olivine (Fa22.9-49.5, FeO/MnO = 86-114, N = 14), low-Ca pyroxene (23.1-26.5Wo4.3-4.4, Fe)/MnO = 56-57, N = 2), pigeonite (Fs22.0-32.3Wo6.9-12.5, FeO/MnO = 52-61, N =7), augite (Fs11.9-19.4Wo35.8-38.6, FeO/MnO = 42-52, N = 5).

++++++

Gadamis 004
Lunar meteorite: anorthosite (FAN suite); 2.84 gram double slice; generally lighter toned clasts in slightly darker matrix. [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID MM-GAD-43]. Meteoritical Bulletin: Polished sawcut surfaces reveal cm-size clasts of anorthosite bounded by darker, fine-grained, cataclastic zones. Petrography: a significantly brecciated, cataclastic anorthitic plagioclase host making up 98-99% of this meteorite. Poikiolitically enclosed in the plagioclase are sparse, very small olivine and pyroxene blebs (most in the range 5-10 μm). Larger pyroxene grains are scarce with two larger grains in size range of 300 μm observed in the microprobe mount. Together, olivine and pyroxene make up a total of ~1-2% of this meteorite. Geochemistry: Plagioclase An96.0±0.1Ab3.8±0.1Or0.2±0.1, n=4; olivine Fa38.9±1.0, Fe/Mn=105±3, n=4; pigeonite Fs34.0±4.8Wo5.4±2.3, Fe/Mn=60±3, n=4; augite Fs5.7Wo46.1, Fe/Mn=32. Classification: Lunar ferroan anorthosite, cataclastic. Olivine, pigeonite and plagioclase compositional values plot within the FAN suite field (after Warren, 1993). The very high anorthite content (98-99%) and cataclastic texture is similar to Apollo 16 cataclastic FANs. Shock stage: high; Weathering grade: moderate. Received October 2023.
+++++++

Laayoune 002
Lunar meteorite (feldspathic breccia); ~1 gram double slice; Saguia el Hamra, W. Sahara (received Jan. 2025; Aerolite Meteorites). Dark matrix with scattered white clasts. Meteoritical Bulletin description: Breccia composed of mineral clasts of anorthite, olivine, orthopyroxene, pigeonite and augite plus accessory ilmenite, chromite (with variable Ti content) and minor secondary barite. Geochemistry: Olivine (Fa46.3-46.7, FeO/MnO = 94-98, N = 4), orthopyroxene (Fs33.5Wo3.8, FeO/MnO = 57), pigeonite (Fs36.9-45.1Wo6.5-8.4, FeO/MnO = 57-64, N = 3), augite (Fs19.1-20.9Wo39.1-39.7, FeO/MnO = 53-54, N = 2), anorthite (An96.1-97.7Or0.3-0.1, N = 3).

++++++

Lahmada 020(-17)
Lunar meteorite: feldspathic breccia; Saguia el Hamra, Western Sahara; 2.65 gram double polished slice; mostly dark fine-grained matrix with a few lighter clasts; find – 2018 [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID LAH-17]; December 14, 2020. Shock stage: S4. Weathering grade: W3.
++++++

NWA 8277-a
Lunar meteorite (brecciated texture). 4.4 gram thick double-polished slice (~3 x 3 cm); vesicular brecciated medium- to dark-gray matrix with abundant black, gray, and white clasts and enclave of metal grains [From Aerolite Meteorites – their sample ID NWA 8277/4.4 g] December 7, 2020.
++++++

NWA 10401
Lunar: anorthositic-troctolitic breccia; 2.59 gram double slice; generally light toned with darker enclaves and veins. [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID MM-10401-5]. Meteoritical Bulletin: a very fine-grained, light-gray groundmass that is cross-cut by several shock melt veins. Larger white clasts within the groundmass are present. Petrography: an anorthositic troctolite with a granulitic texture. It contains plagioclase (59-65%), olivine (23-26%), orthopyroxene, and clinopyroxene (pyx total: 12-15%) as the main silicate phases. Accessory grains of spinel were observed. The sample is crosscut by an abundant number of thin shock melt veins. The veins show compositional variation as well as partial assimilation of surrounding grains in some areas and are homogeneous in others. Plagioclase grains (0.2-0.8 mm) are angular and sub-euhedral in shape, while mafic clasts rich in olivine and pyroxene (0.1-0.3 mm) are composed of small (<10-35 μm) anhedral olivine and pyroxene grains. Single anhedral grains of olivine and pyroxene are also present in the sample, including some that exhibit pyroxene exsolution lamellae. The matrix is composed of small, granular, anhedral grains of olivine and pyroxene that appear to outline grain boundaries of plagioclase fragments. Geochemistry: Olivine Fa18.6±2 (N=180), Fe/Mn=88.1±8.3; Orthopyroxene: Fs15.5±2Wo3.1±0.6En81.4±4.7, Fe/Mn=49.3±6 (N=48); Clinopyroxene: Fs9.0±1.4Wo41.3±7.9En 49.7±6.8, Fe/Mn=37.2±4 (N = 20); Plagioclase An96.6±0.3Ab2.9±0.6Or0.1±0.05 (N=254). The shock melt vein (defocused electron beam as proxy for bulk composition) has an average composition of: Na2O = 0.27±0.1, MgO = 9.7±0.3, SiO2 = 45±0.8, Al2O3 = 26±0.6, P2O5 = 0.02±0.04, K2O = 0.01±0.01, CaO = 15±6, TiO2 = 0.12±0.03, MnO = 0.06±0.04, FeO = 4.1±0.3, BaO = 0.01±0.03 Cr2O3 = 0.13±0.03, NiO = 0.02±0.02, N=74. Bulk composition (R. Korotev, WUSL): INAA on a 99 mg fragment gave FeO 6.1 wt%, Na2O 0.24 wt%; Sc 8.7, Cr 1300, Ni 124, La 0.65, Sm 0.38, Eu 0.55, Yb 0.37, Th 0.07, all in ppm. Classification: Lunar (anorthositic troctolitic breccia with granulitic texture). Weathering grade: low. Received October 2023.
++++++

NWA 11182-a
Lunar feldspathic breccia; 1 gram of saw cut powder, fine grained; beige [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 11182-DUST-1]. Meteoritical Bulletin: a fragmental breccia with numerous white feldspathic clasts and fine-grained lithic fragments, set in a dark-gray ground mass.This meteorite consists of primarily feldspathic clasts, microgabbro clasts, and shock melt, some containing vesicles. Geochemistry: pigeonite Fs28.9±1.6Wo11.8±7.0, Fe/Mn=56±3, n=2; high Ca pyroxene Fs22.7±11.7Wo28.6±5.9, Fe/Mn=52±2, n=2; two olivine grains were found: Fa16.9 and Fa34.6 with Fe/Mn=91 and 98 respectively; plagioclase An92.9±3.2Ab6.8±3.2Or0.3±0.1, n=4. Shock stage: high; weathering grade: moderate. Received October 2023.
NWA 11182-b
Lunar feldspathic breccia; 1.84 gram double slice; dark gray-black [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 11182-DUST-1]. Meteoritical Bulletin: a fragmental breccia with numerous white feldspathic clasts and fine-grained lithic fragments, set in a dark-gray ground mass.This meteorite consists of primarily feldspathic clasts, microgabbro clasts, and shock melt, some containing vesicles. Geochemistry: pigeonite Fs28.9±1.6Wo11.8±7.0, Fe/Mn=56±3, n=2; high Ca pyroxene Fs22.7±11.7Wo28.6±5.9, Fe/Mn=52±2, n=2; two olivine grains were found: Fa16.9 and Fa34.6 with Fe/Mn=91 and 98 respectively; plagioclase An92.9±3.2Ab6.8±3.2Or0.3±0.1, n=4. Shock stage: high; weathering grade: moderate. Received October 2023.
++++++

NWA 11228
Lunar meteorite: feldspathic breccia; Northwest Africa; 2.9 gram whole fragment; black, glassy appearance, no visible large clasts; find – 2017 [Aerolite Meteorites – their sample ID Lunar/NWA 11303/5.4 g]; December 7, 2020. Shock stage: high. Weathering grade: moderate.

+++++

NWA 11303-a
Lunar meteorite: feldspathic breccia; Northwest Africa; 5.4 gram whole fragment; exterior has slight rustiness, light clasts in dark matrix; find – 2017 [Aerolite Meteorites – their sample ID Lunar/NWA 11303/ 5.4 g]; December 7, 2020.

NWA 11303-b,c,d,e,f
Lunar meteorite: feldspathic breccia; Northwest Africa; 5 x ~1 gram whole fragments, variable dirt/rust on exterior, light clasts in dark matrix; find – 2017 [Aerolite Meteorites – their sample ID Lunar Meteorite Holiday Gift Set]; December 7, 2020. Shock stage: low. Weathering grade: low.

NWA 11303-g,h,i,j
Lunar meteorite: feldspathic breccia; Northwest Africa; 4 x ~1 gram vials of saw-cut powder; find – 2017 [Aerolite Meteorites – their sample ID Lunar Meteorite Holiday Gift Set]; December 7, 2020.

+++++

NWA 11444-a
Lunar melt breccia: ~1 gram;  ~50/50 highland + mare clasts; minor  rust/dirt (Habbibi Meteorites; Tucson Rock and Gem Show – February 2018).

NWA 11444-b
Lunar melt breccia: ~1 gram;  ~20/90 highland + mare clasts; minor rust/dirt (Habbibi Meteorites; Tucson Rock and Gem Show – February 2018).

NWA 11444-c
Lunar melt breccia: ~1 gram;  ~40/60 highland + mare clasts; minor rust/dirt (Habbibi Meteorites; Tucson Rock and Gem Show – February 2018).

NWA 11444-d
Lunar melt breccia: ~1 gram;  ~50/50 highland + mare clasts; minor rust/dirt (Habbibi Meteorites; Tucson Rock and Gem Show – February 2018).

NWA 11444-e
Lunar melt breccia: ~1 gram;  ~50/50 highland + mare clasts; minor rust/dirt (Habbibi Meteorites; Tucson Rock and Gem Show – February 2018).

++++++

NWA 11474(-194)
Lunar meteorite: feldspathic breccia; Northwest Africa; 1.98 gram double polished slice; dark fine-grained matrix with abundant beige, white clasts, and possible mineral clasts; find – 2017 [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 11474-194]; December 14, 2020. Shock stage: high. Weathering grade: moderate.
NWA 11474-p
Lunar meteorite: feldspathic breccia; Northwest Africa; >4 grams of fine-grained saw-cut powder; find – 2017 [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 11474]; January 26, 2022.

+++++
NWA 11788
Lunar meteorite: feldspathic breccia; Northwest Africa; 12.9 gram whole pebble with clasts; find – 2017 [Aerolite Meteorites – their sample ID Lunar/NWA 11303/5.4 g]; December 7, 2020. Shock stage: high. Weathering grade: moderate.

+++++

NWA 12593(-110)
Lunar meteorite: fragmental; Mali, Africa; 0.65 gram double polished slice; dark fine-grained matrix with numerous medium gray clasts, and a few black and beige/white clasts; find – 2017 [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 12593-110]; December 14, 2020. Shock stage: strongly. Weathering grade: moderate.
NWA 12593(-96)
Lunar meteorite: fragmental; Mali, Africa; 0.81 gram double polished slice; dark fine-grained matrix with numerous medium gray and white clasts, and clasts-in-clasts, few black and beige/white clasts; find – 2017 [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 12593-96]; December 14, 2020.

NWA 12593-p
Lunar meteorite: fragmental; Mali, Africa; >4 grams of saw-cut fine-grained powder; find – 2017 [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 12593]; January 26, 2020.

++++++++
NWA 13788
Lunar meteorite – impact melt breccia; 3.54 gram double slice; black with a few small white clasts. An interior slice reveals light and dark clasts within a darker matrix. Petrography: Sample is an impact melt breccia composed of angular to sub-rounded mineral and lithic clasts (<4 mm) set in a predominantly vitreous matrix composed of brown, flow-banded, vesicular, partly devitrified glass and fine-grained crystalline impact melt. Lithic clasts consist primarily of anorthitic plagioclase (some partially coverted to maskelynite) with smaller quantities of olivine, pigeonite, low-Ca pyroxene, sub-calcic augite, and Si-Na-Ca-Mg-rich glass; a variety of lithic clasts were observed to display poikilitic, granulitic, dendritic, porphyritic, or subophitic textures in thin section. Accessory phases present include kamacite, troilite, chromite (some containing Ti), and ilmenite. Geochemistry: Olivine (Fa32.8±5.9, range Fa18.3-43.1, Fe/Mn=74±11, n=22), Low-Ca pyroxene (Fs34.5±13.1 Wo2.9±1.5, range Fs19.2-42.2 Wo1.5-4.4, Fe/Mn=46±13, n=3), Pigeonite (Fs34.4±9.7 Wo15.0±5.3, range Fs19.5-48.0 Wo6.4-23.7, Fe/Mn=47±6, n=11), Sub-calcic augite (Fs28.6±9.2 Wo31.8±4.5, range Fs14.4-39.2 Wo26.7-39.1, Fe/Mn=44, n=6), Anorthite (An96.1±0.7, range An94.5-97.8, n=42). [The Meteorite Exchange, Inc.; www.meteorites-for-sale.com – their sample ID 13788-9]. Weathering grade: low. Received October 2023.  

++++++

NWA 13964
Lunar meteorite (feldspathic breccia; 2.5 gram double slice (received January 2025; Aerolite Meteorites). Meteoritical Bulletin entry: The material is composed of relatively large beige and light gray, angular clasts in a medium gray matrix. Petrography: (A. Irving, UWS and P. Carpenter, WUSL) Anorthositic breccia composed of >95 vol.% anorthitic plagioclase as both polymineralic lithic clasts (anorthosite, plagioclase-rich basalt) and mineral grains within a fine grained matrix. The most common mafic phase is olivine, but orthopyroxene, augite and pigeonite are also present, along with accessory Ti-chromite, troilite, rare armalcolite and minor secondary barite. Geochemistry: Olivine (Fa23.2-33.3, FeO/MnO = 88-102, N = 4), low-Ca pyroxene (Fs28.6-35.8Wo2.0-3.5, FeO/MnO = 51-59, N = 3), pigeonite (Fs24.4-29.4Wo9.2-9.5, FeO/MnO = 44-48, N =2), augite (Fs11.9-20.1Wo38.9-43.8, FeO/MnO = 45-56, N = 2), anorthite (An95.9-96.8Or0.1±0.0, N = 3), armalcolite (Mg0.4Fe0.46Cr0.06Al0.07Ti1.97O5).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
13.5.a. Lunar samples analyzed at the Royal Ontario Museum – October 2016
Note: saw-cut powders obtained during dry-cutting (no lubricating fluids) of meteorites with a diamond wire saw.

NWA 2402
Lunar, appears to be immature regolith breccia; saw-cut end (ROM #LM56002). Classified as lunar in Meteoritic Bulletin (initially classified as mesosiderite by ROM).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13b. XRD Data - Lunar Samples, Analogues, and Glasses 

13.2.b. XRD Data - Lunar Analogue Glasses
13.2b.1. Analogue files from U of A instrument

Sample

XRD File
Phases identified
Synthetic Glasses



G1 (Glass L2)
Z03145

Amorphous hump; no strong peaks
G3 Glass L32)
Z03152

amorphous hump; minor anorthite; minor magnesioferrite
G4 (Glass L31)
Z03151

amorphous hump; minor magnesioferrite; minor pseudobrookite
G8 (Glass L11)
Z03146

Amorphous hump; pseudobrookite
G9 (Glass L14)
Z03147

trevorite - magnesioferrite; olivine; psedobrookite
G10 (Glass L17)
Z03148

amorphous hump; minor magnesioferrite – magnetite; trace pseudobrookite
G11 (Glass L20)
Z03149

amorphous hump; anorthite; minor magnesioferrite
G12 (Glass L23)
Z03150

amorphous hump; minor magnesioferrite
13.4.b. NWA 11444
Powder made from all five subsamples:

Sample

Phases identified by XRD









As-is sample
anorthite; albite; fosterite; diamond (trace); aluminium nickel (minor) – last 2 probably from diamond file

After de-rusting
anorthite; forsterite; albite; calcium aluminium silicate (maybe, minor)

Both samples show evidence of an amorphous component: hump in 25-35° two-theta region, and low angle rise.
13.4.c. University of Winnipeg – XRD on coarse powders (December 2024, in MIsasa):

Gadamis004: plagioclase, forsterite, clinopyroxene
NWA 10401: plagioclase, forsterite, orthopyroxene, clinopyroxene
NWA 13788: plagioclase, forsterite, clinopyroxene, troilite, ilmenite
NWA 12593: clinopyroxene, fayalite, plagioclase, feldspar, ilmenite, merrillite, quartz
Lahmada020: plagioclase, forsterite, clinopyroxene
NWA 11182a: plagioclase, feldspar, forsterite, clinopyroxene
NWA 11182a: plagioclase, forsterite, clinopyroxene, orthopyroxene
NWA11228a: plagioclase, clinopyroxene, forsterite, kamacite, troilite
NWA11228a fusion crust: plagioclase, clinopyroxene, forsterite, kamacite, troilite
NWA11303a: plagioclase, clinopyroxene, fayalite, ilmenite, orthopyroxene, chromite
NWA11303b: plagioclase, clinopyroxene, fayalite, forsterite, clinopyroxene, orthopyroxene
NWA11303c: plagioclase, clinopyroxene, fayalite, kamacite, chromite
NWA11303d: plagioclase, clinopyroxene, fayalite, forsterite, kamacite
NWA11303e: plagioclase, fayalite, forsterite, clinopyroxene, orthopyroxene, kamacite, chromite
NWA11303f: plagioclase, fayalite, forsterite, clinopyroxene, orthopyroxene, chromite, barite
NWA11303a fusion crust: plagioclase, fayalite, forsterite, clinopyroxene, orthopyroxene, diamond, kamacite, barite
++++++++

Izawa/Applin results on fine powders (Dec. 2024 – Misasa; see 2025 LPSC abstract) (Rietveld refined):

Meteorite 
Rw 
An 
olv 
cpx 
opx 
pig

Gadamis 004 
10.295 
0.93 
0.02 
0.00 
0.00 
0.05

NWA 10401 
13.648 
0.34 
0.30 
0.20 
0.16 
0.00

NWA 11182a 
11.442 
0.83 
0.03 
0.06 
0.00 
0.08

NWA 11182b 
19.954 
0.78 
0.02 
0.08 
0.00 
0.10

NWA 11788 
13.037 
0.91 
0.03 
0.05 
0.00 
0.00

NWA 12593 
19.636 
0.74 
0.05 
0.21 
0.00 
0.00

NWA 13788 
18.898 
0.85 
0.06 
0.05 
0.04 
0.10

Rw is a measure of the goodness-offit of the refinement
+++++++++++++++++++++++++++++
13.4b.XRD phases found – June 2024

Gadamis004: plagioclase, forsterite, clinopyroxene

NWA 10401: plagioclase, forsterite, orthopyroxene, clinopyroxene

NWA 13788: plagioclase, forsterite, clinopyroxene, troilite, ilmenite

NWA 12593: clinopyroxene, fayalite, plagioclase, feldspar, ilmenite, merrillite, quartz

Lahmada020: plagioclase, forsterite, clinopyroxene

NWA 11182a: plagioclase, feldspar, forsterite, clinopyroxene

NWA 11182a: plagioclase, forsterite, clinopyroxene, orthopyroxene

NWA11228a: plagioclase, clinopyroxene, forsterite, kamacite, troilite

NWA11228a fusion crust: plagioclase, clinopyroxene, forsterite, kamacite, troilite

NWA11303a: plagioclase, clinopyroxene, fayalite, ilmenite, orthopyroxene, chromite

NWA11303b: plagioclase, clinopyroxene, fayalite, forsterite, clinopyroxene, orthopyroxene

NWA11303c: plagioclase, clinopyroxene, fayalite, kamacite, chromite

NWA11303d: plagioclase, clinopyroxene, fayalite, forsterite, kamacite

NWA11303e: plagioclase, fayalite, forsterite, clinopyroxene, orthopyroxene, kamacite, chromite

NWA11303f: plagioclase, fayalite, forsterite, clinopyroxene, orthopyroxene, chromite, barite

NWA11303a fusion crust: plagioclase, fayalite, forsterite, clinopyroxene, orthopyroxene, diamond, kamacite, barite

++++++++++++++++++++++++++++++++++++++

13c. Compositional Data - Lunar Samples, Analogues and Glasses
13.2.c.  Compositional Data - Lunar Analogue Glasses
Wt. %
G3(L32)*
G4(L31)*
G4(L31)*
G9(L14)*
G9(L14)*
G9(L14)*

Point   


Bright
Matrix
Dark
Bright

description


 Spot

Blob
 Spot

SiO2
48.76
44.28
 0.55
41.17
40.48
46.92

Al2O3
12.09
10.48
 9.55
 1.15
 0.00
12.80

Na2O
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.
 n.d.

CaO
 7.24
 6.45
 0.29
 1.59
 0.18
 7.40

K2O
 0.06
 0.00
 0.00
 0.06
 0.00
 0.05

FeO1
 9.96
15.34
69.06
13.46
11.42
19.03

FeO(avg)



   7.35 for G9

Fe2O31
10.97
 9.81
 n.d.
(n.d.)
(n.d.)
(n.d.)

TiO2
 0.58
 3.74
 8.02
 0.83
 0.06
 4.40

NiO
 0.28
 0.00
 0.00
 0.29
 0.33
 0.00

MnO
 0.41
 0.53
 0.41
 0.28
 0.22
 0.52

Cr2O3
 0.00
 0.00
 1.03
 0.12
 0.00
 0.00

CoO
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

V2O5
 0.00
 0.15 
 0.00
 0.00
 0.00
 0.00

MgO
11.64
12.02
 7.96
40.08
49.68
 7.98

ZnO
 0.23
 0.36
 0.00
 0.18
 0.00
 0.00


TOTAL
102.22
103.16
96.87
99.21
102.37
99.10


Source
U of A
U of A
U of A
U of A
U of A
U of A

Analysis
EMPA-1
EMPA-1
EMPA-1
EMPA-1
EMPA-2
EMPA-1

U of A: indicates analysis conducted at the University of Alberta by electron microprobe (EMPA) and number of points analyzed for each sample.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

13.2.c. Compositional Data - Lunar Analogue Glasses (continued)
Wt. %
G9(L14)*
G10(L17)*
G10(L17)*
G10(L17)*
G11(L20)*
G12(L32)*

Point   
Brightest
Matrix
Bright
Bright


description
 Spot

 Spot
 Wisp




SiO2
 0.88
46.45
 0.59
36.96
45.62
45.12


Al2O3
 6.88
 6.29
 3.90
 5.35
21.50
11.38

Na2O
 n.d.
n.d.
n.d.
 n.d.
 n.d.
 n.d.

CaO
 0.20
 4.59
 0.09
 2.34
11.07
17.33

K2O
 0.00
 0.05
 0.00
 0.16
 0.05
 0.08

FeO1
68.23
12.17
78.58
43.80
 5.84
 6.10

FeO(avg)




  

Fe2O31
 n.d.
13.49
 n.d.
 n.d.
 6.99
 4.79 

TiO2
 1.98
 1.97
 1.57
 1.83
 2.06
 4.03

NiO
 0.33
 0.00
 0.00
 0.00
 0.00
 0.00

MnO
 0.44
 0.42
 0.62
 0.38
 0.19
 0.11

Cr2O3
 0.32
 0.03
 1.59
 0.09
 0.07
 0.24

CoO
 0.00
 0.00
 0.00
 0.00
 0.00
 0.00

V2O5
 0.00
 0.00
 0.00 
 0.07
 0.10
 0.00

MgO
12.68
13.50
 8.49
 9.53
 6.02
 9.32

ZnO
 0.21
 0.00
 0.36
 0.00
 0.00
 0.00


TOTAL
92.15
98.96
95.79 
100.51
99.51
98.50


Source
U of A
U of A
U of A
U of A
U of A
U of A

Analysis
EMPA-1
EMPA-2
EMPA-1
EMPA-1
EMPA-1
EMPA-1

U of A: indicates analysis conducted at the University of Alberta by electron microprobe (EMPA) and number of points analyzed for each sample.

1. FeO determined by wet chemistry at Univ. of Alberta; Fe2O3 is difference between total Fe and FeO.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
13d. Spectral Data - Lunar Samples, Analogues, and Glasses 

13.1d. Spectral Data – Apollo Lunar Samples
Note: samples were only opened and characterized in a humidity- and oxygen-free, nitrogen-purged glove box.

13.1.d. (i) Maya  UV spectra (only 200-~400 nm range is usable)

See also section 32.2.1 of this document

Sample

Spectrum ID

Description

10084,2008,162
PSF 121214lunar.8
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

10084,2009,162
PSF 121214lunar.7
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

12030,184,7
PSF 121214lunar.9
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

12030,185,7
PSF 121214lunar.10
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

15041,64,20
PSF 121214lunar.2
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

15041,71,20
PSF 121214lunar.1
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

61221,176,25
PSF 121214lunar.3
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

61221,177,25
PSF 121214lunar.4
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

64801,175,4
PSF 121214lunar.11
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

64801,176,4
PSF 121214lunar.12
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

71061,13,5
PSF 121214lunar.5
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

71061,14,5
PSF 121214lunar.6
<1 mm (unsorted); 200-~400 nm; i=0°, e=0°; 0.48-0.42 nm resolution; 600 msec integration time; 100 spectra averaged. Maya spectrometer (directory: 121214lunar).

+++++++++++++++++++++++

13.1.d. (ii) ASD spectra (350-2500 nm)

Sample
Spectrum ID
Description

10084,2008,162
PSF 12121a.008
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

10084,2009,162
PSF 12121a.007
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

12030,184,7
PSF 12121a.009
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

12030,185,7
PSF 12121a.011
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

15041,64,20
PSF 12121a.002
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

15041,71,20
PSF 12121a.001
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

61221,176,25
PSF 12121a.003
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

61221,177,25
PSF 12121a.004
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

64801,175,4
PSF 12121a.012
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

64801,176,4
PSF 12121a.013
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

71061,13,5
PSF 12121a.005
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

71061,14,5
PSF 12121a.006
<1 mm (unsorted); 350-2500 nm; i=30°, e=0°; 1 nm output; 500 spectra avgd. ASD spectrometer (directory: 121214lunar).

+++++++++++++++++++++++++

13.1.d. (iii) D&P spectra (2-16 μm; diffuse gold standard; reflectance)

Sample
Spectrum ID
Description

10084,2008,162
PSF 121214lunar.8
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

10084,2009,162
PSF 121214lunar.7
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

12030,184,7
PSF 121214lunar.9
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

12030,185,7
PSF 121214lunar.10
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

15041,64,20
PSF 121214lunar.2
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

15041,71,20
PSF 121214lunar.1
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

61221,176,25
PSF 121214lunar.3
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

61221,177,25
PSF 121214lunar.4
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

64801,175,4
PSF 121214lunar.11
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

64801,176,4
PSF 121214lunar.12
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

71061,13,5
PSF 121214lunar.5
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

71061,14,5
PSF 121214lunar.6
<1 mm (unsorted); 2-16 μm; i=30°, e=0°; 3 cm-1 resolution; 100 spectra averaged. D&P 102F spectrometer (directory: 1212114lunar).

+++++++++++++++++++++++++++++++++++

13.1.d. (iv) Bruker Vertex 70 reflectance spectra (1.43-14.9 µm) – March 2024
Note: Unsorted powder; 1.43-14.90 µm; 6 cm-1 resolution; 1000 spectra averaged; measured in nitrogen (2-5% relative humidity) [Directory: 240314 apollo samples].

Sample
Spectrum ID






12030,185
PSF 240314_vertex_mmct_000_12030-185.0.dpt

71061,198
PSF 240314_vertex_mmct_001_71061-198.0.dpt
64801,176
PSF 240314_vertex_mmct_002_64801-176.0.dpt

61221,177
PSF 240314_vertex_mmct_003_61221-177.0.dpt

10084,2008
PSF 240314_vertex_mmct_004_10084-2008.0.dpt

10084,2009
PSF 240314_vertex_mmct_005_10084-2009.0.dpt

64801,184
PSF 240314_vertex_mmct_006_64801-184.0.dpt

12030,184
PSF 240314_vertex_mmct_007_12030-184.0.dpt

14259,611
PSF 240315_vertex_mmct_000_14259-611.0.dpt

71061,197
PSF 240315_vertex_mmct_001_71061-197.0.dpt

15041,71
PSF 240315_vertex_mmct_002_15041-71.0.dpt

15041,64
PSF 240315_vertex_mmct_003_15041-64.0.dpt

++++++++++++++++++++++++++++++++++++++++++
13.1.d. (iv) Raman spectra (200—4000 cm-1) B&WTek 532 nm Raman

Sample
Spectrum ID
Description

10084,2008,162
PSF 121214lunar.14
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

10084,2009,162
PSF 121214lunar.13
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

12030,184,7
PSF 121214lunar.15
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

12030,185,7
PSF 121214lunar.16
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

15041,64,20
PSF 121214lunar.4
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

15041,64,20
PSF 121214lunar.9
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

15041,71,20
PSF 121214lunar.1
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

15041,71,20
PSF 121214lunar.2
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

15041,71,20
PSF 121214lunar.3
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

15041,71,20
PSF 121214lunar.8
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

61221,176,25
PSF 121214lunar.5
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

61221,176,25
PSF 121214lunar.6
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar). 

61221,176,25
PSF 121214lunar.7
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

61221,177,25
PSF 121214lunar.10
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

64801,175,4
PSF 121214lunar.17
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

64801,176,4
PSF 121214lunar.18
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

71061,13,5
PSF 121214lunar.11
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

71061,14,5
PSF 121214lunar.12
<1 mm (unsorted); 200-4000 cm-1; 100 mW laser; 65000 msec integration time; 1 spectrum avgd. (directory: 121214lunar).

+++++++++++++++
(v) Merged Maya+ASD+D&P spectra of all Apollo samples also available

+++++++++++++++++++++++++++++++++++++++++++++++++
13.4d. New Lunar Meteorites – Spectral Data

(i) Whole-rock reflectance spectra; spots on slabs (images available)

Whole rock, spot on slab; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directories: 220727 Lunar Meteorite; 220728s; 221110 HED Meteorite; 220804 Lunar Meteorite Powders; 220908 Lunar Meteorite Powders; 220818, etc.].

Gadamis 004
PSF 240129b00022.asd
Whole rock; spot 1

Gadamis 004
PSF 240129b00023.asd
Whole rock; spot 2

Gadamis 004
PSF 240129b00024.asd
Whole rock; spot 3

Gadamis 004
PSF 240129b00025.asd
Whole rock; spot 4

Gadamis 004
PSF 240129b00026.asd
Whole rock; spot 5

Gadamis 004
PSF 240129b00027.asd
Whole rock; spot 6

Gadamis 004
PSF 240129b00028.asd
Whole rock; spot 7

Gadamis 004
PSF 240129b00029.asd
Whole rock; spot 8

Gadamis 004
PSF 240129b00030.asd
Whole rock; spot 9

Gadamis 004
PSF 240129b00031.asd
Whole rock; spot 10

++++
Gadamis 004
PSF 240216a00001.asd
Whole rock; spot 1

Gadamis 004
PSF 240216a00002.asd
Whole rock; spot 2

Gadamis 004
PSF 240216a00003.asd
Whole rock; spot 3

Gadamis 004
PSF 240216a00004.asd
Whole rock; spot 4

Gadamis 004
PSF 240216a00005.asd
Whole rock; spot 5

+++++++

NWA 10401
PSF 240129b00001.asd
Whole rock; spot 1

NWA 10401
PSF 240129b00002.asd
Whole rock; spot 2

NWA 10401
PSF 240129b00003.asd
Whole rock; spot 3

NWA 10401
PSF 240129b00004.asd
Whole rock; spot 4

NWA 10401
PSF 240129b00005.asd
Whole rock; spot 5

NWA 10401
PSF 240129b00006.asd
Whole rock; spot 6

NWA 10401
PSF 240129b00007.asd
Whole rock; spot 7

NWA 10401
PSF 240129b00008.asd
Whole rock; spot 8

NWA 10401
PSF 240129b00009.asd
Whole rock; spot 9

NWA 10401
PSF 240129b00010.asd
Whole rock; spot 10

++++
NWA 10401
PSF 240216a00012.asd
Whole rock; spot 1

NWA 10401
PSF 240216a00013.asd
Whole rock; spot 2

NWA 10401
PSF 240216a00014.asd
Whole rock; spot 3

NWA 10401
PSF 240216a00015.asd
Whole rock; spot 4

NWA 10401
PSF 240216a00016.asd
Whole rock; spot 5

+++++++++

NWA 11182-b
PSF 240129b00011.asd
Whole rock; spot 1

NWA 11182-b
PSF 240129b00012.asd
Whole rock; spot 2

NWA 11182-b
PSF 240129b00013.asd
Whole rock; spot 3

NWA 11182-b
PSF 240129b00014.asd
Whole rock; spot 4

NWA 11182-b
PSF 240129b00015.asd
Whole rock; spot 5

NWA 11182-b
PSF 240129b00016.asd
Whole rock; spot 6

NWA 11182-b
PSF 240129b00017.asd
Whole rock; spot 7

NWA 11182-b
PSF 240129b00018.asd
Whole rock; spot 8

NWA 11182-b
PSF 240129b00019.asd
Whole rock; spot 9

NWA 11182-b
PSF 240129b00020.asd
Whole rock; spot 10

++++
NWA 11182-b
PSF 240216a00006.asd
Whole rock; spot 1

NWA 11182-b
PSF 240216a00007.asd
Whole rock; spot 2

NWA 11182-b
PSF 240216a00008.asd
Whole rock; spot 3

NWA 11182-b
PSF 240216a00009.asd
Whole rock; spot 4

NWA 11182-b
PSF 240216a00010.asd
Whole rock; spot 5

++++++++++

NWA 11228
PSF 220727a00001.asd
Whole rock; Spot 1

NWA 11228
PSF 220727a00002.asd
Whole rock; Spot 2

NWA 11228
PSF 220727a00003.asd
Whole rock; Spot 3

NWA 11228
PSF 220727a00004.asd
Whole rock; Spot 4

NWA 11228
PSF 220727a00005.asd
Whole rock; Spot 5

NWA 11228
PSF 220727a00006.asd
Whole rock; Spot 6

NWA 11228
PSF 220727a00007.asd
Whole rock; Spot 7

NWA 11228
PSF 220727a00008.asd
Whole rock; Spot 8

NWA 11228
PSF 220727a00009.asd
Whole rock; Spot 9

NWA 11228
PSF 220727a00010.asd
Whole rock; Spot 10

++++++

NWA 11303-a
PSF 220727a00011.asd
Whole rock; Spot 1

NWA 11303-a
PSF 220727a00012.asd
Whole rock; Spot 2

NWA 11303-a
PSF 220727a00013.asd
Whole rock; Spot 3

NWA 11303-a
PSF 220727a00015.asd
Whole rock; Spot 4

NWA 11303-a
PSF 220727a00016.asd
Whole rock; Spot 5

NWA 11303-a
PSF 220727a00017.asd
Whole rock; Spot 6

NWA 11303-a
PSF 220727a00018.asd
Whole rock; Spot 7

NWA 11303-a
PSF 220727a00019.asd
Whole rock; Spot 8

NWA 11303-a
PSF 220727a00020.asd
Whole rock; Spot 9

NWA 11303-a
PSF 220727a00021.asd
Whole rock; Spot 10

+++++++

NWA 11303-c
PSF 220727a00022.asd
Whole rock; Spot 1

NWA 11303-c
PSF 220727a00023.asd
Whole rock; Spot 2

NWA 11303-c
PSF 220727a00024.asd
Whole rock; Spot 3

NWA 11303-c
PSF 220727a00025.asd
Whole rock; Spot 4

NWA 11303-c
PSF 220727a00026.asd
Whole rock; Spot 5

NWA 11303-c
PSF 220727a00028.asd
Whole rock; Spot 6

NWA 11303-c
PSF 220727a00029.asd
Whole rock; Spot 7

NWA 11303-c
PSF 220727a00030.asd
Whole rock; Spot 8

NWA 11303-c
PSF 220727a00031.asd
Whole rock; Spot 9

NWA 11303-c
PSF 220727a00032.asd
Whole rock; Spot 10

++++++

NWA 11303 b
PSF 220728a00001.asd
Whole rock; Spot 1

NWA 11303 b
PSF 220728a00002.asd
Whole rock; Spot 2

NWA 11303 b
PSF 220728a00003.asd
Whole rock; Spot 3

NWA 11303 b
PSF 220728a00004.asd
Whole rock; Spot 4

NWA 11303 b
PSF 220728a00005.asd
Whole rock; Spot 5

NWA 11303 b
PSF 220728a00006.asd
Whole rock; Spot 6

NWA 11303 b
PSF 220728a00007.asd
Whole rock; Spot 7

NWA 11303 b
PSF 220728a00008.asd
Whole rock; Spot 8

NWA 11303 b
PSF 220728a00009.asd
Whole rock; Spot 9

NWA 11303 b
PSF 220728a00010.asd
Whole rock; Spot 10

+++++++

NWA 11303 e
PSF 220721a00022.asd
Whole rock; spot 1.

NWA 11303 e
PSF 220721a00023.asd
Whole rock; spot 1.

NWA 11303 e
PSF 220721a00024.asd
Whole rock; spot 1.

NWA 11303 e
PSF 220721a00025.asd
Whole rock; spot 1.

++++++

NWA 11303 f
PSF 220728a00012.asd
Whole rock; Spot 1

NWA 11303 f
PSF 220728a00013.asd
Whole rock; Spot 2

NWA 11303 f
PSF 220728a00014.asd
Whole rock; Spot 3

NWA 11303 f
PSF 220728a00015.asd
Whole rock; Spot 4

NWA 11303 f
PSF 220728a00016.asd
Whole rock; Spot 5

NWA 11303 f
PSF 220728a00017.asd
Whole rock; Spot 6

+++++++++++
NWA 11788
PSF 221206a00002.asd
Whole rock; Spot 1

NWA 11788
PSF 221206a00003.asd
Whole rock; Spot 2

NWA 11788
PSF 221206a00004.asd
Whole rock; Spot 3

NWA 11788
PSF 221206a00005.asd
Whole rock; Spot 4

NWA 11788
PSF 221208a00001.asd
Whole rock; Spot 5

NWA 11788
PSF 221208a00002.asd
Whole rock; Spot 6

NWA 11788
PSF 221208a00003.asd
Whole rock; Spot 7

NWA 11788
PSF 221208a00004.asd
Whole rock; Spot 8

NWA 11788
PSF 221208a00005.asd
Whole rock; Spot 9

NWA 11788
PSF 221208a00006.asd
Whole rock; Spot 10

++++++++

NWA 12593-110
PSF 220720a00001.asd
Whole rock; Spot 1.
NWA 12593-110
PSF 220720a00002.asd
Whole rock; Spot 2.
NWA 12593-110
PSF 220720a00003.asd
Whole rock; Spot 3.

NWA 12593-110
PSF 220720a00004.asd
Whole rock; Spot 4.
NWA 12593-110
PSF 220720a00005.asd
Whole rock; Spot 5.
NWA 12593-110
PSF 220720a00006.asd
Whole rock; Spot 6.
NWA 12593-110
PSF 220720a00007.asd
Whole rock; Spot 7.
NWA 12593-110
PSF 220720a00008.asd
Whole rock; Spot 8.
NWA 12593-110
PSF 220720a00009.asd
Whole rock; Spot 9.
NWA 12593-110
PSF 220720a00010.asd
Whole rock; Spot 10.
+++++
NWA 11474
PSF 220720a00012.asd
Whole rock; Spot 1.

NWA 11474
PSF 220720a00013.asd
Whole rock; Spot 2.

NWA 11474
PSF 220720a00014.asd
Whole rock; Spot 3.

NWA 11474
PSF 220720a00015.asd
Whole rock; Spot 4.

NWA 11474
PSF 220720a00016.asd
Whole rock; Spot 5.

NWA 11474
PSF 220720a00017.asd
Whole rock; Spot 6.

NWA 11474
PSF 220720a00018.asd
Whole rock; Spot 7.

NWA 11474
PSF 220720a00019.asd
Whole rock; Spot 8.

NWA 11474
PSF 220720a00020.asd
Whole rock; Spot 9.

NWA 11474
PSF 220720a00021.asd
Whole rock; Spot 10.

++++++

NWA 12593-96
PSF 220720a00022.asd
Whole rock; Spot 1.

NWA 12593-96
PSF 220720a00023.asd
Whole rock; Spot 2.

NWA 12593-96
PSF 220720a00025.asd
Whole rock; Spot 3.

NWA 12593-96
PSF 220720a00026.asd
Whole rock; Spot 4.

NWA 12593-96
PSF 220720a00027.asd
Whole rock; Spot 5.

NWA 12593-96
PSF 220720a00028.asd
Whole rock; Spot 6.

NWA 12593-96
PSF 220720a00029.asd
Whole rock; Spot 7.

NWA 12593-96
PSF 220720a00030.asd
Whole rock; Spot 8.

NWA 12593-96
PSF 220720a00031.asd
Whole rock; Spot 9.

NWA 12593-96
PSF 220720a00032.asd
Whole rock; Spot 10.

++++++
NWA 13788
PSF 240129b00032.asd
Whole rock; spot 1

NWA 13788
PSF 240129b00033.asd
Whole rock; spot 2

NWA 13788
PSF 240129b00034.asd
Whole rock; spot 3

NWA 13788
PSF 240129b00035.asd
Whole rock; spot 4

NWA 13788
PSF 240129b00036.asd
Whole rock; spot 5

NWA 13788
PSF 240129b00037.asd
Whole rock; spot 6

NWA 13788
PSF 240129b00038.asd
Whole rock; spot 7

NWA 13788
PSF 240129b00039.asd
Whole rock; spot 8

NWA 13788
PSF 240129b00040.asd
Whole rock; spot 9

NWA 13788
PSF 240129b00041.asd
Whole rock; spot 10

+++
NWA 13788
PSF 240216a00017.asd
Whole rock; spot 1

NWA 13788
PSF 240216a00018.asd
Whole rock; spot 2

NWA 13788
PSF 240216a00019.asd
Whole rock; spot 3

NWA 13788
PSF 240216a00020.asd
Whole rock; spot 4

NWA 13788
PSF 240216a00021.asd
Whole rock; spot 5

+++++++++

NWA 8277
PSF 220721a00001.asd
Whole rock; Spot 1.

NWA 8277
PSF 220721a00002.asd
Whole rock; Spot 2.

NWA 8277
PSF 220721a00003.asd
Whole rock; Spot 3.

NWA 8277
PSF 220721a00004.asd
Whole rock; Spot 4.

NWA 8277
PSF 220721a00005.asd
Whole rock; Spot 5.

NWA 8277
PSF 220721a00006.asd
Whole rock; Spot 6.

NWA 8277
PSF 220721a00007.asd
Whole rock; Spot 7.

NWA 8277
PSF 220721a00008.asd
Whole rock; Spot 8.

NWA 8277
PSF 220721a00009.asd
Whole rock; Spot 9.

NWA 8277
PSF 220721a00010.asd
Whole rock; Spot 10.

++++++

Lahmada 020
PSF 220721a00012.asd
Whole rock; Spot 1.

Lahmada 020
PSF 220721a00013.asd
Whole rock; Spot 2.

Lahmada 020
PSF 220721a00014.asd
Whole rock; Spot 3.

Lahmada 020
PSF 220721a00015.asd
Whole rock; Spot 4.

Lahmada 020
PSF 220721a00016.asd
Whole rock; Spot 5.

Lahmada 020
PSF 220721a00017.asd
Whole rock; Spot 6.

Lahmada 020
PSF 220721a00018.asd
Whole rock; Spot 7.

Lahmada 020
PSF 220721a00019.asd
Whole rock; Spot 8.

Lahmada 020
PSF 220721a00020.asd
Whole rock; Spot 9.

Lahmada 020
PSF 220721a00021.asd
Whole rock; Spot 10.

++++++++++++++++++++++++++++++++++

(ii) Unsorted/<1000 µm powder reflectance spectra

Unsorted powders (made from subsample); i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; repeated shots; ASD 4 [Directories: 220804 Lunar Meteorite Powders; 220808 Lunar Meteorite Powders; 220818; 220818 Mars Meteorite Powders].

NWA 12593-110
PSF 220804a00001.asd
Unsorted powder; shot 1. 

NWA 12593-110
PSF 220804a00002.asd
Unsorted powder; shot 2; repacked and reshot.

NWA 12593-110
PSF 220804a00003.asd
Unsorted powder; shot 3; repacked and reshot.

+++++++++++++

Lahmada 020 (-17)
PSF 220808a00001.asd
Unsorted powder; shot 1 

Lahmada 020 (-17)
PSF 220808a00002.asd
Unsorted powder; shot 2; repacked and reshot. 

Lahmada 020 (-17)
PSF 220808a00003.asd
Unsorted powder; shot 3; repacked and reshot. 

Lahmada 020 (-17)
PSF 220808a00004.asd
Unsorted powder; shot 4; repacked and reshot.
++++++++++++++ 

NWA 11474(-194)
PSF 220808a00005.asd
Unsorted powder; shot 1. 

NWA 11474(-194)
PSF 220808a00006.asd
Unsorted powder; shot 2; repacked and reshot. 

NWA 11474(-194)
PSF 220808a00009.asd
Unsorted powder; shot 3; repacked and reshot. 

NWA 11474(-194)
PSF 220808a00010.asd
Unsorted powder; shot 4; repacked and reshot. 

+++++++++++++

NWA 11303-b (e) 
PSF 220818a00001.asd
Unsorted powder; shot 1. 

NWA 11303-b (e) 
PSF 220818a00002.asd
Unsorted powder; shot 2; repacked and reshot. 

NWA 11303-b (e) 
PSF 220818a00003.asd
Unsorted powder; shot 3; repacked and reshot. 

NWA 11303-b (e) 
PSF 220818a00004.asd
Unsorted powder; shot 4; repacked and reshot. 

+++++++++++++

NWA 11303-b (c) 
PSF 220818a00005.asd
Unsorted powder; shot 1. 

NWA 11303-b (c) 
PSF 220818a00006.asd
Unsorted powder; shot 2; repacked and reshot. 

NWA 11303-b (c) 
PSF 220818a00007.asd
Unsorted powder; shot 3; repacked and reshot. 

NWA 11303-b (c) 
PSF 220818a00008.asd
Unsorted powder; shot 4; repacked and reshot 

+++++++++++++

NWA 7397
PSF 220818b000005.asd
Unsorted powder; shot 1

NWA 7397
PSF 220818b000006.asd
Unsorted powder; shot 2; repacked and reshot.
NWA 7397
PSF 220818b000007.asd
Unsorted powder; shot 3; repacked and reshot.
NWA 7397
PSF 220818b000008.asd
Unsorted powder; shot 4; repacked and reshot.
+++++++

NWA 11182-a
PSF 240129c00001.asd
Saw-cut powder; shot 1

NWA 11182-a
PSF 240129c00002.asd
Saw-cut powder; shot 2

NWA 11182-a
PSF 240129c00003.asd
Saw-cut powder; shot 3

NWA 11182-a
PSF 240129c00004.asd
Saw-cut powder; shot 4

NWA 11182-a
PSF 240129c00005.asd
Saw-cut powder; shot 5

+++++++

NWA 12288 (-b)
PSF 220823a00005.asd
Unsorted powder; shot 1.
NWA 12288 (-b)
PSF 220823a00006.asd
Unsorted powder; shot 2; repacked and reshot.
NWA 12288 (-b)
PSF 220823a00007.asd
Unsorted powder; shot 3; repacked and reshot.
++++++++++++
NWA 11788
PSF 230221b00001.asd
<1000 µm powder; shot 1

NWA 11788
PSF 230221b00002.asd
<1000 µm powder; shot 2; repacked and reshot.
NWA 11788
PSF 230221b00003.asd
<1000 µm powder; shot 3; repacked and reshot.
NWA 11788
PSF 230221b00004.asd
<1000 µm powder; shot 4; repacked and reshot.
NWA 11788
PSF 230221b00005.asd
<1000 µm powder; shot 5; repacked and reshot.
NWA 11788
PSF 230309a00013.asd
<1000 µm powder; spot 2; repacked and reshot.
NWA 11788
PSF 230309a00014.asd
<1000 µm powder; spot 3; repacked and reshot.
NWA 11788
PSF 230309a00015.asd
<1000 µm powder; spot 4; repacked and reshot.
NWA 11788
PSF 230309a00016.asd
<1000 µm powder; spot 5; repacked and reshot.
++++++++++
NWA 11303-b
PSF 230309a00001.asd
<1000 µm powder; shot 1.
NWA 11303-b
PSF 230309a00002.asd
<1000 µm powder; shot 2; repacked and reshot.
NWA 11303-b
PSF 230309a00003.asd
<1000 µm powder; shot 3; repacked and reshot.
NWA 11303-b
PSF 230309a00004.asd
<1000 µm powder; shot 4; repacked and reshot.
NWA 11303-b
PSF 230309a00005.asd
<1000 µm powder; shot 5; repacked and reshot.
+++++++++++

NWA 11303 f
PSF 230309a00006.asd
<1000 µm powder; shot 1.
NWA 11303 f
PSF 230309a00007.asd
<1000 µm powder; shot 2; repacked and reshot.
NWA 11303 f
PSF 230309a00008.asd
<1000 µm powder; shot 3; repacked and reshot.
NWA 11303 f
PSF 230309a00009.asd
<1000 µm powder; shot 4; repacked and reshot.
NWA 11303 f
PSF 230309a00010.asd
<1000 µm powder; shot 5; repacked and reshot.
++++++
NWA 12593
PSF 230523a00001.asd
Unsorted saw-cut powder.

NWA 12593
PSF 230523a00002.asd
Unsorted saw-cut powder, shot 2; repacked and reshot.

NWA 12593
PSF 230523a00003.asd
Unsorted saw-cut powder, shot 3; repacked and reshot.

NWA 12593
PSF 230523a00004.asd
Unsorted saw-cut powder, shot 4; repacked and reshot.

NWA 12593
PSF 230523a00005.asd
Unsorted saw-cut powder, shot 5; repacked and reshot.

NWA 12593
PSF 230523a00006.asd
Unsorted saw-cut powder, shot 6; repacked and reshot.

++++++

NWA 12269
PSF 230712a00001.asd
<1000 µm powder; shot 1.

NWA 12269
PSF 230712a00002.asd
<1000 µm powder; shot 2; repacked and reshot.

NWA 12269
PSF 230712a00003.asd
<1000 µm powder; shot 3; repacked and reshot.

NWA 12269
PSF 230712a00004.asd
<1000 µm powder; shot 4; repacked and reshot.

NWA 12269
PSF 230712a00005.asd
<1000 µm powder; shot 5; repacked and reshot.

++++++

NWA 11303 (a)
PSF 230713a00001.asd
<1000 µm powder; shot 1.

NWA 11303 (a)
PSF 230713a00002.asd
<1000 µm powder; shot 2; repacked and reshot.

NWA 11303 (a)
PSF 230713a00003.asd
<1000 µm powder; shot 3; repacked and reshot.

NWA 11303 (a)
PSF 230713a00004.asd
<1000 µm powder; shot 4; repacked and reshot.

NWA 11303 (a)
PSF 230713a00005.asd
<1000 µm powder; shot 5; repacked and reshot.

++++++
NWA 11303 (d)
PSF 230713a00006.asd
<1000 µm powder; shot 1.

NWA 11303 (d)
PSF 230713a00007.asd
<1000 µm powder; shot 2; repacked and reshot.

NWA 11303 (d)
PSF 230713a00008.asd
<1000 µm powder; shot 3; repacked and reshot.

NWA 11303 (d)
PSF 230713a00009.asd
<1000 µm powder; shot 4; repacked and reshot.

NWA 11303 (d)
PSF 230713a00010.asd
<1000 µm powder; shot 5; repacked and reshot.

++++++

NWA 11303 (e)
PSF 230713a00012.asd
<1000 µm powder; shot 1.

NWA 11303 (e)
PSF 230713a00013.asd
<1000 µm powder; shot 2; repacked and reshot.

NWA 11303 (e)
PSF 230713a00014.asd
<1000 µm powder; shot 3; repacked and reshot.

NWA 11303 (e)
PSF 230713a00015.asd
<1000 µm powder; shot 4; repacked and reshot.

NWA 11303 (e)
PSF 230713a00016.asd
<1000 µm powder; shot 5; repacked and reshot.

++++++

++++++++++++++++++
(iii) Whole-rock iRaman spectra; spots on slabs (images available)

Whole rock, spot on slab; iRaman 532 nm Raman spectrometer; 174-4002 cm-1 range; ~4 cm-1 resolution; variable integration times and number of spectra averaged [Directories: 220622 Lunar Meteorites; 220623 Lunar Meteorites; 220628 Lunar Meteorites; 220712 Lunar Meteorites; 220824 Lunar Meteorites; 220825 Lunar Meteorites; 221117 Lunar Meteorite; 221219 Lunar Meteorite; 230104 Lunar Meteorite; 230105 Lunar and Mars Meteorites; 230221 lunar meteorite powders; 230303 Lunar Meteorite Powders; 230307 Lunar Meteorite Powders; 230310 Lunar Meteorite Powders; 230316 Lunar Meteorite Powders; 230317 Lunar Meteorite Powders].

Lahmada 020
PSF 220622_001_532_Lahmada_020_1.txtr
Spot 1 on slab; 800 msec; 20 spectra averaged.
Lahmada 020
PSF 220622_002_532_Lahmada_020_2.txtr
Spot 2 on slab; 700 msec; 20 spectra averaged.

Lahmada 020
PSF 220622_003_532_Lahmada_020_3.txtr
Spot 3 on slab; 9000 msec; 20 spectra averaged.

Lahmada 020
PSF 220622_004_532_Lahmada_020_4.txtr
Spot 4 on slab; 4000 msec; 20 spectra averaged.

Lahmada 020
PSF 220622_005_532_Lahmada_020_5.txtr
Spot 5 on slab; 2000 msec; 20 spectra averaged.

Lahmada 020
PSF 220622_006_532_Lahmada_020_6.txtr
Spot 6 on slab; 900 msec; 20 spectra averaged.

Lahmada 020
PSF 220622_007_532_Lahmada_020_7.txtr
Spot 7 on slab; 1500 msec; 20 spectra averaged.

Lahmada 020
PSF 220622_008_532_Lahmada_020_8.txtr
Spot 8 on slab; 8000 msec; 20 spectra averaged.

+++++
NWA 11303-e
PSF 220623_001_532_NWA_11303-e_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_002_532_NWA_11303-e_2.txtr
Spot 2 on slab; 300 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_003_532_NWA_11303-e_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_004_532_NWA_11303-e_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_005_532_NWA_11303-e_5.txtr
Spot 5 on slab; 300 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_006_532_NWA_11303-e_6.txtr
Spot 6 on slab; 500 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_007_532_NWA_11303-e_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-e
PSF 220623_008_532_NWA_11303-e_8.txtr
Spot 8 on slab; 1500 msec; 20 spectra averaged.

+++++++
NWA 12593-96
PSF 220623_009_532_NWA_12593-96_1.txtr
Spot 1 on slab; 3000 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_010_532_NWA_12593-96_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_011_532_NWA_12593-96_3.txtr
Spot 3 on slab; 5000 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_012_532_NWA_12593-96_4.txtr
Spot 4 on slab; 2800 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_013_532_NWA_12593-96_5.txtr
Spot 5 on slab; 6000 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_014_532_NWA_12593-96_6.txtr
Spot 6 on slab; 4700 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_015_532_NWA_12593-96_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 12593-96
PSF 220623_016_532_NWA_12593-96_8.txtr
Spot 8 on slab; 3000 msec; 20 spectra averaged.

++++++

NWA 12593-110
PSF 220623_017_532_NWA_12593-110_1.txtr
Spot 1 on slab; 400 msec; 20 spectra averaged.

NWA 12593-110
PSF 220623_018_532_NWA_12593-110_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 12593-110
PSF 220628_001_532_NWA_12593-110_3.txtr
Spot 3 on slab; 2000 msec; 20 spectra averaged.

NWA 12593-110
PSF 220628_002_532_NWA_12593-110_4.txtr
Spot 4 on slab; 2000 msec; 20 spectra averaged.

NWA 12593-110
PSF 220628_003_532_NWA_12593-110_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

NWA 12593-110
PSF 220628_004_532_NWA_12593-110_6.txtr
Spot 63 on slab; 3000 msec; 20 spectra averaged.

NWA 12593-110
PSF 220628_005_532_NWA_12593-110_7.txtr
Spot 7 on slab; 800 msec; 20 spectra averaged.

NWA 12593-110
PSF 220628_006_532_NWA_12593-110_8.txtr
Spot 8 on slab; 800 msec; 20 spectra averaged.
++++++
NWA 11474
PSF 220628_007_532_NWA_11474_1.txtr
Spot 1 on slab; 1000 msec; 20 spectra averaged.

NWA 11474
PSF 220628_008_532_NWA_11474_2.txtr
Spot 2 on slab; 3000 msec; 20 spectra averaged.

NWA 11474
PSF 220628_009_532_NWA_11474_3.txtr
Spot3 on slab; 3700 msec; 20 spectra averaged.

NWA 11474
PSF 220628_010_532_NWA_11474_4.txtr
Spot4 on slab; 10000 msec; 20 spectra averaged.

NWA 11474
PSF 220628_011_532_NWA_11474_5.txtr
Spot 5 on slab; 700 msec; 20 spectra averaged.

NWA 11474
PSF 220628_012_532_NWA_11474_6.txtr
Spot 6 on slab; 700 msec; 20 spectra averaged.

NWA 11474
PSF 220628_013_532_NWA_11474_7.txtr
Spot 7 on slab; 4500 msec; 20 spectra averaged.

NWA 11474
PSF 220628_014_532_NWA_11474_8.txtr
Spot 8 on slab; 8000 msec; 20 spectra averaged.

++++++

NWA 8277-a
PSF 220628_015_532_NWA_8277-a_1.txtr
Spot 1 on slab; 350 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_016_532_NWA_8277-a_2.txtr
Spot 2 on slab; 250 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_017_532_NWA_8277-a_3.txtr
Spot 3 on slab; 1400 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_018_532_NWA_8277-a_4.txtr
Spot 4 on slab; 600 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_019_532_NWA_8277-a_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_020_532_NWA_8277-a_6.txtr
Spot 6 on slab; 5000 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_021_532_NWA_8277-a_7.txtr
Spot 7 on slab; 200 msec; 20 spectra averaged.

NWA 8277-a
PSF 220628_022_532_NWA_8277-a_8.txtr
Spot 8 on slab; 900 msec; 20 spectra averaged.

++++++
NWA 11303-c
PSF 220712_001_532_NWA_11303-c_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-c
PSF 220712_002_532_NWA_11303-c_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-c
PSF 220712_003_532_NWA_11303-c_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-c
PSF 220712_004_532_NWA_11303-c_4.txtr
Spot 4 on slab; 2000 msec; 20 spectra averaged.

NWA 11303-c
PSF 220712_005_532_NWA_11303-c_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-c
PSF 220712_006_532_NWA_11303-c_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

++++++
NWA 11303-b
PSF 220824_001_532_NWA_11303-b_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_002_532_NWA_11303-b_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_003_532_NWA_11303-b_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_004_532_NWA_11303-b_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_005_532_NWA_11303-b_5.txtr
Spot 5 on slab; 130 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_006_532_NWA_11303-b_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_007_532_NWA_11303-b_7.txtr
Spot 7 on slab; 1300 msec; 20 spectra averaged.

NWA 11303-b
PSF 220824_008_532_NWA_11303-b_8.txtr
Spot 8 on slab; 1500 msec; 20 spectra averaged.

++++++
NWA 11303-b
PSF 220825_001_532_NWA_11303-b_1.txtr
Spot 1 on slab; 600 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_002_532_NWA_11303-b_2.txtr
Spot 1 on slab; 2000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_003_532_NWA_11303-b_3.txtr
Spot 1 on slab; 1500 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_004_532_NWA_11303-b_4.txtr
Spot 1 on slab; 7000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_005_532_NWA_11303-b_5.txtr
Spot 1 on slab; 2500 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_006_532_NWA_11303-b_6.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_007_532_NWA_11303-b_7.txtr
Spot 7 on slab; 3000 msec; 20 spectra averaged.

NWA 11303-b
PSF 220825_008_532_NWA_11303-b_8.txtr
Spot 8 on slab; 3000 msec; 20 spectra averaged.

++++++
NWA 11228
PSF 220825_009_532_NWA_11228_1.txtr
Spot 1 on slab; 2000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_010_532_NWA_11228_2.txtr
Spot 2 on slab; 6000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_011_532_NWA_11228_3.txtr
Spot 3 on slab; 9000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_012_532_NWA_11228_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_013_532_NWA_11228_5.txtr
Spot 5 on slab; 5000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_014_532_NWA_11228_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_015_532_NWA_11228_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 220825_016_532_NWA_11228_8.txtr
Spot 8 on slab; 10000 msec; 20 spectra averaged.

+++
NWA 11228
PSF 221219_001_532_NWA_11228_1.txtr
Spot 1 on slab; 6000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_002_532_NWA_11228_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_003_532_NWA_11228_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_004_532_NWA_11228_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_005_532_NWA_11228_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_006_532_NWA_11228_6.txtr
Spot 6 on slab; 8000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_007_532_NWA_11228_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_008_532_NWA_11228_8.txtr
Spot 8 on slab; 5000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_009_532_NWA_11228_9.txtr
Spot 9 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_010_532_NWA_11228_10.txtr
Spot 10 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_011_532_NWA_11228_11.txtr
Spot 11 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_012_532_NWA_11228_12.txtr
Spot 12 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_013_532_NWA_11228_13.txtr
Spot 13 on slab; 10000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_014_532_NWA_11228_14.txtr
Spot 14 on slab; 3000 msec; 20 spectra averaged.

NWA 11228
PSF 221219_015_532_NWA_11228_15.txtr
Spot 15 on slab;10000 msec; 20 spectra averaged.

+++++++++

NWA 11788
PSF 221117_001_532_NWA_11788_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 11788
PSF 221117_001_532_NWA_11788_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 11788
PSF 221117_001_532_NWA_11788_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 11788
PSF 221117_002_532_NWA_11788_1.txtr
Slab, spot 2; 1500 msec; 20 spectra averaged.

NWA 11788
PSF 221117_003_532_NWA_11788_1.txtr
Slab, spot 3; 1400 msec; 1 spectra averaged.

NWA 11788
PSF 221117_004_532_NWA_11788_1.txtr
Slab, spot 4; 450 msec; 20 spectra averaged.

NWA 11788
PSF 221117_005_532_NWA_11788_1.txtr
Slab, spot 5; 500 msec; 20 spectra averaged.

NWA 11788
PSF 221117_006_532_NWA_11788_1.txtr
Slab, spot 6; 300 msec; 20 spectra averaged.

NWA 11788
PSF 221117_007_532_NWA_11788_1.txtr
Slab, spot 7; 4500 msec; 20 spectra averaged.

NWA 11788
PSF 221117_008_532_NWA_11788_1.txtr
Slab, spot 8; 350 msec; 20 spectra averaged.

NWA 11788
PSF 221117_009_532_NWA_11788_1.txtr
Slab, spot 9; 10000 msec; 20 spectra averaged.

NWA 11788
PSF 221117_010_532_NWA_11788_1.txtr
Slab, spot 10; 10000 msec; 20 spectra averaged.

+++++++++
NWA 11303(f)
PSF 230104_001_532_NWA_11303(f)_1.txtr
Spot 1 on slab; 3000 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_002_532_NWA_11303(f)_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_003_532_NWA_11303(f)_3.txtr
Spot 3 on slab; 4500 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_004_532_NWA_11303(f)_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_005_532_NWA_11303(f)_5.txtr
Spot 5 on slab; 3000 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_006_532_NWA_11303(f)_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_007_532_NWA_11303(f)_7.txtr
Spot 7 on slab; 6000 msec; 20 spectra averaged.

NWA 11303(f)
PSF 230104_008_532_NWA_11303(f)_8.txtr
Spot 8 on slab; 4000 msec; 20 spectra averaged.

+++++++++++
NWA 11303-a
PSF 230104_001_532_NWA_11303-a_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230104_002_532_NWA_11303-a_2.txtr
Spot 2 on slab; 2000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230104_003_532_NWA_11303-a_3.txtr
Spot 3 on slab; 4000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230104_004_532_NWA_11303-a_4.txtr
Spot 4 on slab; 550 msec; 20 spectra averaged.

NWA 11303-a
PSF 230104_005_532_NWA_11303-a_5.txtr
Spot 5 on slab; 4000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230104_006_532_NWA_11303-a_6.txtr
Spot 6 on slab; 1000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230104_007_532_NWA_11303-a_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230105_001_532_NWA_11303-a_8.txtr
Spot 8 on slab; 2000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230105_002_532_NWA_11303-a_9.txtr
Spot 9 on slab; 10000 msec; 20 spectra averaged.

NWA 11303-a
PSF 230105_0013532_NWA_11303-a_10.txtr
Spot 10 on slab; 10000 msec; 20 spectra averaged.

++++++++++++++++
Powders – iRaman 532; 174-4002 cm-1; 4 cm-1 resolution.

NWA 11228
PSF 230221_001_532_NWA_11228_Dremel_Spot1.txtr
Dremelled powder, spot 1; 15000 msec; 40 averaged.

NWA 11228
PSF 230221_002_532_NWA_11228_Dremel_Spot2.txtr
Dremelled powder, spot 2; 15000 msec; 40 averaged.

NWA 11228
PSF 230221_003_532_NWA_11228_Dremel_Spot3.txtr
Dremelled powder, spot 3; 15000 msec; 40 averaged.

NWA 11228
PSF 230221_004_532_NWA_11228_Dremel_Spot4.txtr
Dremelled powder, spot 4; 15000 msec; 40 averaged.

NWA 11228
PSF 230221_005_532_NWA_11228_Dremel_Spot5.txtr
Dremelled powder, spot 5; 15000 msec; 40 averaged.

++++++++++
NWA 12593-110
PSF 230303_001_532_NWA_12593-110_1.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 12593-110
PSF 230303_002_532_NWA_12593-110_1.txtr
<150 µm powder, shot 2; 10000 msec; 20 averaged.

NWA 12593-110
PSF 230303_003_532_NWA_12593-110_1.txtr
<150 µm powder, shot 3; 10000 msec; 20 averaged.

NWA 12593-110
PSF 230303_004_532_NWA_12593-110_1.txtr
<150 µm powder, shot 4; 10000 msec; 20 averaged.

NWA 12593-110
PSF 230303_005_532_NWA_12593-110_1.txtr
<150 µm powder, shot 5; 10000 msec; 20 averaged.

++++++++++

NWA 11474(-194)
PSF 230303_006_532_NWA_11474(-194)_1.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 11474(-194)
PSF 230303_007_532_NWA_11474(-194)_2.txtr
<150 µm powder, shot 2; 10000 msec; 20 averaged.

NWA 11474(-194)
PSF 230303_008_532_NWA_11474(-194)_3.txtr
<150 µm powder, shot 3; 10000 msec; 20 averaged.

NWA 11474(-194)
PSF 230303_009_532_NWA_11474(-194)_4.txtr
<150 µm powder, shot 4; 10000 msec; 20 averaged.

NWA 11474(-194)
PSF 230303_010_532_NWA_11474(-194)_5.txtr
<150 µm powder, shot 5; 10000 msec; 20 averaged.

+++++++++++++

NWA 11303-b
PSF 230307_001_532_NWA_11303-b_1.txtr
dremelled powder, shot 1; 9000 msec; 20 averaged.

NWA 11303-b
PSF 230307_002_532_NWA_11303-b_2.txtr
dremelled powder, shot 2; 10000 msec; 20 averaged.

NWA 11303-b
PSF 230307_003_532_NWA_11303-b_3.txtr
dremelled powder, shot 3; 10000 msec; 20 averaged.

NWA 11303-b
PSF 230307_004_532_NWA_11303-b_4.txtr
dremelled powder, shot 4; 8900 msec; 20 averaged.

NWA 11303-b
PSF 230307_005_532_NWA_11303-b_5.txtr
dremelled powder, shot 5; 8900 msec; 20 averaged.

+++++++++++++

NWA 11303-c
PSF 230307_006_532_NWA_11303-c_1.txtr
dremelled powder, shot 1; 10000 msec; 20 averaged.

NWA 11303-c
PSF 230307_007_532_NWA_11303-c_2.txtr
dremelled powder, shot 2; 10000 msec; 20 averaged.

NWA 11303-c
PSF 230307_008_532_NWA_11303-c_3.txtr
dremelled powder, shot 3; 10000 msec; 20 averaged.

NWA 11303-c
PSF 230307_009_532_NWA_11303-c_4.txtr
dremelled powder, shot 4; 10000 msec; 20 averaged.

NWA 11303-c
PSF 230307_010_532_NWA_11303-c_5.txtr
dremelled powder, shot 5; 10000 msec; 20 averaged.

++++++++++++
NWA 11303-b
PSF 230310_001_532_NWA_11303-b_1.txtr
<150 µm powder, shot 1; 7500 msec; 20 averaged.

NWA 11303-b
PSF 230310_002_532_NWA_11303-b_1.txtr
<150 µm powder, shot 2; 9000 msec; 20 averaged.

NWA 11303-b
PSF 230310_003_532_NWA_11303-b_1.txtr
<150 µm powder, shot 3; 6500 msec; 20 averaged.

NWA 11303-b
PSF 230310_004_532_NWA_11303-b_1.txtr
<150 µm powder, shot 4; 6200 msec; 20 averaged.

NWA 11303-b
PSF 230310_005_532_NWA_11303-b_1.txtr
<150 µm powder, shot 5; 4800 msec; 20 averaged.

+++++++++++
NWA 11303-f
PSF 230310_006_532_NWA_11303-f_1.txtr
<150 µm powder, shot 1; 860 msec; 20 averaged.

NWA 11303-f
PSF 230310_007_532_NWA_11303-f_2.txtr
<150 µm powder, shot 1; 3600 msec; 20 averaged.

NWA 11303-f
PSF 230310_008_532_NWA_11303-f_3.txtr
<150 µm powder, shot 1; 3600 msec; 20 averaged.

NWA 11303-f
PSF 230310_009_532_NWA_11303-f_4.txtr
<150 µm powder, shot 1; 4000 msec; 20 averaged.

NWA 11303-f
PSF 230310_010_532_NWA_11303-f_5.txtr
<150 µm powder, shot 1; 3000 msec; 20 averaged.

++++++++++++

NWA 11788
PSF 230316_006_532_NWA_11788_1.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 11788
PSF 230316_007_532_NWA_11788_2.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 11788
PSF 230316_008_532_NWA_11788_3.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 11788
PSF 230316_009_532_NWA_11788_4.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 11788
PSF 230316_010_532_NWA_11788_5.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

++++++++++++++

Lahmada 020
PSF 230317_001_532_Lahmada020_1.txtr
<150 µm powder, shot 1; 2800 msec; 20 averaged.

Lahmada 020
PSF 230317_002_532_Lahmada020_2.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

Lahmada 020
PSF 230317_003_532_Lahmada020_3.txtr
<150 µm powder, shot 1; 4000 msec; 20 averaged.

Lahmada 020
PSF 230317_004_532_Lahmada020_4.txtr
<150 µm powder, shot 1; 680 msec; 20 averaged.

Lahmada 020
PSF 230317_005_532_Lahmada020_5.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

+++++++++

(x) Raman reflectance spectra: new lunar meteorites: slabs and powders

BWTek iRaman 532 nm: 174-4002 cm-1 wavelength range; ~4 cm-1 spectral resolution [Directories: 231129 Lunar Meteorites; 231204 Lunar Meteorites; 231206 Lunar Meteorites; 240207 Lunar Meteorite Powder; 240202 Lunar Meteorite Powders; 231112 Lunar Meterite Powders].
Gadamis 004
PSF 231129_001_532_Gadamis_004_1.txtr
Spot 1 on slab; 900 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_002_532_Gadamis_004_2.txtr
Spot 2 on slab; 400 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_003_532_Gadamis_004_3.txtr
Spot 3 on slab; 5000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_004_532_Gadamis_004_4.txtr
Spot 4 on slab; 1400 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_005_532_Gadamis_004_5.txtr
Spot 5 on slab; 1300 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_006_532_Gadamis_004_6.txtr
Spot 6 on slab; 9000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_007_532_Gadamis_004_7.txtr
Spot 7 on slab; 300 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_008_532_Gadamis_004_8.txtr
Spot 8 on slab; 9000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_009_532_Gadamis_004_9.txtr
Spot 9 on slab; 1400 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 231129_010_532_Gadamis_004_10.txtr
Spot 10 on slab; 800 msec integr. Time; 20 spectra avgd.

+++++
Gadamis 004
PSF 240202_006_532_Gadamis004_1.txtr
Spot 1 on <106 µm powder; 15000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 240202_007_532_Gadamis004_2.txtr
Spot 2 on <106 µm powder; 10000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 240202_008_532_Gadamis004_3.txtr
Spot 3 on <106 µm powder; 6000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 240202_009_532_Gadamis004_4.txtr
Spot 4 on <106 µm powder; 6000 msec integr. Time; 20 spectra avgd.

Gadamis 004
PSF 240202_010_532_Gadamis004_5.txtr
Spot 5 on <106 µm powder; 6000 msec integr. Time; 20 spectra avgd.

++++++++++++

NWA 10401
PSF 231129_011_532_NWA_10401_1.txtr
Spot 1 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_012_532_NWA_10401_2.txtr
Spot 2 on slab; 6000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_013_532_NWA_10401_3.txtr
Spot 3 on slab; 4000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_014_532_NWA_10401_4.txtr
Spot 4 on slab;3500 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_015_532_NWA_10401_5.txtr
Spot 5 on slab; 3000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_016_532_NWA_10401_6.txtr
Spot 6 on slab; 3000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_017_532_NWA_10401_7.txtr
Spot 7 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_018_532_NWA_10401_8.txtr
Spot 8 on slab; 2000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_019_532_NWA_10401_9.txtr
Spot 9 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 231129_020_532_NWA_10401_10.txtr
Spot 10 on slab; 10000 msec integr. time; 20 spectra avgd.

++++++

NWA 10401
PSF 240202_011_532_NWA10401_1.txtr
Spot 1 on <150 µm powder; 15000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 240202_012_532_NWA10401_2.txtr
Spot 2 on <150 µm powder; 15000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 240202_013_532_NWA10401_3.txtr
Spot 3 on <150 µm powder; 15000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 240202_014_532_NWA10401_4.txtr
Spot 4 on <150 µm powder; 15000 msec integr. Time; 20 spectra avgd.

NWA 10401
PSF 240202_015_532_NWA10401_5.txtr
Spot 5 on <150 µm powder; 15000 msec integr. Time; 20 spectra avgd.

++++++++

NWA 11182-b
PSF 231204_001_532_NWA_11182-b_1.txtr
Spot 1 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_002_532_NWA_11182-b_2.txtr
Spot 2 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_003_532_NWA_11182-b_3.txtr
Spot 3 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_004_532_NWA_11182-b_4.txtr
Spot 4 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_005_532_NWA_11182-b_5.txtr
Spot 5 on slab; 1500 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_006_532_NWA_11182-b_6.txtr
Spot 6 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_007_532_NWA_11182-b_7.txtr
Spot 7 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_008_532_NWA_11182-b_8.txtr
Spot 8 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_009_532_NWA_11182-b_9.txtr
Spot 9 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 231204_010_532_NWA_11182-b_10.txtr
Spot 10 on slab; 7000 msec integr. Time; 20 spectra avgd.

+++++

NWA 11182-b
PSF 240207_001_532_NWA_11182-b_1.txtr
Spot 1 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 240207_002_532_NWA_11182-b_2.txtr
Spot 2 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 240207_003_532_NWA_11182-b_3.txtr
Spot 3 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 240207_004_532_NWA_11182-b_4.txtr
Spot 4 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-b
PSF 240207_005_532_NWA_11182-b_5.txtr
Spot 5 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

+++++
NWA 11182-a
PSF 231112_001_532_NWA_11182-a_1.txtr
Spot 1 on saw-cut powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-a
PSF 231112_002_532_NWA_11182-a_2.txtr
Spot 2 on saw-cut powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-a
PSF 231112_003_532_NWA_11182-a_3.txtr
Spot 3 on saw-cut powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-a
PSF 231112_004_532_NWA_11182-a_4.txtr
Spot 4 on saw-cut powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 11182-a
PSF 231112_005_532_NWA_11182-a_5.txtr
Spot 5 on saw-cut powder; 10000 msec integr. Time; 20 spectra avgd.

++++++++
NWA 13788
PSF 231206_001_532_NWA_13788_1.txtr
Spot 1 on slab; 190 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_002_532_NWA_13788_2.txtr
Spot 2 on slab; 5000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_003_532_NWA_13788_3.txtr
Spot 3 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_004_532_NWA_13788_4.txtr
Spot 4 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_005_532_NWA_13788_5.txtr
Spot 5 on slab; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_006_532_NWA_13788_6.txtr
Spot 6 on slab; 6000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_007_532_NWA_13788_7.txtr
Spot 7 on slab; 4000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_008_532_NWA_13788_8.txtr
Spot 8 on slab; 4000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_009_532_NWA_13788_9.txtr
Spot 9 on slab; 4000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 231206_0010_532_NWA_13788_10.txtr
Spot 10 on slab; 390 msec integr. Time; 20 spectra avgd.

++++
NWA 13788
PSF 240202_001_532_NWA_13788_1.txtr
Spot 1 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 240202_002_532_NWA_13788_2.txtr
Spot 2 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 240202_003_532_NWA_13788_3.txtr
Spot 3 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 240202_004_532_NWA_13788_4.txtr
Spot 4 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

NWA 13788
PSF 240202_005_532_NWA_13788_5.txtr
Spot 5 on <150 µm powder; 10000 msec integr. Time; 20 spectra avgd.

+++++++++

++++++++++++++++++++++++++++++++++++
13d. Spectral Data - Lunar Samples, Analogues, and Glasses 

13.2.d.  Spectral Data - Lunar Analogue Mixtures and Synthetic Glasses
Sample
Facility/File No.  
Description







ILM101
RELAB C1SC34
45-90µm, 30/0, 0.3-2.6µm, 5nm.

PYX036
RELAB C1SC35
45-90µm, 30/0, 0.3-2.6µm, 5nm.

PYX032
RELAB C1SC36
45-90µm, 30/0, 0.3-2.6µm, 5nm.

PLG108
RELAB C1SC37
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G1
RELAB C1SC32
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB1
RELAB C1SC31
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF1
RELAB C1SC33
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB2
RELAB C1SC38
<45 & 45-90µm mixture, 30/0, 0.3-2.6µm, 5nm.

GF2
RELAB C1SC39
<45 & 45-90µm mixture, 30/0, 0.3-2.6µm, 5nm.

G3
RELAB C1SC62
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB3
RELAB C1SC58
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF3
RELAB C1SC55
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G4
RELAB C1SC61
45-90µm, 30/0, 0.3-2.6µm, 5 nm.

GB4
RELAB C1SC59
<45 & 45-90µm mixture, 30/0, 0.3-2.6µm, 5nm.

GB5
RELAB C1SC56
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB6
RELAB C1SC57
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB7
RELAB C1SC60
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G8
RELAB C1SC41
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB8
RELAB C1SC40
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF8
RELAB C1SC42
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G9
RELAB C1SC44
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB9
RELAB C1SC43
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF9
RELAB C1SC45
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G10
RELAB C1SC47
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB10
RELAB C1SC46
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF10
RELAB C1SC48
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G11
RELAB C1SC50
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB11
RELAB C1SC49
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF11
RELAB C1SC51
45-90µm, 30/0, 0.3-2.6µm, 5nm.

G12
RELAB C1SC53
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GB12
RELAB C1SC52
45-90µm, 30/0, 0.3-2.6µm, 5nm.

GF12
RELAB C1SC54
45-90µm, 30/0, 0.3-2.6µm, 5nm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
13.2.d.1.  Lunar Analogue Mixtures and Synthetic Glasses – Polynomial (Quadratic) Fits to Absorption Bands
Equation y=a+bx+cx2..  Differentiate & solve for x at y=0 i.e. 0=-b+2cx, b=2cx. 

Band depth, solve for y (if normalized only)

Sample

Polyn. Coeff's

Band 
Band 
Compil.    Channels



a
  b
c
"Min."(µm)
Depth (%)  & File#
Fitted
BAND I
PYX036

3.902
-7.508 
3.681
1.020

brown3a-69
136-154

PYX032

3.016
-6.429 
3.490
0.921

brown3a-71
111-129

PYX032/s.l.c

14.78
-31.11 
16.65
0.934
75.2
brown3a132
115-145

PLG108

3.503
-4.612 
1.824
1.264

brown3a-73
181-199

GB1

16.41
-33.68 
18.19
0.926

brown3a-65

GB1/s.l.

14.83
-30.47 
16.29
0.9352
41.8
lundat2-195

GB1/s.l.c

13.75
-28.15 
15.01
0.938
44.8
brown3a-128115-145

GB1/G1

16.28
-33.73 
18.25
0.9241
30.5
lundat2-197

GB1/G1d

16.92
-35.08 
18.96
0.925

brown3a-190

GB1/G1ne

12.52
-25.70 
13.85
0.928

brown3a-141117-137

GF1

2.949
-6.134 
3.316
0.925

brown3a-67
116-134

GF1/s.l.

16.37
-34.00 
18.18
0.9351
52.7
lundat2-196

GF1/s.l.c

14.30
-29.59 
15.79
0.937
56.3
brown3a-13065-95

GF1/G1d

16.70
-35.03 
18.93
0.925

brown3a-193

GB2

1.876
-3.696 
2.001
0.924

brown3a-74
116-134

GB2/s.l.c

9.527
-18.87 
10.07
0.937
31.3
brown3a-134115-145

GB2/s.l.

10.61
-21.12 
11.28
0.9362
27.6
lundat2-198

GB2/G1

9.583
-19.08 
10.28
0.9280
31.5
lundat2-199

GB2/G1d

13.79
-27.58 
14.83
0.930

brown3a-194

GF2

3.487
-7.032 
3.795
0.926

brown3a-76
116-134

GF2/s.l.

12.65
-25.62 
13.66
0.9378
36.3
lundat2-200

GF2/s.l.c

11.49
-23.18 
12.35
0.938
38.7
brown3a-136115-145

GF2/G1d

13.90
-28.36 
15.27
0.929

brown3a-195

GF3

4.210
-8.868 
4.804
0.9230

lundat2-205

GB3

1.487
-3.058 
1.659
0.922

brown3a-82
116-134

GB3/G3

12.30
-25.23 
13.61
0.9269

lundat2-215

GB3/s.l.

13.14
-26.93 
14.39
0.9357

lundat2-216

GB3/s.l.c

12.73
-26.03 
13.90
0.936
45.6
brown3a-142115-145

GF3/s.l.

15.55
-32.26 
17.21
0.9372

lundat2-217

GB4

1.113
-2.233 
1.238
0.902

brown3a-84
113-129

GB4/s.l.

7.655
-14.31 
7.481
0.9564

lundat2-224

GB4/s.l.c

7.794
-14.67 
7.685
0.954
20.7
brown3a-144115-145

GB4/G1d

7.021
-13.32 
7.365
0.904

brown3a-196

GB5

.8610
-1.753 
.9535
0.919

brown3a-78
116-134

GB5/G1

11.45
-23.22 
12.57
0.9236

lundat2-218

GB5/G1d

14.97
-30.47 
16.45
0.926

brown3a-191

GB5/s.l.

11.35
-22.83 
12.17
0.9380

lundat2-219

GB5/s.l.c

10.19
-20.37 
10.86
0.938
36.2
brown3a-138115-145

GB6

.3917
-.7637 
.4158   
0.918

brown3a-80
116-134

GB6/G1

7.082
-13.69 
7.435
0.9206

lundat2-220

GB6/G1d

9.592
-18.66 
10.10
0.924

brown3a-192

GB6/s.l.

7.524
-14.47 
7.653
0.9454

lundat2-221

GB6/s.l.a

8.230
-15.83 
8.333
0.9498

brown3a-157

GB6/s.l.b

7.496
-14.42 
7.636
0.9442

brown3a-161

GB6/s.l.c

8.041
-15.49 
8.167
0.948
30.4
brown3a-140115-145

GB7

.9077
-1.831 
.9903
0.924

brown3a-86
116-134

GB7/G4

11.23
-22.76 
12.34
0.9222

lundat2-222

GB7/s.l.

11.46
-22.99 
12.24
0.9391

lundat2-223

GB7/s.l.c

10.79
-21.60 
11.48
0.941
37.0
brown3a-146115-145

GB8

1.680
-3.458 
1.872
0.9236

lundat2-195

GB8/G8

16.39
-33.74 
18.30
0.9219
16.2
lundat2-201

GB8/s.l.

13.94
-28.41 
15.24
0.9321
30.0
lundat2-202

GF8

2.648
-5.519 
2.992
0.9223

lundat2-196

GF8/s.l.

16.41
-33.82 
18.14
0.9322
35.3
lundat2-203

GB9

2.469
-4.753 
2.432
0.9772

lundat2-197

GB9/G9

5.871
-10.80 
5.663
0.9536
27.8
lundat2-204

GB9/s.l.

10.95
-20.98 
10.68
0.9822
35.3
lundat2-205

GF9

3.931
-7.644 
3.910
0.9775

lundat2-198

GF9/s.l.

11.32
-21.87 
11.12
0.9834
43.3
lundat2-206

GB10

2.611
-5.511 
2.982
0.9240

lundat2-199

GB10/G10

24.51
-51.66 
27.93
0.9248

lundat2-207

GB10/s.l.

17.46
-36.41 
19.48
0.9345

lundat2-208

GF10

3.656
-7.761 
4.207
0.9224

lundat2-200

GF10/s.l.

16.87
-35.31 
18.89
0.9346

lundat2-209

GB11

2.422
-4.889 
2.645
0.9242

lundat2-201

GB11/G11

8.560
-17.07 
9.129
0.9349

lundat2-210

GB11/s.l.

11.36
-22.62 
12.06
0.9378

lundat2-211

GF11

4.049
-8.329 
4.503
0.9248

lundat2-202

GF11/s.l.

13.49
-27.42 
14.64
0.9365

lundat2-213

GB12

2.656
-5.000 
2.460
1.0163

lundat2-203

GB12/G12

8.952
-18.28 
10.05
0.9095

lundat2-212

GB12/s.l.

12.94
-23.87 
11.45
1.0424

lundat2-213

GF12

3.892
-7.391 
3.623
1.0200

lundat2-204

GF12/s.l.

15.27
-28.55 
13.74
1.0389

lundat2-214Fitted
BAND II
PYX036

5.890
-4.930 
1.072
2.299

brown3a-70
136-154

PYX032

2.941
-2.929 
.7512
1.950

brown3a-72
66-84

PYX032/s.l.c

6.017
-5.906 
1.491
1.981

brown3a-13370-100

GB1

20.08
-19.60 
5.086
1.927 

brown3a-66
66-84

GB1/s.l.

9.144
-8.743 
2.212
1.9763

lundat2-195

GB1/s.l.c

8.219
-7.848 
1.987
1.975

brown3a-12965-95

GB1/G1d

6.550
-5.995 
1.467
2.043

brown3a-197

GB1/G1ne

5.895
-5.402 
1.320
2.046

brown3a-14285-110

GB1/G1

6.017
-5.480 
1.343
2.0402

lundat2-197

GF1

3.548
-3.499 
.8990
1.946

brown3a-68
61-84

GF1/s.l.

7.506
-7.211 
1.813
1.9887

lundat2-196

GF1/s.l.c

6.088
-5.806 
1.458
1.991

brown3a-13165-95

GF1/G1d

5.605
-5.240 
1.286
2.037

brown3a-200

GB2

1.343
-1.193 
.3107
1.920

brown3a-75
66-84

GB2/s.l.

6.823
-6.263 
1.577
1.9857

lundat2-198

GB2/s.l.c

6.382
-5.837 
1.468
1.988

brown3a-13570-100

GB2/G1

3.789
-3.224 
.7556
2.1334

lundat2-199

GB2/G1d

4.935
-4.189 
.9810
2.135

brown3a-201

GF2

3.592
-3.404 
.8671
1.963

brown3a-77
66-84

GF2/s.l.

6.968
-6.482 
1.613
2.0093

lundat2-200

GF2/s.l.c

6.559
-6.102 
1.519
2.009

brown3a-13770-100

GF2/G1d

4.729
-4.184 
.9934
2.106

brown3a-202

GB3

2.473
-2.433 
.6293
1.933

brown3a-83
66-84

GB3/G3

5.831
-5.415 
1.340
2.0205

lundat2-217

GB3/s.l.

8.814
-8.425 
2.126
1.9814

lundat2-218

GB3/s.l.c

8.080
-7.686 
1.942
1.979

brown3a-14370-100

GF3

3.331
-3.267 
.8392
1.9465

lundat2-216

GF3/s.l.

6.616
-6.361 
1.597
1.9915

lundat2-219

GB4

.6947
-.9638 
.2613  
1.844

brown3a-85
46-64

GB4/s.l.

6.744
-5.977 
1.491
2.0044

lundat2-226

GB4/s.l.c

6.124
-5.380 
1.343
2.003

brown3a-14570-100

GB4/G1d

4.210
-3.108 
.6954
2.235 

brown3a-203

GB5

1.221
-1.187 
.3112
1.907

brown3a-79
56-79

GB5/G1

4.562
-3.962 
.9685
2.0454

lundat2-220

GB5/G1d

5.801
-5.083 
1.242
2.046

brown3a-198

GB5/s.l.

10.06
-9.608 
2.452
1.9592

lundat2-221

GB5/s.l.c

8.422
-7.974 
2.043
1.952

brown3a-13970-100

GB6

.5239
-.4923 
.1352
1.821

brown3a-81
41-59

GB6/G1d

4.009
-3.126 
.7615
2.053

brown3a-199

GB6/G1

2.752
-2.055 
.5009
2.0513

lundat2-222

GB6/s.l.

7.139
-6.578 
1.707
1.9268

lundat2-223

GB6/s.l.a

10.33
-9.800 
2.518
1.9460

brown3a-159

GB6/s.l.c

9.269
-8.739 
2.254
1.939

brown3a-14170-100

GB7

1.233
-1.194 
.3138
1.902

brown3a-87
56-74

GB7/G4

5.580
-4.921 
1.201
2.0487

lundat2-224

GB7/s.l.

9.195
-8.692 
2.213
1.9638

lundat2-225

GB8

1.480
-1.426 
.3678
1.9386

lundat2-206

GB8/G8

9.544
-8.706 
2.157
2.0181

lundat2-201

GB8/s.l.

9.446
-8.968 
2.272
1.9736

lundat2-202

GF8

2.136
-2.065 
.5295
1.9500

lundat2-207

GF8/s.l.

9.342
-8.897 
2.238
1.9877

lundat2-203

GB9

2.042
-1.873 
.4823
1.9417

lundat2-208

GB9/G9

8.549
-7.625 
1.905
2.0013

lundat2-204

GB9/s.l.

8.142
-7.458 
1.895
1.9678

lundat2-205

GF9

3.590
-3.377 
.8673
1.9468

lundat2-209

GF9/s.l.

8.787
-8.163 
2.061
1.9803

lundat2-206

GB10

2.191
-2.159 
.5552
1.9443

lundat2-210

GB10/G10

12.57
-12.10 
3.046
1.9862

lundat2-207

GB10/s.l.

8.767
-8.505 
2.147
1.9807

lundat2-208

GF10

2.971
-2.935 
.7525
1.9502

lundat2-211

GF10/s.l.

7.227
-7.034
1.770
1.9870

lundat2-209

GB11

2.429
-2.312 
.6022
1.9196

lundat2-212

GB11/G11

3.097
-2.673 
.6336
2.1094

lundat2-210

GB11/s.l.

8.801
-8.240 
2.090
1.9713

lundat2-211

GF11

3.657
-3.521 
.9044
1.9466

lundat2-213

GF11/s.l.

8.741
-8.284 
2.085
1.9866

lundat2-212

GB12

3.075
-2.506 
.5558
2.2544

lundat2-214

GB12/G12

8.810
-7.052 
1.484
2.3760

lundat2-214

GB12/s.l.

7.067
-5.613 
1.194
2.3505

lundat2-215

GF12

4.774
-3.941 
.8574
2.2982

lundat2-215

GF12/s.l.

8.334
-6.743 
1.429
2.3593

lundat2-216

Notes: s.l.= straight line continuum (sample divided by s.l. continuum); / = line of division; a : Straight line continuum pinned at 0.975µm; b : Straight line continuum pinned at 0.4µm; c,d : Discrete data run; e : Spectrum divided by second spectrum "normalized" to first; Band I = major absorption band near 1µm; Band II = major absorption band near 2µm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
13.4. Lunar meteorite NWA 11444

NWA 11444
PSF 180815a00001.asd
unsorted powder from filing of subsamples a, b, c, and e with diamond file, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444
PSF 180905a00009.asd
unsorted powder from filing of subsamples a, b, c, and e with diamond file, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

NWA 11444
PSF 190304a00001.asd
unsorted powder from crushed filing of subsamples a, b, c, and e with diamond file, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4; fully corrected for spectralon [Directory: 190304 Lunar Meteorite NWA 11444].

NWA 11444
PSF 190304a00003.asd
unsorted powder from crushed filing of subsamples a, b, c, and e with diamond file, after de-rusting; reshoot after repacking; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4; fully corrected for spectralon [Directory: 190304 Lunar Meteorite NWA 11444].

NWA 11444
PSF 190304a00005.asd
unsorted powder from crushed filing of subsamples a, b, c, and e with diamond file, after de-rusting; reshoot after repacking; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4; fully corrected for spectralon [Directory: 190304 Lunar Meteorite NWA 11444].

NWA 11444
PSF 190304a00007.asd
unsorted powder from crushed filing of subsamples a, b, c, and e with diamond file, after de-rusting; reshoot after repacking; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4; fully corrected for spectralon [Directory: 190304 Lunar Meteorite NWA 11444].

NWA 11444
PSF 190304a00009.asd
unsorted powder from crushed filing of subsamples a, b, c, and e with diamond file, after de-rusting; reshoot after repacking; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4; fully corrected for spectralon [Directory: 190304 Lunar Meteorite NWA 11444].

++++++

NWA 11444-a
PSF 180815a00002.asd
whole rock: side A of sample NWA 11444-a, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-a
PSF 180905a00003.asd
whole rock: side A of sample NWA 11444-a, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

NWA 11444-a
PSF 180815a00003.asd
whole rock: side B of sample NWA 11444-a, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-a
PSF 180905a00004.asd
whole rock: side B of sample NWA 11444-a, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

++++++
NWA 11444-b
PSF 180815a00004.asd
whole rock: side A of sample NWA 11444-b, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-b
PSF 180905a00005.asd
whole rock: side A of sample NWA 11444-b, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

NWA 11444-b
PSF 180815a00005.asd
whole rock: side B of sample NWA 11444-b, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-b
PSF 180905a00006.asd
whole rock: side B of sample NWA 11444-b, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

++++++
NWA 11444-c
PSF 180815a00006.asd
whole rock: side A of sample NWA 11444-c, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-c
PSF 180905a00007.asd
whole rock: side A of sample NWA 11444-c, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

NWA 11444-c
PSF 180815a00007.asd
whole rock: side B of sample NWA 11444-c, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-c
PSF 180905a00008.asd
whole rock: side B of sample NWA 11444-c, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

++++++
NWA 11444-e
PSF 180815a00008.asd
whole rock: side A of sample NWA 11444-e, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-e
PSF 180905a00001.asd
whole rock: side A of sample NWA 11444-e, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

NWA 11444-e
PSF 180815a00009.asd
whole rock: side B of sample NWA 11444-e, prior to de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180815 Lunar Meteorite].

NWA 11444-e
PSF 180905a00002.asd
whole rock: side B of sample NWA 11444-e, after de-rusting; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180905 Lunar meteorite].

+++++++++++++++++++++++++++++
(ii) ASD reflectance spectra with NWA 11444 – various mixtures

NWA11444_1
PSF 181119a00001.asd
90% unsorted NWA 11444 powder + 10wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_2
PSF 181119a00002.asd
80% unsorted NWA 11444 powder + 20wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_3
PSF 181119a00003.asd
70% unsorted NWA 11444 powder + 30wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_4
PSF 181119a00004.asd
60% unsorted NWA 11444 powder + 40wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_5
PSF 181119a00005.asd
50% unsorted NWA 11444 powder + 50wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_6
PSF 181119f00001.asd
50% unsorted NWA 11444 powder + 50wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD 4 [Directory: 181119 lunar ice mixtures i0e0b].

++++ Ice melt series +++++

NWA11444_7
PSF 181119a00006.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_8
PSF 181119a00007.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.14minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_9
PSF 181119a00008.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.20 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_10
PSF 181119a00009.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.26 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_11
PSF 181119a00010.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.32 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_12
PSF 181119a00011.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.38 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_13
PSF 181119a00012.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.43 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_14
PSF 181119a00013.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.49 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_15
PSF 181119a00014.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.55 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_16
PSF 181119a00015.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.61 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_17
PSF 181119a00016.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.67 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_18
PSF 181119a00017.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.73 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_19
PSF a81119a00018.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.78 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_20
PSF 181119a00019.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.84 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_21
PSF 181119a00020.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.90 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_22
PSF 181119a00021.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.96 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_23
PSF 181119a00022.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 1.02 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_24
PSF 181119a00023.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 1.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_25
PSF 181119a00024.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 1.13 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

NWA11444_26
PSF 181119a00025.asd
0% unsorted NWA 11444 powder + 100wt.% ice; i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 1.19 minutes after removal from LN2 bath; ASD 4 [Directory: 181119 lunar ice mixtures i0e0].

+++ coated ice slab++++

NWA11444_27
PSF 181120a00000.asd
100% ice slab, ~8 mm thick; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i0e0].

NWA11444_28
PSF 181120a00001.asd
100% ice slab, ~8 mm thick with light coating of NWA 11444 <45 µm powder; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i0e0].

NWA11444_29
PSF 181120a00002.asd
100% ice slab, ~8 mm thick with fluffy coating of NWA 11444 <45 µm powder; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i0e0].

NWA11444_30
PSF 181120a00003.asd
100% ice slab, ~8 mm thick with packed coating of NWA 11444 <45 µm powder; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i0e0].

++++10° slope tilt spectra for NWA 11444 + ice+++++

(i) Different ice:NWA 11444 ratios:~-34°C;  i=10°, e=-10° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i10e10]
181119b00001.asd
10wt.% ice + 90 wt.% NWA 11444

181119b00002.asd
20wt.% ice + 80 wt.% NWA 11444

181119b00003.asd
30wt.% ice + 70 wt.% NWA 11444

181119b00004.asd
40wt.% ice + 60 wt.% NWA 11444

181119g00001.asd
50wt.% ice + 50 wt.% NWA 11444

(ii) 100% ice melting spectral changes; various times after removal from LN2: i=10°, e=-10° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i10e10]
181119b00005.asd
100wt.% ice; 0.08 minutes after removal from LN2.

181119b00006.asd
100wt.% ice; 0.14 minutes after removal from LN2.

181119b00007.asd
100wt.% ice; 0.20 minutes after removal from LN2.

181119b00008.asd
100wt.% ice; 0.26 minutes after removal from LN2.

181119b00009.asd
100wt.% ice; 0.32 minutes after removal from LN2.

181119b00010.asd
100wt.% ice; 0.38 minutes after removal from LN2.

181119b00011.asd
100wt.% ice; 0.43 minutes after removal from LN2.

181119b00012.asd
100wt.% ice; 0.49 minutes after removal from LN2.

181119b00013.asd
100wt.% ice; 0.55 minutes after removal from LN2.

181119b00014.asd
100wt.% ice; 0.61 minutes after removal from LN2.

181119b00015.asd
100wt.% ice; 0.67 minutes after removal from LN2.

181119b00016.asd
100wt.% ice; 0.73 minutes after removal from LN2.

181119b00017.asd
100wt.% ice; 0.78 minutes after removal from LN2.

181119b00018.asd
100wt.% ice; 0.84 minutes after removal from LN2.

181119b00019.asd
100wt.% ice; 0.90 minutes after removal from LN2.

181119b00020.asd
100wt.% ice; 0.96 minutes after removal from LN2.

181119b00021.asd
100wt.% ice; 1.02 minutes after removal from LN2.

181119b00022.asd
100wt.% ice; 1.08 minutes after removal from LN2.

181119b00023.asd
100wt.% ice; 1.13 minutes after removal from LN2.

181119b00024.asd
100wt.% ice; 1.19 minutes after removal from LN2.

181119b00025.asd
100wt.% ice; 1.25 minutes after removal from LN2.

181119b00026.asd
100wt.% ice; 1.31 minutes after removal from LN2.

181119b00027.asd
100wt.% ice; 1.37 minutes after removal from LN2.

181119b00028.asd
100wt.% ice; 1.43 minutes after removal from LN2.

181119b00029.asd
100wt.% ice; 1.48 minutes after removal from LN2.

181119b00030.asd
100wt.% ice; 1.54 minutes after removal from LN2.

181119b00031.asd
100wt.% ice; 1.60 minutes after removal from LN2.

181119b00032.asd
100wt.% ice; 1.66 minutes after removal from LN2.

181119b00033.asd
100wt.% ice; 1.72 minutes after removal from LN2.

181119b00034.asd
100wt.% ice; 1.78 minutes after removal from LN2.

181119b00035.asd
100wt.% ice; 1.83 minutes after removal from LN2.

181119b00036.asd
100wt.% ice; 1.89 minutes after removal from LN2.

181119b00037.asd
100wt.% ice; 1.95 minutes after removal from LN2.

181119b00038.asd
100wt.% ice; 2.01 minutes after removal from LN2.

181119b00039.asd
100wt.% ice; 2.07 minutes after removal from LN2.

181119b00040.asd
100wt.% ice; 2.13 minutes after removal from LN2.

181119b00041.asd
100wt.% ice; 2.18 minutes after removal from LN2.

181119b00042.asd
100wt.% ice; 2.24 minutes after removal from LN2.

181119b00043.asd
100wt.% ice; 2.30 minutes after removal from LN2.

181119b00044.asd
100wt.% ice; 2.36 minutes after removal from LN2.

181119b00045.asd
100wt.% ice; 2.42 minutes after removal from LN2.

181119b00046.asd
100wt.% ice; 2.48 minutes after removal from LN2.

181119b00047.asd
100wt.% ice; 2.53 minutes after removal from LN2.

181119b00048.asd
100wt.% ice; 2.59 minutes after removal from LN2.

181119b00049.asd
100wt.% ice; 2.65 minutes after removal from LN2.

181119b00050.asd
100wt.% ice; 2.71 minutes after removal from LN2.

181119b00051.asd
100wt.% ice; 2.77 minutes after removal from LN2.

181119b00052.asd
100wt.% ice; 2.83 minutes after removal from LN2.

181119b00053.asd
100wt.% ice; 2.88 minutes after removal from LN2.

181119b00054.asd
100wt.% ice; 2.94 minutes after removal from LN2.

181119b00055.asd
100wt.% ice; 3.00 minutes after removal from LN2.

181119b00056.asd
100wt.% ice; 3.06 minutes after removal from LN2.

181119b00057.asd
100wt.% ice; 3.12 minutes after removal from LN2.

181119b00058.asd
100wt.% ice; 3.18 minutes after removal from LN2.

181119b00059.asd
100wt.% ice; 3.23 minutes after removal from LN2.

181119b00060.asd
100wt.% ice; 3.29 minutes after removal from LN2.

181119b00061.asd
100wt.% ice; 3.35 minutes after removal from LN2.

181119b00062.asd
100wt.% ice; 3.41 minutes after removal from LN2.

181119b00063.asd
100wt.% ice; 3.47 minutes after removal from LN2.

181119b00064.asd
100wt.% ice; 3.53 minutes after removal from LN2.

181119b00065.asd
100wt.% ice; 3.58 minutes after removal from LN2.

181119b00066.asd
100wt.% ice; 3.64 minutes after removal from LN2.

181119b00067.asd
100wt.% ice; 3.70 minutes after removal from LN2.

181119b00068.asd
100wt.% ice; 3.76 minutes after removal from LN2.

181119b00069.asd
100wt.% ice; 3.82 minutes after removal from LN2.

181119b00070.asd
100wt.% ice; 3.87 minutes after removal from LN2.

181119b00071.asd
100wt.% ice; 3.93 minutes after removal from LN2.

181119b00072.asd
100wt.% ice; 3.99 minutes after removal from LN2.

181119b00073.asd
100wt.% ice; 4.05 minutes after removal from LN2.

181119b00074.asd
100wt.% ice; 4.11 minutes after removal from LN2.

181119b00075.asd
100wt.% ice; 4.17 minutes after removal from LN2.

181119b00076.asd
100wt.% ice; 4.22 minutes after removal from LN2.

181119b00077.asd
100wt.% ice; 4.28 minutes after removal from LN2.

181119b00078.asd
100wt.% ice; 4.34 minutes after removal from LN2.

181119b00079.asd
100wt.% ice; 4.40 minutes after removal from LN2.

181119b00080.asd
100wt.% ice; 4.46 minutes after removal from LN2.

181119b00081.asd
100wt.% ice; 4.52 minutes after removal from LN2.

181119b00082.asd
100wt.% ice; 4.58 minutes after removal from LN2.

181119b00083.asd
100wt.% ice; 4.63 minutes after removal from LN2.

181119b00084.asd
100wt.% ice; 4.69 minutes after removal from LN2.

181119b00085.asd
100wt.% ice; 4.74 minutes after removal from LN2.

181119b00086.asd
100wt.% ice; 4.81 minutes after removal from LN2.

181119b00087.asd
100wt.% ice; 4.87 minutes after removal from LN2.

181119b00088.asd
100wt.% ice; 4.93 minutes after removal from LN2.

181119b00089.asd
100wt.% ice; 4.98 minutes after removal from LN2.

181119b00090.asd
100wt.% ice; 5.04 minutes after removal from LN2.

181119b00091.asd
100wt.% ice; 5.10 minutes after removal from LN2.

181119b00092.asd
100wt.% ice; 5.16 minutes after removal from LN2.

181119b00093.asd
100wt.% ice; 5.22 minutes after removal from LN2.

181119b00094.asd
100wt.% ice; 5.28 minutes after removal from LN2.

181119b00095.asd
100wt.% ice; 5.33 minutes after removal from LN2.

181119b00096.asd
100wt.% ice; 5.39 minutes after removal from LN2.

181119b00097.asd
100wt.% ice; 5.45 minutes after removal from LN2.

181119b00098.asd
100wt.% ice; 5.51 minutes after removal from LN2.

181119b00099.asd
100wt.% ice; 5.574 minutes after removal from LN2.

181119b00100.asd
100wt.% ice; 5.63 minutes after removal from LN2.

181119b00101.asd
100wt.% ice; 5.68 minutes after removal from LN2.

181119b00102.asd
100wt.% ice; 5.74 minutes after removal from LN2.

181119b00103.asd
100wt.% ice; 5.80 minutes after removal from LN2.

181119b00104.asd
100wt.% ice; 5.86 minutes after removal from LN2.

181119b00105.asd
100wt.% ice; 5.92 minutes after removal from LN2.

181119b00106.asd
100wt.% ice; 5.98 minutes after removal from LN2.

181119b00107.asd
100wt.% ice; 6.03 minutes after removal from LN2.

181119b00108.asd
100wt.% ice; 6.09 minutes after removal from LN2.

181119b00109.asd
100wt.% ice; 6.15 minutes after removal from LN2.

181119b00110.asd
100wt.% ice; 6.21 minutes after removal from LN2.

181119b00111.asd
100wt.% ice; 6.27 minutes after removal from LN2.

181119b00112.asd
100wt.% ice; 6.33 minutes after removal from LN2.

181119b00113.asd
100wt.% ice; 6.38 minutes after removal from LN2.

181119b00114.asd
100wt.% ice; 6.44 minutes after removal from LN2.

181119b00115.asd
100wt.% ice; 6.50 minutes after removal from LN2.

181119b00116.asd
100wt.% ice; 6.56 minutes after removal from LN2.

181119b00117.asd
100wt.% ice; 6.62 minutes after removal from LN2.

181119b00118.asd
100wt.% ice; 6.68 minutes after removal from LN2.

181119b00119.asd
100wt.% ice; 6.73 minutes after removal from LN2.

181119b00120.asd
100wt.% ice; 6.79 minutes after removal from LN2.

181119b00121.asd
100wt.% ice; 6.85 minutes after removal from LN2.

181119b00122.asd
100wt.% ice; 6.91 minutes after removal from LN2.

181119b00123.asd
100wt.% ice; 6.97 minutes after removal from LN2.

181119b00124.asd
100wt.% ice; 7.03 minutes after removal from LN2.

181119b00125.asd
100wt.% ice; 7.08 minutes after removal from LN2.

181119b00126.asd
100wt.% ice; 7.14 minutes after removal from LN2.

181119b00127.asd
100wt.% ice; 7.20 minutes after removal from LN2.

181119b00128.asd
100wt.% ice; 7.26 minutes after removal from LN2.

181119b00129.asd
100wt.% ice; 7.32 minutes after removal from LN2.

181119b00130.asd
100wt.% ice; 7.38 minutes after removal from LN2.

181119b00131.asd
100wt.% ice; 7.43 minutes after removal from LN2.

181119b00132.asd
100wt.% ice; 7.49 minutes after removal from LN2.

181119b00133.asd
100wt.% ice; 7.55 minutes after removal from LN2.

181119b00134.asd
100wt.% ice; 7.61 minutes after removal from LN2.

181119b00135.asd
100wt.% ice; 7.67 minutes after removal from LN2.

181119b00136.asd
100wt.% ice; 7.73 minutes after removal from LN2.

181119b00137.asd
100wt.% ice; 7.78 minutes after removal from LN2.

181119b00138.asd
100wt.% ice; 7.84 minutes after removal from LN2.

181119b00139.asd
100wt.% ice; 7.90 minutes after removal from LN2.

181119b00140.asd
100wt.% ice; 7.96 minutes after removal from LN2.

181119b00141.asd
100wt.% ice; 8.02 minutes after removal from LN2.

181119b00142.asd
100wt.% ice; 8.08 minutes after removal from LN2.

181119b00143.asd
100wt.% ice; 8.13 minutes after removal from LN2.

181119b00144.asd
100wt.% ice; 8.19 minutes after removal from LN2.

181119b00145.asd
100wt.% ice; 8.25 minutes after removal from LN2.

181119b00146.asd
100wt.% ice; 8.31 minutes after removal from LN2.

181119b00147.asd
100wt.% ice; 8.37 minutes after removal from LN2.

181119b00148.asd
100wt.% ice; 8.43 minutes after removal from LN2.

181119b00149.asd
100wt.% ice; 8.48 minutes after removal from LN2.

181119b00150.asd
100wt.% ice; 8.54 minutes after removal from LN2.

181119b00151.asd
100wt.% ice; 8.60 minutes after removal from LN2.

181119b00152.asd
100wt.% ice; 8.66 minutes after removal from LN2.

181119b00153.asd
100wt.% ice; 8.72 minutes after removal from LN2.

181119b00154.asd
100wt.% ice; 8.78 minutes after removal from LN2.

181119b00155.asd
100wt.% ice; 8.83 minutes after removal from LN2.

181119b00156.asd
100wt.% ice; 8.89 minutes after removal from LN2.

181119b00157.asd
100wt.% ice; 8.95 minutes after removal from LN2.

181119b00158.asd
100wt.% ice; 9.01 minutes after removal from LN2.

181119b00159.asd
100wt.% ice; 9.07 minutes after removal from LN2.

181119b00160.asd
100wt.% ice; 9.13 minutes after removal from LN2.

181119b00161.asd
100wt.% ice; 9.18 minutes after removal from LN2.

181119b00162.asd
100wt.% ice; 9.24 minutes after removal from LN2.

181119b00163.asd
100wt.% ice; 9.30 minutes after removal from LN2.

181119b00164.asd
100wt.% ice; 9.36 minutes after removal from LN2.

181119b00165.asd
100wt.% ice; 9.42 minutes after removal from LN2.

181119b00166.asd
100wt.% ice; 9.48 minutes after removal from LN2.

181119b00167.asd
100wt.% ice; 9.53 minutes after removal from LN2.

181119b00168.asd
100wt.% ice; 9.59 minutes after removal from LN2.

181119b00169.asd
100wt.% ice; 9.65 minutes after removal from LN2.

181119b00170.asd
100wt.% ice; 9.71 minutes after removal from LN2.

181119b00171.asd
100wt.% ice; 9.77 minutes after removal from LN2.

181119b00172.asd
100wt.% ice; 9.83 minutes after removal from LN2.

181119b00173.asd
100wt.% ice; 9.88 minutes after removal from LN2.

181119b00174.asd
100wt.% ice; 9.94 minutes after removal from LN2.

181119b00175.asd
100wt.% ice; 10.00 minutes after removal from LN2.

181119b00176.asd
100wt.% ice; 10.06 minutes after removal from LN2.

181119b00177.asd
100wt.% ice; 10.12 minutes after removal from LN2.

181119b00178.asd
100wt.% ice; 10.18 minutes after removal from LN2.

181119b00179.asd
100wt.% ice; 10.23 minutes after removal from LN2.

181119b00180.asd
100wt.% ice; 10.29 minutes after removal from LN2.

181119b00181.asd
100wt.% ice; 10.35 minutes after removal from LN2.

181119b00182.asd
100wt.% ice; 10.41 minutes after removal from LN2.

181119b00183.asd
100wt.% ice; 10.47 minutes after removal from LN2.

181119b00184.asd
100wt.% ice; 10.53 minutes after removal from LN2.

181119b00185.asd
100wt.% ice; 10.58 minutes after removal from LN2.

181119b00186.asd
100wt.% ice; 10.64 minutes after removal from LN2.

181119b00187.asd
100wt.% ice; 10.70 minutes after removal from LN2.

181119b00188.asd
100wt.% ice; 10.76 minutes after removal from LN2.

181119b00189.asd
100wt.% ice; 10.82 minutes after removal from LN2.

181119b00190.asd
100wt.% ice; 10.88 minutes after removal from LN2.

181119b00191.asd
100wt.% ice; 10.93 minutes after removal from LN2.

181119b00192.asd
100wt.% ice; 10.99 minutes after removal from LN2.

181119b00193.asd
100wt.% ice; 11.05 minutes after removal from LN2.

181119b00194.asd
100wt.% ice; 11.11 minutes after removal from LN2.

181119b00195.asd
100wt.% ice; 11.17 minutes after removal from LN2.

181119b00196.asd
100wt.% ice; 11.23 minutes after removal from LN2.

181119b00197.asd
100wt.% ice; 11.28 minutes after removal from LN2.

181119b00198.asd
100wt.% ice; 11.34 minutes after removal from LN2.

181119b00199.asd
100wt.% ice; 11.40 minutes after removal from LN2.

181119b00200.asd
100wt.% ice; 11.46 minutes after removal from LN2.

181119b00201.asd
100wt.% ice; 11.52 minutes after removal from LN2.

181119b00202.asd
100wt.% ice; 11.58 minutes after removal from LN2.

181119b00203.asd
100wt.% ice; 11.63 minutes after removal from LN2.

181119b00204.asd
100wt.% ice; 11.69 minutes after removal from LN2.

+++++++++++
(iii) 50 wt. % ice + 50 wt.% NWA 11444 (unsorted powder) melting spectral changes; various times after removal from LN2: i=10°, e=-10° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i10e10]
181119g00002.asd
50-50wt.% ice + NWA 11444; 0.08 minutes after removal from LN2.

181119g00003.asd
50-50wt.% ice + NWA 11444; 0.14 minutes after removal from LN2.

181119g00004.asd
50-50wt.% ice + NWA 11444; 0.20 minutes after removal from LN2.

181119g00005.asd
50-50wt.% ice + NWA 11444; 0.26 minutes after removal from LN2.

181119g00006.asd
50-50wt.% ice + NWA 11444; 0.32 minutes after removal from LN2.

181119g00007.asd
50-50wt.% ice + NWA 11444; 0.38 minutes after removal from LN2.

181119g00008.asd
50-50wt.% ice + NWA 11444; 0.43 minutes after removal from LN2.

181119g00009.asd
50-50wt.% ice + NWA 11444; 0.49 minutes after removal from LN2.

181119g00010.asd
50-50wt.% ice + NWA 11444; 0.55 minutes after removal from LN2.

181119g00011.asd
50-50wt.% ice + NWA 11444; 0.61 minutes after removal from LN2.

181119g00012.asd
50-50wt.% ice + NWA 11444; 0.67 minutes after removal from LN2.

181119g00013.asd
50-50wt.% ice + NWA 11444; 0.73 minutes after removal from LN2.

181119g00014.asd
50-50wt.% ice + NWA 11444; 0.78 minutes after removal from LN2.

181119g00015.asd
50-50wt.% ice + NWA 11444; 0.84 minutes after removal from LN2.

181119g00016.asd
50-50wt.% ice + NWA 11444; 0.90 minutes after removal from LN2.

181119g00017.asd
50-50wt.% ice + NWA 11444; 0.96 minutes after removal from LN2.

181119g00018.asd
50-50wt.% ice + NWA 11444; 1.02 minutes after removal from LN2.

181119g00019.asd
50-50wt.% ice + NWA 11444; 1.08 minutes after removal from LN2.

181119g00020.asd
50-50wt.% ice + NWA 11444; 1.13 minutes after removal from LN2.

181119g00021.asd
50-50wt.% ice + NWA 11444; 1.19 minutes after removal from LN2.

181119g00022.asd
50-50wt.% ice + NWA 11444; 1.25 minutes after removal from LN2.

181119g00023.asd
50-50wt.% ice + NWA 11444; 1.31 minutes after removal from LN2.

181119g00024.asd
50-50wt.% ice + NWA 11444; 1.37 minutes after removal from LN2.

181119g00025.asd
50-50wt.% ice + NWA 11444; 1.43 minutes after removal from LN2.

181119g00026.asd
50-50wt.% ice + NWA 11444; 1.48 minutes after removal from LN2.

181119g00027.asd
50-50wt.% ice + NWA 11444; 1.54 minutes after removal from LN2.

181119g00028.asd
50-50wt.% ice + NWA 11444; 1.60 minutes after removal from LN2.

181119g00029.asd
50-50wt.% ice + NWA 11444; 1.66 minutes after removal from LN2.

181119g00030.asd
50-50wt.% ice + NWA 11444; 1.72 minutes after removal from LN2.

181119g00031.asd
50-50wt.% ice + NWA 11444; 1.78 minutes after removal from LN2.

181119g00032.asd
50-50wt.% ice + NWA 11444; 1.83 minutes after removal from LN2.

181119g00033.asd
50-50wt.% ice + NWA 11444; 1.89 minutes after removal from LN2.

181119g00034.asd
50-50wt.% ice + NWA 11444; 1.95 minutes after removal from LN2.

181119g00035.asd
50-50wt.% ice + NWA 11444; 2.01 minutes after removal from LN2.

181119g00036.asd
50-50wt.% ice + NWA 11444; 2.07 minutes after removal from LN2.

181119g00037.asd
50-50wt.% ice + NWA 11444; 2.13 minutes after removal from LN2.

181119g00038.asd
50-50wt.% ice + NWA 11444; 2.18 minutes after removal from LN2.

181119g00039.asd
50-50wt.% ice + NWA 11444; 2.24 minutes after removal from LN2.

181119g00040.asd
50-50wt.% ice + NWA 11444; 2.30 minutes after removal from LN2.

181119g00041.asd
50-50wt.% ice + NWA 11444; 2.36 minutes after removal from LN2.

181119g00042.asd
50-50wt.% ice + NWA 11444; 2.42 minutes after removal from LN2.

181119g00043.asd
50-50wt.% ice + NWA 11444; 2.48 minutes after removal from LN2.

181119g00044.asd
50-50wt.% ice + NWA 11444; 2.53 minutes after removal from LN2.

181119g00045.asd
50-50wt.% ice + NWA 11444; 2.59 minutes after removal from LN2.

181119g00046.asd
50-50wt.% ice + NWA 11444; 2.65 minutes after removal from LN2.

181119g00047.asd
50-50wt.% ice + NWA 11444; 2.71 minutes after removal from LN2.

181119g00048.asd
50-50wt.% ice + NWA 11444; 2.77 minutes after removal from LN2.

181119g00049.asd
50-50wt.% ice + NWA 11444; 2.83 minutes after removal from LN2.

181119g00050.asd
50-50wt.% ice + NWA 11444; 2.88 minutes after removal from LN2.

181119g00051.asd
50-50wt.% ice + NWA 11444; 2.94 minutes after removal from LN2.

181119g00052.asd
50-50wt.% ice + NWA 11444; 3.00 minutes after removal from LN2.

181119g00053.asd
50-50wt.% ice + NWA 11444; 3.06 minutes after removal from LN2.

181119g00054.asd
50-50wt.% ice + NWA 11444; 3.12 minutes after removal from LN2.

181119g00055.asd
50-50wt.% ice + NWA 11444; 3.18 minutes after removal from LN2.

181119g00056.asd
50-50wt.% ice + NWA 11444; 3.23 minutes after removal from LN2.

181119g00057.asd
50-50wt.% ice + NWA 11444; 3.29 minutes after removal from LN2.

181119g00058.asd
50-50wt.% ice + NWA 11444; 3.35 minutes after removal from LN2.

181119g00059.asd
50-50wt.% ice + NWA 11444; 3.41 minutes after removal from LN2.

181119g00060.asd
50-50wt.% ice + NWA 11444; 3.47 minutes after removal from LN2.

181119g00061.asd
50-50wt.% ice + NWA 11444; 3.53 minutes after removal from LN2.

181119g00062.asd
50-50wt.% ice + NWA 11444; 3.58 minutes after removal from LN2.

181119g00063.asd
50-50wt.% ice + NWA 11444; 3.64 minutes after removal from LN2.

181119g00064.asd
50-50wt.% ice + NWA 11444; 3.70 minutes after removal from LN2.

181119g00065.asd
50-50wt.% ice + NWA 11444; 3.76 minutes after removal from LN2.

181119g00066.asd
50-50wt.% ice + NWA 11444; 3.82 minutes after removal from LN2.

181119g00067.asd
50-50wt.% ice + NWA 11444; 3.87 minutes after removal from LN2.

181119g00068.asd
50-50wt.% ice + NWA 11444; 3.93 minutes after removal from LN2.

181119g00069.asd
50-50wt.% ice + NWA 11444; 3.99 minutes after removal from LN2.

181119g00070.asd
50-50wt.% ice + NWA 11444; 4.05 minutes after removal from LN2.

181119g00071.asd
50-50wt.% ice + NWA 11444; 4.11 minutes after removal from LN2.

181119g00072.asd
50-50wt.% ice + NWA 11444; 4.17 minutes after removal from LN2.

181119g00073.asd
50-50wt.% ice + NWA 11444; 4.22 minutes after removal from LN2.

181119g00074.asd
50-50wt.% ice + NWA 11444; 4.28 minutes after removal from LN2.

181119g00075.asd
50-50wt.% ice + NWA 11444; 4.34 minutes after removal from LN2.

181119g00076.asd
50-50wt.% ice + NWA 11444; 4.40 minutes after removal from LN2.

181119g00077.asd
50-50wt.% ice + NWA 11444; 4.46 minutes after removal from LN2.

181119g00078.asd
50-50wt.% ice + NWA 11444; 4.52 minutes after removal from LN2.

181119g00079.asd
50-50wt.% ice + NWA 11444; 4.58 minutes after removal from LN2.

181119g00080.asd
50-50wt.% ice + NWA 11444; 4.63 minutes after removal from LN2.

181119g00081.asd
50-50wt.% ice + NWA 11444; 4.69 minutes after removal from LN2.

181119g00082.asd
50-50wt.% ice + NWA 11444; 4.75 minutes after removal from LN2.

181119g00083.asd
50-50wt.% ice + NWA 11444; 4.81 minutes after removal from LN2.

181119g00084.asd
50-50wt.% ice + NWA 11444; 4.87 minutes after removal from LN2.

181119g00085.asd
50-50wt.% ice + NWA 11444; 4.93 minutes after removal from LN2.

181119g00086.asd
50-50wt.% ice + NWA 11444; 4.98 minutes after removal from LN2.

181119g00087.asd
50-50wt.% ice + NWA 11444; 5.04 minutes after removal from LN2.

181119g00088.asd
50-50wt.% ice + NWA 11444; 5.10 minutes after removal from LN2.

181119g00089.asd
50-50wt.% ice + NWA 11444; 5.16 minutes after removal from LN2.

181119g00090.asd
50-50wt.% ice + NWA 11444; 5.22 minutes after removal from LN2.

181119g00091.asd
50-50wt.% ice + NWA 11444; 5.28 minutes after removal from LN2.

181119g00092.asd
50-50wt.% ice + NWA 11444; 5.33 minutes after removal from LN2.

181119g00093.asd
50-50wt.% ice + NWA 11444; 5.39 minutes after removal from LN2.

181119g00094.asd
50-50wt.% ice + NWA 11444; 5.45 minutes after removal from LN2.

181119g00095.asd
50-50wt.% ice + NWA 11444; 5.51 minutes after removal from LN2.

181119g00096.asd
50-50wt.% ice + NWA 11444; 5.57 minutes after removal from LN2.

181119g00097.asd
50-50wt.% ice + NWA 11444; 5.63 minutes after removal from LN2.

181119g00098.asd
50-50wt.% ice + NWA 11444; 5.68 minutes after removal from LN2.

181119g00099.asd
50-50wt.% ice + NWA 11444; 5.74 minutes after removal from LN2.

181119g00100.asd
50-50wt.% ice + NWA 11444; 5.80 minutes after removal from LN2.

181119g00101.asd
50-50wt.% ice + NWA 11444; 5.86 minutes after removal from LN2.

181119g00102.asd
50-50wt.% ice + NWA 11444; 5.92 minutes after removal from LN2.

181119g00103.asd
50-50wt.% ice + NWA 11444; 5.98 minutes after removal from LN2.

181119g00104.asd
50-50wt.% ice + NWA 11444; 6.03 minutes after removal from LN2.

181119g00105.asd
50-50wt.% ice + NWA 11444; 6.09 minutes after removal from LN2.

181119g00106.asd
50-50wt.% ice + NWA 11444; 6.15 minutes after removal from LN2.

181119g00107.asd
50-50wt.% ice + NWA 11444; 6.21 minutes after removal from LN2.

181119g00108.asd
50-50wt.% ice + NWA 11444; 6.27 minutes after removal from LN2.

181119g00109.asd
50-50wt.% ice + NWA 11444; 6.33 minutes after removal from LN2.

181119g00110.asd
50-50wt.% ice + NWA 11444; 6.38 minutes after removal from LN2.

181119g00111.asd
50-50wt.% ice + NWA 11444; 6.44 minutes after removal from LN2.

181119g00112.asd
50-50wt.% ice + NWA 11444; 6.50 minutes after removal from LN2.

+++ coated ice slab++++

NWA11444-10-1
PSF 181120b00001.asd
100% ice slab, ~8 mm thick; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-10-2
PSF 181120b00002.asd
100% ice slab, ~8 mm thick with light coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-10-3
PSF 181120b00003.asd
100% ice slab, ~8 mm thick with fluffy coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-10-4
PSF 181120b00004.asd
100% ice slab, ~8 mm thick with packed coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

+++++++++++++++++++
++++20° slope tilt spectra for NWA 11444 + ice+++++

(i) Different ice:NWA 11444 ratios:~-34°C;  i=10°, e=-10° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i20e20]
181119c00001.asd
10wt.% ice + 90 wt.% NWA 11444

181119c00002.asd
20wt.% ice + 80 wt.% NWA 11444

181119c00003.asd
30wt.% ice + 70 wt.% NWA 11444

181119c00004.asd
40wt.% ice + 60 wt.% NWA 11444

181119c00005.asd
50wt.% ice + 50 wt.% NWA 11444

+++++++++

(ii) 100% ice melting spectral changes; various times after removal from LN2: i=20°, e=-20° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i20e20]
181119c00006.asd
100wt.% ice; 0.08 minutes after removal from LN2.

181119c00007.asd
100wt.% ice; 0.14 minutes after removal from LN2.

181119c00008.asd
100wt.% ice; 0.20 minutes after removal from LN2.

181119c00009.asd
100wt.% ice; 0.26 minutes after removal from LN2.

181119c00010.asd
100wt.% ice; 0.32 minutes after removal from LN2.

181119c00011.asd
100wt.% ice; 0.38 minutes after removal from LN2.

181119c00012.asd
100wt.% ice; 0.43 minutes after removal from LN2.

181119c00013.asd
100wt.% ice; 0.49 minutes after removal from LN2.

181119c00014.asd
100wt.% ice; 0.55 minutes after removal from LN2.

181119c00015.asd
100wt.% ice; 0.61 minutes after removal from LN2.

181119c00016.asd
100wt.% ice; 0.67 minutes after removal from LN2.

181119c00017.asd
100wt.% ice; 0.73 minutes after removal from LN2.

181119c00018.asd
100wt.% ice; 0.78 minutes after removal from LN2.

181119c00019.asd
100wt.% ice; 0.84 minutes after removal from LN2.

181119c00020.asd
100wt.% ice; 0.90 minutes after removal from LN2.

181119c00021.asd
100wt.% ice; 0.96 minutes after removal from LN2.

181119c00022.asd
100wt.% ice; 1.02 minutes after removal from LN2.

181119c00023.asd
100wt.% ice; 1.08 minutes after removal from LN2.

181119c00024.asd
100wt.% ice; 1.13 minutes after removal from LN2.

181119c00025.asd
100wt.% ice; 1.19 minutes after removal from LN2.

181119c00026.asd
100wt.% ice; 1.25 minutes after removal from LN2.

181119c00027.asd
100wt.% ice; 1.31 minutes after removal from LN2.

181119c00028.asd
100wt.% ice; 1.37 minutes after removal from LN2.

181119c00029.asd
100wt.% ice; 1.43 minutes after removal from LN2.

181119c00030.asd
100wt.% ice; 1.48 minutes after removal from LN2.

181119c00031.asd
100wt.% ice; 1.54 minutes after removal from LN2.

181119c00032.asd
100wt.% ice; 1.60 minutes after removal from LN2.

181119c00033.asd
100wt.% ice; 1.66 minutes after removal from LN2.

181119c00034.asd
100wt.% ice; 1.72 minutes after removal from LN2.

181119c00035.asd
100wt.% ice; 1.78 minutes after removal from LN2.

181119c00036.asd
100wt.% ice; 1.83 minutes after removal from LN2.

181119c00037.asd
100wt.% ice; 1.89 minutes after removal from LN2.

181119c00038.asd
100wt.% ice; 1.95 minutes after removal from LN2.

181119c00039.asd
100wt.% ice; 2.01 minutes after removal from LN2.

181119c00040.asd
100wt.% ice; 2.07 minutes after removal from LN2.

181119c00041.asd
100wt.% ice; 2.13 minutes after removal from LN2.

181119c00042.asd
100wt.% ice; 2.18 minutes after removal from LN2.

181119c00043.asd
100wt.% ice; 2.24 minutes after removal from LN2.

181119c00044.asd
100wt.% ice; 2.30 minutes after removal from LN2.

181119c00045.asd
100wt.% ice; 2.36 minutes after removal from LN2.

181119c00046.asd
100wt.% ice; 2.42 minutes after removal from LN2.

181119c00047.asd
100wt.% ice; 2.48 minutes after removal from LN2.

181119c00048.asd
100wt.% ice; 2.53 minutes after removal from LN2.

181119c00049.asd
100wt.% ice; 2.59 minutes after removal from LN2.

181119c00050.asd
100wt.% ice; 2.65 minutes after removal from LN2.

181119c00051.asd
100wt.% ice; 2.71 minutes after removal from LN2.

181119c00052.asd
100wt.% ice; 2.77 minutes after removal from LN2.

181119c00053.asd
100wt.% ice; 2.83 minutes after removal from LN2.

181119c00054.asd
100wt.% ice; 2.88 minutes after removal from LN2.

181119c00055.asd
100wt.% ice; 2.94 minutes after removal from LN2.

181119c00056.asd
100wt.% ice; 3.00 minutes after removal from LN2.

181119c00057.asd
100wt.% ice; 3.06 minutes after removal from LN2.

181119c00058.asd
100wt.% ice; 3.12 minutes after removal from LN2.

181119c00059.asd
100wt.% ice; 3.18 minutes after removal from LN2.

181119c00060.asd
100wt.% ice; 3.23 minutes after removal from LN2.

181119c00061.asd
100wt.% ice; 3.29 minutes after removal from LN2.

181119c00062.asd
100wt.% ice; 3.35 minutes after removal from LN2.

181119c00063.asd
100wt.% ice; 3.41 minutes after removal from LN2.

181119c00064.asd
100wt.% ice; 3.47 minutes after removal from LN2.

181119c00065.asd
100wt.% ice; 3.53 minutes after removal from LN2.

181119c00066.asd
100wt.% ice; 3.58 minutes after removal from LN2.

181119c00067.asd
100wt.% ice; 3.64 minutes after removal from LN2.

181119c00068.asd
100wt.% ice; 3.70 minutes after removal from LN2.

181119c00069.asd
100wt.% ice; 3.76 minutes after removal from LN2.

181119c00070.asd
100wt.% ice; 3.82 minutes after removal from LN2.

181119c00071.asd
100wt.% ice; 3.87 minutes after removal from LN2.

181119c00072.asd
100wt.% ice; 3.93 minutes after removal from LN2.

181119c00073.asd
100wt.% ice; 3.99 minutes after removal from LN2.

181119c00074.asd
100wt.% ice; 4.05 minutes after removal from LN2.

181119c00075.asd
100wt.% ice; 4.11 minutes after removal from LN2.

181119c00076.asd
100wt.% ice; 4.17 minutes after removal from LN2.

181119c00077.asd
100wt.% ice; 4.22 minutes after removal from LN2.

181119c00078.asd
100wt.% ice; 4.28 minutes after removal from LN2.

181119c00079.asd
100wt.% ice; 4.34 minutes after removal from LN2.

181119c00080.asd
100wt.% ice; 4.40 minutes after removal from LN2.

181119c00081.asd
100wt.% ice; 4.46 minutes after removal from LN2.

181119c00082.asd
100wt.% ice; 4.52 minutes after removal from LN2.

181119c00083.asd
100wt.% ice; 4.58 minutes after removal from LN2.

181119c00084.asd
100wt.% ice; 4.63 minutes after removal from LN2.

181119c00085.asd
100wt.% ice; 4.69 minutes after removal from LN2.

181119c00086.asd
100wt.% ice; 4.75 minutes after removal from LN2.

181119c00087.asd
100wt.% ice; 4.81 minutes after removal from LN2.

181119c00088.asd
100wt.% ice; 4.87 minutes after removal from LN2.

181119c00089.asd
100wt.% ice; 4.93 minutes after removal from LN2.

181119c00090.asd
100wt.% ice; 4.98 minutes after removal from LN2.

181119c00091.asd
100wt.% ice; 5.04 minutes after removal from LN2.

181119c00092.asd
100wt.% ice; 5.10 minutes after removal from LN2.

181119c00093.asd
100wt.% ice; 5.16 minutes after removal from LN2.

181119c00094.asd
100wt.% ice; 5.22 minutes after removal from LN2.

181119c00095.asd
100wt.% ice; 5.28 minutes after removal from LN2.

181119c00096.asd
100wt.% ice; 5.33 minutes after removal from LN2.

181119c00097.asd
100wt.% ice; 5.39 minutes after removal from LN2.

181119c00098.asd
100wt.% ice; 5.45 minutes after removal from LN2.

181119c00099.asd
100wt.% ice; 5.51 minutes after removal from LN2.

181119c00100.asd
100wt.% ice; 5.57 minutes after removal from LN2.

181119c00101.asd
100wt.% ice; 5.63 minutes after removal from LN2.

181119c00102.asd
100wt.% ice; 5.68 minutes after removal from LN2.

181119c00103.asd
100wt.% ice; 5.74 minutes after removal from LN2.

181119c00104.asd
100wt.% ice; 5.80 minutes after removal from LN2.

181119c00105.asd
100wt.% ice; 5.86 minutes after removal from LN2.

181119c00106.asd
100wt.% ice; 5.92 minutes after removal from LN2.

181119c00107.asd
100wt.% ice; 5.98 minutes after removal from LN2.

181119c00108.asd
100wt.% ice; 6.03 minutes after removal from LN2.

181119c00109.asd
100wt.% ice; 6.09 minutes after removal from LN2.

181119c00110.asd
100wt.% ice; 6.15 minutes after removal from LN2.

181119c00111.asd
100wt.% ice; 6.21 minutes after removal from LN2.

181119c00112.asd
100wt.% ice; 6.27 minutes after removal from LN2.

181119c00113.asd
100wt.% ice; 6.33 minutes after removal from LN2.

181119c00114.asd
100wt.% ice; 6.38 minutes after removal from LN2.

181119c00115.asd
100wt.% ice; 6.44 minutes after removal from LN2.

181119c00116.asd
100wt.% ice; 6.50 minutes after removal from LN2.

++++++++++
+++ coated ice slab++++

NWA11444-20-1
PSF 181120c00001.asd
100% ice slab, ~8 mm thick; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-20-2
PSF 181120c00002.asd
100% ice slab, ~8 mm thick with light coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-20-3
PSF 181120c00003.asd
100% ice slab, ~8 mm thick with fluffy coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-20-4
PSF 181120c00004.asd
100% ice slab, ~8 mm thick with packed coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

+++++++++++++++++++

++++30° slope tilt spectra for NWA 11444 + ice+++++

(i) Different ice:NWA 11444 ratios:~-34°C;  i=10°, e=-10° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i30e30]
181119d00001.asd
10wt.% ice + 90 wt.% NWA 11444

181119d00002.asd
20wt.% ice + 80 wt.% NWA 11444

181119d00003.asd
30wt.% ice + 70 wt.% NWA 11444

181119d00004.asd
40wt.% ice + 60 wt.% NWA 11444

181119d00005.asd
50wt.% ice + 50 wt.% NWA 11444

+++++++++

(ii) 100% ice melting spectral changes; various times after removal from LN2: i=30°, e=-30° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i20e20]
181119d00006.asd
100wt.% ice; 0.08 minutes after removal from LN2.

181119d00007.asd
100wt.% ice; 0.14 minutes after removal from LN2.

181119d00008.asd
100wt.% ice; 0.20 minutes after removal from LN2.

181119d00009.asd
100wt.% ice; 0.26 minutes after removal from LN2.

181119d00010.asd
100wt.% ice; 0.32 minutes after removal from LN2.

181119d00011.asd
100wt.% ice; 0.38 minutes after removal from LN2.

181119d00012.asd
100wt.% ice; 0.43 minutes after removal from LN2.

181119d00013.asd
100wt.% ice; 0.49 minutes after removal from LN2.

181119d00014.asd
100wt.% ice; 0.55 minutes after removal from LN2.

181119d00015.asd
100wt.% ice; 0.61 minutes after removal from LN2.

181119d00016.asd
100wt.% ice; 0.67 minutes after removal from LN2.

181119d00017.asd
100wt.% ice; 0.73 minutes after removal from LN2.

181119d00018.asd
100wt.% ice; 0.78 minutes after removal from LN2.

181119d00019.asd
100wt.% ice; 0.84 minutes after removal from LN2.

181119d00020.asd
100wt.% ice; 0.90 minutes after removal from LN2.

181119d00021.asd
100wt.% ice; 0.96 minutes after removal from LN2.

181119d00022.asd
100wt.% ice; 1.02 minutes after removal from LN2.

181119d00023.asd
100wt.% ice; 1.08 minutes after removal from LN2.

181119d00024.asd
100wt.% ice; 1.13 minutes after removal from LN2.

181119d00025.asd
100wt.% ice; 1.19 minutes after removal from LN2.

181119d00026.asd
100wt.% ice; 1.25 minutes after removal from LN2.

181119d00027.asd
100wt.% ice; 1.31 minutes after removal from LN2.

181119d00028.asd
100wt.% ice; 1.37 minutes after removal from LN2.

181119d00029.asd
100wt.% ice; 1.43 minutes after removal from LN2.

181119d00030.asd
100wt.% ice; 1.48 minutes after removal from LN2.

181119d00031.asd
100wt.% ice; 1.54 minutes after removal from LN2.

181119d00032.asd
100wt.% ice; 1.60 minutes after removal from LN2.

181119d00033.asd
100wt.% ice; 1.66 minutes after removal from LN2.

181119d00034.asd
100wt.% ice; 1.72 minutes after removal from LN2.

181119d00035.asd
100wt.% ice; 1.78 minutes after removal from LN2.

181119d00036.asd
100wt.% ice; 1.83 minutes after removal from LN2.

181119d00037.asd
100wt.% ice; 1.89 minutes after removal from LN2.

181119d00038.asd
100wt.% ice; 1.95 minutes after removal from LN2.

181119d00039.asd
100wt.% ice; 2.01 minutes after removal from LN2.

181119d00040.asd
100wt.% ice; 2.07 minutes after removal from LN2.

181119d00041.asd
100wt.% ice; 2.13 minutes after removal from LN2.

181119d00042.asd
100wt.% ice; 2.18 minutes after removal from LN2.

181119d00043.asd
100wt.% ice; 2.24 minutes after removal from LN2.

181119d00044.asd
100wt.% ice; 2.30 minutes after removal from LN2.

181119d00045.asd
100wt.% ice; 2.36 minutes after removal from LN2.

181119d00046.asd
100wt.% ice; 2.42 minutes after removal from LN2.

181119d00047.asd
100wt.% ice; 2.48 minutes after removal from LN2.

181119d00048.asd
100wt.% ice; 2.53 minutes after removal from LN2.

181119d00049.asd
100wt.% ice; 2.59 minutes after removal from LN2.

181119d00050.asd
100wt.% ice; 2.65 minutes after removal from LN2.

181119d00051.asd
100wt.% ice; 2.71 minutes after removal from LN2.

181119d00052.asd
100wt.% ice; 2.77 minutes after removal from LN2.

181119d00053.asd
100wt.% ice; 2.83 minutes after removal from LN2.

181119d00054.asd
100wt.% ice; 2.88 minutes after removal from LN2.

181119d00055.asd
100wt.% ice; 2.94 minutes after removal from LN2.

181119d00056.asd
100wt.% ice; 3.00 minutes after removal from LN2.

181119d00057.asd
100wt.% ice; 3.06 minutes after removal from LN2.

181119d00058.asd
100wt.% ice; 3.12 minutes after removal from LN2.

181119d00059.asd
100wt.% ice; 3.18 minutes after removal from LN2.

181119d00060.asd
100wt.% ice; 3.23 minutes after removal from LN2.

181119d00061.asd
100wt.% ice; 3.29 minutes after removal from LN2.

181119d00062.asd
100wt.% ice; 3.35 minutes after removal from LN2.

181119d00063.asd
100wt.% ice; 3.41 minutes after removal from LN2.

181119d00064.asd
100wt.% ice; 3.47 minutes after removal from LN2.

181119d00065.asd
100wt.% ice; 3.53 minutes after removal from LN2.

181119d00066.asd
100wt.% ice; 3.58 minutes after removal from LN2.

181119d00067.asd
100wt.% ice; 3.64 minutes after removal from LN2.

181119d00068.asd
100wt.% ice; 3.70 minutes after removal from LN2.

181119d00069.asd
100wt.% ice; 3.76 minutes after removal from LN2.

181119d00070.asd
100wt.% ice; 3.82 minutes after removal from LN2.

181119d00071.asd
100wt.% ice; 3.87 minutes after removal from LN2.

181119d00072.asd
100wt.% ice; 3.93 minutes after removal from LN2.

181119d00073.asd
100wt.% ice; 3.99 minutes after removal from LN2.

181119d00074.asd
100wt.% ice; 4.05 minutes after removal from LN2.

181119d00075.asd
100wt.% ice; 4.11 minutes after removal from LN2.

181119d00076.asd
100wt.% ice; 4.17 minutes after removal from LN2.

181119d00077.asd
100wt.% ice; 4.22 minutes after removal from LN2.

181119d00078.asd
100wt.% ice; 4.28 minutes after removal from LN2.

181119d00079.asd
100wt.% ice; 4.34 minutes after removal from LN2.

181119d00080.asd
100wt.% ice; 4.40 minutes after removal from LN2.

181119d00081.asd
100wt.% ice; 4.46 minutes after removal from LN2.

181119d00082.asd
100wt.% ice; 4.52 minutes after removal from LN2.

181119d00083.asd
100wt.% ice; 4.58 minutes after removal from LN2.

181119d00084.asd
100wt.% ice; 4.63 minutes after removal from LN2.

181119d00085.asd
100wt.% ice; 4.69 minutes after removal from LN2.

181119d00086.asd
100wt.% ice; 4.75 minutes after removal from LN2.

181119d00087.asd
100wt.% ice; 4.81 minutes after removal from LN2.

181119d00088.asd
100wt.% ice; 4.87 minutes after removal from LN2.

181119d00089.asd
100wt.% ice; 4.93 minutes after removal from LN2.

181119d00090.asd
100wt.% ice; 4.98 minutes after removal from LN2.

181119d00091.asd
100wt.% ice; 5.04 minutes after removal from LN2.

181119d00092.asd
100wt.% ice; 5.10 minutes after removal from LN2.

181119d00093.asd
100wt.% ice; 5.16 minutes after removal from LN2.

181119d00094.asd
100wt.% ice; 5.22 minutes after removal from LN2.

181119d00095.asd
100wt.% ice; 5.28 minutes after removal from LN2.

181119d00096.asd
100wt.% ice; 5.33 minutes after removal from LN2.

181119d00097.asd
100wt.% ice; 5.39 minutes after removal from LN2.

181119d00098.asd
100wt.% ice; 5.45 minutes after removal from LN2.

181119d00099.asd
100wt.% ice; 5.51 minutes after removal from LN2.

181119d00100.asd
100wt.% ice; 5.57 minutes after removal from LN2.

181119d00101.asd
100wt.% ice; 5.63 minutes after removal from LN2.

181119d00102.asd
100wt.% ice; 5.68 minutes after removal from LN2.

181119d00103.asd
100wt.% ice; 5.74 minutes after removal from LN2.

181119d00104.asd
100wt.% ice; 5.80 minutes after removal from LN2.

181119d00105.asd
100wt.% ice; 5.86 minutes after removal from LN2.

181119d00106.asd
100wt.% ice; 5.92 minutes after removal from LN2.

181119d00107.asd
100wt.% ice; 5.98 minutes after removal from LN2.

181119d00108.asd
100wt.% ice; 6.03 minutes after removal from LN2.

181119d00109.asd
100wt.% ice; 6.09 minutes after removal from LN2.

181119d00110.asd
100wt.% ice; 6.15 minutes after removal from LN2.

181119d00111.asd
100wt.% ice; 6.21 minutes after removal from LN2.

181119d00112.asd
100wt.% ice; 6.27 minutes after removal from LN2.

181119d00113.asd
100wt.% ice; 6.33 minutes after removal from LN2.

181119d00114.asd
100wt.% ice; 6.38 minutes after removal from LN2.

181119d00115.asd
100wt.% ice; 6.44 minutes after removal from LN2.

181119d00116.asd
100wt.% ice; 6.50 minutes after removal from LN2.

181119d00117.asd
100wt.% ice; 6.56 minutes after removal from LN2.

181119d00118.asd
100wt.% ice; 6.62 minutes after removal from LN2.

181119d00119.asd
100wt.% ice; 6.68 minutes after removal from LN2.

++++++++++

+++ coated ice slab++++

NWA11444-30-1
PSF 181120d00001.asd
100% ice slab, ~8 mm thick; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-30-2
PSF 181120d00002.asd
100% ice slab, ~8 mm thick with light coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-30-3
PSF 181120d00003.asd
100% ice slab, ~8 mm thick with fluffy coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-30-4
PSF 181120d00004.asd
100% ice slab, ~8 mm thick with packed coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

+++++++++++++++++++

++++40° slope tilt spectra for NWA 11444 + ice+++++

(i) Different ice:NWA 11444 ratios:~-34°C;  i=40°, e=-40° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i40e40]
181119e00001.asd
10wt.% ice + 90 wt.% NWA 11444

181119e00002.asd
20wt.% ice + 80 wt.% NWA 11444

181119e00003.asd
30wt.% ice + 70 wt.% NWA 11444

181119e00004.asd
40wt.% ice + 60 wt.% NWA 11444

181119e00005.asd
50wt.% ice + 50 wt.% NWA 11444

+++++++++

(ii) 100% ice melting spectral changes; various times after removal from LN2: i=40°, e=-40° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 181119 lunar ice mixtures i20e20]
None done.

++++++++++

+++ coated ice slab++++

NWA11444-40-1
PSF 181120e00001.asd
100% ice slab, ~8 mm thick; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-40-2
PSF 181120e00002.asd
100% ice slab, ~8 mm thick with light coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-40-3
PSF 181120e00003.asd
100% ice slab, ~8 mm thick with fluffy coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

NWA11444-40-4
PSF 181120e00004.asd
100% ice slab, ~8 mm thick with packed coating of unsorted NWA 11444; ~-34°C;  i=e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; 0.08 minutes after removal from LN2 bath; ASD 4 [Directory: 181120 lunar ice coatings i10e10].

++++++++++++++++++++++++
(b) Raman spot spectra: iRaman 532 nm; i=e=0°; ~4 cm-1 resolution; 174-4002 cm-1 range; 50 mW laser power; variable number of spectra averaged [Directory: 200721 Lunar Raman]. 

NWA 11444
PSF 200721_001_NWA11444_RockE_Spot1.txtr
Spot 1 on whole rock: dark spot.

NWA 11444
PSF 200721_002_NWA11444_RockE_Spot2.txtr
Spot 2 on whole rock: dark spot.

NWA 11444
PSF 200721_003_NWA11444_RockE_Spot3.txtr
Spot 3 on whole rock: light spot.

NWA 11444
PSF 200721_004_NWA11444_RockB_Spot1.txtr
Spot 1 on whole rock: dark spot.

NWA 11444
PSF 200721_005_NWA11444_RockB_Spot2.txtr
Spot 2 on whole rock: light/dark spot.

NWA 11444
PSF 200721_006_NWA11444_RockB_Spot3.txtr
Spot 3 on whole rock: light spot.

NWA 11444
PSF 200721_007_NWA11444_Powder_Spot1.txtr
Spot 1 on <1 mm powder.

NWA 11444
PSF 200721_008_NWA11444_Powder_Spot2.txtr
Spot 2 on <1 mm powder.

+++++++++++++++++++++++
13.4 Raman test spectra on points on lunar meteorite saw-cut slab – February 2021

iRaman 532 nm: 174-4002 cm-1 range; ~4 cm-1 resolution [Directory: 210208 LunaR Raman meteorite].

NWA 11474(196) spot 1
PSF 210210_001_532_NWA11474_spot1.txtr
60 spectra averaged; 7,000 msec integration time.

NWA 11474(196) spot 2
PSF 210210_002_532_NWA11474_spot2.txtr
125 spectra averaged; 3,000 msec integration time.

NWA 11474(196) spot 3
PSF 210210_003_532_NWA11474_spot3.txtr
60 spectra averaged; 8,000 msec integration time.

NWA 11474(196) spot 4
PSF 210210_004_532_NWA11474_spot4.txtr
125 spectra averaged; 3,000 msec integration time.

NWA 11474(196) spot 5
PSF 210210_005_532_NWA11474_spot5.txtr
30 spectra averaged; 10,000 msec integration time.

++++++

NWA 12593(96) spot 1
PSF 210208_001_532_NWA12593(96)_spot1.txtr
63 spectra averaged; 5,000 msec integration time.

NWA 12593(96) spot 2
PSF 210208_001_532_NWA12593(96)_spot2.txtr
125 spectra averaged; 3,000 msec integration time.

NWA 12593(96) spot 3
PSF 210208_001_532_NWA12593(96)_spot3.txtr
125 spectra averaged; 3,000 msec integration time.

NWA 12593(96) spot 4
PSF 210208_001_532_NWA12593(96)_spot4.txtr
125 spectra averaged; 3,000 msec integration time.

NWA 12593(96) spot 5
PSF 210208_001_532_NWA12593(96)_spot5.txtr
125 spectra averaged; 3,000 msec integration time.

NWA 12593(96) spot 6
PSF 210208_001_532_NWA12593(96)_spot6.txtr
60 spectra averaged; 8,000 msec integration time.

NWA 12593(96) spot 7
PSF 210208_001_532_NWA12593(96)_spot7.txtr
60 spectra averaged; 8,000 msec integration time.

NWA 12593(96) spot 8
PSF 210208_001_532_NWA12593(96)_spot8.txtr
60 spectra averaged; 8,000 msec integration time.

NWA 12593(96) spot 9
PSF 210208_001_532_NWA12593(96)_spot9.txtr
60 spectra averaged; 5,000 msec integration time.

NWA 12593(96) spot 10
PSF 210208_001_532_NWA12593(96)_spot10.txtr
12 spectra averaged; 25,000 msec integration time.

NWA 12593(96) spot 11
PSF 210208_001_532_NWA12593(96)_spot11.txtr
12 spectra averaged; 25,000 msec integration time.

++++++++++++++++++++++++++++++++

13.5.d. Lunar samples spectrally characterized at the ROM – October 2016.

NWA 2042
PSF 161012a.078
slab 1, spot A – iron-rich inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2042
PSF 161012a.079
slab 1, spot B – iron-rich inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2042
PSF 161012a.080
slab 1, spot C – silicate + iron area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2042
PSF 161012a.081
slab 1, spot D – average area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2042
PSF 161012a.082
slab 1, spot E – silicate + iron area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 13.

14. Chromates
14a. Sample Descriptions - Chromates
[FORMAT: Sample #, type, locality, association/comments, (supplier/supplier sample number)].

Note: sample IDs in italics are either too sparse or intimate/fine-grained to separate.

Note: sample names are generally those used by the suppliers (and may be erroneous).

Sample ID

Description










CRC001
Crocoite: Tasmania, Australia (PbCrO4) (from Sue Atkinson) (for pigments project).

CRC002
Crocoite: Beresowsk, Urals, USSR (PbCrO4) (Smithsonian Institution MNMH #B11577) (for pigments project).
CRC003
Crocoite: Dundas, Tasmania, Australia (PbCrO4) (Smithsonian Institution MNMH #C4606-6) (for pigments project).
PIG017
Synthetic lead (II) chromate ((PbCrO4); synthetic version of crocoite. See Pigments section (for pigments project). See section 19 of this document for data.
PIG020
Synthetic barium chromate (BaCrO4). See Pigments section (for pigments project). See section 19 of this document for data.
CHO001
Synthetic potassium dichromate [K2Cr2O7]. Aldrich #20,780-2; lot no. 07805CS); 100 grams; for iron wet chemistry titration.
See also section 19 for any relevant pigment samples.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
14b. XRD Data - Chromates
University of Winnipeg rapid-scan data (2015)
Sample ID
Phases identified

CRC002
crocoite

CRC003
crocoite

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

14c. Compositional Data - Chromates
None (see Pigments section).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

14d. Spectral Data - Chromates

CRC002
PSF 150324a.009
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++

CRC003
PSF 150324a.010
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150324 Nasty Pigments].
++++++
See also Pigments section.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 14.
15. Mineral Mixtures
15a. Sample Descriptions - Mineral Mixtures
15.1. Two-pyroxene mixtures and olivine + 2 pyroxenes
15.2. Olivine + orthopyroxene

15.3. Olivine + clinopyroxene

15.4. Olivine + metal

15.5. Olivine + orthopyroxene + metal

15.6. Olivine + opaques

15.7. Olivine + chromite ± metal

15.8. Orthopyroxene + metal and/or opaques

15.9. Orthopyroxene + palagonite, hematite, or plagioclase feldspar

15.10. Metal + accessory phases

15.11. Aubrite + troilite

15.12. Diaspore + other phases

15.13. Carbonates/nitrates + basalt or palagonite

15.14. Two-clay mixtures

15.15. Gypsum + basalt + palagonite

15.16. Barium sulphate + pyroxene

15.17. Pancam mixture tests (basalt, silica, sulphate, palagonite)

15.18. Gaffey (1976) mineral mixtures and miscellaneous samples

15.19. Basalt + ilmenite

15.20. Carbonaceous chondrite simulants (clays/hydroxides + carbon black)
15.21. Carbonaceous chondrite simulants (clays + graphite/magnetite)

15.22. Glass + mafic silicates

15.23. Asteroid Boznemcova/angrite meteorite simulants (pyroxene, plagioclase, olivine)

15.24. HED meteorites + CM2 carbonaceous chondrites and CM2-bearing howardite

15.25. Air-sensitive mixtures

15.26. PAHs/carbon + other materials
15.27. Two-pyroxene mixtures (RELAB archive)
15.28. Synthetic organics + magnesium fluoride

15.29. CM2 chondrite + magnetite

15.30. Various mixtures for Ceres and Bennu
15.31. Clay, planetary soil analogues + organic mixtures for Tristan Dequaire (>Dec. 2015)
15.32. Nontronite + other phases (2016)

15.33. Perchlorate mixtures (2016)

15.34. JSC-Mars 1 + oxalates

15.35. Carbonates/oxalates + opaques
15.36. Ilmenite + hematite mixtures

15.37. Hematite-bearing mixtures

15.38. Mike McCraig Mineral Mixtures

15.39. Carbonate mixtures

15.40. Basalt + spinel mixtures

15.41. New MUD mixtures (for Ceres and Bennu) – August 2024

15.42. New mixtures (opaques +) for Tarda and Bennu

+++++++++++++++++++++++++++++++++++++++++++++++
Note: see also section 32 of this document for additional samples and mixture measured in a controlled atmosphere.

Unless otherwise indicated, intimate powdered mixtures are implied.
FORMAT: 
Sample No., end members: descriptions, abundances, grain sizes in microns, (old sample I.D. no. if any).

NOTE: 
Samples are sorted by project type. 


End member abundances expressed on a weight % basis unless otherwise indicated.

Intimately mixed mixtures unless otherwise indicated.


Abbreviations: OLV: olivine; OPX: orthopyroxene, aka low-calcium pyroxene; CPX: clinopyroxene, aka high-calcium pyroxene; type A CPX: spectral type A clinopyroxene (Adams, 1974); type B CPX: spectral type B clinopyroxene (Adams, 1974).
Note: unless otherwise noted, all mixtures are prepared on a weight percentage basis.

+++++++
15.1. Two-pyroxene and olivine + 2 pyroxenes mixtures
Sample ID
Description








15.1a. Two pyroxene mixtures
PYX009
100% PYX009 (type A clinopyroxene), 45- 90µm.
PYX038
100% PYX038 (type A clinopyroxene?), 45-90 µm.

MIX201
PYX009:PYX038, 60:40, both 45-90 µm.


++++++

PYX023
100% PYX023 (orthopyroxene), 45-90 µm.

PYX032
100% PYX032 (orthopyroxene); 45-90 µm.

MIX205
44% PYX023 (45-90µm) + 56% PYX032 (45-90µm) (simulation of another pyroxene).

++++++

15.1.1a. Series 1: PYX032 (OPX) + PYX040 (type B CPX)

PYX032
100% PYX032; 45-90 µm.

PYX040
100% PYX040; 45-90 µm.

MIX230
75% PYX032 (orthopyroxene, 45-90µm) + 25% PYX040 (clinopyroxene, 45-90µm).

MIX231
50% PYX032 (orthopyroxene, 45-90µm) + 50% PYX040 (clinopyroxene, 45-90µm).

MIX232
25% PYX032 (orthopyroxene, 45-90µm) + 75% PYX040 (clinopyroxene, 45-90µm).

++++++
15.1.2a. Series 2: PYX003 (OPX) + PYX036 (type B CPX)

PYX003
100% PYX003; 45-90 µm.

PYX036
100% pyx036; 45-90 µm.

MIX250
75% PYX003 (orthopyroxene, 45-90µm) + 25% PYX036 (clinopyroxene, 45-90µm).

MIX251
50% PYX003 (orthopyroxene, 45-90µm) + 50% PYX036 (clinopyroxene, 45-90µm).

MIX252
25% PYX003 (orthopyroxene, 45-90µm) + 75% PYX036 (clinopyroxene, 45-90µm).

++++++
15.1.3a. Series 3a: Type A clinopyroxene (PYX150) + orthopyroxene (PYX042); both <45 µm

COMIX1101
0% type A clinopyroxene (PYX150; <45 µm) + 100% orthopyroxene (PYX042; <45 µm).

COMIX1102
10% type A clinopyroxene (PYX150; <45 µm) + 90% orthopyroxene (PYX042; <45 µm).

COMIX1103
20% type A clinopyroxene (PYX150; <45 µm) + 80% orthopyroxene (PYX042; <45 µm).

COMIX1104
30% type A clinopyroxene (PYX150; <45 µm) + 70% orthopyroxene (PYX042; <45 µm).

COMIX1105
40% type A clinopyroxene (PYX150; <45 µm) + 60% orthopyroxene (PYX042; <45 µm).

COMIX1106
50% type A clinopyroxene (PYX150; <45 µm) + 50% orthopyroxene (PYX042; <45 µm).

COMIX1107
60% type A clinopyroxene (PYX150; <45 µm) + 40% orthopyroxene (PYX042; <45 µm).

COMIX1108
70% type A clinopyroxene (PYX150; <45 µm) + 30% orthopyroxene (PYX042; <45 µm).

COMIX1108.5
75% type A clinopyroxene (PYX150; <45 µm) + 25% orthopyroxene (PYX042; <45 µm).

COMIX1109
80% type A clinopyroxene (PYX150; <45 µm) + 20% orthopyroxene (PYX042; <45 µm).

COMIX1109.5
85% type A clinopyroxene (PYX150; <45 µm) + 15% orthopyroxene (PYX042; <45 µm).

COMIX1110
90% type A clinopyroxene (PYX150; <45 µm) + 10% orthopyroxene (PYX042; <45 µm).

COMIX1110.5
95% type A clinopyroxene (PYX150; <45 µm) + 5% orthopyroxene (PYX042; <45 µm).

COMIX1111
100% type A clinopyroxene (PYX150; <45 µm) + 0% orthopyroxene (PYX042; <45 µm).

++++++
15.1.4a. Series 3b: Type A clinopyroxene (PYX150) + orthopyroxene (PYX042); both 45-90 µm

COMIX2101
0% type A clinopyroxene (PYX150; 45-90 µm) + 100% orthopyroxene (PYX042; 45-90 µm).

COMIX2102
10% type A clinopyroxene (PYX150; 45-90 µm) + 90% orthopyroxene (PYX042; 45-90 µm).

COMIX2103
20% type A clinopyroxene (PYX150; 45-90 µm) + 80% orthopyroxene (PYX042; 45-90 µm).

COMIX2104
30% type A clinopyroxene (PYX150; 45-90 µm) + 70% orthopyroxene (PYX042; 45-90 µm).

COMIX2105
40% type A clinopyroxene (PYX150; 45-90 µm) + 60% orthopyroxene (PYX042; 45-90 µm).

COMIX2106
50% type A clinopyroxene (PYX150; 45-90 µm) + 50% orthopyroxene (PYX042; 45-90 µm).

COMIX2107
60% type A clinopyroxene (PYX150; 45-90 µm) + 40% orthopyroxene (PYX042; 45-90 µm).

COMIX2108
70% type A clinopyroxene (PYX150; 45-90 µm) + 30% orthopyroxene (PYX042; 45-90 µm).

COMIX2108.5
75% type A clinopyroxene (PYX150; 45-90 µm) + 25% orthopyroxene (PYX042; 45-90 µm).

COMIX2109
80% type A clinopyroxene (PYX150; 45-90 µm) + 20% orthopyroxene (PYX042; 45-90 µm).

COMIX2109.5
85% type A clinopyroxene (PYX150; 45-90 µm) + 15% orthopyroxene (PYX042; 45-90 µm).

COMIX2110
90% type A clinopyroxene (PYX150; 45-90 µm) + 10% orthopyroxene (PYX042; 45-90 µm).

COMIX210.5
95% type A clinopyroxene (PYX150; 45-90 µm) + 5% orthopyroxene (PYX042; 45-90 µm).

COMIX2111
100% type A clinopyroxene (PYX150; 45-90 µm) + 0% orthopyroxene (PYX042; 45-90 µm).

++++++
15.1.5a. Series 4a: Type B clinopyroxene (PYX017) + orthopyroxene (PYX032); both <45 µm
PMIX1001
100% type B clinopyroxene (PYX017; <45 µm) + 0% orthopyroxene (PYX032; <45 µm).

PMIX1002
90% type B clinopyroxene (PYX017; <45 µm) + 10% orthopyroxene (PYX032; <45 µm).

PMIX1003
80% type B clinopyroxene (PYX017; <45 µm) + 20% orthopyroxene (PYX032; <45 µm).

PMIX1004
70% type B clinopyroxene (PYX017; <45 µm) + 30% orthopyroxene (PYX032; <45 µm).

PMIX1005
60% type B clinopyroxene (PYX017; <45 µm) + 40% orthopyroxene (PYX032; <45 µm).

PMIX1006
50% type B clinopyroxene (PYX017; <45 µm) + 50% orthopyroxene (PYX032; <45 µm).

PMIX1007
40% type B clinopyroxene (PYX017; <45 µm) + 60% orthopyroxene (PYX032; <45 µm).

PMIX1008
30% type B clinopyroxene (PYX017; <45 µm) + 70% orthopyroxene (PYX032; <45 µm).

PMIX1009
20% type B clinopyroxene (PYX017; <45 µm) + 80% orthopyroxene (PYX032; <45 µm).

PMIX1010
10% type B clinopyroxene (PYX017; <45 µm) + 90% orthopyroxene (PYX032; <45 µm).

PMIX1011
0% type B clinopyroxene (PYX017; <45 µm) + 100% orthopyroxene (PYX032; <45 µm).

++++++
15.1.6a. Series 4b: Type B clinopyroxene (PYX017) + orthopyroxene (PYX032); both 90-180 µm
PMIX2001
100% type B clinopyroxene (PYX017; 90-180 µm) + 0% orthopyroxene (PYX032; 90-180 µm).

PMIX2002
80% type B clinopyroxene (PYX017; 90-180 µm) + 20% orthopyroxene (PYX032; 90-180 µm).

PMIX2003
60% type B clinopyroxene (PYX017; 90-180 µm) + 40% orthopyroxene (PYX032; 90-180 µm).

PMIX2004
40% type B clinopyroxene (PYX017; 90-180 µm) + 60% orthopyroxene (PYX032; 90-180 µm).

PMIX2005
20% type B clinopyroxene (PYX017; 90-180 µm) + 80% orthopyroxene (PYX032; 90-180 µm).

PMIX2006
0% type B clinopyroxene (PYX017; 90-180 µm) + 100% orthopyroxene (PYX032; 90-180 µm).

++++++
15.1.7a. Series 5a: Type B clinopyroxene (PYX005) + orthopyroxene (PYX023); both <45 µm
PMIX1101
100% type B clinopyroxene (PYX005; <45 µm) + 0% orthopyroxene (PYX023; <45 µm).

PMIX1102
90% type B clinopyroxene (PYX005; <45 µm) + 10% orthopyroxene (PYX023; <45 µm).

PMIX1103
80% type B clinopyroxene (PYX005; <45 µm) + 20% orthopyroxene (PYX023; <45 µm).

PMIX1104
70% type B clinopyroxene (PYX005; <45 µm) + 30% orthopyroxene (PYX023; <45 µm).

PMIX1105
60% type B clinopyroxene (PYX005; <45 µm) + 40% orthopyroxene (PYX023; <45 µm).

PMIX1106
50% type B clinopyroxene (PYX005; <45 µm) + 50% orthopyroxene (PYX023; <45 µm).

PMIX1107
40% type B clinopyroxene (PYX005; <45 µm) + 60% orthopyroxene (PYX023; <45 µm).

PMIX1108
30% type B clinopyroxene (PYX005; <45 µm) + 70% orthopyroxene (PYX023; <45 µm).

PMIX1109
20% type B clinopyroxene (PYX005; <45 µm) + 80% orthopyroxene (PYX023; <45 µm).

PMIX1110
10% type B clinopyroxene (PYX005; <45 µm) + 90% orthopyroxene (PYX023; <45 µm).

PMIX1111
0% type B clinopyroxene (PYX005; <45 µm) + 100% orthopyroxene (PYX023; <45 µm).

++++++
15.1.8a. Series 5b: Type B clinopyroxene (PYX005) + orthopyroxene (PYX023); both 90-180 µm
PMIX2101
100% type B clinopyroxene (PYX005; 90-180 µm) + 0% orthopyroxene (PYX023; 90-180 µm).

PMIX2102
80% type B clinopyroxene (PYX005; 90-180 µm) + 20% orthopyroxene (PYX023; 90-180 µm).

PMIX2103
60% type B clinopyroxene (PYX005; 90-180 µm) + 40% orthopyroxene (PYX023; 90-180 µm).

PMIX2104
40% type B clinopyroxene (PYX005; 90-180 µm) + 60% orthopyroxene (PYX023; 90-180 µm).

PMIX2105
20% type B clinopyroxene (PYX005; 90-180 µm) + 80% orthopyroxene (PYX023; 90-180 µm).

PMIX2106
0% type B clinopyroxene (PYX005; 90-180 µm) + 100% orthopyroxene (PYX023; 90-180 µm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.1.9. Olivine + 2 pyroxene mixtures and two of three components

OOCMIX01
75% OLV003 (olivine, <45 µm) + 25% PYX042 (orthopyroxene, <45 µm) + 0% PYX016 (clinopyroxene, <45 µm).

OOCMIX02
67% OLV003 (olivine, <45 µm) + 23% PYX042 (orthopyroxene, <45 µm) + 10% PYX016 (clinopyroxene, <45 µm).

OOCMIX03
60% OLV003 (olivine, <45 µm) + 20% PYX042 (orthopyroxene, <45 µm) + 20% PYX016 (clinopyroxene, <45 µm).

OOCMIX04
53% OLV003 (olivine, <45 µm) + 18% PYX042 (orthopyroxene, <45 µm) + 30% PYX016 (clinopyroxene, <45 µm).

OOCMIX05
45% OLV003 (olivine, <45 µm) + 15% PYX042 (orthopyroxene, <45 µm) + 40% PYX016 (clinopyroxene, <45 µm).

OOCMIX06
37% OLV003 (olivine, <45 µm) + 13% PYX042 (orthopyroxene, <45 µm) + 50% PYX016 (clinopyroxene, <45 µm).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.2a. Olivine + orthopyroxene mixtures

OLV010
100% OLV010; <63 µm.
OLV010
100% OLV010; 63-125 µm.

PYX042
100% PYX042 (OPX); <63 µm.

PYX042
100% PYX042 (OPX); 63-125 µm.

MIX203
OLV010:PYX042, 50:50, 31.5:29.5 of <63µm sized minerals and 18.5:20.5 of 63-125µm minerals (regolith simulation).


++++++

OLV003
100% OLV003; 45-90 µm.

PYX032
100% PYX032 (OPX); 45-90 µm.

MIX210
50% OLV003 (olivine, 45-90µm) + 50% PYX032 (orthopyroxene, 45-90µm).


++++++

OLV020
100% OLV020; 45-90 µm.

PYX032
100% PYX032 (OPX); 45-90 µm.

MIX212
50% OLV020 (olivine, 45-90µm) + 50% PYX032 (orthopyroxene, 45-90µm).

++++++
15.2.1a. Series 1: OLV022 + PYX003 (OPX)
OLV022
100% OLV022; 45-90 µm.

PYX003
100% PYX003 (OPX); 45-90 µm.

MIX240
75% OLV022 (olivine, 45-90µm) + 25% PYX003 (orthopyroxene, 45-90µm).

MIX241
50% OLV022 (olivine, 45-90µm) + 50% PYX003 (orthopyroxene, 45-90µm).

MIX242
25% OLV022 (olivine, 45-90µm) + 75% PYX003 (orthopyroxene, 45-90µm).

++++++
15.2.2a. Series 2a: Orthopyroxene (PYX042) + olivine (OLV003); both <38 µm.

POMIX1001
0% orthopyroxene (PYX042; <38 µm) + 100% olivine (OLV003; <38 µm).

POMIX1002
10% orthopyroxene (PYX042; <38 µm) + 90% olivine (OLV003; <38 µm).

POMIX1003
20% orthopyroxene (PYX042; <38 µm) + 80% olivine (OLV003; <38 µm).

POMIX1004
30% orthopyroxene (PYX042; <38 µm) + 70% olivine (OLV003; <38 µm).

POMIX1005
40% orthopyroxene (PYX042; <38 µm) + 60% olivine (OLV003; <38 µm).

POMIX1006
50% orthopyroxene (PYX042; <38 µm) + 50% olivine (OLV003; <38 µm).

POMIX1007
60% orthopyroxene (PYX042; <38 µm) + 40% olivine (OLV003; <38 µm).

POMIX1008
70% orthopyroxene (PYX042; <38 µm) + 30% olivine (OLV003; <38 µm).

POMIX1009
80% orthopyroxene (PYX042; <38 µm) + 20% olivine (OLV003; <38 µm).

POMIX1010
90% orthopyroxene (PYX042; <38 µm) + 10% olivine (OLV003; <38 µm).

POMIX1011
100% orthopyroxene (PYX042; <38 µm) + 0% olivine (OLV003; <38 µm).

++++++
15.2.3a. Series 2b: Orthopyroxene (PYX042) + olivine (OLV003); 38-53 µm.

POMIX2001
0% orthopyroxene (PYX042; 38-53 µm) + 100% olivine (OLV003; 38-53 µm).

POMIX2002
10% orthopyroxene (PYX042; 38-53 µm) + 90% olivine (OLV003; 38-53 µm).

POMIX2003
20% orthopyroxene (PYX042; 38-53 µm) + 80% olivine (OLV003; 38-53 µm).

POMIX2004
30% orthopyroxene (PYX042; 38-53 µm) + 70% olivine (OLV003; 38-53 µm).

POMIX2005
40% orthopyroxene (PYX042; 38-53 µm) + 60% olivine (OLV003; 38-53 µm).

POMIX2006
50% orthopyroxene (PYX042; 38-53 µm) + 50% olivine (OLV003; 38-53 µm).

POMIX2007
60% orthopyroxene (PYX042; 38-53 µm) + 40% olivine (OLV003; 38-53 µm).

POMIX2008
70% orthopyroxene (PYX042; 38-53 µm) + 30% olivine (OLV003; 38-53 µm).

POMIX2009
80% orthopyroxene (PYX042; 38-53 µm) + 20% olivine (OLV003; 38-53 µm).

POMIX2010
90% orthopyroxene (PYX042; 38-53 µm) + 10% olivine (OLV003; 38-53 µm).

POMIX2011
100% orthopyroxene (PYX042; 38-53 µm) + 0% olivine (OLV003; 38-53 µm).

++++++
15.2.4a. Series 2c: Orthopyroxene (PYX042) + olivine (OLV003); 90-125 µm.

POMIX3001
0% orthopyroxene (PYX042; 90-125 µm) + 100% olivine (OLV003; 90-125 µm).

POMIX3002
10% orthopyroxene (PYX042; 90-125 µm) + 90% olivine (OLV003; 90-125 µm).

POMIX3003
20% orthopyroxene (PYX042; 90-125 µm) + 80% olivine (OLV003; 90-125 µm).

POMIX3004
30% orthopyroxene (PYX042; 90-125 µm) + 70% olivine (OLV003; 90-125 µm).

POMIX3005
40% orthopyroxene (PYX042; 90-125 µm) + 60% olivine (OLV003; 90-125 µm).

POMIX3006
50% orthopyroxene (PYX042; 90-125 µm) + 50% olivine (OLV003; 90-125 µm).

POMIX3007
60% orthopyroxene (PYX042; 90-125 µm) + 40% olivine (OLV003; 90-125 µm).

POMIX3008
70% orthopyroxene (PYX042; 90-125 µm) + 30% olivine (OLV003; 90-125 µm).

POMIX3009
80% orthopyroxene (PYX042; 90-125 µm) + 20% olivine (OLV003; 90-125 µm).

POMIX3010
90% orthopyroxene (PYX042; 90-125 µm) + 10% olivine (OLV003; 90-125 µm).

POMIX3011
100% orthopyroxene (PYX042; 90-125 µm) + 0% olivine (OLV003; 90-125 µm).

++++++
15.2.5a. Series 2d: Orthopyroxene (PYX042) + olivine (OLV003); 63-90 µm (original M.Sc. 1986 samples).

POMIX4001
0% orthopyroxene (PYX042; 63-90 µm) + 100% olivine (OLV003; 63-90 µm).

POMIX4002
10% orthopyroxene (PYX042; 63-90 µm) + 90% olivine (OLV003; 63-90 µm).

POMIX4003
80% orthopyroxene (PYX042; 63-90 µm) + 20% olivine (OLV003; 63-90 µm).

POMIX4004
70% orthopyroxene (PYX042; 63-90 µm) + 30% olivine (OLV003; 63-90 µm).

POMIX4005
60% orthopyroxene (PYX042; 63-90 µm) + 40% olivine (OLV003; 63-90 µm).

POMIX4006
50% orthopyroxene (PYX042; 63-90 µm) + 50% olivine (OLV003; 63-90 µm).

POMIX4007
40% orthopyroxene (PYX042; 63-90 µm) + 60% olivine (OLV003; 63-90 µm).

POMIX4008
30% orthopyroxene (PYX042; 63-90 µm) + 70% olivine (OLV003; 63-90 µm).

POMIX4009
20% orthopyroxene (PYX042; 63-90 µm) + 80% olivine (OLV003; 63-90 µm).

POMIX4010
90% orthopyroxene (PYX042; 63-90 µm) + 10% olivine (OLV003; 63-90 µm).

POMIX4011
100% orthopyroxene (PYX042; 63-90 µm) + 0% olivine (OLV003; 63-90 µm).

POMIX4012
95% orthopyroxene (PYX042; 63-90 µm) + 5% olivine (OLV003; 63-90 µm).

POMIX4013
85% orthopyroxene (PYX042; 63-90 µm) + 15% olivine (OLV003; 63-90 µm).

++++++
15.2.6a. Series 2e: Orthopyroxene (PYX042) + olivine (OLV010); 45-63 µm (original M.Sc. 1986 samples).

POMIX5001
0% orthopyroxene (PYX042; 45-63 µm) + 100% olivine (OLV010; 45-63 µm).

POMIX5002
10% orthopyroxene (PYX042; 45-63 µm) + 90% olivine (OLV010; 45-63 µm).

POMIX5006
50% orthopyroxene (PYX042; 45-63 µm) + 50% olivine (OLV010; 45-63 µm).

POMIX5010
90% orthopyroxene (PYX042; 45-63 µm) + 10% olivine (OLV010; 45-63 µm).

POMIX5011
100% orthopyroxene (PYX042; 45-63 µm) + 0% olivine (OLV010; 45-63 µm).

POMIX5014
25% orthopyroxene (PYX042; 45-63 µm) + 75% olivine (OLV010; 45-63 µm).

POMIX5015
75% orthopyroxene (PYX042; 45-63 µm) + 25% olivine (OLV010; 45-63 µm).

15.2.7. End members from original M.Sc. series

POMIX6000
100% olivine: “Olivine. <90 µm. Tim.” “Good stuff (olivine) wrong sieve”.

POMIX6001
100% olivine: “Olivine <63 µm. KLR.” “OLV01. <63 µ. No wash. KLR ”.

POMIX6002
100% olivine: “Olivine. 38-53 µm. Tim.” “38-53 µm. Olivine. Resieved final”.

POMIX6003
100% olivine: “Olivine. <38 µm. Tim.” “<38 µm. Olivine. Resieved final”.

POMIX6004
100% olivine: “Olivine. <38 µm. Tim.” “<38 µm. Olivine. (left over from final sieve of 38-53 µm)”.

POMIX6005
100% olivine: “Olivine. <63 µm. Tim.” “<63 µm. Olivine.”.

POMIX6006
100% olivine: “Olivine. <45 µm. KLR.” “OLV 01 <45 µ. KLR”.

POMIX6007
100% olivine: “Olivine. <38 µm. Tim.” “OLV. To resieve. <38 µm”.

++++++
POMIX7000
100% orthopyroxene. “Pyroxene. <38 µm. Tim.” “<38 µm. OPX. Resieved & everything. Tim”.

POMIX7001
100% orthopyroxene. “Pyroxene. <38 µm. Tim.” “<38 µm. OPX. Fini - sieved. Tim”.

POMIX7002
100% orthopyroxene. “Pyroxene. <38 µm. Tim.” “<38 µm. Orthopyroxene. 4. Tim”.

POMIX7003
100% orthopyroxene. “Pyroxene. <38 µm. Tim.” “Misc. OPX. Clumps of <38 µm etc. (batch #2)”.

POMIX7005
100% orthopyroxene. “<38 µm. OPX. Fini-resieved. Tim”.

POMIX7006
100% orthopyroxene. “Pyroxene. <45. KLR.” “PYX02. <45 µ. KLR”.

POMIX7007
100% orthopyroxene. “Pyroxene. <63 µ. KLR.” “PYX 02. <63 µm. No wash. KLR”.

POMIX7008
100% orthopyroxene. “Pyroxene. 38-53 µm. Tim.” “38-53 µm. Wet and dry sieved. Batch #1”.

POMIX7009
100% orthopyroxene. “Pyroxene. 38-53 µm. Tim.” “38-53 µm. Dry sieved. Wet sieved. 2nd batch. 6/13(?)”.

POMIX7010
100% orthopyroxene. “Pyroxene. 38-53 µm. Tim.” “38-53 µm. OPX. Wet & dry sieved. 1st batch”.

POMIX7011
100% orthopyroxene. “Pyroxene. 38-53 µm. Tim.” “38-53 µm. OPX. Dry sieved. Wet sieved. Ult. Sieved. Burnt. Fire extinguished. Mixed batch”.

POMIX7012
100% orthopyroxene. “Pyroxene. 53-63 µm. Tim.” “53-63 µm. OPX. Dry sieved. Wet sieved. Fini? Mixed batch, 6/12”.

POMIX7013
100% orthopyroxene. “Pyroxene. 63-90 µm” “63-90 µm. OPX. Dry sieved. Wet sieved”.

POMIX7014
“Fiber from PYX.” “Fiberous material from PYX 02. KLR”.

POMIX7015
“HW(?) PYX?. Tim.” “Hawaiian pyroxene  1 stuff (black stuff in sand from Hilo)”.

POMIX7016
“<<38. 10/90 O/P. Tim.” “OLV/PYX, 10/90. (PX = .901). 3 g. <<38 µm. Tim”.

M.Sc. series: used PYX02 = my PYX042; OLV is Green Sand Beach = my OLV010.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.3a. Olivine + clinopyroxene mixtures

OLV003
100% OLV003; 45-90 µm.
PYX026
100% PYX026 (type A CPX); 45-90 µm.

MIX211
50% OLV003 (olivine, 45-90µm) + 50% PYX026 (clinopyroxene, 45-90µm).


++++++

OLV022
100% OLV022; 45-90 µm.

PYX036
100% PYX036 (type B CPX); 45-90 µm.

MIX213
50% OLV022 (olivine, 45-90µm) + 50% PYX036 (clinopyroxene, 45-90µm).

++++++
15.3.1a. Series 1: OLV020 + PYX040 (type B CPX)

OLV020
100% OLV020; 45-90 µm.

PYX040
100% PYX040; 45-90 µm.

MIX220
75% OLV020 (olivine, 45-90µm) + 25% PYX040 (clinopyroxene, 45-90µm).

MIX221
50% OLV020 (olivine, 45-90µm) + 50% PYX040 (clinopyroxene, 45-90µm).

MIX222
25% OLV020 (olivine, 45-90µm) + 75% PYX040 (clinopyroxene, 45-90µm).

++++++

15.3.2a. Series 2: OLV003 + PYX150 (type A CPX) – August 2009
OCMIX1001
100% OLV003 (olivine, <45 µm) + 0% PYX150 (clinopyroxene, <45µm)

OCMIX1002
90% OLV003 (olivine, <45 µm) + 10% PYX150 (clinopyroxene, <45µm)

OCMIX1003
80% OLV003 (olivine, <45 µm) + 20% PYX150 (clinopyroxene, <45µm)

OCMIX1004
70% OLV003 (olivine, <45 µm) + 30% PYX150 (clinopyroxene, <45µm)

OCMIX1005
60% OLV003 (olivine, <45 µm) + 40% PYX150 (clinopyroxene, <45µm)

OCMIX1006
50% OLV003 (olivine, <45 µm) + 50% PYX150 (clinopyroxene, <45µm)

OCMIX1007
40% OLV003 (olivine, <45 µm) + 60% PYX150 (clinopyroxene, <45µm)

OCMIX1008
30% OLV003 (olivine, <45 µm) + 70% PYX150 (clinopyroxene, <45µm)

OCMIX1009
20% OLV003 (olivine, <45 µm) + 80% PYX150 (clinopyroxene, <45µm)

OCMIX1010
10% OLV003 (olivine, <45 µm) + 90% PYX150 (clinopyroxene, <45µm)

OCMIX1011
0% OLV003 (olivine, <45 µm) + 100% PYX150 (clinopyroxene, <45µm)

++++++
15.3.3a. OLV003 (<45 μm) + PYX016 (type B CPX, <45 μm) – April 2010

OLV003
100% OLV003, <45 μm.

PYX016
100% PYX016, <45 μm.

MIX031
80 wt.% OLV003 (<45 μm) + 20 wt.% PYX016 (<45 μm).

MIX032
60 wt.% OLV003 (<45 μm) + 40 wt.% PYX016 (<45 μm).

MIX033
40 wt.% OLV003 (<45 μm) + 60 wt.% PYX016 (<45 μm).

MIX034
20 wt.% OLV003 (<45 μm) + 80 wt.% PYX016 (<45 μm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.4a. Olivine + metal (weight % mixtures)
15.4.1a. Series 1: OLV003 + MET101

OLV003
100% OLV003; 45-90 µm.

MET101
100% MET101; 45-90 µm (beaten).

MIX260
75% OLV003 (olivine, 45-90µm), 25% MET101 (meteoritic metal, 45-90µm (beaten)), (#B6b).

MIX261
50% OLV003 (olivine, 45-90µm) + 50% MET101 (meteoritic metal, 45-90µm (beaten)), (#B6c).

MIX262
25% OLV003 (olivine, 45-90µm) + 75% MET101 (meteoritic metal, 45-90µm (beaten)), (#B6d).

MIX263
75% OLV003 (olivine,<45µm) + 25% MET101 (meteoritic metal, <45µm (beaten)), (#MIX105).

++++++
15.4.2a. Series 2: OLV003 + MET101A

MOMIX2001
100% olivine (OLV003; <45 µm) + 0% meteoritic metal (MET101A; <45 µm) (aka OLV003).

MOMIX2002
90% olivine (OLV003; <45 µm) + 10% meteoritic metal (MET101A; <45 µm).

MOMIX2003
80% olivine (OLV003; <45 µm) + 20% meteoritic metal (MET101A; <45 µm).

MOMIX2004
70% olivine (OLV003; <45 µm) + 30% meteoritic metal (MET101A; <45 µm).

MOMIX2005
60% olivine (OLV003; <45 µm) + 40% meteoritic metal (MET101A; <45 µm).

MOMIX2006
50% olivine (OLV003; <45 µm) + 50% meteoritic metal (MET101A; <45 µm).

MOMIX2007
40% olivine (OLV003; <45 µm) + 60% meteoritic metal (MET101A; <45 µm).

MOMIX2008
30% olivine (OLV003; <45 µm) + 70% meteoritic metal (MET101A; <45 µm).

MOMIX2009
20% olivine (OLV003; <45 µm) + 80% meteoritic metal (MET101A; <45 µm).

MOMIX2010
10% olivine (OLV003; <45 µm) + 90% meteoritic metal (MET101A; <45 µm).

MOMIX2011
15% olivine (OLV003; <45 μm) + 85% meteoritic metal (MET101A; <45 μm).

MET101A
0% olivine (OLV003; <45 µm) + 100% meteoritic metal (MET101A; <45 µm).

++++++
MOMIX2101
100% olivine (OLV003; 45-90 µm) + 0% meteoritic metal (MET101A; 45-90 µm) (aka OLV003)

MOMIX2102
50% olivine (OLV003; 45-90 µm) + 50% meteoritic metal (MET101A; 45-90 µm).

MET100
0% olivine (OLV003; 45-90 µm) + 100% meteoritic metal (MET101A; 45-90 µm).

++++++

15.4.3a. Series 3: OLV011 + MET01 (both <45 μm); (high Fe olv + metal)
OLV011
100% olivine (OLV011; <45 µm).

MOMIX3000
50% olivine (OLV011; <45 μm) + 50% meteoritic metal (MET01; <45 μm).

MET101
100% meteoritic metal (MET101; <45 µm).

++++++
15.4.4a. Series 4: OLV007 + MET01 (both <45 μm); (low Fe olv + metal)
OLV007
100% olivine (OLV007; <45 µm).
MOMIX4000
50 wt.% olivine (OLV007, <45 µm) + 50 wt.% meteoritic metal (MET01, <45 μm).

MET101
100% meteoritic metal (MET101; <45 µm).
+++++New series after separating OLV007 from MET101 in MOMIX4000++++

Samples mixed with 10 wt.% increases in metal from pure olivine up to 50/50

MOMIX5000
100% olivine (OLV007; <45 µm; separated from MOMIX4000).

MOMIX5001
90 wt.% olivine (OLV007, <45 µm) + 10 wt.% meteoritic metal (MET01, <45 μm).

MOMIX5002
80 wt.% olivine (OLV007, <45 µm) + 20 wt.% meteoritic metal (MET01, <45 μm).

MOMIX5003
70 wt.% olivine (OLV007, <45 µm) + 30 wt.% meteoritic metal (MET01, <45 μm).

MOMIX5004
60 wt.% olivine (OLV007, <45 µm) + 40 wt.% meteoritic metal (MET01, <45 μm).

MOMIX5005
50 wt.% olivine (OLV007, <45 µm) + 50 wt.% meteoritic metal (MET01, <45 μm).

MOMIX5006
100 % meteoritic metal (MET01, <45 μm; separated from MOMIX4000).

++++++

15.4.5a. Series 5: Pallasite (MET030) slab spectra (roughened with 120 grit sandpaper)

MET030-1
Spot 1, centred on olivine grain

MET030-2
Spot 2, centred on olivine grain

MET030-3
Spot 3, centred on olivine + abundant metal

MET030-4
Spot 4, centred on olivine + less metal (edge lit up – escaping light)

MET030-5
Spot 5, centred on mostly olivine, little metal

++++++

15.4.6a. Series 6: Olivine (OLV003, <45 μm) sprinkled on Odessa iron meteorite slab (MET01, roughened with 120 grit sandpaper)

OLMETS01
Odessa iron meteorite slab (MET01), no olivine.

OLMETS02
MET01 with lightest olivine coating

OLMETS03
MET01 with heavier olivine coating

OLMETS04
MET01 with heaviest olivine coating (metal not visible)

OLMETS05
MET01 with uber-heaviest olivine coating (metal not visible)

OLMETS06
OLV003, <45 μm in sample cup

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.5a. Olivine + orthopyroxene + metal

OLV003
100% OLV003; 45-90 µm.

PYX117
100% PYX117; 45-90 µm.

MET101
100% MET101; 45-90 µm.

MIX266
30% OLV003 (olivine, 45-90µm) + 40% PYX117 (orthopyroxene, 45-90µm) + 30% MET101 (meteoritic metal, 45-90µm) (#B11a).

MIX271
42.9% OLV003 (olivine, 45-90µm) + 57.1% PYX117 (orthopyroxene, 45-90µm) (metal free version of MIX266) (#B11b).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.6a. Olivine + opaques: carbon black, magnetite, etc.

OLV003
100% OLV003; 45-90 µm.
LCA101
100% LCA101; <0.021 µm.

MIX283
99.9% OLV003 (olivine, 45-90µm) + 0.1% LCA101 (amorphous carbon, <0.021µm) (#D8a).

MIX284
99.5% OLV003 (olivine, 45-90µm) + 0.5% LCA101 (amorphous carbon, <0.021µm) (#D8b).

MIX285
98% OLV003 (olivine, 45-90µm) + 2% LCA101 (amorphous carbon, <0.021µm) (#D8c).


++++++

OLV003
100% OLV003; <45 µm.

LCA101
100% LCA101; <0.021 µm.

MIX286
99.5% OLV003 (olivine, <45µm) + 0.5% LCA101 (amorphous carbon, <0.021µm) (#W4).


++++++

OLV003
100% OLV003; 45-90 µm.

MAG101
100% MAG101; <45 µm.

MIX290
90% OLV003 (olivine, 45-90µm) + 10% MAG101 (magnetite, <45µm) (#D9d).


++++++

OLV003
100% OLV003; 45-90 µm.

MAG101
100% MAG101; 45-90 µm.

MIX291
90% OLV003 (olivine, 45-90µm) + 10% MAG101 (magnetite, 45-90) (#D9b).

MIX292
50% OLV003 (olivine, 45-90µm) + 50% MAG101 (magnetite, 45-90µm) (#D9c).


++++++

OLV003
100% OLV003; 45-90 µm.

SIC101
100% SIC101; <37 µm.

MIX300
98% OLV003 (olivine, 45-90µm) + 2% SIC101 (silicon carbide, <37µm) (#MIX01).


++++++

OLV003
100% OLV003; <45 µm.

SIC101
100% SIC101; <37 µm.

MIX301
98% OLV003 (olivine, <45µm) + 2% SIC101 (silicon carbide, <37µm) (#MIX100).


++++++

OLV003
100% OLV003; <45 µm.

SIC102
100% SIC102; <7 µm.

MIX310
98% OLV003 (olivine, 45-90µm) + 2% SIC102 (silicon carbide, <7µm) (#MIX11).

MMIX01
Pratt mixture model: 97.2%/2.8% OLV003/SIC102 70µm/5µm (assumed)

MMIX11
Pratt mixture model: 97.2%/2.8% OLV003/SIC102 70µm/5µm (assumed)


++++++

OLV003
100% OLV003; 45-90 µm.

SIC102
100% SIC102; <7 µm.

MIX311
98% OLV003 (olivine, <45µm) + 2% SIC102 (silicon carbide, <7µm) (#MIX101).


++++++

OLV003
100% OLV003; 45-90 µm.

GRP101
100% GRP101; <45 µm.

MIX320
98% OLV003 (olivine, 45-90µm) + 2% GRP101 (graphite, <45µm) (#MIX07).


++++++

OLV003
100% OLV003; <45 µm.

GRP101
100% GRP101; <45 µm.

MIX321
98% OLV003 (olivine, <45µm) + 2% GRP101 (graphite, <45µm) (#MIX104).


++++++

OLV003
100% OLV003; 45-90 µm.

GRP102
100% GRP102; <45 µm.

MIX330
98% OLV003 (olivine, 45-90µm) + 2% GRP102 (synthetic amorphous graphite, <45µm) (#MIX02).

MIX333
95% OLV003 (olivine, 45-90 μm) + 5% GRP102 (synthetic amorphous graphite, <45μm).


++++++

OLV003
100% OLV003; <45 µm.

GRP102
100% GRP102; <45 µm.

MIX331
98% OLV003 (olivine, <45µm) + 2% GRP102 (synthetic amorphous graphite, <45µm) (#MIX102).

MIX332
95% OLV003 (olivine, <45µm) + 5% GRP102 (synthetic amorphous graphite, <45µm) (#MIX107).


++++++

OLV003
100% OLV003; 45-90 µm.

CTE101
100% CTE101; <37 µm.

MIX340
98% OLV003 (olivine, 45-90µm) + 2% CTE101 (coal tar extract, <37µm) (#MIX03).


++++++

OLV003
100% OLV003; <45 µm.

CTE101
100% CTE101; <37 µm.

MIX341
98% OLV003 (olivine, <45µm) + 2% CTE101 (coal tar extract, <37µm) (#MIX103).

MIX342
95% OLV003 (olivine, <45µm) + 5% CTE101 (coal tar extract, <37µm) (#MIX106).


++++++

OLV003
100% OLV003; 45-90 µm.

Bitumen
100% bitumen; liquid.

MIX350
98% OLV003 (olivine, 45-90µm) + 2% BITUMEN (liquid) (#MIX10).


++++++

OLV003
100% OLV003; 45-90 µm.

CEM101
100% CEM101; <45 µm.

MIX360
98% OLV003 (olivine, 45-90µm) + 2% CEM101 (cementite, <45µm) (#MIX08).

MIX361
75% OLV003 (olivine, 45-90µm) + 25% CEM101 (cementite, <45µm) (#MIX04).


++++++

OLV003
100% OLV003; 45-90 µm.

DIA101
100% DIA101; <1 µm.

MIX370
98% OLV003 (olivine, 45-90µm) + 2% DIA101 (diamond, <1µm) (#MIX06).


++++++

OLV003
100% OLV003; 45-90 µm.

WUS101
100% WUS101; <45 µm.

MIX380
75% OLV003 (olivine, 45-90µm) + 25% WUS101 (wustite, <45µm) (#MIX05).

++++++

15.6.1a. Series: olivine (<45 μm) + carbon black.

OLV003
<45 μm, dry sieved.

OMIX061
99.9 wt.% OLV003 (olivine, <45 μm) + 0.1 wt.% LCA101 (carbon black, <0.021 μm).

OMIX062
99.5 wt.% OLV003 (olivine, <45 μm) + 0.5 wt.% LCA101 (carbon black, <0.021 μm).

OMIX063
98 wt.% OLV003 (olivine, <45 μm) + 2 wt.% LCA101 (carbon black, <0.021 μm).

OMIX064
95 wt.% OLV003 (olivine, <45 μm) + 5 wt.% LCA101 (carbon black, <0.021 μm).

LCA101
<0.021 μm, dry sieved.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.7a. Olivine + chromite ± metal
OLV003
100% OLV003; 45-90 µm.

CHR103
100% CHR103; <45 µm.

MIX520
95% OLV003 (olivine, 45-90µm) + 5% CHR103 (chromite, <45µm).

MIX521
90% OLV003 (olivine, 45-90µm) + 10% CHR103 (chromite, <45µm).

MIX522
80% OLV003 (olivine, 45-90µm) + 20% CHR103 (chromite, <45µm).

MIX523
70% OLV003 (olivine, 45-90µm) + 30% CHR103 (chromite, <45µm).


++++++
OLV003
100% OLV003; <45 µm.

CHR101
100% CHR101; <45 µm.

MIX524
95% OLV003 (olivine, <45µm) + 5% CHR103 (chromite, <45µm).

MIX525
90% OLV003 (olivine, <45µm) + 10% CHR103 (chromite, <45µm).

MIX526
80% OLV003 (olivine, <45µm) + 20% CHR103 (chromite, <45µm).

MIX527
70% OLV003 (olivine, <45µm) + 30% CHR103 (chromite, <45µm).


++++++
OLV003
100% OLV003; <45 µm.

CHR103
100% CHR103; <45 µm.

MET101
100% MET101; <45 µm (beaten).

MIX528
67.5% OLV003 (olivine, <45µm) + 22.5% MET101 (meteoritic metal, <45µm, beaten) + 10% CHR103 (chromite, <45µm).


++++++

OLV003
100% OLV003; 45-90 µm.

CHR103
100% CHR101; <45 µm.

MET101
100% MET101; <45 µm (beaten).

MIX529
67.5% OLV003 (olivine, 45-90µm) + 22.5% MET101 (meteoritic metal, 45-90µm, beaten) + 10% CHR103 (chromite, <45µm).

++++++++++++++++++

15.8a. Orthopyroxene + metal and/or opaques
PYX032
100% PYX032; 45-90 µm.
MET101
100% MET101; 45-90 µm.

MIX265
50% PYX032 (orthopyroxene, 45-90µm) + 50% MET101 (meteoritic metal, 45-90µm).

++++++
15.8.1a. Series 1: PYX117 + MET101

PYX117
100% PYX117; 45-90 µm.

MET101
100% MET101; 45-90 µm.

MIX267
75% PYX117 (orthopyroxene, 45-90µm) + 25% MET101 (meteoritic metal, 45-90µm).

MIX268
50% PYX117 (orthopyroxene, 45-90µm) + 50% MET101 (meteoritic metal, 45-90µm).

MIX269
25% PYX117 (orthopyroxene, 45-90µm) + 75% MET101 (meteoritic metal, 45-90µm).


++++++

PYX117
100% PYX117; 45-90 µm.

MET101
100% MET101; 45-90 µm.

LCA101
100% LCA101; <0.021 µm.

MIX272
49.5% PYX117 (orthopyroxene, 45-90µm) + 49.5% MET101 (meteoritic metal, 45-90µm) + 1% LCA101 (amorphous carbon, <0.021µm) (#D15).

++++++
15.8.2a. Series 2: PYX032 + LCA101

PYX032
100% PYX032; 45-90 µm.

LCA101
100% LCA101; <0.021 µm.

MIX280
99.9% PYX032 (orthopyroxene, 45-90µm) + 0.1% LCA101 (amorphous carbon, <0.021µm) (#W1).

MIX281
99.5% PYX032 (orthopyroxene, 45-90µm) + 0.5% LCA101 (amorphous carbon, <0.021µm) (#W2).

MIX282
98% PYX032 (orthopyroxene, 45-90µm) + 2% LCA101 amorphous carbon, <0.021µm) (#W3).

++++++
15.8.3a. Series 3a: PYX042 + MET101A (<45 µm)

MPMIX1001
100% orthopyroxene (PYX042; <45 µm) + 0% meteoritic metal (MET101A; <45 µm) (aka PYX042).

MPMIX1002
90% orthopyroxene (PYX042; <45 µm) + 10% meteoritic metal (MET101A; <45 µm).

MPMIX1003
80% orthopyroxene (PYX042; <45 µm) + 20% meteoritic metal (MET101A; <45 µm).

MPMIX1004
70% orthopyroxene (PYX042; <45 µm) + 30% meteoritic metal (MET101A; <45 µm).

MPMIX1005
60% orthopyroxene (PYX042; <45 µm) + 40% meteoritic metal (MET101A; <45 µm).

MPMIX1006
50% orthopyroxene (PYX042; <45 µm) + 50% meteoritic metal (MET101A; <45 µm).

MPMIX1007
40% orthopyroxene (PYX042; <45 µm) + 60% meteoritic metal (MET101A; <45 µm).

MPMIX1008
30% orthopyroxene (PYX042; <45 µm) + 70% meteoritic metal (MET101A; <45 µm).

MPMIX1009
20% orthopyroxene (PYX042; <45 µm) + 80% meteoritic metal (MET101A; <45 µm).

MPMIX1010
10% orthopyroxene (PYX042; <45 µm) + 90% meteoritic metal (MET101A; <45 µm).

MPMIX1012
5% orthopyroxene  (PYX042; <45 μm) + 95% meteoritic metal (MET101A; <45 μm).

MPMIX1011
0% orthopyroxene (PYX042; <45 µm) + 100% meteoritic metal (MET101A; <45 µm).

++++++
15.8.4a. Series 3b: PYX042 + MET101A (45-90 µm)

MPMIX1101
100% orthopyroxene (PYX042; 45-90 µm) + 0% meteoritic metal (MET101A; 45-90 µm) (aka PYX042).

MPMIX1102
50% orthopyroxene (PYX042; 45-90 µm) + 50% meteoritic metal (MET101A; 45-90 µm).

MPMIX1103
0% orthopyroxene (PYX042; 45-90 µm) + 100% meteoritic metal (MET101A; 45-90 µm) (aka MET100).

++++++
15.8.5a. Series 4: PYX032 + MET01 (both <45 μm); (high-Fe opx + metal)
PYX032
100% PYX032; <45 µm.

MET101
100% MET101; <45 µm.

MPMIX3000
50% orthopyroxene (PYX032; <45 μm) + 50% meteoritic metal (MET01; <45 μm).

++++++
15.8.6a. Series 5: PYX070 + MET01 (both <45 μm); (low Fe opx + metal)
PYX070
100% PYX070; <45 µm.

MET101
100% MET101; <45 µm.

MPMIX4000
50% orthopyroxene (PYX070, <45 μm) + 50% meteoritic metal (MET01, <45 μm).
+++++New series after separating PYX070 from MET101 in MPMIX4000++++

Samples mixed with 10 wt.% increases in metal from pure orthopyroxene, up to 50/50

MPMIX6000
100 wt.% PYX070; <45 µm.

MPMIX6001
90 wt.% PYX070 (<45 µm) + 10 wt.% MET101 (<45 µm).

MPMIX6002
80 wt.% PYX070 (<45 µm) + 20 wt.% MET101 (<45 µm).

MPMIX6003
70 wt.% PYX070 (<45 µm) + 30 wt.% MET101 (<45 µm).

MPMIX6004
60 wt.% PYX070 (<45 µm) + 60 wt.% MET101 (<45 µm).

MPMIX6005
50 wt.% PYX070 (<45 µm) + 50 wt.% MET101 (<45 µm).

MPMIX6006
100 % MET101 (<45 µm).

++++++

15.8.7a. Series 6: MET020 + MET01 (both < 45 μm); (aubrite + metal)
MET020
100% MET020; <45 µm.

MET101
100% MET101; <45 µm.

MPMIX5000
50% aubrite (MET020, <45 μm) + 50% meteoritic metal (MET01, <45 μm).

++++++
15.8.8a. PYX032 + LCA101

PYX032
100% PYX032; <45 μm, dry sieved

OMIX11
99.9 wt% PYX032 (opx, <45 μm) + 0.1 wt% LCA101 (carbon black, <0.021 μm).

OMIX12
99.5 wt% PYX032 (opx, <45 μm) + 0.5 wt% LCA101 (carbon black, <0.021 μm).

OMIX13
98 wt% PYX032 (opx, <45 μm) + 2 wt% LCA101 (carbon black, <0.021 μm).

OMIX14
95 wt% PYX032 (opx, <45 μm) + 5 wt% LCA101 (carbon black, <0.021 μm).

LCA101
100% LCA101; <0.021 μm, dry sieved.

++++++

15.8.9a. Orthopyroxene (PYX032; <45 μm) sprinkled on Odessa iron meteorite slab (MET01; roughened with 120 grit sandpaper)

XMETS01
100% PYX042; <45 μm, in sample cup.

PXMETS02
MET01 slab, no pyroxene coating.

PXMETS03
MET01 with light pyroxene coating 

PXMETS04
MET01 with heavier pyroxene coating

PXMETS05
MET01 with uber-heavy pyroxene coating

PXMETS06
MET01 with lightest pyroxene coating

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.9a. Orthopyroxene + palagonite, hematite, or plagioclase feldspar
PYX110
100% PYX110; 45-90 µm.
PAL101
100% PAL101; <45 µm.

MIX501
90% PYX110 (pyroxene, 45-90µm) + 10% PAL101 (palagonite, <45µm)

MIX502
80% PYX110 (pyroxene, 45-90µm) + 20% PAL101 (palagonite, <45µm)

MIX503
70% PYX110 (pyroxene, 45-90µm) + 30% PAL101 (palagonite, <45µm)

MIX504
60% PYX110 (pyroxene, 45-90µm) + 40% PAL101 (palagonite, <45µm)

MIX505
50% PYX110 (pyroxene, 45-90µm) + 50% PAL101 (palagonite, <45µm)

MIX506
40% PYX110 (pyroxene, 45-90µm) + 60% PAL101 (palagonite, <45µm)

MIX507
30% PYX110 (pyroxene, 45-90µm) + 70% PAL101 (palagonite, <45µm)

MIX508
20% PYX110 (pyroxene, 45-90µm) + 80% PAL101 (palagonite, <45µm)

MIX509
10% PYX110 (pyroxene, 45-90µm) + 90% PAL101 (palagonite, <45µm)


++++++
PYX110
100% PYX110; <45 µm.

PAL101
100% PAL101; <45 µm.

MIX510
80% PYX110 (pyroxene, <45µm) + 20% PAL101 (palagonite, <45µm)

MIX511
60% PYX110 (pyroxene, <45µm) + 40% PAL101 (palagonite, <45µm)

MIX512
40% PYX110 (pyroxene, <45µm) + 60% PAL101 (palagonite, <45µm)


++++++
PYX110
100% PYX110; 45-90 µm.

PAL102
100% PAL102; <45 µm.

MIX515
80% PYX110 (pyroxene, 45-90µm) + 20% PAL102 (palagonite, <45µm).

MIX516
60% PYX110 (pyroxene, 45-90µm) + 40% PAL102 (palagonite, <45µm)


++++++
PYX110
100% PYX110; 45-90 µm.

PAL102
100% PAL102; <45 µm.

HEM101
100% HEM101; <140 nm.

MIX517
80% PYX110 (pyroxene, 45-90µm) + 20% HEM101 (hematite, <140nm)

MIX518
60% PYX110 (pyroxene, 45-90µm) + 40% HEM101 (hematite, <140nm)

++++++
15.9.1a. Orthopyroxene + plagioclase feldspar

PYX032
100% PYX032; <45 µm.
PLG115
100% PLG115; <45 µm.

MIXOP1
30% orthopyroxene (PYX032, <45 μm) + 70% plagioclase feldspar (PLG115, <45 μm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.10a. Metal + accessory phases: carbon black, troilite

MET101
100% MET101; 45-90 µm.
LCA101
100% LCA101; <0.021 nm.

MIX270
99.5% MET101 (meteoritic metal, 45-90µm) + 0.5% LCA101 (amorphous carbon, <0.021µm) (#D7a).


++++++

MET101
100% MET101; <45 µm.

TRO201
100% TRO201; <45 µm.

MIX275
10% TRO201 (meteoritic troilite, <45µm) + 90% MET101 (meteoritic metal, <45µm) (#MIX09).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.11a. Aubrite + troilite

MET201
100% MET201; 45-90 µm.
TRO202g
100% TRO202g; <45 µm.

MIX400
90% MET201 (aubrite, 45-90µm) + 10% TRO202g (synthetic crushed troilite, <45µm,).


++++++

MET201
100% MET201; <45 µm.

TRO202g
100% TRO202g; <45 µm.

MIX401
90% MET201 (aubrite, <45µm) + 10% TRO202g (synthetic crushed troilite, <45µm).


++++++

MET200
100% MET200; <45 µm.

TRO202g
100% TRO202; <45 µm.

MIX402
90%MET200 (aubrite, <45µm) + 10% TRO202 (synthetic uncrushed troilite, <45µm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.12a. Diaspore + other phases

PAL102
100% PAL102; <45 µm.
OOH012
100% OOH012; <45 µm.

MIX530
80% PAL102 (palagonite, <45µm) + 20% OOH012 (diaspore, <45µm).

MIX531
60% PAL102 (palagonite, <45µm) + 40% OOH012 (diaspore, <45µm).

MIX532
40% PAL102 (palagonite, <45µm) + 60% OOH012 (diaspore, <45µm).

MIX533
80% PAL102 (palagonite, <45µm) + 20% OOH012 (diaspore, 45-90µm).

MIX534
60% PAL102 (palagonite, <45µm) + 40% OOH012 (diaspore, 45-90µm).

MIX535
40% PAL102 (palagonite, <45µm) + 60% OOH012 (diaspore, 45-90µm).

MIX536
95% PAL103 (palagonite, <45µm) + 5% OOH012 (diaspore, <45µm).


++++++

PAL102x
100% PAL102x; <45 µm.

OOH012
100% OOH012; <45 µm.

MIX537
95% PAL102x (palagonite, <45µm) + 5% OOH012 (diaspore, <45µm). With newly made PAL102 (spectrally different than original PAL102).

MIX540
90% PAL102x (palagonite, <45 µm) + 10% OOH012 (diaspore, <45µm). With new PAL102 separate.

MIX541
95% PAL102x (palagonite, <45 µm) + 5% OOH012 (diaspore, <45µm). With new PAL102 separate.


++++++

PAL102x
100% PAL102x; <45 µm.

OOH012
100% OOH012; 45-90 µm.

MIX542
95% PAL102x (palagonite, <45 µm) + 5% OOH012 (diaspore, 45-90µm). With new PAL102 separate.


++++++
PYX110
100% PYX110; <45 µm.

OOH013
100% OOH013; <45 µm.

MIX630
95% PYX110 (orthopyroxene, <45µm) + 5% OOH013 (diaspore, <45µm).

MIX631
75% PYX110 (orthopyroxene, <45µm) + 25% OOH013 (diaspore, <45µm).


++++++

QUA101
100% QUA101; <45 µm.

OOH013
100% OOH013; <45 µm.

MIX632
95% QUA101 (quartz, <45µm) + 5% OOH013 (diaspore, <45µm).

MIX633
75% QUA101 (quartz, <45µm) + 25% OOH013 (diaspore, <45µm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.13a. Carbonates/nitrites + basalt or palagonite (for analysis of Mars Express PFS spectra)
SA-14
100% SA-14; <45 µm.
CRB105
100% CRB105; <45 µm.

MIXI01
95% SA-14 (basalt, <45 µm) + 5% CRB105 (carbonate: huntite, <45 µm).

MIXI02
90% SA-14 (basalt, <45 µm) + 10% CRB105 (carbonate: huntite, <45 µm).

MIXI03
80% SA-14 (basalt, <45 µm) + 20% CRB105 (carbonate: huntite, <45 µm).


++++++

SA-14
100% SA-14; <45 µm.

CRB114
100% CRB114; <45 µm.

MIXI11
95% SA-14 (basalt, <45 µm) + 5% CRB114 (carbonate: magnesite, <45 µm).

MIXI12
90% SA-14 (basalt, <45 µm) + 10% CRB114 (carbonate: magnesite, <45 µm).

MIXI13
80% SA-14 (basalt, <45 µm) + 20% CRB114 (carbonate: magnesite, <45 µm).


++++++

SA-14
100% SA-14; <45 µm.

CRB215
100% CRB215; <45 µm.

MIXI21
95% SA-14 (basalt, <45 µm) + 5% CRB215 (carbonate: hydromagnesite, <45 µm).

MIXI22
90% SA-14 (basalt, <45 µm) + 10% CRB215 (carbonate: hydromagnesite, <45 µm). 

MIXI23
80% SA-14 (basalt, <45 µm) + 20% CRB215 (carbonate: hydromagnesite, <45 µm).


++++++

PAL103
100% PAL103; <45 µm.

CRB105
100% CRB105; <45 µm.

MIXI31
95% PAL103 (palagonite, <45 µm) + 5% CRB105 (carbonate: huntite, <45 µm).

MIXI32
90% PAL103 (palagonite, <45 µm) + 10% CRB105 (carbonate: huntite, <45 µm).

MIXI33
80% PAL103 (palagonite, <45 µm) + 20% CRB105 (carbonate: huntite, <45 µm).


++++++

PAL103
100% PAL103; <45 µm.

CRB114
100% CRB114; <45 µm.

MIXI41
95% PAL103 (palagonite, <45 µm) + 5% CRB114 (carbonate: magnesite, <45 µm).

MIXI42
90% PAL103 (palagonite, <45 µm) + 10% CRB114 (carbonate: magnesite, <45 µm).

MIXI43
80% PAL103 (palagonite, <45 µm) + 20% CRB114 (carbonate: magnesite, <45 µm).


++++++

PAL103
100% PAL103; <45 µm.

CRB215
100% CRB215; <45 µm.

MIXI51
95% PAL103 (palagonite, <45 µm) + 5% CRB215 (carbonate: hydromagnesite, <45 µm).

MIXI52
90% PAL103 (palagonite, <45 µm) + 10% CRB215 (carbonate: hydromagnesite, <45 µm).

MIXI53
80% PAL103 (palagonite, <45 µm) + 20% CRB215 (carbonate: hydromagnesite, <45 µm).


++++++
PAL103
100% PAL103; <45 µm.

CRB126
100% CRB126; <45 µm.

MIXI61
90% PAL103 (palagonite, <45 µm) + 10% CRB126 (carbonate: shortite, <45 µm).

MIXI62
90% SA-14 (basalt, <45 µm) + 10% CRB126 (carbonate: shortite, <45 µm).


++++++
SA-14
100% SA-14; <45 µm.

NTR001
100% NTR001; <45 µm.

MIXI63
90% SA-14 (basalt, <45 µm) + 10% NTR001 (sodium nitrite, <45 µm).


++++++
SA-14
100% SA-14; 45-90 µm.

CRB114
100% CRB114; 45-90 µm.

MIXI75
95% SA-51 (basalt, 45-90 µm) + 5% CRB114 (magnesite, 45-90 µm).

MIXI76
90% SA-51 (basalt, 45-90 µm) + 10% CRB114 (magnesite, 45-90 µm).

MIXI77
80% SA-51 (basalt, 45-90 µm) + 20% CRB114 (magnesite, 45-90 µm).

++++++
15.13.1a. New series for Francois Poulet: Magnesite (CRB114) + palagonite (PAL103)

15.13.1.1a. Intimate mixtures of <45 µm size powders

PAL103
0% CRB114 + 100% PAL103

MIXI81
10% CRB114 + 90% PAL103

MIXI82
20% CRB114 + 80% PAL103

MIXI83
40% CRB114 + 60% PAL103

MIXI84
60% CRB114 + 40% PAL103

MIXI85
80% CRB114 + 20% PAL103
MIX43
20% CRB114 + 80% PAL103 (older mixture)

CRB114
100% CRB114 + 0% PAL103

+++++++
15.13.2a. Palagonite dust (PAL103, <45 μm) on magnesite (CRB114, <45 μm)

Note: progressively thicker dust coatings on the same sample

CRB114
No dust – pure magnesite (<45 μm)
PAL103
Pure palagonite (<45 μm)

Dust drop 1
102 μm thick palagonite dust coating

Dust drop 2
152 μm thick palagonite dust coating

Dust drop 3
190 μm thick palagonite dust coating

Dust drop 4
260 μm thick palagonite dust coating

Dust drop 5
283 μm thick palagonite dust coating

Dust drop 6
381 μm thick palagonite dust coating

Dust drop 7
403 μm thick palagonite dust coating

Dust drop 8
465 μm thick palagonite dust coating

Dust drop 9
499 μm thick palagonite dust coating

Dust drop 10
525 μm thick palagonite dust coating

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.14a. Two clay mixtures (August 2007, for Encana project)
KAO104
100% KAO104; <45 µm.
ILS104
100% ILS104; <45 µm.

EMIX1
25% kaolinite (KAO104), 75% illite-smectite (ILS104) ; all <45 µm

EMIX2
50% kaolinite (KAO104), 50% illite-smectite (ILS104) ; all <45 µm

EMIX3
75% kaolinite (KAO104), 75% illite-smectite (ILS104) ; all <45 µm


++++++

KAO104
100% KAO104; <45 µm.

MON103
100% MON103; <45 µm.

EMIX4
25% kaolinite (KAO104), 75% montmorillonite (MON103); all <45 µm

EMIX5
50% kaolinite (KAO104), 50% montmorillonite (MON103); all <45 µm

EMIX6
75% kaolinite (KAO104), 25% montmorillonite (MON103) ; all <45 µm


++++++

KAO104
100% KAO104; <45 µm.

ILS104
100% ILS104; <45 µm.

MON103
100% MON103; <45 µm.

EMIX7
33% kaolinite (KAO104), 33% illite (ILS104), 33% montmorillonite (MON103); all <45 µm

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.15a. Gypsum + basalt + palagonite (Aug. 2007 for Mars polar dunes)

SPT207
100% SPT207; 90-250 µm.
SA-60
100% SA-60; 90-250 µm.

BMIX001
5%  gypsum (SPT207; 90-250 μm) + 95% basalt (SA-60; 90-250 μm)

BMIX002
10%  gypsum (SPT207; 90-250 μm) + 90% basalt (SA-60; 90-250 μm)

BMIX003
15%  gypsum (SPT207; 90-250 μm) + 85% basalt (SA-60; 90-250 μm)

BMIX004
20%  gypsum (SPT207; 90-250 μm) + 80% basalt (SA-60; 90-250 μm)

BMIX005
25%  gypsum (SPT207; 90-250 μm) + 75% basalt (SA-60; 90-250 μm) – same as 
BMIX006
50%  gypsum (SPT207; 90-250 μm) + 50% basalt (SA-60; 90-250 μm) – same as MIXB04

BMIX007
75%  gypsum (SPT207; 90-250 μm) + 25% basalt (SA-60; 90-250 μm) – same as MIXB08

MIXB01
25% gypsum (SPT207; 90-250 µm) + 75% basalt (SA-60; 90-250 µm) – same as BMIX005
MIXB02
50% gypsum (SPT207; 90-250 µm) + 50% basalt (SA-60; 90-250 µm)

MIXB03
75% gypsum (SPT207; 90-250 µm) + 25% basalt (SA-60; 90-250 µm)


++++++

SPT207
100% SPT207; 90-250 µm.

SA-60
100% SA-60; <45 µm.

MIXB04
50% gypsum (SPT207; 90-250 µm) + 50% basalt (SA-60; <45 µm) – same as BMIX006

++++++

SPT207
100% SPT207; <45 µm.

SA-60
100% SA-60; 90-250 µm.

MIXB05
50% gypsum (SPT207; <45 µm) + 50% basalt (SA-60; 90-250 µm)


++++++

SPT207
100% SPT207; 90-250 µm.

PAL103
100% PAL103; <45 µm.

MIXB06
25% gypsum (SPT207; 90-250 µm) + 75% palagonite (PAL103 ; <45 µm)

MIXB07
50% gypsum (SPT207; 90-250 µm) + 50% palagonite (PAL103 ; <45 µm)

MIXB08
75% gypsum (SPT207; 90-250 µm) + 25% palagonite (PAL103; <45 µm) – same as BMIX007

++++++

SPT207
100% SPT207; 90-250 µm.

SA-60
100% SA-60; 90-250 µm.

PAL103
100% PAL103; <45 µm.

SPT107
100% SPT107; <45 µm.

MIXB
14.2% gypsum (SPT207; 90-250 µm) + 80.8% basalt (SA-60; 90-250 µm) + 5% palagonite (PAL103; <45 µm)

MIXBu
18.05% gypsum (SPT207; 90-250 µm) + 72.2% basalt (SA-60; 90-250 µm) + 4.75% palagonite (PAL103; <45 µm) + 5% jarosite (SPT107; <45 µm)

MIXBx
19% gypsum (SPT207; 90-250 µm) + 76% basalt (SA-60; 90-250 µm) + 5% palagonite (PAL103; <45 µm)

MIXBz
23.5% gypsum (SPT207; 90-250 µm) + 71.5% basalt (SA-60; 90-250 µm) + 5% palagonite (PAL103; <45 µm)


++++++
MIXB012
Smooth cut basalt surface, no palagonite coating (aka SA-60sb)

MIXB013
Rough basalt surface, no palagonite coating (aka SA-60sb)

MIXB014
Red (weathered) basalt surface, no basalt coating (aka SA-60sb)

MIXB015
Smooth cut basalt surface + thin coating of palagonite (PAL103; <45 µm)

MIXB016
Smooth cut basalt surface + thick coating of palagonite (PAL103; <45 µm)

MIXB017
Smooth cut basalt surface + thicker coating of palagonite (PAL103; <45 µm)

MIXB018
Smooth cut basalt surface + thickest coating of palagonite (PAL103; <45 µm)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.16a. Barium sulfate + pyroxene (for Loredana Pompillio)

lormix001
0% barium sulfate (BaSO4; 10-15 µm) + 100% orthopyroxene (PYX023; 45-90 µm).
lormix002
30% barium sulfate (BaSO4; 10-15 µm) + 70% orthopyroxene (PYX023; 45-90 µm).

lormix003
50% barium sulfate (BaSO4; 10-15 µm) + 50% orthopyroxene (PYX023; 45-90 µm).

lormix004
70% barium sulfate (BaSO4; 10-15 µm) + 30% orthopyroxene (PYX023; 45-90 µm).

lormix005
90% barium sulfate (BaSO4; 10-15 µm) + 10% orthopyroxene (PYX023; 45-90 µm).

BaSO4
100% BaSO4; 10-15 µm.

++++++

lormix006
0% barium sulfate (BaSO4; 10-15 µm) + 100% clinopyroxene (PYX005; 45-90 µm).

lormix007
30% barium sulfate (BaSO4; 10-15 µm) + 70% clinopyroxene (PYX005; 45-90 µm).

lormix008
50% barium sulfate (BaSO4; 10-15 µm) + 50% clinopyroxene (PYX005; 45-90 µm).

lormix009
70% barium sulfate (BaSO4; 10-15 µm) + 30% clinopyroxene (PYX005; 45-90 µm).

lormix010
90% barium sulfate (BaSO4; 10-15 µm) + 10% clinopyroxene (PYX005; 45-90 µm).

BaSO4
100% BaSO4; 10-15 µm.


++++++
lormix011
0% barium sulfate (BaSO4; 10-15 µm) + 100% orthopyroxene (PYX032; 45-90 µm).

lormix012
30% barium sulfate (BaSO4; 10-15 µm) + 70% orthopyroxene (PYX032; 45-90 µm).

lormix013
50% barium sulfate (BaSO4; 10-15 µm) + 50% orthopyroxene (PYX032; 45-90 µm).

lormix014
70% barium sulfate (BaSO4; 10-15 µm) + 30% orthopyroxene (PYX032; 45-90 µm).

lormix015
90% barium sulfate (BaSO4; 10-15 µm) + 10% orthopyroxene (PYX032; 45-90 µm).

BaSO4
100% barium sulfate (BaSO4; 10-15 µm) + 0% orthopyroxene (PYX032; 45-90 µm).

+++++++++++++

15.17a. Pancam mixture tests

SIL203
100% SIL203; <1 mm.
SPT162
100% SPT162; <1 mm.

rmix001
90% SIL203 (silica sinter, <1 mm) + 10% SPT162 (epsomite, <1 mm).


++++++

SA-60
100% SA-60; slab.

SPT162
100% SPT162; <63 µm.

rmix002
basalt slab (SA-60) with thin coating of SPT162 (epsomite, <63 µm).

rmix003
basalt slab (SA-60) with refreshed coating of SPT162 (epsomite, <63 µm).


++++++

PAL101
100% PAL101; <45 µm.

SPT162
100% SPT162; <45 µm.

rmix004
PAL101 (palagonitic soil, <45 µm) with dusting of SPT162 (epsomite, <45 µm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.18a. Gaffey mineral mixtures 
Received Feb/09 along with meteorite samples. From box labelled “Gaffey Lab Mixtures; Kaolin, Fe, Olivine, etc….”

15.18.1a. Kaolinite + Fe (presumably made with MG-10 (Fe (3 μ))

MG-1
“Kao + Fe; 13% Fe”
MG-2
“Kao + Fe; 40% Fe”

MG-3
“Kao + Fe; 7% Fe”

MG-4
“Kaolin”

++++++
15.18.2a. Sil. acid + Fe (presumably silicic acid (MG-7) and made with MG-10 (Fe (3 μ))

MG-5
“Sil. acid + Fe; 8.1% Fe”

MG-6
“Sil. acid  + Fe; 36% Fe”

MG-7
“Sil. acid; (100 mesh)”

MG-8
“Sil. acid + Fe; 3.6% Fe”

++++++
15.18.3a. Sil. acid + Kao (presumably silicic acid (MG-7) and Kaolinite (MG-4))

MG-9
“Sil. acid + Kao; 45% Kao”

++++++
15.18.4a. Presumed Fe end member for mixtures

MG-10
“Fe (3μ)”

++++++
15.18.5a. Olivine + Fe (presumably from sample and vial labelled “”Green Olivine, V.F.B.” and MG-10 Fe)

MG-11
“Olivine (<45 μm) + Fe; 9.6% Fe”

MG-12
“Olivine (125-250 μm) + Fe; (6.4% Fe)”

++++++
15.18.6a. Miscellaneous vials

MJG-a
Unlabelled vial: probably Green Sand Beach sand, unsorted grains.

MJG-b
Unlabelled vial: looks like MJG-a picked over for olivine.

MJG-c
“Green olivine V.F.B.”, probably olivine powder made from MJG-a vial.

MJG-d
“Steamed green olivine VFB”, probably olivine from MJG-a vial.
MJG-e
“Iddingsite sand speced”

MJG-f
“Iddingsite clast A (speced?)”

MJG-g
“Goethite (Gaffey’s)”

MJG-h
“Goethite (speced)”

MJG-i
“Pyrite” “Gold 790 µ. To spec. Tim”.

MJG-j
“Pyrite (crust) <90 µ” Pyrite (crystal) <90 µ”.

MJG-k
“Iron pyrite <90 + 740” “Iron pyrite weathered and crushed (friable?) Nodule”.

MJG-l
“Mont & L amt. unknown” “Montomorillonite(?) & carbon black (% amt. unknown)”

MJG-m
“Mont. <63 µ. Lampblack <1 µ. 95/5 m/v” “Montmorillonite (<63 µm) + 5 wt.% lampblack (<1 µm).

MJG-n
“Iceland spar”.

MJG-o
“Graphite <90m. Tim” “<90 µ graphite”.

MJG-p
“Pfitzer Metal Powder” “Pfitzer Metal Powder”.

MJG-q
“Iron Filings” “Iron Filings (from Samps).

MJG-r
“Burnt C black. Tim” “Burnt carbon (lampblack stuff)”.

MJG-s
“Mt. St. Helen volcanic ash. CLR” “Volcanic Ash. Mt. St. Helens. May 1980. Yakima, Wash. KLR”.

++++

MJG_OLV01
“Red stuff” “Red stuff (from olivine collectors)”

MJG-OLV02
“Work Turds (green)” “Obviously: green stuff”.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.19a. Basalt + ilmenite (Sept.-Oct. 2009) for lunar simulant project
LAN001
100% basalt (BAS204, <45 μm) + 0% ilmenite (ILM200, <45 μm); aka BAS204 (<45 μm).
LAN002
99% basalt (BAS204, <45 μm) + 1% ilmenite (ILM200, <45 μm).

LAN003
98% basalt (BAS204, <45 μm) + 2% ilmenite (ILM200, <45 μm).

LAN004
96% basalt (BAS204, <45 μm) + 4% ilmenite (ILM200, <45 μm).

LAN005
93% basalt (BAS204, <45 μm) + 7% ilmenite (ILM200, <45 μm).

LAN006
90% basalt (BAS204, <45 μm) + 10% ilmenite (ILM200, <45 μm).

LAN007
80% basalt (BAS204, <45 μm) + 20% ilmenite (ILM200, <45 μm).

LAN008
0% basalt (BAS204, <45 μm) + 100% ilmenite (ILM200, <45 μm); aka ILM200, <45 μm).


++++++
LAN101
100% basalt (BAS204; 90-250 μm) + 0% ilmenite (ILM200, <45 μm); aka BAS204 (90-250 μm).

LAN102
99% basalt (BAS204; 90-250 μm) + 1% ilmenite (ILM200, <45 μm).

LAN103
98% basalt (BAS204; 90-250 μm) + 2% ilmenite (ILM200, <45 μm).

LAN104
96% basalt (BAS204; 90-250 μm) + 4% ilmenite (ILM200, <45 μm).

LAN105
93% basalt (BAS204; 90-250 μm) + 7% ilmenite (ILM200, <45 μm).

LAN106
90% basalt (BAS204; 90-250 μm) + 10% ilmenite (ILM200, <45 μm).

LAN107
80% basalt (BAS204; 90-250 μm) + 20% ilmenite (ILM200, <45 μm).

LAN008
100% ILM200; <45 µm (aka ILM200).
++++++++++++++++++++++++++++++++++++++++

15.20a. Carbonaceous chondrite simulants (minerals + carbon black); see also 15.6.1 and 15.8.8

15.20.1a. Serpentinite (blue-sloped, contains magnetite) + carbon black

SRP117
100% SRP117; <45 μm, dry sieved.

OMIX001
99.9 wt.% SRP117 (serpentinite, <45 μm) + 0.1 wt.% LCA101 (carbon black, <0.021 μm).

OMIX002
99.5 wt.% SRP117 (serpentinite, <45 μm) + 0.5 wt.% LCA101 (carbon black, <0.021 μm).

OMIX003
98 wt.% SRP117 (serpentinite, <45 μm) + 2 wt.% LCA101 (carbon black, <0.021 μm).

OMIX004
95 wt.% SRP117 (serpentinite, <45 μm) + 5 wt.% LCA101 (carbon black, <0.021 μm).
OMIX004-a
OMIX004 2 minutes of grind-mix in alumina mortar and pestle.

OMIX004-b
OMIX004 additional 2 minutes (4 minutes total) of grind-mix in alumina mortar and pestle.

OMIX004-c
OMIX004 additional 2 minutes (6 minutes total) of grind-mix in alumina mortar and pestle.

OMIX004-d
OMIX004 additional 2 minutes grind-mix of OMIX004-c in ethanol in alumina mortar and pestle. 

LCA101
100% LCA101; <0.021 μm, dry sieved.

++++++

15.20.2a. Chlorite (clinochlore) + carbon black

CLI101
100% CLI101; <45 μm, dry sieved.

OMIX021
99.9 wt.% CLI101 (chlorite, <45 μm) + 0.1 wt.% LCA101 (carbon black, <0.021 μm).

OMIX022
99.5 wt.% CLI101 (chlorite, <45 μm) + 0.5 wt.% LCA101 (carbon black, <0.021 μm).

OMIX023
98 wt.% CLI101 (chlorite, <45 μm) + 2 wt.% LCA101 (carbon black, <0.021 μm).

OMIX024
95 wt.% CLI101 (chlorite, <45 μm) + 5 wt.% LCA101 (carbon black, <0.021 μm).

LCA101
100% LCA101; <0.021 μm, dry sieved.
++++++
15.20.3a. Saponite + carbon black

SAP101
100% SAP101; <45 μm, dry sieved.

OMIX031
99.9 wt.% saponite (SAP101, <45 μm) + 0.1 wt.% LCA101 (carbon black, <0.021 μm).

OMIX032
99.5 wt.% saponite (SAP101, <45 μm) + 0.5 wt.% LCA101 (carbon black, <0.021 μm).

OMIX033
98 wt.% saponite (SAP101, <45 μm) + 2 wt.% LCA101 (carbon black, <0.021 μm).

OMIX034
95 wt.% saponite (SAP101, <45 μm) + 5 wt.% LCA101 (carbon black, <0.021 μm).

LCA101
100% LCA101; <0.021 μm, dry sieved.

++++++

15.20.4a. Synthetic brucite + carbon black

OOH032
100% OOH032; <45 μm, dry sieved.

OMIX041
99.9 wt.% OOH032 (brucite, <45 μm) + 0.1 wt.% LCA101 (carbon black, <0.021 μm).

OMIX041
99.5 wt.% OOH032 (brucite, <45 μm) + 0.5 wt.% LCA101 (carbon black, <0.021 μm).

OMIX041
98 wt.% OOH032 (brucite, <45 μm) + 2 wt.% LCA101 (carbon black, <0.021 μm).

OMIX041
95 wt.% OOH032 (brucite, <45 μm) + 5 wt.% LCA101 (carbon black, <0.021 μm).

LCA101
100% LCA101; <0.021 μm, dry sieved.

++++++

15.20.5a. Serpentinite (flat-sloped, no magnetite) + carbon black

SRP106
100% SRP106; <45 μm, dry sieved.

OMIX051
99.9 wt.% SRP106 (serpentinite, <45 μm) + 0.1 wt.% LCA101 (carbon black, <0.021 μm).

OMIX052
99.5 wt.% SRP106 (serpentinite, <45 μm) + 0.5 wt.% LCA101 (carbon black, <0.021 μm).

OMIX053
98 wt.% SRP106 (serpentinite, <45 μm) + 2 wt.% LCA101 (carbon black, <0.021 μm).

OMIX054
95 wt.% SRP106 (serpentinite, <45 μm) + 5 wt.% LCA101 (carbon black, <0.021 μm).

LCA101
100% LCA101; <0.021 μm, dry sieved.

+++++++
15.20.6a. Serpentine + carbon black (mixing effects)

Jeffrey-1
Serpentinite from Jeffrey mine, QC, Canada. 

JMIX01a
98 wt.% Jeffrey-1 (<45 µm) + 2 wt.%LCA101 (<0.021 µm) ; mechanically mixed.

JMIX01b
JMIX01a plus 2 minutes of grinding/mixing in alumina mortar and pestle.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.21a. Carbonaceous chondrite simulants: Clays + graphite or magnetite

15.21.1a. Serpentinite (SRP117, <45 μm) + synthetic amorphous graphite (GRP102, <45 μm)

SRP117
100% SRP117; <45 µm.
MIX335
99.5% SRP117 (serpentinite, <45 μm) + 0.5 % GRP102 (synthetic amorphous graphite, <45 μm).

MIX336
98% SRP117 (serpentinite, <45 μm) + 2 % GRP102 (synthetic amorphous graphite, <45 μm).

MIX337
95% SRP117 (serpentinite, <45 μm) + 5 % GRP102 (synthetic amorphous graphite, <45 μm).

SRP102
100% GRP102; <45 µm.

+++++++

15.21.2a. Serpentinite (SRP117, <45 μm) + magnetite (MAG102, <45 μm)

SRP117
100% SRP117; <45 µm.
MAG102
100% MAG102; <45 µm.

MIX338
95% SRP117 (serpentinite, <45 μm) + 5 % MAG102 (magnetite, <45 μm). Also subjected to grind-mix in ethanol.

MIX338-a
2 minute grind-mix in alumina mortar and pestle (spectral file not saved).

MIX338-b
additional 2 minute grind-mix (4 minutes total) in alumina mortar and pestle.

MIX338-c
additional 2 minute grind-mix (6 minutes total) in alumina mortar and pestle.

MIX338-d
3 minutes grind-mix of MIX338-c in ethanol in alumina mortar and pestle. 
MIX338-e
5:14 minutes grind-mix of MIX338-c in ethanol in alumina mortar and pestle. 
MIX338-f
8:06 minutes grind-mix of MIX338-c in ethanol in alumina mortar and pestle. 

MIX339
90% SRP117 (serpentinite, <45 μm) + 10 % MAG102 (magnetite, <45 μm).

++++++

15.21.3a. Serpentine (SRP117, <45 μm) + nanophase magnetite (MAG200; <20 nm)

SRP117
100% SRP117 + 0% MAG200 (magnetite).
CMIX01
98% SRP117 + 2% MAG200 (magnetite).
CMIX02
95% SRP117 + 5% MAG200 (magnetite).
CMIX02_2
Same, after 2 minutes of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX02_4
Same, after 2 more minutes (4 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX02_6
Same, after 2 more minutes (6 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX02_8
Same, after 2 more minutes (8 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX02_10
Same, after 2 more minutes (10 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

+++++
CIMX03
90% SRP117 + 10% MAG200 (magnetite).
CMIX03_2
Same, after 2 minutes of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX03_4
Same, after 2 more minutes (4 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX03_6
Same, after 2 more minutes (6 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX03_8
Same, after 2 more minutes (8 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX03_10
Same, after 2 more minutes (10 minutes total) of crush-grind in alumina mortar and pestle. (note: magnetite probably transformed to maghemite).

CMIX04
80% SRP117 + 20% MAG200 (magnetite).
MAG200
0% SRP117 + 100% MAG200 (magnetite).
++++++

15.21.4a. Saponite (SAP103, <45 μm) + nanophase magnetite (MAG200, <20 nm)
SAP103
100% SAP103 + 0% MAG200 (magnetite).
CMIX11
98% SAP103 + 2% MAG200 (magnetite).
CMIX12
95% SAP103 + 5% MAG200 (magnetite).
CIMX13
90% SAP103 + 10% MAG200 (magnetite).
CMIX14
80% SAP103 + 20% MAG200 (magnetite).
MAG200
0% SAP103 + 100% MAG200 (magnetite).
++++++

15.21.5a. Cronstedtite (CRO101, <45μm) + nanophase magnetite (MAG200, <20 nm)

CRO101
100% CRO101 + 0% MAG200

CMIX21
98% CRO101 + 2% MAG200

CMIX22
95% CRO101 + 5% MAG200

CIMX23
90% CRO101 + 10% MAG200

CMIX24
80% CRO101 + 20% MAG200

MAG200
0% CRO101 + 100% MAG200

+++++++
15.21.6a. Serpentinite (SRP111, <45 μm) + magnetite (MAG102, <45 μm)

Note: looking at effects of progressive crush-grinding.

SMIX001
90% serpentine (SRP111, <45 µm) + 10% magnetite (MAG102, <45 µm), just physically mixed.

SMIX001_2
90% serpentine (SRP111, <45 µm) + 10% magnetite (MAG102, <45 µm), physically mixed then ground-mixed in alumina mortar and pestle for 2 minutes.

SMIX001_4
90% serpentine (SRP111, <45 µm) + 10% magnetite (MAG102, <45 µm), physically mixed then ground-mixed in alumina mortar and pestle for additional 2 minutes (4 minutes total).

SMIX001_6
90% serpentine (SRP111, <45 µm) + 10% magnetite (MAG102, <45 µm), physically mixed then ground-mixed in alumina mortar and pestle for additional 2 minutes (6 minutes total).

SMIX001_8
90% serpentine (SRP111, <45 µm) + 10% magnetite (MAG102, <45 µm), physically mixed then ground-mixed in alumina mortar and pestle for additional 2 minutes (8 minutes total).

SMIX001_10
90% serpentine (SRP111, <45 µm) + 10% magnetite (MAG102, <45 µm), physically mixed then ground-mixed in alumina mortar and pestle for additional 2 minutes (10 minutes total).

+++++++
15.21.7a. Serpentine (SRP110, <45 µm) + magnetite (MAG107, <45 µm)

MMIX002
79.94 wt.% MAG107 (<45 µm) = 20.06 wt.% SRP110 (<45 µm); ground together in alumina mortar and pestle for 4 minutes.

++++++++
15.21.8a. 91 wt. % Serpentine (SRP111, <45 µm) + 9 wt. % magnetite (MAG107, <45 µm)

SMIX201a
90 wt.% SRP111 (serpentine, <45 µm) + 10 wt.% MAG107 (magnetite, <45 µm); physical mixture.

SMIX201b
SMIX201a ground in alumina mortar and pestle in ethanol for 10 minutes.

SMIX201c
SMIX201b ground in alumina mortar and pestle in ethanol for an additional 10 minutes (20 minutes total).

SMIX201d
SMIX201c ground in alumina mortar and pestle in ethanol for an additional 20 minutes (40 minutes total).

SMIX201e
SMIX201d ground in alumina mortar and pestle in ethanol for an additional 10 minutes (50 minutes total).

SMIX201f
SMIX201e ground in alumina mortar and pestle in ethanol for an additional 10 minutes (60 minutes total).

++++++++++++++++

15.21.9a. 95 wt. % Serpentine (SRP111, <45 µm) + 5 wt. % magnetite (MAG107, <45 µm)

SMIX200a
95 wt.% SRP111 (serpentine, <45 µm) + 5 wt.% MAG107 (magnetite, <45 µm); physical mixture.

SMIX200b
SMIX200a ground in alumina mortar and pestle in ethanol for 10 minutes.

SMIX200c
SMIX200b ground in alumina mortar and pestle in ethanol for an additional 10 minutes (20 minutes total).

SMIX200d
SMIX200d ground in alumina mortar and pestle in ethanol for an additional 10 minutes (30 minutes total).

SMIX200e
SMIX200d ground in alumina mortar and pestle in ethanol for an additional 10 minutes (40 minutes total).

SMIX200f
SMIX200e ground in alumina mortar and pestle in ethanol for an additional 10 minutes (50 minutes total).

SMIX200g
SMIX200f ground in alumina mortar and pestle in ethanol for an additional 10 minutes (60 minutes total).

++++++++++++++++++++

15.21.10a. 83 wt. % Serpentine (SRP111, <45 µm) + 17 wt. % magnetite (MAG107, <45 µm)

SMIX202a
83 wt.% SRP111 (serpentine, <45 µm) + 17 wt.% MAG107 (magnetite, <45 µm); physical mixture.

SMIX202b
SMIX202a ground in alumina mortar and pestle in ethanol for 10 minutes.

SMIX202c
SMIX202b ground in alumina mortar and pestle in ethanol for an additional 10 minutes (20 minutes total).

SMIX202d
SMIX202c ground in alumina mortar and pestle in ethanol for an additional 10 minutes (30 minutes total).

SMIX202e
SMIX202d ground in alumina mortar and pestle in ethanol for an additional 10 minutes (40 minutes total).

SMIX202f
SMIX202e ground in alumina mortar and pestle in ethanol for an additional 10 minutes (50 minutes total).

SMIX202g
SMIX202f ground in alumina mortar and pestle in ethanol for an additional 10 minutes (60 minutes total).

SMIX202h
SMIX202g ground in alumina mortar and pestle in ethanol for an additional 10 minutes (70 minutes total).

SMIX202i
SMIX202h ground in alumina mortar and pestle in ethanol for an additional 10 minutes (80 minutes total).

SMIX202j
SMIX202i ground in alumina mortar and pestle in ethanol for an additional 10 minutes (90 minutes total).

SMIX202k
SMIX202j ground in alumina mortar and pestle in ethanol for an additional 10 minutes (100 minutes total).

SMIX202l
SMIX202k ground in alumina mortar and pestle in ethanol for an additional 10 minutes (110 minutes total).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.22a. Glass and mafic mixtures – for Mars north polar region

15.22.1a. Tektite (TEK004, <45 μm) + clinopyroxene – spectral type B (PYX016, <45 μm)

TEK004
100% TEK004; Tektite, <45 μm.

PYX016
100% PYX016; Clinopyroxene, type B, <45 μm.

MIX001
80 wt.% PYX016 (<45 μm) + 20 wt.% TEK004 (<45 μm).

MIX002
60 wt.% PYX016 (<45 μm) + 40 wt.% TEK004 (<45 μm).

MIX003
40 wt.% PYX016 (<45 μm) + 60 wt.% TEK004 (<45 μm).

MIX004
20 wt.% PYX016 (<45 μm) + 80 wt.% TEK004 (<45 μm).

++++++

15.22.2a. Tektite (TEK004, <45 μm) + olivine (OLV003, <45 μm)

TEK004
100% TEK004; Tektite, <45 μm.

OLV003
100% OLV003; olivine, <45 μm.

MIX011
80 wt% OLV003 (<45 μm) + 20 wt% TEK004 (<45 μm).

MIX012
60 wt% OLV003 (<45 μm) + 40 wt% TEK004 (<45 μm).

MIX013
40 wt% OLV003 (<45 μm) + 60 wt% TEK004 (<45 μm).

MIX014
20 wt% OLV003 (<45 μm) + 80 wt% TEK004 (<45 μm).

++++++

15.22.3a. Tektite (TEK004, <45 μm) + orthopyroxene (PYX023, <45 μm)

TEK004
100% TEK004; Tektite, <45 μm.

PYX023
100% PYX023; orthopyroxene, <45 μm.

MIX021
80 wt% PYX023 (<45 μm) + 20 wt% TEK004 (<45 μm).

MIX022
60 wt% PYX023 (<45 μm) + 40 wt% TEK004 (<45 μm).

MIX023
40 wt% PYX023 (<45 μm) + 60 wt% TEK004 (<45 μm).

MIX024
20 wt% PYX023 (<45 μm) + 80 wt% TEK004 (<45 μm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.23a. Asteroid Boznemcova.angrite meteorite simulants: type A CPX + OLV + PLG
(i) Cloutis mixtures

Abundances in weight percent.

PYX009
100% PYX009; 45-90 µm (spectral type A CPX).
PLG108
100% PLG108; 45-90 µm (plagioclase).

OLV003
100% OLV003; 45-90 µm (olivine).

BOZ001
91% PYX009 + 9% PLG108 + 0% OLV003 (all 45-90 μm) (aka BOZ001a)

BOZ002
83% PYX009 + 17% PLG108 + 0% OLV003 (all 45-90 μm) (aka BOZ001b)

BOZ003
77% PYX009 + 15% PLG108 + 8% OLV003 (all 45-90 μm) (aka BOZ001c)

BOZ004
72% PYX009 + 14% PLG108 + 14% OLV003 (all 45-90 μm) (aka BOZ001d)

BOZ005
67% PYX009 + 13% PLG108 + 20% OLV003 (all 45-90 μm) (aka BOZ001e)

BOZ006
62.5% PYX009 + 12.5% PLG108 + 25% OLV003 (all 45-90 μm) (aka BOZ001f)

BOZ007
59% PYX009 + 12% PLG108 + 29% OLV003 (all 45-90 μm) (aka BOZ001g)

BOZ008
45.5% PYX009 + 9% PLG108 + 45.5% OLV003 (all 45-90 μm) (aka BOZ001h)

BOZ009
33.3% PYX009 + 33.3% PLG108 + 33.3% OLV003 (all 45-90 μm) (aka BOZ001i)

+++++++++++++++++++++++++++
(ii) Mixtures for Maggie Dievendorf – University of North Dakota (April 2018)
Two- and three-component intimate mixtures, all <45 µm powders, abundances in weight percent.

Subseries 1: starting with 100% olivine, progressively add pyroxene, shoot spectrum, add more pyroxene, etc.

UND101
100% olivine (OLV003)

UND102
95% olivine (OLV003) + 5% pyroxene (PYX009, spectral type A).

UND103
90% olivine (OLV003) + 10% pyroxene (PYX009, spectral type A).

UND104
85% olivine (OLV003) + 15% pyroxene (PYX009, spectral type A).

UND105
80% olivine (OLV003) + 10% pyroxene (PYX009, spectral type A).

UND106
75% olivine (OLV003) + 25% pyroxene (PYX009, spectral type A).

UND107
70% olivine (OLV003) + 30% pyroxene (PYX009, spectral type A).

UND108
60% olivine (OLV003) + 40% pyroxene (PYX009, spectral type A).

UND109
50% olivine (OLV003) + 50% pyroxene (PYX009, spectral type A).

Subseries 2: starting with 100% pyroxene, progressively add olivine, shoot spectrum, add more pyroxene, etc.

UND110
100% pyroxene (PYX009, spectral type A).

UND111
90% pyroxene (PYX009, spectral type A) + 10% olivine (OLV003)

UND112
80% pyroxene (PYX009, spectral type A) + 20% olivine (OLV003)

UND113
70% pyroxene (PYX009, spectral type A) + 30% olivine (OLV003)

UND114
60% pyroxene (PYX009, spectral type A) + 40% olivine (OLV003)

Subseries 3: starting with UND115, progressively add olivine and plagioclase, shoot spectrum, add more olivine and plagioclase, etc.

UND115
85% olivine (OLV003) + 10% plagioclase (PLG122) + 5% pyroxene (PYX009, spectral type A).

UND116
80% olivine (OLV003) + 10% plagioclase (PLG122) + 10% pyroxene (PYX009, spectral type A).

UND117
75% olivine (OLV003) + 10% plagioclase (PLG122) + 15% pyroxene (PYX009, spectral type A).

UND118
70% olivine (OLV003) + 10% plagioclase (PLG122) + 20% pyroxene (PYX009, spectral type A).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.24a. HED + CM2 carbonaceous chondrite mixtures and PRA 04401 (for Vesta)
Note: Millbillillie = eucrite; Murchison = CM2 carbonaceous chondrite; PRA 04401 = CM2 xenolith-bearing howardite.

Millbillillie eucrite + Murchison CM2 chondrite

NWA 5748 howardite + Murchison CM2 chondrite

PRA 04401 CM2 xenolith-bearing howardite

See Meteorites section (section 16.16) for sample descriptions and spectra.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.25a. Mixtures involving npFe-impregnated silica gel (2 sizes) or nanophase Fe (2 sizes)

Mixtures made with air-sensitive nanophase iron that was opened in glove box under dry nitrogen and carbon dioxide-free atmosphere (December 2012).

15.25.1a. Cherokee Springs LL6 chondrite: <250 µm + silica gel/nanophase iron.
15.25.2a. FJS-1 (JAXA Lunar Mare Simulant): <45, 45-90, and <250 µmm +silica gel/nanophase iron.

15.25.3a. OLV003 (olivine): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.4a. PLG108 (plagioclase feldspar): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.5a. PYX016 (clinopyroxene; spectral type B): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.6a. PYX042 (orthopyroxene): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.1a. Cherokee Springs LL6 chondrite: whole rock, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

Cherokee Springs
Whole rock

Cherokee Springs
Whole with uncrushable metal inclusions added back in 

++++++++++

ZMIX035
100% Cherokee Springs LL6 (<250 μm) + 0% SGE105A

ZMIX035a
90% Cherokee Springs LL6 (<250 μm) + 10% SGE105A

ZMIX035b
80% Cherokee Springs LL6 (<250 μm) + 20% SGE105A

ZMIX035c
50% Cherokee Springs LL6 (<250 μm) + 50% SGE105A

SGE105A
0% Cherokee Springs LL6 (<250 μm) + 100% SGE105A

++++++++

ZMIX035
100% Cherokee Springs LL6 (<250 μm) + 0% SGE105A 

ZMIX035d
90% Cherokee Springs LL6 (<250 μm) + 10% SGE101A 

ZMIX035e
80% Cherokee Springs LL6 (<250 μm) + 20% SGE101A 

ZMIX035f
50% Cherokee Springs LL6 (<250 μm) + 50% SGE101A 

SGE101A
0% Cherokee Springs LL6 (<250 μm) + 100% SGE101A 

++++++

ZMIX035
100% Cherokee Springs LL6 (<250 μm) + 0% IRO102 (50 nm)

ZMIX036
99.9% Cherokee Springs LL6 (<250 μm) + 0.1% IRO102 (50 nm)

ZMIX037
99.5% Cherokee Springs LL6 (<250 μm) + 0.5% IRO102 (50 nm)

ZMIX038
99% Cherokee Springs LL6 (<250 μm) + 1% IRO102 (50 nm)

ZMIX039
98% Cherokee Springs LL6 (<250 μm) + 8% IRO102 (50 nm)

ZMIX040
95% Cherokee Springs LL6 (<250 μm) + 5% IRO102 (50 nm)

ZMIX041
90% Cherokee Springs LL6 (<250 μm) + 10% IRO102 (50 nm)

ZMIX042
80% Cherokee Springs LL6 (<250 μm) + 10% IRO102 (50 nm)

ZMIX043
70% Cherokee Springs LL6 (<250 μm) + 30% IRO102 (50 nm)

IRO102
0% PYX042 (<250 μm) + 100% IRO102 (50 nm)

++++++

ZMIX035
100% Cherokee Springs LL6 (<250 μm) + 0% IRO103 (10 μm)

ZMIX044
99.9% Cherokee Springs LL6 (<250 μm) + 0.1% IRO103 (10 μm)

ZMIX045
99.5% Cherokee Springs LL6 (<250 μm) + 0.5% IRO103 (10 μm)

ZMIX046
99% Cherokee Springs LL6 (<250 μm) + 1% IRO103 (10 μm)

ZMIX047
98% Cherokee Springs LL6 (<250 μm) + 2% IRO103 (10 μm)

ZMIX048
95% Cherokee Springs LL6 (<250 μm) + 5% IRO103 (10 μm)

ZMIX049
90% Cherokee Springs LL6 (<250 μm) +10% IRO103 (10 μm)

ZMIX050
80% Cherokee Springs LL6 (<250 μm) + 20% IRO103 (10 μm)

ZMIX051
70% Cherokee Springs LL6 (<250 μm) + 30% IRO103 (10 μm)

ZMIX010
0% Cherokee Springs (<250 μm) + 100% IRO103 (10 μm)

+++++++++++++++++++++++++++++++++++++++

15.25.2a. FJS-1 (JAXA lunar mare simulant: <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103. 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

ZMIX052
100% FJS-1 (<250 μm) + 0% SGE101A

ZMIX052a
90% FJS-1 (<250 μm) + 10% SGE101A

ZMIX052b
80% FJS-1 (<250 μm) + 20% SGE101A

ZMIX052c
50% FJS-1 (<250 μm) + 50% SGE101A

SGE101A
0% FJS-1 (<250 μm) + 100% SGE101A

++++++++

ZMIX052
100% FJS-1 (<250 μm) + 0% SGE105A

ZMIX052d
90% FJS-1 (<250 μm) + 10% SGE105A

ZMIX052e
80% FJS-1 (<250 μm) + 20% SGE105A

ZMIX052f
50% FJS-1 (<250 μm) + 50% SGE105A

SGE105A
0% FJS-1 (<250 μm) + 100% SGE105A

++++++++

ZMIX127
100% FJS-1 (<45 μm) + 0% IRO102 or IRO103

ZMIX128
95% FJS-1 (<45 μm) + 5% IRO102 (50 nm) 

ZMIX129
95% FJS-1 (<45 μm) + 5% IRO103 (10 μm)

ZMIX130
100% FJS-1 (45-90 μm) + 0% IRO102 or IRO103

ZMIX131
95% FJS-1 (45-90 μm) + 5% IRO102 (50 nm) 

ZMIX132
95% FJS-1 (45-90 μm) + 5% IRO103 (10 μm) 

ZMIX052
100% FJS-1 (<250 μm) + 0% IRO102 (50 nm)

ZMIX053
99.9% FJS-1 (<250 μm) + 0.1% IRO102 (50 nm)

ZMIX054
99.5% FJS-1 (<250 μm) + 0.5% IRO102 (50 nm)

ZMIX055
99% FJS-1 (<250 μm) + 1% IRO102 (50 nm) 

ZMIX056
98% FJS-1 (<250 μm) + 2% IRO102 (50 nm) 

ZMIX057
95% FJS-1 (<250 μm) + 5% IRO102 (50 nm) 

ZMIX058
90% FJS-1 (<250 μm) + 10% IRO102 (50 nm)

ZMIX059
80% FJS-1 (<250 μm) + 20% IRO102 (50 nm)

ZMIX060
70% FJS-1 (<250 μm) + 30% IRO102 (50 nm)

IRO102
0% FJS-1 (<250 μm) + 100% IRO102 (50 nm) 

++++++

ZMIX052
100% FJS-1 (<250 μm) + 0% IRO103 (10 μm)

ZMIX061
99.9% FJS-1 (<250 μm) + 0.1% IRO103 (10 μm)

ZMIX062
99.5% FJS-1 (<250 μm) + 0.5% IRO103 (10 μm)

ZMIX063
99% FJS-1 (<250 μm) + 1% IRO103 (10 μm) 

ZMIX064
98% FJS-1 (<250 μm) + 2% IRO103 (10 μm) 

ZMIX065
95% FJS-1 (<250 μm) + 5% IRO103 (10 μm) 

ZMIX066
90% FJS-1 (<250 μm) + 10% IRO103 (10 μm) 

ZMIX067
80% FJS-1 (<250 μm) + 20% IRO103 (10 μm) 

ZMIX068
70% FJS-1 (<250 μm) + 30% IRO103 (10 μm) 

IRO103
0% FJS-1 (<250 μm) + 100% IRO103 (10 μm)

+++++++++++++++++++++++++++++++++++++++

15.25.3a. OLV003 (olivine):  <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103. 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

ZMIX017
100% OLV003 (<250 μm) + 0% SGE101A

ZMIX017a
90% OLV003 (<250 μm) + 10% SGE101A

ZMIX017b
80% OLV003 (<250 μm) + 20% SGE101A

ZMIX017c
50% OLV003 (<250 μm) + 50% SGE101A

SGE101A
0% OLV003 (<250 μm) + 100% SGE101A

++++++++

ZMIX017
100% OLV003 (<250 μm) + 0% SGE105A

ZMIX017d
90% OLV003 (<250 μm) + 10% SGE105A

ZMIX017e
80% OLV003 (<250 μm) + 20% SGE105A

ZMIX017f
50% OLV003 (<250 μm) + 50% SGE105A

SGE105A
0% OLV003 (<250 μm) + 100% SGE105A

++++++++

ZMIX109
100% OLV003 (<45 μm) + 0% IRO102 or IRO103

ZMIX110
95% OLV003 (<45 μm) + 5% IRO102 (50 nm)

ZMIX111
95% OLV003 (<45 μm) + 5% IRO103 (10 μm)

ZMIX112
100% OLV003 (45-90 μm) + 0% IRO102 or IRO103 

ZMIX113
95% OLV003 (45-90 μm) + 5% IRO102 (50 nm) 

ZMIX114
95% OLV003 (45-90 μm) + 5% IRO103 (10 μm) 

++++++++

ZMIX017
100% OLV003 (<250 μm) + 0% IRO102 (50 nm) 

ZMIX019
99.9% OLV003 (<250 μm) + 0.1% IRO102 (50 nm) 

ZMIX020
99.5% OLV003 (<250 μm) + 0.5% IRO102 (50 nm)

ZMIX021
99% OLV003 (<250 μm) + 1% IRO102 (50 nm) 

ZMIX022
98% OLV003 (<250 μm) + 2% IRO102 (50 nm) 

ZMIX023
95% OLV003 (<250 μm) + 5% IRO102 (50 nm) 

ZMIX024
90% OLV003 (<250 μm) + 10% IRO102 (50 nm) 

ZMIX025
80% OLV003 (<250 μm) + 20% IRO102 (50 nm) 

ZMIX026
70% OLV003 (<250 μm) + 30% IRO102 (50 nm) 

IRO102
0% OLV003 (<250 μm) + 100% IRO102 (50 nm)

ZMIX017
100% OLV003 (<250 μm) + 0% IRO103 (10 μm)

ZMIX027
99.9% OLV003 (<250 μm) + 0.1% IRO103 (10 μm)

ZMIX028
99.5% OLV003 (<250 μm) + 0.5% IRO103 (10 μm)

ZMIX029
99% OLV003 (<250 μm) + 1% IRO103 (10 μm) 

ZMIX030
98% OLV003 (<250 μm) + 2% IRO103 (10 μm) 

ZMIX031
95% OLV003 (<250 μm) + 5% IRO103 (10 μm) 

ZMIX032
90% OLV003 (<250 μm) + 10% IRO103 (10 μm) 

ZMIX033
80% OLV003 (<250 μm) + 20% IRO103 (10 μm) 

ZMIX034
70% OLV003 (<250 μm) + 30% IRO103 (10 μm) 

IRO103
0% OLV003 (<250 μm) + 100% IRO103 (10 μm)

+++++++++++++++++++++++++++++++++++++++++++

15.25.4a. PLG108 (plagioclase feldspar):  <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103. 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

ZMIX086
100% PLG108 (<250 μm) + 0% SGE101A 

ZMIX086a
90% PLG108 (<250 μm) + 10% SGE101A 

ZMIX086b
80% PLG108 (<250 μm) + 20% SGE101A 

ZMIX086c
50% PLG108 (<250 μm) + 50% SGE101A 

SGE101A
0% PLG108 (<250 μm) + 100% SGE101A

++++++++

ZMIX086
100% PLG108 (<250 μm) + 0% SGE105A

ZMIX086d
90% PLG108 (<250 μm) + 10% SGE105A

ZMIX086e
80% PLG108 (<250 μm) + 20% SGE105A

ZMIX086f
50% PLG108 (<250 μm) + 50% SGE105A

SGE105A
0% PLG108 (<250 μm) + 100% SGE105A

+++++++++

ZMIX121
100% PLG108 (<45 μm) + 0% IRO102 or IRO103

ZMIX122
95% PLG108 (<45 μm) + 5% IRO102 (50 nm)

ZMIX123
95% PLG108 (<45 μm) + 5% IRO103 (10 μm)

ZMIX124
100% PLG108 (45-90 μm) + 0% IRO102 or IRO103

ZMIX125
95% PLG108 (45-90 μm) + 5% IRO102 (50 nm)

ZMIX126
95% PLG108 (45-90 μm) + 5% IRO103 (10 μm)

++++++++

ZMIX086
100% PLG108 (<250 μm) + 0% IRO103 (10 μm) 

ZMIX087
99.9% PLG108 (<250 μm) + 0.1% IRO103 (10 μm) 

ZMIX088
99.5% PLG108 (<250 μm) + 0.5% IRO103 (10 μm) 

ZMIX089
99% PLG108 (<250 μm) + 1% IRO103 (10 μm) 

ZMIX090
98% PLG108 (<250 μm) + 2% IRO103 (10 μm) 

ZMIX091
95% PLG108 (<250 μm) + 5% IRO103 (10 μm) 

ZMIX092
90% PLG108 (<250 μm) + 10% IRO103 (10 μm) 

ZMIX093
80% PLG108 (<250 μm) + 20% IRO103 (10 μm) 

ZMIX094
70% PLG108 (<250 μm) + 30% IRO103 (10 μm) 

ZMIX086
100% PLG108 (<250 μm) + 0% IRO103 (10 μm) 

IRO103
0% PLG108 (<250 μm) + 100% IRO103 (10 μm)

++++++++

ZMIX086
100% PLG108 (<250 μm) + 0% IRO102 (50 nm) 

ZMIX095
99.9% PLG108 (<250 μm) + 0.1% IRO102 (50 nm) 

ZMIX096
99.5% PLG108 (<250 μm) + 0.5% IRO102 (50 nm) 

ZMIX097
99% PLG108 (<250 μm) + 1% IRO102 (50 nm) 

ZMIX098
98% PLG108 (<250 μm) + 2% IRO102 (50 nm) 

ZMIX099
95% PLG108 (<250 μm) + 5% IRO102 (50 nm) 

ZMIX100
90% PLG108 (<250 μm) + 10% IRO102 (50 nm) 

ZMIX101
80% PLG108 (<250 μm) + 20% IRO102 (50 nm) 

ZMIX102
70% PLG108 (<250 μm) + 30% IRO102 (50 nm) 

IRO102
0% PLG108 (<250 μm) + 100% IRO102 (50 nm)

+++++++++++++++++++++++++++++++++++++++++

15.25.5a. PYX016 (clinopyroxene, type B):  <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103. 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

ZMIX069
100% PYX016 (<250 μm) + 0% SGE101A

ZMIX069a
90% PYX016 (<250 μm) + 10% SGE101A

ZMIX069b
80% PYX016 (<250 μm) + 20% SGE101A

ZMIX069c
50% PYX016 (<250 μm) + 50% SGE101A

SGE101A
0% PYX016 (<250 μm) + 100% SGE101A

++++++++

ZMIX069
100% PYX016 (<250 μm) + 0% SGE105A

ZMIX069d
90% PYX016 (<250 μm) + 10% SGE105A

ZMIX069e
80% PYX016 (<250 μm) + 20% SGE105A

ZMIX069f
50% PYX016 (<250 μm) + 50% SGE105A

SGE105A
0% PYX016 (<250 μm) + 100% SGE105A

++++++++

ZMIX115
100% PYX016 (<45 μm) + 0% IRO102 or IRO103

ZMIX116
95% PYX016 (<45 μm) + 5% IRO102 (50 nm) 

ZMIX117
95% PYX016 (<45 μm) + 5% IRO103 (10 μm) 

ZMIX118
100% PYX016 (45-90 μm) + 0% IRO102 or IRO103

ZMIX119
95% PYX016 (45-90 μm) + 5% IRO102 (50 nm) 

ZMIX120
95% PYX016 (45-90 μm) + 5% IRO103 (10 μm)

++++++++

ZMIX069
100% PYX016 (<45 μm) + 0% IRO103 (10 μm)

ZMIX070
99.9% PYX016 (<45 μm) + 0.1% IRO103 (10 μm)

ZMIX071
99.5% PYX016 (<45 μm) + 0.5% IRO103 (10 μm)

ZMIX072
99% PYX016 (<45 μm) + 1% IRO103 (10 μm) 

ZMIX073
98% PYX016 (<45 μm) + 2% IRO103 (10 μm) 

ZMIX074
95% PYX016 (<45 μm) + 5% IRO103 (10 μm) 

ZMIX075
90% PYX016 (<45 μm) + 10% IRO103 (10 μm) 

ZMIX076
80% PYX016 (<45 μm) + 20% IRO103 (10 μm) 

ZMIX077
70% PYX016 (<45 μm) + 30% IRO103 (10 μm) 

IRO103

0% FJS-1 (<250 μm) + 100% IRO103 (10 μm)

++++++++ 

ZMIX069
100% PYX016 (<45 μm) + 0% IRO102 (50 nm) 

ZMIX078
99.9% PYX016 (<45 μm) + 0.1% IRO102 (50 nm)

ZMIX079
99.5% PYX016 (<45 μm) + 0.5% IRO102 (50 nm)

ZMIX080
99% PYX016 (<45 μm) + 1% IRO102 (50 nm) 

ZMIX081
98% PYX016 (<45 μm) + 2% IRO102 (50 nm) 

ZMIX082
95% PYX016 (<45 μm) + 5% IRO102 (50 nm) 

ZMIX083
90% PYX016 (<45 μm) + 10% IRO102 (50 nm)

ZMIX084
80% PYX016 (<45 μm) + 20% IRO102 (50 nm)

ZMIX085
70% PYX016 (<45 μm) + 30% IRO102 (50 nm)

IRO102

0% PYX016 (<250 μm) + 100% IRO102 (50 nm)

+++++++++++++++++++++++++++++++++++

15.25.6a. PYX042 (orthopyroxene):  <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103. 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

ZMIX001
100% PYX042 (<250 μm) + 0% SGE101A

ZMIX001a
90% PYX042 (<250 μm) + 10% SGE101A

ZMIX001b
80% PYX042 (<250 μm) + 20% SGE101A

ZMIX001c
50% PYX042 (<250 μm) + 50% SGE101A

SGE101A
0% PYX042 (<250 μm) + 100% SGE101A

++++++++

ZMIX069
100% PYX042 (<250 μm) + 0% SGE105A

ZMIX001d
90% PYX042 (<250 μm) + 10% SGE105A

ZMIX001e
80% PYX042 (<250 μm) + 20% SGE105A

ZMIX001f
50% PYX042 (<250 μm) + 50% SGE105A

SGE105A
0% PYX042 (<250 μm) + 100% SGE105A

+++++++++

ZMIX103
100% PYX042 (45-90 μm) + 0% IRO102 or IRO103 

ZMIX104
95% PYX042 (45-90 μm) + 5% IRO102 (50 nm) 

ZMIX105
95% PYX042 (45-90 μm) + 5% IRO103 (10 μm)

ZMIX106
100% PYX042 (<45 μm) + 0% IRO102 or IRO103

ZMIX107
95% PYX042 (<45 μm) + 5% IRO102 (50 nm) 

ZMIX108
95% PYX042 (<45 μm) + 5% IRO103 (10 μm) 

+++++++

ZMIX001
100% PYX042 (<250 μm) + 0% IRO103 (10 μm)

ZMIX002
99.9% PYX042 (<250 μm) + 0.1% IRO103 (10 μm)

ZMIX003
99.5% PYX042 (<250 μm) + 0.5% IRO103 (10 μm)

ZMIX004
99% PYX042 (<250 μm) + 1% IRO103 (10 μm) 

ZMIX005
98% PYX042 (<250 μm) + 2% IRO103 (10 μm) 

ZMIX006
95% PYX042 (<250 μm) + 5% IRO103 (10 μm) 

ZMIX007
90% PYX042 (<250 μm) + 10% IRO103 (10 μm)

ZMIX008
80% PYX042 (<250 μm) + 20% IRO103 (10 μm)

ZMIX009
70% PYX042 (<250 μm) + 30% IRO103 (10 μm)

ZMIX010
0% PYX042 (<250 μm) + 100% IRO103 (10 μm)

+++++++++

ZMIX001
100% PYX042 (<250 μm) + 0% IRO102 (50 nm)

ZMIX009A
99.9% PYX042 (<250 μm) + 0.1% IRO102 (50 nm)

ZMIX010A
99.5% PYX042 (<250 μm) + 0.5% IRO102 (50 nm)

ZMIX011A
99.0% PYX042 (<250 μm) + 1.0% IRO102 (50 nm)

ZMIX012A
98% PYX042 (<250 μm) + 2% IRO102 (50 nm)

ZMIX013A
95% PYX042 (<250 μm) + 5% IRO102 (50 nm)

ZMIX014A
90% PYX042 (<250 μm) + 10% IRO102 (50 nm) 

ZMIX015A
80% PYX042 (<250 μm) + 20% IRO102 (50 nm) 

ZMIX016A
70% PYX042 (<250 μm) + 30% IRO102 (50 nm) 

IRO102
0% PYX042 (<250 μm) + 100% IRO102 (50 nm) 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.26a. PAHs + other materials

15.26.1a. JSC-Mars1 and polycyclic aromatic hydrocarbons mixtures (for Mars2020)

Note: PAHs added after dissolving in solvent.
Mars2020-1
100% JSC Mars-1 Mars regolith simulant, unsorted (aka PSA002).
Mars2020-2
95% Mars-JSC-1 + 5% anthracene (ORG002)

Mars2020-3
95% Mars-JSC-1 + 5% anthracene (ORG002)

Mars2020-4
98% Mars-JSC-1 + 2% anthracene (ORG002)

Mars2020-5
98% Mars-JSC-1 + 2% anthracene (ORG002)

ORG002
100% ORG002; dissolved, mixed, and solvent evaporated.


++++++

Mars2020-1
100% JSC Mars-1 Mars regolith simulant, unsorted (aka PSA002).

Mars2020-6
95% Mars-JSC-1 + 5% naphtho [2,3-a] pyrene (ORG014)

Mars2020-7
98% Mars-JSC-1 + 2% naphtho [2,3-a] pyrene (ORG014)

Mars2020-8
99% Mars-JSC-1 + 1% naphtho [2,3-a] pyrene (ORG014)

Mars2020-9
99% Mars-JSC-1 + 1% naphtho [2,3-a] pyrene (ORG014)

ORG014
100% ORG014; dissolved, mixed, and solvent evaporated.
++++++++

130830_1
0.001% ORG002 from DCM solution in JSC Mars-1 matrix

130830_2
0.01% ORG002 from DCM solution in JSC Mars-1 matrix

130830_3
0.05% ORG002 from DCM solution in JSC Mars-1 matrix

130830_4
0.1% ORG002 from DCM solution in JSC Mars-1 matrix

130830_5
0.1% ORG002 dry mixed in JSC Mars-1 matrix

130830_6
0.5% ORG002 dry mixed in JSC Mars-1 matrix

130830_7
1% ORG002 dry mixed in JSC Mars-1 matrix

130830_8
2% ORG002 dry mixed in JSC Mars-1 matrix

130830_9
5% ORG002 dry mixed in JSC Mars-1 matrix

130830_10
"Messy slut dry mixture"

130830_11
100% JSC Mars-1

++++++++
(iii) 405 nm UV fluorescence: Maya spectrometer; 200-1130 nm (usable range:  ~200-1130 nm); i=30°, e=0° (405 nm UV laser as illumination source).

131201_1
100% JSC-Mars-1 regolith simulant (unsorted).

131201_2
JSC-Mars-1 regolith simulant (unsorted) + 5000 ppm anthracene (ORG002).

131201_3
JSC-Mars-1 regolith simulant (unsorted) + 2000 ppm anthracene (ORG002).

131201_4
JSC-Mars-1 regolith simulant (unsorted) + 1000 ppm anthracene (ORG002).

131201_5
JSC-Mars-1 regolith simulant (unsorted) + 500 ppm anthracene (ORG002).

131201_6
JSC-Mars-1 regolith simulant (unsorted) + 100 ppm anthracene (ORG002).

131201_7
JSC-Mars-1 regolith simulant (unsorted) + 50 ppm anthracene (ORG002).

131201_8
JSC-Mars-1 regolith simulant (unsorted) + 10 ppm anthracene (ORG002).

131201_9
100% JSC-Mars-1 regolith simulant (unsorted).

131201_10
JSC-Mars-1 regolith simulant (unsorted) + 500 ppm anthracene (ORG002).

131201_11
JSC-Mars-1 regolith simulant (unsorted) + 100 ppm anthracene (ORG002).

131201_12
JSC-Mars-1 regolith simulant (unsorted) + 50 ppm anthracene (ORG002).

131201_13
JSC-Mars-1 regolith simulant (unsorted) + 10 ppm anthracene (ORG002).

++++++++++++++++++++++++++++++
15.26.2a. PAHs + magnesium fluoride (SYN014)

SYN014

Synthetic magnesium fluoride; unsorted, fine-grained.
OSM001
5 wt% ORG002 (anthracene) + 95 wt.% SYN014; unsorted, fine-grained.
OSM002
1 wt% ORG002 (anthracene) + 99 wt.% SYN014; unsorted, fine-grained.
ORG002
Anthracene; unsorted, coarse grained.
++++++++++++++++++++++++++++++++++++++++
15.26.3. Graphite + lunar analogue

GL001

7.46 wt.% PSA003 (<45 µm; lunar simulant) + 2.54 wt.% GRP101 (<37 µm, graphite).
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.27a. Two-pyroxene mixtures – RELAB spectra (Jessica Sunshine)

c1xp14

25% orthopyroxene (PE30), 75% clinopyroxene (PP21), <45 µm.
c1xp12

40% orthopyroxene (PE30), 60% clinopyroxene (PP21), <45 µm.

c1xp24

25% orthopyroxene (PE30), 75% clinopyroxene (PP21), 45-75 µm.

c1xp22

40% orthopyroxene (PE30), 60% clinopyroxene (PP21), 45-75 µm.

c1xp05

25% orthopyroxene (PE30), 75% clinopyroxene (PP21), 75-125 µm.

c1xp03

40% orthopyroxene (PE30), 60% clinopyroxene (PP21), 75-125 µm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
NOTES: End member abundances are provided in weight percentages in the form x%:y% where x+y equals 100%. Grain sizes are provided in microns for each end member; where both end members are the same grain size only one number is provided. Sample description abbreviations are the same as those used in the mineral tables. "Beaten" refers to meteoritic metal beaten after grinding to yield more equidimensional grains.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.28a. Synthetic organics + magnesium fluoride (SYN014) – intimate mixtures

SYN014

100% SYN014 (unsorted fine powder).

15.28_1

95% SYN014 (unsorted fine powder) + 5% ORG002 (unsorted fine powder).

15.28_2

99% SYN014 (unsorted fine powder) + 1% ORG002 (unsorted fine powder).

ORG002a
100% ORG002 (unsorted coarse powder).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.29a. Murchison CM2 chondrite + terrestrial magnetite

Note: mixture involving Jim Bell Murchison sample JFB-22 (#5377) + <45 µm fraction of MAG102.

MMM001
100% Murchison (#5377).

MMM002
95% Murchison (#5377) + 5% MAG102 (<45 µm)

MMM003
90% Murchison (#5377) + 10% MAG102 (<45 µm)

MMM004
85% Murchison (#5377) + 15% MAG102 (<45 µm)

MMM005
80% Murchison (#5377) + 20% MAG102 (<45 µm)

MMM006
75% Murchison (#5377) + 25% MAG102 (<45 µm)

MMM007
70% Murchison (#5377) + 30% MAG102 (<45 µm)

MMM008
65% Murchison (#5377) + 35% MAG102 (<45 µm)

MMM009
60% Murchison (#5377) + 40% MAG102 (<45 µm)

MMM010
55% Murchison (#5377) + 45% MAG102 (<45 µm)

MMM011
50% Murchison (#5377) + 50% MAG102 (<45 µm)

MMM012
0% Murchison (#5377) + 100% MAG102 (<45 µm)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.30a. Various mixtures for Ceres and Bennu
Note: SPT162 (“epsomite”) baked at 300°C to transform to low-humidity kieserite; LCA101 baked at 100°C to drive off any adsorbed water. Samples thoroughly mixed for several minutes to thoroughly coat kieserite particles with lamp black. SPT169 came up as starkeyite by XRD; OXA020 is high purity oxalic acid.
15.30.1a. Sulfates, carbonates and oxalates + carbon black

SPT162k
100% SPT162k (unsorted powder); aka SPT162k.

LCA101

100% LCA101 (<0.021 µm); aka LCA101.

CerM01

99.00% SPT162k (unsorted powder) + 1.0% LCA101 (<0.021 µm).

CerM02

99.14% SPT162k (unsorted powder) + 5.86% LCA101 (<0.021 µm).

SPT169

100% SPT169 (unsorted powder).

CerM03

99.00% SPT169 (unsorted powder) + 1.00% LCA101 (<0.021 µm).

CerM04

98.00% SPT169 (unsorted powder) + 2.00% LCA101 (<0.021 µm).

CerM05

99.00% CRB715 (unsorted powder) + 1.00% LCA101 (<0.021 µm).

CerM06

98.00% CRB715 (unsorted powder) + 2.00% LCA101 (<0.021 µm).

OXA020
100% OXA020 (benzoic acid; unsorted powder).

CerM07

98.50% OXA020 (unsorted powder) + 1.50% LCA101 (<0.021 µm).

CerM08

98.50% ART002 (unsorted powder) + 1.50% LCA101 (<0.021 µm).

CerM09

98.50% SPT105 (unsorted, very fine powder) + 1.50% LCA101 (<0.021 µm).

15.30.2a. Carbonates + Bennu analogue - Ceres bright region mixtures for Ernesto Palomba

Note: Mixtures involving CRB151 (sodium carbonate monohydrate) baked (to 180°C) to form natrite (anhydrous sodium carbonate) sodium carbonate (CRB151Bk) + Ceres (actually Bennu) dark analogue from University of Calgary (Alan Hildebrand)

CerM10

89.37 wt.% CRB151Bk (<20 µm) + 10.63 wt.% Bennu1 (<45 µm), intimate mixture.

CerM11

79.28 wt.% CRB151Bk (<20 µm) + 20.62 wt.% Bennu1 (<45 µm), intimate mixture.

CerM12

69.84 wt.% CRB151Bk (<20 µm) + 30.16 wt.% Bennu1 (<45 µm), intimate mixture.

CerM13

60.40 wt.% CRB151Bk (<20 µm) + 39.60 wt.% Bennu1 (<45 µm), intimate mixture.

CerM14

49.92 wt.% CRB151Bk (<20 µm) + 50.08 wt.% Bennu1 (<45 µm), intimate mixture.

CerM15

38.82 wt.% CRB151Bk (<20 µm) + 61.18 wt.% Bennu1 (<45 µm), intimate mixture.

CerM16

98.70 wt.% CRB151Bk (<20 µm) + 1.30 wt.% Bennu1 (<45 µm), intimate mixture.

CerM17

97.40 wt.% CRB151Bk (<20 µm) + 2.61 wt.% Bennu1 (<45 µm), intimate mixture.

CerM18

CRB151Bk (<20 µm) sprinkled on Bennu1 (<45 µm) – surface coating.

++++++++

CerM18
(bennu 30)
29.91% CRB417 (<20 µm, wet sieved) + 70.09% Bennu1 (<45 µm), intimate mixture

CerM19
(bennu 20)
19.58% CRB417 (<20 µm, wet sieved) + 80.42% Bennu1 (<45 µm), intimate mixture.

CerM20
(bennu 5)
5.13% CRB417 (<20 µm, wet sieved) + 96.87% Bennu1 (<45 µm), intimate mixture.

Bennu1

100% Bennu1 analogue (<45 µm, dry sieved).

CRB417

100%, <20 µm (wet sieved).

CRB151bk
100%, heated in air to 170°C, <20 µm wet sieved.

+++++++++++++++++++++++++++++++++++
15.30.3a. Carbonate + oxalate mixtures (for Ceres – May 2016).

PIG004

100% PIG004 (synthetic calcite), <45 µm.

PIG204

100% PIG204 (synthetic whewellite), <45 µm

M8

50% PIG004 + 50% PIG204, both <45 µm; ground together.

M9

80% PIG004 + 20% PIG204, both <45 µm; ground together.

M10

90% PIG004 + 10% PIG204, both <45 µm; ground together.

M11

95% PIG004 + 5% PIG204, both <45 µm; ground together.

CRB144

100% CRB144 (magnesite), <45 µm.

M3

50% CRB715 (Fe (II) oxalate) + 50% CRB720 (Mg-oxalate dihydrate), both <45 µm; ground together.

M4

50% CRB144 (magnesite) + 50% M3 mixture (=50% CRB715 + 50% CRB720), both <45 µm; ground together.

M5

80% CRB144 (magnesite) + 20% M3 mixture (=50% CRB715 + 50% CRB720), both <45 µm; ground together.

M6

90% CRB144 (magnesite) + 10% M3 mixture (=50% CRB715 + 50% CRB720), both <45 µm; ground together.

M7

95% CRB144 (magnesite) + 5% M3 mixture (=50% CRB715 + 50% CRB720), both <45 µm; ground together.

M1

79.12% MAG103 (magnetite, <45 µm) + 9.98% ART002 (oxalic acid, <100 µm) + 9.93% ASB267 (serpentine, <45 µm) + 0.97% LCA101 (carbon black, <0.021 µm); ground together for 10 minutes in alumina mortar and pestle. Baked at 110C in air and cooled in N2 prior to spectral measurements.

M2

97% ART002 (oxalic acid, <100 µm) + 3% LCA101 (carbon black, <0.021 µm); ground together for 10 minutes in alumina mortar and pestle. Baked at 110C in air and cooled in N2 prior to spectral measurements.

++++++++++++++++++++++++++++++++++++++++++

15.30.4a. Ternary mixtures for Ceres (Ernesto Palomba – October 2016)

CerM21
80.62 wt.% CRB417 (natrite; 10-20 µm methanol wet-sieved) + 8.78 wt.% Bennu1 (Bennu analogue, <45 µm dry-sieved) + 10.60 wt.% SAP104 (saponite clay, unsorted fine powder).

CerM22
63.11 wt.% CRB417 (natrite; 10-20 µm methanol wet-sieved) + 26.90 wt.% Bennu1 (Bennu analogue, <45 µm dry-sieved) + 10.00 wt.% SAP104 (saponite clay, unsorted fine powder).

CerM23
81.10 wt.% CRB417 (natrite, <20 µm methanol wet-sieved) + 8.82 wt.% Bennu1 (Bennu analogue, <45 µm dry-sieved) + 10.04 wt.% ILS104 (illite clay, <45 µm dry-sieved).

CerM24
62.71 wt.% CRB417 (natrite, <20 µm methanol wet-sieved) + 26.70 wt.% Bennu1 (Bennu analogue, <45 µm dry-sieved) + 10.58 wt.% ILS104 (illite clay, <45 µm dry-sieved).

SAP104
100% SAP104 (saponite, unsorted fine powder).

ILS104
100% ILS104 (illite, <45 µm dry-sieved powder).

++++++++++++++++++++++++++++++++++++++

15.30.5a. Ternary mixtures for Ceres (Ernesto Palomba – December 2016) – Bennu analogue + carbonate + clay
CerM30
39.97 wt.% Bennu1 (<45 µm; Bennu analogue) + 50.05 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 9.98 wt.% ILL104 (<45 µm, illite).

CerM31
40.00 wt.% Bennu1 (<45 µm; Bennu analogue) + 39.50 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 20.50 wt.% ILL104 (<45 µm, illite).

CerM32
38.827 wt.% Bennu1 (<45 µm; Bennu analogue) + 31.22 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 29.96 wt.% ILL104 (<45 µm, illite).

CerM33
40.12 wt.% Bennu1 (<45 µm; Bennu analogue) + 20.48 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 39.40 wt.% ILL104 (<45 µm, illite).

CerM34
39.62 wt.% Bennu1 (<45 µm; Bennu analogue) + 10.81 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 49.57 wt.% ILL104 (<45 µm, illite).

CerM35
44.36 wt.% Bennu1 (<45 µm; Bennu analogue) + 50.62 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 5.02 wt.% ILL104 (<45 µm, illite).

CerM36
44.27 wt.% Bennu1 (<45 µm; Bennu analogue) + 45.59 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 10.13 wt.% ILL104 (<45 µm, illite).

CerM37
44.72 wt.% Bennu1 (<45 µm; Bennu analogue) + 35.17 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 20.11 wt.% ILL104 (<45 µm, illite).

CerM38
44.67 wt.% Bennu1 (<45 µm; Bennu analogue) + 25.28 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 30.05 wt.% ILL104 (<45 µm, illite).

CerM39
44.75 wt.% Bennu1 (<45 µm; Bennu analogue) + 15.53 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 39.72 wt.% ILL104 (<45 µm, illite).

CerM40
7.93 wt.% Bennu1 (<45 µm; Bennu analogue) + 72.12 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 19.95 wt.% ILL104 (<45 µm, illite).

CerM41
6.96 wt.% Bennu1 (<45 µm; Bennu analogue) + 63.70 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 30.34 wt.% ILL104 (<45 µm, illite).

CerM42
5.85 wt.% Bennu1 (<45 µm; Bennu analogue) + 52.94 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 41.22 wt.% ILL104 (<45 µm, illite).

CerM43
5.02 wt.% Bennu1 (<45 µm; Bennu analogue) + 43.77 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 51.21 wt.% ILL104 (<45 µm, illite).

CerM44
32.21 wt.% Bennu1 (<45 µm; Bennu analogue) + 46.70 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 21.09 wt.% ILL104 (<45 µm, illite).

CerM45
28.04 wt.% Bennu1 (<45 µm; Bennu analogue) + 43.54 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 28.42 wt.% ILL104 (<45 µm, illite).

CerM46
20.58 wt.% Bennu1 (<45 µm; Bennu analogue) + 40.86 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 38.56 wt.% ILL104 (<45 µm, illite).

CerM47
19.98 wt.% Bennu1 (<45 µm; Bennu analogue) + 29.18 wt.% CRB417 (<20 µm, wet-sieved with ethanol; natrite) + 50.84 wt.% ILL104 (<45 µm, illite).

+++++++++++++++++++++++++++++++++++++

15.30.6a. Binary mixtures for Ceres: Bennu analogue + carbonate
To test effect of mixing versus mixing + grind-mixing in mortar and pestle (Feb. 2017)
CerM49
30.15 wt.% Bennu-1 (<45 µm) + 69.85 wt.% CRB417 (<20 µm, wet sieved).

+++++++++++++++++++++++++++++++++++++
15.30.7a. Binary mixtures for Ceres: Bennu analogue + siderite/carbonate 
To test whether siderite could explain some Ceres bright regions (and whether siderite’s 1.2 µm band could be hidden) and effects of grind-mix (April 2017)

CRB145
Siderite, <45 µm.

Bennu1
Bennu1 analogue, <45 µm, dry sieved.

CerM60
10.48 wt.% CRB145 (siderite, <45 µm) + 89.52 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM61
20.20 wt.% CRB145 (siderite, <45 µm) + 79.80 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM62
30.12 wt.% CRB145 (siderite, <45 µm) + 69.88 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM63
40.08 wt.% CRB145 (siderite, <45 µm) + 59.92 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM64
49.85 wt.% CRB145 (siderite, <45 µm) + 50.15 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM65
90.03 wt.% CRB145 (siderite, <45 µm) + 9.97 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM66
60.05 wt.% CRB145 (siderite, <45 µm) + 39.95 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM67
69.26 wt.% CRB145 (siderite, <45 µm) + 30.74 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

CerM68
80.43 wt.% CRB145 (siderite, <45 µm) + 19.57 wt.% Bennu1 (<45 µm); mixed then ground-mixed for 1 minute in mortar and pestle.

++++++

CerM70
49.94 wt.% CRB160Bk (unsorted; baked at 200°C ) + 50.06 wt.% Bennu 1 (<45 µm, dry sieved). 

CerM71

79.36 wt.% CRB417 (<20 µm, methanol wet-sieved and heated to 300° C) + 20.64 wt.% Bennu 1 (<45 µm, dry sieved).
CerM72

79.36 wt.% CRB417 (<20 µm, methanol wet-sieved and heated to 300° C) + 20.64 wt.% Bennu 1 (<45 µm, dry sieved); crushed together with mortar and pestle for 5 mintues (grind-mix).

CerM73

39.61 wt.% CRB417 (<20 µm, methanol wet-sieved and heated to 300° C) + 60.39 wt.% Bennu 1 (<45 µm, dry sieved).

CerM74

39.61 wt.% CRB417 (<20 µm, methanol wet-sieved and heated to 300° C) + 60.39 wt.% Bennu 1 (<45 µm, dry sieved); crushed together with mortar and pestle for 5 mintues (grind-mix).

++++++++++++++++++++++++++++++++++
15.30.8a. More binary mixtures for Ceres for Ernesto Palomba (Feb. 2017)

Smectites + Bennu analogue

CERM50
5.34 wt.% MON108nh4w + 94.66 wt.% Bennu1 analogue; both <45 µm grain size.

CERM51
9.74 wt.% MON108nh4w + 90.26 wt.% Bennu1 analogue; both <45 µm grain size.

CERM52
20.58 wt.% MON108nh4w + 79.42 wt.% Bennu1 analogue; both <45 µm grain size.

+++++

CERM53
5.89 wt.% SAP105nh4w + 94.11 wt.% Bennu1 analogue; both <45 µm grain size.

CERM54
10.89 wt.% SAP105nh4w + 89.11 wt.% Bennu1 analogue; both <45 µm grain size.

CERM55
20.62 wt.% SAP105nh4w + 79.38 wt.% Bennu1 analogue; both <45 µm grain size.

+++++

CERM56
5.40 wt.% SAP104nh4w + 94.60 wt.% Bennu1 analogue; both <45 µm grain size.

CERM57
11.09 wt.% SAP104nh4w + 88.91 wt.% Bennu1 analogue; both <45 µm grain size.

CERM58
20.25 wt.% SAP104nh4w + 79.75 wt.% Bennu1 analogue; both <45 µm grain size.

+++++

CERM59
50.17 wt.% MON1084nh4w + 49.83 wt.% Bennu1 analogue; both <45 µm grain size.

CERM60
50.66 wt.% SAP105nh4w + 49.43 wt.% Bennu1 analogue; both <45 µm grain size.

CERM61
50.00 wt.% SAP1044nh4w + 50.00 wt.% Bennu1 analogue; both <45 µm grain size.

++++++++++++++++++++++++++++++

15.30.9a. More binary mixtures for Ceres for Ernesto Palomba (September 2017): serpentine + magnetite
Note: mixtures of serpentine (SRP111) + magnetite (either MAG102 or MAG200) ± lampblack (LCA101) ± shungite (SHU102). Mixed in vial, followed by 2 minutes of grind-mix in alumina mortar and pestle.

SRP111
100% SRP111, <45 µm.

CerM80
94.98 wt.% SRP111 (<45 µm) + 5.02 wt.% MAG102 (<45 µm); 2 minute grind-mix.

CerM81
94.68 wt.% SRP111 (<45 µm) + 5.32 wt.% MAG200 (<200 Angstroms); 2 minute grind-mix.

CerM82
93.79 wt.% SRP111 (<45 µm) + 5.27 wt.% MAG200 (<200 Angstroms) + 0.94 wt.% LCA101 (<0.021 nm); 2 minute grind-mix.

CerM83
93.45 wt.% SRP111 (<45 µm) + 5.25 wt.% MAG200 (<200 Angstroms) + 1.29 wt.% SHU102 (25-32 µm); 2 minute grind-mix.

CerM84
93.88 wt.% SRP111 (<45 µm) + 4.96 wt.% MAG102 (<45 µm) + 1.16 wt.% LCA101 (<0.021 nm); 2 minute grind-mix.

CerM85
93.92 wt.% SRP111 (<45 µm) + 4.96 wt.% MAG102 (<45 µm) + 1.12 wt.% SHU102 (25-32 µm); 2 minute grind-mix.

++++++++++++++++++++++++++++++++

15.30.10a. “Mudpies”: various mixtures for a Bennu spectral analogue: saponite + opaques
Note: End members ground together in alumina mortar and pestle for one minute; mixed with reverse osmosis water at 2:1 water:powder in agitator, mixed in commercial mixer for 10 minutes, then baked in air at 150° for 4 days.

GRP102
100% GRP102 (graphite, <45 µm)

MUD001
100% SAP105 (saponite, <45 µm)

MUD002
97.83 wt.% SAP105 (saponite, <45 µm) + 2.17 wt.% GRP102 (graphite, <45 µm) 

MUD003
94.95 wt.% SAP105 (saponite, <45 µm) + 5.04 wt.% GRP102 (graphite, <45 µm) 

MUD004
90.19 wt.% SAP105 (saponite, <45 µm) + 9.81 wt.% GRP102 (graphite, <45 µm) 

+++++

LCA101
100% LCA101 (lampblack, <0.021 nm)

MUD001
100% SAP105 (saponite, <45 µm)

MUD005
98.96 wt.% SAP105 (saponite, <45 µm) + 1.04 wt.% LCA101 (lampblack, <0.021 nm) 

MUD006
98.03 wt.% SAP105 (saponite, <45 µm) + 1.97 wt.% LCA101 (lampblack, <0.021 nm) 

MUD007
94.80 wt.% SAP105 (saponite, <45 µm) + 5.20 wt.% LCA101 (lampblack, <0.021 nm) 

MUD008
90.02 wt.% SAP105 (saponite, <45 µm) + 9.98 wt.% LCA101 (lampblack, <0.021 nm) 

MUD011
94.99 wt.% SAP105b (saponite, <45 µm) + 5.01 wt.% LCA102 (lampblack); “gently mixed” in bottle.
MUD012
94.99 wt.% SAP105b (saponite, <45 µm) + 5.01 wt.% LCA102 (lampblack) Same as MUD011 but with grind-mix (“very mixed”).
MUD013
81.00 wt.% SAP105b (saponite, <45 µm) + 8.99 wt.% GRP102 (graphite, <45 µm) + 10.00 wt.% MAG20x (magnetite, grain size?)
MUD014
85.49 wt.% SAP105b (saponite, <45 µm) + 4.51 wt.% LCA102 (lampblack) + 10.0 wt.% MAG20x (magnetite, grain size?)

+++++++++++++++++++++++++++++++++++

Notes from Dan Applin on first batch of MUD008:

1. The grain size of the SAP105 samples seems to largely be something like 0.75 to 5 microns after blending and drying.

2. The mixtures are much less porous than the pure SAP105. The intergrain spaces are filled in within the mixtures.

3. The GRP102 mixtures are well-mixed. There are a lot of large graphite particles, however. I think the "unsorted" GRP102 is <53, and I see a lot of particles on the large end of that.

4. There are a very large number of big LCA101 aggregates that did not break up. LCA101 is very crumbly, which is why we need to grind mixtures with it to have it disperse well enough. It looks like a significant fraction of it does not de-aggregate and disperse. The "matrix" seems to still be fairly well-mixed LCA101 and SAP105, however.

++++++++++++++++++++++++++
15.30.11a. “Mudpies”: Saponite + carbon black: 
Grind-mix samples done July 2020. Ground at 2 minute intervals and spectrally characterized until little further spectral change noted:

MUD117
95.02 wt.% SAP105 + 4.98 wt.% LCA102

MUD118
95.00 wt.% SAP105 + 5.00 wt.% LCA102 (why does it look like the same as MUD117?)

MUD008 
(chunk previously prepared used for grind-mix)


90.02 wt.% SAP105 + 9.98 wt.% LCA101 (wet-mixed and baked)

MUD121
89.81 wt.% SAP105 + 10.19 wt.% LCA102

+++++++++++++++++++++++++++++++++++++++++++++
15.30.12a. New mudpies (wet-mixed) done August 2020 for Antara Sen and Beth Clark for Bennu analogues

MUD122
unsorted SAP105: 84.73% + unsorted LCA102: 5.32% + <45 um MAG128: 9.94%
MUD123
unsorted SAP105: 90.02% + unsorted LCA102:9.98%
MAG128
<45 um (used in MUD122)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.31a. Nontronite + organic mixtures for Tristan Dequaire (Dec. 2015)

1. Pressed pellets for testing ChemCam testbed in passive mode. “SNa” pellets are mixed in a 50 ml solution of adenine; “Na” pellets are mixed in a 2 ml solution of adenine.
A100

Pure adenine (100%)
N100

Pure nontronite (100%)

NA0.5

0.5 wt.% adenine
NA1

1 wt.% adenine
NA5

5 wt.% adenine
NA10

10 wt.% adenine
NA15

15 wt.% adenine
NA20

20 wt.% adenine
NA30

30 wt.% adenine
NA40

40 wt.% adenine
NA50

50 wt.% adenine
SNA0.5

0.5 wt.% adenine
SNA1

1 wt.% adenine
SNA5

5 wt.% adenine
SNA10

10 wt.% adenine
SNA15

15 wt.% adenine
SNA20

20 wt.% adenine
SNA30

30 wt.% adenine
SNA40

40 wt.% adenine
SNA50

50 wt.% adenine
++++++++++++++++++++++++++++++
2. Additional samples received October 24, 2016

Nontronite
N100, N100_2; 2 vials, ~5 grams each.

Hematite
H100; 1 vial - ~5 grams

Adenine

“minimum 99%”; Sigma Aldrich #A8626-25g; 036K0687; CAS 73-24-5 (powder).

Anthracene
“ReagentPlus 99%”; Sigma Aldrich #141062-1G; lot #MKB0572V.

Pyrene

>99.0%; Sigma Aldrich #82648-1G; lot #BCBQ7305V.

Mellitic acid
99%; Sigma Aldrich #M2705-1G; lot #MKBR8990V.

Chrysene
Fluka #27220, 1g; EC no. 2059234; lot #1117124 45204071.

A. pyralique(?)
1 vial of ~1 gram.
Mixtures made:

Series TDQ0xx: JSC Mars 1 + adenine (wt.%)

TDQ001

100% JSC Mars-1 + 0% adenine

TDQ002

99.4% JSC Mars-1 + 0.6% adenine

TDQ003

98.6% JSC Mars-1 + 1.4% adenine

TDQ004

95.1% JSC Mars-1 + 4.9% adenine

TDQ005

86.3% JSC Mars-1 + 13.7% adenine

TDQ006

80.4% JSC Mars-1 + 19.6% adenine

TDQ007

76.8% JSC Mars-1 + 23.2% adenine

TDQ008

66.8% JSC Mars-1 + 33.2% adenine

TDQ009

49.1% JSC Mars-1 + 50.9% adenine

TDQ010

43.3% JSC Mars-1 + 56.7% adenine

TDQ011

35.3% JSC Mars-1 + 64.7% adenine

TDQ012

27.5% JSC Mars-1 + 72.5% adenine

++++++
Series TDQ1xx: Hematite + adenine (wt.%)

TDQ101

100% hematite + 0% adenine

TDQ102

99.4% hematite + 0.6% adenine

TDQ103

98.7% hematite + 1.3% adenine

TDQ104

96.4% hematite + 3.6% adenine

TDQ105

91.6% hematite + 8.4% adenine

TDQ106

78.9% hematite + 21.1% adenine

TDQ107

72.7% hematite + 27.3% adenine

TDQ108

62.6% hematite + 37.4% adenine

TDQ109

54.4% hematite + 45.6% adenine

TDQ110

46.3% hematite + 53.7% adenine

+++++

Series TDQ2xx: Nontronite + adenine (wt.%)

TDQ201

100% nontronite + 0% adenine

TDQ202

99.5% nontronite + 0.5% adenine

TDQ203

99.0% nontronite + 1.0% adenine

TDQ204

95.4% nontronite + 4.6% adenine

TDQ205

90.8% nontronite + 9.2% adenine

TDQ206

86.0% nontronite + 14.0% adenine

TDQ207

80.4% nontronite + 19.6% adenine

TDQ208

70.3% nontronite + 29.7% adenine

TDQ209

59.3% nontronite + 40.7% adenine

TDQ210

49.6% nontronite + 50.4% adenine

++++++

Series TDQ3xx: (49% hematite + 51% nontronite) + variable amounts of adenine (wt.%)

TDQ301

100% H+N mixture + 0% adenine

TDQ302

99.6% H+N mixture + 0.4% adenine

TDQ303

99.0% H+N mixture + 1.0% adenine

TDQ304

95.5% H+N mixture + 4.5% adenine

TDQ305

99.1% H+N mixture + 9.9% adenine

TDQ306

85.0% H+N mixture + 15.0% adenine

TDQ307

78.7% H+N mixture + 21.3% adenine

TDQ308

67.6% H+N mixture + 32.4% adenine

TDQ309

59.7% H+N mixture + 40.3% adenine

TDQ310

49.2% H+N mixture + 50.8% adenine

TDQ311

40.2% H+N mixture + 59.8% adenine

TDQ312

30.3% H+N mixture + 69.7% adenine

++++++
Series TDQ4xx: Various end members and mixtures
TDQ401

100% adenine (unsorted)
TDQ402

100% phthalic acid (unsorted)
TDQ403

49.6% phthalic acid + 50.4% JSC Mars-1 (unsorted)
TDQ404

100% mellitic acid (unsorted)
TDQ405

100% pyrene (unsorted)
TDQ406

49.4% mellitic acid + 50.6% JSC Mars-1 (unsorted)
TDQ407

50.6% pyrene + 49.4% JSC Mars-1 (unsorted)
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.32a. Nontronite + other phases (2016)

Note: mixtures of new nontronite (NON105) + various other phases. Intent was to make dark clays analogues to carbonaceous chondrite clays that contain nanoscale opaques.Heated in sealed Parr bombs; heated for ~3 months).
NMX001
80% NON105 (nontronite, <45 µm) + 20% MAG200 (magnetite, <0.02 µm); dry-heated to ~200°C.

NMX002
80% NON105 (nontronite, <45 µm) + 20% MAG200 (magnetite, <0.02 µm); wet-heated to ~200°C (1:1 ratio of sample:deionized water).

NMX003
80% NON105 (nontronite, <45 µm) + 20% MAG200 (magnetite, <0.02 µm); unheated.

NMX004
80% NON105 (nontronite, <45 µm) + 20% SPR101 (sulfur, <45 µm); dry-heated to ~200°C.

NMX005
80% NON105 (nontronite, <45 µm) + 20% SPR101 (sulfur, <45 µm); wet-heated to ~200°C (1:1 ratio of sample:deionized water).

NMX006
80% NON105 (nontronite, <45 µm) + 20% SPR101 (sulfur, <45 µm); unheated.

NMX007
80% NON105 (nontronite, <45 µm) + 20% LCA101 (carbon black, <0.021µm); dry-heated to ~200°C.

NMX008
80% NON105 (nontronite, <45 µm) + 20% LCA101 (carbon black, <0.021µm); wet-heated to ~200°C (1:1 ratio of sample:deionized water).

NMX009
80% NON105 (nontronite, <45 µm) + 20% LCA101 (carbon black, <0.021µm); unheated to ~200°C.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.33a. Perchlorate mixtures (2016)

Note: mixtures involving perchlorates to help determine detection limits on Mars.
PRC004
100% PRC004 (calcium perchlorate; fine powder).

PRCMIX001
1.64% PRC004 (fine powder) + 98.36% JSC Mars-1 (unsorted); mixed in glass vial.

PRCMIX002
4.84% PRC004 (fine powder) + 95.16% JSC Mars-1 (unsorted); mixed in glass vial.

PRCMIX003
11.9% PRC004 (fine powder) + 88.1% JSC Mars-1 (unsorted); mixed in glass vial.

PRCMIX004
33.7% PRC004 (fine powder) + 66.3% JSC Mars-1 (unsorted); mixed in glass vial. Shot at room temperature and frozen.
PRCMIX005
PRCMIX004 with large crystals of PRC004 sprinkled on.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++ 

15.34. JSC-Mars 1 + oxalates (previously unsorted – Oct. 2017)

MJSC01
97.5 wt.% JSC-Mars 1 simulant + 2.5 wt. % 50/50 CRB715/CRB720 (Fe/Mg oxalates) (both <45 µm)

MJSC02
95 wt.% JSC-Mars 1 simulant + 5 wt. % Ca oxalate (PIG204) (both <45 µm)

MJSC03
99 wt.% JSC-Mars 1 simulant + 1 wt. % Ca oxalate (PIG204) (both 45 µm)

MJSC04
95 wt.% JSC-Mars 1 simulant + 5 wt. % 50/50 CRB715/CRB720 (Fe/Mg oxalates) (both <45 µm)

MJSC05
99 wt.% JSC-Mars 1 simulant + 1 wt. % Fe oxalate (CRB715) (both 45 µm)

MJSC06
97.5 wt.% JSC-Mars 1 simulant + 2.5 wt. % Ca oxalate (PIG204) (both 45 µm)

Note: 50/50 mixture of Fe/Mg oxalates was given sample number M3

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.35. Carbonates/oxalates + opaques
MCO-001
11.51 wt.% OXA027 (succinic acid, unsorted) + 88.49 wt.% ANT101 (anthraxolite) (fine grained).

MCO-002
10.71 wt.% OXA027 (succinic acid, unsorted) + 89.29 wt.% ANT101 (anthraxolite) (fine grained).

MCO-003
11.45 wt.% OXA025 (glutaric acid, unsorted) + 88.55 wt.% ANT101 (anthraxolite) (fine grained).

MCO-004
10.50 wt.% OXA025 (glutaric acid, unsorted) + 88.50 wt.% ANT101 (anthraxolite) (fine grained).

++++++
MCO-010
92 wt.% ART002 (oxalic acid, unsorted) + 8 wt.% LCA101 (lampblack, <0.021 µm) [Ceres8].

MCO-011
79.45 wt.% OXA014 (NH4 oxalate, unsorted) + 20.55 wt.% LCA101 (lampblack, <0.021 µm).

MCO-012
79.65 wt.% ART002 (oxalic acid, unsorted) + 20.55 wt.% LCA101 (lampblack, <0.021 µm).

MCO-013
90 wt.% SPT162k (baked epsomite, unsorted) + 10 wt.% LCA101 (lampblack, <0.021 µm).

MCO-014
98.5 wt.% SPT105 (NH4 sulfate, synthetic, unsorted) + 11.5 wt.% LCA101 (lampblack, <0.021 µm).

MCO-015
95 wt.% SPT162k (baked epsomite, unsorted) + 5 wt.% LCA101 (lampblack, <0.021 µm).

+++++

MCO-020
11.2 wt.% OXA023 (malonic acid, unsorted) + 88.8 wt.% SHU102 (shungite, <45 µm).

MCO-021
14.60 wt.% OXA023 (malonic acid, fine grained) + 85.40 wt.% SHU102 (shungite, <45 µm).

+++++++++++++++++++++++++++++++++++++++++++++++++++
15.36. Ilmenite + hematite mixtures

ILM201
100 wt.% ilmenite (ILM201, <45 µm)
ILMMIX105
99.88 wt.% ilmenite (ILM201, <45 µm) + 0.12 wt.% hematite (HEM105, <45 µm).

ILMMIX102
99.30 wt.% ilmenite (ILM201, <45 µm) + 0.70 wt.% hematite (HEM105, <45 µm).

ILMMIX103
97.95 wt.% ilmenite (ILM201, <45 µm) + 2.05 wt.% hematite (HEM105, <45 µm).

ILMMIX101
95.12 wt.% ilmenite (ILM201, <45 µm) + 4.88 wt.% hematite (HEM105, <45 µm).

ILMMIX104
90.22 wt.% ilmenite (ILM201, <45 µm) + 9.78 wt.% hematite (HEM105, <45 µm).

HEM105
100 wt.% hematite (HEM105, <45 µm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.37. Hematite (nanophase)-bearing mxtures

(i) Hematite (nanophase; HEM200) + nontronite (NON105); ground together for 3 minutes with mortar and pestle.

HEM200
100% HEM200 (30 nm grain size)
NON105
100% nontronite (<45 µm grain size)
HEMMIX001
99.46 wt. % NON105 + 0.54 wt. % HEM200

HEMMIX002
98.90 wt. % NON105 + 1.09 wt. % HEM200

HEMMIX003
97.96 wt. % NON105 + 2.04 wt. % HEM200

HEMMIX004
95.94 wt. % NON105 + 4.06 wt. % HEM200

HEMMIX005
93.98 wt. % NON105 + 6.02 wt. % HEM200

HEMMIX006
91.99 wt. % NON105 + 8.01 wt. % HEM200

HEMMIX007
89.91 wt. % NON105 + 10.09 wt. % HEM200

HEMMIX008
84.94 wt. % NON105 + 15.06 wt. % HEM200

HEMMIX009
79.88 wt. % NON105 + 20.12 wt. % HEM200

++++++++++
(ii) Hematite (nanophase; HEM200) + glassy basalt (NON105); ground together for 3 minutes with mortar and pestle.

HEM200
100% HEM200 (30 nm grain size)

ICE170
100% basalt (<45 µm grain size)

HEMMIX010
99.49 wt. % ICE170 + 0.51 wt. % HEM200

HEMMIX011
98.90 wt. % ICE170 + 1.10 wt. % HEM200

HEMMIX012
97.91 wt. % ICE170 + 2.09 wt. % HEM200

HEMMIX013
95.93 wt. % ICE170 + 4.07 wt. % HEM200

HEMMIX014
93.84 wt. % ICE170 + 6.16 wt. % HEM200

HEMMIX015
91.96 wt. % ICE170 + 8.04 wt. % HEM200

HEMMIX016
89.68 wt. % ICE170 + 10.32 wt. % HEM200

HEMMIX017
84.99 wt. % ICE170 + 15.01 wt. % HEM200

HEMMIX018
79.78 wt. % ICE170 + 20.22 wt. % HEM200

+++++++++++++++++++++++++++++++++++++++++++++++++++
15.38. Mineral Mixtures from Mike McCraig – February 2023 (his thesis)

Legend: 

SIL001
SiO2 - Alfa Aesar - 99.8% -325 mesh Fused Amorphous Powder

SIL002
SiO2xH2O - alfa Aesar -100 mesh - Reagent Grade

PIG004
CaCO3 - 99+% Reagent Grade - Aldrich

QUA001
Crystalline Quartz

Axel Calcite
Axel Calcite

MCAL Mixtures
MCAL "00" and "0" - 22 samples - CaCO3 and SIL001 and SIL002 mixtures

MCAG
CaCO3 PIG004 and Aragonite CRB120, 10% set, 001-011

MCDL
CaCO3 PIG004 and Dolomite CRB117, 10% set, 001-011

MCQA
CaCO3 PIG004 and Crystalline Quartz QUA001, 10% set, 001-011

MCGQ
CaCO3 PIG004 + QUA001 + SIL001 aSiO2, 001-009

MCAG011
100% Aragonite - CRB120

MCDL011
100% Dolomite - CRB117

MCAL011
100% aSiO2 - SIL001

MCDL001
100% CaCO3 Synthetic - PIG004

MCQA011
100% Crystalline Quartz

MCAL211
100% SiO2xH2O

MCAG006
50% Calcite / 50% Aragonite

MCDL006
50% Calcite / 50% Dolomite
15.38.1.a. aSiO2 (MCAL0xx series)

CaCO3 (PIG004 – synthetic calcite)+ amorphous SiO2 (SIL001; amorphous silica); both <45µm)

MCAL001
100% CaCO3 + 0% aSiO2

MCAL002
90% CaCO3 + 10% aSiO2

MCAL003
80% CaCO3 + 20% aSiO2

MCAL004
70% CaCO3 + 30% aSiO2

MCAL005
60% CaCO3 + 40% aSiO2

MCAL006
50% CaCO3 + 50% aSiO2

MCAL007
40% CaCO3 + 60% aSiO2

MCAL008
30% CaCO3 + 70% aSiO2

MCAL009
20% CaCO3 + 80% aSiO2

MCAL010
10% CaCO3 + 90% aSiO2

MCAL011
0% CaCO3 + 100% aSiO2

+++++++++++++++++++++++++++++++++++++++++

15.38.2.a. aSiO2xH2O (MCAL2xx series)

CaCO3 (PIG004 -synthetic calcite) + amorphous hydrated SiO2 (both <45µm); aSiO2 (SIL001) dried at 100°C for 24 hours

MCAL201
100% CaCO3 + 0% aSiO2xH2O

MCAL202
90% CaCO3 + 10% aSiO2xH2O

MCAL203
80% CaCO3 + 20% aSiO2xH2O

MCAL204
70% CaCO3 + 30% aSiO2xH2O

MCAL205
60% CaCO3 + 40% aSiO2xH2O

MCAL206
50% CaCO3 + 50% aSiO2xH2O

MCAL207
40% CaCO3 + 60% aSiO2xH2O

MCAL208
30% CaCO3 + 70% aSiO2xH2O

MCAL209
20% CaCO3 + 80% aSiO2xH2O

MCAL210
10% CaCO3 + 90% aSiO2xH2O

MCAL211
0% CaCO3 + 100% aSiO2xH2O

+++++++++++++++++++++++++++++++++++

15.38.3.a. aSiO2xH2O (MCAG0xx series)

CaCO3 (PIG004- Synthetic calcite) + aragonite (CRB120) (both <45µm)

MCAG001
100% CaCO3 + 0% CRB120

MCAG002
90% CaCO3 + 10% CRB120

MCAG003
80% CaCO3 + 20% CRB120

MCAG004
70% CaCO3 + 30% CRB120

MCAG005
60% CaCO3 + 40% CRB120

MCAG006
50% CaCO3 + 50% CRB120

MCAG007
40% CaCO3 + 60% CRB120

MCAG008
30% CaCO3 + 70% CRB120

MCAG009
20% CaCO3 + 80% CRB120

MCAG010
10% CaCO3 + 90% CRB120

MCAG011
0% CaCO3 + 100% CRB120

++++++++++++++++++++++++++++++++++++

15.38.4.a. CaCO3 (PIG004 – synthetic calcite) + dolomite (CRB117) (MCDL0xx series)

CaCO3 (PIG004- Synthetic calcite) + dolomite (CRB117) (both <45µm)

MCDL001
100% CaCO3 + 0% CRB117

MCDL002
90% CaCO3 + 10% CRB117

MCDL003
80% CaCO3 + 20% CRB117

MCDL004
70% CaCO3 + 30% CRB117

MCDL005
60% CaCO3 + 40% CRB117

MCDL006
50% CaCO3 + 50% CRB117

MCDL007
40% CaCO3 + 60% CRB117

MCDL008
30% CaCO3 + 70% CRB117

MCDL009
20% CaCO3 + 80% CRB117

MCDL010
10% CaCO3 + 90% CRB117

MCDL011
0% CaCO3 + 100% CRB117

+++++++++++++++++++++++++++++++++++++

15.38.5.a. CaCO3 (PIG004 – synthetic calcite) + quartz (QUA001) (MCQA0xx series)

CaCO3 (PIG004- Synthetic calcite) + quartz (QUA001) (both <45µm)

MCQA001
100% CaCO3 + 0% QUA001
MCQA002
90% CaCO3 + 10% QUA001

MCQA003
80% CaCO3 + 20% QUA001

MCQA004
70% CaCO3 + 30% QUA001

MCQA005
60% CaCO3 + 40% QUA001

MCQA006
50% CaCO3 + 50% QUA001

MCQA007
40% CaCO3 + 60% QUA001

MCQA008
30% CaCO3 + 70% QUA001

MCQA009
20% CaCO3 + 80% QUA001

MCQA010
10% CaCO3 + 90% QUA001

MCQA011
0% CaCO3 + 100% QUA001

++++++++++++++++++++++++++++++++++++

15.38.6.a. CaCO3 (PIG004 – synthetic calcite) + quartz (QUA001) + aSiO2 (SIL001) (MCGQ0xx series)

CaCO3 (PIG004- Synthetic calcite) + quartz (QUA001) + aSiO2 (SIL001) (all <45µm)

MCGQ001
90% CaCO3 + 5% QUA001 + 5% SIL001

MCGQ002
80% CaCO3 + 10% QUA001 + 10% SIL001

MCGQ003
70% CaCO3 + 15% QUA001 + 15% SIL001

MCGQ004
60% CaCO3 + 20% QUA001 + 20% SIL001

MCGQ005
50% CaCO3 + 25% QUA001 + 25% SIL001

MCGQ006
40% CaCO3 + 30% QUA001 + 30% SIL001

MCGQ007
30% CaCO3 + 35% QUA001 + 35% SIL001

MCGQ008
20% CaCO3 + 40% QUA001 + 40% SIL001

MCGQ009
10% CaCO3 + 45% QUA001 + 45% SIL001

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.39a. Two carbonate mixtures

CRB701
<45 µm; siderite.

CRB106
<45 µm; magnesite

MagSid90
90 wt.% CRB106 + 10% CRB701.

MagSid80
80 wt.% CRB106 + 20% CRB701.

MagSid70
70 wt.% CRB106 + 30% CRB701.

MagSid60
60 wt.% CRB106 + 40% CRB701.

MagSid50
50 wt.% CRB106 + 50% CRB701.

MagSid40
40 wt.% CRB106 + 60% CRB701.

MagSid30
30 wt.% CRB106 + 70% CRB701.

MagSid20
20 wt.% CRB106 + 80% CRB701.

MagSid10
10 wt.% CRB106 + 90% CRB701.

++++++++++++++++++++++
15.39b. Magnesite (carbonate; CRB106) + epsomite (sulfate; SPT162) mixtures: For Stepahnie Connell (June 2024)

Note: all powders are <45 µm.

SCMIX001
90.11 wt.% CRB106 + 9.89 wt.% SPT162

SCMIX002
80.48 wt.% CRB106 + 19.52 wt.% SPT162

SCMIX003
70.23 wt.% CRB106 + 29.77 wt.% SPT162

SCMIX004
61.57 wt.% CRB106 + 38.43 wt.% SPT162

SCMIX005
49.78 wt.% CRB106 + 50.22 wt.% SPT162

SCMIX006
38.50 wt.% CRB106 + 61.50 wt.% SPT162

SCMIX007
29.92 wt.% CRB106 + 70.08 wt.% SPT162

SCMIX008
20.04 wt.% CRB106 + 79.96 wt.% SPT162

SCMIX009
10.02 wt.% CRB106 + 89.98 wt.% SPT162

SPT162
0 wt.% CRB106 + 100 wt.% SPT162

CRB106
100 wt.% CRB106 + 0 wt.% SPT162

CRB106bk
100 wt.% CRB106 + 0 wt.% SPT162; heated to 100°C in air for 4 days; 0.72 wt.% lost.

SPT162bk
0 wt.% CRB106 + 100 wt.% SPT162; heated to 100°C in air for 4 days; 1.04 wt.% lost.

SCMIX001bk
92.18 wt.% CRB106bk + 7.82 wt.% SPT162bk; heated to 100°C in air for 4 days; 0.15 wt.% lost. Assuming this is all water from SPT162, then there is a 23% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX002bk
85.48 wt.% CRB106bk + 14.52 wt.% SPT162bk; heated to 100°C in air for 4 days; 0.42 wt.% lost. Assuming this is all water from SPT162, then there is a 30% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX003bk
75.48 wt.% CRB106bk + 24.52 wt.% SPT162bk; heated to 100°C in air for 4 days; 0.56 wt.% lost. Assuming this is all water from SPT162, then there is a 23% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX004bk
68.98 wt.% CRB106bk + 31.02 wt.% SPT162bk; heated to 100°C in air for 4 days; 0.98 wt.% lost. Assuming this is all water from SPT162, then there is a 28% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX005bk
57.30 wt.% CRB106bk + 42.70 wt.% SPT162bk; heated to 100°C in air for 4 days; 1.39 wt.% lost. Assuming this is all water from SPT162, then there is a 25% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX006bk
44.66 wt.% CRB106bk + 55.34 wt.% SPT162bk; heated to 100°C in air for 4 days; 1.26 wt.% lost. Assuming this is all water from SPT162, then there is a 22% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX007bk
37.02 wt.% CRB106bk + 62.98 wt.% SPT162bk; heated to 100°C in air for 4 days; 1.58 wt.% lost. Assuming this is all water from SPT162, then there is a 27% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX008bk
25.04 wt.% CRB106bk + 74.96 wt.% SPT162bk; heated to 100°C in air for 4 days; 1.43 wt.% lost. Assuming this is all water from SPT162, then there is a 25% loss of SPT162, which is reflected in the new mixture ratio.
SCMIX009bk
12.92 wt.% CRB106bk + 87.08 wt.% SPT162bk; heated to 100°C in air for 4 days; 1.45 wt.% lost. Assuming this is all water from SPT162, then there is a 25% loss of SPT162, which is reflected in the new mixture ratio.
++++++++++++++++++++

15.40. Basalt + spinel mixtures (potentially for Barbarian/K asteroids, Moon, Jezero) – Briony Horgan
Note: spectrally, SPI117 sample used looked nothing like a spinel.

Series 1:

SPI117
100% spinel (SPI117); <45 µm

SA-51
100% basalt (SA-51); <45 µm

BASSPI01
90 wt.% SA-51 + 10% SPI117

BASSPI02
80 wt.% SA-51 + 20% SPI117

BASSPI03
70 wt.% SA-51 + 30% SPI117

BASSPI04
60 wt.% SA-51 + 40% SPI117

BASSPI05
50 wt.% SA-51 + 50% SPI117

++++++++++
Series 2:

SPI101
100% spinel (SPI101), <45 µm.

SA-54
100% basalt (SA-54); <45 µm.

BASSPI10
90% SPI101 + 10% SA-54
BASSPI11
80% SPI101 + 20% SA-54

BASSPI12
70% SPI101 + 30% SA-54

BASSPI13
60% SPI101 + 40% SA-54

BASSPI14
50% SPI101 + 50% SA-54

BASSPI15
10% SPI101 + 90% SA-54

BASSPI16
20% SPI101 + 80% SA-54

BASSPI17
30% SPI101 + 70% SA-54

BASSPI18
40% SPI101 + 60% SA-54

+++++++++++++++++++++++++++++++++++++++++++

15.41a. New MUD mixtures (for Ceres and Bennu) – August 2024

Note: The second set (“bk”) was baked at 150*C for 24 hours because the Na carbonate hydrated. Not sure when it hydrated or if the sample was hydrated Na carbonate and not natrite. Turned into natrite after baking.
MUD124 was made by mixing 5% LCA102 with 95% <45 SAP104. The sample was dry mixed together, then distilled water was added at a ~ 10:1 ratio to the dry sample. This was mixed together with a commercial blender for 10 minutes, then the slurry was placed in an oven at 150*C for 24 hours. Then, we dry-sieved it to <45.

All components used were <45 µm grain size.

MUDMIX001
90% MUD124 + 10% OL02 (Oldoinyo Lengai natrite)

MUDMIX002
80% MUD124 + 20% OL02

MUDMIX003
70% MUD124 + 30% OL02

MUDMIX004
60% MUD124 + 40% OL02

MUDMIX005
50% MUD124 + 510% OL02

+++++

MUDMIX001bk
90% MUD124 + 10% OL02

MUDMIX002bk
80% MUD124 + 20% OL02

MUDMIX003bk
70% MUD124 + 30% OL02

MUDMIX004bk
60% MUD124 + 40% OL02

MUDMIX005bk
50% MUD124 + 50% OL02

++++++

MUDMIX006
90% MUD124 + 10% SAP104NH4

MUDMIX007
80% MUD124 + 20% SAP104NH4

MUDMIX008
70% MUD124 + 30% SAP104NH4 (ammoniated saponite)

MUDMIX009
60% MUD124 + 40% SAP104NH4

MUDMIX010
50% MUD124 + 50% SAP104NH4

+++++

MUDMIX011
90% MUD124 + 10% ALB101 (albertite)

MUDMIX012
80% MUD124 + 20% ALB101

MUDMIX013
70% MUD124 + 30% ALB101

MUDMIX014
60% MUD124 + 40% ALB101

MUDMIX015
50% MUD124 + 50% ALB101

++++++

MUDMIX016
90% MUD124 + 10% MAG128 (magnetite)

MUDMIX017
80% MUD124 + 2A0% MAG128

MUDMIX018
70% MUD124 + 30% MAG128

MUDMIX019
60% MUD124 + 40% MAG128

MUDMIX020
50% MUD124 + 50% MAG128

++++++

SAP104nh4w
Ammoniated saponite

MAG128
Magnetite

OL002
Oldoinyo Lengai natrite

ALB101
Albertite

MUD124
5% LCA102 + 95% SAP104.
++++++++++++++++++++++++++++++++++++++++++++++++++

15.42.a. Newmixtures (opaques +) for Bennu and Tarda

COAL22
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_041-046.

OILS10
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_061-066.

ANT101
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_071-076.

SHU102
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_081-086.

MAG128
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_001-006.

PRH101
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_011-016.

PEN101
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_021-026.

MAC101
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_031-036.

COAL21
Grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles: Dark_ast_041-046.

Mixtures made with 5 wt.% of each ground opaque + 95 wt.% SAP104 (saponite, <45 µm) – each mixture wet grind-mixed in ethanol for 5 one-minute intervals.

Dark_ast_101-105
MAG128 mixtures

Dark_ast_111-115
PRH101 mixtures

Dark_ast_121-125
PEN101 mixtures

Dark_ast_131-136
MAC101 mixtures

Dark_ast_141-146
COAL21 mixtures

Dark_ast_151-156
COAL22 mixtures

Dark_ast_161-166
OILS10 mixtures

Dark_ast_171-176
ANT101 mixtures

Dark_ast_181-186
SHU102 mixtures

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15a.x. M.Sc. Olivine + Orthopyroxene series – Samples available

1. Series 1. 63-90 microns Orthopyroxene + Olivine


(PYX02 = my PYX042; OLV is Green Sand Beach = my OLV010)



OLV/PYX
0/100





5/95





10/90





20/80





30/70





40/60





50/50





60/40





70/30





90/10





100/0

2. Series 2. 45-63 microns Orthopyroxene + Olivine



OLV/PYX
0/100





10/90





25/75





50/50





75/25





90/10





0/100

3. Series 3. <<38 microns - Orthopyroxene + Olivine





only 1 sample: 10/90 Olv/Pyx

++++++++++++++++++++++++++++++++++++++++++++
15b. Mixtures: XRD data

5. 15.14b: University of Manitoba data (to compare peak changes to spectral changes):
emix1
emix2
emix3
emix4
emix5
emix6
emix7 
plus end members

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15c. Mixtures – analytical data

MUD007 and SAP105 – notes from Dan Applin sept 2020

Attached are data from SAP105, bulk powder; and salt crust from MUD007.

The data aren't directly comparable, because the measured salt crust was unsorted, scraped off, and sprinkled onto a zero background plate.

The slits used also mean the low 2-theta range is not very accurate, so the clay peaks are not well resolved. Not an issue for these measurements.

There is a significant amount of the matrix material that was scraped off with the crust, so that shows up in the XRD.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15d. Spectral Data - Mineral Mixtures (by series)
Sample
Facility/File No.  
Description







15.1d. Two pyroxene mixtures

MIX201
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX205
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.
PYX009
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX038
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.
MIX205
PSF 200318a.00017.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See section 2.1 (Pyroxenes) for additional end member spectra 

++++++
15.1.1d. Series 1: PYX032 (OPX) + PYX040 (type B CPX)

MIX230
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX231
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX232
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.
PYX032
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX040
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.
PYX230
PSF 200318a.00013.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX231
PSF 200318a.00018.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX232
PSF 200318a.00012.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See section 2.1 (Pyroxenes) for additional end member spectra 

++++++
15.1.2d. Series 2: PYX003 (OPX) + PYX036 (type B CPX)

MIX250
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX251
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX252
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.
PYX003
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX036
UH Analogue
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.
MIX250
PSF 200318a.00019.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX251
PSF 200318a.00016.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX252
PSF 200318a.00014.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See section 2.1 (Pyroxenes) for additional end member spectra 

++++++
15.1.3d. Series 3a: Type A clinopyroxene (PYX150) + orthopyroxene (PYX042); both <45 µm

COMIX1101
PSF sep0407.001
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1102
PSF sep0407.002
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1103
PSF sep0407.003
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1104
PSF sep0407.004
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1105
PSF sep0407.005
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1106
PSF sep0407.006
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1107
PSF sep0407.007
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1108
PSF sep0407.008
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1108.5
PSF sep0407.009
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1109
PSF sep0407.010
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1109.5
PSF sep0407.011
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1110
PSF sep0407.012
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1110.5
PSF sep0407.013
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX1111
PSF sep0407.014
<45 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

++++++
15.1.4d. Series 3b: Type A clinopyroxene (PYX150) + orthopyroxene (PYX042); both 45-90 µm

COMIX2101
PSF sep0407a.001
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2102
PSF sep0407a.002
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2103
PSF sep0407a.003
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2104
PSF sep0407a.004
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2105
PSF sep0407a.005
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2106
PSF sep0407a.006
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2107
PSF sep0407a.007
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2108
PSF sep0407a.008
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2108.5
PSF sep0407a.009
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2109
PSF sep0407a.010
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2109.5
PSF sep0407a.011
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2110
PSF sep0407a.012
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2110.5
PSF sep0407a.013
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

COMIX2111
PSF sep0407a.014
45-90 µm; 30/0; 0.35-2.5µm; 1 nm resol.; 1000 avg.; ASD.

++++++
15.1.5d. Series 4a: Type B clinopyroxene (PYX017) + orthopyroxene (PYX032); both <45 µm
PMIX1001
PSF dec1406.001
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1002
PSF dec1406.002
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1003
PSF dec1406.003
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1004
PSF dec1406.004
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1005
PSF dec1406.005
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1006
PSF dec1406.006
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1007
PSF dec1406.007
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1008
PSF dec1406.008
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1009
PSF dec1406.009
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1010
PSF dec1406.010
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1011
PSF dec1406.011
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

++++++
15.1.6d. Series 4b: Type B clinopyroxene (PYX017) + orthopyroxene (PYX032); both 90-180 µm
PMIX2001
PSF dec1606.007
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2002
PSF dec1606.008
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2003
PSF dec1606.009
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2004
PSF dec1606.010
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2005
PSF dec1606.011
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2006
PSF dec1606.012
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

++++++
15.1.7d. Series 5a: Type B clinopyroxene (PYX005) + orthopyroxene (PYX023); both <45 µm
PMIX1101
PSF dec1406.013
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1102
PSF dec1406.014
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1103
PSF dec1406.015
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1104
PSF dec1406.016
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1105
PSF dec1406.017
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1106
PSF dec1406.018
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1107
PSF dec1406.019
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1108
PSF dec1406.020
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1109
PSF dec1406.021
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1110
PSF dec1406.022
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX1111
PSF dec1406.023
<45 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

++++++
15.1.8d. Series 5b: Type B clinopyroxene (PYX005) + orthopyroxene (PYX023); both 90-180 µm
PMIX2101
PSF dec1606.001
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2102
PSF dec1606.002
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2103
PSF dec1606.003
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2104
PSF dec1606.004
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2105
PSF dec1606.005
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

PMIX2106
PSF dec1606.006
90-180 µm; 35/0; 0.35-2.5µm; 1 nm resol.; 2000 avg.; ASD.

+++++++++
15.1.9d. Olivine + 2 pyroxene mixtures and two of three components

OOCMIX01
PSF 200318a.00031.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

OOCMIX02
PSF 200318a.00032.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

OOCMIX03
PSF 200318a.00033.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

OOCMIX04
PSF 200318a.00034.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

OOCMIX05
PSF 200318a.00035.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

OOCMIX06
PSF 200318a.00036.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.2d. Olivine + orthopyroxene mixtures

MIX203
UH Analog
mixed, 0/15, 0.65-2.55µm, 1.5% resol.

MIX210
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX212
UH Analog
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV003
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV010
UH Analogue
<63 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV010
UH Analogue
63-125 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV020
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX032
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX042
UH Analogue
<63 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX042
UH Analogue
63-125 µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX210
PSF 200318a.00021.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX212
PSF 200318a.00023.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See sections 2.1 (Pyroxenes) and 2.2 (Olivines) for additional end member spectra.

++++++
15.2.1d. Series 1: OLV022 + PYX003

MIX240
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX241
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX242
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV022
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX003
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX240
PSF 200318a.00028.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX242
PSF 200318a.00024.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See sections 2.1 (Pyroxenes) and 2.2 (Olivines) for additional end member spectra.

++++++
15.2.2d. Series 2a: Orthopyroxene (PYX042) + olivine (OLV003); both <38 µm.

POMIX1001
PSF 300807b.001
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1002
PSF 300807b.002
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1003
PSF 300807b.003
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1004
PSF 300807b.004
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1005
PSF 300807b.005
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1006
PSF 300807b.006
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1007
PSF 300807b.007
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1008
PSF 300807b.008
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1009
PSF 300807b.009
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1010
PSF 300807b.010
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX1011
PSF 300807b.011
<38 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

++++++
15.2.3d. Series 2b: Orthopyroxene (PYX042) + olivine (OLV003); 38-53 µm.

POMIX2001
PSF 31aug07.001
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2002
PSF 31aug07.002
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2003
PSF 31aug07.003
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2004
PSF 31aug07.004
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2005
PSF 31aug07.005
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2006
PSF 31aug07.006
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2007
PSF 31aug07.007
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2008
PSF 31aug07.008
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2009
PSF 31aug07.009
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2010
PSF 31aug07.010
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX2011
PSF 31aug07.011
38-53 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

++++++
15.2.4d. Series 2c: Orthopyroxene (PYX042) + olivine (OLV003); 90-125 µm.

POMIX3001
PSF 06sep07.001
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3002
PSF 06sep07.002
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3003
PSF 06sep07.003
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3004
PSF 06sep07.004
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3005
PSF 06sep07.005
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3006
PSF 06sep07.006
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3007
PSF 06sep07.007
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3008
PSF 06sep07.008
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3009
PSF 06sep07.009
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3010
PSF 06sep07.010
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX3011
PSF 06sep07.011
90-125 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

++++++
15.2.5d. Series 2d: Orthopyroxene (PYX042) + olivine (OLV003); 63-90 µm (original M.Sc. 1986 samples).

POMIX4001
PSF 060907a.011
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4002
PSF 060907a.010
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4003
PSF 060907a.009
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4004
PSF 060907a.008
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4005
PSF 060907a.007
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4006
PSF 060907a.006
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4007
PSF 060907a.005
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4008
PSF 060907a.004
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4009
PSF 060907a.003
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4010
PSF 060907a.002
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4011
PSF 060907a.001
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4012
PSF 060907a.012
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX4013
PSF 060907a.013
63-90 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

++++++
15.2.6d. Series 2e: Orthopyroxene (PYX042) + olivine (OLV003); 45-63 µm (original M.Sc. 1986 samples).

POMIX5001
PSF 060907b.001
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX5002
PSF 060907b.002
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX5006
PSF 060907b.003
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX5010
PSF 060907b.004
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX5011
PSF 060907b.005
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX5014
PSF 060907b.006
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

POMIX5015
PSF 060907b.007
45-63 µm; 30/0; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.3d. Olivine + clinopyroxene mixtures

MIX211
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX213
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV003
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV022
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX026
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX036
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.
MIX211
PSF 200318a.00015.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX213
PSF 200318a.00020.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See sections 2.1 (Pyroxenes) and 2.2 (Olivines) for additional end member spectra.

++++++
15.3.1d. Series 1: OLV020 + PYX040 (type B CPX)

MIX220
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX221
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX222
UH Analog
45-90µm, 0/15, 0.65-2.55µm, 1.5% resol.

OLV020
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX040
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

MIX220
PSF 200318a.00026.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX221
PSF 200318a.00025.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

MIX222
PSF 200318a.00027.asd
45-90 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 500 spectra averaged; ASD4 [Directory: 200318 pyroxene mixtures].

See sections 2.1 (Pyroxenes) and 2.2 (Olivines) for additional end member spectra.

++++++
15.3.2d. Series 2: OLV003 + PYX150 (type A cpx) – August 2009
OCMIX1001
PSF 090724a.002
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1002
PSF 090724a.003
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1003
PSF 090724a.004
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1004
PSF 090724a.005
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1005
PSF 090724a.006
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1006
PSF 090724a.007
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1007
PSF 090724a.008
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1008
PSF 090724a.009
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1009
PSF 090724a.010
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1010
PSF 090724a.011
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

OCMIX1011
PSF 090724a.012
<45µm, 30°/0°, 0.35-2.5µm, 1 nm output, ASD, 1000 avgd.

+++++

15.3.3d. OLV003 (<45 μm) + PYX016 (type B, <45 μm) – April 2010

OLV003
PSF 100412b.007
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

PYX016
PSF 100412b.002
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX031
PSF 100412b.017
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX032
PSF 100412b.018
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX033
PSF 100412b.019
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX034
PSF 100412b.020
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.4d. Olivine + metal

15.4.1d. Series 1: OLV003 + MET101

MIX260
RELAB C1SC03
--, 0/15, 0.34-2.7µm, 5nm.

MIX261
RELAB C1SC04
--, 0/15, 0.34-2.7µm, 5nm.

MIX262
RELAB C1SC05
--, 0/15, 0.34-2.7µm, 5nm.

MIX263
RELAB CSC101
--, 0/15, 0.3-2.7µm, 5nm.

OLV003
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

MET101
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

See sections 2.2 (Olivines) and 16. (Meteorites) for additional end member spectra.

++++++
15.4.2d. Series 2: OLV003 + MET101

MOMIX2001
PSF
 100907.001
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.
MOMIX2002
PSF
 100907.002
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2003
PSF
 100907.003
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2004
PSF
 100907.004
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2005
PSF
 100907.005
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2006
PSF
 100907.006
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2007
PSF
 100907.007
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2008
PSF
 100907.008
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2008
PSF 090127a.008
--, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
MOMIX2008
PSF 090313a.034
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

MOMIX2009
PSF
 100907.009
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2009
PSF 090127a.009
--, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
MOMIX2009
PSF 090313a.035
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

MOMIX2010
PSF
 100907.010
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2010
PSF 090127a.010
--, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
MOMIX2010
PSF 090313a.036
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

MOMIX2011
PSF 090313a.039
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

MET101A
PSF
 041007.008
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2101
PSF 100907.011
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MOMIX2102
PSF
 100907.012
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET100
PSF
 100907.029
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.
Note: areal mixtures of these samples (with "A" suffix) have been generated as mathematical linear combinations of the end member spectra (see database).

+++++++++++

15.4.3d. Series 3: OLV011 + MET101

MOMIX3000
PSF 090313a.041
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.
MET101A
PSF
 041007.008
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

See sections 2.2 (Olivines) and 16. (Meteorites) for (additional) end member spectra.

++++++

15.4.4d. Series 4: Olivine (OLV007) + Metal (MET01)

MOMIX4000
PSF 090319a.003
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.
MET101A
PSF
 041007.008
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.
MOMIX5000
PSF 150519a.004
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MOMIX5001
PSF 150519a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MOMIX5002
PSF 150519a.006
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MOMIX5003
PSF 150519a.007
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MOMIX5004
PSF 150519a.008
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MOMIX5005
PSF 150519a.015
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MOMIX5006
PSF 150519a.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

See sections 2.2 (Olivines) and 16. (Meteorites) for (additional) end member spectra.

++++++
15.4.5a. Series 5: Pallasite (MET030) slab spectra (roughened with 120 grit sandpaper)

See section 16 (Meteorites) for spectra.

++++++

15.4.6a. Series 6: Olivine (OLV003, <45 μm) sprinkled on Odessa iron meteorite slab (MET01, roughened with 120 grit sandpaper)
OLMETS01
PSF 121101a.012
<45 μm olivine (OLV003) on slab (Odessa iron meteorite (MET01) roughened with 120 grit sandpaper); i=30°, e=0°; 0,35-2.5 μm; 2-7 nm resol., 1 nm output; 1000 spectra avgd.; ASD (directory: 121101mafic metal); no olivine.

OLMETS02
PSF 121101a.013
<45 μm olivine (OLV003) on slab (Odessa iron meteorite (MET01) roughened with 120 grit sandpaper); i=30°, e=0°; 0,35-2.5 μm; 2-7 nm resol., 1 nm output; 1000 spectra avgd.; ASD (directory: 121101mafic metal); with lightest olivine coating.
OLMETS03
PSF 121101a.014
<45 μm olivine (OLV003) on slab (Odessa iron meteorite (MET01) roughened with 120 grit sandpaper); i=30°, e=0°; 0,35-2.5 μm; 2-7 nm resol., 1 nm output; 1000 spectra avgd.; ASD (directory: 121101mafic metal); with heavier olivine coating.
OLMETS04
PSF121101a.015
<45 μm olivine (OLV003) on slab (Odessa iron meteorite (MET01) roughened with 120 grit sandpaper); i=30°, e=0°; 0,35-2.5 μm; 2-7 nm resol., 1 nm output; 1000 spectra avgd.; ASD (directory: 121101mafic metal); with heaviest olivine coating (metal not visible).
OLMETS05
PSF 121101a.016
<45 μm olivine (OLV003) on slab (Odessa iron meteorite (MET01) roughened with 120 grit sandpaper); i=30°, e=0°; 0,35-2.5 μm; 2-7 nm resol., 1 nm output; 1000 spectra avgd.; ASD (directory: 121101mafic metal); with uber-heaviest olivine coating (metal not visible).
OLMETS06
PSF 121101a.017
<45 μm olivine (OLV003) on slab (Odessa iron meteorite (MET01) roughened with 120 grit sandpaper); i=30°, e=0°; 0,35-2.5 μm; 2-7 nm resol., 1 nm output; 1000 spectra avgd.; ASD (directory: 121101mafic metal); OLV003, <45 μm in sample cup.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.5d. Olivine + orthopyroxene + metal

MIX266
RELAB C1SC07
--, 0/15, 0.34-2.7µm, 5nm.

MIX266
RELAB C2SC07
--. 0/15, 0.3-2.6µm, 5nm, with errors.

MIX271
RELAB C1SC08
--, 0/15, 0.34-2.7µm, 5nm.

OLV003
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

PYX117
UH Analogue
45-90 µm, 0/15, 0.65-2.55µm, 1.5% resol.

See sections 2.1 (Pyroxenes) and 2.2 (Olivines) for additional end member spectra.

+++++++++++++

15.6d. Olivine + opaques: carbon black, magnetite, etc.

MIX283
RELAB C1SC21
--, 0/15, 0.34-2.7µm, 5nm.

MIX283
PSF 100420a.018
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).

MIX284
RELAB C1SC22
--, 0/15, 0.34-2.7µm, 5nm.

MIX284
PSF 100420a.019
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).

MIX285
RELAB C1SC23
--, 0/15, 0.34-2.7µm, 5nm.

MIX285
PSF 100420a.020
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).

MIX286
RELAB C1SC18
--, 0/15, 0.34-2.7µm, 5nm.

MIX286
PSF 100420a.021
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).

MIX290
RELAB C1SC28
--, 0/15, 0.34-2.7µm, 5nm.

MIX290
RELAB C2SC28
--, 0/15, 0.3-2.6µm, 5nm, with errors.

MIX290
RELAB C3SC28
--, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

MIX290
RELAB C4SC28
--, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MIX291
RELAB C1SC26
--, 0/15, 0.34-2.7µm, 5nm.

MIX291
RELAB C2SC26
--, 0/15, 0.3-2.6µm, 5nm, with errors.

MIX291
RELAB C3SC26
--, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

MIX291
RELAB C4SC26
--, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MIX292
RELAB C1SC27
--, 0/15, 0.34-2.7µm, 5nm.

MIX292
RELAB C2SC27
--, 0/15, 0.3-2.6µm, 5nm, with errors.

MIX292
RELAB C3SC27
--, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

MIX292
RELAB C4SC27
--, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MIX300
RELAB C1SC85
--, 0/15, 0.3-2.7µm, 5nm.

MIX310
RELAB C2SC85
--, 0/15, 0.3-2.7µm, 5nm.

MIX320
RELAB C1SC91
--, 0/15, 0.3-2.7µm, 5nm.

MIX330
RELAB C1SC86
--, 0/15, 0.3-2.7µm, 5nm.

MIX332
RELAB CSC103
--, 0/15, 0.3-2.7µm, 5nm.

MIX340
RELAB C1SC87
--, 0/15, 0.3-2.7µm, 5nm.

MIX341
RELAB CSC100
--, 0/15, 0.3-2.7µm, 5nm.

MIX342
RELAB CSC102
--, 0/15, 0.3-2.7µm, 5nm.

MIX350
RELAB C1SC94
--, 0/15, 0.3-2.7µm, 5nm.

MIX360
RELAB C1SC92
--, 0/15, 0.3-2.7µm, 5nm.

MIX361
RELAB C1SC88
--, 0/15, 0.3-2.7µm, 5nm.

MIX370
RELAB C1SC90
--, 0/15, 0.3-2.7µm, 5nm.

MIX380
RELAB C1SC89
--, 0/15, 0.3-2.7µm, 5nm.

MMIX01
RELAB MMIX01
OLV003:SIC102 972:28, 70µm:5µm, 0/15, 0.3-2.7µm, 5nm.

MMIX11
RELAB MMIX11
OLV003:SIC102 972:28, 70µm:5µm, 0/15, 0.3-2.7µm, 5nm.


++++ end member spectra for 15.6.++++++

OLV003
RELAB c1sc02
45-90 µm; 0°/15°; 0.3-3.6 µm; 5 nm.

OLV003
RELAB csc099
<45 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

LCA101
RELAB c1sc24
<0.021 µm; 0°/15°; 0.34-2.7 µm; 5 nm.

MAG101
RELAB c2sc25
45-90 µm; 0°/15°; 0.3-2.6 µm; 5 nm.

MAG101
RELAB cbsc25
<45 µm; 0°/15°; 0.3-2.6 µm; 5 nm.

SIC101
RELAB c1sc82
<37 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

SIC102
RELAB c2sc82
<7 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

GRP101
RELAB c1sc79
<45 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

GRP102
RELAB c1sc80
<45 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

CTE101
RELAB c1sc83
<37 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

CEM101
RELAB c1sc84
<45 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

DIA101
RELAB c1sc81
<1 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

WUS101
RELAB c1sc13
<63 µm; 0°/15°; 0.34-2.7 µm; 5 nm.

+++++++

15.6.1d. CC simulant: Olivine (OLV003, < 45μm) + carbon black (LCA101)

OLV003

PSF100413a.031
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX061
PSF 100413a.032
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX062
PSF 100413a.033
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX063
PSF 100413a.034
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX064
PSF 100413a.035
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).

++++++++
OLV003
PSF 100420a.005
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

OLV003
PSF 100420a.004
45-90 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX330
PSF 100420a.001
--, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX331
PSF 100420a.002
--, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX332
PSF 100420a.003
--, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX333
PSF 100420a.009
--, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

GRP102
PSF 100420a.006
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.7d. Olivine + chromite ± metal

MIX520
RELAB c1mx20
30°/0°, 0.3-2.6µm, 5 nm.

MIX521
RELAB c1mx21
30°/0°, 0.3-2.6µm, 5 nm.

MIX522
RELAB c1mx22
30°/0°, 0.3-2.6µm, 5 nm.

MIX523
RELAB c1mx23
30°/0°, 0.3-2.6µm, 5 nm.

MIX524
RELAB c1mx24
30°/0°, 0.3-2.6µm, 5 nm.

MIX524
RELAB lamx24
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm.

MIX525
RELAB c1mx25
30°/0°, 0.3-2.6µm, 5 nm.

MIX525
RELAB lamx25
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm.

MIX526
RELAB c1mx26
30°/0°, 0.3-2.6µm, 5 nm.

MIX526
RELAB lamx26
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm.

MIX527
RELAB c1mx27
30°/0°, 0.3-2.6µm, 5 nm.

MIX527
RELAB lamx27
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm.

MIX528
RELAB c1mx28
30°/0°, 0.3-2.6µm, 5 nm.

MIX528
RELAB lamx28
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm.

MIX529
RELAB c1mx29
30°/0°, 0.3-2.6µm, 5 nm.

MIX529
RELAB lamx29
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm.

OLV003
RELAB c1sc02
45-90 µm; 0°/15°; 0.3-3.6 µm; 5 nm.

OLV003
RELAB csc099
<45 µm; 0°/15°; 0.3-2.7 µm; 5 nm.

CHR103
RELAB cacr13
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

MET101
RELAB casc63
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

MET101
RELAB sbsc06
45-90 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.8d. Orthopyroxene + metal and/or opaques

MIX265
USGS 244
IS, 0.35-2.6µm, 1x resol.

MIX265
RELAB C1SC105
--, 0/15, 0.3-2.6µm, 5nm, with errors.

PYX032
RELAB c2sc36
45-90 µm; 0°/15°; 0.3-2.6 µm; 5 nm.

PYX032
USGS 240
45-90 µm; IS; 0.35-2.6 µm; 1x resolution.

MET101
RELAB c1sc06
45-90 µm beaten; 0°/15°; 0.3-2.7 µm; 5 nm.

MET101
USGS 264
45-90 µm; IS, 0.35-2.6 µm; 1x resolution.

++++++
15.8.1d. Series 1: PYX117 + MET101

MIX267
USGS 256
IS, 0.35-2.6µm, 1x resol.

MIX267
RELAB C1SC107
--, 0/15, 0.3-2.6µm, 5nm, with errors.

MIX267
RELAB C2SC107
--, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

MIX267
RELAB C3SC107
--, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MIX268
USGS 252
IS, 0.35-2.6µm, 1x resol.

MIX268
RELAB C1SC108
--, 0/15, 0.3-2.6µm, 5nm, with errors.

MIX268
RELAB C2SC108
--, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

MIX268
RELAB C3SC108
--, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MIX269
USGS 248
IS, 0.35-2.6µm, 1x resol.

MIX269
RELAB C1SC109
--, 0/15, 0.3-2.6µm, 5nm, with errors.

MIX269
RELAB C2SC109
--, 0/15, 0.3-2.6µm, 5nm, with errors (2nd run).

MIX269
RELAB C3SC109
--, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MIX272
RELAB C1SC29
--, 0/15, 0.34-2.7µm, 5nm.

PYX117
USGS 224
45-90 µm; IS; 0.35-2.6 µm; 1x resolution.

PYX117
RELAB c2sc09
45-90 µm; 0°/15°; 0.3-2.6 µm; 5 nm resolution.

MET101
USGS 264
45-90 µm; IS, 0.35-2.6 µm; 1x resolution.

MET101
RELAB c1sc06
45-90 µm beaten; 0°/15°; 0.3-2.7 µm; 5 nm.

LCA101
RELABc1sc24
<0.021 µm; 0°/15°; 0.34-2.7 µm; 5 nm resolution.

++++++
15.8.2d. Series 2: PYX032 + LCA101

MIX280
RELAB C1SC15
--, 0/15, 0.34-2.7µm, 5nm.

MIX280
PSF 071201a.014
--; 30°/0°; 0.35-2.5 nm; 1 nm resol.; 1000 averaged spectra; ASD (directory: 071201grainsize).

MIX280
PSF 100420a.015
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).

MIX281
RELAB C1SC16
--, 0/15, 0.34-2.7µm, 5nm.

MIX281
PSF 071201a.015
--; 30°/0°; 0.35-2.5 nm; 1 nm resol.; 1000 averaged spectra; ASD (directory: 071201grainsize).

MIX281
PSF 100420a.016
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).

MIX282
RELAB C1SC17
--, 0/15, 0.34-2.7µm, 5nm.

MIX282
PSF 071201a.016
--; 30°/0°; 0.35-2.5 nm; 1 nm resol.; 1000 averaged spectra; ASD (directory: 071201grainsize).

MIX282
PSF 100420a.017
i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd, ASD (Directory: 100420_Carbon).
PYX032
RELAB c2sc36
45-90 µm; 0°/15°; 0.3-2.6 µm; 5 nm.

PYX032
PSF jun0707.006
45-90 µm; 30°/0°; 0.35-2.5 µm; 2-7 nm resolution; ASD.

LCA101
PSF 100420a.008
<0.021 μm; 30°/0°; 0.35-2.5 µm; 2-7 nm resolution; ASD.

LCA101
RELAB c1sc24
<0.021 µm; 0°/15°; 0.34-2.7 µm; 5 nm resolution.

++++++

15.8.3d. Series 3a: PYX042 + MET101A (<45 µm)

MPMIX1001
PSF 100907.016
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1002
PSF 100907.017
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1003
PSF 100907.018
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1004
PSF 100907.019
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1005
PSF 100907.020
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1006
PSF 100907.021
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1006
PSF 090127a.011
--, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
MPMIX1006
PSF 090313a.037
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

++++++
MPMIX1007
PSF 100907.022
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1007
PSF 090127a.012
--, 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD. Absolute reflectance may be wrong.
MPMIX1007
PSF 090313a.038
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

++++++
MPMIX1008
PSF 100907.023
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1009
PSF 100907.024
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1010
PSF 100907.025
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1010
PSF mpmix1010
--, 30°/0°, 0.35-0.86 µm, 30 msec, 1000 avg., ~0.3 nm resol. Ocean Optics (090430oo directory).
MPMIX1010
PSF mpmix1010
--, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (directory).

MPMIX1011
PSF 100907.026
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1012
PSF 090313a.040
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

MPMIX1012
PSF mpmix1012
--, 30°/0°, 0.35-0.86 µm, 30 msec, 1000 avg., ~0.3 nm resol. Ocean Optics (090430oo directory).

MPMIX1012
PSF mpmix1012
--, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

++++++
15.8.4d. Series 3b: PYX042 + MET101A (45-90 µm)

MPMIX1101
PSF 100907.027
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1102
PSF 100907.028
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MPMIX1103
PSF 100907.029
--; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

15.8.5d. Series 4: PYX032 + MET01 (both <45 μm); (high-Fe opx + metal)
PYX032
PSF jun0707.005
<45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol.; 1000 spectra avgd; ASD.

MET101
PSF 100907.026
<45 µm; i=35°, e=0°; 0.35-2.5 μm; 2-7 nm resol.; 1000 spectra averaged; ASD (directory: 100907); aka MPMIX1011.
MPMIX3000
PSF 090313a.042
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

++++++

15.8.6d. Series 5: Orthopyroxene (PYX070) + Metal (MET01), both <45 μm

PYX070
PSF 090313a.021
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD (directory: 090313a).
MET101
PSF 100907.026
<45 µm; i=35°, e=0°; 0.35-2.5 μm; 2-7 nm resol.; 1000 spectra averaged; ASD (directory: 100907); aka MPMIX1011.
MPMIX4000
PSF 090319a.001
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm
MPMIX6000
PSF 150519a.009
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

MPMIX6001
PSF 150519a.010
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

MPMIX6002
PSF 150519a.011
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

MPMIX6003
PSF 150519a.012
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

MPMIX6004
PSF 150519a.013
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

MPMIX6005
PSF 150519a.014
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

MPMIX6006
PSF 150519a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

++++++

15.8.7d. Series 6: Orthopyroxene (MET020/PYX207) + Metal (MET01), both <45 μm

MET020
PSF 091118a.019
unsorted; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol.; 1000 spectra averaged; ASD (directory: 091103_Gaffmet); aka PYX207.

MET101
PSF 100907.026
<45 µm; i=35°, e=0°; 0.35-2.5 μm; 2-7 nm resol.; 1000 spectra averaged; ASD (directory: 100907); aka MPMIX1011.
MPMIX5000
PSF 090319a.002
<45 μm, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD; data noisy beyond 1.8 μm.

+++++

15.8.8d. CC simulants: Orthopyroxene (PYX032, <45 μm) + carbon black (LCA101)

PYX032

PSF100413a.006
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX011
PSF 100413a.007
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX012
PSF 100413a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX013
PSF 100413a.009
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX014
PSF 100413a.010
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).
++++++

15.8.9a. Orthopyroxene (PYX032; <45 μm) sprinkled on Odessa iron meteorite slab (MET01; roughened with 120 grit sandpaper)

See section 16 (Meteorites) for spectra.

PXMETS01
PSF 121101a.018?
100% PYX042; <45 μm, in sample cup.

PXMETS02
PSF 121101a.019
MET01 slab, no pyroxene coating.

PXMETS03
PSF 121101a.020
MET01 with light pyroxene coating 

PXMETS04
PSF 121101a.021
MET01 with heavier pyroxene coating

PXMETS05
PSF 121101a.022
MET01 with uber-heavy pyroxene coating

PXMETS06
PSF 121101a.023
MET01 with lightest pyroxene coating

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.9d. Orthopyroxene + palagonite or hematite

MIX501
RELAB C1MX01
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX501
RELAB LAMX01
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged Relab+Nicolet@2.5µm, viewing geom. change).

MIX502
RELAB C1MX02
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX502
RELAB LAMX02
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX503
RELAB C1MX03
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX503
RELAB LAMX03
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX504
RELAB C1MX04
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX504
RELAB LAMX04
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX505
RELAB C1MX05
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX505
RELAB LAMX05
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX506
RELAB C1MX06
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX506
RELAB LAMX06
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX507
RELAB C1MX07
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX507
RELAB LAMX07
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX508
RELAB C1MX08
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX508
RELAB LAMX08
--; 30/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX509
RELAB C1MX09
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX509
RELAB LAMX09
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX510
RELAB C1MX10
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX510
RELAB LAMX10
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX511
RELAB C1MX11
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX511
RELAB LAMX11
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX512
RELAB C1MX12
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX512
RELAB LAMX12
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX515
RELAB C1MX15
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX515
RELAB LAMX15
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX516
RELAB C1MX16
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX516
RELAB LAMX16
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX517
RELAB C1MX17
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX517
RELAB LAMX17
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).

MIX518
RELAB C1MX18
--; 30°/0°, 0.3-2.6µm, 5 nm.

MIX518
RELAB LAMX18
--; 30°/0°,30°, 0.3-26µm, 5, 0.6-129 nm res. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).
PYX110
RELAB lapp47a
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).
PYX110
RELAB lapp47b
45-90 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).
PAL101
RELAB lapa03a
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).
PAL102
RELAB lapa04a
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).
HEM101
RELAB lahe01a
<140 nm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (Merged RELAB+Nicolet @2.5µm, viewing geom. change).
See sections 2.1 (Pyroxenes), section 12 (palagonites), and section 9.6 (hematite) for (additional) end member spectra.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.10d. Metal + accessory phases: carbon black, troilite

MIX270
RELAB C1SC20
--, 0/15, 0.34-2.7µm, 5nm.

MIX275
RELAB C1SC93
--, 0/15, 0.3-2.7µm, 5nm.

MET101
RELAB c1sc63
<45 µm beaten; 0°/15°; 0.3-2.7 µm; 5 nm.

MET101
RELAB c1sc06
45-90 µm beaten; 0°/15°; 0.3-2.7 μm; 5 nm.

LCA101
RELAB c1sc24
<0.021 µm; 0°/15°; 0.34-2.7 µm; 5 nm.

TRO201
RELAB c1sc64
<45 µm; 0°/15°; 0.3-2.7 μm; 5 nm.

See also sections 1 (LCA) and 16 for (additional) end member spectra.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.11d. Aubrite + troilite

MIX400
RELAB C1EA05
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MIX401
RELAB C1EA06
45-90/<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

MIX401
RELAB c1ea07
<45µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MIX401
RELAB laea07
<45, 30°/0°,30°; 0.3-26 µm, 5/ 0.6-129 nm (merged RELAB + Nicolet; note changed viewing geometry.
MET200
RELAB caea03
45-90 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

MET201
RELAB cbea04
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

MET201
RELAB caea04
45-90 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

TRO202
RELAB cbea02
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

TRO202g
RELAB cgea02
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm.

See also sections 16 for (additional) end member spectra.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.12d. Diaspore + other phases

MIX530
RELAB c1mx40
30°/0°, 0.3-2.6µm, 5 nm.

MIX530
RELAB lamx40
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet @2.5µm, viewing geometry change).

MIX531
RELAB c1mx41
30°/0°, 0.3-2.6µm, 5 nm.

MIX531
RELAB lamx41
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet @2.5µm, viewing geometry change).

MIX532
RELAB c1mx42
30°/0°, 0.3-2.6µm, 5 nm.

MIX532
RELAB lamx42
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet @2.5µm, viewing geometry change).

MIX533
RELAB c1mx43
30°/0°, 0.3-2.6µm, 5 nm.

MIX533
RELAB lamx43
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet @2.5µm, viewing geometry change).

MIX534
RELAB c1mx44
30°/0°, 0.3-2.6µm, 5 nm.

MIX534
RELAB lamx44
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet @2.5µm, viewing geometry change).

MIX535
RELAB c1mx45
30°/0°, 0.3-2.6µm, 5 nm.

MIX535
RELAB lamx45
30°/0°,30°; 0.3-26µm, 5/0.6-129 nm (merged RELAB+Nicolet @2.5µm, viewing geometry change).

MIX536
RELAB c1mx46
30°/0°, 0.3-2.6µm, 5 nm.

MIX536
RELAB lamx46
30°/0°,30°, 0.3-26µm, 5/0.6-129 nm (merged RELAB + Nicolet @2.5µm, viewing geometry change).

MIX537
RELAB c1mx47
30°/0°, 0.3-2.6µm, 5 nm.

MIX537
RELAB lamx47
30°/0°,30°, 0.3-26µm, 5/0.6-129 nm (merged RELAB + Nicolet @2.5µm, viewing geometry change).

MIX540
RELAB c1mx50
30°/0°, 0.3-2.6µm, 5 nm.

MIX540
RELAB lamx50
30°/0°,30°, 0.3-26µm, 5/0.6-129 nm (merged RELAB + Nicolet @2.5µm, viewing geometry change).

MIX541
RELAB c1mx51
30°/0°, 0.3-2.6µm, 5 nm.

MIX541
RELAB lamx51
30°/0°,30°, 0.3-26µm, 5/0.6-129 nm (merged RELAB + Nicolet @2.5µm, viewing geometry change).

MIX542
RELAB c1mx52
30°/0°, 0.3-2.6µm, 5 nm.

MIX542
RELAB lamx52
30°/0°,30°, 0.3-26µm, 5/0.6-129 nm (merged RELAB + Nicolet @2.5µm, viewing geometry change).

MIX630
RELAB c1mx53
30°/0°, 0.3-2.5µm, 5 nm resol.

MIX630
RELAB mamx53
30°/30°, 2.5-25µm, 0.6-129 nm resol. (Nicolet).

MIX630
RELAB lamx53
30°/0°,30°, 0.3-25µm, 5/0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

MIX631
RELAB c1mx54
30°/0°, 0.3-2.5µm, 5 nm resol.

MIX631
RELAB mamx54
30°/30°, 2.5-25µm, 0.6-129 nm resol. (Nicolet).

MIX631
RELAB lamx54
30°/0°,30°, 0.3-25µm, 5/0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

MIX632
RELAB c1mx55
30°/0°, 0.3-2.5µm, 5 nm resol.

MIX632
RELAB mamx55
30°/30°, 2.5-25µm, 0.6-129 nm resol. (Nicolet).

MIX632
RELAB lamx55
30°/0°,30°, 0.3-25µm, 5/0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

MIX633
RELAB c1mx56
30°/0°, 0.3-2.5µm, 5 nm resol.

MIX633
RELAB mamx56
30°/30°, 2.5-25µm, 0.6-129 nm resol. (Nicolet).

MIX633
RELAB lamx56
30°/0°,30°, 0.3-25µm, 5/0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

+++++ end member spectra++++++

OOH012
RELAB caho121
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

OOH012
RELAB cboh12
45-90 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

OOH012
RELAB laho12a
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

OOH012
RELAB laho12b
45-90 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

OOH013
RELAB caho131
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

PAL102
RELAB capa04
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

PAL102
RELAB lapa04a
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

PAL102x
RELAB c1pa13
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

PAL102x
RELAB lapa13
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

PYX110
RELAB capp47
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

PYX110
RELAB lapp47a
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

PYX110
RELAB mapp47a
<45 µm; 30°/30°; 1.8-26 µm; 0.6-129 nm resol. (Nicolet).

QUA101
RELAB c1qz04
<45 µm; 30°/0°; 0.3-2.6 µm; 5 nm resol. (RELAB).

QUA101
RELAB laqz04
<45 µm; 30°/0°,30°; 0.3-26 µm; 5, 0.6-129 nm resol. (merged RELAB + Nicolet at 2.5 µm, viewing geometry change).

QUA101
RELAB maqz04
<45 µm; 30°/30°; 1.8-26 µm; 0.6-129 nm resol. (Nicolet).

See sections 6 (hydroxides), 12 (palagonites) 2.1 (pyroxenes), and 2.11 (quartz) for (additional) end member spectra.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.13d. Carbonates/nitrites + basalt or palagonite (for analysis of Mars Express PFS spectra)

MIXI01
PSF apr0506.005
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI01
PSF mixi01.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI02
PSF apr0506.011
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI02
PSF mixi02.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI03
PSF apr0506.017
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI03
PSF mixi03.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI03
PSF 090421a.022
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

MIXI11
PSF apr0506.006
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI11
PSF mixi11.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI12
PSF apr0506.012
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI12
PSF mixi12.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI13
PSF apr0506.018
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI13
PSF mixi13.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI13
PSF 090421a.023
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

MIXI21
PSF apr0506.007
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI21
PSF mixi21.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI22
PSF apr0506.013
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI22
PSF mixi22.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI23
PSF apr0506.019
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI23
PSF mixi23.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI23
PSF 090421a.024
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

MIXI31
PSF apr0506.008
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI31
PSF mixi31.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI32
PSF apr0506.014
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI32
PSF mixi32.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI33
PSF apr0506.020
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI33
PSF mixi33.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI33
PSF 090421a.025
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI41
PSF apr0506.009
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI41
PSF mixi41.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI42
PSF apr0506.015
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI42
PSF mixi42.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI43
PSF apr0506.021
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI43
PSF mixi43.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI43
PSF 090421a.026
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI51
PSF apr0506.010
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI51
PSF mixi51.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI52
PSF apr0506.016
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.

MIXI52
PSF mixi52.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI53
PSF apr0506.022
i=0°, e=0°, bifurcated probe; ASD spectra, 0.35-2.5 µm, 1 nm nominal.
MIXI53
PSF mixi53.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.

MIXI53
PSF 090421a.027
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI61
PSF mixi61.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; bad spectrum.
MIXI61
PSF amixi61.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold.; D&P; bad spectrum.
MIXI61
PSF mixi61dp.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.
MIXI61
PSF mixi61dp2.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.
MIXI61
PSF 090421a.028
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI62
PSF mixi62.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; bad spectrum.
MIXI62
PSF amixi62.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; bad spectrum.
MIXI62
PSF mixi62dp.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.
MIXI62
PSF mixi62dp2.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.
MIXI62
PSF 090421a.029
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI63
PSF mixi63.rtx.asc
i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.
MIXI75
PSF mixi75feb01.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

MIXI75
PSF 090421a.030
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI76
PSF mixi76feb01.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

MIXI76
PSF 090421a.031
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
MIXI77
PSF mixi77feb01.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

MIXI77
PSF 090421a.032
i=30°, e=0°, 0.35-2.5 µm, 1 nm resol., 1000 avg.; ASD.

++++++
CRB105
PSF apr0506.003
<45 µm; i=e=0° (bifurcated cable); 0.35-2.5 μm; 2-7 nm resolution (1 nm output); 2000 spectra avgd.; ASD (directory: apr0506).
CRB105
PSF crb105.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

CRB114
PSF apr0506.002
<45 µm; i=e=0° (bifurcated cable); 0.35-2.5 μm; 2-7 nm resolution (1 nm output); 2000 spectra avgd.; ASD (directory: apr0506).
CRB114
PSF crb114.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

CRB126
PSF crb126.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality; smoothed.

CRB126
PSF crb126nosm.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality; unsmoothed.

CRB126
PSF crb126dp.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.
CRB126
PSF crb126dp2.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; good spectrum.
CRB215
PSF apr0506.004
<45 µm; i=e=0° (bifurcated cable); 0.35-2.5 μm; 2-7 nm resolution (1 nm output); 2000 spectra avgd.; ASD (directory: apr0506).
CRB215
PSF crb215feb01.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

NTR001
PSF 
unsorted; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

PAL103
PSF apr0506.000
<45 µm; i=e=0° (bifurcated cable); 0.35-2.5 μm; 2-7 nm resolution (1 nm output); 2000 spectra avgd.; ASD (directory: apr0506).
PAL103
PSF pal103feb01.rtx.asc
45-90 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

SA14
PSF apr0506.001
<45 µm; i=e=0° (bifurcated cable); 0.35-2.5 μm; 2-7 nm resolution (1 nm output); 2000 spectra avgd.; ASD (directory: apr0506).
SA14
PSF sa14.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

SA14b
PSF sa14b.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

SA51
PSF sa51feb01.rtx.asc
45-90 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality.

SYN009
PSF syn009.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality; smoothed.

SYN009
PSF syn009nosm.rtx.asc
<45 µm; i=35°, e=0°, D&P FTIR, 2-16 µm, no thermal correct, 6 cm-1 resol. relative to Infragold; D&P; unknown quality; unsmoothed.

++++++

15.13.1d. Magnesite (CRB114, <45 µm) + palagonite (PAL103, <45 µm) intimate mixtures
PAL103
PSF 110531a.006

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

PAL103
PSF pal103 100%.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (directory: 110531)

MIX43
PSF 110531a.010

<45 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra averaged, ASD (directory: 110531_palagonite).

MIXI81
PSF 110531a.009

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

MIXI81
PSF crb114 10%.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (directory: 110531)

MIXI82
PSF 110531a.005

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

MIXI83
PSF 110531a.004

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

MIXI83
PSF crb114 40%.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (directory: 110531)

MIXI84
PSF 110531a.003

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

MIXI84
PSF crb114 60%.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (directory: 110531)

MIXI85
PSF 110531a.002

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

MIXI85
PSF crb114 80%.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (directory: 110531)

CRB114
PSF 110531a.001

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd, ASD (directory: 110531_palagonite)

CRB114
PSF crb114 100%.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (directory: 110531)

+++++++
15.13.2d. Palagonite dust (PAL103, <45 μm) on magnesite (CRB114, <45 μm)

Note: progressively thicker dust coatings on the same sample

CRB114
PSF 110606a.001

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (no dust – pure magnesite) (directory 110606_dust)
CRB114
PSF crb114 clean.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (no dust – pure magnesite) (directory 110606 Dust Coatings)

PAL103
PSF 110606a.002

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (pure palagonite) (directory 110606_dust)

PAL103
PSF pal103.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (pure palagonite) (directory 110606 Dust Coatings)

Dust drop 1
PSF 110606a.003

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (102 μm thick dust coating) (directory 110606_dust)

Dust drop 1
PSF crb114 drop 1.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (102 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 2
PSF 110606a.004

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (152 μm thick dust coating) (directory 110606_dust)

Dust drop 2
PSF crb114 drop 2.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (152 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 3
PSF 110606a.005

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (190 μm thick dust coating) (directory 110606_dust)

Dust drop 3
PSF crb114 drop 3.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (190 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 4
PSF 110606a.006

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (260 μm thick dust coating) (directory 110606_dust)

Dust drop 4
PSF crb114 drop 4.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (260 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 5
PSF 110606a.007

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (283 μm thick dust coating) (directory 110606_dust)

Dust drop 5
PSF crb114 drop 5.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (283 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 6
PSF 110606a.008

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (381 μm thick dust coating) (directory 110606_dust)

Dust drop 6
PSF crb114 drop 6.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (381 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 7
PSF 110606a.009

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (403 μm thick dust coating) (directory 110606_dust)

Dust drop 7
PSF crb114 drop 7.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (403 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 8
PSF 110606a.010

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (465 μm thick dust coating) (directory 110606_dust)

Dust drop 8
PSF crb114 drop 8.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (465 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 9
PSF 110606a.011

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (499 μm thick coating) (directory 110606_dust)

Dust drop 9
PSF crb114 drop 9.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (499 μm thick coating) (directory 110606 Dust Coatings)

Dust drop 10
PSF 110606a.012

<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 250 spectra avgd; ASD (525 μm thick coating) (directory 110606_dust)

Dust drop 10
PSF crb114 drop 10.dpt

<45 μm; i=30°, e=0°; 1.67-25.4 μm; 8 cm-1 resolution, Bruker (525 μm thick coating) (directory 110606 Dust Coatings)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.14d. Two clay mixtures (August 2007, for Encana project)

EMIX1
PSF emix0823.002
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).
EMIX2
PSF emix0823.003
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

EMIX3
PSF emix0823.004
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

EMIX4
PSF emix0823.005
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

EMIX5
PSF emix0823.006
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

EMIX6
PSF emix0823.007
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

EMIX7
PSF emix0823.008
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

ILS104
PSF emix0823.011
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823) (directory: emix0823).

KAO104
PSF emix0823.009
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

MON103
PSF emix0823.010
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (directory: emix0823).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.15d. Gypsum + basalt + palagonite (Aug. 2007 for Mars polar dunes)

MIXB01
PSF 090807.002
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB02
PSF 090807.003
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB03
PSF 090807.004
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB04
PSF 090807.005
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB05
PSF 090807.006
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB06
PSF 090807.007
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB07
PSF 090807.008
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB08
PSF 090807.009
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB012
PSF 090807.012
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB013
PSF 090807.013
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD; aka Rough basalt (Aug.9, 2007).
MIXB014
PSF 090807.014
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD; aka Red basalt (Aug.9, 2007).

MIXB015
PSF 090807.015
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB016
PSF 090807.016
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB017
PSF 090807.017
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB018
PSF 090807.018
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXBz
PSF 090807.019
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB
PSF 090807.020
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXB
PSF 090807.021
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD; repacked (Aug.9, 2007).

MIXBx
PSF 090807.022
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).

MIXBx
PSF 090807.023
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD; repacked (Aug.9, 2007).

MIXBu
PSF 090807.024
i=35°, e=0°; 0.35-2.5 µm; 1 nm resol.; 1000 averaged spectra; ASD (Aug.9, 2007).
Also see sections 8 (Sulphates), 11 (Basalts), and 13 (palagonites) for (additional) end member spectra.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.16d. Barium sulfate + pyroxene (for Loredana Pompillio)

lormix001
PSF oct1107.001
45-90 μm; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD; aka PYX023 (45-90 μm).

lormix002
PSF oct1107.002
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix003
PSF oct1107.003
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix004
PSF oct1107.004
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix005
PSF oct1107.005
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix006
PSF oct1107.006
45-90 μm; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD; aka PYX005 (45-90 μm).

lormix007
PSF oct1107.007
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix008
PSF oct1107.008
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix009
PSF oct1107.009
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix010
PSF oct1107.010
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix011
PSF oct1107.011
45-90 μm; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD; aka PYX032 (45-90 μm).

lormix012
PSF oct1107.012
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix013
PSF oct1107.013
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix014
PSF oct1107.014
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

lormix015
PSF oct1107.015
--; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

BaSO4
PSF oct1107.016
~10-15 μm; i=30°/e=0°; 0.35-2.5 µm; 1 nm resol. ; 1000 averaged spectra; ASD.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.17d. Pancam mixtures for Melissa Rice

rmix001
PSF 080619a.014
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

rmix001
PSF 080619a.015
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

rmix001
PSF 080619a.016
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

rmix002
PSF 080619a.019
--; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

rmix002
PSF 080619a.020
--; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

rmix003
PSF 080619a.021
--; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

rmix003
PSF 080619a.022
--; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

rmix003
PSF 080619a.023
--; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

rmix004
PSF 080619a.024
<45 μm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

rmix004
PSF 080619a.025
<45 μm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

rmix004
PSF 080619a.026
<45 μm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.
SA-60
PSF 080619a.017
whole rock slab surface; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SA-60
PSF 080619a.018
whole rock slab surface; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL203
PSF 080619a.008
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SIL203
PSF 080619a.009
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SIL203
PSF 080619a.010
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SPT162
PSF 080619a.011
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SPT162
PSF 080619a.012
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SPT162
PSF 080619a.013
<1 mm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

See also sections 8 (sulfates) and 13 (palagonites) for (additional) end member spectra.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.19d. Basalt + ilmenite (Sept. 2009). 

LAN001

PSF 090929c.001
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN001

PSF 091021 LAN001
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN001

PSF 091015 LAN001
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN001

PSF LAN001 merged
Merged Oceaan Optics UV + visible spectra.

LAN002

PSF 090929c.002
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN002

PSF 091021 LAN002
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN002

PSF 091015 LAN002
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN002

PSF LAN002 merged
Merged Oceaan Optics UV + visible spectra.

LAN003

PSF 090929c.003
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN003

PSF 091021 LAN003
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN003

PSF 091015 LAN003
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN003

PSF LAN003 merged
Merged Oceaan Optics UV + visible spectra.

LAN004

PSF 090929c.004
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN004

PSF 091021 LAN004
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN004

PSF 091015 LAN004
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN004

PSF LAN004 merged
Merged Oceaan Optics UV + visible spectra.

LAN005

PSF 090929c.005
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN005

PSF 091021 LAN005
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN005

PSF 091015 LAN005
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN005

PSF LAN005 merged
Merged Oceaan Optics UV + visible spectra.

LAN006

PSF 090929c.006
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN006

PSF 091021 LAN006
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN006

PSF 091015 LAN006
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN006

PSF LAN006 merged
Merged Oceaan Optics UV + visible spectra.

LAN007

PSF 090929c.007
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN007

PSF 091021 LAN007
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN007

PSF 091015 LAN007
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN007

PSF LAN007 merged
Merged Oceaan Optics UV + visible spectra.

LAN008

PSF 090929c.008
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra avgd, ASD.

LAN008

PSF 091021 LAN008
<45 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resolution; 1500 msec, 100 spectra averaged; Ocean Optics S2000 and D2 source. 

LAN008

PSF 091015 LAN008
<45 μm; i=0°/e=0° (bifurcated probe); 0.35-0.86 μm; ~0.3 nm resolution; 40 msec, 1000 spectra averaged; Ocean Optics S2000, QTH 50W source. 

LAN008

PSF LAN008 merged
Merged Oceaan Optics UV + visible spectra.

++++++
LAN101

PSF 091006a.001
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN101

PSF 091021 LAN101
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN101

PSF 091015 LAN101
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN101

PSF LAN101 merged
Merged Oceaan Optics UV + visible spectra.

LAN102

PSF 091006a.002
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN102

PSF 091021 LAN102
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN102

PSF 091015 LAN102
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN102

PSF LAN102 merged
Merged Oceaan Optics UV + visible spectra.

LAN103

PSF 091006a.003
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN103

PSF 091021 LAN103
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN103

PSF 091015 LAN103
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN103

PSF LAN103 merged
Merged Oceaan Optics UV + visible spectra.

LAN104

PSF 091006a.004
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN104

PSF 091021 LAN104
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN104

PSF 091015 LAN104
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN104

PSF LAN104 merged
Merged Oceaan Optics UV + visible spectra.

LAN105

PSF 091006a.005
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN105

PSF 091021 LAN105
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN105

PSF 091015 LAN105
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN105

PSF LAN105 merged
Merged Oceaan Optics UV + visible spectra.

LAN106

PSF 091006a.006
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN106

PSF 091021 LAN106
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN106

PSF 091015 LAN106
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN106

PSF LAN106 merged
Merged Oceaan Optics UV + visible spectra.

LAN107

PSF 091006a.007
<45 with 90-250 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

LAN107

PSF 091021 LAN107
<45 with 90-250 μm; i=0°/e=0° (bifurcated probe); 0.2-0.4 μm; ~0.3 nm resol.; 1500 msec, 100 spectra avgd; Ocean Optics S2000 and D2 source. 

LAN107

PSF 091015 LAN107
<45 μm with 90-250 μm; i=0°/e=0° (bifurc. probe); 0.35-0.86 μm; ~0.3 nm resol.; 40 msec, 1000 spectra avgd; Ocean Optics S2000, QTH 50W. 

LAN107

PSF LAN107 merged
Merged Oceaan Optics UV + visible spectra.
Also see sections 9.5 (Ilmenites) and 11 (Basalts) for (additional) end member spectra.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.20d. Carbonaceous chondrite simulants
15.20.1d. Serpentinite (SRP117, <45 μm; blue-sloped, with magnetite) + carbon black

SRP117

PSF100413a.001
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX001
PSF 100413a.002
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX002
PSF 100413a.003
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX003
PSF 100413a.004
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX004
PSF 100413a.005
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).
OMIX004
PSF 221215a.00002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221215 Grind-mix and Chwichiya].

OMIX004-a
PSF 221215a.00003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221215 Grind-mix and Chwichiya].

OMIX004-b
PSF 221215a.00004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221215 Grind-mix and Chwichiya].

OMIX004-c
PSF 221215a.00005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221215 Grind-mix and Chwichiya].

OMIX004-d
PSF 221220a.00012.asd
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).

Also see sections 1 (Carbon black) and 3 (Clays) for (additional) end member spectra.

++++++

15.20.2d. Chlorite (CLI101 (clinochlore), <45 μm) + carbon black

CLI101

PSF100413a.011
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX021
PSF 100413a.012
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX022
PSF 100413a.013
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX023
PSF 100413a.014
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX024
PSF 100413a.015
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).

Also see sections 1 (Carbon black) and 3 (Clays) for (additional) end member spectra.

++++++

15.20.3d. Saponite (SAP101, <45 μm) + carbon black

SAP101

PSF100413a.016
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX031
PSF 100413a.017
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX032
PSF 100413a.018
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX033
PSF 100413a.019
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX034
PSF 100413a.020
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).

Also see sections 1 (Carbon black) and 3 (Clays) for (additional) end member spectra.

++++++

15.20.4d. Synthetic brucite (OOH032, <45 μm) + carbon black

OOH032
PSF100413a.021
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX041
PSF 100413a.022
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX042
PSF 100413a.023
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX043
PSF 100413a.024
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX044
PSF 100413a.025
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).

Also see sections 1 (Carbon black) and 6 (hydroxides) for (additional) end member spectra.

++++++

15.20.5d. Serpentinite (SRP106; flat-sloped, no magnetite, <45 μm) + carbon black

SRP106

PSF100413a.026
<45 μm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX051
PSF 100413a.027
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX052
PSF 100413a.028
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX053
PSF 100413a.029
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

OMIX054
PSF 100413a.030
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100412_Carbon_black).

LCA101

PSF 100420a.008
mixture; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd., ASD (Directory: 100420_Carbon).

Also see sections 1 (Carbon black) and 3 (Clays) for (additional) end member spectra.

++++++++
15.20.6d. Serpentine + carbon black (mixing effects)

Jeffrey-1
PSF 170208a.001
<45 µm ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; new ASD [Directory : 170208 grinding]. 

JMIX01a
PSF 170208a.002
mechanically mixed powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 170208 grinding]. 

JMIX01b
PSF 170208a.003
JMIX01a plus 2 minutes of grinding/mixing in alumina mortar and pestle; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 170208 grinding]. 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.21d. CC simulants: serpentinite + graphite or magnetite

15.21.1d. Serpentinite (SRP117, <45 μm) + synthetic amorphous graphite (GRP102, <45 μm)

SRP117
PSF 100413a.001
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX335
PSF 100420a.010
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX336
PSF 100420a.011
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX337
PSF 100420a.012
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

GRP102
PSF 100420a.006
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

Also see sections 1 (graphite) and 3 (Clays) for (additional) end member spectra.

++++++

15.21.2d. Serpentinite (SRP117, <45 μm) + magnetite (MAG102, <45 μm)

SRP117
PSF 100413a.001
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MIX338
PSF 100420a.013
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).
MIX338
PSF 221220a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

MIX338-a
PSF 221220a.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

MIX338-b
PSF 221220a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

MIX338-c
PSF 221220a.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

MIX338-d
PSF 221220a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

MIX338-e
PSF 221220a.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

MIX338-f
PSF 221220a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm output, 500 spectra averaged; ASD4 [Directory: 221220 Grind mix].

++++++
MIX339
PSF 100420a.014
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

MAG102
PSF 100420a.007
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 1000 spectra avgd., ASD (Directory: 100420_carbon).

Also see sections 9.2 (magnetite) and 3 (Clays) for (additional) end member spectra.

++++++
15.21.3d. Serpentine (SRP117, <45 μm) + nanophase magnetite (MAG200, <20 nm)

SRP117
PSF 110202a.001
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX01
PSF 110202a.004
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX02
PSF 110202a.007
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX03
PSF 110202a.010
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX04
PSF 110202a.013
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

MAG200
PSF 100616a.011
20 nm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged, ASD (Directory: 100615_crypto; 100615_nano).

Also see sections 9.2 (magnetite) and 3 (Clays) for (additional) end member spectra.

CMIX02
PSF 180416a00001.asd
powder mixture (original sample); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX02_2
PSF 180416a00002.asd
powder mixture (original sample, reshot after 2 minutes of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX02_4
PSF 180416a00003.asd
powder mixture (original sample, reshot after 2 more minutes (4 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX02_6
PSF 180416a00004.asd
powder mixture (original sample, reshot after 2 more minutes (6 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX02_8
PSF 180416a00005.asd
powder mixture (original sample, reshot after 2 more minutes (8 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX02_10
PSF 180416a00006.asd
powder mixture (original sample, reshot after 2 more minutes (10 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

++++++

CMIX03
PSF 180416a00007.asd
powder mixture (original sample); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX03_2
PSF 180416a00008.asd
powder mixture (original sample, reshot after 2 minutes of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX03_4
PSF 180416a00009.asd
powder mixture (original sample, reshot after 2 more minutes (4 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX03_6
PSF 180416a00010.asd
powder mixture (original sample, reshot after 2 more minutes (6 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX03_8
PSF 180416a00011.asd
powder mixture (original sample, reshot after 2 more minutes (8 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

CMIX03_10
PSF 180416a00012.asd
powder mixture (original sample, reshot after 2 more minutes (10 minutes total) of crush-grind in alumina mortar and pestle); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 (note: magnetite may have transformed to hematite) [Directory: 180416 Magnetite].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.21.4d. Saponite (SAP103, <45 μm) + nanophase magnetite (MAG200, <20 nm)

SAP103
PSF 110202a.002
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX11
PSF 110202a.005
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX12
PSF 110202a.008
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX13
PSF 110202a.011
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX14
PSF 110202a.014
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

MAG200
PSF 100616a.011
20 nm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged, ASD (Directory: 100615_crypto; 100615_nano).

Also see sections 9.2 (magnetite) and 3 (Clays) for (additional) end member spectra.

++++++

15.21.5d. Cronstedtite (CRO101, <45 μm) + nanophase magnetite (MAG200, <20 nm)

CRO101
PSF 110202a.003
<45 μm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX21
PSF 110202a.006
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX22
PSF 110202a.009
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX23
PSF 110202a.012
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

CMIX24
PSF 110202a.015
<45 μm and <20 nm, 30°/0°, 0.35-2.5 μm, 1 nm output, 200 spectra avgd., ASD (Directory: 110202_clays).

MAG200
PSF 100616a.011
20 nm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged, ASD (Directory: 100615_crypto; 100615_nano).

Also see sections 9.2 (magnetite) and 3 (Clays) for (additional) end member spectra.

+++++++++
15.21.6d. Serpentinite (SRP111, <45 μm) + magnetite (MAG102, <45 μm)

Note: looking at effects of progressive crush-grinding.

SMIX001
PSF 180416a00001.asd
<45 µm mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180416 Magnetite].

SMIX001_2
PSF 180417a00002.asd
<45 µm mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180417 Magnetite].

SMIX001_4
PSF 180417a00003.asd
<45 µm mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180417 Magnetite].

SMIX001_6
PSF 180417a00004.asd
<45 µm mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180417 Magnetite].

SMIX001_8
PSF 180417a00005.asd
<45 µm mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180417 Magnetite].

SMIX001_10
PSF 180417a00006.asd
<45 µm mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180417 Magnetite].

+++++++++
15.21.7d. Serpentine (SRP110, <45 µm) + magnetite (MAG107, <45 µm)

MMIX002
PSF 180904a00004.asd
<45 µm; 0.35-2.5 µm; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180904 magnetites].

+++++++++++
15.21.8d. 91 wt. % Serpentine (SRP111, <45 µm) + 9 wt. % magnetite (MAG107, <45 µm) – grind/mix
Note: spectra shot after each grind-mix interval, then ground-mixed for additional time.

Note: ASD spectra; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 181204SMIX201]. Starting materials were <45 µm powders.

SMIX201a
No grinding; just physical mixture.

SMIX201b
SMIX201a after 10 minutes of grind-mix in ethanol.

SMIX201c
SMIX201a after 20 minutes of grind-mix in ethanol.

SMIX201d
SMIX201a after 40 minutes of grind-mix in ethanol.

SMIX201e
SMIX201a after 50 minutes of grind-mix in ethanol.

SMIX201f
SMIX201a after 60 minutes of grind-mix in ethanol.

+++++++++++

15.21.9d. 95 wt. % Serpentine (SRP111, <45 µm) + 5 wt. % magnetite (MAG107, <45 µm) – grind/mix
Note: spectra shot after each grind-mix interval, then ground-mixed for additional time.

Note: ASD spectra; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 181204SMIX200]. Starting materials were <45 µm powders.

SMIX00a
No grinding; just physical mixture.

SMIX200b
SMIX200a after 10 minutes of grind-mix in ethanol.

SMIX200c
SMIX200a after 20 minutes of grind-mix in ethanol.

SMIX200d
SMIX200a after 30 minutes of grind-mix in ethanol.

SMIX200e
SMIX200a after 40 minutes of grind-mix in ethanol.

SMIX200f
SMIX200a after 50 minutes of grind-mix in ethanol.

SMIX200g
SMIX200a after 60 minutes of grind-mix in ethanol.

+++++++++++

15.21.10d.83 wt. % Serpentine (SRP111, <45 µm) + 17 wt. % magnetite (MAG107, <45 µm) – grind/mix
Note: spectra shot after each grind-mix interval, then ground-mixed for additional time.

Note: ASD spectra; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 181205SMIX202]. Starting materials were <45 µm powders.

SMIX02a
No grinding; just physical mixture.

SMIX202b
SMIX202a after 10 minutes of grind-mix in ethanol.

SMIX202c
SMIX202a after 20 minutes of grind-mix in ethanol.

SMIX202d
SMIX202a after 30 minutes of grind-mix in ethanol.

SMIX202e
SMIX202a after 40 minutes of grind-mix in ethanol.

SMIX202f
SMIX202a after 50 minutes of grind-mix in ethanol.

SMIX202g
SMIX202a after 60 minutes of grind-mix in ethanol.

SMIX202h
SMIX202a after 70 minutes of grind-mix in ethanol.

SMIX202i
SMIX202a after 80 minutes of grind-mix in ethanol.

SMIX202j
SMIX202a after 90 minutes of grind-mix in ethanol.

SMIX202k
SMIX202a after 100 minutes of grind-mix in ethanol.

SMIX202l
SMIX202a after 110 minutes of grind-mix in ethanol.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.22d. Glass and mafic mixtures – for Mars north polar region

15.22.1d. Tektite (TEK004, <45 μm) + clinopyroxene – spectral type B (PYX016, <45 μm)

TEK004
PSF 100412b.001
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

PYX016
PSF 100412b.002
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX001
PSF 100412b.003
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX002
PSF 100412b.004
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX003
PSF 100412b.005
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX004
PSF 100412b.006
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

++++++

15.22.2d. Tektite (TEK004, <45 μm) + olivine (OLV003, <45 μm)

TEK004
PSF 100412b.001
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

OLV003
PSF 100412b.007
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX011
PSF 100412b.008
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX012
PSF 100412b.009
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX013
PSF 100412b.010
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX014
PSF 100412b.011
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

++++++

15.22.3d. Tektite (TEK004, <45 μm) + orthopyroxene (PYX023, <45 μm)

TEK004
PSF 100412b.001
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

PYX023
PSF 100412b.012
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX021
PSF 100412b.013
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX022
PSF 100412b.014
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX023
PSF 100412b.015
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

MIX024
PSF 100412b.016
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).

Reshoot: April 28/10

TEK004
PSF 100429a.006
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100428_reruns).

PYX023
PSF 100429a.005
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100428_reruns).

MIX021
PSF 100429a.001
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100428_reruns).

MIX022
PSF 100429a.002
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100428_reruns).

MIX023
PSF 100429a.003
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100428_reruns).

MIX024
PSF 100429a.004
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100428_reruns).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.23d. Asteroid Boznemcova simulants: type A CPX (PYX009) + PLG108 + OLV003
BOZ001
PSF mar3006.017
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ002
PSF mar3006.018
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ003
PSF mar3006.019
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ004
PSF mar3006.020
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ005
PSF mar3006.021
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ006
PSF mar3006.022
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ007
PSF mar3006.023
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ008
PSF mar3006.024
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

BOZ009
PSF mar3006.025
45-90 μm (all phases); 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

++++ end member spectra ++++

OLV003
PSF mar3006.009
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

OLV003
PSF mar3006.010
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

OLV101
PSF mar3006.005
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

OLV101
PSF mar3006.006
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

OLV103
PSF mar3006.007
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

OLV103
PSF mar3006.008
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PLG108
PSF mar3006.015
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PLG108
PSF mar3006.016
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PLG122
PSF mar3006.011
<450 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PLG122
PSF mar3006.012
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PYX009
PSF mar3006.000
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PYX009
PSF mar3006.014
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PYX020
PSF mar3006.001
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PYX020
PSF mar3006.002
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PYX150
PSF mar3006.003
<45 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PYX150
PSF mar3006.004
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

PLG108
PSF mar3006.016
45-90 μm; 0°/0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged; ASD [directory: mar3006].

See also sections 2.1(pyroxenes), 2.2 (olivines) and 2.3 (plagioclase) for (additional) end member spectra.

++++++++++++++++++++++++++++
(ii) Mixtures for Maggie Dievendorf – University of North Dakota (April 2018)

UND101
PSF 180423a00001.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND102
PSF 180423a00002.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND103
PSF 180423a00003.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND104
PSF 180423a00004.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND105
PSF 180423a00005.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND106
PSF 180423a00006.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND107
PSF 180423a00007.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND108
PSF 180423a00008.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND109
PSF 180423a00009.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND110
PSF 180423a00010.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND111
PSF 180423a00011.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND112
PSF 180423a00012.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND113
PSF 180423a00013.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND114
PSF 180423a00014.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND115
PSF 180423a00015.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND116
PSF 180423a00016.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND117
PSF 180423a00017.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

UND118
PSF 180423a00018.asd
<45 µm powder intimate mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180423 Mix].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.24d. HED + CM2 carbonaceous chondrite mixtures (for Vesta)

Note: Millbillillie = eucrite; Murchison = CM2 carbonaceous chondrite; PRA 04401 = CM2 xenolith-bearing howardite.

Millbillillie eucrite + Murchison CM2 chondrite

PRA 04401 CM2 xenolith-bearing howardite
NWA 5748 howardite + Murchison CM2 chondrite
See Meteorites section (section 16.16) for spectra (and sample descriptions).
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.25d. Spectral Data involving npFe-impregnated silica gel (2 sizes) or nanophase Fe (2 sizes) - Spectral data
ASD spectra: i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged (directory: 121016GLOVE BOX). 

Ocean Optics S2000 spectra: 200-400 nm usable range; 0.36 nm spectral resolution; i=0°, e=0°; 100 or 300 spectra averaged (Directory: Ocean Optics 121121 npfe_silicagel and Ocean Optics 000).

Mixtures made with air-sensitive nanophase iron that was opened in glove box under dry nitrogen and carbon dioxide-free atmosphere (December 2012).

15.25.1d. Cherokee Springs LL6 chondrite: <250 µm + silica gel/nanophase iron.

15.25.2d. FJS-1 (JAXA Lunar Mare Simulant): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.3d. OLV003 (olivine): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.4d. PLG108 (plagioclase feldspar): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.5d. PYX016 (clinopyroxene; spectral type B): <45, 45-90, and <250 µm + silica gel/nanophase iron.

15.25.6d. PYX042 (orthopyroxene): <45, 45-90, and <250 µm + silica gel/nanophase iron.

+++++++see also section 2.11.5 for silica gels++++++

SGE101
PSF 180108b00000.asd
pure, not-impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180108 silica gels b].

SGE101a
PSF 180105a00003.asd
1N impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180105 lunar analogues].

SGE101a
PSF 180105a00005.asd
1N impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; re-packed and re-shot; ASD4 [Directory: 180105 lunar analogues].

SGE101a
PSF 180105a00008.asd
1N impregnated SGE101; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180105 lunar analogues].

+++++++

SGE105
PSF 180108b00001.asd
pure, not-impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180108 silica gels b].

SGE105a
PSF 180105a00001.asd
1N impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180105 lunar analogues].

SGE105a
PSF 180105a00004.asd
1N impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; re-packed and re-shot; ASD4 [Directory: 180105 lunar analogues].

SGE105a
PSF 180105a00007.asd
1N impregnated SGE105; uncrushed, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; lower power illumination; ASD4 [Directory: 180105 lunar analogues].

+++++++
15.25.1d. Sub250 – Cherokee Springs LL6 chondrite (whole rock) and <250 μm + SGE105A, SGE101A, IRO102, or IRO103.

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

See also section 16 of this document for Cherokee Springs LL6 chondrite information and any additional spectra, section 10 for IRO102 and IRO103, and section 12 for SGE101A and SGE105A.

Cherokee Springs
Whole rock ASD PSF file: 121121a.035

Cherokee Springs
Whole with metal inclusions ASD PSF file: 121121a.036

ZMIX035
100% Cherokee Springs LL6 (<250 μm).  ASD PSF file: 121016a.053. OO PSF file: 53.

ZMIX035a
90% Cherokee Springs LL6 (<250 μm) + 10% SGE105A ASD PSF file: 121121a.044. OO PSF file: 44.

ZMIX035b
80% Cherokee Springs LL6 (<250 μm) + 20% SGE105A ASD PSF file: 121121a.045. OO PSF file: 45.

ZMIX035c
50% Cherokee Springs LL6 (<250 μm) + 50% SGE105A ASD PSF file: 121121a.046. OO PSF file: 46.

SGE105A
100% SGE105A ASD PSF file: 121121a.007. OO PSF file: 11.

++++++++

ZMIX035
100% Cherokee Springs LL6 (<250 μm). PSF file: 121016a.053. OO PSF file: 53.

ZMIX035d
90% Cherokee Springs LL6 (<250 μm) + 10% SGE101A ASD PSF file: 121121a.047. OO PSF file: 47.

ZMIX035e
80% Cherokee Springs LL6 (<250 μm) + 20% SGE101A ASD PSF file: 121121a.048. OO PSF file: 48.

ZMIX035f
50% Cherokee Springs LL6 (<250 μm) + 50% SGE101A ASD PSF file: 121121a.049. OO PSF file: 49.

SGE101A
100% SGE101A ASD PSF file: 121121a.007. OO PSF file: 7.

++++++
ZMIX035
100% Cherokee Springs LL6 (<250 μm). ASD PSF file: 121016a.053. OO PSF file 53.
ZMIX036
99.9% Cherokee Springs LL6 (<250 μm) + 0.1% IRO102 (50 nm). ASD PSF file: 121016a.055. OO PSF file 55.
ZMIX037
99.5% Cherokee Springs LL6 (<250 μm) + 0.5% IRO102 (50 nm). ASD PSF file: 121016a.056. OO PSF file 56.
ZMIX038
99% Cherokee Springs LL6 (<250 μm) + 1% IRO102 (50 nm). ASD PSF file: 121016a.057. OO PSF file 57.
ZMIX039
98% Cherokee Springs LL6 (<250 μm) + 8% IRO102 (50 nm). ASD PSF file: 121016a.058. OO PSF file 58.
ZMIX040
95% Cherokee Springs LL6 (<250 μm) + 5% IRO102 (50 nm). ASD PSF file: 121016a.060. OO PSF file 60.
ZMIX041
90% Cherokee Springs LL6 (<250 μm) + 10% IRO102 (50 nm). ASD PSF file: 121016a.061. OO PSF file 61.
ZMIX042
80% Cherokee Springs LL6 (<250 μm) + 10% IRO102 (50 nm). ASD PSF file: 121016a.062. OO PSF file 62.
ZMIX043
70% Cherokee Springs LL6 (<250 μm) + 30% IRO102 (50 nm). ASD PSF file: 121016a.064. OO PSF file 64.
IRO102

100% IRO102 (50 nm). 
ASD PSF file: 121016a.015. OO PSF file 15.
++++++
ZMIX035
100% Cherokee Springs LL6 (<250 μm). ASD PSF file: 121016a.053. OO PSF file 53.
ZMIX044
99.9% Cherokee Springs LL6 (<250 μm) + 0.1% IRO103 (10 μm). ASD PSF file: 121016a.067. OO PSF file 67.
ZMIX045
99.5% Cherokee Springs LL6 (<250 μm) + 0.5% IRO103 (10 μm). ASD PSF file: 121016a.068. OO PSF file 68.
ZMIX046
99% Cherokee Springs LL6 (<250 μm) + 1% IRO103 (10 μm). ASD PSF file: 121016a.069. OO PSF file 69.
ZMIX047
98% Cherokee Springs LL6 (<250 μm) + 2% IRO103 (10 μm). ASD PSF file: 121016a.070. OO PSF file 70.
ZMIX048
95% Cherokee Springs LL6 (<250 μm) + 5% IRO103 (10 μm). ASD PSF file: 121016a.071. OO PSF file 71.
ZMIX049
90% Cherokee Springs LL6 (<250 μm) +10% IRO103 (10 μm). ASD PSF file: 121016a.072. OO PSF file 72.
ZMIX050
80% Cherokee Springs LL6 (<250 μm) + 20% IRO103 (10 μm). ASD PSF file: 121016a.073. OO PSF file 73.
ZMIX051
70% Cherokee Springs LL6 (<250 μm) + 30% IRO103 (10 μm). ASD PSF file: 121016a.074. OO PSF file 74.
ZMIX010
100% IRO103 (10 μm). ASD PSF file: 121016a.013. OO PSF file 13.
++++++++++++++++++

15.25.2d. FJS-1 (JAXA lunar mare simulant) <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103. 

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

See also section 12 of this document for FJS-1 information and any additional spectra, section 10 for IRO102 and IRO103, and section 12 for SGE101A and SGE105A.

ZMIX052
100% FJS-1 (<250 μm)

 
ASD PSF file: 121016a.083. OO PSF file: 83.

ZMIX052a
90% FJS-1 (<250 μm) + 10% SGE101A 
ASD PSF file: 121121a.029. OO PSF file: 29.

ZMIX052b
80% FJS-1 (<250 μm) + 20% SGE101A 
ASD PSF file: 121121a.030. OO PSF file: 30.

ZMIX052c
50% FJS-1 (<250 μm) + 50% SGE101A 
ASD PSF file: 121121a.031. OO PSF file: 31.

SGE101A
100% SGE101A 



ASD PSF file: 121121a.007. OO PSF file: 7.

++++++++

ZMIX052
100% FJS-1 (<250 μm) 


ASD PSF file: 121016a.083. OO PSF file: 83.

ZMIX052d
90% FJS-1 (<250 μm) + 10% SGE105A 
ASD PSF file: 121121a.032. OO PSF file: 32.

ZMIX052e
80% FJS-1 (<250 μm) + 20% SGE105A 
ASD PSF file: 121121a.033. OO PSF file: 33.

ZMIX052f
50% FJS-1 (<250 μm) + 50% SGE105A 
ASD PSF file: 121121a.034. OO PSF file: 34.

SGE105A
100% SGE105A 



ASD PSF file: 121121a.011. OO PSF file: 11.

++++++++++++++++++

ZMIX127
100% FJS-1 (<45 μm)


 ASD PSF file: 121016a.228. OO PSF file: 228.
ZMIX128
95% FJS-1 (<45 μm) + 5% IRO102 (50 nm) ASD PSF file: 121016a.229. OO PSF file: 229.
ZMIX129
95% FJS-1 (<45 μm) + 5% IRO103 (10 μm) ASD PSF file: 121016a.230. OO PSF file: 230.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103

100% IRO103 (10 μm) 


ASD PSF file: 121016a.013. OO PSF file: 13.

++++++

ZMIX130
100% FJS-1 (45-90 μm) 


ASD PSF file: 121016a.231. OO PSF file: 231.
ZMIX131
95% FJS-1 (45-90 μm) + 5% IRO102 (50 nm) ASD PSF file: 121016a.233. OO PSF file: 233.
ZMIX132
95% FJS-1 (45-90 μm) + 5% IRO103 (10 μm) ASD PSF file: 121016a.238. OO PSF file: 238.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103

100% IRO103 (10 μm) 


ASD PSF file: 121016a.013. OO PSF file: 13.

++++++
ZMIX052
100% FJS-1 (<250 μm) 


ASD PSF file: 121016a.083. OO PSF file: 83.
ZMIX053
99.9% FJS-1 (<250 μm) + 0.1% IRO102 (50 nm) ASD PSF file: 121016a.084. OO PSF file: 84.
ZMIX054
99.5% FJS-1 (<250 μm) + 0.5% IRO102 (50 nm) ASD PSF file: 121016a.085. OO PSF file: 85.
ZMIX055
99% FJS-1 (<250 μm) + 1% IRO102 (50 nm) ASD PSF file: 121016a.087. OO PSF file: 87.
ZMIX056
98% FJS-1 (<250 μm) + 2% IRO102 (50 nm) ASD PSF file: 121016a.088. OO PSF file: 88.
ZMIX057
95% FJS-1 (<250 μm) + 5% IRO102 (50 nm) ASD PSF file: 121016a.089. OO PSF file: 89.
ZMIX058
90% FJS-1 (<250 μm) + 10% IRO102 (50 nm) ASD PSF file: 121016a.090. OO PSF file: 90.
ZMIX059
80% FJS-1 (<250 μm) + 20% IRO102 (50 nm) ASD PSF file: 121016a.091. OO PSF file: 91.
ZMIX060
70% FJS-1 (<250 μm) + 30% IRO102 (50 nm) ASD PSF file: 121016a.093. OO PSF file: 93.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.
++++++
ZMIX052
100% FJS-1 (<250 μm)


ASD PSF file: 121016a.083. OO PSF file: 83.
ZMIX061
99.9% FJS-1 (<250 μm) + 0.1% IRO103 (10 μm) ASD PSF file: 121016a.096. OO PSF file: 96.
ZMIX062
99.5% FJS-1 (<250 μm) + 0.5% IRO103 (10 μm) ASD PSF file: 121016a.097. OO PSF file: 97.
ZMIX063
99% FJS-1 (<250 μm) + 1% IRO103 (10 μm) ASD PSF file: 121016a.098. OO PSF file: 98.
ZMIX064
98% FJS-1 (<250 μm) + 2% IRO103 (10 μm) ASD PSF file: 121016a.099. OO PSF file: 99.
ZMIX065
95% FJS-1 (<250 μm) + 5% IRO103 (10 μm) ASD PSF file: 121016a.100. OO PSF file: 100.
ZMIX066
90% FJS-1 (<250 μm) + 10% IRO103 (10 μm) ASD PSF file: 121016a.102. OO PSF file: 102.
ZMIX067
80% FJS-1 (<250 μm) + 20% IRO103 (10 μm) ASD PSF file: 121016a.103. OO PSF file: 103.
ZMIX068
70% FJS-1 (<250 μm) + 30% IRO103 (10 μm) ASD PSF file: 121016a.104. OO PSF file: 104.
IRO103

IRO103 (10 μm) 



ASD PSF file: 121016a.013. OO PSF file: 13.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.25.3d. OLV003 (olivine): <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103.

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

See also section 2.2 of this document for OLV003 information and any additional spectra, section 10 for IRO102 and IRO103, and section 12 for SGE101A and SGE105A.

ZMIX017
100% OLV003 (<250 μm) 

ASD PSF file: 121016a.029. OO PSF file: 29 and 35.

ZMIX017a
90% OLV003 (<250 μm) + 10% SGE101A 
ASD PSF file: 121121a.021. OO PSF file: 21.

ZMIX017b
80% OLV003 (<250 μm) + 20% SGE101A 
ASD PSF file: 121121a.022. OO PSF file: 22.

ZMIX017c
50% OLV003 (<250 μm) + 50% SGE101A 
ASD PSF file: 121121a.023. OO PSF file: 23.

SGE101A
100% SGE101A 



ASD PSF file: 121121a.007. OO PSF file: 7.

++++++++

ZMIX017
100% OLV003 (<250 μm) 

ASD PSF file: 121121a.029. OO PSF file: 29 and 35.

ZMIX017d
90% OLV003 (<250 μm) + 10% SGE105A 
ASD PSF file: 121121a.025. OO PSF file: 25.

ZMIX017e
80% OLV003 (<250 μm) + 20% SGE105A 
ASD PSF file: 121121a.026. OO PSF file: 26.

ZMIX017f
50% OLV003 (<250 μm) + 50% SGE105A 
ASD PSF file: 121121a.027. OO PSF file: 27.

SGE105A
100% SGE105A 



ASD PSF file: 121121a.011. OO PSF file: 11.

++++++++

ZMIX109
100% OLV003 (<45 μm) + 0% IRO102 or IRO103 ASD PSF file: 121016a.202. OO PSF file: 202.
ZMIX110
95% OLV003 (<45 μm) + 5% IRO102 (50 nm) ASD PSF file: 121016a.203. OO PSF file: 203.
ZMIX111
95% OLV003 (<45 μm) + 5% IRO103 (10 μm) ASD PSF file: 121016a.205. OO PSF file: 205.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103

100% IRO103 (10 μm) 


ASD PSF file: 121016a.013. OO PSF file: 13.

++++++++
ZMIX112
100% OLV003 (45-90 μm) + 0% IRO102 or IRO103 ASD PSF file: 121016a.206. OO PSF file: 206.
ZMIX113
95% OLV003 (45-90 μm) + 5% IRO102 (50 nm) ASD PSF file: 121016a.207. OO PSF file: 207.
ZMIX114
95% OLV003 (45-90 μm) + 5% IRO103 (10 μm) ASD PSF file: 121016a.208. OO PSF file: 208.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103

100% IRO103 (10 μm) 


ASD PSF file: 121016a.013. OO PSF file: 13.

++++++++
ZMIX017
100% OLV003 (<250 μm) ASD PSF file: 121016a.029. OO PSF file: 29 and 35.
ZMIX019
99.9% OLV003 (<250 μm) + 0.1% IRO102 (50 nm) 
ASD PSF file: 121016a.030. OO PSF file: 30.
ZMIX020
99.5% OLV003 (<250 μm) + 0.5% IRO102 (50 nm) 
ASD PSF file: 121016a.032. OO PSF file: 32.
ZMIX021
99% OLV003 (<250 μm) + 1% IRO102 (50 nm) 
ASD PSF file: 121016a.033

ZMIX022
98% OLV003 (<250 μm) + 2% IRO102 (50 nm) 
ASD PSF file: 121016a.034. OO PSF file: 34.
ZMIX023
95% OLV003 (<250 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.035

ZMIX024
90% OLV003 (<250 μm) + 10% IRO102 (50 nm) 
ASD PSF file: 121016a.036. OO PSF file: 36.
ZMIX025
80% OLV003 (<250 μm) + 20% IRO102 (50 nm) 
ASD PSF file: 121016a.038. OO PSF file: 38.
ZMIX026
70% OLV003 (<250 μm) + 30% IRO102 (50 nm) 
ASD PSF file: 121016a.040. OO PSF file: 40.
IRO102

100% IRO102 (50 nm) 



ASD PSF file: 121016a.031. OO PSF file: 15.
+++++++
ZMIX017
100% OLV003 (<250 μm) + 0% IRO103 (10 μm) 
ASD PSF file: 121016a.029. OO PSF file: 29 and 35.
ZMIX027
99.9% OLV003 (<250 μm) + 0.1% IRO103 (10 μm) 
ASD PSF file: 121016a.042. OO PSF file: 42.
ZMIX028
99.5% OLV003 (<250 μm) + 0.5% IRO103 (10 μm) 
ASD PSF file: 121016a.043

ZMIX029
99% OLV003 (<250 μm) + 1% IRO103 (10 μm) 
ASD PSF file: 121016a.045. OO PSF file: 45.
ZMIX030
98% OLV003 (<250 μm) + 2% IRO103 (10 μm) 
ASD PSF file: 121016a.046. OO PSF file: 47.
ZMIX031
95% OLV003 (<250 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.048. OO PSF file: 48.
ZMIX032
90% OLV003 (<250 μm) + 10% IRO103 (10 μm) 
ASD PSF file: 121016a.049. OO PSF file: 49.
ZMIX033
80% OLV003 (<250 μm) + 20% IRO103 (10 μm) 
ASD PSF file: 121016a.050. OO PSF file: 50.
ZMIX034
70% OLV003 (<250 μm) + 30% IRO103 (10 μm) 
ASD PSF file: 121016a.051. OO PSF file: 51.
IRO103

100% IRO103 (10 μm) 



ASD PSF file: 121016a.013. OO PSF file: 13.
+++++++++++++++++++++++++++++++++++

15.25.4d. PLG108 (plagioclase feldspar): <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103.

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

See also section 2.3 of this document for PLG108 information and any additional spectra, section 10 for IRO102 and IRO103, and section 12 for SGE101A and SGE105A.

ZMIX086
100% PLG108 (<250 μm)


ASD PSF file: 121016a.136. OO PSF file: 136.

ZMIX086a
90% PLG108 (<250 μm) + 10% SGE101A 
ASD PSF file: 121121a.015. OO PSF file: 15.

ZMIX086b
80% PLG108 (<250 μm) + 20% SGE101A 
ASD PSF file: 121121a.016. OO PSF file: 16.

ZMIX086c
50% PLG108 (<250 μm) + 50% SGE101A 
ASD PSF file: 121121a.017. OO PSF file: 17.

SGE101A
100% SGE101A 



ASD PSF file: 121121a.007. OO PSF file: 7.

++++++++

ZMIX086
100% PLG108 (<250 μm)

 
ASD PSF file: 121016a.136. OO PSF file: 136.

ZMIX086d
90% PLG108 (<250 μm) + 10% SGE105A 
ASD PSF file: 121121a.018. OO PSF file: 18.

ZMIX086e
80% PLG108 (<250 μm) + 20% SGE105A 
ASD PSF file: 121121a.019. OO PSF file: 19.

ZMIX086f
50% PLG108 (<250 μm) + 50% SGE105A 
ASD PSF file: 121121a.020. OO PSF file: 20.

SGE105A
100% SGE105A 



ASD PSF file: 121121a.011. OO PSF file: 11.

+++++++

ZMIX121
100% PLG108 (<45 μm)


 ASD PSF file: 121016a.219. OO PSF file: 219.
ZMIX122
95% PLG108 (<45 μm) + 5% IRO102 (50 nm)ASD PSF file: 121016a.220. OO PSF file: 220.
ZMIX123
95% PLG108 (<45 μm) + 5% IRO103 (10 μm)ASD PSF file: 121016a.223. OO PSF file: 223.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103

100% IRO103 (10 μm) 


ASD PSF file: 121016a.013. OO PSF file: 13.
+++++++
ZMIX124
100% PLG108 (45-90 μm)


ASD PSF file: 121016a.224. OO PSF file: 224.
ZMIX125
95% PLG108 (45-90 μm) + 5% IRO102 (50 nm) ASD PSF file: 121016a.225. OO PSF file: 225.
ZMIX126
95% PLG108 (45-90 μm) + 5% IRO103 (10 μm) ASD PSF file: 121016a.226. OO PSF file: 226.
IRO102

100% IRO102 (50 nm) 


ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103

100% IRO103 (10 μm) 


ASD PSF file: 121016a.013. OO PSF file: 13.
+++++++
ZMIX086
100% PLG108 (<250 μm)
ASD PSF file: 121016a.136. OO PSF file: 136.
ZMIX087
99.9% PLG108 (<250 μm) + 0.1% IRO103 (10 μm) 
ASD PSF file: 121016a.138. OO PSF file: 137.
ZMIX088
99.5% PLG108 (<250 μm) + 0.5% IRO103 (10 μm)
ASD PSF file: 121016a.139. OO PSF file: 139.
ZMIX089
99% PLG108 (<250 μm) + 1% IRO103 (10 μm) 
ASD PSF file: 121016a.140. OO PSF file: 140.
ZMIX090
98% PLG108 (<250 μm) + 2% IRO103 (10 μm) 
ASD PSF file: 121016a.141. OO PSF file: 141.
ZMIX091
95% PLG108 (<250 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.142. OO PSF file: 142.
ZMIX092
90% PLG108 (<250 μm) + 10% IRO103 (10 μm) 
ASD PSF file: 121016a.143. OO PSF file: 143.
ZMIX093
80% PLG108 (<250 μm) + 20% IRO103 (10 μm) 
ASD PSF file: 121016a.144. OO PSF file: 144.
ZMIX094
70% PLG108 (<250 μm) + 30% IRO103 (10 μm) 
ASD PSF file: 121016a.145. OO PSF file: 145.
IRO103
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013

++++++
ZMIX086
100% PLG108 (<250 μm)
ASD PSF file: 121016a.136. OO PSF file: 136.
ZMIX095
99.9% PLG108 (<250 μm) + 0.1% IRO102 (50 nm) 
ASD PSF file: 121016a.147. OO PSF file: 147.
ZMIX096
99.5% PLG108 (<250 μm) + 0.5% IRO102 (50 nm) 
ASD PSF file: 121016a.148. OO PSF file: 148.
ZMIX097
99% PLG108 (<250 μm) + 1% IRO102 (50 nm) 
ASD PSF file: 121016a.149. OO PSF file: 149.
ZMIX098
98% PLG108 (<250 μm) + 2% IRO102 (50 nm) 
ASD PSF file: 121016a.150. OO PSF file: 150.
ZMIX099
95% PLG108 (<250 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.151. OO PSF file: 151.
ZMIX100
90% PLG108 (<250 μm) + 10% IRO102 (50 nm) 
ASD PSF file: 121016a.152. OO PSF file: 152.
ZMIX101
80% PLG108 (<250 μm) + 20% IRO102 (50 nm) 
ASD PSF file: 121016a.153. OO PSF file: 153.
ZMIX102
70% PLG108 (<250 μm) + 30% IRO102 (50 nm) 
ASD PSF file: 121016a.154. OO PSF file: 154.
IRO102
IRO102 (50 nm) 
ASD PSF file: 121016a.031. OO PSF file: 15.
+++++++++++++++++++++++++++++++++++

15.25.5d. PYX016 (clinopyroxene, type B): <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103.

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

See also section 2.1 of this document for PYX016 information and any additional spectra, section 10 for IRO102 and IRO103, and section 12 for SGE101A and SGE105A.

ZMIX069
100% PYX016 (<250 μm)
ASD PSF file: 121121a.157. OO PSF file: 157.

ZMIX069a
90% PYX016 (<250 μm) + 10% SGE101A
ASD PSF file: 121121a.008. OO PSF file: 8.

ZMIX069b
80% PYX016 (<250 μm) + 20% SGE101A
ASD PSF file: 121121a.009. OO PSF file: 9.

ZMIX069c
50% PYX016 (<250 μm) + 50% SGE101A 
ASD PSF file: 121121a.010. OO PSF file: 10.

SGE101A
100% SGE101A 
ASD PSF file: 121121a.007. OO PSF file: 7.

++++++++

ZMIX069
100% PYX016 (<250 μm)
ASD PSF file: 121121a.157. OO PSF file: 157.

ZMIX069d
90% PYX016 (<250 μm) + 10% SGE105A 
ASD PSF file: 121121a.012. OO PSF file: 12.

ZMIX069e
80% PYX016 (<250 μm) + 20% SGE105A 
ASD PSF file: 121121a.013. OO PSF file: 13.

ZMIX069f
50% PYX016 (<250 μm) + 50% SGE105A 
ASD PSF file: 121121a.014. OO PSF file: 14.

SGE105A
100% SGE105A 
ASD PSF file: 121121a.011. OO PSF file: 11.

++++++++

ZMIX115
100% PYX016 (<45 μm)
ASD PSF file: 121016a.211. OO PSF file: 211.
ZMIX116
95% PYX016 (<45 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.212. OO PSF file: 212.
ZMIX117
95% PYX016 (<45 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.213. OO PSF file: 213.
IRO102
100% IRO102 (50 nm) 
ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013. OO PSF file: 13.
++++++++
ZMIX118
100% PYX016 (45-90 μm) + 0% IRO102 or IRO103 
ASD PSF file: 121016a.214. OO PSF file: 214.
ZMIX119
95% PYX016 (45-90 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.215. OO PSF file: 215.
ZMIX120
95% PYX016 (45-90 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.216. OO PSF file: 216.
IRO102
100% IRO102 (50 nm) 
ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013. OO PSF file: 13.
++++++++
ZMIX069
100% PYX016 (<250 μm)
ASD PSF file: 121016a.157. OO PSF file: 157.
ZMIX070
99.9% PYX016 (<250 μm) + 0.1% IRO103 (10 μm) ASD PSF file: 121016a.112. OO PSF file: 112.
ZMIX071
99.5% PYX016 (<250 μm) + 0.5% IRO103 (10 μm) ASD PSF file: 121016a.113. OO PSF file: 113.
ZMIX072
99% PYX016 (<250 μm) + 1% IRO103 (10 μm) 
ASD PSF file: 121016a.114. OO PSF file: 114.
ZMIX073
98% PYX016 (<250 μm) + 2% IRO103 (10 μm) 
ASD PSF file: 121016a.116. OO PSF file: 116.
ZMIX074
95% PYX016 (<250 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.117. OO PSF file: 117.
ZMIX075
90% PYX016 (<250 μm) + 10% IRO103 (10 μm) 
ASD PSF file: 121016a.118. OO PSF file: 118.
ZMIX076
80% PYX016 (<250 μm) + 20% IRO103 (10 μm) 
ASD PSF file: 121016a.119. OO PSF file: 119.
ZMIX077
70% PYX016 (<250 μm) + 30% IRO103 (10 μm) 
ASD PSF file: 121016a.120. OO PSF file: 120.
IRO103
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013. OO PSF file: 13.
+++++++
ZMIX069
100% PYX016 (<250 μm)
ASD PSF file: 121016a.157. OO PSF file: 157.
ZMIX078
99.9% PYX016 (<250 μm) + 0.1% IRO102 (50 nm) 
ASD PSF file: 121016a.125. OO PSF file: 125.
ZMIX079
99.5% PYX016 (<250 μm) + 0.5% IRO102 (50 nm) 
ASD PSF file: 121016a.126. OO PSF file: 126.
ZMIX080
99% PYX016 (<250 μm) + 1% IRO102 (50 nm) 
ASD PSF file: 121016a.128. OO PSF file: 128.
ZMIX081
98% PYX016 (<250 μm) + 2% IRO102 (50 nm) 
ASD PSF file: 121016a.129. OO PSF file: 130.
ZMIX082
95% PYX016 (<250 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.131. OO PSF file: 131.
ZMIX083
90% PYX016 (<250 μm) + 10% IRO102 (50 nm) 
ASD PSF file: 121016a.133. OO PSF file: 133.
ZMIX084
80% PYX016 (<250 μm) + 20% IRO102 (50 nm) 
ASD PSF file: 121016a.134. OO PSF file: 134.
ZMIX085
70% PYX016 (<250 μm) + 30% IRO102 (50 nm) 
ASD PSF file: 121016a.135. OO PSF file: 135.
IRO102
100% IRO102 (50 nm) 
ASD PSF file: 121016a.031. OO PSF file: 15.
+++++++++++++++++++++++++++++++++++

15.25.6d. PYX042 (orthopyroxene): <45, 45-90, and <250 μm + SGE105A, SGE101A, IRO102, or IRO103.

a. <250 μm + npFe-impregnated silica gel (SGE101A: 22 A pores; high-Fe) or (SGE105A: 150 A pores; high-Fe)

b. <250 μm + nanophase iron (IRO102 or IRO103)

See also section 2.1 of this document for PYX042 information and any additional spectra, section 10 for IRO102 and IRO103, and section 12 for SGE101A and SGE105A.

ZMIX001
100% PYX042 (<250 μm)


ASD PSF file: 121016a.003. OO PSF file: 2.

ZMIX001a
90% PYX042 (<250 μm) + 10% SGE101A 
ASD PSF file: 121121a.038. OO PSF file: 38.

ZMIX001b
80% PYX042 (<250 μm) + 20% SGE101A 
ASD PSF file: 121121a.039. OO PSF file: 39.

ZMIX001c
50% PYX042 (<250 μm) + 50% SGE101A 
ASD PSF file: 121121a.040. OO PSF file: 40.

SGE101A
100% SGE101A 



ASD PSF file: 121121a.007. OO PSF file: 7.

++++++++

ZMIX001
100% PYX042 (<250 μm)


ASD PSF file: 121016a.003. OO PSF file: 2.

ZMIX001d
90% PYX042 (<250 μm) + 10% SGE105A 
ASD PSF file: 121121a.041. OO PSF file: 41.

ZMIX001e
80% PYX042 (<250 μm) + 20% SGE105A 
ASD PSF file: 121121a.042. OO PSF file: 42.

ZMIX001f
50% PYX042 (<250 μm) + 50% SGE105A 
ASD PSF file: 121121a.043. OO PSF file: 43.

SGE105A
100% SGE105A 



ASD PSF file: 121121a.011. OO PSF file: 11.

+++++++++
ZMIX103
100% PYX042 (45-90 μm)
ASD PSF file: 121016a.194. OO PSF file: 194.
ZMIX104
95% PYX042 (45-90 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.197. OO PSF file: 197.
ZMIX105
95% PYX042 (45-90 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.198. OO PSF file: 198.
IRO102
100% IRO102 (50 nm) 
ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013. OO PSF file: 13.
++++++

ZMIX106
100% PYX042 (<45 μm)
ASD PSF file: 121016a.199. OO PSF file: 199.
ZMIX107
95% PYX042 (<45 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.200. OO PSF file: 200.
ZMIX108
95% PYX042 (<45 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.201. OO PSF file: 201.
IRO102
100% IRO102 (50 nm) 
ASD PSF file: 121016a.031. OO PSF file: 15.

IRO103
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013. OO PSF file: 13.
++++++++
ZMIX001
100% PYX042 (<250 μm)
ASD PSF file: 121016a.003. OO PSF file: 2.
ZMIX002
99.9% PYX042 (<250 μm) + 0.1% IRO103 (10 μm) 
ASD PSF file: 121016a.004. OO PSF file: 4.
ZMIX003
99.5% PYX042 (<250 μm) + 0.5% IRO103 (10 μm) 
ASD PSF file: 121016a.005

ZMIX004
99% PYX042 (<250 μm) + 1% IRO103 (10 μm) 
ASD PSF file: 121016a.007. OO PSF file: 7.
ZMIX005
98% PYX042 (<250 μm) + 2% IRO103 (10 μm) 
ASD PSF file: 121016a.008. OO PSF file: 8.
ZMIX006
95% PYX042 (<250 μm) + 5% IRO103 (10 μm) 
ASD PSF file: 121016a.009. OO PSF file: 9.
ZMIX007
90% PYX042 (<250 μm) + 10% IRO103 (10 μm) 
ASD PSF file: 121016a.010. OO PSF file: 10.
ZMIX008
80% PYX042 (<250 μm) + 20% IRO103 (10 μm) 
ASD PSF file: 121016a.011. OO PSF file: 11.
ZMIX009
70% PYX042 (<250 μm) + 30% IRO103 (10 μm) 
ASD PSF file: 121016a.012. OO PSF file: 12.
ZMIX010
100% IRO103 (10 μm) 
ASD PSF file: 121016a.013. OO PSF file: 13.
++++++
ZMIX001
100% PYX042 (<250 μm) + 0% IRO102 (50 nm) 
ASD PSF file: 121016a.003. OO PSF file: 2.
ZMIX009A
99.9% PYX042 (<250 μm) + 0.1% IRO102 (50 nm) 
ASD PSF file: 121016a.016

ZMIX010A
99.5% PYX042 (<250 μm) + 0.5% IRO102 (50 nm) 
ASD PSF file: 121016a.017. OO PSF file: 16.
ZMIX011A
99.0% PYX042 (<250 μm) + 1.0% IRO102 (50 nm) 
ASD PSF file: 121016a.019. OO PSF file: 19.
ZMIX012A
98% PYX042 (<250 μm) + 2% IRO102 (50 nm) 
ASD PSF file: 121016a.020. OO PSF file: 20.
ZMIX013A
95% PYX042 (<250 μm) + 5% IRO102 (50 nm) 
ASD PSF file: 121016a.022. OO PSF file: 22.
ZMIX014A
90% PYX042 (<250 μm) + 10% IRO102 (50 nm) 
ASD PSF file: 121016a.023. OO PSF file: 23.
ZMIX015A
80% PYX042 (<250 μm) + 20% IRO102 (50 nm) 
ASD PSF file: 121016a.024. OO PSF file: 24.
ZMIX016A
70% PYX042 (<250 μm) + 30% IRO102 (50 nm) 
ASD PSF file: 121016a.025. OO PSF file: 26.
IRO102
0% PYX042 (<250 μm) + 100% IRO102 (50 nm) 
ASD PSF file: 121016a.015. OO PSF file: 15.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.26d. JSC-Mars1 and polycyclic aromatic hydrocarbons mixtures (for Mars2020)

Raman spectra: iRaman 532 instrument; 50 mW power, collection spot size ~80 μm; ~1 mm beam diameter; sampling volume: ~5 mm3; 174-4004 cm-1 range; 20 spectra averaged.

PAHs added after dissolving in solvent

Mars2020-1
JSC Mars-1 Mars regolith simulant, unsorted; 7419 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-2
95% Mars-JSC-1 + 5% anthracene (ORG002); 101 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).

Mars2020-3
95% Mars-JSC-1 + 5% anthracene (ORG002); 3151 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-4
98% Mars-JSC-1 + 2% anthracene (ORG002); 2107 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-5
98% Mars-JSC-1 + 2% anthracene (ORG002); 4002 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-6
95% Mars-JSC-1 + 5% naphtho [2,3-a] pyrene (ORG014); 19 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-7
98% Mars-JSC-1 + 2% naphtho [2,3-a] pyrene (ORG014); 108 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-8
99% Mars-JSC-1 + 1% naphtho [2,3-a] pyrene (ORG014); 77 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
Mars2020-9
99% Mars-JSC-1 + 1% naphtho [2,3-a] pyrene (ORG014); 8724 msec integration time; unsorted powder; i=0°, e=0°; 174-4000 cm-1; 4 cm-1 resolution; 50mW power; 7419 ms integration time; 20 spectra averaged (directory: 131201_PAH_JSCMARS_mixtures).
+++++++++++++++++++++

(i) ASD reflectance spectra: i=30°, e=0°; 0.35-2.5 μm; 200 spectra averaged; 68 msec integration time.

130830_1
0.001% ORG002 from DCM solution in JSC Mars-1 matrix

130830_2
0.01% ORG002 from DCM solution in JSC Mars-1 matrix

130830_3
0.05% ORG002 from DCM solution in JSC Mars-1 matrix

130830_4
0.1% ORG002 from DCM solution in JSC Mars-1 matrix

130830_5
0.1% ORG002 dry mixed in JSC Mars-1 matrix

130830_6
0.5% ORG002 dry mixed in JSC Mars-1 matrix

130830_7
1% ORG002 dry mixed in JSC Mars-1 matrix

130830_8
2% ORG002 dry mixed in JSC Mars-1 matrix

130830_9
5% ORG002 dry mixed in JSC Mars-1 matrix

130830_10
"Messy slut dry mixture"

130830_11
100% JSC Mars-1

+++++++++++++++++++

(ii) 405 nm UV fluorescence: Maya spectrometer; 200-1130 nm (usable range:  ~400-1130 nm); i=30°, e=0° (405 nm UV laser as illumination source).

130830_1
0.001% ORG002 from DCM solution in JSC Mars-1 matrix

130830_2
0.01% ORG002 from DCM solution in JSC Mars-1 matrix

130830_3
0.05% ORG002 from DCM solution in JSC Mars-1 matrix

130830_4
0.1% ORG002 from DCM solution in JSC Mars-1 matrix

130830_5
0.1% ORG002 dry mixed in JSC Mars-1 matrix

130830_6
0.5% ORG002 dry mixed in JSC Mars-1 matrix

130830_7
1% ORG002 dry mixed in JSC Mars-1 matrix

130830_8
2% ORG002 dry mixed in JSC Mars-1 matrix

130830_9
5% ORG002 dry mixed in JSC Mars-1 matrix

130830_10
"Messy slut dry mixture"

130830_11
100% JSC Mars-1

+++++++++++++++++++

(iii)365 nm UV fluorescence: Maya spectrometer; 200-1130 nm (usable range:  ~400-1130 nm); i=30°, e=0° (365 nm UV lamp as illumination source).

130830_1
0.001% ORG002 from DCM solution in JSC Mars-1 matrix

130830_2
0.01% ORG002 from DCM solution in JSC Mars-1 matrix

130830_3
0.05% ORG002 from DCM solution in JSC Mars-1 matrix

130830_4
0.1% ORG002 from DCM solution in JSC Mars-1 matrix

130830_5
0.1% ORG002 dry mixed in JSC Mars-1 matrix

130830_6
0.5% ORG002 dry mixed in JSC Mars-1 matrix

130830_7
1% ORG002 dry mixed in JSC Mars-1 matrix

130830_8
2% ORG002 dry mixed in JSC Mars-1 matrix

130830_9
5% ORG002 dry mixed in JSC Mars-1 matrix

130830_10
"Messy slut dry mixture"

130830_11
100% JSC Mars-1


++++++

(iii)405 nm UV fluorescence: Maya spectrometer; 200-1130 nm (usable range:  ~200-1130 nm); i=30°, e=0° (405 nm UV laser as illumination source).

131201_1
100% JSC-Mars-1 regolith simulant (unsorted); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_2
JSC-Mars-1 regolith simulant (unsorted) + 5000 ppm anthracene (ORG002) ; i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_3
JSC-Mars-1 regolith simulant (unsorted) + 2000 ppm anthracene (ORG002); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_4
JSC-Mars-1 regolith simulant (unsorted) + 1000 ppm anthracene (ORG002); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_5
JSC-Mars-1 regolith simulant (unsorted) + 500 ppm anthracene (ORG002); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_6
JSC-Mars-1 regolith simulant (unsorted) + 100 ppm anthracene (ORG002); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_7
JSC-Mars-1 regolith simulant (unsorted) + 50 ppm anthracene (ORG002); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_8
JSC-Mars-1 regolith simulant (unsorted) + 10 ppm anthracene (ORG002); i=0°, e=0°; 40 msec integration time; 500 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_9
100% JSC-Mars-1 regolith simulant (unsorted); i=0°, e=0°; 500 msec integration time; 100 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_10
JSC-Mars-1 regolith simulant (unsorted) + 500 ppm anthracene (ORG002); i=0°, e=0°; 500 msec integration time; 100 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_11
JSC-Mars-1 regolith simulant (unsorted) + 100 ppm anthracene (ORG002); i=0°, e=0°; 500 msec integration time; 100 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_12
JSC-Mars-1 regolith simulant (unsorted) + 50 ppm anthracene (ORG002); i=0°, e=0°; 500 msec integration time; 100 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
131201_13
JSC-Mars-1 regolith simulant (unsorted) + 10 ppm anthracene (ORG002); i=0°, e=0°; 500 msec integration time; 100 spectra averaged [Directory: 131201_PAH_JSCMARS_mixtures].
+++++++++++++++++++

(iv) UV reflectance: Maya spectrometer; 200-1130 nm (usable range:  ~200-600 nm); i=0°, e=0°; 500 msec integration time; 200 spectra averaged.

130830_1
0.001% ORG002 from DCM solution in JSC Mars-1 matrix

130830_2
0.01% ORG002 from DCM solution in JSC Mars-1 matrix

130830_3
0.05% ORG002 from DCM solution in JSC Mars-1 matrix

130830_4
0.1% ORG002 from DCM solution in JSC Mars-1 matrix

130830_5
0.1% ORG002 dry mixed in JSC Mars-1 matrix

130830_6
0.5% ORG002 dry mixed in JSC Mars-1 matrix

130830_7
1% ORG002 dry mixed in JSC Mars-1 matrix

130830_8
2% ORG002 dry mixed in JSC Mars-1 matrix

130830_9
5% ORG002 dry mixed in JSC Mars-1 matrix

130830_10
"Messy slut dry mixture"

130830_11
100% JSC Mars-1

+++++++++++++++++++++++++
(c) UV spectra – Maya spectrometer

Measured with deuterium and QTH  lamps – usable range (200-~400 nm for deuterium; ~400-1130 nm for QTH) spectra merged at 400 nm; bifurcated cable (i=e=0°); ~0.4 nm sampling interval, ~1.85 nm spectral resolution; 600 msec integration time; 200 spectra averaged (Directory: 130927pah uv reflectance)

SYN014

PSF syn014
Synthetic magnesium fluoride; unsorted, fine-grained.

OSM001
PSF osm001
5 wt% ORG002 (anthracene) + 95 wt.% SYN014; unsorted, fine-grained.

OSM002
PSF osm002
1 wt% ORG002 (anthracene) + 99 wt.% SYN014; unsorted, fine-grained.

ORG002
PSF 0rg002
Anthracene; unsorted, coarse grained.

++++++++++++++++++++++++++++++++++++

15.26.3. Graphite + lunar simulant

GL001
PSF 4
powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; 100 spectra averaged; ~0.4 nm resolution, new Maya (directory: 170102 hed).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.27d. Two-pyroxene mixtures – RELAB spectra (Jessica Sunshine)

c1xp14

RELAB c1px14
<45 µm; i=30°, e=0°; 0.325-2.7 μm; 5 nm resol. (RELAB).

c1xp12

RELAB c1px12
<45 µm; i=30°, e=0°; 0.325-2.7 μm; 5 nm resol. (RELAB).

c1xp24

RELAB c1px24
45-75 µm; i=30°, e=0°; 0.325-2.7 μm; 5 nm resol. (RELAB).

c1xp22

RELAB c1px22
45-75 µm; i=30°, e=0°; 0.325-2.7 μm; 5 nm resol. (RELAB).

c1xp05

RELAB c1px05
75-125 µm; i=30°, e=0°; 0.325-2.7 μm; 5 nm resol. (RELAB).

c1xp03

RELAB c1px03
75-125 µm; i=30°, e=0°; 0.325-2.7 μm; 5 nm resol. (RELAB).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.28d. Synthetic organics + magnesium fluoride (SYN014) – intimate mixtures

SYN014
PSF syn014
unsorted, fine-grained powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

15.28_1
PSF org002+syn014
unsorted, fine-grained powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

15.28_1
PSF org002b
unsorted, very fine; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
15.28_2
PSF org002+syn014
unsorted, fine-grained powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

15.28_2
PSF org002c
unsorted, very fine; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
ORG002
PSF org002
unsorted, coarse-grained powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

ORG002
PSF org002a
unsorted, coarse; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.29a. Murchison CM2 chondrite + terrestrial magnetite

Note: mixture involving Jim Bell Murchison sample JFB-22 (#5377) + <45 µm fraction of MAG102.

MMM001
PSF 150429a.002
<150 µm, 100% Murchison (#5377); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM002
PSF 150429a.003
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM003
PSF 150429a.004
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM004
PSF 150429a.005
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM005
PSF 150429a.006
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM006
PSF 150429a.007
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM007
PSF 150429a.008
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM008
PSF 150429a.009
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM009
PSF 150429a.010
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM010
PSF 150429a.011
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM011
PSF 150429a.012
powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

MMM012
PSF 150429a.013
<45 µm, 100% MAG102; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.30d. Various mixtures for Ceres and Bennu
Note: SPT162 (“epsomite”) baked at 300°C to transform to low-humidity kieserite; LCA101 baked at 100°C to drive off any adsorbed water. Samples thoroughly mixed for several minutes to thoroughly coat kieserite particles with lamp black. SPT169 came up as starkeyite by XRD; OXA020 is high purity oxalic acid.
15.30.1d. Carbonates and oxalates + carbon black

i) Bruker Vertex 70 FTIR reflectance spectra

SPT162k
PSF 001

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

LCA101

PSF 002

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM01

PSF 003

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM02

PSF 004

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

SPT169

PSF 006

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM03

PSF 007

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM04

PSF 008

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM05

PSF 009

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM06

PSF 010

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

OXA020
PSF 011

unsorted powdered end member; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM07

PSF 012

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM08

PSF 013

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

CerM09

PSF 014

powdered mixture; i=30°, e=0°; 1.67-25 µm; 6 cm-1 resolution; 2000 spectra averaged (Directory: 150826 carbon black mixtures).

++++++++++++++++++++++++++++++
ii) UV-Vis

Note: collected with Maya spectrometer – corrected to DUV mirror

SPT162k
PSF 004

unsorted powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

LCA101

PSF 005

<0.021 µm powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM01

PSF 006

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM02

PSF 008

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

SPT169

PSF 009

unsorted powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM03

PSF 010

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM04

PSF 011

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM05

PSF 012

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM06

PSF 013

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM09

PSF 014

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM08

PSF 015

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

CerM07

PSF 015b

powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; ~0.5 nm resolution; 200 spectra averaged; Maya [Directory: 151101 carbon black mixtures].

++++++++++++++++++++++++++++++++
iii) ASD reflectance spectra

SPT162k
PSF 151104a.001
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

LCA101

PSF 151104a.002
<0.021 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM01

PSF 151104a.003
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM02

PSF 151104a.004
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

SPT169

PSF 151104a.006
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM03

PSF 151104a.007
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM04

PSF 151104a.008
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM05

PSF 151104a.009
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM06

PSF 151104a.010
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM09

PSF 151104a.012
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM08

PSF 151104a.013
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

CerM07

PSF 151104a.014
powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

OXA020
PSF 151104a.011
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 1000 spectra averaged; ASD [Directory: 151104 ceres mixtures].

+++++++++++++++++++++++++++++++

15.30.2d. Carbonates + Bennu analogue - Ceres bright region mixtures for Ernesto Palomba

Note: Mixtures involving CRB151 (sodium carbonate monohydrate) baked (to 180°C) to form natrite (anhydrous sodium carbonate) sodium carbonate (CRB151Bk) + Ceres (actually Bennu) dark analogue from University of Calgary (Alan Hildebrand)

i) Bruker Vertex 70 reflectance spectra

CerM10

PSF 1 89.37
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM11

PSF 2 79.38
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM12

PSF 3 69.84
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM13

PSF 4 60.40
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM14

PSF 5 49.92
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM15

PSF 6 38.82
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM16

PSF 7 98.7
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM17

PSF 8 97.40
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM18

PSF 9 sprinkled
two sized powder - coating; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

CerM18

PSF bennu 30
two sized powder mixture; i=30°, e=0°; 1.65-25.00 µm; 6 cm-1 resolution; 5600 spectra averaged; Bruker Vertex 70 reflectance [Directory: 160319 natrite bennu].

++++++
CRB417
PSF 1crb417 sub20
<20 µm; i=30°, e=0°; 1.4-25 µm; 4 cm-1 resolution; 3572 spectra averaged [Directory: 160430 natrite].

CRB151bk
PSF 1 natrite sub20
<20 µm; i=30°, e=0°; 1.65-25 µm; 2 cm-1 resolution; 4800 spectra averaged [Directory: 160307 natrite].

+++++++++++++++++++++++++++++

ii) Merged ASD (0.35-2.5 µm) + Bruker Vertex 70 (1.65-25 µm) reflectance spectra: i=30°, e=0°; 0.35-25 µm; merged at 2.05 µm; ASD: 1000 spectra averaged; 1 nm output. Bruker: 5600 spectra averaged; 6 cm-1 resolution [ASD directory: 160319 natrite bennu).
CerM10


PSF 160503a.009 (ASD), 1 89.37 (Bruker).
CerM11


PSF 160503a.008 (ASD), 2 79.38 (Bruker).
CerM12


PSF 160503a.007 (ASD), 3 69.84 (Bruker).
CerM13


PSF 160503a.006 (ASD), 4 60.40 (Bruker).
CerM14


PSF 160503a.005 (ASD), 5 49.92 (Bruker).
CerM15


PSF 160503a.004 (ASD), 6 38.82 (Bruker).
CerM16


PSF 160503a.012 (ASD, 7 98.7 (Bruker).
CerM17


PSF 160503a.011 (ASD), 8 97.40 (Bruker).
CerM18
(bennu 30)
PSF 160503a.013 (ASD), bennu 30 (Bruker).
CerM19
(bennu 20) 
PSF 160503a.002 (ASD), bennu 20 (Bruker).
CerM20
(bennu 5) 
PSF 160503a.003 (ASD), bennu 5 (Bruker).
Bennu1


PSF 160503a.001 (ASD), b3 bnnu1<45 (Bruker).
++++++++

Areal mixtures of Bennu1 and CRB417 generated in intervals of 5 wt.% between the end members

+++++++++++++++++++++++++++++++
15.30.3d. Carbonate + oxalate mixtures (for Ceres – May 2016).

PIG004
PSF a1
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

PIG204
PSF a2
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M8
PSF a3
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M9
PSF a4
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M10
PSF a5
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M11
PSF a6
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

CRB144
PSF c1
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M3
PSF c2
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M4
PSF c3
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M5
PSF c4
<<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M6
PSF c5
<<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M7
PSF c6
<45 µm; i=30°, e=0°; 1.4-25 µm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131115 oxalate carbonate mixtures].

M1
PSF Ceres mixtures 3
various grain sizes; i=30°, e=0°; 2-25 µm; 8 cm-1 resolution; 177,778 spectra averaged; Bruker Vertex 70 reflectance [Directory: 151218 ceres mixtures].

M2
PSF mixtures 3 pct
various grain sizes; i=30°, e=0°; 2-25 µm; 8 cm-1 resolution; 7408 spectra averaged; Bruker Vertex 70 reflectance [Directory: 151211 LCA mixtures].

++++++++++++++++++++++++++++++++++++++++++

15.30.4d. Carbonate + Bennu analogue mixtures (for Ceres – May 2016) (ternary mixtures)
CerM21
PSF CerM21
variably sized powders, ternary mixture; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

CerM22
PSF CerM22
variably sized powders, ternary mixture; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

CerM23
PSF CerM23
variably sized powders, ternary mixture; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

CerM24
PSF CerM24
variably sized powders, ternary mixture; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

SAP104
PSF SAP104
unsorted fine powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

ILS104
PSF ILS104
<45 µm dry-sieved; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 1000 spectra averaged; pre-purged; Bruker Vertex 70 reflectance [Directory: 160129 natrite].

++++++++++++++++++++++++++++++
15.30.5d. Ternary mixtures for Ceres (Ernesto Palomba – December 2016)

Merged reflectance spectra: ASD (0.35-2.5 µm; i=30°, e=0°; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; new ASD; directory: 161222 natrite mix and 161223 natrite mix) + Bruker Vertex 70 (2-16 (25) µm; i=30°, e=0°; 6 cm-1 resolution; 5000 spectra averaged; directory: 161222 natrite mixtures) .

CerM30
PSF 161222a.001 (ASD) + CerM30 (Vertex 70).

CerM31
PSF 161222a.002 (ASD) + CerM31 (Vertex 70).

CerM32
PSF 161222a.003 (ASD) + CerM32 (Vertex 70).

CerM33
PSF 161222a.004 (ASD) + CerM33 (Vertex 70).

CerM34
PSF 161222a.005 (ASD) + CerM34 (Vertex 70).

CerM35
PSF 161223a.001 (ASD) + CerM35 (Vertex 70).

CerM36
PSF 161223a.002 (ASD) + CerM36 (Vertex 70).

CerM37
PSF 161223a.003 (ASD) + CerM37 (Vertex 70).

CerM38
PSF 161223a.004 (ASD) + CerM38 (Vertex 70).

CerM39
PSF 161223a.007 (ASD) + CerM39 (Vertex 70).

CerM40
PSF 161223a.008 (ASD) + CerM40 (Vertex 70).

CerM41
PSF 161223a.009 (ASD) + CerM41 (Vertex 70).

CerM42
PSF 161223a.010 (ASD) + CerM41 (Vertex 70).

CerM43
PSF 161223a.011 (ASD) + CerM43 (Vertex 70).

CerM44
PSF 161223a.014 (ASD) + CerM44 (Vertex 70).

CerM45
PSF 161223a.015 (ASD) + CerM45 (Vertex 70).

CerM46
PSF 161223a.016 (ASD) + CerM46 (Vertex 70).

CerM47
PSF 161223a.017 (ASD) + CerM47 (Vertex 70).

++++++++++++++++++++++++++++++++++++++++++
15.30.6d. Binary mixtures for Ceres to test effect of mixing versus mixing + grind-mixing in mortar and pestle (Feb. 2017)

CerM49
PSF 170201a.001
CerM49 binary powder mixture, after mechanical mixing only; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170201 grinding].

CerM49g
PSF 170201a.002
CerM49 binary powder mixture, after mechanical mixing then hand ground in mortar and pestle for 5 minutes; ; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 170201 grinding].

+++++++++++++++++++++++++++++++++++++++++++++
15.30.7d. Binary mixtures for Ceres to test whether siderite could explain some Ceres bright regions (and whether siderite’s 1.2 µm band could be hidden) (April 2017)

For all but Bennu1: Merged ASD and Bruker Vertex 70 reflectance spectra; merged at 2.40 µm. ASD: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 170405 siderite mix]. Bruker Vertex 70 spectra: i=30°, e=0°; 10,000-400 cm-1; 6 cm-1 resolution; 2000 spectra averaged [Directory: 170405 siderite mix].

For Bennu1: Merged ASD and Bruker Vertex 70 reflectance spectra; merged at 2.050 µm. ASD: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged [Directory: 160421]. Bruker Vertex 70 spectra: i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 5600 spectra averaged [Directory: 160307 natrite].

CRB145

PSF 170405a00001.asd; CRB145 SUB45.DPT

Bennu1

PSF 160421a.001; b3 bennu1<45 
CerM60

PSF 170405a00002.asd; CERM60.DPT

CerM61

PSF 170405a00003.asd; CERM61.DPT

CerM62

PSF 170405a00004.asd; CERM62.DPT

CerM63

PSF 170405a00005.asd; CERM63.DPT

CerM64

PSF 170405a00006.asd; CERM64.DPT

CerM65

PSF 170405a00007.asd; CERM65.DPT

CerM66

PSF 170405a00013.asd; CERM66.DPT

CerM67

PSF 170405a00012.asd; CERM67.DPT

CerM68

PSF 170405a00011.asd; CERM68.DPT

++++++++++++++++++++

CERM14
PSF 160503a.005
Powdered mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 160503]

CERM14
PSF 5 49.92
unsorted mixture powder; i=30°, e=0°; 1.65-20 µm; 6 cm-1 resolution; 5600 spectra averaged; D&P 102 FTIR [Directory: 160319 natrite bennu]

CERM70
PSF 170516b0001.asd
Mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170516 cerm]

CERM70
PSF cerm70
mixture powder; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 3974 spectra averaged; Bruker Vertex 70 [Directory: 170505 natrite]

CERM70
PSF 170516b0002.asd
Mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 170516 cerm]

CERM70
PSF cerm70b
mixture powder; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 3974 spectra averaged; repacked and reshot; Bruker Vertex 70 [Directory: 170505 natrite]

CERM70
PSF 170527a00005.asd
mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; mixed sample ground for 5 minutes; ASD4 [Directory: 170527 natrite mix].

CERM70
PSF cerm70g
mixture powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 5000 spectra averaged; mixed sample ground for 5 minutes; Bruker Vertex 70 FTIR [Directory: 170527 natrite mix].

CERM71
PSF 170527a00001.asd
mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; mixed sample ground for 5 minutes; ASD4 [Directory: 170527 natrite mix].

CERM71
PSF cerm71
mixture powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 3000 spectra averaged; mixed sample ground for 5 minutes; Bruker Vertex 70 FTIR [Directory: 170527 natrite mix].

CERM72
PSF 170527a00002.asd
mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; mixed sample ground for 5 minutes; ASD4 [Directory: 170527 natrite mix].

CERM72
PSF cerm72
mixture powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 3000 spectra averaged; mixed sample ground for 5 minutes; Bruker Vertex 70 FTIR [Directory: 170527 natrite mix].

CERM73
PSF 170527a00003.asd
mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; mixed sample ground for 5 minutes; ASD4 [Directory: 170527 natrite mix].

CERM73
PSF cerm73
mixture powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 5000 spectra averaged; mixed sample ground for 5 minutes; Bruker Vertex 70 FTIR [Directory: 170527 natrite mix].

CERM74
PSF 170527a00004.asd
mixture powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; mixed sample ground for 5 minutes; ASD4 [Directory: 170527 natrite mix].

CERM74
PSF cerm74
mixture powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 5000 spectra averaged; mixed sample ground for 5 minutes; Bruker Vertex 70 FTIR [Directory: 170527 natrite mix].

CRB160

PSF 170516b0003.asd
Ground natrite from Pierre Beck; reground in-house; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170516 cerm]

CRB160

PSF crb160
unsorted powder; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 3974 spectra averaged; Bruker Vertex 70 [Directory: 170505 natrite]

CRB160bk
PSF 170516b0004.asd
Ground natrite from Pierre Beck; reground in-house; heated to 200°C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170516 cerm]

CRB160bk
PSF crb160bk
unsorted powder; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 3974 spectra averaged; Bruker Vertex 70 [Directory: 170505 natrite]

CRB417

PSF 170331.001
<<20 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 170331 natrite]

CRB417

PSF crb417<20
<<20 µm; i=30°, e=0°; 1-25 µm (10000-400 cm-1);  8 cm-1 resolution; 2489 spectra averaged; Bruker Vertex 70 [Directory: 170330 natrite]

++++++++++++++++++++++++++++++++
15.30.8d. More binary mixtures for Ceres for Ernesto Palomba (Feb. 2017)

CERM50
PSF 170215b.001
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM50
PSF c1.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM51
PSF 170215b.002
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM51
PSF c2.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM52
PSF 170215b.003
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM52
PSF c3.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM53
PSF 170215b.004
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM53
PSF c4.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM54
PSF 170215b.005
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM54
PSF c5.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM55
PSF 170215b.006
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM55
PSF c6.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM56
PSF 170215b.007
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM56
PSF d1.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM57
PSF 170215b.008
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM57
PSF d2.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM58
PSF 170215b.009
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM58
PSF d3.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM59
PSF 170215b.012
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM59
PSF e1.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM60
PSF 170215b.013
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM60
PSF e2.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

CERM61
PSF 170215b.014
mixture, both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170215 nh4 mix].

CERM61
PSF e3.dpt
mixture, both <45 µm; i=30°, e=0°; 1-25 µm; 8 cm-1 resolution; 2460 spectra averaged; Vertex 70 reflectance [Directory: 170215 nh4 clays].

+++++++++++++++++++++++++++++++++
15.30.9d. More binary mixtures for Ceres for Ernesto Palomba (September 2017)

Note: i=30°, e=0°; 0.35-2.5 µm; 1000 spectra averaged; 1 nm output; ASD 4 [Directory: 170901 fc mag mix].

SRP111

PSF 170901a00001.asd


CerM80

PSF 170901a00002.asd


CerM81

PSF 170901a00003.asd


CerM82

PSF 170901a00004.asd


CerM83

PSF 170901a00005.asd


CerM84

PSF 170901a00006.asd


CerM85

PSF 170901a00007.asd


+++++++++++++++++++++++++++++++++++++++
15.30.10d. Mudpies for Bennu analogue – November 2019

All spectra: <45 µm end members, grind-mix; i=30°, e=0°; 0.35-2.5 µ; 1 nm output; 500 spectra averaged; 
i) ASD4 [Directory: 191015 carbon clay muds]

MUD001
PSF 191015a00001.asd

MUD002
PSF 191015a00002.asd

MUD003
PSF 191015a00003.asd

MUD004
PSF 191015a00004.asd

MUD005
PSF 191015a00005.asd

MUD006
PSF 191015a00006.asd

MUD007
PSF 191015a00007.asd

MUD008
PSF 191015a00008.asd

SAP105

PSF 191015a00001.asd 
aka MUD001

GRP102

190522a00019.asd

LCA101

170914a00001.asd
3000 spectra averaged.

++++++++++
MUD011
PSF 200228a.00001.asd
MUD011 unsorted; i=30°, e=0°; 0.35-2.5 µ; 1 nm output; 500 spectra average; ASD 4 [Directory: 200228 mudpies].

MUD012
PSF 200228a.000021.asd
MUD012 unsorted; i=30°, e=0°; 0.35-2.5 µ; 1 nm output; 500 spectra average; ASD 4 [Directory: 200228 mudpies].

ii) FTIR Vertex 70 reflectance spectra: i=30/e=0; 2-15 µm; 4 cm-1 resolution; boxcar/fill:2; 500 spectra averaged; Bruker Vertex 70 [Directory: 200630 mudpies].

MUD006
<1000 µm 
200630a.vertex.001.Specac_nMCT_MIR_KBr_b_6_6mmap_MUD006_sub1000.dpt
MUD006
<45 µm
200630a.vertex.000.Specac_nMCT_MIR_KBr_b_6_6mmap_MUD006_sub45.dpt

MUD007
<45 µm
200630a.vertex.002.Specac_nMCT_MIR_KBr_b_6_6mmap_MUD007_sub45.dpt

MUD007
<1000 µm
200630a.vertex.003.Specac_nMCT_MIR_KBr_b_6_6mmap_MUD007_sub1000.dpt
++++++

iii) FTIR Vertex 70 reflectance spectra: i=30/e=0; 1.5-5 µm; 6 cm-1 resolution; boxcar/fill:2; 2500 spectra averaged; Bruker Vertex 70 [Directory: 200819 muds].
MUD008
sanded slab
200812a.vertex.000.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_SUB1000.DPT
MUD008
unprepped rock
200812a.vertex.001.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_SUB45.DPT
++++++++++++++++
iv) Samples measured in liquid nitrogen. ASD: i=30, e=0; 350-2500 nm; 1 nm output; 50 spectra averaged; ASD4 [Directory: 200812 ln2 test].

MUD008
PSF 200812b.00002.asd
<45 µm; uncooled.

MUD008
PSF 200812b.00006.asd
<45 µm; cooled with LN2.

++++++++++++++++++

v) FTIR Vertex 70 reflectance spectra: i=30/e=0; 1.5-5 µm; 6 cm-1 resolution; boxcar/fill:2; 2000 spectra averaged; Bruker Vertex 70; ambient conditions.
MUD008
PSF 200812a.vertex.000.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_SUB1000.DPT
<1000 microns grain size.

MUD008
PSF 200812a.vertex.001.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_SUB45.DPT
<45 microns grain size.

++++++++++++++++++

vi) ASD reflectance spectra: i=30/e=0; 350-2500 nm; 1 nm output; 500 spectra averaged; low power QTH bulb used to minimize thermal emission [Directory: 190123 muds and 200811 darks].
MUD008
PSF 191023a00029.asd
<1000 µm; 130W QTH light source.

MUD008
PSF 191023a00040.asd
<45 µm; 130W QTH light source.

MUD008
PSF 200811a.00004.asd
<45 µm; 25W QTH light source.

MUD008
PSF 200811a.00006.asd
<1000 µm; 25W QTH light source.

++++++++++++++++++++++++++++++++

vii) Bruker Vertex 70 reflectance spectra reflectance spectra: 1.5-15 microns; i=30, e=0; 6 cm-1 resolution; 2500 spectra averaged; measured in dry N2 atmosphere (4% RH); boxcar/zero fill =2 [Directory 200914 muds purged].

MUD008
PSF 200914a.vertex.005.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_SUB45.DPT
<45 µm; black sample cup

MUD008
PSF 200914a.vertex.004.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_SUB1000.DPT
<1000 µm; black sample cup

MUD008
PSF 200915a.vertex.000.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_rock.DPT
unprepped rock surface

MUD008
PSF 200915a.vertex.001.Specac_nMCT_NIR_KBr_b_6_4mmap_mud008_sandedslab.DPT
sanded slab surface.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

(viii) ASD reflectance spectra to compare photometric properties of MUD008 to OSIRIS-REx OVIRS spectra of Bennu. ASD reflectance spectra: i=30/e=0; 350-2500 nm; 1 nm output; 500 spectra averaged;ASD4 [Directory: 220216 MUD008]. All shot relative to Fluorilon at i=30°, e=0°.
++++++ i=30, e=0 ++++ (relative to Fluorilon at i=30, e=0)

MUD008
PSF 220216a.00001.asd
<45 µm powder; i=30/e=0. 
MUD008
PSF 220216a.00002.asd
<1000 µm powder; i=30/e=0. 
MUD008
PSF 220216a.00003.asd
pressed pellet; matte-satin surface; i=30/e=0. 
MUD008
PSF 220216a.00004.asd
sanded chip 1; i=30/e=0. 
MUD008
PSF 220216a.00005.asd
sanded chip 2; i=30/e=0. 
Fluorilon
PSF 220216a.00006.asd
disk; i=30/e=0. 

+++++++ i=30, e=15 ++++ (relative to Fluorilon at i=30, e=0)
Fluorilon
PSF 220216a.00008.asd
disk; i=30/e=15. 
MUD008
PSF 220216a.00009.asd
<45 µm powder; i=30/e=15. 
MUD008
PSF 220216a.00010.asd
<1000 µm powder; i=30/e=15. 
MUD008
PSF 220216a.00011.asd
pressed pellet; matte-satin surface; i=30/e=15. 
MUD008
PSF 220216a.00012.asd
sanded chip 1; i=30/e=15. 
MUD008
PSF 220216a.00013.asd
sanded chip 2; i=30/e=15. 
+++++++ i=30, e=-10 +++++ (relative to Fluorilon at i=30, e=0)
Fluorilon
PSF 220216a.00015.asd
disk; i=30/e=-10. 
MUD008
PSF 220216a.00016.asd
<45 µm powder; i=30/e=-10. 
MUD008
PSF 220216a.00017.asd
<1000 µm powder; i=30/e=-10. 
MUD008
PSF 220216a.00018.asd
pressed pellet; matte-satin surface; i=30/e=-10. 
MUD008
PSF 220216a.00019.asd
sanded chip 1; i=30/e=-10. 
MUD008
PSF 220216a.00020.asd
sanded chip 2; i=30/e=-10. 
+++++++ i=30, e= -20 ++++++ (relative to Fluorilon at i=30, e=0)
Fluorilon
PSF 220216a.00023.asd
disk; i=30/e=-20. 
MUD008
PSF 220216a.00024.asd
<45 µm powder; i=30/e=-20. 
MUD008
PSF 220216a.00025.asd
<1000 µm powder; i=30/e=-20. 
MUD008
PSF 220216a.00026.asd
pressed pellet; matte-satin surface; i=30/e=-20. 
MUD008
PSF 220216a.00027.asd
sanded chip 1; i=30/e=-20. 
MUD008
PSF 220216a.00028.asd
sanded chip 2; i=30/e=-20. 
+++++++ i=30, e= -30 ++++++ (relative to Fluorilon at i=30, e=0)
Fluorilon
PSF 220216a.00031.asd
disk; i=30/e=-30. 
MUD008
PSF 220216a.00032.asd
<45 µm powder; i=30/e=-30. 
MUD008
PSF 220216a.00033.asd
<1000 µm powder; i=30/e=-30. 
MUD008
PSF 220216a.00034.asd
pressed pellet; matte-satin surface; i=30/e=-30. 
MUD008
PSF 220216a.00035.asd
sanded chip 1; i=30/e=-30. 
MUD008
PSF 220216a.00036.asd
sanded chip 2; i=30/e=-30. 
+++++++ i=30, e= -50 ++++++ (relative to Fluorilon at i=30, e=0)
Fluorilon
PSF 220216a.00039.asd
disk; i=30/e=-50. 
MUD008
PSF 220216a.00040.asd
<45 µm powder; i=30/e=-50. 
MUD008
PSF 220216a.00041.asd
<1000 µm powder; i=30/e=-50. 
MUD008
PSF 220216a.00042.asd
pressed pellet; matte-satin surface; i=30/e=-50. 
MUD008
PSF 220216a.00043.asd
sanded chip 1; i=30/e=-50. 
MUD008
PSF 220216a.00044.asd
sanded chip 2; i=30/e=-50. 
+++++++ i=30, e= -60 ++++++ (relative to Fluorilon at i=30, e=0)
Fluorilon
PSF 220216a.00048.asd
disk; i=30/e=-60. 
MUD008
PSF 220216a.00049.asd
<45 µm powder; i=30/e=-60. 
MUD008
PSF 220216a.00050.asd
<1000 µm powder; i=30/e=-60. 
MUD008
PSF 220216a.00051.asd
pressed pellet; matte-satin surface; i=30/e=-60. 
MUD008
PSF 220216a.00052.asd
sanded chip 1; i=30/e=-60. 
MUD008
PSF 220216a.00053.asd
sanded chip 2; i=30/e=-60. 
+++++++ i=50, e= -70 (120° phase angle) ++++++ (relative to Fluorilon at i=50, e=-20; i.e., phase angle of 30° on Fluorilon)
Fluorilon
PSF 220217a.00001.asd
disk; i=50/e=-70. 
MUD008
PSF 220217a.00002.asd
<45 µm powder; i=50/e=-70 (120° phase angle). 
MUD008
PSF 220217a.00003.asd
<1000 µm powder; i=50/e=-70 (120° phase angle). 
MUD008
PSF 220217a.00004.asd
pressed pellet; matte-satin surface; i=50/e=-70 (120° phase angle). 
MUD008
PSF 220217a.00005.asd
sanded chip 1; i=50/e=-70 (120° phase angle). 
MUD008
PSF 220217a.00006.asd
sanded chip 2; i=50/e=-70 (120° phase angle). 
++++++++++++++++++++++++++++++++++++++++++++++++++
2022 Feb 17 new spectra – Relative to Fluorilon at i=30°, e=0°. 0.35-2.5 microns; 1 nm output; 500 spectra averaed; Directory: 220315 MUD008 chips

MUD008
PSF 220315a.00001.asd
Large chunks1; i=30°, e=0°  (30° phase angle).
MUD008
PSF 220315a.00002.asd
Large chunks1; i=30°, e=15°  (15° phase angle).
MUD008
PSF 220315a.00003.asd
Large chunks1; i=30°, e=-10°  (40° phase angle).
MUD008
PSF 220315a.00004.asd
Large chunks1; i=30°, e=-20°  (50° phase angle).
MUD008
PSF 220315a.00005.asd
Large chunks1; i=30°, e=-30°  (60° phase angle).
MUD008
PSF 220315a.00006.asd
Large chunks1; i=30°, e=-50°  (80° phase angle).
MUD008
PSF 220315a.00007.asd
Large chunks1; i=30°, e=-60°  (90° phase angle).
++++++

MUD008
PSF 220315a.00009.asd
Large chunks2; i=30°, e=0°  (30° phase angle).
MUD008
PSF 220315a.00010.asd
Large chunks2; i=30°, e=15° (15° phase angle).
MUD008
PSF 220315a.00012.asd
Large chunks2; i=30°, e=-10° (40° phase angle).
MUD008
PSF 220315a.00013.asd
Large chunks2; i=30°, e=-20° (50° phase angle).
MUD008
PSF 220315a.00014.asd
Large chunks2; i=30°, e=-30° (60° phase angle).
MUD008
PSF 220315a.00015.asd
Large chunks2; i=30°, e=-50° (8-° phase angle).
MUD008
PSF 220315a.00016.asd
Large chunks2; i=30°, e=-60° (90° phase angle).
+++++++++++++++++++++++++++++++
Spectra for different filament temperatures: ASD 4; i=30°, e=0°; 500 spectra averaged; 1 nm output

MUD008
PSF 200812a.00004.asd
<45 µm; 150 W QTH light operated at 150 W.

MUD008
PSF 200812a.00008.asd
<45 µm; 150 W QTH light operated at 125 W.

MUD008
PSF 200812a.00012.asd
<45 µm; 150 W QTH light operated at 100 W.

MUD008
PSF 200812a.00015.asd
<45 µm; 150 W QTH light operated at 75 W.

MUD008
PSF 200812a.00019.asd
<45 µm; 150 W QTH light operated at 50 W.

MUD008
PSF 200812a.00023.asd
<45 µm; 150 W QTH light operated at 25 W.

MUD008
PSF 200812a.00027.asd
<45 µm; 150 W QTH light operated at 5 W.

+++++++++++++++++++

++++++++++++++++++++++
15.30.11d. Mudpies for Bennu analogue – July 2020

i) ASD spectra; i=30/e=0; 350-2500 nm; 1 nm output; 500 spectra averaged [Directory: 200729 Grind Mixtures]

MUD117sm
PSF 200729a00002.asd
Stir-mixed in glass vial

MUD117gm-2
PSF 200729a00003.asd
Grind-mix in alumina mortar and pestle for 2 minutes

MUD117gm-4
PSF 200729a00005.asd
Grind-mix in alumina mortar and pestle for additional 2 minutes (4 minutes total)

MUD117gm-6
PSF 200729a00008.asd Grind-mix in alumina mortar and pestle for additional 2 minutes (6 minutes total)

++++++++++++


MUD118sm
PSF 200729a00012.asd
Stir-mixed in glass vial

MUD118gm-2
PSF 200729a00013.asd
Grind-mix in alumina mortar and pestle for 2 minutes

MUD118gm-4
PSF 200729a00015.asd
Grind-mix in alumina mortar and pestle for additional 2 minutes (4 minutes total)

MUD118gm-6
PSF 200729a00016.asd Grind-mix in alumina mortar and pestle for additional 2 minutes (6 minutes total)

MUD118gm-8
PSF 200729a00018.asd Grind-mix in alumina mortar and pestle for additional 2 minutes (8 minutes total)

++++++++++++

MUD008gm-2
PSF 200729a00021.asd
Grind-mix in alumina mortar and pestle for 2 minutes

MUD008gm-4
PSF 200729a00022.asd
Grind-mix in alumina mortar and pestle for additional 2 minutes (4 minutes total)

+++++++++++++++++

MUD121sm
PSF 200729a00025.asd
Stir-mixed in glass vial

MUD121gm-2
PSF 200729a00026.asd
Grind-mix in alumina mortar and pestle for 2 minutes

MUD121gm-4
PSF 200729a00027.asd
Grind-mix in alumina mortar and pestle for additional 2 minutes (4 minutes total)

+++++++++++++++++++++++++++++++++++
15.30.12d. Mudpies for Bennu analogue – August 2020

i) ASD spectra; i=30/e=0; 350-2500 nm; 1 nm output; 500 spectra averaged [Directory: 200804 Mud Pies]

MUD122a
PSF 200804a00001.asd
whole rock; salt crust scraped off.

MUD122b
PSF 200804a00002.asd
whole rock; sanded surface.

MUD122c
PSF 200804a00003.asd
<1000 µm.

MUD122d
PSF 200804a00004.asd
<45 µm.

++++++

MAG128
PSF 200804a00005.asd
<45 µm.
++++++

MUD123a
PSF 200804a00008.asd
whole rock; salt crust scraped off.

MUD123b
PSF 200804a00009.asd
whole rock; sanded surface.

MUD123c
PSF 200804a00010.asd
<1000 µm.

MUD123d
PSF 200804a00011.asd
<45 µm.

++++++

MUD006
PSF 200804a00012.asd
<45 µm.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.31d. Nontronite + organic mixtures for Tristan Dequaire (Dec. 2015)
Pressed pellets for testing ChemCam testbed in passive mode. “SNa” pellets are mixed in a 50 ml solution of adenine; “Na” pellets are mixed in a 2 ml solution of adenine.

A100
PSF 160113a.002
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 100% pure adenine.

A100
PSF 160113c.001
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; Pure adenine (100%)

A100
PSF 160126a.005
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; pure adenine.

A100
PSF 160113g.001
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars  mixtures]; pure adenine.

A100
PSF 021 a100
pressed pellet; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160104 uv dark stuff].

++++++

N100
PSF 160113a.001
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; Pure nontronite.
N100
PSF 160113c.001
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; Pure nontronite.
N100
PSF 160126a.007
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; pure nontronite.

N100
PSF 160113g.002
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; pure nontronite.

++++++

NA0.5
PSF 160113a.01-
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 0.5 wt.% adenine

NA0.5
PSF 160113c.010
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 0.5 wt. % adenine.

NA0.5
PSF 160126a.006
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 0.5 wt.% adenine.

NA0.5
PSF 160113g.010
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 0.5 wt.% adenine.

++++++

NA1
PSF 160113a.009
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 1 wt.% adenine

NA1
PSF 160113c.009
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 1 wt. % adenine.

NA1
PSF 160126a.014
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 1 wt.% adenine.

NA1
PSF 160113g.009
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 50 wt.% adenine.

++++++

NA10
PSF 160113a.008
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 10 wt.% adenine

NA10
PSF 160113c.008
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 10 wt. % adenine.

NA10
PSF 160126a.013
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 10 wt.% adenine.

NA10
PSF 160113g.008
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 10 wt.% adenine.

++++++

NA15
PSF 160113a.007
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 15 wt.% adenine

NA15
PSF 160113c.007
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 15 wt. % adenine.

NA15
PSF 160126a.012
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 15 wt.% adenine.

NA15
PSF 160113g.007
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 15 wt.% adenine.

++++++

NA20
PSF 160113a.006
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 20 wt.% adenine

NA20
PSF 160113c.006
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 20 wt. % adenine.

NA20
PSF 160126a.011
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 20 wt.% adenine.

NA20
PSF 160113g.006
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 20 wt.% adenine.

++++++

NA30
PSF 160113a.005
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 30 wt.% adenine

NA30
PSF 160113c.005
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 30 wt. % adenine.

NA30
PSF 160126a.010
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 30 wt.% adenine.

NA30
PSF 160113g.005
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 30 wt.% adenine.

++++++

NA40
PSF 160113a.004
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 40 wt.% adenine

NA40
PSF 160113c.004
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 40 wt. % adenine.

NA40
PSF 160126a.009
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 40 wt.% adenine.

NA40
PSF 160113g.004
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 40 wt.% adenine.

++++++

NA50
PSF 160113a.003
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 50 wt.% adenine

NA50
PSF 160113c.003
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 50 wt. % adenine.

NA50
PSF 160126a.008
Crushed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160126 mix]; 50 wt.% adenine.

NA50
PSF 160113g.003
Crushed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 50 wt.% adenine.

NA50
PSF 022 na50
pressed pellet; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 3].

++++++

SNA0.5
PSF 160113b.003
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 0.5 wt.% adenine
SNA0.5
PSF 160113d.010
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 0.5 wt. % adenine.

++++++

SNA1
PSF 160113b.004
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 1 wt.% adenine

SNA1
PSF 160113d.009
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 1 wt. % adenine.

++++++
SNA10
PSF 160113b.005
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 10 wt.% adenine

SNA10
PSF 160113d.008
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 10 wt. % adenine.

++++++

SNA15
PSF 160113b.006
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 15 wt.% adenine

SNA15
PSF 160113d.007
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 15 wt. % adenine.

++++++

SNA20
PSF 160113b.007
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 20 wt.% adenine

SNA20
PSF 160113d.006
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 20 wt. % adenine.

++++++

SNA30
PSF 160113b.008
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 30 wt.% adenine

SNA30
PSF 160113d.005
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 30 wt. % adenine.

++++++

SNA40
PSF 160113b.009
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 40 wt.% adenine

SNA40
PSF 160113d.004
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 40 wt. % adenine.

++++++

SNA50
PSF 160113b.010
Pressed pellet; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 50 wt.% adenine

SNA50
PSF 160113d.003
Pressed pellet; i=0°, e=0° (bifurcated cable); 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160113 mars mixtures]; 50 wt. % adenine.

+++++++++++++++++++++++++++++++++++
15.31a. Nontronite + organic mixtures for Tristan Dequaire (Dec. 2015) - more
1. Samples received October 24, 2016 – mixtures made in-house
Spectral measurements for TDQ series: i=30°, e=0°; 0.35-2.5 µm; 500 spectra averaged; 1 nm output [Directory: 161102 adenine; TDQ4xx series directory: 161111 tristan].

Series TDQ0xx: JSC Mars 1 + adenine
TDQ001

PSF 161102a.001

TDQ002

PSF 161102a.002

TDQ003

PSF 161102a.003

TDQ004

PSF 161102a.004

TDQ005

PSF 161102a.005

TDQ006

PSF 161102a.006

TDQ007

PSF 161102a.007

TDQ008

PSF 161102a.008

TDQ009

PSF 161102a.009

TDQ010

PSF 161102a.010

TDQ011

PSF 161102a.011

TDQ012

PSF 161102a.012

++++++

Series TDQ1xx: Hematite + adenine
TDQ101

PSF 161102a.015

TDQ102

PSF 161102a.016

TDQ103

PSF 161102a.017

TDQ104

PSF 161102a.018

TDQ105

PSF 161102a.019

TDQ106

PSF 161102a.020

TDQ107

PSF 161102a.021

TDQ108

PSF 161102a.022

TDQ109

PSF 161102a.023

TDQ110

PSF 161102a.024

+++++

Series TDQ2xx: Nontronite + adenine
TDQ201

PSF 161102a.026

TDQ202

PSF 161102a.027

TDQ203

PSF 161102a.028

TDQ204

PSF 161102a.029

TDQ205

PSF 161102a.030

TDQ206

PSF 161102a.031

TDQ207

PSF 161102a.032

TDQ208

PSF 161102a.033

TDQ209

PSF 161102a.034

TDQ210

PSF 161102a.035

++++++

Series TDQ3xx: (49% hematite + 51% nontronite) + variable amounts of adenine
TDQ301

PSF 161102a.038

TDQ302

PSF 161102a.039

TDQ303

PSF 161102a.040

TDQ304

PSF 161102a.041

TDQ305

PSF 161102a.042

TDQ306

PSF 161102a.043

TDQ307

PSF 161102a.044

TDQ308

PSF 161102a.045

TDQ309

PSF 161102a.046

TDQ310

PSF 161102a.047

TDQ311

PSF 161102a.048

TDQ312

PSF 161102a.049

+++++++

Series TDQ4xx: Various end members and mixtures [Directory: 161111 tristan]
TDQ401

PSF 161111c.000 (unsorted powder)
TDQ402

PSF 161111c.001 (unsorted powder)
TDQ403

PSF 161111c.002 (unsorted powder)
TDQ404

PSF 161111c.003 (unsorted powder)
TDQ405

PSF 161111c.004 (unsorted powder)
TDQ406

PSF 161111c.005 (unsorted powder)
TDQ407

PSF 161111c.006 (unsorted powder)
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.32d. Nontronite + other phases (2016)

Note: mixtures of new nontronite (NON105) + various other phases. Intent was to make dark clays analogues to carbonaceous chondrite clays that contain nanoscale opaques.

NMX001
PSF 161111a.001
Powder mixture; 200°C dry-heated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 161111 parr bomb].

NMX002
PSF 161111a.002
Powder mixture; 200°C wet-heated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 161111 parr bomb].

NMX003
PSF 160810a.002
Powder mixture; unheated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160810 Parr Bomb Pre].

NMX004
PSF 161111a.003
Powder mixture; 200°C dry-heated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 161111 parr bomb].

NMX005
PSF 161111a.004
Powder mixture; 200°C wet-heated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 161111 parr bomb].

NMX006
PSF 160810a.001
Powder mixture; unheated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160810 Parr Bomb Pre].

NMX007
PSF 161111a.006
Powder mixture; 200°C dry-heated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 161111 parr bomb].

NMX008
PSF 161111a.007
Powder mixture; 200°C wet-heated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 161111 parr bomb].

NMX009
PSF 160810a.003
Powder mixture; unheated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160810 Parr Bomb Pre].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.33d. Perchlorate mixtures (2016)

Note: mixtures involving perchlorates to help determine detection limits on Mars.
PRC004
PSF 161202a.001
fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

PRCMIX001
PSF 161202a.002
powder mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

PRCMIX002
PSF 161202a.003
powder mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

PRCMIX003
PSF 161202a.004
powder mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

PRCMIX004
PSF 161202a.005
powder mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

PRCMIX004f
PSF 161202a.007
powder mixture: shot after removal from chest freezer (-25°C); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

PRCMIX005
PSF 161202a.008
powder mixture; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 161202 perchlorate mixtures].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
15.36. Ilmenite + hematite mixtures

ILM201
PSF 180613b00001.asd
<45 µm, 100% ilmenite (ILM201); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

ILMMIX105
PSF 180613b00002.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

ILMMIX102
PSF 180613b00004.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

ILMMIX103
PSF 180613b00005.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

ILMMIX101
PSF 180613b00006.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

ILMMIX104
PSF 180613b00007.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

HEM105
PSF 180613b00008.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180613 ilm-hem].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.37. Hematite (nanophase)-bearing mxtures

(i) Hematite (nanophase; HEM200) + nontronite (NON105); ground together for 3 minutes with mortar and pestle [Directory: 210818 NON-HEM mixtures and 210818 ICE-HEM mixtures].
HEM200
PSF 210818b00001.asd
30 nm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

NON105
PSF 210818b00002.asd
<45 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX001
PSF 210818b00003.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX002
PSF 210818b00004.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX003
PSF 210818b00005.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX004
PSF 210818b00006.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX005
PSF 210818b00007.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX006
PSF 210818b00008.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX007
PSF 210818b00009.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX008
PSF 210818b00010.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX009
PSF 210818b00011.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

++++++

(ii) Hematite (nanophase; HEM200) + glassy basalt (NON105); ground together for 3 minutes with mortar and pestle.

HEM200
PSF 210818b00001.asd
30 nm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

ICE170
PSF 210818c00012.asd
<45 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX010
PSF 210818c00001.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX011
PSF 210818c00002.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX012
PSF 210818c00003.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX013
PSF 210818c00004.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX014
PSF 210818c00005.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX015
PSF 210818c00006.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX016
PSF 210818c00007.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX017
PSF 210818c00008.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

HEMMIX018
PSF 210818c00009.asd
mixed powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

+++++++++++++++++++++++++++++++++++++++++++++++++++

15.38. Mineral Mixtures from Mike McCraig – February 2023 (his thesis)

15.38.1.a. aSiO2 (MCAL0xx series) (“aSiO2”)
CaCO3 (PIG004? – synthetic calcite)+ amorphous SiO2 (SIL001?); both <45µm)

(i) ASD reflectance spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD3; 1000 spectra averaged [Directory: 090910mike].

MCAL001
PSF 090910a.021
MCAL002
PSF 090910a.022
MCAL003
PSF 090910a.023
MCAL004
PSF 090910a.024
MCAL005
PSF 090910a.025
MCAL006
PSF 090910a.026
MCAL007
PSF 090910a.027
MCAL008
PSF 090910a.028
MCAL009
PSF 090910a.029
MCAL010
PSF 090910a.030
MCAL011
PSF 090910a.031
+++++++++++++++++++++++++++++++++++++++++

15.38.2.a. aSiO2xH2O (MCAL2xx series) (“Hydrated SiO2”)
CaCO3 (PIG004? Synthetic calcite) + amorphous hydrated SiO2 (both <45µm); aSiO2 (SIL001?) dried at 100°C for 24 hours

(i)ASD reflectance spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD3; 1000 spectra averaged [Directory: 090912mikell].

MCAL201
PSF 090912b.012
MCAL202
PSF 090912b.013
MCAL203
PSF 090912b.014
MCAL204
PSF 090912b.015
MCAL205
PSF 090912b.016
MCAL206
PSF 090912b.017
MCAL207
PSF 090912b.018
MCAL208
PSF 090912b.019
MCAL209
PSF 090912b.020
MCAL210
PSF 090912b.021
MCAL211
PSF 090912b.022
+++++++++++++++++++++++++++++++++++

15.38.3.a. aSiO2xH2O (MCAG0xx series)

CaCO3 (PIG004- Synthetic calcite) + aragonite (CRB120) (both <45µm)

(i) ASD reflectance spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD3; 1000 spectra averaged [Directory: 100109mike].

MCAG001
PSF 100109a.033
MCAG002
PSF 100109a.034
MCAG003
PSF 100109a.035
MCAG004
PSF 100109a.036
MCAG005
PSF 100109a.037
MCAG006
PSF 100109a.038
MCAG007
PSF 100109a.039
MCAG008
PSF 100109a.040
MCAG009
PSF 100109a.041
MCAG010
PSF 100109a.042
MCAG011
PSF 100109a.043
+++++++
(ii) Bruker Vertex 70 – reflectance?; i=?, e=?; 500-5000 cm-1; 1 cm-1 resolution; 256 scans averaged; Boxcar/zero fill: Blackman-Harris 3 Term [Directory: c:\Data\MCraig\Feb_25_011]. (“IR 2” in Excel sheet).
MCAG001
PSF MCAG001.0

MCAG002
PSF MCAG002.0

MCAG003
PSF MCAG003.0

MCAG004
PSF MCAG004.0

MCAG005
PSF MCAG005.0

MCAG006
PSF MCAG006.0

MCAG007
PSF MCAG007.0

MCAG008
PSF MCAG008.0

MCAG009
PSF MCAG009.0

MCAG010
PSF MCAG010.0

MCAG011
PSF MCAG011.0

++++++++

(iii) Bruker Vertex 70 – reflectance?; i=?, e=?; 500-5000 cm-1; 1 cm-1 resolution; 256 scans averaged; Boxcar/zero fill: Blackman-Harris 3 Term [Directory: c:\Data\MCraig\Feb_26_011]. (“IR 3” in Excel sheet).
MCAG001
PSF MCAG001.0

MCAG002
PSF MCAG002.0

MCAG003
PSF MCAG003.0

MCAG004
PSF MCAG004.0

MCAG005
PSF MCAG005.0

MCAG006
PSF MCAG006.0

MCAG007
PSF MCAG007.0

MCAG008
PSF MCAG008.0

MCAG009
PSF MCAG009.0

MCAG010
PSF MCAG010.0

MCAG011
PSF MCAG011.0

++++++++++++++++++++++++++++++++++++

15.38.4.a. CaCO3 (PIG004 – synthetic calcite) + dolomite (CRB117) (MCDL0xx series)

CaCO3 (PIG004- Synthetic calcite) + dolomite (CRB117) (both <45µm)

(i) ASD reflectance spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD3; 1000 spectra averaged [Directory: 100110mike].

MCDL001
PSF 100110a.001
MCDL002
PSF 100110a.002
MCDL003
PSF 100110a.003
MCDL004
PSF 100110a.004
MCDL005
PSF 100110a.005
MCDL006
PSF 100110a.006
MCDL007
PSF 100110a.007
MCDL008
PSF 100110a.008
MCDL009
PSF 100110a.009
MCDL010
PSF 100110a.010
MCDL011
PSF 100110a.011
+++++++

(ii) Bruker Vertex 70 – reflectance?; i=?, e=?; 500-5000 cm-1; 1 cm-1 resolution; 256 scans averaged; Boxcar/zero fill: Blackman-Harris 3 Term [Directory: c:\Data\MCraig\Feb_24_011]. (“IR” in Excel sheet).
MCDL001
PSF MCDL001.0

MCDL002
PSF MCDL002.0

MCDL002
PSF MCDL002.1

MCDL002
PSF MCDL002.2

MCDL003
PSF MCDL003.0

MCDL004
PSF MCDL004.0

MCDL005
PSF MCDL005.0

MCDL006
PSF MCDL006.1

MCDL006
PSF MCDL006.2

MCDL006
PSF MCDL006.3 (mislabelled as MCDL007)

MCDL008
PSF MCDL008.0

MCDL009
PSF MCDL009.0

MCDL010
PSF MCDL010.0

MCDL011
PSF MCDL011.0

++++++++++++++++++

(iii) Bruker Vertex 70 – reflectance?; i=?, e=?; 500-5000 cm-1; 1 cm-1 resolution; 256 scans averaged; Boxcar/zero fill: Blackman-Harris 3 Term [Directory: c:\Data\MCraig\Feb_25_011]. (“IR 2” in Excel sheet).
MCDL001
PSF MCDL001.0

MCDL002
PSF MCDL002.0

MCDL003
PSF MCDL003.0

MCDL004
PSF MCDL004.0

MCDL005
PSF MCDL005.0

MCDL005_U
PSF MCDL005_U.0

MCDL006
PSF MCDL006.0

MCDL006_U
PSF MCDL006_U.0

MCDL007
PSF MCDL007.0

MCDL007_U
PSF MCDL007_U.0

MCDL008
PSF MCDL008.0

MCDL008_U
PSF MCDL008_U.0

MCDL009
PSF MCDL009.0

MCDL009_U
PSF MCDL009_U.0

MCDL010
PSF MCDL010.0

MCDL011
PSF MCDL011.0

MCDL011_U
PSF MCDL011_U.0

++++++++
(iv) Bruker Vertex 70 – reflectance?; i=?, e=?; 500-5000 cm-1; 1 cm-1 resolution; 256 scans averaged; Boxcar/zero fill: Blackman-Harris 3 Term [Directory: c:\Data\MCraig\Feb_26_011]. (“IR 3” in Excel sheet).
MCDL005
PSF MCDL005_3.0

MCDL006
PSF MCDL006_3.0

MCDL007
PSF MCDL007_3.0

MCDL008
PSF MCDL008_3.0

MCDL009
PSF MCDL009_3.0

MCDL011
PSF MCDL011_3.0

+++++++++

(v) Bruker Vertex 70 – reflectance?;viewing geometry: “sample compartment”; 400-5000 cm-1; 2 cm-1 resolution; 128 scans averaged; Boxcar/zero fill: nil [Directory: c:\Data\100618]. (“IR 4” in Excel sheet).
MCDL001
PSF MCDL001 (“Overtones frm 2-4 µm Missing” “water suppression”)

MCDL006
PSF MCDL006 (“Overtones frm 2-4 µm Missing” “water suppression”)

MCDL011
PSF MCDL011 (“Overtones frm 2-4 µm Missing” “water suppression”)

+++++++++++++++++++++++++++++++++++++

15.38.5.a. CaCO3 (PIG004 – synthetic calcite) + quartz (QUA001) (MCQA0xx series) (“Quartz”)
CaCO3 (PIG004- Synthetic calcite) + quartz (QUA001) (both <45µm)

(i) ASD reflectance spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD3; 1000 spectra averaged [Directory: 100110mike].

MCQA001
PSF 100110a.012
MCQA002
PSF 100110a.013
MCQA003
PSF 100110a.014
MCQA004
PSF 100110a.015
MCQA005
PSF 100110a.016
MCQA006
PSF 100110a.017
MCQA007
PSF 100110a.018
MCQA008
PSF 100110a.019
MCQA009
PSF 100110a.020
MCQA010
PSF 100110a.021
MCQA011
PSF 100110a.022
++++++++++++++++++++++++++++++++++++

15.38.6.a. CaCO3 (PIG004 – synthetic calcite) + quartz (QUA001) + aSiO2 (SIL001) (MCGQ0xx series) (“aSiO2+Quartz”)
CaCO3 (PIG004- Synthetic calcite) + quartz (QUA001) + aSiO2 (SIL001) (all <45µm)

(i) ASD reflectance spectra: i=30°, e=0°; 350-2500 nm; 1 nm output; ASD3; 1000 spectra averaged [Directory: 100112mike].

MCGQ001
PSF 100112a.001
MCGQ002
PSF 100112a.002
MCGQ003
PSF 100112a.003
MCGQ004
PSF 100112a.004
MCGQ005
PSF 100112a.005
MCGQ006
PSF 100112a.006
MCGQ007
PSF 100112a.007
MCGQ008
PSF 100112a.008
MCGQ009
PSF 100112a.009
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.39d. Two carbonate mixtures

Note: ASD reflectance spectra; i=30°, e=0°; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230512 Siderite and magnesite mixtures; 230519 siderite magnesite 5050mix redo; 230515 Siderite and magnesite mixtures].

CRB701
PSF 230512a00001.asd
<45 µm powder.

CRB106
PSF 230512a00002.asd
<45 µm powder.

MagSid90
PSF 230512a00004.asd
<45 µm powder.

MagSid80
PSF 230512a00005.asd
<45 µm powder.

MagSid70
PSF 230512a00007.asd
<45 µm powder.

MagSid60
PSF 230512a00008.asd
<45 µm powder.

MagSid50
PSF 230519a00001.asd
<45 µm powder.

MagSid40
PSF 230515a00004.asd
<45 µm powder.

MagSid30
PSF 230515a00003.asd
<45 µm powder.

MagSid20
PSF 230515a00002.asd
<45 µm powder.

MagSid10
PSF 230515a00001.asd
<45 µm powder.

++++++++++++++++++++++++++++++++++++++++++

15.39B.d. Carbonate (magnesite) + sulfate (epsomite) mixtures; heated and unheated)

Note: all for <45 µm powders; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged [Directories: 240605 Mixing Project, b240606 Mixing Project, and 240610 Mixing Project].

SCMIX001
PSF 240605a.00001.asd

SCMIX002
PSF 240605a.00002.asd

SCMIX003
PSF 240605a.00003.asd

SCMIX004
PSF 240605a.00004.asd

SCMIX005
PSF 240605a.00005.asd

SCMIX006
PSF 240605a.00007.asd

SCMIX007
PSF 240605a.00008.asd

SCMIX008
PSF 240605a.00009.asd

SCMIX009
PSF 240605a.00010.asd

SPT162
PSF 240606a.00001.asd

CRB106
PSF 240607a.00002.asd

CRB106bk
PSF 240610a.00001.asd

SPT162bk
PSF 240610a.00002.asd

SCMIX001bk
PSF 240610a.00003.asd

SCMIX002bk
PSF 240610a.00004.asd

SCMIX003bk
PSF 240610a.00005.asd

SCMIX004bk
PSF 240610a.00006.asd

SCMIX005bk
PSF 240610a.00007.asd

SCMIX006bk
PSF 240610a.00008.asd

SCMIX007bk
PSF 240610a.00009.asd

SCMIX008bk
PSF 240610a.00010.asd

SCMIX009bk
PSF 240610a.00011.asd

++++++++++++++++++++++++++++++++++++++++++++++++++
15.40. Basalt + spinel mixtures (potentially for Barbarian/K asteroids, Moon, Jezero – Briony Horgan
Series 1: ASD reflectance spectra; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230516 Basalt and Spinel mixtures].
Note: SPI117 spectra look nothing like spinel – reason unknown. 
SPI117
PSF 230516a00001.asd
<45 µm powder

SA-51
PSF 230516a00002.asd
<45 µm powder

BASSPI01
PSF 230516a00003.asd
<45 µm powder

BASSPI02
PSF 230516a00005.asd
<45 µm powder

BASSPI03
PSF 230516a00006.asd
<45 µm powder

BASSPI04
PSF 230516a00007.asd
<45 µm powder

BASSPI05
PSF 230516a00008.asd
<45 µm powder

++++++++++++
Series 2: SPI101 (spinel) + SA-54 (basalt), both <45 µm powders.

Note: ASD reflectance spectra; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230706 basalt and spinel mixtures and 230710 basalt and spinel mixtures]. 

SPI101
PSF 230706a.00001.asd
<45 µm powder.

SA-54
PSF 230706a.00002.asd
<45 µm powder.

BASSPI10
PSF 230706a.00003.asd
<45 µm powder.

BASSPI11
PSF 230706a.00006.asd
<45 µm powder.

BASSPI12
PSF 230706a.00007.asd
<45 µm powder.

BASSPI13
PSF 230706a.00008.asd
<45 µm powder.

BASSPI14
PSF 230706a.00009.asd
<45 µm powder.

BASSPI15
PSF 230710a.00001.asd
<45 µm powder.

BASSPI16
PSF 230710a.00002.asd
<45 µm powder.

BASSPI17
PSF 230710a.00003.asd
<45 µm powder.

BASSPI18
PSF 230710a.00004.asd
<45 µm powder.

++++++++++++++++++++++++++

15.41d. New MUD mixtures (for Ceres and Bennu) – August 2024

Shot with ASD and Bruker Vertex 70 (and merged)

(i) ASD: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 240725 Mud Mixtures and 240726 Mud Mixtures].

(ii) Bruker Vertex 70: i=30°, e=0°; 1.3-14.5 µm; 6 cm-1 resolution; 1000 spectra averaged [Directory: 240726 MUDS ftir and 240730 MUDS ftir).
(iii) FTIR spectra scaled to ASD and merged at 2400 nm.

Note: The second set (“bk”) was baked at 150*C for 24 hours because the Na carbonate hydrated. Not sure when it hydrated or if the sample was hydrated Na carbonate and not natrite. Turned into natrite after baking.
MUDMIX001
ASD: 240725a.00001.asd
240726_vertex_mmct_000_MUDMIX001.0.dpt
MUDMIX002
ASD: 240725a.00002.asd
240726_vertex_mmct_002_MUDMIX002.0.dpt
MUDMIX003
ASD: 240725a.00003.asd
240726_vertex_mmct_003_MUDMIX003.0.dpt
MUDMIX004
ASD: 240725a.00004.asd
240726_vertex_mmct_004_MUDMIX004.0.dpt
MUDMIX005
ASD: 240725a.00005.asd
240726_vertex_mmct_005_MUDMIX005.0.dpt
+++++

MUDMIX001bk




240730_vertex_mmct_005_MUDMIX001bk.0.dpt
MUDMIX002bk




240730_vertex_mmct_006_MUDMIX002bk.0.dpt
MUDMIX003bk




240730_vertex_mmct_006_MUDMIX002bk.0.dpt
MUDMIX004bk




240730_vertex_mmct_008_MUDMIX004bk.0.dpt
MUDMIX005bk




240730_vertex_mmct_009_MUDMIX005bk.0.dpt
++++++

MUDMIX006
ASD: 240725a.00007.asd
240730_vertex_mmct_000_MUDMIX006.0.dpt
MUDMIX007
ASD: 240725a.00008.asd
240730_vertex_mmct_001_MUDMIX007.0.dpt
MUDMIX008
ASD: 240725a.00009.asd
240730_vertex_mmct_002MUDMIX008.0.dpt
MUDMIX009
ASD: 240725a.00010.asd
240730_vertex_mmct_003_MUDMIX009.0.dpt
MUDMIX010
ASD: 240725a.00011.asd
240730_vertex_mmct_004_MUDMIX010.0.dpt
+++++

MUDMIX011
ASD: 240725a.00013.asd
240730_vertex_mmct_010_MUDMIX011.0.dpt
MUDMIX012
ASD: 240725a.00014.asd
240730_vertex_mmct_011_MUDMIX012.0.dpt
MUDMIX013
ASD: 240725a.00015.asd
240730_vertex_mmct_012_MUDMIX013.dpt
MUDMIX014
ASD: 240725a.00016.asd
240730_vertex_mmct_013_MUDMIX014.0.dpt
MUDMIX015
ASD: 240725a.00018.asd
240730_vertex_mmct_014_MUDMIX015.0.dpt
++++++

MUDMIX016
ASD: 240726a.00001.asd
240730_vertex_mmct_015_MUDMIX016.0.dpt
MUDMIX017
ASD: 240726a.00002.asd
240730_vertex_mmct_016_MUDMIX017.0.dpt
MUDMIX018
ASD: 240726a.00003.asd
240730_vertex_mmct_017_MUDMIX018.0.dpt
MUDMIX019
ASD: 240726a.00004.asd
240730_vertex_mmct_018_MUDMIX019.0.dpt
MUDMIX020
ASD: 240726a.00005.asd
240730_vertex_mmct_019_MUDMIX020.0.dpt
++++++

SAP104nh4w
ASD: 240726a.00007.asd
240730_vertex_mmct_020_sap104nh4w.0.dpt
MAG128
ASD: 240726a.00008.asd
240730_vertex_mmct_021_mag128.0.dpt
OL002
ASD: 240726a.00009.asd
240730_vertex_mmct_022_ol002.0.dpt
ALB101
ASD: 240726a.00010.asd
240730_vertex_mmct_023_alb101.0.dpt
MUD124
ASD: 240726a.00011.asd
240730_vertex_mmct_024_mud124.0.dpt
++++++++++++++++++++++++++++++++++++++++++++++++++

15.42. New mixtures (opaques +) for Tarda and Bennu

Part 1: ASD spectra of <45 µm starting opaques wet grind-mix in ethanol at 1 minute intervals, up to 5 minutes to produce nanoparticles. Spectrum shot after every minute. 

ASD4: <45 µm starting powder; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged [Directory: 250505 Grindmix; 250506 Grindmix; 250508 Grindmix; 250513 Grindmix; 250220 Grind-mix Asteroid; 250224 GrindMix Asteroid; 250228 GrindAst; 250303 GrindAst250502 Grindmix].

COAL22
PSF 250505a.00001.asd
<45 µm; no grind-mix

COAL22
PSF 250505a.00002.asd
after 1 minute ethanol grind-mix

COAL22
PSF 250505a.00003.asd
after 2 minutes ethanol grind-mix

COAL22
PSF 250505a.00004.asd
after 3 minutes ethanol grind-mix

COAL22
PSF 250505a.00005.asd
after 4 minutes ethanol grind-mix

COAL22
PSF 250505a.00006.asd
after 5 minutes ethanol grind-mix

+++++

OILS10
PSF 250506b.00001.asd
<45 µm; no grind-mix

OILS10
PSF 250506b.00002.asd
after 1 minute ethanol grind-mix

OILS10
PSF 250506b.00004.asd
after 2 minutes ethanol grind-mix

OILS10
PSF 250506b.00005.asd
after 3 minutes ethanol grind-mix

OILS10
PSF 250506b.00006.asd
after 4 minutes ethanol grind-mix

OILS10
PSF 250506b.00007.asd
after 5 minutes ethanol grind-mix

++++++

ANT101
PSF 250508a.00001.asd
<45 µm; no grind-mix

ANT101
PSF 250508a.00002.asd
after 1 minute ethanol grind-mix

ANT101
PSF 250508a.00003.asd
after 2 minutes ethanol grind-mix

ANT101
PSF 250508a.00004.asd
after 3 minutes ethanol grind-mix

ANT101
PSF 250508a.00005.asd
after 4 minutes ethanol grind-mix

ANT101
PSF 250508a.00006.asd
after 5 minutes ethanol grind-mix

++++++

SHU102
PSF 250513a.00001.asd
<45 µm; no grind-mix

SHU102
PSF 250513a.00002.asd
after 1 minute ethanol grind-mix

SHU102
PSF 250513a.00003.asd
after 2 minutes ethanol grind-mix

SHU102
PSF 250513a.00004.asd
after 3 minutes ethanol grind-mix

SHU102
PSF 250513a.00006.asd
after 4 minutes ethanol grind-mix

SHU102
PSF 250513a.00007.asd
after 5 minutes ethanol grind-mix

+++++++
MAG128
PSF 250220a.00001.asd
<45 µm; no grind-mix

MAG128
PSF 250220a.00002.asd
after 1 minute ethanol grind-mix

MAG128
PSF 250220a.00003.asd
after 2 minutes ethanol grind-mix

MAG128
PSF 250220a.00005.asd
after 3 minutes ethanol grind-mix

MAG128
PSF 250220a.00006.asd
after 4 minutes ethanol grind-mix

MAG128
PSF 250220a.00007.asd
after 5 minutes ethanol grind-mix

+++++++

PRH101
PSF 250224a.00001.asd
<45 µm; no grind-mix

PRH101
PSF 250224a.00002.asd
after 1 minute ethanol grind-mix

PRH101
PSF 250224a.00003.asd
after 2 minutes ethanol grind-mix

PRH101
PSF 250224a.00005.asd
after 3 minutes ethanol grind-mix

PRH101
PSF 250224a.00006.asd
after 4 minutes ethanol grind-mix

PRH101
PSF 250224a.00007.asd
after 5 minutes ethanol grind-mix

+++++++

PEN101
PSF 250228a.00001.asd
<45 µm; no grind-mix

PEN101
PSF 250228a.00002.asd
after 1 minute ethanol grind-mix

PEN101
PSF 250228a.00005.asd
after 2 minutes ethanol grind-mix

PEN101
PSF 250228a.00007.asd
after 3 minutes ethanol grind-mix

PEN101
PSF 250228a.00009.asd
after 4 minutes ethanol grind-mix

PEN101
PSF 250228a.00010.asd
after 5 minutes ethanol grind-mix

+++++++
MAC101
PSF 250303a.00001.asd
<45 µm; no grind-mix

MAC101
PSF 250303a.00002.asd
after 1 minute ethanol grind-mix

MAC101
PSF 250303a.00003.asd
after 2 minutes ethanol grind-mix

MAC101
PSF 250303a.00004.asd
after 3 minutes ethanol grind-mix

MAC101
PSF 250303a.00006.asd
after 4 minutes ethanol grind-mix

MAC101
PSF 250303a.00007.asd
after 5 minutes ethanol grind-mix

++++++++

COAL21
PSF 250502b.00001.asd
<45 µm; no grind-mix

COAL21
PSF 250502b.00002.asd
after 1 minute ethanol grind-mix

COAL21
PSF 250502b.00003.asd
after 2 minutes ethanol grind-mix

COAL21
PSF 250502b.00004.asd
after 3 minutes ethanol grind-mix

COAL21
PSF 250502b.00006.asd
after 4 minutes ethanol grind-mix

COAL21
PSF 250502b.00007.asd
after 5 minutes ethanol grind-mix

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

Mixtures made with 5 wt.% of each ground opaque + 95 wt.% SAP104 (saponite, <45 µm) – each mixture wet grind-mixed in ethanol for 5 one-minute intervals.

Dark_ast_101-105
MAG128 mixtures

Dark_ast_111-115
PRH101 mixtures

Dark_ast_121-125
PEN101 mixtures

Dark_ast_131-136
MAC101 mixtures

Dark_ast_141-146
COAL21 mixtures

Dark_ast_151-156
COAL22 mixtures

Dark_ast_161-166
OILS10 mixtures

Dark_ast_171-176
ANT101 mixtures

Dark_ast_181-186
SHU102 mixtures

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

++++++++++++++++++++++++++++++++++++++++++++++++++

15.1.x. M.Sc. OLIVINE/ORTHOPYROXENE MIXTURES
Band fits were applied to the olivine+orthopyroxene mixture spectra that were measured at the University of Hawaii (and are only available in analogue form). The mixtures involve olivine OLV010 and pyroxene PYX042.

                          Grain Size of Mixtures                                               


OLV/PYX
38-53µm
63-90µm

63-90µm
90-125µm

Ratio



Wet sieved
Dry sieved



100/0

x


x


x

x

95/5

x





x

x

90/10

x


x


x

x

85/15

x





x

x

80/20

x


x


x

x

75/25

x





x

x

70/30

x


x


x

x

65/35

x





x

x

60/40

x


x


x

x

55/45

x





x

x

50/50

x


x


x

x

45/55

x





x

x

40/60

x


x


x

x

35/65

x





x

x

30/70

x


x


x

x

25/75

x





x

x

20/80

x


x


x

x

15/85

x


x


x

x

10/90

x


x


x

x

5/95

x


x


x

x

0/100

x







x

X indicates sample with these end member abundances was spectrally characterized.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

15.1d.x. Polynomial (Quadratic) Fits to Absorption Bands 
Equation y=a+bx+cx2. Differentiate & solve for x at y=0 i.e. 0=-b+2cx, b=2cx

Band depth, solve for y (if normalized only)

Sample 

Poly. Coeff's 

Band

Band
Grain

Compil.

Channels



  a
   b
  c
Min(µm) 
Depth% Size(µm)
& File#

Fitted

"MIX" prefix

BAND I
201




many


45-90 

U of Hawaii

203




0.920


Regol. 

U of Hawaii

205




0.90


45-90 

U of Hawaii

210




0.928


45-90 

U of Hawaii

211




many


45-90 

U of Hawaii

212




0.932


45-90 

U of Hawaii

213




1.0


45-90 

U of Hawaii

220




0.98


45-90 

U of Hawaii

221




0.985


45-90 

U of Hawaii

222




0.985


45-90 

U of Hawaii

230




0.928


45-90 

U of Hawaii

231




0.936


45-90 

U of Hawaii

232




0.965


45-90 

U of Hawaii

240




0.928


45-90 

U of Hawaii

241




0.915


45-90 

U of Hawaii

242




0.915


45-90 

U of Hawaii

250




0.915


45-90 

U of Hawaii

251




0.937


45-90 

U of Hawaii

252




0.978


45-90 

U of Hawaii

260

3.613
-6.523 
3.102
1.051


45-90

brown1a-137
131-159

260/s.l.

8.241
-14.33 
6.783
1.056

32.7
45-90

brown1b-178
131-169

261

1.790
-3.138 
1.516
1.035


45-90

brown1a-138
131-159

261/s.l.

5.237
-8.309 
3.940
1.054

14.4
45-90

brown1b-179
131-169

262

.8617
-1.431 
.7326
0.977


45-90

brown1a-139
131-143

262/s.l.

1.761
-1.555 
.7753
1.003

1.9
45-90

brown1b-180
131-169

266

2.645
-5.475 
2.986
0.917


45-90

brown1a-140

266/s.l.

12.89
-26.64 
14.43
0.923

40.5
45-90

brown1b-181
101-139

266

2.719
-2.727 
.7381
1.847


45-90

brown1a-166
46-69

271

5.426
-11.43 
6.181
0.925


45-90

brown1a-142

271/s.l.

13.80
-29.19 
15.78
0.925

69.9
45-90

brown1b-182
100-139

271

6.031
-6.221 
1.666
1.867


45-90

brown1a-167
46-69

272

1.144
-2.006 
.9913
1.012


45-90

brown1a-162
131-149

272/s.l.

6.896
-11.24 
5.300
1.060

6.3
45-90

brown1b-196
120-160

280

1.221
-2.569 
1.398
0.919


45-90

brown1a-148
111-129

280/s.l.

17.32
-36.16 
19.38
0.933

54.7
45-90

brown1b-185
101-145

280

1.602
-1.593 
.4124
1.931


45-90

brown1a-169
41-74

281

.6663
-1.382 
.7451
0.927


45-90

brown1a-150
111-129

281/s.l.

14.98
-30.79 
16.47
0.935

41.0
45-90

brown1b-186
100-140

281

.5635
-.5462 
.1408
1.940


45-90

brown1a-170
51-79

282

.1590
-.3163 
.1724
0.917


45-90

brown1a-152
106-124

282

1.057
-9.511 
.2493
1.908


45-90

brown1a-171
26-99

282/s.l.

7.700
-14.93 
8.074
0.925

20.2
45-90

brown1b-187
100-140

283

2.604
-4.760 
2.271
1.048


45-90

brown1a-155
136-154

283/s.l.

13.37
-23.94 
11.30
1.059

31.0
45-90

brown1b-189
120-160

284

1.056
-1.902 
.9091
1.046


45-90

brown1a-156
136-154

284/s.l.

10.47
-18.36 
8.677
1.058

24.2
45-90

brown1b-190
120-160

285

.3457
-.5987 
.2844
1.053


45-90

brown1a-157
136-154

285/s.l.

4.895
-7.591 
3.572
1.063

13.8
45-90

brown1b-191
120-160

286

.6560
-1.065 
.5332
0.999


<45OL

brown1a-154
126-144

286/s.l.

4.812
-7.226 
3.380
1.069

5.0
<45OL

brown1b-188
125-165

290

3.519
-6.409 
3.034
1.056


<45MT
brown1a-161
131-149

290

2.778
-4.993 
2.358
1.059


<45MT
mmixdata149
121-159

290/s.l.

12.93
-23.24 
10.97
1.059

37.9
<45MT
brown1b-195
120-160

291

4.075
-7.453 
3.569
1.044


45-90

brown1a-159
141-159

291

5.450
-9.964 
4.714
1.057


45-90

mmixdata148
121-159

291/s.l.

14.81
-27.06 
12.79
1.058

50.3
45-90

brown1b-193
120-160

292

1.545
-2.784 
1.318
1.056


45-90

brown1a-160
131-149

292/s.l.

9.974
-17.53 
8.262
1.061

32.5
45-90

brown1b-194
120-160

BAND II
201




2.18


45-90 

U of Hawaii

203




1.850


Regol. 

U of Hawaii

205




1.902


45-90 

U of Hawaii

210




1.940


45-90 

U of Hawaii

212




1.92


45-90 

U of Hawaii

213




2.23


45-90 

U of Hawaii

220




1.9


45-90 

U of Hawaii

221




2.16


45-90 

U of Hawaii

222




2.18


45-90 

U of Hawaii

230




1.912


45-90 

U of Hawaii

231




1.927


45-90 

U of Hawaii

232




1.933


45-90 

U of Hawaii

240




1.81


45-90 

U of Hawaii

241




1.784


45-90 

U of Hawaii

242




1.784


45-90 

U of Hawaii

250




1.81


45-90 

U of Hawaii

251




1.90


45-90 

U of Hawaii

252




2.22


45-90 

U of Hawaii

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 15.

16. Meteorites, Tektites, and Impactites
16a. Sample Descriptions - Meteorites, Tektites, and Impactites 

16.1 Iron meteorites and synthetics from UND
16.2. Aubrites

16.3. Enstatite chondrites

16.4. Pallasites

16.5. Mesosiderites

16.6. Carbonaceous chondrites

16.7. Ordinary chondrites

16.8. Martian meteorites

16.9. Anomalous achondrites

16.10. Brachinites

16.11. HEDs

16.12. Ureilites

16.13.Angrites

16.14. Unknown types

16.15. Primitive achondrites

16.16. Meteorite mixtures

16.17. Tektites

16.18. Impact glasses

16.19. Non-meteorites and possible meteorites

16.20. Laser irradiated meteorites – Jeff Gillis-Davis – moved, see section 39
16.21. Bennu analogues – mixtures and meteorites

16.22. “Fake” and real Murchison CM2 heating experiments

16.23. Parr bomb runs on meteorites

Note: 
Subsection 1: Samples available at University of Winnipeg


Subsections 2, 3…: samples on loan to University of Winnipeg
++++++++++++++++++++++++++++++++++++

Format: Sample type, name, locality, source.

Sample ID
Description










16.1a. Iron Meteorites and Components

16.1.1a. Iron meteorites available at the University of Winnipeg

MET01
Odessa, Texas (IAB – MG (main group), coarse octahedrite; ground into <45 (A), 45-90 (B), and 90-250 (C) µm fractions by hand using garnet sandpaper and then magnetically separated and dry sieved, April 2006.

MET01a
Odessa
IAB-MG Iron (coarse octahedrite): Odessa, Texas (Robert A. Haag); 1 kg original main mass; double slice preserved with epoxy/varnish – removed for powder preparation; received 1987.
MET01b
Odessa
IAB-MG Iron (coarse octahedrite): Odessa, Texas (Wetaskiwin Rock Show), weathered fragment; ~5 grams.

MET02
Ataxite; Hoba (IVB), 9.4 g from Smithsonian Institution (USNM #6506); received May 10, 2006; ground into <45 (A), 45-90 (B), and 90-250 (C) µm fractions by hand using garnet sandpaper and then magnetically separated and dry sieved, April 2006.

MET03
Hexahedrite, North Chile (IIAB); 15.8 g from Smithsonian Institution (USNM #1220); received May 10, 2006; ground into <45 (A), 45-90 (B), and 90-250 (C) µm fractions by hand using garnet sandpaper and then magnetically separated and dry sieved, April 2006.

MET04a
Campo del Cielo IAB iron (coarse octahedrite, Og) (from Mark Zalcik); 1 of 4 pieces mounted in coloured epoxy (blue epoxy-mounted fragment).

MET04b
Campo de Cielo IAB iron (coarse octahedrite, Og) (from Mark Zalcik); 2 of 4 pieces mounted in coloured epoxy (green epoxy-mounted fragment).

MET04c
Campo del Cielo IAB iron (coarse octahedrite, Og) (from Mark Zalcik); 3 of 4 pieces mounted in coloured epoxy (red epoxy-mounted fragment).

MET04d
Campo del Cielo IAB iron (coarse octahedrite, Og) (from Mark Zalcik); 4 of 4 pieces mounted in coloured epoxy.

MET05a
Canyon Diablo IAB Iron: Canyon Diablo, near Meteor Crater, AZ, USA (David New)

MET05b
Canyon Diablo IAB Iron: Canyon Diablo, near Meteor Crater, AZ, USA, (Collector's Marketing Group), weathered fragment.

MET06
Unknown locality, and type, supposedly from Nevada, USA, and part of a much larger amount (forwarded by Mark Zalcik, Feb. 2005).

MET101
Meteoritic metal from Odessa, Texas iron meteorite; magnetic fraction. Ground from inclusion-free portion of meteorite, magnetic fraction separated. Ground with electric belt sander. “Beaten” fractions also made by “grinding” fraction of this metal (INITIALLY very ribbony in appearance) in alumina mortar and pestle. Early fraction sometimes also labelled MET100.

MET101A
Meteoritic metal from Odessa, Texas iron meteorite; magnetic fraction. Ground from inclusion-free portion of meteorite, magnetic fraction separated. Ground by hand with emery paper to avoid heating of belt sander. Unsorted fraction.

MOMIX5006
100 % meteoritic metal (MET01, <45 μm; separated from MOMIX4000).
MPMIX6006
100% meteoritic metal (MET101; <45 µm; separated from MPMIX4000).
SCR101
Schreibersite: Canyon Diablo iron meteorite, Arizona (David Shannon Minerals) (see section 10).

SCR102
Schreibersite: Imilac, Chile pallasite (Robert A. Haag) (see section 10).

TRO201
Meteoritic troilite from Canyon Diablo iron meteorite (inclusion). See Sulphides section.
Maslyanino
IAB iron: Novosibirsk region, Russia, found in 1992; etched part slice (metal plus silicate inclusions): 14.24 grams (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018).

Cape York
IIIAB iron: Greenland, found in 1818; etched part slice (all metal): 6.63 grams (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018).

++++++

16.1.2a. Iron meteorites and synthetics on loan from the University of North Dakota (Mike Gaffey; Sherry Fieber-Beyer)
AHD-151
“#3”: Fe 95 wt.%, Ni 5 wt.%

AHD-154
“#1”: Fe 92 wt. %, Ni 4.5 wt.%, Si 3.5 wt.%

AHD-154
“#3”: Fe 85 wt. %, Ni 4.5 wt.%, Si 10.5 wt.%

AHD-263
“NiFePSi (Ni,Fe)8(Si,P)3; synthetic perryite; WO#13269.

++++++
Tucson
Iron (Si-rich) meteorite – anomalous. Spectra measured for University of North Dakota.
+++++++
16.1.3a. Iron meteorites - Royal Ontario Museum
(i) Saw-cut powders on loan to University of Winnipeg (July 2015)
Note: these are saw-cut fines (cut with dry wire saw) on loan to investigate the spectral properties of ultra-fine iron meteorite powders.

Dronino
Iron, ungrouped (ataxite (kamacite and rare taenite) with sulphide inclusions (~10 vol. %)); heavily weathered; ROM No. M57007 (3.1 grams of fine-grained saw-cut powder).

Nantan
Iron, IAB, main group (find: 1958); ROM No. M57040 (3.0 grams of fine saw-cut powder).

Nantan
Iron, IAB, main group (find: 1959); ROM #54018; 108.81 gram tumble polished? Rough cube with large apparently kamacite crystals; received November 2015.

(ii) Samples spectrally characterized at the ROM (Oct. 2016)

Bocaiuva
Iron, ungrouped. Meteoritical Bulletin: iron with silicate inclusions. (ROM #M56456): 1 slice polished/etched with silicate inclusions.

Campo del Cielo
Iron, IAB-MG. (ROM #M56484): 3 small pieces of Si nodules; M18945: polished/etched slab with silicate inclusions
Landes
Iron, IAB-MG. (ROM #M32245): one side polished/etched slice with silicate inclusions.

NWA 468
Iron, IAB-ungrouped. Meteoritical Bulletin: contains massive silicate inclusions (olv:Fa4-7; opx: FS9; cpx: Fs4Wo45; plag: An78). ROM: matrix is lodranitic.

Sao Joao Nepomuceno
Iron, IVA-anomalous. Meteoritical Bulletin: fine octahedrite with silicate inclusions. (ROM #M56457).

+++++++++++++++++++++++

16.1.4a. Iron Meteorites – NASA Astromaterials Facility/Smithsonian Institution – received Nov. 2017
EET 83333
Iron meteorite. Type IAB. EET 83333,14. Chip with two saw-cut faces, unpolished; 7.587 grams. Slice has abundant (~25%) dark, polycrystalline (silicate?) inclusions and rusty areas on one face. 
TYR 05181
Iron meteorite, type IIE. TYR 95181, 16. Chip with two saw-cut faces, unpolished; 7.353 grams. Slice has a few small silicate inclusions and rust spots on one face near troilite inclusions.

16.1.3b. XRD DATA: Iron meteorites - Royal Ontario Museum
XRD acquired at ROM; peaks identified at University of Winnipeg.

Bocaiuva (M56456) - slab

Campo del Cielo (M18945) - slab

Landes (M32245) – slab
Sao Joao Nepumucebo (M56457) - slab

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.2a. Aubrites and components

16.2.1a. Aubrites available at the University of Winnipeg
MET020
Norton County aubrite: Norton C., KS, USA (David New), cleanest fraction.

MET021
Happy Canyon aubrite(?): Happy Canyon, Texas (American Meteorite Laboratory; #H314.111; 1.6 grams), variously classified as E7, anomalous aubrite or E chondrite impact melt. (none left? all used in mixtures?), cleanest fraction; received 1987.

MET200
Happy Canyon, Texas [aubrite] (American Meteorite Laboratory; #H314.111; 1.6 grams; received 1987), variously classified as E7, anomalous aubrite or E-chondrite impact melt. 1.6 grams available, all crushed for 45-90µm and <45µm samples (wet sieved). Washed with HCl to remove staining and minor opaques.

MET201
Norton County, Kansas [aubrite] (David New), classified as anomalous aubrite; contains ~10% olivine. A few grams available. Some crushed and wet sieved for 45-90µm and <45µm samples. No acid removal of staining done. Sample definitely contains enstatite and olivine.

MET300
Bishopville aubrite; “fresh” sample. <~1 mm powder prepared by Tom Burbine; measured at RELAB.

MET301
Bishopville aubrite; “red” sample. <~1mm powder prepared by Tom Burbine; measured at RELAB.

+++++++++++++++++++++++++++++++++++++
16.2.2a. Aubrites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

METCF1
“Cumberland Falls AVG.”, aubrite; whole rock – unsorted powder. (Box labelled “Cumberland Falls Inclusion”, also with letter from Verkouteren).

METCF2
“Cumberland Falls chondritic inclusion, <200 mesh, 53.27 mg” (very small amount of sample available). (Box labelled “Cumberland Falls Inclusion”, also with letter from Verkouteren).

METCF3
“Cumberland Falls chondritic inclusion, >200 mesh, 20.50 mg” (very small amount of sample available). (Box labelled “Cumberland Falls Inclusion”, also with letter from Verkouteren).

MJG224
“Bishopville P50e Ae 77.0 mg” (unsorted powder). (Gaffey unlidded box – unlabelled).

MJG225
“Bishopville Me 251-3, 1886-8; 0.777 gm; aubrite” (fragments and powder). (Gaffey unlidded box – unlabelled).

MJG236
Norton Co. #523.3x – Aubrite – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”).

++++++++++++++++++++++++++++++++++++++++
16.2.3a. Aubrites on loan from the University of New Mexico – June 2009

N102a.1
Norton County aubrite slab with one rough saw-cut face (~20 grams).
+++++++++++++++++++++++++++++++++++++++

16.2.4. Enstatite achondrites (aubrites) measured at the Royal Ontario Museum (October 2016)

Al Haggounia 001
Aubrite. 4 end slices (measured) and two very large pieces (not measured) (ROM collection). See Leili et al. (2024).
Mt. Egerton
Aubrite, anomalous. One small rusty fragment (ROM #LM52942) (Meteoritical Bulletin: no description). 

NWA 4301
Enstatite achondrite, ungrouped. 1 end slice (ROM #M56691) (Meteoritical Bulletin: 70% enstatite, 15% metal, 10% plagioclase, 5% troilite).

Pena Blanca Springs
Aubrite. 1 big palm-size slice (ROM #LM56020). 

Zaklodzie
Enstatite achondrite, ungrouped. 1 small slice (ROM #M56690) (Meteoritical Bulletin: 60% enstatite, 20% metal, 10% feldspar, 10% troilite).

+++++++++++++++++++++++

16.2.5a. Aubrites from Darby Dyar, Mt. Holyoke College, for SSERVI, received July 2021

LAR 04316,83A
Aubrite; <25 µm (~250 mg); 63-125 µm (~250 mg).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.2.4b. XRD data: Enstatite achondrites (aubrites) measured at the Royal Ontario Museum (October 2016)

XRD acquired at the ROM; peaks identified at the University of Winnipeg

NWA 4301 (M56691) - slab

Pena Blanca Springs (LM56020) - slab
Zaklodzie (M56690) - slab
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.3a. Enstatite chondrites and components

16.3.1a. Enstatite chondrites available at the University of Winnipeg

MET310
Al Haggounia 001 –EL3 – originally classified as aubrite. 27.3 gram slice; found near Al Haggounia, Morocco in 2005/2006 (from RASC Winnipeg Branch December 2009); heavily iron oxide stained. See Leili et al. (2024).
NWA 974
“E6 related EH; found April 2001, Morocco. Remlia; 5.70 gram slice with partial fusion crust; interior appears rust-free. (meteorites.fr: April 2019; for MBSat).
++++++++++++++++++++++++++++++++++
16.3.2a. Enstatite chondrites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

MJG183
Atlanta #427.1x – EL6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”).

MJG190
St. Mark’s #737 – EH5 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”).

MJG217
“Khairpur E6 Me-1538 1.6 gm” (single fragment). (Gaffey unlidded box – unlabelled).

MJG218
“Hvittis E6 Me 578 1.498 gm” (fragments and powder). (Gaffey unlidded box – unlabelled).

MJG219
“Daniel’s Kuil E6 Me-1500 0.489 gm” (single fragment and powder). (Gaffey unlidded box – unlabelled).

MJG220
“St. Mark’s E5 Me-2608 0.4735 gm” (powder). (Gaffey unlidded box – unlabelled).

MJG221
“Abee E4 Me-2474 0.881 gm” (single fragment and powder). (Gaffey unlidded box – unlabelled).

MJG222
“Pillistfer E6 Me-1646 0.819 gm” (single fragment and powder). (Gaffey unlidded box – unlabelled).

MJG223
“Indarch E4” (powder). (Gaffey unlidded box – unlabelled).

+++++++++++++++++++++++++++++++++++++++
16.3.3a. Enstatite chondrites on loan from the University of Western Ontario (Matt Izawa)
These are the meteorites measured at HOSERLab for Matthew Izawa, as part of a larger study of E chondrites.

QUE 94204
EH7; unsorted powder.

LAP 02225
EH impact melt; unsorted powder.

ALHA81021
EL6; unsorted powder

TIL 91714
EL5; unsorted powder.

EET 87746
EH4; unsorted powder.

PCA 91020
EL3; unsorted powder.

LEW 88180
EH5; unsorted powder.

EET 96135
EH4/5; unsorted powder; subsample: EET96135.16.

MAC 02747
EL4; unsorted powder.

MAC 02837
EL3; unsorted powder.

MET 00783
EH4; unsorted powder.

NWA 2212
EL6; unsorted powder.

NWA 717
EL6; unsorted powder.

++++++++++++++++++++++++++++++++++

16.3.4a. Enstatite chondrites measured at the Royal Ontario Museum (October 2016).

NWA 717
EL6. Multiple slices and end slices (ROM #M48971).

NWA 2212
EL6. Fragments, thin sections, and thick sections (ROM #M52354).

NWA 2213
EL6. Fragments, 1 slice, 1 end slice (ROM #LM52355).

NWA 2965
EL6/7. Four end slices total (ROM #LM56119 and M52580).

NWA 4844
Tentatively E chondrite. 1 small end slice (ROM #M56709).
NWA 5886
EL6 tentatively. 1 small slice (ROM #M56710).

++++++++++++++++++++++++++

16.3.5a. E-chondrites from Darby Dyar, Mt. Holyoke College, for SSERVI, received July 2021

LAP 10014,29,32A
EL6 chondrite: <25 µm (~250 mg); <63 µm “METAL” (i.e., magnetic fraction, ~200 mg); 63-125 µm (~150 mg).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.3.4b. XRD data: Enstatite chondrites measured at the Royal Ontario Museum (October 2016).

NWA 717 (M48971) - slab

NWA 2212 (M52354) - slab

NWA 2965 (LM56119) - slab
NWA 4844 (M56709) – slab

NWA 5886 (M56710) - slab

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.4a. Pallasites and components

16.4.1a. Pallasites available at the University of Winnipeg

MET030
Imilac, Chile (Robert A. Haag) (1 of 2 individual pieces).

MET031
Imilac, Chile (Robert A. Haag) (2 of 2 individual pieces).

OLV201
Olivine from Imilac pallasite (MET030).

MET032
Seymchan pallasite (Magadan District, Russia; 62° 54' N, 152° 26' E; find - 1967). Two polished and lacquered slabs (~50 grams total weight) [from December 2012 AGU meeting].
Seymchan-a
Pallasite (main group): Magadan, Russia, found in 1967; etched part slice (all metal), with fusion crust: 22 grams (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

Seymchan-b
Pallasite (main group): Magadan, Russia, found in 1967; etched part slice (all metal), no fusion crust: 19 grams (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

Seymchan-c
Pallasite (main group): Magadan, Russia, found in 1967; etched part slice (metal+olivine), no fusion crust: 12.37 grams (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018).

Glorieta Mountain
Pallasite (main group): Santa Fe Co., NM, USA, found in 1884; etched part slice (all metal with inclusions): 13.94 grams (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018).

Admire
Olivine grains separated from Admire pallasite (not 100% pure); from Vishnu Reddy – UArizona. For inclusion on ManitobaSat payload.
+++++++++++++++++++++++++++++++++

16.4.2.a. Pallasites on loan from the Royal Ontario Museum (Kim Tait/Brendt Hyde)
Springwater-A
Springwater pallasite – on loan from Royal Ontario Museum. Slab – containing phosphate (farringtonite) – rich area (August 2013). Note that sample is covered in epoxy to prevent rust – not removed prior to spectra. On loan from the Royal Ontario Museum.

Springwater-B
Saw-cut fines (<25 µm) from Springwater pallasite. On loan from the Royal Ontario Museum (their sample ID M56697).
Springwater-C
Farringtonite separate (mineral chips, ~600 mg) from Springwater pallasite (ROM #M56699), for spectroscopic analysis; received September 13, 2017.

++++++

(i) Saw-cut fines

Note: these are saw-cut fines (cut with dry wire saw) on loan to investigate the spectral properties of ultra-fine metal-bearing meteorite powders.

Brahin
Pallasite (main group) (find: 1810); ROM No. M50209 (3.2 grams of fine saw-cut powder).

Brahin
Pallasite (main group) (find: 1810); ROM #M50209); Saw-cut slice (two faces); 47.54 grams; received November 2015.

Fukang
Pallasite (main group) (find: 2000); ROM No. M56443 (3.0 grams of fine saw-cut powder).

Fukang
Pallasite (main group) (find: 2000); ROM No. M52714. Saw-cut slice (two faces); 2.57 grams; received November 2015).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.5a. Mesosiderites and components

16.5.1a. Mesosiderites available at the University of Winnipeg
Vaca Muerta-a
Vaca Muerta mesosiderite: Vaca Muerta, Chile; aka MET040 (Robert A. Haag); few grams end slice.
Vaca Muerta-b
Vaca Muerta mesosiderite: Vaca Muerta, Chile; part slice – 17.33 grams; one face is rough saw cut with visible rust, other side is cut and polished (no epoxy?); edge has fusion crust on 3 sides, also rust on 4th side – saw cut (purchased from Michael Farmer; January 2017)

Vaca Muerta-c
Vaca Muerta mesosiderite; 13.0 gram pebble with one cut face; abundant black and white mineral grains (pyroxene-plagioclase)no metallic iron; preferred orientation of grains (gabbro equivalent) [Aerolite Meteorites: “Vaca Muerta Pebble 13.0 g”].
NWA 10882
Mesosiderite-A2; 2 grams; part slice; minor rust (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWA 11761
Mesosiderite type 4:  partial slice: 33 grams (some rust in silicate enclaves) (comet1995-2@hotmail.com ). 
+++++++++++++++++++++++++++++

16.5.2a. Mesosiderites analyzed at the Royal Ontario Museum – October 2016
Note: saw-cut powders obtained during dry-cutting (no lubricating fluids) of meteorites with a diamond wire saw.

NWA 2402
Mesosiderite; saw-cut end (ROM #LM56002). Classified as lunar in Meteoritic Bulletin.
NWA 2932
Mesosiderite; piece sliced in half and saw-cut powder (slice “A”: silicate nodule; slice “B”: metal nodules.

NWA 7132
Mesosiderite; (“with noritic diogenite and dunitic clasts”); two cut slabs (ROM #M56694).
NWA 10765
Mesosiderite; saw-cut face (ROM #M57468).

+++++++++++++++++++++++++++++++++++++

16.5.3a. Mesosiderites on loan from NASA Astromaterials Center (Received March 13, 2017)
Note : saw-cut powder is powder collected during dry-cutting (no lubricants) of sample using diamond wire saw.

ID : Generic
Specific
Parent
Weight
Description

MAC 88102
12
12
32.528 g
Mesosiderite: Cut and polished slice with exterior fusion crust and minor interior rust.

MAC 88102
32
13
1.308 g
Mesosiderite: saw-cut fine powder.

QUE 86900
8
8
36.758 g
Mesosiderite: saw-cut slab with unpolished faces and fusion crust.

QUE 86900
38
12
1.259 g
Mesosiderite: saw-cut fine powder. Powder has a broad range of grain sizes from fines to multi-mm pieces ; bulk is <50 micron grains.

++++++++

ALHA77219
Mesosiderite. ALHA77219,12. Chip with one small saw-cut face, unpolished; 2.44 grams. Slice has abundant (~50%) dark, polycrystalline (silicate?) inclusions and rusty crack and rusty exterior. Received Nov. 2017.

+++++++++++++++++++++++++++++++++++++

16.5.4a. Mesosiderites from RELAB archive – June 2021
Barea
“cut chips” (slab?)

Estherville 
“particulate bulk”

Lamont
“particulate bulk”

Pinnaroo
“particulate bulk”

Vaca Muerta
“particulate bulk”

++++++++++++++++++++++

16.5.2b. XRD DATA: Mesosiderites analyzed at the Royal Ontario Museum – October 2016
XRD acquired at the ROM; peaks identified at University of Winnipeg

NWA 2932 (ROM #M7089) – powder

NWA 10765 (M57468) – powder

(ii) January 2020 XRD analysis at UWinnipeg (Bruker D8)

QUE 86900 coarse powder
anorthite; enstatite; kamacite; troilite; pyrrhotite; bit of tridymite

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.6a. Carbonaceous chondrites and components

16.6.1a. Carbonaceous chondrites available at the University of Winnipeg

Aguas Zarcas-a
CM2 (Costa Rica) fusion-crust-free (?) fragment; 0.16 grams (catalog #AZ-68) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021]. Fall: April 23, 2019.
Aguas Zarcas-b
CM2 (Costa Rica) fusion-crust-free (?) fragment; 0.16 grams (catalog #AZ-72) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021]. Fall: April 23, 2019.
Aguas Zarcas-c
CM2 (Costa Rica) fusion-crust-free equiangular fragment; 0.89 grams (catalog #AZ-93) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – October 2022]. Fall: April 23, 2019.
Aguas Zarcas-d
CM2 (Costa Rica) fusion-crust-free irregular fragment; 0.4 grams – Aerolite Meteorites; their sample ID: Aguas Zarcas 0.4 g. Fall: April 23, 2019. Their description: Alajuela, Costa Rica on April  23, 2019 at 21:07 local time. A significant fireball traveling from the northwest to the southeast, shortly after 9 pm was observed by many witnesses and recorded on cameras belonging to the National Seismological Network. Meteoriticists noted the stone’s high degree of brecciation. Some stones exhibit clasts with abundant chondrules. Some specimens are rich in nickel-iron and will adhere to a magnet, while others show no attraction. The variation in these specimens is a reflection of the heterogeneity of the parent body, caused by the pummeling and re-accretion of other asteroidal material as it hurtled through space. Meteoritical Bulletin: Petrography: (L. Garvie, ASU) The interior of the stones is uniformly dark gray and studded with small light-colored speckles. Stones are brecciated and dominated by two lithologies: chondrule poor, constituting ~80 areal% of the broken surfaces examined (~2 kg of material), and chondrule rich. Chondrules constitute ~10 areal% of the chondrule-poor lithology and ~40 areal% in the chondrule-rich lithology. Some broken surfaces show clasts of the chondrule-rich lithology in the chondrule-poor type. Clasts with lower chondrule to matrix ratio also present; for example, one 3 g half stone shows <1 areal% chondrules. A probe mount of the dominant chondrule-poor lithology (sample area 1.5 × 2.2 cm) shows scattered small chondrules (mean 275 μm, n=40), with prominent fine-grained rims. Rare chondrules to 2 mm. Fe-Ni metal, which is Cr-bearing, was only found as rounded grains in one 100-μm type I chondrule. The section contains several Al-rich CAIs to 300 μm. The matrix is dominated by two components of roughly equal proportions: anhedral clumps (typically 50 microns) that are Fe and S rich (e.g., 37.5 wt% Fe and 5.8 wt% S, with microprobe total of 93%), surrounded by fine-grained material poorer in Fe and S (e.g., 12.8 wt% Fe, 13.9 wt% Mg, and 0.5 wt% S, with microprobe total of 80.0%). Powder XRD from five stones (one chondrule rich) shows patterns dominated by serpentine. In two stones, the serpentine 001 reflection sits on a broad peak centered at 0.843 nm. Reflections for tochilinite and calcite occur in all patterns. The intensities of olivine and pyroxene reflections were generally low, but most prominent in the chondrules-rich stone. Received October 2022.
++++++

Allende-CAI
aka CAI100; powdered mixture of 2 calcium-aluminum inclusions from Allende meteorite; unsorted powder.

Allende
aka MET050; Allende CV3 chondrite: Allende, Mexico (Robert A. Haag) ; interior slice.
Allende-c
CV3 carbonaceous chondrites; 1.847 gram double slice with large bland inclusion. Fall: February 8, 1969. From Aerolite Meteorites, their sample ID: Allende 1.8 g. Received October 2022. 

++++++

Bencubbin
Bencubbinite (CB3) (found 1930, Australia); 2.197 gram slice (~2 x 1.5 cm; thin slice) ~50% metal. Received from Michael Farmer Meteorites; June 2015.

++++++

Chwichiya 002-a
Carbonaceous chondrite C3.00-ungrouped; find: 2018. 0.28 gram end cut – purchased from the Meteorite Exchange – April 2022 (~5 mm wide face; their sample ID CHW-21). Petrography: (J. Gattacceca, CEREGE) Chondrite with well-defined chondrules (average apparent diameter 480±300 μm, n=29) set in an abundant fine-grained iron-rich matrix (74 vol%, by point counting, n=371). Opaques are troilite, magnetite, rare metal (as inclusion in silicates and in the matrix). XRD over a ~1 cm2 area on a polished section (D. Borschnek, CEREGE) does not reveal the presence of hydrous phases (serpentine, tochilinite) typically observed in type 2 chondrites using the same experimental setup. In contrast to type 2 chondrites, IR transmission spectroscopy (L. Bonal, IPAG) on matrix grains only reveal a faint water and Si-O-band (attributable to phyllosilicates), reflecting a very low extent of aqueous alteration. Based on the structural order of the polyaromatic matter assessed by Raman spectroscopy (L. Bonal, IPAG), this meteorite appears to be less heated than the least heated type 3 ordinary chondrite, Semarkona. Geochemistry: Olivine Fa37.6±16.7, range Fa1.2-46.5 (n=16), Cr2O3 in ferroan olivine 0.39±0.12 wt% (n=11). Low-Ca pyroxene Fs3.1±3.0Wo0.8±0.3 (n=4). Defocussed (10 μm) microprobe totals in the matrix 90.9±1.2% (n=11). Oxygen isotopic composition (J. Gattacceca, C. Sonzogni, CEREGE) from analysis of one acid-washed 1.5 mg aliquot of a powdered 38 mg bulk sample is δ17O=0.42‰, δ18O=8.23‰ , Δ17O=-3.88‰ (linearized, slope 0.5247, analytical uncertainties 0.08‰, 0.12‰, 0.03‰ respectively). Classification: Carbonaceous chondrite (C3.00-ungrouped). This meteorite is distinct from CM2 chondrites for its larger chondrule size and only incipient aqueous alteration. Weathering grade: moderate.
Chwichiya 002-b
Carbonaceous chondrite C3.00-ungrouped; find: 2018. 2.2 gram end cut – purchased from the allmeteorite.com (sample ID: Chwichiya 002 C3.00 Ung #24 – 2,2 g].

++++++
DaG 190-7-3
CO3 carbonaceous chondrite; 7.3 gram double slice (Dar al Gani 190); Shock stage 2; weathering grade 2 [The Meteorite Market; Oct. 2023]; 1 of 3 pieces.

DaG 190-7-9
CO3 carbonaceous chondrite; 7.9 gram double slice (Dar al Gani 190); Shock stage 2; weathering grade 2 [The Meteorite Market; Oct. 2023]; 2 of 3 pieces.

DaG 190-8-1
CO3 carbonaceous chondrite; 8.1 gram double slice (Dar al Gani 190); Shock stage 2; weathering grade 2 [The Meteorite Market; Oct. 2023]; 3 of 3 pieces.



<125 µm powder heated in vacuum at DLR to various temperatures, colled and shot in vacuum: 25°C, 100°C, 200°C, 300°C, 400°C, 500°C, 600°C, 700°C. Files are huge due to 1-2 cm-1 resolution.

++++++++++++++++++++

Jbilet Winselwan-a
CM2 (Western Sahara); 1.5 grams, mostly fusion crust-free fragment  (catalog #JW-44) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021].

Jbilet Winselwan-b
CM2 (Western Sahara); 2.4 grams, mostly fusion crust-free fragment  (catalog #JW-50) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021].
Jbilet Winselwan-c
CM2 (Western Sahara); 25.1grams, mostly fusion crust-free fragment  (catalog #JW-59) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Oct. 2022].

++++++

Kainsaz
CO3.2 carbonaceous chondrite: 5.926 grams, partial slice with some crust; fell 1937; no rust (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018). CO3.2; fall.

++++++

Moss
CO3.6 carbonaceous chondrite (Ostfold, Norway; fell June 14, 2006, 10:20 hrs) (~1.5 x 1 cm irregular fragment); 1.447 grams. Received from Michael Farmer Meteorites; June 2015.
++++++

NWA 801
CR2 chondrite: Whole intact sample (~8 grams) from Royal Ontario Museum for destructive testing (dark brown exterior and interior) (ROM #53334).
NWA 801
CR2 chondrite: small intact piece – no evidence of fusion crust; 1.70 grams. From Royal Ontario Museum (ROM #M53334).

++++++

NWA 1465
CV3- anomalous; found 2001; 3.5 gram end cut (~1 cm x 1 cm). Purchased from Meteorite Exchange – April 2022 (their ID: 1465-12).  Classification and mineralogy (A. Greshake, MNB and M. Kurz, Kurz): a type 3 carbonaceous chondrite with chondrules, mineral fragments, and refractory objects in a compact anhydrous matrix of Fe-rich olivine  (Fa43-57.6), Ca-rich pyroxene, enstatite, forsterite, troilite, magnetite,  FeNi-metal, and weathering products; olivine, Fa5.5 (range Fa0.4-41.9);  pyroxene, Fs2.8 (range Fs0.8-5.5); shows a strong foliation defined by  flattened chondrules and refractory objects; the sample contains cm-sized Ca,Al-rich inclusions and large inclusions of dark material (Greshake et al., 2003); oxygen isotope  composition of the bulk meteorite (R. Clayton and T. Mayeda, UChi): δ18O =  4.89‰, δ17O = 0.71‰; oxygen isotope composition of dark material,  δ18O = 13.08‰, δ17O = 5.83‰., is not in equilibrium with the host  meteorite. Shock stage, S4; degree of weathering, W3.
++++++

NWA 4502
CV3 (CVOx3); 12.6 gram double slice; one side polished; some oval chondrules and cracks or shock veins. Aerrolite Meteorites: With its shiny black exterior and dark brown interior, punctutated by large orange chondrules, this interesting carbonaceous chondrite looks very atypical from most members of its group”. Meteoritical Buletin description: Petrography: (T. Bunch and J. Wittke, NAU) Well-defined chondrules, chondrule fragments, and refractory inclusions set in a slightly weathered matrix. CAIs are represented by Type A (a few are very large, up to 32 mm in diameter) and Type C are common, as are AOAs. Type B CAIs are low in abundance however, melilite mantled (Type B1) and fosterite bearing type B CAIs are present. Modal analyses (vol. %): chondrules = 48; CAIs and AOAs = 14; matrix = 38. Geochemistry: (M. S. Sapah, ANU, and A. N. Krot, UHaw) The meteorite matrix consists of small crystals of ferroan olivine, sulfides, magnetite, Ni-rich metal, tiny nepheline crystals, and small irregularly shaped regions of Ca,Fe-rich silicates (pyroxenes ± andradite). Matrix olivine has Fa48-54 and ferrosillite and wollastonite contents of matrix pyroxenes are 11-19% and 46-49% respectively. Fayalite content of chondrule olivine is Fa2-39, and ferrosillite and wollasonite contents of chondrule pyroxenes are 1-2%. Classification: (M. S. Sapah and A. N. Krot) Carbonaceous chondrite (CV3). The sample is CV oxidized. The degree of shock is S2 and the weathering degree is W1. N(Aerolite Meteorites: May 2024).
++++++

NWA 5794
CO3 carbonaceous chondrite: 4.855 grams, partial slice with some crust; no rust (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018). CO3; S2; W1.
++++++

NWA 7317
CR6 carbonaceous chondrite: S2, W0; 2.846 grams, partial slice with some crust; no rust (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018). CR6; S2; W0/1.
++++++

NWA 10256-a
CR2: part slice, some rust: 0.9 grams (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWA 10256-b
CR2: part slice, some rust: 0.55 grams (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWAn 10256-c-e
CR2 chondrite; some rusty chondrules; 2 double slices, 1 has fragmented; 9.8 grams total. Meteoritical Bulletin: A saw cut reveals many distinct chondrules of variable size set in a dark-gray groundmass. Largest chondrule up to 3 mm in diameter; a few, very small CAIs are visible in the hand specimen. Petrography: Microprobe examination of a polished mount shows numerous unequilibrated chondrules, many porphyritic, some with irregular shapes. Apparent mean chondrule size 625±325 μm (in microprobe section), n=18. Fine grained matrix with abundant, finely disseminated metal and sulfide makes up approximately 40% of this meteorite. Weathering grade: low. Shock stage: low. Geochemistry: Olivine Fa5.4±3.6, Fe/Mn=55±30, Cr2O3=0.10±0.06 wt%, n=21, low-Ca pyroxene Fs3.3±5.0Wo1.6±1.4, Fe/Mn=19±13, n=9. [Aerolite Meteorites; received January 2024].

++++++
NWA 14743
CVox3: double slice; fusion crust/exterior surface on one edge; 14.2 grams. Meteoritical Bulletin: Physical characteristics: These specimens are noteworthy because of a strong preferred dimensional orientation of elongate, amoeboid to irregularly-shaped CAI. Petrography: Relatively large, well-formed, mostly spherical chondrules (apparent diameter 2170±670 µm, N = 27) are set in a fine grained matrix (~35 vol.%) containing Cr magnetite, pentlandite and rare taenite. Very fine grained CAI examined by electron microprobe analysis contain hedenbergite, aluminous diopside, and calcite. Geochemistry: Olivine (Fa7.1±4.9, range Fa0.4-13.4, N = 5), low-Ca pyroxene (Fs0.7±0.1Wo3.3±2.2, range Fs0.6-0.8Wo0.9-5.2, N = 3), diopside (Fs1.2±0.2Wo41.2±1.1, range Fs1.0-1.3Wo42.0-40.4, N = 2), magnetite (Cr2O3 0.3-1.6 wt.%, N = 7). Shock stage: S2. Weathering grade: low. [The Meteorite Exchange, April 2023].

+++++++

NWA 15337
CK3 carbonaceous chondrite: double slice, one side polished; fusion crust/exterior surface on all side; 20.6 grams. Meteoritical Bulletin: Petrography: Well-formed unequilibrated chondrules (apparent diameter 950±260 μm, N = 26) containing Cr-magnetite are set in a fine grained matrix containing Cr-magnetite and pentlandite. Some augite grains are intergrown with calcite. A few very fine-grained CAI are present in the studied thin section. Geochemistry: Olivine (Fa21.3±12.0, range Fa0.3-35.1, N = 7), augite (Fs14.4±5.8Wo48.3±2.9, range Fs8.0-19.5Wo44.9-50.1, N = 3), low-Ca pyroxene (Fs5.50±6.1Wo5.2±1.0, range Fs0.9-12.4Wo4.5-6.4, N = 3), Al-Ti-diopside in CAI (Fs1.5Wo47.5, Al2O3 12.0 wt.%, TiO2 1.2 wt.%), plagioclase (Ab52.9An45.9Or1.2; Ab70.5An26.7Or2.8; N = 2), magnetite (Cr2O3 2.7-3.3 wt.%, N = 4). Shock stage: S2. Weathering grade: low. [The Meteorite Exchange, April 2023).



<125 µm powder heated in vacuum at DLR to various temperatures, colled and shot in vacuum: 25°C, 100°C, 200°C, 300°C, 400°C, 500°C, 600°C, 700°C. Files are huge due to 1-2 cm-1 resolution.

++++++

+++++++++++++++++++++++++++++++++++++++++++

16.6.2a. Carbonaceous chondrites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

MJG001
Meghei
(CM2) <32 Original. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 200 mg) of fine powder (<32 μm)].

MGJ002
Meghei (CM2) 32-100 ground. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 200 mg) of fine powder (32-100 μm)].

MGJ003
Alais – (CI); Me – 1486. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 200 mg) of fine powder (<150 μm?)].

MJG004
Orgueil – (CI). (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 50 mg) of fine powder (<150 μm?)].

MJG005
Allende – CV3; Me – 2632. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MGJ006
Mokoia – CV2; ASU #75.1. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MJG007
Warrenton CO3. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MJG008
Vigarano – CV3; Me – 782. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MJG009
Murchison – CM2; Me – 2641. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<180 μm)].

MJG010
Murray – CM2; ASU #635.2. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MJG011
Nogoya – CM2; Me – 1680. (“Gaffey Meteorite Inventory. Carbonaceous Chondrites (box 1)”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MJG191 
Leoville #821 – CV3.0 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”). [small amount (maybe 400 mg) of fine powder (<150 μm?)].

MJG226
“Murchison C2 Me 2641 2.6 gm” (two fragments and some powder). (Gaffey unlidded box – unlabelled). [2.6 grams of sample, largely as two pieces with a bit of abraded off powder].

++++++++++++++++++++++++++++++

16.6.3a. Carbonaceous chondrites on loan from NASA JSC (Pierre Hudon)

Samples provided to University  of Winnipeg for spectral measurements (and returned).

Meteorite
Class


MET01070 
CM1

PCA02012 
CM2


MET00639 
CM2

WIS91600
CM2

QUE97077
CM2

QUE99038
CM2

ALH82101
CO3

FRO95002
CO3

MET00737
CO3

FRO99040
CO3

QUE93744
CV3

MET01149
CK3

ALH85002
CK4

PCA91470
CK4

DAV92300
CK4

EET83311
CK5

PCA91082
CR2

QUE99177
CR2

MET00426
CR2

MAC87320
CR2

EET87770
CR

PCA91467
CH



++++++++++++++++++++++++++++++++++++++++

16.6.4a. Samples on loan from Arizona State University (Jim Bell) – April 2011 – rescued from Cornell

JFB-01
"Allende 0.5-2.0 mm ("ALL")"; 500-2000 micron grain size (CV3).

JFB-02
"Allende (NMNH 3658) ("ALL")" unsorted powder (0- >2000 microns) (CV3).

JFB-03
"("ALLENDE")" – looks like sorted medium-grained powder (75-250 microns) (CV3).
JFB-04
"Allende" ("ALL") – looks like very fine-grained powder (<150, mostly <45 microns) (CV3).

JFB-11
"Orgueil <150 μm" (CI1).
JFB-21
"Murchison >150 μm ("MUR")" (CM2), actually <250 µm, most frequent size: 45 µm.
JFB-22
"Murchison #5377 ("MUR")" – looks like sorted coarse-grained powder (CM2). Maximum size: >2 mm, minimum size: 45 µm (4 grains at 3.35 mm, 4 grains at 2.8 mm, 3 grains at 2.36 mm, 10 grains at 2 mm, most grains at 180 µm).
JFB-23
"Murchison crushed 5/21/77 ("MUR")" – looks like fine-grained powder (CM2).
Mixtures of coarse + fine powders characterized.

++++++++++++++++++++++++++++++++

16.6.5a. Samples on loan from the Planetary Science Institute (Vishnu Reddy)

Allende
Saw-cut fines (<25 µm) (CV3).
Allende-VR
2.85 gram stone with discontinuous fusion crust.
+++++++++++++++++++++++++++++++++++++
16.6.6a. Samples from the Royal Ontario Museum (Kim Tait, 2012)
(i) Samples provided for “destructive” testing

Murchison
CM2 carbonaceous chondrite. Three pieces with saw cut/broken faces, one with fusion crust. 10.39 grams total weight. ROM #M52364. To be consumed; received in 2012.
Murchison
CM2 carbonaceous chondrite. 1.76 grams of “clean” saw-cut powder (ROM ID: M52364); can be consumed; received Nov. 18/14.

Murchison
CM2 carbonaceous chondrite. 7 grams of “contaminated” saw-cut powder (ROM ID: M52364); “probably contaminated with SiC/Al2O3, otherwise fine”; can be consumed; received Nov. 18/14.

Murchison
CM2 carbonaceous chondrite: subsample M31371 – thin section billet. To be used for non-destructive testing (received September 5, 2017).

Murchison
CM2 carbonaceous chondrite; from Royal Ontario Museum (their sample ID ROMESM52364); 2 double slices; 4.96 grams total weight; each ~2 mm thickness, and 1-2 cm in diameter; received December 3, 2021; for single grain/OREx sample return analysis methods development. Smaller piece = “Murchison-ROMa; bigger piece = “Murchison-ROMb”. Murchison-ROMa has sticker on one side: “M52364”).

NWA 2210
CH3 chondrite (15-20 vol.% metal). End slice (~3 grams; ~1 x 0.5 cm face) (ROM ID: M53138); dark/black saw-cut face, no real evidence of rust except along a partial fracture and on exterior surface; received Nov. 18/14 (for non-destructive analysis except powdering).
NWA 2210
CH3 chondrite (15-20 vol.% metal). End piece with three saw-cut faces (ROM #M53138) (received Nov. 2015).

SaU 290
CH3 chondrite (~15 vol. % metal). Two interior slices (1 piece: ~2 grams; ~2 x 1 cm face with a fracture cross-cutting the sample; dark gray interior with abundant metal flecks (ROM ID: LM52935); second piece: ~1 gram; ~1 x 0.5 cm face; has some areas with less abundant metal (ROM ID: LM52935)). Has minor interior rust, a few fractures, fusion crust along edge of slice; also has metal-rich and metal-poor enclaves; smaller piece seems to have more rust; received Nov. 18/14. (for non-destructive analysis except powdering).
NWA 10273
CK4 chondrite (Royal Ontario Museum #M57066); 6.19 gram end slice.

Murchison:  Spectra of spots on fusion crust and saw cut faces of three pieces, powders of small subsamples; spectra of a single progressively crushed sample.
(ii) Samples measured on-site at the Royal Ontario Museum – October 2016

Note: saw-cut powders obtained during dry-cutting (no lubricating fluids) of meteorites with a diamond wire saw.

DaG 005
CO3; 2 sided slice (saw-cut faces) (ROM # LM53582).

Murchison 
CM2; slice plus chips + saw-cut powder

NWA 739
CH3; 1 end slice and 2 tiny fragments (ROM #M48977).

NWA 2044
CV3; various end slices and fragments (1 end slice usable) (ROM #LM52958).

NWA 2210
CH3; 2 thin sections; 1 capsule of powder, 1 end slice (ROM #M53138).

NWA 2388
CK6; 1 slice and 1 end cut (ROM #LM52578).

NWA 3081
CK5/6; small 2-sided slice (ROM #M56015).

NWA 3118
CV3; multiple slices and saw-cut powder (ROM #LM51898).
NWA 4502
CV3; palm-size end slice with blacker altered enclaves, and saw-cut powder (ROM #M57083).

NWA 3133
CV7 (was achondrite, primitive). 1 end slice (ROM #M56488) (Meteoritical Bulletin : 46 vol.% olivine (Fa22), 28 vol.% orthopyroxene (Fs19Wo3), 7% plagioclase, 5% Cr-diopside, 4% merillite, 5% metal, 3% chromite, 2% troilite). 

(iii) Samples provided for use on ManitobaSAT – April 2019

Murchison
CM2: ROM #M25364; 1.74 grams; saw-cut powder.

(iv) New CCs for typing from the Royal Ontario Museum (Jordan Poitras, Kim Tait – December, 2017).

From David Gregory collection – had not yet been given official designation. Designations provided by Veronica DiCecco – Dec 20, 2021.
ROM #
Tentative type

NWA 14509
CV3
(ROM ID: LM58160 (CR or CV). S1, W2. 
Allende
CV3 - M29173 (M29171?) - Allende
NWA 801
CR2 – ROM ID: M53334
NWA 4502
CV3 – ROM ID: M57083

+++++++++++++++++++++++++++

16.6.7a. Samples from the Smithsonian Institution via Neyda Abreu (December 2019)
Samples provided for “destructive” testing

EET 92062,6
CR2; chip, 0.495 g.

EET 92107,0
CR2, chip, 0.466 g.

EET 92105,8
CR2, chip, 0.454 g.

+++++++++++++++++++++++++++++++
16.6.8a. Samples from NASA Astromaterials Facility (for destructive testing) – July 4, 2023

PCA 82500,54
CK3 chondrite; 1.132 grams, ~10 small chunks. Physical Description: Carol Schwarz: This specimen is very unusual looking. It is extremely fragmented with numerous cavities, some extending through the thickness of the sample. The cavities were filled with ice and snow when the sample was removed from the freezer. Several patches of fusion crust are present. The exterior surfaces are a dark gray color with the fresher areas exhibiting a light gray to yellowish color. Inclusions (chondrules?) have been exposed on the exterior surface. The interior contains much white evaporite deposit along with areas of yellowish weathering residue. A dark gray fine-grained matrix is visible in less weathered areas as are minute metal flecks and a few yellowish dots of oxidation. Dimensions: 7 x 5 x 2.8 cm. Petrographic Description: Brian Mason. The section snows a single porphyritic olivine chondrule, diameter 3.6 mm, in an aggregate of turbid anhedral olivine grains averaging 0.1 mm. Small amounts of troilite and nickel-iron are present, the nickel-iron being largely weathered to brown limonite. Microprobe analyses gave olivine composition Fa31; no pyroxene was found, but occasional grains of plagioclase ranging in composition from An20 to An40 were analyzed. The meteorite is classified as an LL6 chondrite. Writeup from AMN 41(1): PCA 82500: reclassification: Currently a CK5, but should be a CK3. The observations supporting the low petrologic grade include (1) lack of ilmenite exsolution rom magnetite, a property typically seen in type 3 CKs and (2) olivine zoning observed in BSE within the largest chondrule in the type section. Taken together, these suggest classification as a type 3. Weathering grade: Be. 
MIL 15328
CR2 carbonaceous chondrite; 1.070 grams – single chip. Meteoritical Bulletin description: Macroscopic Description - Cecilia Satterwhite: 90% black fractured fusion crust covers the exterior surface; abundant fractures penetrate the surface; light colored and weathered inclusions/chondrules are visible on the exterior surface. The interior is a dark gray to black matrix with abundant inclusions/chondrules of various sizes and colors, some are weathered; the meteorite is heavily weathered in areas along the fractures, has a crumbly texture and some rusty areas. Thin Section Description (,2) - Cari Corrigan, Tim McCoy, Nicole Lunning: The section exhibits a range of chondrule sizes (500 micron to 2 mm), that are well-defined and metal-rich along with CAIs in a dark matrix of FeO-rich phyllosilicate. Polysynthetically twinned pyroxene is abundant in chondrules. Silicates are unequilibrated; olivines range from Fa1-33, with most Fa0-2, and pyroxenes from Fs2-4Wo1. The meteorite is probably a CR2 chondrite.Weathering grade: B. Fracturing: B/C. From NASA Astromaterials Facility (July 2023).
+++++++++++++++++++++++++++++++

16.6.9a. Samples on loan from Universitat Muenster – Markus Patzek  (April 2025)
Flensburg
CI-ungrouped; 2019 fall. 0.4 gram irregular chip (fell off during cutting). From Markus Patzek at University of Muenster. Meteoritic Bulletin description: A meteorite with a total mass of 24.5 g (roughly 3.7 × 3.5 cm in size) was recovered one day after the fireball event. The rock has a very fresh black fusion crust showing contraction cracks and a thin layer of brownish secondary fusion crust on several patches where the primary crust has been broken off. The meteorite has a bulk density of 1.984 g/cm3. Petrography: (M. Patzek and A. Bischoff, IfP): Rounded to ellipsoidal relict chondrules (0.05 to ~1 mm in apparent diameter) and clusters of sulfide and magnetite grains are set in a dark, fine-grained matrix. The most abundant phases are different phyllosilicates and S-bearing phase(s) (probably tochinilite). The relict chondrules are free of any anhydrous silicates (such as olivine and pyroxene), contain abundant phyllosilicates and carbonates, and are often surrounded by sulfide laths. Troilite, pyrrhotite, and pentlandite were identified as sulfides. Carbonates occur as calcites, Mn-bearing dolomites, and a Na-rich phase. The mean apparent size of altered chondrules is ~150 µm. Geochemistry: (M. Patzek and A. Bischoff, IfP): No olivine and pyroxene could be identified and analyzed. Defocused beam microprobe analyses (n = 135) revealed a bulk composition (in wt%) of: O: 32.0; Na: 0.29; Mg: 10.7; Al: 1.04; Si: 11.7; K: 0.04; P: 0.12; S: 2.04; Ca: 1.15; Fe: 16.0; Co: 0.03; Ti: 0.05; Cr: 0.25; Mn: 0.15; Ni: 0.85; Total: 76.3. O-isotopes (A. Pack; UGött): The oxygen isotope compositions of three analyzed fragments of Flensburg are: δ17O = 0.0806; -0.73023; -0.57844 ‰ and δ18O = 5.3032; 3.0272; 3.2993 ‰, Δ17O = -2.677; -2.304; -2.294 ‰ (relative to a reference line with a slope of 0.5305). The data are within the 16O-rich part of the field for CM chondrites. Classification: Carbonaceous chondrite (C1-ung, W0). This meteorite is distinct from CM chondrites for the following reasons: chondrule apparent size (150 µm) is significantly different from that in CM chondrites (~270 µm), an heavily-altered CM would have a δ18O-rich composition compared to CM2 chondrites, Zn abundance (150 ppm) is too low for a CM (200 ppm without significant variations).
++++++++++++++++++++++++++++++++++++++++

16.6.10a. Samples on loan from Universitat Muenster – Jermome Gattacceca (Universite Aix-Marseille III, CEREGE  (May 2025)
Oued Chebeika 002
CI1 chondrite. 0.225 g from Jerome Gattacceca – CEREGE. Meteoritical Bulletin description: Physical characteristics: Black, friable irregular stones. Whitish grains up to mm size are visible at the surface. Some fragments display fusion crust. Broken surfaces show a black interior with visible iron sulfide grains. Petrography: (J. Gattacceca, B. Devouard, CEREGE) Observation of a polished section show a groundmass of fine-grained phyllosilicates with abundant magnetite and iron sulfides. Chondrules or their pseudomorphs were not observed. Magnetite is present as framboids and plaquettes. Pyrrhotite is present as euhedral grains to 30 µm. Other minerals: carbonates (ferriferous dolomite) to 50 µm, Ca-phosphates. The meteorite contains clasts to 200 µm that are distinguished from the groundmass by variable opaque mineral content. X-ray diffraction of a powdered 10 mg sample (D. Borschneck, CEREGE) confirms the mineralogy determined by optical and backscattered electron observations, with the presence of the following minerals: clay minerals, magnetite, pyrrhotite, and minor pentlandite, dolomite, and apatite. X-ray diffraction of the clay fraction indicates smectite and serpentine. Magnetic susceptibility log χ (× 10-9 m3/kg) = 4.83, measured on a 32 g stone, is in the upper range of other CI chondrites, most similar to that of Orgueil that has log χ = 4.78±0.05 (n=9) Rochette et al., 2008, and close to the value measured for Ryugu material (Maurel et al., 2024). This magnetic susceptibility value indicates a magnetite content of about 10 wt%. Geochemistry: Oxygen isotopic composition (D. Au Yang, J. Gattacceca, CEREGE) from analysis of a 3.40 mg bulk sample is δ17O=8.81‰, δ18O=15.34‰, Δ17O=0.83‰ (slope 0.52, analytical uncertainties 0.115‰, 0.062‰, 0.005‰ respectively). Defocused electron microprobe analyses of the matrix: analytical totals 81.8±4.9 wt%, SiO2 34.0±2.5 wt%, MgO 22.0±1.6 wt%, FeO 16.0±1.2 wt%, Al2O3 2.35±0.33, Na2O 1.03±0.24, NiO 1.74±0.50, S 3.81±1.55 (n=3). Classification: Carbonaceous chondrite (CI1). The CI group is supported by the mineralogy and oxygen isotopic composition. Type 1 designation supported by the absence of anhydrous silicates.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.6.6b. XRD DATA: Samples from the Royal Ontario Museum (Kim Tait, 2012)
XRD acquired at the ROM; peaks identified at University of Winnipeg.

DaG 005 (LM53582) - slab

Murchison (M52364) – slab

NWA 739 (M48977) – slab; ran twice in different positions, no patter, Sample likely too small. Not enough material to take for powder. – cannot complete.

NWA 2044 (LM52958) – saw-cut fines

NWA 2210 (M53138) – slab? Ran multiple time; same result of poor pattern.

NWA 2388 (LM52578) - slab

NWA 3081 (M56015) - slab

NWA 3118 (LM51898) – slab

NWA 4502 (M57083) - slab

++++++++++++++++++++++++++++++++++++++++++++++++++++

16.6.7a. (or 16.6.15?) Carbonaceous chondrites – RELAB archive
Name
Petrologic type/subtype

CI chondrites

Alais
CI1

Ivuna
CI1
Orgueil
CI1
++++++++++++++++++++++++++++++++++++++

CM chondrites
A-881280
CM2
A-881594
CM2
A-881955
CM2
ALHA 81002
CM2
ALH 83100
CM2.1
ALH 84029
CM2
ALH 84033
CM2
ALH 84044
CM2
ALH 85013
CM2
Bells
CM2
Boriskino
CM2
Cold Bokkeveld
CM2.2
EET83250
CM2
EET83389
CM2
EET90021
CM2
EET90043
CM2 or C3 ungrouped
GRO85202
CM2
LEW87016
CM2
LEW87022
CM2
LEW87148
CM2
LEW88001
CM2
LON94101
CM2
MAC88101
CM2
MAC88176
CM2
Mighei
CM2
Murchison
CM2.5/2.7
Murray
CM2.4-2.5/2.6
Nogoya
CM2.2
QUE93005
CM2.1
Y74642
CM2
Y74662
CM2
Y791191
CM2
Y791198 
CM2.4/2.6
Y791824
CM2
Y793585 
CM2
Y82042
CM1-2

++++++++++++++++++++++++++++++++++++++++++++

CK chondrites

A-882113,86
CK4
ALH85002
CK4
EET92002
CK4
Karoonda
CK4
Y693
CK4-5
EET87256 
CK5
EET87507
CK5
Y82102
CK5
Y82103
CK5
EET87860
CK5-6
A-881551 
CK6
LEW87009
CK6
+++++++++++++++++++++++++++++++

CR chondrites

GRO95577 
CR1
A-881595
CR2
EET87747
CR2
EET87770
CR2
EET92042 
CR2
GRA95229
CR2
MAC87300
CR2
Renazzo
CR2
Y793495
CR2
LEW85332
CR2-ungrouped
++++++++++++++++++++++++++++

CO chondrites

ALH77307
CO3.0
A-881632
CO3.1
Y82050
CO3.1
Kainsaz
CO3.1/3.6
Y791717
CO3.3/3.6
Felix
CO3.2/2.6
Ornans
CO3.3/36
ALH85003
CO3.4/3.5
Lance
CO3.4/3.6
ALH77003
CO3.5/3.6
ALH83018
CO3.5/3.6
Warrenton 
CO3.6/3.7
+++++++++++++++++++++++++++++++++++++++++++

CV chondrites

NWA3118 
CV3
ALHA81003 
CV3.0-3.1
ALH84028,84 
CV3 OxA
Allende 
CV3.2-3.3 OxA
Mokoia 
CV3.0-3.2 OxB
Grosnaja 
CV3.2-3.3 OxB
ALH85006 
CV3 Ox
TIL91722 
CV3 Reduced
Leoville 
CV3.0 Reduced
Vigarano 
CV3.2-3.3 Reduced
Coolidge 
CV3.8 Reduced
Y86751 
CV3
+++++++++++++++++++++++++++++++

C-ungrouped and ATCCs

DaG430 
C3-ungrouped
MCY92500 
C2-unassigned
Tagish Lake 
C2- unique
WIS91600 
C2 – ungrouped, heated
EET83355  
C2-heated
MAC88107 
CM2 or CO3-heated
Kaidun 
C breccia
EET87522 
CM2
EET96029 
CM2
LEW90500  
CM2
MAC88100 
CM2
GRO95566 
CM2 or C2-ungrouped
A-881334 
CM2-heated
A-881458 
CM2-heated
A-881655  
CM2-heated
Y793321 
CM2-heated
Y82054 
CM2-heated
Y82098 
CM2-heated
Y86695 
CM2-heated
Dho225  
CM-heated
Dho735  
CM-heated
EET96010  
CM-heated
LEW85311  
CM-heated
PCA91008  
CM-heated

PCA91084  
CM-heated
Y794080  
CM-heated
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.8a. Lab-heated carbonaceous chondrites – on loan from Takahiro Hiroi – Brown University and Mike Zolensky (NASA-JSC)
Samples whose spectra were reported by Hiroi et al. (1995-1997). Ivuna spectra reported for unheated and 100-700°C in 100°C increments. Murchison spectra reported for unheated and 400-1000°C in 100°C increments. Some samples provided to PSF for spectral measurements, including splits of original powders (with various abundances of sample (generally too low for Ivuna), as well as fragments of Murchison embedded in epoxy butts for 1200, 1315, and 1400°C heating experiments).
(i) Heated Ivuna (CI1) powders
100°C
Only a few tiny grains

200°C
Only a few tiny grains

300°C
Vial empty?

400°C
Vial empty?

500°C
Only a few tiny grains

600°C
Vial empty?

+++++++++++++++++++

(ii) Heated Murchison (CM2) powders
400°C
~200 mg of sample (<63 µm).

500°C
~200 mg of sample (<63 µm).

600°C
~100 mg of sample (<63 µm).

700°C
~150 mg of sample (<63 µm).

800°C
~150 mg of sample (<63 µm).

900°C
~100 mg of sample (<63 µm).

1000°C
~100 mg of sample (<63 µm).

+++++++++++++++++++

(iii) Potted butts containing various polished pieces of heated samples

Murchison heated to 1200°C – potted butt with embedded fragments
Murchison heated to 1315°C – potted butt with embedded fragments
Murchison heated to 1400°C – potted butt with embedded fragments
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.9a. Samples from Kurt Mengel – Technische Universitat Clausthal (received July 2014)
For Parr bomb heating experiments

CM2
Jbilet Winselwan
2 grams of powder (vial label: 1-420, 1-644, 1-525; 07.07.14 2 g); sourced from Eric Twelker@meteoritemarket.
+++++++++++++++++++++++++++++++++++++++++++++++++
16.6.10a. Samples from Cosette Gilmour/Chris Herd – University of Alberta – Tagish Lake
(a) Two subsamples of Tagish Lake ungrouped carbonaceous chondrite received – Sept. 2014 for spectroscopy.
Collection number

Weight/description
MET11611/P-10a/11/p3
0.237 grams – crushed and sieved bulk powder.

MET11611/P-4/2


0.176 grams – crushed and sieved bulk powder.

(b) Samples received Jan. 28, 2016:

TL4
<45 µm powder (few mg)

TL5b
<45 µm powder (few mg)

TL10a
<45 µm powder (few mg)

TL11h
<45 µm powder (few mg)

TL11i
<45 µm powder (few mg)

++++++

TL4
unsorted powder; 38.6 mg

TL5b
unsorted powder; 37.1 mg

TL10a
unsorted powder; 29.5 mg

TL11h
unsorted powder; 22.1 mg

TL11i
unsorted powder; 17.5 mg

++++++

TL4 
TGA residue; 14.3 mg

TL5b
TGA residue; 9.8 mg

TL10a
TGA residue; 11.4 mg

++++++++++++++++++++++++++++++++++++++
(c) Samples received December 10, 2025

TL5A


0.232 grams – fine powder

MET11611/P-7/7


~0.3 grams - fine powder

MET11611/P-10a/16-1
~0.3 grams - fine powder

MET11611/P-6/7


~0.3 grams – fine powder

++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.6.11a. Samples from Mike Zolensky at NASA JSC – received September 2014

Samples that could be found from heating experiments done in the 1990s.
(i) Ivuna
Microprobe disc with five small (~1 mm diameter) grain assemblages for samples heated to 300, 400, 500, 600, and 700°C.

(ii) Murchison
a. Potted butt for probe analysis – 1" diameter epoxy disc with 8 ~4 mm diameter pieces: 1200°C heated sample.


b. Potted butt for probe analysis – 1" diameter epoxy disc with 5 ~3 mm diameter pieces: 1315°C heated sample.


c. Potted butt for probe analysis – 1" diameter epoxy disc with 2 ~5 mm diameter pieces: 1400°C heated sample.


d. Aluminum foil wrapped sample – "Murchison powder annealed at 575°C". Consists of minor amount of very fine-grained reddish-brown powder.

(iii) Small box labelled "Clayton" – 6 vials.


1. "Murchison starting material. RNC. 1". ~25 mg of fine-grained dark powder.


2. "Murchison RMT-100°C. RNC. 2." – Only a few dark grains in vial.


3. "Murchison Residue 100-300°C. RNC. 3." - ~15 mg of fine-grained dark powder.


4. "Murchison Residue 300-440°C. RNC. 4." - ~15 mg of fine-grained dark powder.


5. "Murchison Residue 440-600°C. RNC. 5." - ~15 mg of fine-grained dark powder.


6. "Murchison Residue 600-700°C. RNC. 6." - ~10 mg of fine-grained dark powder.

+++++++++++++++++++++++++++++++++++++++++
16.6.12a. Carbonaceous chondrites on loan from the University of Western Ontario (Matt Izawa)
These are the meteorites measured at HOSERLab for Matthew Izawa.
Allende
CV3; unsorted powder.

++++++
Subsamples of Tagish Lake ungrouped C chondrite:

pb-02 20.050


Unsorted powder.

pm-05


Unsorted powder

tl-d 20.050 pb-02 chip

Chip

mg-02 tl-d white label

Unsorted powder

pm05 <18 mesh


Sorted powder
tl mg02 yellow dot vial
Unsorted powder

+++++++++++++++++++++++++++++++++++++++
16.6.13a. Carbonaceous chondrite on loan from U of Arizona (Vishnu Reddy) – July 2017

Mukundpura
CM2
Provisional/working name was Jaipur– new fall? – fell June 6, 2017. Official name: Mukundpura.
+++++++++++++++++++++++++++++++++
16.6.14a. Samples from NASA Astromaterials facility- two CR chondrites - January 2018 (for Neyda Abreu)
EET 92161
CR2
Specific:9; Parent: 0; weight 0.513 g; larger fragments

GRA 06100
CR2
Specific: 91; parent: 76; weight: 0.543 g.

+++++++++++++++++++++++++++++++++++++++++++++++
16.6.15a. Carbonaceous chondrites from Darby Dyar, Mt. Holyoke College, for SSERVI, received July 2021

ALH 83102,101A
CR2: <63 µm “METAL” (magnetic fraction; ~250 mg); 63-125 µm (~250 mg); <25 µm (~500 mg).
MIL 090001, 115A
CR2; <63 µm “METAL” (magnetic fraction, ~150 mg); 63-125 µm (~250 mg); 63-125 µm (~200 mg).

++++++++++++++++++++++++++++++++++++++++++++
16.6.16a. MET 00432 carbonaceus chondrite – spectra from Tomoki Nakamura – Tohoku University (Dec. 8, 2021)

MET 00432
Ungrouped carbonaceous chondrite, may have similarities to Tagish Lake. Spectra of two relatively flat surfaces on chip.
++++++++++++++++++++++++++++++++++++++
16.6.17a. Carbonaceous chondrite from Devin Schrader – Arizona State University

a. Tarda meteorite on loan from ASU for spectroscopy – received December 15, 2021
Tarda-chip
“Tarda ASU 2149: chip: 0.2384 grams; ~0.5 cm x 1 cm – fusion crust on at least one side; mostly FC free”.

Tarda-powder
“Tarda ASU 2149; 0.51 grams for VIS-NIR etc.

Received 2024 (as slabs/chips, then crushed):

Tagish Lake: 
ASU 1684-1

Tarda:
ASU 2149-4

WIS 91600,92

MET 00432,19

+++++++++++++++++++

b. Tarda, Tagish Lake, MET 00432, and WIS 91600 – received April 2024

Tarda
ASU2149: with fusion crust, do not crush


1) 0.0305 g – Chip has some fusion crust, please do not crush.



2) 0.1484 g - Chip has some fusion crust, please do not crush.


ASU2149: no fusion crust, feel free to crush



3) 0.1049 g - No fusion crust, free free to crush.



4) 0.5399 g - No fusion crust, free free to crush.


Note: Tarda chip with you: The 0.2384 g chip used in previous work. Feel free to combine with chips 3+4 if you want to crush all three. Or you can just crush chip 4. Up to you. Total can crush: 0.8832 g.

Tagish Lake
ASU1684: No fusion crust. Feel free to crush. From some larger piece that the mount I studied in our review paper was from, so we can directly compare.



1) 0.4314 g



2) 0.0804 g



3) 0.0349 g



Total to crush: 0.5467 g

MET 00432,19
No fusion crust, feel free to crush



1) 0.6172 g (single piece, looks to maybe have white evaporate deposits on the surface?)

WIS 91600,92
No fusion crust, feel free to crush



1) 0.5010 g (one big chip of 0.4504 g, plus small chips).

+++++++++++++++++++++++++++++++++++++++++
16.6.18a. Irradiated and unirradiated Murchison powders from Danny Glavin (2017)

Twl aliquots of Murchison (0.5 gram fragments of USNM 5454 and 6550), <150 µm powders. Sealed in partial vacuum (15 mTorr air), one irradiated with gamma radiation from a 60Co source (2 million years gamma exposed) at -50°C. 

Murchison 5440/6650 unirradiated

Murchison 5440/6650 irradiated

++++++++++++++++++++++++

16.6.18d. Spectral data: Irradiated and unirradiated Murchison powders from Danny Glavin (2017)

Twl aliquots of Murchison (0.5 gram fragments of USNM 5454 and 6550), <150 µm powders. Sealed in partial vacuum (15 mTorr air), one irradiated with gamma radiation from a 60Co source (2 million years gamma exposed) at -50°C.

ASD and Vertex 70 spectra. ASD: i=30°, e=0°; 350-2500 nm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171030 murchison gamma]. Vertex 70: i=30°, e=0°; 1.5-16 micron; 6 cm-1 resolution; 8936 spectra averaged; Bruker Vertex 70 [Directory: 171030 murchison gamma].

Murchison 5440/6650 unirradiated (Murchison 002)
PSF ASD: 171030a00002.asd; Vertex 70: 002 murchison not exposed. dpt
Murchison 5440/6650 irradiated (Murchisn 001)
PSF asd: 1701030a00001.asd; Vertex 70: 001 murchison gamma exposed. dpt
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.7a. Ordinary and unsorted chondrites

16.7.1a. Ordinary and unsorted chondrites available at the University of Winnipeg

Aba Panu

L3 chondrite; 8.7 gram double slice; no rust (fall). Meteoritical Bulletin: Most stones are greyish green and show areas of rounded to angular light-colored clasts. Largest clast (5 × 2 cm) is angular, fine-grained, and achondritic. Observations from multiple slices show that clasts constitute roughly <10 areal%. Petrography: Visually the cut surfaces are dominated by a gray matrix, studded with well-developed chondrules and chondrule fragments. Some chondrules to 4 mm but the majority are 0.1 to 1 mm across. Observations on an 8 × 7 cm slab shows the following clasts: L6 (3 × 1 cm); L5 (1.5 × 1 cm); and sub-rounded 1-cm dark clast with sparse 200 micron chondrules. Shock veins are rare. Metal and sulfide occurs as: fined grained spheres in the matrix; armoring chondrules; and, occasional lumps to 5 mm. Petrographic observations show a range of chondrule types dominated by PO, POP, RP, PP, and BO. Particularly evident in thin section are BO and PO chondrules with reddish purple (in plain polarized light) glass that is isotropic under crossed polars. The silicates are extensively shocked with olivine showing mosaicism and PDFs. SEM observations show that much of the metal/sulfide in the matrix occurs as fine-droplets, veins, and melt pods. Large Fe-Ni grains are polycrystalline with each crystal showing a kamacite core, dark-etched martensitic inner rim, and outer Ni-rich rim. Troilite is dominantly single crystal, and occasionally polycrystalline. Sparse chromite grains. Geochemistry: (L. Garvie, ASU) Olivine Fa24.3±5.7, n=18, range Fa7.5-32.8. Mean Cr2O3 = 0.08, sigma-Cr2O3 = 0.07, range 0.02 to 0.3. FeO/MnO=55.8±12.6. Low Ca, pyroxene Fs17.0±11.6Wo2.0±1.9 range Fs2.4-49.2Wo0.3-6.0, n=17. High Ca pyroxene Fs8.7Wo49.2, n=1. Reddish purple, isotropic glass within BO and PO chondrules Or1.4±0.8Ab87.6±4.8, n=6, TiO2 to 1 wt%. Oxygen isotopes (K. Ziegler, UNM): analyses of three subsamples by laser fluorination gave, respectively, δ17O = 3.724, 3.625, 3.684; δ18O = 5.160, 4.980, 5.089; Δ17O = 1.000, 0.996, 0.997 per mil. Classification: Geochemistry and oxygen isotopic data consistent with L chondrite. Estimated petrologic type 3.6 based on Fa and Fs spread, and Cr2O3 content in olivine. L3, S4, W0. Shock stage: S4. Weathering grade: W0. The Meteorite Exchange: ABA-61 (received December 2022).
Aiquile

H5; fall – Nov. 20, 2016 – Bolivia; double slice, 11.6 grams. Meteorite Exchange description: Many pieces do contain darker clasts with the same makeup as the rest of the stone. These darker patches can be seen in many of the pieces offered here. Aiquile is moderately shocked and received an S3 stage when classified. As a witnessed fall it is a W0 in weathering which is the stage for the specimens we have for sale which are from a stone found quickly after the fall. Some of the Aiquile stones show isolated small dark inclusions and melt pockets some of these features are also seen among our pieces. Meteoritical Bulletin: Medium shock stage (S3), chondritic texture and mineralogy and mineral compositions of an equilibrated ordinary chondrite. Porphyritic olivine and radial pyroxene chondrules dominate. Geochemistry: Microprobe analyses show an equilibrated olivine and pyroxene composition of Olivine (Fa18.3±0.5; n=53), low-Ca pyroxene (Fs 15.7±0.7; n=37). Mean Cr2O3 of olivine is 0.048 wt.% for both matrix and clasts areas. Shock S3 based on undulatory extinction, irregular fractures of olivine. Most fragments show no brecciation, but some have slightly darker gray clasts with boundaries indiscernible under the microscope. Although both areas show identical composition, the darker areas show apparently well defined chondrules. Cathodoluminescence images also are very similar in the two areas. Some isolated melt pockets and small dark inclusions were observed. (catalog #AIQ-19) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – October 2022]. Shock stage: S3.
Bensour

LL6 chip; fall: 2002; 1.3 grams, some fusion crust. Medium grey, no rust. Meteoritical Bulletin: Very fine grained monomict breccia composed of olivine (Fa31.6, FeO/MnO = 60.0), orthopyroxene (Wo3.5Fs24.3, FeO/MnO = 36.6), clinopyroxene, and sodic plagioclase with subordinate Ni-rich Fe-Ni metal, troilite and chromite.  Sparse chondrules are present.   Aerolite Meteorites: May 2024.
Cherokee Springs

LL6 chondrite fall (from Smithsonian Institution – Tim McCoy). Provided for destructive analysis. USNM catalog number: USNM 1319 (chip; 2.1 grams).
Kilabo 

LL6 chondrite; Kilabo, Nigeria near Hadejia; fell July 21,2002; recovered same day; 23.5 gram double slice with minor amount of fusion crust; interior has some dark veins (thick dark shock veins), and a few minor rust spots; friable. [McCartney Meteorite Collection, purchased from OutofaBlueSky.com]; March 2012. Brecciated with thick black shock veins. Shock stage: S3. Weathering grade: W0. Samples HDJ17-02 (17.0 gram thick slice); HDJ15-9 (15.9 gram double slice); purchased from The Meteorite Market (April, 2025).
Kilabo-pl
Kilabo LL6 chondrite, Pulse-laser irradiated powder (~0.4 grams) by Jeff Gillis, Feb. 6/25 for 30 minutes.
MET060
Tulia(a)
H3-4 Chondrite: Tulia (a), Swisher Co., TX, USA (Mineralogical Research Co.; 2.5 grams; received 1987); end slice. See Palache and Lonsdale (1927).
MET061
New Concord L6 Chondrite: New Concord, Muskingum Co., OH, USA (David New Minerals; 13.2 grams); end slice. See Smith (1861) and Von Michaelis et al. (1969), and Wahl (1950).
MET062
Julesburg L3.6 Chondrite: Julesberg, CO, USA (Mineralogical Research Co.; 2.5 grams); end slice; received 1987. See Graham and Huss (1986).
MET063
Taiban (b) LL6 chondrite: Taiban (b), DeBaca Co., NM, USA (shocked) (Mineralogical Research Co.; 2.25 grams); end slice. Weathering grade: W3.
MET064
La Criolla L6 chondrite : La Criolla, Argentina (Robert A. Haag), intact specimen. See Meteoritics, 21, 0p.310 (1986).
MET065
Ozona H6 chondrite: Ozona, Crockett Co., TX, USA; (David New Minerals; 11.5 grams; received 1987) now a powder.

MET066
Chondrite: China (Jasper Rock and Jade – August 2008).

MET067
Chondrite: Sahara Desert, Morocco (Discovery Gemstones Ltd. – Edmonton, AB, Canada).

MET068
Chondrite, Morocco (Discovery Gemstones Ltd. – Edmonton, AB, Canada, #08D428; July 2009).

MET070
Stony (ordinary?) chondrite – cut piece; North Africa (33 grams); appears to be breccia with light-dark lithologies and large troilite nodule [David’s Displays, Tucson 2011 show].
NWA 753
R3.9 chondrite; slightly rusty ~1 gram fragment; ~1 gram of unsorted powder crushed from fragment; from Royal Ontario Museum (M52350) – October 2016. Shock stage: S2. Weathering grade: W2 (comparatively fresh).
NWA 869
L3-6 fragmental breccia: Northwest Africa near Tindouf, Algeria; found in 2000. Slice with apparent carbonaceous chondrite inclusion (Nature’s Own, Dec. 16, 2009 (“some fragments even include carbonaceous inclusions”). Has shock-darkened clasts and impact melt-rock clasts. Shock stage: S3. Weathering grade: W1. aka MET069: saw-cut powder from Royal Ontario Museum (Oct. 2016).

NWA 1668
R5 chondrite; slightly rusty ~2 gram fragment; from Royal Ontario Museum (M52351) – October 2016.

NWA 6135
LL3.8 chondrite; Northwest Africa; 79.5 gram polished double slice; found 2008; variable, but visible rust throughout; Shock stage: S2. Weathering grade: W3 [Aerolite Meteorites]; March 2020.
NWA 7676
LL3 (or LL3.5) chondrite; 7.6 gram double slice. One big enclave/clast; Meteoritical Bulletin description: Petrography: Relatively fresh specimen composed of closely packed, well-formed chondrules (0.3-2.7 mm, mean 1.8 mm in diameter) with a relatively low content of metal (some fresh and some partially altered). Olivine, orthopyroxene, clinopyroxene, sodic plagioclase, chromite, altered kamacite and troilite. Geochemistry: Olivine (Fa0.2-89.6; Cr2O3 in ferroan olivine 0.02-0.11 wt.%, mean 0.05 wt.%, s.d. 0.03 wt.%, N = 9), orthopyroxene (Fs2.4-22.1Wo0.3-0.9, N = 3), clinopyroxene (Fs3.9-8.9Wo40.7-45.2). Shock stage: S2; weathering grade: W1 (no visible rust). Meteoritical Exchange (May 2024): NWA 7676-48.

NWA 8384-a
LL3 chondrite. 3.2 gram double slice; brecciated; ~2/3 has visible rust. Meteoritical Bulletin: Ordinary chondrite (LL3, W3, S1) The Cr2O3 content of the ferroan olivine = 0.11±0.09, indicating that it is greater than or equal to type 3.2. Shock stage: S1; weathering grade: W3. Fayalite (mol%): 13.3±8.9 (n=20). Ferrosilite (mol%): 8.9±6.6 (n=8). Wollastonite (mol%): 1.5±3.1 (n=8). From The Meteorite Exchange: catalogue number 8384-31 (received December 2022).

NWA 8384-b
LL3 chondrite; 5.7 gram end slice – brown exterior. Meteorite Exchange (May 2024): catalogue number 8384-42.

NWA 8655
LL5-melt breccia; 16.6 gram thick slice; rust on exterior and minor in interior; evident clasts; very dark. Meteoritical Bulletin: Petrography: Composed of recrystallized clasts containing sparse, relatively large (up to 2.8 mm) remnant chondrules within a dark, very fine-grained matrix. The very fine-grained matrix is black (almost opaque in thin section) and contains shred-like grains of metal and rounded troilite blebs (both indicative of melting). Shock stages were S2 for clasts, and S6 for matrix. Geochemistry: Olivine (Fa26.8-27.1, N = 3), orthopyroxene (Fs21.7-22.0Wo1.4-1.3, N = 3), clinopyroxene (Fs7.3-7.7Wo45.9-46.0). Analyses were done for both clasts and matrix. Classification: Ordinary chondrite (LL5 melt breccia). Weathering grade: W1/2. 
NWA 10816
LL5 chondrite; 20.4 gram double thick slice; no original edges preserved; interior rust. Meteoritical Bulletin: Petrography: Easily discerned chondrules and chondrule fragments (up to 2 mm, with 1-1.5 mm diameter not infrequent) in a recrystallized matrix. Contains roughly 1-2% metal, and numerous chromite-plagioclase assemblages. Geochemistry: Olivine (Fa26.1±0.7, N=47); orthopyroxene (Fs22.2±1.0Wo1.7±0.5, N=22); plagioclase feldspar (Ab84.2±1.8Or5.5±2.2, N=5). Classification: Ordinary chondrite (LL5) based on olivine and pyroxene compositions and large chondrule sizes. Meteoritical Exchange (May 2024): catalogue number NWA 10816-17.

NWA 13758
R3 chondrite; dark, 9.0 gram double slice. Meteoritical Bulletin: Physical characteristics: Approximately 500 pieces ranging in mass from <1 kg to >5 kg, with a total known weight of approximately 100 kg. Dark brown sandblasted exterior. Saw cut reveals a breccia with fragments up to ~2 cm set in a fine-grained matrix. Abundant distinct chondrules are visible throughout. Two main lithologic domains exist within this meteorite, one has a gray, unstained matrix, and the second has a brownish-orange-stained matrix. Petrography: (C. Agee, UNM) Chondrite with mean apparent chondrule size 350±240 µm (n=21) set in abundant matrix (~35 vol%). Electron microprobe analyses were performed separately on the two main lithologic domains. Domain "A" has compositionally unequilibrated olivine and pyroxene both in chondrules as well as single mineral fragments in the matrix. Very small grains of albitic plagioclase are present. Chromite, pentlandite, and troilite are ubiquitous. No metal or oxidized iron was detected. Domain "B" has compositionally unequilibrated olivine and pyroxene both in chondrules as well as single mineral fragments in the matrix. Domain "B" appears to have slightly more chondrules than domain "A". Very small grains of albitic plagioclase were present. Ti-rich chromite, pentlandite, and Ni-bearing troilite are ubiquitous. No metal or oxidized iron was detected. Geochemistry: (C. Agee, UNM) Domain "A": olivine Fa36.6±8.4, CV=23%, Fe/Mn=83±15, n=12; low-Ca pyroxene Fs21.4±6.8Wo0.9±0.5, Fe/Mn=39±19, n=4; augite Fs8.8±0.7Wo46.0±0.2, Fe/Mn=43±4, n=2; plagioclase An8.8±0.6Ab86.5±0.2Or4.7±0.7, n=3. Domain "B": olivine Fa38.7±5.8, CV=15%, Fe/Mn=87±10, n=12; low-Ca pyroxene Fs10.0±7.7Wo2.0±1.8, Fe/Mn=15±7, n=4; augite Fs11.4±0.9Wo44.8±1.3, Fe/Mn=51±11, n=2; plagioclase An9.2±0.9Ab85.9±1.6Or4.9±0.8, n=3. Classification: Rumuruti chondrite (R3). Domain "A" is approximately R3.7 and domain "B" is approximately R3.9, based on olivine coefficient of variation (CV) after Bischoff (2000). Fayalite (mol%): 36.6±8.4, 38.7±5.8. Ferrosilite (mol%): 21.4±6.8, 10.0±7.7. Wollastonite (mol%): 0.9±0.5, 2.0±1.8. Shock stage: S2; weathering grade: W1. Meteorite Exchange catalogue #13758-17 (received December 2022).

NWA 15662

LL3 chondrite; 14.2 gram double slice; some interior rust. Meteoritical Bulletin: Physical characteristics: Forty matching stones, reddish brown weathered exterior, some pieces have patches of smooth fusion crust while others lack fusion crust entirely. Saw-cut surface reveals densely packed large chondrules some up to 4 mm in diameter. Petrography: Reflected light microscopy and electron microprobe examination of a polished mount shows numerous unequilibrated chondrules, many are porphyritic with glass or mesostasis. Some chondrules are decorated with troilite grains. Kamacite and taenite detected. Geochemistry: (M. Spilde, UNM) Olivine Fa26.3±25.8, Fe/Mn=54±28, Cr2O3=0.13±0.12 wt%, n=12; low-Ca pyroxene Fs11.9±5.8Wo1.9±1.3, n=6. Classification: Ordinary chondrite (LL3). Shock stage: S1; weathering grade: W2. Meteorite Exchange (May 2024): catalogue #NWA 15662-8.
NWA 16181

LL3 chondrite; 15.8 gram double slice. From Meteoritical Bulletin: Dark brown and tan interior with many submillimeter- to millimeter-sized tightly packed chondrules. Metal is visible in hand sample as ubiquitous thin veins often armoring chondrules. Petrography: Examination of polished probe mount and BSE images show a chondritic texture with many well-delineated unequilibrated chondrules set in a fine-grained matrix. Chondrules are mostly porphyritic. Kamacite, taenite, and rare troilite were detected. Geochemistry: Olivine Fa17.5±7.5, range Fa9.29-31.3, Fe/Mn=39±13, n=23; range Cr2O3 in ferroan olivine 0.01-0.11 wt.%, mean 0.45±0.03 wt.%, n=23; Ca-pyroxene Fs15.3±2.4Wo0.5±0.4, range Fs1.0-20.5Wo0.2-4.1, n=32. Weahtering grade: W1. Aerolaite Meteorites: May 2024.
Sidi El Habib 001

H5 anomalous ordinary chondrite; 31.1 gram double slice; distinct lighter and darker clasts, and at least 2 dark clasts; no rust. Possible fall: December 2020. Aerolite Meteorites, their sample ID: Sidi El Habib 001 31.1 g. Their description: Ordinary chondrite (H5, anomalous). Bordj Badji Mokhtar, Algeria Find, possible fall: 2020 Dec. Discovered in December 2020 in Algeria, Sidi El Habib is classified as an anomalous H5 ordinary chondrite. Of special note to collectors and academics are the intriguing grains of purple halite crystals encased within its interior. Halite crystals are extremely rare in meteorites, and are known to be found in only two other meteorites: Zag and Monahans. The halite crystals in meteorites have been turned purple by radiation in space. Meteoritical Bulletin description: Physical characteristics: Fresh fusion crusted stones with broad and shallow regmaglypts. Largest stone is 1.1 kg. Broken surface shows light-colored clasts in a matrix of light grey material. This grey material contains relatively abundant, to 1-mm, bright blue to purple grains of halite. Density of a 34 g stone comprising the two lithologies is 3.77 g/cm3, determined by the glass bead method. Magnetic susceptibility log χ (× 10-9 m3/kg) = 5.17. Petrography: (L. Garvie, ASU) A sawn and polished 8 × 6 cm slice shows subhedral light-colored clasts, to 2 cm, in a light-grey matrix. Purple to blue crystals are locally abundant in the light-grey matrix: a powder XRD pattern of these crystals is dominated by reflections for halite and minor sylvite. Well-formed, though sparse, chondrules scattered through-out the clast and matrix lithologies, 601±403 micron (n=26), and separated by coarse-grained mineral and chondrule fragments. Chondrules dominated by PO, rare BO, and rare RP. Some unusual chondrule types present including one dominated by olivine-feldspar-chromite in the matrix lithology, and several Na-Al-Si-rich chondrules in the light-colored clast. Element mapping shows the NaCl to be present only in the grey-matrix lithology at all spatial scales from the mm-sized grains to sub-μm inter-grain films. The halite and sylvite are anhedral, though internally show well-developed cubic cleavage, and give the appearance of euhedral grains. A typical 4 × 4-mm-sized area of the halite-rich matrix contains ~8 areal% NaCl. High-resolution BSE images of the matrix show local regions with bright intergranular "veins" that are rich in Fe-Ni-Cl with little to no Na. A 1-mm subhedral ferroan sphalerite with a rim of troilite occurs in one of the probe mounts from the matrix lithology. The grain contains ~23 wt% Fe, close to the composition for rudashevskyite. Examination of the hand specimens shows several ferroan sphalerite grains in the matrix lithology: XRD of one of the grains confirms the sphalerite structure. Interchondrule feldspar is variable in size, though typically 5 to 20 μm. Merrillite and apatite are common in the clasts as grains to 0.5 mm (total 0.2 areal%). Some merrillite grains have veins and mantles of apatite. Element mapping of the light-colored clast shows several Cl hot-spots that are rich in Fe and Ni, but lack Na. Apatite and merrillite grains are more sparse and smaller in the matrix material. Geochemistry: (L. Garvie, ASU): Halite-bearing lithology Fa19.4±0.5, range Fa18.5-20.4, FeO/MnO=37.5±3.5, n=9; Fs16.8±0.3Wo1.46±0.08, n=14. The halite contains up to 0.1 wt% K, 0.7 wt% Fe, and 0.3 wt% Br. The sylvite contains up to 0.3 wt% Na and up to 0.1 wt% Br. The ferroan sphalerite contains between 21.1 and 23.8 wt% Fe. Light-colored clast 19.2±0.3, range 18.7-19.5, FeO/MnO=37.8±2.2, n=10; Fs16.7±0.1Wo1.44±0.08, n=12. Classification: H5 (breccia, anomalous). The pervasive presence of primary alkali halides in this meteorite is anomalous, and previously recognized only in Zag and Monahans (1998). Received October 2022. Shock stage: S2. Weathering grade: W0/1.
Tassedet 004
H5 chondrite; H5 melt breccia; black double slice with one prominent metal vein, abundant metal inclusions and some dark enclaves; 5.1 grams (Aerolite Meteorites; “Tassédet 004 5.1 g”; December 2020). Shock stage: high. Weathering grade: W1.
UNWA
Fine-grained saw-cut powder from various Northwest Africa chondrites; ~20 grams of fine-grained saw-cut powder.
+++++++

Zhob
H3-4 ordinary chondrite. Fall: 2020. 3 pieces of double slices: 5.4 grams total weight. Weathering grade: W0; shock stage: S2. Breccia of H4 clasts in an unequilibated H3 host matrix. [Aerolite Meteorites: received January 2024].
+++++++++++++++++++++++++++++++++++++++++

16.7.2a. Ordinary and unsorted chondrites on loan from the Planetary Science Institute (Vishnu Reddy)
Chelyabinsk-1 
LL5 chondrite (S4, W0). Fell February 15, 2013. Piece 1: 2.53 grams – impact melt [Two intact fragments purchased from Big Kahuna Meteorites by Vishnu Reddy (late April 2013)]. Shock stage: S4. Weathering grade: W0.
Chelyabinsk-2 
LL5 chondrite (S4, W0). Fell February 15, 2013. Piece 2: 2.17 grams (not impact melt). [Two intact fragments purchased from Big Kahuna Meteorites by Vishnu Reddy (late April 2013)].

Chelyabinsk-3
LL5 chondrite (S4, W0). Fell February 15, 2013. Two fragments with saw-cut faces received from Big Kahuna Meteorites Nov. 21, 2013. This piece has more fusion crust exposed around the periphery (cut off centre of fragment).

Chelyabinsk-4
LL5 chondrite (S4, W0). Fell February 15, 2013. Two fragments with saw-cut faces received from Big Kahuna Meteorites Nov. 21, 2013. This piece has less fusion crust exposed around the periphery (cut closer to centre of fragment).

Chergach 
H5 chondrite: slice; dark and light lithologies (from Vishnu Reddy; received January 6, 2014). Shock stage: S3. Weathering grade: W0.
El Hammami
H5 chondrite, <45 µm powder (from Vishnu Reddy, received December 2017). Phases identified by Raman: olivine, pyroxene, mystery peak ~910 cm-1 (clay?). Phases identified by XRD: Fe-bearing forsterite, Fe-bearing enstatite, plus a mystery peak. Shock stage: S2.
Franconia 
H5 chondrite: slice; dark and light lithologies (from Vishnu Reddy; received January 6, 2014). Shock stage: S3. Weathering grade: W2.
Mreira
L6 ordinary chondrite. Fall/find: December 16, 2012 – Mauritania. Shock stage: S6; weathering stage: W0. Two pieces: (1) Cut (on two faces) slice: 5.47 grams. Shows two lithologies – light and dark with shock veining in the light lithology, almost fully intact fusion crust. (2) Partially intact (70% fusion crust) fragment – 3.47 grams. Powder mixtures made with light (unshocked) and dark (shocked fraction). Powder prepared for light-dark lithology mixtures; crushed and dry sieved to <45 μm, larger metal particles not included. Shock stage: S6. Weathering grade: W0.
Thika
L6 ordinary chondrite fall – Kenya 2011. 8.3 grams total weight in three pieces; 1 with minor fusion crust (received May 27, 2014). Shock stage: S1. Weathering grade: W0.
++++++++++++++
(ii) Samples from Vishnu Reddy for use on ManitobaSAT-1

Bensour-VR
LL6; 2.87 grams; half-covered in fusion crust; interior looks fresh; no sign of rusting.

Chelyabinsk-VR
LL5: 14.4 gram intact stone with fusion crust; whether interior is shock-blackened or not is unknown.

Chergach-VR
H5: 11.52 gram piece with broken face and 80% covered in fusion crust; very minor rusting around a few chondrules; looks like it contains both light and dark lithologies. 

Mbale-VR
L5/6: 2.4 gram fresh interior piece; no fusion crust, no visual evidence of rust.
++++++++++++++

16.7.3a. Ordinary and unsorted chondrites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

MJG100
Misshof; H5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder.

MJG101
Cangas de Onis; H5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MGJ102
Marion (Iowa); L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MGJ103
Dhurmsala; LL6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MGJ104
Barwise; H5, Me – 2605; 0.893 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chip.

MGJ105
Kesen; H4. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder.

MJG106
Hamlet (#1); LL4; Me – 2588; 0.847 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MJG107
Djati-Pengilon; H6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MJG108
Hessle; H5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MJG109
Soko-Banja; LL4; Me-319; 0.816 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); chips.

MJG110
Vouille, L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chips.

MJG111
Jelica; LL6; Me – 1353; 1.005 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <180 µm powder.

MJG112
Soko-Banja; LL4. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder.

MGJ113
Castalia; H5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MJG114
Dimmitt; H3.7. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder.
MJG115
Allegan; H5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MJG116
Bald Mountain; L4; Me- 2392; 1.150 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.

MJG117
Bur-Gheluai; H5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder. 
MJG118
Parnallee; LL3.6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder.

MJG119
Vavilovka; LL6; Me – 1659; 1.634 g. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chips.

MJG120
Saint-Severin; LL6; Me – 2664; 3.0 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); chip.

MJG121
Weston; H4. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1500 µm powder.

MJG122
Bremervorde; H/L 3.9 in Meteoritical Bulletin); Me – 438; 0.850 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder.
MJG123
Pultusk; H5; #H1-8; 0.415gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder and chips.

MJG124
Holbrook; L/LL6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder and chips.

MJG125
Buschhof; L6; Me – 1475; 0.9655 g. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chip.

MJG126
Lancon; H6; Me – 526; 0.949 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder and chips.

MJG127
Rose City; H5; Me – 2396; 4.0 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); chips/fragments.

MJG128
Kernouve; H6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <1000 µm powder
MJG129
Cabezo de Mayo; L/LL6; Me -1514; 0.931 g. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <180 µm powder and chips.

MJG130
Forest City; H5; #H1-3; 0.197 gm, 0.519 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”; <500 µm powder and chip.

MJG132
Lancon; H6; Me – 526 (empty). (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); single grain.

MJG133
Tysnes Island; H4; Me – 1719; 0.806 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chip.

MJG134
Ochansk; H4; Me – 1440; 0.768 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”).

MJG135
Benares (a); LL4; 0.71 gm; Me – 216. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chips.

MJG136
Gruneberg; H4 in Meteoritical Bulletin); Me – 1478; 0.622 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chips.

MJG137
Utrecht; L6; Me – 1700; 1.256 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <500 µm powder and chips.

MJG138
Manbhoom; LL6; Me – 583; 0.501 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”); <180 µm powder.

MJG139
Olmedilla de Alarcon: H5 according to Meteoritical Bulletin and Field Museum (L type on vial). (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <1000 µm powder.

MJG140
Quenggouk; H4; Me-1614; 1.308 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <180 µm powder and chips.

MJG141
Pavlograd; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MGJ142
Colby (Wisconsin); L6; Me-1989; 0.469 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG143
Mocs; L5-6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder and chips.

MJG144
Mezo-Madaras; L3.7. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG145
Shelburne; L5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG146
Molina; L5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG147
New Concord; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder and chip.

MJG148
Zavid; L6; Me-1861; 1.8925 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <1000 µm powder and chips.

MJG149
Beaver Creek; H5; #H1-1; 0.409 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”; <500 µm powder and chip.

MJG150
Apt; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG151
Bjurbole; L4; #H1-2; 1.056 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <1000 µm powder and chips.

MJG152
Olivenza; LL5; #H1-6; 0.490 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”).; <500 µm powder
MJG153
Auamale; L6; Me-1837; 1.123 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <180 µm powder and chips.

MJG154
Modoc; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG155
Fisher; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG156
Bjurbole; L/LL4; Min. Stain. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG157
Alfianello; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG158
Homestead; L5; #H1-4; 0.520 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <1000 µm powder and fragments.

MJG159
Segowlie; LL6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG160
Ausson; L5; Non-stained. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG161
L’Aigle; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <1000 µm powder and fragments.

MJG162
Ausson; L5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <1000 µm powder and fragments.

MJG163
Drake Creek; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG164
Dandapur; L6. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG165
Andover; L6; Me-146E; 1.436 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <180 µm powder and chips.

MJG166
Tadjera; L5 (Black); Mezc5L; 0.943 gm (Me-2652 according to Field Museum) (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); chips.

MJG167
Borkut; L5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG168
Manbhoom; LL6; Original <90 microns. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <90 µm powder.

MJG169
Queen’s Mercy; H6; Me-2100; 0.793 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder and chips.

MJG170
Gruneberg; H4 (H4 in Meteoritical Bulletin); Silicate <90 microns. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <90 µm powder.

MJG171
Touniunes-le-Grasse; L6; Me-2672; 0.939 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”). Not in Meteoritical Bulletin. <500 µm powder and chips
MJG172
Nerft; L6; Me-585; 0.249 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG173
Farmington; L5. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <500 µm powder.

MJG174
Sevrukovo; L5; Me-1602-3; 1.259 gm. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 3)”); <180 µm powder and chips.

MJG175
Kunashak: L6. #741 -  powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG176
Kelly: LL4. #398.1x – LL4 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG177
Saratov: L4. #740 – L4 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <500 µm powder and chips.

MJG178
Bursa: L6. #734 – L6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <1000 µm powder.

MJG179
Richardton: H5. #100h – H5 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”).

MJG180
Beardsley: H5. #134ax – H4-5 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG181
Bruderheim: L6. #705 – L6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG182
Zhovtnevyi: H6. #743 – H5 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG184
Chainpur: LL3.4. #424.1 – LL3.5 - powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG185
Saline: H5. #107b – H5 - powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG186
Leedey: L6. #489.1 – L6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <150 µm powder.

MJG187
Lake Labyrinth: LL6. #369.2 – LL6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG188
Pervomaisky: L6. #742 – L6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <180 µm powder.

MJG189
Pantar: H5. #503.3 – H5 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG192
Chantonnay: L6. #341.2 – L6 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <70 µm powder.

MJG193
Elenovka: L5. #745 – L5 – powder. (Gaffey box labelled “ASU and Yale (unmeasured) samples”); <500 µm powder.

MJG194
“Beaver, Okla. L5 fragments (some with sawn and broken faces, few grams)”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); chips/fragments.

MJG195
“Homestead L5 silicate <90 μm”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <70 µm powder.

MJG196
“Gruneberg H3 (H4 in Meteoritical Bulletin) metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500 µm powder.

MJG197
“Lancon H6 – Me-526”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500µm powder.

MJG198
“Cynthiana L4 silicate”. L/LL4 in Meteoritical Bulletin. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <70 µm powder.

MJG199
“Ochansk H4 cleaned metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500 µm powder.

MJG200
“Nanjemoy H6 metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500 µm powder.

MJG201
“Andover L6 metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <1000 µm powder.

MJG202
“Cabezo de Mayo L6 silicate <70 μm”. L/LL6 in Meteoritical Bulletin. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <70 µm powder.

MJG203
“Soko-Banja LL4 90-180 μm original”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); 90-180 µm powder.

MJG204
“Zavid L6 silicate separate <90 μm”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <90 µm powder.

MJG205
“Zavid L6 metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500 µm powder.

MJG206
“Homestead L5 metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500 µm powder.

MJG207
“Cabezo de Mayo L6 metal”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”).

MJG208
“Beaver Ok. L5 magnetic Fe-rich”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <500 µm powder.

MJG209
“Beaver Ok. L5 non-magnetic silicate <90 μm”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <90 µm powder.

MJG210
“Soko-Banja LL4 (Me-319) original <90 μm”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <90 µm powder.

MJG211
“Tennasilm P175 L4 77.7 mg”. (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); fragments/chips.

MJG213
“Ochansk P142 H4 211.3 mg” . (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); various fragments.

MJG214
“Forsyth P196 L6 90.5 mg” (fragments). (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); <1000 µm powder.

MJG215
Cape Girardeau P320 H6 131.8 g” (fragments; probably mg). (Gaffey box labelled “Ordinary chondrites and metal silicate separates”); fragments/chips.

MJG233
“Cynthiana L4” (small amount of powder). L/LL4 in Meteoritical Bulletin. (Box labelled “Gaffey Lab Mixtures: Kaolin, Fe, Olivine, etc.; Cynthiana L4; Nanjemoy H6; Andover Sil <90 μ L6”); <500 µm powder and chips.

MJG234
“Nanjemoy H6” (fragment plus powder). (Box labelled “Gaffey Lab Mixtures: Kaolin, Fe, Olivine, etc.; Cynthiana L4; Nanjemoy H6; Andover Sil <90 μ L6”) ; <1000 µm powder.

MJG235
“Andover L6 Sil <90 μm” (powder). (Box labelled “Gaffey Lab Mixtures: Kaolin, Fe, Olivine, etc.; Cynthiana L4; Nanjemoy H6; Andover Sil <90 μ L6”) ; <90 µm powder.
+++++++++++++++++++++++++++++++

Summary and review of Gaffey meteorites – ordinary chondrites – May 2025.

Samples from Gaffey (1974) PhD thesis (Appendix I).

	C-TAPE Sample ID
	Meteorite name
	Type (Gaffey)
	Sourcea (Gaffey)
	Conditionb (Gaffey)
	Fall?
	Fall/find year
	Type (bulletin)
	Approx. grain size (µm)

	MJG122
	Bremervorde
	H3
	CHI
	2
	Yes
	1855
	H/L3.9
	<500

	not in bible
	Tieschitz
	H3
	CHI
	0
	Yes
	1878
	H/L3.6
	not available

	MJG114
	Dimmitt
	H3.4
	HAV
	9
	no
	1942
	H3.7
	<1000

	MJG134
	Ochansk
	H4
	CHI,YAL
	0
	Yes
	1887
	H4
	not available

	MJG199
	Ochansk
	H4
	CHI,YAL
	0
	Yes
	1887
	H4
	<500

	MJG213
	Ochansk
	H4
	CHI,YAL
	0
	Yes
	1887
	H4
	fragments

	MJG149
	Beaver Creek
	H4
	HAV
	5
	Yes
	1893
	H5
	<500, chips

	MJG105
	Kesen
	H4
	HAV
	7
	Yes
	1850
	H4
	<1000

	MJG121
	Weston
	H4
	HAV
	5
	Yes
	1807
	H4
	<1500

	MJG133
	Tysnes Island
	H4
	CHI
	1
	Yes
	1884
	H4
	<500, chip 

	MJG100
	Misshof
	H4.5
	HAV
	4
	Yes
	1890
	H5
	<1000

	MJG115
	Allegan
	H5
	HAV
	0
	Yes
	1899
	H5
	<500

	MJG180
	Beardsley
	H5
	ASU
	
	Yes
	1929
	H5
	<70

	MJG117
	Bur Gheluai
	H5
	HAV
	7
	Yes
	1919
	H5
	<500

	MJG101
	Cangas de Onis
	H5
	HAV
	8
	Yes
	1866
	H5
	<500

	MJG113
	Castalia
	H5
	HAV
	0
	Yes
	1874
	H5
	<500

	not in bible
	Collescipoli
	H5
	CHI
	1
	Yes
	1890
	H5
	not available

	MJG130
	Forest City
	H5
	HAV
	3
	Yes
	1890
	H5
	<500, chips

	MJG108
	Hessle
	H5
	HAV
	2
	Yes
	1869
	H5
	<500

	MJG189
	Pantar
	H5
	ASU
	
	Yes
	1938
	H5
	<70

	MJG123
	Pultusk
	H5
	HAV
	2
	Yes
	1868
	H5
	<1000, chips

	MJG179
	Richardton
	H5
	ASU
	
	Yes
	1918
	H5
	<70

	MJG185
	Saline
	H5
	ASU
	6
	no
	1901
	H5
	<70

	MJG215
	Cape Girardeau
	H6
	YAL
	
	yes
	1846
	H6
	fragments

	MJG107
	Djati Pengilon
	H6
	HAV
	3
	Yes
	1884
	H6
	<500

	MJG128
	Kernouve
	H6
	HAV
	0
	Yes
	1869
	H6
	<1000

	MJG126
	Lancon
	H6
	CHI
	1
	Yes
	1897
	H6
	<1000, chips

	MJG132
	Lancon
	H6
	CHI
	1
	Yes
	1897
	H6
	single grain

	MJG197
	Lancon
	H6
	CHI
	1
	Yes
	1897
	H6
	<500

	MJG200
	Nanjemoy
	H6
	HAV
	2
	Yes
	1825
	H6
	<500

	MJG234
	Nanjemoy
	H6
	HAV
	2
	Yes
	1825
	H6
	<1000

	MJG169
	Queen's Mercy
	H6
	CHI
	3
	Yes
	1925
	H6
	<500, chips

	MJG136
	Gruneberg
	H
	CHI
	0
	Yes
	1841
	H4
	<500, chips

	MJG170
	Gruneberg
	H
	CHI
	0
	Yes
	1841
	H4
	<90

	MJG196
	Gruneberg
	H
	CHI
	0
	Yes
	1841
	H4
	<500

	MJG140
	Quenggouk
	H
	CHI
	2
	Yes
	1857
	H4
	<180, chips

	MJG127
	Rose City
	H
	CHI
	2
	Yes
	1921
	H5
	chips

	not in bible
	Vernon County
	H
	HAV
	9
	Yes
	1865
	H6
	not available

	MJG182
	Zhoutnevyi (Zhovtnevyi?)
	H
	ASU
	
	Yes
	1938
	H6
	<70

	MJG144
	Mezo Madaras
	L3
	HAV
	1
	Yes
	1852
	L3.7
	<500

	MJG116
	Bald Mountain
	L4
	CHI
	1
	Yes
	1929
	L4
	<500

	MJG151
	Bjurbole
	L4
	HAV
	5
	Yes
	1899
	L/LL4
	<1000, chips

	MJG156
	Bjurbole
	L4
	HAV
	5
	Yes
	1899
	L/LL4
	<500

	MJG198
	Cynthiana
	L4
	HAV
	1
	Yes
	1877
	L/LL4
	<70

	MJG233
	Cynthiana
	L4
	HAV
	1
	Yes
	1877
	L/LL4
	<500, chips

	MJG177
	Saratov
	L4
	ASU
	
	Yes
	1918
	L4
	<500, chips

	MJG211
	Tennasilm
	L4
	YAL
	
	Yes
	1872
	L4
	fragments

	MJG160
	Ausson
	L5
	HAV
	4
	Yes
	1858
	L5
	<500

	MJG162
	Ausson
	L5
	HAV
	4
	Yes
	1858
	L5
	<1000, fragments

	MJG167
	Borkut
	L5
	HAV
	1
	Yes
	1872
	L5
	<500

	MJG158
	Homestead
	L5
	HAV
	2
	Yes
	1875
	L5
	<1000, chips

	MJG195
	Homestead
	L5
	HAV
	2
	Yes
	1875
	L5
	<70

	MJG206
	Homestead
	L5
	HAV
	2
	Yes
	1875
	L5
	<500

	not in bible
	Knyahinya
	L5
	HAV
	0
	Yes
	1866
	L/LL5
	not available

	MJG146
	Molina
	L5
	HAV
	8
	Yes
	1858
	H5
	<500

	MJG145
	Shelburne
	L5
	HAV
	2
	Yes
	1904
	L5
	<500

	MJG173
	Farmington
	L5B
	HAV
	0
	Yes
	1890
	L5
	<500

	not in bible
	Paragould
	L5B
	HAV
	0
	Yes
	1930
	LL5
	not available

	MJG166
	Tadjera
	L5B
	CHI
	6
	Yes
	1867
	L5
	chips

	MJG157
	Alfianello
	L6
	HAV
	3
	Yes
	1883
	L6
	<500

	MJG153
	Aumale
	L6
	CHI
	1
	Yes
	1865
	L6
	<180, chips

	MJG165
	Andover
	L6
	CHI
	3
	Yes
	1898
	L6
	<180, chips

	MJG201
	Andover
	L6
	CHI
	3
	Yes
	1898
	L6
	<1000

	MJG235
	Andover
	L6
	CHI
	3
	Yes
	1898
	L6
	<90

	MJG150
	Apt
	L6
	HAV
	8
	Yes
	1803
	L6
	<500

	MJG125
	Buschhof
	L6
	CHI
	2
	Yes
	1863
	L6
	<500, chip

	MJG181
	Bruderheim
	L6
	ASU
	
	Yes
	1960
	L6
	<70

	MJG129
	Cabezo de Mayo
	L6
	CHI
	0
	Yes
	1870
	L/LL6
	<180, chips

	MJG202
	Cabezo de Mayo
	L6
	CHI
	0
	Yes
	1870
	L/LL6
	<70

	MJG142
	Colby (Wis)
	L6
	CHI
	1
	Yes
	1917
	L6
	<500

	MJG192
	Chantonnay
	L6
	ASU
	
	Yes
	1812
	L6
	<70

	MJG164
	Dandapur
	L6
	HAV
	8
	Yes
	1878
	L6
	<500

	MJG163
	Drake Creek
	L6
	HAV
	1
	Yes
	1827
	L6
	<500

	MJG155
	Fisher
	L6
	HAV
	5
	Yes
	1894
	L6
	<500

	MJG214
	Forsyth
	L6
	YAL
	
	Yes
	1829
	L6
	<1000

	not in bible
	Girgenti
	L6
	CHI
	1
	Yes
	1853
	L6
	not available

	MJG124
	Holbrook
	L6
	HAV
	3
	Yes
	1912
	L/LL6
	<1000, chips

	MJG175
	Kunashak
	L6
	ASU
	
	Yes
	1949
	L6
	<70

	MJG186
	Leedey
	L6
	ASU
	
	Yes
	1943
	L6
	<150

	MJG161
	L'Aigle
	L6
	HAV
	8
	Yes
	1803
	L6
	<1000, fragments

	MJG102
	Marion (iowa)
	L6
	HAV
	3
	Yes
	1847
	L6
	<500

	MJG143
	Mocs
	L6 
	HAV
	2
	Yes
	1882
	L5-6
	<500, chips

	MJG154
	Modoc
	L6
	HAV
	4
	Yes
	1905
	L6
	<500

	not in bible
	Ness County
	L6
	HAV
	9
	no
	1894
	L6
	not available

	MJG147
	New Concord
	L6
	HAV
	5
	Yes
	1860
	L6
	<500, chip

	MJG172
	Nerft
	L6
	CHI
	2
	Yes
	1864
	L6
	<500

	MJG141
	Pavlograd
	L6
	HAV
	5
	Yes
	1826
	L6
	<500

	not in bible
	St Michel
	L6
	HAV
	2
	Yes
	1910
	L6
	not available

	MJG159
	Segowlie
	L6
	HAV
	7
	Yes
	1853
	LL6
	<500

	MJG171
	Tourinnes La Grosse
	L6
	CHI
	2
	Yes
	1863
	L6
	<500, chips

	MJG137
	Utrecht
	L6
	CHI
	3
	Yes
	1843
	L6
	<500, chips

	MJG148
	Zavid
	L6
	CHI
	1
	Yes
	1897
	L6
	<1000, chips

	MJG204
	Zavid
	L6
	CHI
	1
	Yes
	1897
	L6
	<90

	MJG205
	Zavid
	L6
	CHI
	1
	Yes
	1897
	L6
	<500

	MJG178
	Bursa
	L
	ASU
	
	Yes
	1946
	L6
	<1000

	MJG193
	Elenovka
	L
	ASU
	
	Yes
	1951
	L5
	<500

	MJG139
	Olmedilla
	L
	HAV
	0
	Yes
	1929
	H5
	<1000

	MJG188
	Pervomaisky
	L
	ASU
	5
	Yes
	1933
	L6
	<180

	MJG174
	Sevrukovo
	LB
	CHI
	1
	Yes
	1874
	L5
	<180, chips

	MJG184
	Chainpur
	LL3
	ASU
	
	Yes
	1907
	LL3.4
	<70

	MJG118
	Parnallee
	LL3
	HAV
	1
	Yes
	1857
	LL3.6
	<1000

	MJG106
	Hamlet #1
	LL3.4
	CHI
	3
	Yes
	1959
	LL4
	<500

	MJG176
	Kelly
	LL4
	ASU
	
	no
	1937
	LL4
	<70

	MJG109
	Soko Banja
	LL4
	CHI, HAV
	1,1
	Yes
	1877
	LL4
	chips

	MJG112
	Soko Banja
	LL4
	CHI, HAV
	1,1
	Yes
	1877
	LL4
	<1000

	 MJG203
	Soko Banja
	LL4
	CHI, HAV
	1,1
	Yes
	1877
	LL4
	90-180

	MJG210
	Soko Banja
	LL4
	CHI, HAV
	1,1
	Yes
	1877
	LL4
	<90

	MJG152
	Olivenza
	LL5
	HAV
	0
	Yes
	1924
	LL5
	<500

	MJG135
	Benares (a)
	LL6
	CHI
	3
	Yes
	1798
	LL4
	<500, chips

	MJG103
	Dhurmsala
	LL6
	HAV
	3
	Yes
	1860
	LL6
	<500

	MJG111
	Jelica
	LL6
	CHI
	1
	Yes
	1889
	LL6
	<180

	MJG187
	Lake Labyrinth
	LL6
	ASU
	
	Yes
	1924
	LL6
	<70

	MJG138
	Manbhoom
	LL6
	CHI
	1
	Yes
	1863
	LL6
	<180

	MJG168
	Manbhoom
	LL6
	CHI
	1
	Yes
	1863
	LL6
	<90

	MJG120
	St Severin
	LL6
	CHI
	2
	Yes
	1966
	LL6
	chip 

	MJG119
	Vavilovka
	LL
	CHI
	2
	Yes
	1876
	LL6
	<500, chips

	Samples not in thesis
	 
	 
	 
	 
	 
	 
	 
	

	MGJ104
	Barwise
	
	
	
	n
	1950
	H5
	<500, chip

	MJG110
	Vouille
	
	
	
	y
	1831
	L6
	<500, chips

	MJG194
	Beaver, Okla. 
	
	
	
	n
	1940
	L5
	chips

	MJG208
	Beaver, Okla. 
	
	
	
	n
	1940
	L5
	<500

	MJG209
	Beaver, Okla. 
	
	
	
	n
	1940
	L5
	<90


Notes for table :
a  Source : Collection from which specimen was obtainde. HAV+Harvard ; CHI : Field Museum, Chicago ; YAL : Yale University ; ASU : Arizona State University ; IA : University of Iowa.

b Condition = Quality of specimen. 0 : Perfect ; 1 : no rust or blemishes ; 2 : very minor rust (insignificant) ; 3 : minor rust, minor effect ; 4 : some rust, some effect ; 5 : rust dominates color of sample ; 6 to 10 : increasing evidence of alteration, no acceptable. 0 thru 2 : used with no problem in spectrum ; 3 thru 5 : used conditionally ; 6 thru 10 : generally nt used at all. 
+++++++++++++++++++++++++++++++++++++++++

16.7.4a. Ordinary and unsorted chondrites on loan NASA Astromaterials Facility

LAP 04840
R6: Amphibole-bearing chondrite. Returned to JSC 2012.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.7.5a. Ordinary chondrites from Kurt Mengel (Technische Universitat Clausthal) – July 2014-07-15

For determining whether salt inclusions are present and spectrally expressed.

For possible aqueous alteration experiments
Powdered samples provided by Kurt Mengel – July 2014
Zag
H3-6 ordinary chondrite. 3 vials:


1. <100 μm powder: 4.2 grams


2. 100-200 μm powder: 6.1 grams


3. 250-630 μm powder: 2.7 grams
++++++++++++++++++++++++++++++++++
16.7.6b. Compositional data:

Tulia:

· Iron (+Ni and Co):



4.14%

· Troilite:




7.39%

· Schreibersite:



0.30%

· Olivine:




34.71%

· Enstatite:



25.64%

· Feldspathic constituents:



12.92%

· FeO, CaO, Al2O3, etc., not allotted:
13.47% (from Palache and Lonsdale (1927).

++++++++++++++++++++++++++++++++++++++++++++

16.7.6a. Ordinary chondrites from the Royal Ontario Museum 

(i) Sample provided for “destructive” testing

NWA 869
L3-6 fragmental breccia: Northwest Africa near Tindouf, Algeria; found in 2000. Sawn fragment with a dark inclusion; some interior rust (“some fragments even include carbonaceous inclusions”). See my MET 069 (same sample). ROM number M53134; 8.6 grams.
NWA 869
L3-6 fragemntal breccia. Saw-cut fines.

NWA 869
L3-6 fragmental breccia: Northwest Africa near Tindouf, Algeria; found in 2000. Saw-cut slice (two faces) with apparent light-coloured and one rusty inclusion and a few minor dark inclusions. ROM #M-53134; 52.77 grams; received November 2015.
(ii) Samples for which reflectance spectra measured at the Royal Ontario Museum – October 2016
NWA 753
R3.9 chondrite; clean gray middle slice with darker enclave (ROM #LM49054).

NWA 1668
R5 chondrite; 2 clean gray end slices; numerous pieces available (ROM #M52351).

NWA 1920
Provisional name. Maybe R4 chondrite; rusty end slice (ROM #M50213).

NWA 5131
LL7 chondrite; 1 probe mount, 1 slice (ROM #M56485).

NWA 5599
R4 chondrite; five rusty end slices; 1 with annular white rim (ROM #LM53583).

+++++++++++++++++++++++

16.7.6b. XRD DATA: Ordinary chondrites from the Royal Ontario Museum 

XRD acquired at ROM; peaks identified at University of Winnipeg.

NWA 753 (LM49054) – slab

NWA 1668 (M52351) – powder

NWA 5131 (M56485) – slab
NWA 5599 (LM53583) – slab; first run better than second.

+++++++++++++++++++++++++++++++++++++
16.7.7a. Ordinary chondrites on loan from Matthew Izawa (Okayama University)

Zag
H3-6 ordinary chondrite. 2-sided saw-cut slice (unpolished) – one side gently sanded to remove some rust.

+++++++++++++++++++++++++
16.7.7b. XRD Data: meteorites from Matt Izawa

Zag
forsterite, kamacite, enstatite, troilite (no evidence of halite) – UWinnipeg: December 2017.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.8a. Ordinary chondrites from Darby Dyar, Mt. Holyoke College for TREX SSERVI (July, 2021).

ALHA 76001,35,39A
L6: <25 µm METAL (magnetic fraction; ~250 mg); <25 µm (~250 mg).

MIL 07010,31,35A
L-melt rock: <63 µm METAL (magnetic fraction, ~100 mg); <25 µm (~300 mg); 63-125 µm (~100 mg).

WSG 95300,113A:
H3.3: <63 µm METAL (magnetic fraction, ~150 mg); 63-125 µm (~200 mg); <25 µm (~250 mg).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.8a. Martian Meteorites

16.8.1a. Martian meteorites available at the University of Winnipeg

OLV024
Number used for olivine in Chassigny SNC meteorite.
++++++

Amgala 001
Shergottite; 2.28 gram double slice; gray, gray-green with black clasts. [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – received October 2023]. Meteoritical Bulletin entry: Fresh interiors are greenish-gray with darker olivine phenocrysts visible. Petrography: Zoned olivine phenocrysts (up to 2 mm in length) are set in a groundmass with variable grainsize composed predominantly of prismatic, zoned clinopyroxene and lath-like maskelynite, together with accessory alkali feldspar, pyrrhotite, ulvöspinel, chromite (with variable Ti content), ilmenite, baddeleyite and chlorapatite. Thin opaque shock veins crosscut the specimen as well as secondary calcite veinlets. Olivine phenocrysts contain small patches of alteration products (red-brown in thin section). Geochemistry: Olivine (Fa31.7-56.6, FeO/MnO = 52-55, N = 5), pigeonite (Fs27.7-48.4Wo10.4-9.8, FeO/MnO = 29-35, N = 3), subcalcic augite (Fs20.7-30.4Wo32.5-34.6, FeO/MnO = 28-32, N = 2), maskelynite (An47.4-50.5Or2.2-1.7, N = 2), alkali feldspar (Ab49.4Or34.0An16.7). Classification: Shergottite (olivine-phyric). Shock stage: high. Weathering grade: low.

++++++

MIL 03346
Nakhlite; 2.070 g chip (Generic: MIL03346; Specific: 138; Parent: 66; received from NASA Astromaterial, Feb. 10, 2025); for Mars Antarctic meteorite weathering versus Mars weathering project. Met Bull description: Macroscopic Description: Kathleen McBride: 60% of the exterior is covered with black "wrinkled" appearing fusion crust. The areas without fusion crust are a black crystalline material with vugs. The binocular microscopic view of the exterior surface appears melted or fused together. The interior reveals a coarse grained, dark green to blackish crystalline matrix with a granular texture. This nakhlite is unbrecciated and homogeneous with interlocking grains and minor rust. Thin Section (,2) Description: Tim McCoy, Cari Corrigan, Linda Welzenbach: The section is dominated by lathy to equant clinopyroxene that reaches 2 mm in maximum dimension. Mesostasis occupies approximately 20% of the rock and contains skeletal iron-titanium oxides. Clinopyroxenes have core compositions of Fs21 Wo40 with rims reaching Fs49 Wo34. Olivine was not observed. The meteorite is a nakhlite. Its pyroxenes are compositionally similar to Lafayette, but it is richer in mesostasis and unusual for nakhlites in lacking olivine. Weathering grade: B. Fs: 21-49. Received sample: broken in two with lots of loose powder, very friable. Need to assess which is exterior surface; no obvious rust.
++++++
NWA 7397 
Shergottite (paired with 7387, 7755, 7937, and 8161); 1.76 gram double slice, minor rust (catalog #P7397-64) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021; already cut when they purchased it]. Physical characteristics: A 2130 g, partially covered in fusion crust. Interior larger ovoid crystals in a finer grained matrix. Petrography: (A. Irving and S. Kuehner, UWS) Large oikocrysts (up to 1.5 cm across) of low-Ca pyroxene enclose multiple chadacrysts of olivine and Cr-rich chromite. Relatively equigranular domains between oikocrysts are composed of low-Ca and high-Ca pyroxene (showing very limited compositional zoning), maskleynite and olivine with accessory merrillite, Ti-chromite, pyrrhotite and ilmenite (with associated grains of baddeleyite up to 10 μm across). Olivine contains sparse melt inclusions composed of K-Na-Al-Si-rich glass surrounded by characteristic post-shock radial expansion microfractures. Geochemistry: Olivine (Fa38.9-40.7; FeO/MnO = 47-54), orthopyroxene (Fs30.3Wo3.3; FeO/MnO = 36), pigeonite (Fs25.1-27.6Wo6.6-10.0; FeO/MnO = 28-33), subcalcic augite (Fs17.0-19.0Wo35.1-35.4; FeO/MnO = 22-25). Bulk trace element composition (G. Chen, UAb): analysis by ICP-MS of clean wire-saw cutting dust gave (in ppm) La 1.66, Ce 4.48, Nd 2.93, Sm 1.13, Eu 0.3, Gd 1.59, Dy 1.95, Yb 1.02, Lu 0.14, Hf 1.66, Th 1.15, Rb 2.89, Sr 33.6. Classification: Martian (shergottite, poikilitic). Shock stage: strong; weathering grade: low.
+++++++

NWA 11288
Shergottite; Physical characteristics: Greenish gray, heterogeneous looking stones (five fragments of 7.14 to 332.5 g) with partially preserved fusion crust. Petrography: (B. Hofmann, NMBE and Å. Rosén, Bern) The meteorite consists of dominant calcic pyroxene occurring as elongated crystals 2-3 mm in length and maskelynite typically 1-2 mm in size. Rare free silica intergrown with maskelynite. The meteorite shows a high abundance of vesicular glasses, a dark one is shock melt and a lighter one possibly fusion crust intruded into preexisting cavities. Geochemistry: (Å. Rosén, Bern and B. Hofmann, NMBE) Pyroxene compositions are Fs36.4±10.9Wo25.3±8.7 (Fs20.6-65.5Wo9.2-35.6), mean FeO/MnO = 33.3±5.4 (n=120). Maskelynite has An50.1±3.7Or2.3±1.2 (An40.7-54.7Or1.3-6.2). Dark/green glass has SiO2 50.8/49.3, Al2O3 8.06/8.15, CaO 11.5/11.3, MgO 7.7/7.6, FeO 18.1/18.3, MnO 0.48/0.49, Na2O 1.04/1.53, K2O 0.18/0.07, TiO2 0.88/0.92, Cr2O3 0.16/0.16, FeO/MnO 38.1/37.7 (n= 16/20). Oxygen isotopes: (R. Greenwood, OU) δ18O=4.932, δ17O=2.902, Δ17O= 0.337 (all ‰). Classification: Based on petrography, mineral compositions (including Fe/Mn-ratios) and oxygen isotopes this is a strongly shocked shergottite. Shock stage: high; weathering grade: low.
NWA 11288-a
Shergottite; double slice; little to no rust; <0.5 g [Aerolite Meteorites: “Mars Box”; December 2020].

NWA 11288-b
Shergottite; double slice; little to no rust; <0.5 g [Aerolite Meteorites: “Mars Box”; December 2020].

NWA 11288-c
Shergottite (highly shocked, dominant calcic pyroxene and maskelynite and a high abundance of vesicular glasses) rectangular (interior) double slice; 1.10 grams (catalog #11288-27) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021; already cut when they purchased it].

++++++

NWA 12241 
Shergottite; 1 gram saw-cut fine powder; light beige. Meteoritical Bulletin description: The friable pieces are pale green in color and contain white plagioclase but no evident maskelynite. Petrography: This fresh specimen has an orthocumulate texture with ~15 vol.% lath-like, birefringent plagioclase occurring interstitially to more abundant and coarser grained (0.2-1.6 mm, mean 0.7 mm) mafic silicate grains (unzoned olivine and patchily zoned low-Ca and high-Ca clinopyroxene with very limited compositional variation). Accessory phases include Mg-merrillite, chlorapatite, ilmenite, Ti-rich chromite, Cr-rich chromite and pyrrhotite (some associated with minor pentlandite). Levels of shock are judged to be low, based on the absence of optical effects in plagioclase and the complete lack of any conversion to maskelynite; the presence of widespread microcracks in mafic silicates is the only clear evidence of shock. Geochemistry: Olivine (Fa32.7-34.3, FeO/MnO = 47-48, N = 4), pigeonite (Fs25.0-30.4Wo5.5-10.0, FeO/MnO = 28-30, N = 4), subcalcic augite (Fs17.1-18.1Wo32.7-32.4, FeO/MnO = 23-25, N = 2), aluminous augite inclusion in olivine (Fs17.1Wo39.5, FeO/MnO = 28, TiO2 = 1.1 wt.%, Al2O3 = 6.2 wt.%), plagioclase (An43.0-57.8Or2.4-1.3, N = 3). Classification: Martian (shergottite, olivine gabbroic, orthocumulate, low shock). Shock stage: low; weathering grade: low. [The Meteorite Exchange Inc.; www.meteorites-for-sale.com; their sample ID  – received October 2023]

+++++++

NWA 12269
Shergottite (paired); (fine-grained, olivine-free; highly-shocked; only lightly weathered); 0.58 gram double slice (catalog #12269-149) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021; cut by them with a diamond blade]. Petrography: (A. Irving and S. Kuehner, UWS; P. Carpenter, WUSL) Relatively fine grained with intersertal texture. Composed predominantly of zoned clinopyroxene and maskelynite (some exhibiting a curved, narrow lath-like habit) with accessory fine grained intergrowths of hedenbergite+fayalite+silica, Fe-Ti oxides, merrillite and pyrrhotite. Geochemistry: Subcalcic augite (Fs24.8-41.8Wo31.4-24.3, FeO/MnO = 30-33, N = 3), ferropigeonite (Fs66.9-73.0Wo16.6-16.5, FeO/MnO = 41-43, N = 2), maskelynite (An51.9-53.1Or1.3-1.2, N = 2). Classification: Martian (shergottite, fine-intersertal). Shock stage: high; weathering grade: low.
NWA 12269-p
Shergottite (paired); (fine-grained, olivine-free; highly-shocked; only lightly weathered); >4 grams of fine-grained saw-cut powder (catalog #12269) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – January 26, 2022; cut by them with a diamond blade].

+++++++
NWA 12594-15
Shergottite: found 2018; 1.11 g double slice (no fusion crust); ~1 cm diameter. Pieces found were fresh with  fusion crust; elongated prismatic pyroxene crystals and lath-like plagioclase crystals; accessory minerals include titanomagnetite  [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – April 2022]. Physical characteristics: These stones are (partially) covered by black fusion crust and appear to be very fresh and unaltered. Numerous vesicles are seen in the fusion crust. The interior is composed of yellow green grains with interstitial pale gray grains. Petrography: The rock has a medium-grained subophitic texture. It consists of elongated prismatic pyroxene (up to 1.5 mm in length) and lath-like plagioclase (up to 1.8 mm in length), with accessory titanomagnetite, ilmenite, silica polymorph, merrillite, pyrrhotite, fayalite. Pyroxenes show patchy zoning from Mg-rich core to Mg-poor rim, with irregular boundaries. Ilmenite occurs as thin lamellae intergrown with titanomagnetite. Geochemistry: Pyroxenes are zoned from augite cores (En45.3Wo25.6, FeO/MnO = 28.5) and pigeonite cores (En40.3Wo19.6 FeO/MnO = 32.3) to ferropigeonite rims (En8.4Wo14.5 FeO/MnO = 41.1). Plagioclase is characterized by homogeneous compositions of An52 Or1.4. Titanomagnetite (TiO2 29.4 wt%, FeO 65.5 wt%, Al2O3 1.3 wt%); ilmenite (TiO2 48.9 wt%, FeO 49.8 wt%). Weathering grade: low.
+++++++

NWA 13669-8
Nakhlite: Found 2020; 0.61 g rough double slice; ~1 cm diameter [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – April 2022]. Physical characteristics: This somewhat friable specimen was found in several pieces (total weight 139.2 g, comprising stones of 66.1 g and 21.4 g plus other smaller fragments). The two larger stones are partially covered by black fusion crust as are some of the fragments. Petrography: (A. Irving, UWS and P. Carpenter, WUSL) The specimen has a cumulate texture with a mean grainsize of ~1.2 mm. It is composed of zoned augite, olivine, zoned ferropigeonite (with ferrosilite rims) and plagioclase together with accessory titanomagnetite (with octahedral ilmenite exsolution lamellae), chlorapatite, pyrrhotite and intercumulus mesostasis (consisting of K-rich glass with ferropigeonite microlites plus subhedral grains of titanomagnetite and chlorapatite). Olivine contains veinlets of very fine grained, inhomogeneous Fe-rich "iddingsitic" material with oxide sums ~89 wt.%, and augite contains rare glassy melt inclusions (surrounded by radial cracks). Geochemistry: Augite (Fs22.8-37.6Wo40.5-34.9, FeO/MnO = 31-35, N = 5), olivine (Fa72.3-74.5, FeO/MnO = 47-48, N = 3), ferropigeonite (Fs56.4-61.8Wo11.6-6.5, FeO/MnO = 33-34, N = 2), ferrosilite rim (Fs70.9Wo3.0, FeO/MnO = 34), plagioclase (An34.3-37.2Or3.3-3.0, N = 2), ferropigeonite in mesostasis (Fs57.6Wo11.7, FeO/MnO = 31), titanomagnetite (TiO2 6.8 wt.%, Cr2O3 0.6 wt.%). Shock stage: low; weathering grade: low.
++++++

Plateau du Tademait 008
Martian shergottite meteorite; mottled 2.36 gram double slice. Meteoritical Bulletin description: A polished slice reveals numerous pale green olivine phenocrysts up to ~1 cm in diameter that poikilitically enclose smaller pyroxene grains. The groundmass consists of dark gray pyroxene grains up to 500 μm and smaller olivine grains. Petrography: This meteorite has the approximate modal abundances: 50% clinopyroxene, 25% olivine, 10% maskelynite, with accessory ilmenite, chromite, Ti-Cr spinel, and pyrite. Clinopyroxene shows a tightly bound, continuous calcium enrichment trend. Olivine phenocrysts show a narrow compositional range from low Ca-pyroxene to pigeonite to subcalcic augite. Maskelynite is usually observed occupying pyroxene and olivine grain boundary pockets. Small vesicles are scattered throughout. Geochemistry: Olivine Fa40.4±0.9, Fe/Mn=50±2, CaO=0.25±0.05, (wt%), n=6; clinopyroxene Fs26.3±4.6Wo17.6±9.2, Fe/Mn=29±2, n=12; maskelynite An51.0±3.2Ab47.2±3.4Or1.8±0.5, n=7. Classification: Martian shergottite (olivine-phyric basalt). Shock stage: high. Weathering grade: low [The Meteorite Exchange Inc.; www.meteorites-for-sale.com; sample ID PLAT-13; received October 2023]. 

++++++

RBT 04261 
Shergottite; 2.151 g chip (Generic: RBT 04261; Specific: 73; Parent: 13; received from NASA Astromaterial, Feb. 10, 2025); for Mars Antarctic meteorite weathering versus Mars weathering project. Met Bull description: Macroscopic Description: Kathleen McBride: 30-50% of the exterior surfaces have brown/black, rough textured fusion crust with glassy spots. The interior is soft and tan-gray in color with a sandy texture and low metal content. Thin Section (,2) Description: Tim McCoy and Valerie Reynolds: These meteorites are so similar that a single description suffices. The sections are composed of a coarse-grained assemblage of pyroxene, olivine and maskelynite with grain sizes reaching up to 4 mm. Sulfides and oxides are present, as are shock melt veins and pockets. Olivine is Fa28-40; pyroxenes exhibit a range of compositions from pigeonite to augite (Fs16-32Wo7-38; Fe/Mn ~ 22-30); feldspar is intermediate in composition (An30-55). The meteorites are olivine-phyric shergottites. Weathering grade: B.Fa: 39. Fs: 20-27. Sent sample: no obvious rust; probable exterior surface seems to have some blacker spots.
+++++++

Sueilila 002
Shergottite (olivine phyric; highly shocked; moderately weathered;porphyritic texture) (origin or pseudonym: Jrifiya); 2.32 grams double slice grams (catalog #SUE-9) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021; already cut when purchased by them, but cut with a diamond wire saw]. Physical characteristics: (A. Irving, UWS and A. Bouragaa) The buried portion of the largest (1467 g) stone was coated by pale brown clay, but the small area that was exposed is brown with dark phenocrysts visible. The cut interiors of both the 560 g and 124 g stones have a mottled brown appearance with larger, deep brown phenocrysts. All stones have a weathering rind up to several millimeters thick. Petrography: (A. Irving and S. Kuehner, UWS) Porphyritic texture. Euhedral to subhedral, zoned olivine phenocrysts (up to 2.2 mm) are set in a finer grained groundmass composed predominantly of zoned, prismatically-twinned pyroxene and maskelynite with accessory olivine, chromite, ilmenite, Mg-bearing merrillite and pyrrhotite. Olivine phenocrysts contain numerous tiny inclusions of chromite, as well as sparse melt inclusions (now composed of low-Ca pyroxene, silica polymorph, plagioclase, merrillite, pentlandite and glass) surrounded by radial cracks. Cores of olivine grains are orange in thin section, whereas olivine rims, groundmass olivine and groundmass pyroxene are all pale tan in color. Terrestrial weathering effects include orange staining of groundmass opaque minerals and minor thin calcite veinlets.Geochemistry: Olivine phenocrysts (cores Fa19.1-20.4, N = 3, rims Fa36.9-39.5, N = 2, FeO/MnO = 48-55), groundmass olivine (Fa47.2-48.7, FeO/MnO = 53-57, N = 2), orthopyroxene cores (Fs16.5-21.7Wo2.2-3.5, FeO/MnO = 25-27, N = 2), pigeonite (Fs32.2-34.1Wo11.0-11.5, FeO/MnO = 36, N = 3), plagioclase (An60.9-62.1Or1.4-1.9, N = 3). Classification: Martian (shergottite, olivine-phyric). Shock stage: high; weathering grade: moderate.
 +++++++
Tissint 
Shergottite. (Morocco) shergottite fall (July 28, 2011): 2 vials, ~100 mg total weight (purchased - AGU Dec. 2012). My catalog number MET080. Physical characteristics: Several fusion-crusted stones have been collected ranging from 1 to 987 g, with a total weight of around 7 kg. The stones are almost completely coated by glistening black fusion crust, characterized by thicker layers on exterior ridges as well as much glossier regions (above interior olivine macrocrysts). Some stones have thinner secondary fusion crust on some surfaces. The crust on some stones has been broken in places to reveal the interior, which appears overall pale gray in color with larger, very pale yellow olivine macrocrysts, and sporadic small pockets and some very thin veinlets of black glass. No terrestrial weathering is evident. Petrography: (A. Irving and S. Kuehner, UWS): Olivine macrocrysts (to 1.5 mm) and microphenocrysts (to 0.4 mm) are set in a finer groundmass of patchily zoned pyroxene, plagioclase (maskelynite), Ti-poor chromite, ilmenite, pyrrhotite and minor merrillite. Both the larger olivine macrocrysts and smaller olivine microphenocrysts exhibit thin ferroan rims against the groundmass, and contain tiny chromite inclusions. Narrow ferroan zones also occur within the interior of some olivine macrocrysts. Geochemistry: Olivine (cores of large macrocrysts Fa19.4-20.2, Fe/Mn=42-44; rims Fa43.2-60.4, Fe/Mn=50-55), cores of microphenocrysts Fa29.1-30.2, Fe/Mn=45-46; rims up to Fa53.3, Fe/Mn=53), orthopyroxene cores (Fs24.0-24.4Wo4.1-4.6, Fe/Mn=30-32), pigeonite (Fs26.1-51.6Wo11.9-16.9, Fe/Mn=31-35), subcalcic augite (Fs21.7-23.3Wo25.0-24.2, Fe/Mn=26-28), plagioclase (An61.1-64.3Or0.5-0.4). Oxygen isotopes (R. Tanaka, OkaU): analyses of acid-washed subsamples by laser fluorination gave, respectively δ17O = 2.849, 2.892; δ18O = 4.844, 4.943; Δ17O = 0.299, 0.290 per mil. Bulk composition (G. Chen and C. Herd, UAb) ICPMS analysis of powdered interior material gave Sm/Nd=0.646, indicating that this specimen has affinities with the depleted compositional group of shergottites. Classification: Achondrite (Martian, olivine-phyric shergottite). Shock stage: moderate; weathering grade: very low.
+++++++

Zagami
Shergottite; fell 1962; 0.52 gram double slice (catalog #ZAG-4) [The Meteorite Exchange Inc.; www.meteorites-for-sale.com – Sept. 2021; already cut when purchased by them]. NMH: Shergottite; An52; pigeonite,, augite, maskelynite glass. Treiman and Sutton (1992): 20% cumulus pyroxene (half augite, half pigeonite). Pigeonite (zoned): En55.5Fs34.3Wo10.2. Augite (core): En44.4Fs21.6Wo33.8. 75% pyroxene; 18% maskelynite glass; 2% mesostasis; minor titanomagnetite, ilmenite, pyrrhotite, whitlockite, fayalite, shock melts. 
+++++++++++++++++++++++++++++++++++++++

16.8.2a. Meteorites on loan from the Royal Ontario Museum

NWA 7042
Martian meteorite: saw-cut fines (ROM #M56450). Find: 2011. Physical characteristics: A single 3033 g stone partly coated by thin, brownish remnant fusion crust. Weathered surfaces are mostly brown, with distinctive bright green grains. The fine grained interior has an overall greenish-gray color, with sparkling maskelynite visible in the matrix. Petrography: (A. Irving and S. Kuehner, UWS): Aphyric assemblage of complexly-zoned pyroxene and zoned olivine with interstitial maskelynite (~15 vol.%, intergrown with ferroan pigeonite) and accessory Ti-poor chromite, ilmenite (some intergrown with ulvöspinel), pyrrhotite and merrillite. Sparse tiny grains of barite (from terrestrial weathering) present. Geochemistry: Olivine (cores Fa28.5-30.1, Fe/Mn=46-52; rims Fa46.0-48.1, Fe/Mn=48-52), pigeonite (core Fs29.0Wo13.4, Fe/Mn=29; rims and matrix grains Fs41.5-44.5Wo17.5-9.0, Fe/Mn=35-36), subcalcic augite (Fs22.4Wo31.4, Fe/Mn=26), plagioclase (An48.6-54.5Or1.7-1.8).  Oxygen isotopes (R. Tanaka, OkaU): analyses of acid-washed subsamples by laser fluorination gave, respectively δ17O = 3.102, 3.016; δ18O = 5.326, 5.079; Δ17O = 0.298, 0.341 per mil.Classification: Achondrite (Martian, shergottite). Shock stage: moderate; weathering grade: low.
NWA 7042
Martian meteorite; saw-cut slice (both sides); 3.61 grams (ROM #M56540).
++++++++++++++++++++++++++++++++
16.8.3a. Meteorites on loan from Matthew Izawa (Okayama University)

December 2017:

NWA 8171
Thick slice (paired with “Black Beauty”) – double saw-cut slice (unpolished).
+++++++++++++++++++++++++++++++++++++

16.8.4. Mars meteorites – RELAB Archive – downloaded June 2024

i=30°, e=0°; 300-2500 nm unless otherwise noted.

Chassigny olivine

C1DD01
unsorted

Chassigny olivine

C1DD02
hand-picked and ground to ~<100 microns

Nakhla augite

C1DD03
hand-picked and ground to ~<100 microns

ALH84001 orthopyroxene

C1DD04
hand-picked and ground to ~<100 microns
Los Angeles pyroxene

C1DD05
hand-picked and ground to ~<100 microns

LEW 88516 pyroxene

C1DD06
hand-picked and ground to ~<100 microns

Shergotty pyroxene

C1DD07
hand-picked and ground to ~<100 microns

Zagami pyroxene

C1DD08
hand-picked and ground to ~<100 microns

ALHA77005 olivine

C1DD09
hand-picked and ground to ~<100 microns

QUE 94201 clinopyroxene

C1DD10
hand-picked and ground to ~<100 microns

EETA 79001 bulk pyroxene

C1DD11
hand-picked and ground to ~<100 microns

LAP 04840,16 amphibole

C1DD110
<45 microns
Y-9804028,45 shergottite

C1DD117
interior whole rock powder, <45 microns

Y-984028,74 shergottitie     
CIDD118
exterior, whole rock <45 µm

Y-9804028,45 shergottite
C1DD119
Interior pyroxene separate <45 um (estimate)                            

ALHA77005 clinopyroxene    
C1DD12
Hand-picked and ground (about <100 um)                                  

Y-984028,74 shergottite
C1DD120
Exterior pyroxene separate <45 um (estimate)

Y-984028,45 shergottite
C1DD121
Interior olivine separate <45 um (estimate)

Y-984028,74 shergottite
C1DD122
Exterior olivine separate <45 um (estimate)

ALHA77005 dark olivine
C1DD13
Hand-picked and ground (about <100 um)

EETA79001 B pyroxene 
C1DD14
Hand-picked and ground (about <100 um)

Nakhla olivine                    
C1DD18
<50 µm

EETA79001 lithology A whole rock
C1DD19
<50 um Desugared

ALH84001,359  
C1DD20
<50 um Desugared

Nakhla     
C1DD21
<50 um Desugared

LEW88516,36 whole rock
C1DD22
<50 um Desugared

Chassigny whole rock
C1DD23
<50 um Desugared

QUE94201 whole rock powder
C1DD24
<50 um Desugared

Zagami whole rock      
C1DD25
<50 um Desugared

ALHA77005,159 whole rock   
C1DD26
<50 um Desugared

Los Angeles whole rock powder
C1DD27
<50 um Desugared

EET79001 lith B
C1DD28
<50µm
EET79001 lith B                           
C1DD30
<50 µm
ALHA77005,193 pyroxene, coarse
C1DD31
<250 µm

ALHA77005,193 olivine, coarse
C1DD32
<250 µm

ALHA77005,193
C1DD33
<250 µm

ALHA77005,193
C1DD34
<250 µm

EETA79001,596 (Lith A) Pyroxene separate
C1DD57
ground into <45 µm

EETA79001,60 (Lith B) Pyroxene separate
C1DD58
ground into <45 µm

EETA79001,596 (Lith A)
C1DD59
<250 µm

EETA79001,596 (Lith. A)
C1DD60
<50 µm

Shergotty
C1DD61
<50 µm

SYM624 Chassigny olivine
C1DD62
<50 um  Two vials combined, desugared (?) 

NWA2737 saw fine
C1DD63
saw fine with contamination <50 um

NWA2737 olivine separate
C1DD65
ground to <45 µm

NWA2737 olivine
C1DD66
45-125 µm

NWA2737 whole rock
C1DD67
ground to <45 µm

NWA2737 whole rock
C1DD68
45-125 µm

NWA2737 whole rock
C1DD69
>125 µm

LEW88516 pyroxene
C2DD06
<50 µm Desugared

+++++++++++++++++++
Subtypes:

Chassigny 
Chassignite

Nakhla 
Nakhlite
ALH84001 
Martian (OPX)
Los Angeles 
Shergottite

LEW 88516 
Shergottite
Zagami 
Shergottite
ALHA77005 
Shergottite
QUE 94201 
Shergottite
EETA 79001 
Shergottite
Y-9804028 (?)
Shergottite
 NWA 2737 
Chassignite
++++++++++++++++
16.8.4b. XRD phases found – June 2024

Amgala001: forsterite, clinopyroxene, pyrrhotite, ulvospinal, chromite, calcite, chlorapatite

Chassigny: do not have XRD for it. Look in the literature
NWA 7042: Izawa has synchrotron data, will give his results soon
NWA 7397: forserite, clinopyroxene, chromite, merrillite

NWA 11288-b: clinopyroxene, quartz

NWA 11288-c: clinopyroxene, quartz

NWA 12241: forsterite, clinopyroxene, plagioclase, merrillite, chlorapatite

NWA 12269: clinopyroxene, pyrrhotite, ilmenite

NWA 12594: clinopyroxene, plagioclase, fayalite, ilmenite, magnetite-ulvospinel, pyrrhotite

NWA 13669: clinopyroxene, fayalite, plagioclase, titanomagnetite, ulvospinel, ilmenite, cristobalite

Plateau du Tademait 008: forsterite, clinopyroxene, plagioclase, spinel

Sueilila-002: should redo this XRD collection
Zagami: clinopyroxene; pyrrhotite; corundum

 

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.9a. Anomalous achondrites

16.9.1a. Anomalous achondrites available at the University of Winnipeg

NWA 6704
Ungrouped achondrite. Contains olivine (Fa51.6-53.2, Ni-rich), chromite, orthopyroxene (Fa41.6-42.4 Wo2.8-3.6), plagioclase (Ab 92-93), and awaruite. O isotopes plot in the acapulcoite-lodranite field. Weathering is low; unshocked; 2.7 gram fragment, no fusion crust. From Aerolite Meteorites; their description: Green in color, with mysterious “bubble trains” suspended in orthopyroxene, NWA 6704 is so unusual it doesn’t fit into a typical classification group. It is classified as an ungrouped Achondrite with metal flakes! All pieces come from a single, broken stone recovered in the Sahara in 2011 and show the rare minerals awaruite and albite. (Their ID: NWA 6704 2.7 g) Meteoritical Bulletin description: The very fresh interior is mostly pale yellowish green with sporadic darker brownish grains and sparsely distributed tiny grains of opaque oxide and silvery metal. Petrography: (A. Irving and S. Kuehner, UWS): Overall medium grained with an igneous cumulate texture. Small grains of olivine (0.5-0.8 mm) and chromite (0.1-0.6 mm) enclosed within large (to 4 mm) orthopyroxene oikocrysts, which are in turn surrounded by large optically continuous, intercumulus grains of untwinned albite and <0.1 mm awaruite. The silicates contain curvilinear trains of tiny rounded inclusions (2-20 μm), which appear on polished surfaces to be empty bubbles with smooth rounded walls. Geochemistry: Olivine (Fa51.6-53.2; FeO/MnO=120-140; NiO=0.9-1.0 wt.%), orthopyroxene (Fs41.6-42.4Wo2.8-3.6, FeO/MnO=81-82; Cr2O3=0.3 wt.%), plagioclase (Ab92-93An4-3Or4). Oxygen isotopes (R. Tanaka, OkaU): replicate analyses of acid-washed material by laser fluorination gave: δ17O 1.015, 0.880; δ18O 3.922, 3.613; Δ17O -1.048, -1.020 per mil. Classification: Achondrite (ungrouped). This specimen is unlike other achondrites in its combined features: relatively ferroan mafic silicate minerals with elevated FeO/MnO ratios and anomalous Ni contents, extremely sodic plagioclase, very Ni-rich metal, and oxygen isotopic composition that plots within the field for acapulcoites-lodranites. Weathering is low and limited to minor coatings of pale orange desert dust on broken surfaces. Unshocked. Received October 2022.
++++++++++++++++++++++++++++++

16.9.2a. Anomalous achondrites on loan from the Planetary Science Institute (Vishnu Reddy)
NWA 6704
Ungrouped achondrite. Contains olivine (Fa51.6-53.2, Ni-rich), chromite, orthopyroxene (Fa41.6-42.4 Wo2.8-3.6), plagioclase (Ab 92-93), and awaruite. O isotopes plot in the acapulcoite-lodranite field. Weathering is low; unshocked (powder)
NWA 6704
Ungrouped achondrite. 0.866 polished slab received from Vishnu Reddy (May 2014).

NWA 6704
Ungrouped achondrite. 12.2 gram uncut fragment received from Vishnu Reddy (from the Hupé Collection); received Sept. 15, 2014.

+++++

NWA 7325
Achondrite, ungrouped. Found 2012; total known weight ~1kg, from Morocco; our sample: 1.58 grams, unsorted coarse powder, with abundant rusty fragments [Michael Farmer Meteorites] (suggested by some to be from Mercury).
++++++++++++++++++++++++++++++++++

16.9.3a. Anomalous/ungrouped achondrites measured at Royal Ontario Museum (Oct. 2016)

Note: saw-cut powders obtained during dry-cutting (no lubricants) of sample using a diamond wire saw.

NWA 2976
Achondrite, ungrouped. 1 rusty slice (ROM #LM53436). (Meteoritical Bulletin: largely pigeonite (Fs65Wo6) and exsolved augite (Fs44Wo27) and plagioclase). 

NWA 5363
Achondrite, ungrouped. 2 slices, 1 thin section (ROM #M56016). (Meteoritical Bulletin: olivine dominant (Fa29), with augite and chromite) (may be paired with NWA 5400). 

NWA 5400
Achondrite (brachinite-like), ungrouped. 1 slice (ROM #M56738) (Meteoritical Bulletin: 79 vol.% olivine (Fa30), 11 vol. % orthopyroxene (Fs24Wo2), 9 vol.% clinopyroxene (Fs9Wo45)) (may be paired with NWA 5363).
NWA 5517
Achondrite, ungrouped. Saw-cut end slice (Meteoritical Bulletin: 56 vol.% olivine (Fa12), 42 vol.% clinopyroxene (Fs6Wo39), 2 col.% metal+troilite. [ROM suggests acapulcoite affinities].

NWA 6292
Achondrite, ungrouped. 1 slice (paired with NWA 5400) (ROM #1 slice) (Meteoritical Bulletin: predominantly olivine (Fa30) with subordinate orthopyroxene (Fs24Wo2); brachinite-like) (ROM #M56693).

NWA 6693
Achondrite, ungrouped (Meteoritical Bulletin: 70.3 vol.% pyroxene (En57Wo3), 15.6 vol.% olivine (Fo47-51), 13.4 vol.% plagioclase. 

NWA 6962
Achondrite, ungrouped (Meteoritical Bulletin: predominantly olivine (Fa47); brachinite-like) [ROM: may be linked to NWA 7680] (ROM #M56452).

NWA 7680
Achondrite, ungrouped (Meteoritical Bulletin: two areas: 1 metal-rich, 1 silicate-rich; predominantly olivine (Fa45) with interstitial plagioclase) [ROM suggests ureilite-lodranite affinities].

++++++++++++++++++++++
16.9.3b. XRD data: Anomalous/ungrouped achondrites measured at Royal Ontario Museum (Oct. 2016)

XRD acquired at the ROM; traces interpreted at the University of Winnipeg.

NWA 2976 (LM53436) – slab
NWA 5363 (M56016) - slab

NWA 5400 (M56738) - slab

NWA 6292 (M56693) - slab

NWA 6962 (M56452) - slab

+++++++++++++++++++++++++++++++++++++
16.9.4a. Ungrouped achondrites – from Matt Izawa (Misasa Institute)

NWA 4587
Ungrouped basaltic achondrite (paired with NWA 011); slab.

+++++++++++++++++++++++++++++++++++++++++++

16.10a. Brachinites

16.10.1a. Brachinites available at the University of Winnipeg

None

+++++++++++++++++++++++++++++++

16.10.2a. Brachinites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

MET400 
Brachina meteorite (labelled as “Brachina meteorite, 0.31 grams” (powdered sample)); from Mike Gaffey (Feb. 2007)

++++++++++++++++++++++++++++++++
16.10.3a. Brachinites from the Royal Ontario Museum
Note: saw-cut powders obtained during dry-cutting (no lubricants) of sample using a diamond wire saw.

(i) On loan to University of Winnipeg

NWA 4872
Brachinite; saw-cut fines (ROM #M53127).
NWA 4872
Brachinite; saw-cut end piece; 6.19 grams (ROM #M53127).

(ii) Spectra measured at the Royal Ontario Museum (October 2016)

NWA 4872
Brachinite: saw-cut and cut-and-polished slabs

NWA 7828
Brachinite: slab, polished slab, and saw-cut powder (no ROM number). 

+++++++++++++++++++++++++++++

16.10.3b. XRD DATA: Brachinites from the Royal Ontario Museum
XRD acquired at ROM; peaks identified at University of Winnipeg.

NWA 7828 (no ROM number) - slab

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11a. Howardite, eucrites, and diogenites (HEDs)

16.11.1a. HED meteorites available at the University of Winnipeg

+++++++++++++++++++++++++
16.11.1a. HED meteorites available at the University of Winnipeg

XRD acquired at ROM; peaks identified at University of Winnipeg.

Millbillillie
Eucrite, monomict: full slice (with fusion crust): 4.4 grams (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWA yyyyy
Diogenite: unclassified – 12 grams; medium green with some rust along grain boundaries (Habbibi Meteorites; Tucson Rock and Gem Show – February 2018).
NWA 6711
Eucrite – saw-cut powder (probably dry-cut) (from Vishnu Reddy: UArizona); full 5 ml vial (for ManitobaSat payload). Moderate shock stage; low weathering grade.
NWA 8743
Eurcrite – melt breccia; found 2014; 4.0 gram double slice; purchased from Meteorite Exchange – April 2022 (~2 cm x 2 cm; their ID 8743-20); multiple clasts. Petrography: (C. A. Lorenz, Vernad) The rock is a breccia consisting of coarse-grained gabbro fragments (33 vol%) up to 6 × 3 cm and minor fragments of fine-grained pyroxene-feldspar rocks. The rock fragments are embedded into a fine-grained matrix full of fine mineral and rock fragments. The matrix consists of pyroxene and feldspar needles which form a graphic intergrowth. Shock and weathering stages not recorded. Geochemistry: (N. N. Kononkova, Vernad, EMP) coarse-grained gabbro-pyroxene Fs57.6Wo4.5 (N=10; Fe/Mn = 30.6) Fs55.0-60.3Wo2.2-7.6; feldspar An91.0Ab8.6 (N=12). Classification: Eucrite melt breccia 
NWA 11081
Eucrite, unbrecciated; 15.9 gram double slice; mostly light couloured, one crack, very minor rust [Aerolite Meteorites; NWA 11081 15.9 g; December 2020]. Moderate shock stage; low weathering grade.
NWA 12265
Eurcrite-melt breccia; 51.8 gram double slice; abundant purple and lighter clasts. From Aerolite Meteorites; their sample ID NWA 12265 51.8 g. Meteoritical Bulletin: Petrography: (A. Irving and S. Kuehner, UWS) Composed predominantly of a vesicular quenched melt rock lithology enclosing sparse remnant clasts of shocked gabbroic eucrite. The fine grained melt rock lithology consists of aluminous pigeonite (with two distinct Fe/Mg ratios) and calcic plagioclase with accessory Ti-poor chromite, Cr-ulvöspinel and troilite. Gabbroic eucrite clasts contain recrystallized pigeonite and polycrystalline calcic plagioclase with minor fayalite, silica polymorph, Ti-poor chromite, Ti-chromite, trolite and minor barite. Geochemistry: Pigeonite (Fs31.2-38.4Wo12.0-17.1, FeO/MnO = 26-28, Al2O3 = 2.3-5.7 wt.%, N = 3), ferroan pigeonite (Fs56.6-58.7Wo16.8-19.6, FeO/MnO = 32-33, Al2O3 = 0.8-1.1 wt.%), fayalite (Fa80.4-80.8, FeO/MnO = 45-47, N = 2), plagioclase (An88.0-89.9Or0.4-0.8, N = 2). Classification: Eucrite (vesicular, shock-melted breccia). Received October 2022.
Taoudenni (was NWA 5178)
Vesiculated diogenite; saw-cut powder (from dry diamond wire saw cutting); Royal Ontario Museum (October 2016) (ROM #M55997). Moderate weathering, no shock features.
Taoudenni
Diogenite: NWA 5178 (discredited/replaced name) (Royal Ontario Museum #M55997) – slab

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.2a. HED meteorites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

16.11.2.1a. Eucrites

MJG216
“Bereba MEL2 (?)” (powder). (Gaffey unlidded box – unlabelled). Eucrite, monomict.
MJG228
“Moama <37 recrushed”. (Box labelled “Moama Property of Professor J.F. Lovering…”). Eucrite- cumulate.
MJG229
“Moama (Euc) <37”. (Box labelled “Moama Property of Professor J.F. Lovering…”). Eurcrite- cumulate.
MJG230
“Moama (Euc) 37< <74” (lid label: measured 10/21/81). (Box labelled “Moama Property of Professor J.F. Lovering…”). Eurcrite- cumulate.
MJG231
“Moama (Euc) 74<”. (Box labelled “Moama Property of Professor J.F. Lovering…”). Eurcrite- cumulate.
MJG232
“Moama Eucrite 2.412 gm Geology School Melb. University” (smaller vial; fragments). (Box labelled “Moama Property of Professor J.F. Lovering…”). Eurcrite- cumulate.
MJG300
Camel Donga eucrite – small slab (~3 grams). (Box labelled “Cumberland Falls Inclusion”, also with letter from Verkouteren). Eurcrite – monomict.
+++++++++++++++++++

16.11.2.2a. Diogenites

MJG212
“Y77256,10,50 300 mg for reflectance” (fragments). (Gaffey box labelled “Ordinary chondrites and metal silicate separates”). Note: “Y” prefix appears to be added later – different ink colour; is likely ALHA77256; looks like a diogenite under binocular microscope. ALHA 77256 is a diogenite.
+++++++++++++++++++++++++++++++++++++++++++
16.11.3a. HED meteorites on loan from Westfalische Wilhems-Universitat Munster and Max Planck Institute (Andreas Nathues)
Millbillillie
Eucrite, slice, 5.9 grams (first shipment). Eucrite – monomict.
NWA 2968
Dunitic diogenite, slice, 5.0 grams (first shipment). Achondrite – ungrouped.
NWA 5748
Howardite, slice, 5.2 grams (first shipment). Weathering grade: W1.
NWA 5751
Howardite, slice, 5.5 grams (first shipment). Weathering grade: W1.
NWA 6013
Olivine-rich diogenite, slice, 5.2 grams (first shipment). Weathering grade: W1. Shock stage: S1
NWA 6477 
Eucrite - monmict, slice, 5.1 grams (received Sept. 2011). Shock stage: low. Weathering grade: low.
JaH 626
Eucrite - polymict. Shocked eucrite, 3 sawn chips, 5.4 grams total weight (received Sept. 2011). Shock stage: high. Weathering grade: low.
Talampaya
Cumulate eucrite, 4 sawn chips, 5.3 grams total weight (received Sept. 2011)

NWA 1836
Cumulate eucrite, slice, 5.0 grams (received Sept. 2011). Partially melted. Weathering grade: W0.
NWA 1942
Howardite, chip, 5.1 grams (received Sept. 2011)

NWA 1943
Howardite, slice, 5.1 grams (received Sept. 2011)

Tatahouine
Diogenite, (end?) slice, 5.6 grams (received Sept. 2011)

Samples prepared from these (and returned to Andreas Nathues)

Millbillillie-a
Millbillillie eucrite, <45 μm, dry sieved.

Millbillillie-b
Millbillillie eucrite, 45-90 μm, dry sieved.

Millbillillie-c
Millbillillie eucrite, 90-250 μm, dry sieved.

Millbillillie-d
Millbillillie eucrite, 250-500 μm, dry sieved.

+++++++++++++++++++++++++++++++++++++

16.11.4a. HED meteorites on loan from NASA Astromaterials Facility

PRA 04401
CM2-bearing howardite. Generic: PRA 04 401; Specific: 18; Parent: 8; weight: 3.068 grams (received Nov. 16, 2011). Returned to JSC 2012.

PRA 04401-a
PRA 04401 howardite (+ CM2 xenoliths), <45 μm, dry sieved.

PRA 04401-b
PRA 04401 howardite (+ CM2 xenoliths), 45-90 μm, dry sieved.

PRA 04401-c
PRA 04401 howardite (+ CM2 xenoliths), 90-250 μm, dry sieved.

+++++++++++++++++++++++++++++++++++
16.11.5. HED meteorites on loan from Vishnu Reddy (Planetary Science Institute)

NWA 6711
Eucrite: cutting dust (4.67 grams) – vial of fine powder. Moderate shock; low weathering grade.
NWA 7465
Monomict eucrite; Northwest Africa. Full slice: 1.76 grams. Fall/find: July 2012. Received from Big Kahuna Meteorites Dec. 12, 2013; for Vishnu Reddy study.Shock stage: low; weathering grade: low.
Dhofar 485
Howardite. Shock stage: S4; weathering grade: W2.
NWA 10446
Diogenite, <64 µm powder. Phases identified by Raman: pyroxene. By XRD: Fe-bearing enstatite. Shock stage: low; weathering grade: low.
++++++++

Camel Donga-VR
Eucrite, monomict; 2.88 gram stone with somewhat rusty fusion crust and one broken face showing some rusting mostly peripheral to fusion crust.

Tatahouine-VR

Diogenite: 2 fragments totalling 3.83 grams; one fragment looks cleaner (greener) than the other. No sign of fusion crust, but nature of some darker faces unknown. 
+++++++++++++++++++++++++++++++++++

16.11.6. HED meteorites whose reflectance spectra were measured at the Royal Ontario Museum – October 2016
Note: saw-cut powders obtained during dry-cutting (no lubricating fluids) of meteorites with a diamond wire saw.

Taoudenni
Vesiculated diogenite; aka NWA 5178 (discredited name); slab (multiple slabs available) and saw-cut powder

NWA 7052
Eucrite; slab and saw-cut powder measured (large piece also available).

+++++++++++++++++++++++++++++++++++
16.11.7. HED meteorites from Matthew Izawa (Okayama University) – December2016)
NWA 7831
Diogenite: ~2 gram fragment, with some rust staining; found March 2013 (from Cosmic Cutlery Meteorites). Shock stage: low. Weathering grade: moderate.
Tirhert
Eucrite fall. Unbvrecciated gabbroice eucrite. Shock stage: low; Weathering grade: none (fall). 
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.8a. HEDs from Darby Dyar, Mt. Holyoke College for TREX/SSERVI (July 2021).

ALHA76005,115A


Eucrite: <25 µm (~100 mg); 63-125 µm Aliquot A (~250 mg). Eucrite – polymict. Weathering grade: A.
EETA 79002,178,206,212A
Diogenite: <25 µm (~350 mg); 63-125 µm (~200 mg). Weathering grade: B.
LAR 12326,84A



Howardite: <25 µm (~250 mg); 63-125 µm (~200 mg). Weathering grade: B.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.12a. Ureilites

16.12.1a. Ureilites available at the University of Winnipeg

None

+++++++++++++++++++++++++

16.12.2a. Ureilites on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

MJG227
“Novo-Urei Me-582 (Ureilite)” (powder). (Gaffey unlidded box – unlabelled).

+++++++++++++++++++++++++++++++++

16.12.3a. Ureilites on loan from NASA JSC (Pierre Hudon) 
ID and class (from Pierre Hudon). Samples provided to University  of Winnipeg for spectral measurements (and returned).

ALHA77257

ALH81101

ALH82130

DaG319

EET87517

EET87720

EET96042

Goalpara

GRA95205

GRO96675

Kenna

LEW88201

META78008

MET01085

Novo Urei

NWA1500

PCA82506

Y791538

++++++++++++++++++++++++++++++++++

16.12.4. Ureilites from the Royal Ontario Museum (Oct. 2015)

(i) Ureilites on loan from the Royal Ontario Museum

Shishr 007
Ureilite ; (ROM #M53445) ; 5.03 grams ; end slice.

Shishr 007
Ureilite ; (ROM #M53445) ; 1.33 gram end piece with two saw-cut faces.

(ii) Ureilites measured at the Royal Ontario Museum – October 2016
Note: saw-cut powders obtained during dry-cutting (no lubricating fluids) of meteorites with a diamond wire saw.

DGR001-014
Ureilite (?) : Untyped, probable ureilite (from David Gregory collection); 1 slice and saw-cut powder.

JaH 054
Ureilite; slab and saw-cut powder (ROM #M53383).

(iii) Samples provided for use on ManitobaSAT – April 2019

NWA 7059
Ureilite: ROM #M53393; 1.72 grams; saw-cut powder.

+++++++++++++

16.12.5. Ureilites from Darby Dyar, Mt. Holyoke College for TREX/SSERVI (July 2021).

GRA 95205,81A
Ureilite : 63-125 µm (~150 mg) ; <25 µm (~250 mg).
+++++++++++++++++++++++++++++
16.12.4b. XRD data : Ureilites measured at the Royal Ontario Museum October 2016

XRD acquired at the ROM; peak fits at University of Winnipeg

DGR 001-014 - slab
JaH 054 (M53383) – slab
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.13a. Angrites

16.13.1a. Angrites available at the University of Winnipeg

None

+++++++++++++++++++++++++

16.13.2a. Angrites (spectra only) from RELAB data base
Spectra (not samples) from Tom Burbine - Mt. Holyoke College

D’Orbigny
Angrite.
LEW86010
Angrite.
Sahara 99555
Angrite.

16.13.3a. Angrites measured at the Royal Ontario Museum (October 2016)

NWA 2999
Angrite. 6 fragments (ROM #M53440); slices and powder (ROM #M53439); 1 end slice (ROM #LM52576).

NWA 4662
Angrite. 3 slices (ROM #M53336).

Sahara 9955
Angrite. 1 slice (ROM #LM51880).

+++++++++++++++++++

16.13.3d. XRD Data: Angrites measured at the Royal Ontario Museum (October 2016)

XRD acquired at the ROM; traces interpreted at the University of Winnipeg.

NWA 2999 (M53439) - slab

Sahara 9955 (LM51880) - slab
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.14a. Unknown meteorite types

16.14.1. Unknown meteorite types available at the University of Winnipeg

NWAxxx-01
Unknown Northwest Africa (NWA) meteorite type: 21 g (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).
NWAxxx-02
Unknown Northwest Africa (NWA) meteorite type: 24 g (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWAxxx-03
Unknown Northwest Africa (NWA) meteorite type: 14 g (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWAxxx-04
Unknown Northwest Africa (NWA) meteorite type: 14 g (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWAxxx-05
Unknown Northwest Africa (NWA) meteorite type: 22g (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWAxxx-06
Unknown Northwest Africa (NWA) meteorite type: 11 g (Aerolite Meteorites Inc.; Tucson Rock and Gem show – Feb. 2018).

NWAa-l
12 unsorted NWA meteorites; few grams to few tens of grams; 500 grams total weight [from Aerolite Meteorites]; March 2020.

+++++++++++++++++++++++++

16.14.2a. Unknown meteorite types on loan from the University of North Dakota (Mike Gaffey)
These are the meteorites measured by Mike Gaffey for his 1974 PhD thesis and 1976 JGR paper (3 boxes received June 2008 for re-measurement). Original vial labels used below. Note: italicized type refers to information from external sources.

MJG131
Unknown sample – no label on vial. (“Gaffey Meteorite Inventory. Ordinary Chondrites (box 2)”).
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.15a. Primitive Achondrites

16.15.1a. Primitive achondrites available at the University of Winnipeg

NWA 6685
Lodranite: 2.633 grams; polished partial slice (Mo’s Meteorites and Minerals; Tucson Rock and Gem show – Feb. 2018).

NWA 10265
Lodranite: end slice, some rust, a few metal grains; black and white texture [Aerolite Meteorites: NWA 10265, 2.3g; December, 2020].

+++++++++++++++++++++++++

16.15.2a. Primitive achondrites (spectra only) from RELAB data base
EET84302
Chromite-rich lodranite/acapulcoite (spectra from Hiroi). Sample EET843021 is spectrum of fusion crust, EET843022-6 are of different faces; EET843027 is average of faces 2-6.
++++++++++++++++++++++++++++

16.15.3a. Primitive achondrites measured at the Royal Ontario Museum (Oct. 2016)

Note : saw-cut powder is powder collected during dry-cutting (no lubricants) of sample using diamond wire saw.

NWA 725
Acapulcoite (paired with NWA 1463 maybe) (ROM #M56746).

NWA 1457
Winonaite (ROM says lodranite) (ROM #LM53580).
NWA 1463
Winonaite/tissemouminite (see also NWA 725) ; slice and saw-cut powder (ROM #M49055B).
NWA 4024
Winonaite

NWA 4833
Lodranite

NWA 4875
Lodranite ; slice ans saw-cut powder (ROM #LM53390).
NWA 5980
Winonaite, metal-rich. (Meteoritical Bulletin : olivine is Fa4.1, pyroxene is Fs6.2) (ROM #M56688).
NWA 7474
Lodranite (ROM #M56737)
NWA 8422
Lodranite (ureilite ?) ; slice and saw-cut powder (no ROM number).

+++++++++++++++++++++++++++++++++

16.15.3b. XRD DATA: Primitive achondrites measured at the Royal Ontario Museum (Oct. 2016)

XRD acquired at the ROM; peaks identified at University of Winnipeg

NWA 725 (M56746) – slab

NWA 1457 (LM53580) - slab

NWA 1463 (M49055B) – slab

NWA 4875 (LM53390) - slab

NWA 5980 (M56688) - slab

NWA 7474 (M56737) - slab

NWA 8422 (no ROM #) – slab

NWA 4833 (ROM #53441) – slab. ROM XRD results : silicate peaks are a bit broad, so silicate identifications are somewhat ambiguous. Results for scan over 22-46 two-theta: enstatite; troilite; chromite; forsterite; enstatite, ferroan; diopside; albite, calcian. Note: diffractogram shifted to match olivine peaks and account for slab height effects and offset.
+++++++++++++++++++++++++++++++++++++++++++++

16.15.4a. Primitive achondrites on loan from NASA Astromaterials Center (Received March 13, 2017)
Note : saw-cut powder is powder collected during dry-cutting (no lubricants) of sample using diamond wire saw.

ID : Generic
Specific
Parent
Weight
Description

EET 84302
53
6
2.820 g
Acapulcoite/lodranite: irregular piece + small fragment; fusion crust on one face.

GRA 95209
190
190
36.100 g
Lodranite: thick slice with partial fusion crust; rest of faces cut and polished.

GRA 95209
272
37
1.273 g
Lodranite: saw-cut fine powder.

MET 01244
18
0
1.960 g
Acapulcoite: irregular piece (no fusion crust ?); rusty.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16a. Meteorite mixtures

See also Section 15 of this document for additional mixtures.
16.16.1a. Meteorite mixtures available at the University of Winnipeg

See section 15 of this document.

+++++++++++++++++++++++++

16.16.2a. Meteorite mixtures on loan from the University of North Dakota (Mike Gaffey)
These are mixtures provided by Mike from the University of North Dakota for spectral measurements (and returned to them).

och45
0% eucrite (<45 µm) + 100% ordinary chondrite (<45 µm).

03euc045
3% eucrite (<45 µm) + 97% ordinary chondrite (<45 µm).

06euc045
6% eucrite (<45 µm) + 94% ordinary chondrite (<45 µm).

09euc045
9% eucrite (<45 µm) + 91% ordinary chondrite (<45 µm).

12euc045
12% eucrite (<45 µm) + 88% ordinary chondrite (<45 µm).

15euc045
15% eucrite (<45 µm) + 85% ordinary chondrite (<45 µm).

18euc045
18% eucrite (<45 µm) + 82% ordinary chondrite (<45 µm).

20euc045
20% eucrite (<45 µm) + 80% ordinary chondrite (<45 µm).

25euc045
25% eucrite (<45 µm) + 75% ordinary chondrite (<45 µm).

30euc045
30% eucrite (<45 µm) + 70% ordinary chondrite (<45 µm).

35euc045
35% eucrite (<45 µm) + 65% ordinary chondrite (<45 µm).

euc045
100% eucrite (<45 µm) + 0% ordinary chondrite (<45 µm).


++++++

och4590
0% eucrite (45-90 µm) + 100% ordinary chondrite (45-90 µm).

03euc4590
3% eucrite (45-90 µm) + 97% ordinary chondrite (45-90 µm).

06euc4590
6% eucrite (45-90 µm) + 94% ordinary chondrite (45-90 µm).

09euc4590
9% eucrite (45-90 µm) + 91% ordinary chondrite (45-90 µm).

12euc4590
12% eucrite (45-90 µm) + 88% ordinary chondrite (45-90 µm).

15euc4590
15% eucrite (45-90 µm) + 85% ordinary chondrite (45-90 µm).

18euc4590
18% eucrite (45-90 µm) + 82% ordinary chondrite (45-90 µm).

20euc4590
20% eucrite (45-90 µm) + 80% ordinary chondrite (45-90 µm).

25euc4590
25% eucrite (45-90 µm) + 75% ordinary chondrite (45-90 µm).

30euc4590
30% eucrite (45-90 µm) + 70% ordinary chondrite (45-90 µm).

35euc4590
35% eucrite (45-90 µm) + 65% ordinary chondrite (45-90 µm).

euc4590
100% eucrite (45-90 µm) + 0% ordinary chondrite (45-90 µm).

+++++++++++++++++++++++++++++++++++++++

16.16.3a. Meteorite mixtures on loan from Max Planck Institute (Andreas Nathues)
Millbillillie eucrite + Murchison CM2 carbonaceous chondrite (for Dawn Vesta data analysis)
VES001
100% Millbillillie eucrite (from DLR, <45 μm)

VES002
95% Millbillillie eucrite (<45 μm) + 5% Murchison CM2 (<45 μm)

VES003
90% Millbillillie eucrite (<45 μm) + 10% Murchison CM2 (<45 μm)

VES004
80% Millbillillie eucrite (<45 μm) + 20% Murchison CM2 (<45 μm)

VES005
70% Millbillillie eucrite (<45 μm) + 30% Murchison CM2 (<45 μm)

VES006
60% Millbillillie eucrite (<45 μm) + 40% Murchison CM2 (<45 μm)

VES007
50% Millbillillie eucrite (<45 μm) + 50% Murchison CM2 (<45 μm)

VES008
40% Millbillillie eucrite (<45 μm) + 60% Murchison CM2 (<45 μm)

VES009
100% Murchison CM2 (from Jim Bell – ASU; <45 μm)

+++++++++++++++++++++++++++++++++++++++++

16.16.4a. Meteorite mixtures on loan from Paul Buchanan

EET87503 HED + glass from the same meteorite (August 2013)

Sample used to produce mixtures of an HED + glass (glass made from the HED). The HED is the howardite EET87503. The glass is <300 µm and the howardite powder is <~250 µm. Returned to Paul Buchanan.
MGM01
100% EET87503 + 0% Glass. 

MGM02
85% EET87503 + 15% Glass.

MGM03
70% EET87503 + 30% Glass.

MGM04
65% EET87503 + 45% Glass.

MGM05
50% EET87503 + 50% Glass.

MGM06
45% EET87503 + 55% Glass.

MGM07
30% EET87503 + 70% Glass.

MGM08
15% EET87503 + 85% Glass.

MGM09
0% EET87503 + 100% Glass.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.5a. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

NWA 7465 eucrite + Chergach H chondrite (unshocked lithology), <45 μm intimate mixtures

ECM001
100% NWA 7465 + 0% Chergach light lithology.

ECM002
95% NWA 7465 + 5% Chergach light lithology.

ECM003
90% NWA 7465 + 10% Chergach light lithology.

ECM004
85% NWA 7465 + 15% Chergach light lithology.

ECM005
80% NWA 7465 + 20% Chergach light lithology.

ECM006
75% NWA 7465 + 25% Chergach light lithology.

ECM007
0% NWA 7465 + 100% Chergach light lithology.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.6a. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

Dhofar 485 howardite + Bassikounou H5 chondrite – powdered intimate mixtures (for Vishnu Reddy)

Dhofar 485
100% Dhofar 485 (howardite; <45 μm). (VMM007/VMM107).

VMM001
95% Dhofar 485 (howardite, <45 μm) + 5% Bassikounou (H5 chondrite, <45 μm).

VMM002
90% Dhofar 485 (howardite, <45 μm) + 10% Bassikounou (H5 chondrite, <45 μm).

VMM003
85% Dhofar 485 (howardite, <45 μm) + 15% Bassikounou (H5 chondrite, <45 μm).

VMM004
80% Dhofar 485 (howardite, <45 μm) + 20% Bassikounou (H5 chondrite, <45 μm).

VMM005
75% Dhofar 485 (howardite, <45 μm) + 25% Bassikounou (H5 chondrite, <45 μm).

VMM006
100% Bassikounou (H5 chondrite, <45 μm).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.7a. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

Dhofar 485 howardite + Chelyabinsk LL5  chondrite – powdered intimate mixtures (for Vishnu Reddy)

Dhofar 485
100% Dhofar 485 (howardite; <45 μm). (VMM007/VMM107).

VMM101
95% Dhofar 485 (howardite, <45 μm) + 5% Chelyabinsk (LL5 chondrite, <45 μm).

VMM102
90% Dhofar 485 (howardite, <45 μm) + 10% Chelyabinsk (LL5 chondrite, <45 μm).

VMM103
85% Dhofar 485 (howardite, <45 μm) + 15% Chelyabinsk (LL5 chondrite, <45 μm).

VMM104
80% Dhofar 485 (howardite, <45 μm) + 20% Chelyabinsk (LL5 chondrite, <45 μm).

VMM105
75% Dhofar 485 (howardite, <45 μm) + 25% Chelyabinsk (LL5 chondrite, <45 μm).

VMM106
100% Chelyabinsk (LL5 chondrite, <45 μm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.8a. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

Chergach H5 chondrite – light and dark lithologies - powdered intimate mixtures (for Vishnu Reddy)

CMM200
<45 μm; 100% Chergach dark lithology + 0% Chergach light lithology.

CMM201
<45 μm; 90% Chergach dark lithology + 10% Chergach light lithology.

CMM202
<45 μm; 80% Chergach dark lithology + 20% Chergach light lithology.

CMM203
<45 μm; 70% Chergach dark lithology + 30% Chergach light lithology.

CMM204
<45 μm; 60% Chergach dark lithology + 40% Chergach light lithology.

CMM205
<45 μm; 50% Chergach dark lithology + 50% Chergach light lithology.

CMM206
<45 μm; 40% Chergach dark lithology + 60% Chergach light lithology.

CMM207
<45 μm; 30% Chergach dark lithology + 70% Chergach light lithology.

CMM208
<45 μm; 20% Chergach dark lithology + 80% Chergach light lithology.

CMM209
<45 μm; 10% Chergach dark lithology + 90% Chergach light lithology.

CMM210
<45 μm; 0% Chergach dark lithology + 100% Chergach light lithology.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.16.9a. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

Mreira L6 ordinary chondrite (shocked) – light and dark lithologies - powdered intimate mixtures (for Vishnu Reddy)
MM01: 100% dark lithology + 0% light lithology, <45 μm powder.

MM02: 95% dark lithology + 5% light lithology, <45 μm powder.

MM03: 90% dark lithology + 10% light lithology, <45 μm powder.

MM04: 80% dark lithology + 20% light lithology, <45 μm powder.

MM05: 70% dark lithology + 30% light lithology, <45 μm powder.

MM06: 60% dark lithology + 40% light lithology, <45 μm powder.

MM07: 50% dark lithology + 50% light lithology, <45 μm powder.

MM08: 40% dark lithology + 60% light lithology, <45 μm powder.

MM09: 30% dark lithology + 70% light lithology, <45 μm powder.

MM10: 20% dark lithology + 80% light lithology, <45 μm powder.

MM11: 10% dark lithology + 90% light lithology, <45 μm powder.

MM12: 5% dark lithology + 95% light lithology, <45 μm powder.

MM13: 0% dark lithology + 100% light lithology, <45 μm powder.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.16.10a. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

Dhofar 485 howardite + Thika L6 chondrite – powdered intimate mixtures (for Vishnu Reddy)

Dhofar 485
100% Dhofar 485 (howardite; <45 μm). (VMM007/VMM107; VMM201).

VMM202
95% Dhofar 485 (howardite, <45 μm) + 5% Thika (L6 chondrite, <45 μm).

VMM203
90% Dhofar 485 (howardite, <45 μm) + 10% Thika (L6 chondrite, <45 μm).

VMM204
85% Dhofar 485 (howardite, <45 μm) + 15% Thika (L6 chondrite, <45 μm).

VMM205
80% Dhofar 485 (howardite, <45 μm) + 20% Thika (L6 chondrite, <45 μm).

VMM206
75% Dhofar 485 (howardite, <45 μm) + 25% Thika (L6 chondrite, <45 μm).

VMM207
50% Dhofar 485 (howardite, <45 μm) + 50% Thika (L6 chondrite, <45 μm).

VMM208
0% Dhofar 485 (howardite, <45 μm) + 100% Thika (L6 chondrite, <45 μm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.16.11a. Meteorite mixtures – University of Winnipeg and Vishnu Reddy

NWA 5748 howardite + Murchison CM2 chondrite (JFB001 sample)
VES300
100% NWA 5748 howardite + 0% Murchison CM2 chondrite; both <45 µm.

VES301
0% NWA 5748 howardite + 100% Murchison CM2 chondrite; both <45 µm.

VES302
95% NWA 5748 howardite + 5% Murchison CM2 chondrite; both <45 µm.

VES303
90% NWA 5748 howardite + 10% Murchison CM2 chondrite; both <45 µm.

VES304
80% NWA 5748 howardite + 20% Murchison CM2 chondrite; both <45 µm.

VES305
70% NWA 5748 howardite + 30% Murchison CM2 chondrite; both <45 µm.

VES306
60% NWA 5748 howardite + 40% Murchison CM2 chondrite; both <45 µm.

VES307
50% NWA 5748 howardite + 50% Murchison CM2 chondrite; both <45 µm.

VES308
40% NWA 5748 howardite + 60% Murchison CM2 chondrite; both <45 µm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.12a. Meteorite mixtures from Max Planck Institute (Gunni Thangjam) – October 2014-10-21

82 samples in total.
Samples used in the mixtures and abbreviations): 



HD:
DaG 779: diogenite-rich howardite. Shock stage: S2.

CM:
Jbilet: CM2 carbonaceous chondrite


GL:

Millbillillie glass – glass made from Millbillillie eucrites


HE:

NWA 1929: Eucrite-rich howardite. Shock stage: high.

OL:

Olivine: terrestrial olivine

These abbreviations are used in the mixture descriptions below; numbers following the 2 letter abbreviations refer to the weight percent abundances. The sample/powder preparation of the howardites are done in two ways. Each sample is divided into two halves, and one half is used to prepare samples in just only 0-63 micron size (reference sample), while the other half is used to prepare samples in various grain sizes (0-63, 63-125, 125-250, 250-630).
Sample No.
Mixture-Name
Grain size (μm)
a) HE-GL mixtures; 0-63 μm

1
2. HE20-GL80
<63 μm
2
4. HE40-GL60
<63 μm
3
5. HE50-GL50
<63 μm
4
6. HE60-GL40
<63 μm
5
7. HE70-GL30
<63 μm
6
8. HE80-GL20
<63 μm
7
9. HE90-GL10
<63 μm
b) HD-GL mixtures; 0-63 μm

8
2. HD20-GL80
<63 μm
9
4. HD40-GL60
<63 μm
10
5. HD50-GL50
<63 μm
11
6. HD60-GL40
<63 μm
12
7. HD70-GL30
<63 μm
13
8. HD80-GL20
<63 μm
14
9. HD90-GL10
<63 μm
c) HE-CM2 mixtures; 0-63 μm

15
1. HE10-CM90
<63 μm
16
2. HE20-CM80
<63 μm
17
3. HE30-CM70
<63 μm
18
4. HE40-CM60
<63 μm
19
5. HE50-CM50
<63 μm
20
6. HE60-CM40
<63 μm
21
7. HE70-CM30
<63 μm
22
8. HE80-CM20
<63 μm
23
9. HE90-CM10
<63 μm
d) HD-CM2 mixtures; 0-63 μm

24
1. HD10-CM90
<63 μm
25
2. HD20-CM80
<63 μm
26
3. HD30-CM70
<63 μm
27
4. HD40-CM60
<63 μm
28
5. HD50-CM50
<63 μm
29
6. HD60-CM40
<63 μm
30
7. HD70-CM30
<63 μm
31
8. HD80-CM20
<63 μm
32
9. HD90-CM10
<63 μm
e) HD-OL mixtures; 0-63 μm

33
1. HD10-OL90
<63 μm
34
2. HD20-OL80
<63 μm
35
3. HD30-OL70
<63 μm
36
4. HD40-OL60
<63 μm
37
5. HD50-OL50
<63 μm
38
6. HD60-OL40
<63 μm
39
7. HD70-OL30
<63 μm
40
8. HD80-OL20
<63 μm
41
9. HD90-OL10
<63 μm
f) HE-OL mixtures; 0-63 μm

42
1. HE10-OL90
<63 μm
43
2. HE20-OL80
<63 μm
44
3. HE30-OL70
<63 μm
45
4. HE40-OL60
<63 μm
46
5. HE50-OL50
<63 μm
47
6. HE60-OL40
<63 μm
48
7. HE70-OL30
<63 μm
49
8. HE80-OL20
<63 μm
50
9. HE90-OL10
<63 μm
g) HE-OL mixtures; 63-125 μm

51
1. HE10-OL90
63-125 μm
52
2. HE20-OL80
63-125 μm
53
3. HE30-OL70
63-125 μm
54
4. HE40-OL60
63-125 μm
55
5. HE50-OL50
63-125 μm
56
6. HE60-OL40
63-125 μm
57
7. HE70-OL30
63-125 μm
58
8. HE80-OL20
63-125 μm
59
9. HE90-OL10
63-125 μm
h) HD-OL mixtures; 63-125 μm

60
1. HD10-OL90
63-125 μm
61
2. HD20-OL80
63-125 μm
62
3. HD30-OL70
63-125 μm
63
4. HD40-OL60
63-125 μm
64
5. HD50-OL50
63-125 μm
65
6. HD60-OL40
63-125 μm
66
7. HD70-OL30
63-125 μm
67
8. HD80-OL20
63-125 μm
68
9. HD90-OL10
63-125 μm
i) Pure samples

69
1. HE

<63 μm
70
2. HE

63-125 μm
71
3. HE

125-250 μm
72
4. HE

250-630 μm
73
5. HE-all
<630 μm? ("whole sample/Reference sample, 0-63")
74
1. HD

<63 μm
75
2. HD

63-125 μm
76
3. HD

125-250 μm
77
4. HD

250-630 μm
78
5. HD-all
<630 μm? ("whole sample/Reference sample, 0-63")
79
1. CM

<63 μm
80
1. OL

<63 μm
81
2. OL

63-125 μm
82
1. GL

<63 μm
+++++++++++++++++++++++++++++++
16.16.13a. Chelyabinsk LL% chondrite: impact melt fraction + unaltered fraction

CMM001
100% impact melt breccia + 0% unshocked fraction

CMM013
0% impact melt breccia + 100% unshocked fraction

CMM002
95% impact melt breccia + 5% unshocked fraction

CMM003
90% impact melt breccia + 10% unshocked fraction

CMM004
80% impact melt breccia + 20% unshocked fraction

CMM005
70% impact melt breccia + 30% unshocked fraction

CMM006
60% impact melt breccia + 40% unshocked fraction

CMM007
50% impact melt breccia + 50% unshocked fraction

CMM008
40% impact melt breccia + 60% unshocked fraction

CMM009
30% impact melt breccia + 70% unshocked fraction

CMM010
20% impact melt breccia + 80% unshocked fraction

CMM011
10% impact melt breccia + 90% unshocked fraction

CMM012
5% impact melt breccia + 95% unshocked fraction

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.17a. Tektites
16.17.1a. Tektites available at the University of Winnipeg

TEK001
Indochinite
Indochina (from Houston Museum).

TEK002
Indochinite
Indochina (from Houston Museum).

TEK003
Australite
Australia (Collector's Marketing Corp.).

TEK004
Indochinite
ZhanJiang, Guangdong, China (Nature’s Own, Dec. 17, 2009).

TEK005
Indochinite
Dianbai, Guangdong, China (Medusa, Elora, ON, Canada).

TEK006
Indochinite
Dianbai, Guangdong, China (Medusa, Elora, ON, Canada).

TEK007
Indochinite
Guangdong Province, China [John Medici Collection, Tucson 2011 show].

TEK008
Moldavite
Locenice, Czech Republic [The Crystal Circle, Tucson 2011 show].

TEK009
Australite
Tektite: Australia [Williams Minerals/Crystal Universe Pty. Ltd., Tucson 2011 show].

TEK010
Australite
Tektite: Australia [Williams Minerals/Crystal Universe Pty. Ltd., Tucson 2011 show].

TEK011
Indochinite
Tektites (5) (indochinites) – southeast Asia [December 2012 AGU Fall meeting; Ikon Mining and Exploration]; ~10 grams each – 5 samples.

TEK012
Tektite

Indochinite; ZhanJiang, GuangDong, China (purchased at December 2012 AGU Fall Meeting).

TEK013
Tektite

Indochinite; ZhanJiang, GuangDong, China (purchased at December 2012 AGU Fall Meeting).
For tektite information see: Fudali et al. (1987).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.18a. Impact glasses
16.18.1a. Impact glasses available at the University of Winnipeg

SIL130
“Libyan glass” aka “Libyan Desert Glass” (lechatelierite): ROM #M26692, 3.9 grams, sawn portion (from Royal Ontario Museum - April 14, 2009). See also Section 2.11 for analyses. Provided for destructive analysis.

SIL131
“Dakhleh glass”. ROM #M48024 (lechatelierite), 2 grams (from Royal Ontario Museum - April 14, 2009). See also Section 2.11 for analyses. Provided for destructive analysis.

SIL132
Libyan Desert Glass: Gilf Kebir region, Egypt [The Crystal Circle, Tucson 2011 show]. See also Section 2.11 for analyses.
SIL136
Libyan Desert Glass: 17 grams; Pangaea Industries; Tucson Rock and Gem Show – February 2018).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.19a. Non-meteorites and possible meteorites
16.19.1a. Samples available at the University of Winnipeg

MNO001
Fragments of a much larger piece (serpentinite/hornblendite?). From Raven Thundercrag (examined in ~2003).

MNO002
Fragments from a supposed witnessed fall; Fairford, MB, Canada (2003).

MNO003
Fragments from a larger “meteorite” – from Mike Conrad (date unknown).

MNO004
Rock “F3” collected during 1999-2000 meteorite hunt in Saskatchewan, probably Craik or Holdfast.

MNO005
Iron concretions, near Hondo, TX, USA (aka MIS013); collected by Sue Atkinson (~1988); 3 pieces, one cut open.

MNO006
Iron concretion, collected during 1999-2000 meteorite hunt in Saskatchewan; probably Holdfast.

MNO007
Fragments of a rock that suddenly “appeared” near Winnipegosis, MB, Canada (along with various pieces of “literature”).
MNO08
“Rusty 1”: Small magnetic stones found in supposed new impact crater in Whiteshell region, Manitoba. 
MNO09
“Rusty 2”: Fragment of larger piece of supposed 160 lb. meteorite found in Whiteshell region, Manitoba.

MNO10
Possible meteorite from Nantang Province, China (Tucson Rock and Gem Show – February 2018). Not a meteorite; UW XRD Bruker D8 shows magnetite, andradite, quartz, and hematite.
MNO011
Possible meteorite from Jim Bain (Sprague, Manitoba) – received April 2, 2024

++++++++++++++++

16.19.1b. XRD data

MNO011 (UW April 2022)
Augite; albite, ordered; minor orthoclase; minor biotite-1M.

++++++++++++++++

16.19.1.d. Spectral data

MNO011
PSF 240416a0000.asd
<45 powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240416 MNO011].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.21. Bennu analogues – mixtures and meteorites (from Devin Schrader, Smithsonian Institution)

(i) Received from Devin Schrader at Smithsonian Institution (Oct. 6, 2014). To test mineral detection algorithms for OSIRIS-REx spectrometers.
Enclosed letter: VIS-NIR Ser. #2. Please find enclosed the last 5 analog samples for analysis.
Sample descriptions (wt. %):


Olivine
Pyroxene
Plag
Fe-Ni metal
Troilite
Organics
Magnetite
Calcite
Phyllos

85% fine
85% LCP







50% sap.


15% coarse
15% HCP







50% liz.


85% fine



15% coarse










Bruce
70
10
10
5
5

Tony
66.5
9.5
9.5
4.75
4.75


5
Natasha
66.5
9.5
9.5
4.75
4.75
5

Bucky
66.5
9.5
9.5
4.75
4.75




5
Selina
59.5
8.5
8.5
4.25
4.25
5

5
5
+++++

Steve




5

5

90
90

Clint




4.75

4.75
5
85.5
Peggy




4.75
5
4.75


85.5
Wanda
5



4.75

4.75


85.5
Nick




4.25
5
4.25
5
81.5
++++++++++++++++++++
Shepard
Allende: CV3oxA
Grissom
Farmington – L5 shocked

Glenn
Murchison: CM2

Carpenter
MIL 090001: CR2

Schirra
ALH 83100 (CM1/2)

Cooper
Orgueil (CI1)

Slayton
Vigarano (CV3red)

Sample ID
Weight (analog powder)
Steve-v
0.4896 g

Wanda-v
0.4903 g

Tony-v
0.4859 g

Bucky-v
0.4857 g

Selina-v
0.4839 g

Bruce-v
0.4844 g

Natasha-v
0.4796 g

Clint-v
0.4900 g

Peggy-v
0.4900 g

Nick-v
0.4911 g

+++++++++++++++++++++++
(ii) New (additional samples) received from Devin Schrader (July 15, 2015) to test mineral detection algorithms for OSIRIS-REx spectrometers.

Note: samples to be shot with ASD, fine powder first, then after addition of coarser fraction)

Sample ID
Weight (fine-grained material)
Weight (coarse-grained material)

Sheperd-V
0.5056 grams


0.0275 grams

Grissom-V
0.5024 grams


0.0271 grams

Glenn-V
0.5008 grams


0.0264 grams

Carpenter-V
0.5008 grams


0.0270 grams



(iii) Second batch received from Devin Schrader (August 7, 2015) to test mineral detection algorithms for OSIRIS-REx spectrometers.

Sample ID
Weight (fine-grained material)
Weight (coarse-grained material)

Schirra-V
0.4991 g



0.0263 g

Cooper-V
0.5003 g



0.0265 g

Slayton-V
0.5008 g



0.0281 g




+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.22a. “Fake” and real Murchison heating experiments

A simulated (“fake”) Murchison meteorite was created to better determine the cause of spectral properties of heated Murchison conducted by Taki Hiroi, Mike Zolensky et al. in the 1990s, as well as to better determine which phases may account for the spectral differences. 

The fake Murchison consisted of 85% ASB267 (a dark serpentinite to represent the abundant phyllosilicates), 5% shungite (an aromatic-rich terrestrial organic to represent the organic phases), TRO203 (synthetic troilite to represent the sulfides in Murchison), and 5% MAG200 (nanophase magnetite to represent the magnetite in Murchison).

XRD and spectroscopy were run on the samples before and after every stage of heating. Heating was done in 100 C increments and samples were characterized by XRD and reflectance (ASD spectrometer) before and after every temperature increment. Unless otherwise noted, a new sample was used for every temperature increment. Samples were all run in a continuous flow of nitrogen, and heated for one week at the required temperature interval, expect for the 1100° C (2 hours at this temperature; heated and cooled twice) and the 1200°C run (half an hour at this temperature), due to limitations on oven capabilities. 
Two sets of runs were performed – HEx 1 and HEx 2) – described below.

Sample IDs are as follows:

HASB267
Unheated ASB267 (serpentinite); <63 µm

HSHU
Unheated SHU102 (shungite); <63 µm

HTRO
Unheated TRO203 (troilite); <45 µm

HMAG
Unheated MAG200 (magnetite); <20 µm

WMM
Fake Murchison mixture (described above); <63 µm

+++++++++++++++++++++++++++++++++++++++++++

16.22.1.a. Synthetic Murch Heating Experiment (HEx1) 

A synthetic analogue of Murchison (WMM) was created using 85% <63 µm ASB267 (darkest serpentine we have), 5% <63 µm SHU102 (shungite, organic component), 5% <45µm TRO203 (troilite), and 5% 20nm MAG200 (nanophase magnetite).

Each week, the 4 end members and a new WMM sample were placed in a vacuum oven for one week in an anoxic, dry nitrogen (Praxair NI 4.8T) environment, each at an increment of 100°C



	Week
	Temperature
	Duration at Temp
	Samples
	 
	 
	 
	 

	1
	100°C
	1 Week 
	HASB100
	HSHU100
	HTRO100
	HMAG100
	WMM100

	2
	200°C
	1 Week 
	HASB100
	HSHU100
	HTRO100
	HMAG100
	WMM200

	3
	300°C
	1 Week 
	HASB300
	HSHU300
	HTRO300
	HMAG300
	WMM300

	4
	400°C
	1 Week 
	HASB300
	HSHU300
	HTRO300
	HMAG400
	WMM400

	5
	500°C
	1 Week 
	HASB300
	HSHU300
	HTRO300
	HMAG400
	WMM500

	6
	600°C
	1 Week 
	HASB300
	HSHU300
	HTRO300
	HMAG400
	WMM600

	7
	700°C
	1 Week 
	HASB300
	
	HTRO300
	HMAG400
	WMM700

	8
	800°C
	1 Week 
	HASB300
	
	HTRO300
	HMAG400
	WMM800

	9
	900°C
	1 Week 
	HASB300
	
	HTRO300
	HMAG400
	WMM900

	10
	1000°C
	1 Week 
	HASB300
	
	HTRO300
	HMAG400
	WMM1000

	11
	1100°C
	2 Hours
	HASB300
	
	HTRO300
	HMAG400
	WMM1100

	12
	1100°C 
	2 Hours
	HASB300
	
	HTRO300
	HMAG400
	WMM1100

	13
	1200°C
	1 Hour
	HASB300
	 
	HTRO300
	HMAG400
	WMM1200


Runs 100-200°C, the vacuum (VWR 1410) was maintained around 100mb 
Runs 300-500°C, the vacuum (EQ-DZF-6020-HT500P) was maintained around 70mb
Runs 600-1200°C, the vacuum (VBF-1200X-H8)  was maintained around 10 mb

At week 3 the HMAG300 and WMM300 fell in oven before spectra could be collected.

The 1100°C run was only 2 hours at temperature (11 hours to get to temp) because the oven can only maintain 1100°C for that length of time.  A second run at 1100°C was conducted to ensure the reactions were carried out completely, and they were. 

The 1200°C run was only 1 hour at temperature (12 hours to get to temp).

The nanophase magnetite was stained red with hematite (or likelier maghemite) before we started but was only a thin layer on the 20nm grains and could not be detected with XRD.

[image: image5.jpg]


Visible colour changes (reddening) to the WMM and HASB samples commenced after the 500°C run and continued to brighten to the 900° sample.  Darkening occurred at 1000°C and continued to darken at 1100° and 1200°C.

The HMAG became redder and redder every week until 1000°C where it started to darken again.  After 1200°C it was a very dark grey.


The HTRO sample became a metallic dark purple colour starting after 400°C and continued to brighten until 700[image: image2.png]


C and the slowly darkened back to black by the end.

The HSHU sample showed no changes until the 600°C run where it started to lighten in colour and we started to lose sample.  The 700°C run showed the same colour change but we were left with almost no sample.  We did not continued the Shungite for the following runs of  800°-1200°C

Temperature


ASB267
SHU102

TRO203

MAG200
Fake Murchison

No heating


HASB267
HSHU

HTRO

HMAG

WMM-pre

100°C heated samples:
HASB 100
HSHU 100
HTRO 100
HMAG 100
WMM 100
200°C heated samples:
HASB 200
HSHU 200
HTRO 200
HMAG 200
WMM 200

300°C heated samples:
HASB 300
HSHU 300
HTRO 300
sample spill
sample spill
400°C heated samples:
HASB 400
HSHU 400
HTRO 400
HMAG 400
WMM 400

500°C heated samples:
HASB 500
HSHU 500
HTRO 500
HMAG 500
WMM 500

600°C heated samples:
HASB 600
HSHU 600
HTRO 600
HMAG 600
WMM 600

700°C heated samples:
HASB 700
HSHU 700
HTRO 700
HMAG 700
WMM 700

800°C heated samples:
HASB 800
no more SHU run
HTRO 800
HMAG 800
WMM 800

900°C heated samples:
HASB 900
no more SHU run
HTRO 900
HMAG 900
WMM 900

1000°C heated samples-1:
HASB 1000
no more SHU run
HTRO 1000
HMAG 1000
WMM 1000

1100°C heated samples-2:
HASB 1100
no more SHU run
HTRO 1100
HMAG 1100
WMM 1100

1200°C heated samples:
HASB 1200
no more SHU run
HTRO 1200
HMAG 1200
WMM 1200

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.22.2.a. Murchison Heating Experiment (HEx2)    

ASD - 150129 HEx2 100 – 150703 1200
The second heating experiment was carried out in the same manner as the first but actual samples of Murchison were included as well as another carbonaceous chondrite (CC), Jbilet Winselwan.

Each week, four samples were placed into the vacuum oven (VBF-1200X-H8)  for one week in an anoxic, dry nitrogen (Praxair NI 4.8T) environment, each at an increment of 100°C
The 1100° and  1200°C samples were maintained at their final temperatures for two and one hour respectively as that is the capability of the oven.

- Murchison Stay (stayed in oven for every temperature)
- WMM Stay (stayed in oven for every temperature)
- JB Stay (stayed in oven for every temperature)
- Murchison New (new sample for every temperature)
	Week
	Temperature
	Duration at Temp
	Samples
	 
	 
	 

	1
	100°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 100

	2
	200°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 200

	3
	300°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 300

	4
	400°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 400

	5
	500°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 500

	6
	600°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 600

	7
	700°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 700

	8
	800°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 800

	9
	900°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 900

	10
	1000°C
	1 Week 
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 1000

	11
	1100°C 
	2 Hours
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 1100

	12
	1200°C
	1 Hour
	Murch Stay 
	WMM Stay
	JB Stay
	Murchison 1200



Upon adding the sampled to the oven, the system was purged with dry nitrogen and pumped down to approximately 1.3 mb and closed up.   Throughout the day, the pressure of the system would slowly rise to about 100 mb and would be pumped down again the following morning while purging again.

The vacuum oven was programmed to increase 100°C every hour until final temperature was reached and maintained for 9999 minutes and then returned to room temperature. 

After the samples were exposed to the 1000, 1100, and 1200°C conditions, an overpowering sulphur smell was detected upon opening the system.

A noticeable colour difference was observed  as early as 300°C for the Murchison and Jbilet samples and 500°C for the synthetic CC.
[image: image3.jpg]


MMurchison: New every temperature left – right, 100°C – 1200°C

After each temperature run, the samples were removed from the oven and placed into a desiccator.  X-ray diffraction and Vis/NIR reflectance spectroscopy were carried out.

The X-ray diffraction analysis involved acquiring continuous scan data from 5 to 80º 2θ on a Bruker D8 Advance with a DaVinci automated powder diffractometer. A Bragg-Brentano goniometer with a theta-theta setup was equipped with a 2.5º incident Soller slit, 1.0 mm divergence slit, a 2.0 mm scatter slit, a 1.0 mm receiving slit, a curved secondary graphite monochromator, and a scintillation counter collecting at an increment of 0.02º and integration time of 1 seconds per step. The line focus Co X-ray tube was operated at 40 kV and 40 mA, using a take-off angle of 6º

Visible and near IR (350-2500 nm) reflectance spectra were measured with an Analytical Spectral Devices (ASD) FieldSpec Pro HR spectrometer with a spectral resolution of between 2 and 7 nm. The data are internally resampled by the instrument to output data ultimately at 1 nm intervals. Spectra were measured at a viewing geometry of i = 30º and e = 0º with incident light being provided by an in-house 150 W quartz-tungsten-halogen collimated light source. Sample spectra were measured relative to a Spectralon® 99% diffuse reflectance standard and corrected for minor (less than ~2%) irregularities in its absolute reflectance. In each case, 200 spectra of the dark current, standard, and sample were acquired and averaged, to provide sufficient signal-to-noise for subsequent interpretation.      
Sample ID



Description

DLRSample ID

HEX2-Murchison 100C

Murchison 100

4969
HEX2-Murchison 200C

Murchison 200

4970

HEX2-Murchison 300C

Murchison 300

4971

HEX2-Murchison 400C

Murchison 400

4972

HEX2-Murchison 500C

Murchison 500

4973

HEX2-Murchison 600C

Murchison 600

4974

HEX2-Murchison 700C

Murchison 700

4975

HEX2-Murchison 800C

Murchison 800

4976

HEX2-Murchison 900C

Murchison 900

4977

HEX2-Murchison 1000C

Murchison 1000

4978

HEX2-Murchison 1100C

Murchison 1100

4979

HEX2-Murchison 1200C

Murchison 1200

4980

++++++

HEX2-Murchison stay 100-1200C
Murch Stay

4981

HEX2-WMM stay 100-1200C

WMM Stay

4982

HEX2-JB stay 100-1200C

JB Stay

4983

MUD008 unsorted


MUD008

4984

++++++

Samples from Giulia Alemanno (DLR)

Sample ID and description


DLRSample ID

Saponite 25-63 um



1947

Saponite 125-250 um



1949

Serpentine 25-63 um



1956

Serpentine 125-250 um


1958

Saponite 125-250 um heated at 250C for 2 months
1949

Serpentine 125-250 um heated at 250C for 2 months
1958

Saponite 25-63 um heated in vacuum for 4 hours at 700C
3085

Saponite 125-250 um heated in vacuum for 4 hours at 700C
3086

Serpentine 25-63 um heated in vacuum for 4 hours at 700C
3087

Serpentine 125-250 um heated in vacuum for 4 hours at 700C
3088

+++++++++++++++++++++++++++++++

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.23. Parr bomb runs on selected meteorites (University of Winnipeg): Run HEx3
16.23.1a. This section describes closed system heating experiments (using Teflon-lined Parr bombs) conducted on the following meteorites at the University of Winnipeg:

Jbilet:
CM2 chondrite

Zag:
Ordinary (H3-6 chondrite) with salt inclusions

Murchison:
CM2 chondrite

“Fake” Murchison: 85% serpentinite (ASB267; <63 µm) + 5% shungite (SHU102; <63 µm) + 5% troilite (TRO203; <45 µm) + 5% nanophase magnetite (MAG200; <20 nm)

++++++

Experimental procedures: 6 Parr bombs were used for closed system heating as follows:

Jbilet-HEX3-A

Jbilet 1 gram of meteorite run dry: 200°C for 104 days.

Zag-HEX3-A

Zag: 1 gram of meteorite + 1 gram of distilled deionized water: 200°C for 111 days.

Murchison-HEX3-A
Murchison: 1 gram of meteorite + 1 gram of distilled deionized water: 200°C for 111 days.

Murchison-HEX3-B 
Murchison: 1 gram of meteorite run dry: 200°C for 111 days.

WMM-HEX3-A

WMM (fake Murchison): 1 gram of sample run dry: 200°C for 111 days).

WMM-HEX3-B

WMM (fake Murchison): 1 gram of sample + 1 gram of distilled deionized water: 200°C for 111 days.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.22. “HEX4” run – done at DLR – August 2022)

Samples: 
Saponite (SAP104; <45 µm)


MUD008 (Bennu analogue, <45 µm)


Jeffrey-1 (serpentinite, <45 µm)

Temperature
Duration
SAP104

MUD008

Jeffrey-1





DLR ID
UW ID
DLR ID
UW ID

DLR ID
UW ID

Ambient (25°C)
1 hour
4930
SAP104_0
4931
MUD008_0
4932
Jeffrey-1_0

100°C
1 hour
4933
SAP104_100
4934
MUD008_100
4935
Jeffrey-1_100

200°C
1 hour
4936
SAP104_200
4937
MUD008_200
4938
Jeffrey-1_200

300°C
1 hour
4939
SAP104_300
4940
MUD008_300
4941
Jeffrey-1_300

400°C
1 hour
4942
SAP104_400
4942
MUD008_400
4944
Jeffrey-1_400

500°C
1 hour
4945
SAP104_500
4946
MUD008_500
4947
Jeffrey-1_500

600°C
1 hour
4948
SAP104_600
4949
MUD008_600
4950
Jeffrey-1_600

700°C
1 hour
4951
SAP104_700
4952
MUD008_700
4953
Jeffrey-1_700

800°C
1 hour
4954
SAP104_800
4955
MUD008_800
4956
Jeffrey-1_800

900°C
1 hour
4957
SAP104_900
4958
MUD008_900
4959
Jeffrey-1_900

+++++++++++++++++++++++++++
Sample ID

Description

DLRSample ID

Murchison-HEX3-B
Murchison after 111 days (dry)
4960

Jbilet-HEX3-B?

Jbilet after 111 days (wet)
4961

WMM-HEX3-A

WMM after 111 days (dry)
4962

Murchison-HEX3-A
Murchison after 111 days (wet) 200°C
4963

Jbilet-HEX3-A

Jbilet after 104 days (dry) 200°C
4964

WMM-HEX3-B

WMM cooked 200C dry 111 days
4965

Murchison-HEX3-B
cooked 200C dry 111 days
4966

Zag-HEX3-A

Zag cooked 200C after 111 days
4967

WMM-HEX3-A

WMM dry 200C after 111 days
4968

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.23.2a. This section describes closed system heating experiments (using Teflon-lined Parr bombs) conducted on the following meteorites at Clausthal University by Kurt Mengel and Tanja Schaefer:

Samples leached at 90°C for up to 200 days.

Vial no.
HOSERLab ID
Meteorite sample
Days





powders < 63 µm



A0
NWA 8309_0
NWA 8309, Eucrite (H3 from Mengel)
Unaltered (0 days)

A1
NWA 8309_2
NWA 8039, Eucrite (H3 from Mengel)
2

A2
NWA 8309_5
NWA 8039, Eucrite (H3 from Mengel)
5

A3
NWA 8309_12
NWA 8039, Eucrite (H3 from Mengel)
12

A4
NWA 8309_50
NWA 8039, Eucrite (H3 from Mengel)
50

A5
NWA 8309_100
NWA 8039, Eucrite (H3 from Mengel)
100

A6
NWA 8309_200
NWA 8039, Eucrite (H3 from Mengel)
200

B0
NWA 7936_0
NWA 7936, L3
Unaltered (0 days)

B1
NWA 7936_2
NWA 793.6, L3
2

B2
NWA 7936_5
NWA 7936, L3
5

B3
NWA 7936_12
NWA 7936, L3
12

B4
NWA 7936_50
NWA 7936, L3
50

B5
NWA 7936_100
NWA 7936, L3
100

B6
NWA 7936_200
NWA 7936, L3
200

C0
Zag_0

Zag, H3-6
Unaltered (0 days)
C1
Zag_2

Zag, H3-6
2

C2
Zag_5

Zag, H3-6
5

C3
Zag_12

Zag, H3-6
12

C4
Zag_50

Zag, H3-6
50

C5
Zag_100
Zag, H3-6
100

C6
Zag_200
Zag, H3-6
200

D0
Jbilet_0

Jbilet, CM2
Unaltered (0 days)
D1
Jbilet_2

Jbilet, CM2
2

D2
Jbilet_5

Jbilet, CM2
5

D3
Jbilet_12
Jbilet, CM2
12

D4
Jbilet_50
Jbilet, CM2
50

D5
Jbilet_100
Jbilet, CM2
100

D6
Jbilet_200
Jbilet, CM2
200

E1
Murchison_2
Murchison, CM2
2

E2
Murchison_5
Murchison, CM2
5

E3
Murchison_12
Murchison, CM2
12

E4
Murchison_50
Murchison, CM2
50

E5
Murchison_100
Murchison, CM2
100

E6
Murchison_200
Murchison, CM2
200

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.1a.x. Minerals Present in Calcium-Aluminum Inclusions (CAIs)
Andradite

Anorthite

Calcite

Corundum

Diopside

Fassaite
Grossularite

Hercynite

Hibonite

Melilite

Nepheline

Olivine

Perovskite

Plagioclase

Rhönite

Sodalite

Spinel

Wollastonite

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16b. XRD Data - Meteorites, Tektites, and Impactites (by subsections)

16.1.3b. Iron meteorites on loan from the Royal Ontario Museum (July 2015)
Meteorite

Phase identified by XRD (UWinnipeg quick scan – August 2015)

Dronino saw-cut fines
Ni nickel, syn (01-071-4655).

Nantan saw-cut fines
Ni nickel, syn (01-071-4655).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.4.2b. Royal Ontario Museum – UWinnipeg XRD quick scan analysis

Meteorite



Phases identified by XRD

Brahin pallasite saw-cut fines

Fe iron, syn (00-006-0696); forsterite, ferroan ((Mg0.903; Fe 0.097); o1-071-6434); taenite, syn (00-023-0297)
Fukang pallasite saw-cut fines

Fe iron, syn (00-006-0696); fosterite (Mg1.849Fe0.151 (SiO4; 01-080-1639).

Springwater pallasite saw-cut fines
Native iron, forsterite, diamond.
+++++++++++++++++++++++++++++++++++

16.6.1b. UWinnipeg samples – quick scan XRD analysis

Meteorite

Phases identified by XRD

Bencubbin

Ni kamacite, syn.; awaruite, syn.; forsterite; chrysolite (aka olivine); chromite; augite; gibbsite; moissanite (SiC). Gibbsite and moissanite could both be residue of the polishing compound?). Note: lack of low angle peaks suggests no clay minerals are present.
Bencubbin

Longer scan XRD: kamacite, syn; awaruite, syn; forsterite; augite; moissanite-51R, syn (SiC); cohenite, syn; groutellite, syn (MnO2); magnetite; augite; enstatite.

NWA 801

(UWinnipeg rusty sample) – forsterite, ferroan; enstatite, syn., clinoenstatite, syn.; hematite; cristobalite

16.6.6b. Carbonaceous chondrites from the Royal Ontario Museum

NWA 2201

forsterite, ferroan; pigeonite; Ni kamacite, syn.; hematite; goethite

SaU  290

forsterite, ferroan; alpha-Fe; cristobalite; sodium magnesium aluminium silicate; enstatite, syn.; diopside; Ni kamacite, syn.

Murchison-1

“Contaminated” saw cut fines: forsterite; antigorite-M; enstatite, ferroan; magnetite, magnesian, syn; aluminium oxide; iron sulphide; lizardite-2O; chrysotile-2Mc1; Ni kamacite, syn (NR); troilite-2H. XRD trace is quick scan - noisy with many broad overlapping peaks (May, 2016).

Murchison-b

“Clean saw cut fines: forsterite; antigorite-M; enstatite, ferroan; magnetite, magnesian, syn; aluminium oxide; iron sulphide; lizardite-2O; chrysotile-2Mc1; Ni kamacite, syn (NR); troilite-2H. XRD trace is quick scan - noisy with many broad overlapping peaks (May, 2016).

++++++++++++++++++++++++++++

16.6.13d. Carbonaceous chondrite on loan from U of Arizona (Vishnu Reddy) – July 2017

Mukundpura 
CM2
Official name – new fall? – fell June 6, 2017 (provisional name was Jaipur).
Two XRD scans done on <45 µm fraction
170717_d8a.002_sub45_2mmRS.raw





170717_d8a.000_sub45_2mmRS.raw

++++++++++++++++++++++++++++++++
16.7.2. Samples from Vishnu Reddy

El Hammami – H5
UWInnipeg XRD analysis (Nov. 2017): Fe-bearing forsterite and Fe-bearing enstatite. There is something else but I can`t nail it down. Major peak of d=2.66. Could be hibonite, moissanite, sulfides, pervoskites, garnets. None of these line up with the 910 cm-1 Raman peak. It`s not a clinopyroxene.

16.7.6b. NWA 869 L3-6 ordinary chondrite breccia from the Royal Ontario Museum

Sample
Phases identified by XRD

NWA 869
anorthite, ordered; kamacite, syn; troilite, syn; fayalite, magnesian; dolomite; allophone (last 2 are plausibly linked with desert weathering; allophone could also possibly be attributed to any carbonaceous chondrite inclusions, which are present in this sample); possibly some amorphous material suggested by some broad overlapping baseline humps (preferred interpretation).

Older XRD analysis gives: forsterite, ferroan; albite, calcian, ordered; enstatite, synthetic; troilite-2H, syn; enstatite, ferroan; S10 pyrrhotite; magnetite, syn; kamacite.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.8.3. Meteorites on loan from Matthew Izawa (Okayama University)

NWA 8171 slab: 4 different orientations of slab measured at UWinnipeg December 2017:

171212_d8a.000_NWA8171_slab1_1-2-1.raw

171212_d8a.001_NWA8171_slab2_1-2-1.raw

171212_d8a.002_NWA8171_slab3_1-2-1.raw

171212_d8a.003_NWA8171_slab4_1-2-1.raw

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.9.2b. Vishnu meteorites

6. NWA7325
Minerals identified by HOSERLab Bruker D-8 on <45 µm crushed fraction (entire sample crushed to <45 µm; separate scans on rusty and not obviously rusty fractions separated with binocular microscope on as-received coarse granular sample). The two scans are nearly identical with possible exception of lizardite only being present in clean fraction.

Phases identified: 
PDF 01-076-6183 – diopside



PDF 00-010-0379 – anorthite



PDF 00-046-1445 – lizardite-6T1



PDF 00-004-0769 – forsterite, syn.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11b. XRD Data - HEDs

University of Winnipeg Rietveld refinement results (Bruker D8 analysis)

Wt.%
JaH 626
Millbillillie
NWA 1836
NWA 1942
NWA 1943
NWA 2968


Euc.
Euc.
Euc.

How.

How.

Dunitic diog.

Plagioclase
40

49
28

35

43

n.d.

Pigeonite
59

24
55

34

27

n.d.

Augite
n.d.

12
n.d.

n.d.

15

n.d.

Orthopyroxene
n.d.

14
17

30

15

tr.

Ilmenite
1

1
tr.


n.d.

n.d.

n.d.

Olivine
n.d.

n.d.
n.d.

1

n.d.

89

Chromite
n.d.

tr.
n.d

n.d.

n.d.

5

Troilite
n.d.

tr.
n.d.

n.d.

n.d.

3

Cristobalite
n.d.

n.d.
n.d.

n.d

n.d.

n.d.

Anatase
n.d.

n.d.
n.d

n.d.

n.d.

n.d.

Wt.%
NWA 5751
NWA 6013
NWA 6477
Talampaya
Tatahouine


How.

Diog.

Euc.

Euc.

Diog.


Plagioclase
28


7


54

65

n.d.

Pigeonite
13


n.d.

33

32

n.d.

Augite
7


n.d.

13

1

n.d.

Orthopyroxene
50


65

n.d.

n.d.

97

Ilmenite
n.d.


n.d.

tr.

2

n.d.

Olivine
1


27

n.d.

n.d.

tr.

Chromite
tr.


1


tr.

tr.

tr.

Troilite
n.d.


n.d.

tr.

tr.

n.d.

Cristobalite
n.d.


n.d.

n.d.

n.d.

tr.

Anatase
n.d.


n.d.

n.d.

n.d.

2


n.d.: not detected; tr.: trace (<1 wt.%).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.5d. HEDs from Vishnu Reddy

NWA 10446-diogenite
UWinnipeg XRD (Nov. 2017): Fe-bearing enstatite.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.18b. XRD Data - Impact glasses
SIL131
XRD trace is very noisy, indicative of amorphous component. Only phase identified – diopside. (University of Manitoba Bruker D8 analysis - November 2011).
+++++++++++++++++++++++++++++++
16.19b. XRD data - Supposed meteorites

Quick scan XRD results (UWinnipeg, Nov. 2017)

MNO08 (Rusty 1):
Mostly antigorite with minor magnetite and possible birnessite.


MNO09 (Rusty 2): 
Quartz, pyrrhotite, clays, possibly birnessite and siderite.
MNO10
Possible meteorite from Nantang Province, China (Tucson Rock and Gem Show – February 2018). Not a meteorite; UW XRD Bruker D8 shows magnetite, andradite, quartz, and hematite.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16c. Compositional Data - Meteorites, Tektites, and Impact Glasses
16.17c. Tektites

Wt.%
TEK001
TEK003

TEK004

SiO2
71.47
72.54

72.71

TiO2
0.80
0.78

0.74

Al2O3
14.15
13.29

12.59

(Fe2O3)*
(5.61)
(5.20)

(5.03)

Fe2O3
0.42
0.64

0.35

FeO
4.67
4.10

4.21

MnO
0.11
0.09

0.10

MgO
2.22
2.12

1.92

CaO
1.98
2.08

2.30

Na2O
1.37
1.54

1.30

K2O
2.57
2.51

2.36

P2O5
0.07
0.08

0.04

SO3



0.17



TOTAL
99.83
99.77

99.26

LOI
0.50
0.71





ppm
Sr
146
146

158

Zr
271
303

271

V
110
108

83

Cr
71
76

84

Co
4
4





Source
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC





* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16d. Spectral Data - Meteorites, Tektites and Impactites (by subsections)
Sample
Facility/File No. 
Description







16.1d. Iron meteorites and components
16.1.1d. University of Winnipeg samples

MET01
PSF 121101a.012
slab, roughened with 120 grit sandpaper (for mafic metal sprinkling experiments); i=30°, e=0°; 0.35-2.5 μm ASD; 1 nm output; 1000 spectra averaged (directory: 121101maficmetal). Aka OLMETS01.

MET01
PSF 121101a.018
slab, roughened with 120 grit sandpaper (for mafic metal sprinkling experiments); i=30°, e=0°; 0.35-2.5 μm ASD; 1 nm output; 1000 spectra averaged (directory: 121101maficmetal). Aka PXMETS02.


++++++
MET01A
PSF feb1607.002
<45 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET01B
PSF feb1607.004
45-90 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET01C
PSF feb1607.005
90-250 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET01A
PSF feb1907.002
<45 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (directory: feb1907 meteoritic).

MET01B
PSF feb1907.003
45-90 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol.; 1000 spectra averaged; ASD (directory: feb1907 meteoritic).

MET01C
PSF feb1907.004
90-250 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol.; 1000 spectra averaged; ASD (directory: feb1907).


++++++

MET01 400
PSF feb2107.022
slab, roughened with 400 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET01 220
PSF feb2107.025
slab, roughened with 220 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET01 120
PSF feb2107.028
slab, roughened with 120 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET01 60
PSF feb2107.031
slab, roughened with 60 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET01a
PSF 090921a.023
slab; interior saw-cut surface 1, spot 1 (inclusion); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.024
slab; interior saw-cut surface 1, spot 2 (inclusion); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.025
slab; interior saw-cut surface 1, spot 3 (inclusion); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.026
slab; interior saw-cut surface 1, spot 4 (inclusion); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.027
slab; interior saw-cut surface 1, spot 5 (inclusion); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.028
slab; interior saw-cut surface 1, spot 6 (inclusion: schreibersite?); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.029
slab; interior saw-cut surface 1, spot 7 (inclusion with minor embedded silicates); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.030
slab; interior saw-cut surface 1, spot 8 (inclusion with minor embedded silicates); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.031
slab; interior saw-cut surface 2, spot 9 (inclusion with minor embedded silicates); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.032
slab; interior saw-cut surface 2, spot 10 (inclusion: troilite?); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET01a
PSF 090921a.033
slab; interior saw-cut surface 2, spot 11 (inclusion: schreibersite?); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MOMIX5006
PSF 150519a.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix 5000].

MPMIX6006
PSF 150519a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150519 MetMix5000].

++++ MET01A: Bidirectional study (March 2007)++++

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

Series 0a (same viewing geometry for standard and sample)
MET101A
PSF feb2707.004
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

MET101A
PSF feb2707.012
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

MET101A
PSF feb2707.020
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

MET101A
PSF feb2707.028
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2707 meteoritic).

++++++

Series 0b (same viewing geometry for standard and sample)
MET101A
PSF feb2807.004
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

MET101A
PSF feb2807.012
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

MET101A
PSF feb2807.020
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

MET101A
PSF feb2807.028
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (directory: feb2807 meteoritic).

++++++++++++++++++++++++++++++++

Series 1 (same viewing geometry for standard and sample)

MET01a
PSF mar0107.004
<45 µm; 0°/30°; 0°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0107.012
<45 µm; 0°/45°; 0°/45°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0107.020
<45 µm; 0°/60°; 0°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0107.028
<45 µm; 0°/75°; 0°/75°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 2 (same viewing geometry for standard and sample

MET01a
PSF mar0707a.004
<45 µm; 30°/60°; 30°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0207.012
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0207.020
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0207.028
<45 µm; 30°/-60°; 30°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 3 (same viewing geometry for standard and sample)

MET01a
PSF mar0207.036
<45 µm; 60°/60°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0207.044
<45 µm; 30°/30°; 30°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0207.052
<45 µm; 30°/0°; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0207.060
<45 µm; 60°/-30°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

Series 4 (different viewing geometry for standard vs. sample)

MET01a
PSF mar0607.004
<45 µm; 30°/0°; 60°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0607.012
<45 µm; 30°/0°; 60°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0607.020
<45 µm; 30°/0°; 60°/30°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0607.028
<45 µm; 30°/0°; 60°/60°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

Series 5 (bifurcated cable; same viewing geometry for standard and sample)

MET01a
PSF mar0707.004
<45 µm; 0°/0°; 0°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

MET01a
PSF mar0707.012
<45 µm; 30°/-30°; 30°/-30°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

MET01a
PSF mar0707.020
<45 µm; 45°/-45°; 45°/-45°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

MET01a
PSF mar0707.028
<45 µm; 60°/-60°; 60°/-60°; 0.35-2.5 µm; 1 nm resol.; 1000 avg; ASD.

+++++++++++++++++++++++++++++++++

MPMIX1011
0% orthopyroxene (PYX042; <45 µm) + 100% meteoritic metal (MET101A; <45 µm).

++++++

MET101A
PSF 100907.026
<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; aka MPMIX1011.

MET101A
PSF 100907.029
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; aka MPMIX1103.

MET101A
PSF feb1907.002
<45 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample) (directory: feb1907 meteoritic).

MET101 45
PSF feb1907.003
<45 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample) (directory: feb1907 meteoritic).

MET101U
PSF feb1907.004
45-90 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample, unbeaten) (directory: feb1907 meteoritic).

MET101U
PSF feb1907.005
90-125 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample, unbeaten) (directory: feb1907 meteoritic).

MET101U
PSF feb1907.006
125-255 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample, unbeaten) (directory: feb1907 meteoritic).

MET101B
PSF feb1907.007
45-90 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample, beaten) (directory: feb1907 meteoritic).

MET101B
PSF feb1907.008 
90-125 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample, beaten) (directory: feb1907 meteoritic).

MET101B
PSF feb1907.009
125-255 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample, beaten) (directory: feb1907 meteoritic).

+++++

MET101A
PSF feb2107.002
<45 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (original MET101 sample) (directory: feb2107 meteoritic).

MET101 <45
PSF feb2107.003
<45 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (directory: feb2107 meteoritic).

MET101B
PSF feb2107.004
45-90 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (directory: feb2107 meteoritic).

MET101B
PSF feb2107.005
90-125 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (directory: feb2107 meteoritic).

MET101B
PSF feb2107.006
125-255 µm, 35°/0°, 0.35-2.5 µm, 1 nm resol., 1000 spectra averaged; ASD (directory: feb2107 meteoritic).

+++++

MET101
PSF 041007met100
<45 µm, 0°/0° (bifurcated probe), 0.2-0.4 µm, ~0.3 nm.

MET101
PSF 130707met100
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

MET101
PSF met100
<45 µm, 0°/0° (bifurcated probe), 0.2-0.86 µm; merged at 0.38 µm, 0.2-0.4 µm with D2 source, 0.35-0.86 µm with QTH source.

MET101
PSF 160707met101
<45 µm, 0°/0° (bifurcated probe), 0.35-0.86 µm, ~0.3 nm.

MET101
RELAB C1SC63
<45µm, beaten, 0/15, 0.3-2.7µm, 5nm.

MET101
USGS 260
<45µm, IS, 0.35-2.6µm, 1x resol.

MET101
USGS 264
45-90µm, IS, 2.1-2.6µm, 1x resol.

MET101
USGS 216
45-90µm, IS, 0.35-2.6µm, 1x resol.

MET101
RELAB C1SC06
45-90µm beaten, 0/15, 0.34-2.7µm, 5nm.

MET101
RELAB C2SC06
45-90µm, unbeaten, 0/15, 0.3-2.6µm, 5nm.

MET101
RELAB C3SC06
45-90µm, unbeaten, 0/15, 0.3-2.6µm, 5nm (2nd run).

MET101
RELAB C4SC06
45-90µm, unbeaten, 0/15, 0.3-2.6µm, 5nm, with errors (2 run average).

MET101
USGS 220
125-255µm, IS, 0.35-2.6µm, 1x resol.
MET101
RELAB casc63
<45µm, beaten, 30°/0°, 0.3-2.6µm, 5 nm.

MET101
RELAB sbsc06
45-90µm, 0.3-2.6µm, 30°/0°, 5 nm resol. Smoothed with 5 point filter.

MET101
RELAB cbsc06
45-90µm, 0.3-2.6µm, 30°/0°, 5 nm resol.; not smoothed.

MET101
RELAB lasc06
45-90µm, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resol., (Merged RELAB+ Nicolet @2.5µm, note viewing geometry change), smoothed.

MET101
PSF 100304a.005
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD.


++++++
MET101A
RELAB s1sc99
unsorted, 0.3-2.6µm, 30°/0°, 5 nm resol. Smoothed with 5 point filter.

MET101A
RELAB c1sc99
unsorted, 0.3-2.6µm, 30°/0°, 5 nm resol.; not smoothed.

MET101A
RELAB lasc99
unsorted, 0.3-26µm, 30°/0°,30°; 5/0.6-129 nm resol., (Merged RELAB+ Nicolet @2.5µm, note viewing geometry change),smoothed.

+++++++
MET02A
PSF feb1607.006
<45 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET02B
PSF feb1607.007
45-90 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET02C
PSF feb1607.008
90-250 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD; very little sample (directory: feb1607 meteoritic).

MET02 400
PSF feb2107.023
slab, roughened with 400 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET02 220
PSF feb2107.026
slab, roughened with 220 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET02 120
PSF feb2107.029
slab, roughened with 120 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET02 60
PSF feb2107.032
slab, roughened with 60 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

+++++++

MET03A
PSF feb1607.009
<45 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET03B
PSF feb1607.010
45-90 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD (directory: feb1607 meteoritic).

MET03C
PSF feb1607.011
90-250 µm; 35°/0°?; 0.35-2.5 μm; 1 nm output; ASD; 1000 spectra averaged; ASD; not enough sample (directory: feb1607 meteoritic).

MET03 400
PSF feb2107.024
slab, roughened with 400 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET03 220
PSF feb2107.027
slab, roughened with 220 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET03 120
PSF feb2107.030
slab, roughened with 120 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

MET03 60
PSF feb2107.033
slab, roughened with 60 grit sandpaper, 35°/0°, 0.35-2.5 µm, 1 nm resol., ASD (directory: feb2107 meteoritic).

+++++++160728 spot shots on Odessa slab – MET01 (bad spectra in italics)+++++
Odessa slab
PSF 160728b.001
spot 1 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

Odessa slab
PSF 160728b.002
spot 2 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

Odessa slab
PSF 160728b.003
spot 3 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

Odessa slab
PSF 160728b.004
spot 4 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

Odessa slab
PSF 160728b.005
spot 5 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

Odessa slab
PSF 160728b.006
spot 6 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

Odessa slab
PSF 160728b.007
spot 7 on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; new ASD [Directory: 160728 odessa].

+++++++ MET05a – spectra of rusty spots on fusion crust +++++

MET05a-1
PSF 181217a00001.asd
Spot 1, slab face; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181217 met05a].

MET05a-2
PSF 181217a00002.asd
Spot 2, slab face; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181217 met05a].

MET05a-3
PSF 181217a00003.asd
Spot 3, slab face; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181217 met05a].

MET05a-4
PSF 181217a00004.asd
Spot 4, slab side A, rustiest spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181217 met05a].

MET05a-5
PSF 181217a00005.asd
Spot 5, slab side B, left side; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181217 met05a].

MET05a-6
PSF 181217a00006.asd
Spot 6, slab side B, right side; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 181217 met05a].

++++++++++++++++

SCR101 
See Phosphides section (section 10)
+++++++
TRO201
See Sulphides section (section 10)
++++++

TRO202
See Sulphides section (section 10)
++++++

TRO203
See Sulphides section (section 10)
++++++++++++++++++++++
(ii) iRaman 532 nm Raman spectra; 174-4002 cm-1 wavelength range; ~4 cm-1 resolution.

MET100
PSF 210128_005_532_MET100_spot1.txtr
45-90 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210128 LunaR raman].

MET100
PSF 210128_006_532_MET100_spot2.txtr
45-90 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210128 LunaR raman].

MET100
PSF 210128_004_532_MET100_spot3.txtr
45-90 µm powder; 65000 msec integration time; 10 spectra averaged; [Directory: 210129 LunaR raman].

16.1.2d. University of North Dakota samples

TUCSON
PSF tuc1d
slab, rusty side, 30°/0°, 2-16 µm, D&P, 6 cm-1 resol.

TUCSON
PSF tuc2d
slab, cloudy spot, 30°/0°, 2-16 µm, D&P, 6 cm-1 resol.

TUCSON
PSF tuc3d
slab, cloudy spot after sanding, 30°/0°, 2-16 µm, D&P, 6 cm-1 resol.

TUCSON
PSF may1807.004
slab, rusty side, 30°/0°, 0.25-2.5 µm, ASD, 1 nm resol.

TUCSON
PSF may1807.005
slab, cloudy spot, 30°/0°, 0.35-2.5 µm, ASD, 1 nm resol.

TUCSON
PSF may1807.006
slab, cloudy spot after sanding, 30°/0°, 0.35-2.5 µm, ASD, 1 nm  resol.

+++++++++++++++++++++++++++++++++
16.1.3d. Royal Ontario Museum samples
(i) Saw-cut fines on loan to University of Winnipeg

Dronino
PSF 150724b.013
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724b.014
as-received saw-cut fine powder, densely packed in sample cup (“packed”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724b.015
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724b.016
as-received saw-cut fine powder, densely packed in sample cup (“packed”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++

Nantan
PSF 150724b.005
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724b.006
as-received saw-cut fine powder, densely packed in sample cup (“packed”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724b.007
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724b.008
as-received saw-cut fine powder, densely packed in sample cup (“packed”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++Phase angle measurements – relative to Spectralon at i=0°, e=15°+++++

Dronino
PSF 150724c.025
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.026
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.027
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.028
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.029
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.030
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.031
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Dronino
PSF 150724c.032
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++

Nantan
PSF 150724c.009
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.010
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.011
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.012
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.013
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.014
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.015
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Nantan
PSF 150724c.016
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

+++++++++++++++++++++++++++++

(ii) Samples spectrally characterized at the Royal Ontario Museum (Oct. 2016)

Bocaiuva
PSF 161013a.050
slab, spot centered on silicate grain; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 161013 ROM Meteorites].

++++++

Campo del Cielo
PSF 161013a.047
slab, spot A: silicate-rich; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Campo del Cielo
PSF 161013a.048
slab, spot B: silicate-rich; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Campo del Cielo
PSF 161013a.049
slab, spot C: silicate-rich; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Campo del Cielo
PSF 161013a.054
slab, darkest spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++
Landes
PSF 161013a.051
slab, spot A : silicate-rich; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Landes
PSF 161013a.052
slab, spot B : silicate-rich; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Landes
PSF 161013a.053
slab, spot C: silicate-rich; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++

NWA 468
PSF 161013a.076
slab, spot A: bright spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 468
PSF 161013a.077
slab, spot B: dark spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 468
PSF 161013a.078
slab, spot C: dark spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++

Sao Joao N.
PSF 161013a.055
slab, spot A: dark spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Sao Joao N.
PSF 161013a.056
slab, spot B: dark spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++++++++++++++++++++++++
16.1.4. Irons from Smithsonian Institution and NASA Astromaterials (2018)

EET 83333
PSF 180718a00003.asd
spot on slab, all metal, no rust; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180718 mesosiderites Smithsonian].

EET 83333
PSF 180718a00004.asd
spot on slab, non-metal spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180718 mesosiderites Smithsonian].

+++++++

TYR 05181
PSF 180718a00001.asd
spot on slab, minimal rust; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180718 mesosiderites Smithsonian].

TYR 05181
PSF 180718a00002.asd
spot on slab, rust spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180718 mesosiderites Smithsonian].

++++++++++++++++++++++++++
16.2d. Aubrites and components
16.2.1d. University of Winnipeg samples

MET020
PSF met020
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics (080708 directory).

MET020
PSF met02045
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

MET020
PSF met02045
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

MET020
PSF 001 met020
(Norton County), <45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].

++++++

MET200
RELAB CBEA03
<45µm, 30°/0°, 0-.3-2.6µm, 5 nm.

MET200
RELAB CAEA03
45-90µm, 30°/0°, 0-.3-2.6µm, 5 nm.

MET200
RELAB LAEA03B
<45µm, 30°/30°, 0-.3-26µm, 1.2-129 nm (Nicolet).

MET200
RELAB LAEA03A
45-90µm, 30°/30°, 0-.3-26µm, 1.2-129 nm (Nicolet).

MET200
RELAB C1SC01
45-90µm, 0/15, 0.3-3.6µm, 5nm, spun 1.6-2.6µm. See PYX205.

MET200
PSF met20045
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

MET200
PSF met20090
45-90µm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

MET200
PSF met20045
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

MET200
PSF met20090
45-90µm, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

MET200 
RELAB C1SC01
45-90µm, 0/15, 0.3-3.6µm, 5nm, spun 1.6-2.6µm. See PYX205.
MET200
PSF 002 met200
(Happy Canyon), 45-90 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].

++++++

MET201
RELAB CBEA04
<45µm, 30°/0°, 0-.3-2.6µm, 5 nm.

MET201
RELAB CAEA04
45-90µm, 30°/0°, 0-.3-2.6µm, 5 nm.

MET201
RELAB LAEA04B
<45µm, 30°/0°, 0-.3-26µm, 1.2-129 nm (Nicolet).

MET201
RELAB LAEA04A
45-90µm, 30°/0°, 0-.3-26µm, 1.2-129 nm (Nicolet).

MET201
PSF met20145
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 200 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

MET201
PSF met20190
45-90µm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

MET201
PSF met20145
<45µm, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

MET201
PSF met20190
45-90µm, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

MET201
PSF 003 met201
(Norton County), <45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].

MET201
PSF 004 met201
(Norton County), 45-90 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].

++++++

MET300
RELAB latb10
<~1mm, 30°/0°,30°; 5, 0.6-129 nm, merged at 2550 nm.

++++++

MET301
RELAB latb11
<~1mm, 30°/0°,30°; 5, 0.6-129 nm, merged at 2550 nm.

+++++++++++++++++++++++++++++++++++

16.2.2d. University of North Dakota samples

METCF1
PSF 090313a.044
whole rock powder, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD.

METCF1
PSF 090313a.045
whole rock powder, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra-a averaged; ASD. Same as .044 repacked and reshot.

metcf1
PSF metcf1
unsorted coarse powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

metcf1
PSF mcf1
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).


++++++

METCF1
PSF 091118a.021
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

METCF1
PSF 091118a.022
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.
METCF1
PSF 006 metcf1
(Cumberland Falls), unsorted; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].


++++++

METCF2
PSF 090313a.046
<200 mesh, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Not enough sample to fill cup – black painted “M” cup.

METCF2
PSF 090313a.047
<200 mesh, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Same as .046 repacked and reshot. Not enough sample to fill cup – black painted “M” cup.

METCF2
PSF 091118a.023
<200 mesh; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

METCF2
PSF 091118a.024
<200 mesh; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.


++++++

METCF3
PSF 090313a.048
>200 mesh, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Not enough sample to fill cup – black painted “M” cup.

METCF3
PSF 090313a.049
>200 mesh, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Same as .048 repacked and reshot. Not enough sample to fill cup – black painted “M” cup.

METCF3
PSF 091118a.025
>200 mesh; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

METCF3
PSF 091118a.026
>200 mesh; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.


++++++

METCF*
PSF 090313a.050
black painted “M” cup, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Shot empty well of cup.

METCF*
PSF 090313a.051
black painted “M” cup, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Shot black surface of cup.

METCF**
PSF 090313a.052
unpainted “M” cup, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Shot unpainted empty well of cup.

METCF**
PSF 090313a.053
unpainted “M” cup, 30°/0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm output, 1000 spectra averaged; ASD. Shot unpainted surface of cup.

++++++

mjg177
PSF mjg177
unsorted (coarse) powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

+++++++++

mjg224
PSF mjg224a
coarse fragments, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg224
PSF mjg224b
coarse fragments with powder infill, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg224
PSF 091112a.017
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

++++++

mjg225
PSF mjg225
unsorted (coarse) powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg225
PSF mjg225
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

mjg225
PSF 091112a.018
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg225
PSF 091112a.019
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg225
PSF 005 mjg225
(Bishopville), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].

++++++

mjg236
PSF 091118a.019
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg236
PSF 091118a.020
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg236
PSF 007 mjg235
(Andover), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 meteorites run 5].

+++++++++++++++++++++++++++++

16.2.3d. Norton County aubrite slab (on loan from University of New Mexico)
Sandpaper
PSF 090921a.001
garnet sandpaper used to prep Norton Co.; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.002
slab; exterior surface, spot 1 (red area); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.003
slab; exterior surface, spot 2 (massive pyroxene); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.004
slab; exterior surface, spot 3a (black vein); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.005
slab; exterior surface, spot 3b (black vein); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.006
slab; exterior surface, spot 4 (grey breccia); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.007
slab; exterior surface, spot 5 (red silicate); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.008
slab; exterior surface, spot 1 (massive pyroxene); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.009
slab; exterior surface, spot 7 (grey breccia); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.010
slab; exterior surface, spot 8 (big crystal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.011
slab; interior saw-cut surface, spot 7 (metal grain); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.012
slab; interior saw-cut surface, spot 8 (average gray breccia area); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.013
slab; interior saw-cut surface, spot 9 (big crystal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.014
slab; interior saw-cut surface, spot 10 (big crystal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.015
slab; interior saw-cut surface, spot 11 (average grey breccia); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.016
slab; interior saw-cut surface, spot 12 (orange-stained area with metal grain); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.017
slab; interior saw-cut surface, spot 13 (average grey breccia); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.018
slab; interior saw-cut surface, spot 14 (rusty spot); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.019
slab; interior saw-cut surface, spot 15 (average grey breccia); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.020
slab; interior saw-cut surface, spot 16 (big crystal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.021
slab; interior saw-cut surface, spot 17 (big crystal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

N102a.1
PSF 090921a.022
slab; interior saw-cut surface, spot 18 (metal grain); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

+++++++++++++++++++++++++++++++++++
16.2.4.d. Aubrites and enstatite achondrites measured at the Royal Ontario Museum

Al Haggounia001
PSF 16104a.051
slab, spot A (metal-poor); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Al Haggounia001
PSF 16104a.052
slab, spot B (slightly more metal); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

Mt. Egerton
PSF 16104a.008
spot on fragment face; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 4301
PSF 16104a.007
slab spot; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

Pena Blanca Spr.
PSF 16104a.030
slab, spot A (inclusion, medium dark); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Pena Blanca Spr.
PSF 16104a.031
slab, spot B (light spot); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Pena Blanca Spr.
PSF 16104a.032
slab, spot C (dark spot inclusion); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Pena Blanca Spr.
PSF 16104a.033
slab, spot D (light region); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Pena Blanca Spr.
PSF 16104a.034
slab, spot E (bright inclusion); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Pena Blanca Spr.
PSF 16104a.035
slab, spot F (medium dark); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

Zaklodzie
PSF 16104a.005
slab, side A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Zaklodzie
PSF 16104a.006
slab, side B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++++++++++++++++++++++++++++++

16.3d. Enstatite chondrites and components

16.3.1d. University of Winnipeg samples

NWA 974 (E6)
PSF 201030a0006.asd
<850 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

NWA 974 (E6)
PSF 201016a0005.asd
slab, spot on slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

++++++++++++++++++++++++++

16.3.2d. University of North Dakota samples

mjg183
PSF mjg183
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

mjg183
PSF mjg183
fine brownish unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg183
PSF 091104a.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg183
PSF 091104a.002
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg190
PSF mjg190
unsorted coarse powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg190
PSF mjg190
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

mjg190
PSF 091104a.015
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg190
PSF 091104a.016
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg217
PSF mjg217a
fragment – broken facer, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg217
PSF mjg217b
fragment – other broken face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg217
PSF mjg217c
fragment – cut face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).


++++++

mjg217
PSF 091112a.003
chip – cut surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg217
PSF 091112a.004
chip – broken surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

++++++

mjg218
PSF mjg218a
fragment- broken face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg218
PSF mjg218b
fragment – cut face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg218
PSF mjg218c
triangular fragment – rough face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg218
PSF mjg218d
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).


++++++

mjg218
PSF 091112a.005
chip – cut surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg218
PSF 091112a.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

++++++

mjg219
PSF mjg219a
unsorted powder with largest fragment removed, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg219
PSF mjg219b
unsorted powder with largest fragment in powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg219
PSF mjg219
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).


++++++

mjg219
PSF 091112a.007
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg219
PSF 091112a.008
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg219
PSF 160930b.001
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160930 MJG 219].

mjg219
PSF 160930b.002
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 219].

mjg219
PSF 160930b.003
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 219].

mjg219
PSF 160930b.004
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 219].

++++++

mjg220
PSF mjg220
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg220
PSF mjg220
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

mjg220
PSF 091112a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg220
PSF 091112a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg221
PSF mjg221a
fragment – cut face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg221
PSF mjg221b
fragment – rougher face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg221
PSF mjg221c
unsorted coarse powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg221
PSF 091112a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg221
PSF 091112a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg221
PSF 160930c.001
unsorted powder on slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160930 MJG 221].

mjg221
PSF 160930c.002
unsorted powder on slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 221].

mjg221
PSF 160930c.003
unsorted powder on slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 221].

mjg221
PSF 160930c.004
unsorted powder on slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 221].

mjg221
PSF 160930c.005
unsorted powder on slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930 MJG 221].

++++++

mjg222
PSF mjg222a
unsorted powder with largest fragment removed, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg222
PSF mjg222b
unsorted powder with largest fragment in powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg222
PSF mjg222
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).


++++++

mjg222
PSF 091112a.013
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg222
PSF 091112a.014
chip – broken surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

++++++

mjg223
PSF mjg223a
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg223
PSF mjg223
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

mjg223
PSF 091112a.015
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg223
PSF 091112a.016
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg223
PSF 160930a.001
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160930IndanchE4].

mjg223
PSF 160930a.002
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930IndanchE4].

mjg223
PSF 160930a.003
unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; repacked and reshot; ASD4 [Directory: 160930IndanchE4].

+++++++++++++++++++++++++++++++++++++
16.3.3d. Enstatite chondrites on loan from the University of Western Ontario (Matt Izawa)
These are the meteorites measured at HOSERLab for Matthew Izawa, as part of a larger study of E chondrites.

QUE 94204
RELAB 081222a.001
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

LAP 02225
RELAB 081222a.004
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

ALHA81021
RELAB 081222a.006
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

TIL 91714
RELAB 081222a.007
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

EET 87746
RELAB 081222a.009
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

PCA 91020
RELAB 081222a.011
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

LEW 88180
RELAB 081222a.013
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

EET 96135
RELAB 081222a.015
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

MAC 02747
RELAB 081222a.016
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

MAC 02837
RELAB 081222a.017
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

MET 00783
RELAB 081222a.018
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

NWA 2212
RELAB 081222a.019
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

+++++

NWA 717
RELAB 081222a.020
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

++++++++++++++++++++++++++++++++++++++
16.3.4.d. Samples at the Royal Ontario Museum

NWA 717
PSF 16104a.045
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 717
PSF 16104a.046
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++

NWA 2213
PSF 16104a.041
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2213
PSF 16104a.042
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2213
PSF 16104a.045
slab, spot A (metal-poor); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2213
PSF 16104a.046
slab, spot B (more metal); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++

NWA 2965
PSF 16104a.043
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2965
PSF 16104a.044
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++

NWA 4844
PSF 16104a.039
slab spot; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 5866
PSF 16104a.040
slab spot; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++++++++++++++++++++++++++++++++

16.3.5d. E-chondrites: RELAB archive data
(i) Heated Abee E-chondrite (heated in 10-5 H2 for one week)

Abee
RELAB c1mt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; unheated.

Abee
RELAB camt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 400°C.

Abee
RELAB cbmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 500°C.

Abee
RELAB ccmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 600°C.

Abee
RELAB cdmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 700°C.

Abee
RELAB cemt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 800°C.

Abee
RELAB cfmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 900°C.

Abee
RELAB cgmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated to 1000°C.


+++++Other heating conditions++++++
Abee
RELAB chmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated in N2 at 35 mTorr.

Abee
RELAB cimt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resol.; heated in N2 at 320 mTorr.

Abee
RELAB cjmt40
<125 μm; i=30°, e=0°; 0.3-2.6 μm; 5 nm resolution; heated in N2 at 3 Torr.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.4d. Pallasites and components

16.4.1d. University of Winnipeg samples

MET030
PSF 090921a.034
slab; interior saw-cut surface 1, spot 1 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.035
slab; interior saw-cut surface 1, spot 1 (mostly olivine; resanded); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.036
slab; interior saw-cut surface 1, spot 2 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.037
slab; interior saw-cut surface 1, spot 1 (mostly olivine; resanded); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.038
slab; interior saw-cut surface 1, spot 3 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.039
slab; interior saw-cut surface 1, spot 4 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.040
slab; interior saw-cut surface 2, spot 5 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.041
slab; interior saw-cut surface 2, spot 6 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.042
slab; interior saw-cut surface 2, spot 7 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090921a.043
slab; interior saw-cut surface 2, spot 7, again (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.001
slab; interior saw-cut surface 1, spot 1 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.002
slab; interior saw-cut surface 1, spot 2 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.003
slab; interior saw-cut surface 1, spot 3 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.004
slab; interior saw-cut surface 1, spot 4 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.005
slab; interior saw-cut surface 2, spot 5 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.006
slab; interior saw-cut surface 2, spot 6 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET030
PSF 090922a.007
slab; interior saw-cut surface 2, spot 7 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).


++++++
MET030
PSF 121101a.001
Slab after removal of lacquer, spot 1: centred on olivine grain; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; 1 nm output; ASD [directory: 121101maficmetal].

MET030
PSF 121101a.002
Slab after removal of lacquer, spot 2: centred on olivine grain; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; 1 nm output; ASD [directory: 121101maficmetal].

MET030
PSF 121101a.003
Slab after removal of lacquer, spot 3: centred on olivine plus metal; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; 1 nm output; ASD [directory: 121101maficmetal].

MET030
PSF 121101a.004
Slab after removal of lacquer, spot 4: centred on olivine plus less metal than spot 3 (edge lit up –escaping light?); i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; 1 nm output; ASD [directory: 121101maficmetal].

MET030
PSF 121101a.005
Slab after removal of lacquer, spot 5: centred on olivine grain, little metal; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; 1 nm output; ASD [directory: 121101maficmetal].

++++++
MET031
PSF 090922a.008
slab; interior saw-cut surface 1, spot 8 (mostly dark green olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET031
PSF 090922a.009
slab; interior saw-cut surface 1, spot 9 (mostly dark green olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET031
PSF 090922a.010
slab; interior saw-cut surface 1, spot 10 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET031
PSF 090922a.011
slab; interior saw-cut surface 1, spot 11 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET031
PSF 090922a.012
slab; interior saw-cut surface 2, spot 12 (mostly olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET031
PSF 090922a.013
slab; interior saw-cut surface 2, spot 13 (mostly dark green olivine); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

MET031
PSF 090922a.014
slab; interior saw-cut surface 2, spot 14 (olivine+metal); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; (may have lacquer features).

++++++
OLV201
RELAB C1SC68
<45µm, 0/15, 0.3-2.7µm, 5nm.

+++++++++++++++++++++++++++++++++++++++++
16.4.2d. Royal Ontario Museum samples

SpringwaterA
PSF 130925a.001
Springwater slab spot A (phosphate); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.002
Springwater slab spot B (phosphate); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.003
Springwater slab spot C (phosphate); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.004
Springwater slab spot D (phosphate); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.005
Springwater slab spot E (phosphate); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.006
Springwater slab spot F (unoxidized olivine in phosphate enclave); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.007
Springwater slab spot G (unoxidized olivine in phosphate enclave); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.008
Springwater slab spot H (unoxidized olivine in phosphate enclave); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.009
Springwater slab spot I (oxidized olivine in metal enclave); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.010
Springwater slab spot J (oxidized olivine in metal enclave); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130925a.011
Springwater slab spot K (metal); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130927a.032
Springwater slab spot L (metal); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130927a.034
Springwater slab spot M (metal); 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).
+++++

Springwater
PSF 131002b.001
Springwater slab spot A; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.002
Springwater slab spot B; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.003
Springwater slab spot C&D; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.004
Springwater slab spot E; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.005
Springwater slab spot F; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.006
Springwater slab spot G; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.007
Springwater slab spot H; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.008
Springwater slab spot I; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
Springwater
PSF 131002b.009
Springwater slab spot J; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 500 spectra averaged; ASD.
+++++++Saw-cut fines+++++++++

SpringwaterA
PSF 130927a.036
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130927a.038
Springwater saw cut fines; unsorted, re-pack 1; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 130927a.039
Springwater saw cut fines; unsorted, re-pack 2; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 500 spectra averaged; ASD (Directory: Springwater).

SpringwaterA
PSF 131017b.001
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.002
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.003
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.001
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.004
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.005
Springwater saw cut fines; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.006
Springwater saw cut fines; slide dragged across sample; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.007
Springwater saw cut fines; sample rotated during spectral acquisition; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).

SpringwaterA
PSF 131017b.001-005
Springwater saw cut fines; average of first five runs; unsorted; 0.35-2.5 μm; 1 nm output; i=30°, e=0°; 1000 spectra averaged; ASD (Directory: 131017_springwater).
Springwater
PSF 131002a.001
Springwater saw-cut fines; 0.35-2.5 μm; 1 nm output; i=0°, e=0° (bifurcated cable); 1000 spectra averaged; ASD.
++++++++++++++++++++++++++++++++++++++++++++
Springwater
PSF springwater spot A.spec
Springwater slab spot A; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot B.spec
Springwater slab spot B; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot C&D.spec
Springwater slab spot C&D; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot E.spec
Springwater slab spot E; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot F.spec
Springwater slab spot F; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot G.spec
Springwater slab spot G; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot H.spec
Springwater slab spot H; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot I.spec
Springwater slab spot I; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot J.spec
Springwater slab spot J; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot K.spec
Springwater slab spot K; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot L.spec
Springwater slab spot L; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
Springwater
PSF springwater spot M.spec
Springwater slab spot M; ~0.35-1.113 μm; ~0.4 nm resolution; i=0°, e=0° (bifurcated cable); Maya.
SpringwaterC
PSF 171028a00002.asd
SpringwaterC phosphate fragments, unsorted; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 171028 ROM farringtonite].

SpringwaterC
PSF farringtonite ROM.dpt
SpringwaterC phosphate fragments, unsorted; i=30°, e=0°; 1500-16000 cm-1; 6 cm-1 resolution; 8500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 171028].

++++++++++++++++++++++++++++++++++
16.4.2.-b. ROM samples: saw-cut fines

Brahin
PSF 150724b.009
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724b.010
as-received saw-cut fine powder, densely packed in sample cup (“packed”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724b.011
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724b.012
as-received saw-cut fine powder, densely packed in sample cup (“packed”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++

Fukang
PSF 150724b.001
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724b.002
as-received saw-cut fine powder, densely packed in sample cup (“packed”); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724b.003
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724b.004
as-received saw-cut fine powder, densely packed in sample cup (“packed”) – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++Phase angle measurements – relative to Spectralon at i=0°, e=15°+++++

Brahin
PSF 150724c.017
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.018
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.019
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.020
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.021
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.022
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.023
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Brahin
PSF 150724c.024
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++

Fukang
PSF 150724c.001
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.002
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.003
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.004
as-received saw-cut fine powder, loosely packed in sample cup (“fluffy”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.005
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=15°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.006
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.007
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

Fukang
PSF 150724c.008
as-received saw-cut fine powder, densely packed in sample cup (“packed”); standard: i=0°, e=15°, sample: i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150724 saw cut fines].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.5d. Mesosiderites and components
16.5.1d. University of Winnipeg samples

MET040
PSF 090921a.044
slab; interior saw-cut surface, spot 1 (silicate enclave on edge); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET040
PSF 090921a.045
slab; interior saw-cut surface, spot 2 (low-metal area); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET040
PSF 090921a.046
slab; interior saw-cut surface, spot 3 (higher metal area); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET040
PSF 090921a.047
slab; interior saw-cut surface, spot 1, again (silicate enclave on edge); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.

MET040
PSF 090921a.048
“B3” unsorted powder: non-magnetic fraction; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD.


++++++
MET040
PSF 090922a.015
slab; interior saw-cut surface, spot 1 (silicate enclave on edge); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; may have lacquer features.

MET040
PSF 090922a.016
slab; interior saw-cut surface, spot 2 (low-metal area); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; may have lacquer features.

MET040
PSF 090922a.017
slab; interior saw-cut surface, spot 3 (higher metal area); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; may have lacquer features.

MET040
PSF 090922a.018
slab; interior saw-cut surface, spot 4 (small silicate enclave); i=30°/e=0°; 0.35-2.5 μm; 1 nm output; 100 spectra averaged; ASD; may have lacquer features.


++++++
MET040
PSF 121101a.006
slab; interior saw-cut surface, spot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD; lacquer removed.

MET040
PSF 121101a.007
slab; interior saw-cut surface, spot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD; lacquer removed.

MET040
PSF 121101a.008
slab; interior saw-cut surface, spot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD; lacquer removed.

MET040
PSF 121101a.009
slab; interior saw-cut surface, on/near big silicate grain, spot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD; lacquer removed.

MET040
PSF 121101a.010
slab; interior saw-cut surface, spot 5, perhaps more metal; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD; lacquer removed.

MET040
PSF 121101a.011
slab; interior saw-cut surface, spot 6, middle of slab; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD; lacquer removed.
+++++160728 spot spectra on Vaca Muerta slab – some band spectra (indicated in italics)+++++

MET040
PSF 160728a.001
spot 1 (silicate inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

MET040
PSF 160728a.002
spot 2 (silicate inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].
MET040
PSF 160728a.003
spot 3 (silicate inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

MET040
PSF 160728a.004
spot 4 (silicate inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].
MET040
PSF 160728a.005
spot 5 (silicate inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].
MET040
PSF 160728a.006
spot 6 (silicate inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].
MET040
PSF 160728a.007
spot 7 (metal inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

MET040
PSF 160728a.008
spot 8 (metal inclusion) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

MET040
PSF 160728a.010
spot 10 (larger spot) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

MET040
PSF 160728a.011
spot 11 (larger spot) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

MET040
PSF 160728a.012
spot 12 (larger spot) on interior roughened cut face of slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160728a].

+++++++
Vaca Muerta(-c)
PSF 221208b00001.asd
whole rock, spot 1

Vaca Muerta(-c)
PSF 221208b00002.asd
whole rock, spot 2

Vaca Muerta(-c)
PSF 221208b00003.asd
whole rock, spot 3

Vaca Muerta(-c)
PSF 221208b00004.asd
whole rock, spot 4

Vaca Muerta(-c)
PSF 221208b00005.asd
whole rock, spot 5

Vaca Muerta(-c)
PSF 221208b00006.asd
whole rock, spot 6

Vaca Muerta(-c)
PSF 221208b00007.asd
whole rock, spot 7

Vaca Muerta(-c)
PSF 221208b00008.asd
whole rock, spot 8

Vaca Muerta(-c)
PSF 221208b00009.asd
whole rock, spot 9

++++++++

Vaca Muerta(-c)
PSF 230221c00001.asd
<1000 µm powder; shot 1

Vaca Muerta(-c)
PSF 230221c00002.asd
<1000 µm powder; shot 2

Vaca Muerta(-c)
PSF 230221c00003.asd
<1000 µm powder; shot 3

Vaca Muerta(-c)
PSF 230221c00004.asd
<1000 µm powder; shot 4

Vaca Muerta(-c)
PSF 230221c00005.asd
<1000 µm powder; shot 5

++++++++++

NWA 10882
PSF 221214b00001.asd
whole rock, spot 1

NWA 10882
PSF 221214b00002.asd
whole rock, spot21

NWA 10882
PSF 221214b00003.asd
whole rock, spot 3

NWA 10882
PSF 221214b00004.asd
whole rock, spot 4

NWA 10882
PSF 221214b00005.asd
whole rock, spot 5

NWA 10882
PSF 221214b00006.asd
whole rock, spot 6

NWA 10882
PSF 221214b00007.asd
whole rock, spot 7

NWA 10882
PSF 221214b00008.asd
whole rock, spot 8

NWA 10882
PSF 221214b00009.asd
whole rock, spot 9

NWA 10882
PSF 221214b00010.asd
whole rock, spot 10

+++++++++++++++++++++++++++++++++++++++
16.5.2d. Mesosiderites: Royal Ontario Museum samples – October 2016; shot at the ROM

NWA 2932
PSF 161012a.017
slab 1, spot A – silicate corner; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.018
slab 1, spot B – silicate + iron region; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.019
slab 1, spot C – silicate + metal region; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.020
slab 2, spot A – iron-rich nodule; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.021
slab 2, spot B – silicate + metal region; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.022
saw-cut powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.023
saw-cut powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; repacked and reshot; new ASD [Directory : 161012 ROM Meteorites].

++++++
NWA 6685
PSF 221214a00011.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00012.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00013.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00014.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00015.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00016.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00017.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00018.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00019.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 6685
PSF 221214a00020.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

++++++++

NWA 7132
PSF 161012a.083
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 7132
PSF 161012a.084
slab 1, spot B – metal-poor area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 10765
PSF 161012a.085
slab 1, spot A – metal-poor area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 10765
PSF 161012a.086
slab 1, spot B – metal-poor area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 10765
PSF 161012a.087
slab 2, spot A – metal-poor area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 10765
PSF 161012a.088
slab 2, spot B – metal-poor area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 10765
PSF 161013a.006
slab, spot A – silicate+metal area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 10765
PSF 161013a.007
slab, spot B – silicate+metal area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 10765
PSF 161013a.008
slab 2, spot A – metal-rich area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 10765
PSF 161013a.009
slab 2, spot B – metal-rich area; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++++
NWA 10265
PSF 221214a00001.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00002.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00003.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00004.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00005.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00006.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00007.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00008.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00009.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

NWA 10265
PSF 221214a00010.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221214 Primitive Achondrites].

+++++++++++++++++++
(ii) Raman spectra – spots on slabs: iRaman; 174-4002 cm-1; ~4 cm-1 resolution [Directory: 221103 Primitive Achondrite; 221107 Primitive Achondrite; 221109 Primitive Achondrite; 221110 Primitive Achondrite; 221116 Primitive Achondrite; 221118 Mesosiderites; 221121 Mesosiderites].

NWA 10265
PSF 221103_001_532_NWA_10265_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10265
PSF 221103_002_532_NWA_10265_2.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10265
PSF 221103_003_532_NWA_10265_3.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10265
PSF 221107_001_532_NWA_10265_4.txtr
Slab, spot 1; 1500 msec; 20 spectra averaged.

NWA 10265
PSF 221103_001_532_NWA_10265_5.txtr
Slab, spot 1; 7000 msec; 20 spectra averaged.

NWA 10265
PSF 221103_001_532_NWA_10265_6.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10265
PSF 221103_001_532_NWA_10265_7.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10265
PSF 221103_001_532_NWA_10265_8.txtr
Slab, spot 1; 6000 msec; 20 spectra averaged.

++++++
NWA 6685
PSF 221109_001_532_NWA_6685_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 6685
PSF 221109_002_532_NWA_6685_2.txtr
Slab, spot 2; 7000 msec; 20 spectra averaged.

NWA 6685
PSF 221109_003_532_NWA_6685_3.txtr
Slab, spot 3; 10000 msec; 20 spectra averaged.

NWA 6685
PSF 221109_004_532_NWA_6685_4.txtr
Slab, spot 4; 10000 msec; 20 spectra averaged.

NWA 6685
PSF 221110_001_532_NWA_6685_1.txtr
Slab, spot 5; 10000 msec; 20 spectra averaged.

NWA 6685
PSF 221110_002_532_NWA_6685_2.txtr
Slab, spot 6; 10000 msec; 20 spectra averaged.

NWA 6685
PSF 221116_001_532_NWA_6685_1.txtr
Slab, spot 7; 1400 msec; 20 spectra averaged.

NWA 6685
PSF 221116_002_532_NWA_6685_2.txtr
Slab, spot 8; 2000 msec; 20 spectra averaged.

NWA 6685
PSF 221116_003_532_NWA_6685_3.txtr
Slab, spot 9; 1800 msec; 20 spectra averaged.

NWA 6685
PSF 221116_004_532_NWA_6685_4.txtr
Slab, spot 10; 8000 msec; 20 spectra averaged.

++++++
Vaca Muerta(-c)
PSF 221118_001_532_Vaca_Muerta(-c)_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_002_532_Vaca_Muerta(-c)_2.txtr
Slab, spot 2; 780 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_003_532_Vaca_Muerta(-c)_3.txtr
Slab, spot 3; 10000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_004_532_Vaca_Muerta(-c)_4.txtr
Slab, spot 4; 10000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_005_532_Vaca_Muerta(-c)_5.txtr
Slab, spot 5; 9500 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_006_532_Vaca_Muerta(-c)_6.txtr
Slab, spot 6; 10000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_007_532_Vaca_Muerta(-c)_7.txtr
Slab, spot 7; 8000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_008_532_Vaca_Muerta(-c)_8.txtr
Slab, spot 8; 7000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_009_532_Vaca_Muerta(-c)_9.txtr
Slab, spot 9; 10000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_010_532_Vaca_Muerta(-c)_10.txtr
Slab, spot 10; 10000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_011_532_Vaca_Muerta(-c)_11.txtr
Slab, spot 11; 4000 msec; 20 spectra averaged.

Vaca Muerta(-c)
PSF 221118_012_532_Vaca_Muerta(-c)_12.txtr
Slab, spot 12; 8000 msec; 20 spectra averaged.

+++++++
NWA 10882
PSF 221121_001_532_NWA_10882_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10882
PSF 221121_002_532_NWA_10882_2.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10882
PSF 221121_003_532_NWA_10882_3.txtr
Slab, spot 1; 7000 msec; 20 spectra averaged.

NWA 10882
PSF 221121_004_532_NWA_10882_4.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10882
PSF 221121_005_532_NWA_10882_5.txtr
Slab, spot 1; 3500 msec; 20 spectra averaged.

NWA 10882
PSF 221121_006_532_NWA_10882_6.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10882
PSF 221121_007_532_NWA_10882_7.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 10882
PSF 221121_008_532_NWA_10882_8.txtr
Slab, spot 1; 3000 msec; 20 spectra averaged.

++++++

++++++++++++++++++++
16.5.3d. Mesosiderites from Smithsonian Institution and NASA Astromaterials (2018)

ALHA77219,12
PSF 180718a00005.asd
spot on non-cut surface, rough exterior; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180718 mesosiderites Smithsonian].

ALHA77219,12
PSF 180718a00006.asd
spot on slab, cut surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180718 mesosiderites Smithsonian].

+++++++

MAC 88102
PSF 201112a.00008.asd
Unsorted powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MAC 88102
PSF 201112a.00009.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MAC 88102
PSF 201112a.00010.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MAC 88102
PSF 201112a.00011.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MAC 88102
PSF 201112a.00012.asd
Spot on fusion crust; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MAC 88102
PSF 201112a.00013.asd
Spot on fusion crust; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MAC 88102
PSF 201112a.00014.asd
Spot on fusion crust; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

+++++++

QUE 86900
PSF 2001128c.00001.asd
Saw-cut unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200128 que 86900].

QUE 86900
PSF 2001128c.00002.asd
Spot on saw-cut face of slab (Spot 1); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200128 que 86900].

QUE 86900
PSF 2001128c.00003.asd
Spot on saw-cut face of slab (Spot 2); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200128 que 86900].

QUE 86900
PSF 2001128c.00004.asd
Spot on saw-cut face of slab (Spot 3); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200128 que 86900].

++++++++++++++++++++++++++++

16.5.4d. Mesosiderites from RELAB archive – June 2021
Barea
RELAB c1mb33
“cut chips” (slab?); i=30°, e=0°; 300-2600 nm; 5 nm resolution.
Barea
RELAB c2mb33
“cut chips” (slab?); i=30°, e=0°; 300-2600 nm; 5 nm resolution.

Barea
RELAB c3mb33
“cut chips” (slab?); i=30°, e=0°; 300-2600 nm; 5 nm resolution.

Barea
RELAB c4mb33
“cut chips” (slab?); i=30°, e=0°; 300-2600 nm; 5 nm resolution.

Barea
RELAB c5mb33
“cut chips” (slab?); i=30°, e=0°; 300-2600 nm; 5 nm resolution.

++++++

Estherville 
RELAB bmr1tb148
“particulate bulk”; i=30°, e=30°?; 1428-25050 nm; 0.4-121 nm resol.
Estherville
RELAB c1tb148
“particulate bulk”; i=30°, e=0°; 320-2550 nm; 10 nm resolution.

+++++++

Lamont 
RELAB bmr1tb150
“particulate bulk”; i=30°, e=30°?; 1428-25050 nm; 0.4-121 nm resol.

Lamont
RELAB c1tb150
“particulate bulk”; i=30°, e=0°; 320-2550 nm; 10 nm resolution.

++++++

Pinnaroo 
RELAB bmr1tb151
“particulate bulk”; i=30°, e=30°?; 1667-25050 nm; 0.6-121 nm resol.

Pinnaroo
RELAB c1tb151
“particulate bulk”; i=30°, e=0°; 320-2550 nm; 10 nm resolution.

Pinnaroo metal 
RELAB bmr1tb152
“chip”; i=30°, e=30°?; 2000-25050 nm; 0.8-121 nm resol.

Pinnaroo metal
RELAB c1tb152
“chip”; i=30°, e=0°; 320-2550 nm; 10 nm resolution.

++++++

Vaca Muerta 
RELAB bmr1tb149
“particulate bulk”; i=30°, e=30°?; 1428-25050 nm; 0.4-121 nm resol.

Vaca Muerta
RELAB c1tb149
“particulate bulk”; i=30°, e=0°; 320-2550 nm; 10 nm resolution.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.6d. Carbonaceous chondrites and components

16.6.1d. University of Winnipeg samples

Allende-a
PSF 120215a.001
slab surface; spot 1; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 200 averaged spectra [Directory: 120215_allende] (aka MET050 – slab).
Allende-b
PSF 120215a.002
slab surface; spot 2; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 200 averaged spectra [Directory: 120215_allende] (aka MET050 – slab).

Allende-c
PSF 120215a.003
slab surface; spot 3; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 200 averaged spectra [Directory: 120215_allende] (aka MET050 – slab).

Allende-d
PSF 120215a.004
slab surface; spot 4; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 200 averaged spectra [Directory: 120215_allende] (aka MET050 – slab).

Allende-e
PSF 120215a.005
slab surface; spot 5; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 200 averaged spectra [Directory: 120215_allende] (aka MET050 – slab).

Allende-f
PSF 120215a.006
slab surface; spot 6; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 200 averaged spectra [Directory: 120215_allende] (aka MET050 – slab).

Allende
PSF 120216a.022
<125 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 500 averaged spectra [Directory: 120215_meteorites] (aka MET050 – slab).

Allende
PSF 120216a.023
<125 µm; 30°/0°; 0.35-2.5 μm; 1 nm output; ASD; 500 averaged spectra; repack and reshoot [Directory: 120215_meteorites] (aka MET050 – slab).
+++

Allende
PSF 151218b.001
Slab, spot spectrum: side 1, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.002
Slab, spot spectrum: side 1, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.003
Slab, spot spectrum: side 1, spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.004
Slab, spot spectrum: side 1, spot 4; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.005
Slab, spot spectrum: side 1, spot 5; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.001
Slab, spot spectrum: side 1, spot 6; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.007
Slab, spot spectrum: side 1, spot 7; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.008
Slab, spot spectrum: side 1, spot 8; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.009
Slab, spot spectrum: side 2, spot 9; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.010
Slab, spot spectrum: side 2, spot 10; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.011
Slab, spot spectrum: side 2, spot 11; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.012
Slab, spot spectrum: side 2, spot 12; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.013
Slab, spot spectrum: side 2, spot 13; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.015
Slab, spot spectrum: side 2, spot 15; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.016
Slab, spot spectrum: side 2, spot 16; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.018
Saw-cut fines; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.019
Saw-cut fines on slab: spot 10; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.020
Saw-cut fines on slab: spot 12; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.021
Saw-cut fines on slab: spot 13; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.022
Saw-cut fines on slab: spot 9; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.023
Saw-cut fines on slab: spot 10, greater amount of fines; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.025
Saw-cut fines on slab: spot 13, greater amount of fines; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
Allende
PSF 151218b.026
Saw-cut fines on slab: spot 9, greater amount of fines; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 151218 Mets slabs].
++++++Dust on slab: Allende (CV3)+++++++
Allende
PSF 160824a.001
Slab, spot 1 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.002
Slab, spot 2 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.003
Slab, spot 3 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.004
Slab, spot 4 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.005
Slab, spot 5 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.006
Slab, spot 6 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.007
Slab, spot 7 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.008
Slab, spot 8 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.009
Slab, spot 9 (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.010
Slab, spot 1 with 24.4 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.011
Slab, spot 2 with 24.4 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.012
Slab, spot 3 with 24.4 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.013
Slab, spot 4 with 24.4 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.014
Slab, spot 1 with 107.7 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.015
Slab, spot 2 with 107.7 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.016
Slab, spot 3 with 107.7 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.017
Slab, spot 4 with 107.7 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
PSF 160824a.018
Slab, spot 1 with 210.33 µm thick saw-cut powder coating (spot size 2.3 mm); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160824 Allende].

Allende
Also have continuum-removed and band depth data*
++++++
Bencubbin (CB – bencubbinite) – spot spectra on polished (not roughened slab) – only spots 3, 4, and 8 appear to be usable (likely unusable ones are italicized)

Bencubbin spot 1
PSF 160203a.001
slab, side 1, spot 1; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 2
PSF 160203a.002
slab, side 1, spot 2; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 3
PSF 160203a.003
slab, side 1, spot 3; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 4
PSF 160203a.004
slab, side 1, spot 4; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 5
PSF 160203a.005
slab, side 2, spot 5; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 6
PSF 160203a.006
slab, side 2, spot 6; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 7
PSF 160203a.007
slab, side 2, spot 7; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin spot 8
PSF 160203a.008
slab, side 2, spot 8; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin large spot1
PSF 160203a.010
slab, side 1, large spot; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Bencubbin large spot2
PSF 160203a.011
slab, side 2, large spot; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 250 spectra averaged ; ASD [Directory : 160203 bencubbin slab].

Benncubbin
PSF 001 bencubbin
slab, metal-poor spot; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

++++++

Bencubbin
PSF 221214c00001.asd
Slab ; spot 1 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00002.asd
Slab ; spot 2 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00003.asd
Slab ; spot 3 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00004.asd
Slab ; spot 4 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00005.asd
Slab ; spot 5 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00006.asd
Slab ; spot 6 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00007.asd
Slab ; spot 7 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00008.asd
Slab ; spot 8 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00009.asd
Slab ; spot 9 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
Bencubbin
PSF 221214c00010.asd
Slab ; spot 10 i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].
++++++++++

++++++++++++++

CAI100
RELAB CACA00
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

CAI100
RELAB LACA00
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

++++++
Chwichiya 002-b
PSF 221215a.00001.asd
<125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 221215 Grind-mix and chwichiya].

Chwichiya 002-a
PSF 221206b00022.asd
Smaller piece, whole rock, surface 1, uneven, rusty spots; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221206 Chwichiya002].

Chwichiya 002-a
PSF 221206b00023.asd
Smaller piece, whole rock, surface 2, CC-like; dark w/ spots; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221206 Chwichiya002].

Chwichiya 002-b
PSF 221207a.00001.asd
Larger piece, whole rock, surface 2, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221207 Chwichiya002].

Chwichiya 002-b
PSF 221207a.00002.asd
Larger piece, whole rock, surface 2, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221207 Chwichiya002].

Chwichiya 002-b
PSF 221207a.00003.asd
Larger piece, whole rock, surface 2, spot 3, white inclusions; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221207 Chwichiya002].

Chwichiya 002-b
PSF 221207a.00004.asd
Larger piece, whole rock, surface 1, uneven; rusty and dark; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221207 Chwichiya002].

Chwichiya 002-b
PSF 221207a.00005.asd
Larger piece, whole rock, surface 1, dark; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221207 Chwichiya002].

Chwichiya 002-b
PSF 221207a.00006.asd
Larger piece, whole rock, surface 1, uneven, rusty; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 221207 Chwichiya002].

++++Parr bomb data+++

Chwichiya 002
PSF 230705a.00001.asd
<125 µm powder; after Parr bomb; sealed; 1:1 sample: reverse osmosis water; 1 week at 200°C; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].
+++ Heating at DLR in vacuum (Dec. 2023) (files are huge)++++

Chwichiya 002 
DLR bidir 025C
<125 µm powder; unheated; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 100C
<125 µm powder; heated in vacuum to 100°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 200C
<125 µm powder; heated in vacuum to 200°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 300C
<125 µm powder; heated in vacuum to 300°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 400C
<125 µm powder; heated in vacuum to 400°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 500C
<125 µm powder; heated in vacuum to 500°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 600C
<125 µm powder; heated in vacuum to 600°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Chwichiya 002
DLR bidir 700C
<125 µm powder; heated in vacuum to 700°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

++++++++

+++ Heating at DLR in vacuum (Dec. 2023 (files are huge) CO3 chondrite++++

DaG 190
DLR bidir 025C
<125 µm powder; unheated; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 100C
<125 µm powder; heated in vacuum to 100°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 200C
<125 µm powder; heated in vacuum to 200°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 300C
<125 µm powder; heated in vacuum to 300°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 400C
<125 µm powder; heated in vacuum to 400°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 500C
<125 µm powder; heated in vacuum to 500°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 600C
<125 µm powder; heated in vacuum to 600°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
DaG 190 
DLR bidir 700C
<125 µm powder; heated in vacuum to 700°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm. Spectra appear wrong.
++++++++

+++++Test of number of averages on signal to noise+++++
Jaipur (Mukundpura)
PSF 231017a.00000.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF

<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 x 30 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF 231017a.00031.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF 231017a.00032.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF 231017a.00033.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF 231017a.00034.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 50 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF 231017a.00035.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 20 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

Jaipur (Mukundpura)
PSF 231017a.00036.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1 spectra averaged; ASD4 [Directory: 231017 jaipur]. 

+++++

Kainsaz
PSF 191213a00003.asd
slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191213 CR Chondrites Meteorites – Hannah].

Kainsaz
PSF 191213a00007.asd
<1000 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191213 CR Chondrites Meteorites – Hannah].

+++++++

Moss
PSF 160225b.001
slab: side 1, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.002
slab: side 1, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.003
slab: side 1, spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.004
slab: side 2, spot 4; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.005
slab: side 2, spot 5; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.006
slab: side 2, spot 6; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.007
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.008
<45 µm powder lightly sprinkled on slab: side 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

Moss
PSF 160225b.009
<45 µm powder heavily sprinkled on slab: side 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]


++++++cleaner ASD reflectance spectra for Moss+++++
Moss
PSF 160311b.001
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 moss].

Moss
PSF 160311b.002
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 moss].

Moss
PSF 160311b.003
slab with light coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 moss].

Moss
PSF 160311b.004
slab with medium coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 moss].

Moss
PSF 160311b.005
slab with heavy coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 moss].


++++++

Moss
PSF 002 moss
metal-poor spot; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

++++

Moss
PSF 221214c00022.asd
Slab ; spot 1 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

Moss
PSF 221214c00023.asd
Slab ; spot 2 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

Moss
PSF 221214c00024.asd
Slab ; spot 3 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

Moss
PSF 221214c00025.asd
Slab ; spot 4 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

Moss
PSF 221214c00026.asd
Slab ; spot 5 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

Moss
PSF 221214c00027.asd
Slab ; spot 6 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

+++Dust on slab spectra: Moss (CO3.6)++++

Moss
PSF 160825a.001
Slab, spot 1 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.002
Slab, spot 2 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.003
Slab, spot 3 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.004
Slab, spot 1, with 71.82 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.0054
Slab, spot 2, with 71.82 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.006
Slab, spot 3, with 71.82 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.007
Slab, spot 1, with 114.59 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.008
Slab, spot 2, with 114.59 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.009
Slab, spot 3, with 114.59 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.010
Slab, spot 1, with 162.45 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.011
Slab, spot 2, with 162.45 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.012
Slab, spot 3, with 162.45 mm thick coating of <45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.013
<45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
PSF 160825a.016
Slab, large spot (5.417 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 m output; 500 spectra averaged [Directory: 160825 Moss].

Moss
Also have continuum-removed and band depth data*

++++++
NWA 801a
PSF 121205a.001
exterior surface; 30°/0°; 0.35-2.5 µm; 1 nm output; ASD; 200 averaged spectra [Directory: 121205_NWA].

NWA 801b
PSF 121205a.002
interior (saw-cut) surface; 30°/0°; 0.35-2.5 µm; 1 nm output; ASD; 200 averaged spectra [Directory: 121205_NWA].

NWA 801a
PSF 121205a.003
<45 μm powder from whole rock (interior and exterior); 30°/0°; 0.35-2.5 µm; 1 nm output; ASD; 200 averaged spectra [Directory: 121205_NWA].
+++++

NWA 801
PSF 004 nwa801
unsorted powder, rusty; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

+++++

NWA 801
PSF 160229b.001
slab: spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 801
PSF 160229b.002
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 801
PSF 160229b.003
<45 µm powder on slab, spot 1: light coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 801
PSF 160229b.004
<45 µm powder on slab, spot 1: medium coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 801
PSF 160229b.005
<45 µm powder on slab, spot 1: heavy coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

++++Dust on slab: NWA 801 (CR2)+++++

NWA 801
PSF 160826b.001
Slab, spot 1 (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.002
Slab, spot 2 (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.003
Slab, spot 3 (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.004
Slab, spot 1, with 107.73 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.005
Slab, spot 2, with 107.73 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.006
Slab, spot 3, with 107.73 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.007
Slab, spot 1, with 147.06 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.008
Slab, spot 2, with 147.06 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.009
Slab, spot 3, with 147.06 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.010
Slab, spot 1, with 174.42 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.011
Slab, spot 2, with 174.42 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.012
Slab, spot 3, with 174.42 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.013
Slab, spot 1, with 242.82 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.014
Slab, spot 2, with 242.82 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.015
Slab, spot 3, with 242.82 µm thick coating of <45 µm dust  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.016
<45 µm powder  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

NWA 801
PSF 160826b.017
<45 µm powder  (2.25 mm diameter spot size); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801]; repack and reshoot.

NWA 801
PSF 160826b.020
Slab, 5.4 mm diameter spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 160826 NWA 801].

+++++ Dust on slab spectra - DERUSTED+++++

NWA 801_dr
PSF 180622a00001asd
Slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00002asd
Slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00003asd
Slab, spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00004asd
Slab, spot 1, with 54.72 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00005asd
Slab, spot 2, with 54.72 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00006asd
Slab, spot 3, with 54.72 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00007asd
Slab, spot 1, with 111.15 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00008asd
Slab, spot 2, with 111.15 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00009asd
Slab, spot 3, with 111.15 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00010asd
Slab, spot 1, with 162.45 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00011asd
Slab, spot 2, with 162.45 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00012asd
Slab, spot 3, with 162.45 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00013asd
Slab, spot 1, with 256.5 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00014asd
Slab, spot 2, with 256.5 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00015asd
Slab, spot 3, with 256.5 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00016asd
Slab, spot 1, with 307.8 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00017asd
Slab, spot 2, with 307.8 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00018asd
Slab, spot 3, with 307.8 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00019asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801].

NWA 801_dr
PSF 180622a00020asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801]; repacked and reshot.

NWA 801_dr
PSF 180622a00021asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801] ; repacked and reshot.

NWA 801_dr
PSF 180622a00022asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801] ; repacked and reshot.

NWA 801_dr
PSF 180622a00023asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 801] ; repacked and reshot.

+++++++
NWA 1465
PSF 221214c00012.asd
Slab ; spot 1 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00013.asd
Slab ; spot 2 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00014.asd
Slab ; spot 3 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00015.asd
Slab ; spot 4 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00016.asd
Slab ; spot 5 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00017.asd
Slab ; spot 6 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00018.asd
Slab ; spot 7 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00019.asd
Slab ; spot 8 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00020.asd
Slab ; spot 9 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

NWA 1465
PSF 221214c00021.asd
Slab ; spot 10 ; i=30°, e=0° ; 350-2500 nm ; 1 nm output ; 500 spectra averaged [Directory 221214 Carbonaceous Chondrites].

+++++++

NWA  5794
PSF 191213a00001.asd
slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191213 CR Chondrites Meteorites – Hannah].

NWA 5794
PSF 191213a00005.asd
<1000 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191213 CR Chondrites Meteorites – Hannah].

+++++++

NWA 7317
PSF 191213a00002.asd
slab; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191213 CR Chondrites Meteorites – Hannah].

NWA  7317
PSF 191213a00006.asd
<850 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 191213 CR Chondrites Meteorites – Hannah].

+++++++

NWA 10256-a
PSF 201030a0002.asd
<850 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

NWA 10256-b
PSF 201030a0003.asd
<1000 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

NWA 10256-a
PSF 201016a0001.asd
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 10256-a
PSF 201016a0002.asd
slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 10256-b
PSF 201016a0003.asd
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 10256-b
PSF 201016a0004.asd
slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

++++++++
NWA 14743
PSF 230504a00001.asd
large spot (#1) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00002.asd
large spot (#2) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00003.asd
large spot (#3) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00004.asd
large spot (#4) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00005.asd
large spot (#5) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00006.asd
large spot (#6) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00007.asd
large spot (#7) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00008.asd
large spot (#8) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 230504a00009.asd
large spot (#9) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 14743
PSF 240108b.00001.asd
<125 µm powder; before Parr bomb; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240108b Sahej CC’s 2].
NWA 14743
PSF 230705a.00002.asd
<125 µm powder; after Parr bomb; sealed; 1:1 sample: reverse osmosis water; 1 week at 200°C; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].

+++ Heating at DLR in vacuum (Dec. 2023) (files are huge)++++

NWA 14743 
DLR bidir 025C
<125 µm powder; unheated; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 100C
<125 µm powder; heated in vacuum to 100°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 200C
<125 µm powder; heated in vacuum to 200°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 300C
<125 µm powder; heated in vacuum to 300°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 400C
<125 µm powder; heated in vacuum to 400°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 500C
<125 µm powder; heated in vacuum to 500°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 600C
<125 µm powder; heated in vacuum to 600°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 14743 
DLR bidir 700C
<125 µm powder; heated in vacuum to 700°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

++++++++

NWA 15337
PSF 230504a00011.asd
large spot (#1) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00012.asd
large spot (#2) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00013.asd
large spot (#3) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00014.asd
large spot (#4) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00015.asd
large spot (#5) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00016.asd
large spot (#6) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00017.asd
large spot (#7) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 230504a00018.asd
large spot (#8) on slab; i=30°, e=0°; 350-2500 nm; 2-6 nm resolution; 1.4 nm spectral step; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230504 CV3 and CK3 Meteorites].

NWA 15337
PSF 240108b.00002.asd
<125 µm powder; before Parr bomb; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240108b Sahej CC’s 2].

NWA 15337
PSF 230705a.00003.asd
<125 µm powder; after Parr bomb; sealed; 1:1 sample: reverse osmosis water; 1 week at 200°C; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].

+++ Heating at DLR in vacuum (Dec. 2023) (files are huge)++++

NWA 15337 
DLR bidir 025C
<125 µm powder; unheated; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.
NWA 15337 
DLR bidir 100C
<125 µm powder; heated in vacuum to 100°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 15337 
DLR bidir 200C
<125 µm powder; heated in vacuum to 200°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 15337 
DLR bidir 300C
<125 µm powder; heated in vacuum to 300°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 15337 
DLR bidir 400C
<125 µm powder; heated in vacuum to 400°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 15337 
DLR bidir 500C
<125 µm powder; heated in vacuum to 500°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 15337 
DLR bidir 600C
<125 µm powder; heated in vacuum to 600°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 15337 
DLR bidir 700C
<125 µm powder; heated in vacuum to 700°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

++++++++++++++++
16.6.1d. iRaman 532 reflectance spectra

(i) spots on slabs: iRaman 532; 174-4002 cm-1; 4 cm-1 resolution [Directory: 221123 Carbonaceous Chondrites; 221124 Carbonaceous Chondrites; 221128 Carbonaceous Chondrites; 221221 Carbonaceous Chondrites; 230106 Carbonaceous Chondrites; 230109 Carbonaceous Chondrites; 230111 Carbonaceous Chondrites; 230127 Carbonaceous Chondrites; 230131 Carbonaceous Chondrites].

Chwichiya 002
PSF 221123_001_532_Chwichiya_002_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_002_532_Chwichiya_002_2.txtr
Slab, spot 2; 8000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_003_532_Chwichiya_002_3.txtr
Slab, spot 3; 26000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_004_532_Chwichiya_002_4.txtr
Slab, spot 4; 10000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_005_532_Chwichiya_002_5.txtr
Slab, spot 5; 10000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_006_532_Chwichiya_002_6.txtr
Slab, spot 6; 10000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_007_532_Chwichiya_002_7.txtr
Slab, spot 7; 10000 msec; 20 spectra averaged.

Chwichiya 002
PSF 221123_008_532_Chwichiya_002_8.txtr
Slab, spot 8; 10000 msec; 20 spectra averaged.

++++++

NWA 1465
PSF 221124_001_532_NWA_1465_1.txtr
Slab, spot 1; 10000 msec; 20 spectra averaged.

NWA 1465
PSF 221124_002_532_NWA_1465_2.txtr
Slab, spot 2; 6000 msec; 20 spectra averaged.

NWA 1465
PSF 221124_003_532_NWA_1465_3.txtr
Slab, spot 3; 10000 msec; 20 spectra averaged.

NWA 1465
PSF 221128_001_532_NWA_1465_4.txtr
Slab, spot 4; 8000 msec; 20 spectra averaged.

NWA 1465
PSF 221128_002_532_NWA_1465_5.txtr
Slab, spot 5; 120 msec; 20 spectra averaged.

NWA 1465
PSF 221128_003_532_NWA_1465_6.txtr
Slab, spot 6; 1000 msec; 20 spectra averaged.

NWA 1465
PSF 221128_004_532_NWA_1465_7.txtr
Slab, spot 7; 990 msec; 20 spectra averaged.

NWA 1465
PSF 221128_005_532_NWA_1465_8.txtr
Slab, spot 8; 3000 msec; 20 spectra averaged.

NWA 1465
PSF 221128_006_532_NWA_1465_9.txtr
Slab, spot 9; 10000 msec; 20 spectra averaged.

++++++

Bencubbin
PSF 221128_007_532_Bencubbin_1.txtr
Slab, spot 1; 2500 msec; 20 spectra averaged.

Bencubbin
PSF 221128_008_532_Bencubbin_2.txtr
Slab, spot 2; 10000 msec; 20 spectra averaged.

Bencubbin
PSF 221128_009_532_Bencubbin_3.txtr
Slab, spot 3; 5000 msec; 20 spectra averaged.

Bencubbin
PSF 221128_010_532_Bencubbin_4.txtr
Slab, spot 4; 10000 msec; 20 spectra averaged.

Bencubbin
PSF 221128_011_532_Bencubbin_5.txtr
Slab, spot 5; 10000 msec; 20 spectra averaged.

Bencubbin
PSF 221128_012_532_Bencubbin_6.txtr
Slab, spot 6; 8000 msec; 20 spectra averaged.

Bencubbin
PSF 221128_013_532_Bencubbin_7.txtr
Slab, spot 7; 10000 msec; 20 spectra averaged.

Bencubbin
PSF 221128_014_532_Bencubbin_8.txtr
Slab, spot 8; 10000 msec; 20 spectra averaged.

++++++
Moss
PSF 221221_001_532_Moss_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_002_532_Moss_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_003_532_Moss_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_004_532_Moss_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_005_532_Moss_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_006_532_Moss_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_007_532_Moss_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_008_532_Moss_8.txtr
Spot 8 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_009_532_Moss_9.txtr
Spot 9 on slab; 10000 msec; 20 spectra averaged.

Moss
PSF 221221_010_532_Moss10.txtr
Spot 10 on slab; 10000 msec; 20 spectra averaged.

++++++
Aguas Zarcas(AZ-72)
PSF 230106_001_532_Aguas_Zarcas(AZ-72)_1.txtr
Slab, spot 1; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_002_532_Aguas_Zarcas(AZ-72)_2.txtr
Slab, spot 2; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_003_532_Aguas_Zarcas(AZ-72)_3.txtr
Slab, spot 3; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_004_532_Aguas_Zarcas(AZ-72)_4.txtr
Slab, spot 4; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_005_532_Aguas_Zarcas(AZ-72)_5.txtr
Slab, spot 5; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_006_532_Aguas_Zarcas(AZ-72)_6.txtr
Slab, spot 6; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_007_532_Aguas_Zarcas(AZ-72)_7.txtr
Slab, spot 7; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-72)
PSF 230106_008_532_Aguas_Zarcas(AZ-72)_8.txtr
Slab, spot 8; 10000 msec; 20 averaged.

+++
Aguas Zarcas(AZ-68)
PSF 230127_004_532_Aguas_Zarcas(AZ-68)_1.txtr
Slab, spot 1; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230127_005_532_Aguas_Zarcas(AZ-68)_2.txtr
Slab, spot 2; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230127_006_532_Aguas_Zarcas(AZ-68)_3.txtr
Slab, spot 3; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230131_001_532_Aguas_Zarcas(AZ-68)_4.txtr
Slab, spot 4; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230131_002_532_Aguas_Zarcas(AZ-68)_5.txtr
Slab, spot 5; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230131_003_532_Aguas_Zarcas(AZ-68)_6.txtr
Slab, spot 6; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230131_004_532_Aguas_Zarcas(AZ-68)_7.txtr
Slab, spot 7; 10000 msec; 20 averaged.

Aguas Zarcas(AZ-68)
PSF 230131_005_532_Aguas_Zarcas(AZ-68)_8.txtr
Slab, spot 8; 10000 msec; 20 averaged.

+++++++++++

Jbilet Winselwan(JW-44)
PSF 230106_009_532_Jbilet_Winselwan(JW-44)_1.txtr
Slab, spot 1; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230109_001_532_Jbilet_Winselwan(JW-44)_2.txtr
Slab, spot 2; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230109_002_532_Jbilet_Winselwan(JW-44)_3.txtr
Slab, spot 3; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230109_003_532_Jbilet_Winselwan(JW-44)_4.txtr
Slab, spot 4; 10000 msec; 20 averaged4
Jbilet Winselwan(JW-44)
PSF 230109_004_532_Jbilet_Winselwan(JW-44)_5.txtr
Slab, spot 5; 10000 msec; 20 averaged
Jbilet Winselwan(JW-44)
PSF 230109_005_532_Jbilet_Winselwan(JW-44)_6.txtr
Slab, spot 6; 10000 msec; 20 averaged
Jbilet Winselwan(JW-44)
PSF 230109_006_532_Jbilet_Winselwan(JW-44)_7.txtr
Slab, spot 7; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230109_007_532_Jbilet_Winselwan(JW-44)_8.txtr
Slab, spot 8; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_001_532_Jbilet_Winselwan(JW-44)_9.txtr
Slab, spot 9; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_002_532_Jbilet_Winselwan(JW-44)_10.txtr
Slab, spot 10; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_003_532_Jbilet_Winselwan(JW-44)_11.txtr
Slab, spot 11; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_004_532_Jbilet_Winselwan(JW-44)_12.txtr
Slab, spot 12; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_005_532_Jbilet_Winselwan(JW-44)_13.txtr
Slab, spot 13; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_006_532_Jbilet_Winselwan(JW-44)_14.txtr
Slab, spot 14; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_007_532_Jbilet_Winselwan(JW-44)_15.txtr
Slab, spot 15; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_008_532_Jbilet_Winselwan(JW-44)_16.txtr
Slab, spot 16; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230112_001_532_Jbilet_Winselwan(JW-44)_17.txtr
Slab, spot 17; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_002_532_Jbilet_Winselwan(JW-44)_18.txtr
Slab, spot 18; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_003_532_Jbilet_Winselwan(JW-44)_19.txtr
Slab, spot 19; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_004_532_Jbilet_Winselwan(JW-44)_20.txtr
Slab, spot 20; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230111_005_532_Jbilet_Winselwan(JW-44)_21.txtr
Slab, spot 21; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230127_001_532_Jbilet_Winselwan(JW-44)_22.txtr
Slab, spot 22; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230127_002_532_Jbilet_Winselwan(JW-44)_23.txtr
Slab, spot 23; 10000 msec; 20 averaged.

Jbilet Winselwan(JW-44)
PSF 230127_003_532_Jbilet_Winselwan(JW-44)_24.txtr
Slab, spot 24; 10000 msec; 20 averaged.

++++++++++++++++++++++++++++++++++++++

16.6.2d. University of North Dakota samples

mjg001
PSF 090814c.003
(Mighei) “<32” (microns?); i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg001
PSF 090814c.004
(Mighei) “<32” (microns?); i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg001
PSF 001 mjg001
(Mighei), <32 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg002
PSF 090814c.001
“32-100 ground” (microns?); i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg002
PSF 090814c.002
“32-100 ground” (microns?); i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg003
PSF 090814c.005
(Alais) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg003
PSF 090814c.006
(Alais) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg003
PSF 002 mjg003
(Alais), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++++++ Same phase angle for standard and sample++++++++++++++++
mjg003
PSF 100425a.001
(Alais) <150 μm; 0°/15°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.004
(Alais) <150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.007
(Alais) <150 μm; 0°/45°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.010
(Alais) <150 μm; 0°/60°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.013
(Alais) <150 μm; 15°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.016
(Alais) <150 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.019
(Alais) <150 μm; 45°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.022
(Alais) <150 μm; 60°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.025
(Alais) <150 μm; 0°/-0° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.028
(Alais) <150 μm; 15°/-15° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.031
(Alais) <150 μm; 30°/-30° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.034
(Alais) <150 μm; 45°/-45° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.037
(Alais) <150 μm; 60°/-60° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Not reliable spectrum.

mjg003
PSF 100425a.039
(Alais) <150 μm; 60°/-60° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg003
PSF 100425a.042
(Alais) <150 μm; 45°/-45° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Redone.

mjg003
PSF 100425a.045
(Alais) <150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Regular packing.

mjg003
PSF 100425a.046
(Alais) <150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Fluffed with needle.

mjg003
PSF 100425a.047
(Alais) <150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Packed tight.

Bmask
PSF 100425a.050
black mask used to mask out Al cup; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

Al_cup
PSF 100425a.051
surface of Al sandblasted cup; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

++++++MJG003 – phase angle measurements – all relative to Spectralon at i=13°, e=0°++++++
mjg003
PSF 101001a.008
(Alais) <150 μm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.017
(Alais) <150 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.026
(Alais) <150 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.035
(Alais) <150 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.044
(Alais) <150 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.053
(Alais) <150 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.063
(Alais) <150 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.073
(Alais) <150 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.082
(Alais) <150 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg003
PSF 101001a.094
(Alais) <150 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles). Done after light source replaced.

++++++++++++++++++++++++++

mjg004
PSF 090814c.007
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg004
PSF 090814c.008
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.


++++++

mjg004
PSF 100425a.002
~<150 μm; 0°/15°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.005
~<150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.008
~<150 μm; 0°/45°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.011
~<150 μm; 0°/60°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.014
~<150 μm; 15°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.017
~<150 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.020
~<150 μm; 45°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.023
~<150 μm; 60°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.026
~<150 μm; 0°/-0° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.029
~<150 μm; 15°/-15° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.032
~<150 μm; 30°/-30° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.035
~<150 μm; 45°/-45° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.040
~<150 μm; 60°/-60° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

mjg004
PSF 100425a.043
~<150 μm; 45°/-45° - bifurcated cable; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Redone.

mjg004
PSF 100425a.048
~<150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Regular packing.

mjg004
PSF 100425a.049
~<150 μm; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI). Fluffed with needle.

Bmask
PSF 100425a.050
black mask used to mask out Al cup; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

Al_cup
PSF 100425a.051
surface of Al sandblasted cup; 0°/30°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Director: 100425_CI).

++++++

mjg005
PSF 090814c.009
(Allende) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg005
PSF 090814c.010
(Allende) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.
mjg005
PSF 120216a.001
(Allende) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

mjg005
PSF 120216a.009
(Allende) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

mjg005
PSF 003 mjg005
(Allende), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg006
PSF 090814c.011
(Mokoia) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg006
PSF 090814c.012
(Mokoia) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg006
PSF 120216a.002
(Mokoia) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

mjg006
PSF 120216a.010
(Mokoia) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

mjg006
PSF 006 mjg006
(Mokoia), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg007
PSF 090814c.013
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg007
PSF 090814c.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg007
PSF 090814c.015
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg008
PSF 090817b.002
(Vigarano) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg008
PSF 090817b.003
(Vigarano) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg008
PSF 120216a.003
(Vigarano) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

mjg008
PSF 120216a.011
(Vigarano) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

mjg008
PSF 007 mjg008
(Vigarano), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg009
PSF 090817b.004
(Murchison) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg009
PSF 090817b.005
(Murchison) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg009
PSF 008 mjg009
(Murchison), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg010
PSF 090817b.006
(Murray) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg010
PSF 090817b.007
(Murray) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg010
PSF 009 mjg010
(Murray), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg011
PSF 090817b.008
(Nogoya) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg011
PSF 090817b.009
(Nogoya) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg011
PSF 010 mjg011
(Nogoya), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg191
PSF 901104a.017
(Leoville) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg191
PSF 901104a.018
(Leoville) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg191
PSF 120216a.004
(Leoville) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

mjg191
PSF 120216a.012
(Leoville) <150 µm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

mjg191
PSF 013 mjg191
(Leoville), <150 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

++++++

mjg226
PSF 091118a.001
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg226
PSF 091118a.002
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

+++++++++++++++++++++++++++++++++++
16.6.3d. Carbonaceous chondrites - Pierre Hudon samples

MET01070
RELAB c1ph43
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MET01070
RELAB bkr1ph43
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

PCA02012
RELAB c1ph44
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PCA02012
RELAB bkr1ph44
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

MET00639
RELAB c1ph32
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MET00639
RELAB bkr1ph32
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

WIS91600
RELAB c1ph33
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

WIS91600
RELAB bkr1ph33
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

QUE97077
RELAB c1ph51
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

QUE97077
RELAB bkr1ph51
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

QUE99038
RELAB c1ph52
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

QUE99038
RELAB bkr1ph52
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

ALH82101
RELAB c1ph34
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

ALH82101
RELAB bkr1ph34
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

FRO95002
RELAB c1ph42
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

FRO95002
RELAB bkr1ph42
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

MET00737
RELAB c1ph50
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MET00737
RELAB bkr1ph50
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

FRO99040
RELAB c1ph57
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

FRO99040
RELAB bkr1ph57
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

QUE93744
RELAB c1ph41
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

QUE93744
RELAB bkr1ph41
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

MET01149
RELAB c1ph45
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MET01149
RELAB bkr1ph45
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

ALH85002
RELAB c1ph35
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

ALH85002
RELAB bkr1ph35
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

PCA91470
RELAB c1ph46
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PCA91470
RELAB bkr1ph46
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

DAV92300
RELAB c1ph53
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

DAV92300
RELAB bkr1ph53
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

EET83311
RELAB c1ph47
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

EET83311
RELAB bkr1ph47
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

PCA91082
RELAB c1ph48
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PCA91082
RELAB bkr1ph48
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

QUE99177
RELAB c1ph54
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

QUE99177
RELAB bkr1ph54
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

MET00426
RELAB c1ph55
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MET00426
RELAB bkr1ph55
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

MAC87320
RELAB c1ph56
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MAC87320
RELAB bkr1ph56
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

EET87770
RELAB C1SC98
<45µm, fragment #,19, 30/0, 0.3-2.7µm, 5nm, with errors.

EET87770
RELAB C2SC98
<45µm, fragment #,19, 0/15, 0.3-2.7µm, 5nm, with errors.

++++++

PCA91467
RELAB c1ph49
<75µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PCA91467
RELAB bkr1ph49
<75µm, 30°/0°,30°; 0.3-50 µm; 5/0.3-475 nm resol. (RELAB+Nicolet, note change in viewing geometry).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.4d. Samples on loan from Arizona State University (Jim Bell) – April 2011 – rescued from Cornell

(1) Phase angle measurements – all relative to Spectralon at i=15°, e=0°. Used mix of <45 and 45-90 µm JFB Murchison sample.

Note: ASD spectrometer may have been acting up – data are unreliable (italicized). Spectra reshot June 2016 (see below). Negative number on i° or e° indicates both illumination and pick-up probes are both on the same side of normal (all in the principal plane). New spectra still bad (italicized).
Murchison
PSF 140620b.001
<90 µm; i=15°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.002
<90 µm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.003
<90 µm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.004
<90 µm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.005
<90 µm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.006
<90 µm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.007
<90 µm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.008
<90 µm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

Murchison
PSF 140620b.009
<90 µm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140620 Murchison).

+++++++

Murchison (JFB)
PSF 160613a.000
Spectralon: i=15°, e=0°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.001
<90 µm; i=15°, e=0°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.002
<90 µm; i=15°, e=15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.003
<90 µm; i=15°, e=30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.004
<90 µm; i=15°, e=45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.005
<90 µm; i=15°, e=60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.006
<90 µm; i=30°, e=0°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.007
<90 µm; i=30°, e=15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.008
<90 µm; i=30°, e=30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.009
<90 µm; i=30°, e=45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.010
<90 µm; i=30°, e=60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.011
<90 µm; i=45°, e=0°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.012
<90 µm; i=45°, e=15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.013
<90 µm; i=45°, e=30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.014
<90 µm; i=45°, e=45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.015
<90 µm; i=45°, e=60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.016
<90 µm; i=60°, e=0°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.017
<90 µm; i=60°, e=15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.018
<90 µm; i=60°, e=30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.019
<90 µm; i=60°, e=45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.020
<90 µm; i=60°, e=60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.021
<90 µm; i=0°, e=15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.022
<90 µm; i=0°, e=30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.023
<90 µm; i=0°, e=45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.024
<90 µm; i=0°, e=60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.025
<90 µm; i=15°, e=-30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.026
<90 µm; i=15°, e=-45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.027
<90 µm; i=15°, e=-60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.028
<90 µm; i=30°, e=-60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.029
<90 µm; i=30°, e=-45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.030
<90 µm; i=45°, e=-60°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.031
<90 µm; i=30°, e=-15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.032
<90 µm; i=45°, e=-15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.033
<90 µm; i=15°, e=-30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.034
<90 µm; i=60°, e=-15°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.035
<90 µm; i=60°, e=-30°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.036
<90 µm; i=60°, e=-45°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

Murchison (JFB)
PSF 160613a.037
Spectralon, i=15°, e=0°; Spectralon cal target; i=15°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; New ASD [Directory: 160613 murchison]

+++++++

jfb-02 (Allende)
PSF 120216a.005
<2000 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

jfb-02 (Allende)
PSF 120216a.013
<2000 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

jfb-01 (Allende)
PSF 120216a.006
500-2000 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

jfb-01 (Allende)
PSF 120216a.014
500-2000 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

jfb-04 (Allende)
PSF 120216a.007
<150 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

jfb-04 (Allende)
PSF 120216a.015
<150 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

jfb-03 (Allende)
PSF 120216a.008
75-250 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites).

jfb-03 (Allende)
PSF 120216a.016
75-250 μm; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 500 spectra averaged, ASD (Directory: 120216 meteorites); repacked and reshot.

++++++++
Orgueil

PSF 014 orgueil
unsorted, very fine powder; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 700 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160118 uv meteorites run 1]. 
++++++++++++++++++++++++++
(2) Fine (<45 µm) + coarse (500-1000 µm) powdered intimate mixtures of Murchison using JFB samples

Murchison-m1
PSF 140721b.001
100% coarse + 0% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m1
PSF 140721b.002
100% coarse + 0% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m2
PSF 140721b.003
0% coarse + 100% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m2
PSF 140721b.004
0% coarse + 100% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m3
PSF 140721b.005
95% coarse + 5% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m3
PSF 140721b.006
95% coarse + 5% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m4
PSF 140721b.007
90% coarse + 10% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m4
PSF 140721b.008
90% coarse + 10% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m5
PSF 140721b.009
85% coarse + 5% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m5
PSF 140721b.010
85% coarse + 5% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m6
PSF 140721b.011
80% coarse + 20% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m6
PSF 140721b.012
80% coarse + 20% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m7
PSF 140721b.013
75% coarse + 25% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m7
PSF 140721b.014
75% coarse + 25% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m8
PSF 140721b.015
70% coarse + 30% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m8
PSF 140721b.016
70% coarse + 30% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-m9
PSF 140721b.017
65% coarse + 35% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-m9
PSF 140721b.018
65% coarse + 35% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-10
PSF 140721b.019
60% coarse + 40% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-10
PSF 140721b.020
60% coarse + 40% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-11
PSF 140721b.021
55% coarse + 45% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-11
PSF 140721b.022
55% coarse + 45% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

Murchison-12
PSF 140721b.023
50% coarse + 50% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140721 Coarse Fine Murchison].

Murchison-12
PSF 140721b.024
50% coarse + 50% fine; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD; repacked and reshot [Directory: 140721 Coarse Fine Murchison].

+++++++++++++++++++++++++++++++++++++++++

(3) Murchison as end member for Murchison + magnetite mixtures (for Vishnu Reddy – April 2015)

Murchison
PSF 150429a.002
>150 µm (JFB sample #5377); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150429 murch mag mix]. Part of mixture series (see section 15.29); aka sample ID MMM001
Murchison
PSF 006 sls1
<45 µm (JFB sample #5377); i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.6.6d. Carbonaceous chondrites from the Royal Ontario Museum

(1) Murchison: Spectra of spots on fusion crust (Fusion) and saw-cut faces (Saw) of the three pieces.

Murchison
PSF 140616a.001
SawA.001: spot in top left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.002
SawA.002: spot in top right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.003
SawA.003: spot in upper middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.004
SawA.004: spot in right middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.005
SawA.005: spot in lower middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.006
SawA.006: spot in bottom right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.007
FusionA.007: spot in top left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.008
FusionA.008: spot in top middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.009
FusionA.009: spot in middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.010
FusionA.010: spot in bottom, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.011
SawB.011: spot in bottom left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.012
SawB.012: spot in bottom right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.013
SawB.013: spot in middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.014
SawB.014: spot in top left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.015
SawB.015: spot in top right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.016
FusionB.016: spot in middle left, white blob, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.017
FusionB.017: spot in bottom, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.018
FusionB.018: spot in middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.019
FusionB.019: spot in top, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.020
SawC.020: spot in bottom left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.021
SawC.021: spot in bottom right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.022
SawC.022: spot in top right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.023
SawC.023: spot in top left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.024
SawC.024: spot in middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.025
FusionC.025: spot in bottom left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.026
FusionC.026: spot in middle, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.027
FusionC.027: spot in top right, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

Murchison
PSF 140616a.028
FusionC.028: spot in top left, solid surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140616 murchison).

++++++++++++++++++++++++++++++++++++
(2) Murchison: Spectra of different subsamples of the chips (~200 mg each).

Visually different parts of the Murchison chips were identified, removed from the samples, powdered and dry sieved to <150 μm and spectrally characterized twice.

Murchison
PSF 140702a.001
MSV001, <150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.002
MSV001, <150 μm, repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.003
MSV002, <150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.004
MSV002, <150 μm, repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.005
MSV003, <150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.006
MSV003, <150 μm, repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.007
MSV004, <150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.008
MSV004, <150 μm, repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.009
MSV005, <150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.010
MSV005, <150 μm, repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.011
MSV006, <150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

Murchison
PSF 140702a.012
MSV006, <150 μm, repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140702 Murchison).

++++++++++++++++++++++++++++++++++++++++++
(3) Murchison: Spectra of a single subsample measured during progressive crushing

A single subsample of Murchison was progressively crushed and dry sieved and shot when all material passed through a particular sieve.

Murchison
PSF 140703a.001
all <1000 μm (sample MGS001); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.002
all <1000 μm (sample MGS001), repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.003
all <500 μm (sample MGS001); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.004
all <500 μm (sample MGS001), repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.005
all <250 μm (sample MGS001); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.006
all <250 μm (sample MGS001), repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.007
all <150 μm (sample MGS001); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.008
all <150 μm (sample MGS001), repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.009
all <90 μm (sample MGS001); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.010
all <90 μm (sample MGS001), repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.011
all <45 μm (sample MGS001); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

Murchison
PSF 140703a.012
all <45 μm (sample MGS001), repacked and reshot; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 140703 Murchison).

+++++++++++++++++++++++++++++++++++++++
(4) Murchison: Effects of particle packing on Murchison powder

A single<90 μm powder fraction of Murchison was spectrally characterized after regular packing in a cup, with additional powder sieved on top, and after tamping down the sample with the face of a glass slide. Spectra shot at two different phase angles (30/0 and 60/60).
Murchison
PSF 140708a.001
<90 μm, regular sample cup packing; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140708a Murchison).

Murchison
PSF 140708a.002
<90 μm, regular sample cup packing; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140708a Murchison).

Murchison
PSF 140708a.003
<90 μm, regular sample cup packing with loose additional powder sieved on top; i=60°, e=6°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140708a Murchison).

Murchison
PSF 140708a.004
<90 μm, regular sample cup packing with loose additional powder sieved on top; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140708a Murchison).

Murchison
PSF 140708a.005
<90 μm, powder sample tamped down with face of a glass slide; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140708a Murchison).

Murchison
PSF 140708a.006
<90 μm, powder sample tamped down with face of a glass slide; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 140708a Murchison).

Note: spectra may not be very reliable due to problems with the old ASD. Spectra below shot with the new ASD; The i=60°, e=60° are not usable because of spectral artifacts, likely due to incident light directly illuminating the pick-up fiber. All spectra shot relative to Spectralon at i=30°, e=0°.Four types of samples: regular packing (poured into glass slide and flat surface made by drawing edge of glass slide across the top of the sample; fluffy packing: sample fluffed with a needle; dense packing: sample pressed into sample cup with the face of a glass slide; air dust: dense packing with different thicknesses of airfall dusting..
Murchison
PSF 160629a.001
<90 µm powder, regular packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.002
<90 µm powder, regular packing; i=45°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.003
<90 µm powder, regular packing; i=60°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD; data have artifacts [Directory: 160629 Murchison].

Murchison
PSF 160629a.004
<90 µm powder, fluffy packing; i=60°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD; data have artifacts [Directory: 160629 Murchison].

Murchison
PSF 160629a.005
<90 µm powder, fluffy packing; i=45°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.006
<90 µm powder, fluffy packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.007
<90 µm powder, dense packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.008
<90 µm powder, dense packing; i=45°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.009
<90 µm powder, dense packing; i=60°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD; data have artifacts [Directory: 160629 Murchison].
Murchison
PSF 160629a.010
<90 µm powder, light airfall dust over dense packing; i=60°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD; data have artifacts [Directory: 160629 Murchison].

Murchison
PSF 160629a.011
<90 µm powder, light airfall dust over dense packing; i=45°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.012
<90 µm powder, light airfall dust over dense packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.013
<90 µm powder, heavier airfall dust over dense packing; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.014
<90 µm powder, heavier airfall dust over dense packing; i=45°, e=45°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 160629 Murchison].

Murchison
PSF 160629a.015
<90 µm powder, heavier airfall dust over dense packing; i=60°, e=60°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD; data have artifacts [Directory: 160629 Murchison].

++++++++++++++++++++++++++++++++++++++

(5) Parr bomb runs (2014) – pre-Parr bomb exposure spectra

Murchison-pre wet
PSF 140702a.001-003
<150 µm, three duplicate spectra of sample (dry sample, pre-Parr bomb run with water); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Murchison].

Murchison-pre dry
PSF 140702a.004-006
<150 µm, three duplicate spectra of sample (dry, pre-Parr bomb dry run sample); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Murchison].

Murchison-post dry
PSF 002 murchison dry
unsorted; closed system dry-heated to 200°C for 104 days; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

Murchison-post wet
PSF 003 murchison wet
unsorted; closed system heated to 200°C for 104 days with added water; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

++++++++++++++++++++++++++++++++++++++
(5) Murchison clean and dirty saw-cut fines, SaU 290 and NWA 2210 CH3 chondrites
Murchison
PSF 150409a.005
sample #M52364; unsorted, “clean” saw-cut fines; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

Murchison
PSF 150409a.006
sample #M52364; unsorted, contaminated saw-cut fines; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

Murchison
PSF 003 murchison rom powder
saw-cut fines; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

++++++Dust on slab+++++

Murchison
PSF 18012a00001.asd
Slab, spot 1 (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00002.asd
Slab, spot 2 (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00003.asd
Slab, spot 3 (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00004.asd
Slab, spot 4 (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00007.asd
Slab, spot 1 with 113 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00008.asd
Slab, spot 2 with 113 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00009.asd
Slab, spot 3 with 113 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00010.asd
Slab, spot 4 with 113 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00011.asd
Slab, spot 1 with 162 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00012.asd
Slab, spot 2 with 162 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00013.asd
Slab, spot 3 with 162 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00014.asd
Slab, spot 4 with 162 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00015.asd
Slab, spot 1 with 209 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00016.asd
Slab, spot 2 with 209 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00017.asd
Slab, spot 3 with 209 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00018.asd
Slab, spot 4 with 209 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00019.asd
Slab, spot 1 with 321 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00020.asd
Slab, spot 2 with 321 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00021.asd
Slab, spot 3 with 321 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00022.asd
Slab, spot 4 with 321 µm thick coating of saw-cut powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
Murchison
PSF 18012a00023.asd
Saw-cut (<5 µm) powder (2.77 mm diameter spot); i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 180112 murchison slab dust].
See also section 28.5 for phase angle measurements of Murchison saw-cut fines (in- and out-of-principal plane) for Ceres Oxo crater bright spots.

++++++

NWA 2210
PSF 150409a.016
sample #M53138; cut side, spot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.017
sample #M53138; cut side, spot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.018
sample #M53138; cut side, spot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.019
sample #M53138; cut side, spot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.020
sample #M53138; rusty side, spot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.021
sample #M53138; rusty side, spot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.022
sample #M53138; rusty side, spot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

NWA 2210
PSF 150409a.023
sample #M53138; rusty side, spot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

++++++

NWA 2210
PSF 160226b.001
slab: spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.002
slab: spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.003
slab: spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.004
slab: spot 4; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.005
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.006
<45 µm powder sprinkled on slab: light coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.007
<45 µm powder sprinkled on slab: medium coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 2210
PSF 160226b.008
<45 µm powder sprinkled on slab: heavy coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]


+++++NWA 2210 – cleaner reflectance spectra: March 2016+++++

NWA 2210
PSF 160311a.001
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 2210].

NWA 2210
PSF 160311a.002
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 2210].

NWA 2210
PSF 160311a.003
slab with light coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 2210].

NWA 2210
PSF 160311a.004
slab with medium coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 2210].

NWA 2210
PSF 160311a.005
slab with heavy coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 160311 2210].


++++++

NWA2210
PSF 003 nwa2210
spot on slab; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

+++++ Dust on slab spectra: NWA 2210 (CH3)+++++

NWA 2210
PSF 160902a.001
Slab, spot 1 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.002
Slab, spot 2 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.003
Slab, spot 3 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.004
Slab, spot 4 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µ; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.005
Slab, spot 1, with 58.14 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.006
Slab, spot 2, with 58.14 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.008
Slab, spot 3, with 58.14 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.009
Slab, spot 4, with 58.14 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.010
Slab, spot 1, with 133.38 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.011
Slab, spot 2, with 133.38 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.012
Slab, spot 3, with 133.38 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.013
Slab, spot 4, with 133.38 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.014
Slab, spot 1, with 153.9 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.015
Slab, spot 21, with 153.9 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.016
Slab, spot 3, with 153.9 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.017
Slab, spot 4, with 153.9 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.018
Slab, spot 1, with 198.36 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.019
Slab, spot 2, with 198.36 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.020
Slab, spot 3, with 198.36 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.021
Slab, spot 4, with 198.36 µm coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.022
<45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

NWA 2210
PSF 160902a.023
<45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210]; repacked and reshot.

NWA 2210
PSF 160902a.027
Slab, 4.96 mm spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160902 NWA 2210].

+++NWA 2210 - DERUSTED Dust on slab+++
NWA2210_dr
PSF 180622c00001.asd
Slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].
NWA2210_dr
PSF 180622c00002.asd
Slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00003.asd
Slab, spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00004.asd
Slab, spot 4; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00005.asd
Slab, spot 1, with 111.15 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00006.asd
Slab, spot 2, with 111.15 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00007.asd
Slab, spot 3, with 111.15 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00008.asd
Slab, spot 4, with 111.15 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00009.asd
Slab, spot 1, with 136.8 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00010.asd
Slab, spot 21, with 136.8 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00011.asd
Slab, spot 3, with 136.8 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00012.asd
Slab, spot 4, with 136.8 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00013.asd
Slab, spot 1, with 174.42 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00014.asd
Slab, spot 2, with 174.42 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00015.asd
Slab, spot 3, with 174.42 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00016.asd
Slab, spot 4, with 174.42 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00017.asd
Slab, spot 1, with 213.75 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00018.asd
Slab, spot 2, with 213.75 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00019.asd
Slab, spot 3, with 213.75 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00020.asd
Slab, spot 4, with 213.75 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00021.asd
Slab, spot 1, with 300.96 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00022.asd
Slab, spot 2, with 300.96 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00023.asd
Slab, spot 3, with 300.96 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00024.asd
Slab, spot 4, with 300.96 µm thick coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00025.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210].

NWA2210_dr
PSF 180622c00026.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210]; repacked and reshot.

NWA2210_dr
PSF 180622c00027.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210] ; repacked and reshot.

NWA2210_dr
PSF 180622c00028.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210] ; repacked and reshot.

NWA2210_dr
PSF 180622c00029.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180622 derusted NWA 2210] ; repacked and reshot.

++++++

NWA 10273
PSF 160229a.001
slab: spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.002
slab: spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.003
slab: spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.004
slab: spot 4; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.005
slab: spot 5; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.006
slab: spot 6: fusion crust; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.007
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.008
<45 µm powder on slab: light coating 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.009
<45 µm powder on slab: light coating 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.010
<45 µm powder on slab: medium coating 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.011
<45 µm powder on slab: medium coating 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.012
<45 µm powder on slab: heavy coating 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

NWA 10273
PSF 160229a.013
<45 µm powder on slab: heavy coating 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

+++++ Dust on slab spectra: NWA 10273 (CK4)+++++

NWA 10273
PSF 160830a.001
Slab, spot 1 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.002
Slab, spot 2 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.003
Slab, spot 3 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.004
Slab, spot 4 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.005
Slab, spot 1, with 85.5 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.006
Slab, spot 2, with 85.5 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.007
Slab, spot 3, with 85.5 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.008
Slab, spot 4, with 85.5 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.009
Slab, spot 1, with 136.8 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.009
Slab, spot 1, with 136.8 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.010
Slab, spot 2, with 136.8 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.011
Slab, spot 3, with 136.8 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.012
Slab, spot 4, with 136.8 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.013
Slab, spot 1, with 200.07 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.014
Slab, spot 2, with 200.07 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.015
Slab, spot 3, with 200.07 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.016
Slab, spot 4, with 200.07 µm dust cover of saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.017
Saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.018
Saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273]; repacked and reshot.

NWA 10273
PSF 160830a.019
Saw-cut fines (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273]; surface roughened with needle.

NWA 10273
PSF 160830a.017
Slab, 4.96 mm diameter spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

NWA 10273
PSF 160830a.017
Slab, 4.96 mm diameter spot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160830 NWA 10273].

+++++ Dust on slab spectra - DERUSTED+++++

NWA 10273_dr
PSF 180621a00001asd
Slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00002.asd
Slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00003.asd
Slab, spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00004.asd
Slab, spot 4; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00005.asd
Slab, spot 5; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00006.asd
Slab, spot 1, with 119.7 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00007.asd
Slab, spot 2, with 119.7 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00008.asd
Slab, spot 3, with 119.7 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00009.asd
Slab, spot 4, with 119.7 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00010.asd
Slab, spot 5, with 119.7 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00011.asd
Slab, spot 1, with 157.37 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00012.asd
Slab, spot 2, with 157.37 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00013.asd
Slab, spot 3, with 157.37 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00014.asd
Slab, spot 4, with 157.37 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00015.asd
Slab, spot 5, with 157.37 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00016.asd
Slab, spot 1, with 189.81 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00017.asd
Slab, spot 21, with 189.81 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00018.asd
Slab, spot 3, with 189.81 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00019.asd
Slab, spot 4, with 189.81 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00020.asd
Slab, spot 5, with 189.81 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00021.asd
Slab, spot 1, with 247.95 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00022.asd
Slab, spot 2, with 247.95 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00023.asd
Slab, spot 3, with 247.95 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00024.asd
Slab, spot 4, with 247.95 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00025.asd
Slab, spot 5, with 247.95 µm coating of <45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00026.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273].

NWA 10273_dr
PSF 180621a00027.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273]; repacked and reshot.

NWA 10273_dr
PSF 180621a00028.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273]; repacked and reshot.

NWA 10273_dr
PSF 180621a00029.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 180621 derusted NWA 10273]; repacked and reshot.

+++++++++

Orgueil
PSF 104 orgueil
(Orgueil), unsorted, very fine; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 1].

+++++++++
SaU 290
PSF 150409a.007
sample #LM52935; big slab, spot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.008
sample #LM52935; big slab, spot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.009
sample #LM52935; big slab, spot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.010
sample #LM52935; big slab, spot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.011
sample #LM52935; big slab, spot 5; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.012
sample #LM52935; small slab, spot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.013
sample #LM52935; small slab, spot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.014
sample #LM52935; small slab, spot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].

SaU 290
PSF 150409a.015
sample #LM52935; small slab, spot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: ROM Mets].


++++++

SaU 290
PSF 005 sau290
spot on slab; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

++++++

SaU 290
PSF 160226a.001
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

SaU 290
PSF 160226a.002
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; repacked and reshot; ASD [Directory: slabs]

SaU 290
PSF 160226a.003
<45 µm powder on slab: light coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

SaU 290
PSF 160226a.004
<45 µm powder on slab: heavier coating; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

SaU 290
PSF 160226a.005
slab surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: slabs]

+++Dust on slab spectra: SaU 290 (CH3)++++

SaU 290
PSF 160825b.001
Slab, spot 1 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.002
Slab, spot 2 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.003
Slab, spot 3 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.004
Slab, spot 4 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.005
Slab, spot 5 (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.006
Slab, spot 1, with 56.43 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.007
Slab, spot 2, with 56.43 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.008
Slab, spot 3, with 56.43 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.009
Slab, spot 4, with 56.43 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.010
Slab, spot 5, with 56.43 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.011
Slab, spot 1, with 95.76 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.012
Slab, spot 2, with 95.76 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.013
Slab, spot 3, with 95.76 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.014
Slab, spot 4, with 95.76 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.015
Slab, spot 5, with 95.76 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.016
Slab, spot 1, with 162.45 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.017
Slab, spot 21, with 162.45 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.018
Slab, spot 3, with 162.45 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.019
Slab, spot 4, with 162.45 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.020
Slab, spot 5, with 162.45 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.021
Slab, spot 1, with 196.55 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.022
Slab, spot 21, with 196.55 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.023
Slab, spot 3, with 196.55 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.024
Slab, spot 4, with 196.55 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.025
Slab, spot 5, with 196.55 µm thick coating of <45 µm dust (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.026
<45 µm powder (2.7 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

SaU 290
PSF 160825b.029
Slab, large spot (5.4 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160825 SaU 290].

+++Dust on slab spectra - DERUSTED++++

SaU 290_dr
PSF 180622b00001.asd
Slab, spot 1 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00002.asd
Slab, spot 2 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00003.asd
Slab, spot 3 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00004.asd
Slab, spot 4 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00005.asd
Slab, spot 5 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00006.asd
Slab, spot 6 (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00007.asd
Slab, spot 4, with 85.5µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00008.asd
Slab, spot 5, with 85.5µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00009.asd
Slab, spot 6, with 85.5µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00010.asd
Slab, spot 4, with 128.25 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00012.asd
Slab, spot 5, with 128.25 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00012.asd
Slab, spot 6, with 128.25 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00013.asd
Slab, spot 4, with 165.42 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00014.asd
Slab, spot 5, with 165.42 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00015.asd
Slab, spot 6, with 165.42 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00016.asd
Slab, spot 4, with 210.33 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00017.asd
Slab, spot 5, with 210.33 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00018.asd
Slab, spot 6, with 210.33 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00019.asd
Slab, spot 4, with 295.85 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00020.asd
Slab, spot 5, with 295.85 µm thick coating of <45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00021.asd
<45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290].

SaU 290_dr
PSF 180622b00022.asd
<45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290]; repacked and reshot.

SaU 290_dr
PSF 180622b00023.asd
<45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290] ; repacked and reshot.

SaU 290_dr
PSF 180622b00024.asd
<45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290] ; repacked and reshot.

SaU 290_dr
PSF 180622b00025.asd
<45 µm powder (2.33 mm diameter spot); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 160822 derusted SaU 290] ; repacked and reshot.

++++++++++++++++++++++++++++++++++++++++++++++
(6) Samples measured at the Royal Ontario Museum

DaG 005
PSF 161012a.028
slab 1, spot A – no inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

DaG 005
PSF 161012a.029
slab 1, spot B – centred on inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

DaG 005
PSF 161012a.030
slab 1, spot C – polished side; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

Murchison
PSF 161012a.001
slab 1, spot A ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].
Murchison
PSF 161012a.002
slab 1, spot B ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

Murchison
PSF 161012a.003
slab 1, spot C ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

Murchison
PSF 161012a.004
slab 2, spot A ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

Murchison
PSF 161012a.005
slab 2, spot B ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

Murchison
PSF 161012a.006
saw-cut fines (very heterogeneous – larger chips removed); i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

Murchison
PSF 161012a.007
saw-cut fines (very heterogeneous – larger chips removed); i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD ; repacked and reshot [Directory : 161012 ROM Meteorites].

++++++

NWA 739
PSF 161012a.037
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 2044
PSF 161012a.033
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2044
PSF 161012a.034
slab 1, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 2210
PSF 161012a.041
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2210
PSF 161012a.042
slab 1, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2210
PSF 161012a.043
slab 1, spot C – centered on weathering vein; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 2388
PSF 161012a.024
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2388
PSF 161012a.025
slab 1, spot B – centered on inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2388
PSF 161012a.026
slab 2, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 2388
PSF 161012a.027
slab 2, spot B – centered on inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 2932
PSF 161012a.017
slab 1, spot A – silicate corner; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.018
slab 1, spot B – silicate+iron spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.019
slab 1, spot C – silicate+iron spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.020
slab 2, spot A – iron-rich spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.021
slab 2, spot B – silicate+iron spot; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.022
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 2932
PSF 161012a.023
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; repacked and reshot ; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 3081
PSF 161012a.031
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 3081
PSF 161012a.032
slab 1, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 3118
PSF 161012a.008
slab 1, spot A ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 3118
PSF 161012a.009
slab 1, spot B ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 3118
PSF 161012a.010
slab 1, spot C – CAI inclusion ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 3118
PSF 161012a.011
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 3118
PSF 161012a.012
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD ; repacked and reshot [Directory : 161012 ROM Meteorites].

NWA 3118
PSF 161012a.013
slab 2, spot A – large chondrule; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 3118
PSF 161012a.014
slab 2, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 3133
PSF 16104a.015
slab, polished (inclusion?) spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 3133
PSF 16104a.016
slab, spot B (center); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 3133
PSF 16104a.017
slab, spot C (silicate corner); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++

NWA 4502
PSF 161012a.044
slab 1, spot A – darkest spot; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 4502
PSF 161012a.045
slab 1, spot B – bright inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 4502
PSF 161012a.046
slab 1, spot C – bright corner region; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 4502
PSF 161012a.047
slab 1, spot D – dark spot; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 4502
PSF 161012a.048
slab 1, spot E – bright region; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 4502
PSF 161012a.049
saw-cut fines; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 4502
PSF 161012a.050
saw-cut fines; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; repacked and reshot ; new ASD [Directory : 161012 ROM Meteorites].

++++++++++++++++++++++++++++++++
16.6.6d. New CCs for typing from the ROM (Jordan Poitras, Kim Tait – December 2017)

From David Gregory collection – not yet officially given designation
(i) ASD reflectance spectra:

ROM #


LM58160 (CR2 or CV3)
PSF 17121500003.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 17125 rom].
M29171 (CV3)

PSF 17121500002.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 17125 rom]; aka M29173.
M53334 (CR2)

PSF 17121500004.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 17125 rom].
M57083 (CV3)

PSF 17121500005.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 17125 rom].
Empty sample holder
PSF 17121500001.asd
Unsorted powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 17125 rom].
++++++

(ii) FTIR transmission spectra (in KBr) ; 0.1 wt.% of sample in KBr :

M29173 (CV3)

PSF 001.dpt

0.1 wt.% powder in KBr disk; i=0°, e=180°; 1-25 µm; 4 cm-1 resolution; boxcar=2; 500 spectra averaged; Bruker Vertex 70 [Directory: 171219 transmission].
LM58160 (CR2 or CV3)
PSF 002.dpt

0.1 wt.% powder in KBr disk; i=0°, e=180°; 1-25 µm; 4 cm-1 resolution; boxcar=2; 500 spectra averaged; Bruker Vertex 70 [Directory: 171219 transmission].
M53334 (CR2)

PSF 003.dpt

0.1 wt.% powder in KBr disk; i=0°, e=180°; 1-25 µm; 4 cm-1 resolution; boxcar=2; 500 spectra averaged; Bruker Vertex 70 [Directory: 171219 transmission].
M57083 (CV3)

PSF 004.dpt

0.1 wt.% powder in KBr disk; i=0°, e=180°; 1-25 µm; 4 cm-1 resolution; boxcar=2; 500 spectra averaged; Bruker Vertex 70 [Directory: 171219 transmission].
+++++++

(iii) UV data (MayaPro 2000) – transmission ; 0.1 wt.% of sample in KBr
M29173 (CV3)

PSF 1
0.1 wt.% powder in KBr disk ; i=0°, e=180° ; 0.2-1.1 µm ; ~1.8 nm resolution ; 1000 spectra averaged [Directory : 171219 pellets].

LM58160 (CR2 or CV3)
PSF 2
0.1 wt.% powder in KBr disk ; i=0°, e=180° ; 0.2-1.1 µm ; ~1.8 nm resolution ; 1000 spectra averaged [Directory : 171219 pellets].

M53334 (CR2)

PSF 3
0.1 wt.% powder in KBr disk ; i=0°, e=180° ; 0.2-1.1 µm ; ~1.8 nm resolution ; 1000 spectra averaged [Directory : 171219 pellets].

M57083 (CV3)

PSF 4
0.1 wt.% powder in KBr disk ; i=0°, e=180° ; 0.2-1.1 µm ; ~1.8 nm resolution ; 1000 spectra averaged [Directory : 171219 pellets].

++++++++++++++++++++++++++++++++++++++

16.6.7d. Samples from the Smithsonian Institution via Neyda Abreu (December 2019)
EET 92105
PSF 201112a.00018.asd

Spot on chunk; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201112 meteorites].
EET 92105
PSF 201112a.00019.asd

Spot on chunk; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201112 meteorites].
EET 92105
PSF 201112a.00020.asd

Spot on chunk; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201112 meteorites].
EET 92105
PSF 201112a.00031.asd
<1000 µm powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

+++++++

EET 92107
PSF 201112a.00021.asd

Spot on chunk; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201112 meteorites].
EET 92107
PSF 201112a.00032.asd
<1000 µm powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

+++++++
EET 92062
PSF 201112a.00022.asd

Spot on chunk; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201112 meteorites].
EET 92062
PSF 201112a.00033.asd
<1000 µm powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

++++++++++++++++++++++++++++++++++

16.6.8d.-a Heated carbonaceous chondrite samples from Takahiro Hiroi (RELAB; Brown University)

i) Spectra shot with MayaPro 2000; 13 msec integration time; 1000 spectra averaged; 200-1132 nm; spectral resolution ~0.5 nm; spots on potted butts.
Murchison 1200 (potted butt)
PSF 1200C a 13ms 1000av.spec
Spot a on surface of potted butt.
Murchison 1200 (potted butt)
PSF 1200C b 13ms 1000av.spec
Spot b on surface of potted butt.

Murchison 1200 (potted butt)
PSF 1200C blank 13ms 1000av.spec
Epoxy spot? on surface of potted butt.

Murchison 1200 (potted butt)
PSF 1200C c 13ms 1000av.spec
Spot c on surface of potted butt.

Murchison 1200 (potted butt)
PSF 1200C d 13ms 1000av.spec
Spot d on surface of potted butt.

++++++

Murchison 1315 (potted butt)
PSF 1315C a 13ms 1000av.spec
Spot a on surface of potted butt.

Murchison 1315 (potted butt)
PSF 1315C b 13ms 1000av.spec
Spot b on surface of potted butt.

Murchison 1315 (potted butt)
PSF 1315C blank 13ms 1000av.spec
Epoxy spot? on surface of potted butt.

Murchison 1315 (potted butt)
PSF 1315C c 13ms 1000av.spec
Spot c on surface of potted butt.

Murchison 1315 (potted butt)
PSF 1315C d 13ms 1000av.spec
Spot d on surface of potted butt.

++++++

Murchison 1400 (potted butt)
PSF 1400C a 13ms 1000av.spec
Spot a on surface of potted butt.

Murchison 1400 (potted butt)
PSF 1400C b 13ms 1000av.spec
Spot b on surface of potted butt.

Murchison 1400 (potted butt)
PSF 1400C blank 13ms 1000av.spec
Epoxy spot? on surface of potted butt.

Murchison 1400 (potted butt)
PSF 1400C c 13ms 1000av.spec
Spot c on surface of potted butt.

Murchison 1400 (potted butt)
PSF 1400C d 13ms 1000av.spec
Spot d on surface of potted butt.

+++++++++++++++++++++++++

16.6.8d-b. Samples from NASA Astromaterials Facility
PCA 82500
PSF 230705a.00004.asd
Loose rocks, uneven surface; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].

PCA 82500
PSF 230705a.00005.asd
Whole rock, uneven surface; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].

PCA 82500
PSF 230705a.00006.asd
Smaller whole rock, uneven surface; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].

PCA 82500
PSF 230705a.00007.asd
Loose rocks; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 230705 Sahej Meteorites].

++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.15d. Carbonaceous chondrites – RELAB archive
CI chondrites

Alais
RELAB mgp084
<150 µm; integ. sphere; 0.35-2.525 µm; 5 nm resol.

++++++

Ivuna
RELAB c1mb60
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivana
RELAB c1mp18
<125 µm (probable); 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Orgueil
RELAB c1mb57
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Orgueil
RELAB mgp078
<150 µm; integr. sphere; 0.35-2.525 µm; 5 nm resol.

Orgueil
RELAB mgp080
<150 µm; integr. sphere; 0.35-2.525 µm; 5 nm resol.


Orgueil
RELAB ccms03
100-200 µm; 30/0; 0.35-2.6 µm; 5 nm resol.


Orgueil
RELAB cdms03
<40 µm; 30/0; 0.35-2.6 µm; 5 nm resol.


Orgueil
RELAB cfms03
40-100 µm; 30/0; 0.35-2.6 µm; 5 nm resol.


Orgueil
RELAB s1rs44
<45 µm; 30/0; 0.3->2.6 µm; 5 nm resol.


++++++++++++++++++++++++++++++++++++++

CM chondrites

A-881280, 90
RELAB c1mp56
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++

A-881594,62
RELAB c1mp57
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++

A-881955, 70
RELAB c1mp37
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALHA 81002
RELAB c1mb50
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALH 83100
RELAB c1mb51
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH 83100, 196
RELAB c1mc01
<500 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH 83100, 102
RELAB camh59
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH 83100,102
RELAB cbmh59
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALH 84029
RELAB c1mb52
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALH 84033,21
RELAB c1mp14
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++++

ALH 84044,16
RELAB c1mp15
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALH 85013,32
RELAB c1mp23
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Bells #1226B(1)
RELAB c1mb53
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Boriskino
RELAB s1rs46
<45 µm; 30/0; 0.32-2.7 µm; 5 nm resol.

++++++

Cold Bokkeveld
RELAB c1mb61
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Cold Bokkeveld
RELAB mgp086
<75 µm; integr, sphere; 0.35-2.525 µm; 5 nm resol.

Cold Bokkeveld
RELAB mgp088
75-150 µm; integr, sphere; 0.35-2.525 µm; 5 nm resol.

Cold Bokkeveld
RELAB mgp090
15-500 µm; integr, sphere; 0.35-2.525 µm; 5 nm resol.

++++++

EET83250,7
RELAB c1mp40
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET83389,15
RELAB c1mp42
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET90021,10
RELAB c1mp43
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET90043,8
RELAB c1mp44
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

GRO85202,16
RELAB c1mp17
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LEW87016,12
RELAB c1mp62
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LEW87022,26
RELAB c1mp20
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LEW87148,15
RELAB c1mp16
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LEW88001,14
RELAB c1mp63
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LON94101,19
RELAB c1mp26
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

MAC88101,12
RELAB c1mp64
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

MAC88176,16
RELAB c1mp47
<125 µm?; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Mighei
RELAB cbms01
100-200 µm, bulk; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB ccms01
100-200 µm, bulk; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB cems01
100-200 µm, olivine-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB cfms01
100-200 µm, olivine-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB cmms01
100-200 µm, matrix-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB cnms01
100-200 µm, matrix-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB cdms01
<40 µm, bulk; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB cgms01
<40 µm, olivine-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei
RELAB coms01
<40 µm, matrix-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Mighei 4b
RELAB c1ma62
>200 µm, laser-irradiated, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4c
RELAB c1ma63
125-200 µm, laser-irradiated, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4e
RELAB c1ma64
40-75 µm, laser-irradiated, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4d
RELAB c1ma65
75-125 µm, laser-irradiated, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4f
RELAB c1ma66
<40 µm, laser-irradiated, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4eg
RELAB c1ma68
<45 µm, 4e ground to <45 µm, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4bcg
RELAB c1ma70
<45 µm, 4b+4c ground to <45 µm, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei 4dg
RELAB c1ma71
<45 µm, 4d ground to <45 µm, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei
RELAB c1ma72
sorted powder; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei
RELAB c1mb55
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Mighei
RELAB mgp092
<150 µm; integr. sphere; 0.35-2.525 µm; 5 nm resol.

Mighei
RELAB s1rs42
<45 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++

Murchison
RELAB c2mb64
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
RELAB c3mb64
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
RELAB c4mb64
63-125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
RELAB camh52
<90 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
RELAB cbmh52
<90 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
RELAB ccmh52
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
RELAB mgp094
<150 µm; integr. sphere; 0.35-2.525 µm; 5 nm resol.

Murchison
RELAB cdms02
<200 µm; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB cbms02
100-200 µm, not enriched; 30/0; 0.35->2.6 µm; 5 nm resol.

Murchison
RELAB ccms02
100-200 µm, not enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB cems02
100-200 µm, olivine enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB cfms02
100-200 µm, olivine-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB cgms02
<40 µm, olivine-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB cmms02
100-200 µm, matrix-enriched; 30/0; 0.35->2.6 µm; 5 nm resol.

Murchison
RELAB cnms02
100-200 µm, matrix-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB coms02
<40 µm, matrix-enriched; 30/0; 0.35-2.6 µm; 5 nm resol.

Murchison
RELAB s1rs45
<45 µm; 30/0; 0.335->2.6 µm; 5 nm resol.


++++++
Murchison IOM
RELAB c1og01
<125 μm (IOM: insoluble organic matter); i=30°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB caog02
125-150 μm (IOM: insoluble organic matter); i=30°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB cbog02
125-150 μm (IOM: insoluble organic matter); i=10°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB ccog02
125-150 μm (IOM: insoluble organic matter); i=50°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB caog03
90-106 μm (IOM: insoluble organic matter); i=30°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB cbog03
90-106 μm (IOM: insoluble organic matter); i=10°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB ccog03
90-106 μm (IOM: insoluble organic matter); i=50°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB caog04
55-63 μm (IOM: insoluble organic matter); i=30°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB cbog04
55-63 μm (IOM: insoluble organic matter); i=10°, e=0°; 10 nm resolution; 0.32-2.55 μm.

Murchison IOM
RELAB ccog04
55-63 μm (IOM: insoluble organic matter); i=50°, e=0°; 10 nm resolution; 0.32-2.55 μm.

+++++++
Murray
RELAB c1mb56
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murray
RELAB mgp098
<150 µm; integr. sphere; 0.35-2.525 µm; 5 nm resol.

++++++

Nogoya
RELAB c2mb62
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Nogoya
RELAB c3mb62
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Nogoya
RELAB c4mb64
63-125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Nogoya
RELAB mgp100
<150 µm; integr. sphere; 0.35-2.525 µm; 5 nm resol.

++++++

QUE93005,13
RELAB c1mp52
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y74642
RELAB c1mb75
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y74662
RELAB c1mb76
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Y74662,101
RELAB c1mp11
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y791191,87
RELAB c1mp30
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y791198,90 
RELAB c1mp12
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y791824,95
RELAB c1mp31
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y793585,62 
RELAB c1mp32
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y82042,60
RELAB c1mp07
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++++++++++++++++++++++++++++++++++++++++

CK chondrites

A-882113,86
RELAB c1mp109
<125 µm; 30/0; 0.3-0.88 µm; 5 nm resol.

++++++

ALH85002,25
RELAB c1mb81
powder?; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,25
RELAB c2mb81
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,25
RELAB camb81
<25 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,25
RELAB cbmb81
25-45 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,25
RELAB ccmb81
45-75 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,25
RELAB cdmb81
75-125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,34
RELAB camh58
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH85002,34
RELAB cbmh58
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET92002,10
RELAB c1mc03
<500 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Karoonda
RELAB mgp140
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

Y693
RELAB c1mb77
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET87256,11 
RELAB c1lm18
powder, unsorted?; 30/0; 0.3-2.6 µm; 5 nm resol.

EET87256,11
RELAB c1mp03
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET87507,27
RELAB c1mb92
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y82102,87
RELAB c1mp106
<125 µm; 30/0; 0.3-0.88 µm; 5 nm resol.

++++++

Y82103,90
RELAB c1mp107
<125 µm; 30/0; 0.3-0.88 µm; 5 nm resol.

++++++

EET87860,5
RELAB c1lm19
powder, unsorted?; 30/0; 0.3-2.6 µm; 5 nm resol.

EET87860,5
RELAB c1mp04
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

A-881551,87 
RELAB c1mp110
<125 µm; 30/0; 0.3-0.88 µm; 5 nm resol.

++++++

LEW87009,4
RELAB c1lm17
powder, unsorted?; 30/0; 0.3-2.6 µm; 5 nm resol.

LEW87009,28
RELAB c1mb88
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

LEW87009,4
RELAB c1mp05
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++++++++++++++++++++++++++++

CR chondrites

GRO95577,6 
RELAB c1mp61
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

A-881595,94
RELAB c1mp39
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET87747
RELAB c1mb82
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET87770,19
RELAB c1sc92
<250 µm; 30/0; 0.3-2.7 µm; 5 nm resol.

++++++

EET92042,17 
RELAB c1mp25
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

GRA95229,8
RELAB c1mt48
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

MAC87300,46
RELAB c1mp45
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Renazzo
RELAB c1mb58
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y793495,106
RELAB c1mp38
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LEW85332,48
RELAB c1mt17
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++++++++++++++++++++++++

CO chondrites

ALH77307,95
RELAB bkr1mp102
<125 µm; 30/0; 0.3-2.49 µm (FTIR from 1.995 µm); 5 nm resol.

ALH77307,99
RELAB c1mp117
<125 µm, spun; 30/0; 0.3-2.56 µm; 5 nm resol.

+++++++

A-881632,95
RELAB bkr1mp104
<125 µm; 30/0; 0.3-2.6 µm (FTIR from 1.995 µm); 5 nm resol.

+++++++

Y82050,130
RELAB bkr1mp103
<125 µm; 30/0; 0.3-2.6 µm (FTIR from 1.995 µm); 5 nm resol.

++++++

Kainsaz
RELAB mgp104
<150 µm; integr. sphere; 30/0; 0.35-2.5 µm; 5 nm resol.

Kainsaz
RELAB s1rs41
<45 µm; 30/0; 0.3-2.6 µm (FTIR from 1.995 µm); 5 nm resol.

++++++

Y791717,90
RELAB c1mb93
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Felix
RELAB mgp102
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

Ornans
RELAB mgp110
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

ALH85003,30
RELAB c1mp116
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Lance
RELAB mgp106
150-500 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Lance
RELAB mgp108
<75 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

ALH77003,110
RELAB c1mb80
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH77003,81
RELAB camh55
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH77003,81
RELAB cbmh55
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALH83018,37
RELAB c1mb79
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH83018,25
RELAB camh59
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

ALH83018,25
RELAB cbmh59
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Warrenton 
RELAB mgp116
slab; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Warrenton 
RELAB mgp120
<75 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Warrenton 
RELAB mgp122
75-150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

+++++++++++++++++++++++++++++++++++++++++++

CV chondrites

NWA3118 
RELAB c1mp129
CV host; <125 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

NWA3118 
RELAB c1mp130
dark inclusion; <125 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

++++++

ALHA81003,31 
RELAB c1mt16
<125 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

++++++

ALH84028,84 
RELAB c1mb78
<125 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

ALH84028,84 
RELAB c2mb78
powder?; 30/0; 0.35-2.5 µm; 5 nm resol.

ALH84028,84 
RELAB camb78
<25 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

ALH84028,84 
RELAB cbmb78
25-45 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

ALH84028,84 
RELAB ccmb78
45-75 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

ALH84028,84 
RELAB cdmb78
75-125 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

ALH84028,85 
RELAB c1mc05
<500 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

++++++

Allende 
RELAB caca
bulk powder of unsorted CAIs; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB c2mb63
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB c3mb63
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB c4mb63
63-125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB camb63
heated to 400º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cbmb63
heated to 500º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB ccmb63
heated to 600º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cdmb63
heated to 700º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cemb63
heated to 800º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cfmb63
heated to 900º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cgmb63
heated to 1000º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB chmb63
heated to 1100º C, <63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cimb63
heated to 1200º C, <63 µm; 30/0; 0.36-2.6 µm; 5 nm resol.

Allende 
RELAB camh57
<180 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Allende 
RELAB cBmh57
<180 µm; 30/0; 0.3-2. µm; 5 nm resol.

Allende 
RELAB mgp124
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Allende 
RELAB s1rs40
<45 µm; 30/0; 0.35-2.5 µm; 5 nm resol.

Allende 
RELAB cls746
Allende #4; <1000 µm; unknown viewing geometry; 0.35-2.5 µm; 5 nm resol.

++++++

Mokoia 
RELAB mgp136
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

Grosnaja 
RELAB mgp128
<75 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Grosnaja 
RELAB mgp130
75-150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Grosnaja 
RELAB mgp132
150-500 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Grosnaja 
RELAB s1rs43
<45 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

ALH85006,24 
RELAB c1mt46
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

TIL91722,8 
RELAB c1mp65
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Leoville 
RELAB mgp134
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

Vigarano 
RELAB mgp138
<150 µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

Vigarano 
RELAB c1mb59
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Coolidge 
RELAB mgp126
<150µm; integr. sphere; 0.35-2.5 µm; 5 nm resol.

++++++

Y86751 
RELAB c1mp09
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++++++++++++++++++++++++++++

C-ungrouped and ATCCs

DaG430 
RELAB c1mp127
<125 µm, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

MCY92500,9 
RELAB c1mp48
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Tagish Lake 
RELAB c2mt11
ET01-B lithology; <125 µm, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB c2mt12
PMO 5c lithology; <125 µm, spun; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB bkr1mt020
ET01-B lithology, heated to 300ºC; <125 µm, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB bkr1mt021
PMO 5c lithology, heated to 500ºC; <125 µm, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB bkr1mt022
PMO 5c lithology, heated to 600ºC; <125 µm, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB c1mt24
heated at 100ºC for 1 week in oxygen eater; unknown grain size, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB c1mt25l0
pressed powder for laser irradiation; <125 µm, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB c1mt25l1
pressed powder, 5mJ laser irradiated; <125 µm, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Tagish Lake 
RELAB c1mt26
heated at 200ºC for 1 week in oxygen eater; unknown grain size, spun (FTIR >2 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

WIS91600,23 
RELAB s1mp51
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET83355,23  
RELAB c1mp41
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

MAC88107,36 
RELAB c1mp46
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Kaidun 
RELAB c1ma73
<45 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Kaidun 
RELAB c1ma74
45-100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Kaidun 
RELAB c1ma75
100-250 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Kaidun 
RELAB c1ma76
>250 µm; 30/0, spun; 0.3-2.6 µm; 5 nm resol.

Kaidun 
RELAB c1mb98
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET87522,29 
RELAB c1mp21
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

EET96029,14 
RELAB c1mp115
<125 µm; 30/0, spun; 0.3-2.6 µm; 5 nm resol.

++++++

LEW90500  
RELAB c1mb54
<100 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

LEW90500,45 
RELAB c1mc02
<500 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

MAC88100,30 
RELAB c1mp22
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

MAC88100,30 
RELAB c1mp22l0
pressed powder for laser irradiation, <125 µm; 30/0, spun; 0.3-2.6 µm; 5 nm resol.

MAC88100,30 
RELAB c1mp22l1
5mJ laser irradiated pressed powder, <125 µm; 30/0, spun; 0.3-2.6 µm; 5 nm resol.

++++++

GRO95566,7 
RELAB c1mp60
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

A-881334,70 
RELAB c1mp35
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

A-881458,69 
RELAB c1mp36
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

+++++

A-881655,67  
RELAB c1mp55
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y793321,99 
RELAB c1mp13
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y82054,106 
RELAB c1mp58
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y82098,101 
RELAB c1mp08
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y86695,104 
RELAB c1mp34
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Dho225  
RELAB c1ma78
powder; 30/0, spun; 0.3-2.6 µm; 5 nm resol.

+++++

Dho735  
RELAB c1ma77
powder; 30/0, spun; 0.3-2.6 µm; 5 nm resol.

++++++

EET96010,21  
RELAB c1mt15
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

LEW85311,36  
RELAB c1mp24
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

PCA91008,15  
RELAB c1mp49
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

PCA91084,8  
RELAB c1mp50
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Y794080,58  
RELAB c1mp33
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++++++++++++++++++++++++++++

16.6.8d. Lab-heated carbonaceous chondrites from Taki Hiroi (RELAB) and Mike Zolensky (JSC-NASA)
Ivuna  
RELAB c1mb60
<125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB c1mp18
powder; unheated sample; 30/0; 0.3-2.6 µm; 5 nm resol. (listed as c1mp60 on spreadsheet).
Ivuna  
RELAB camp18
<125 µm, heated to 300°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB cbmp18
<125 µm, heated to 400°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB ccmp18
<125 µm, heated to 500°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB cdmp18
<125 µm, heated to 600°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB cemp18
<125 µm, heated to 700°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB cfmp18
<125 µm, heated to 100°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Ivuna  
RELAB cgmp18
<125 µm, heated to 200°C; 30/0; 0.3-2.6 µm; 5 nm resol.


++++++
Ivuna  
RELAB lamp60
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; unheated sample.
Ivuna  
RELAB ncmp18f
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 100°C.
Ivuna  
RELAB ncmp18g
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 200°C.
Ivuna  
RELAB ncmp18a
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 300°C.
Ivuna  
RELAB ncmp18b
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 400°C.
Ivuna  
RELAB ncmp18c
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 500°C.
Ivuna  
RELAB ncmp18d
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 600°C.
Ivuna  
RELAB ncmp18e
powder; i=30°, e=0°/30°; 0.3-26 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 700°C.
+++++++
Murchison  
RELAB c3mb64
<63 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB camb64
<63 µm, heated to 400°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
PSF 002 murchison400
<63 µm, heated to 400°C; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 2].

Murchison  
RELAB cbmb64
<63 µm, heated to 500°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
PSF 003 murchison500
<63 µm, heated to 500°C; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 2].

Murchison  
RELAB ccmb64
<63 µm, heated to 600°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
PSF 004 murchison600
<63 µm, heated to 600°C; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 2].

Murchison  
RELAB cdmb64
<63 µm, heated to 700°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
PSF 005 murchison700
<63 µm, heated to 700°C; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 2].

Murchison  
RELAB cemb64
<63 µm, heated to 800°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
PSF 006 murchison800
<63 µm, heated to 800°C; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160118 uv meteorites run 2].

Murchison  
RELAB cfmb64
<63 µm, heated to 900°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison
PSF 002 murchison900
<63 µm, heated to 500°C; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

Murchison  
RELAB cgmb64
<63 µm, heated to 1000°C; 30/0; 0.3-2.6 µm; 5 nm resol.

++++++

Murchison  
RELAB c4mb64
63-125 µm; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB chmb64
63-125 µm, heated to 400°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB cimb64
63-125 µm, heated to 500°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB cjmb64
63-125 µm, heated to 600°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB ckmb64
63-125 µm, heated to 700°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB clmb64
63-125 µm, heated to 800°C; 30/0; 0.3-2.6 µm; 5 nm resol.

Murchison  
RELAB cmmb64
63-125 µm, heated to 900°C; 30/0; 0.3-2.6 µm; 5 nm resol.


++++++
Murchison  
RELAB bmr3mb064
powder; i=30°, e=30°; 1.67-25 µm; 0.6-129 nm resol.; Nicolet; unheated sample.
Murchison  
RELAB ncmb64a
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 400° C.
Murchison  
RELAB ncmb64b
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 500° C.
Murchison  
RELAB ncmb64c
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 600° C.
Murchison  
RELAB ncmb64d
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 700° C.
Murchison  
RELAB ncmb64e
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 800° C.
Murchison  
RELAB ncmb64f
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 900° C.
Murchison  
RELAB ncmb64g
<63 µm, i=30°, e=0°/30°; 0.3-2.6 µm; 5, 0.6-129 nm resol.; merged RELAB+Nicolet; heated to 1000° C.
+++++++++++++++++++++++++++++
(ii) Heated Murchison (CM2) powders

(a) Maya reflectance spectra

400°C
PSF 400c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

500°C
PSF 500c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

600°C
PSF 600c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

700°C
PSF 700c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

800°C
PSF 800c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

900°C
PSF 900c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

1000°C
PSF 1000c.spec
<63 µm; i=30°, e=0°; usable spectral range: ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison]. 

+++++++++++++++++++

(b) ASD reflectance spectra

400°C
PSF 141103a.002
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

500°C
PSF 141103a.003
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

600°C
PSF 141103a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

700°C
PSF 141103a.005
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

800°C
PSF 141103a.006
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

900°C
PSF 141103a.007
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

1000°C
PSF 141103a.008
<63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison]. 

++++++++++++++++++++++++++++++++++

(iii) Potted butts containing various polished pieces of heated samples

(a) Maya reflectance spectra


(a.i) Murchison heated to 1200°C

Murchison
PSF 1200C a 13 ms 1000av.spec
Fragments in epoxy disk – spot 1; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].
Murchison
PSF 1200C b 13 ms 1000av.spec
Fragments in epoxy disk – spot 2; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1200C c 13 ms 1000av.spec
Fragments in epoxy disk – spot 3; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1200C d 13 ms 1000av.spec
Fragments in epoxy disk – spot 4; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1200C blank 13 ms 1000av.spec
Fragments in epoxy disk – spot 1; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

++++++

(a.ii) Murchison heated to 1315°C

Murchison
PSF 1315C a 13 ms 1000av.spec
Fragments in epoxy disk – spot 1; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1315C b 13 ms 1000av.spec
Fragments in epoxy disk – spot 2; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1315C c 13 ms 1000av.spec
Fragments in epoxy disk – spot 3; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1315C d 13 ms 1000av.spec
Fragments in epoxy disk – spot 4; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1315C blank 13 ms 1000av.spec
Fragments in epoxy disk – spot 1; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

++++++


(a.iii) Murchison heated to 1400°C

Murchison
PSF 1400C a 13 ms 1000av.spec
Fragments in epoxy disk – spot 1; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1400C b 13 ms 1000av.spec
Fragments in epoxy disk – spot 2; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1400C c 13 ms 1000av.spec
Fragments in epoxy disk – spot 3; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1400C d 13 ms 1000av.spec
Fragments in epoxy disk – spot 4; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

Murchison
PSF 1400C blank 13 ms 1000av.spec
Fragments in epoxy disk – spot 1; i=0°, e=0° (bifurcated cable); ~350-1133 nm (QTH light); ~0.45 nm resolution; 1000 spectra averaged; Maya [Directory: heated murchison].

++++++++++++++++++++++++++++++++++++++++++++

(b) ASD reflectance spectra


Note: spectra shot after lightly sanding potted butt surface to provide diffuse surface.


(a.i) Murchison heated to 1200°C

Murchison
PSF 141103a.009
Fragments in epoxy disk – spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.010
Fragments in epoxy disk – spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.011
Fragments in epoxy disk – spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.012
Blank spot on epoxy; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

++++++


(a.i) Murchison heated to 1315°C

Murchison
PSF 141103a.013
Fragments in epoxy disk – spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.014
Fragments in epoxy disk – spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.015
Fragments in epoxy disk – spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.016
Blank spot on epoxy; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

++++++


(a.i) Murchison heated to 1400°C

Murchison
PSF 141103a.017
Fragments in epoxy disk – spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.018
Fragments in epoxy disk – spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

Murchison
PSF 141103a.019
Blank spot on epoxy; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD [Directory: 141103 murchison].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.9a. Samples from Kurt Mengel – Technische Universitat Clausthal (received July 2014)
Note: "wet" and "dry" refer to two subsamples of Jbilet that were measured at the start of an experimental run where the splits are being heated in sealed Parr bombs with (wet) or without (dry) added water in a 1:1 water:rock ratio. Samples were kept in Parr bombs for 104 days.
Note: see section 16.23 for Parr bomb run results.
Jbilet CM2
PSF 140723a.001
<63 μm, wet; i=30°, e=0°; 0.35-2.5 μm; 500 spectra averaged; 1 nm output; ASD (directory: 140723 jbelite cm2). Prior to Parr bomb run.
Jbilet CM2
PSF 140723a.002
<63 μm, wet; i=30°, e=0°; 0.35-2.5 μm; 500 spectra averaged; 1 nm output; ASD (directory: 140723 jbelite cm2); Prior to Parr bomb run, repacked and reshot.


++++++
Jbilet CM2
PSF 140723a.003
<63 μm, dry; i=30°, e=0°; 0.35-2.5 μm; 500 spectra averaged; 1 nm output; ASD (directory: 140723 jbelite cm2). Prior to Parr bomb run.
Jbilet CM2
PSF 140723a.004
<63 μm, dry; i=30°, e=0°; 0.35-2.5 μm; 500 spectra averaged; 1 nm output; ASD (directory: 140723 jbelite cm2); Prior to Parr bomb run, repacked and reshot.


++++++

Jbilet-pre dry
PSF 140723a.004
<63 µm, original sample (pre-Parr bomb); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].

Jbilet-post dry
PSF 001 jbilet dry heated
unsorted powder, dry-heated to 200° for 104 days in Parr bomb, closed system; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 uv meteorites run 2].

++++++++++++++++++++++++++++++++++++++
16.6.10a. Tagish Lake samples from Chris Herd at University of Alberta (September 2014)

T10 = MET11611/P-10a/11/p3
0.237 grams – crushed and sieved bulk powder.

T4 = MET11611/P-4/2


0.176 grams – crushed and sieved bulk powder.

(a) ASD spectra – 10 repeat shots without repacking sample

TL4
PSF 141002a.003
<106 μm; shot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.004
<106 μm; shot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.005
<106 μm; shot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.006
<106 μm; shot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.007
<106 μm; shot 5; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.008
<106 μm; shot 6; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.009
<106 μm; shot 7; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.010
<106 μm; shot 8; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.011
<106 μm; shot 9; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL4
PSF 141002a.012
<106 μm; shot 10; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).


++++++

TL10
PSF 141002a.013
<106 μm; shot 1; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.014
<106 μm; shot 2; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.015
<106 μm; shot 3; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.016
<106 μm; shot 4; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.017
<106 μm; shot 5; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.018
<106 μm; shot 6; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.019
<106 μm; shot 7; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.020
<106 μm; shot 8; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.021
<106 μm; shot 9; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).

TL10
PSF 141002a.022
<106 μm; shot 10; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 141002 Mets).
++++++

(b) Ocean Optics Maya spectra – 400-1000 nm
TL4
PSF TL4.spec
<106 μm; i=30°, e=0°; 400-1132 nm; ~0.4 nm resolution; 1000 spectra averaged; Maya spectrometer (directory: maya-tagish).
TL10
PSF TL10.spec
<106 μm; i=30°, e=0°; 400-1132 nm; ~0.4 nm resolution; 1000 spectra averaged; Maya spectrometer (directory: maya-tagish).
+++++
(c.1) Transmission spectra: 0.4 wt.% Tagish Lake in KBr: Bruker Vertex 70: DlaTGS detector
Subsample:

10a
PSF 10a.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

11h
PSF 11h.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

11i
PSF 11i.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

4
PSF 4.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

5
PSF 5.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

10a- smooth
PSF 10a.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

11h-smooth
PSF 11h.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

11i-smooth
PSF 11i.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

4-smooth
PSF 4.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

5-smooth
PSF 5.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

++++++
(c.2) Transmission spectra: 0.4 wt.% Tagish Lake in KBr: Bruker Vertex 70: MCT detector
Subsample:

10a
PSF 10a.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

11h
PSF 11h.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

11i
PSF 11i.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

4
PSF 4.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

5
PSF 5.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2 [Directory: Cosette].

10a- smooth
PSF 10a.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

11h-smooth
PSF 11h.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

11i-smooth
PSF 11i.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

4-smooth
PSF 4.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

5-smooth
PSF 5.dpt
0.4 wt.% powder in KBr; i=0°, e=180°; 1.4-25 µm (7000-400 cm-1); 2 cm-1 resolution; 100 spectra averaged; boxcar=2; Bruker Vertex 70; smoothed [Directory: Cosette].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.6.12d. Carbonaceous chondrites on loan from the University of Western Ontario (Matt Izawa)
These are the meteorites measured at HOSERLab for Matthew Izawa.

Allende
PSF 081222a.008
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

++++++

Subsamples of Tagish Lake ungrouped C chondrite:

pb-02 20.050
PSF 081222a.002
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

pm-05
PSF 081222a.003
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

tl-d 20.050 pb-02 chip
PSF 081222a.005
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

mg-02 tl-d white label
PSF 081222a.010
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

pm05 <18 mesh
PSF 081222a.012
<1000 µm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

pm05 <18 mesh
PSF pm05.dpt
<1000 µm powder; i=30°, e=0°; 1.67-25 μm;  4 cm-1 resolution; ~197100 spectra averaged (15 hour) – long scan to get good SNR; Bruker Vertex 70.
tl mg02 yellow dot vial
PSF 081222a.014
unsorted powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; sample cup masked; ASD (Directory: 081222tagmet).

(ii) Tagish Lake - Matt Izawa subsamples – measured at PSF
200-400 nm and 350-2500 nm

PB-02

HG-42

MM-38

MG-02

MM-02

++++++++++++++++++++++++++++++++++++++++
16.6.13d. Carbonaceous chondrite on loan from U of Arizona (Vishnu Reddy) – July 2017

Mukundpura 
CM2
Official name – new fall? – fell June 6, 2017 (provisional name was Jaipur)
Mukundpura
PSF 170727a00002.asd


<45 µm, fluffy powder on top of regularly packed powder, flat surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170727 jaipur]. (aka Jaipur).
Mukundpura
PSF 170727a00003.asd


<45 µm, densely packed into sample cup, flat surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170727 jaipur] (aka Jaipur)
Mukundpura
PSF 170727a00004.asd


<45 µm, loosely packed into sample cup, fluffed surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170727 jaipur] (aka Jaipur)
Mukundpura
PSF 06272017-002


<45 µm, regular packed into sample cup, flat surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 06272017] (aka Jaipur)
Mukundpura
PSF 009 jaipur normal


<45 µm powder; regularly packed into sample cup; i=e=0° (bifurcated cable); 0.2-0.55 µm; ~1.8 nm resolution; 500 spectra averaged; Maya spectrometer [Directory: 180509 jaipur].

Mukundpura
PSF 010 jaipur dense


<45 µm powder; densely packed into sample cup; i=e=0° (bifurcated cable); 0.2-0.55 µm; ~1.8 nm resolution; 500 spectra averaged; Maya spectrometer [Directory: 180509 jaipur].

++++++++++++++++++++++++++++++++++++++++++
16.6.14d. Samples from NASA Astromaterials facility- two CR chondrites - January 2018 (for Neyda Abreu)
EET 92161.9
PSF 180516b00003.asd

whole rock, piece 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180516 cr and nwa 4587].

EET 92161.9
PSF 180516b00004.asd

whole rock, piece 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180516 cr and nwa 4587].

++++++

GRA 06100.91
PSF 180516b00001.asd

whole rock, side 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180516 cr and nwa 4587].

GRA 06100.91
PSF 180516b00002.asd

whole rock, side 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 180516 cr and nwa 4587].

++++++++++++++++++++++++++++++++++
16.6.16d. MET 00432 carbonaceus chondrite – spectra from Tomoki Nakamura – Tohoku University (Dec. 8, 2021)

MET 00432
MET001
Spot 1 on relatively flat surface of ship. Digital spectrum from Tomoki Nakamura; 250-2500 nm; 5 nm resolution.

MET 00432
MET002
Spot 2 on relatively flat surface of chip. Digital spectrum from Tomoki Nakamura; 250-2500 nm; 5 nm resolution.

+++++++++++++++++++++++++++++++++++++++
16.6.17d. Carbonaceous chondrites – from Devin Schrader – December 2021

Tarda
PSF 211221a.00001.asd
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 211221 tarda].

Tarda
PSF 211221a.00002.asd
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; poured out, repacked, and reshot; ASD4 [Directory: 211221 tarda].

Tarda
PSF 211221a.00003.asd
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; poured out, repacked, and reshot; ASD4 [Directory: 211221 tarda].

Tarda
PSF 211221a.00004.asd
Chip – fusion crust; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 211221 tarda].

Tarda
PSF 211221a.00005.asd
Chip – fresh side; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 211221 tarda].

++++++

(ii) IR reflectance spectra- Bruker Vertex 70 Hyperion microscope

Tarda
PSF 221123_HYPERION_mmct_000_aluminum powder.0.dpt
unsorted fine powder; i=e=0°; 2.5-15 µm; 6 cm-1 resolution [Directory: 211221 tarda]
Tarda
PSF 221123_HYPERION_mmct_001_2_white.0.dpt
chip; i=e=0°; 2.5-15 µm; 6 cm-1 resolution [Directory: 211221 tarda]
++++++++++++++++++++
2024 samples:

(i) UV spectra: biconical, partially off-axis; 0.2-0.45 µm; ~1.8 nm resolution; 0.46-0.49 µm sampling interval; 200 spectra averaged; corrected to DUV mirror [Directories: 240523 tarda plus UV chips; 240531 tarda plus sub45]..

Tagish Lake ASU 1684-1
PSF 001 tagish asu1684-1

Spot on slab

Tarda ASU 2149-4
PSF 002 tarda asu2194-4

Spot on slab

Tarda ASU 2149-4
PSF 003 tarda asu2194-4

Spot on slab

WIS 91600-92

PSF 004 wis91600-92

Spot on slab

MET 00432-19

PSF 005 met 00432-19

Spot on slab

Tagish Lake ASU 1684-1
PSF 001 tagish sub45

<45 µm powder

Tarda ASU 2149-4
PSF 002 tarda sub45

<45 µm powder

WIS 91600,92

PSF 003 wis sub45


<45 µm powder

MET 00432-19

PSF 004 met sub45


<45 µm powder

(ii) ASD4 reflectance spectra: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged. [Directories: 240523 tarda plus; 240527 tarda plus; 240527 tarda plus sub500; 240528 tarda plus sub250; 240528 tarda plus sub90; 240529 tarda plus sub45]
Tagish Lake ASU 1684-1
PSF 240523a.00001.asd

Spot on slab

Tagish Lake ASU 1684-2
PSF 240523a.00002.asd

Different spot on slab

Tagish Lake ASU 1684-3
PSF 240523a.00003.asd

Different spot on slab

Tarda ASU 2149-2
PSF 240523a.00004.asd

Spot on fusion crust

Tarda ASU 2149-3
PSF 240523a.00005.asd

Spot on slab

Tarda ASU 2149-4
PSF 240523a.00006.asd

Spot 1 on slab

Tarda ASU 2149-4
PSF 240523a.00007.asd

Spot 2 on slab

MET 00432,19

PSF 240523a.00008.asd

Spot on slab

WIS 91600,92

PSF 240523a.00009.asd

Spot on slab

Tagish Lake ASU 1984-1
PSF 240527a.00001.asd

<1000 µm powder

Tarda ASU 2149-4
PSF 240527a.00002.asd

<1000 µm powder

WIS 91600,92

PSF 240527a.00003.asd

<1000 µm powder

MET 00432,19

PSF 240527a.00004.asd

<1000 µm powder

Tagish Lake ASU 1984-1
PSF 240527b.00000.asd

<500 µm powder

Tarda ASU 2149-4
PSF 240527b.00001.asd

<500 µm powder

WIS 91600,92

PSF 240527b.00002.asd

<500 µm powder

MET 00432,19

PSF 240527b.00003.asd

<500 µm powder

Tagish Lake ASU 1984-1
PSF 240528a.00000.asd

<250 µm powder

Tarda ASU 2149-4
PSF 240528a.00001.asd

<250 µm powder

WIS 91600,92

PSF 240528a.00002.asd

<250 µm powder

MET 00432,19

PSF 240528a.00003.asd

<250 µm powder

Tagish Lake ASU 1984-1
PSF 240528b.00000.asd

<90 µm powder

Tarda ASU 2149-4
PSF 240528b.00001.asd

<90 µm powder

WIS 91600,92

PSF 240528b.00002.asd

<90 µm powder

MET 00432,19

PSF 240528b.00003.asd

<90 µm powder

Tagish Lake ASU 1984-1
PSF 240529a.00001.asd

<45 µm powder

Tarda ASU 2149-4
PSF 240529a.00002.asd

<45 µm powder

WIS 91600,92

PSF 240529a.00003.asd

<45 µm powder

MET 00432,19

PSF 240529a.00004.asd

<45 µm powder

++++++++++++++++++

(iii) Bruker Vertex 70 FTIR reflectance: i=30°, e=0°; 1.3-14 µm; 6 cm-1 resolution; 1000 spectra averaged [Directories: 24-527 tarda plus ftir chips; 240527 tarda plus ftir powder; 240528 tarda plus ftir powder; 240529 tarda plus ftir powder; 240530 tarda plus ftir powder]. 
Tagish Lake ASU 1684-1
PSF 240527_vertex_mmct_000_TAGISH_ASU1684-1_CHIP.0.dpt
Spot on slab

Tarda AUSU 2149-4
PSF 240527_vertex_mmct_001_TARDA_ASU2149-4_CHIP.0.dpt
Spot 2 on slab

WIS 91600,92

PSF 240527_vertex_mmct_002_WIS91600-92_CHIP.0.dpt
Spot on slab

MET 00432,19

PSF 240527_vertex_mmct_003_MET00432-19_CHIP.0.dpt
Spot on slab

Tagish Lake ASU1684-1
PSF 240527_vertex_mmct_003_TAGISH_ASU1684-2_SUB1000.0.dpt
<1000 µm powder

Tarda ASU 2149-4
PSF 240527_vertex_mmct_004_TARDA_ASU2149-4_SUB1000.0.dpt
<1000 µm powder

WIS 91600,92

PSF 240527_vertex_mmct_005_WIS91600-92_SUB1000.0.dpt
<1000 µm powder

MET 00432,19

PSF 240527_vertex_mmct_006_MET00432-19_SUB1000.0.dpt
<1000 µm powder

Tagish Lake ASU 1684-1
PSF 240528_vertex_mmct_000_TAGISH_SUB500.0.dpt
<500 µm powder
Tarda ASU 2149-4
PSF 240528_vertex_mmct_001_TARDA_ASU2149-4_SUB500.0.dpt
<500 µm powder

WIS 91600,92

PSF 240528_vertex_mmct_002_WIS91600-92_SUB500.0.dpt
<500 µm powder

MET 00432,19

PSF 240528_vertex_mmct_003_MET00432-19_SUB500.0.dpt
<500 µm powder

Tagish Lake ASU 1684-1
PSF 240528_vertex_mmct_004_TAGISH_ASU1684-1_SUB250.0.dpt
<250 µm powder

Tarda ASU 2149-4
PSF 240528_vertex_mmct_005_TARDA_ASU2149-4_SUB250.0.dpt
<250 µm powder

WIS 91600,92

PSF 240528_vertex_mmct_006_WIS91600-92_SUB250.0.dpt
<250 µm powder

MET 00432,19

PSF 240528_vertex_mmct_007_MET00432-19_SUB250.0.dpt
<250 µm powder

Tagish Lake ASU 1684-1
PSF 240529_vertex_mmct_000_TAGISH_ASU1684-1_SUB90.0.dpt
<90 µm powder

Tarda ASU 2149-4
PSF 240529_vertex_mmct_001_TARDA_ASU2149-4_SUB90.0.dpt
<90 µm powder

WIS 91600,92

PSF 240529_vertex_mmct_002_WIS91600-92_SUB90.0.dpt
<90 µm powder

MET 00432,19

PSF 240529_vertex_mmct_003_MET00432-19_SUB90.0.dpt
<90 µm powder

Tagish Lake ASU 1684-1
PSF 240529_vertex_mmct_005_TAGISH_ASU1684-1_SUB45.0.dpt
<45 µm powder

Tarda ASU 2149-4
PSF 240529_vertex_mmct_006_TARDA_ASU2149-4_SUB45.0.dpt
<45 µm powder

WIS 91600,92

PSF 240529_vertex_mmct_007_WIS91600-92_SUB45.0.dpt
<45 µm powder

MET 00432,92

PSF 240529_vertex_mmct_008_MET00432-19_SUB45.0.dpt
<45 µm powder

Tagish Lake ASU 1684-1
PSF 240530_vertex_mmct_000_TAGISH_ASU1684-1_SUB45.0.dpt
<45 µm powder

Tarda ASU 2149-4
PSF 240530_vertex_mmct_001_TARDA_ASU2149-4_SUB45.0.dpt
<45 µm powder

WIS 91600,92

PSF 240530_vertex_mmct_002_WIS91600-92_SUB45.0.dpt
<45 µm powder

MET 00432,19

PSF 240530_vertex_mmct_003_MET_SUB45.0.dpt
<45 µm powder

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.7d. Ordinary chondrites and components
16.7.1d. University of Winnipeg samples
+++ Heating at DLR in vacuum (Dec. 2023 (files are huge) L3 chondrite++++

Aba Panu
DLR bidir 025C
<125 µm powder; unheated; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

Aba Panu 
DLR bidir 900C
<125 µm powder; heated in vacuum to 900°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

++++++++

(i) ASD spectra on spots on whole slabs; i=30°, e=0°; 350-2500 nm; 1 nm resolution; 500 spectra averaged [Directory: 240624 LL Chondrites; 240625 LL Chondrites; 240626 LL Chondrites; 240627 LL Chondrites].
Bensour
PSF 240624a.00001.asd
Whole rock; spot 1; side 2.

Bensour
PSF 240624a.00002.asd
Whole rock; spot 2; side 2.

Bensour
PSF 240624a.00003.asd
Whole rock; spot 3; side 2.

Bensour
PSF 240624a.00004.asd
Whole rock; spot 4; side 1.

Bensour
PSF 240624a.00005.asd
Whole rock; spot 5; side 1.

Bensour
PSF 240624a.00006.asd
Whole rock; spot 6; side 1.

Bensour
PSF 240627a.00024.asd
Whole rock; larger spot 1.

Bensour
PSF 240627a.00025.asd
Whole rock; larger spot 2.

++++++

Kilabo
PSF 240624a.00008.asd
Whole rock; spot 1; side 2.

Kilabo
PSF 240624a.00009.asd
Whole rock; spot 2; side 2.

Kilabo
PSF 240624a.00010.asd
Whole rock; spot 3; side 2.

Kilabo
PSF 240624a.00011.asd
Whole rock; spot 4; side 2.

Kilabo
PSF 240624a.00012.asd
Whole rock; spot 5; side 2.

Kilabo
PSF 240624a.00013.asd
Whole rock; spot 6; side 1.

Kilabo
PSF 240624a.00014.asd
Whole rock; spot 7; side 1.

Kilabo
PSF 240624a.00015.asd
Whole rock; spot 8; side 1.

Kilabo
PSF 240624a.00016.asd
Whole rock; spot 9; side 1.

Kilabo
PSF 240624a.00017.asd
Whole rock; spot 10; side 1.

Kilabo
PSF 240627a.00021.asd
Whole rock; larger spot 1.

Kilabo
PSF 240627a.00022.asd
Whole rock; larger spot 2.

++++++

NWA 16181
PSF 240625a.00030.asd
Whole rock; spot 1; side 1.

NWA 16181
PSF 240625a.00031.asd
Whole rock; spot 2; side 1.

NWA 16181
PSF 240625a.00032.asd
Whole rock; spot 3; side 1.

NWA 16181
PSF 240625a.00033.asd
Whole rock; spot 4; side 1.

NWA 16181
PSF 240625a.00034.asd
Whole rock; spot 5; side 1.

NWA 16181
PSF 240625a.00035.asd
Whole rock; spot 6; side 1.

NWA 16181
PSF 240625a.00036.asd
Whole rock; spot 7; side 2.

NWA 16181
PSF 240625a.00037.asd
Whole rock; spot 8; side 2.

NWA 16181
PSF 240625a.00038.asd
Whole rock; spot 9; side 2.

NWA 16181
PSF 240625a.00039.asd
Whole rock; spot 10; side21.

NWA 16181
PSF 240625a.00040.asd
Whole rock; spot 11; side 2.

NWA 16181
PSF 240625a.00041.asd
Whole rock; spot 12; side 2.

NWA 16181
PSF 240627a.00001.asd
Whole rock; larger spot 1.

NWA 16181
PSF 240627a.00002.asd
Whole rock; larger spot 2.

NWA 16181
PSF 240627a.00003.asd
Whole rock; larger spot 3.

NWA 16181
PSF 240627a.00004.asd
Whole rock; larger spot 4.

++++++

NWA 7676
PSF 240624a.00019.asd
Whole rock; spot 1; side 1.
NWA 7676
PSF 240624a.00020.asd
Whole rock; spot 2; side 1.

NWA 7676
PSF 240624a.00021.asd
Whole rock; spot 3; side 1.

NWA 7676
PSF 240624a.00022.asd
Whole rock; spot 4; side 1.

NWA 7676
PSF 240624a.00023.asd
Whole rock; spot 5; side 1.

NWA 7676
PSF 240624a.00024.asd
Whole rock; spot 6; side 1.

NWA 7676
PSF 240624a.00025.asd
Whole rock; spot 7; side 1.

NWA 7676
PSF 240624a.00026.asd
Whole rock; spot 8; side 1.

NWA 7676
PSF 240624a.00027.asd
Whole rock; spot 9; side 1.

NWA 7676
PSF 240624a.00028.asd
Whole rock; spot10; side 1.

NWA 7676
PSF 240624a.00029.asd
Whole rock; spot 11; side 1.

NWA 7676
PSF 240624a.00030.asd
Whole rock; spot 12; side 1.

NWA 7676
PSF 240624a.00032.asd
Whole rock; spot 13; side 2.

NWA 7676
PSF 240624a.00033.asd
Whole rock; spot 14; side 2.

NWA 7676
PSF 240624a.00034.asd
Whole rock; spot 15; side 2.

NWA 7676
PSF 240624a.00035.asd
Whole rock; spot 16; side 2.

NWA 7676
PSF 240624a.00036.asd
Whole rock; spot 17; side 2.

NWA 7676
PSF 240624a.00037.asd
Whole rock; spot 18; side 2.

NWA 7676
PSF 240624a.00038.asd
Whole rock; spot 19; side 2.

NWA 7676
PSF 240624a.00039.asd
Whole rock; spot 20; side 2.

NWA 7676
PSF 240624a.00040.asd
Whole rock; spot 21; side 2.

NWA 7676
PSF 240624a.00041.asd
Whole rock; spot 22; side 2.

NWA 7676
PSF 240627a.00011.asd
Whole rock; larger spot 1.

NWA 7676
PSF 240627a.00012.asd
Whole rock; larger spot 2.

NWA 7676
PSF 240627a.00013.asd
Whole rock; larger spot 3.

NWA 7676
PSF 240627a.00014.asd
Whole rock; larger spot 4.

++++++
NWA 8384(-b)
PSF 240624a.00042.asd
Whole rock; spot 1; side 1.

NWA 8384(-b)
PSF 240624a.00043.asd
Whole rock; spot 2; side 1.

NWA 8384(-b)
PSF 240624a.00044.asd
Whole rock; spot 3; side 1.

NWA 8384(-b)
PSF 240624a.00045.asd
Whole rock; spot 4; side 1.

NWA 8384(-b)
PSF 240624a.00046.asd
Whole rock; spot 5; side 1.

NWA 8384(-b)
PSF 240624a.00048.asd
Whole rock; spot 6; side 2.

NWA 8384(-b)
PSF 240624a.00049.asd
Whole rock; spot 7; side 2.

NWA 8384(-b)
PSF 240624a.00050.asd
Whole rock; spot 8; side 2.

NWA 8384(-b)
PSF 240624a.00051.asd
Whole rock; spot 9; side 2.

NWA 8384(-b)
PSF 240624a.00052.asd
Whole rock; spot 10; side 2.

NWA 8384(-b)
PSF 240627a.00016.asd
Whole rock; larger spot 1.

NWA 8384(-b)
PSF 240627a.00017.asd
Whole rock; larger spot 2.

+++++++

NWA 8655
PSF 240624a.00053.asd
Whole rock; spot 1; side 1.
NWA 8655
PSF 240624a.00054.asd
Whole rock; spot 2; side 1.

NWA 8655
PSF 240624a.00055.asd
Whole rock; spot 3; side 1.

NWA 8655
PSF 240624a.00056.asd
Whole rock; spot 4; side 1.

NWA 8655
PSF 240624a.00057.asd
Whole rock; spot 5; side 1.

NWA 8655
PSF 240624a.00058.asd
Whole rock; spot 6; side 1.

NWA 8655
PSF 240625a.00001.asd
Whole rock; spot 7; side 2.

NWA 8655
PSF 240625a.00002.asd
Whole rock; spot 8; side 2.

NWA 8655
PSF 240625a.00003.asd
Whole rock; spot 9; side 2.

NWA 8655
PSF 240625a.00004.asd
Whole rock; spot 10; side 2.

NWA 8655
PSF 240625a.00005.asd
Whole rock; spot 11; side 2.

NWA 8655
PSF 240627a.00009.asd
Whole rock; larger spot 1.

NWA 8655
PSF 240627a.00010.asd
Whole rock; larger spot 2.

++++++

NWA 10816
PSF 240625a.00006.asd
Whole rock; spot 1; side 1.

NWA 10816
PSF 240625a.00007.asd
Whole rock; spot 2; side 1.

NWA 10816
PSF 240625a.00008.asd
Whole rock; spot 3; side 1.

NWA 10816
PSF 240625a.00009.asd
Whole rock; spot 4; side 1.

NWA 10816
PSF 240625a.00010.asd
Whole rock; spot 5; side 1.

NWA 10816
PSF 240625a.00011.asd
Whole rock; spot 6; side 2.

NWA 10816
PSF 240625a.00012.asd
Whole rock; spot 7; side 2.

NWA 10816
PSF 240625a.00013.asd
Whole rock; spot 8; side 2.

NWA 10816
PSF 240625a.00014.asd
Whole rock; spot 9; side 2.

NWA 10816
PSF 240625a.00015.asd
Whole rock; spot 10; side 2.

NWA 10816
PSF 240627a.00007.asd
Whole rock; larger spot 1.

NWA 10816
PSF 240627a.00008.asd
Whole rock; larger spot 2.

+++++++

NWA 15662
PSF 240625a.00017.asd
Whole rock; spot 1; side 1.

NWA 15662
PSF 240625a.00018.asd
Whole rock; spot 2; side 1.

NWA 15662
PSF 240625a.00019.asd
Whole rock; spot 3; side 1.

NWA 15662
PSF 240625a.00020.asd
Whole rock; spot 4; side 1.

NWA 15662
PSF 240625a.00021.asd
Whole rock; spot 5; side 1.

NWA 15662
PSF 240625a.00022.asd
Whole rock; spot 6; side 1.

NWA 15662
PSF 240625a.00023.asd
Whole rock; spot 7; side 1.

NWA 15662
PSF 240625a.00024.asd
Whole rock; spot 8; side 1.

NWA 15662
PSF 240625a.00025.asd
Whole rock; spot 9; side 1.

NWA 15662
PSF 240625a.00026.asd
Whole rock; spot 10; side 1.

NWA 15662
PSF 240627a.00005.asd
Whole rock; larger spot 1.

NWA 15662
PSF 240627a.00006.asd
Whole rock; larger spot 2.

+++++++

++++++

Cherokee Springs

LL6 chondrite fall (from Smithsonian Institution – Tim McCoy. See Section 32 of this document for spectral files (and this meteorite mixed with nanophase iron).
Cherokee Springs

PSF 121121a.035
whole rock; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD.
Cherokee Springs

PSF 121121a.036
whole rock with metal inclusions; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

Cherokee Springs

PSF 121121a.053
<250 µm; i=30º, e=0º; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD (directory: 121016glovebox).

Cherokee Springs

PSF OO 53
<250 µm; i=30º, e=0º; 0.2-0.86 µm (.2-0.4 µm usable range); 1 nm output; 100 spectra averaged; Ocean Optics S2000 (directory: Ocean Optics 000).

Cherokee Springs
See also section 15.25 of this document for mixtures of this meteorite with nanophase iron and nanophase iron-impregnated silica gels.
++++++++

Julesburg
PSF 230315a00014.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00015.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00016.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00017.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00018.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00019.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00020.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00021.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00022.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00023.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00024.asd
slab, spot 11; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Julesburg
PSF 230315a00025.asd
slab, spot 12; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

++++++++

Kilabo (LL6)
PSF 201030a0004.asd
<850 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

Kilabo (LL6)
PSF 201016a0010.asd
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

Kilabo (LL6)
PSF 201016a0011.asd
slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

++++++

Kilabo
PSF 230221d00001.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00002.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00003.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00004.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00005.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00006.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00007.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00008.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00009.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Kilabo
PSF 230221d00010.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

+++++++
New Concord
PSF 230314a00014.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00015.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00016.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00017.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00018.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00019.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00020.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00021.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00022.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00023.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00024.asd
slab, spot 11; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00025.asd
slab, spot 12; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00026.asd
slab, spot 13; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00027.asd
slab, spot 14; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

New Concord
PSF 230314a00028.asd
slab, spot 15; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

++++++

NWA 869 
PSF 201030a0008.asd
<1000 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

NWA 869
PSF 201016a0008.asd
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 869
PSF 201016a0001.asd
slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

+++
NWA 869
PSF 23022800001.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800002.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800003.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800004.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800005.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800006.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800007.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800008.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800009.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800010.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800011.asd
slab, spot 11; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800012.asd
slab, spot 12; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800013.asd
slab, spot 13; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800014.asd
slab, spot 14; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800015.asd
slab, spot 15; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

NWA 869
PSF 23022800016.asd
slab, spot 16; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

++++++++

NWA 1668
PSF 230314a00001.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00002.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00003.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00004.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00005.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00006.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00007.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00008.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00009.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00010.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00011.asd
slab, spot 11; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

NWA 1668
PSF 230314a00012.asd
slab, spot 12; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230314 Ordinary Chondrites].

+++++++

NWA 6135
PSF 201030a0009.asd
<850 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

NWA 6135
PSF 201016a0012.asd
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 6135
PSF 201016a0013.asd
slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 6135
PSF 201016a0014.asd
slab, spot 3; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

+++ Heating at DLR in vacuum (Dec. 2023 (files are huge) LL3.8 chondrite++++

NWA 6135
DLR bidir 025C
<125 µm powder; unheated; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

NWA 6135 
DLR bidir 900C
<125 µm powder; heated in vacuum to 900°C for 1 hour; 0.4-23 µm; 1 cm-1 resol. to 2 µm, 2 cm-1 resol. from 2-23 µm.

++++++++

Taiban (b)
PSF 230315a00001.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00002.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00003.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00004.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00005.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00006.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00007.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00008.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00009.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00010.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00011.asd
slab, spot 11; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

Taiban (b)
PSF 230315a00012.asd
slab, spot 12; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230315 Ordinary Chondrites].

+++++++

Tassedet 004
PSF 23022800018.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800019.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800020.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800021.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800022.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800023.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800024.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800025.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800026.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

Tassedet 004
PSF 23022800027.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230228 Ordinary Chondrites].

++++++++

Zag
PSF 230221d00012.asd
slab, spot 1; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00013.asd
slab, spot 2; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00014.asd
slab, spot 3; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00015.asd
slab, spot 4; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00016.asd
slab, spot 5; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00017.asd
slab, spot 6; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00018.asd
slab, spot 7; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00019.asd
slab, spot 8; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00020.asd
slab, spot 9; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

Zag
PSF 230221d00021.asd
slab, spot 10; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 230221 Ordinary Chondrite].

+++++++++++++++++++++
16.7.1d. LL chondrites 2024 project

a. Powder spectra – emptied and repacked 5 times; <150 µm grain size.

ASD4: i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged. 

Bensour 
LL6

PSF 240806a.00001 - 00005.asd

Kilabo 
LL6

PSF 240806a.00006 - 00010.asd 
NWA 8384(-b) 
LL3

PSF 240806a.00011 – 00016.asd
Magnetic pieces excluded

NWA 10816 
LL5

PSF 240806a.00017 - 00021.asd
Magnetice pieces excluded
NWA 8865 
LL5

PSF 240806a.00022 - 00027.asd


NWA 15662 
LL3

PSF 240806a.00028 - 00032.asd


NWA 7676 
LL3

PSF 240806a.00034 - 00038.asd
Magnetice pieces excluded

NWA 7676 
LL3
PSF 240806a.00039 - 00043.asd
Separated different-looking enclave. Magnetice pieces excluded

NWA 8384(-b) 
LL3

PSF 240808a.00001 - 00005.asd
Magnetice pieces included

NWA 10816 
LL5

PSF 240808a.00006 - 00010.asd
Magnetice pieces included

NWA 7676
LL3

PSF 240808a.00012 - 00016.asd
Magnetice pieces included

NWA 7676
LL3
PSF 240808a.00017 - 00021.asd
Separated different-looking enclave. Magnetice pieces included

++++Grain size series – progressive crushing++++++

NWA 16181
LL3

PSF 240808a.00022 - 00026.asd
<1000 µm.

NWA 16181
LL3

PSF 240808a.00028 - 00032.asd
<500 µm.

NWA 16181
LL3

PSF 240808a.00033 - 00037.asd
<250 µm.

NWA 16181
LL3

PSF 240808a.00039 - 00043.asd
<150 µm.

NWA 16181
LL3

PSF 240808a.00044 - 00048.asd
<90 µm

++++++++++++++++++++++++
16.7.2d. Ordinary and unsorted chondrites on loan from the Planetary Science Institute (Vishnu Reddy)
(a) Chelyabinsk

Note: 
"fc" refers to unshocked sample (with fusion crust still intact when received).


"imb" refers to shocked sample (impact melt breccia) received as a slice.


Unless otherwise indicated, spectra were acquired for fusion crust-free faces or powders.

(i) Phase angle effects: 45-90 µm powders: ASD spectra
Chelyabinsk
PSF fc_90_45_i0e30.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.
Chelyabinsk
PSF fc_90_45_i0e45.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i18e0.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i30e0.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i30e30.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i45e0.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i45e45.txt
45-90 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_90_45_i0e30.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i0e45.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i18e0.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i30e0.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i30e30.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i45e0.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i45e45.txt
45-90 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

+++++++
(ii) Phase angle effects: 90-250 µm powders: ASD spectra
Chelyabinsk
PSF fc_250_90_i0e30.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i0e45.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i18e0.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i30e0.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i30e30.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i45e0.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i45e45.txt
90-250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_250_90_i0e30.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i0e45.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i18e0.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i30e0.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i30e30.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i45e0.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i45e45.txt
90-250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

+++++++

(iii) Phase angle effects:< 45 µm powders: ASD spectra
Chelyabinsk
PSF fc_sub45_i0e30.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i0e45.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i18e0.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i30e0.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i30e30.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i45e0.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i45e45.txt
<45 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_sub45_i0e30.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i0e45.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i18e0.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i30e0.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i30e30.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i45e0.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i45e45.txt
<45 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

+++++++

(iv) Phase angle effects: <250 µm powders: ASD spectra
Chelyabinsk
PSF fc_sub250_i0e30.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i0e45.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i18e0.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i30e0.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i30e30.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i45e0.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i45e45.txt
<250 μm powder of FC sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_sub250_i0e30.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i0e45.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i18e0.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i30e0.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i30e30.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i45e0.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i45e45.txt
<250 μm powder of IMB sample; standard: i=18°/e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

+++++++

(v) Merged ASD + Bruker Vertex 70 spectra (i=30°, e=0°), various grain sizes
Chelyabinsk
PSF fc_90_45.txt
45-90 μm powder of FC sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF fc_250_90.txt
90-250 μm powder of FC sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF fc_sub45.txt
<45 μm powder of FC sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF fc_sub250.txt
<250 μm powder of FC sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF fc_surface.txt
whole rock surface of FC sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.


+++++
Chelyabinsk
PSF imb_90_45.txt
45-90 μm powder of IMB sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF imb_250_90.txt
90-250 μm powder of IMB sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF imb_sub45.txt
<45 μm powder of IMB sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF imb_sub250.txt
<250 μm powder of IMB sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

Chelyabinsk
PSF imb_surface.txt
whole rock surface of IMB sample; standard and sample: i=30°, e=0°; 0.35-25 μm; 2-7 nm and 1 cm-1 resolution; 500 and 1000 spectra averaged; ASD + Bruker Vertex 70; merged at 2.222 μm.

++++++

(vi) Fusion crust powder spectra – ground off both samples: unsorted powders: ASD spectra
Chelyabinsk
PSF fc_fusion crust_asd.txt
unsorted powder of fusion crust from FC sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_fusion crust_asd.txt
unsorted powder of fusion crust from IMB sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

++++++

(vii) Whole rock spectra before removal of fusion crust – various spots: ASD spectra
Chelyabinsk
PSF WholeRock_fc_1s1.txt
whole rock face of FC sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF WholeRock_fc_1s2.txt
whole rock face of FC sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF WholeRock_fc_2s.txt
whole rock face of FC sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF WholeRock_imb_f1.txt
whole rock face of IMB sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF WholeRock_imb_f2.txt
whole rock face of IMB sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF WholeRock_imb_h1.txt
whole rock face of IMB sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF WholeRock_imb_h2.txt
whole rock face of IMB sample; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

+++++++

(viii) Powder spectra: 45-90 μm – packing effects: ASD spectra
Chelyabinsk
PSF fc_90_45_i30e0.txt
45-90 μm powder of FC sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i30e0_dense.txt
45-90 μm powder of FC sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_90_45_i30e0_loose.txt
45-90 μm powder of FC sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_90_45_i30e0.txt
45-90 μm powder of IMB sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i30e0_dense.txt
45-90 μm powder of IMB sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_90_45_i30e0_loose.txt
45-90 μm powder of IMB sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

++++++

(ix) Powder spectra: 90-250 μm – packing effects: ASD spectra
Chelyabinsk
PSF fc_250_90_i30e0.txt
90-250 μm powder of FC sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i30e0_dense.txt
90-250 μm powder of FC sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_250_90_i30e0_loose.txt
90-250 μm powder of FC sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_250_90i30e0.txt
90-250 μm powder of IMB sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i30e0_dense.txt
90-250 μm powder of IMB sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_250_90_i30e0_loose.txt
90-250 μm powder of IMB sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

++++++

(x) Powder spectra: <45 μm – packing effects: ASD spectra
Chelyabinsk
PSF fc_sub45_i30e0.txt
<45 μm powder of FC sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i30e0_dense.txt
<45 μm powder of FC sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub45_i30e0_loose.txt
<45 μm powder of FC sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_sub45_i30e0.txt
<45 μm powder of IMB sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i30e0_dense.txt
<45 μm powder of IMB sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub45_i30e0_loose.txt
<45 μm powder of IMB sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

++++++
(xi) Powder spectra: <250 μm – packing effects: ASD spectra
Chelyabinsk
PSF fc_sub250_i30e0.txt
<250 μm powder of FC sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i30e0_repack.txt
<250 μm powder of FC sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD; emptied, repacked and reshot – regular packing.

Chelyabinsk
PSF fc_sub250_i30e0_dense pack.txt
<250 μm powder of FC sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF fc_sub250_i30e0_loose pack.txt
<250 μm powder of FC sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.


+++++

Chelyabinsk
PSF imb_sub250_i30e0.txt
<250 μm powder of IMB sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i30e0_repack.txt
<250 μm powder of IMB sample, regular packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD; emptied, repacked, and reshot – regular packing.

Chelyabinsk
PSF imb_sub250_i30e0_dense pack.txt
<250 μm powder of IMB sample, dense packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

Chelyabinsk
PSF imb_sub250_i30e0_loose pack.txt
<250 μm powder of IMB sample, loose packing; standard and sample: i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resolution; 500 spectra averaged; ASD.

++++++
(xii) Chelyabinsk: Maya spectra
Chelyabinsk
PSF fc_FusionCrust_UVreflect.txt
unsorted powder of fusion crust from FC sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF imb_FusionCrust_UVreflect.txt
unsorted powder of fusion crust from IMB sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF WholeRock_fc_UVreflect.txt
whole rock surface of FC sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF WholeRock_imb_UVreflect.txt
whole rock surface of IMB sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF fc_90_45_UVreflect.txt
45-90 μm powder of FC sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF imb_90_45_UVreflect.txt
45-90 μm powder of IMB sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF fc_250_90_UVreflect.txt
90-250 μm powder of FC sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF imb_250_90_UVreflect.txt
90-250 μm powder of IMB sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF fc_sub45_UVreflect.txt
<45 μm powder of FC sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF imb_sub45_UVreflect.txt
<45 μm powder of IMB sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF fc_sub250_UVreflect.txt
<250 μm powder of FC sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

Chelyabinsk
PSF imb_sub250_UVreflect.txt
<250 μm powder of IMB sample; standard and sample: i=0°, e=0° (bifurcated cable); ~0.2-0.4 μm usable range; ~0.4 nm resolution; 100 spectra averaged; Maya spectrometer.

++++++
(xiii) Chelyabinsk: Bruker Vertex 70 FTIR spectra
Chelyabinsk
PSF WholeRock_fc_a1_FTIR.txt
whole rock face (spot a1) of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF WholeRock_fc_a2_FTIR.txt
whole rock face (spot a2) of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF WholeRock_fc_b_FTIR.txt
whole rock face (spot b) of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF WholeRock_imb_a1_FTIR.txt
whole rock face (spot a1) of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF WholeRock_imb_a2_FTIR.txt
whole rock face (spot a2) of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF WholeRock_imb_b_FTIR.txt
whole rock face (spot b) of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.


++++++
Chelyabinsk
PSF fc_90_45_i30e0_FTIR.txt
45-90 μm powder of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF imb_90_45_i30e0_FTIR.txt
45-90 μm powder of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF fc_250_90_i30e0_FTIR.txt
90-250 μm powder of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF imb_250_90_i30e0_FTIR.txt
90-250 μm powder of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF fc_sub45_i30e0_FTIR.txt
<45 μm powder of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF imb_sub45_i30e0_FTIR.txt
<45 μm powder of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF fc_sub250_i30e0_FTIR.txt
<250 μm powder of FC sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

Chelyabinsk
PSF imb_sub250_i30e0_FTIR.txt
<250 μm powder of IMB sample; standard and sample: i=30°, e=0°; 1-25 μm; 1 cm-1 resolution; 1000 spectra averaged; Bruker Vertex 70 spectrometer.

++++++++++++++++++++++++++++++++++++++++++++++++

(i) Raman spectra: El Hammami H5 chondrite:

El Hammami
PSF el hammami

<45 µm powder; 174-4002 cm-1; ~4 cm-1 resolution; 30000 ms integration time; 250 spectra averaged [Directory: 171214 meteorites].

(ii) ASD reflectance spectrum: El Hammami H5 chondrite (December 2017)
El Hammami
PSF 120517
<45 µm powder; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 1201517].

++++Spectra measured at University of Arizona+++++

El Hammami
110917.002
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD [Directory: 110917]

El Hammami
110917.003
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD; reshoot [Directory: 110917]

El Hammami
110917.004
45-90 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD [Directory: 110917]

El Hammami
110917.005
45-90 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD; reshoot [Directory: 110917]

El Hammami
110917.006
45-90 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD; reshoot [Directory: 110917]

El Hammami
110917.007
90-125 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD [Directory: 110917]

El Hammami
110917.008
90-125 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD; reshoot [Directory: 110917]

El Hammami
110917.009
90-125 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; UArizona ASD; reshoot [Directory: 110917]

++++++++++++++++++++++++++++++++++++++++++++
(b) Mreira

Mreira
PSF 131001a.001
MM01: 100% dark lithology + 0% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.002
MM02: 95% dark lithology + 5% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131002a.002
MM01: 100% dark lithology + 0% light lithology, <45 μm powder; i=0°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: randoms).

Mreira
PSF 131002a.003
MM13: 0% dark lithology + 100% light lithology, <45 μm powder; i=0°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: randoms).

Mreira
PSF 100%D
MM01: 100% dark lithology + 0% light lithology, <45 μm powder; i=0°/e=0°; 0.4-1.13 μm; ~0.3 nm; Maya; 100 spectra averaged. (Directory: 131002 mreira).

Mreira
PSF 100%L
MM13: 0% dark lithology + 100% light lithology, <45 μm powder; i=0°/e=0°; 0.4-1.13 μm; ~0.3 nm; Maya; 100 spectra averaged. (Directory: 131002 mreira).

++++++

See also section 16.16.9 for mixtures of light and dark lithologies.

Mreira slice
PSF 130927a.001
Slice, side 1, dark region Spot A; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.002
Slice, side 1, dark region Spot B; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.003
Slice, side 1, dark region Spot C; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.004
Slice, side 1, dark region Spot D; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.005
Slice, side 1, dark + light region Spot E; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.006
Slice, side 1, light region Spot F; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.007
Slice, side 1, light region Spot G; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.008
Slice, side 1, light region Spot H; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.009
Slice, side 1, light region Spot I; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.010
Slice, side 1, light region Spot J; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.011
Slice, side 2, dark region Spot K; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.012
Slice, side 2, dark region Spot L; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.013
Slice, side 2, dark region Spot M; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.014
Slice, side 2, dark + light region Spot N; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.015
Slice, side 2, light region Spot O; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.016
Slice, side 2, light region Spot P; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.017
Slice, side 2, light region Spot Q; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.018
Slice, side 2, light region Spot R; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.019
Slice, side 2, light region Spot S; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.020
Slice, side 2, light region Spot T; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira slice
PSF 130927a.021
Slice, side 2, light region Spot U; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).


++++++

Mreira stone
PSF 130927a.022
Stone, inner broken surface Spot V; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.023
Stone, inner broken surface Spot W; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.024
Stone, inner broken surface Spot X; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.025
Stone, fusion crust Spot Y; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.026
Stone, fusion crust Spot Z; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.027
Stone, fusion crust Spot AA; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.028
Stone, fusion crust Spot BB; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.029
Stone, fusion crust Spot CC; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

Mreira stone
PSF 130927a.030
Stone, fusion crust Spot DD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: Mreira).

+++++++

Thika L6
PSF 140609.008
aka VMM208; 100% Thika L6; <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.7.3d. University of North Dakota samples
mjg100
PSF 090817b.010
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg100
PSF 090817b.011
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg101
PSF 090817b.012
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg101
PSF 090817b.013
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg102
PSF 090817b.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg102
PSF 090817b.015
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg103
PSF 090817b.016
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg103
PSF 090817b.017
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++MJG103 – phase angle measurements – all relative to Spectralon at i=13°, e=0°++++++
mjg103
PSF 101001a.007
~<150 μm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.016
~<150 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.025
~<150 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.034
~<150 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.043
~<150 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.052
~<150 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.062
~<150 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.071
~<150 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.081
~<150 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.090
~<150 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg103
PSF 101001a.093
~<150 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles). Redo after light source crapped out.

+++++++++++++++++++++++++++++++++

mjg104
PSF 090821a.001
smooth flat surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg104
PSF 090821a.002
rough weathered surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg104
PSF 090821a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg104
PSF 090821a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg105
PSF 090821a.005
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg105
PSF 090821a.006
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg106
PSF 090821a.007
chip- rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg106
PSF 090821a.008
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg106
PSF 090821a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg107
PSF 090821a.010
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg107
PSF 090821a.011
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg107
PSF 090821a.012
chip – rough vitreous surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg108
PSF 090821a.013
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg108
PSF 090821a.014
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg109
PSF 090821a.015
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg109
PSF 090821a.016
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg110
PSF 090826b.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg110
PSF 090826b.002
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg111
PSF 090826b.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg111
PSF 090826b.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg111
PSF 090826b.005
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg112
PSF 090826b.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg112
PSF 090826b.007
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg113
PSF 090826b.008
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg113
PSF 090826b.009
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg114
PSF 090826b.011
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg114
PSF 090826b.012
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg115
PSF 090827a.001
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg115
PSF 090827a.002
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg116
PSF 090827a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg116
PSF 090827a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg116
PSF 090827a.005
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg117
PSF 090827a.006
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg117
PSF 090827a.007
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg118
PSF 090827a.008
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg118
PSF 090827a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg119
PSF 090827a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg119
PSF 090827a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg119
PSF 090827a.012
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg120
PSF 090827a.013
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg120
PSF 090827a.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg121
PSF 090827a.015
<1500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg121
PSF 090827a.016
<1500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg122
PSF 090827a.017
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg122
PSF 090827a.018
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg123
PSF 090827a.019
<1000 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg123
PSF 090827a.020
<1000 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg124
PSF 090827a.021
chip - surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg124
PSF 090827a.022
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg124
PSF 090827a.023
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg125
PSF 090827a.024
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg125
PSF 090827a.025
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg125
PSF 090827a.026
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg126
PSF 090827a.027
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg126
PSF 090827a.028
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg126
PSF 090827a.029
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg127
PSF 090827a.030
chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg127
PSF 090827a.031
chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg128
PSF 090827a.032
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg128
PSF 090827a.033
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg129
PSF 090828a.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg129
PSF 090828a.002
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg129
PSF 090828a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg130
PSF 090828a.004
<500 µm powder  and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg130
PSF 090828a.005
<500 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (09…0814Gaffmet directory); repacked and reshot.

++++++

mjg133
PSF 090828a.008
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg133
PSF 090828a.009
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg133
PSF 090828a.010
chip – cut metallic surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg134
PSF 090828a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg134
PSF 090828a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg134
PSF 090828a.013
chip – rough surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg135
PSF 090828a.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg135
PSF 090828a.015
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg136
PSF mjg136
<90 μm silicates powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg136
PSF 090828a.016
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg136
PSF 090828a.017
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg137
PSF 090828a.018
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg137
PSF 090828a.019
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg137
PSF 090828a.020
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg138
PSF 090828a.021
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg139
PSF 090828a.022
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg139
PSF 090828a.023
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg140
PSF 090828a.024
<180 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg140
PSF 090828a.025
<180 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg141
PSF 090828a.026
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg141
PSF 090828a.027
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

+++++++++++++MJG141 – phase angle measurements – all relative to Spectralon at i=13°, e=0°++++++
mjg141
PSF 101001a.005
~<150 μm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.014
~<150 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.023
~<150 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.032
~<150 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.041
~<150 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.050
~<150 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.059
~<150 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.069
~<150 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.079
~<150 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg141
PSF 101001a.088
~<150 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

++++++++++++++++++++++++++++++++

mjg142
PSF 090828a.028
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg142
PSF 090828a.029
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg143
PSF 090828a.030
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg143
PSF 090828a.031
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg143
PSF 090828a.032
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg144
PSF mjg144
unsorted coarse powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg144
PSF 090828a.033
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg144
PSF 090828a.034
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg145
PSF 090828a.035
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg145
PSF 090828a.036
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg146
PSF 090828a.037
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg146
PSF 090828a.038
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++

mjg147
PSF 090828a.039
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg147
PSF 090828a.040
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

mjg147
PSF 090828a.041
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

++++++

mjg148
PSF 090828a.042
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg148
PSF 090828a.043
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); reshot.

++++++

mjg149
PSF 090831a.001
<500 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg149
PSF 090831a.002
<500 µm powder and chips; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

mjg149
PSF 090831a.003
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

++++++

mjg150
PSF 090831a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg150
PSF 090831a.005
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg151
PSF 090831a.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg151
PSF 090831a.007
unsorted (<1000 µm) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

mjg151
PSF 090831a.008
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

++++++

mjg152
PSF --
not enough sample (090831_Gaffmet directory).

++++++

mjg153
PSF 090831a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg153
PSF 090831a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

mjg153
PSF 090831a.011
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

++++++

mjg154
PSF 090831a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg154
PSF 090831a.013
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg155
PSF 090831a.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg155
PSF 090831a.015
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg156
PSF 090831a.016
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg156
PSF 090831a.017
<500 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg157
PSF 090831a.018
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg157
PSF 090831a.019
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg158
PSF 090831a.020
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

++++++

mjg159
PSF 090831a.021
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg159
PSF 090831a.022
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg160
PSF 090831a.023
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg160
PSF 090831a.024
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg161
PSF 090916a.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg161
PSF 090916a.002
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg162
PSF 090916a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg162
PSF 090916a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg163
PSF 090916a.005
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg163
PSF 090916a.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg164
PSF 090916a.007
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg164
PSF 090916a.008
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg165
PSF 090916a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg165
PSF 090916a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg166
PSF 090916a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg166
PSF 090916a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg167
PSF 090916a.013
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg167
PSF 090916a.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg168
PSF 090916a.015
<90 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg168
PSF 090916a.016
<90 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg169
PSF mjg169a
unsorted coarse powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg169
PSF mjg169b
fragment in unsorted coarse powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg169
PSF 090916a.017
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg169
PSF 090916a.018
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

mjg169
PSF 090916a.019
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

++++++

mjg170
PSF 090916a.020
silicate <90 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg170
PSF 090916a.021
silicate <90 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg171
PSF 090916a.022
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg171
PSF 090916a.023
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

mjg171
PSF 090916a.024
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

++++++

mjg172
PSF 090916a.025
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg172
PSF 090916a.026
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg173
PSF 090916a.027
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg173
PSF 090916a.028
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg174
PSF 090916a.029
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg174
PSF 090916a.030
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

mjg174
PSF 090916a.031
chip; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory). Not saved or overwritten?

++++++

mjg175
PSF mjg175
unsorted fine powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg175
PSF 090916a.032
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory).

mjg175
PSF 090916a.033
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090831Gaffmet directory); repacked and reshot.

++++++

mjg176
PSF 091103a.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg176
PSF 091103a.002
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg177
PSF 091103a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg177
PSF 091103a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg178
PSF 091103a.005
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg178
PSF 091103a.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg179
PSF 091103a.007
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg179
PSF 091103a.008
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg180
PSF 091103a.009
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg180
PSF 091103a.010
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg181
PSF 091103a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg181
PSF 091103a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg182
PSF 091103a.013
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg182
PSF 091103a.014
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg184
PSF mjg184
unsorted fine powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg184
PSF 091114a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg184
PSF 091104a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg185
PSF 091104a.005
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg185
PSF 091104a.007
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg186
PSF 091014a.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg186
PSF 091104a.008
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg187
PSF mjg187
unsorted fine powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg187
PSF 091104a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg187
PSF 091104a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg188
PSF 091104a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg188
PSF 091104a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg189
PSF 091104a.013
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg189
PSF 091104a.014
<70 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103Gaffmet directory); repacked and reshot.

++++++

mjg192
PSF 091114a.019
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg192
PSF 091104a.020
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg193
PSF 091111a.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg193
PSF 091111a.002
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg194
PSF 091111a.003
chip – cut surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg194
PSF 091111a.004
chip – broken surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

++++++

mjg195
PSF 091111a.005
<90 micron silicate (non-magnetic?) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg195
PSF 091111a.006
<90 micron silicate (non-magnetic?) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg196
PSF 091111a.007
<500 µm metal-rich powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg196
PSF 091111a.008
<500 µm metal-rich powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg197
PSF 091111a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg197
PSF 091111a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++++MJG197 – phase angle measurements – all relative to Spectralon at i=13°, e=0°++++++
mjg197
PSF 101001a.004
~<500 µm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.013
~<500 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.022
~<500 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.031
~<500 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.040
~<500 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.049
~<500 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.058
~<500 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.068
~<500 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.078
~<500 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg197
PSF 101001a.087
~<500 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

+++++++++++++++++++++++++++++++++++++

mjg198
PSF 091111a.011
unsorted silicate-rich powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg198
PSF 091111a.012
unsorted silicate-rich powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg199
PSF 091111a.013
<500 µm “cleaned metal”; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg199
PSF 091111a.014
<500 µm “cleaned metal”; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg200
PSF 091111a.015
<500 µm metal-rich powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg200
PSF 091111a.016
<500 µm metal-rich powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg201
PSF 091111a.017
unsorted magnetic (metal-rich) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg201
PSF 091111a.018
unsorted magnetic (metal-rich) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg202
PSF 091111a.019
<70 microns non-magnetic powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg202
PSF 091111a.020
<70 microns non-magnetic powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg203
PSF 091111a.021
90-180 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg203
PSF 091111a.023
90-180 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg204
PSF 091111a.024
<90 micron non-magnetic fraction; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg204
PSF 091111a.027
<90 micron non-magnetic fraction; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg205
PSF 091111a.028
unsorted magnetic powder fraction; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg205
PSF 091111a.029
unsorted magnetic powder fraction; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg206
PSF 091111a.030
unsorted metal-rich (magnetic) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg206
PSF 091111a.031
unsorted metal-rich (magnetic) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg207
PSF 091111a.032
unsorted magnetic (metal-rich) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg207
PSF 091111a.033
unsorted magnetic (metal-rich) powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg208
PSF 091111a.034
unsorted magnetic fraction powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg208
PSF 091111a.035
unsorted magnetic fraction powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg209
PSF 091111a.036
<90 microns non-magnetic powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg209
PSF 091111a.037
<90 microns non-magnetic powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg210
PSF 091111a.038
<90 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg210
PSF 091111a.039
<90 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg211
PSF 091111a.040
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg211
PSF 091111a.041
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg213
PSF 091111a.044
fragments; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg213
PSF 091111a.045
fragments; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg214
PSF 091111a.046
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); probably no second run (mjg215 likely saved instead of mjg214 second run).

++++++

mjg215
PSF 091111a.047
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); probably mjg215 saved in place of mjg214.

mjg215
PSF 091111a.048
fragments; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg215
PSF 091111a.049
fragments; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg233
PSF 091118a.013
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg233
PSF 091118a.014
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg234
PSF 091118a.015
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg234
PSF 091118a.016
<1000 µm powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg235
PSF 091118a.017
<90 microns non-magnetic fraction powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg235
PSF 091118a.018
<90 microns non-magnetic fraction powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++++++++++++++++++++++++++++++++++++++
16.7.4d. Samples on loan from NASA Astromaterials Facility

LAP04840
PSF lap04840b
Unsorted powder, 30°/0°, 2-16 µm, D&P instrument, 6 cm-1 resol.

LAP04840
PSF lap04840s
<250 µm,  30°/0°, 2-16 µm, D&P instrument, 6 cm-1 resol.

LAP04840
PSF may1807.003
Unsorted powder, 30°/0°, 0.35-2.5 µm, ASD, 1 nm resol.

LAP04840
PSF may1807.009
<250 µm, 2-16 µm, 30°/0°, 0.35-2.5 µm, ASD, 1 nm resol.

LAP04840
PSF may1807.001
Unsorted powder, 0°/0°, 0.35-2.5 µm, bifurc. probe, ASD, 1 nm resol.

++++++++++++++++++++++++++++++++++
16.7.5d. Ordinary chondrites from Kurt Mengel (Technische Universitat Clausthal) – July 2014
For aqueous alteration experiments
Powdered samples provided by Kurt Mengel – July 2014
Note: see section 16.23 for Parr bomb run after-heating results.

Zag-pre wet
PSF 141219a.005
<100 µm, original sample (dry sample, pre-Parr bomb run with water); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141219 HE 1000].

+++++++++++++++++++++++++++++++++++
16.7.6d. Ordinary chondrites from the Royal Ontario Museum – July 2015
(i) Samples available at University of Winnipeg

NWA 869
PSF a2
unsorted, saw-cut fine powder; i=30°, e=0°; 1.4-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 reflectance [Directory: 150624 meteorites].

NWA 869
PSF meteorite 869
unsorted saw-cut fine powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 500 spectra averaged; ASD [Directory: 150624 oxalates + meteorites].
(ii) Samples measured at Royal Ontario Museum (available at the ROM)

NWA 753
PSF 161012a.051
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.052
slab 1, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.053
slab 1, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.054
slab 2, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.055
slab 2, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.056
saw-cut fines; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.057
saw-cut fines; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; repacked and reshot ; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.058
slab 3, spot A (sample M49054); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 753
PSF 161012a.059
slab 3, spot B (sample M49054); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 1668
PSF 161012a.060
slab 1, spot A (inclusion); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1668
PSF 161012a.061
slab 1, spot B (inclusion); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1668
PSF 161012a.062
slab 1, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1668
PSF 161012a.063
slab 2, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1668
PSF 161012a.064
slab 2, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1668
PSF 161012a.065
slab 2, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 1920
PSF 161012a.068
slab 1, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1920
PSF 161012a.069
slab 1, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 1920
PSF 161012a.070
slab 1, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 5131
PSF 161012a.037
slab 1, spot A – probe-mounted sample (polished); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 5131
PSF 161012a.038
slab 2 (slice), spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 5131
PSF 161012a.039
slab 2 (slice), spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

++++++

NWA 5599
PSF 161012a.066
slab 1, spot A (interior white rind along edge of sample); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

NWA 5599
PSF 161012a.067
slab 1, spot B (no white rind); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161012 ROM Meteorites].

+++++++++++++++++++++++++++++++++++
16.7.7d. Ordinary chondrites on loan from Matthew Izawa (Okayama University)

Note: spectra of different spots on unpolished slice after gentle sanding

Zag – spot 1
PSF 171221a00009.asd

spot 1 on slab: medium-dark spot; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag – spot 2
PSF 171221a00010.asd

spot 2 on slab: light-coloured area; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag – spot 3
PSF 171221a00011.asd

spot 3 on slab: dark-coloured area; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag – spot 4
PSF 171221a00012.asd

spot 4 on slab: medium-dark finer-grained area; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag – spot 5
PSF 171221a00013.asd

spot 5 on slab: medium to light-coloured area; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag – spot 6
PSF 171221a00014.asd

spot 6 on slab: centred on dark spot; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag – spot 7
PSF 171221a00015.asd

spot 7 on slab: medium area centred on fracture; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

Zag –other side
PSF 171221a00016.asd

spot on other (unsanded) face; i=30°, e=0°; 0.35-2.5 µµ; 1 nm output; 1000 spectra averaged; ASD4 [Directory: 171221 meteorites].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.8d. Martian meteorites

16.8.2d. Martian meteorites from the Royal Ontario Museum – July 2015
NWA 7042
PSF a1
unsorted, saw-cut fine powder; i=30°, e=0°; 1.4-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 reflectance [Directory: 150624 meteorites].

NWA 7042
PSF meteorite 7042
unsorted saw-cut fine powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 500 spectra averaged; ASD [Directory: 150624 oxalates + meteorites].
++++++++++++++++++++++++++++++++++++++
16.8.3d. Meteorites on loan from Matthew Izawa (Okayama University)

December 2017:

NWA 8171-spot 1
PSF 171221a00001.asd
spot 1 on slab: light-coloured inclusion; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

NWA 8171-spot 2
PSF 171221a00002.asd
spot 2 on slab: darkest region; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

NWA 8171-spot 3
PSF 171221a00003.asd
spot 3 on slab: centred on medium-gray inclusion; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

NWA 8171-spot 4
PSF 171221a00004.asd
spot 4 on slab: centred on different medium-gray inclusion; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

NWA 8171-spot 5
PSF 171221a00005.asd
spot 5 on slab: centred on crack between two dark regions; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

NWA 8171-spot 6
PSF 171221a00006.asd
spot 6 on slab: “average” brecciated region; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

NWA 8171-spot 7
PSF 171221a00007.asd
spot 7 on slab: centred on different light-coloured inclusion; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; ASD 4 [Directory: 171221 meteorites].

+++++++++++++++++++++++++++++++++
16.8d. UWinnipeg Mars Meteorites – Spectral Data (2022)
(i) Unsorted powder reflectance spectra

(a) Reflectance: Unsorted powders (made from subsample); i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; repeated shots; ASD 4 [Directories: 220818 Mars Meteorite Powders; 220823 Mars Meteorite Powders, 240139 Mars Meteorites].

Amgala 001
PSF 240201b0001.asd
<1 mm powder; shot 1

Amgala 001
PSF 240201b0002.asd
<1 mm powder; shot 2

Amgala 001
PSF 240201b0003.asd
<1 mm powder; shot 3

Amgala 001
PSF 240201b0004.asd
<1 mm powder; shot 4

Amgala 001
PSF 240201b0005.asd
<1 mm powder; shot 5

Amgala 001
PSF 240201b0006.asd
<1 mm powder; shot 6

+++++++

NWA 12241
PSF 240130b00001.asd
Saw-cut fines; shot 1

NWA 12241
PSF 240130b00002.asd
Saw-cut fines; shot 2

NWA 12241
PSF 240130b00003.asd
Saw-cut fines; shot 3

NWA 12241
PSF 240130b00004.asd
Saw-cut fines; shot 4

NWA 12241
PSF 240130b00005.asd
Saw-cut fines; shot 5

++++++

NWA 12269
PSF 220818b000001.asd
< 1 mmpowder; Shot 1

NWA 12269
PSF 220818b000002.asd
<1 mm powder; Shot 2

NWA 12269
PSF 220818b000003.asd
<1 mm powder; Shot 3

NWA 12269
PSF 220818b000004.asd
<1 mm powder; Shot 4

+++

NWA 12269
PSF 220511b000001.asd
< 1 mm powder; Powder

+++++++

NWA 7397
PSF 220818b000005.asd
<1 mm powder; Shot 1

NWA 7397
PSF 220818b000006.asd
<1 mm powder; Shot 2

NWA 7397
PSF 220818b000007.asd
<1 mm powder; Shot 3

NWA 7397
PSF 220818b000008.asd
<1 mm powder; Shot 4

+++++++

NWA 12269 (sawcut)
PSF 220823a00001.asd
Saw-cut fines; Shot 1

NWA 12269 (sawcut)
PSF 220823a00002.asd
Saw-cut fines; Shot 2

NWA 12269 (sawcut)
PSF 220823a00003.asd
Saw-cut fines; Shot 3

NWA 12269 (sawcut)
PSF 220823a00004.asd
Saw-cut fines; Shot 4

+++++

NWA 12288 (-b)
PSF 220823a00005.asd
Shot 1

NWA 12288 (-b)
PSF 220823a00006.asd
Shot 2

NWA 12288 (-b)
PSF 220823a00007.asd
Shot 3

++++++

NWA 12269
PSF 230221a00001.asd
<1000 µm powder; shot 1

NWA 12269
PSF 230221a00002.asd
<1000 µm powder; shot 2

NWA 12269
PSF 230221a00003.asd
<1000 µm powder; shot 3

NWA 12269
PSF 230221a00004.asd
<1000 µm powder; shot 4

NWA 12269
PSF 230221a00005.asd
<1000 µm powder; shot 5

++++++
NWA 13669
PSF 230221a00006.asd
<1000 µm powder; shot 1

NWA 13669
PSF 230221a00007.asd
<1000 µm powder; shot 2

NWA 13669
PSF 230221a00008.asd
<1000 µm powder; shot 3

NWA 13669
PSF 230221a00009.asd
<1000 µm powder; shot 4

NWA 13669
PSF 230221a00010.asd
<1000 µm powder; shot 5

++++++
Tissint 001
PSF 220511b00002.asd
Grains on Spectralon slab; shot 1

Tissint 001
PSF 220511b00003.asd
Grains on Spectralon slab; shot 2

+++++

NWA 13669
PSF 230221a00003.asd
Grains on Spectralon slab; shot 2

+++++
NWA 12594
PSF 230619b.00002

<1000 µm powder.

++++++
Sueilia 002
PSF 230619b.00003

<1000 µm powder.

++++++

Plateau du Tademait 008
PSF 240130b00006.asd
<1 mm powder; shot 1

Plateau du Tademait 008
PSF 240130b00007.asd
<1 mm powder; shot 2

Plateau du Tademait 008
PSF 240130b00008.asd
<1 mm powder; shot 3

Plateau du Tademait 008
PSF 240130b00009.asd
<1 mm powder; shot 4

Plateau du Tademait 008
PSF 240130b00010.asd
<1 mm powder; shot 5

+++++++++ 
Zagami (ZAG-4)
PSF 230619b.00004

<1000 µm powder.

++++++
NWA 11288
PSF 230619b.00005

<1000 µm powder.

++++++
+++++++++++++++++++++++++++++++++++++++
(ii) Spots on slab reflectance spectra

i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; repeated shots; ASD 4 [Directories: 211222 Mars Meteorites; 220511 Mars Meteorites].

Amgala 001
PSF 231220a00001.asd
Whole rock; spot 1

Amgala 001
PSF 231220a00002.asd
Whole rock; spot 2

Amgala 001
PSF 231220a00003.asd
Whole rock; spot 3

Amgala 001
PSF 231220a00004.asd
Whole rock; spot 4

Amgala 001
PSF 231220a00005.asd
Whole rock; spot 5

Amgala 001
PSF 231220a00006.asd
Whole rock; spot 6

Amgala 001
PSF 231220a00007.asd
Whole rock; spot 7

Amgala 001
PSF 231220a00008.asd
Whole rock; spot 8

Amgala 001
PSF 231220a00009.asd
Whole rock; spot 9

Amgala 001
PSF 231220a00010.asd
Whole rock; spot 10

++++++

NWA11288-c
PSF 211222a.00001.asd
Whole rock, spot 1.

NWA11288-c
PSF 211222a.00002.asd
Whole rock, spot 2.

+++
NWA11288-c
PSF 220704a.00025.asd
Whole rock, spot 1.

NWA11288-c
PSF 220704a.00026.asd
Whole rock, spot 2.

NWA11288-c
PSF 220704a.00027.asd
Whole rock, spot 3.

NWA11288-c
PSF 220704a.00028.asd
Whole rock, spot 4.

NWA11288-c
PSF 220704a.00029.asd
Whole rock, spot 5.

NWA11288-c
PSF 220704a.00030.asd
Whole rock, spot 6.

NWA11288-c
PSF 220704a.00031.asd
Whole rock, spot 7.

NWA11288-c
PSF 220704a.00032.asd
Whole rock, spot 8.

NWA11288-c
PSF 220704a.00033.asd
Whole rock, spot 9.

NWA11288-c
PSF 220704a.00034.asd
Whole rock, spot 10.

+++++++
NWA7397
PSF 211222a.00003.asd
Whole rock, spot 1.

NWA7397
PSF 211222a.00004.asd
Whole rock, spot 2.

NWA7397
PSF 211222a.00005.asd
Whole rock, spot 3.

+++

NWA7397
PSF 220705a.00012.asd
Whole rock, spot 1.

NWA7397
PSF 220705a.00013.asd
Whole rock, spot 2.

NWA7397
PSF 220705a.00014.asd
Whole rock, spot 3.

NWA7397
PSF 220705a.00015.asd
Whole rock, spot 4.

NWA7397
PSF 220705a.00016.asd
Whole rock, spot 5.

NWA7397
PSF 220705a.00017.asd
Whole rock, spot 6.

NWA7397
PSF 220705a.00018.asd
Whole rock, spot 7.

NWA7397
PSF 220705a.00019.asd
Whole rock, spot 8.

NWA7397
PSF 220705a.00020.asd
Whole rock, spot 9.

NWA7397
PSF 220705a.00021.asd
Whole rock, spot 10.

+++

NWA 7397
PSF 220505a.00011.asd
Whole rock, “slab #1”.

NWA 7397
PSF 220505a.00012.asd
Whole rock, “slab #2”.

NWA 7397
PSF 220505a.00013.asd
Whole rock, “slab #3”.

NWA 7397
PSF 220505a.00014.asd
Whole rock, “slab #4”.

NWA 7397
PSF 220505a.00015.asd
Whole rock, “slab #5”.

NWA 7397
PSF 220505a.00016.asd
Whole rock, “slab #6”.

NWA 7397
PSF 220505a.00017.asd
Whole rock, “slab #7”.

NWA 7397
PSF 220505a.00018.asd
Whole rock, “slab #8”.

NWA 7397
PSF 220505a.00019.asd
Whole rock, “slab #9”.

NWA 7397
PSF 220505a.00020.asd
Whole rock, “slab #10”.

++++++

Sueilila 002
PSF 211222a.00006.asd
Whole rock, spot 1.

Sueilila 002
PSF 211222a.00007.asd
Whole rock, spot 2.

Sueilila 002
PSF 211222a.00008.asd
Whole rock, spot 3.

+++
Sueilila 002
PSF 220505a.00041.asd
Whole rock, “slab #1”.

Sueilila 002
PSF 220505a.00032.asd
Whole rock, “slab #2”.

Sueilila 002
PSF 220505a.00043.asd
Whole rock, “slab #3”.

Sueilila 002
PSF 220505a.00044.asd
Whole rock, “slab #4”.

Sueilila 002
PSF 220505a.00045.asd
Whole rock, “slab #5”.

Sueilila 002
PSF 220505a.00046.asd
Whole rock, “slab #6”.

Sueilila 002
PSF 220505a.00047.asd
Whole rock, “slab #7”.

Sueilila 002
PSF 220505a.00048.asd
Whole rock, “slab #8”.

Sueilila 002
PSF 220505a.00049.asd
Whole rock, “slab #9”.

Sueilila 002
PSF 220505a.00050.asd
Whole rock, “slab #10”.

Sueilila 002
PSF 220505a.00051.asd
Whole rock, “slab #11”.

Sueilila 002
PSF 220505a.00052.asd
Whole rock, “slab #12”.

+++++
Sueilila 002
PSF 220704a.00012.asd
Whole rock, spot 1.

Sueilila 002
PSF 220704a.00015.asd
Whole rock, spot 2.

Sueilila 002
PSF 220704a.00016.asd
Whole rock, spot 3.

Sueilila 002
PSF 220704a.00017.asd
Whole rock, spot 4.

Sueilila 002
PSF 220704a.00018.asd
Whole rock, spot 5.

Sueilila 002
PSF 220704a.00019.asd
Whole rock, spot 6.

Sueilila 002
PSF 220704a.00020.asd
Whole rock, spot 7.

Sueilila 002
PSF 220704a.00021.asd
Whole rock, spot 8.

Sueilila 002
PSF 220704a.00022.asd
Whole rock, spot 9.

Sueilila 002
PSF 220704a.00023.asd
Whole rock, spot 10.

++++++

Plateau du Tademait
PSF 231220a00011.asd
Whole rock; spot 1

Plateau du Tademait
PSF 231220a00012.asd
Whole rock; spot 2

Plateau du Tademait
PSF 231220a00013.asd
Whole rock; spot 3

Plateau du Tademait
PSF 231220a00014.asd
Whole rock; spot 4

Plateau du Tademait
PSF 231220a00015.asd
Whole rock; spot 5

Plateau du Tademait
PSF 231220a00016.asd
Whole rock; spot 6

Plateau du Tademait
PSF 231220a00017.asd
Whole rock; spot 7

Plateau du Tademait
PSF 231220a00018.asd
Whole rock; spot 8

Plateau du Tademait
PSF 231220a00019.asd
Whole rock; spot 9

Plateau du Tademait
PSF 231220a00020.asd
Whole rock; spot 10

+++++++

Zagami
PSF 211222a.00010.asd
Whole rock, spot 1.

Zagami
PSF 211222a.00011.asd
Whole rock, spot 2.

Zagami
PSF 211222a.00012.asd
Whole rock, spot 3.

+++
Zagami
PSF 220705a.00001.asd
Whole rock, spot 1.

Zagami
PSF 220705a.00002.asd
Whole rock, spot 2.

Zagami
PSF 220705a.00003.asd
Whole rock, spot 3.

Zagami
PSF 220705a.00004.asd
Whole rock, spot 4.

Zagami
PSF 220705a.00005.asd
Whole rock, spot 5.

Zagami
PSF 220705a.00006.asd
Whole rock, spot 6.

Zagami
PSF 220705a.00007.asd
Whole rock, spot 7.

Zagami
PSF 220705a.00008.asd
Whole rock, spot 8.

Zagami
PSF 220705a.00009.asd
Whole rock, spot 9.

Zagami
PSF 220705a.00010.asd
Whole rock, spot 10.

+++

Zagami (ZAG-4)
PSF 220505a.00021.asd
Whole rock, “slab #1”.

Zagami (ZAG-4)
PSF 220505a.00022.asd
Whole rock, “slab #2”.

Zagami (ZAG-4)
PSF 220505a.00023.asd
Whole rock, “slab #3”.

Zagami (ZAG-4)
PSF 220505a.00024.asd
Whole rock, “slab #4”.

Zagami (ZAG-4)
PSF 220505a.00025.asd
Whole rock, “slab #5”.

Zagami (ZAG-4)
PSF 220505a.00026.asd
Whole rock, “slab #6”.

Zagami (ZAG-4)
PSF 220505a.00027.asd
Whole rock, “slab #7”.

Zagami (ZAG-4)
PSF 220505a.00028.asd
Whole rock, “slab #8”.

Zagami (ZAG-4)
PSF 220505a.00029.asd
Whole rock, “slab #9”.

Zagami (ZAG-4)
PSF 220505a.00030.asd
Whole rock, “slab #10”.

++++++++
NWA 11288-c
PSF 220505a.00031.asd
Whole rock, “slab #1”.

NWA 11288-c
PSF 220505a.00032.asd
Whole rock, “slab #2”.

NWA 11288-c
PSF 220505a.00033.asd
Whole rock, “slab #3”.

NWA 11288-c
PSF 220505a.00034.asd
Whole rock, “slab #4”.

NWA 11288-c
PSF 220505a.00035.asd
Whole rock, “slab #5”.

NWA 11288-c
PSF 220505a.00036.asd
Whole rock, “slab #6”.

NWA 11288-c
PSF 220505a.00037.asd
Whole rock, “slab #7”.

NWA 11288-c
PSF 220505a.00038.asd
Whole rock, “slab #8”.

NWA 11288-c
PSF 220505a.00039.asd
Whole rock, “slab #9”.

NWA 11288-c
PSF 220505a.00040.asd
Whole rock, “slab #10”.

+++++++

NWA 12269
PSF 211222a.00013.asd
Whole rock, spot 1.

NWA 12269
PSF 211222a.00014.asd
Whole rock, spot 2.

NWA 12269
PSF 211222a.00015.asd
Whole rock, spot 3.

+++
NWA 12269
PSF 220714b.00002.asd
Whole rock, spot 1.

NWA 12269
PSF 220714b.00003.asd
Whole rock, spot 2.

NWA 12269
PSF 220714b.00004.asd
Whole rock, spot 3.

NWA 12269
PSF 220714b.00005.asd
Whole rock, spot 4.

NWA 12269
PSF 220714b.00006.asd
Whole rock, spot 5.

NWA 12269
PSF 220714b.00007.asd
Whole rock, spot 6.

NWA 12269
PSF 220714b.00008.asd
Whole rock, spot 7.

NWA 12269
PSF 220714b.00009.asd
Whole rock, spot 8.

NWA 12269
PSF 220714b.00010.asd
Whole rock, spot 9.

NWA 12269
PSF 220714b.00011.asd
Whole rock, spot 10.

+++

NWA 12269
PSF 220511a.00001.asd
Whole rock, “slab #1”.

NWA 12269
PSF 220511a.00002.asd
Whole rock, “slab #2”.

NWA 12269
PSF 220511a.00003.asd
Whole rock, “slab #3”.

NWA 12269
PSF 220511a.00004.asd
Whole rock, “slab #4”.

NWA 12269
PSF 220511a.00005.asd
Whole rock, “slab #5”.

NWA 12269
PSF 220511a.00006.asd
Whole rock, “slab #6”.

NWA 12269
PSF 220511a.00007.asd
Whole rock, “slab #7”.

NWA 12269
PSF 220511a.00008.asd
Whole rock, “slab #8”.

NWA 12269
PSF 220511a.00009.asd
Whole rock, “slab #9”.

NWA 12269
PSF 220511a.00010.asd
Whole rock, “slab #10”.

+++++++
NWA 11288(-b)
PSF 220714b.00013.asd
Whole rock, spot 1.

NWA 11288(-b)
PSF 220714b.00014.asd
Whole rock, spot 2.

NWA 11288(-b)
PSF 220714b.00015.asd
Whole rock, spot 3.

NWA 11288(-b)
PSF 220714b.00016.asd
Whole rock, spot 4.

NWA 11288(-b)
PSF 220714b.00017.asd
Whole rock, spot 5.

NWA 11288(-b)
PSF 220714b.00018.asd
Whole rock, spot 6.

+++

NWA 11288(-b)
PSF 220511a.00011.asd
Whole rock, “slab #1”.

NWA 11288(-b)
PSF 220511a.00012.asd
Whole rock, “slab #2”.

NWA 11288(-b)
PSF 220511a.00013.asd
Whole rock, “slab #3”.

NWA 11288(-b)
PSF 220511a.00014.asd
Whole rock, “slab #4”.

NWA 11288(-b)
PSF 220511a.00015.asd
Whole rock, “slab #5”.

NWA 11288(-b)
PSF 220511a.00016.asd
Whole rock, “slab #6”.

++++++
NWA 12594
PSF 220505a.00001.asd
Whole rock, “slab #1”.

NWA 12594
PSF 220505a.00002.asd
Whole rock, “slab #2”.

NWA 12594
PSF 220505a.00003.asd
Whole rock, “slab #3”.

NWA 12594
PSF 220505a.00004.asd
Whole rock, “slab #4”.

NWA 12594
PSF 220505a.00005.asd
Whole rock, “slab #5”.

NWA 12594
PSF 220505a.00006.asd
Whole rock, “slab #6”.

NWA 12594
PSF 220505a.00007.asd
Whole rock, “slab #7”.

NWA 12594
PSF 220505a.00008.asd
Whole rock, “slab #8”.

NWA 12594
PSF 220505a.00009.asd
Whole rock, “slab #9”.

NWA 12594
PSF 220505a.00010.asd
Whole rock, “slab #10”.

++++++
NWA 12594
PSF 220704a.00001.asd
Whole rock, spot 1.

NWA 12594
PSF 220704a.00002.asd
Whole rock, spot 2.

NWA 12594
PSF 220704a.00003.asd
Whole rock, spot 3.

NWA 12594
PSF 220704a.00004.asd
Whole rock, spot 4.

NWA 12594
PSF 220704a.00005.asd
Whole rock, spot 5.

NWA 12594
PSF 220704a.00006.asd
Whole rock, spot 6.

NWA 12594
PSF 220704a.00008.asd
Whole rock, spot 7.

NWA 12594
PSF 220704a.00009.asd
Whole rock, spot 8.

NWA 12594
PSF 220704a.00010.asd
Whole rock, spot 9.

NWA 12594
PSF 220704a.00011.asd
Whole rock, spot 10.

++++++

NWA 13669
PSF 230619b.00001.asd
Whole rock; spot on slab.
+++++++++++++++++++++++++++++++++++++++

(ii) Whole-rock iRaman spectra; spots on slabs (images available)

Whole rock, spot on slab; iRaman 532 nm Raman spectrometer; 174-4002 cm-1 range; ~4 cm-1 resolution; variable integration times and number of spectra averaged [Directories: 220518 Martian Meteorite Raman; 220526 mars meteorites; 220620 mars meteorites; 220621 Mars Meteorites; 220622 Mars Meteorites; 220711 Mars Meteorites; 220825 Lunar Meteorites; 230105 Lunar and Mars Meteorites; 231117 Mars Meteorite; 231108 Mars Meteorite].

NWA 12269
PSF 220518_001_532_NWA_12269_1.txtr
Spot 1 on slab; 1000 msec; 20 spectra averaged.

NWA 12269
PSF 220518_002_532_NWA_12269_2.txtr
Spot 2 on slab; 3000 msec; 20 spectra averaged.

NWA 12269
PSF 220518_003_532_NWA_12269_3.txtr
Spot 3 on slab; 3000 msec; 20 spectra averaged.

NWA 12269
PSF 220518_004_532_NWA_12269_4.txtr
Spot 4 on slab; 2000 msec; 20 spectra averaged.

++++++

NWA 11288-c
PSF 220526_001_532_NWA_11288-c_1.txtr
Spot 1 on slab; 3000 msec; 20 spectra averaged.

NWA 11288-c
PSF 220526_002_532_NWA_11288-c_2.txtr
Spot 2 on slab; 1800 msec; 20 spectra averaged.

NWA 11288-c
PSF 220526_003_532_NWA_11288-c_3.txtr
Spot 3 on slab; 5000 msec; 20 spectra averaged.

NWA 11288-c
PSF 220526_004_532_NWA_11288-c_4.txtr
Spot 4 on slab; 5000 msec; 20 spectra averaged.

NWA 11288-c
PSF 220526_005_532_NWA_11288-c_5.txtr
Spot 5 on slab; 5000 msec; 20 spectra averaged.

NWA 11288-c
PSF 220526_006_532_NWA_11288-c_6.txtr
Spot 6 on slab; 5000 msec; 20 spectra averaged.

++++++
NWA 12269
PSF 220526_007_532_NWA_12269_5.txtr
Spot 5 on slab; 3000 msec; 20 spectra averaged.

NWA 12269
PSF 220526_008_532_NWA_12269_6.txtr
Spot 6 on slab; 300 msec; 20 spectra averaged.

NWA 12269
PSF 220526_009_532_NWA_12269_7.txtr
Spot 7 on slab; 560 msec; 20 spectra averaged.

NWA 12269
PSF 220526_010_532_NWA_12269_8.txtr
Spot 8 on slab; 2000 msec; 20 spectra averaged.

++++++

Zagami
PSF 220620_001_Zagami_1.txtr

Spot 1 on slab; 10000 msec; 20 spectra averaged.

Zagami
PSF 220620_002_Zagami_2.txtr

Spot 2 on slab; 8000 msec; 20 spectra averaged.

Zagami
PSF 220620_003_Zagami_3.txtr

Spot 3 on slab; 4000 msec; 20 spectra averaged.

Zagami
PSF 220620_004_Zagami_4.txtr

Spot 4 on slab; 10000 msec; 20 spectra averaged.

Zagami
PSF 220620_005_Zagami_5.txtr

Spot 5 on slab; 4000 msec; 20 spectra averaged.

Zagami
PSF 220620_006_Zagami_6.txtr

Spot 6 on slab; 4000 msec; 20 spectra averaged.

Zagami
PSF 220620_007_Zagami_7.txtr

Spot 7 on slab; 10000 msec; 20 spectra averaged.

Zagami
PSF 220620_008_Zagami_8.txtr

Spot 8 on slab; 8000 msec; 20 spectra averaged.

++++++

NWA 11288-c
PSF 220620_009_NWA_11288-c_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 11288-c
PSF 220620_010_NWA_11288-c_8.txtr
Spot 8 on slab; 2000 msec; 20 spectra averaged.

++++++

NWA 12594
PSF 220620_011_NWA_12594_1.txtr
Spot 1 on slab; 7000 msec; 20 spectra averaged.

NWA 12594
PSF 220621_002_NWA_12594_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 12594
PSF 220621_003_NWA_12594_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 12594
PSF 220621_004_NWA_12594_4.txtr
Spot 4 on slab; 800 msec; 20 spectra averaged.

NWA 12594
PSF 220621_005_NWA_12594_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

NWA 12594
PSF 220621_006_NWA_12594_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

NWA 12594
PSF 220621_007_NWA_12594_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 12594
PSF 220621_008_NWA_12594_8.txtr
Spot 8 on slab; 10000 msec; 20 spectra averaged.

++++++
Sueilila 002
PSF 220621_008_532_Sueilia_002_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_009_532_Sueilia_002_2.txtr
Spot 2 on slab; 4000 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_010_532_Sueilia_002_3.txtr
Spot 3 on slab; 3000 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_011_532_Sueilia_002_4.txtr
Spot 4 on slab; 4000 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_012_532_Sueilia_002_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_013_532_Sueilia_002_6.txtr
Spot 6 on slab; 500 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_014_532_Sueilia_002_7.txtr
Spot 7 on slab; 3000 msec; 20 spectra averaged.

Sueilila 002
PSF 220621_015_532_Sueilia_002_8.txtr
Spot 8 on slab; 6000 msec; 20 spectra averaged.

++++++

NWA 7397
PSF 220621_016_532_NWA_7397_1.txtr
Spot 1 on slab; 1300 msec; 20 spectra averaged.

NWA 7397
PSF 220621_017_532_NWA_7397_2.txtr
Spot 2 on slab; 3000 msec; 20 spectra averaged.

NWA 7397
PSF 220621_018_532_NWA_7397_3.txtr
Spot 3 on slab; 450 msec; 20 spectra averaged.

NWA 7397
PSF 220621_019_532_NWA_7397_4.txtr
Spot 4 on slab; 2000 msec; 20 spectra averaged.

NWA 7397
PSF 220622_001_532_NWA_7397_5.txtr
Spot 5 on slab; 2000 msec; 20 spectra averaged.

NWA 7397
PSF 220622_002_532_NWA_7397_6.txtr
Spot 6 on slab; 1500 msec; 20 spectra averaged.

NWA 7397
PSF 220622_003_532_NWA_7397_7.txtr
Spot 7 on slab; 7000 msec; 20 spectra averaged.

NWA 7397
PSF 220622_004_532_NWA_7397_8.txtr
Spot 8 on slab; 1500 msec; 20 spectra averaged.

++++++
NWA 13669
PSF 220711_001_NWA_13669_powder_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 220711_002_NWA_13669_powder_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 220711_003_NWA_13669_powder_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 220711_004_NWA_13669_powder_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 220711_005_NWA_13669_powder_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

++++++

NWA 13669
PSF 230105_004_532_NWA_13669_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_005_532_NWA_13669_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_006_532_NWA_13669_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_007_532_NWA_13669_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_008_532_NWA_13669_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_009_532_NWA_13669_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_010_532_NWA_13669_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

NWA 13669
PSF 230105_011_532_NWA_13669_8.txtr
Spot 8 on slab; 10000 msec; 20 spectra averaged.

+++++++++

+++++++++November 2023 Raman++++++

Plateau De Tademait 008
PSF 231117_001_532_Plateau_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_002_532_Plateau_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_003_532_Plateau_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_004_532_Plateau_4.txtr
Spot 4 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_005_532_Plateau_5.txtr
Spot 5 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_006_532_Plateau_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_007_532_Plateau_7.txtr
Spot 7 on slab; 7000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_008_532_Plateau_8.txtr
Spot 8 on slab; 5000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_009_532_Plateau_9.txtr
Spot 9 on slab; 10000 msec; 20 spectra averaged.

Plateau De Tademait 008
PSF 231117_010_532_Plateau_10.txtr
Spot 10 on slab; 10000 msec; 20 spectra averaged.

++++++++
Amgala 001
PSF 231101_001_532_Amgala_001_1.txtr
Spot 1 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_002_532_Amgala_001_2.txtr
Spot 2 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_003_532_Amgala_001_3.txtr
Spot 3 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_004_532_Amgala_001_4.txtr
Spot 4 on slab; 9000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_005_532_Amgala_001_5.txtr
Spot 5 on slab; 4000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_006_532_Amgala_001_6.txtr
Spot 6 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_007_532_Amgala_001_7.txtr
Spot 7 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_008_532_Amgala_001_8.txtr
Spot 8 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_009_532_Amgala_001_9.txtr
Spot 9 on slab; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 231101_010_532_Amgala_001_1o.txtr
Spot 10 on slab; 10000 msec; 20 spectra averaged.

++++++++++++++++++++++++

(ii) Spots on powders; iRaman 532; 174-4002 cm-1; 4 cm-1 resolution. Directory: 230317 Mars Meteorite Powders; 230321 Mars Meteorite Powders; 230322 Mars Meteorite Powders; 231110Mars Meteorite Powder; 240126 Mars Meteorite Powder].

Amgala 001
PSF 240126_001_532_Amgala001_1.txtr
Spot 1 of <1 mm powder; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 240126_002_532_Amgala001_2.txtr
Spot 2 of <1 mm powder; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 240126_003_532_Amgala001_3.txtr
Spot 3 of <1 mm powder; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 240126_004_532_Amgala001_4.txtr
Spot 4 of <1 mm powder; 10000 msec; 20 spectra averaged.

Amgala 001
PSF 240126_005_532_Amgala001_5.txtr
Spot 5 of <1 mm powder; 10000 msec; 20 spectra averaged.

+++++++

NWA 11288(-b)
PSF 230317_001_532_NWA_11288(-b)_1.txtr
<150 µm powder, shot 1; 6000 msec; 20 averaged.

NWA 11288(-b)
PSF 230317_002_532_NWA_11288(-b)_2.txtr
<150 µm powder, shot 2; 10000 msec; 20 averaged.

NWA 11288(-b)
PSF 230317_003_532_NWA_11288(-b)_3.txtr
<150 µm powder, shot 3; 10000 msec; 20 averaged.

NWA 11288(-b)
PSF 230317_004_532_NWA_11288(-b)_4.txtr
<150 µm powder, shot 4; 10000 msec; 20 averaged.

NWA 11288(-b)
PSF 230317_005_532_NWA_11288(-b)_5.txtr
<150 µm powder, shot 5; 10000 msec; 20 averaged.

++++++++++++

NWA 12241
PSF 231110_001_532_NWA_12241_powder_1.txtr
Spot 1 of saw-cut powder; 10000 msec; 20 spectra averaged.

NWA 12241
PSF 231110_0021_532_NWA_12241_powder_1.txtr
Spot 2 of saw-cut powder; 10000 msec; 20 spectra averaged.

NWA 12241
PSF 231110_003_532_NWA_12241_powder_1.txtr
Spot 3 of saw-cut powder; 10000 msec; 20 spectra averaged.

NWA 12241
PSF 231110_004_532_NWA_12241_powder_1.txtr
Spot 4 of saw-cut powder; 10000 msec; 20 spectra averaged.

NWA 12241
PSF 231110_005_532_NWA_12241_powder_1.txtr
Spot 5 of saw-cut powder; 10000 msec; 20 spectra averaged.

++++++++++

NWA 12594
PSF 230321_001_532_NWA_12594_1.txtr
<150 µm powder, shot 1; 10000 msec; 20 averaged.

NWA 12594
PSF 230321_002_532_NWA_12594_2.txtr
<150 µm powder, shot 2; 10000 msec; 20 averaged.

NWA 12594
PSF 230321_003_532_NWA_12594_3.txtr
<150 µm powder, shot 3; 10000 msec; 20 averaged.

NWA 12594
PSF 230321_004_532_NWA_12594_4.txtr
<150 µm powder, shot 4; 10000 msec; 20 averaged.

NWA 12594
PSF 230321_005_532_NWA_12594_5.txtr
<150 µm powder, shot 5; 10000 msec; 20 averaged.

+++++++++

NWA 12269
PSF 230321_006_532_NWA_12269_1.txtr
<150 µm powder, shot 1; 7000 msec; 20 averaged.

NWA 12269
PSF 230321_007_532_NWA_12269_2.txtr
<150 µm powder, shot 2; 3500 msec; 20 averaged.

NWA 12269
PSF 230321_008_532_NWA_12269_3.txtr
<150 µm powder, shot 3; 9000 msec; 20 averaged.

NWA 12269
PSF 230321_009_532_NWA_12269_4.txtr
<150 µm powder, shot 4; 10000 msec; 20 averaged.

NWA 12269
PSF 230321_010_532_NWA_12269_5.txtr
<150 µm powder, shot 5; 1400 msec; 20 averaged.

+++++++++++
NWA 13669
PSF 230322_001_532_NWA_13669_1.txtr
<150 µm powder, shot 1; 8000 msec; 20 averaged.

NWA 13669
PSF 230322_002_532_NWA_13669_2.txtr
<150 µm powder, shot 2; 10000 msec; 20 averaged.

NWA 13669
PSF 230322_003_532_NWA_13669_3.txtr
<150 µm powder, shot 3; 10000 msec; 20 averaged.

NWA 13669
PSF 230322_004_532_NWA_13669_4.txtr
<150 µm powder, shot 4; 10000 msec; 20 averaged.

NWA 13669
PSF 230322_005_532_NWA_13669_5.txtr
<150 µm powder, shot 5; 8000 msec; 20 averaged.

+++++++++++

NWA 7397
PSF 230322_006_532_NWA_7397_1.txtr
<150 µm powder, shot 1; 4000 msec; 20 averaged.

NWA 7397
PSF 230322_007_532_NWA_7397_2.txtr
<150 µm powder, shot 2; 2500 msec; 20 averaged.

NWA 7397
PSF 230322_008_532_NWA_7397_3.txtr
<150 µm powder, shot 3; 6000 msec; 20 averaged.

NWA 7397
PSF 230322_009_532_NWA_7397_4.txtr
<150 µm powder, shot 4; 5900 msec; 20 averaged.

NWA 7397
PSF 230322_010_532_NWA_7397_5.txtr
<150 µm powder, shot 5; 10000 msec; 20 averaged.

+++++++++
Plateau Du Tademait 008
PSF 240126_006_532_Plateau_du_Tademait008_1.txtr
Spot 1 of <1 mm powder; 10000 msec; 20 spectra averaged.

Plateau Du Tademait 008
PSF 240126_007_532_Plateau_du_Tademait008_2.txtr
Spot 2 of <1 mm powder; 10000 msec; 20 spectra averaged.

Plateau Du Tademait 008
PSF 240126_008_532_Plateau_du_Tademait008_3.txtr
Spot 3 of <1 mm powder; 10000 msec; 20 spectra averaged.

Plateau Du Tademait 008
PSF 240126_009_532_Plateau_du_Tademait008_4.txtr
Spot 4 of <1 mm powder; 10000 msec; 20 spectra averaged.

Plateau Du Tademait 008
PSF 240126_010_532_Plateau_du_Tademait008_5.txtr
Spot 5 of <1 mm powder; 10000 msec; 20 spectra averaged.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.9d. Anomalous Achondrites and components
16.9.1d. Samples from University of Winnipeg

NWA 6685
PSF 201030a0007.asd
<850 µm powder (from slab); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

NWA 6685
PSF 201016a0006.asd
slab, spot 1; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

NWA 6685
PSF 201016a0007.asd
slab, spot 2; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201016 Meteorites CM].

++++++++++++++++++++++++++++++++

16.9.2d. Samples from Vishnu Reddy

(i) NWA6704

NWA6704
PSF 111105b.001
Chip; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (directory: 111105_HED6).

NWA6704
PSF 111105b.002
<150 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (directory: 111105_HED6).

NWA6704
PSF 140404a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (directory: 111105_HED6).

NWA6704
PSF nwa6704.spec
<45 μm; i=30°, e=0°; 0.4-1.1 μm; ~0.5 nm resolution; 500 spectra averaged; Maya (directory: nwa6704 maya).

NWA6704
PSF nwa6704.spec
<45μm; i=30°, e=0°, 0.2-0.4 μm; ~0.5 nm resolution; 200 spectra averaged; Maya (directory: nwa6704 sub45\uv).
NWA6704
PSF nwa6704
<45 μm; i=30°, e=0°; 8500-400 cm-1; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 (directory: ftir nwa6704).

NWA6704
PSF 141002a.001
<25 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD. (directory: 141002 Mets).


++++++

NWA6704
PSF nwa6704.spec
<45 μm; i=30°, e=0°; 0.2-0.4 μm usable spectral range; ~0.4 nm resolution; 200 spectra averaged; Maya spectrometer. (directory: nwa6704 sub45\uv; 140406).
NWA6704
PSF nwa6704.spec
<45 μm; i=30°, e=0°; 0.4-1.113 μm usable spectral range; ~0.4 nm resolution; 500 spectra averaged; Maya spectrometer. (directory: nwa6704 maya; 140404).

++++++

NWA6704
PSF ftir nwa6704
<45 μm; i=30°, e=0°; 8500-400 cm-1 (~1.18-25 μm); 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 spectrometer. (directory: ftir nwa6704).
+++++++++++++++++++++++++++++++++++
(ii) NWA7325

Note: sample consists of coarse grains, many of which show evidence of rusting. Sample was separated into “clean – (c)” and “altered –(a) (rusty)” fractions prior to analysis. Sample spectra were shot on the as-received sample, then crushed and dry sieved to <150 µm, shot, and then crushed again to <45 µm. XRD analysis was performed on the <45 µm fraction.
NWA7325-a 
PSF 150416a.001
>1000 µm (altered fraction; as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Project Vishnu 7325].

NWA7325-c 
PSF 150416a.002
>1000 µm (clean fraction; as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Project Vishnu 7325].

NWA7325-a 
PSF 150416a.003
<150 µm (altered fraction; as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Project Vishnu 7325].

NWA7325-c 
PSF 150416a.004
<150 µm (clean fraction; as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Project Vishnu 7325].

NWA7325-a 
PSF 150416a.006
<45 µm (altered fraction; as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Project Vishnu 7325].

NWA7325-c 
PSF 150416a.007
<45 µm (clean fraction; as-received); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Project Vishnu 7325].

++++++

NWA7325-c 
PSF nwa7325 Clean peb
>1000 µm (clean fraction; as-received); i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resol.; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: nwa7325 ftir].

NWA7325-a 
PSF nwa7325 alter peb
>1000 µm (altered fraction; as-received); i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resol.; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: nwa7325 ftir].

NWA7325-c 
PSF nwa7325 Clean sub150
<150 µm (clean fraction; as-received); i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resol.; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: nwa7325 ftir].

NWA7325-a 
PSF nwa7325 Alter sub150
<150 µm (altered fraction; as-received); i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resol.; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: nwa7325 ftir].

NWA7325-c 
PSF nwa7325 Clean sub45
<45 µm (clean fraction; as-received); i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resol.; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: nwa7325 ftir].

NWA7325-a 
PSF nwa7325 alter sub45
<45 µm (altered fraction; as-received); i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resol.; 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: nwa7325 ftir].

+++++++++++++++++++++++++++++++++
16.9.3d. Achondrites – ungrouped: Royal Ontario Museum

NWA 2976
PSF 16104a.013
slab, polished side; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2976
PSF 16104a.014
slab, rougher side; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 5363
PSF 16104a.018
slab, spot A (bright area); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 5363
PSF 16104a.019
slab, spot B (silicate inclusion); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 5363
PSF 16104a.020
slab, spot C (dark spot); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 5400
PSF 16104a.009
slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 5517
PSF 161013a.045
slab, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 5517
PSF 161013a.046
slab, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++

NWA 6292
PSF 16104a.003
slab, side A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 6292
PSF 16104a.004
slab, side B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 6693
PSF 161013a.084
slab, rough surface, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 6693
PSF 161013a.084
slab, rough surface, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++

NWA 6962
PSF 161013a.062
slab, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 6962
PSF 161013a.063
slab, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++

NWA 7680
PSF 161013a.039
slab, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory: 161013 ROM Meteorites].

NWA 7680
PSF 161013a.040
slab, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7680
PSF 161013a.041
saw-cut powder (unsorted) ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory: 161013 ROM Meteorites].

NWA 7680
PSF 161013a.041
saw-cut powder (unsorted) ; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; repacked and reshot; new ASD [Directory: 161013 ROM Meteorites].

++++++++++++++++++++++++++++++++++++
16.9.4d. Ungrouped achondrites – from Matt Izawa (Misasa Institute)

NWA 4587
PSF 180516b00007.asd
Slab, spot 1; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180516 cr and nwa 4587].
NWA 4587
PSF 180516b00008.asd
Slab, spot 2; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180516 cr and nwa 4587].
NWA 4587
PSF 180516b00009.asd
Slab, spot 3; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180516 cr and nwa 4587].
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.10d. Brachinites and components
16.10.2d. University of North Dakota samples

MET400
PSF 090127a.006
unsorted powder (<250 µm?), 30°/0°, 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

++++++++++++++++++++++++++++++++++
16.10.3d. Brachinites from the Royal Ontario Museum – July 2015
NWA 4872
PSF a3
unsorted, saw-cut fine powder; i=30°, e=0°; 1.4-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 reflectance [Directory: 150624 meteorites].

NWA 4872
PSF meteorite 4872
unsorted saw-cut fine powder; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 500 spectra averaged; ASD [Directory: 150624 oxalates + meteorites].

++++++October 2016 spectra measured on-site++++
NWA 4872
PSF 161013a.024
saw-cut powder (unsorted); i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4872
PSF 161013a.025
saw-cut powder (unsorted ; separate split); i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4872
PSF 161013a.026
slab (highly polished), spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4872
PSF 161013a.027
slab (highly polished), spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++

NWA 7828
PSF 161013a.034
saw-cut slab face (matte finish), spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7828
PSF 161013a.035
saw-cut slab face (matte finish), spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7828
PSF 161013a.036
saw-cut slab face (matte finish), spot C; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7828
PSF 161013a.037
saw-cut powder (unsorted); i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7828
PSF 161013a.038
saw-cut powder (unsorted), separate split; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11d. Howardites, Eucrites and Diogenites (HEDs) and components 

16.11.1d. University of Winnipeg samples

Taoudenni (NWA5178)
PSF 201030a00052.asd
<45 µm powder (saw-cut fines); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 201030 meteorites].

(i) Whole-rock reflectance spectra; spots on slabs (images available)

Whole rock, spot on slab; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directories: 220727 Lunar Meteorite; 220728s; 221011 HED Meteorite].

NWA 11081
PSF 2210110a00001.asd
Spot 1

NWA 11081
PSF 221011a00002.asd
Spot 2

NWA 11081
PSF 221011a00003.asd
Spot 3

NWA 11081
PSF 221011a00004.asd
Spot 4

NWA 11081
PSF 221011a00005.asd
Spot 5

NWA 11081
PSF 221011a00006.asd
Spot 6

NWA 11081
PSF 221011a00007.asd
Spot 7

NWA 11081
PSF 221011a00008.asd
Spot 8

NWA 11081
PSF 221011a00009.asd
Spot 9

NWA 11081
PSF 221011a00010.asd
Spot 10

NWA 11081
PSF 221011a00011.asd
Spot 11

NWA 11081
PSF 221011a00012.asd
Spot 12

++++++++++++++++++++++++++++

Whole rock, spot on slab; and powders; i=30°, e=0°; 350-2500 nm; 1 nm output; 500 spectra averaged; ASD 4 [Directories: 230615 Meteorites; 230619 Eurcrite Meteorites].

NWA 8743
PSF 230615a.00010.asd
Spot on slab; spot 1: light white small circle

NWA 8743
PSF 230615a.00011.asd
Spot on slab; spot 2: really dark spot

NWA 8743
PSF 230615a.00012.asd
Spot on slab; spot 3: light corner spot

NWA 8743
PSF 230615a.00013.asd
Spot on slab; spot 4: dark corner

NWA 8743
PSF 230615a.00014.asd
Spot on slab; spot 5: dark corner

NWA 8743
PSF 230615a.00015.asd
Spot on slab; spot 6: white spot

NWA 8743
PSF 230615a.00016.asd
Spot on slab; spot 7: dark middle

NWA 8743
PSF 230615a.00017.asd
Spot on slab; spot 8: dark middle

NWA 8743
PSF 230619a.00001.asd
<125 micron powder

+++++++

NWA 12265
PSF 230615a.00001.asd
Spot on slab; spot 1: large white spot
NWA 12265
PSF 230615a.00002.asd
Spot on slab; spot 2: red spot

NWA 12265
PSF 230615a.00003.asd
Spot on slab; spot 3: dark gray spot

NWA 12265
PSF 230615a.00004.asd
Spot on slab; spot 4: average gray spot

NWA 12265
PSF 230615a.00005.asd
Spot on slab; spot 5: tiny white spot

NWA 12265
PSF 230615a.00006.asd
Spot on slab; spot 6: split white area

NWA 12265
PSF 230615a.00007.asd
Spot on slab; spot 7: dark brown spot

NWA 12265
PSF 230615a.00008.asd
Spot on slab; spot 8: white line with red spot

NWA 12265
PSF 230619a.00002.asd
<125 micron powder

(ii) iRaman spectra; spots on slabs; 174-4002 cm-1; 4 cm-1 resolution [Directry: 221215 HED].

NWA 11081
PSF 221215_001_532_NWA_11081_1.txtr
Slab, spot 1; 3000 msec; 20 spectra averaged.

NWA 11081
PSF 221215_002_532_NWA_11081_2.txtr
Slab, spot 2; 370 msec; 20 spectra averaged.

NWA 11081
PSF 221215_003_532_NWA_11081_3.txtr
Slab, spot 3; 6000 msec; 20 spectra averaged.

NWA 11081
PSF 221215_004_532_NWA_11081_4.txtr
Slab, spot 4; 5000 msec; 20 spectra averaged.

NWA 11081
PSF 221215_005_532_NWA_11081_5.txtr
Slab, spot 5; 1000 msec; 20 spectra averaged.

NWA 11081
PSF 221215_006_532_NWA_11081_6.txtr
Slab, spot 6; 10000 msec; 20 spectra averaged.

NWA 11081
PSF 221215_007_532_NWA_11081_7.txtr
Slab, spot 7; 1300 msec; 20 spectra averaged.

NWA 11081
PSF 221215_008_532_NWA_11081_8.txtr
Slab, spot 8; 10000 msec; 20 spectra averaged.

NWA 11081
PSF 221215_009_532_NWA_11081_9.txtr
Slab, spot 9; 1300 msec; 20 spectra averaged.

NWA 11081
PSF 221215_010_532_NWA_11081_10.txtr
Slab, spot 10; 1150 msec; 20 spectra averaged.

++++++

16.11.2d. University of North Dakota samples

16.11.2.1d. Eucrites
mjg216
PSF mjg216
unsorted powder, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg216
PSF 091112a.001
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg216
PSF 091112a.002
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++

mjg228
PSF mjg228
<37 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg228
PSF moama37
<37 µm, 30°/0°, 0.35-0.86 μm, 30 msec, 1000 avg., ~0.3 nm resol.; Ocean Optics (090430oo directory).

mjg228
PSF 091118a.005
<37 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg228
PSF 091118a.006
<37 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.
mjg228
PSF mjg228
<37 µm; i=e=0° (bifurcated cable); corrected to DUV mirror; 0.2-0.45 µm; ~0.5 µm resolution; 200 spectra averaged; Maya spectrometer [Directory: 130717 gaf].
++++++

mjg229
PSF --
vial was empty (091103_Gaffmet directory).

++++++

mjg230
PSF mjg230
37-74 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg230
PSF 091118a.007
37-74 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg230
PSF 091118a.008
37-74 microns; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg230
PSF mjg230
37-74 µm; i=e=0° (bifurcated cable); corrected to DUV mirror; 0.2-0.45 µm; ~0.5 µm resolution; 200 spectra averaged; Maya spectrometer [Directory: 130719 gaf].
++++++

mjg231
PSF mjg231
>74 μm, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg231
PSF 091118a.009
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg231
PSF 091118a.010
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.
mjg231
PSF mjg231
>74 µm; i=e=0° (bifurcated cable); corrected to DUV mirror; 0.2-0.45 µm; ~0.5 µm resolution; 200 spectra averaged; Maya spectrometer [Directory: 130719 gaf].
++++++++MJG231 – phase angle measurements – all relative to Spectralon at i=13°, e=0°++++++
mjg231
PSF 101001a.006
<74 μm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.015
<74 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.024
<74 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.033
<74 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.042
<74 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.051
<74 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.060
<74 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.070
<74 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.080
<74 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

mjg231
PSF 101001a.089
<74 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

+++++++mjg231 (Moama eucrites, <74 μm) mid-IR phase angles++++++++++
All measurements relative to gold standard at i=0°, e=18° (*.DPT files)
mjg231
PSF mjg231 0_15
<74 μm; i=0°, e=15° (15° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 0_18
<74 μm; i=0°, e=18° (18° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 0_30
<74 μm; i=0°, e=30° (30° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 0_45
<74 μm; i=0°, e=45° (45° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 0_60
<74 μm; i=0°, e=60° (60° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 15_15
<74 μm; i=15°, e=15° (30° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 15_30
<74 μm; i=15°, e=30° (15° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 15_45
<74 μm; i=15°, e=45° (60° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 15_60
<74 μm; i=15°, e=60° (75° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 18_0
<74 μm; i=18°, e=0° (18° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 30_0
<74 μm; i=30°, e=0° (30° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 30_15
<74 μm; i=30°, e=15° (45° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 30_30
<74 μm; i=30°, e=30° (60° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 30_45
<74 μm; i=30°, e=45° (75° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 30_60
<74 μm; i=30°, e=60° (90° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 45_15
<74 μm; i=45, e=15° (60° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 45_30
<74 μm; i=45°, e=30° (75° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 45_45
<74 μm; i=45°, e=45° (90° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 45_60
<74 μm; i=45°, e=60° (105° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 60_0
<74 μm; i=60°, e=0° (60° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 60_15
<74 μm; i=60°, e=15° (75° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 60_30
<74 μm; i=60°, e=30° (90° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 60_45
<74 μm; i=60°, e=45° (105° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

mjg231
PSF mjg231 60_60
<74 μm; i=60°, e=60° (120° phase angle) relative to diffuse gold at i=0°, e=18°);  1.6-25 μm (6000-400 cm-1); 15 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70 (directory: mjg231 phase angles).

+++++++++++++++++++++++++++

Moama eucrite (mjg231; 74-250 μm) phase angle measurements, all relative to Spectralon at i=18°, e=0° (ASD)

Format: grain size; i°,e° for standard; i°/e° for sample; wavelength range; spectral resolution; number of spectra averaged; instrument.

mjg231 (Moama)
PSF 110506a.001
74-250 µm; standard: i=18°, e=0°; sample: i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.015
74-250 µm; standard: i=18°, e=0°; sample: i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.018
74-250 µm; standard: i=18°, e=0°; sample: i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.035
74-250 µm; standard: i=18°, e=0°; sample: i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.038
74-250 µm; standard: i=18°, e=0°; sample: i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.048
74-250 µm; standard: i=18°, e=0°; sample: i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.014
74-250 µm; standard: i=18°, e=0°; sample: i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.019
74-250 µm; standard: i=18°, e=0°; sample: i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.034
74-250 µm; standard: i=18°, e=0°; sample: i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.039
74-250 µm; standard: i=18°, e=0°; sample: i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.047
74-250 µm; standard: i=18°, e=0°; sample: i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.010
74-250 µm; standard: i=18°, e=0°; sample: i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.022
74-250 µm; standard: i=18°, e=0°; sample: i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.031
74-250 µm; standard: i=18°, e=0°; sample: i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.042
74-250 µm; standard: i=18°, e=0°; sample: i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.046
74-250 µm; standard: i=18°, e=0°; sample: i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.009
74-250 µm; standard: i=18°, e=0°; sample: i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.023
74-250 µm; standard: i=18°, e=0°; sample: i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.030
74-250 µm; standard: i=18°, e=0°; sample: i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.043
74-250 µm; standard: i=18°, e=0°; sample: i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.045
74-250 µm; standard: i=18°, e=0°; sample: i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.008
74-250 µm; standard: i=18°, e=0°; sample: i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.026
74-250 µm; standard: i=18°, e=0°; sample: i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

mjg231 (Moama)
PSF 110506a.027
74-250 µm; standard: i=18°, e=0°; sample: i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 110506_phases).

+++++++++++++++++++++++
mjg232
PSF mjg232a
fragments – rough surfaces, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg232
PSF mjg232b
largest fragment face, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg232
PSF 091118a.011
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg232
PSF 091118a.012
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

mjg232
PSF mjg232
whole fragments; i=e=0° (bifurcated cable); corrected to DUV mirror; 0.2-0.45 µm; ~0.5 µm resolution; 200 spectra averaged; Maya spectrometer [Directory: 130719 gaf].
++++++

mjg300
PSF mjg300a
cut chip – face 1, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg300
PSF mjg300b
cut chip – face 2, 30°/0°, 0.35-0.86 μm, 30 msec, 300 avg., ~0.3 nm resol.; data are poor, just used to search for 506 nm feature; Ocean Optics (090416oo directory).

mjg300
PSF 091118a.027
chip – cut surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg300
PSF 091118a.028
chip – cut surface; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++++++++++++++++++++++++++++++
16.11.2.2d. Diogenites

mjg212
PSF 091111a.042
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg212
PSF 091111a.043
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.
mjg212
PSF mjg212
<150 µm; i=e=0° (bifurcated cable); corrected to DUV mirror; 0.2-0.45 µm; ~0.5 µm resolution; 200 spectra averaged; Maya spectrometer [Directory: 130719 gaf].
16.11.2. UV spectra with new Maya

Moama 
PSF mjg228
<37 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717gaf].

Moama 
PSF mjg230
37-74 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717gaf].

Moama 
PSF mjg231
>74 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717gaf].

Moama 
PSF mjg232
whole fragments; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717hed].

ALHA77256? 
PSF mjg212
<150 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; probably ALHA77256 (not Y77256); new Maya [Directory: 130717hed].

+++++++++++++++++++++++++++++++++++++

16.11.3d.: (1) HEDs from Germany (first batch) – grain size effects for Millbillillie – ASD spectra
Millbillillie-a
PSF 111122b.001
Millbillillie eucrite, <45 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

Millbillillie-b
PSF 111122b.002
Millbillillie eucrite, 45-90 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

Millbillillie-c
PSF 111122b.003
Millbillillie eucrite, 90-250 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

Millbillillie-d
PSF 111122b.004
Millbillillie eucrite, 250-500 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

+++++++++++++++++++++++++++++++++++

16.11.3d.: (2) Second batch of HEDs from Germany – JaH 626 <250 μm – ASD spectra
JAH626
PSF 110927a.029
<250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output, 200 spectra averaged; ASD [directory: 110927_test].

++++++++++++++++++++++++++++++++++++
16.11.3d.: (3) Second batch of HEDs from Germany – grain size effects – ASD spectra

JAH626,a
PSF 120106a.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

JAH626,b
PSF 120106a.002
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

JAH626,c
PSF 120106a.003
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

JAH626,d
PSF 120106a.004
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA1942,a
PSF 120106a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1942,b
PSF 120106a.006
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1942,c
PSF 120106a.007
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1942,d
PSF 120106a.008
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA1943,a
PSF 120106a.009
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1943,b
PSF 120106a.010
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1943,c
PSF 120106a.011
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1943,d
PSF 120106a.012
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA1836,a
PSF 120106a.013
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1836,b
PSF 120106a.014
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1836,c
PSF 120106a.015
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA1836,d
PSF 120106a.016
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA6477,a
PSF 120106a.017
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA6477,b
PSF 120106a.018
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA6477,c
PSF 120106a.019
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA6477,d
PSF 120106a.020
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

Tatahouine,a
PSF 120106a.021
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

Tatahouine,b
PSF 120106a.022
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

Tatahouine,c
PSF 120106a.023
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

Tatahouine,d
PSF 120106a.024
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

Talampaya,a
PSF 120106a.025
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

Talampaya,b
PSF 120106a.026
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

Talampaya,c
PSF 120106a.027
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

Talampaya,d
PSF 120106a.028
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA2968,a
PSF 120106a.044
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA2968,b
PSF 120106a.045
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA2968,c
PSF 120106a.046
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA2968,d
PSF 120106a.047
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA5748,a
PSF 120106a.048
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA5748,b
PSF 120106a.049
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA5748,c
PSF 120106a.050
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA5748,d
PSF 120106a.051
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA5751,a
PSF 120106a.052
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA5751,b
PSF 120106a.053
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA5751,c
PSF 120106a.054
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA5751,d
PSF 120106a.055
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

++++++

NWA6013,a
PSF 120106a.056
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA6013,b
PSF 120106a.057
45-90 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA6013,c
PSF 120106a.058
90-250 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].

NWA6013,d
PSF 120106a.059
250-500 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; ASD, 200 spectra averaged [directory: 120106 HED].
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.3d. (4) Phase angle measurements on German HEDs – ASD spectra

(4.a). NWA 5751 Howardite

(i) Spectra shot relative to Spectralon at i=0°, e=18° - whole rock (saw-cut surfaces)

NWA 5751
PSF 110718a.101
whole rock surface; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.106
whole rock surface; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.111
whole rock surface; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.116
whole rock surface; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.001
whole rock surface; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.006
whole rock surface; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.011
whole rock surface; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.016
whole rock surface; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.021
whole rock surface; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.026
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.031
whole rock surface; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.036
whole rock surface; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.041
whole rock surface; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.046
whole rock surface; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.051
whole rock surface; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.056
whole rock surface; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.061
whole rock surface; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.066
whole rock surface; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.071
whole rock surface; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.076
whole rock surface; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.081
whole rock surface; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.086
whole rock surface; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.091
whole rock surface; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5751
PSF 110718a.096
whole rock surface; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

+++++++++++++++++++++++

(ii) Spectra shot relative to Spectralon at i=0°, e=18° - <45 μm powders

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5751
PSF 110725a.001
<45 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.021
<45 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751 
PSF 110725a.041
<45 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.061
<45 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110724a.001
<45 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.021
<45 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.041
<45 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.061
<45 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.081
<45 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110725a.081
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.101
<45 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.121
<45 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.141
<45 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.161
<45 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110726a.001
<45 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.021
<45 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.041
<45 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.061
<45 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.081
<45 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110727a.001
<45 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.021
<45 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.041
<45 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.061
<45 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.081
<45 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iii) Spectra shot relative to Spectralon at i=0°, e=18° - 45-90 μm powders

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5751
PSF 110725a.006
45-90 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.026
45-90 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751 
PSF 110725a.046
45-90 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.066
45-90 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110724a.006
45-90 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.026
45-90 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.046
45-90 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.066
45-90 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.086
45-90 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110725a.086
45-90 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.106
45-90 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.126
45-90 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.146
45-90 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.166
45-90 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110726a.006
45-90 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.026
45-90 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.046
45-90 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.066
45-90 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.086
45-90 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110727a.006
45-90 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.026
45-90 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.046
45-90 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.066
45-90 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.086
45-90 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(vi) Spectra shot relative to Spectralon at i=0°, e=18° - 90-250 μm powders

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5751
PSF 110725a.011
90-250 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.031
90-250 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751 
PSF 110725a.051
90-250 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.071
90-250 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110724a.011
90-250 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.031
90-250 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.051
90-250 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.071
90-250 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.091
90-250 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110725a.091
90-250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.111
90-250 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.131
90-250 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.151
90-250 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.171
90-250 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110726a.011
90-250 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.031
90-250 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.051
90-250 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.071
90-250 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.091
90-250 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110727a.011
90-250 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.031
90-250 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.051
90-250 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.071
90-250 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.091
90-250 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(v) Spectra shot relative to Spectralon at i=0°, e=18° - 250-500 μm powders

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5751
PSF 110725a.016
250-500 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.036
250-500 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751 
PSF 110725a.056
250-500 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.076
250-500 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110724a.016
250-500 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.036
250-500 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.056
250-500 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.076
250-500 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110724a.096
250-500 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5751
PSF 110725a.096
250-500 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.116
250-500 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.136
250-500 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.156
250-500 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110725a.176
250-500 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5751
PSF 110726a.016
250-500 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.036
250-500 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.056
250-500 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.076
250-500 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110726a.096
250-500 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5751
PSF 110727a.016
250-500 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.036
250-500 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.056
250-500 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.076
250-500 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5751
PSF 110727a.096
250-500 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11.3d. (4) Phase angle measurements on German HEDs – ASD spectra (continued)
(4.b). NWA 5748 Howardite

(i) Spectra shot relative to Spectralon at i=0°, e=18° - whole rock (saw-cut surfaces)

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA 5748
PSF 110718a.102
whole rock surface; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.107
whole rock surface; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.112
whole rock surface; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.117
whole rock surface; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.002
whole rock surface; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.007
whole rock surface; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.012
whole rock surface; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.017
whole rock surface; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.022
whole rock surface; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.027
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.032
whole rock surface; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.037
whole rock surface; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.042
whole rock surface; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.047
whole rock surface; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.052
whole rock surface; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.057
whole rock surface; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.062
whole rock surface; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.067
whole rock surface; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.072
whole rock surface; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.077
whole rock surface; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.082
whole rock surface; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.087
whole rock surface; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.092
whole rock surface; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 5748
PSF 110718a.097
whole rock surface; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

++++++++++++++++++++++++++++

(ii) Spectra shot relative to Spectralon at i=0°, e=18° -<45 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5748
PSF 110725a.002
<45 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.022
<45 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748 
PSF 110725a.042
<45 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.062
<45 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110724a.002
<45 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.022
<45 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.042
<45 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.062
<45 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.082
<45 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110725a.082
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.102
<45 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.122
<45 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.142
<45 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.162
<45 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110726a.002
<45 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.022
<45 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.042
<45 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.062
<45 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.082
<45 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110727a.002
<45 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.022
<45 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.042
<45 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.062
<45 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.082
<45 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iii) Spectra shot relative to Spectralon at i=0°, e=18° - 45-90 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5748
PSF 110725a.007
45-90 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.027
45-90 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748 
PSF 110725a.047
45-90 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.067
45-90 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110724a.007
45-90 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.027
45-90 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.047
45-90 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.067
45-90 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.087
45-90 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110725a.087
45-90 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.107
45-90 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.127
45-90 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.147
45-90 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.167
45-90 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110726a.007
45-90 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.027
45-90 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.047
45-90 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.067
45-90 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.087
45-90 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110727a.007
45-90 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.027
45-90 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.047
45-90 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.067
45-90 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.087
45-90 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iv) Spectra shot relative to Spectralon at i=0°, e=18° - 90-250 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5748
PSF 110725a.012
90-250 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.032
90-250 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748 
PSF 110725a.052
90-250 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.072
90-250 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110724a.012
90-250 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.032
90-250 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.052
90-250 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.072
90-250 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.092
90-250 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110725a.092
90-250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.112
90-250 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.132
90-250 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.152
90-250 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.172
90-250 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110726a.012
90-250 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.032
90-250 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.052
90-250 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.072
90-250 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.092
90-250 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110727a.012
90-250 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.032
90-250 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.052
90-250 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.072
90-250 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.092
90-250 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(v) Spectra shot relative to Spectralon at i=0°, e=18° - 250-500 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA5748
PSF 110725a.017
250-500 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.037
250-500 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748 
PSF 110725a.057
250-500 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.077
250-500 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110724a.017
250-500 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.037
250-500 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.057
250-500 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.077
250-500 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110724a.097
250-500 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA5748
PSF 110725a.097
250-500 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.117
250-500 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.137
250-500 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.157
250-500 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110725a.177
250-500 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA5748
PSF 110726a.017
250-500 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.037
250-500 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.057
250-500 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.077
250-500 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110726a.097
250-500 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA5748
PSF 110727a.017
250-500 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.037
250-500 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.057
250-500 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.077
250-500 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA5748
PSF 110727a.097
250-500 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11.3d. (4) Phase angle measurements on German HEDs – ASD spectra (continued)
(4.c). NWA 2968 Dunitic diogenite
(i) Spectra shot relative to Spectralon at i=0°, e=18° - whole rock (saw-cut surfaces)

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA 2968
PSF 110718a.103
whole rock surface; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.108
whole rock surface; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.113
whole rock surface; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.118
whole rock surface; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.003
whole rock surface; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.008
whole rock surface; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.013
whole rock surface; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.018
whole rock surface; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.023
whole rock surface; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.028
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.033
whole rock surface; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.038
whole rock surface; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.043
whole rock surface; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.048
whole rock surface; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.053
whole rock surface; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.058
whole rock surface; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.063
whole rock surface; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.068
whole rock surface; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.073
whole rock surface; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.078
whole rock surface; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.083
whole rock surface; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.088
whole rock surface; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.093
whole rock surface; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 2968
PSF 110718a.098
whole rock surface; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

+++++++++++++++++++++++++++++

(ii) Spectra shot relative to Spectralon at i=0°, e=18° - <45 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA2968
PSF 110725a.003
<45 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.023
<45 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968 
PSF 110725a.043
<45 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.063
<45 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110724a.003
<45 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.023
<45 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.043
<45 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.063
<45 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.083
<45 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110725a.083
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.103
<45 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.123
<45 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.143
<45 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.163
<45 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110726a.003
<45 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.023
<45 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.043
<45 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.063
<45 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.083
<45 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110727a.003
<45 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.023
<45 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.043
<45 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.063
<45 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.083
<45 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iii) Spectra shot relative to Spectralon at i=0°, e=18° - 45-90 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA2968
PSF 110725a.008
45-90 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.028
45-90 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968 
PSF 110725a.048
45-90 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.068
45-90 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110724a.008
45-90 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.028
45-90 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.048
45-90 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.068
45-90 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.088
45-90 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110725a.088
45-90 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.108
45-90 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.128
45-90 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.148
45-90 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.168
45-90 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110726a.008
45-90 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.028
45-90 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.048
45-90 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.068
45-90 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.088
45-90 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110727a.008
45-90 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.028
45-90 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.048
45-90 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.068
45-90 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.088
45-90 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iv) Spectra shot relative to Spectralon at i=0°, e=18° - 90-250 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA2968
PSF 110725a.013
90-250 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.033
90-250 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968 
PSF 110725a.053
90-250 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.073
90-250 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110724a.013
90-250 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.033
90-250 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.053
90-250 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.073
90-250 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.093
90-250 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110725a.093
90-250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.113
90-250 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.133
90-250 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.153
90-250 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.173
90-250 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110726a.013
90-250 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.033
90-250 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.053
90-250 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.073
90-250 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.093
90-250 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110727a.013
90-250 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.033
90-250 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.053
90-250 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.073
90-250 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.093
90-250 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(v) Spectra shot relative to Spectralon at i=0°, e=18° - 250-500 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA2968
PSF 110725a.018
250-500 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.038
250-500 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968 
PSF 110725a.058
250-500 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.078
250-500 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110724a.018
250-500 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.038
250-500 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.058
250-500 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.078
250-500 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110724a.098
250-500 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA2968
PSF 110725a.098
250-500 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.118
250-500 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.138
250-500 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.158
250-500 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110725a.178
250-500 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA2968
PSF 110726a.018
250-500 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.038
250-500 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.058
250-500 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.078
250-500 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110726a.098
250-500 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA2968
PSF 110727a.018
250-500 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.038
250-500 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.058
250-500 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.078
250-500 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA2968
PSF 110727a.098
250-500 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11.3d. (4) Phase angle measurements on German HEDs – ASD spectra (continued)
(4.d). NWA 6013 Olivine-rich diogenite
(i) Spectra shot relative to Spectralon at i=0°, e=18° - whole rock (saw-cut surfaces)

Spectra shot relative to Spectralon at i=0°, e=18°.

NWA 6013
PSF 110718a.104
whole rock surface; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.109
whole rock surface; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.114
whole rock surface; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.119
whole rock surface; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.004
whole rock surface; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.009
whole rock surface; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.014
whole rock surface; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.019
whole rock surface; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.024
whole rock surface; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.029
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.034
whole rock surface; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.039
whole rock surface; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.044
whole rock surface; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.049
whole rock surface; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.054
whole rock surface; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.059
whole rock surface; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.064
whole rock surface; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.069
whole rock surface; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.074
whole rock surface; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.079
whole rock surface; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.084
whole rock surface; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.089
whole rock surface; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.094
whole rock surface; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

NWA 6013
PSF 110718a.099
whole rock surface; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

++++++++++++++++++++++++++++

(ii) Spectra shot relative to Spectralon at i=0°, e=18° - <45 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA6013
PSF 110725a.004
<45 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.024
<45 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013 
PSF 110725a.044
<45 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.064
<45 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110724a.004
<45 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.024
<45 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.044
<45 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.064
<45 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.084
<45 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110725a.084
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.104
<45 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.124
<45 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.144
<45 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.164
<45 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110726a.004
<45 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.024
<45 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.044
<45 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.064
<45 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.084
<45 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110727a.004
<45 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.024
<45 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.044
<45 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.064
<45 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.084
<45 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iii) Spectra shot relative to Spectralon at i=0°, e=18° - 45-90 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA6013
PSF 110725a.009
45-90 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.029
45-90 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013 
PSF 110725a.049
45-90 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.069
45-90 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110724a.009
45-90 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.029
45-90 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.049
45-90 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.069
45-90 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.089
45-90 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110725a.089
45-90 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.109
45-90 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.129
45-90 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.149
45-90 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.169
45-90 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110726a.009
45-90 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.029
45-90 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.049
45-90 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.069
45-90 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.089
45-90 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110727a.009
45-90 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.029
45-90 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.049
45-90 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.069
45-90 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.089
45-90 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iv) Spectra shot relative to Spectralon at i=0°, e=18° - 90-250 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA6013
PSF 110725a.014
90-250 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.034
90-250 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013 
PSF 110725a.054
90-250 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.074
90-250 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110724a.014
90-250 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.034
90-250 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.054
90-250 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.074
90-250 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.094
90-250 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110725a.094
90-250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.114
90-250 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.134
90-250 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.154
90-250 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.174
90-250 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110726a.014
90-250 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.034
90-250 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.054
90-250 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.074
90-250 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.094
90-250 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110727a.014
90-250 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.034
90-250 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.054
90-250 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.074
90-250 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.094
90-250 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(v) Spectra shot relative to Spectralon at i=0°, e=18° - 250-500 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

NWA6013
PSF 110725a.019
250-500 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.039
250-500 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013 
PSF 110725a.059
250-500 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.079
250-500 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110724a.019
250-500 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.039
250-500 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.059
250-500 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.079
250-500 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110724a.099
250-500 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

NWA6013
PSF 110725a.099
250-500 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.119
250-500 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.139
250-500 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.159
250-500 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110725a.179
250-500 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

NWA6013
PSF 110726a.019
250-500 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.039
250-500 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.059
250-500 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.079
250-500 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110726a.099
250-500 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

NWA6013
PSF 110727a.019
250-500 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.039
250-500 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.059
250-500 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.079
250-500 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

NWA6013
PSF 110727a.099
250-500 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11.3d. (4) Phase angle measurements on German HEDs – ASD spectra (continued)
(4.e). Millbillillie eucrite
(i) Spectra shot relative to Spectralon at i=0°, e=18° - whole rock (saw-cut surfaces)

Spectra shot relative to Spectralon at i=0°, e=18°.

Millbillillie
PSF 110718a.105
whole rock surface; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.110
whole rock surface; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie 
PSF 110718a.115
whole rock surface; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.120
whole rock surface; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.005
whole rock surface; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.010
whole rock surface; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.015
whole rock surface; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.020
whole rock surface; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.025
whole rock surface; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.030
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.035
whole rock surface; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.040
whole rock surface; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.045
whole rock surface; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.050
whole rock surface; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.055
whole rock surface; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.060
whole rock surface; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.065
whole rock surface; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.070
whole rock surface; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.075
whole rock surface; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.080
whole rock surface; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.085
whole rock surface; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.090
whole rock surface; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.095
whole rock surface; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

Millbillillie
PSF 110718a.100
whole rock surface; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110718_HED Whole rock].

++++++++++++++++++++++++++++

(ii) Spectra shot relative to Spectralon at i=0°, e=18° - <45 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

Millbillillie
PSF 110725a.005
<45 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.025
<45 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie 
PSF 110725a.045
<45 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.065
<45 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110724a.005
<45 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.025
<45 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.045
<45 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.065
<45 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.085
<45 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110725a.085
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.105
<45 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.125
<45 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.145
<45 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.165
<45 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110726a.005
<45 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.025
<45 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.045
<45 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.065
<45 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.085
<45 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110727a.005
<45 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.025
<45 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.045
<45 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.065
<45 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.085
<45 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iii) Spectra shot relative to Spectralon at i=0°, e=18° - 45-90 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

Millbillillie
PSF 110725a.010
45-90 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.030
45-90 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie 
PSF 110725a.050
45-90 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.070
45-90 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110724a.010
45-90 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.030
45-90 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.050
45-90 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.070
45-90 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.090
45-90 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110725a.090
45-90 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.110
45-90 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.130
45-90 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.150
45-90 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.170
45-90 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110726a.010
45-90 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.030
45-90 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.050
45-90 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.070
45-90 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.090
45-90 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110727a.010
45-90 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.030
45-90 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.050
45-90 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.070
45-90 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.090
45-90 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(iv) Spectra shot relative to Spectralon at i=0°, e=18° - 90-250 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

Millbillillie
PSF 110725a.015
90-250 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.035
90-250 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie 
PSF 110725a.055
90-250 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.075
90-250 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110724a.015
90-250 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.035
90-250 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.055
90-250 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.075
90-250 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.095
90-250 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110725a.095
90-250 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.115
90-250 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.135
90-250 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.155
90-250 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.175
90-250 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110726a.015
90-250 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.035
90-250 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.055
90-250 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.075
90-250 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.095
90-250 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110727a.015
90-250 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.035
90-250 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.055
90-250 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.075
90-250 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.095
90-250 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

++++++++++++++++++++++++++++

(v) Spectra shot relative to Spectralon at i=0°, e=18° - 250-500 μm powder
Spectra shot relative to Spectralon at i=0°, e=18°.

Millbillillie
PSF 110725a.020
250-500 µm; i=0°, e=18°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.040
250-500 μm; i=0°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie 
PSF 110725a.060
250-500 μm; i=0°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.080
250-500 μm; i=0°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110724a.020
250-500 μm; i=18°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.040
250-500 μm; i=15°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.060
250-500 μm; i=15°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.080
250-500 μm; i=15°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110724a.100
250-500 μm; i=15°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110724_HED phases 1].

Millbillillie
PSF 110725a.100
250-500 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.120
250-500 μm; i=30°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.140
250-500 μm; i=30°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.160
250-500 μm; i=30°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110725a.180
250-500 μm; i=30°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110725_HED phases 2].

Millbillillie
PSF 110726a.020
250-500 μm; i=45°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.040
250-500 μm; i=45°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.060
250-500 μm; i=45°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.080
250-500 μm; i=45°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110726a.100
250-500 μm; i=45°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110726_HED phases 3].

Millbillillie
PSF 110727a.020
250-500 μm; i=60°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.040
250-500 μm; i=60°, e=15°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.060
250-500 μm; i=60°, e=30°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.080
250-500 μm; i=60°, e=45°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

Millbillillie
PSF 110727a.100
250-500 μm; i=60°, e=60°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110727_HED phases 4].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11.3d. (5) Phase angle + grain size measurements on German HEDs – ASD spectra 

An extensive series of phase angle measurements was conducted on the following HEDs:

JaH626
<45 μm
45-90 μm
90-250 μm
500-1000 μm
Slab

NWA 1836
<45 μm
45-90 μm
90-250 μm
500-1000 μm
Slab

NWA 1942
<45 μm
45-90 μm
90-250 μm
500-1000 μm
Slab

NWA 6477
<45 μm
45-90 μm
90-250 μm
500-1000 μm
Slab

Talampaya
<45 μm
45-90 μm
90-250 μm
500-1000 μm
Slab

Tatahouine
<45 μm
45-90 μm
90-250 μm
500-1000 μm
Slab

For each of these sample types, phase angle measurements were conducted at the following phase angles, with all measurements made relative to Spectralon at i=18° and e=0°:
i°/e°
i°/e°
i°/e°
i°/e°
i°/e°


0/18
0/30
0/45
0/60
18/0
15/15
15/30
15/45
15/60

30/0
30/15
30/30
30/45
30/60
45/0
45/15
45/30
454/45
45/60

60/0
60/15
60/30
60/45
60/60

For the slabs, three different areas were spectrally characterized at i=30° and e=0° to characterize spectral variability across a slab.

Data are present in the following directories/dates:

111014_HED phase whole rock

111021_HED 2

111024_HED3

111024_HED 4

111024_HED 5

111105_HED 6

111118_HED 7

111122_HED 8

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.3d. (6) Grain size measurements on German HEDs – Bruker Vertex 70 FTIR spectra
NWA5751
PSF nwa5751.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA5751
PSF nwa5751 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA5751
PSF nwa5751 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA5751
PSF nwa5751 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA5751
PSF nwa5751 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

NWA5748
PSF nwa5748.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA5748
PSF nwa5748 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA5748
PSF nwa5748 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA5748
PSF nwa5748 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA5748
PSF nwa5748 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

NWA2968
PSF nwa2968.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA2968
PSF nwa2968 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA2968
PSF nwa2968 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA2968
PSF nwa2968 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA2968
PSF nwa2968 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

NWA6013
PSF nwa6013.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA6013
PSF nwa6013 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA6013
PSF nwa6013 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA6013
PSF nwa6013 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA6013
PSF nwa6013 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

Millbillillie
PSF Millbillillie.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
Millbillillie
PSF Millbillillie sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Millbillillie
PSF Millbillillie 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Millbillillie
PSF Millbillillie 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Millbillillie
PSF Millbillillie 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

++++++
NWA6477
PSF nwa6477.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA6477
PSF nwa6477 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA6477
PSF nwa6477 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA6477
PSF nwa6477 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA6477
PSF nwa6477 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

JaH626
PSF jah626.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
JaH626
PSF jah626 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

JaH 626
PSF jah626 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

JaH626
PSF jah626 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
JaH626
PSF jah626 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

Talampaya
PSF talampaya.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
Talampaya
PSF talampaya sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Talampaya
PSF talampaya 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Talampaya
PSF talampaya 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
Talampaya
PSF talampaya 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

NWA1863
PSF nwa1863.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA1863
PSF nwa1863 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA1863
PSF nwa1863 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA1863
PSF nwa1863 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA1863
PSF nwa1863 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

NWA1943
PSF nwa1943.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA1943
PSF nwa1943 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA1943
PSF nwa1943 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA1943
PSF nwa1943 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA1943
PSF nwa1943 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

NWA1942
PSF nwa1942.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA1942
PSF nwa1942 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA1942
PSF nwa1942 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

NWA1942
PSF nwa1942 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
NWA1942
PSF nwa1942 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

Tatahouine
PSF tatahouine.dpt
whole rock surface; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
Tatahouine
PSF tatahouine sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Tatahouine
PSF tatahouine 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

Tatahouine
PSF tatahouine 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
Tatahouine
PSF tatahouine 250-500.dpt
250-500 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
++++++

PRA04401
PSF pra04401 sub45.dpt
<45 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

PRA04401
PSF pra04401 45-90.dpt
45-90 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.

PRA04401
PSF pra04401 90-250.dpt
90-250 µm; i=30°, e=0°; 1.6-25 µm; 7.71 cm-1 resolution; 2500 spectra avgd; Bruker Vertex 70.
+++++++++++++++++++++++++++++++++
16.11.3.d (7) UV spectra with new Maya

NWA 1942 
PSF nwa1942
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717hed].

Tatahouine 
PSF tata
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717hed].

NWA 1942 
PSF nwa1942
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130717hed].

NWA 1836 
PSF 1836
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

NWA 1943 
PSF 1943
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

NWA 2968 
PSF 2968
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

NWA 2968 
PSF 2968
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; repack and reshoot; new Maya [Directory: 130719HED].

NWA 5748 
PSF 5748
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

NWA 5751 
PSF 5751
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

NWA 6013 
PSF 6013
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

NWA 6477 
PSF 6477
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

JaH 626 
PSF JAH626
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

Millbillillie 
PSF MILLIE
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

Talampaya 
PSF TALAM
<45 µm; i=0°, e=0° (bifurcated cable); 200-400 nm, ~0.5 nm resolution; 200 spectra averaged; corrected to DUV mirror; new Maya [Directory: 130719HED].

++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.4d. Samples from NASA Astromaterials Facility

PRA 04401-a
PSF 111122b.005
PRA 04401 howardite (+ CM2 xenoliths), <45 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

PRA 04401-b
PSF 111122b.006
PRA 04401 howardite (+ CM2 xenoliths), 45-90 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

PRA 04401-c
PSF 111122b.007
PRA 04401 howardite (+ CM2 xenoliths), 90-250 μm; 0.35-2.5 μm; i=30°, e=0°; 1 nm output, 200 spectra averaged; ASD [Directory: 111122PRA].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.5. HED meteorites on loan from Vishnu Reddy (Planetary Science Institute)

NWA 6711
PSF 160201a.001
saw-cut fines; i=30°, e=0ࡤ°; 0.35-2.5 µm; 1 nm output; 250 spectra averaged; ASD [Directory: 160201 nwa6711].

NWA7465
PSF 140310a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory: 140310 met mixes). See also section 16.16 for mixtures of NWA 7465 with Chergach H chondrite light (unshocked lithology).

Dhofar 485
PSF 140609.001
aka VMM201; 100% Dhofar 485 howardite; <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

++++++++++++++++++++++++++
Raman spectra: NWA 10446 diogenite:

NWA 10446
PSF NWA 10446
<64 µm powder; 174-4002 cm-1; ~4 cm-1 resolution; 10,000 ms integration time; 250 spectra averaged [Directory: 171214 meteorites].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.11.6d. HED meteorites shot at the Royal Ontario Museum (October 2016) - samples at the ROM

NWA 7052
PSF 161012a.073
slab 1, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 7052
PSF 161012a.074
slab 1, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 7052
PSF 161012a.075
slab 1, spot C; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 7052
PSF 161012a.076
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161012 ROM Meteorites].

NWA 7052
PSF 161012a.077
saw-cut fines; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; repacked and reshot; new ASD [Directory : 161012 ROM Meteorites].

++++++
Taoudenni
PSF 161013a.028
slab, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Taoudenni
PSF 161013a.029
slab, spot B : inclusion; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Taoudenni
PSF 161013a.030
slab, spot C : inclusion; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Taoudenni
PSF 161013a.031
slab, spot D; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Taoudenni
PSF 161013a.032
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

Taoudenni
PSF 161013a.028
saw-cut powder (separate split); i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.11.7. HED meteorites from Matthew Izawa (Okayama University)

NWA 7831
PSF 2
whole rock; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; 100 spectra averaged; ~0.4 nm resolution, new Maya (directory: 170102 hed).

+++++++
Tighert
PSF 1
whole rock; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; 100 spectra averaged; ~0.4 nm resolution, new Maya (directory: 170102 hed).

Tighert
PSF 3
fine powder; i=0°, e=0° (bifurcated cable); 0.2-0.4 µm; 100 spectra averaged; ~0.4 nm resolution, new Maya (directory: 170102 hed).

Tighert
PSF 170107a.002
unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory: 170107 hed].
Tighert
PSF 170107a.003
unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; different spot on same powder; new ASD [Directory: 170107 hed].

Tighert
PSF 170107a
unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; average of the 2 spectra; new ASD [Directory: 170107 hed].

Tighert
PSF Tighert
unsorted fine powder; i=30°, e=0°; 1.65-25 µm; 6 cm-1 resolution; 2000 spectra averaged; Bruker Vertex 70 [Directory: 170107 hed].

Tighert
PSF 
unsorted fine powder; stitched together UV + average of 2 ASD spectra (at 0.3999 µm) and average of 2 ASD spectra + Bruker Vertex 70 spectrum (at 2.400 µm).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.12d. Ureilites and components
16.12.2d. University of North Dakota samples
mjg227
PSF 091118a.003
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory).

mjg227
PSF 091118a.004
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (091103_Gaffmet directory); repacked and reshot.

++++++++++++++++++++++++++++++++++++++++

16.12.3d. Ureilites -from Pierre Hudon

ALH77257
RELAB c1ph27
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

ALH77257
RELAB bmr1ph027
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

ALH77257
RELAB bkr3ph027
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

ALH77257
JSC d51020.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

ALH81101
RELAB c1ph30
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

ALH81101
RELAB bkr3ph030
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

ALH81101
JSC d51014.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

ALH82130
RELAB c1ph21
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

ALH82130
RELAB bmr1ph021
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

ALH82130
RELAB bkr3ph021
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

DaG319
RELAB c1ph39
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

DaG319
RELAB bkr3ph039
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

EET87517
RELAB c1ph24
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

EET87517
RELAB bmr1ph024
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

EET87517
RELAB bkr3ph024
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

EET87517
JSC d51019.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

EET87720
RELAB c1ph37
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

EET87720
RELAB bkr3ph037
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

EET96042
RELAB c1ph31
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

EET96042
RELAB bkr3ph031
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

EET96042
JSC d51017.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

Goalpara
RELAB c1ph29
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

Goalpara
RELAB bkr3ph029
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

GRA95205
RELAB c1ph23
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

GRA95205
RELAB bmr1ph023
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

GRA95205
RELAB bkr3ph023
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

GRA95205
JSC d51015.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

GRO95575
RELAB c1ph25
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

GRO95575
RELAB bmr1ph025
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

GRO95575
RELAB bkr3ph025
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

GRO95575
JSC d51018.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

Kenna
RELAB c1ph38
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

Kenna
RELAB bkr3ph038
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

LEW88201
RELAB c1ph22
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

LEW88201
RELAB bmr1ph022
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

LEW88201
RELAB bkr3ph022
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

META78008
RELAB c1ph20
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

META78008
RELAB bmr1ph020
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

META78008
RELAB bkr3ph020
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

META78008
JSC d51016.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

MET01085
RELAB c1ph40
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

MET01085
RELAB bkr3ph040
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

Novo Urei
RELAB c1ph28
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

Novo Urei
RELAB bkr3ph028
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

NWA1500
RELAB c1ph18
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

NWA1500
RELAB bmr1ph018
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

NWA1500
RELAB bkr3ph018
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++

PCA82506
RELAB c1ph26
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PCA82506
RELAB bmr1ph026
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

PCA82506
RELAB bkr3ph026
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

PCA82506
JSC d51021.s11
<75 µm, unknown viewing geometry; 0.35-2.1 µm; 4 nm resol.

++++++

Y791538
RELAB c1ph19
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

Y791538
RELAB bmr1ph019
<75 µm, 30°/30°, 2-25 µm, 0.8-121 nm resol., Nicolet.

Y791538
RELAB bkr3ph019
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

Y791538
RELAB c1ph36
<75 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

Y791538
RELAB bkr3ph036
<75 µm, 30°/0°,30°, 0.3-25 µm, 5/0.8-121 nm resol. (RELAB+Nicolet, note change in viewing geometry).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.12.4d. Ureilites from the Royal Ontario Museum

DGR001-014
PSF 161013a.001
slab, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

DGR001-014
PSF 161013a.002
slab, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

DGR001-014
PSF 161013a.003
slab, spot C; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

DGR001-014
PSF 161013a.004
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

DGR001-014
PSF 161013a.005
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged; repacked and reshot ; new ASD [Directory : 161013 ROM Meteorites].

++++++

JaH 054
PSF 161013a.010
slab, spot A; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

JaH 054
PSF 161013a.011
slab, spot B; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

JaH 054
PSF 161013a.012
slab, spot C; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

JaH 054
PSF 161013a.013
slab, spot D; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

JaH 054
PSF 161013a.014
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; new ASD [Directory : 161013 ROM Meteorites].

JaH 054
PSF 161013a.015
saw-cut powder; i=30°, e-0° ; 0.35-2.5 µm ; 1 nm output ; 1000 spectra averaged ; repacked and reshot ; new ASD [Directory : 161013 ROM Meteorites].

++++++

Shishr 007
PSF 211122a.00001.asd
Spot 1 on sawcut face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00002.asd
Spot 2 on sawcut face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00003.asd
Spot 3 on sawcut face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00005.asd
Spot 4 on sawcut face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00006.asd
Spot 1 on polished face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00007.asd
Spot 2 on polished face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00008.asd
Spot 3 on polished face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00009.asd
Spot 4 on polished face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00010.asd
Spot 5 on polished face ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

Shishr 007
PSF 211122a.00011.asd
Spot on outer (fusion) crust ; i=30°, e=0° ; 0.35-2.5 µm ; 1 nm output ; 500 spectra averaged ; ASD4 [Directory : 211122 Shisr 007].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.13d. Angrites

Note: list does not include RELAB archived angrite spectra (see Burbine)

16.13.3. Angrite spectra measured at the Royal Ontario Museum

NWA 2999
PSF 16104a.012
slab spot; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2999
PSF 16104a.023
slab, side A (ROM sample M53440); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2999
PSF 16104a.024
slab, side B (ROM sample M53440); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2999
PSF 16104a.025
slab, spot A (ROM sample M53439); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2999
PSF 16104a.026
slab, spot B (ROM sample M53439); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2999
PSF 16104a.027
saw-cut fines (dry cut) (ROM sample M53439); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 2999
PSF 16104a.028
saw-cut fines (dry cut) (ROM sample M53439); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; separate split ; new ASD [Directory : 161014 ROM Meteorites].

++++++

NWA 4662
PSF 16104a.021
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 4662
PSF 16104a.022
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

++++++

Sahara 9955
PSF 16104a.001
slab, spot A (ROM sample LM51880); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

Sahara 9955
PSF 16104a.002
slab, spot B (ROM sample LM51880); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.14d. Unknown type

16.14.2d. University of North Dakota samples

mjg131
PSF 090828a.006
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory).

mjg131
PSF 090828a.007
unsorted powder; i=30°/e=0°, 0.35-2.5 μm, 1 nm output, 1000 spectra averaged, ASD, (090814Gaffmet directory); repacked and reshot.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.15d. Primitive achondrites

16.15.2d. RELAB spectra

EET84302-1
RELAB c1mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

EET84302-2
RELAB c2mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

EET84302-3
RELAB c3mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

EET84302-4
RELAB c4mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

EET84302-5
RELAB c5mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

EET84302-6
RELAB c6mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

EET84302-7
RELAB c7mb32
unsorted (?), 30°/0°, 0.3-2.6µm, 5 nm.

+++++++++++++++++++++++++++++++
16.15.2. Royal Ontario Museum samples – shot at ROM (Oct. 2016)

NWA 725
PSF 161013a.059
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 725
PSF 161013a.060
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 725
PSF 161013a.061
slab, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 1457
PSF 161013a.074
slab, spot A : middle of slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 1463-3
PSF 161013a.071
saw-cut powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 1463-3
PSF 161013a.072
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 1463-3
PSF 161013a.073
slab, spot B : centered on inclusion; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 4024
PSF 161013a.075
slab, spot A: middle of slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 4875
PSF 161013a.079
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4875
PSF 161013a.080
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4875
PSF 161013a.081
slab, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4875
PSF 161013a.082
saw-cut powder (unsorted); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4875
PSF 161013a.083
saw-cut powder (unsorted); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; repacked and reshot ; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 4883
PSF 161013a.064
slab, spot A : metal-poor or dark; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 4883
PSF 161013a.065
slab, spot B: middle of slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 5980
PSF 161013a.069
slab, spot A: metal-poor; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 5980
PSF 161013a.070
slab, spot B: metal-poor; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 5980
PSF 16104a.053
slab, spot A (metal-poor); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

NWA 5980
PSF 16104a.054
slab, spot B (metal-poor); i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161014 ROM Meteorites].

+++++++

NWA 7474
PSF 161013a.066
slab, spot A: metal-poor; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7474
PSF 161013a.067
slab, spot B: metal-poor; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 7474
PSF 161013a.068
slab, spot C: middle of slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

+++++++

NWA 8422
PSF 161013a.016
slab, spot A; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 8422
PSF 161013a.017
slab, spot B; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 8422
PSF 161013a.018
slab, spot C; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 8422
PSF 161013a.019
slab, spot D; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 8422
PSF 161013a.020
saw-cut powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; new ASD [Directory : 161013 ROM Meteorites].

NWA 8422
PSF 161013a.021
saw-cut powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 1000 spectra averaged; repacked and reshot ; new ASD [Directory : 161013 ROM Meteorites].
++++++++++++++++++++++++++++++++++
16.15.4.d. Primitive achondrites on loan from NASA Astromaterials Center (Received March 13, 2017)
Note : saw-cut powder is powder collected during dry-cutting (no lubricants) of sample using diamond wire saw.

EET 84302
PSF 201112a.00015.asd
Spot on chunk; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

EET 84302
PSF 201112a.00016.asd
Spot on chunk; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

EET 84302
PSF 201112a.00017.asd
Spot on chunk; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

EET 84302
PSF 201112a.00024.asd
<1000 µm powder – magnetic fraction; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

EET 84302
PSF 201112a.00025.asd
<1000 µm powder – nonmagnetic fraction; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

EET 84302
PSF 201112a.00026.asd
<1000 µm powder – magnetic + nonmagnetic fractions; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

+++++++
GRA 95209
PSF 201112a.00001.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

GRA 95209
PSF 201112a.00002.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

GRA 95209
PSF 201112a.00003.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

GRA 95209
PSF 201112a.00004.asd
Unsorted powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

GRA 95209
PSF 201112a.00030.asd
<1000 µm powder; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

+++++++

MET 01244
PSF 201112a.00005.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

MET 01244
PSF 201112a.00006.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory : 201112 meteorites].

MET 01244
PSF 201112a.00007.asd
Slab, spot on slab; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MET 01244
PSF 201112a.00027.asd
<1000 µm powder – magnetic fraction; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MET 01244
PSF 201112a.00028.asd
<1000 µm powder – nonmagnetic fraction; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

MET 01244
PSF 201112a.00029.asd
<1000 µm powder – magnetic + nonmagnetic fractions; i=30°, e-0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; new ASD [Directory: 201112 meteorites].

+++++++++++++++++++++++++++++++++++++++++++++++

16.16d. Meteorite Mixtures
16.16.2d. University of North Dakota samples: Ordinary chondrite + eucrite mixtures (directory: feb1207)
och45
PSF feb1207.002
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

euc045
PSF feb1207.004
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

03euc045
PSF feb1207.006
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

06euc045
PSF feb1207.008
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

09euc045
PSF feb1207.010
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

12euc045
PSF feb1207.012
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

15euc045
PSF feb1207.014
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

18euc045
PSF feb1207.016
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

20euc045
PSF feb1207.018
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

25euc045
PSF feb1207.020
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

30euc045
PSF feb1207.022
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

35euc045
PSF feb1207.024
<45µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.


++++++
och4590
PSF feb1207.028
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

euc4590
PSF feb1207.030
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

03euc4590
PSF feb1207.032
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

06euc4590
PSF feb1207.034
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

09euc4590
PSF feb1207.036
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

12euc4590
PSF feb1207.038
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

15euc4590
PSF feb1207.040
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

18euc4590
PSF feb1207.042
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

20euc4590
PSF feb1207.044
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

25euc4590
PSF feb1207.046
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

30euc4590
PSF feb1207.048
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

35euc4590
PSF feb1207.050
45-90 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avg.; ASD.

++++++++++++++++++++++++++++++++++++++++++++
16.16.3d. HED + CM2 carbonaceous chondrite mixtures (for Vesta)

Millbillillie eucrite + Murchison CM2 carbonaceous chondrite

VES001

PSF 110816a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES002

PSF 110816a.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES003

PSF 110816a.004
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES004

PSF 110816a.005
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES005

PSF 110816a.006
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES006

PSF 110816a.007
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES007

PSF 110816a.008
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES008

PSF 110816a.009
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

VES009

PSF 110816a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD [Directory: 110816_meteorite mix].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.4d. Meteorite and glass from Paul Buchanan (August 2013)

Sample used to produce mixtures of an HED + glass (glass made from the HED). The HED is the howardite EET87503. 

MGM01
PSF 130926a.001
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM02
PSF 130926a.003
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM03
PSF 130926a.004
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM04
PSF 130926a.005
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM05
PSF 130926a.009
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM06
PSF 130926a.006
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM07
PSF 130926a.007
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM08
PSF 130926a.008
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM09
PSF 130926a.002
<300 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (directory: met glass mix).

MGM02
PSF MGM 02.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

MGM03
PSF MGM 03.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

MGM04
PSF MGM 04.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

MGM05
PSF MGM 05.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

MGM06
PSF MGM 06.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

MGM07
PSF MGM 07.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

MGM08
PSF MGM 08.spec
<300 μm; i=30°, e=0°; 0.4-1.13 μm; ~0.3 nm output; 100 spectra averaged; Maya. (directory: Met/Glass Mix).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.5d. NWA 7465 eucrite + Chergach H chondrite (unshocked lithology), <45 μm intimate mixtures

ECM001
PSF 140310a.001
<45 μm (100% NWA 7465 + 0% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

ECM002
PSF 140310a.002
<45 μm (95% NWA 7465 + 5% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

ECM003
PSF 140310a.003
<45 μm (90% NWA 7465 + 10% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

ECM004
PSF 140310a.004
<45 μm (85% NWA 7465 + 15% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

ECM005
PSF 140310a.005
<45 μm (80% NWA 7465 + 20% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

ECM006
PSF 140310a.006
<45 μm (75% NWA 7465 + 25% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

ECM007
PSF 140310a.007
<45 μm (0% NWA 7465 + 100% Chergach light lithology); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; ASD (directory: 140310 met mixes).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.6d. Dhofar 485 howardite + Bassikounou H5 chondrite – powdered intimate mixtures (for Vishnu Reddy)

Dhofar 485
PSF 140416a.001
<45 μm; 100% Dhofar 485 (howardite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM001
PSF 140416a.002
<45 μm; 95% Dhofar 485 (howardite, <45 μm) + 5% Bassikounou (H5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM002
PSF 140416a. 003
<45 μm; 90% Dhofar 485 (howardite, <45 μm) + 10% Bassikounou (H5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM003
PSF 140416a.004
<45 μm; 85% Dhofar 485 (howardite, <45 μm) + 15% Bassikounou (H5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM004
PSF 140416a.005
<45 μm; 80% Dhofar 485 (howardite, <45 μm) + 20% Bassikounou (H5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM005
PSF 140416a.006
<45 μm; 75% Dhofar 485 (howardite, <45 μm) + 25% Bassikounou (H5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM006
PSF 140416a.007
<45 μm; 100% Bassikounou (H5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.7d. Dhofar 485 howardite + Chelyabinsk LL5  chondrite – powdered intimate mixtures (for Vishnu Reddy)

Dhofar 485
PSF 140416a.001
<45 μm; 100% Dhofar 485 (howardite; <45 μm). (VMM007/VMM107); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM101
PSF 140416a.008
<45 μm; 95% Dhofar 485 (howardite, <45 μm) + 5% Chelyabinsk (LL5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM102
PSF 140416a.009
<45 μm; 90% Dhofar 485 (howardite, <45 μm) + 10% Chelyabinsk (LL5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM103
PSF 140416a.010
<45 μm; 85% Dhofar 485 (howardite, <45 μm) + 15% Chelyabinsk (LL5 chondrite, <45 μm); i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM104
PSF 140416a.011
<45 μm; 80% Dhofar 485 (howardite, <45 μm) + 20% Chelyabinsk (LL5 chondrite, <45 μm) ; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM105
PSF 140416a.012
<45 μm; 75% Dhofar 485 (howardite, <45 μm) + 25% Chelyabinsk (LL5 chondrite, <45 μm) ; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

VMM106
PSF 140416a.013
<45 μm; 100% Chelyabinsk (LL5 chondrite, <45 μm) ; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged; 150 W QTH source; ASD (directory: 140416 VMM).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.16.8d. Chergach: shocked H chondrite – mixtures of light and dark lithologies
Chergach

Light (unshocked) and dark (shocked) H chondrite. Also see section 15 (Mixtures) for spectral files of this meteorite for different proportions of the unshocked portion of this meteorite mixed with the NWA 7465 eucrite.


++++++

CMM200
PSF 140310a.008
<45 μm; 100% Chergach dark lithology + 0% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM201
PSF 140310a.009
<45 μm; 90% Chergach dark lithology + 10% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM202
PSF 140310a.010
<45 μm; 80% Chergach dark lithology + 20% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM203
PSF 140310a.011
<45 μm; 70% Chergach dark lithology + 30% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM204
PSF 140310a.012
<45 μm; 60% Chergach dark lithology + 40% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM205
PSF 140310a.013
<45 μm; 50% Chergach dark lithology + 50% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM206
PSF 140310a.014
<45 μm; 40% Chergach dark lithology + 60% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM207
PSF 140310a.015
<45 μm; 30% Chergach dark lithology + 70% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM208
PSF 140310a.016
<45 μm; 20% Chergach dark lithology + 80% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM209
PSF 140310a.017
<45 μm; 10% Chergach dark lithology + 90% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

CMM210
PSF 140310a.018
<45 μm; 0% Chergach dark lithology + 100% Chergach light lithology; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 200 spectra averaged (directory: 140310 met mixes).

++++++
16.16.9 Mreira: shocked L6 ordinary chondrite – mixtures of light and dark lithologies
See also section 16.7.2 for end member spectra

Mreira
PSF 131001a.001
MM01: 100% dark lithology + 0% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.002
MM02: 95% dark lithology + 5% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.003
MM03: 90% dark lithology + 10% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.004
MM04: 80% dark lithology + 20% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.005
MM05: 70% dark lithology + 30% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.006
MM06: 60% dark lithology + 40% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.007
MM07: 50% dark lithology + 50% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.008
MM08: 40% dark lithology + 60% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.009
MM09: 30% dark lithology + 70% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.010
MM10: 20% dark lithology + 80% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.011
MM11: 10% dark lithology + 90% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.012
MM12: 5% dark lithology + 95% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).

Mreira
PSF 131001a.013
MM13: 0% dark lithology + 100% light lithology, <45 μm powder; i=30°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: Mreira Mix).


++++++

Mreira
PSF 131002a.002
MM01: 100% dark lithology + 0% light lithology, <45 μm powder; i=0°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: randoms).

Mreira
PSF 131002a.004
MM07: 50% dark lithology + 50% light lithology, <45 μm powder; i=0°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: randoms).

Mreira
PSF 131002a.003
MM13: 0% dark lithology + 100% light lithology, <45 μm powder; i=0°/e=0°; 0.35-2.5 μm; 1 nm output; ASD; 500 spectra averaged. (Directory: randoms).


++++++

Mreira
PSF 100%D
MM01: 100% dark lithology + 0% light lithology, <45 μm powder; i=0°/e=0°; 0.4-1.13 μm; ~0.3 nm; Maya; 100 spectra averaged. (Directory: 131002 mreira).

Mreira
PSF 50% LD
MM07: 50% dark lithology + 50% light lithology, <45 μm powder; i=0°/e=0°; 0.4-1.13 μm; ~0.3 nm; Maya; 100 spectra averaged. (Directory: 131002 mreira).

Mreira
PSF 100%L
MM13: 0% dark lithology + 100% light lithology, <45 μm powder; i=0°/e=0°; 0.4-1.13 μm; ~0.3 nm; Maya; 100 spectra averaged. (Directory: 131002 mreira).
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.16.10d. Meteorite mixtures on loan from the Planetary Science Institute (Vishnu Reddy)

Dhofar 485 howardite + Thika L6 chondrite – powdered intimate mixtures (for Vishnu Reddy)

VMM201
PSF 140609.001
100% Dhofar 485 howardite, 0% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM202
PSF 140609.002
95% Dhofar 485 howardite, 5% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM203
PSF 140609.003
90% Dhofar 485 howardite, 10% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM204
PSF 140609.004
85% Dhofar 485 howardite, 15% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM205
PSF 140609.005
80% Dhofar 485 howardite, 20% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM206
PSF 140609.006
75% Dhofar 485 howardite, 25% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM207
PSF 140609.007
50% Dhofar 485 howardite, 50% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

VMM208
PSF 140609.008
0% Dhofar 485 howardite, 100% Thika L6; both <45 µm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol. 200 spectra avgd.; ASD (directory: 140609vmm200).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.11a. Meteorite mixtures – University of Winnipeg and Vishnu Reddy

NWA 5748 howardite + Murchison CM2 chondrite (JFB001 sample)
VES300
PSF 120517a.001
100% NWA 5748 howardite, 0% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES301
PSF 120517a.009
0% NWA 5748 howardite, 100% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES302
PSF 120517a.002
95% NWA 5748 howardite, 5% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES303
PSF 120517a.003
90% NWA 5748 howardite, 10% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES304
PSF 120517a.004
80% NWA 5748 howardite, 20% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES305
PSF 120517a.005
70% NWA 5748 howardite, 30% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES306
PSF 120517a.006
60% NWA 5748 howardite, 40% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES307
PSF 120517a.007
50% NWA 5748 howardite, 50% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
VES308
PSF 120517a.008
40% NWA 5748 howardite, 60% Murchison CM2; both <45 µm; i=30°, e=0°; 0.35-2.5 µm; 2-7 nm resolution; 200 spectra avgd; ASD (directory: 120517_meteorite mix).
+++++++++++++++++++++++++++++++
16.16.12d. Meteorite mixtures from Max Planck Institute (Gunni Thangjam) – October 2014
82 samples in total.

Samples used in the mixtures and abbreviations): 


HD:
DaG 779: diogenite-rich howardite

CM:
Jbilet: CM2 carbonaceous chondrite

GL:
Millbillillie glass – glass made from Millbillillie eucrites

HE:
NWA 1929: Eucrite-rich howardite

OL:
Olivine: terrestrial olivine

These abbreviations are used in the mixture descriptions below; numbers following the 2 letter abbreviations refer to the weight percent abundances. The sample/powder preparation of the howardites are done in two ways. Each sample is divided into two halves, and one half is used to prepare samples in just only 0-63 micron size (reference sample), while the other half is used to prepare samples in various grain sizes (0-63, 63-125, 125-250, 250-630).
Sample No. /
MPS #

Mixture Name
PSF File ID
Spectra description

a) HE-GL mixtures; 0-63 μm

1. 2. HE20-GL80
PSF 141201a.010
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
2. 4. HE40-GL60
PSF 141201a.011
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
3. 5. HE50-GL50
PSF 141201a.012
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
4. 6. HE60-GL40
PSF 141201a.013
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
5. 7. HE70-GL30
PSF 141201a.014
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
6. 8. HE80-GL20
PSF 141201a.015
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
7. 9. HE90-GL10
PSF 141201a.016
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
b) HD-GL mixtures; 0-63 μm

8. 2. HD20-GL80
PSF 141201a.017
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
9. 4. HD40-GL60
PSF 141201a.018
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
10. 5. HD50-GL50
PSF 141201a.019
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
11. 6. HD60-GL40
PSF 141201a.020
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
12. 7. HD70-GL30
PSF 141201a.021
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
13. 8. HD80-GL20
PSF 141201a.022
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
14. 9. HD90-GL10
PSF 141201a.023
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
c) HE-CM2 mixtures; 0-63 μm

15. 1. HE10-CM90
PSF 141201a.001
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
16. 2. HE20-CM80
PSF 141201a.002
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
17. 3. HE30-CM70
PSF 141201a.003
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
18. 4. HE40-CM60
PSF 141201a.004
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
19. 5. HE50-CM50
PSF 141201a.005
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
20. 6. HE60-CM40
PSF 141201a.006
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
21. 7. HE70-CM30
PSF 141201a.007
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
22. 8. HE80-CM20
PSF 141201a.008
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
23. 9. HE90-CM10
PSF 141201a.009
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
d) HD-CM2 mixtures; 0-63 μm

24. 1. HD10-CM90
PSF 141201a.024
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
25. 2. HD20-CM80
PSF 141201a.025
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
26. 3. HD30-CM70
PSF 141201a.026
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
27. 4. HD40-CM60
PSF 141201a.027
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
28. 5. HD50-CM50
PSF 141201a.028
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
29. 6. HD60-CM40
PSF 141201a.029
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
30. 7. HD70-CM30
PSF 141201a.030
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
31. 8. HD80-CM20
PSF 141201a.031
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
32. 9. HD90-CM10
PSF 141201a.032
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
e) HD-OL mixtures; 0-63 μm

33. 1. HD10-OL90
PSF 141201a.033
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
34. 2. HD20-OL80
PSF 141201a.034
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
35. 3. HD30-OL70
PSF 141201a.035
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
36. 4. HD40-OL60
PSF 141201a.036
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
37. 5. HD50-OL50
PSF 141201a.037
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
38. 6. HD60-OL40
PSF 141201a.038
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
39. 7. HD70-OL30
PSF 141201a.039
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
40. 8. HD80-OL20
PSF 141201a.040
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
41. 9. HD90-OL10
PSF 141201a.041
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 141201 met mix].
f) HE-OL mixtures; 0-63 μm

42. 1. HE10-OL90
PSF 150107b.001
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
43. 2. HE20-OL80
PSF 150107b.002
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
44. 3. HE30-OL70
PSF 150107b.003
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
45. 4. HE40-OL60
PSF 150107b.004
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
46. 5. HE50-OL50
PSF 150107b.005
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
47. 6. HE60-OL40
PSF 150107b.006
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
48. 7. HE70-OL30
PSF 150107b.007
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
49. 8. HE80-OL20
PSF 150107b.008
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
50. 9. HE90-OL10
PSF 150107b.009
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
g) HE-OL mixtures; 63-125 μm

51. 1. HE10-OL90
PSF 150107b.010
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
52. 2. HE20-OL80
PSF 150107b.011
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
53. 3. HE30-OL70
PSF 150107b.012
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
54. 4. HE40-OL60
PSF 150107b.013
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
55. 5. HE50-OL50
PSF 150107b.014
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
56. 6. HE60-OL40
PSF 150107b.015
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
57. 7. HE70-OL30
PSF 150107b.016
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
58. 8. HE80-OL20
PSF 150107b.017
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
59. 9. HE90-OL10
PSF 150107b.018
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
h) HD-OL mixtures; 63-125 μm

60. 1. HD10-OL90
PSF 150107b.019
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
61. 2. HD20-OL80
PSF 150107b.020
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
62. 3. HD30-OL70
PSF 150107b.021
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
63. 4. HD40-OL60
PSF 150107b.022
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
64. 5. HD50-OL50
PSF 150107b.023
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
65. 6. HD60-OL40
PSF 150107b.024
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
66. 7. HD70-OL30
PSF 150107b.025
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
67. 8. HD80-OL20
PSF 150107b.026
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
68. 9. HD90-OL10
PSF 150107b.027
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
i) Pure samples

69. 1. HE
PSF 150107b.028
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
70. 2. HE
PSF 150107b.029
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
71. 3. HE
PSF 150107b.030
125-250 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
72. 4. HE
PSF 150107b.031
250-630 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
73. 5. HE-all
PSF 150107b.032
<630 μm? ("whole sample/Reference sample, 0-63"; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
74. 1. HD
PSF 150107b.033
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
75. 2. HD
PSF 150107b.034
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
76. 3. HD
PSF 150107b.035
125-250 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
77. 4. HD
PSF 150107b.036
250-630 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
78. 5. HD-all
PSF 150107b.037
<630 μm? ("whole sample/Reference sample, 0-63"); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
79. 1. CM
PSF 150107b.038
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
80. 1. OL
PSF 150107b.039
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
81. 2. OL
PSF 150107b.040
63-125 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
82. 1. GL
PSF 150107b.041
<63 μm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150107 met mix].
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.16.13a. Chelyabinsk LL% chondrite: impact melt fraction + unaltered fraction (from Vishnu Reddy: PSI)
CMM001
PSF 130924a.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM013
PSF 130924a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM002
PSF 130924a.003
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM003
PSF 130924a.004
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM004
PSF 130924a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM005
PSF 130924a.006
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM006
PSF 130924a.007
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM007
PSF 130924a.008
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM008
PSF 130924a.009
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM009
PSF 130924a.010
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM010
PSF 130924a.011
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM011
PSF 130924a.012
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

CMM012
PSF 130924a.013
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: chelya mixtures].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.17d. Tektites
16.17.1d. University of Winnipeg samples

TEK001
PSF 090602a.037
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

TEK001
PSF 090602a.038
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.


++++++
TEK001
PSF 111201a.049
45-90 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

TEK001
PSF 111201a.026
90-1000 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

TEK001
PSF tek001.dpt
<45 μm; 30°/0°; 1.67-25.4 μm; 7.7 cm-1 resolution; 2500 spectra averaged; Bruker Vertex 70; directory: HED minerals MidIR_july 2012).

++++++
TEK003
PSF 090602a.039
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

TEK003
PSF 090602a.040
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
TEK004
PSF 100331a.005
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm resampled; 1000 spectra averaged, ASD.

TEK004
PSF 100331a.006
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 2-7 nm resol., 1 nm resampled; 1000 spectra averaged, ASD.

TEK004
PSF 100412b.001
<45 μm; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD (Directory: 100412_Glassmix).
++++++++++++++++++++++++

(ii) iRaman 532 nm spectra: 174-4002 cm-1 wavelength range; ~4 cm-1 resolution.

TEK004
PSF 210122_006_532_TEK004_spot1.txtr
<45 µm powder; 60000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

TEK004
PSF 210122_007_532_TEK004_spot2.txtr
<45 µm powder; 60000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

TEK004
PSF 210122_008_532_TEK004_spot3.txtr
<45 µm powder; 60000 msec integration time; 10 spectra averaged; [Directory: 210122 LunaR raman].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

16.18d. Impact glasses

16.18.1d. University of Winnipeg samples

SIL130
PSF 090602a.035
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

SIL130
PSF 090602a.036
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
SIL131
PSF 090602a.043
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

SIL131
PSF 090602a.044
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.
++++++++++++

iRaman 532 nm spectra: 174-4002 cm-1 wavelength range; ~4 cm-1 resolution

SIL130
PSF 210128_001_532_SIL130_spot1.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210129 LunaR raman].

SIL130
PSF 210128_002_532_SIL130_spot2.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210129 LunaR raman].

SIL130
PSF 210128_003_532_SIL130_spot3.txtr
<45 µm powder; 20000 msec integration time; 15 spectra averaged; [Directory: 210129 LunaR raman].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.21. Bennu Analogues for testing OSIRIS-REx mineral detection algorithms

(a) ASD spectra

Bruce
PSF 141023a.001
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Natasha
PSF 141023a.002
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Clint
PSF 141023a.003
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Peggy
PSF 141023a.004
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Nick
PSF 141023a.005
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Steve
PSF 141023a.006
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Wanda
PSF 141023a.007
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Tony
PSF 141023a.008
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Bucky
PSF 141023a.009
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

Selina
PSF 141023a.010
Unsorted; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD (directory: 141023 unknowns).

+++++++

Grissom-Vf1
PSF 150723a.001
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Shepard-Vf1
PSF 150723a.002
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Glenn-Vf1
PSF 150723a.003
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Carpenter-Vf1
PSF 150723a.004
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Grissom-Vf2
PSF 150723a.005
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Shepard-Vf2
PSF 150723a.006
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Glenn-Vf2
PSF 150723a.007
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Carpenter-Vf2
PSF 150723a.009
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

++++++

Grissom-Vm1
PSF 150723a.010
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Shepard-Vm1
PSF 150723a.011
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Glenn-Vm1
PSF 150723a.012
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Carpenter-Vm1
PSF 150723a.013
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

++++++

Grissom-Vm2
PSF 150723a.014
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Shepard-Vm2
PSF 150723a.015
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Glenn-Vm2
PSF 150723a.016
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Carpenter-Vm2
PSF 150723a.017
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Grissom-Vm2r
PSF 150723a.018
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Shepard-Vm2r
PSF 150723a.019
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Glenn-Vm2r
PSF 150723a.020
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

Carpenter-Vm2r
PSF 150723a.021
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Orex unknowns].

++++ Second batch of samples+++++
Slayton-Vf1
PSF 150813a.001
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Schirra-Vf1
PSF 150813a.002
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Cooper-Vf1
PSF 150813a.003
Unsorted fine powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Slayton-Vf2
PSF 150813a.004
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Schirra-Vf2
PSF 150813a.005
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Cooper-Vf2
PSF 150813a.006
Unsorted fine powder – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

++++++
Slayton-Vm1
PSF 150813a.007
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Schirra-Vm1
PSF 150813a.008
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Cooper-Vm1
PSF 150813a.009
Unsorted fine powder with coarse grains sprinkled on top; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

++++++

Slayton-Vm2
PSF 150813a.010
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Schirra-Vm2
PSF 150813a.011
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Cooper-Vm2
PSF 150813a.012
Unsorted fine powder with coarse grains mixed in; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Slayton-Vm2r
PSF 150813a.013
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Schirra-Vm2r
PSF 150813a.014
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

Cooper-Vm2r
PSF 150813a.015
Unsorted fine powder with coarse grains mixed in – repacked and reshot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150813 More OREX].

++++++++++++++++++++++++++++++++++++++++++++++++++++

(b) D&P IR spectra

Bruce
PSF bruce.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Bucky
PSF bucky.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Clint
PSF clint.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Natasha
PSF natasha.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Nick
PSF nick.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Peggy
PSF peggy.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Selina
PSF selina.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Steve
PSF steve.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Tony
PSF tony.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

Wanda
PSF wanda.rtx
Unsorted; i=30°, e=0°; 1.96-5 μm; ~3 cm-1 resolution; 100 spectra averaged; D&P spectrometer (directory: OSIRISRex/DP unknowns).

++++++++++++++++++++++++++++++++++++++

(c) Bruker Vertex 70 FTIR spectra

Cooper
PSF Cooper
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX Unknowns].
Shirra
PSF Shirra
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX Unknowns].
Slayton
PSF Slayton
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX Unknowns].
Bruce
PSF Bruce
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Bucky
PSF Bucky
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Carpenter
PSF Carpenter
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Clint
PSF Clint
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Glenn
PSF Glenn
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Grissom
PSF Grissom
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Natasha
PSF Natasha
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Nick
PSF Nick
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Peggy
PSF Peggy
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Selina
PSF Selina
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Shepard
PSF Shepard
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Steve
PSF Steve
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Tony
PSF Tony
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
Wanda
PSF Wanda
Unsorted (fine grained fraction); i=30°, e=0°; 1.43-25 µm; 6 cm-1 resolution; 1500 spectra averaged; boxcar: 2 [Directory: OREX unknowns FTIR].
++++++
Note: ASD and FTIR spectra were also merged in the 2.5 micron region for testing of OSIRIS-Rex mineral detection algorithms. Spectra shot August-September 2015.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.22d. “Fake” Murchison heating experiments
a) Hex-1
++++++Unheated+++++

HASB
PSF 140620a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140620 Pre heating]
HSHU
PSF 140620a.003
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140620 Pre heating]

HTRO
PSF 140620a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140620 Pre heating]

HMAG
PSF 140620a.007
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140620 Pre heating]

WMM
PSF 140620a.009
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140620 Pre heating]

WMM-pre
PSF 140620a.009
<63 µm; dry sample, pre-Parr bomb dry run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140620 Pre heating].

++++++100°C++++++
HASB 100
PSF 140627a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

HSHU 100
PSF 140627a.003
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

HTRO 100
PSF 140627a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

HMAG 100
PSF 140627a.007
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

WMM 100
PSF 140627a.008
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

++++++200°C++++++
HASB 200
PSF 140707a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HSHU 200
PSF 140707a.003
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HTRO 200
PSF 140707a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HMAG 200
PSF 140707a.007
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

WMM 200
PSF 140707a.009
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

++++++300°C++++++
HASB 300
PSF 140627a.002
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

HSHU 300
PSF 140627a.002
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

HTRO 300
PSF 140627a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140627 100 300 heating].

HMAG200 and HWMM200 samples spilled/lost

++++++400°C++++++
HASB 400
PSF 140707a.002
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HSHU 400
PSF 140707a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HTRO 400
PSF 140707a.006
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HMAG 400
PSF 140707a.008
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140707a 200 400 Heating].

HWMM 400
PSF 140729a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140729_Heated500].

++++++500°C+++++
HASB 500
PSF 140729a.003
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140729_Heated500].

HSHU 500
PSF 140729a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140729_Heated500].

HTRO 500
PSF 140729a.005
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140729_Heated500].

HMAG 500
PSF 140729a.006
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140729_Heated500].

HWMM 500
PSF 140729a.002
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140729_Heated500].

++++++600°C++++++

HASB 600
PSF 140807a.002
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140807 heating 600].

HSHU 600
PSF 140807a.003
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140807 heating 600].

HTRO 600
PSF 140807a.004
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140807 heating 600].

HMAG 600
PSF 140807a.005
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140807 heating 600].

HWMM 600
PSF 140807a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 140807 heating 600].

++++++700°C++++++

HASB 700
PSF 141104a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141104 heating 700].

HSHU 700
PSF 141104a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141104 heating 700].

HTRO 700
PSF 141104a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141104 heating 700].

HMAG 700
PSF 141104a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141104 heating 700].

HWMM 700
PSF 141104a.005
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141104 heating 700].

++++++800°C++++++

HASB 800
PSF 141114a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141114 heating 800].

HTRO 800
PSF 141114a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141114 heating 800].

HMAG 800
PSF 141114a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141114 heating 800].

HWMM 800
PSF 141114a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141114 heating 800].

No SHU102 baked (sample cooks off almost completely at ~700°C)

++++++900°C+++++
HASB 900
PSF 141202a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141202 HE 900].

HTRO 900
PSF 141202a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141202 HE 900].

HMAG 900
PSF 141202a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141202 HE 900].

HWMM 900
PSF 141202a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141202 HE 900].

No SHU102 baked (sample cooks off almost completely at ~700°C)

+++++1000°C+++++
HASB 1000
PSF 141219a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141219 HE 1000].

HTRO 1000
PSF 141219a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141219 HE 1000].

HMAG 1000
PSF 141219a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141219 HE 1000].

HWMM 1000
PSF 141219a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: 141219 HE 1000].

No SHU102 baked (sample cooks off almost completely at ~700°C)

++++++1100°C – 1st run++++++

HASB 1100
PSF 141222a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HTRO 1100
PSF 141222a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HMAG 1100
PSF 141222a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HWMM 1100
PSF 141222a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

No SHU102 baked (sample cooks off almost completely at ~700°C)

++++++1100°C – 2nd run++++++
HASB 1100
PSF 150106a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HTRO 1100
PSF 150106a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HMAG 1100
PSF 150106a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HWMM 1100
PSF 150106a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

No SHU102 baked (sample cooks off almost completely at ~700°C)

+++++1200°C++++++

HASB 1200
PSF 150108a.001
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HTRO 1200
PSF 150108a.002
<45 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HMAG 1200
PSF 150108a.003
<20 nm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

HWMM 1200
PSF 150108a.004
<63 µm; i=30°, e=0°; 0.35-2.5 µml 1 nm output; 500 spectra averaged; ASD (Directory: HE 1100 1200].

No SHU102 baked (sample cooks off almost completely at ~700°C)

+++++++++++++++++++++++
b) HEx-2
Jbilet Stay Pre
PSF 150119a.015
<63 µm; unheated; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].
Jbilet Stay 200
PSF 150209b.003
<63 µm; heated to 200°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 300
PSF 150323a.003
<63 µm; heated to 300°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 400
PSF 150409a.003
<63 µm; heated to 400°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 500
PSF 150423a.003
<63 µm; heated to 500°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 600
PSF 150505.003
<63 µm; heated to 600°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 700
PSF 150515a.003
<63 µm; heated to 700°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 800
PSF 150605a.003
<63 µm; heated to 800°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 900
PSF 150609a.003
<63 µm; heated to 900°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 100
PSF 150129a.003
<63 µm; heated to 100°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 1000
PSF 150629a.003
<63 µm; heated to 1000°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 1100
PSF 150630a.003
<63 µm; heated to 1100°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Jbilet Stay 1200
PSF 150703a.003
<63 µm; heated to 1200°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

++++++++++++++++++++++

Murch Stay Pre
PSF 150119a.013
<63 µm; unheated;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 100
PSF 150129a.001
<63 µm; heated to 100°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 200
PSF 150209b.001
<63 µm; heated to 200°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 300
PSF 150323a.001
<63 µm; heated to 300°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 400
PSF 150409a.001
<63 µm; heated to 400°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 500
PSF 150423a.001
<63 µm; heated to 500°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 600
PSF 150505.001
<63 µm; heated to 600°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 700
PSF 150515a.001
<63 µm; heated to 700°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 800
PSF 150605a.001
<63 µm; heated to 800°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 900
PSF 150619a.001
<63 µm; heated to 900°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 1000
PSF 150629a.001
<63 µm; heated to 1000°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 1100
PSF 150630a.001
<63 µm; heated to 1100°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murch Stay 1200
PSF 150703a.001
<63 µm; heated to 1200°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

+++++++++++++New sample for every temperature)+++++++++
Murchison New 100 Pre
PSF 150119a.001
<63 µm; unheated, prior to 100°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 100
PSF 150129a.004
<63 µm; heated to 100°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 200 Pre
PSF 150119a.002
<63 µm; unhteated, prior to 200°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 200
PSF 150209b.004
<63 µm; heated to 200°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 300 Pre
PSF 150119a.003
<63 µm; unhteated, prior to 300°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 300
PSF 150323a.004
<63 µm; heated to 300°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 400 Pre
PSF 150119a.004
<63 µm; unhteated, prior to 400°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 400
PSF 150409a.004
<63 µm; heated to 400°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 500 Pre
PSF 150119a.005
<63 µm; unhteated, prior to 500°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 500
PSF 150423a.004
<63 µm; heated to 500°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 600 Pre
PSF 150119a.006
<63 µm; unhteated, prior to 600°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 600
PSF 150505a.004
<63 µm; heated to 600°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 700 Pre
PSF 150119a.007
<63 µm; unhteated, prior to 700°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 700
PSF 150515a.004
<63 µm; heated to 700°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 800 Pre
PSF 150119a.008
<63 µm; unhteated, prior to 800°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 800
PSF 150605a.004
<63 µm; heated to 800°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 900 Pre
PSF 150119a.009
<63 µm; unhteated, prior to 900°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 900
PSF 150619a.004
<63 µm; heated to 900°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 1000 Pre
PSF 150119a.010
<63 µm; unheated, prior to 1000°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 1000
PSF 150629a.004
<63 µm; heated to 1000°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 1100 Pre
PSF 150119a.011
<63 µm; unhteated, prior to 1100°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 1100
PSF 150630a.004
<63 µm; heated to 1100°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 1200 Pre
PSF 150119a.012
<63 µm; unhteated, prior to 1200°C heating;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

Murchison new 1200
PSF 150703a.004
<63 µm; heated to 1200°C;  i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Hex2 spectra files].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
16.23d. Parr bomb runs on selected meteorites – 

16.23.1. University of Winnipeg
This section describes closed system heating experiments (using Teflon-lined Parr bombs) conducted on the following meteorites:

1. Jbilet: 1 gram of meteorite run dry: 200°C for 104 days.

2. Zag: 1 gram of meteorite + 1 gram of distilled deionized water: 200°C for 111 days.

3. Murchison: 1 gram of meteorite + 1 gram of distilled deionized water: 200°C for 111 days.

4. Murchison: 1 gram of meteorite run dry: 200°C for 111 days.

5. WMM (fake Murchison): 1 gram of sample run dry: 200°C for 111 days.

6. WMM (fake Murchison): 1 gram of sample + 1 gram of distilled deionized water: 200°C for 111 days.

++++++

1. Jbilet

(i) Sealed Parr bomb (heat and pressure)
Jbilet-pre dry
PSF 140723a.004
<63 µm, original sample (pre-Parr bomb); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
Jbilet-post dry
PSF 141107b.012
<63 µm, after 104 days in Parr bomb at 200°C; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].


++++++

(ii) Open Parr bomb (heat only)

Jbilet Pre
PSF 150127a.003
<63 µm; pre-run open Parr bomb sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150127 parr x2 pre].

Jbilet cooked
PSF 150515a.005
<63 µm; post-run open Parr bomb sample (heated for 104 days); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150520 Parr x2 Post].

++++++++++++++++++++++++++++++

2. Zag

(i) Sealed Parr bomb (heat and pressure)

Zag-pre wet
PSF 141219a.005
<100 µm, original sample (dry sample, pre-Parr bomb run with water); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141219 HE 1000].

Zag-wet post1
PSF 141107b.001
<100 µm, top crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].

Zag-wet post2
PSF 141107b.002
<100 µm, bottom crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].

Zag-wet post3
PSF 141107b.011
<100 µm, mixed top and bottom crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].

+++++++++++++++++++++++++++++++++

3. Murchison - wet
(i) Sealed Parr bomb (heat and pressure)

Murchison-pre wet
PSF 140702a.001-003
<150 µm, three duplicate spectra of sample (dry sample, pre-Parr bomb run with water); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Murchison].

Murchison-wet post1
PSF 141107b.003
<150 µm; top crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
Murchison-wet post2
PSF 141107b.004
<150 µm; bottom crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
Murchison-wet post3
PSF 141107b.009
<150 µm; mixed top and bottom crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
+++++++++++++++++++++++++++++++++

4. Murchison - dry
(i) Sealed Parr bomb (heat and pressure)

Murchison-pre dry
PSF 140702a.004-006
<150 µm, three duplicate spectra of sample (dry, pre-Parr bomb dry run sample); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: Murchison].

Murchison-dry post
PSF 141107b.010
<150 µm; post-Parr bomb dry run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].

++++++

(ii) Open Parr bomb (heat only)

Murchison Pre
PSF 150127a.002
<150 µm; pre-run open Parr bomb sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150127 parr x2 pre].

Murchison cooked
PSF 150520a.002
<150 µm; post-run open Parr bomb sample (heated for 111 days); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150520 Parr x2 Post].

++++++++++++++++++++++++++++++++++

5. WMM (fake Murchison) - dry
Note: combined wet and dry pre-heating sample measured together then split for runs.

(i) Sealed Parr bomb (heat and pressure)

WMM-pre
PSF 140620a.009
<63 µm; dry sample, pre-Parr bomb dry run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140620 Pre heating].

WMM-dry post
PSF 141107b.008
<63 µm; post-Parr bomb dry run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].


+++++

(ii) Open Parr bomb (heat only)

WMM Pre
PSF 150127a.001
<63 µm; pre-run open Parr bomb sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150127 parr x2 pre].

WMM cooked
PSF 150520a.001
<63 µm; post-run open Parr bomb sample (heated for 111 days); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150520 Parr x2 Post].

++++++++++++++++++++++++++++++++++

6. WMM (fake Murchison) - wet
Note: combined wet and dry pre-heating sample measured together then split for runs.

(i) Sealed Parr bomb (heat and pressure)

WMM-pre
PSF 140620a.009
<63 µm; dry sample, pre-Parr bomb dry run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 140620 Pre heating].

WMM-wet post1
PSF 141107b.005
<63 µm; top crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
WMM-wet post2
PSF 141107b.006
<63 µm; bottom crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
WMM-wet post3
PSF 141107b.007
<63 µm; mixed top and bottom crust of post-Parr bomb wet run sample; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: parr bomb stuff].
++++++++++++++++++++++++++++++++++++++

16.23.2.d. Parr bomb runs on selected meteorites (Clausthal University)
Closed system heating experiments (using Teflon-lined Parr bombs) conducted on the following meteorites at Clausthal University by Kurt Mengel and Tanja Schaefer:

Samples leached at 90°C for up to 200 days.

Note: measured on <63 µm powders; i=30°, e=0°; 1 nm output; 500 spectra averaged; new ASD [Directory: 170816KMmeteorites].

NWA8039_0
PSF 170816a00001.asd
0 days of alteration

NWA8039_2
PSF 170816a00002.asd
2 days of alteration

NWA8039_5
PSF 170816a00003.asd
5 days of alteration

NWA8039_12
PSF 170816a00004.asd
12 days of alteration

NWA8039_50
PSF 170816a00005.asd
50 days of alteration

NWA8039_100
PSF 170816a00006.asd
100 days of alteration

NWA8039_200
PSF 170816a00007.asd
200 days of alteration

+++++

NWA7936_0
PSF 170816a00009.asd
0 days of alteration

NWA7936_2
PSF 170816a00010.asd
2 days of alteration

NWA7936_5
PSF 170816a00011.asd
5 days of alteration

NWA7936_12
PSF 170816a00012.asd
12 days of alteration

NWA7936_50
PSF 170816a00013.asd
50 days of alteration

NWA7936_100
PSF 170816a00014.asd
100 days of alteration

NWA7936_200
PSF 170816a00015.asd
2000 days of alteration

+++++

Zag_0
PSF 170816a00017.asd
0 days of alteration

Zag_2
PSF 170816a00018.asd
2 days of alteration

Zag_5
PSF 170816a00019.asd
5 days of alteration

Zag_12
PSF 170816a00020.asd
12 days of alteration

Zag_50
PSF 170816a00021.asd
50 days of alteration

Zag_100
PSF 170816a00022.asd
100 days of alteration

Zag_200
PSF 170816a00023.asd
200 days of alteration

+++++

Jbilet_0
PSF 170816a00025.asd
0 days of alteration

Jbilet_2
PSF 170816a00026.asd
2 days of alteration

Jbilet_5
PSF 170816a00027.asd
5 days of alteration

Jbilet_12
PSF 170816a00028.asd
12 days of alteration

Jbilet_50
PSF 170816a00029.asd
50 days of alteration

Jbilet_100
PSF 170816a00030.asd
100 days of alteration

Jbilet_200
PSF 170816a00031.asd
200 days of alteration

+++++
Murchison_2
PSF 170816a00033.asd
2 days of alteration

Murchison_5
PSF 170816a00034.asd
5 days of alteration

Murchison_12
PSF 170816a00035.asd
12 days of alteration

Murchison_50
PSF 170816a00036.asd
50 days of alteration

Murchison_100
PSF 170816a00037.asd
100 days of alteration

Murchison_200
PSF 170816a00038.asd
200 days of alteration

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

+++++++++++++++++++++++++++++++++++++++++
END of 16.
17. Boreal Rocks, Lichens, and Serpentinites
17.1. Contwoyto Lake/Point Lake, NWT

17.2. Pinawa, MB (lichen-related)

17.3. Churchill, MB (lichen-related; peat and ground ice)

17.4. Thompson, MB (lichen-related)

17.5. Serpentinites from the ROM

17.6. East German Creek, MB (lichen-related)
17.7. Archival lichen spectra

17.8. Scotland
+++++++++++++++++++++++++++++++

17a. Sample Descriptions - Boreal Rocks, Lichens and Serpentinites
FORMAT: Sample No., description, group membership, [old sample no.].

Sample ID
Description









17.1a. Contwoyto Lake/Point Lake, NWT, Canada
(i) Basalts
BOREA01
Basalt (from J. McCorquedale via R. St J. Lambert) [JMP2].

BOREA02
Basalt (from J. McCorquedale via R. St J. Lambert) [JMP10].

(ii) Metamorphosed Group
BOREA03
Crenulated phyllite (metamorphosed mudstone, low-medium greenschist facies) [4PLG006].

BOREA04
Micaceous greywacke (medium greenschist facies) [4PLG007].

BOREA05
Andalusite-cordierite-biotite schist (lower amphibolite grade) [4PLE005].

BOREA06
Cordierite-biotite knotted schist (lower amphibolite grade, related to BOREA04) [5PLT001].

(iii) Banded Iron Formation
BOREA07
Banded iron formation: Magnetite-chert-siderite (lower greenschist facies) [5PLJ009].

(iv) Amphibolite Grade Area
BOREA08
Diorite (amphibolite grade area) [5PLZ003].

BOREA09
Foliated biotite granite (amphibolite grade area) [5PLZ001].

BOREA10
Muscovite pegmatite (amphibolite grade area) [4PLE023].

(v) Volcano-Clastics
BOREA11
Intermediate lapilli metatuff (volcanoclastic) [4PLI010].

BOREA12
Carbonate-bearing more mafic metatuff (volcanoclastic) [4PLI013].

BOREA13
Felsic-pyritic metatuff (volcanoclastic) [4PLI017].

More complete descriptions for all but the basalt samples are provided in Lhotka (1988) and were collected by P. Lhotka from the Contwoyto Lake - Point Lake area in the Northwest Territories.

++++++++++++++++++++

17.1.1a. Lichen Sample Descriptions – Contwoyto Lake/Point Lake Suite
FORMAT: Rock sample no., lichen name, source (appearance) [old sample I.D. no.]

Sample ID
Lichen
BOREA01
Xanthoria elegans (Link) Th. Fr. (orange, foliose) [JMP2].

BOREA02
Dimelaena oriena (Ach.) Norman (yellow-green) [JMP10].

BOREA03
Tephromela armeniaca (DC.) Hertel & Rambold (orange and black) [4PLG006].

BOREA05
Rhizocarpon geographicum (L.) DC. (yellow-green) [4PLE005].

BOREA05
Umbilicaria krascheninnikovi (Savicz) Zahlbr. [4PLE005].

BOREA08
Buellia stigmaea Tuck. (orangish) [5PLZ003].

BOREA09
Arctoparmelia centrifuga (L.) Hale (yellow-green, foliose) [5PLZ001].

BOREA09
Melanelia stygia (L.) Essl. (brown, foliose) [5PLZ001].

BOREA09
Pseudephebe minuscula (Nyl. ex Arnold) Brodo & D. Hawksw. (Brown, hair-like) [5PLZ001].

BOREA10
Arctoparmelia centrifuga (L.) Hale (yellow-green, foliose) [4PLE023].

BOREA10
Arctoparmelia incurva (Pers.) Hale (dark yellow-green, foliose) [4PLE023].

BOREA10
Melanelia stygia (L.) Essl. (brown, foliose) [4PLE023].

BOREA11
Lecidea auriculata Th. Fr. (grey-black) [4PLI010].

BOREA12
Buellia semitensis Tuck. (grey) [4PLI013].

BOREA12
Buellia stigmaea Tuck. (orangish) [4PLI013].

BOREA12
Umbilicaria deusta (L.) Baumg. (black, foliose, at point of rock) [4PLI013].

Lichen descriptions were provided by Janet Marsh of the Department of Biology at the University of Alberta and names follow the format of Egan (1987).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

17.2a. Pinawa, MB Lichen Suite (self-collected Sept, 2003)
LIC001
Lichen-covered granite from Pinawa, MB old dam site.

LIC002
Lichen-covered granite from Pinawa, MB old dam site.

LIC003
Lichen-covered granite from Pinawa, MB old dam site.

LIC004
Lichen-covered granite from Pinawa, MB old dam site.

LIC005
Lichen-covered rock from Pinawa, MB old dam site.

LIC006
Lichen-covered granite from Pinawa, MB old dam site.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.3a. Churchill, Manitoba
17.3.1a. Samples collected by Ed Cloutis (May 21, 2008)

Collected May 21, 2008 from vicinity of Churchill Northern Studies Centre.

CHU001 – CHU025
Unsorted, various rock types with different degrees and types of lichen cover.
++++++

CHU026
Quartzite – collected from landscaping of stones at Churchill train station – August 2014.
++++++

KFE-001
K-feldspar – from Churchill, MB, Canada granite.

+++++++++++++++++++++++++++++++
17.3.2a. Churchill, Manitoba – August 2010

Samples collected by Genevieve Berard and team of students for lichen spectroscopy project as part of Churchill field course (their sample ID numbers).
S001
Pink-gray granite with abundant yellow, black, and orange lichens; interior broken surface also.

S002
Pink-gray granite with orange lichen, sparse yellow-black lichen; interior broken surface also.

S003
Quartzite (quartz vein) with black-yellow lichen, sparse orange lichen; interior broken surface also.

S004
Quartzite (quartz vein) with red Fe-staining and sparse orange lichen; interior broken surface also.

S005
Quartzite (quartz vein) with black, yellow, and orange lichen; interior broken surface also.

S006
Quartzite (quartz vein) and pink-gray granite with orange lichen and black foliose lichen; interior broken surface also.

S007
Pink-gray granite with orange lichen; interior broken surface also.

S008
Pink-gray granite with white and orange lichen; interior broken surface also.

S009
Gray granite with white/gray foliose lichen, and black crustose lichen; interior broken surface also.

S010
Pink-gray granite with quartz vein and white crustose lichen and sparse orange lichen; interior broken surface also.

S011
Quartzite (quartz vein) with black crustose lichen, and red Fe-staining; interior broken surface also.

S012
Pink granite with brown/green weathered stuff, extensive black and yellow lichens; interior broken surface also.

S013
Pink-gray granite with orange lichen; interior broken surface also.

S014
Gray granite with sparse orange and white lichen; interior broken surface also.

S015
Quartz vein (3 pieces) with sparse orange and black lichens; interior broken surface also.

S016
Pink granite with sparse orange lichen; interior broken surface also.

S017
Quartzite (quartz vein) and granite with black foliose and crustose lichen; interior broken surface also.

S018
Gray-pink granite with black foliose lichen, sparse orange and yellow crustose lichen; interior broken surface also.

S019
Gray granite with black foliose lichen; interior broken surface also.

S020
Gray granite with sparse orange lichen; interior broken surface also.

S021
Gray granite with sparse orange, black and yellow lichens; interior broken surface also.

S022
Pink dolostone with sparse yellow-brown lichen; interior broken surface also.

S023
Pink dolostone with brown weathered surface, and black crustose lichen; interior broken surface also.

S024
Pink-gray granite with black foliose lichen; interior broken surface also.

S025
Gray granite with black foliose lichen, black and yellow crustose lichen; interior broken surface also.

S026
Gray granite with black weathered surface, extensive black lichen, sparse orange lichen; interior broken surface also.

S027
Gray granite with black foliose lichen; interior broken surface also.

S028
Gray granite with black weathered surface, sparse white and black lichen; interior broken surface also.

S029
Gray schist with extensive black-yellow lichen; interior broken surface also.

S030
Gray foliated granite/schist with moderate orange lichen, sparse yellow-black lichen; interior broken surface also.

S031
Gray-white foliated granite/schist with red Fe-oxide surface, sparse white lichen; interior broken surface also.

S032
Pink-gray fine-grained granite with sparse orange, black, and yellow lichens; interior broken surface also.

S033
Gray-white granite and quartzite (quartz vein?) with one Fe-oxide surface, sparse black, orange, and yellow lichens; interior broken surface also.

S034
Pink-gray foliated granite/schist with abundant white and yellow-black lichens; interior broken surface also.

S035
Pink granite pebble with extensive orange lichens and sparse yellow/black/white lichens; no interior broken surface.
++++++++++++++++++++++++++++++++
17.3.3a. Churchill – ground ice, permafrost and peat samples

Ground ice, permafrost, and peat were collected proximate to the Churchill Northern Studies Centre (kept frozen) and analyzed by iRaman and UV-induced fluorescence (365 nm) with Maya spectrometer – August 2014.

Hole 
Sample ID
Description

1
1-1
Dirty ice lense (20 cm depth)

1
1-2
Dirty ice lense (24 cm depth)

2
2-1
Frozen peat

2
2-2
Frozen peat

2
2-3
Frozen peat

3
3-1
Frozen peat

3
3-2
Frozen peat

4
4-1
Frozen peat

4
4-2
Frozen peat

4
4-3
Frozen peat

4
4-4
Frozen peat

4
4-5
Frozen peat

4
4-6
Frozen peat

5
5-1
Ice with sand and peat

5
5-2
Clear ground ice

6
6-1
Clear ground ice

6
6-2
Clear ground ice

6
6-3
Clear ground ice

7
7-1
Clear ground ice with sparse root/plant fragments

8
8-1
Clear ground ice

8
8-2
Clear ground ice

Leaf

From shrub outside the Centre

Limestone

Limestone cobble from outside the Centre

Moss

Moss on regolith

Polystyrene

iRaman calibration block

Aluminum boat
Aluminum sample boat

Sugar

Granular sucrose

Sugar Twin

Granular Sugar Twin (sodium cyclamate + fillers?)

Alcohol swab
Propylene alcohol-infused cotton swab


+++++++++++++++++++++++++++++++++++++
17.3.4a. Churchill, Manitoba – August 2015
Field spectra collected by Genevieve Berard for M.Sc. thesis – use of discontinuous vegetation coastal band to monitor sea level changes. Multiple spectra of six end members collected.
1. Moss

2. Grass

3. Willow

4. Red vegetation

5. Sand

6. Rock
+++++++++++++++++++++++++++++++++++++++++++++++++
17.4a. Thompson, Manitoba – lichen on rocks and trees
Lichen samples (on trees and rocks) collected upwind and downwind of Thompson smelter as part of GEOG-4212 project.

17.4.1a. Lichens on rock data

Site
Lichen/sample description

Sample number
Distance from smelter:

1 1T – green/white flakey

1


13.55 km upwind


1T – bluish/grey flakey

2


13.55 km upwind



2
2T – fluffy green/white

3


5.12 km downwind

3
3Ta – fluffy green/white

4


7.66 km downwind


3Ta – big cups

5


7.66 km downwind

3Rb – yellow/green with cups

6


8.32 km downwind


3Rb – dark brown flakes

7


8.32 km downwind


3Rb – light brown flakes

8


8.32 km downwind


3R – dark brown flakes

9


5.1 km downwind

4
4T – green white

10


11.3 km downwind

5
5Ta – dark green

11


14.41 km downwind


5Tb – white and orange

12


15.27 km downwind

6
6T – crusty sea foam green

13


17.95 km downwind


6R – grey/blue/green

14


17.42 km downwind

7
7T – some lichen spots (vegetative) 
15


12.65 km downwind


7T – some lichen spots (reproductive)
16


12.65 km downwind

Note: R: sample on rock; T: sample on tree.
Compositional data: elemental concentrations determined by flame AAS at UWinnipeg (Doug Goltz)

Sample No.
Ni
Fe
Pb
Cu
Cd

1
13.92
307.37
nd
nd
nd

2
58.11
2868.52
1.57
4.50
nd

3
23.29
777.50
2.14
nd
nd

4
21.85
1330.03
1.16
nd
nd

5
35.29
593.96
1.87
nd
nd

6
53.45
6152.91
2.5
2.46
nd

7
93.59
12148.82
5.12
7.63
nd

8
24.34
2583.31
0.65
2.67
nd

9
59.70
2503.03
1.93
3.23
nd

10
153.34
16511.32
17.33
nd
nd

11
74.45
1829.96
nd
nd
nd

12
55.00
8872.10
6.21
nd
nd

13
21.87
3335.47
1.81
2.32
nd

14
55.82
6357.60
8.16
nd
nd

15
23.90
13322.68
1.26
2.12
nd
16
13.97
863.49
1.09
2.68
nd

Note: concentrations expressed in µg/g.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
Site
Sample ID
Sample type

 (up wind) 
L6

Little cups from rock (50 08.992 N, 97 20.740 W)

(1) 
L10

Crumbly gray/brown from rock (55 49.668 N, 97 58.048 W)

(2) 
L16

Gray/green from rock (55 40.620 N, 97 42.494 W)

(3) 
L1a

Black spot on rock (55 39.940 N, 97 48.643 W)

(3) 
L1b

Black and gray pebbly on rock (55 39.940 N, 97 48.643 W)
(3) 
L1c

Yellow spot on rock (55 39.940 N, 97 48.643 W)

(3) 
L1d

Bare rock (55 39.940 N, 97 48.643 W)

(3) 
L14

Dark brown flakes from rock (55 39.940 N, 97 48.643 W)

(4) 
L12a
Yellow/green crusty from rock (55 39.599 N, 97 47.316 W)

(4) 
L12b
Yellow/green with cups from rock (55 39.599 N, 97 47.316 W)

(4) 
L12c
Black and gray on rock (55 39.599 N, 97 47.316 W)

(4) 
L12d
Bare rock (55 39.599 N, 97 47.316 W)

(4) 
L12e
Blue/gray on yellow from rock (55 39.599 N, 97 47.316 W)

(4) 
L12f
Dark brown from rock (55 39.599 N, 97 47.316 W)

(4) 
L12g
Light brown/black from rock (55 39.599 N, 97 47.316 W)

(5) 
L15

Gray/blue/green from rock (55 35.482 N, 97 42.432 W)

(6) 
L11a
Gray/brown from rock (55 37.217 N, 97 41.596 W)

(6) 
L11b
Yellow spot on rock (55 37.217 N, 97 41.596 W)

(6) 
L11c
Bare rock (55 37.217 N, 97 41.596 W)

+++++++++++++++++++++++++++++++++++++++++++

17.4.2a. Lichens on tree data

Site
Sample ID
Sample type

 (up wind) 
L6

Reindeer moss from tree (50 08.992 N, 97 20.740 W)

(1) 
L9a

Flaky green/white from tree (55 49.668 N, 97 58.046 W)

(1) 
L9b

Flaky black and gray from tree (55 49.668 N, 97.58.046 W)

(2) 
L8

Fluffy green and white from tree (55 40.632 N, 97 52.616 W)

(3) 
L2a

Lichen on branch (55 36.366 N, 97 50.440 W)

(3) 
L2b

White spot on branch (55 36.366 N, 97 50.440 W)

(3) 
L2c

Bark on branch (55 36.366 N, 97 50.440 W)

(4) 
L7a

Fluffy green and white from tree (55 39.940 N, 97 48.673 W)

(4) 
L7b

Big cups from tree (55 39.940 N, 97 48.673 W)

(5) 
L17a
Brown flakes from tree (55 39.599 N, 97 47.316 W)

(5) 
L17b
Green cups from tree (55 39.599 N, 97 47.316 W)
(6) 
L13a
Orange on branch (55 39.214 N, 97 43.060 W)

(6) 
L13b
Green/white on branch (55 39.214 N, 97 43.060 W)

(6) 
L13c
Bare wood (55 39.214 N, 97 43.060 W)

(7) 
L3a

Green lichen from tree (55 39.909 N, 97 42.387 W)

(7) 
L3b

White spot on branch (55 39.909 N, 97 42.387 W)

(8) 
L5

Crust sea foam green from tree (55 35.655 N, 97 41.928 W)

(9) 
L4a

Green spot on branch (55 37.217 N, 97 41.596 W)

(9) 
L4b

White/orangish spot on branch (55 37.217 N, 97 41.596 W)

(9) 
L4c

Orange spot on branch (55 37.217 N, 97 41.596 W)

(9) 
L4d

Bark on branch (55 37.217 N, 97 41.596 W)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.5a. Serpentinites from the Royal Ontario Museum (2013)
Note: Serpentinite collection at the Royal Ontario Museum searched for dark serpentinites that could be good (i.e., dark) analogues for asteroid Bennu (OSIRIS-REx project).

These samples have been characterized by X-ray diffractometry (Matt Izawa May 2013).

ROM Sample ID
Description
XRD phases

9789
Greenalite

M6393
Chamosite


M6394
Chamosite (serpentinite): Foret de Lorges, France (19.55 gram single chip and ~15 grams of three fragments. This additional sample received Nov. 15, 2018).


M11342
Thuringite


M12870
Bavalite var. daphnite


M56440
Serpentinite


M56441
Serpentinite


W68_55A
Serpentinite

+++++++++++++++++++++++
17.5.1a. Powdered samples (from Matt Izawa June 2013)

Sub-labels refer to amount of time samples powdered in mill

M6394
10s

M6394
15s

M6394
35s

++++++

M16397
10s

M16397
35-55s

M16397
75-130s

M16397
125-180s

++++++
W68-35
25s

W68-35
25-50s

W68-35
50-155s

W68-35
125-230s

W68-35
150-255s

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

17.6a. Lichen-covered rocks: East German Creek, Manitoba Springs Complex

Collected October 2006.

Sample ID
Description




EGC400
Orange lichen on granite.

EGC401
Orange lichen on feldspar-rich granite.

EGC402
Orange lichen on granite.

EGC403
Orange lichen on iron-stained rock (?).

EGC404
Orange lichen on granite.

EGC405
Orange lichen on amphibolite (?).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.7a. Archival lichen spectra – previous investigators – digital spectra
17.7.1a. Gauslaa (1984)

Species

Caldonia stellaris

Cetraria nivalis

Parmelia olivacea

Thamnolia vermicularis

Sticta sylvatica

Umbilicaria pustulata

Umbilicaria vellea

Xanthoria parietina
Parmelia perlata

Cetraria hepatizon

Umbilicaria coriacea

Peltigera leucophlebia

Peltigera horizontalis

Alectoria ochroleuca

Cornicularia divergens

Cetraria juniperina

Lobaria amplissima

Haematomma ventosum

Parmelia caperata

Umbilicaria spodochroa

Pseudephebe pubescens

Umbilicaria hirsuta

Ambilicaria arctica

Nephroma arcticum

++++++++++++++++++++++++

17.7.2a. Leckie et al. (1988, 1989)

Various species (not well documented) and sample IDs.

+++++++++++++++++++++++++

17.7.3a. Rollin et al. (1994)

Rhizocarpon geographicum, haematomma ventosum, fuscidea cyathoides, parmelia saxitalis, and various rock substrates.

++++++++++++++++++++++++++

17.7.4a. Steiner and Guterman (1966)

Reindeer moss, lichens on limestone, brown-yellow lichens on yellow-gray rock

++++++++++++++++++++++++++
17.8. Scotland – serpentinite

SCO101
“Scottish green marble” – 4 cm slice of banded pale green material (Highlands and/or islands of Iona, Tiree, and Skye); metamorphosed limestone + serpentine. Purchased in Edinburgh shop: Two Skies; August 2016.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17b. XRD Data - Boreal rocks, lichens and Serpentinites
17.5b. Serpentinites from the Royal Ontario Museum (2013)
Note: Serpentinite collection at the Royal Ontario Museum searched for dark serpentinites that could be good (i.e., dark) analogues for asteroid Bennu (OSIRIS-REx project).

These samples have been characterized by X-ray diffractometry (Matt Izawa May 2013).

ROM Sample ID
Description
XRD phases

9789
Greenalite
quartz, siderite, antigorite, nordstrandite, nontronite, annite, vesuvianite, bixbyite

M6393
Chamosite
chamosite, siderite, calcite, goethite

M6394
Serpentinite
clinochlore is best match

M11342
Thuringite
siderite, etc.

M12870
Bavalite var. daphnite
magnetite, hematite, etc.

M56440
Serpentinite
Good match to C chondrite matrix

M56441
Serpentinite
Many phases

W68_55A
Serpentinite
Many phases

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

17c. Compositional Data - Boreal rocks, lichens and serpentinites

None

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

17d. Spectral Data - Boreal rocks, lichens and serpentinites
Sample
Facility/File No. 
Description







17.1d. Contwoyto Lake/Point Lake area samples
BOREA01
USGS 318
red lichen+weathered surface, IS, 0.35-2.6µm, 1x resol.

BOREA01
USGS 330
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA01
USGS 342
weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA03
USGS 354
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA03
USGS 366
lichen+weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA04
USGS 378
black lichen, IS, 0.35-2.6µm, 1x resol.

BOREA04
USGS 390
weathered surface, IS, 0.35-2.6µm, 1x resol.

BOREA04
USGS 402
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA04
USGS 414
yellow lichen+weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA05
USGS 426
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA05
USGS 438
lichen+weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA06
USGS 450
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA06
USGS 462
weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA07
USGS 474
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA07
USGS 486
weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA08
USGS 498
lichen+weathered surface, IS, 0.35-2.6µm, 1x resol.

BOREA08
USGS 510
interior surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA09
USGS 526
weathered surface, IS, 0.35-2.6µm, 1x resol.

BOREA09
USGS 538
lichen+weathered surface, IS, 0.35-2.6µm, 1x resol.

BOREA09
USGS 550
interior surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA10
USGS 562
lichen, IS, 0.35-2.6µm, 1x resol.

BOREA10
USGS 610
interior surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA11
USGS 622
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA11
USGS 634
weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++
BOREA13
USGS 646
interior surface, IS, 0.35-2.6µm, 1x resol.

BOREA13
USGS 658
weathered surface, IS, 0.35-2.6µm, 1x resol.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.3.2d. Churchill, Manitoba area samples

S001a
PSF 100910a.001
whole rock: black lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S001b
PSF 100910a.002
whole rock: green lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S001c
PSF 100910a.003
whole rock: orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S001d
PSF 100910a.004
whole rock: white-gray lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S001e
PSF 100910a.005
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S001f
PSF 100910a.006
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S001g
PSF 100930a.006
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S002a
PSF 100910a.007
whole rock: orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S002b
PSF 100910a.008
whole rock: bare rock/white lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S002c
PSF 100930a.007
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S003a
PSF 100910a.009
whole rock: green/black lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S003b
PSF 100910a.010
whole rock: bare rock (quartz); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S003c
PSF 100910a.011
whole rock: bare rock (quartz); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S003d
PSF 100910a.012
whole rock: bare rock (granite); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S003e
PSF 100910a.013
whole rock: bare rock (granite); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S003f
PSF 100930a.008
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S004a
PSF 100910a.014
whole rock: orange lichen/bare quartz); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S004b
PSF 100910a.015
whole rock: sparse orange lichen/bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S004c
PSF 100910a.016
whole rock: bare rock with sparse black lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S004d
PSF 100910a.017
whole rock: white quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S004e
PSF 100910a.018
whole rock: white quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100910_church1].

S004f
PSF 100930a.009
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S005a
PSF 100913a.022
whole rock: sparse black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S005b
PSF 100913a.023
whole rock: coarse black foliose/shiny rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S005c
PSF 100913a.024
whole rock: green lichen/quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S005d
PSF 100913a.025
whole rock: bare quartz - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S005e
PSF 100913a.026
whole rock: bare quartz - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S005f
PSF 100930a.010
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S006a
PSF 100913a.027
whole rock: orange lichen - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S006b
PSF 100913a.028
whole rock: orange lichen - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S006c
PSF 100913a.029
whole rock: orange-brown lichen - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S006d
PSF 100913a.030
whole rock: black/gray crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S006e
PSF 100913a.031
whole rock: bare quartz - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S006f
PSF 100930a.011
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S007a
PSF 100913a.032
whole rock: orange lichen - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S007b
PSF 100913a.033
whole rock: orange lichen - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S007c
PSF 100913a.034
whole rock: bare granite - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S007d
PSF 100913a.035
whole rock: bare granite - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S007e
PSF 100930a.012
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S008a
PSF 100913a.036
whole rock: orange lichen - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S008b
PSF 100913a.037
whole rock: gray lichen - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S008c
PSF 100913a.038
whole rock: gray lichen - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S008d
PSF 100913a.039
whole rock: bare granite with sparse orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S008e
PSF 100930a.013
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S009a
PSF 100913a.040
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S009b
PSF 100913a.041
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S009c
PSF 100913a.042
whole rock: bare granite with sparse orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S009d
PSF 100913a.043
whole rock: bare granite with sparse black lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S009e
PSF 100913a.044
whole rock: bare granite with sparse black lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S009e
PSF 100913a.045
whole rock: bare granite - side; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S009f
PSF 100930a.014
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S010a
PSF 100913a.046
whole rock: black flaky - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S010b
PSF 100913a.047
whole rock: black flaky - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S010c
PSF 100913a.048
whole rock: black flaky - top; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S010d
PSF 100913a.049
whole rock: black foliose with granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S010e
PSF 100913a.050
whole rock: bare quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S010f
PSF 100930a.015
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S011a
PSF 100913a.051
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S011b
PSF 100913a.052
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S011c
PSF 100913a.053
whole rock: bare quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S011d
PSF 100913a.054
whole rock: bare quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100913_church1].

S011e
PSF 100930a.016
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S012a
PSF 100914a.058
whole rock: black-green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S012b
PSF 100914a.059
whole rock: black-green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S012c
PSF 100914a.060
whole rock: black-gray crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S012d
PSF 100914a.061
whole rock: black-gray crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S012e
PSF 100914a.062
whole rock: granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S012e
PSF 100914a.063
whole rock: granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S012f
PSF 100930a.017
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S013a
PSF 100914a.064
whole rock: orange lichen with some granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S013b
PSF 100914a.065
whole rock: orange-brown lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S013c
PSF 100914a.066
whole rock: granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S013d
PSF 100914a.067
whole rock: granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S013e
PSF 100930a.018
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S014a
PSF 100914a.068
whole rock: granite with orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S014b
PSF 100914a.069
whole rock: granite with orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S014c
PSF 100914a.070
whole rock: granite with gray lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S014d
PSF 100914a.071
whole rock: granite with gray lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S014e
PSF 100930a.019
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S015a
PSF 100914a.072
whole rock: orange lichen on shiny black; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S015b
PSF 100914a.073
whole rock: orange lichen on quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S015c
PSF 100914a.074
whole rock: black shiny rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S015d
PSF 100914a.075
whole rock: black shiny rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S015e
PSF 100930a.020
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S016a
PSF 100914a.076
whole rock: orange lichen/altered quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S016b
PSF 100914a.077
whole rock: orange lichen/altered quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S016c
PSF 100914a.078
whole rock: gray lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S016d
PSF 100914a.079
whole rock: altered quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S016e
PSF 100914a.080
whole rock: altered quartz; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100914_church1].

S016f
PSF 100930a.021
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S017a
PSF 100920a.001
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S017b
PSF 100920a.002
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S017c
PSF 100920a.003
whole rock: orange/black on granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S017d
PSF 100920a.004
whole rock: orange/black on granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S017e
PSF 100920a.005
whole rock: bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S017f
PSF 100930a.022
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S018a
PSF 100920a.006
whole rock: green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S018b
PSF 100920a.007
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S018c
PSF 100920a.008
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S018d
PSF 100920a.009
whole rock: bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S018e
PSF 100930a.023
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S019a
PSF 100920a.010
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S019b
PSF 100920a.011
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S019c
PSF 100920a.012
whole rock: bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S019d
PSF 100920a.013
whole rock: bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S019e
PSF 100920a.014
whole rock: orange on granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S019f
PSF 100930a.024
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S020a
PSF 100920a.015
whole rock: orange on granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S020b
PSF 100920a.016
whole rock: orange on granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S020c
PSF 100920a.017
whole rock: orange on granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S020d
PSF 100920a.018
whole rock: bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S020e
PSF 100930a.025
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S021a
PSF 100920a.019
whole rock: orange on bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S021b
PSF 100920a.020
whole rock: orange on bare granite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S021c
PSF 100920a.021
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S021d
PSF 100920a.022
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S021e
PSF 100920a.023
whole rock: black crustose or gray foliose lichen? – duplicate or mislabelled spectrum; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100920_church1].

S021g
PSF 100930a.026
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S022a
PSF 100921a.001
whole rock: black-yellow lichen on dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S022b
PSF 100921a.002
whole rock: black-yellow lichen on dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S022c
PSF 100921a.003
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S022d
PSF 100921a.004
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S022e
PSF 100921a.005
whole rock: bare dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S022f
PSF 100930a.027
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S023a
PSF 100921a.006
whole rock: yellow crustose lichen on dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S023b
PSF 100921a.007
whole rock: yellow crustose lichen on dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S023c
PSF 100921a.008
whole rock: black-yellow lichen on dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S023d
PSF 100921a.009
whole rock: black-yellow on dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S023e
PSF 100921a.010
whole rock: bare dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S023f
PSF 100921a.011
whole rock: bare dolomite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S023g
PSF 100930a.028
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S024a
PSF 100921a.012
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S024b
PSF 100921a.013
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S024c
PSF 100930a.029
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S025a
PSF 100921a.014
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S025b
PSF 100921a.015
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S025c
PSF 100921a.016
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S025d
PSF 100921a.017
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S025e
PSF 100921a.018
whole rock: bare granite + small crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S025f
PSF 100921a.019
whole rock: bare granite + small crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S025g
PSF 100930a.030
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S026a
PSF 100921a.020
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S026b
PSF 100921a.021
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S026c
PSF 100921a.022
whole rock: orange crustose lichen on bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S026d
PSF 100921a.023
whole rock: orange crustose lichen on bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S026e
PSF 100921a.024
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S026f
PSF 100930a.031
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S027a
PSF 100921a.025
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S027b
PSF 100921a.026
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S027c
PSF 100921a.027
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S027d
PSF 100921a.028
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S027e
PSF 100930a.032
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S028a
PSF 100921a.029
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S028b
PSF 100921a.030
whole rock: gray foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S028c
PSF 100921a.031
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S028d
PSF 100921a.032
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S028e
PSF 100930a.033
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S029a
PSF 100921a.033
whole rock: green/black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S029b
PSF 100921a.034
whole rock: green/black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S029c
PSF 100921a.035
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S029d
PSF 100921a.036
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100921_church1].

S029e
PSF 100930a.034
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S030a
PSF 100922a.001
whole rock: orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S030b
PSF 100922a.002
whole rock: orange lichen/bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S030c
PSF 100922a.003
whole rock: green/black lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S030d
PSF 100922a.004
whole rock: bare schist (dark); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S030e
PSF 100922a.005
whole rock: bare schist (light); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S030f
PSF 100930a.035
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S031a
PSF 100922a.006
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031b
PSF 100922a.007
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031c
PSF 100922a.008
whole rock: orange crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031d
PSF 100922a.009
whole rock: orange crustose lichen on schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031e
PSF 100922a.010
whole rock: green/black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031f
PSF 100922a.011
whole rock: green/black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031g
PSF 100922a.012
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031h
PSF 100922a.013
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S031i
PSF 100930a.036
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S032a
PSF 100922a.014
whole rock: black/green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032b
PSF 100922a.015
whole rock: black/green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032c
PSF 100922a.016
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032d
PSF 100922a.017
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032e
PSF 100922a.018
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032f
PSF 100922a.019
whole rock: black foliose lichen on rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032g
PSF 100922a.020
whole rock: orange crustose lichen on rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032h
PSF 100922a.021
whole rock: orange crustose lichen on rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032i
PSF 100922a.022
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032j
PSF 100922a.023
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S032k
PSF 100930a.037
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S033a
PSF 100922a.024
whole rock: orange crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033b
PSF 100922a.025
whole rock: orange crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033c
PSF 100922a.026
whole rock: green/black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033d
PSF 100922a.027
whole rock: green/black crustose lichen on quartzite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033e
PSF 100922a.028
whole rock: black foliose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033f
PSF 100922a.029
whole rock: black crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033g
PSF 100922a.030
whole rock: bare quartzite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033h
PSF 100922a.031
whole rock: bare quartzite; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S033i
PSF 100930a.038
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S034a
PSF 100922a.032
whole rock: black/green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034b
PSF 100922a.033
whole rock: black/green crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034c
PSF 100922a.034
whole rock: white crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034d
PSF 100922a.035
whole rock: white crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034e
PSF 100922a.036
whole rock: orange lichen on schist (?); 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034f
PSF 100922a.037
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034g
PSF 100922a.038
whole rock: bare schist; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100922_church1].

S034h
PSF 100930a.039
whole rock: broken interior surface; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++
S035a
PSF 100930a.001
whole rock: orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

S035b
PSF 100930a.002
whole rock: orange lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

S035c
PSF 100930a.003
whole rock: black/white crustose lichen; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

S035d
PSF 100930a.004
whole rock: white crustose lichen on rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

S035e
PSF 100930a.005
whole rock: bare rock; 0.35-2.5 μm; i=30°, e=0°; 1 nm output; ASD, 1000 spectra averaged [Directory: 100930_church1].

++++++++++++++++++++++++++
17.3.3d. Spectral data: Churchill – ground ice, permafrost and peat samples

(i) iRaman reflectance spectra: 174-4004 cm-1 spectral range; 532 nm laser; 3 cm-1 spectral resolution; integration times were varied to improve SNR.
Hole, sample ID
Spectral file

Spectra description (also see above)
Swab
140829alcoholswab
Isopropyl alcohol-infused cotton swab; 2000 msec integration time [Directory: TEST_R32].
Aluminum
140829aluminumboat
Aluminum sample boat; 2000 msec integration time [Directory: TEST_R32].

1, 1-1
140829hole1-1

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

1, 1-1
140829hole1-1b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

1, 1-2
140829hole1-2

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

1, 1-2
140829hole1-2b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

2, 2-1
140829hole2-1

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

2, 2-1
140829hole2-1b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

2, 2-2
140829hole2-2

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

2, 2-2
140829hole2-2b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

2, 2-3
140829hole2-3

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

2, 2-3
140829hole2-3b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

3, 3-1
140829hole3-1

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

3, 3-1
140829hole3-1b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

3, 3-2
140829hole3-2

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

3, 3-2
140829hole3-2b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-1
140829hole4-1

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-1
140829hole4-1b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-2
140829hole4-2

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-2
140829hole4-2b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-3
140829hole4-3

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-3
140829hole4-3b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-4
140829hole4-4

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-4
140829hole4-4b

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-5
140829hole4-5

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-5
140829hole4-5b

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-5
140829hole4-5bint1000
Side B; whole rock; 1000 msec integration time [Directory: TEST_R32].

4, 4-6
140829hole4-6b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

4, 4-6
140829hole4-6int500
Side B; whole rock; 500 msec integration time [Directory: TEST_R32].

5, 5-1
140829hole5-1

Side A; whole rock; 2000 msec integration time [Directory: TEST_R32].

5, 5-1
140829hole5-1b

Side B; whole rock; 2000 msec integration time [Directory: TEST_R32].

5, 5-2
140829hole5-2

Side A; whole rock; 10,000 msec integration time [Directory: TEST_R32].

5, 5-2
140829hole5-2b

Side B; whole rock; 20,000 msec integration time [Directory: TEST_R32].

6, 6-1
140829hole6-1

Side A; whole rock; 20,000 msec integration time [Directory: TEST_R32].

6, 6-1
140829hole6-1b

Side B; whole rock; 20,000 msec integration time [Directory: TEST_R32].

6, 6-2
140829hole6-2

Side A; whole rock; 20,000 msec integration time [Directory: TEST_R32].

6, 6-2
140829hole6-2b

Side B; whole rock; 20,000 msec integration time [Directory: TEST_R32].

6, 6-3
140829hole6-3

Side A; whole rock; 20,000 msec integration time [Directory: TEST_R32].

6, 6-3
140829hole6-3b

Side B; whole rock; 20,000 msec integration time [Directory: TEST_R32].

7, 7-1
140829hole7-1

Whole rock; 5000 msec integration time [Directory: TEST_R32].

8, 8-1
140829hole8-1

Whole rock; 10,000 msec integration time [Directory: TEST_R32].

8, 8-2
140829hole8-2

Whole rock; 20,000 msec integration time [Directory: TEST_R32].

Leaf1
140829leafbrightgreen
Upper side of leaf; 500 msec integration time [Directory: TEST_R32].

Leaf1
140829leafdullgreen
Underside of leaf; 500 msec integration time [Directory: TEST_R32].

Limestone
140829limestone

Whole rock limestone cobble; 2000 msec integration time [Directory: TEST_R32].

Moss1
140829mossbrownsandy
Underside of moss patch; 2000 msec integration time [Directory: TEST_R32].

Moss1
140829mossgreenside
Upper surface of moss patch; 2000 msec integration time [Directory: TEST_R32].

Polystyrene
140829polyinaldish#2
Polystyrene block in aluminum sample boat; 5000 msec integration time [Directory: TEST_R32].

Sugar
140829sugar

Unsorted powder; 2000 msec integration time [Directory: TEST_R32].

Sugar Twin
140829twinsugar

Unsorted powder; 2000 msec integration time [Directory: TEST_R32].

+++++++++++++++++++++

(ii) Maya UV-induced fluorescence spectra. Samples illuminated with 365 nm UV lamp; i=30°, e=0° viewing geometry; 200-1133 nm range; ~0.45 nm spectral resolution.
Hole, sample ID
Spectral file

Spectra description (also see above)
Sugar
140829-granulatedsugar
Unsorted powder.

Leaf1
140829-leaves

Whole leaf, bright green upper side.

Moss1
140829-moss

Upper surface of moss patch.

Moss1
140829-u-moss

Underside of moss patch.

Swab
140829-swab

Isopropyl alcohol-infused cotton swab.

Aluminum boat
140829-aluminumboat
Aluminum sample boat.

Coffee Mate
140829-coffeemate
Unsorted powder.

Sugar Twin
140829-sugartwin

Unsorted powder.

1, 1-1
hole1.1.side1

Side A; whole rock.

1, 1-1
hole1.1.side2

Side B; whole rock.

1, 1-2
hole1.2.a

Side A; whole rock.

1, 1-2
hole1.2.b

Side B; whole rock.

2, 2-1
hole2.1.a

Side A; whole rock.

2, 2-1
hole2.1.b

Side B; whole rock.

2, 2-2
hole2.2.a

Side A; whole rock.

2, 2-2
hole2.2.b

Side B; whole rock.

2, 2-3
hole2.3.a

Side A; whole rock.

2, 2-3
hole2.3.b

Side B; whole rock.

3, 3-1
hole3.1.a

Side A; whole rock.

3, 3-1
hole3.1.b

Side B; whole rock.

3, 3-2
hole3.2.a

Side A; whole rock.

3, 3-2
hole3.2.b

Side B; whole rock.

4, 4-1
hole4.1.a

Side A; whole rock.

4, 4-1
hole4.1.b

Side B; whole rock.

4, 4-2
hole4.2.a

Side A; whole rock.

4, 4-2
hole4.2.b

Side B; whole rock.

4, 4-3
hole4.3.a

Side A; whole rock.

4, 4-3
hole4.3.b

Side B; whole rock.

4, 4-4
hole4.4.a

Side A; whole rock.

4, 4-4
hole4.4.b

Side B; whole rock.

4, 4-5
hole4.5.a

Side A; whole rock.

4, 4-5
hole4.5.b

Side B; whole rock.

4, 4-6
hole4.6.a

Side A; whole rock.

4, 4-6
hole4.6.b

Side B; whole rock.

5, 5-1
hole5.1.a

Side A; whole rock.

5, 5-1
hole5.1.b

Side B; whole rock.

5, 5-2
hole5.2.a

Side A; whole rock.

5, 5-2
hole5.2.b

Side B; whole rock.

6, 6-1
hole6.1.a

Side A; whole rock.

6, 6-1
hole6.1.b

Side B; whole rock.

6, 6-2
hole6.2.a

Side A; whole rock.

6, 6-2
hole6.2.b

Side B; whole rock.

6, 6-3
hole6.3.a

Side A; whole rock.

6, 6-3
hole6.3.b

Side B; whole rock.

7, 7-1
hole7.1

Whole rock.

8, 8-1
hole8.1

Whole rock.

8, 8-2
hole8.2

Whole rock.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.3.4d. Churchill, Manitoba – August 2015
Field spectra collected by Genevieve Berard for M.Sc. thesis – use of discontinuous vegetation coastal band to monitor sea level changes. Multiple spectra of six end members collected.

Spectral data collection parameters: i=30°, e=0°, 0.35-3.5 µm; 1.4 nm output; 200 spectra averaged.
1. Moss/lichen
PSF ASD spectra: 
150820a.002; 150821a.025, .026, .027, .029, .030, .031, .070, .071, .072, .073, .074, .075, .076, .077, .078, .079, .080



150822a.035, .036, .037, .038, .039, .040, .041, .042. .043?, .044.

2. Grass
PSF ASD spectra:
150821a.042, .043, .044, .045, .046, .047, .048, .049, .050



150822a.001, .002, .003, .004, .005, .006, .007, .008, .009, .010, .011, .012, .013, .014, .016, .017, .018, .019, .020, 0.21, .022, .023

3. Willow
PSF ASD spectra:
150820a.006, .007, .008, .009, .010, .011, 



150821a.016, .017, .018, .019, .020, .021, .022, .023, .024, .052, .053, .054, .055, .056, .057, .058, .059, .060, .061, .062, .063, .064, .065, .066

4. Red vegetation
PSF ASD spectra:
150820a.003, .004, .005



150821a.032, .033, .034, .035, .036, .037



150822a.045, .046, .047, .048, .049, .050, .051, .052, .053, .054, .055, .056, .057



150823a..001, .002, .003, .004, .005, .006, .007, .008

5. Sand
PSF ASD spectra:
150821a.001, .002, .003, .004, .005, .006, .007, .008, .009, .010, .011, .012, .013, .014, .015, .067, .068, .069


150822a.024, .025, .026, .027, .027, .028, .029, .030, .031, .032, .033, .034

6. Rock
PSF ASD spectra:
150820a.012, .013, .014, .015, .016


150821a.038, .039, .040, .041



150823a.009, .010, .011, .012, .013, .014, .015, .016, .017, .018, .019, .020, .021, .022, .023, .024, .025, .026, .027, .028, .029
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.4d. Spectral Data - Thompson, Manitoba: Lichens on rocks and trees
Each sample listed above shot with ASD after 1 week of air drying of sample. Spectra shot from0.35-2.5 μm, 1 nm output, with ASD, directory 111027_lichen)

(i) Spectral Data - Lichens on rocks
Site
Sample ID
PSF Spectral file (ASD)

 (up wind)
L6

111025b.019

(1) 
L10

111025b.025

(2) 
L16

111025b.040

(3) 
L1a

111027a.001

(3) 
L1b

111027a.002

(3) 
L1c

111027a.003

(3) 
L1d

110127a.004

(3) 
L14

111025b.039

(4) 
L12a

111025b.029

(4) 
L12b

111025b.030

(4) 
L12c

111025b.031

(4) 
L12d

110125b.032

(4) 
L12e

110125b.033

(4) 
L12f

111025b.034

(4) 
L12g

111025b.035

(5) 
L15

111025b.041

(6) 
L11a

110125b.026

(6) 
L11b

110125b.027

(6) 
L11c

110125b.028

(ii) Spectral Data - Lichens on trees
Site
Sample ID
PSF Spectral file (ASD)

 (up wind) 
L6

111025b.018

(1) 
L9a

111025b.023

(1) 
L9b

110125b.024

 (2) 
L8

111025b.022

(3) 
L2a

111027a.005

(3) 
L2b

111027a.006

(3) 
L2c

111027a.008

 (4) 
L7a

111025b.020

(4) 
L7b

111025a.021

(5) 
L17a

111025b.042

(5) 
L17b

111025b.043

(6) 
L13a

111025b.036

(6) 
L13b

111025b.037

(6) 
L13c

111025b.038

(7) 
L3a

111027a.009

(7) 
L3b

111027a.010

(8) 
L5

111025b.017

(9) 
L4a

111025b.013

(9) 
L4b

111025b.014

(9) 
L4c

111025b.015

(9) 
L4d

111025b.016

Note: Digital spectra of lichens from previous investigators are also available: Gauslaa, Leckie, Rollin, and Steiner and Guterman.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.5d. Spectral Data - Serpentinites from the Royal Ontario Museum

M16397-10s
PSF 130627a.001
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

M16397-35-55s
PSF 130627a.002
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

M16397-75-13s
PSF 130627a.003
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

M16397-125-180s
PSF 130627a.004
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

++++++

W68-35 – 25s
PSF 130627a.005
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

W68-35 – 25-50s
PSF 130627a.006
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

W68-35 – 50-155s
PSF 130627a.007
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

W68-35 – 125-230s
PSF 130627a.008
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

W68-35 – 150-255s
PSF 130627a.009
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

++++++

M6394 – 10s
PSF 130627a.010
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

M6394 – 15s
PSF 130627a.011
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

M6394 – 35s
PSF 130627a.012
unsorted, milled; i=30°, e=0°; 350-2500 nm; 1 nm output; 200 spectra averaged; ASD 9Directory: SerpROM).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
17.7d. Archival lichen spectra – previous investigators – digital spectra
17.7.1a. Gauslaa (1984)

400-1400 nm; 10-100 nm spectral resolution; 24 species, wet and dry, 3 samples of each species.
++++++++++++++++++++++++

17.7.2a. Leckie et al. (1988, 1989)

(a) 402-1097 nm, 5 nm resolution; integrating sphere.
(b) 302-1097 nm, 5 nm resolution; integrating sphere.

(c) 300-1100 nm, 1 nm resolution; integrating sphere.

+++++++++++++++++++++++++

17.7.3a. Rollin et al. (1994)

401-2493 nm; 4 nm spectral resolution; GER IRIS biconical; i=45°, e=0°.
++++++++++++++++++++++++++

17.7.4a. Steiner and Guterman (1966)

510-830 or 430-830 nm (variable); 20 nm resolution.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 17.

18. Organics 

18.1. Coals
18.1a. Coals - Sample Descriptions 

FORMAT: 
Sample No., [ISPG Sample No.] Rank, (source and original sample I.D.), locality (area/mine) [seam].
APSC # = Argonne Premium Coal Sample.
Sample ID
Description











COAL01
Frank Slide area, Alberta (self collected), <37µm fraction.

COAL02
Frank Slide area, Alberta (self collected), <500µm fraction.

COAL03
Frank Slide area, Alberta (self collected), 500-1000µm fraction.

COAL10
[10]
Lignite: (ISPG #597/88) Bienfait, SK [Estevan seam].

COAL11
[8]
Lignite: (ISPG #601/88) Costello, SK [Estevan seam].

COAL12
[15]
Sub-bituminous: (ISPG #581/88) Highvale, AB.

COAL13
[17]
High Volatility C Bituminous: (ISPG #587/88) Coal Valley, AB [Mynheer/Val D'Or seam].

COAL14
[18]
High Volatility C/B Bituminous: (ISPG #914/88) Quinsam, BC [No. 1 seam].

COAL15
[19]
High Volatility C/B Bituminous: (ISPG #917/88) Prince Mine, NS [Hub seam].

COAL16
[24]
High Volatility A Bituminous: (ISPG #99/89) Phalen Mine, NS [Phalen, raw coal].

COAL17
[25]
High Volatility A Bituminous: (ISPG #97/89) Phalen/Lingan Mine, NS [Phalen/Harbour seam].

COAL18
[30]
High Volatility A - Medium Volatility Bituminous: (ISPG #577/88) Byron Creek, BC.

COAL19
[??]
Medium Volatility Bituminous: (ISPG #579/88) Quintette.

COAL20
[36]
Medium Volatility Bituminous: (ISPG #605/88) Line Creek, BC.

COAL21
[41]
Low Volatility Bituminous: (ISPG #589/88) Smoky River Coalfield, AB [No. 4 seam].

COAL22
[??]
Anthracite: (ISPG #103/89) Mt. Klappan.

COAL30
Lignite; Beulah Zap seam, North Dakota; APCS-8.

COAL31
Subbituminous; Wyodak-Anderson seam, Wyoming; APCS-2. (DECS-26).
COAL32
High volatility bituminous; Illinois #6 seam, Illinois, APCS-3. (DECS-2).
COAL33
High volatility bituminous; Blind Canyon seam, Utah; APCS-6. (DESC-6).
COAL34
High volatility bituminous; Lewiston-Stockton seam, West Virginia; APCS-7. (DESC-32).
COAL35
High volatility bituminous; Pittsburgh #8 seam, Pennsylvania; APCS-4. (maybe DECS-12).
COAL36
Medium volatility bituminous; Upper Freeport seam, Pennsylvania; APCS-1.

COAL37
Low volatility bituminous; Pocahontas #3 seam, Virginia; APCS-5. (DECS-19).
COAL38
Elk Valley, BC, Canada coal pile by side of TransCanada Highway between Frank and Sparwood; collected July 27, 2007.

COAL39
Low-sulphur sub-bituminous coal from central Alberta, Canada; 30 pieces from The Coal Association of Canada.
COAL40
Coal: few small fragments from outcrop at Pocahontas Mine site, Jasper National Park, AB, Canada (collected August 2020).
++++++

C19Bk0
COAL19 unbaked, <45µm fraction.

C19Bk1
COAL19 baked for 1 hour at 450°C (<45µm fraction) [29.95% mass loss].

C19Bk2
COAL19 baked for 2 hours at 450°C (<45µm fraction) [40.16% mass loss].

C19Bk4
COAL19 baked for 4 hours at 450°C (<45µm fraction) [58.67% mass loss].

C19Bk6
COAL19 baked for 6 hours at 450°C (<45µm fraction) [77.50% mass loss].

C19Bk24
COAL19 baked for 24 hours at 410°C (<45µm fraction) [85.17% mass loss].

C19Bk72
COAL19 baked for 72 hours at 450°C (<45µm fraction) [89.46% mass loss].

____________________________________________________________________________
NOTES:
COAL01, COAL02 and COAL03 are all from the same sample but crushed to different grain sizes.

COAL10 - COAL22 are part of a coal gasification study; some data in Furimsky et al. (1990) and Kalkreuth et al. (1991).

COAL01: Coal from Frank, Alberta- Medium-high volatility bituminous (references: "Alberta Coal"; Patching et al. 1980; Tibbetts 1976). Analyses for coal from Coleman used.

COALS 30-37 are from the Argonne Premium Coal Sample Program (APCS).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1b. XRD Data - Coals
18.1b.1. Analogue XRD files from U of A instrument
Sample

XRD File
Phases identified
COAL01
Z04686

Kaolinite; illite; some minor peaks in 41-47° 2-theta region and at higher angles

COAL10
Z04860

Quartz; kaolinite; amorphous hump near 22° 2-theta

COAL11
Z04858

Quartz; kaolinite; amorphous hump near 22° 2-theta

COAL12
Z04849

Quartz; kaolinite; amorphous hump near 22° 2-theta

COAL13
Z04854

Quartz; kaolinite; amorphous hump near 22° 2-theta

COAL14
Z04856

Quartz; calcite; kaolinite; amorphous hump near 22° 2-theta
COAL15
Z04848

Quartz; kaolinite; pyrite; illite; amorphous hump near 22° 2-theta

COAL16
Z04847

Quartz; kaolinite; pyrite; calcite; illite; small amorphous hump near 22° 2-theta

COAL17
Z04853

Quartz; kaolinite; pyrite; muscovite; amorphous hump near 22° 2-theta
COAL18
Z04851

Quartz; kaolinite; calcite; dolomite; amorphous hump near 22° 2-theta
COAL19
Z04852

Quartz; kaolinite; dolomite; amorphous hump near 22° 2-theta
COAL20
Z04859

Quartz; kaolinite; amorphous hump near 22° 2-theta
COAL21
Z04855

Quartz; kaolinite; amorphous hump near 30° 2-theta
COAL22
Z04850

Quartz; kaolinite; amorphous hump near 31° 2-theta
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.1b.2.  Coals – NMR Files Available
COAL10









NMR spectrum measured at University of Winnipeg.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.1c. Compositional data from Department of Energy Coal Sample Bank and Database (https://www.energy.psu.edu/services/introduction-department-energy-coal-sample-bank-and-database). APSC = Argonne Premium Coal Sample number.. 

APCS
My sample
ASTM
Sample
Ash,
S,
Btu/lb,
C,
H,
V.M.,
Vit.

Sample ID

Rank
Type
dry
dry
dmmf
dmmf
dmmf
dmmf
%

APCS-1
COAL36
mvb
Chan-Seam
13.0
2.32
15980
88.1
4.8
30.1
71
APCS-2
COAL31
subB
Drll-Seam
9.0
0.63
13020
76.0
5.4
48.5
89

APCS-3
COAL32
hvCb
Chan-Seam
15.0
4.83
14696
80.7
5.2
45.7
85

APCS-4
COAL35
hvAb
Chan-Seam
5.0
2.19
15336
85.0
5.4
40.8
85

APCS-5
COAL37
LvB
Chan-Seam
9.0
0.66
15908
91.8
4.5
19.0
89

APCS-6
COAL33
hvAb
Chan-Seam
5.0
0.62
14728
81.3
5.8
47.8
87

APCS-7
COAL34
hvAb
Chan-Seam
20.0
0.71
15247
85.5
5.4
36.2
73

APCS-8
COAL30
lig
Drll-Seam
10.0
0.80
12370
74.0
4.9
49.2
--

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.1c. Compositional Data - Coals (Part 1)
Sample

            Structural Groups (%)          
           I.R. Spectroscopy         


       Aliphatic          
   Aromatic    
A-factor
C-factor
Wmin

fa

CH/CH2






(cm-1)


(Cq+CH/100)
CH3
(C-O-C, R-OH)
Cq (C=O)
CH






COAL10
0.60
6
34

29(3)
31
0.32
0.48

1613

COAL11
0.58
5
37

26(3)
32
0.31
0.49

1616

COAL12
0.63
10
27

29(2)
34
0.22
0.48

1606

COAL13
0.66
8
26

37
29
0.37
0.35

1607

COAL14
0.63
17
20

34
29
0.36
0.26

1604

COAL15
0.67
9
24

37
30
--
--

--

COAL16
0.69
6
25

39
30
0.37
0.15

1602

COAL17
0.70
8
22

44
26
0.33
0.16

1604

COAL18
0.79
6
15

43
36
0.36
0.21

1598

COAL19
??
??
??

??
??
??
??

??

COAL20
0.76
7
17

40
36
0.33
0.23

1595

COAL21
0.81
4
15

39
42
0.39
0.19

1595

COAL22
??
??
??

??
??
??
??

??

Notes:

fa = aromaticity factor (signal intensities of protonated and nonprotonated aromatic carbon relative to total carbon from 13C n.m.r. spectroscopy)

Structural group abundances determined from 13C n.m.r. spectroscopy

I.R. Spectroscopy:
A-factor = (2930+2860cm-1)/(2930+2860+1630cm-1), a measure of relative intensities of aliphatic groups (CH2 and CH3) versus aromatic C=C) bands.

C-factor = (1710cm-1)/(1710+1630cm-1), a measure of the relative amounts of carboxyl and carbonyl groups versus aromatic (C=C) bands.

Wmin = position of the C=C band (shifts with increasing rank levels to lower wavelength numbers.

Analyses from Kalkreuth et al. (1991).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.1c. Compositional data – Coals

Sample
Toluene-soluble fractions (wt. %)

COAL01
0.60

COAL10
0.91

COAL11
0.66

COAL12
0.35

COAL13
0.37

COAL14
0.79

COAL15
0.55

COAL16
0.46

COAL17
0.53

COAL18
0.59

COAL19
0.65

COAL20
0.52

COAL21
0.34

COAL22
0.04

COAL30
1.07

COAL31
0.81

COAL32
0.63

COAL33
3.43
4.41 (duplicate analysis)

COAL34
0.60

COAL35
0.78

COAL36
1.23

COAL37
1.83

Analysis done at University of Alberta : 02/96.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1c.  Compositional Data - Coals (Part 2)
Elemental Compositions (from University of Alberta)

Weight % elements in toluene-soluble fraction.


Elements (weight percent)


Total

Ratios

Sample
N
C
H
S
O1
N+C+H+S

H/C
O/C

COAL10
0.267
77.836
10.778
0.000
11.119
88.881

1.650
0.107

COAL11
0.246
77.671
10.220
1.897
9.966
90.034

1.568
0.096

COAL14
0.477
79.231
8.202
0.640
11.450
88.550

1.233
0.108

COAL17
0.820
67.717
6.661
12.451
12.351
87.649

1.172
0.137

COAL18
0.777
82.109
6.592
0.000
10.522
89.478

0.957
0.096

COAL19
0.705
81.996
7.794
1.040
8.465
91.535

1.133
0.077

COAL20
0.895
74.916
7.159
0.000
17.030
82.970

1.139
0.171

1. Oxygen by difference.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++


18.1c. Compositional Data - Coals (Part 3)



COAL01
COAL10
COAL11
COAL12
COAL13

Vitrinite Reflectance (%)

n.d.
0.335
0.276
0.445
0.616
VITRINITE
Texto-ulminite

n.d.
16
15
 5
 5

Eu-ulminite/Vitrinite A1

n.d.
25
25
35
33

Corpocollinite A2

n.d.
 7
 5
 3
 1

Corpocollinite B3

n.d.
 1

Densinite/Vitrinite B4

n.d.
31
33
24
32

Vitrodetrinite

TOTAL VITRINITE

n.d.
80
78
67
71

INERTINITE
Semifusinite


n.d.
 6
 9
12
 9

Fusinite


n.d.
 5
 6
 6
 8

Macrinite


n.d.


<1
<1

Micrinite


n.d.


<1

Inertodetrinite

n.d.
 5
 5
12
 7

TOTAL INERTINITE

n.d.
16
20
30
24

LIPTINITE
Sporinite


n.d.
 3
 2
 2
 4

Cutinite


n.d.
<1

<1

Resinite (in situ)

n.d.
<1

 1
 1

Resinite (detrital)

n.d.



<1

Suberinite


n.d.
 1


<1

Liptodetrinite

n.d.

TOTAL LIPTINITE

n.d.
 4
 2
 3
 5

1. Eu-ulminite in coals with reflectance <0.60%

   Vitrinite A in coals with reflectance >0.60%

2. Corpocollinite in eu-ulminite or Vitrinite A

3. Corpocollinite in densinite or vitrinite B

4. Densinite in coals with reflectance <0.60%

   Vitrinite B in coals with reflectance >0.60%

5. Random reflectance

6. Maximum reflectance

n.d. not determined

Data are for maceral analysis (volume %, mineral free basis).

Analyses from Kalkreuth et al. (1991).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1c. Compositional Data - Coals (Part 3) (continued)



COAL14
COAL15
COAL16
COAL17
COAL18

Vitrinite Reflectance (%)

0.706
0.666
0.916
0.956
1.116
VITRINITE
Texto-ulminite




Eu-ulminite/Vitrinite A1

46
48
37
36
21

Corpocollinite A2
Corpocollinite B3
Densinite/Vitrinite B4

36
35
43
43
32

Vitrodetrinite


 
 1

TOTAL VITRINITE

82
83
81
79
53

INERTINITE
Semifusinite


 5
 4
 5
 3
23

Fusinite


 3
 4
 4
 5
 6

Macrinite




 1
 1
 2

Micrinite




 2
 2
 1

Inertodetrinite

 4
 3
 2
 4
12

TOTAL INERTINITE

13
12
14
15
44

LIPTINITE
Sporinite


 4
 5
 5
 5
 2

Cutinite



 

 1

Resinite (in situ)

 1



 1

Resinite (detrital)

Suberinite

Liptodetrinite

TOTAL LIPTINITE

 5
 5
 5
 6
 3

1. Eu-ulminite in coals with reflectance <0.60%

   Vitrinite A in coals with reflectance >0.60%

2. Corpocollinite in eu-ulminite or Vitrinite A

3. Corpocollinite in densinite or vitrinite B

4. Densinite in coals with reflectance <0.60%

   Vitrinite B in coals with reflectance >0.60%

5. Random reflectance

6. Maximum reflectance

Data are for maceral analysis (volume %, mineral free basis).

Analyses from Kalkreuth et al. (1991).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1c. Compositional Data - Coals (Part 3) (continued)



COAL19
COAL20
COAL21
COAL22

Vitrinite Reflectance (%)

1.166
1.336
1.656
3.956
VITRINITE
Texto-ulminite




Eu-ulminite/Vitrinite A1

33
26
38
47

Corpocollinite A2
Corpocollinite B3
Densinite/Vitrinite B4

29
24
34
25

Vitrodetrinite

 1
 3

TOTAL VITRINITE

63
53
72
72

INERTINITE
Semifusinite


11
24
13
20

Fusinite


 9
 8
 7
 7

Macrinite


 2
 2
<1

Micrinite


<1

Inertodetrinite

13
13
 8
 1

TOTAL INERTINITE

35
47
28
28

LIPTINITE
Sporinite


 2

Cutinite

Resinite (in situ)

Resinite (detrital)

Suberinite

Liptodetrinite

TOTAL LIPTINITE

 2
 0
 0
 0

1. Eu-ulminite in coals with reflectance <0.60%

   Vitrinite A in coals with reflectance >0.60%

2. Corpocollinite in eu-ulminite or Vitrinite A

3. Corpocollinite in densinite or vitrinite B

4. Densinite in coals with reflectance <0.60%

   Vitrinite B in coals with reflectance >0.60%

Analyses from Kalkreuth et al. (1991).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1c. Compositional Data - Coals (Part 4)



COAL01

COAL10
COAL11
COAL12 COAL13

Proximate Analysis (Wt.%)
Moisture


1.2-5.4

25.2
26.4
12.1
 6.1

Ash


11.5-12.0 (~15)
10.2
 8.6
 9.5
10.5

Volatiles


24.1-26 (~31)
29.6
30.6
32.0
33.7

Fixed Carbon

59.1-61.4 (~69-70)
35.0
34.3
46.4
49.7

Fuel Ratio


n.d.

1.18
1.12
1.45
1.47

Ultimate Analysis (d.b.) (Wt.%)
C


76.7-77.3

61.9
64.1
66.1
69.7

H


4.3

 4.1
 4.4
 4.0
 4.1

N


1.3

 1.0
 1.1
 1.1
 1.1

S


0.4-0.5

 0.42
 0.71
 0.05
 0.19

O1


5.1-5.3

18.9
18.0
18.0
13.7

H/C ratio


n.d.

 0.80
 0.82
 0.73
 0.71

Maceral Data2
Vitrinite/huminite3

n.d.

80
78
67
71

Petrofactor


n.d.

3.8
3.3
5.9
7.7

Ash Data
SiO2


52%

Al2O3


33%

Fe,Ti,P,Ca,Mg,SO3,Na,K
<3% each










COAL14
COAL15
COAL16
COAL17
COAL18

Proximate Analysis (Wt.%)
Moisture


n.d.
n.d.
 1.5
 0.8
 1.0

Ash


n.d.
n.d.
28.5
24.1
11.0

Volatiles


n.d.
n.d.
26.4
29.5
24.5

Fixed Carbon

n.d.
n.d.
43.5
45.6
63.5

Fuel Ratio


n.d.
n.d.
1.65
1.55
2.59

Ultimate Analysis (d.b.) (Wt.%)
C


n.d.
n.d.
58.6
63.2
77.2

H


n.d.
n.d.
 3.8
 4.1
 4.0

N


n.d.
n.d.
 1.2
 1.3
 1.2

S


n.d.
n.d.
 2.07
 1.89
 0.2

O1


n.d.
n.d.
 5.4
 5.2
 6.2

H/C ratio


n.d.
n.d.
 0.78
 0.78
 0.62

Maceral Data2
Vitrinite/huminite3

n.d.
n.d.
81
79
53

Petrofactor


n.d.
n.d.
10.4
11.0
17.4

1 by difference

2 Maceral data in volume percent, mineral-matter free.

3 Huminite applies for coals with reflectance <0.60; vitrinite >0.60.

4 For coal from Coleman (near Frank, AB)

n.d. not determined

Analyses from Kalkreuth et al. (1991).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1c. Compositional Data - Coals (Part 4) (continued)



COAL19
COAL20
COAL21
COAL22

Proximate Analysis (Wt.%)
Moisture


 0.4
 1.0
 0.5
 3.1

Ash


 9.6
18.4
 6.7
15.6

Volatiles


22.8
20.3
17.7
 6.9

Fixed Carbon

67.2
60.3
75.1
74.4

Fuel Ratio


2.90
2.97
4.24
10.8

Ultimate Analysis (d.b.) (Wt.%)
C


80.9
71.4
84.5
77.2

H


 4.0
 3.8
 3.9
 2.2

N


 1.0
 1.1
 1.3
 1.0

S


 0.4
 0.33
 0.35
 0.42

O1


 4.1
 4.8
 3.2
 3.1

H/C ratio


 0.59
 0.65
 0.55
 0.34

Maceral Data2
Vitrinite/huminite3

63
55
72
72

Petrofactor


16.9
21.8
21.6
50.3


COAL30
COAL31
COAL32
COAL33
COAL34
COAL35
COAL36 COAL37

APCS#
   8
   2
   3
   6
   7
   4
   1
   5

Elemental4
C
72.9
75.0
77.7
80.7
82.6
83.2
85.5
91.1

H
 4.83
 5.35
 5.00
 5.76
 5.25
 5.32
 4.70
 4.44

O
20.3
18.0
13.5
11.6
 9.8
 8.8
 7.5
 2.5

S
 0.80
 0.63
 4.83
 0.62
 0.71
 2.19
 2.32
 0.66

Ash
 9.7
 8.8
15.5
 4.7
19.8
 9.2
13.2
 4.8

Proximate Analyses of as-received coal
Moisture
32.2
28.1
 8.0
 4.6
 2.42
 1.65
 1.1
 0.7

Vol. matter
30.5
32.2
36.9
43.7
29.4
37.2
27.1
18.5

Fixed C
30.7
33.0
40.9
52.8
52.2
52.0
58.7
76.1

Ash
 6.6
 6.3
14.3
 4.5
19.4
 9.1
13.0
 4.7

1 by difference

2 Maceral data in volume percent, mineral-matter free.

3 Huminite applies for coals with reflectance <0.60; vitrinite >0.60.

4  C, H, and O values are given as % and are moisture and ash-free values. Sulphur and ash are in dry %.

Data from Kalkreuth et al. (1991) and Argonne Premium Coal Sample program.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.1d. Spectral Data - Coals 

Sample
Facility/File No.  
Description







COAL01
RELAB C1SC95
<37µm, 0/15, 0.3-2.7µm, 5nm.

COAL01
RELAB C1SC96
<500µm, 0/15, 0.3-2.7µm, 5nm.

COAL01
RELAB C1SC97
500-1000µm, 0/15, 0.3-2.7µm, 5nm.

COAL01
RELAB N2SC95
<37µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

COAL01
RELAB N1SC95
<37µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL10
RELAB C1CL06
<45µm, 30/0, 0.3-2.6µm, 5nm.

COAL10
RELAB N1CL06
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL11
RELAB C1CL07
<45µm, 30/0, 0.3-2.6µm, 5nm.

COAL11
RELAB N1CL07
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL11E
RELAB CECL91
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL11E
RELAB MACL91E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

++++++
COAL12
RELAB C1CL03
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL12
RELAB N1CL03
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL12E
RELAB CECL92
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL12E
RELAB MACL92E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

COAL12
PSF 004 q10
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++
COAL13
RELAB C1CL04
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL13
RELAB N1CL04
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL13E
RELAB CECL93
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL13E
RELAB MACL93E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

++++++
COAL14
RELAB C1CL09
<45µm, 30/0, 0.3-2.6µm, 5nm.

COAL14
RELAB N1CL09
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL15
RELAB C1CL10
<45µm, 30/0, 0.3-2.6µm, 5nm.

COAL15
RELAB N1CL10
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL16
RELAB C1CL12
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL16
RELAB N1CL12
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL16E
RELAB CECL16
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL16E
RELAB MACL16E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).


++++++COAL16 - grain size series++++++
COAL16
RELAB cacl53
<37 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053a
<37 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053a
<37 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).

COAL16
RELAB cbcl53
37-63 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053b
37-63 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053b
37-63 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).

COAL16
RELAB cccl53
63-125 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053c
63-125 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053c
63-125 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).

COAL16
RELAB cdcl53
125-250 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053d
125-250 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053d
125-250 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).

COAL16
RELAB cecl53
250-500 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053e
250-500 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053e
250-500 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).

COAL16
RELAB cfcl53
500-1000 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053f
500-1000 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053f
500-1000 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).

COAL16
RELAB cgcl53
1000-2000 µm, 30°/0°; 0.3-2.6 µm; 5 nm.

COAL16
RELAB bmr1cl053g
1000-2000 µm; 30°/30°; 2-25 µm; 0.8-120 nm resol., Nicolet.

COAL16
RELAB bkr1cl053g
1000-2000 µm; 30°/0°,30°; 0.3-25 µm; 5,0.6-129 nm resol. Merged RELAB+Nicolet (note change in viewing geometry).
COAL16
PSF 001 r1
37-63 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL16
PSF 002 r2
<37 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL16
PSF 003 r3
63-125 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL16
PSF 004 r4
125-250 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL16
PSF 005 r5
250-500 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
+++++++++++++++++++++++++++++++
COAL17
RELAB C1CL11
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL17
RELAB N1CL11
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL17
PSF 003 q9
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++
COAL18
RELAB C1CL01
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL18
RELAB N1CL01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL19
RELAB C1CL02
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL19
RELAB N1CL02
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++COAL19 and Bk – UV spectra++++++

COAL19
PSF 001 jf1
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL19
PSF 009 jf1
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 
COAL19E
PSF 002 jf2
<45 µm. toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. Reshoot.
COAL19Bk1
PSF 003 jf3
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL19Bk2
PSF 004 jf4
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL19Bk2
PSF 008 jf4
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. Reshoot
COAL19Bk4
PSF 005 jf5
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
COAL19Bk4
PSF 007 jf5
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. Reshoot
COAL19Bk6
PSF 006 jf6
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. Reshoot.
COAL19Bk24
PSF 002 ah1
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 

COAL19Bk72
PSF 003 ah2
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 

++++++COAL19 baking in air spectra+++++++++++
COAL19Bk0
RELAB c1cl42
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk0
RELAB lacl42
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].


++++++
COAL19Bk1
RELAB c1cl43
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk1
RELAB lacl43
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].


++++++

COAL19Bk2
RELAB c1cl44
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk2
RELAB lacl44
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].


++++++

COAL19Bk4
RELAB c1cl45
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk4
RELAB lacl45
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].


++++++

COAL19Bk6
RELAB c1cl46
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk6
RELAB lacl46
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].


++++++

COAL19Bk24
RELAB c1cl47
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk24
RELAB lacl47
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].


++++++

COAL19Bk72
RELAB c1cl48
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

COAL19Bk72
RELAB lacl48
<45µm, 30°/0°,30°, 0.3-26 µm, 5/0.6-129 nm; merged RELAB + Nicolet at 2.5 µm [note different viewing geometry].

+++++++++++++++++++++++++++++++++++++++++
COAL20
RELAB C1CL08
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL20
RELAB N1CL08
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL20E
RELAB CECL20
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL20E
RELAB MACL20E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

++++++
COAL21
RELAB C1CL05
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL21
RELAB N1CL05
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL21E
RELAB CECL21
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL21E
RELAB MACL21E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

+++++++COAL21: Ethanol grind-mix+++++

COAL21
Dark_ast_041; PSF 250502b.00001.asd
<45 µm, no grind.

COAL21
Dark_ast_042; PSF 250502b.00002.asd
1 minute of ethanol grind-mix.

COAL21
Dark_ast_043; PSF 250502b.00003.asd
2 minutes of ethanol grind-mix.

COAL21
Dark_ast_044; PSF 250502b.00005.asd
3 minutes of ethanol grind-mix.

COAL21
Dark_ast_045; PSF 250502b.00006.asd
4 minutes of ethanol grind-mix.

COAL21
Dark_ast_046; PSF 250502b.00007.asd
5 minutes of ethanol grind-mix.

+++++

COAL22
RELAB C1CL13
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL22
RELAB N1CL13
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL22E
RELAB CECL22
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

COAL22E
RELAB MACL22E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

COAL22
PSF 005 q11
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
+++++++COAL22: Ethanol grind-mix+++++

COAL22
Dark_ast_051; PSF 250505a.00001.asd
<45 µm, no grind.

COAL22
Dark_ast_052; PSF 250505a.00002.asd
1 minute of ethanol grind-mix.

COAL22
Dark_ast_053; PSF 250505a.00003.asd
2 minutes of ethanol grind-mix.

COAL22
Dark_ast_054; PSF 250505a.00004.asd
3 minutes of ethanol grind-mix.

COAL22
Dark_ast_055; PSF 250505a.00005.asd
4 minutes of ethanol grind-mix.

COAL22
Dark_ast_056; PSF 250505a.00006.asd
5 minutes of ethanol grind-mix.

+++++

++++++
COAL30
RELAB C1CL30
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL30
RELAB MACL30
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL31
RELAB C1CL31
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL31
RELAB MACL31
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL32
RELAB C1CL32
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL32
RELAB MACL32
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL32
PSF 007 ac6
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++
COAL33
RELAB C1CL33
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL33
RELAB MACL33
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL34
RELAB C1CL34
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL34
RELAB MACL34
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL35
RELAB C1CL35
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL35
RELAB MACL35
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL36
RELAB C1CL36
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL36
RELAB MACL36
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

++++++
COAL37
RELAB C1CL37
<45µm, 30/0, 0.3-2.6µm, 5 nm.

COAL37
RELAB MACL37
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

COAL37
PSF 011 sls5
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 

COAL37E
PSF 012 sls6
<45 µm, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 18.1.
18. Organics 
18.2. Athabasca Oil Sands 
18.2.1. Syncrude lease samples
18.2.2. Encana cores

++++++++++++++

18.2.1a. Sample Descriptions - Athabasca Oil Sands
A total of 18 characterized tar sand samples were acquired from various sources for the Athabasca tar sand deposit near Fort McMurray, Alberta. The samples have been labelled sequentially from TAR01 to TAR18. In addition to whole rock samples of each, sample splits were extracted with toluene using a micro-Soxhlet apparatus. The "bitumen-free" fraction was then wet sieved to obtain <45µm and >45µm fractions which have been retained. These fractions have also been subjected to X ray diffraction analysis, elemental analyses (C,H,N,S, and O (by difference)) and nuclear magnetic resonance spectroscopy (at Institute for Biodiagnostics)).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.2.1a and 18.2.1c. Athabasca Oil Sands – Compositions (Part 1): Grain sizes and bitumen content



BITUMEN CONTENT (Wt. %)*




SAMPLE #
 GRAIN SIZE (WT. %)
Run 1
Run 2
Run 3
Run 4
Average
Syncrude

<45µm
>45µm





analysis

TAR01
99.0
 0.8
0.34
0.08


 0.21
0.2

TAR02
95.6
 4.2
0.37
0.10
0.04

0.17
 0.2
TAR03
24.5
71.7

3.82
4.24

4.03
 3.8
TAR04
47.9
47.5
4.49
4.63
4.28
3.86
4.32
 4.6

TAR05
95.0
 4.8
0.22
0.10
0.31

0.21
 0.2

TAR06
 3.8
92.8
3.43
3.39
3.58

3.47
 3.4

TAR07
14.3
72.7
13.23
12.86
14.90

13.66
13.0

TAR08
28.9
64.6
6.87
6.08
7.21

6.72
 6.5

TAR09
 5.8
84.7
9.58
9.45
9.62

9.55
 9.5

TAR10
12.8
78.1
9.59
8.51
10.02

9.37
 9.1

TAR11
 3.9
82.9
13.55
12.90
14.84

13.76
13.2

TAR12
 2.2
86.1
11.91
11.48
12.55

11.98
11.7

TAR13
 2.5
84.9
12.03
13.32
13.66

13.00
12.6

TAR14
 3.6
83.2
13.42
12.90


13.16
13.2

TAR15
 4.3
80.6
15.40
14.86
15.60

15.29
15.1

TAR16
 4.8
81.6
14.17
13.07
14.35

13.86
13.6

TAR17
 3.5
80.9
15.68
15.62
16.89

16.06
15.6

TAR18
 1.7
83.6
15.11
14.37
16.41

15.30
14.7

Grain size analyses and one bitumen content determination done at at Syncrude Canada Ltd.
* Bitument content = weight % toluene-soluble content. Analysis done at University of Alberta. Run 1 : 02/90 ; run 2 : 02/90 ; run 3 : 02/96 (run 1 of 02/96); run 4 : 02/96 (run 2 of 02/96).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.2.1b. XRD Data - Athabasca Oil Sands
18.2.1b.1. Analogue files from U of A instrument (bitumen-free)
Sample
File ID
Grain size
Phases identified



Fraction (µm)



TAR01
Z03158
<45
quartz ; minor illite; minor kaolinite ; low angle hump
TAR01
Z03159
>45

quartz ; minor pyrite ; minor siderite ; trace graphite
TAR02
Z03160
<45

quartz ; minor muscovite ; minor kaolinite ; minor illite ; low angle hump
TAR02
Z03161
>45

quartz ; trace clays

TAR03
Z03162
<45

N/A
TAR03
Z03163
>45

N/A
TAR04
Z03164
<45

quartz ; minor calcite; minor montmorillonite; minor illite; minor kaolinite ; low angle hump
TAR04
Z03165
>45

quartz ; vrey minor low angle hump and peak
TAR05
Z03166
<45

quartz ; minor montmorillonite ; minor calcite ; minor siderite ; minor glauconite ; minor kaolinite ; low angle hu8mp
TAR05
Z03167
>45

quartz
TAR06
Z03168
<45

quartz ; minor siderite ; minor calcite ; minor montmorillonite ; minor illite ; minor kaolinite ; low angle hump
TAR06
Z03169
>45

quartz ; minor graphite peak
TAR07
Z03173
<45

quartz ; minor siderite ; minor dickite ; minor calcite ; minor illite ; minor kaolinite
TAR07
Z03174
>45

quartz ; minor low angle hump
TAR08
Z03175
<45

quartz ; minor illite ; minor kaolinite ; minor montmorillonite ; minor amorphous hump
TAR08
Z03176
>45

quzrtz ; minor low angle hump
TAR09
Z03177
<45

quartz ; minor dolomite ; minor dickite ; minro siderite
TAR09
Z03178
>45

quartz ; trace siderite ; trace dolomite ; minor low angle hump
TAR10
Z03179
<45

N/A
TAR10
Z03180
>45

N/A
TAR11
Z03181
<45

quartz ; dickite ; minor muscovite ; minor calcite
TAR11
Z03182
>45

quartz ; minor low angle hump
TAR12
Z03183
<45

quartz ; dickite ; minor siderite ; minor dolomite ; minro muscovite
TAR12
Z03184
>45

quartz ; minor low angle hump
TAR13
Z03185
<45

quartz ; dickite ; minor muscovite ; minor siderite ; minor calcite
TAR13
Z03186
>45

quartz ; possibly minor marcasite, magnesian calcite, and ferroan dolomite ; minor low angle hump
TAR14
Z03187
<45

quartz ; dickite ; minor muscovite ; minor siderite ; minor dolomite
TAR14
Z03188
>45

quartz ; possible trace carbonate ; minor low angle hump
TAR15
Z03189
<45

quartz ; dickite ; minor montmorillonite ; minor calcite ; minor siderite ; minor muscovite
TAR15
Z03190
>45

quartz ; minor low angle hump
TAR16
Z03191
<45

quartz ; dickite ; minor calcite ; minor siderite ; minor illite
TAR16
Z03192
>45

quartz ; possible carbon phase ?; minor low angle hump
TAR17
Z03193
<45

quartz ; dickite ; minor kaolinite ; minor illite/illite-montmorillonite, muscovite ; minor calcite ; minor siderite 
TAR17
Z03194
>45

quartz
TAR18
Z03195
<45

N/A
TAR18
Z03196
>45

N/A
18.2.1b.2. University of Manitoba XRD data (whole rock ?) :

TAR03
TAR10
TAR18
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.2.1b.3. Athabasca Oil Sands – NMR Data
TAR05



TAR06



TAR07

TAR12



TAR16



TAR17


+++++++++++++++++++++++++++++++++++++++++++++++++++++

18.2.1c. Compositional Data - Athabasca Oil Sands – (Part 2) Elemental abundances 
Analyses performed at the University of Alberta, Department of Chemistry using a light element analyzer.
Sample
Weight percentages in toluene-soluble fractions

Sum
Atomic ratios


N
C
H
S
O1
(N+C+
H/C   
O/C







+H+S)



TAR01


TAR02

TAR03
0.438
80.481
10.269
3.729
5.083
94.917
1.520
0.047

TAR04
0.424
78.335
9.948
3.916
7.377
92.623
1.513
0.071

TAR05
0.199
33.973
4.897
0.720
60.211
39.789
1.717
1.330

TAR06
0.722
81.491
10.056
5.640
2.091
97.909
1.470
0.019

TAR07
0.501
93.236
10.491
4.682
1.090
98.910
1.502
0.010

TAR08
0.493
82.753
10.455
4.063
2.236
97.764
1.505
0.020

TAR09
0.537
79.688
9.912
4.702
5.161
94.839
1.482
0.049

TAR10
0.536
82.579
10.301
4.641
1.943
98.057
1.486
0.018

TAR11
0.561
82.630
10.313
4.489
2.007
97.993
1.487
0.018




4.920*
TAR12
0.542
81.747
10.152
4.898
2.661
97.339
1.480
0.024

TAR13
0.610
82.695
10.371
4.860
1.464
98.536
1.494
0.013

TAR14


TAR15
0.586
81.979
10.043
5.022
2.370
97.630
1.460
0.022

TAR16
0.574
82.051
10.198
5.034
2.143
97.857
1.481
0.020

TAR17
0.539
82.332
10.252
5.027
1.850
98.150
1.484
0.017

TAR18
0.557
82.419
10.182
5.028
1.814
98.186
1.472
0.017

* - duplicate analysis
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.2.1d. Spectral Data - Athabasca Oil Sands 

Sample
Facility/File No. 
Description







TAR01
RELAB CATS01
WR, 0/15, 0.3-2.7µm, 5nm.

TAR01
RELAB SATS01
WR, 0/15, 0.3-2.7µm, 5nm, smoothed with 5 pt boxcar filter.

TAR01E
RELAB CFTS01
<45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR01
RELAB LAOS24
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

++++++
TAR02
RELAB CATS02
WR, 0/15, 0.3-2.7µm, 5nm.

TAR02
RELAB SATS02
WR, 0/15, 0.3-2.7µm, 5nm, smoothed with 5 pt boxcar filter.

TAR02
RELAB LAOS25
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

++++++
TAR03
RELAB CATS03
WR, 0/15, 0.3-3.5µm, 5nm.

TAR03
RELAB SATS03
WR, 0/15, 0.3-3.5µm, 5nm, smoothed with 5 pt boxcar filter.

TAR03
RELAB CBTS03
WR, 0/15, 0.3-0.6µm, 1nm.

TAR03
RELAB LAOS26
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR03
RELAB NCOS26
WR, 30/0, 0.3-26µm (RELAB+Nicolet @ 1.7µm), 0.22-65 nm resol.

TAR03
USGS 188
WR, IS, 0.35-2.6µm, 1x resol.

TAR03E
RELAB CFTS03
<45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR03E
RELAB CCTS03
>45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR03E
RELAB CETS03
<45µm crushed, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

TAR03E
RELAB MATS03E
<45µm crushed, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).

++++++
TAR04
RELAB CATS04
WR, 0/15, 0.3-2.7µm, 5nm.

TAR04
RELAB SATS04
WR, 0/15, 0.3-2.7µm, 5nm, smoothed with 5 pt boxcar filter.

TAR04
RELAB LAOS27
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

++++++
TAR05
RELAB CATS05
WR, 0/15, 0.3-2.7µm, 5nm.

TAR05
RELAB SATS05
WR, 0/15, 0.3-2.7µm, 5nm, smoothed with 5 pt boxcar filter.

TAR05
RELAB LAOS28
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

++++++
TAR06
RELAB CATS06
WR, 0/15, 0.3-2.7µm, 5nm.

TAR06
RELAB C1TS06
WR, 30/0, 0.3-2.6µm, 5 nm (sample rerun).

TAR06
USGS 204,208
WR, IS, 0.35-2.6µm, 1x resol, 2 spectra.

TAR06
RELAB LAOS29
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR06
RELAB MATS06A
WR, 30/30, 1.8-25.9µm, 0.6-129 nm (Nicolet FTIR; sample rerun).

++++++
TAR07
RELAB CATS07
WR, 0/15, 0.3-2.7µm, 5nm.

TAR07
RELAB LAOS30
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR07
USGS 196
WR, IS, 0.35-2.6µm, 1x resol.

TAR07E
RELAB CFTS07
<45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR07E
RELAB CCTS07
>45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR07

PSF 008 sls3
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
TAR07E
PSF 009 sls4
unsorted, bitumen-free; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++
TAR08
RELAB CATS08
WR, 0/15, 0.3-2.7µm, 5nm.

TAR08
RELAB LAOS31
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR08
USGS 200
WR, IS, 0.35-2.6µm, 1x resol.

TAR08E
RELAB CETS08
<45µm crushed, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

TAR08E
RELAB MATS08E
<45µm crushed, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).

++++++
TAR09
RELAB CATS09
WR, 0/15, 0.3-2.7µm, 5nm.

TAR09
RELAB LAOS32
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR09E
RELAB CCTS09
>45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

++++++
TAR10
RELAB CATS10
WR, 0/15, 0.3-2.7µm, 5nm.

TAR10
RELAB C1TS10
WR, 30/0, 0.3-2.6µm, 5 nm (sample rerun).

TAR10
RELAB LAOS33
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR10
RELAB MATS10A
WR, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR; sample rerun).

TAR10
RELAB NCOS33
WR, 30/0, 0.3-26µm (RELAB+Nicolet @ 1.7µm), 0.22-65 nm resol.

TAR10
USGS 184
WR, IS, 0.35-2.6µm, 1x resol.

TAR10E
RELAB CFTS10
<45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR10E
RELAB CCTS10
>45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

++++++
TAR11
RELAB CATS11
WR, 0/15, 0.3-2.7µm, 5nm.

TAR11
RELAB LAOS34
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR11E
RELAB CCTS11
>45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

++++++
TAR12
RELAB CATS12
WR, 0/15, 0.3-2.7µm, 5nm.

TAR12
RELAB LAOS35
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR12
USGS 212
WR, IS, 0.35-2.6µm, 1x resol.

++++++
TAR13
RELAB CATS13
WR, 0/15, 0.3-3.5µm, 5nm.

TAR13
RELAB SATS13
WR, 0/15, 0.3-3.5µm, 5nm, smoothed with 5 pt boxcar filter.

TAR13
RELAB CBTS13
WR, 0/15, 0.3-0.6µm, 1nm.

TAR13
RELAB N3TS13
WR, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

TAR13
RELAB N1TS13
WR, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

TAR13
RELAB LAOS36
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR13
RELAB NCOS36
WR, 30/0, 0.3-26µm (RELAB+Nicolet @ 1.7µm), 0.22-65 nm resol.

TAR13
USGS 192
WR, IS, 0.35-2.6µm, 1x resol.

++++++
TAR14
RELAB CATS14
WR, 0/15, 0.3-2.7µm, 5nm.

++++++
TAR15
RELAB CATS15
WR, 0/15, 0.3-2.7µm, 5nm.

TAR15
RELAB LAOS37
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR15E
RELAB CETS15
WR, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

TAR15E
RELAB MATS15E
WR, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).

++++++
TAR16
RELAB CATS16
WR, 0/15, 0.3-2.7µm, 5nm.

TAR16
RELAB LAOS38
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

++++++
TAR17
RELAB CATS17
WR, 0/15, 0.3-2.7µm, 5nm.

TAR17
RELAB LAOS39
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR17
PSF jun0506.003
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

TAR17
PSF ju06062.003
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged? – ASD. Measured in 10-sample disc at end of Mars box run #4 without sapphire window (Directory: jul06062).

TAR17
PSF ajar17
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

TAR17
PSF tjar17
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at end of Mars box run #4 without sapphire window (Directory: jul06062).
TAR17
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++
TAR18
RELAB CATS18
WR, 0/15, 0.3-2.7µm, 5nm.

TAR18
RELAB LAOS40
WR, 30/30, 0.9-26µm (Nicolet FTIR), 0.16-65 nm resol.

TAR18E
RELAB CFTS18
<45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

TAR18E
RELAB CCTS18
>45µm, bitumen free, 0/15, 0.3-2.7µm, 5nm.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.2.2. Encana Cores (Jennifer Charney project – 2006-2007)

This project involves analysis of oil sand cores provided by Dr. Blair Mattison of Encana. The goal is to assess reflectance spectroscopy for discriminating swelling from non-swelling clays (primary goal) and bitumen content (secondary goal).

Twelve core boxes were provided (splits of six cores), with one set to be retained for further analysis.

18.2.2a. Sample descriptions

Many of the tasks associated with this project have either been completed, or nearing completion. The 6 core boxes provided by Encana had the following identifiers:

Well:
ECA ECOG LEISMER (our box 7)
LSD:
00/8-15-76-6
W4m/0
Core:
11


Box:4
of: 5A
Depth: 379.45 – 386.63 m
Rec: 7.18 m

Well:
ECA-ECOG LEISMER (our box 8)
LSD: 00/8-15-76-6
W4m/0
Core:
9


Box:5
of: 6A
Depth: 364.75 – 371.77 m
Rec: 6.76 m

Well:
ECA-ECOG LEISMER (our box 9)
LSD: 00/8-15-76-6
W4M/0
Core:
9


Box:6
of: 6A
Depth: 364.75 – 371.77 m
Rec: 6.76 m

Well:
AECOG d14 Fisher (our box 1)
LSD: 14-8-70-3
W4M
Core:
3


Box:4
of: 6A
Depth:476.10 – 484.55 m
Rec: 8.10 m

Well:
AECOG – d14 Fisher (our box 2)
LSD: 14-8-70-3
W4M
Core:
3


Box:5
of: 6A
Depth: 476.10 – 484.55 m
Rec: 8.10 m

Well:
AECOG d14 Fisher (our box 3)
LSD: 14-8-70-3
W4M
Core:
3


Box:6
of: 6A
Depth: 476.10 – 484.55 m
Rec: 8.10 m
+++++++++++++++++++++++++++++++++

18.2.2b. Encana oil sand cores: XRD data

Note that XRD analytical data are available for the spots in the cores analyzed by ASD reflectance spectroscopy and micro-Soxhlet extraction.

	
	

	First Fisher Core
	%Bitumen

	OSFC01
	0.279276

	OSFC02
	6.93986

	OSFC03
	0.589538

	OSFC04
	7.553016

	OSFC05
	0.925905

	OSFB01
	12.2191

	OSFC06
	0.331891

	OSFC07
	0.769283

	OSFB02
	12.54184

	OSFC08
	10.49921

	
	

	Second Fisher Core
	%Bitumen

	OSFB03
	12.63809

	OSFC09
	1.511362

	OSFB04
	10.88026

	OSFC10
	0.911325

	OSFB05
	11.31865

	OSFC12
	0.271695

	OSFC13
	1.311621

	OSFC14
	8.874362

	OSFC15
	0.402415

	OSFC16
	1.708428

	
	

	Third Fisher Core
	%Bitumen

	OSFC17
	11.18257

	OSFC18
	0.440855

	OSFC19
	0.786492

	OSFC20
	9.889097

	OSFC21
	0.164333

	OSFC22
	11.70714

	OSFC23
	1.952278

	OSFC24
	12.14272

	
	

	First Leismer Core
	%Bitumen

	OSFL01
	11.91925

	OSLC01
	7.264699

	OSLC02
	3.172758

	OSLC03
	12.30903

	OSFL02
	12.77085

	OSLC04
	6.06599

	OSFL03
	12.03266

	
	

	Second Leismer Core
	%Bitumen

	OSLC05
	

	OSLC06
	14.14539

	OSLC07
	13.3491

	OSFL04
	13.5802

	OSFL05
	11.58487

	
	

	Third Leismer Core
	%Bitumen

	OSLC08
	

	OSLC09
	11.11691

	OSLC10
	

	OSLC11
	


18.2.2d. Spectral data

Point spectra of selected spots in the cores were acquired by ASD with the following parameters: 2000 spectra averaged; i=0°, e=0° (bifurcated cable). The ASD spectrometer has 2-7 nm resolution and measures from 0.35-2.5 µm

Sample ID
File

OSFC01
may2506.000
OSFC02
may2506.001
OSFC04
may2506.002
OSFC05
may2506.003
OSFC03
may2506.004

OSFB01
may2506.005
OSFC06
may2506.006
OSFC07
may2506.007
OSFB02
may2506.008
OSFC08
may2506.009
OSFB03
may2606.000
OSFC09
may2606.001
OSFB04
may2606.002

OSFC10
may2606.003
OSFB05
may2606.004
OSFC11
may2606.005
OSFC12
june106.000
OSFC13
june106.001
OSFC14
june106.002

OSFC15
june106.003

OSFC16
june106.004

OSLC08
june106.005

OSLC09
june106.006

OSLC10
june106.007

OSLC11 
june106.008
OSLC05 
june106.009
OSLC06 
june106.010
OSLC07 
june106.011
OSFL04 
june106.012
OSFLO5 
june106.013

+++++++
OSFL01
june106.015

OSLC02 
june106.016
OSLC01 
june106.017
OSFL02 
june106.018
OSLC04 
june106.019
OSFL03 
june106.020
OSFC17 
june106.021
OSFC18 
june106.022

OSFC19 
june106.023
OSFC20 
june106.024
OSFC21 
june106.025

OSFC22 
june106.026

OSFC23 
june106.027

OSFC24 
june106.028

++++++

OSFL03

PSF 004 f5
<unsorted; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160104 uv dark stuff]. 
+++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 18.2.

18. Organics 

18.3. Other Organics (Non-coal, non-oil sands)
18.3a. Sample Descriptions - Other Organics
FORMAT: Sample #, description, locality, (source of sample), notes, old sample no.

Sample ID
Description











ALB101
Albertite: Albert Mine, New Brunswick, Canada (Minerals Unlimited), also known as DK2 and DARK102. ~20 pieces received Dec. 2013.
ANT101
Anthraxolite: Chelmsford, Balfour County, Ontario, Canada (Minerals Unlimited), also known as DK4 and DARK104. ~10 pieces of various purity received Dec. 2013.
ASP101
Asphaltum: Seefeld, North Tyrol, Austria (Minerals Unlimited), also known as DK1 and DARK101; more received November 2017.
BIOCHAR-a
Biochar from Dylan McKenzie (Nov. 2023; from his MESC thesis): Canadian Agrichar.

BIOCHAR-b
Biochar from Dylan McKenzie; treated to incorporate amine (Nov. 2023; from his MESC thesis): Canadian Agrichar.

CTE101
Coal tar extract: processed material (prepared by, and acquired from, Jeff Bell, University of Hawaii), <37µm size. <37µm powder prepared by dry sieving. Sample left.

GIL101
Gilsonite: Fort Duchesne, Uinta County, Utah, USA (Minerals Unlimited), also known as DK3 and DARK103. ~5 1" pieces received Dec. 2013.
IDR101
Idrialite: Skagg’s Springs, Sonoma County, California, USA. Sparse on sandstone; fluorescent (Minerals Unlimited). ~10 small pieces (coatings) received Dec. 2013.
OIL101
Oil sandstone: near Santa Cruz, Santa Cruz County, California, USA (Minerals Unlimited).

OILS10
Oil Shale: Near Rifle, Colorado, USA (Minerals Unlimited), alias DK5, DARK105 and OILS100.

PIG357
Shungite, carbon black (catalog no. 480-10S). 4 ounces. (black/brown group). See section 19 of this document for data.
SHU101
Shungite, impure; from "Shungite-store" via Amazon; ~2 kg of earthy chunks (i.e., impure shungite). Received Nov. 19, 2013; more received Jan. 17/15.
SHU102
Shungite, pure glassy material with conchoidal fracturing; ~100 grams from "Shungite-store" via Amazon ("pure" shungite). Received Nov. 19, 2013; more received Jan. 17/15. More (250 grams) received April 13, 2016. [Wet sieve powder series made.]
++++++++++++++++++++++++++++++++++
18.3.1a. Other Organics - Miscellaneous Sample Description Notes
ALB101
Utah albertite is predominantly condensed aromatic ring structures (Hunt 1963).


Relatively free of oxygenated substances and low mineral matter (<10%) (Abraham 1945).

GIL101
Defined as an asphaltite (Abraham 1945).


Predominantly aromatic, >50% may be non-hydrocarbons (Hunt 1963).


Insoluble organic matter (the bulk of the organics) can be made soluble upon heating; kerogen is highly aliphatic (straight chain and cyclic), few aromatics or long-chain structures; saturated cyclic material with numerous heteroatoms (cyclic rings of methylene groups) (Yen and Chilingarian 1976).

ANT101
Precambrian material; moderately high ash content (King et al. 1963).


Crystalline structure observed ((King 1963).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.3.2a. Alternative mineral names and additional organic names for organic-rich materials
Albertite


Anthraxolite


Asphaltite

Curtisite


Gilsonite

Graphite

Idrialite


Kerite



Pendletonite

Shungite


Thucolite

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.3b. XRD Data - Other Organics (non-coal, non-oil sands)
18.3b.1. Analogue files from U of A X-ray diffractometer.
Sample

XRD File

ANT101

Z03957



ASP101

Z03951


ALB101

Z03952


CTE101

Z03157

GIL101

Z03956

OILS10

Z03958

Quartz ; minor chlorite ; minor illite/muscovite ; minor sodian anorthite
++++++++++++++++++++++++++++++++++

18.3b.2. University of Manitoba X-ray diffractometer files:

ALB101

ANT101

ASP101

CTE101

GIL101 (whole rock)

GIL101"E” same sample after extraction and drying with toluene (sample is totally soluble).

++++++++++++++++++++++++++++++++++

18.3b.3. University of Winnipeg X-ray diffractometer files (November 2013)
SHU101
XRD shows almost all quartz, plus carbon, illite, and albite.
SHU102
XRD shows amorphous humps and minor quartz
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.3c. Compositional Data - Other Organics (non-coal, non-oil sands) - 
18.3c.1. NMR Spectra from National Research Council Institute for Biodiagnostics
GIL101

++++++++++++++++++++++
18.3c.2. University of Alberta toluene-soluble fraction (wt. %)

Performed using micro-Soxhlet analysis – 02/96

Sample

Toluene-soluble fraction (wt. %)

ALB101

7.45

ASP101

1.34

ANT101

0.08

GIL101

100.00

OILS10

0.04

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.3c.3. University of Alberta Department of Chemistry light element analyzer

Elemental abundances in toluene-soluble fractions


Elements (weight percent)


Total

Ratios

Sample
N
C
H
S
O1
N+C+H+S

H/C
O/C

ASP101
0.345
72.608
9.662
7.062
10.323
89.667

1.585
0.107

ALB101
1.857
84.158
10.567
0.000
2.628
97.372

1.496
0.023
ALB101*
1.789
84.318
10.720
0.000

ALB101*



0.790
ANT101

GIL101
2.686
84.575
10.444
0.000
1.725
98.275

1.471
0.015

GIL101*
2.668
84.369
10.671
0.000

GIL101*



0.570






* - duplicate analysis


1. Oxygen by difference.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.3c.3.1. Franklin and Marshall College light element analyzer (Stan Mertzman)

Elements (wt. %)

Sample
N
C
S
SO3
SHU102
0.975
64.399
3.57
8.91

SHU102*
0.483
31.998
15.74
39.30

* - duplicate analysis


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.3c.4. X-ray fluorescence data - from Stan Mertzman - Franklin and Marshall College

Wt. %
PIG357
SHU101
SHU102
SHU102
SiO2
80.09
88.53
1.55

TiO2
0.31
0.32
0.02

Al2O3
5.91
6.00
0.31

FeO
0.80
0.56
0.06

Fe2O3
8.44
1.28
0.01

(Fe2O3)*
(9.33)
(1.90)
(0.08)

MnO
0.12
0.02
0.01

MgO
1.73
1.08
0.25

CaO
0.24
0.07
0.15

Na2O
0.66
0.32
0.07

K2O
1.70
1.79
0.13

P2O5
0.10
0.08
0.02

SO3
0.06
0.05
0.36


TOTAL
100.25
100.16
2.95
0.00

C


~97%


LOI
31.77
34.95
50.99
91.14

ppm
Sr
42
28
101

Zr
85
95
48

V
274
310
755

Ni
148
<1
725

Cr
461
111
156

Co
22
<1
90

Source
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC





* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.3c. Compositional Data - Other Organics (non-coal, non-oil sands) (Part 1)
ANALYSIS


ASP101
ALB101
GIL101
ANT101
OILS10

ORGANIC PHASES
Volatile matter (%)8


69.3
85.5
6.5







5.3

Volatile Matter Ratio (Range)1




96(36-124)3
Carbon Residue Ratio (Range)2




29(16-75)3
Fixed Carbon

30-55%4
25-50%
10-20%
64.7%






13.8-18.6%


Organic Carbon (wt.%)



65.8

11-1611
Insoluble non-mineral matter
<5%4
85-98%
0-1%

Organic Matter (wt.%)





13.8%

Bitumen Content



62%

Spin Density (Ng x 10-18)13



5.3

Ash-Free Analyses


C (Wt.%)


83.4-87.2
85-86
90.2-94.1





84.1
85.5
94.1
80.4






84.1


H (Wt.%)


9.0-13.2
8.5-10
1.1-5.2





9.4
10.5
1.1
10.3






9.9


S (Wt.%)


0-1.2
0.3-0.5
0.1
0.6-0.811





0.4







0.1-0.4





0.37
0.47
0.47
9.310





0.3


N (Wt.%)


0-3.1
2.0-2.8

1.8-2.111





2.2-3.3






2.8





2.0
2.7
0.7
9.310





0.3


O (Wt.%)


0-2.2
0-2






~0-6.5






6.5





4.26
0.96
3.76
9.310
Analysis (Ash-,S-,N-free)


C (atom%)


42.1
40.4
85.5


H (atom%)


56.3
59.3
11.9


O (atom%)


1.6
0.3
2.6

Atomic Ratios


H/C


1.34
1.47
0.14
1.5511




1.24
1.42-1.57

1.483










(0.92-1.77)3

N/C


0.020
0.027
0.006
0.028-0.03011

S/C


0.001
0.002
0.002


O/C


0.037
0.008
0.029
0.05-0.1011
18.3c. Compositional Data - Other Organics (non-coal, non-oil sands) (Part 1) (continued)
ANALYSIS


ASP101
ALB101
GIL101
ANT101
OILS10

Density9



1.078
1.037
1.96




1.15-1.204
1.075-1.091
1.03-1.10






1.02-1.07

Refractive Index


1.65
1.60
2.06






1.59-1.64

Solubility in CS2


1.8%
99.2%
0.1%






~92-96%




45-100%4
2-10%
>98%

Aromaticity (fa)


0.41
0.30
0.85-1.0







1.0

INORGANIC PHASES
Carbonate (wt.%)



2.7

Pyrite (wt.%)





0.86%

Mineral matter

69.9%5
0.1-0.2%
1%

86.2%

Ash (wt.%)



--
0.2
1.1







30

SPECTRAL DATA
Absorptivity (a)

    3.42µm



0.72
1.20(s)
--

    7.27µm



0.090
0.157(s)
--

    13.9µm



0.031
0.008
--

    11-14µm



0.52
0.42
--

    5µm



0.14
0.02
1.2

Aliphatic Carbon

    fCH2



0.265
0.340
--

    fCH3



0.086
0.098
--

    fCp/fCH2



0.33
0.06
--

    fa+fCH2+fCH3


0.76
0.74
--

Sources of Data

B,C
B,D,E
B,D,E,G
E,F
A,G,H

1 Wt.% volatile material / Wt. % organic carbon;   
2 Wt. % carbon residue / Wt.% organic carbon;    
3 Results for core from Rio Blanco County, Colorado (Anders and Robinson, 1971);    
4 Results for grahamite (var. asphaltite) (Abraham, 1945);    
5 Composition of mineral matter: 38.2% Ca and Mg carbonates, 6.7% clay, 19.0% silica, 5.9% iron oxides (Abraham, 1960);    
6 By difference;    
7 Corrected for presence of pyrite;    
8 Ash-free;    
9 Density corrected for mineral matter;    
10 S+N+O;     
11 For Colorado Green River oil shale (locality unknown);     
12 Benzene solubles normalized to percentages of benzene insolubles (kerogen);     
13 Spin density (per gram) from ESR data (Yen and Chilingarian 1976);     

Sources of data: A = Anders and Robinson (1971); B = Abraham (1945); C = Abraham (1960); D = Hunt et al. (1954) and Hunt (1963); E = King et al. (1963) and King (1963); F = Mancuso and Seavoy (1981); G = Yen and Chilingar (1976); H = Tissot and Welte (1978).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.3d. Spectral Data - Other Organics (non-coal, non-oil sands)
Sample
Facility/File No. 
Description








ALB101
RELAB C1AB01
<45µm, 30/0, 0.3-2.6µm, 5 nm.

ALB101
RELAB N2AB01
<45µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

ALB101
RELAB N1AB01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

ALB101
PIMA dark102a-g
<45µm, Bidirectional, 1.3-2.5µm, 2 nm; hull corrected and uncorrected available [7].

ALB101E
RELAB CEAB01
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

ALB101E
RELAB MAAB01E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction, Nicolet FTIR).

ALB101

PSF 018 pb4
unsorted; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
ALB101E
PSF 019 pb5
unsorted, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
ALB101ex
PSF 005 ah4
<45 µm, toluene-soluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 
++++++

ANT101
RELAB C1AT01
<45µm, 30/0, 0.3-2.6µm, 5 nm.

ANT101
RELAB N2AT01
<45µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

ANT101
RELAB N1AT01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

ANT101
PIMA dark104a-e
<45µm, Bidirectional, 1.3-2.5µm, 2 nm; hull corrected and uncorrected available [4].
ANT101

PSF 015 pb1
unsorted; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
ANT101E
PSF 016 pb2
<45 µm, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
ANT101E
PSF 017 pb3
unsorted, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
+++++++ANT101: Ethanol grind-mix+++++

ANT101
Dark_ast_071; PSF 250508a.00001.asd
<45 µm, no grind.

ANT101
Dark_ast_072; PSF 250508a.00002.asd
1 minute of ethanol grind-mix.

ANT101
Dark_ast_073; PSF 250508a.00003.asd
2 minutes of ethanol grind-mix.

ANT101
Dark_ast_074; PSF 250508a.00004.asd
3 minutes of ethanol grind-mix.

ANT101
Dark_ast_075; PSF 250508a.00005.asd
4 minutes of ethanol grind-mix.

ANT101
Dark_ast_076; PSF 250508a.00006.asd
5 minutes of ethanol grind-mix.

+++++

ASP101
RELAB C1AS01
<45µm, 30/0, 0.3-2.6µm, 5 nm.

ASP101
RELAB N2AS01
<45µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

ASP101
RELAB N1AS01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

ASP101
PIMA dark101a-f
<45µm, Bidirectional, 1.3-2.5µm, 2 nm; hull corrected and uncorrected available [6].

ASP101

PSF 001 p3
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
ASP101E
RELAB CEAS01
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

ASP101E
RELAB MAAS01E
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction, Nicolet FTIR).

ASP101E
PSF 002 p4
<45 µm, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++
BIOCHAR-a
PSF 240129 BIOCHAR A.0.dpt
Untreated, unsorted biochar; i=30°, e=0°; 1.27-14.99 µm; 6 cm-1 resolution; 250 spectra averaged; boxcar/zero fill: 2; Vertex 70 [Directory: 240129 biochar].

BIOCHAR-a
PSF 240125a.00001.asd
Untreated, unsorted biochar; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240125 biochar mars analogue].

++++

BIOCHAR-b
PSF 240129 BIOCHAR B.0.dpt
Treated, unsorted biochar; i=30°, e=0°; 1.27-14.99 µm; 6 cm-1 resolution; 250 spectra averaged; boxcar/zero fill: 2; Vertex 70 [Directory: 240129 biochar].

BIOCHAR-b
PSF 240125a.000021.asd
Treated, unsorted biochar; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 240125 biochar mars analogue].

+++++++
CTE101
RELAB c1sc83
<37µm, 0/15, 0.3-2.7µm, 5nm.


RELAB n2ct01
<45µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).


RELAB n1ct01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

CTE101

PSF 003 p5
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++

GIL101
RELAB C1GI01
<45µm, 30/0, 0.3-2.6µm, 5 nm.

GIL101
RELAB N2GI01
<45µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

GIL101
RELAB N1GI01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

GIL101
RELAB MAGI01
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR Rerun).

GIL101
PIMA dark103a-g
<45µm, Bidirectional, 1.3-2.5µm, 2 nm; hull corrected and uncorrected available [7].

GIL101
PSF jun0506.002
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

GIL101
PSF jul06062.002
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at end of Mars box run #4 without sapphire window (Directory: jul06062).

GIL101
PSF agil001
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

GIL101
PSF tgil001
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at end of Mars box run #4 without sapphire window (Directory: jul06062).
GIL101
PSF gil101m.rtx
<45 µm?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 15, 2006).

GIL101
PSF gil101n.rtx
whole rock?; i=30°, e=0°?, D&P FTIR, 2-16 µm, no thermal correct, ~1.5 cm-1 resol. relative to Infragold; D&P; unknown quality (Dec. 16, 2006).

GIL101

PSF 020 pb6
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 

GIL101ex
PSF 004 ah3
unsorted; toluene-soluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160108 uv dark stuff run 2]. 
GIL101
See also section 22 for spectra acquired under ambient and Mars-like conditions.
++++++

OILS10
RELAB N20S13
<45µm, 30/30, 0.9-3.2µm, ~0.3-3.9 nm (Nicolet FTIR).

OILS10
RELAB N1OS13
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

OILS10
RELAB CSC104
<45µm, 0/15, 0.3-2.7µm, 5nm.

OILS10
RELAB DSC104
<45µm, 30/30, 0.3-3.6µm, 5nm from 0.3-1.75µm, 1.2-5nm from 1.75-3.6µm (Nicolet).

OILS10
RELAB RNSC104
<45µm, 30/30, 1.0-3.6µm, 0.4-5nm resol., with errors, scaled to RELAB at 2.35µm (Nicolet).

OILS10
PIMA dark105a-h
<45µm, Bidirectional, 1.3-2.5µm, 2 nm; hull corrected and uncorrected available [8].

OILS10
PSF jun0506.001
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

OILS10
PSF jul06062.001
<45 μm; i=0°, e=0° (bifurcated cable); 0.35-2.5 μm; 1 nm output; 2000 spectra averaged – ASD. Measured in 10-sample disc at end of Mars box run #4 without sapphire window (Directory: jul06062).

OILS10
PSF aoils10
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at start of Mars box run #4 without sapphire window (Directory: jun0506inairnw).

OILS10
PSF toils10
<45 μm; i=35°, e=0°; 2-16 μm; 11-72 nm resolution; 100 spectra averaged – D&P FTIR. Measured in 10-sample disc at end of Mars box run #4 without sapphire window (Directory: jul06062).
OILS10

PSF 009 p1
<45 µm; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160104 uv dark stuff]. 
OILS10
See also section 22 for spectra acquired under ambient and Mars-like conditions.
OILS10E
RELAB CSC113
<45µm, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

OILS10E
RELAB MASC113
<45µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction) (Nicolet FTIR).

OILS10E
PSF 010 p2
unsorted; toluene insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160104 uv dark stuff]. 
+++++++OILS10: Ethanol grind-mix+++++

OILS10
Dark_ast_061; PSF 250506b.00001.asd
<45 µm, no grind.

OILS10
Dark_ast_062; PSF 250506b.00002.asd
1 minute of ethanol grind-mix.

OILS10
Dark_ast_063; PSF 250506b.00004.asd
2 minutes of ethanol grind-mix.

OILS10
Dark_ast_064; PSF 250506b.00005.asd
3 minutes of ethanol grind-mix.

OILS10
Dark_ast_065; PSF 250506b.00006.asd
4 minutes of ethanol grind-mix.

OILS10
Dark_ast_066; PSF 250506b.00007.asd
5 minutes of ethanol grind-mix.

+++++

PIG357
See section 16 for spectra
++++++

SHU101
PSF 131119a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (Directory: 131119 randoms).

SHU101



PSF nomad shu mean.mn
<45 µm powder – mean spectrum; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra for determining mean and standard deviation [Directory: 171116 std testing b].

SHU101



PSF nomad shu std.st

<45 µm powder- standard deviation on mean spectrum (above); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra for determining mean and standard deviation [Directory: 171116 std testing b].

++++++++

SHU102
PSF 131119a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD. (Directory: 131119 randoms).
SHU102

PSF 007 sls2
crushed, unsorted; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
+++++++SHU102: Ethanol grind-mix+++++

SHU102
Dark_ast_061; PSF 250513a.00001.asd
<45 µm, no grind.

SHU102
Dark_ast_062; PSF 250513a.00002.asd
1 minute of ethanol grind-mix.

SHU102
Dark_ast_063; PSF 250513a.00003.asd
2 minutes of ethanol grind-mix.

SHU102
Dark_ast_064; PSF 250513a.00004.asd
3 minutes of ethanol grind-mix.

SHU102
Dark_ast_065; PSF 250513a.00006.asd
4 minutes of ethanol grind-mix.

SHU102
Dark_ast_066; PSF 250513a.00007.asd
5 minutes of ethanol grind-mix.

+++++

+++++++
+++++++++++++++++++++++++++
+++iRaman testing (post-repair) ++++++++++++++++++++++++++++

 iRaman (November 2017)

SHU102


PSF 171121 shung101sub45.txt
<45 µm powder; i=e=0°; 174-4002 cm-1; ~4 cm-1 resolution; 10 spectra averaged; iRaman spectra [Directory: 171121 standards].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 18.3.
18. Organics 
18.4. Hosterman (USGS) Organic Samples
This sample suite was obtained from John Hosterman of the US Geological Survey. It includes heavy oils, oil sands, oil shales, and bitumens from a wide variety of localities.
18.4a. Sample Descriptions - Hosterman (USGS) Organic Samples
JORDAN
JO-1
Limestone: 26 mi. SE of S end of Dead Sea.

JO-3
Oil shale: A unit, Lajjun.

JO-4
Oil shale: B unit, Lajjun.

JO-5
Oil shale: C unit, Lajjun (?).

JO-6
Oil shale: D unit, Lajjun.

JO-7
Oil shale: Area HZ-12, El-Azraq.

JO-8
Limestone: Area HZ-13, El-Azraq.

JO-9
Natural asphalt (shale): 31.08N, 35.32E.

++++++
SEYCHELLES
SE-1
Tar ball: Coetivy Island beach.

++++++
TRINIDAD AND TOBAGO
TT-1
Sandstone: St. Patrick County.

++++++
U.S.A.
AL-1
Sandstone: Colbert County, Alabama.

AL-2
Sandstone: Colbert County, Alabama.

AL-3
Limestone: Colbert County, Alabama.

CA-1
Shale: Santa Barbara County, California.

CA-2
Shale: Santa Barbara County, California.

CA-3
Limestone: Santa Barbara County, California.

CA-4
Shale: San Luis Obispo County, California.

KY-1A
Sandstone: Logan County, Kentucky.

KY-2A
Sandstone: Edmonson County, Kentucky.

OK-1
Sandstone: Murray County, Oklahoma.

OK-2
Sandstone: Carter County, Oklahoma.

OK-5
Sandstone: Carter County, Oklahoma.

TX-1
Sandstone: Maverick County, Texas.

UT-2
Sandstone: Carbon County, Utah.

UT-3
Sandstone: Carbon County, Utah.

UT-4
Sandstone: Uintah County, Utah.

WY-1
Sandstone: Big Horn County, Wyoming.

++++++
VENEZUELA
VE-8
Sandstone: Hamaca area, Anzoategui State.

VE-11
Sandstone: Cerro Negro area, Monagas State.

VE-12
Sandstone: Cerro Negro area, Monagas State.





Further sample information can be obtained from Dr. Richard F. Meyer of the U.S. Geological Survey in Reston, Virginia, 22092 (Mail stop 954) and in Hosterman et al. (1990).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.4a.1. Hosterman Samples – Detailed Descriptions
FORMAT:
Assigned laboratory sample number

Political entity and geographic location

Sample deposit name

Location [nearest identifiable locality in The Times Atlas of the World]

Reservoir: Geological age and formation (lithology of bed sampled)

Source Bed: Geological age, formation, and kerogen type




JORDAN
JO-1
Jordan

Oil shale about 26 mi E of south end of Dead Sea

31.08N, 35.95E

Cretaceous unnamed unit (limestone)

Unknown

JO-3
Jordan

Lajun oil shale deposit (A unit)

31.14N, 35.52E [Lajjun or El-Lajun]

Paleocene Lajun Shale

Unknown

JO-4
Jordan

Lajun oil shale deposit (B unit)

31.14N, 35.52E [Lajjun or El-Lajun]

Paleocene Lajun Shale

Unknown

JO-5*

Jordan

Lajun oil shale deposit © unit)

31.14N, 35.52E [Lajjun or El-Lajun]

Paleocene Lajun Shale

Unknown

JO-6
Jordan 

Lajun oil shale deposit (D unit)

31.14N, 35.52E [Lajjun or El-Lajun]

Paleocene Lajun Shale

Unknown

JO-7
Jordan

Lajun oil shale, Area HZ-12, Depth 1022.5 (probably meters)

31.50N, 36.47E [El-Azraq]

Paleocene Lajun Shale

Unknown

JO-8
Jordan

Lajun oil shale, Area HZ-13, Depth 1081.5 (probably meters)

31.50N, 36.47E [El-Azraq]

Paleocene Lajun Shale (limestone bed)

Unknown

JO-9
Jordan

Natural asphalt

31.08N, 35.32E

Ordovician (?) (shale)

Unknown

++++++++++++++++++++++++++++
SEYCHELLES
SE-1
Seychelle Islands

Coetivy Island beach [TAR BALL]

7.00S, 56.20E

None

Probably Jurassic-Early Cretaceous shale, type III

+++++++++++++++++++++++++++++
TRINIDAD AND TOBAGO
TT-1
Trinidad, St. Patrick County

Outcrop on the lower part of the Morne L'Enfer Formation at Well D-74, Parrylands area

10.11N, 61.37W [Parrylands]

Pliocene Lower Morne L'Enfer Formation (sandstone)

Miocene Cruse Formation, type III

+++++++++++++++++++++++++++++
U.S.A.
AL-1
USA, Alabama, Colbert County

Outcrop, Section 29, T5S, R10W, Martin place, Spring Creek (Shine Springs)

34.40N, 87.42W [Russellville]

Upper Mississippian Hartselle Sandstone

Upper Devonian Chattanooga Shale, type II

AL-2
USA, Alabama, Colbert County

Outcrop, Section 22, T5S, R10W, Doss Hollow, Champion Paper

34.30N, 87.42W [Russellville]

Upper Mississippian Hartselle Sandstone

Upper Devonian Chattanooga Shale, type II

AL-3
USA, Alabama, Colbert County

Outcrop, SW 1/4, Section 2, T5S, R9W, near town of Margerum

34.44N, 87.59W [Cherokee]

Upper Mississippian Pride Mountain Formation (limestone bed)

Upper Devonian Chattanooga Shale, type II

CA-1
USA, California, Santa Barbara County

Mine cut (Airox property) 1000 feet east of Casmalia oil field, west of Santa Maria, California, diatomite, Monterey Formation

34.56N, 120.25W [Santa Maria]

Miocene Monterey Formation (diatomaceous shale)

Miocene Monterey Formation, type II

CA-2
USA, California, Santa Barbara County

Gaviota Beach

34.28N, 120.12-13W

Miocene Monterey Formation (diatomaceous shale)

Miocene Monterey Formation, type II

CA-3
USA, California, Santa Barbara County

Gaviota Beach

34.28N, 120.12-13W

Miocene Monterey Formation (limestone bed/carbonaceous marl)

Miocene Monterey Formation, type II

CA-4
USA, California, San Luis Obispo County

Edna deposit

35.12N, 120.36W [Edna]

Miocene Monterey Formation (shale/siltstone)

Miocene Monterey Formation, type II

KY-1A
USA, Kentucky, Logan County

Homer Quadrangle

37.00N, 86.45W

Upper Mississippian Chesterian Golconda Formation, Big Clifty Sandstone Member

Upper Devonian Chattanooga Shale, type II

KY-2A
USA, Kentucky, Edmonson County

Indian Creek Quarry, Brownville Quadrangle

34.25N, 86.25W

Lower Pennsylvanian Caseyville Formation, Kyrock Member (sandstone bed)

Upper Devonian Chattanooga Shale, type II

OK-1
USA, Oklahoma, Murray County

Sulphur quarry, SW 1/4, SE 1/4 Section 15, T.1 S., R.3 E.

34.31N, 96.98W [Sulphur]

Upper Cambrian and Lower Ordovician Arbuckle Formation (sandstone unit)

Upper Devonian Woodford Shale, type II

OK-2
USA, Oklahoma, Carter County

South Woodford deposit, W ½ E ½ Section 2, T.3 S., R.1 W.

34.11N, 97.08W [Ardmore]

Lower Pennsylvanian Morrow Formation (Morrowan Series) (sandstone unit)

Upper Devonian Woodford Shale, type II

OK-5
USA, Oklahoma, Carter County

Quarry, South Woodford deposit, W ½ E ½ Section 2, T.3 S, R. 1 W.

34.11N, 97.08W [Ardmore]

Lower Pennsylvanian Morrow Formation (Morrowan Series) (sandstone bed)

Upper Devonian Woodford Formation, type II

TX-1
USA< Texas, Maverick County

Conoco 2 Mary R. Saner, depth 1413.5-1414.5 feet (steamed)

28.44N, 100.31W [Eagle Pass]

Upper Cretaceous San Miguel Formation (sandstone bed)

Cretaceous marine shales, type II

UT-2
USA, Utah, Carbon County

Sunnyside deposit, sample 74-21, T. 12-14 S., R. 13-15 E., Salt Lake Base Meridian

39.34N, 110.24W [Sunnyside]

Eocene Green River Formation (sandstone/ sandy marl)

Eocene Green River and Wasatch Formations, type I

UT-3
USA, Utah, Carbon County

Sunnyside deposit, sample 74-19, T. 12-14 S., R. 13-15 E., Salt Lake Base Meridian

39.34N, 110.24W [Sunnyside]

Eocene Green River Formation (sandstone/ sandy marl)

Eocene Green River and Wasatch Formations

UT-4
USA, Utah, Uintah County

Asphalt Ridge NW deposit, T. 4 S., R. 20 E., Salt Lake Base Meridian

40.26N, 109.32W [Vernal]

Mesaverde (Upper Cretaceous) Formation, Asphalt Ridge Sandstone Member

Eocene Green River and Wasatch Formations

WY-1
USA, Wyoming, Big Horn County

Trapper Canyon deposit in Big Horn Basin, Sections 32 and 33, T. 52 N., R. 89 W.

44.38N, 107.50W

Lower Permian and Upper and Middle Pennsylvanian Tensleep Sandstone

Upper Permian Phosphoria Formation, type II

+++++++++++++++++++++++++++++++++++++
VENEZUELA
VE-8
Venezuela, Anzoategui State

Hamaca area, Well C core, Orinoco oil belt

8.39N, 63.53W [La Canoa]

Lower Miocene and Upper Oligocene Oficina Formation (sandstone)

Upper Cretaceous Querecual Formation, type II

VE11
Venezuela, Monagas State

Cerro Negro Area, Well A, Depth A2, core, Orinoco oil belt

9.04N, 62.40W [Temblador]

Middle Part of Miocene Oficina Formation (sandstone)

Upper Cretaceous Querecual Formation, type II

VE-12
Venezuela, Monagas State

Cerro Negro Area, Well A, Depth A3, core, Orinoco oil belt

9.04N, 62.40W [Temblador]

Lower Part of Miocene Oficina Formation (sandstone)

Upper Cretaceous Querecual Formation, type II






*: Only sample number available, all other information extrapolated from other samples.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.4b. XRD Data - Hosterman (USGS) Samples
18.4b.1. Analogue XRD files from U of A instrument
Sample
XRD File
Phases identified
Hosterman (USGS) Organic Samples (Foreign)
JO-1
Z04253
Calcite; quartz; possible minor fluorapataite; trace kaolinite

JO-3
Z04255
Quartz; calcite; possible minor fluorapatite; ankerite; 15A nontronite; minor kaolinite; minor brushite; minor microcline

JO-4
Z04254
Calcite; quartz; possible minor fluorapatite; minor brushite; minor kaolinite; minor ferroan dolomite 
JO-5
Z04246
Calcite; quartz; minor ferroan dolomit; minor kaolinite; minor fluorapatite
JO-6
Z04252
Calcite; quartz; minor fluorapatite; minor kaolinite; very minor brushite
JO-7
Z04257
Quartz; calcite; minor kaolinite; minor fluorapatite; minor microcline
JO-8
Z04243
Dolomite; quartz; minor halite; minor fluorapatite; minor kaolinite
JO-9
Z04247
Quartz; minor halite
SE-1


TT-1
Z04259
Quartz; albite (low); minro illite; very minor kaolinite
VE-8
Z04238
Quartz; minor kaolinite; possible mackinawite; possible feldspar; possible Ca,Mn) carbonate
VE-11
Z04256
Quartz; minor kaolinite; minor microcline
VE-12



Hosterman (USGS) Organic Samples (U.S. Samples)
AL-1
Z04264
Quartz; minor kaolinite
AL-2
Z04262
Quartz; minor kaolinite
AL-3
Z04251
Calcite; minor ankerite; minor quartz
CA-1
Z04239
Quartz; minor 15A nontronite; minor illite (2M2); minor pyrite; minro anorthite; trace karlinite; trace pyrite; trace ferroan dolomite 
CA-2
Z04233
Quartz; albite, calcian; minor pyrite; minor illite (trioctahedral); minor kaolinite; minor saponite
CA-3
Z04244
Calcite; quartz; minor fluorapatite; minor heulandite; trace illite; trace halite
CA-4

KY-1A
Z04265
Quartz; trace kaolinite; trace feldspars 
KY-2A
Z04263
Quartz; minor kaolinite
OK-1
Z04261
Quartz
OK-2
Z04245
Quartz; trace kaolinite
OK-5
Z04242
Quartz
TX-1
Z04248
Quartz; minor albite (low); minor anorthite (sodian); minor kaolinite; trace illite (tricotahedral)
UT-2
Z04234
Quartz; minor albite (low); minor calcite; minor ferroan dolomite; trace illite; trace microcline
UT-3
Z04260
Quartz; minor albite; trace illite (tricotahedral)
UT-4


WY-1




+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.4c. Compositional Data - Hosterman (USGS) Samples (Part 1) – Organic Phases
(i) Analyses from University of Alberta – toluene-soluble fraction determined by micro-Soxhlet extraction (02/96)

Sample
Toluene-soluble fraction (wt. %)

AL-1
9.30

AL-2
9.02

AL-3
6.22

CA-1
0.91

CA-2
0.15

CA-3
0.44

CA-4
9.01

KY-1A
6.70

KY-2
6.53

KY-2A
8.25

OK-1
3.88

OK-2
10.55

OK-5
17.07

TX-1
7.57

UT-2
5.19

UT-3
11.05

UT-4
9.30

WY-1
6.95

+++++

JO-1
2.15

JO-3
1.87

JO-4
2.75

JO-5
0.78

JO-6
1.96

JO-7
2.50

JO-8
6.57

JO-9
8.47

SE-1
88.65

TT-1
8.53

VE-8
3.43

VE-11
9.92

VE-12
12.07


+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

(ii) Analyses from University of Alberta - analyses by light element analyzer in the Department of Chemistry.
Elemental abundances in toluene-soluble fractions.

Elements (weight percent)


Total

Ratios

Sample
N
C
H
S
O1
N+C+H+S

H/C
O/C

USA samples
AL-1
0.897
84.315
9.755
1.863
3.170
96.830

1.378
0.028

AL-2
0.790
81.796
9.988
1.856
5.570
94.430

1.455
0.051
AL-2*
0.802
82.089
9.968
1.824
AL-3
0.848
77.775
8.917
1.439
11.021
88.979

1.366
0.106
AL-3*
0.827
77.255
8.784
1.499
CA-1
0.282
73.476
10.238
2.553
13.451
86.549

1.660
0.137

CA-2

CA-3
1.016
74.706
10.078
5.330
8.870
91.130

1.607
0.089

CA-4
1.080
81.098
10.596
2.547
4.679
95.321

1.557
0.043

KY-1A
0.713
83.135
10.373
1.299
4.480
95.520

1.487
0.040
KY-1A*
0.696
82.814
10.531
1.440

KY-1A*



1.850
KY-2
0.801
82.728
9.905
1.624
4.942
95.058

1.427
0.045

KY-2A
0.863
82.734
10.113
1.642
4.648
95.352

1.456
0.042

OK-1
0.701
78.868
9.911
1.391
9.129
90.871

1.497
0.087
OK-1*
0.716
82.599
10.461
1.573
OK-2
0.868
78.356
9.329
2.655
8.792
91.208

1.419
0.084

OK-5
0.938
78.892
9.064
2.585
8.521
91.479

1.369
0.081

TX-1
0.411
76.761
8.896
9.868
4.064
95.936

1.381
0.040

UT-2
1.172
79.133
9.393
0.449
9.853
90.147

1.414
0.093
UT-2*
1.201
78.945
9.383
0.000

UT-2*



0.760
UT-3
0.984
80.451
10.414
0.548
7.603
92.397

1.542
0.071
UT-3*



0.860
UT-4
1.135
83.362
10.955
0.940
4.608
95.392

1.585
0.042
UT-4*



0.940
WY-1
0.597
79.086
9.887
4.849
5.581
94.419

1.490
0.053

Non-USA samples

JO-1
0.370
65.370
8.768
11.225
14.267
85.733

1.598
0.164

JO-3
0.631
84.642
11.360
14.485
-11.118
111.118

1.599
-0.099

JO-4
0.516
74.391
10.166
12.811
2.116
97.884

1.628
0.021

JO-5
0.497
70.777
9.493
11.368
7.865
92.135

1.598
0.083

JO-6
0.522
75.581
10.160
9.982
3.755
96.245

1.602
0.037

JO-7
0.928
76.360
9.854
10.636
2.222
97.778

1.538
0.022

JO-8
0.750
72.015
8.906
9.406
8.923
91.077

1.473
0.093

JO-9
0.859
75.921
8.509
8.825
5.886
94.114

1.335
0.058

SE-1
0.338
82.334
12.295
2.756
2.277
97.723

1.779
0.021

TT-1
0.954
81.076
10.175
2.471
5.324
95.676

1.495
0.049

VE-8
0.593
78.948
9.994
4.164
6.301
93.699

1.508
0.060

VE-11
0.696
79.642
10.070
4.078
5.514
94.486

1.507
0.052

VE-12
0.759
81.378
10.104
3.843
3.916
96.084

1.479
0.036

1. Oxygen by difference.

* - duplicate analysis.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.4c. Compositional Data - Hosterman (USGS) Samples (Part 2) – Organic Phases
Wt. %

JO-1
JO-3
JO-4
JO-5
JO-6

C15+ Organic Phases (Wt.%)
Saturated HCs
 1.2
N.D.
 1.4
 0.7
 1.8

Aromatic HCs
 8.4
N.D.
 6.2
 8.6
11.1

NSO Compounds
13.2
N.D.
15.0
15.9
23.2

Asphaltenes

39.6
N.D.
60.0
59.6
54.0

Column Holdup
37.6
N.D.
17.5
15.2
 9.8

Sat./Arom. ratio
0.15
0.22
0.22
0.08
0.16

Total Bitumen

C15+: Normalized Percent
Saturated HCs
 2.0
N.D.
 1.7
 0.8
 2.0

Aromatic HCs
13.4
N.D.
 7.5
10.2
12.4

NSO Compounds
21.1
N.D.
18.2
18.8
25.7

Asphaltenes

63.5
N.D.
72.7
70.3
59.9

Percent Recovery
50.9
72.5
82.5
84.8
90.2

Wt.% for samples JO-1,4,5,6 are semi-normalized (i.e., total 100% with column holdup).

N.D. = Cannot determine, asphaltene removed.

Source of data: R.F. Meyer pers. comm. (1995)




Wt. %

JO-7
JO-8
JO-9
SE-1
TT-1

C15+ Organic Phases (Wt.%)
Saturated HCs
 1.2
 1.7
N.A.
11.4
 0.84

Aromatic HCs
21.8
17.5
N.A.
 7.6
 2.91

NSO Compounds
13.5
14.1
N.A.
 5.2
 1.92

Asphaltenes

39.6
60.9
N.A.
38.1
 1.39

Column Holdup
23.9
 5.8
N.A.
37.6


Sat./Arom. ratio
0.05
0.10
N.A.
1.50
 0.29

Total Bitumen




 7.83

C15+: Normalized Percent
Saturated HCs
 1.5
 1.8
N.A.
18.3

Aromatic HCs
28.7
18.5
N.A.
12.2

NSO Compounds
17.7
15.0
N.A.
 8.4

Asphaltenes

52.1
64.7
N.A.
61.1

Percent Recovery
76.1
94.2
N.A.
62.4
90.1

Wt.% for samples JO-7, 8, and SE-1 are semi-normalized (i.e., total 100% with column holdup).

N.A. = Not analysed.

Source of data: R.F. Meyer pers. comm. (1995)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.4c. Compositional Data - Hosterman (USGS) Samples (Part 2) – Organic Phases (continued)
Wt. %

AL-1
AL-2
AL-3
CA-1
CA-2

C15+ Organic Phases (Wt.%)
Saturated HCs
N.D.
N.D.
N.D.
1.44
0.06

Aromatic HCs
N.D.
N.D.
N.D.
3.28
0.03

NSO Compounds
N.D.
N.D.
N.D.
2.21
0.05

Asphaltenes

N.D.
N.D.
N.D.
1.62
0.05

Column Holdup
N.D.
N.D.
N.D.


Sat./Arom. ratio
0.85
0.82
0.59
0.44
1.94

Total Bitumen



9.23
0.19

C15+: Normalized Percent
Saturated HCs
N.D.
N.D.
N.D.


Aromatic HCs
N.D.
N.D.
N.D.

NSO Compounds
N.D.
N.D.
N.D.

Asphaltenes

N.D.
N.D.
N.D.

Percent Recovery
78.2
64.3
74.2
92.6
100.0

N.D. = Not determined, asphaltenes removed

Source of data: R.F. Meyer pers. comm. (1995)




Wt. %

CA-3
CA-4
KY-1(A)
KY-2(A)
OK-1

C15+ Organic Phases (Wt.%)
Saturated HCs
0.05
1.93
1.24
0.88
0.37

Aromatic HCs
0.07
2.74
2.14
1.67
1.33

NSO Compounds
0.28
2.04
1.21
1.52
1.53

Asphaltenes

0.11
2.32
1.50
2.75
1.12

Column Holdup


Sat./Arom. ratio
0.73
0.71
0.58
0.53
0.28

Total Bitumen
0.70
9.73
6.27
7.74
4.38

C15+: Normalized Percent
Saturated HCs

Aromatic HCs

NSO Compounds

Asphaltenes

Percent Recovery
72.8
92.8
97.3
88.2
99.2

Source of data: R.F. Meyer pers. comm. (1995)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.4c. Compositional Data - Hosterman (USGS) Samples (Part 2) – Organic Phases (continued)
Wt. %

OK-2
OK-5
TX-1
UT-2
UT-3

C15+ Organic Phases (Wt.%)
Saturated HCs
 0.66
 1.06
0.40
0.14
 1.68

Aromatic HCs
 0.58
 1.08
2.85
0.27
 2.42

NSO Compounds
 0.90
 2.08
1.28
0.52
 1.27

Asphaltenes

 9.08
 9.30
3.04
3.74
 2.33

Column Holdup


Sat./Arom. ratio
 1.13
 0.99
0.14
0.51
 0.69

Total Bitumen
11.89
14.43
7.87
5.18
10.99

C15+: Normalized Percent
Saturated HCs

Aromatic HCs

NSO Compounds

Asphaltenes

Percent Recovery
91.2
80.7
96.2
90.1
70.0

Source of data: R.F. Meyer pers. comm. (1995)




Wt. %

UT-4
WY-1
VE-8 
VE-11
VE-12

C15+ Organic Phases (Wt.%)
Saturated HCs
1.33
N.A.
13.0
 9.3
 8.6

Aromatic HCs
1.32
N.A.
22.4
20.1
13.5

NSO Compounds
2.48
N.A.
21.2
15.1
13.2

Asphaltenes

2.57
N.A.
23.6
23.1
29.8

Column Holdup

N.A.
19.8
32.4
34.9

Sat./Arom. ratio
1.01
N.A.
0.58
0.46
0.64

Total Bitumen
9.37
N.A.


C15+: Normalized Percent
Saturated HCs

N.A.
16.2
13.8
13.3

Aromatic HCs

N.A.
28.0
29.7
20.8

NSO Compounds

N.A.
26.5
22.3
20.2

Asphaltenes


N.A.
29.4
34.2
45.8

Percent Recovery
82.2
N.A.
80.2
67.6
65.1

Wt.% for samples VE-8,11,12 are semi-normalized (i.e., total 100% with column holdup).

N.A. = Not analysed.

Source of data: R.F. Meyer pers. comm. (1995)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.4c. Compositional Data - Hosterman (USGS) Samples (Part 3)
Wt. %

TT-1
CA-1
CA-2
CA-3
CA-4

MINERAL CONTENT1

Quartz

68.5
61.6
63.3
20.8
76.4

Cristobalite

 --
10.0
11.0
 --
 --

Feldspar

18.5
11.6
15.2
10.8
22.1

Calcite

 --
 --
 --
27.7
 --

Dolomite

 --
 2.9
 --
 1.9
 --

Siderite

 --
 --
 --
10.5
 --

Pyrite

 --
 5.9
 6.5
 8.0
 --

Heulandite

 --
 --
 --
17.5
 --

Kaolinite

 5.8
 2.0
 --
 --
 0.3

Illite

 3.3
 2.2
 1.6
 0.9
 0.6

Mixed

 1.9
 --
 --
 --
 --

Chlorite

 2.0
 --
 --
 --
 --

Smectite

 --
 3.8
 2.4
 1.9
 0.6

ORGANIC PHASES
Available HCs2
11.96
14.37
 2.80
 3.87
12.34

Asphaltene3

19.7
18.9
24.7
22.2
25.6

Saturated HCs4
11.9
16.9
30.9
 9.7
21.4

Aromatic HCs4
41.2
38.4
16.0
13.2
30.3

Polar Compounds4,5
27.2
25.8
28.4
54.9
22.6

Ni (ppm)

118
55
N.D.
228
132

V (ppm)

230
160
N.D.
N.D.
63

1 Normalized to 100%; calculated semiquantitatively by X-ray diffraction

2 Sample elutriated with benzene as well as Soxhlet extraction with chloroform

3 Eluted fraction combined with iso-octane at room temperature, precipitate was asphaltene

4 Remaining sample (after asphaltene determination) elutriated on an alumina-silica gel column

5 Resins included with N-S-O compounds as polar compounds

N.D. = not determined

-- = not present

Source of data: Hosterman et al. (1990)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

18.4c. Compositional Data - Hosterman (USGS) Samples (Part 3) (continued)
Wt. %

KY-1A
KY-2A
OK-1
OK-2
OK-5

MINERAL CONTENT1
Quartz

89.0
80.4
94.9
95.5
96.0

Cristobalite

 --
 --
 --
 --
 --

Feldspar

 4.0
 7.4
 1.5
 --
 --

Calcite

 --
 --
 --
 --
 --

Dolomite

 --
 --
 --
 --
 --

Siderite

 --
 --
 --
 --
 --

Pyrite

 --
 --
 --
 --
 --

Heulandite

 --
 --
 --
 --
 --

Kaolinite

 6.9
11.6
 1.2
 4.4
 4.0

Illite

 0.1
 0.6
 1.5
 0.1
 tr.

Mixed

 --
 --
 0.9
 --
 --

Chlorite

 --
 --
 --
 --
 --

Smectite

 --
 --
 --
 --
 --

ORGANIC PHASES
Available HCs2
 8.24
 7.02
 4.52
17.56
26.62

Asphaltene3

24.6
40.3
25.7
80.9
68.8

Saturated HCs4
20.4
13.0
 8.6
 5.8
 7.9

Aromatic HCs4
35.1
24.5
30.6
 5.2
 8.0

Polar Compounds4,5
19.9
22.2
35.2
 8.1
15.4

Ni (ppm)

70
72
63
111
101

V (ppm)

150
210
210
60
380

1 Normalized to 100%; calculated semiquantitatively by X-ray diffraction

2 Sample elutriated with benzene as well as Soxhlet extraction with chloroform

3 Eluted fraction combined with iso-octane at room temperature, precipitate was asphaltene

4 Remaining sample (after asphaltene determination) elutriated on an alumina-silica gel column

5 Resins included with N-S-O compounds as polar compounds

N.D. = not determined

-- = not present

Source of data: Hosterman et al. (1990)

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.4c. Compositional Data - Hosterman (USGS) Organics (Part 3) (continued)
Wt. %

TX-1
UT-2
UT-3
UT-4
WY-1

MINERAL CONTENT1
Quartz

81.6
48.3
65.8
91.3
83.4

Cristobalite

 --
 --
 --
 --
 --

Feldspar
 
 8.3
32.7
24.0
 8.2
 5.9

Calcite

 --
 3.0
 --
 --
 8.9

Dolomite

 --
15.5
 4.0
 --
 1.8

Siderite

 --
 --
 --
 --
 --

Pyrite

 --
 --
 1.3
 --
 --

Heulandite

 --
 --
 --
 --
 --

Kaolinite

 9.9
 --
 0.9
 0.4
 --

Illite

 --
 0.5
 4.0
 0.1
 --

Mixed

 0.2
 --
 --
 --
 --

Chlorite

 --
 --
 --
 --
 --

Smectite

 --
 --
 --
 --
 --

ORGANIC PHASES
Available HCs2
11.42
10.56
15.12
11.38
15.35

Asphaltene3

40.1
80.2
30.2
33.4
15.5

Saturated HCs4
 5.3
 2.9
21.8
17.3
 7.5

Aromatic HCs4
37.7
 5.7
31.5
17.2
41.5

Polar Compounds4,5
17.0
11.2
16.5
32.1
35.5

Ni (ppm)

29
44
58
67
45

V (ppm)

97
N.D.
95
25
130

1 Normalized to 100%; calculated semiquantitatively by X-ray diffraction

2 Sample elutriated with benzene as well as Soxhlet extraction with chloroform

3 Eluted fraction combined with iso-octane at room temperature, precipitate was asphaltene

4 Remaining sample (after asphaltene determination) elutriated on an alumina-silica gel column

5 Resins included with N-S-O compounds as polar compounds

N.D. = not determined

-- = not present

Source of data: Hosterman et al. (1990)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.4d. Spectral Data - Hosterman (USGS) Samples
Sample
Facility/File No.  
Description







JORDAN
JO-1
RELAB C1LI02
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-1
RELAB N1LI02
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-1
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].

JO-1E
RELAB CELI02
<45µm crushed, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

JO-1E
RELAB MALI02E
<45µm crushed, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

JO-3
RELAB C1OS14
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-3
RELAB N1OS14
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-3
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

JO-4
RELAB C1OS15
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-4
RELAB N1OS15
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-4
PIMA A,C,D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
JO-4E
RELAB CEOS15
<45µm crushed, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

JO-4E
RELAB MAOS15E
<45µm crushed, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

JO-5
RELAB C1OS16
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-5
RELAB N1OS16
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-5
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

JO-6
RELAB C1OS17
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-6
RELAB N1OS17
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-6
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

JO-7
RELAB C1OS18
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-7
RELAB N1OS18
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-7
RELAB N2OS18
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-7
PIMA A,C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [2].

++++++

JO-8
RELAB C1SL02
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-8
RELAB N1SL02
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-8
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
JO-8E
RELAB CESL02
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

JO-8E
RELAB MASL02E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

JO-9
RELAB C1LI03
unsorted, 30/0, 0.3-2.6µm, 5 nm.

JO-9
RELAB N1LI03
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

JO-9
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
JO-9E

PSF 001 q7
unsorted, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 
++++++

SEYCHELLE ISLANDS
SE-1
RELAB C1TB01
unsorted, 30/0, 0.3-2.6µm, 5 nm.

SE-1
RELAB N1TB01
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

SE-1
RELAB MATB01
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

SE-1
PIMA B-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
++++++

TRINIDAD AND TOBAGO
TT-1
RELAB C1SS26
unsorted, 30/0, 0.3-2.6µm, 5 nm.

TT-1
RELAB N1SS26
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

TT-1
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
TT-1E
RELAB CESS26
WR, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

TT-1E
RELAB MASS26E
WR, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).

++++++

VENEZUELA
VE-8
RELAB C1SS27
unsorted, 30/0, 0.3-2.6µm, 5 nm.

VE-8
RELAB N1SS27
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

VE-8
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

VE-11
RELAB C1SS28
unsorted, 30/0, 0.3-2.6µm, 5 nm.

VE-11
RELAB N1SS28
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

VE-11
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
VE-11E
RELAB CESS28
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

VE-11E
RELAB MASS28E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

VE-12
RELAB C1SS29
unsorted, 30/0, 0.3-2.6µm, 5 nm.

VE-12
RELAB N1SS29
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

VE-12
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
VE-12E
RELAB CESS29
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

VE-12E
RELAB MASS29E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).

++++++

UNITED STATES OF AMERICA
AL-1
RELAB C1SS05
unsorted, 30/0, 0.3-2.6µm, 5 nm.

AL-1 
RELAB N1SS05
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

AL-1
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
AL-1E
RELAB CESS34
WR, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

AL-1E
RELAB MASS34E
WR, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

AL-2
RELAB C1SS06
unsorted, 30/0, 0.3-2.6µm, 5 nm.

AL-2 
RELAB N1SS06
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

AL-2
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].

++++++

AL-3
RELAB C1LI04
unsorted, 30/0, 0.3-2.6µm, 5 nm.

AL-3 
RELAB N1LI04
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

AL-3
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
AL-3E
RELAB CELI04
WR, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

AL-3E
RELAB MALI04E
WR, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

CA-1
RELAB C1DS01
<125µm, 30/0, 0.3-2.6µm, 5 nm.

CA-1 
RELAB N1DS01
<125µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

CA-1
PIMA A-E
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [5].
CA-1E
RELAB CEOS24
<45µm crushed, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

CA-1E
RELAB MAOS24E
<45µm crushed, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

CA-2
RELAB C1DS02
<125µm, 30/0, 0.3-2.6µm, 5 nm.

CA-2 
RELAB N1DS02
<125µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

CA-2
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].

++++++

CA-3
RELAB C1LI01
<125µm, 30/0, 0.3-2.6µm, 5 nm.

CA-3 
RELAB N1LI01
<125µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

CA-3
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
CA-3E
RELAB CELI01
<45µm crushed, 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

CA-3E
RELAB MALI01E
<45µm crushed, 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

CA-4
RELAB C1SL01
unsorted, 30/0, 0.3-2.6µm, 5 nm.

CA-4 
RELAB N1SL01
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

CA-4
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

KY-1A
RELAB C1SS07
unsorted, 30/0, 0.3-2.6µm, 5 nm.

KY-1A
RELAB N1SS07
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

KY-1A
PIMA A-E
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [5].

++++++

KY-2A
RELAB C1SS08
unsorted, 30/0, 0.3-2.6µm, 5 nm.

KY-2A
RELAB N1SS08
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

KY-2A
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
KY-2AE
RELAB CESS08
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

KY-2AE
RELAB MASS08E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

OK-1 
RELAB C1SS15
unsorted, 30/0, 0.3-2.6µm, 5 nm.

OK-1 
RELAB N1SS15
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

OK-1
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
OK-1E
RELAB CESS15
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

OK-1E
RELAB MASS15E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

OK-2 
RELAB C1SS16
unsorted, 30/0, 0.3-2.6µm, 5 nm.

OK-2 
RELAB N1SS16
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

OK-2
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

OK-5 
RELAB C1SS17
unsorted, 30/0, 0.3-2.6µm, 5 nm.

OK-5 
RELAB N1SS17
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

OK-5
PIMA A,C-E
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].
OK-5E

PSF 002 q8
unsorted, toluene-insoluble fraction; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm resolution; 750 spectra averaged; corrected to DUV mirror; Maya 2000 Pro [Directory: 160105 uv dark stuff run 1]. 

++++++

TX-1 
RELAB C1SS09
unsorted, 30/0, 0.3-2.6µm, 5 nm.

TX-1 
RELAB N1SS09
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

TX-1
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
TX-1E
RELAB CESS09
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

TX-1E
RELAB MASS09E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

UT-2 
RELAB C1SS18
<125µm, 30/0, 0.3-2.6µm, 5 nm.

UT-2 
RELAB N1SS18
<125µm, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

UT-2
PIMA A-C,E-F
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [5].
UT-2E
RELAB CESS18
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

UT-2E
RELAB MASS18E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).


++++++

UT-3 
RELAB C1SS19
unsorted, 30/0, 0.3-2.6µm, 5 nm.

UT-3 
RELAB N1SS19
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

UT-3
PIMA A-E
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [5].

++++++

UT-4 
RELAB C1SS20
unsorted, 30/0, 0.3-2.6µm, 5 nm.

UT-4 
RELAB N1SS20
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

UT-4
PIMA A-D
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [4].

++++++

WY-1 
RELAB C1SS30
unsorted, 30/0, 0.3-2.6µm, 5 nm.

WY-1 
RELAB N1SS30
unsorted, 30/30, 1.8-25.9µm, ~0.6-129 nm (Nicolet FTIR).

WY-1
PIMA A-C
<45 µm; bidirectional (PIMA has internal light source), 1.3-2.5µm, 2 nm; hull corrected and uncorrected spectra available [3].
WY-1E
RELAB CESS30
WR (?), 30/0, 0.3-2.6µm, 5 nm (toluene insoluble fraction).

WY-1E
RELAB MASS30E
WR (?), 30/30, 1.8-25.9µm, ~0.6-129 nm (toluene insoluble fraction; Nicolet FTIR).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 18.4.
18. Organics 

18.5. Synthetic Organics 
This suite includes a wide variety of synthetic mostly polycyclic aromatic hydrocarbons.
18.5a. Sample Descriptions - Synthetic Organics
FORMAT: Sample #, description, locality, (source of sample), notes, old sample no. {manufacturer information}.
ORG001
Naphthalene 99+%; Aldrich #18,450-0. 250 g ordered. {Flammable, toxic, cancer suspect agent, irritant, target organs: eyes, lungs, blood, kidneys}. [ C10H8 – two edge-fused aromatic rings]
ORG002
Anthracene, 99%; Aldrich #14,106-2. 25 g ordered; {Photosensitizer; irritant}. [C14H10 – three linear edge-fused aromatic rings].
ORG002-a
Athracene, 1 gram sample (Reagent Plus, 99% (141062-1G; lot #MKBS0572V). {Photosensitizer; irritant}.  [C14H10 – three linear edge-fused aromatic rings].
ORG003
Phenanthrene 99.5%+; Aldrich #26,087-8. 1 g ordered. {harmful solid, irritant, photosensitizer, possible mutagen, handle and store under nitrogen}. [C14H10 – three edge-fused aromatic rings; not linear chain]
ORG004
Phenanthrene 98%; Aldrich #P1,140-9. 25 g ordered. {Harmful solid; irritant; photosensitizer; possible mutagen {handle and store under nitrogen according to above}.  [C14H10 – three edge-fused aromatic rings; not linear chain] 
ORG005
1,2-Benzo[a]anthracene 99%; Aldrich #B220-9. 500 mg ordered. {cancer suspect agent, poison, mutagen}. [C18H12; 4 fused non-linear aromatic rings].
ORG006
2,3-Benzanthracene; aka benzo[b]anthracene; 98%; Aldrich #B240-3. 500 mg ordered. {irritating dust}. [C18H12; 4 fused linearly-arranged aromatic rings].
ORG007
Chrysene 98%; Aldrich #42,507-9. 1 g ordered. {cancer suspect agent, mutagen, store under nitrogen}. [C18H12; 4 kinked edge-fused aromatic rings].
ORG008
Chrysene 95%; Aldrich #C8,000-8. 1 g ordered. {cancer suspect agent, mutagen}. [C18H12; 4 kinked edge-fused aromatic rings]. 
ORG009
Pyrene 99%; Aldrich #42,642-3. 5 g ordered. Not available.

ORG010
Pyrene 98%; Aldrich #18,551-5. 100 g ordered. {harmful solid, avoid contact and inhalation}. [C16H10; 4 centrally edge-fused aromatic rings].
ORG011
Pentacene; Aldrich #P180-2. 100 mg ordered. {keep refrigerated}. [C22H14; 5 linearly-edge fused aromatic rings].
ORG012
Benzo [a] pyrene 97%; Aldrich #B1,008-0. 3x100 mg ordered. {cancer suspect agent, mutagen, teratogen,  target organ: skin, lungs}.[C20H12; 3-row and 2 row edge fused aromatic rings].
ORG013
Perylene 99+%; Aldrich #P1,120-4. 1 g ordered. {no warning}. [C20H12: 2-1-2 rows of edge-fused aromatic rings].
ORG014
Naphtho [2,3-a] pyrene 98%; Aldrich #38,094-6. 500 mg ordered. {harmful solid, avoid contact and inhalation}. [C24H14; 4 row and 2 row edge-fused aromatic rings].
ORG015
Coronene, sublimed 99%; Aldrich #33,535-5. 100 mg ordered. {harmful solid}.[C24H12; 7 centrally-fused aromatic rings]. 
ORG016
Triphenylene 98%; Aldrich #T8,260-0. 2x250 mg ordered.{no warning}. [C18H12; 4 circularly-fused aromatic rings].
ORG017
1- Methylanthracene 97%; Aldrich #33,357-3. 3x100 mg ordered. {no warning}. [C15H12; 3 linearly-fused aromatic rings with side CH3 on end ring]. 
ORG018
9- Methylanthracene 98%; Aldrich #M2,960-6. 1 g ordered. {no warning}. [C15H12; 3 linearly-fused aromatic rings with side CH3 on middle ring]. 
ORG019
7- Methylbenzo [a] pyrene 98%; Aldrich #38,090-3. 500 mg ordered. {harmful solid, avoid contact and inhalation}. [C21H14; 5 linearly-fused aromatic rings with side CH3 on end of 3-row ring].
ORG020
9,10- Dimethylanthracene 99%; Aldrich #D14,670-6. 1g ordered. {possible mutagen}. [C16H14; 3 lineraly-fused aromatic rings with two CH3 sides on either side of the middle ring].
ORG021
7,12- Dimethylbenz [a] anthracene 98+%; Aldrich #21,626-7. 1 g ordered. {toxic, mutagen, cancer suspect agent}. [C20H16; 4 kink-linked edge-fused aromatic rings with 2 CH3 side chains on either side of middle ring].
ORG022
Dimethylnaphthalene mixture of isomers; Aldrich #11,241-0. 250 g ordered. [liquid]. {no warning}. [C12H12; two edge-fused aromatic rings with 2 CH3 molecules in various positions].
ORG023
1- Ethylnaphthalene 99+%; Aldrich #25,090-2. 1 g ordered. [liquid]. {no warning}. [Linear formula:  C 10 H 7 C 2 H 5; 2 edge-fused aromatic rings with ethylene (C2H5) side chain].
ORG024
2- Ethylnaphthalene 99+%; Aldrich #E4,000-5. 5 g ordered. [liquid] {no warning}.  [Linear formula:  C 10 H 7 C 2 H 5; 2 edge-fused aromatic rings with ethylene (C2H5) side chain].
ORG025
2- Ethylanthracene 98%; Aldrich #21,466-3. 1 g ordered. {no warning}.  [C16H14; 3 linearly-linked edge-fused aromatic rings with ethyl (C2H5) side chain on end ring].
ORG026
1-Acenaphthenol 99%; Aldrich #A40-6. 1 g ordered. {no warning}. [C12H10O; 2 edge-fused aromatic rings + 5 carbon ring with O-H side chain].
ORG027
9- Phenanthrol tech.; Aldrich #21,128-1. 1 g ordered. {irritant, air sensitive}. [C14H10O; 3 edge-fused kinked aromatic rings with O-H side chain on middle ring].
ORG028
9-Phenylanthracene 98%; Aldrich #P1,800-4. 1 g ordered. {no warning}  [C20H14; 3 edge-fused aromatic rings linked via C-C to another aromatic ring].
ORG029
9,10- Diphenylanthracene 97%; Aldrich #D20,500-1. 1 g ordered. {no warning}. [C26H18; Cross-shaped grup of 3 linear edge-fused aromatic rings with 2 aromatic rings above and below linked by C-C].
ORG030
Decacyclene (unknown grade); Aldrich #D20-0. 5 g ordered. {no warning}. [C36H18; complex mix of 5 and 6 rings].
ORG031
Acenaphthene 99%; Aldrich #21,537-6. 100 g ordered. {irritant}. [ C12H10; 2 edge fused aromatic rings with edge-joined 5 carbon ring between the two].
ORG032
9,10-Dihydroanthracene 97%; Aldrich #12,617-9. 5 g ordered. {no warnings}. [C14H12; linearly edge-fused 3 rings: 2 aromatics on either end, just C in middle].
ORG033
9,10- Dihydrophenanthrene 94%; Aldrich #D10,600-3. 5 g ordered.{no warning}. [C14H12; kinked edge fused three rings: 2 aromatics on either end, just C in middle].
ORG034
Fluorene zone-refined 99%; Aldrich #41,819-6. 1 g ordered. {no warning}. [C13H10; two aromatic rings linked by 5-carbon middle ring].. 
ORG035
Fluoranthene 99%; Aldrich #42,394-7. 5 g ordered. {harmful solid, possible mutagen, store under nitrogen}.[C16H10; 2 aromatic edge-linked rings linked to another aromatic ring via 5-carbon ring].
ORG036
2-Acetylfluorene 98%; Aldrich #A1,620-3. 5 g ordered. {no warning}. [C15H12O; 2 aromatic edge-linked rings linked to another aromatic ring via 5-carbon ring and side acetyl ring].
ORG037
2- Acetylphenanthrene 98%; Aldrich #A1,920-2. 1 g ordered. {no warning}. [C16H12O; 3 edge-linked kinked aromatic rings, with COH side group].  
ORG038
Phenanthrene - 9 - carboxaldehyde 97%; Aldrich #P1,160-3. 2.5 g ordered. {no warning}. [C15H10O; 3 edge-linked kinked aromatic rings, with CO side group].  
ORG039
1- Acetylpyrene 97%. Aldrich #39,142-5. 1 g ordered. {no warning}. [C18H12O; 4 edge-linked 2x2 aromatic rings, with COH side group]. 
ORG040
Benzothiazole 96%; Aldrich #10,133-8. 100 g ordered. [liquid]. {toxic, irritant}. [C7H5NS; aromatic ring edge-linked to 5 atom ring with S and N substituting for C; no N bond to H directly; Thiazole, or 1,3-thiazole, is a 5-membered heterocyclic compound that contains both sulfur and nitrogen].
ORG041
Dibenzothiophene 99%; Aldrich #34,783-3. 1 g ordered. {toxic}. [C12H8S; 2 aromatic rings liked via 5-chain ring that contains sulphur].
ORG042
9- Anthracenecarbonitrile 97%; Aldrich #15,276-5. 5 g ordered. {harmful solid, avoid skin contact}. [C15H9N; 3 linearly edge-linked aromatic rings with C triple bonded to N side chain].
ORG043
9- Nitroanthracene 97%; Aldrich #N1,020-9. 1 g ordered. {no warning}. [C14H9NO2; 3 linearly edge-linked aromatic rings with C bonded to N (to 2 oxygens) side chain].
ORG044
Carbazole 96%; Aldrich #C310-3. 1 g ordered. {irritant, possible carcinogen}. [C12H9N ; two aromatic molecules linked via 5-atom ring that contains N in the ring bonded to H].
ORG045
9- Cyanophenanthrene 97%; Aldrich #C9,360-6. 5 g ordered. {harmful solid, irritant, avoid contact and inhalation}. [C15H9N; 3 kinked edge-linked aromatic rings with middle ring connecting to C—N triple bond side chain].
ORG046
Dibenzothiophene sulfone 97%; Aldrich #D3,240-7. 5 g ordered. {no warning}. [C12H8O2S; two aromatic molecules linked via 5-atom ring that contains S in the ring bonded to 2 oxygens].
ORG047
9(10 H)-Acridone 99%; Aldrich #15,021-5. 1 g ordered. {irritant}. [C13H9NO; 3 linera edge-linked aromatic rings; middle ring contains double bond to O as well as N-H in place of a carbon].
ORG048
2- Aminoanthracene 96%; Aldrich #A3,880-0. 1 g ordered. {possible carcinogen/mutagen, irritant}. [C14H11N; 3 linear edge-linked aromatic molecules with NH2 side group hanging off edge aromatic ring linked to C in the aromatic.
ORG049
Phenothiazine 98+%; Aldrich #P1,483-1. 25 g ordered. {Toxic; photosensitizer; sensitizer; possible mutagen; readily absorbed through skin; irritant; light sensitive}. [S(C6H4)2NH ;3 linear edge-linked aromatic rings with S in the ring and N-H replacing one carbon in central ring]. 
ORG050
Phenoxathiin 97%; Aldrich #21,882-0. 5 g ordered. {no warning}. [C12H8OS; 3 linear edge-linked aromatic molecules with S and O replacing one carbon each in central ring].
ORG051
Phenoxazine 99+%; Aldrich #P1,485-8. 1 g ordered. {no warning}. [C1H9NO; 3 linear edge-linked aromatic molecules; central ring has oxygen replacing one carbon and N-H replacing another carbon in central ring].
ORG052
Perinaphthenone 97%; Aldrich #P1,080-1. 1 g ordered. {no warning}. [C13H8O; 3 triangularly-linked aromatic rings; 1 ring has +O linked to aromatic C].
ORG053
Xanthene 99%; Aldrich #X20-1. 5 g ordered. {sensitizer, avoid contact and inhalation}. [C13H10O; 3 linear edge-linked aromatic molecules with oxygen replacing carbon in the middle ring]. 
ORG054
Xanthone 97%; Aldrich #D60-0. 25 g ordered. {Sensitizer; avoid contact and inhalation}. [C13H8O2; 3 linear edge-linked aromatic molecules with oxygen replacing carbon , and a C=O, in the middle ring].
ORG055
Dihydrocoumarin 99%; Aldrich #D10,480-9. 5 g ordered. [liquid] {irritant, harmful liquid}.  [C9H8O2; 2 edge-linked aromatic rings; with oxygen replacing carbon , and a C=O].
ORG056
Anthrone 97%; Aldrich #31,989-9. 25 g ordered. {Irritant; photosensitizer}. [C14H10O; 3 linear edge-linked aromatic molecules with a C=O bond in the middle ring].
ORG057
Anthraquinone 97%; Aldrich #A9,000-4. 50 g ordered. {irritant}. [C14H8O2; 3 linear edge-linked aromatic molecules with two C=O bonds in the middle ring].
ORG058
Sodium diphenylamine-4-sulfonate [C12H10NNaO3S]. Aldrich #24,296-9; 10 grams. For iron wet chemistry titration. [includes N-H connecting two aromatic rings].
ORG059
Disodium EDTA (synthetic); UW Chemistry stores? [C 10 H 14 N 2 Na 2 O 8 · 2H 2 O; contains 2 linking nitrogens; not bonded to H?].
ORG060
Sodium citrate [Na3C6H5O7 – 2H2O] (synthetic); UW Chemistry stores? 
ORG061
Trisodium citrate [Na3C6H5O7] (synthetic); UW Chemistry stores (same as ORG060?).

ORG062
Adenosine 5’-triphosphate, disodium salt (C10H14N5O13P3-2Na (CAS 51963-61-2). Enzo Life Sciences 480-021-G001 (1 gram). Contains many nitrogens linked in various ways.
PIG019
Synthetic carmine (alum lake of carminic acid). received. See Pigments section (for pigments project).[C22H20O13].
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
18.5d. Spectral Data - Synthetic organics
(a) Reflectance spectra


Format: Sample ID; Lab and file; measurement details.

Sample ID
Facility/File No.
Description








ORG001
PSF 090831b.001
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG001
PSF org001
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG001
PSF org001
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG002
PSF 090831b.002
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG002
PSF org002crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG002
PSF org002sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG002
PSF org002
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG002
PSF org002
unsorted, coarse-grained powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

ORG002f
PSF 150626a.004
unsorted; measured immersed in liquid nitrogen; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150626 frozen shit].
ORG002
PSF org002a
unsorted, coarse; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].

ORG002
PSF anthracene pellet r mirror
pressed pellet; i=e=0° (bifurcated cable); 0.2-0.5 µm; ~1.8 nm spectral resolution 0.46-0.49 sampling interval; 100 msec integration time; 500 spectra averaged; Maya [Directory: 190522 uv pellet].

ORG002
PSF ORG002
<45 µm powder; i=e=0° (bifurcated cable); 0.2-1.1 µm; ~1.8 nm spectral resolution 0.46-0.49 sampling interval; 600 msec integration time; 200 spectra averaged; shot in 2 intervals and merged; Maya [Directory: 130927PAH UV reflectance].

ORG002
PSF ORG002
diffuse data divided by specular data to show fluorescence better(?).

++++++

ORG003
PSF 090831b.003
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG003
PSF org003crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG003
PSF org003sub250
<250 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG003
PSF org003
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG003
PSF org003
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG004
PSF 090831b.004
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG004
PSF org004crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG004
PSF org004sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG004
PSF org004
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG004
PSF org004
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG005
PSF 090831b.005
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG005
PSF org005crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG005
PSF org005sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG005
PSF org005
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG005
PSF org005
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG006
PSF 090831b.006
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG006
PSF org006crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG006
PSF org006sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG006
PSF org006
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG006
PSF org006
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG007
PSF 090831b.007
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG007
PSF org007crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG007
PSF org007sub90
<90 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG007
PSF org007
unsorted; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG008
PSF 090831b.008
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG008
PSF org008crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG008
PSF org008sub90
<90 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG008
PSF org008
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG008
PSF d1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG010
PSF 090831b.009
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG010
PSF org010crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG010
PSF org010sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG010
PSF org010
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG010
PSF d4
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG011
PSF 090831b.010
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG011
PSF org011sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG011
PSF org011
unsorted fine powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG011
PSF org011
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
++++++

ORG012
PSF 090831b.011
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG012
PSF org012crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG012
PSF org012
unsorted fine powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG012
PSF org012
unsorted; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
++++++

ORG013
PSF 090831b.012
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG013
PSF org013crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG013
PSF org013sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG013
PSF org013
unsorted; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
++++++

ORG014
PSF 090831b.013
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG014
PSF org014crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG014
PSF org014sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG014
PSF org014
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG014
PSF e2
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG015
PSF 090831b.014
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG015
PSF org015sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG015
PSF org015
unsorted fine powder; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG015
PSF org015
unsorted; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
++++++

ORG016
PSF 090831b.015
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG016
PSF org016crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG016
PSF org016sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG016
PSF org016
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG016
PSF e3
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG017
PSF 090831b.016
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG017
PSF org017sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG017
PSF org017
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG017
PSF e5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG018
PSF 090831b.017
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG018
PSF org018crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG018
PSF org018sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG018
PSF org018
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG018
PSF e6
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG019
PSF 090831b.018
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG019
PSF org019crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG019
PSF org019sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG019
PSF org019
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG019
PSF f1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG020
PSF 090831b.019
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG020
PSF org020crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG020
PSF org020sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG020
PSF org020
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG020
PSF f2
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++
ORG021
PSF org021
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG021
PSF f3
<45 µm?; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++
ORG025
PSF 090831b.020
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG025
PSF org025crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG025
PSF org025sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG025
PSF f4
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG026
PSF 090831b.021
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG026
PSF org026crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG026
PSF org026sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG026
PSF org026
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

++++++

ORG027
PSF 090831b.022
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG027
PSF org027crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG027
PSF org027crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG027
PSF org027sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG027
PSF org027
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG027
PSF f5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG028
PSF 090831b.023
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG028
PSF org028crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG028
PSF org028sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG028
PSF org028
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG028
PSF k1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG029
PSF 090831b.024
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG029
PSF org029crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG029
PSF org029sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG029
PSF org029
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG029
PSF k2
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG030
PSF 090831b.026
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG030
PSF org030crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG030
PSF org030sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG030
PSF org030
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG030
PSF k5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG031
PSF 090831b.027
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG031
PSF org031crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG031
PSF org031sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG031
PSF org031
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG031
PSF k6
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG032
PSF 090831b.028
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG032
PSF org032crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG032
PSF org032sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG032
PSF org032
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG032
PSF l1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG034
PSF 090831b.029
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG034
PSF org034crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG034
PSF org034sub90
<90 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

++++++

ORG035
PSF 090831b.030
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG035
PSF org035crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG035
PSF org035sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG035
PSF org035
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG035
PSF l2
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG036
PSF 090831b.031
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG036
PSF org036crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG036
PSF org036sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG036
PSF org036
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG036
PSF l5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG037
PSF 090831b.032
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG037
PSF org037crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG037
PSF org037sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG037
PSF org037
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG037
PSF l6
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG038
PSF 090831b.033
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG038
PSF org038crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG038
PSF org038sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG038
PSF org038
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG038
PSF m1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG039
PSF 090831b.034
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG039
PSF org039crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG039
PSF org039sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

++++++

ORG041
PSF 090831b.035
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG041
PSF org041crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG041
PSF org041sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG041
PSF org041
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG041
PSF m4
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG042
PSF 090831b.036
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG042
PSF org042crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG042
PSF org042sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG042
PSF org042
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG042
PSF m5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG043
PSF 090831b.037
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG043
PSF org043crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG043
PSF org043sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG043
PSF org043
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG043
PSF m6
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG044
PSF 090831b.038
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG044
PSF org044crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG044
PSF org044sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG044
PSF org044
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG044
PSF ad1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG045
PSF 090831b.039
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG045
PSF org045crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG045
PSF org045sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG045
PSF org045
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG045
PSF ad2
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG046
PSF 090831b.040
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG046
PSF org046crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG046
PSF org046sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG046
PSF org046
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG046
PSF ad3
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG047
PSF 090831b.042
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG047
PSF org047crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG047
PSF org047sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG047
PSF org047
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG047
PSF ad4
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG048
PSF 090831b.043
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG048
PSF org048crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG048
PSF org048sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG048
PSF org048
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG048
PSF ad5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG049
PSF 090831b.044
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG049
PSF org049crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG049
PSF org049sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG049
PSF org049
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG049
PSF ad6
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG050
PSF 090831b.045
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG050
PSF org050crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG050
PSF org050sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG050
PSF org050
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG050
PSF s1
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG051
PSF 090831b.046
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG051
PSF org051crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG051
PSF org051sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG051
PSF org051
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG051
PSF s2
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG052
PSF 090831b.047
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG052
PSF org052crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG052
PSF org052sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG052
PSF org052
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG052
PSF s3
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG053
PSF 090831b.048
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG053
PSF org053crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG053
PSF org053sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG053
PSF org053
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG053
PSF s5
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG054
PSF 090831b.050
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG054
PSF org054crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG054
PSF org054sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG054
PSF org054
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG054
PSF s6
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG056
PSF 090831b.051
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG056
PSF org056crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG056
PSF org056sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG056
PSF org056
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG056
PSF zz11
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG057
PSF 090831b.052
<45 µm; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 500 spectra averaged; ASD.

ORG057
PSF org057crushed
unsorted powder; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.

ORG057
PSF org057sub45
<45 µm; i=30°, e=30°; 4 cm-1 resolution; 2.5-16.7 µm (EasiDiff on Buck spectrometer); 6 minute integration; Aug. 09.
ORG057
PSF org057
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG057
PSF zz16
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG058
PSF org058
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG058
PSF zz12
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG059
PSF org059
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG059
PSF zz13
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG060
PSF org060
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG060
PSF zz14
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

ORG061
PSF org061
<45 µm; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 130927PAH UV reflectance]. 

ORG061
PSF zz15
<45 µm; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131003PAH].
++++++

PIG019
PSF pig019
unsorted, fine-grained; i=0°, e=0° (bifurc. cable); 0.2-1.13 µm (D2 lamp for 200-400 nm; QTH for >400 nm; spectra merged); ~0.4 nm resol.; 200 spectra avgd; corrected to DUV mirror [Directory: 140419 UV reflectance]. 

PIG019
PSF pig019
unsorted; i=30°, e=0°; 1.43-25.04 µm; 2 cm-1 resolution, 1500 spectra averaged; Bruker Vertex 70 reflectance [Directory: 131004PAH].
+++++++++++++++++++++++++++++++++++++++
(b.1) Raman spectra – 532 nm (iRaman)
Raman shift: 174-4004 cm-1; 100% laser power= 100 mW; ~4 cm-1 resolution; i=0°/e=0°.
ORG001
PSF org001
unsorted powder; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG002
PSF org002
<45 µm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG002
PSF org002
unsorted powder; 2 sec integration time; 50% laser power (directory: 120820synthetic_organics).

++++++

ORG003
PSF org003
<250 µm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG003
PSF org003
unsorted powder; 2 sec integration time; 100% laser power (directory: 120820synthetic_organics).

++++++

ORG004
PSF org004
<45 µm; 2 sec integration time; 30% laser power (directory: 120726synthetic_organics).

ORG004
PSF org004
unsorted powder; 2 sec integration time; 20% laser power (directory: 120820synthetic_organics).

++++++

ORG005
PSF org005
<45 μm; 2 sec integration time; 5% laser power (directory: 120726synthetic_organics).

+++++

ORG006
PSF org006
<45 µm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

++++++

ORG007
PSF org007
<90 µm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG007
PSF org007
unsorted powder; 2 sec integration time; 50% laser power (directory: 120820synthetic_organics).

++++++

ORG008
PSF org008
<90 μm; 2 sec integration time; 50% laser power (directory: 120726synthetic_organics).

ORG008
PSF org008
unsorted powder; 2 sec integration time; 10% laser power (directory: 120820synthetic_organics).

++++++

ORG010
PSF org010
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

++++++

ORG012
PSF org012
unsorted powder; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

++++++

ORG013
PSF org013
unsorted powder; 2 sec integration time; 2% laser power (directory: 120726synthetic_organics).

ORG013
PSF org013
<45 μm; 1 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG014
PSF org014
unsorted powder; 2 sec integration time; 5% laser power (directory: 120726synthetic_organics).

++++++

ORG015
PSF org015
<45 μm; 2 sec integration time; 5% laser power (directory: 120726synthetic_organics).

++++++

ORG016
PSF org016
<45 μm; 2 sec integration time; 2% laser power (directory: 120726synthetic_organics).

++++++

ORG017
PSF org017
unsorted powder; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

++++++

ORG018
PSF org018
<45 μm; 1 sec integration time; 2% laser power (directory: 120726synthetic_organics).

ORG018
PSF org018
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG019
PSF org019
unsorted powder; 2 sec integration time; 2% laser power (directory: 120726synthetic_organics).

++++++

ORG020
PSF org020
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

ORG020
PSF org020
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG021
PSF org021
unsorted powder; 2 sec integration time; 5% laser power (directory: 120726synthetic_organics).

++++++

ORG025
PSF org025
<45 μm; 2 sec integration time; 20% laser power (directory: 120726synthetic_organics).

++++++

ORG026
PSF org026
unsorted powder; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG027
PSF org027
<45 μm; 65 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG027
PSF org027
unsorted powder; 2 sec integration time; 100% laser power (directory: 120820synthetic_organics).

++++++

ORG028
PSF org028
unsorted powder; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

++++++

ORG029
PSF org029
<45 μm; 2 sec integration time; 50% laser power (directory: 120726synthetic_organics).

ORG029
PSF org029
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG031
PSF org031
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG032
PSF org032
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG034
PSF org034
unsorted powder; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG035
PSF org035
<45 μm; 2 sec integration time; 80% laser power (directory: 120726synthetic_organics).

ORG035
PSF org035
unsorted powder; 2 sec integration time; 50% laser power (directory: 120820synthetic_organics).

++++++

ORG036
PSF org036
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG036
PSF org036
unsorted powder; 2 sec integration time; 10% laser power (directory: 120820synthetic_organics).

++++++

ORG037
PSF org037
unsorted powder; 2 sec integration time; 50% laser power (directory: 120726synthetic_organics).

++++++

ORG038
PSF org038
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

ORG038
PSF org038
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG039
PSF org039
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

ORG039
PSF org039
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG041
PSF org041
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG042
PSF org042
<45 μm; 2 sec integration time; 50% laser power (directory: 120726synthetic_organics).

++++++

ORG043
PSF org043
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG043
PSF org043
unsorted powder; 2 sec integration time; 100% laser power (directory: 120820synthetic_organics).

++++++

ORG044
PSF org044
unsorted powder; 2 sec integration time; 50% laser power (directory: 120726synthetic_organics).

++++++

ORG045
PSF org045
<45 μm; 2 sec integration time; 20% laser power (directory: 120726synthetic_organics).

++++++

ORG046
PSF org046
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG046
PSF org046
unsorted powder; 2 sec integration time; 100% laser power (directory: 120820synthetic_organics).

++++++

ORG047
PSF org047
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

ORG047
PSF org047
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG048
PSF org048
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG048
PSF org048
unsorted powder; 2 sec integration time; 50% laser power (directory: 120820synthetic_organics).

++++++

ORG049
PSF org049
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG049
PSF org049
unsorted powder; 2 sec integration time; 50% laser power (directory: 120820synthetic_organics).

++++++

ORG050
PSF org050
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

ORG050
PSF org050
unsorted powder; 2 sec integration time; 10% laser power (directory: 120820synthetic_organics).

++++++

ORG051
PSF org051
unsorted powder; 2 sec integration time; 10% laser power (directory: 120820synthetic_organics).

++++++

ORG052
PSF org052
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

ORG052
PSF org052
unsorted powder; 2 sec integration time; 2% laser power (directory: 120820synthetic_organics).

++++++

ORG053
PSF org053
unsorted powder; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

++++++

ORG054
PSF org054
<45 μm; 2 sec integration time; 10% laser power (directory: 120726synthetic_organics).

++++++

ORG056
PSF org056
<45 μm; 2 sec integration time; 5% laser power (directory: 120726synthetic_organics).

++++++

ORG057
PSF org057
<45 μm; 2 sec integration time; 100% laser power (directory: 120726synthetic_organics).

+++++++++++++++++++++++++++++++++++++++++++
(b.2) Raman spectra – 785 nm (Rockhound)
Raman shift:200-2000 cm-1;  ~7 cm-1 resolution; i=0°/e=0°.
ORG002
PSF org002
<45 μm; 2 sec integration time; 100% laser power; 20 spectra averaged (directory: 40102 (03/18/2013)).

++++++

ORG046
PSF org046
<45 μm; 2 sec integration time; 100% laser power; 20 spectra averaged (directory: 40102 (03/18/2013)).

++++++

ORG050
PSF org050
<45 μm; 2 sec integration time; 5% laser power (directory: 120726synthetic_organics).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
(c) UV spectra – Maya spectrometer

Measured with deuterium and QTH  lamps – usable range (200-~400 nm for deuterium; ~400-1130 nm for QTH) spectra merged at 400 nm; bifurcated cable (i=e=0°); ~0.4 nm sampling interval, ~1.85 nm spectral resolution; 600 msec integration time; 200 spectra averaged (Directory: 130927pah uv reflectance)

ORG001
PSF org001

ORG002
PSF org002

ORG002
PSF org002
Directory: 140419 UV reflectance; run as end member for mixture set (section 15.26)
ORG003
PSF org003
ORG004
PSF org004
ORG005
PSF org005
ORG006
PSF org006
ORG008
PSF org008
ORG010
PSF org010
ORG011
PSF org011

ORG012
PSF org012
ORG014
PSF org014
ORG015
PSF org015
ORG016
PSF org016
ORG017
PSF org017
ORG018
PSF org018
ORG019
PSF org019
ORG020
PSF org020
ORG021
PSF org021

ORG026
PSF org026
ORG027
PSF org027
ORG028
PSF org028
ORG029
PSF org029
ORG030
PSF org030
ORG031
PSF org031

ORG032
PSF org032
ORG035
PSF org035
ORG036
PSF org036
ORG037
PSF org037
ORG038
PSF org038
ORG041
PSF org041

ORG042
PSF org042
ORG043
PSF org043
ORG044
PSF org044
ORG045
PSF org045
ORG046
PSF org046
ORG047
PSF org047
ORG048
PSF org048
ORG049
PSF org049
ORG050
PSF org050
ORG051
PSF org051

ORG052
PSF org052
ORG053
PSF org053
ORG054
PSF org054
ORG056
PSF org056
ORG057
PSF org057
ORG058
PSF org058
ORG059
PSF org059
ORG060
PSF org060
ORG061
PSF org061

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 18.5.

19. Pigments – Art Analysis
19a. Sample Descriptions - Pigments
Note: Includes synthetic and naturally-occurring samples, and various artists' materials.
Note: PIGxxx data are provided in this section (PIGxxx samples are listed in relevant mineral sections). Non-PIGxxx data are provided in relevant mineral sections of this document and just listed in this section).

Sample ID
Description







19.1a. Natural samples of historical pigments:

See relevant sections of this document for sample info, analytical data, spectral data.

19.1.(i) Non-PIGxxx samples

ASP101
Asphaltum: Seefeld, North Tyrol, Austria (Minerals Unlimited), also known as DK1 and DARK101. See section 18.3 of this document.
CHL103
Paratacamite: Mason Pass, Lyon County, Nevada, USA (Cu2+2(OH)3Cl) (Minerals Unlimited). See section 7 of this document.
CHL104
Atacamite: Chiquicamata, Chile (Cu2+2(OH)3Cl) (Minerals Unlimited). See section 7 of this document.
CHL105
Atacamite: San Manuel, Arizona, USA (Cu2+2(OH)3Cl) (Smithsonian Institution MNMH #154535). See section 7 of this document.
CHL106
Paratacamite: Chiquicamata, Chile (Cu2+2(OH)3Cl) (Smithsonian Institution MNMH #B8667). See section 7 of this document.
CHL107
Atacamite: Atacama, Chile (Cu2+2(OH)3Cl) (Smithsonian Institution MNMH #17691). See section 7 of this document.
CHY101
Chrysocolla: Inspiration, Gila County, Arizona, USA ((Cu+2,Al)2H2Si2O5(OH)4·nH2O) (Minerals Unlimited). See section 3 of this document.
CHY102
Chrysocolla: Gila County, Arizona, USA ((Cu+2,Al)2H2Si2O5(OH)4·nH2O) (Smithsonian Institution MNMH #87288). See section 3 of this document.
CHY103
Chrysocolla: Copper Queen Mine, Bisbee, Cochise County, Arizona, USA; ((Cu+2,Al)2H2Si2O5(OH)4·nH2O) (Smithsonian Institution MNMH #104956). See section 3 of this document.
CIN101
Cinnabar: Arcana Creek, near Aleknagic, Alaska, USA (HgS) (Minerals Unlimited). See section 10 of this document.
CIN102
Cinnabar: New Almaden, California, USA (HgS) (Smithsonian Institution #C458). See section 10 of this document.
CIN103
Cinnabar: Idria, Carinthia, Austria (HgS) (Smithsonian Institution MNMH #78539-1). See section 10 of this document.
CLI101
Clinochlore (chlorite): near Murphys, Calaveras County, California, USA (Mg,Fe+2)5Al(Si3Al)O10(OH)8 (Minerals Unlimited). See section 3 of this document.
CLI102
Clinochlore (chlorite): Cornwall, Pennsylvania, USA (Mg,Fe+2)5Al(Si3Al)O10(OH)8) (Smithsonian Institution MNMH #R14987). See section 3 of this document.
CLI103
Clinochlore (chlorite): Lane Quarry, Westfield, Massachusetts, USA (Mg,Fe+2)5Al(Si3Al)O10(OH)8) (Smithsonian Institution MNMH #106730). See section 3 of this document.
CRB102
Aragonite + calcite: Washington County, Utah, USA [CaCO3] (Minerals Unlimited). {Silky white compact masses, some rock}. Lots of sample and <45 and 45-90µm sizes made (dry sieved). See section 5 of this document.
CRB109
Calcite: locality unknown (University of Alberta GEOL330 laboratory collection #A152), originally PLG112, then CAL101. Some <45 and 45-90µm sample available (few grams) (dry sieved). See section 5 of this document.
CRB110 
Calcite: locality unknown (University of Alberta GEOL330 laboratory collection # unknown), [CaCO3] with pyroxene PYX104, originally CAL102. <45µm sample made (dry sieved). See section 5 of this document.
CRB111 
Calcite: Cascade Mountain, Essex County, New York, USA (Minerals Unlimited), [CaCO3] w/ pyroxene PYX121, originally CAL103. Only <45µm sample made (dry sieved). See section 5 of this document.
CRB112 
Calcite: Pendleton County, West Virginia, USA (Ward's), originally CAL110, [CaCO3]. Lots of sample available, only <45µm size made (dry sieved). See section 5 of this document.
CRB116
Calcite: Oklahoma, USA [CaCO3] (National Museum of Nature, Ottawa). See section 5 of this document.
CRB118
Calcite: Chihuahua, Mexico [CaCO3] (Manitoba Rock and Mineral Show). See section 5 of this document.
CRB119
Mostly Aragonite: Goodsprings, Clark County, Nevada, USA [CaCO3] (Minerals Unlimited). See section 5 of this document.
CRB120
Aragonite: near Silverton, Briscoe County, Texas, USA [CaCO3] (Minerals Unlimited). See section 5 of this document.
CRB122
Calcite: near Yeso, De Baca County, New Mexico, USA [CaCO3] (Minerals Unlimited). See section 5 of this document.
CRB123
Aragonite: Molina de Aragon, Guadalajara, Spain (Minerals Unlimited). See section 5 of this document.
CRB124
Aragonite: Erzberg Eisenwurz, Stiermark, Austria [CaCO3] (Smithsonian Institution MNMH #B10111). See section 5 of this document.
CRB125
Aragonite: Stiermark, Austria [CaCO3] (Smithsonian Institution MNMH #B16198). See section 5 of this document.
CRB501
Malachite: Copper Queen Mine, Bisbee, Cochise County, Arizona, USA (Cu22+(CO3)(OH)2) (Minerals Unlimited). See section 5 of this document.
CRB502
Cerussite: Tsumeb, Namibia (PbCO3) (Minerals Unlimited). {Pure mineral is white, but mine is black, probably due to impurities(?)}. Also called white lead. See section 5 of this document.
CRB503
Azurite: Juanita Mine, Magdalena, Socorro County, New Mexico, USA (Cu3+2(CO3)2(OH)2 (with limonite, malachite, and clay) (Minerals Unlimited). See section 5 of this document.
CRB504
Azurite: locality unknown (Cu3+2(CO3)2(OH)2 (acquired at 2001 Manitoba Rock and Mineral Show). See section 5 of this document.
CRB505
Hydrocerussite: Langban, Varmland, Sweden (Pb3(CO3)2(OH)2) (Smithsonian Institution MNMH #B8107). See section 5 of this document.
CRB506
Cerussite: Mammoth Mine, Wallace, Idaho, USA (PbCO3) (Smithsonian Institution MNMH #96778). See section 5 of this document.
CRB507
Cerussite: Lone Elm, near Joplin, Missouri, USA (PbCO3) (Smithsonian Institution MNMH #C2130-1). See section 5 of this document.
CRB508
Malachite: Canton, Georgia, USA (Cu22+(CO3)(OH)2) (Smithsonian Institution MNMH #78806). See section 5 of this document.
CRB509
Malachite: El Cobre Mine, Zacatecas, Mexico (Cu22+(CO3)(OH)2) (Smithsonian Institution MNMH #143514). See section 5 of this document.
CRB510
Azurite: Guangdong, China (Cu3+2(CO3)2(OH)2) (Smithsonian Institution MNMH #145930). See section 5 of this document.
CRB511
Azurite: Chessy, Lyon, Rhone, France (Cu3+2(CO3)2(OH)2) (Smithsonian Institution MNMH #148829). See section 5 of this document.
CRC001
Crocoite: Tasmania, Australia (PbCrO4). From Sue Atkinson. See section 14 of this document.
CRC002
Crocoite: Beresowsk, Urals, USSR (PbCrO4) (Smithsonian Institution MNMH #B11577). See section 14 of this document.
CRC003
Crocoite: Dundas, Tasmania, Australia (PbCrO4) (Smithsonian Institution MNMH #C4606-6). See section 14 of this document.
CRO101
Cronstedtite: 411 level, Llallagua, Bolivia (on hisingerite) (Smithsonian NMNH #193910). [Fe+22 Fe+3(SiFe+3)O5(OH)4]. See section 3 of this document.
CRO102
Cronstedtite: Herja, Crisana-Maramures, Romania (Smithsonian NMNH #R7807-4). [Fe+22 Fe+3(SiFe+3)O5(OH)4]. See section 3 of this document.
GLA103
Glauconite: Villers-sur-Mer, Calvados, France (Smithsonian NMNH #46447). [(K,Na)(Fe+3,Al,Mg)2(Si,Al)4O10(OH)2]. See section 3 of this document.
GLA104
Glauconite: Bighorn Mountain, Wyoming (8000 feet), Wyoming (Smithsonian NMNH #97839). [(K,Na)(Fe+3,Al,Mg)2(Si,Al)4O10(OH)2]. See section 3 of this document.
GRE101
Greenockite: San Bernardino County, California, USA (CdS) (Smithsonian Institution MNMH #156721) (yellow pigment). See section 10 of this document.
GRP101
Graphite: Ratnapura District, Sri Lanka (Excalibur Mineral Co.). <37, <45 and 45-90µm powders made by crushing and dry sieving (?). Sample left. See section 1 of this document.
GRP102
Graphite: synthetic "amorphous" graphite (Johnson Matthey, #10130A), -300 mesh, 99.5% pure. <45µm powder by dry sieving. Sample left. See section 1 of this document.
GRP103
Graphite: Dillon, Beaverhead County, Montana (Minerals Unlimited), with schist. <45µm sample by crushing and dry sieving (?). Sample left. See section 1 of this document.
GRP104
Graphite: Seathwaite Mine, Borrowdale, Cumbria, England (David Shannon Minerals). <45µm sample by crushing and dry sieving (?). Sample left. See section 1 of this document.
GRP105
Graphite: 3R - Spitzkoppe, Namibia (David Shannon Minerals). <45 and >45µm samples by crushing, dry sieving (?) and dissolution of host carbonate with HCl. Sample left. See section 1 of this document.
GRP106
Graphite: Madagascar (University of Winnipeg mineral collection #M100-6). <45µm sample by crushing and dry sieving (?). Sample left. See section 1 of this document.
GRP107
Graphite: South Dakota (University of Winnipeg mineral collection #M100-5). <45µm sample by crushing and dry sieving (?). Sample left. See section 1 of this document.
HUY101
Hauyne: Ariccia, near Rome, Italy; in rock: ((Na,Ca)4-8Al6Si6(O,S)24(SO4,Cl)1-2) (Minerals Unlimited; blue, white, gray, sometimes green). See section 2.8 of this document.
HAW101
Hawleyite: Eureka County, Nevada, USA (CdS) (Smithsonian Institution MNMH #120642) (yellow pigment). See section 10 of this document.
HEM101
Hematite: (Dick Morris sample HMS3; from Pfizer; produced by calcination of iron salts) [See Morris et al., JGR 90, pp. 3126-3144 (1985) for description]. <140 nm powder provided. (ideally  -Fe2O3). See section 9.6 of this document.
HEM102
Hematite: Bouse, Arizona, USA (-Fe2O3) (Tyson's Fine Minerals). See section 9.6 of this document.
HEM103
Hematite: locality unknown (-Fe2O3) (National Museum of Nature, Ottawa). See section 9.6 of this document.
JAD001
“Jade”: locality unknown, probably British Columbia [could be nephrite (tremolite-actinolite (Ca2(Mg,Fe)5Si8O22(OH)2 (more probable); or jadeite - a pyroxenoid (NaAlSi2O6)] (acquired from 2001 Manitoba Rock and Mineral Show) (for pigments project - although not a pigment). See section 2.11 of this document.
KAO101
Kaolinite: locality unknown [Al4 (Si4O10)(OH)8] (University of Alberta GEOL330 laboratory collection Drawer 23, ascension 13). See section 3 of this document.
KAO102
Kaolinite (china clay): Edgar, Florida, USA [Al4 (Si4O10)(OH)8] (Ward's # 46 E 0995). See section 3 of this document.
KAO103
Kaolinite (well ordered), Washington County, Georgia, USA [Al4 (Si4O10)(OH)8] (Source Clay Minerals Repository #KGa-1b) (came as <45µm powder). See section 3 of this document.
KAO104
Kaolinite (poorly ordered), Warren County, Georgia, USA [Al4 (Si4O10)(OH)8] (Source Clay Minerals Repository #KGA-2) (came as <45µm size powder). See section 3 of this document.
LCA101
Carbon lampblack: synthetic (Johnson Matthey, #14237A), <0.021µm size. Powder by dry sieving. Sample left. See section 1 of this document.
MIN101
Minium: 30 miles south of Tucson, Arizona, USA (Pb22+Pb4+O4) (Smithsonian Institution MNMH #R12526). See section 9.6 of this document.
MIN102
Minium: Del Pratt shaft, BHP Mine, Broken Hill, New South Wales, Australia (Smithsonian Institution MNMH #R10165). See section 9.6 of this document.
NOS101
Nosean: Laacher See, Eifel, Kaiserstuhl, Rheinland, Germany (Na8Al6Si6O24(SO4)·H2O (small black crystals in phonolite; member of sodalite group. (For pigment project - present in lapis lazuli according to Bacci). (Minerals Unlimited), but my sample is black. See section 2.8 of this document.
OOH001
Bauxite: Guyana (Minerals Unlimited). Lots of sample; made <45 and 45-90µm fractions (dry sieve). Sample is predominantly gibbsite. See section 6 of this document.
OOH002
Bauxite: Pulaski County, Arkansas, USA (Minerals Unlimited). Lots of sample, made <45 and 45-90µm fractions (dry sieve). Sample is predominantly gibbsite. See section 6 of this document.
OOH004
Gibbsite: Minas Gerais, Brazil (Minerals Unlimited) [Al(OH)3] (Minerals Unlimited). A couple of grams (DHZ: white, pale pink, pale green, grey, light brown; MU: white, compact radial fibrous masses). Couple of grams of <45 and 45-90µm made (dry sieve), a couple of grams left. See section 6 of this document.
ORP101
Orpiment: Getchell Mine, near Golconda, Humboldt County, Nevada, USA (As2S3) (Minerals Unlimited) (light sensitive). See section 10 of this document.
ORP102
Orpiment: Felsobanya, Romania (As2S3) (Smithsonian Institution MNMH #R13305). See section 10 of this document.
ORP103
Orpiment: Manhattan, Nevada, USA Romania (As2S3) (Smithsonian Institution MNMH #155082). See section 10 of this document.
PHS101
Apatite: Jacupiranga Mine, Sao Paulo State, Brazil (Nature's Treasures), with magnetite MAG101; originally labelled as olivine OLV014; aka APA102. See section 4 of this document.
PHS104
Apatite: Wilson's Corner, Quebec, Canada (Dr. David Garske #AL14b), originally PYX004; location of sample presently unknown; aka APA104. See section 4 of this document.
PRL101
Pyrolusite: Lake Valley, Sierra County, New Mexico, USA; in rock. (-Mn+4O2) (Minerals Unlimited). Black pigment affected by Raman heating - Smith and Clark). See section 9.6 of this document.
QUA101
Quartz: locality unknown (National Museum of Nature, Ottawa). See section 2.11 of this document.
REA101
Realgar: Getchell Mine, near Golconda, Humboldt County, Nevada, USA (AsS) (Minerals Unlimited) (light sensitive). See section 10 of this document.
REA102
Realgar: Cavnic, Crisana-Maramures, Romania (AsS) (Smithsonian Institution MNMH #159151). See section 10 of this document.
REA103
Realgar: Basses Alps, France (AsS) (Smithsonian Institution MNMH #B551). See section 10 of this document.
RUT101
Rutile: near Roseland, Nelson County, Virginia, USA (Minerals Unlimited) (ideally TiO2). See section 9.6 of this document.
RUT102
Rutile: Kragero, Telemark, Norway (Minerals Unlimited) (ideally TiO2). See section 9.6 of this document.
SPT127
Gypsum (var. selenite): Utah, USA [CaSO4·4H2O] (University of Winnipeg collection M168-39) (see sulphates section). See section 8 of this document.
SPT128
Anhydrite: locality unknown [CaSO4] (University of Winnipeg collection M170-1) (see sulphates section).  See section 8 of this document.
SPT145
Anglesite: Excepcion Mine, Villa Ahumada, Chihuahua, Mexico (PbSO4) (Minerals Unlimited) (see sulphates section). See section 8 of this document.
SPT146
Barite: Castle Dome, Yuma County, Arizona, USA (BaSO4) (Minerals Unlimited) (see sulphates section). See section 8 of this document.
SPT147
Anglesite: Tsumeb, Namibia (PbSO4) (Smithsonian Institution MNMH #163581) (see sulphates section). See section 8 of this document.
SPT148
Anglesite: Italy (PbSO4) (Smithsonian Institution MNMH #B10901) (see sulphates section). See section 8 of this document.
SPT150
Lazurite: Afghanistan ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (Minerals Unlimited) (see sulphates section). See section 8 of this document.
SPT151
Lazurite: locality unknown ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (purchased at 2001 Manitoba Rock and Mineral Show) (see sulphates section). See section 8 of this document.
SPT152
Lazurite: Chile ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (Smithsonian Institution MNMH #126134) (see sulphates section). See section 8 of this document.
SPT153
Lazurite: Cordicleres, Argentina ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]) (Smithsonian Institution MNMH #C2677) (see sulphates section). See section 8 of this document.
TAL101
Talc: Esmeralda County, Nevada, USA (Mg3Si4O10(OH)2) (Minerals Unlimited) (see clays section). See section 3 of this document.
TAL102
Talc: 3MgO·4SiO2·H2O. Aldrich: 42,043-3: 25 grams. Synthetic? Also labelled as PIG006 (see clays section). See section 3 of this document.
+++++++++++++++++++++++++++++++++++
19.2a. Synthetic samples of historical pigments and associated materials (PIGxxx and ARTxxx):
19.2a.1. Acquired prior to 2007

PIG001
Aluminum hydroxide: (Al(OH)3). Aldrich 23,918-6: 500 g. Synthetic version of gibbsite. Also known as White lake. [Label warning: Irritant! Absorbs CO2 from air!].  Also see section 6 of this document.
PIG002
Calcium sulfate: CaSO4. Aldrich 23,713-2: 100 grams. Synthetic version of anhydrite. [Label warning: Irritating dust! Hygroscopic!]. Also see section 8 of this document.
PIG003
Barium sulfate: BaSO4. Aldrich 24,335-3: 100 grams. Synthetic version of barite. [Label warning: none]. Also see section 8 of this document.
PIG004
Calcium carbonate: CaCO3. Aldrich 23,921-6: 100 grams. Synthetic version of calcite. Also known as calcium carbonate and whiting. [Label warning: Severe irritant! Hygroscopic! Keep tightly closed!]. Also see section 5 of this document.
PIG005
Calcium sulfate dihydrate: CaSO4·2H2O. Aldrich 25,554-8: 100 grams. Synthetic version of gypsum. [Label warning: Irritating dust! Hygroscopic!]. Also see section 8 of this document.
PIG006
Talc: 3MgO·4SiO2·H2O. Aldrich: 42,043-3: 25 grams. Synthetic? Also labelled as TAL102. [Label warning: Harmful solid! Target organ: lungs!]. Also see section 3 of this document.
PIG007
Titanium (IV) oxide - anatase: TiO2. Aldrich 24,857-6: 100 grams. Synthetic version of anatase. [Label warning: Harmful dust! Possible carcinogen!]. Also see section 9.6 of this document.
PIG008
Titanium (IV) oxide - predominantly rutile. Aldrich 20,475-7: 25 grams. Synthetic version of rutile? [Label warning: Harmful dust! Possible carcinogen!]. Also see section 9.6 of this document.
PIG009
Lead (II) carbonate, basic: (PbCO3)2·Pb(OH)2. Aldrich 24,358-2: 100 grams. Synthetic version of hydrocerussite (cerussite is less commonly used). Also known as flake white. [Label warning: Harmful solid! Reproductive hazard! Target organ: blood, kidneys! Target organ: nerves! Avoid contact and inhalation!]. Also see section 6 of this document.
PIG010
Zinc oxide: ZnO. Aldrich 25,160-7: 100 grams. Also known as zinc white and Chinese white. Natural analogue never used as a pigment. Natural variety called zincite (usually contains Mn and is red). [Label warning: Harmful dust! Irritant! Avoid inhalation!]. Also see section 9.6 of this document.
PIG011
Antimony (III) oxide: Sb2O3. Aldrich 37,925-5: 10 grams. [Label warning: Cancer suspect agent! Mutagen! Target organ: eyes! Severe irritant! Avoid contact and inhalation!]. Also see section 9.6 of this document.
PIG012
Cadmium sulfide: CdS. Aldrich 20,818-3: 100 grams. No natural analogue? [Label warning: Danger, contains cadmium; cancer hazard; avoid creating dust; can cause lung and kidney disease. Mutagen! Irritant! Cancer suspect agent! Target organs: kidneys, lungs! Handle with gloves in hood!]. Also see section 10 of this document.
PIG013
Cadmium selenide: CdSe. Aldrich 24,460-0: 10 grams. No natural analogue? [Label warning: Danger: contains cadmium! Cancer hazard! Avoid creating dust! Can cause lung and kidney disease! Cancer suspect agent! Possible mutagen! Target organs: kidney, lungs, liver! Moisture-sensitive! Store under N2!]. Also see section 10 of this document.
PIG014
Lead oxide: Pb3O4. (red lead oxide). Aldrich 24,154-7: 5 grams. No natural analogue? [Label warning: Oxidizer! Irritant! Reproductive hazard! Harmful dust! Avoid inhalation! Target organs: blood, kidneys, nerves!]. Also see section 9.6 of this document.
PIG015
Mercury (II) sulfide: HgS [red]. Aldrich 24,356-6: 50 grams. Synthetic version of vermilion/cinnabar. [Label warning: Highly toxic! Neurologic hazard! Readily absorbed through skin! Target organ: kidneys, G.I. system! Irritant! Protect from light!]. Also see section 10 of this document.
PIG016
Mercury (II) sulfide: HgS [black]. Aldrich 40,073-4: 50 grams. Synthetic version of vermilion/cinnabar. Need to determine why this version is black and the other is red. [Label warning: Highly toxic! Irritant! Target organ: kidneys, nerves! Target organ: G.I. system! Readily absorbed through skin! Protect from light!]. Also see section 10 of this document.
PIG017
Lead (II) chromate: PbCrO4. Aldrich 43,443-4: 25 grams. Also known as chrome red. Natural version is crocoite. [Label warning: Cancer suspect agent! Mutagen! Irritant! Target organs: lungs, blood! Oxidizer! Target organs: kidneys, nerves! Avoid contact and inhalation! Reproductive hazard]. Also see section 14 of this document.
PIG018
Iron (III) oxide, hydrated: FeO(OH). Aldrich 37,125-4: 50 grams. Synthetic version of goethite. [Warning label: none]. Also see section 6 of this document.
PIG019
Carmine: alum lake of carminic acid. Aldrich 19,970-2: 5 grams. Natural variety produced from insects. [Label warning: none].
PIG020
Barium chromate: BaCrO4. Aldrich 40,105-6: 250 grams. Also known as barium yellow and lemon yellow. [Label warning: Irritant! Hygroscopic! Mutagen! Oxidizer! Toxic! Cancer suspect agent! Target organ: lungs, kidneys!]. Also see section 14 of this document.
PIG021
Lead (II) sulfate: PbSO4. Aldrich 30,773-4: 100 grams. Natural version is anglesite. [Label warning: Harmful solid! Irritant! Target organ: blood, kidneys! Target organ: nerves! Reproductive hazard! Avoid contact and inhalation!]. Also see section 8 of this document.
PIG022
Lead (II) oxide: PbO. Aldrich 40,298-2: 5 grams. Also known as massicot and litharge. [Label warning: Reproductive hazard! Target organ: blood, kidney, nerves! Possible mutagen/teratogen! Harmful dust! Avoid inhalation!]. Also see section 9.6 of this document.
PIG023
Chromium (III) oxide: Cr2O3. Aldrich 39,370-3: 100 grams. Also known as permanent green. [Label warning: Harmful solid! Irritant! Sensitizer! Hygroscopic!]. Also see section 9.6 of this document.
PIG024
Copper (II) carbonate, basic: CuCO3·Cu(OH)2. Aldrich 20,789-6: 25 grams. Also known as green verditer; natural variety is malachite. [Label warning: Toxic! Irritant!]. Also see section 5 of this document.
PIG101
Synthetic litharge (PbO) (Smithsonian Institution MNMH #93589) (red pigment). Also see section 9.6 of this document.
PIG201
Manganese (IV) oxide: MnO2. Synthetic: 100 grams: -60 +230 mesh; 99%+. Aldrich #243442. Black pigment, affected by Raman laser heating. Ideally want beta MnO2 (pyrolusite). See Smith and Clark (2001) art Raman article for context. [Label warning: Oxidizing, harmful; harmful by inhalation and if swallowed; avoid contact with eyes; target organs: central nervous system, lungs]. Also see section 9.6 of this document.
PIG202
Calcium hydroxide: Ca(OH)2. Synthetic: Sigma Aldrich #23-923-2 (100 g), 95%+. Context: Ann Massing - unknown application but art related. Corrosive, causes burns. Also see section 6 of this document.
PIG203
Aluminum sulfate: Al2(SO4)3·XH2O (X=14-18). Synthetic: Alfa Aesar #36294 (lot K15L39), 98-102%, 250 g. Alunogen synthetic. [Label warning: Irritates skin and eyes]. Not a pigment. Also see section 8 of this document.
PIG204
Calcium oxalate: CaC2O4·H2O. Synthetic: Alfa Aesar #32430 (lot #H21N04), 99%; 100 g. Synthetic weddelite; weathering product of statuary (Smith and Clark, Reviews in Conservation, vol. 2, (2001), pp. 92-106. [Label warning: Irritates lungs, eyes, skin]. (also ART003). Not a pigment – weathering product on marble. Also see section 5 of this document.
PIG205
Sodium sulfate decahydrate: Na2SO4·10H2O. Synthetic: Aldrich #403008 - batch 04031KO. 99+%. Synthetic mirabilite. Not a pigment. Also see section 8 of this document. Note PIG205 silicate is now PIG205X.
+++++++++++++
19.2a.2. New samples from Natural Pigments (Naturalpigments.com) - October 3 and 13, 2006
PIG300
Natural yellow oxide (catalog no. 430-44S). 100 grams. (white/yellow/orange group).

PIG301
Italian dark ochre (catalog no. 431-43S). 100 grams. (white/yellow/orange group).

PIG302
Chrome yellow (catalog no. 437-11S). 4 ounces. (white/yellow/orange group).

PIG303
Gold ochre (catalog no. 430-31S). 4 ounces. (white/yellow/orange group).

PIG304
Yellow jarosite (catalog no. 430-17S). 100 grams. (white/yellow/orange group). Also listed in section 8 of this document.
PIG305
Jarosite (catalog no. 430-15S). 100 grams (white/yellow/orange group). Also listed in section 8 of this document.
PIG306
Yellow ochre light - claire jaune (catalog no. 430-41S). 4 ounces. (white/yellow/orange group).

PIG307
Yellow ochre dark (Ochre jaune dark; yellow ochre deep; jaune fon.) (catalog no. 430-42S). 4 ounces. (white/yellow/orange group).

PIG308
Orpiment (catalog no. 430-20S). 10 grams; 0.35 ounces. (white/yellow/orange group). Also listed in section 10 of this document.
PIG309
Cinnabar, warm (catalog no. 450-10S). 10 grams.  (red/orange group). Also listed in section 10 of this document.
PIG310
Indian red (natural red oxide) (catalog no. 450-51S). 100 grams. (red/orange group).

PIG311
Spanish red (contains natural iron oxide) (catalog no. 450-44S). 100 grams. (red/orange group).

PIG312
Hematite (contains natural iron oxide) (catalog no. 450-31S). 100 grams. (red/orange group). Also listed in section 9.6 of this document.
PIG313
Hematite Crimean (catalog no. 450-34S). 100 grams. (red/orange group). Also listed in section 9.6 of this document.
PIG314
Violet hematite; violet caput mortem (cold hematite) (catalog no. 450-32S). 100 grams. (red/orange group). Also listed in section 9.6 of this document.
PIG315
Cold green earth - glauconite (catalog no. 420-30S). 100 grams. (green/blue group). Also listed in section 3 of this document.
PIG316
Celadonite - green earth (catalog no. 420-26S). 100 grams. (green/blue group). Also listed in section 3 of this document.
PIG317
Nicosia green earth - glauconite (catalog no. 421-31S). 2 jars of 100 grams, 1 in Historical Pigment Set. (green/blue group). Also listed in section 3 of this document.
PIG318
Dioptase, fine grade (catalog no. 420-10S). 10 grams. (green/blue group). Also listed in section 3 of this document.
PIG319
Vivianite, blue ochre (catalog no. 410-20S). 10 grams. (green/blue group). Also listed in section 4 of this document.
PIG320
Indigo, no. 1 quality (catalog no. 415-11B). 100 grams. (green/blue group).

PIG321
German vine black (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set); other jar part of Historical Pigment Set; catalog no. 481-11S; 4 ounces. (black/brown group). Also listed in section 1 of this document.
PIG322
Yellow ochre (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (white/yellow/orange group).
PIG323
Hematite (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (red/orange group). Also listed in section 9.6 of this document.
PIG324
Red ochre (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (red/orange group).

PIG325
Glauconite (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (green/blue group). Also listed in section 3 of this document.
PIG326
Umber (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set). (black/brown group).

PIG327
Italian brown ochre (catalog no. 361-50S). 100 grams. (white/yellow/orange group).
PIG328
Sienna, Light Luberon (catalog no. 460-33S). 100 grams. (white/yellow/orange group).
PIG329
Zinc oxide (catalog no. 475-31S). 4 ounces. (white/yellow/orange group). Also listed in section 9.6 of this document.
PIG330
Titanium white/titanium dioxide (catalog no. 475-21S). 2 jars of 100 grams each. (white/yellow/orange group). Also listed in section 9.6 of this document.
PIG331
Cerussite, natural lead white (catalog no. 470-10S). 50 grams. (white/yellow/orange group). Also listed in section 8 of this document.
PIG332
Goethite, brown ochre (catalog no. 460-50B). 100 grams. (red/orange group). Also listed in section 6 of this document.
PIG333
Cyprus burnt umber (catalog no. 461-44S). 4 ounces. (red/orange group).

PIG334
Red Sartorius Earth (catalog no. 451-41S). 100 grams. (red/orange group).

PIG335
Cyprus Raw Umber Medium (catalog no. 461-42S). 4 ounces. (red/orange group).

PIG336
Cyprus Burnt Umber, Warm (catalog no. 461-45S). 100 grams. (red/orange group).

PIG337
Sienna, Luberon Raw (catalog no. 460-32S). 100 grams. (red/orange group).

PIG338
Sienna Burnt Luberon (catalog no. 460-34S). 100 grams. (red/orange group).

PIG339
Umber, Burnt Luberon (catalog no. 460-44S). 100 grams. (red/orange group).

PIG340
Umber, Luberon Raw (catalog no. 460-42S). 100 grams. (red/orange group).

PIG341
Ochre, Luberon Red (catalog no. 450-52S). 4 ounces. (red/orange group).

PIG342
Ercolano Red (catalog no. 451-43S). 100 grams. (red/orange group).

PIG343
Cyprus Raw Umber Light (catalog no. 461-41S). 4 ounces. (red/orange group).

PIG344
Italian Burnt Umber Warm (catalog no. 461-49S). 100 grams. (red/orange group).

PIG345
Mummy (iron oxide) (Mummy brown) (catalog no. 460-22S).4 ounces. (red/orange group).

PIG346
Raw Sienna (catalog no. 460-30S). 100 grams. (red/orange group).

PIG347
Cochineal, premium Chilean (catalog no. 455-32S). 4 ounces. (red/orange group).

PIG348
Minium, red lead (Surik) (catalog no. 457-10S). 50 grams. (red/orange group). Also listed in section 9.6 of this document.
PIG349
Azurite, coarse (catalog no. 410-11S). 10 grams. (green/blue group). Also listed in section 5 of this document.
PIG350
Malachite, medium (catalog no. 420-21S). 10 grams. (green/blue group). Also listed in section 5 of this document.
PIG351
Lazurite, Baikal (lapis lazuli) (catalog no. 410-17S). 10 grams. (green/blue group). Also listed in section 2.11 of this document.
PIG352
Lapis lazuli, premium grade lazurite (catalog no. 410-19S). 10 grams. (green/blue group). Also listed in section 2.11 of this document.
PIG353
Lapis Lazuli, standard grade lazurite (catalog no. 410-18S). 10 grams. (green/blue group). Also listed in section 2.11 of this document.
PIG354
Malachite, fine grade (catalog no. 420-20S). 5 vials of 10 grams each = 50 grams. (green/blue group). Also listed in section 5 of this document.
PIG355
Roman Black (catalog no. 481-13S). 100 grams. (black/brown group).

PIG356
Cassel Brown Earth (catalog no. 481-12S). 100 grams. (black/brown group).

PIG357
Shungite, carbon black (catalog no. 480-10S). 4 ounces. (black/brown group). Also listed in section 18.3 of this document.
PIG358
Pyrolusite, Mineral brown black (catalog no. 480-20S). 100 grams. (black/brown group). Also listed in section 9.6 of this document.
PIG359
Natural black oxide (catalog no. 480-30S). 100 grams. (black/brown group).

PIG360
Lamp black (catalog no. 480-50B). 200 grams. (black/brown group). Also listed in section 1 of this document.
PIG361
Madder root (catalog no. 455-22S). 2 x 100 gram bag = 200 grams. (red/orange group).

PIG362
Alkanet root (catalog no. 455-12S). 100 gram bag. (red/orange group).

PIG363
Brazilwood sawdust (catalog no. 455-15S). 100 gram bag. (red/orange group).

PIG364-370
See below.

PIG371
Verona Green Earth (Historical Pigment Set; catalog no. 421-26S), 100 grams. (green/blue group).

PIG372
Malachite (Historical Pigments Set, catalog no. 420-20G), 100 grams. (green/blue group). Also listed in section 5 of this document.
PIG373
Lazurite (Historical Pigment Set, catalog no. 410-18G), 100 grams. (green/blue group). Also listed in section 2.11 of this document.
PIG374
Lemon Ochre (Historical Pigment Set; catalog no. unknown), 100 grams. (white/yellow/orange group).
PIG375
Italian Yellow Earth (Historical Pigment Set; catalog no. unknown), 100 grams. (white/yellow/orange group).
PIG376
Italian Raw Sienna (Historical Pigment Set; catalog no. unknown), 100 grams. (white/yellow/orange group).
PIG377
Venetian Red (Historical Pigment Set, catalog no. 451-44B), 100 grams. (red/orange group).
PIG378
Italian Burnt Sienna (Historical Pigment Set); catalog no. unknown), 100 grams. (red/orange group).
PIG379
Pozzuoli Red (Historical Pigment Set; catalog no. unknown), 100 grams. (red/orange group).
PIG380
Italian Burnt Umber (Historical Pigment Set, catalog no. unknown), 100 grams. (black/brown group).

PIG381
Italian Raw Umber Green (Historical Pigment Set; catalog no. 461-47S), 100 grams. (green/blue group).

PIG382
Italian Raw Umber (Historical Pigment Set; catalog no. unknown), 100 grams. (black/brown group).

PIG383
Cyprus Raw Umber, Dark (Historical Pigment Set; catalog no. 461-43S), 100 grams. (black/brown group).

PIG384
Realgar; originally mislabelled as PIG309 (Natural Pigments #450-20S), 10 grams (red-orange group). Also listed in section 10 of this document.
++++++++++++

19.2a.3. Other materials: non-pigments (also from Natural Pigments) – received October 2006
PIG364
Pumice (catalog no. 510-13PUMLB). 500 gram bag. (other materials).
PIG365
Spike oil (natural source: Lavendula latifola). (catalog no. 510-420SP02). 2 fluid ounce bottle. (other materials)
PIG366
Refined linseed oil (natural source: Linum usitatissimum) (catalog no. 510-410RL08). 8 fl. oz. bottle. (other materials).
PIG367
Bodied oil, medium viscosity stand oil (catalog no. 510-410ST08). 8 fl. oz. bottle. (other materials)
PIG368
Copal painting medium (catalog no. 510-35COP05). unknown size bottle. (other materials).
PIG369
Damar crystals (catalog no. 510-33DMR01). 11 ounce can. (other materials)
PIG370
Turpentine (catalog no. 520-1TRPT08). 16 ounce can. (other materials).
POP101
Plaster of Paris (~1 kg)
+++++++++++
19.2a.4. Pigments/artists materials from Heaton Cooper Studios - received October 3, 2006
Black/brown/blue pigments:
PIG400
Daler-Rowney willow charcoal thick sticks; 4 packs of 5sticks each.

PIG401
Wurzburg Black (Davy’s gray): natural slate + clay, 2 jars - each 100 grams.

PIG402
Derwent graphite sticks: natural graphite: 5 sticks.

PIG403
Roberson traditional Prout’s Brown Ink: 2 bottles - each 30 ml.

PIG404
Kremer sepia ink, genuine: 2 bottles - each 20 ml.

PIG405
Kremer bistre ink: 1 bottle - 20 ml.

Red pigments:
PIG406
Natural sanguine; red drawing chalk from Tuscany; native iron oxide with clay: 2 jars, each 100 grams. (red/orange group).
PIG407
Sanguine Koh-i-Noor chalk/charcoal round stick: 4 sticks. (red/orange group).
PIG408
Cretacolor Sanguine dry pencil (wax-free); 1 pencil. (red/orange group).
Mixed sets:
PIG409
Cretacolor Basic Drawing Set: 2 sets of 6 pencils: sanguine, sepia, white pastel, charcoal, Nero, graphite; 2 sets.

PIG410
Cretacolor chunky pastels boxed set: 12 sticks; 1 set. Coloured charcoal, oil-free, water-soluble.
PIG411
Lyra Rembrandt Special Fine Art Pencil Set: tin of 12; chalk-based, grease-free; 1 set.

+++++++++++++
19.2a.5. Pigments/artists supplies from Blot’s Pen and Ink Supplies – received October 13, 2006
PIG500
French Sepia Ink; 2 bottles, 30 ml each. (Label info: "French Sepia Ink is a traditional shellac based ink with a transparent satin finish. Thin with water if required. Apply with a brush or pen.").
PIG501
Prout's Brown Ink; 2 bottles, 30 ml each. (Label info: "Traditional ink.  Lightfast and non-waterproof. Vandyke crystals, ammonium carbonate and water. Apply with a brush or pen".).
PIG502
Iron Gall Ink; 4 bottles, 30 ml each. (Label info: "Arts and Creative Materials Institute Certified. Conforms to ASTM D 4236. This ink, made to a medieval recipe, for use with 'dip pens', will flow freely and darken on drying. Wash with water".).
PIG503
Higgins Sepia Ink; 1 bottle, 73.9 ml; 2.5 fl. oz.

+++++++++++++
19.2a.6. Pigments/artists supplies acquired by Jennifer Charney - Nov. 2006
PIG600
Charcoal sticks; source unknown.

PIG601
Yellow ochre; Stevenson Artists-Quality Pure Pigments; 2 ounces.

+++++++++++++

19.2a.7. Pigments/artists supplies from Silverpoint Web – received Nov. 28, 2006
PIG700
New Tradition mechanical stylus with silver 0.035" 3x hardened sterling silver point (3" long). Also 3 replacement points, also 3" long.

PIG701
Ground kit: Old Masters Formula Silverpoint Ground “Kit”; makes approximately 32 ounces of excellent ground. 

+++++++++++++

19.2a.8. Pigments/artists materials from Alfa Aesar – received December 11, 2006 - For oxalate study
ART001
Sodium oxalate, ACS 99.5+% (Alfa Aesar stock #41759; 50 grams) [Na2C2O4].

ART002
Oxalic acid, anhydrous, 98% (Alfa Aesar stock #44410; 50 grams) [HO2CCO2H].

ART003
Calcium oxalate: CaC2O4·H2O. Synthetic: Alfa Aesar #32430 (lot #H21N04), 99%; 100 g. Synthetic weddelite; weathering product of statuary (Smith and Clark, Reviews in Conservation, vol. 2, (2001), pp. 92-106. Irritates lungs, eyes, skin. (also PIG204).

+++++++++++++
19.2a.9. Pigments/artists materials from Sigma Aldrich - received June 2007 – for oxalate study
ART004
Sodium oxalate, ACS 99.5% Reagent (Sigma-Aldrich #223433; 100 grams).

ART005
Calcium chloride dihydrateCS 99+% (Sigma-Aldrich #223506; 25 grams).

ART006
Dimethyl oxalate, 99% (Sigma-Aldrich #135623; 100 grams).

++++++++++++

19.2a.10. Other pigments

PIG702
India Ink, super black. Speedball; 1 bottle: 2 fl. oz (59.2 ml). (Label info: "Arts and Creative Materials Institute Certified. Conforms to ASTM D 4236. Permanent/Waterproof, 100% carbon black pigment".). 

++++++++++++
19.2a.11. Other materials and bases

GOAT01
Goatskin parchment from France ("Medium sized goat skin valued for its thinness and sheen. Classic goat pattern is ideal for all applications). From Talas (www.talasonline.com): catalogue number TLP026001. 

PAPYRUS01
Light-coloured papyrus from King Tut Shop (12 sheets, 30 x 40 cm).
PAPYRUS02
Dark-coloured papyrus from King Tut Shop (12 sheets, 30 x 40 cm).
++++++++++++++++++++++++++++++++++++++++++++++++++++
19.2a.12. New pigments – May-June 2015

PIG800
Hydrated chrome green (BrambleBerry Soap Making Supplies; received May 27, 2015).
PIG801
Victoria Green (complex calcium chromium silicate) – Natural Pigments.com: Rublev Colours; catalogue #427-12; 50 grams [green pigment].

PIG802
Prussian blue – NaturalPigments.com: Rublev Colours; catalogue #417-17; 4 oz [blue pigment].

PIG803
Bianco San Giovanni – dried lime from limestone (calcium hydroxide) – NaturalPigments.com: Rublev Colours; catalogue #475-41; 4 oz [white pigment].
PIG804
Ultramarine ash (lazurite) – NaturalPigments.com: Rublev Colours; catalogue #410-14; 50 grams [blue pigment].

PIG805
Van Dyke Brown (aka Cassel Earth or Cologne earth) – peat/lignite – NaturalPigments.com: Rublev Colours; catalogue #462-21; 4 oz [brown-black pigment].
PIG806
Cobalt zinc blue (aka smalt blue; calcined cobalt and aluminum oxide) – NaturalPigments.com: Rublev Colours; catalogue #417-10; 50 grams [blue pigment].

PIG807
Lead-tin orange (heated lead and tin oxides) – NaturalPigments.com: Rublev Colours; catalogue #447-11; 50 grams [orange pigment].

PIG808
Lead-tin yellow light (heated lead and tin oxides) – Natural Pigments.com; Rublev Colours: catalogue #437-5110; 50 grams [light yellow pigment].

PIG809
Lead-tin yellow lemon (Type 1) (lead-tin oxide) – NaturalPigments.com; Rublev Colours; catalogue #437-5305; 50 grams [medium yellow pigment].

PIG810
Cobalt yellow (aureolin) (cobalt salts + acetic acid and potassium nitrate) – NaturalPigments.com; Rublev Colours; catalogue #437-1005; 50 grams [dark yellow pigment].

PIG811
Naples yellow light (synthetic heated lead + antimony) – NaturalPigments.com; Rublev Colours; catalogue #437-5405; 50 grams [yellow pigment].

PIG812
Chromium oxide green (aka viridian, chromium sesquioxide) – NaturalPigments.com; Rublev Colours; catalogue #427-15 [green pigment].

PIG813
Blue verditer (artificial basic copper carbonate) – NaturalPigments.com; Rublev Colours; catalogue #417-11; 10 grams [blue pigment].

PIG814
Egyptian blue (synthetic copper calcium silicate) – NaturalPigments.com: Rublev Colours; catalogue #417-15; 10 grams [blue pigment].

PIG815
Royal smalt (potassium glass) – NaturalPigments.com; Rublev Colours; catalogue #417-13; 10 grams [blue pigment].

PIG816
Smalt (potassium glass) – NaturalPigments.com; Rublev Colours; catalogue #417-14; 10 grams [blue pigment].
PIG817
Naples yellow dark (heated lead and antimony) – NaturalPigments.com; Rublev Colours; catalogue #437-5505; 50 grams [dark orange-brown-yellow pigment].

PIG818
Lead-tin yellow dark (Type 1) (heated lead and tin oxide) – NaturalPigments.com; Rublev Colours; catalogue #437-5305; 50 grams [yellow pigment].

PIG819
Copper (II) acetate monohydrate, 98+% (C2H6CuO4•H2O – Alfa Aesar, catalogue #A16203; lot: 10178996; 250 grams [blue-green pigment].

PIG820
Copper (II) acetate, anhydrous powder, (Cu(OOCCH3)2) – Alfa Aesar, catalogue #19417; lot: U18A039; 25 grams [blue-green pigment].

PIG821
Indigo, from woad (with small packet of woad seeds); fine blue powder. Kremer Pigmente catalogue #36003/50 (50 grams) [blue pigment].

PIG822
Cobalt blue, dark (synthetic cobalt zinc silicate phenacite ((Co,Zn)2SiO4); CAS no. 68412-74-8. Kremer Pigmente catalogue #45700/100; 100 grams, fine powder [blue-green pigment].

PIG823
Cobalt blue, pale (matte) (synthetic cobalt-aluminum spinel (CoAl2O4)); CAS no. 1345-16-0. Kremer Pigmente catalogue #457141/100; 100 grams, fine powder [blue-green pigment].

PIG824
Cobalt cerulean blue (Co-Sn-oxide); CAS no. 68187-05-3. Kremer Pigmente catalogue #45730/100; 100 grams, fine powder [blue-green pigment].

PIG825
Gamboge powder (gummi gutti) (natural yellow resin, toxic); CAS no. 9000-25-3. Kremer Pigmente catalogue #37050/100; 100 grams, fine powder [yellow-orange pigment]. 
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
19.3a. Sorted by approximate colour groups (see above for details)

19.3.1a. By colour group – White pigments
++++++Non-PIGxxx samples++++

CRB102
Aragonite [CaCO3].

CRB109
Calcite [CaCO3].

CRB110 
Calcite [CaCO3].

CRB111 
Calcite [CaCO3].

CRB112 
Calcite [CaCO3].

CRB116
Calcite [CaCO3] (mislabelled; XRD shows pure calcite).

CRB118
Calcite [CaCO3] (mislabelled; XRD shows pure calcite).

CRB119
Mostly aragonite [CaCO3], some quartz and calcite.

CRB120
Aragonite [CaCO3].

CRB122
Calcite [CaCO3], minor dolomite (mislabelled as aragonite).

CRB123
Aragonite [CaCO3], plus bit of calcite.
CRB124
Aragonite [CaCO3].

CRB125
Aragonite [CaCO3].

CRB502
Cerussite (PbCO3) (white when pure, mine is black), (aka white lead).

CRB505
Hydrocerussite (Pb3(CO3)2(OH)2).

CRB506
Cerussite (PbCO3).

CRB507
Cerussite (PbCO3).

KAO101
Kaolinite [Al4 (Si4O10)(OH)8].

KAO102
Kaolinite (china clay) [Al4 (Si4O10)(OH)8].

KAO103
Kaolinite (well ordered), [Al4 (Si4O10)(OH)8].

KAO104
Kaolinite (poorly ordered), [Al4 (Si4O10)(OH)8].

OOH001
Bauxite; predominantly gibbsite (Al(OH)3).

OOH002
Bauxite; predominantly gibbsite (Al(OH)3).

OOH004
Gibbsite (Al(OH)3).

PHS101
Apatite; white?
PHS104
Apatite; white?
QUA101
Quartz (SiO2).

RUT101
Rutile (ideally TiO2 and white when pure).

RUT102
Rutile (ideally TiO2, and white when pure).

SPT127
Gypsum (var. selenite) [CaSO4·4H2O].

SPT128
Anhydrite [CaSO4].

SPT145
Anglesite (PbSO4).

SPT146
Barite (BaSO4).

SPT147
Anglesite (PbSO4).

SPT148
Anglesite (PbSO4).

TAL101
Talc (Mg3Si4O10(OH)2).

TAL102
Talc (3MgO·4SiO2·H2O); synthetic?

+++++ PIGxxx samples+++++

PIG001
Aluminum hydroxide: (Al(OH)3); synthetic version of gibbsite. Also known as White lake.

PIG002
Calcium sulfate: CaSO4; synthetic version of anhydrite.

PIG003
Barium sulfate: BaSO4; synthetic version of barite.

PIG004
Calcium carbonate: CaCO3; synthetic version of calcite (aka whiting).

PIG005
Calcium sulfate dihydrate: CaSO4·2H2O; synthetic version of gypsum.

PIG006
Talc: 3MgO·4SiO2·H2O; synthetic?

PIG007
Titanium (IV) oxide: TiO2; synthetic version of anatase.

PIG008
Titanium (IV) oxide - predominantly rutile; synthetic version of rutile?

PIG009
Lead (II) carbonate, basic: (PbCO3)2·Pb(OH)2; synthetic hydrocerussite (aka flake white).

PIG010
Zinc oxide: synthetic ZnO; (aka zinc white and Chinese white). Natural never used as a pigment.

PIG011
Antimony (III) oxide: synthetic Sb2O3.

PIG021
Lead (II) sulfate: PbSO4; natural version is anglesite. 

PIG202
Calcium hydroxide: Ca(OH)2; synthetic 

PIG329
Zinc oxide (catalog no. 475-31S). 4 ounces.

PIG330
Titanium white/titanium dioxide (catalog no. 475-21S). 2 jars of 100 grams each.

PIG331
Cerussite, natural lead white (catalog no. 470-10S). 50 grams.
PIG803
Bianco San Giovanni – dried lime from limestone (calcium hydroxide) – NaturalPigments.com: Rublev Colours; catalogue #475-41; 4 oz [white pigment].

++++++++++++
19.3.2a. By colour group – yellow/ pale orange pigments

+++++Non-PIGxxx samples +++++

GRE101
Greenockite (CdS).

HAW101
Hawleyite (CdS).

ORP101
Orpiment (As2S3) (light sensitive).

ORP102
Orpiment (As2S3).

ORP103
Orpiment (As2S3).

+++++ PIGxxx samples ++++

PIG020
Barium chromate BaCrO4. (aka barium yellow and lemon yellow).

PIG022
Lead (II) oxide: PbO; aka massicot and litharge. 

PIG300
Natural yellow oxide (catalog no. 430-44S). 100 grams.

PIG301
Italian dark ochre (catalog no. 431-43S). 100 grams.

PIG302
Chrome yellow (catalog no. 437-11S). 4 ounces.

PIG303
Gold ochre (catalog no. 430-31S). 4 ounces.

PIG304
Yellow jarosite (catalog no. 430-17S). 100 grams.

PIG305
Jarosite (catalog no. 430-15S). 100 grams

PIG306
Yellow ochre light - claire jaune (catalog no. 430-41S). 4 ounces.

PIG307
Yellow ochre dark (Ochre jaune dark; yellow ochre deep; jaune fon.) (catalog no. 430-42S). 4 ounces.

PIG308
Orpiment (catalog no. 430-20S). 10 grams; 0.35 ounces.

PIG322
Yellow ochre (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set).

PIG327
Italian brown ochre (catalog no. 361-50S). 100 grams.

PIG328
Sienna, Light Luberon (catalog no. 460-33S). 100 grams.

PIG374
Lemon Ochre (Historical Pigment Set; catalog no. unknown), 100 grams.

PIG375
Italian Yellow Earth (Historical Pigment Set; catalog no. unknown), 100 grams.

PIG376
Italian Raw Sienna (Historical Pigment Set; catalog no. unknown), 100 grams.

PIG384
Realgar (catalog no. 420-20S), 10 grams.

PIG601
Yellow ochre; Stevenson Artists-Quality Pure Pigments; 2 ounces.

PIG808
Lead-tin yellow light (heated lead and tin oxides) – Natural Pigments.com; Rublev Colours: catalogue #437-5110; 50 grams [light yellow pigment].

PIG809
Lead-tin yellow lemon (Type 1) (lead-tin oxide) – NaturalPigments.com; Rublev Colours; catalogue #437-5305; 50 grams [medium yellow pigment].

PIG810
Cobalt yellow (aureolin) (cobalt salts + acetic acid and potassium nitrate) – NaturalPigments.com; Rublev Colours; catalogue #437-1005; 50 grams [dark yellow pigment].

PIG811
Naples yellow light (synthetic heated lead + antimony) – NaturalPigments.com; Rublev Colours; catalogue #437-5405; 50 grams [yellow pigment].

PIG817
Naples yellow dark (heated lead and antimony) – NaturalPigments.com; Rublev Colours; catalogue #437-5505; 50 grams [dark orange-brown-yellow pigment].

PIG818
Lead-tin yellow dark (Type 1) (heated lead and tin oxide) – NaturalPigments.com; Rublev Colours; catalogue #437-5305; 50 grams [yellow pigment].

PIG825
Gamboge powder (gummi gutti) (natural yellow resin, toxic); CAS no. 9000-25-3. Kremer Pigmente catalogue #37050/100; 100 grams, fine powder [yellow-orange pigment]. 

++++++++++++

19.3.3a, By colour group - Red/orange pigments:
+++++ Non-PIGxxx samples +++++

CIN101
Cinnabar (HgS).

CIN102
Cinnabar (HgS).

CIN103
Cinnabar (HgS).

CRC001
Crocoite (PbCrO4).

CRC002
Crocoite (PbCrO4).

CRC003
Crocoite (PbCrO4).

HEM101
Hematite: synthetic; <140 nm powder provided. (ideally  -Fe2O3).

HEM102
Hematite (-Fe2O3).

HEM103
Hematite (-Fe2O3).

MIN101
Minium (Pb22+Pb4+O4).

MIN102
Minium (Pb22+Pb4+O4).
REA101
Realgar (AsS) (light sensitive).

REA102
Realgar (AsS).

REA103
Realgar (AsS).

+++++ PIGxxx samples +++++

PIG012
Cadmium sulfide: CdS. 

PIG014
Lead oxide: Pb3O4. (red lead oxide). No natural analogue?

PIG015
Mercury (II) sulfide: HgS [red]; synthetic version of vermilion/cinnabar.

PIG016
Mercury (II) sulfide: HgS [black]; synthetic version of vermilion/cinnabar.

PIG017
Lead (II) chromate: PbCrO4; aka chrome red; natural version is crocoite.

PIG018
Iron (III) oxide, hydrated: FeO(OH); synthetic version of goethite.

PIG019
Carmine: alum lake of carminic acid; natural variety produced from insects.

PIG101
Synthetic litharge (PbO).

PIG309
Cinnabar, warm (catalog no. 450-10S). 10 grams.

PIG310
Indian red (natural red oxide) (catalog no. 450-51S). 100 grams.

PIG311
Spanish red (contains natural iron oxide) (catalog no. 450-44S). 100 grams.

PIG312
Hematite (contains natural iron oxide) (catalog no. 450-31S). 100 grams.

PIG313
Hematite Crimean (catalog no. 450-34S). 100 grams.

PIG314
Violet hematite; violet caput mortem (cold hematite) (catalog no. 450-32S). 100 grams.

PIG323
Hematite (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set).

PIG324
Red ochre (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set).

PIG332
Goethite, brown ochre (catalog no. 460-50B). 100 grams.

PIG333
Cyprus burnt umber (catalog no. 461-44S). 4 ounces.

PIG334
Red Sartorius Earth (catalog no. 451-41S). 100 grams.

PIG335
Cyprus Raw Umber Medium (catalog no. 461-42S). 4 ounces.

PIG336
Cyprus Burnt Umber, Warm (catalog no. 461-45S). 100 grams.

PIG337
Sienna, Luberon Raw (catalog no. 460-32S). 100 grams.

PIG338
Sienna Burnt Luberon (catalog no. 460-34S). 100 grams.

PIG339
Umber, Burnt Luberon (catalog no. 460-44S). 100 grams.

PIG340
Umber, Luberon Raw (catalog no. 460-42S). 100 grams.

PIG341
Ochre, Luberon Red (catalog no. 450-52S). 4 ounces.

PIG342
Ercolano Red (catalog no. 451-43S). 100 grams.

PIG343
Cyprus Raw Umber Light (catalog no. 461-41S). 4 ounces.

PIG344
Italian Burnt Umber Warm (catalog no. 461-49S). 100 grams.

PIG345
Mummy (iron oxide) (Mummy brown) (catalog no. 460-22S).4 ounces.

PIG346
Raw Sienna (catalog no. 460-30S). 100 grams.

PIG347
Cochineal, premium Chilean (catalog no. 455-32S). 4 ounces.

PIG348
Minium, red lead (Surik) (catalog no. 457-10S). 50 grams.

PIG361
Madder root (catalog no. 455-22S). 2 x 100 gram bag = 200 grams.

PIG362
Alkanet root (catalog no. 455-12S). 100 gram bag.

PIG363
Brazilwood sawdust (catalog no. 455-15S). 100 gram bag.

PIG377
Venetian Red (Historical Pigment Set, catalog no. 451-44B), 100 grams.

PIG378
Italian Burnt Sienna (Historical Pigment Set); catalog no. unknown), 100 grams.

PIG379
Pozzuoli Red (Historical Pigment Set; catalog no. unknown), 100 grams.

PIG406
Natural sanguine; red drawing chalk from Tuscany; native iron oxide with clay: 2 jars, each 100 grams.

PIG407
Sanguine Koh-i-Noor chalk/charcoal round stick: 4 sticks.

PIG408
Cretacolor Sanguine dry pencil (wax-free); 1 pencil.

PIG807
Lead-tin orange (heated lead and tin oxides) – NaturalPigments.com: Rublev Colours; catalogue #447-11; 50 grams [orange pigment].

+++++++++++
19.3.4a. By colour group – Green/blue pigments:
+++++ Non-PIGxxx samples +++++

CHL103
Paratacamite (Cu2+2(OH)3Cl).

CHL104
Atacamite (Cu2+2(OH)3Cl).

CHL105
Atacamite (Cu2+2(OH)3Cl).

CHL106
Paratacamite (Cu2+2(OH)3Cl).

CHL107
Atacamite (Cu2+2(OH)3Cl).

CHY101
Chrysocolla ((Cu+2,Al)2H2Si2O5(OH)4·nH2O).

CHY102
Chrysocolla ((Cu+2,Al)2H2Si2O5(OH)4·nH2O).

CHY103
Chrysocolla ((Cu+2,Al)2H2Si2O5(OH)4·nH2O).

CLI101
Clinochlore (chlorite) (Mg,Fe+2)5Al(Si3Al)O10(OH)8.

CLI102
Clinochlore (chlorite) (Mg,Fe+2)5Al(Si3Al)O10(OH)8.

CLI103
Clinochlore (chlorite) (Mg,Fe+2)5Al(Si3Al)O10(OH)8.

CRB501
Malachite (Cu22+(CO3)(OH)2).

CRB503
Azurite (Cu3+2(CO3)2(OH)2.

CRB504
Azurite (Cu3+2(CO3)2(OH)2.

CRB508
Malachite (Cu22+(CO3)(OH)2).

CRB509
Malachite (Cu22+(CO3)(OH)2).

CRB510
Azurite (Cu3+2(CO3)2(OH)2).

CRB511
Azurite (Cu3+2(CO3)2(OH)2).

CRO101
Cronstedtite [Fe+22 Fe+3(SiFe+3)O5(OH)4].

CRO102
Cronstedtite [Fe+22 Fe+3(SiFe+3)O5(OH)4].

GLA103
Glauconite [(K,Na)(Fe+3,Al,Mg)2(Si,Al)4O10(OH)2].

GLA104
Glauconite [(K,Na)(Fe+3,Al,Mg)2(Si,Al)4O10(OH)2].

HUY101
Hauyne ((Na,Ca)4-8Al6Si6(O,S)24(SO4,Cl)1-2).

NOS101
Nosean (Na8Al6Si6O24(SO4)·H2O; present in lapis lazuli.

SPT150
Lazurite ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]).

SPT151
Lazurite ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]).

SPT152
Lazurite ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]).

SPT153
Lazurite ((Na,Ca)7-8(Al,Si)12(O,S)24[(SO4),Cl2,(OH)2]).

+++++ PIGxxx samples +++++

PIG023
Chromium (III) oxide: Cr2O3; aka permanent green.

PIG024
Copper (II) carbonate, basic: CuCO3·Cu(OH)2; aka green verditer; natural variety is malachite.
PIG315
Cold green earth - glauconite (catalog no. 420-30S). 100 grams.

PIG316
Celadonite - green earth (catalog no. 420-26S). 100 grams.

PIG317
Nicosia green earth - glauconite (catalog no. 421-31S). 2 jars of 100 grams, 1 in Historical Pigment Set.

PIG318
Dioptase, fine grade (catalog no. 420-10S). 10 grams.

PIG319
Vivianite, blue ochre (catalog no. 410-20S). 10 grams.

PIG320
Indigo, no. 1 quality (catalog no. 415-11B). 100 grams.

PIG325
Glauconite (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set).

PIG349
Azurite, coarse (catalog no. 410-11S). 10 grams.

PIG350
Malachite, medium (catalog no. 420-21S). 10 grams.

PIG351
Lazurite, Baikal (lapis lazuli) (catalog no. 410-17S). 10 grams.

PIG352
Lapis lazuli, premium grade lazurite (catalog no. 410-19S). 10 grams.

PIG353
Lapis Lazuli, standard grade lazurite (catalog no. 410-18S). 10 grams.

PIG354
Malachite, fine grade (catalog no. 420-20S). 5 vials of 10 grams each = 50 grams.

PIG371
Verona Green Earth (Historical Pigment Set; catalog no. 421-26S), 100 grams.

PIG372
Malachite (Historical Pigments Set, catalog no. 420-20G), 100 grams.

PIG373
Lazurite (Historical Pigment Set, catalog no. 410-18G), 100 grams.

PIG381
Italian Raw Umber Green (Historical Pigment Set; catalog no. 461-47S), 100 grams.

PIG800
Hydrated chrome green (BrambleBerry Soap Making Supplies; received May 27, 2015).

PIG801
Victoria Green (complex calcium chromium silicate) – Natural Pigments.com: Rublev Colours; catalogue #427-12; 50 grams [green pigment].

PIG802
Prussian blue – NaturalPigments.com: Rublev Colours; catalogue #417-17; 4 oz [blue pigment].

PIG804
Ultramarine ash (lazurite) – NaturalPigments.com: Rublev Colours; catalogue #410-14; 50 grams [blue pigment].

PIG806
Cobalt zinc blue (aka smalt blue; calcined cobalt and aluminum oxide) – NaturalPigments.com: Rublev Colours; catalogue #417-10; 50 grams [blue pigment].

PIG812
Chromium oxide green (aka viridian, chromium sesquioxide) – NaturalPigments.com; Rublev Colours; catalogue #427-15 [green pigment].

PIG813
Blue verditer (artificial basic copper carbonate) – NaturalPigments.com; Rublev Colours; catalogue #417-11; 10 grams [blue pigment].

PIG814
Egyptian blue (synthetic copper calcium silicate) – NaturalPigments.com: Rublev Colours; catalogue #417-15; 10 grams [blue pigment].

PIG815
Royal smalt (potassium glass) – NaturalPigments.com; Rublev Colours; catalogue #417-13; 10 grams [blue pigment].

PIG816
Smalt (potassium glass) – NaturalPigments.com; Rublev Colours; catalogue #417-14; 10 grams [blue pigment].

PIG819
Copper (II) acetate monohydrate, 98+% (C2H6CuO4•H2O – Alfa Aesar, catalogue #A16203; lot: 10178996; 250 grams [blue-green pigment].

PIG820
Copper (II) acetate, anhydrous powder, (Cu(OOCCH3)2) – Alfa Aesar, catalogue #19417; lot: U18A039; 25 grams [blue-green pigment].

PIG821
Indigo, from woad (with small packet of woad seeds); fine blue powder. Kremer Pigmente catalogue #36003/50 (50 grams) [blue pigment].

PIG822
Cobalt blue, dark (synthetic cobalt zinc silicate phenacite ((Co,Zn)2SiO4); CAS no. 68412-74-8. Kremer Pigmente catalogue #45700/100; 100 grams, fine powder [blue-green pigment].

PIG823
Cobalt blue, pale (matte) (synthetic cobalt-aluminum spinel (CoAl2O4)); CAS no. 1345-16-0. Kremer Pigmente catalogue #457141/100; 100 grams, fine powder [blue-green pigment].

PIG824
Cobalt cerulean blue (Co-Sn-oxide); CAS no. 68187-05-3. Kremer Pigmente catalogue #45730/100; 100 grams, fine powder [blue-green pigment].

+++++++++++++
19.3.5a. By colour group - Brown/black pigments:
+++++ Non-PIGxxx samples +++++
ASP101
Asphaltum (complex organic).

GRP101
Graphite (C).

GRP102
Graphite: synthetic "amorphous" graphite (C).

GRP103
Graphite (C).

GRP104
Graphite (C).
GRP105
Graphite (C).
GRP106
Graphite (C).
GRP107
Graphite (C). 
LCA101
Carbon lampblack: synthetic C; <0.021µm size.

PRL101
Pyrolusite (-Mn+4O2).

+++++ PIGxxx samples +++++

PIG013
Cadmium selenide: CdSe. No natural analogue?

PIG201
Manganese (IV) oxide: MnO2. Synthetic

PIG321
German vine black (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set); other jar part of Historical Pigment Set; catalog no. 481-11S; 4 ounces.

PIG326
Umber (catalog no. 601-1101). 30 ml, 1 ounce. (part of Introductory Pigment Sampler set).

PIG355
Roman Black (catalog no. 481-13S). 100 grams.

PIG356
Cassel Brown Earth (catalog no. 481-12S). 100 grams.

PIG357
Shungite, carbon black (catalog no. 480-10S). 4 ounces.

PIG358
Pyrolusite, Mineral brown black (catalog no. 480-20S). 100 grams.

PIG359
Natural black oxide (catalog no. 480-30S). 100 grams.

PIG360
Lamp black (catalog no. 480-50B). 200 grams.

PIG380
Italian Burnt Umber (Historical Pigment Set, catalog no. unknown), 100 grams.

PIG382
Italian Raw Umber (Historical Pigment Set; catalog no. unknown), 100 grams.

PIG383
Cyprus Raw Umber, Dark (Historical Pigment Set; catalog no. 461-43S), 100 grams.

PIG400
Daler-Rowney willow charcoal thick sticks; 4 packs of 5sticks each.

PIG401
Wurzburg Black (Davy’s gray): natural slate + clay, 2 jars - each 100 grams.

PIG402
Derwent graphite sticks: natural graphite: 5 sticks.

PIG403
Roberson traditional Prout’s Brown Ink: 2 bottles - each 30 ml.

PIG404
Kremer sepia ink, genuine: 2 bottles - each 20 ml.

PIG405
Kremer bistre ink: 1 bottle - 20 ml.

PIG500
French Sepia Ink; 2 bottles, 30 ml each.

PIG501
Prout's Brown Ink; 2 bottles, 30 ml each.

PIG502
Iron Gall Ink; 4 bottles, 30 ml each.

PIG503
Higgins Sepia Ink; 1 bottle, 73.9 ml; 2.5 fl. oz.

PIG600
Charcoal sticks; source unknown.

PIG805
Van Dyke Brown (aka Cassel Earth or Cologne earth) – peat/lignite – NaturalPigments.com: Rublev Colours; catalogue #462-21; 4 oz [brown-black pigment].

+++++++++++++
19.3.6a. By colour group - Other samples:
JAD001
“Jade” [could be nephrite (tremolite-actinolite (Ca2(Mg,Fe)5Si8O22(OH)2 or jadeite (NaAlSi2O6)].

+++++++++++++
19.3.7a. Mixed sets:
PIG409
Cretacolor Basic Drawing Set: 2 sets of 6 pencils: sanguine, sepia, white pastel, charcoal, Nero, graphite; 2 sets.

PIG410
Cretacolor chunky pastels boxed set: 12 sticks; 1 set.

PIG411
Lyra Rembrandt Special Fine Art Pencil Set: tin of 12; chalk-based, grease-free; 1 set.

+++++++++++++

19.3.8a. Other materials:
ART001
Sodium oxalate, ACS 99.5+% (Alfa Aesar stock #41759; 50 grams) [Na2C2O4].

ART002
Oxalic acid, anhydrous, 98% (Alfa Aesar stock #44410; 50 grams) [HO2CCO2H].

ART003
Calcium oxalate: CaC2O4·H2O. Synthetic: Alfa Aesar #32430 (lot #H21N04), 99%; 100 g. Synthetic weddelite; weathering product of statuary (Smith and Clark, Reviews in Conservation, vol. 2, (2001), pp. 92-106. Irritates lungs, eyes, skin. (also PIG204).

ART004
Sodium oxalate, ACS 99.5% Reagent (Sigma-Aldrich #223433; 100 grams).

ART005
Calcium chloride dihydrateCS 99+% (Sigma-Aldrich #223506; 25 grams).

ART006
Dimethyl oxalate, 99% (Sigma-Aldrich #135623; 100 grams).

PIG364
Pumice (catalog no. 510-13PUMLB). 500 gram bag.

PIG365
Spike oil (natural source: Lavendula latifola). (catalog no. 510-420SP02). 2 fluid ounce bottle.

PIG366
Refined linseed oil (natural source: Linum usitatissimum) (catalog no. 510-410RL08). 8 fl. oz. bottle.

PIG367
Bodied oil, medium viscosity stand oil (catalog no. 510-410ST08). 8 fl. oz. bottle.

PIG368
Copal painting medium (catalog no. 510-35COP05). unknown size bottle.

PIG369
Damar crystals (catalog no. 510-33DMR01). 11 ounce can.

PIG370
Turpentine (catalog no. 520-1TRPT08). 16 ounce can.

PIG700
New Tradition mechanical stylus with silver 0.035" 3x hardened sterling silver point (3" long). Also 3 replacement points, also 3" long.

PIG701
Ground kit: Old Masters Formula Silverpoint Ground “Kit”; makes approximately 32 ounces of excellent ground. 

++++++++++++++++++++++++++++++++++++++++++++++++++++

19.4a. Inked parchment and papyrus.
19.4a.1. Inked documents (July 15-16). Done in triplicate

See Mineral Database - Images for details.

Panels labelled along left side as follows:

· Upper left edge: 1-8 notches denoting pigment used:


1. PIG404 – Sepia ink


2. PIG405 – Bistre ink


3. PIG403 - Prout's brown


4. PIG502 – Iron gall ink


5. PIG402 – Graphite sticks


6. PIG400 – Willow charcoal sticks


7. PIG700 – Silver point


8. PIG702 – India ink

· Middle left edge: 1-3 notches denoting paper type:


1. Goatskin parchment (GOAT01)


2. Light-coloured papyrus (PAPYRUS1)


3. Dark-coloured papyrus (PAPYRUS02)

Lower left edge denotes which triplicate: 1 – 3notches:


1. A triplicate


2. B triplicate


3. C triplicate

Total number of templates: 3 paper types x 3 triplicates x 8 inks = 48 sheets.

Note: some templates done on light table. Dark papyrus too opaque to allow tracing.

++++++++++++++++++++++++

19.4a.2. Squares for basic spectral properties

8 inks x 3 papers x 2 applications (heavy or light).

For light application, ink initially applied heavily and immediately blotted off.

Paper labelling along left side (heavily inked side) as follows:

Upper left notches: paper type (as above)

Lower left:
1 notch = first set of pigments; from top to bottom: pigments 1 – 3 as above


2 notches: second set of pigments; from top to bottom: pigments 4 – 6 as above


3 notches: third set of pigments; from top to bottom: pigments 7 – 8 as above.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
19.5a. Pigments on different papers – Doug Goltz (November 2017)
Pigment IDs:

1. Iron gall ink (PIG502)

2. Lamp black (oil) Grumbacher – Gainsborough Artists colour (USA)

3. German vine black (PIG321)

4. Willow charcoal (PIG400)

5. Dorwant graphite (PIG402)

6. HB No. 2 pencil

7. Synthetic graphite (GRP102)

8. Modern black marker – Sanford Industrial – “Sharpie”

9. Shungite (SHU102)

10. Modern black in (PaperMate pen)

White paper
White paper1

White paper2

White paper3

White paper4

White paper5

White paper6

White paper7

White paper8

White paper9

White paper10

White paper1

Blue paper

Blue paper1

Blue paper2

Blue paper3

Blue paper4

Blue paper5

Blue paper6

Blue paper7

Blue paper8

Blue paper9

Blue paper10

Dark brown paper

Dark brown paper1

Dark brown paper2

Dark brown paper3

Dark brown paper4

Dark brown paper5

Dark brown paper6

Dark brown paper7

Dark brown paper8

Dark brown paper9

Dark brown paper10

Light brown paper

Dark brown paper1

Dark brown paper2

Dark brown paper3

Dark brown paper4

Dark brown paper5

Dark brown paper6

Dark brown paper7

Dark brown paper8

Dark brown paper9

Dark brown paper

Dark brown paper10

++++++++++++++++++++++++++++++++++++++++++++++++++++++++

19b. XRD data - Pigments 
(i) University of Manitoba

PIG204

+++++++++++++++++++++++++++++++++
(ii) University of Winnipeg (2015) – rapid scan 
CIN102
cinnabar; quartz

CIN103
cinnabar

CRC002
crocoite

CRC003
crocoite

MIN101
minium

MIN102
minium; quartz

ORP101
orpiment

ORP102
orpiment

ORP103
orpiment

REA101
realgar

REA102
realgar; orpiment

REA103
realgar

+++++++

PIG012
cadmium sulfide

PIG014
minium

PIG015
cinnabar

PIG016
mercury manganese sulfide

PIG017
crocoite, synthetic

PIG020
hashemite (Ba(Cr,S)O4)

PIG022
massicot; lithgarge

PIG101
litharge; massicot; quartz

PIG300
goethite; gibbsite

PIG301
goethite; gypsum

PIG302
crocoite; anglesite; calcite; graphite (?; single peak)
PIG303
quartz; kaolinite

PIG304
natrojarosite

PIG305
natrojarosite

PIG306
goethite; siliceous earth; muscovite

PIG307
Al-substituted goethite; siliceous earth; quartz; muscovite

PIG308
orpiment

PIG309
cinnabar; calcite

PIG310
hematite

PIG311
hematite; dolomite; quartz; muscovite

PIG312
hematite

PIG313
hematite

PIG314
hematite; quartz

PIG315
Glauconite (February 2018)

PIG316
Celadonite (February 2018)

PIG317
gypsum, barite, trace glauconite (February 2018)

PIG318
dioptase (February 2081)

PIG319
Vivianite (February 2018)

PIG320
Quartz and a mixture of indigo dyes: C16H10N2O2; Indigo carmine; MgAl diaquahydroxodecaoxotetrasilicate hydrate (February 2018)
PIG322
goethite; siliceous earth; muscovite

PIG323
hematite

PIG324
hematite; siliceous earth; muscovite

PIG325
glauconite (February 2018)

PIG326
goethite; siliceous earth

PIG327
hematite; brushite ((CaH(PO4)-2H2O); calcite

PIG328
goethite; siliceous earth; muscovite

PIG332
goethite

PIG333
hematite; nontronite; quartz; muscovite

PIG334
hematite

PIG335
goethite; quartz

PIG336
hematite; calcite; quartz

PIG337
V-substituted goethite; quartz

PIG338
hematite; siliceous earth

PIG339
magnetite; hematite; goethite; quartz

PIG340
goethite; magnetite; quartz

PIG341
hematite; siliceous earth; muscovite

PIG342
hematite; gypsum

PIG343
goethite; siliceous earth; marcasite; carlinite ((Tl2S)

PIG344
hematite; goethite; magnetite; gypsum

PIG345
hematite; goethite; quartz; calcite

PIG346
goethite; quartz; calcite; siderite

PIG347
Insect scales

PIG348
minium

PIG351
dioptase, nosean, chalcopyrite, a clay (binder?) (February 2018)

PIG352
lazurite, wollastonite (February 2018)

PIG353
lazurite, wollastonite (February 2018)
PIG359
magnetite; quartz

PIG371

gypsum, saponite, anatase, calcite, chloritoid (February 2018)

PIG373

lazurite, wollastonite (February 2018)
PIG374
goethite; gypsum

PIG375
goethite; gypsum

PIG376
goethite; gypsum; calcite

PIG377
hematite; gypsum

PIG378
hematite; goethite; calcite; quartz

PIG379
hematite; goethite; calcite; quartz

PIG380
hematite; goethite; calcite; quartz; gypsum

PIG381
hematite; goethite; calcite; quartz; saponite

PIG382
goethite; gypsum; calcite; nontronite; chlorite-vermiculite-montmorillonite

PIG383
goethite; magnetite; nontronite; muscovite; siliceous earth

PIG384
realgar; orpiment

PIG800
Mostly amorphous; possible thorium carbide and nickel.

PIG801
Uvarovite; cristobalite

PIG802
Iron cyanide hydrate

PIG803
Portlandite (syn); calcite
PIG804
Lazurite

PIG805
Amorphous

PIG806
Gahnite (a spinel)

PIG807
Minium; cassiterite; maybe some zirconia
PIG808
Lead tin oxide

PIG809
Lead tin oxide; maybe minor dysprosium oxide

PIG810
Potassium cobalt nitrite

PIG811
Lead chromium antimony oxide; lead titanium oxide

PIG812
Eskolaite (hematite group: Cr2O3)
PIG813
Azurite

PIG814
Cuprorivaite (CaCuSi4O10); tridymite; maybe minor halite

PIG815
Amorphous
PIG816
Amorphous

PIG817
Lead nickel antimony oxide; bindheimite ((Pb2Sb2O6(O,OH))

PIG818
Lead tin oxide; arsenic

PIG819
Hoganite ((Cu(CH3COO)2•H2O)

PIG820
Copper acetate (C4H6CuO4); copper acetate (Cu(CH3COO)2)

PIG821
Calcite, dolomite; muscovite; sepiolite; bohmite (maybe) [numerous peaks].
PIG822
Willemite; willemite, cobaltean

PIG823
Gahnite; corundum; albite

PIG824
Rutile; gahnite; spinel (Mn,Ti,Fe) synthetic; barite

PIG825
Amorphous

+++++++++++++++++++++++++++++++++++++++
19d. Spectral Data - Pigments
NOTE: Non-PIGxxx spectral data are (also) provided in their respective mineral sections – see section 19a above for details of locations of (additional) spectral files.
19.1d.1. Pigments – reflectance spectra: powders and powders mixed with linseed oil
Sample
Facility/File No. 
Description





(i) Non-PIGxxx mineral samples

CHL105
PSF pig1307.040
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CHL105
PSF 080128a.010
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

CHL105
PSF 180205a00004.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CHL106
PSF 180205a00011.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CHY101
PSF 080128a.011
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
CHL107
PSF 180205a00005.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CIN102
PSF pig1307.036
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CIN102
PSF 080128a.012
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++

CLI101
PSF 080128a.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

CLI101
PSF 100413a.011
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100412_Carbon_black).

++++++

CRB112
PSF pig1307.033
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CRB112
PSF 080128a.014
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++

CRB120
PSF pig1307.035
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CRB120
PSF 080128a.015
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
CRB501
PSF 180205a00009.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++

CRB503
PSF 180206a00004.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++

CRB504
PSF 180205a00007.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CRB506
PSF pig1307.032
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CRB506
PSF 080128a.016
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++

CRB508
PSF 080128a.017
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

CRB508
PSF 180205a00001.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CRB509
PSF 180205a00010.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CRB510
PSF 080128a.018
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
CRB511
PSF 180205a00008.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
CRC002
PSF 080128a.019
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++

CRO101
PSF pig1307.038
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

CRO101
PSF 080128a.020
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++

GLA103
PSF 080129a.001
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

HEM101
PSF 080129a.002
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

KAO102
PSF 080129a.003
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

LCA101
PSF 080129a.004
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

MIN101
PSF 080129a.005
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++
NOS101
PSF 180205a00003.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++
OOH004
PSF pig1307.037
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

OOH004
PSF 080129a.006
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

ORP101
PSF 080129a.007
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).
ORP101
PSF 150504.001
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150504 orpiment].

+++++++

ORP102
PSF 150504.002
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150504 orpiment].

+++++++

ORP103
PSF 150504.003
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150504 orpiment].

+++++++
REA102
PSF 080129a.008
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

SPT127
PSF 080129a.009
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

SPT128
PSF 080129a.010
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

SPT145
PSF 080129a.011
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

SPT146
PSF pig1307.034
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

SPT146
PSF 080129a.012
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

SPT148
PSF 080129a.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++

SPT150
PSF 180206a00001.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++

SPT151
PSF 080129a.014
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

SPT151
PSF 180206a00002.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++

SPT152
PSF 180205a00002.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++

SPT153
PSF 180206a00003.asd
<45 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 180205 Blue Green pigments].

++++++

TAL101
PSF pig1307.039
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

TAL101
PSF 080129a.015
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

+++++++++++++++++++++++++++++++++++++++

(ii) Artists' materials

Raw Linseed
PSF 080129a.016
Raw linseed oil painted onto glass slide. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++
Boiled linseed
PSF 080129a.017
Boiled linseed oil painted onto glass slide. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++
Glass slide
PSF 080122a.001
clear glass slide for paint on glass slide reflectance study. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++

Two slides
PSF 080122a.033
Two slides on, or glued to, each other? i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++++++++++++++++++++++++++++++++++
(iii) PIGxxx samples

PIG001
RELAB caec01
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG001
RELAB laec01
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG001
PSF pig1307.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG001
PSF 080122a.002
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG002
RELAB caec02
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG002
RELAB laec02
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG002
PSF pig1307.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG002
PSF 080122a.003
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG003
RELAB caec03
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG003
RELAB laec03
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG003
PSF pig1307.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG003
PSF 080122a.004
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG004
RELAB caec04
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG004
RELAB laec04
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG004
PSF pig1307.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG004
PSF 080122a.005
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG005
RELAB caec05
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG005
RELAB laec05
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG005
PSF pig1307.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG005
PSF 080122a.006
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG006
RELAB caec06
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG006
RELAB laec06
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG006
PSF pig1307.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG006
PSF 080122a.007
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG007
RELAB caec07
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG007
RELAB laec07
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG007
PSF pig1307.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG007
PSF 080122a.008
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG008
RELAB caec08
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG008
RELAB laec08
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG008
PSF pig1307.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG008
PSF 080122a.009
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG009
RELAB caec09
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG009
RELAB laec09
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG009
PSF pig1307.014
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG009
PSF 080122a.010
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG010
RELAB caec10
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG010
RELAB laec10
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG010
PSF pig1307.015
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG010
PSF 080122a.011
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG011
RELAB caec11
<45µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG011
RELAB laec11
<45µm; 30°/0° & 30°/30°; 0.3-26µm; 5nm / 1.2-129 nm; merged at 2.5µm (RELAB+Nicolet) note different viewing geometries.

PIG011
PSF pig1307.016
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD  (aka pig1311).

PIG011
PSF 080122a.012
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG012
PSF pig1307.017
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG012
PSF 080122a.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG013
PSF pig1307.018
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG013
PSF 080122a.014
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG014
PSF pig1307.019
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG014
PSF 080122a.015
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG015
PSF pig1307.020
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG015
PSF 080122a.016
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG016
PSF pig1307.021
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG016
PSF 080122a.017
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG017
PSF pig1307.022
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG017
PSF 080122a.018
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG018
PSF pig1307.023
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG018
PSF 080122a.019
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG019
PSF pig1307.024
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG019
PSF 080122a.020
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

PIG019
PSF PIG019
unsorted; Measured with deuterium and QTH  lamps – usable range (200-~400 nm for deuterium; ~400-1130 nm for QTH) spectra merged at 400 nm; bifurcated cable (i=e=0°); ~0.4 nm sampling interval, ~1.85 nm spectral resolution; 600 msec integration time; 200 spectra averaged (Directory: 130927pah uv reflectance)

++++++
PIG020
PSF pig1307.025
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG020
PSF 080122a.021
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG021
RELAB c1ec13
<45 µm, 30°/0°, 0.3-2.6µm, 5 nm.

PIG021
RELAB bkr2ec013
<45 µm; 30°/0°,30°; 0.3-50 µm; 1.2-475 nm resolution; merged RELAB+ Nicolet at 2.55 µm; note different viewing geometry.

PIG021
RELAB bkr1ec013
<45 µm; 30°/0°,30°; 0.3-50 µm; 0.7-475 nm resolution; merged RELAB+ Nicolet at 1.3 µm; note different viewing geometry.

PIG021
PSF pig1307.026
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG021
PSF 080122a.024
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG022
PSF pig1307.027
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG022
PSF 080122a.025
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG023
PSF pig1307.028
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG023
PSF 080122a.027
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG024
PSF pig1307.029
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG024
PSF 080122a.028
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG101
PSF 080122a.029
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG201
PSF pig1307.030
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG201
PSF 080122a.031
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG202
PSF pig1307.031
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG202
PSF 080708.pig202
<45 µm; 0°/0° (bifurcated cable), 200-400 nm, 0.3 nm resol., 500 spectra averaged; Ocean Optics.

PIG202
PSF 080122a.032
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG204
RELAB c1ec14
<45 µm, 30°/0°, 0.3-2.6 µm, 5 nm.

PIG204
RELAB bmr1ec014
<45 µm, 30°/30°, 1.67-25 µm, 0.6-129 nm.

PIG204
RELAB bkr1ec014
<45 µm; 30°/0°,30°; 0.3-25 µm; 5, 0.6-129 nm resolution; merged RELAB+ Nicolet at 1.71 µm; note different viewing geometry.

++++++
PIG300
PSF pig1910.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG300
PSF 080122a.034
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG301
PSF pig1910.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG301
PSF 080122a.035
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG302
PSF pig1910.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG302
PSF 080122a.036
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080122 pigment mix).

++++++
PIG303
PSF pig1910.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG303
PSF 080123a.001
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG304
PSF pig1910.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG304
PSF 080123a.002
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG305
PSF pig2210.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG305
PSF 080123a.003
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG306
PSF pig2210.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG306
PSF 080123a.004
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG307
PSF pig2210.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG307
PSF 080123a.039
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG308
PSF pig2210.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG308
PSF 080123a.040
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG309
PSF pig1910.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG309
PSF pig2210.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; this spectrum is likely the one for PIG309; two different samples originally labelled as PIG309.

PIG309
PSF 080123a.041
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG310
PSF pig2210.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG310
PSF 080123a.042
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG311
PSF pig2210.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG311
PSF 080123a.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG312
PSF pig2210.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG312
PSF 080123a.014
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG313
PSF pig2210.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG313
PSF 080123a.015
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG314
PSF pig2210.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG314
PSF 080123a.016
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG315
PSF pig2210.014
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG315
PSF 080123a.017
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG316
PSF pig2210.015
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG316
PSF 080123a.018
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG317
PSF pig2210.016
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG317
PSF 080123a.019
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG318
PSF pig2210.017
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG318
PSF 080123a.020
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG319
PSF pig0911.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG319
PSF pig0911.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG319
PSF 080123a.021
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG320
PSF pig0911.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG320
PSF pig0911.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG320
PSF 080123a.022
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG321
PSF pig0911.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG321
PSF 080123a.023
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG322
PSF pig0911.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG322
PSF 080123a.024
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG323
PSF pig0911.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG323
PSF 080123a.025
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG324
PSF pig0911.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG324
PSF 080123a.026
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG325
PSF pig0911.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG325
PSF 080123a.027
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG326
PSF pig0911.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG326
PSF 080123a.028
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG327
PSF pig0911.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG327
PSF 080123a.029
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG328
PSF pig0911.015
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG328
PSF 080123a.030
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG329
PSF pig0911.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG329
PSF 080123a.031
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG330
PSF pig0911.014
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG330
PSF 080123a.037
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG331
PSF pig0911.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG331
PSF 080123a.038
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080123 pigment mix).

++++++
PIG332
PSF pig0911.016
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG332
PSF 080124b.001
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG333
PSF pig0911.017
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG333
PSF 080124b.002
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG334
PSF pig0911.018
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG334
PSF 080124b.003
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG335
PSF pig0911.019
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG335
PSF 080124b.004
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG336
PSF pig0911.020
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG336
PSF 080124b.005
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG337
PSF pig0911.021
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG337
PSF 080124b.006
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG338
PSF pig0911.022
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG338
PSF 080124b.007
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG339
PSF pig0911.023
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG339
PSF 080124b.008
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG340
PSF pig0911.024
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG340
PSF 080124b.009
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG341
PSF pig0911.025
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG341
PSF 080124b.010
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG342
PSF pig0911.026
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG342
PSF 080124b.011
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG343
PSF pig0911.027
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG343
PSF 080124b.012
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG344
PSF pig0911.028
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG344
PSF 080124b.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG345
PSF pig1211.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG345
PSF 080124b.014
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG346
PSF pig1211.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG346
PSF 080124b.015
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG347
PSF pig1211.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG347
PSF 080124b.016
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG348
PSF pig1211.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG348
PSF 080124b.017
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG349
PSF pig1211.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG349
PSF 080124b.018
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG350
PSF pig1211.006
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG350
PSF 080124b.019
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG351
PSF pig1211.007
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG351
PSF 080124b.020
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080124 pigment mix).

++++++
PIG352
PSF pig1211.008
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

PIG353
PSF pig1211.009
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

PIG354
PSF pig1211.010
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG354
PSF 080125a.011
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG355
PSF pig1211.011
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG355
PSF 080125a.012
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG356
PSF pig1211.012
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG356
PSF 080125a.013
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG357
PSF pig1211.013
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG357
PSF 080125a.014
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG358
PSF pig1211.014
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG358
PSF 080125a.015
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG359
PSF pig1211.015
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG359
PSF 080125a.016
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG360
PSF pig1211.016
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG360
PSF 080125a.018
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG361
PSF pig1211.017
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG361
PSF 080125a.019
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG362
PSF pig1211.018
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG362
PSF 080128a.002
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG363
PSF pig1211.019
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG363
PSF 080128a.003
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG366
PSF 080129a.019
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).


++++++
PIG366A
PSF 080129a.018
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080129 pigment mix).

++++++
PIG371
PSF pig1211.020
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG371
PSF 080125a.020
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG372
PSF pig1211.021
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG372
PSF 080125a.021
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG373
PSF pig1211.022
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG373
PSF 080125a.022
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++PIG373 – phase angle measurements – all relative to Spectralon at i=13°, e=0°+++++++
PIG373
PSF 101001a.003
<45 µm; i=13°, e=0° (13° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.012
<45 µm; i=30°, e=0° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.021
<45 µm; i=60°, e=0° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.030
<45 µm; i=0°, e=30° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.039
<45 µm; i=30°, e=30° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.048
<45 µm; i=60°, e=30° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.057
<45 µm; i=-30°, e=60° (30° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.067
<45 µm; i=0°, e=60° (60° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.077
<45 µm; i=30°, e=60° (90° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

PIG373
PSF 101001a.086
<45 µm; i=60°, e=60° (120° phase angle) relative to Spectralon at i=13°, e=0°; 0.35-2.5 μm; 1 nm output; 250 avgd spectra; ASD (directory 101001_angles).

+++++++++++++++++++++++++++++++++++++++

PIG374
PSF pig1211.023
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG374
PSF 080125a.023
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG375
PSF pig1211.025
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG375
PSF 080125a.024
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG376
PSF pig1211.026
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG376
PSF 080125a.025
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG377
PSF pig1211.027
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG377
PSF 080125a.026
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG378
PSF pig1211.028
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

PIG378
PSF 080125a.027
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080125 pigment mix).

++++++
PIG379
PSF pig1307.001
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG379
PSF 080128a.001
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG380
PSF pig1307.002
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG380
PSF 080128a.004
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG381
PSF pig1307.003
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG381
PSF 080128a.006
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG382
PSF pig1307.004
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG382
PSF 080128a.007
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG383
PSF pig1307.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD (aka pig1311).

PIG383
PSF 080128a.008
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).

++++++
PIG384
PSF pig2210.005
<45 µm; 30°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD; this spectrum is likely the one for PIG384; two different samples originally labelled as PIG309 (see PIG309).
PIG384
PSF 080128a.009
<45 µm mixed with linseed oil. i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (Directory: 080128 pigment mix).
++++++

PIG800
PSF 150714a.001
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG801
PSF 150714a.002
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG802
PSF 150714a.003
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG803
PSF 150713a.002
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG804
PSF 150714a.004
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG805
PSF 150713a.003
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG806
PSF 150713a.001
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG807
PSF 150708a.001
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].

++++++
PIG808
PSF 150708a.006
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].

++++++
PIG809
PSF 150708a.002
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].

++++++
PIG810
PSF 150708a.007
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].

++++++
PIG811
PSF 150708a.005
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].

++++++
PIG812
PSF 150714a.005
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG813
PSF 150713a.004
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG814
PSF 150713a.005
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG815
PSF 150713a.006
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG816
PSF 150714a.006
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG817
PSF 150708a.004
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].

++++++
PIG818
PSF 150713a.007
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150713pig].

++++++
PIG819
PSF 150714a.007
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150714].

++++++
PIG820
PSF 150729a.001
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: pignew].

++++++
PIG821
PSF 150715b.001
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150715 Pigments].

++++++
PIG822
PSF 150715b.002
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150715 Pigments].

++++++
PIG823
PSF 150715b.003
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150715 Pigments].

++++++
PIG824
PSF 150715b.004
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 150715 Pigments].

++++++
PIG825
PSF 150708a.003
unsorted (as-received) powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 300 spectra averaged; ASD [Directory: 150708PIG].
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
19.1d.3. Raman spectra of pigment powders

Note: iRaman 532 nm; 111-4010 cm-1; 4 cm-1 resolution; ~85 nm spot size..

PIG401
PSF 240109_001_532_PIG401.txtr
1500 msec integration time; 20 spectra averaged.

PIG406
PSF 240109_001_532_PIG406.txtr
6000 msec integration time; 20 spectra averaged.

PIG801
PSF 240109_003_532_PIG801.txtr
10000 msec integration time; 20 spectra averaged.

PIG802
PSF 240109_004_532_PIG802.txtr
30000 msec integration time; 15 spectra averaged.

PIG358
PSF 240109_005_532_PIG358.txtr
30000 msec integration time; 15 spectra averaged.

PIG335
PSF 240209_001_532_PIG335.txtr
60000 msec integration time; 20 spectra averaged.

PIG333
PSF 240209_002_532_PIG333.txtr
60000 msec integration time; 20 spectra averaged.

PIG339
PSF 240209_003_532_PIG339.txtr
60000 msec integration time; 20 spectra averaged.

PIG805
PSF 240209_004_532_PIG805.txtr
30000 msec integration time; 20 spectra averaged.

PIG803
PSF 240221_001_532_PIG803.txtr
9000 msec integration time; 20 spectra averaged.

PIG330
PSF 240221_002_532_PIG330.txtr
2500 msec integration time; 150 spectra averaged.

PIG804
PSF 240221_003_532_PIG804.txtr
65535 msec integration time; 20 spectra averaged.

PIG317
PSF 240221_004_532_PIG317.txtr
65535 msec integration time; 20 spectra averaged.

PIG341
PSF 240221_005_532_PIG341.txtr
65535 msec integration time; 20 spectra averaged.

PIG307
PSF 240221_006_532_PIG307.txtr
65535 msec integration time; 20 spectra averaged.

PIG812
PSF 240226_001_532_PIG812.txtr
60000 msec integration time; 20 spectra averaged.

PIG372
PSF 240226_002_532_PIG372.txtr
20000 msec integration time; 20 spectra averaged.

PIG302
PSF 240226_003_532_PIG302.txtr
8000 msec integration time; 20 spectra averaged.

PIG002
PSF 240226_004_532_PIG002.txtr
2000 msec integration time; 20 spectra averaged.

PIG003
PSF 240226_005_532_PIG003.txtr
6000 msec integration time; 20 spectra averaged.

PIG004
PSF 240229_001_532_PIG004.txtr
10000 msec integration time; 20 spectra averaged.

PIG005
PSF 240229_002_532_PIG005.txtr
10000 msec integration time; 20 spectra averaged.

PIG006
PSF 240229_003_532_PIG006.txtr
100 msec integration time; 50 spectra averaged.

PIG007
PSF 240229_004_532_PIG007.txtr
3000 msec integration time; 20 spectra averaged.

PIG008
PSF 240229_005_532_PIG008.txtr
1000 msec integration time; 20 spectra averaged.

PIG009
PSF 240229_006_532_PIG009.txtr
10000 msec integration time; 20 spectra averaged.

PIG010
PSF 240229_007_532_PIG010.txtr
50000 msec integration time; 20 spectra averaged.

PIG011
PSF 240301_001_532_PIG011.txtr
200 msec integration time; 20 spectra averaged.

PIG012
PSF 240301_002_532_PIG012.txtr
4000 msec integration time; 20 spectra averaged.

PIG013
PSF 240301_003_532_PIG013.txtr
40000 msec integration time; 20 spectra averaged.

PIG014
PSF 240301_004_532_PIG014.txtr
60000 msec integration time; 20 spectra averaged.

PIG015
PSF 240301_005_532_PIG015.txtr
60000 msec integration time; 20 spectra averaged.

PIG016
PSF 240301_006_532_PIG016.txtr
60000 msec integration time; 20 spectra averaged.

PIG017
PSF 240301_007_532_PIG017.txtr
20000 msec integration time; 20 spectra averaged.

PIG018
PSF 240304_001_532_PIG018.txtr
65535 msec integration time; 20 spectra averaged.

PIG019
PSF 240304_002_532_PIG019.txtr
12000 msec integration time; 20 spectra averaged.

PIG020
PSF 240304_003_532_PIG020.txtr
5000 msec integration time; 40 spectra averaged.

PIG375
PSF 240304_004_532_PIG375.txtr
65535 msec integration time; 20 spectra averaged.

PIG376
PSF 240711_001_532_PIG376.txtr
65535 msec integration time; 20 spectra averaged.

PIG377
PSF 240711_002_532_PIG377.txtr
65535 msec integration time; 20 spectra averaged.

PIG378
PSF 240711_003_532_PIG378.txtr
65535 msec integration time; 20 spectra averaged.

PIG379
PSF 240711_004_532_PIG379.txtr
65535 msec integration time; 20 spectra averaged.

PIG380
PSF 240712_001_532_PIG380.txtr
50000 msec integration time; 20 spectra averaged.

PIG381
PSF 240712_002_532_PIG381.txtr
65535 msec integration time; 20 spectra averaged.

PIG382
PSF 240718_001_532_PIG382.txtr
65535 msec integration time; 20 spectra averaged.

PIG383
PSF 240718_002_532_PIG383.txtr
65535 msec integration time; 20 spectra averaged.

PIG359
PSF 240718_003_532_PIG359.txtr
65535 msec integration time; 20 spectra averaged.

PIG360
PSF 240730_001_532_PIG360.txtr
65535 msec integration time; 20 spectra averaged.

PIG361
PSF 240730_002_532_PIG361.txtr
400 msec integration time; 500 spectra averaged.

PIG362
PSF 240730_003_532_PIG362.txtr
7000 msec integration time; 60 spectra averaged.

PIG363
PSF 240730_004_532_PIG363.txtr
150 msec integration time; 500 spectra averaged.

PIG371
PSF 240730_005_532_PIG371.txtr
15000 msec integration time; 40 spectra averaged.

PIG372
PSF 240731_001_532_PIG372.txtr
60000 msec integration time; 20 spectra averaged.

PIG373
PSF 240731_002_532_PIG373.txtr
55000 msec integration time; 20 spectra averaged.

PIG374
PSF 240731_003_532_PIG374.txtr
65535 msec integration time; 20 spectra averaged.

PIG349
PSF 240731_004_532_PIG349.txtr
65535 msec integration time; 20 spectra averaged.

PIG350
PSF 240801_001_532_PIG350.txtr
65535 msec integration time; 20 spectra averaged.

PIG351
PSF 240808_001_532_PIG351.txtr
65535 msec integration time; 20 spectra averaged.

PIG352
PSF 240813_001_532_PIG352.txtr
65535 msec integration time; 20 spectra averaged.

PIG353
PSF 240813_002_532_PIG353.txtr
65535 msec integration time; 20 spectra averaged.

++++++++++++++++++++++++++++++++++
19.1d.2. Transmission spectra of powders mixed with linseed oil on glass slides

Note: this section includes all pigment transmission spectra, including samples included in other sections of this document.

Note: transmission measured relative to pigment-free spot on each individual glass slide. (Glass slides were prepared with half covered by pigment and smoothed surface using a template to try and ensure same thickness of pigment on each slide).
Sample
Facility/File No. 
Description






Blank slide-Day 1
PSF 150320a.000
Blank glass slide – day 1; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

Blank slide-day 1
PSF blank slide
Blank glass slide – day 1; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++
Blank slide-Day 2
PSF 150320a.059
Blank glass slide – day 2; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

Blank slide-day 2
PSF blank slide
Blank glass slide – day 2; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

Double blank slide
PSF 150320a.135
Two blank glass slides; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

Two glass slides
PSF dark double 32 1000.spec
Two blank glass slides; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/double].

Two glass slides
PSF light double 32 1000.spec
Two blank glass slides; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/double].

++++++

CHL105
PSF 150320a.124
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CHL105
PSF chl105.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CHY101
PSF 150320a.125
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CHY101
PSF chy101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CIN102
PSF 150320a.126
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CIN102
PSF cin102.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CLI101
PSF 150320a.127
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CLI101
PSF cli101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CRB112
PSF 150320a.128
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRB112
PSF crb112.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CRB120
PSF 150320a.129
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRB120
PSF crb120.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CRB506
PSF 150320a.130
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRB506
PSF crb506.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CRB508
PSF 150320a.131
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRB508
PSF crb508.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

+++++

CRB510
PSF 150320a.132
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRB510
PSF crb510.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CRC002
PSF 150320a.133
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRC002
PSF crc002.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

CRO101
PSF 150320a.134
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

CRO101
PSF cro101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

GLA103
PSF 150320a.101
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

GLA103
PSF gla103.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

HEM101
PSF 150320a.002
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

HEM101
PSF hem101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

KAO102
PSF 150320a.003
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

KAO102
PSF kao102.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

LCA101
PSF 150320a.004
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

LCA101
PSF lca101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

Linseed oil-boiled
PSF 150320a.017
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

Linseed oil-boiled
PSF linseed boiled.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

Linseed oil-raw
PSF 150320a.016
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

Linseed oil-raw
PSF linseed raw.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

MIN101
PSF 150320a.005
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

MIN101
PSF min101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

OOH004
PSF 150320a.006
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

OOH004
PSF ooh004.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++
ORP101
PSF 150320a.007
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

ORP101
PSF orp101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG001
PSF 150320a.020
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG001
PSF pig001.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG002
PSF 150320a.021
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG002
PSF pig002.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG003
PSF 150320a.022
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG003
PSF pig003.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG004
PSF 150320a.023
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG004
PSF pig004.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG005
PSF 150320a.024
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG005
PSF pig005.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG006
PSF 150320a.025
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG006
PSF pig006.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG007
PSF 150320a.026
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG007
PSF pig007.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG008
PSF 150320a.027
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG008
PSF pig008.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG009
PSF 150320a.028
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG009
PSF pig009.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG010
PSF 150320a.029
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG010
PSF pig010.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG011
PSF 150320a.030
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG011
PSF pig011.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG012
PSF 150320a.031
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG012
PSF pig012.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG013
PSF 150320a.032
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG013
PSF pig013.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG014
PSF 150320a.033
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG014
PSF pig014.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG015
PSF 150320a.034
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG015
PSF pig015.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG016
PSF 150320a.035
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG016
PSF pig016.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG017
PSF 150320a.036
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG017
PSF pig017.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG018
PSF 150320a.038
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG018
PSF pig018.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG019
PSF 150320a.039
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG019
PSF pig019.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG020
PSF 150320a.040
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG020
PSF pig020.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG021
PSF 150320a.041
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG021
PSF pig021.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG022
PSF 150320a.042
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG022
PSF pig022.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG023
PSF 150320a.043
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG023
PSF pig023.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG024
PSF 150320a.044
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG024
PSF pig024.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG101
PSF 150320a.045
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG101
PSF pig101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG201
PSF 150320a.046
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG201
PSF pig201.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG202
PSF 150320a.136
Pigment between two glass slides; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG202
PSF pig202.spec
Pigment between two glass slides; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/double].

++++++

PIG300
PSF 150320a.047
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG300
PSF pig300.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG301
PSF 150320a.048
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG301
PSF pig301.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG302
PSF 150320a.049
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG302
PSF pig302.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG303
PSF 150320a.050
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG303
PSF pig303.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG304
PSF 150320a.051
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG304
PSF pig304.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG305
PSF 150320a.052
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG305
PSF pig305.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG306
PSF 150320a.053
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG306
PSF pig306.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG307
PSF 150320a.054
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG307
PSF pig307.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG308
PSF 150320a.055
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG308
PSF pig308.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG309
PSF 150320a.056
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG309
PSF pig309.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG310
PSF 150320a.057
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG310
PSF pig310.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG311
PSF 150320a.058
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG311
PSF pig311.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG312
PSF 150320a.060
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG312
PSF pig312.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG313
PSF 150320a.061
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG313
PSF pig313.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG314
PSF 150320a.062
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG314
PSF pig314.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG315
PSF 150320a.063
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG315
PSF pig315.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG316
PSF 150320a.064
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG316
PSF pig316.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG317
PSF 150320a.065
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG317
PSF pig317.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG318
PSF 150320a.066
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG318
PSF pig318.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG319
PSF 150320a.067
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG319
PSF pig319.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG320
PSF 150320a.068
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG320
PSF pig320.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG321
PSF 150320a.069
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG321
PSF pig321.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG322
PSF 150320a.070
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG322
PSF pig322.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG323
PSF 150320a.071
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG323
PSF pig323.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG324
PSF 150320a.072
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG324
PSF pig324.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG325
PSF 150320a.073
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG325
PSF pig325.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG326
PSF 150320a.074
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG326
PSF pig326.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG327
PSF 150320a.075
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG327
PSF pig327.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG328
PSF 150320a.076
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG328
PSF pig328.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG329
PSF 150320a.077
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG329
PSF pig329.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG330
PSF 150320a.078
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG330
PSF pig330.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG331
PSF 150320a.079
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG331
PSF pig331.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG332
PSF 150320a.080
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG332
PSF pig332.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG333
PSF 150320a.081
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG333
PSF pig333.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG334
PSF 150320a.082
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG334
PSF pig334.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG335
PSF 150320a.083
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG335
PSF pig335.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG336
PSF 150320a.084
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG336
PSF pig336.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG337
PSF 150320a.085
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG337
PSF pig337.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG338
PSF 150320a.086
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG338
PSF pig338.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG339
PSF 150320a.087
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG339
PSF pig339.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG340
PSF 150320a.088
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG340
PSF pig340.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG341
PSF 150320a.089
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG341
PSF pig341.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG342
PSF 150320a.090
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG342
PSF pig342.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG343
PSF 150320a.091
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG343
PSF pig343.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG344
PSF 150320a.092
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG344
PSF pig344.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG345
PSF 150320a.093
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG345
PSF pig345.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG346
PSF 150320a.094
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG346
PSF pig346.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG347
PSF 150320a.095
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG347
PSF pig347.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG348
PSF 150320a.096
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG348
PSF pig348.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG349
PSF 150320a.097
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG349
PSF pig349.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG350
PSF 150320a.098
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG350
PSF pig350.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG351
PSF 150320a.099
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG351
PSF pig351.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG352
PSF 150320a.100
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG352
PSF pig352.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG353
PSF 150320a.137
Pigment between two glass slides; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG353
PSF pig353.spec
Pigment between two glass slides; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/double].

++++++

PIG354
PSF 150320a.101
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG354
PSF pig354.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG355
PSF 150320a.102
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG355
PSF pig355.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG356
PSF 150320a.103
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG356
PSF pig356.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG357
PSF 150320a.104
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG357
PSF pig357.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG358
PSF 150320a.105
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG358
PSF pig358.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG359
PSF 150320a.106
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG359
PSF pig359.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG360
PSF 150320a.107
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG360
PSF pig360.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG361
PSF 150320a.108
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG361
PSF pig361.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG362
PSF 150320a.109
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG362
PSF pig362.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG363
PSF 150320a.110
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG363
PSF pig363.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG366
PSF 150320a.019
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG366
PSF pig366.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

PIG366A
PSF 150320a.018
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG366A
PSF pig366A.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG371
PSF 150320a.111
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG371
PSF pig371.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG372
PSF 150320a.112
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG372
PSF pig372.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG373
PSF 150320a.113
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG373
PSF pig373.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG374
PSF 150320a.114
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG374
PSF pig374.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG375
PSF 150320a.115
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG375
PSF pig375.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG376
PSF 150320a.116
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG376
PSF pig376.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG377
PSF 150320a.117
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG377
PSF pig377.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG378
PSF 150320a.118
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG378
PSF pig378.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG380
PSF 150320a.119
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG380
PSF pig380.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG381
PSF 150320a.120
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG381
PSF pig381.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG382
PSF 150320a.121
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG382
PSF pig382.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG383
PSF 150320a.122
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG383
PSF pig383.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

PIG384
PSF 150320a.123
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

PIG384
PSF pig384.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans/150323].

++++++

REA102
PSF 150320a.008
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

REA102
PSF rea102.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

SPT127
PSF 150320a.009
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

SPT127
PSF spt127.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

SPT128
PSF 150320a.010
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

SPT128
PSF spt128.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

SPT145
PSF 150320a.011
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

SPT145
PSF spt145.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

SPT146
PSF 150320a.012
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

SPT146
PSF spt146.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

SPT148
PSF 150320a.013
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

SPT148
PSF spt148.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

SPT151
PSF 150320a.014
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

SPT151
PSF spt151.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++

TAL101
PSF 150320a.015
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.35-2.5 µm; 1 nm output; 300 spectra avgd; ASD [Directory: ASD Pigment Trans].

TAL101
PSF tal101.spec
Pigment on glass slide; i=90, e=90° (180° phase angle); 0.40-1.13 µm; ~0.4 nm resol.; 1000 spectra avgd; Maya [Directory: pigments/maya/trans].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
19.4.2.1d. Pigments on goatskin and papyrus: Baseline spectra: July 22, 2013 (inks applied July 18, 2013)

Spot description



Spectral file




1-1a:
Goatskin, PIG404, heavy coat
130722a.001
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-1b:
Goatskin, PIG404, light coat
130722a.002
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-1c:
Goatskin, PIG405, heavy coat
130722a.003
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-1d:
Goatskin, PIG405, light coat
130722a.004
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-1e:
Goatskin, PIG403, heavy coat
130722a.005
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-1f:
Goatskin, PIG403, light coat
130722a.006
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-1g:
Goatskin, blank spot

130722a.007
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

++++++
1-2a:
Light papyrus, PIG404, heavy coat
130722a.008
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-2b:
Light papyrus, PIG404, light coat
130722a.009
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-2c:
Light papyrus, PIG405, heavy coat
130722a.010
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-2d:
Light papyrus, PIG405, light coat
130722a.011
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-2e:
Light papyrus, PIG403, heavy coat
130722a.012
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-2f:
Light papyrus, PIG403, light coat
130722a.013
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-2g:
Light papyrus, blank spot
130722a.014
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

++++++
1-3a:
Dark papyrus, PIG404, heavy coat
130722a.015
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-3b:
Dark papyrus, PIG404, light coat
130722a.016
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-3c:
Dark papyrus, PIG405, heavy coat
130722a.017
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-3d:
Dark papyrus, PIG405, light coat
130722a.018
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-3e:
Dark papyrus, PIG403, heavy coat
130722a.019
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-3f:
Dark papyrus, PIG403, light coat
130722a.020
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

1-3g:
Dark papyrus, blank spot
130722a.021
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

++++++
2-1a:
Goatskin, PIG502, heavy coat
130722a.022
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-1b:
Goatskin, PIG502, light coat
130722a.023
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-1c:
Goatskin, PIG402, heavy coat
130722a.024
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-1d:
Goatskin, PIG402, light coat
130722a.025
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-1e:
Goatskin, PIG400, heavy coat
130722a.026
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-1f:
Goatskin, PIG400, heavy coat
130722a.027
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-1g:
Goatskin, blank spot

130722a.028
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

++++++
2-2a:
Light papyrus, PIG502, heavy coat
130722a.029
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-2b:
Light papyrus, PIG502, light coat
130722a.030
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-2c:
Light papyrus, PIG402, heavy coat
130722a.031
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-2d:
Light papyrus, PIG402, light coat
130722a.032
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-2e:
Light papyrus, PIG400, heavy coat
130722a.033
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-2f:
Light papyrus, PIG400, light coat
130722a.034
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

2-2g:
Light papyrus, blank spot
130722a.035
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130722 pigments.

++++++
2-3a:
Dark papyrus, PIG502, heavy coat
130723a.036
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

2-3b:
Dark papyrus, PIG502, light coat
130723a.037
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

2-3c:
Dark papyrus, PIG402, heavy coat
130723a.038
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

2-3d:
Dark papyrus, PIG402, light coat
130723a.039
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

2-3e:
Dark papyrus, PIG400, heavy coat
130723a.040
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

2-3f:
Dark papyrus, PIG400, light coat
130723a.041
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

2-3g:
Dark papyrus, blank spot
130723a.042
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

++++++
3-1a:
Goatskin, PIG700, heavy coat
130723a.043
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-1b:
Goatskin, PIG700, light coat
130723a.044
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-1c:
Goatskin, PIG702, heavy coat
130723a.045
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-1d:
Goatskin, PIG702, light coat
130723a.046
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-1g:
Goatskin, blank spot

130723a.047
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

++++++
3-2a:
Light papyrus, PIG700, heavy coat
130723a.048
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-2b:
Light papyrus, PIG700, light coat
130723a.049
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-2c:
Light papyrus, PIG702, heavy coat
130723a.050
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-2d:
Light papyrus, PIG702, light coat
130723a.051
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-2g:
Light papyrus, blank spot
130723a.052
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

++++++
3-3a:
Dark papyrus, PIG700, heavy coat
130723a.053
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-3b:
Dark papyrus, PIG700, light coat
130723a.054
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-3c:
Dark papyrus, PIG702, heavy coat
130723a.055
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-3d:
Dark papyrus, PIG702, light coat
130723a.056
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

3-3g:
Dark papyrus, blank spot
130723a.057
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130723 pigments.

++++++++++++++++++++++++++++++++++++++++++++

19.4.2.2d. First re-shoot: September 9, 2013 (inks applied July 18, 2013)

Spot description



Spectral file



1-1a:
Goatskin, PIG404, heavy coat
130909a.002
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-1b:
Goatskin, PIG404, light coat
130909a.003
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-1c:
Goatskin, PIG405, heavy coat
130909a.004
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-1d:
Goatskin, PIG405, light coat
130909a.005
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-1e:
Goatskin, PIG403, heavy coat
130909a.006
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-1f:
Goatskin, PIG403, light coat
130909a.007
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-1g:
Goatskin, blank spot

130909a.008
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
1-2a:
Light papyrus, PIG404, heavy coat
130909a.009
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-2b:
Light papyrus, PIG404, light coat
130909a.010
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-2c:
Light papyrus, PIG405, heavy coat
130909a.011
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-2d:
Light papyrus, PIG405, light coat
130909a.012
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-2e:
Light papyrus, PIG403, heavy coat
130909a.013
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-2f:
Light papyrus, PIG403, light coat
130909a.014
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-2g:
Light papyrus, blank spot
130909a.015
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
1-3a:
Dark papyrus, PIG404, heavy coat
130909a.016
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-3b:
Dark papyrus, PIG404, light coat
130909a.017
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-3c:
Dark papyrus, PIG405, heavy coat
130909a.018
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-3d:
Dark papyrus, PIG405, light coat
130909a.019
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-3e:
Dark papyrus, PIG403, heavy coat
130909a.020
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-3f:
Dark papyrus, PIG403, light coat
130909a.021
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

1-3g:
Dark papyrus, blank spot
130909a.022
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
2-1a:
Goatskin, PIG502, heavy coat
130909a.023
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-1b:
Goatskin, PIG502, light coat
130909a.024
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-1c:
Goatskin, PIG402, heavy coat
130909a.025
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-1d:
Goatskin, PIG402, light coat
130909a.026
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-1e:
Goatskin, PIG400, heavy coat
130909a.027
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-1f:
Goatskin, PIG400, heavy coat
130722a.028
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-1g:
Goatskin, blank spot

130909a.029
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
2-2a:
Light papyrus, PIG502, heavy coat
130909a.030
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-2b:
Light papyrus, PIG502, light coat
130909a.031
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-2c:
Light papyrus, PIG402, heavy coat
130909a.032
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-2d:
Light papyrus, PIG402, light coat
130909a.033
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-2e:
Light papyrus, PIG400, heavy coat
130909a.034
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-2f:
Light papyrus, PIG400, light coat
130909a.035
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-2g:
Light papyrus, blank spot
130909a.036
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
2-3a:
Dark papyrus, PIG502, heavy coat
130909a.037
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-3b:
Dark papyrus, PIG502, light coat
130909a.038
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-3c:
Dark papyrus, PIG402, heavy coat
130909a.039
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-3d:
Dark papyrus, PIG402, light coat
130909a.040
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-3e:
Dark papyrus, PIG400, heavy coat
130909a.041
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-3f:
Dark papyrus, PIG400, light coat
130909a.042
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

2-3g:
Dark papyrus, blank spot
130909a.043
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
3-1a:
Goatskin, PIG700, heavy coat
130909a.044
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

3-1b:
Goatskin, PIG700, light coat
130909a.045
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

3-1c:
Goatskin, PIG702, heavy coat
130909a.046
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

3-1d:
Goatskin, PIG702, light coat
130909a.047
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

3-1g:
Goatskin, blank spot

130909a.048
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130909 pigments.

++++++
3-2a:
Light papyrus, PIG700, heavy coat
130910b.001
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-2b:
Light papyrus, PIG700, light coat
130910b.002
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-2c:
Light papyrus, PIG702, heavy coat
130910b.003
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-2d:
Light papyrus, PIG702, light coat
130910b.004
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-2g:
Light papyrus, blank spot
130910b.005
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

++++++
3-3a:
Dark papyrus, PIG700, heavy coat
130910b.006
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-3b:
Dark papyrus, PIG700, light coat
130910b.007
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-3c:
Dark papyrus, PIG702, heavy coat
130910b.008
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-3d:
Dark papyrus, PIG702, light coat
130910b.009
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

3-3g:
Dark papyrus, blank spot
130910b.010
ASD; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; directory: 130910 pigments.

++++++++++++++++++++++++++++++
PAINTED TILES:

Stripes of paint over undedrawing materials:

1. PIG502
Iron gall ink

2. PIG403
Prout’s brown ink

3. PIG404
Kremer sepia ink

4. PIG405
Bistre ink

5. PIG407
Sanguine

6. PIG400
Willow charcoal

7. PIG402
Graphite

8. ASP101
Asphaltum

9. PRL101
Pyrolusite

10. PIG700
Silverpoint

Pigment IDS:

TP3 
PIG303 
Gold ochre

TP3 
PIG379
Pozzuoli Red

TP3
PIG333
Cyprus Burnt Umber

TP3
PIG321
German Vine Black

TP27
TAL101
Talc

TP27
PIG363
Brazilwood Sawdust

TP15
PIG010
Zinc oxide, synthetic

TP15
PIG012
Synthetic Cadmium sulphide

TP15
PIG338
Sienna Burnt Luberon

TP15
CHY101
Chrysocolla

TP15
ORP101
Orpiment

TP6
PIG202
Calcium hydroxide

TP6
PIG378
Italian Burnt Sienna

TP6
PIG356
Cassel Brown Earth

TP6
GLA103
Glauconite

TP22
PIG303
Gold Ochre

TP22
PIG373
Lazurite

TP22
PIG360
Lamp Black

TP22
PIG348
Minium, red lead (Surik)

TP21
PIG304
Yellow Jarosite

TP21
PIG372
Malachite

TP21
PIG016
Mercury (II) Sulfide

TP21
CRB508
Malachite

TP21
PIG312
Hematite

TP27
PIG005
Calcium sulfate dihydrate
TP27
PIG354
Malachite, fine grade

TP7
PIG002
Calcium sulfate

TP7
PIG350
Malachite, medium

TP7
PIG341
Ochre, Luberon Red

TP7
PIG340
Umber, Luberon Raw

TP7
PIG383
Cyprus, Raw Umber, Dark

TP4
PIG374
Lemon Ochre

TP4
PIG377
Venetian Red

TP4

PIG335

Cyprus Raw Umber Medium

TP4

CRC002

Crocoite

TP4

PIG022

Lead (II) Oxide

TP29
PIG316
Celadonite – green earth

TP29
PIG320
Indigo, no. 1 quality

TP29
PIG021
Synthetic anglesite (Lead (II) sulfate)

TP29
MIN101
Minium

TP28
PIG325
Glauconite

TP28
PIG371
Verona Green Earth

TP28
PIG346
Raw Sienna

TP28
PIG347
Cochineal, premium Chilean

TP5
PIG331
Cerussite, natural lead white

TP5
PIG328
Sienna, Light Luberon

TP5
CIN102
Cinnabar

TP5
PIG326
Umber

TP5
CLI101
Clinochlore (chlorite)

TP30
PIG306
Yellow ochre light- Claire jaune

TP30
PIG315
Cold green earth – glauconite

TP30
PIG323
Hematite

TP30
PIG023
Synthetic chromium (OOO) oxide

TP17
PIG007
Synthetic anatase

TP17
CRB112
Calcite

TP17
CRB506
Cerussite

TP17
PIG018
Iron (III) oxide, hydrated

TP16
PIG009
Lead (II) carbonate, basic

TP16
CRB120
Aragonite

TP16
HEM101
Hematite

TP16
SPT151
Lazurite

TP16
PIG017
Synthetic lead (II) chromate

TP26
PIG380
Italian Burnt Umber

TP26
PIG349
Azurite, coarse

TP26
SPT148
Anglesite

TP26
SPT128
Anhydrite

TP25
PIG343
Cyprus Raw Umber Light
TP25
PIG353
Lapis Lazuli, standard grade lazurite

TP25
PIG311
Spanish red

TP25
PIG307
Yellow ochre dark

TP25
LCA101
Carbon lampblack, synthetic

TP14
PIG011
Antimony (III) oxide

TP14
PIG381
Italian Raw Umber Green

TP14
PIG334
Red Sartorius Earth

TP14
CHL105
Atacamite

TP14
PIG024
Copper (II) carbonate, basic

TP10
PIG308
Orpiment

TP10
PIG355
Roman Black

TP10
SPT127
Gypsum

TP10
PIG362
Alkanet root

TP13
PIG330
Titanium white/titanium dioxide

TP13
PIG015
Mercury (II) sulphide

TP13
PIG359
Natural black oxide

TP13
PIG020
Barium chromate

TP12
PIG329
Zinc oxide

TP12
PIG201
Manganese (IV) oxide

TP12
PIG361
Madder root

TP12
SPT146
Barite

TP9
PIG305
Jarosite

TP9
PIG342
Erclano Red

TP9
PIG357
Shungite, carbon black

TP9
REA102
Realgar

TP19
PIG003
Barium sulfate

TP19
PIG313
Hematite Crimean

TP19
KAO102
Kaolinite

TP19
PIG324
Red ochre

TP8
PIG006
Talc

TP9
PIG309
Cinnabar, warm

TP8
PIG327
Italian brown ochre

TP8
PIG345
Mummy (iron oxide)

TP8
PIG358
Pyrolusite, Mineral brown black

TP23
PIG300
Natural yellow oxide

TP23
PIG352
Lapis lazuli, premium grade lazurite

TP23
PIG326
Umber

TP23
CRB510
Azurite

TP24
PIG301
Italian dark ochre

TP24
PIG351
Lazurite, Baikal

TP24
PIG339
Umber, Burnt Luberon

TP24
PIG013
Cadmium selenide

TP20
PIG008
Titanium (IV) oxide

TP20
PIG317
Nicosia green earth – glauconite

TP20
PIG314
Violet hematite, violet caput mortem
TP20
PIG322
Yellow ochre
TP20
SPT145
Anglesite

TP18
PIG004
Calcium carbonate

TP18
PIG312
Hematite

TP18
PIG375
Italian Yellow Earth

TP19
PIG101
Synthetic litharge

TP18
PIG019
Carmine

TP1
PIG001
Aluminum hydroxide

TP1
PIG002
Calcium sulfate

TP1
PIG004
Calcium carbonate

TP1
PIG319
Vivianite, blue ochre

TP1
PIG366(oil)
Refined linseed oil

TP2
PIG337
Sienna, Luberon Raw

TP2
PIG318
Dioptase, fine grade

TP10
PIG310
Indian red

TP2
PIG332
Goethite, brown ochre

TP2
PIG382
Italian Raw Umber

++++++++++++++++++++++++++++++++++++++++++

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 19.

20. Analogue Sites
20.1. East German Creek Area – MB, Canada 
20.1.1. East German Creek Springs Complex
20.1.2. Salt Point Springs Area
20.1.3. McArdle Salt Works
20.1.4. Mafeking Quarry 
20.1.5. Endolith samples for Jennifer Ronholm

++++++++++++++++++++++++++++++++++++++++

Sample ID
Description










20.1a.1. East German Creek Springs Complex

20.1.1a.1. East German Creek Springs Complex - samples collected August 24-26, 2005
SS001
East German Creek area: Soil sample from Cauldron C - top orange layer: 0-2 mm depth.

SS002
East German Creek area: Soil sample from Cauldron C - medium black layer: 2-3 mm depth.

SS003
East German Creek area: Soil sample from Cauldron C - lower gray-brown granular layer; >3 mm depth.

SS004
East German Creek area: “Kona Beach” orange and red clasts.

SS005
East German Creek area: “Kona Coast” outliers and surficial sand.

SS006
East German Creek area: Black pool ridge - salt encrusted grunge.

SS007
East German Creek area: NW side of “North Bay” - crudded rocks.

SS009
East German Creek area: “blueberries”.

SS010
East German Creek area: 3 weathered limestone rocks and associated “blueberries”.

SS011
East German Creek area: “middle Stooge pot”: fresh gray surficial sediment.

SS012
East German Creek area: Big cauldron pool and adjacent crust.

SS013
East German Creek area: Surficial soil with “blueberries”.

SS016
East German Creek area: Barrenlands: “blueberries” and underlying pavement (picture 5).

SS017
East German Creek area: various clasts collected on day 1.

SS018
East German Creek area: “interlake area between 3 Stooges pots: a) red crust; b) black crust.

SS019
East German Creek area: “Pit F” - 10 metres SW of Big Cauldron; surficial “crust”.

SS020
East German Creek area: “North Stooge pit” - surficial orange crust.

SS021
East German Creek area: SW corner of site; nearly buried rock, only small ridge exposed.

SS022
East German Creek area: W side of “badlands”; crusty brain, pot nearest Big Cauldron.

SS023
East German Creek area: “Pot 2", sample 1: orange-red crust.

SS024
East German Creek area: “Pot 2", sample 2: brown-red clasts.

SS025
East German Creek area: “Pot 2", sample 3: “bleached” clasts.

SS026
East German Creek area: “Spatter cone 1", sediment 0-0.5 cm depth.

SS027
East German Creek area: “Spatter cone 1", sediment 1-3 cm depth.

SS028
East German Creek area: “”Kona Coast” surficial “sand” and associated clasts.

SS029
East German Creek area: Lone pot sample 1 - “blueberries”.

SS030
East German Creek area: Lone pot sample 2: brainy crust.

SS031
East German Creek area: “Spatter cone 2": orange sediment: 0-3 mm depth.

SS032
East German Creek area: Barely active pot on E side of site: 8" depth.

SS033
East German Creek area: Trench - orange soil.

SS034
East German Creek area: Excavated pot: channel fill.

SS035
East German Creek area: tufa sample.

SS036
East German Creek area: tufa sample.

SS037
East German Creek area: tufa sample.

SS038
East German Creek area: reddish tufa sample.

SS039
East German Creek area: weathered fossiliferous limestone sample.

SS040
East German Creek area: weathered fossiliferous limestone sample.

SS041
East German Creek area: weathered fossiliferous limestone sample.

SS042
East German Creek area: weathered fossiliferous limestone sample.

SS043
East German Creek area: precipitated orange-stained carbonate.
SS044
East German Creek area: weathered sponge or coral fossil.

SS045
East German Creek area: reprecipitated, orange-stained limestone.

SS046
East German Creek area: weathered fossiliferous limestone.

SS047
East German Creek area: weathered fossiliferous limestone.
SS048
Fossiliferous limestone from first reef on secondary road to East German Creek (July 2019); for possible spectroscopy on fossils versus limestone groundmass.
+++++++

EGC100
SS010 and SS1 - Clasts and blueberries, day 1.

EGC101
SS017 - various clasts, day 1.

EGC102
SS007 - various crudded rocks NW side of North Bay.

EGC103
SS018 - 3 Stooges interlake region, a) red crust b) brains.

EGC104
SS021 - SW corner of site, gnarly bedrock, only ripe deposit.

EGC105
SS032 - barely active pot, east side, 1' 8" down.

EGC106
various clasts, day 1.

EGC107
SS013 - surficial soil.

EGC108
SS009 - blueberries, day 1.

EGC109
SS012 - Big cauldron, crust adjacent to pool, day 1.

EGC110 
SS011 - middle Stooge pool; fresh sediment from inside pool.

EGC111
SS023 - Pot 2, sample 1, orange-red crust.

EGC112
SS024 - Pot 2, sample 2, brown-red clasts and soil.

EGC113
SS025 - pot 2, sample 3, bleached clasts.

EGC114
SS001 - Cauldron C, 0-2 mm, top orange layer.

EGC115
SS002 – Cauldron C, ~2-3 mm deep, medium-black layer.

EGC116
SS003 - Cauldron C, >3 mm deep, lower gray granular layer.

EGC117
SS006 - Blackpool ridge, salt encrusted grunge.

EGC118
SS016 - Picture 5, barren lands, blueberries and underlying pavement.

EGC119
SS019 - 10 metres SW of big cauldron, crust adjacent to pool.

EGC120
SS020 - North Stooge, orange sediment.

EGC121
SS022 - West side of badlands crusty brain, pot nearest big cauldron.

EGC122
SS026 - Spatter cone 1 sediment, 0-0.5 cm depth.

EGC123
SS027 - Spatter cone 1 sediment, ~1-3 cm depth.

EGC124
SS029 - Lone pot, sample 1 blueberries.

EGC125
SS030 - Lone pot, sample 2, surface pavement.

EGC126
SS031 - Spatter cone 2 sediment, 0-3 mm depth.

EGC127
SS033 - Trench, orange soil.

EGC128
SS034 - Excavated pot, channel fill.

+++++++++++++++++++++++++++++++++++++++++++

20.1.1a.2. East German Creek Springs Complex – collected August 2006
EGC200
ASD001 - Red soil (ASD field spectrum shot).

EGC201
ASD002 - Yellow soil (ASD field spectrum shot).

EGC202
ASD003 - Brown soil (ASD field spectrum shot).

EGC203
ASD005 - White brains (ASD field spectrum shot).

EGC204
ASD007 - Brown pavement (ASD field spectrum shot).

EGC205
ASD008 - Black brains (ASD field spectrum shot).

EGC206
ASD009 - buff soil (ASD field spectrum shot).

EGC207
ASD010 and ASD011 - buff sand (ASD field spectrum shot).

EGC208
ASD012 - Trench “1” in red sand - first layer, 0-3 mm depth, red sand layer (ASD field spectrum shot).

EGC209 
ASD013 - Trench “1” in red sand - second layer, 3-7 mm depth (ASD field spectrum shot).

EGC210
ASD014 - Trench “1” in red sand - third layer, 7 mm - 4 cm depth (ASD field spectrum shot).

EGC211
ASD015 - Trench “1” in red sand - fourth layer, >4 cm depth (ASD field spectrum shot).

EGC212
ASD016 - Trench “2" by big cauldron - first layer, 0-1 mm depth (ASD field spectrum shot).

EGC213
ASD017 - Trench “2" by big cauldron - second layer, 1 mm - 3 cm depth (red fine soil) (ASD field spectrum shot).

EGC214
ASD018 - Trench “2" by big cauldron - third layer: >3 cm depth (yellow fine-grained soil) (ASD field spectrum shot).

EGC215
ASD019 - Black anoxic layer at edge of big cauldron (~ 2 mm depth) (ASD field spectrum shot).

EGC216
ASD020 - Rock #1: White etched limestone (ASD field spectrum shot of weathered/exposed surface).

EGC217
ASD021 - Rock #2: Yellow etched limestone (ASD field spectrum shot of weathered/exposed surface).

EGC218
ASD022 - Rock #3: Iron-stained, etched buff limestone (ASD field spectrum shot of weathered/exposed/stained surface).

EGC219
ASD023 - Rock #4: Gray travertine (ASD field spectrum shot of weathered/exposed surface).

EGC220
ASD024 - Rock #5: Rainbow, pitted limestone ((ASD field spectrum shot of weathered/exposed surface).

EGC221
ASD025 - Rock #6: Red-stained limestone (ASD field spectrum shot of weathered/exposed surface).

EGC222
ASD026 - Rock #7: Brown-stained limestone (ASD field spectrum shot of weathered/exposed surface).

EGC223
Rock A: reddish limestone with adhering soil (not shot with ASD in field).

EGC224
Rock B: Pitted gray limestone (not shot with ASD in field).

EGC225
Rock C: Brownish pitted limestone (not shot with ASD in field).

EGC226
Rock D: Reddish pitted limestone (not shot with ASD in field).

EGC227
Unnamed rock: orange limestone (not shot with ASD in field).

EGC228
Unnamed rock banded fossilized coral with algal band stain (not shot with ASD in field).

EGC229
Unnamed rock: red-yellow stained limestone (not shot with ASD in field).

EGC230
Unnamed rock Orange-brown stained limestone (not shot with ASD in field).

+++++++++++++++++++++++++++++++++++++++++

20.1.1a.3. East German Creek Springs Complex – collected October 2006
EGC300
Transect 1, point B - surface soil: finer red sand. (Point A is Pit 2 surface). Shot field spectrum with D&P spectrometer. 5 metres south of point A.

EGC301
Transect 1, point C - surface soil: very fine buff silt. Shot field spectrum with D&P spectrometer.  4 metres south of point B.

EGC302
Transect 1, point D - surface soil: less red medium sand. Shot field spectrum with D&P spectrometer. 0.5 metres south of point C.

EGC303
Transect 1, point E - surface soil: buff silt. Shot field spectrum with D&P spectrometer. 4 metres south of point D.

EGC304
Transect 1, point F - surface soil travertine and buff silt; 50% of each in field of view. Shot field spectrum with D&P spectrometer. 2 metres south of point E.

EGC305
Transept 1, point G - surface soil. 1 metre south of point E.

EGC306
Transect 1, point H - surface soil: red-brown brains. Shot field spectrum with D&P spectrometer. 5 metres south of point G.

EGC307
Transect 1, point I - surface soil red brains. Shot field spectrum with D&P spectrometer. 7 metres south of point H.

EGC308
Transect 1, point J - surface soil: brown silt. Shot field spectrum with D&P spectrometer. Same location as point I.

EGC309
Transect 1, point K - surface soil: black brains. Shot field spectrum with D&P spectrometer. 4 metres south of points I and J.

EGC310
Transect 1, point L - surface soil: brown brains. Shot field spectrum with D&P spectrometer. 3 metres south and 3 metres east of point K.

EGC311
Transect 1, point M - surface soil: white brains. Shot field spectrum with D&P spectrometer. 3 metres south of point K.

EGC312
Transect 1, point N - surface soil: red silt with brains? Shot field spectrum with D&P spectrometer. 6 metres south of point M.

EGC313
Transect 1, point O - surface soil: red delta (recently abandoned channel). Shot field spectrum with D&P spectrometer. 15 metres west of point N.

EGC314
Pit 1 (50 cm north of edge of big cauldron), sample 1: 0-1 mm depth red soil.

EGC315
Pit 1 (50 cm north of edge of big cauldron), sample 2: 1-2 mm depth; anaerobic black layer.

EGC316
Pit 1 (50 cm north of edge of big cauldron), sample 3: 2-15 mm depth; medium brown sand.

EGC317
Pit 1 (50 cm north of edge of big cauldron), sample 4: >15 mm depth; yellow gray soil.

EGC318
Pit 2 (70 metres west of big cauldron). Sample 1: red sand, 0-1 mm depth.

EGC319
Pit 2 (70 metres west of big cauldron). Sample 2: light brown sand, 1-2 mm depth.

EGC320
Pit 2 (70 metres west of big cauldron). Sample 3: black-gray sand, 2-3 mm depth.

EGC321
Pit 2 (70 metres west of big cauldron). Sample 4: medium brown sand, 4 mm - 6 cm depth.

EGC322
Pit 2 (70 metres west of big cauldron). Sample 5: reddish gravel/sand, 6-30 cm depth.

EGC323
Pit 2 (70 metres west of big cauldron). Sample 6: yellow silt, >30 cm depth

EGC324
Pit 2 (70 metres west of big cauldron). Sample 6a: gray silt, >30 cm depth, deeper than sample 6.

EGC325
Pit 2 (70 metres west of big cauldron). Sample 6b: gray silt, >30 cm depth, deeper than sample 6a.

EGC326
Travertine pavement 1 - gray.

EGC327
Travertine pavement 2 - brown.

EGC328
Travertine pavement 3 - brown-gray.

EGC329
Travertine pavement 4 - red.

EGC330
Pit 3 - 4 cm down, orange-red soil.

EGC331
Downstream creek rock 1 - black pitted.

EGC332
Downstream creek rock 2 - black pitted.

EGC333
Downstream creek rock 3 - red-orange smooth.

EGC334
Downstream creek rock 4 - orange, pitted.

EGC335
Downstream creek rock 5 - white pitted.

EGC336
Downstream creek rock 6 - white pitted.

EGC337
Downstream creek rock 7 - red and green.

EGC338
Downstream creek rock 8 - orange, green, white banded.

EGC339
Downstream creek rock 9 - orange and white pitted, banded.

EGC340
Downstream creek rock 10 - orange, cracked.

EGC341
Old red delta deposit.

EGC342
Orange pitted rock.

EGC343
White pitted rock.

EGC344
Pit #1 excavated profile, ~6 cm thick.

EGC345
Pit #2 excavated profile, ~6 cm thick.

EGC346
Pit #3 excavated profile, ~4 cm thick.

EGC347
Pit #4 excavated profile, ~4 cm thick.

EGC348
Pit #5 excavated profile, ~4 cm thick.

++++++++++++++++++++++++++++++++++++++++++
20.1.1a.4. East German Creek Springs Complex – August 7, 2007

EGC500
Gypsum/halite(?) encrusted brick at N end of site near end of delta (near north creek site NC6).

EGC501
Travertine surface layer, 50 metres east of Big Cauldron.

EGC502-517
Travertine “cinders” from summit of Big Cauldron, ~1 metre north of cauldron rim.

+++++++++++++++++++++++++++++++++++++++++++++

20.1.1a.5. East German Creek Springs Complex - outflow channel transect – sediment samples – collected August 7, 2007

Samples have air dried since summer 2008.

Sample IDs: 
NCx.1: stream bottom


NCx.2: side of stream


NCx.3: bank of stream

Sampling done along outflow creek (flowing along north side of site) starting at Big Cauldron).

NC1
52’ 45.101” N, 100’ 52.937” W – water sample collected: NC1

NC1.2
Edge of Big Cauldron – orange sediments

NC1.3
Shoreline of Big Cauldron – orange sediments

NC2
52’ 45.106 N, 100’ 52.929” W; 25 metres downstream from Big Cauldron – water sample collected” NC2; 2 photos taken.

NC2.1
Orange-brown sediments

NC2.2
Orange-brown sediments

NC3
52” 45.107” N, 100’ 52.910” W; 50 metres downstream from Big Cauldron – water sample collected.

NC3.1
50m from Big Cauldron – reddish sediments

NC3.2
50 m from Big Cauldron – brown-red sediments

NC4
52’ 45.127” N, 100’ 52.888” W; 100 metres downstream from Big Cauldron – water sample collected.

NC4.1
Orange sediments

NC4.3
White-brown crusts and fragments

NC5
52’ 45.147” N, 100’ 52.868” W; 150 metres downstream from Big Cauldron – water sample collected.

NC5.1
Orange-brown sediments

NC5.3
Orange-brown sediments

NC6
52’ 45.191” N, 100’ 52.838” W; 250 metres downstream from Big Cauldron – water sample collected.

NC6.1
Brown sediments

NC6.2
Grey-green, brown sediments (“Brick!”)

NC6.3
White-brown crust

NC7
52’ 45.211” N, 100’ 52.859” W; 300 metres downstream from Big Cauldron – water sample collected.

NC7.1
Orange-brown-white sediments

NC7.2
Brown sediments

NC7.3
Grey/brown/orange sediments

NC8
52’ 45.219” N, 100’ 52.896” W; 350 metres downstream from Big Cauldron – water sample collected.

NC8.1
Grey sediments

NC8.2
Grey sediments

NC8.3
Brown sediments

NC9
52’ 45.225” N, 100’ 52.936” W; 400 metres downstream from Big Cauldron – water sample collected.

NC9.1
Orange-brown sediments

NC9.2
Grey-green, brown sediments

NC10
52’ 45.234” N, 100’ 52.978” W; 450 metres downstream from Big Cauldron – water sample collected.

NC10.1
Brown-orange sediments

NC10.2
Brown/orange sediments

NC11
52’ 45.239” N, 100’ 53.022” W; 500 metres downstream from Big Cauldron – water sample collected.

NC11.1
Brown/orange sediments

NC11.2
Grey-green, brown sediments

NC12
52’ 45.254” N, 100’ 53.093” W; 600 metres downstream from Big Cauldron – water sample collected.

NC12.1
Grey-brown sediments

NC12.2
Grey-brown sediments

NC13
52’ 45.258” N, 100’ 53.136” W; 650 metres downstream from Big Cauldron – water sample collected.

NC13.1
Brown sediments

NC13.2
Brown sediment

NC14
52’ 45.266” N, 100’ 53.169” W; 700 metres downstream from Big Cauldron – junction of north and south outflow channels – water sample collected.

NC14.1
Sediment-covered cobbles

NC15
52’ 45.285” N, 100’ 53.179” W; 750 metres downstream from Big Cauldron – water sample collected.

NC15.1
Brown-covered cobble

NC15.2
Grey-brown sediments

NC16
52’ 45.312” N, 100’ 53.206” W; 810 metres downstream from Big Cauldron – water sample collected; north channel of outflow creek.

NC16.1
Brown-orange sediments

NC16.2
Green sediments

NC17
52’ 45.324” N, 100’ 53.237” W; 860 metres downstream from Big Cauldron – water sample collected.

NC17.1
Brown-orange cobbles

NC17.2
Brown-green sediments

NC18
52’ 45.343” N, 100’ 53.247” W; 910 metres downstream from Big Cauldron – water sample collected.

NC18.1
Sediment-covered cobbles

NC19
52’ 45.353” N, 100’ 53.230” W; 960 metres downstream from Big Cauldron – water sample collected.

NC19.1
Sediment-covered cobbles

++++++++++++++++++++++

20.1.1a.5.1. East German Creek Springs Complex - GPS Coordinates of active springs – August 7, 2007

Big Cauldron
52’ 45.098” N, 100’ 52.938” W. 2 m accuracy.

Spring 2
52’ 45.098” N, 100’ 52.950” W. 3 m accuracy.

Spring 3
52’ 45.094” N, 100’ 52.951” W. 3 m accuracy.

Spring 4
52’ 45.091” N, 100’ 52.950” W. 3 m accuracy.

Spring 5
52’ 45.093” N, 100’ 52.946” W. 3 m accuracy.

Spring 6
52’ 45.091” N, 100’ 52.942” W. 2 m accuracy.

Spring 7
52’ 45.085” N, 100’ 52.939” W. 3 m accuracy.

Spring 8
52’ 45.071” N, 100’ 52.946” W. 3 m accuracy.

Spring 9
52’ 45.085” N, 100’ 52.958” W. 3 m accuracy.

Spring 10
52’ 45.083” N, 100’ 52.971” W. 3 m accuracy.

Spring 11
52’ 45.073” N, 100’ 52.963” W, 4 m accuracy.

Spring 12
52’ 45.065” N, 100’ 52.965” W. 4 m accuracy.

Spring 13
52’ 45.076” N, 100’ 52.968” W. 4 m accuracy.

Spring 14
52’ 45.076” N, 100’ 52.978” W. 3 m accuracy.

Spring 15
52’ 45.079” N, 100’ 52.975” W. 3 m accuracy.

Spring 16
52’ 45.088” N, 100’ 52.969” W. 3 m accuracy.

Spring 17
52’ 45.092” N, 100’ 52.971” W. 3 m accuracy.

Spring 18
52’ 45.094” N, 100’ 52.967” W. 3 m accuracy.

Spring 19
52’ 45.094” N, 100’ 52.967” W. 3 m accuracy.

Spring 20
52’ 45.096” N, 100’ 52.963” W. 3 m accuracy.

Spring 21
52’ 45.102” N, 100’ 52.962” W. 3 m accuracy.

Spring 22
52’ 45.101” N, 100’ 52.958” W. 3 m accuracy; twin springs.

Spring 23
52’ 45.101” N, 100’ 52.957” W. 3 m accuracy.

Spring 24
52’ 45.102” N, 100’ 52.954” W. 4 m accuracy.

Spring 25
52’ 45.104” N, 100’ 52.950” W. 3 m accuracy.

Spring 26
52’ 45.104” N, 100’ 52.948” W. 3 m accuracy.

Spring 27
52’ 45.124” N, 100’ 52.916” W. 3 m accuracy.

Spring 28
52’ 45.125” N, 100’ 52.963” W. 4 m accuracy.

Spring 29
52’ 45.121” N, 100’ 52.977” W. 4 m accuracy.

Spring 30
52’ 45.121” N, 100’ 52.981” W. 4 m accuracy; twin springs.

Spring 31
52’ 45.120” N, 100’ 52.984” W. 4 m accuracy.

++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1a.6. East German Creek Springs Complex – May 11-13, 2010 (EGC600 series)

EGC600
Orange surficial loose sediments from edge of Big Cauldron (Station 100512EGC1).

EGC601a,b
a: Buff-gray sediments (expected silica-rich) from below orange surficial layer (EGC600), ~1-2 mm down, from edge of Big Cauldron (Station 100512EGC1). B: coarser orange sediments, 2 mm below surface layer, from edge of Big Cauldron.

EGC602
Sediments at station 2 (~40 m from Big Cauldron along outflow channel); from bottom of stream (Station 00512EGC2).

EGC603
Rocks/pebbles at station 2 (~40 m from Big Cauldron along outflow channel); from bottom of stream (Station 00512EGC2).

EGC604
Sediments at station 3 (~90 m from Big Cauldron along outflow channel); from bottom of stream (Station 00512EGC3).

EGC605
Rocks/pebbles at station 3 (~90 m from Big Cauldron along outflow channel); from bottom of stream (Station 00512EGC3).

EGC606
Sediments at station 4 (~130 m from Big Cauldron along outflow channel); from bottom of stream (Station 00512EGC4).

EGC607
Rocks/pebbles at station 4 (~130 m from Big Cauldron along outflow channel); from bottom of stream (Station 00512EGC4).

EGC608
Rocks/pebbles and sediments from bottom of outflow channel at station 6 (downstream from Big Cauldron along outflow channel) (Station 00512EGC6).

EGC609
Rocks/pebbles and sediments from bottom of outflow channel at station 7 (~340 m downstream from Big Cauldron along outflow channel) (Station 00512EGC7).

EGC610
Rocks/pebbles and sediments from bottom of outflow channel at station 8 (downstream from Big Cauldron along outflow channel) (Station 00512EGC8).

EGC611
Rocks/pebbles and sediments from bottom of outflow channel at station 9 (downstream from Big Cauldron along outflow channel) (Station 00512EGC9).

EGC612
Rocks/pebbles and sediments from bottom of outflow channel at station 10 (downstream from Big Cauldron along outflow channel) (Station 00512EGC10).

EGC613
Rocks/pebbles and sediments from bottom of outflow channel at station 11 (~720 m downstream from Big Cauldron along outflow channel) (Station 00512EGC11).

EGC614
Rocks from shore (not in channel) at station 11 (~720 m downstream from Big Cauldron along outflow channel) (Station 00512EGC11).

EGC615
Rocks/pebbles and sediments from bottom of outflow channel at station 12 (~820 m downstream from Big Cauldron along outflow channel) (Station 00512EGC12).

EGC616
Rocks from shore (not in channel) at station 11 (~820 m downstream from Big Cauldron along outflow channel) (Station 00512EGC12).

EGC617
Surface orange-yellow sediments from around recently inactive spring south of Big Cauldron.

EGC618
Subsurface (~1-5 mm below surface orange-yellow sediments) yellow and black (anoxic) sediments from around recently inactive spring south of Big Cauldron.

EGC619
Nine pieces of limestone with various types of coatings and surface textures from shore (above water) at Station 100512EGC10.  

EGC620
Surficial “blueberries” from flats west of Big Cauldron (form essentially a monolayer).

++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1a.7. East German Creek Springs Complex – precipitates from water samples at 2010 field visit

Samples evaporated in air and precipitate recovered.

EGC EVAP1
Bulk precipitate; station 1.

EGC EVAP2
Bulk precipitate; station 2.

EGC EVAP3
Bulk precipitate; station 3.

EGC EVAP4
Bulk precipitate; station 4.

EGC EVAP6
Bulk precipitate; station 6.

EGC EVAP7
Bulk precipitate; station 7.

EGC EVAP8
Bulk precipitate; station 8.

EGC EVAP9
Bulk precipitate; station 9.

EGC EVAP10
Bulk precipitate; station 10.

EGC EVAP11
Bulk precipitate; station 11.

EGC EVAP12
Bulk precipitate; station 12.

EGC EVAP1
Large single crystal; station 1.

EGC EVAP1
Large single crystal; station 2.

+++++++++++++++++++++++++++++++++++++++++++++++

20.1.1a.8. East German Creek Springs Complex – sediments and rocks from outflow creek – May 2010

EGC2-s1
Brown and red sediments from eddy in outflow creek at Station 2.

EGC3-s1
Sediments from outflow creek at Station 3.

EGC3-r1
Exposed rocks in outflow creek at Station 3.

EGC4-s1
Sediments from outflow creek at Station 3.

EGC6-s1
Sediments from outflow creek at Station 3.

EGC7-s1
Sediments from outflow creek at Station 3.

EGC8-s1
Sediments from outflow creek at Station 3.

EGC9-s1
Sediments from outflow creek at Station 3.

EGC10-s1
Sediments from outflow creek at Station 3.

EGC11-s1
Sediments from outflow creek at Station 3.

EGC11-s2
Sediments from shore of outflow creek, and rocks, at Station 3.

EGC12-s1
Sediments from outflow creek at Station 3.

EGC12-s2
Sediments from shore of outflow creek, and rocks, at Station 3.

++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1a.9. East German Creek Springs Complex – water samples from outflow channel – Sept. 25, 2011

EGCW01
Water sample 1 (1 litre bottle), 0 metres from Big Cauldron (station 1).

EGCW02
Water sample 2 (1 litre bottle), 40 metres from Big Cauldron (station 2).

EGCW03
Water sample 1 (1 litre bottle), 90 metres from Big Cauldron (station 3).

EGCW04
Water sample 1 (1 litre bottle), 130 metres from Big Cauldron (station 4).

EGCW06
Water sample 1 (1 litre bottle), 270 metres from Big Cauldron (station 6).

EGCW07
Water sample 1 (1 litre bottle), 340 metres from Big Cauldron (station 7).

EGCW08
Water sample 1 (1 litre bottle), 450 metres from Big Cauldron (station 8).

EGCW09
Water sample 1 (1 litre bottle), 550 metres from Big Cauldron (station 9).

EGCW10
Water sample 1 (1 litre bottle), 650 metres from Big Cauldron (station 10).

EGCW11
Water sample 1 (1 litre bottle), 720 metres from Big Cauldron (station 11).

EGCW12
Water sample 1 (1 litre bottle), 820 metres from Big Cauldron (station 12).

++++++++++++++++++++++++++++++++++++++++++++++

20.1.1a.10. East German Creek Springs Complex: Sediment "Bricks" for surface spectra – collected September 25, 2011

Note: "bricks" of samples excavated at site with surface textures preserved for larger-scale spectral analysis. "Brains" are likely algal mats.

BRICK1
On crest of Big Cauldron, 2 metres east of central vent: iron-stained carbonate concretions ("pavement").

BRICK2
10 metres WSW of Big Cauldron: red-stained "brains".

BRICK3
10 metres W of Big Cauldron: white-encrusted "brains".

BRICK4
50 metres WSW of Big Cauldron: black "brains".

BRICK5
80 metres W of Big Cauldron: light-medium brown fine-grained outwash sediments.

BRICK6
90 metres W of Big Cauldron: red-stained, medium grained outwash sediments.

BRICK7
20 metres W of Big Island "neck": black "brains" on buff-coloured sediments.

BRICK8
75 metres W of Big Island "neck": typical red-brown fine- to medium-grained outwash sediments.

BRICK9
Near Station 8: gray film, flat algal mat (~150 m WNW of Big Island).

++++++++++++++++++++++++++++++++
20.1.1a.11. East German Creek Springs Complex: collected August 7, 2015 

- Devonian limestone from reef outcrop on highway 483


- Algal mats and algal “carpet” from outflow channel flats


- Salt-weathered cobbles

EGC160
Fossiliferous Devonian limestone from second (major) reef outcrop on Hwy 483.

EGC161
Fossiliferous Devonian limestone from second (major) reef outcrop on Hwy 483.

EGC162
Fossiliferous Devonian limestone from second (major) reef outcrop on Hwy 483.

EGC163
Devonian limestone with post-deposition crystalline calcite vein fill from second (major) reef outcrop on Hwy 483.

EGC164
Salt-weathered limestone cobble from EGC flats near Big Island.

EGC165
Salt-weathered limestone cobble from EGC flats near Big Island.

EGC170
Black brains – collected ~70 m north of Big Cauldron (air-dried).
EGC171
Black sandy substrate underneath red brains: collected ~70 m north of Big Cauldron (air-dried).

EGC172
Red brains (overlying black sandy substrate (EGC171): collected ~70 m north of Big Cauldron (air-dried).

EGC173
White brains: collected ~70 m north of Big Cauldron (air-dried).

EGC174
“Carpet”: collected ~250 m along outflow channel from Big Cauldron, close to entrance to site.

+++++++++++++++++++++++++++++++++++++
20.1.1a.12. East German Creek Springs Complex: collected July 21, 2016 

- Devonian limestone from reef outcrop on highway 483 (EGC059, 060)

- Algal mats and algal “carpet” from outflow channel flats

EGC050
“Black brains” – black crenulated algal mat; beige on lower surface. Collected somewhat wet along outflow channel near tree line.

EGC051
“Carpet” – smooth beige algal mat with beige sediments on surface; red-brown on underside; ~1-3 mm thick. Collected along Big Cauldron outflow channel.

EGC052
“Carpet” – smooth medium brown-beige algal mat with beige sediments on surface; brown-olive on underside; ~2-6 mm thick. Clear evidence of algal layer below surface sediments; cross section shows multiple layers. Collected along Big Cauldron outflow channel.

EGC053
“Black Brains Carpet” – crenulated black algal mat with intermittent beige sediments; beige-brown on underside; ~1-3 mm thick. Some desiccation (turned up edges) Collected along Big Cauldron outflow channel.

EGC054
“Red brains” – red crenulated algal mat with black anoxic sediments underneath. Collected adjacent to Big Cauldron.

EGC055
“Red brains” – red crenulated algal mat with black anoxic sediments underneath. Collected adjacent to Big Cauldron.

EGC056
“White brains” – white crenulated algal mat with red-brown sediments underneath. White due to mineral precipitates (halite and maybe gypsum).  Collected near Big Cauldron.

EGC057
“Black brains” – black crenulated algal mat; black-grey sediments on lower surface. Collected somewhat wet, near Big Cauldron.

EGC058
“Black brains” – black crenulated algal mat; black-grey sediments on lower surface. Collected somewhat wet, near Big Cauldron. Sample got somewhat jumbled on return journey.

EGC059
Fossiliferous limestone: beige, fine-grained with a few embedded brachiopod fossils. Collected at first reef outcrop on secondary road to EGC.

EGC060
Fossiliferous limestone with medium-grained calcite vein filling. Collected at first reef outcrop on secondary road to EGC.

EGC061
White and gray medium-grained sediments from floor of bubbling spring at site of active vent.

EGC062
Grey sediments – mud volcanoes field near Big Cauldron.

+++++++++++++++++++++++++++++++++
20.1.1a.13. East German Creek Springs Complex: collected May 9, 2017 
EGX001
Black brains – sheet

EGX002
Black brains – sheet (less continuous black brains coverage)

EGX003
Black brains – sheet (less continuous black brains coverage)

EGX004
Black brains – sheet (less continuous black brains coverage)

EGX005
Red “carpet” – red-stained sediments-covered algal mat

EGX006
Red “carpet” – red-stained sediments-covered algal mat

EGX007
Red “carpet” – red-stained sediments-covered algal mat

EGX008
Red brains – red-stained crenulated sheet

EGX009
Red brains – red-stained crenulated sheet

EGX010
White brains – white precipitated encrusted crenulated algal mat

++++++

EGX011
Anoxic black mud from Big Cauldron periphery (below red oxic layer)

EGX012
Gray silt from Big Cauldron periphery (underwater)

EGX013
Very porous, fine-grained loose red sediments from upper part of Big Cauldron periphery (surficial layer)

EGX014
Gray silt from Big Cauldron periphery (underwater)

+++++++++++++++++++++++++++++++++
20.1.1.a.14. East German Creek carbonate reef complex

Samples collected August 8, 2018 during rover trials at carbonate reef exposed in road cut at EGC site turnoff. Collected to examine biogenic versus abiogenic carbonate discrimination

EGC250
Limestone cobble (~15 cm) with various fossils and exposed medium-grained carbonate vein fill.

EGC251
Limestone cobble (~10 cm) with coarse crystalline fill of shell fossil.

EGC252
Limestone cobble (~8 cm) with exposed coarse-grained carbonate vein fill.

EGC253
Limestone cobble (~20 cm), fossil-rich with irregularly-textured exterior weathered surface and shell-rich.

EGC254
Limestone cobble (~20 cm), fossil-rich with irregularly-textured exterior weathered surface and shell-rich.

EGC255
Limestone cobble (~8 cm) with rough-textured white carbonate coating (from subsequent groundwater flow-deposition?).
EGC256
Limestone cobble (~15 cm) with rough-textured white carbonate coating (from subsequent groundwater flow-deposition?).

EGC257
Limestone cobble (~25 cm) with coarse-grained carbonate vein fill.

EGC258
Limestone cobble (~25 cm) with unexposed coarse-grained carbonate vein fill.

EGC259
Limestone cobble (~25 cm), fossil-rich with irregularly-textured exterior weathered surface and shell-rich.

EGC260
Limestone cobble (~5 cm) with mostly coarse-grained carbonate vein fill (exposed).
EGC261
Limestone cobble (~5 cm) with fossilized shell and white carbonate coating (from subsequent groundwater flow/deposition?).

EGC262
Small (~4 cm) fossilized coral.

EGC263
Limestone cobble (~5 cm) with mostly coarse-grained carbonate vein fill (exposed).

EGC264
Limestone cobble (~20 cm) with coarse-grained carbonate vein fill.

+++++++++++++++++++++++++++++++++++++++++
20.1.1a.15. East German Creek – samples collected during rover deployment: July 2018

Abbreviations: R: Region of interest; T: Target of interest. Pictures of each target available.
ROI 8-1

ROI 10-1

ROI 1-1

ROI 1-2

ROI 1-3

ROI 3-1

ROI 4-1

ROI 4-2

ROI 11-1

ROI 7-2

ROI 7-3

ROI 5-2

ROI 2-1

ROI 3-2

ROI 4-3

ROI 5-1

ROI 7-1

ROI 8-2

ROI 9-1

ROI 9-2

ROI 3-3

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1.a.16. Samples collected during September 2021 raod trip

· Located on south side of PTH 483, ~14 km in, at third carbonate reef

· Accessible by bush road (~200 metres west of turn-off)

· Coordinates from Google Maps – access point: 52.753696° N; 100.877176° W.

EGCCA1

East German Creek “carpet”: sediment covered cyanobacterial layer – air-dried.~12x15 cm section; medium brown; collected 5 metres south of bush trail entrance to site.

EGCCC1

East German Creek: “Crater carpet” – carpet adjacent to Big Cauldron?; 2 pieces, each ~8 cm across; gray brown with salt stains.

EGCBB1

East German Creek: “Black brains” – highly crenulated cyanobacterial mat with underlying anoxic layer; mostly black with scattered gray and red spots; broken into a few adjacent fragments, ~3-8 cm in diameter; ~40 metres southwest of Big Cauldron.

EGCRB1

East German Creek: “Red brains” – moderately crenulated cyanobacterial mat with underlying anoxic layer; largely red-brown (may have been slightly crushed during transport); 1 intact piece, ~8 cm in diameter; ~30m south of Big Cauldron.

EGCRB2

East German Creek: “Red brains” – highly crenulated cyanobacterial mat with underlying anoxic layer; largely red-brown; 1 intact piece, ~15 cm in diameter; ~30 metres south of Big Cauldron.

EGCWB1
East German Creek: “White brains” – highly crenulated cyanobacterial mat with underlying anoxic layer; white/gray/brown mottled, with abundant light-coloured precipitates; 2 adjacent pieces, ~8 cm in diameter; ~30 metres southwest of Big Cauldron.

EGCPA1

“Pavement” – lithified oolites adjacent to Big Cauldron; red-brown stained; 7 ~2-4 cm diameter disks.

EGCCB1

“Carpet brains”; slightly crenulated sediment-rich mottled gray to brown thin coherent carpet layer; 2 large pieces, ~30 cm in diameter.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1.2a. Sample Descriptions - Salt Point Springs Area
20.1.2a.1. Salt Point Springs Area - samples collected October 21, 2011
SP001
Cemented calcite oolites from spring mound – north Salt Point spring complex (Mound 5).

SP002-004
Three gypsum-encrusted carbonate disks from area of Mound 13.

Water samples:

Mound 6a
Water sample from flowing mound (250 ml collected).

Mound 6b
Water sample from flowing mound (250 ml collected).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.3a. Sample Descriptions - McArdle Salt Works

20.1.3a.1. McArdle Salt Works - samples collected August 24-26, 2005

SS101
McArdle Saltworks area: brainy crust.

SS102
McArdle Saltworks area?: clasts and sediments.

SS103
McArdle Saltworks area: “brains”.

SS104
McArdle Saltworks area: 50 metres from Red Deer River outflow: banded rock: black at/above waterline; red above that; buff-orange at highest point.

++++++
EGC150
SS101 - McArdle Salt Works, crust.

EGC151
SS102 - McArdle crusted rocks.

EGC152
SS103 - McArdle brains.

EGC153
SS104 - McArdle outflow to Red Deer River, banded rock black at/above water line, red above that, buff/orange at highest level.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.4a. Sample Descriptions - Mafeking Quarry (North Quarry)
20.1.4a.1. Mafeking Quarry - samples collected August 24-26, 2005

SS201
North Mafeking Quarry: wall of solution channel closest to access road from the south quarry (left hand side).

SS300-303
Four silica nodules from Mafeking quarry solution chimney SC-18 (gathered June 21, 2009).

SS400
Quartz-lined fracture from “second” carbonate reef – 8 km along secondary highway to East German Creek salt springs.
++++++
EGC140
SS201 - Mafeking North Quarry, walls of solution channel.

+++++++++++++++++++++++++++++++++++++++++++

20.1.4a.2. Mafeking Quarry – March 2008 - solution chimney samples from Steve Grasby (GSC)

Samples received from Steve Grasby – March 2008 (GSC – Calgary)

SC1C
Silica nodule from SC-1C solution chimney

SC5S
Silica nodule from SC-5S solution chimney

SC16S
Silica nodule from SC-16S solution chimney

SC17S
Silica nodule from SC-17S solution chimney

++++++++++++++++++++++++++++++++++++++++++++

20.1.4a.3. Mafeking Quarry - samples self-collected - June 2008.

SC-9 
Sample of chimney infill (blue clay and powdered silica sinter) collected from solution chimney #9 – June 13, 2008 by Cloutis et al.

SC-18-1
Silica nodule (larger) from solution chimney SC-19 (collected June 21/09).

SC-18-2
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-3
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-4
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-5
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-6
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-7
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-8
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-9
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-10
Silica nodule from solution chimney SC-19 (collected June 21/09).

SC-18-20
“Host” silica (?) sand of silica nodules from solution chimney SC-19 (collected June 21/09).

SC-18-21
Clay lining of solution chimney SC-19 (collected June 21/09).

SC-19-1
Silica nodule from solution chimney SC-19 (collected June 21/09). Was SC-19-1.

SC-19-2
Silica nodule from solution chimney SC-19 (collected June 21/09). Was SC-19-2.

SC-19-3
Silica nodule from solution chimney SC-19 (collected June 21/09). Was SC-19-3

+++++++++++++++++++++++++++++++++++++++

20.1.4a.4. Mafeking Quarry – May 11-13, 2010 (MAF600 series)

MAF600
Five silica nodules from solution chimney SC-9 with adhering green-blue clay.

MAF601
Larger irregular silica nodule from south of SC-9 (loose).

MAF602
Silica nodule on way to SC-9.

MAF603
Large half of silica nodule (loose), found near SC-9, with adhering blue-green clay.
MAF604
Small irregular silica nodule from south of SC-9 (loose). Rubly textured surface with dark colored lichen on one side and sandy color on the other side.
++++++++++++++++++++++++++++++++++++++++++++++

20.1.4a.5. Mafeking Quarry – September 25, 2011 (MAF700 series)

MAF700
Fist-sized silica nodule from spoil pile on west wide of North Quarry.

MAF701
Boulder from solution chimney (found loose) with rounded precipitated calcite crystals lining walls.

MAF702
Fist-sized silica nodule from spoil pile on west side of North Quarry.

MAF703
Fist-sized silica nodule from spoil pile on west side of North Quarry.

MAF704
Friable interior iron-stained silica nodule from spoil pile on west side of North Quarry.

++++++++++++++++++++++++++++++++++++++++++++++

20.1.4a.6. Mafeking Quarry – May 21, 2013 (MAF800 series)

(see also FOS018)

MAF800
Broken softball-size silica nodule on walk to solution chimney 9.

++++++++++++++++++++++++++++++++++++++++++++++

20.1.4a.7. Mafeking Quarry – August 8, 2018 (MAF900 series)

MAF900
Silica nodule (~10 cm): irregular, rough gray exterior, with solid gray and orange-stained solid interior.

MAF901
Silica nodule (~8 cm): irregular, rough gray exterior, with solid beige-gray interior and endoliths at rock-soil interface (i.e., lower surface in contact with ground).

MAF902
Silica nodule (~3 cm): irregular beige exterior surface and solid beige interior.

+++++++++++++++++++++++++++++++++++++++
20.1.4a.8. Samples from September 2021 road trip

· Located on west side of Highway 10, ~3.3 km north of PTH 483 junction

· Accessible along edge of fence line at south end of quarry

· Older coordinates: 52° 34’ 3” N; 101° 05’ 25”0 W.

MAFSC1
~15 cm brown/red stained limestone cobble from collapsed solution chimney, south end of North Quarry.

MAFSN1-3
Three not in situ silica nodules along west side of North Quarry; 8-20 cm in size.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1.5. East German Creek endolith samples for Jennifer Ronholm

IDs on vials:

EGC endolith
Top white

EGC endolith
Black layer

EGC endolith
Bottom brown

From East German Creek?:

Endolith A
interior, orange

Endolith A
interior white

Endolith A
exterior mix

Endolith A
bulk
Evan’s sample
bulk
20.1b. XRD Data - East German Creek Area
20.1.1b.1. East German Creek Springs area - Quantitative XRD from Steve Grasby (GSC)

From Steve Grasby - Geological Survey of Canada (January 2007) - quantitative XRD

Sample
Gypsum
Quartz
Calcite
Dolomite
Halite
Others (all in %)

EGC119
79


20

1

EGC200
15

2
57

26

EGC201
22

1
62

15

EGC202
31

4
61

4

EGC203
45

trace
41

14

EGC204
trace

trace
96

4

EGC205
13

2
56

29

EGC206
13

5
53

29

EGC207
26

12
48
3
11

EGC208
trace

trace
91
1
8

EGC212
17

trace
69

14

EGC213
3

2
78
2
14

graphite?-1

EGC214



94

6

EGC218


71
trace
29

EGC317a
trace

trace
96
2
2

EGC329


3
88
3
6

EGC336



100





++++++++++++++++++++++++++++++++++++++++

20.1.1b.2. East German Creek samples: University of Manitoba XRD analysis – November 2011
BRICK1
Calcite only crystalline phase identified; some minor peaks unmatched.

BRICK2
Calcite (major), halite (major), gypsum (major) identified.

BRICK3
Calcite (major), halite (major), gypsum (major) identified.

BRICK4
Calcite (major), halite (major), gypsum (major) identified.

BRICK5
Calcite (major) and minor aragonite only crystalline phases identified.

BRICK6
Calcite (major) and halite (major) identified.

BRICK7
Calcite (major), halite (major), gypsum (minor) identified.

BRICK8
Calcite (major), halite (major), gypsum (minor), quartz (minor) identified.

BRICK9
Halite (major), calcite (major), gypsum (moderate) identified.

EGC119 (<45 μm)
Major gypsum, calcite, and halite identified (subsample crushed for XRD). [10 m SW of Big Cauldron, crust adjacent to pool].
EGC200 (<45 μm)
Gypsum, calcite, halite, and minor quartz identified (subsample crushed for XRD). [Red soil].
EGC201 (<45 μm)
Gypsum, halite, calcite, and minor quartz identified (subsample crushed for XRD). [Yellow soil].

EGC202 (<45 μm)
Gypsum, calcite, halite, and minor quartz identified (subsample crushed for XRD). [Brown soil].

EGC203 (<45 μm)
Major gypsum, calcite, halite, and minor quartz identified (subsample crushed for XRD). [White brains].

EGC204 (<45 μm)
Major calcite, moderate halite, moderate calcite, and minor quartz identified (subsample crushed for XRD). [Brown pavement].

EGC205 (<45 μm)
Calcite, gypsum, halite, and minor quartz identified (subsample crushed for XRD). [Black brains].

EGC206 (<45 μm)
Calcite, gypsum, halite, and minor quartz identified (subsample crushed for XRD). [Buff soil].

EGC207 (<45 μm)
Calcite, gypsum, halite, and quartz identified (subsample crushed for XRD). [Buff sand].

EGC208 (<45 μm)
Major calcite, moderate halite, minor dolomite, and minor quartz identified (subsample crushed for XRD). [Trench 1 in red sand; first layer 0-3 mm, red sand layer].

EGC212 (<45 μm)
Calcite, halite, gypsum, and minor quartz identified (subsample crushed for XRD) [Trench 2 by Big Cauldron, 1st layer, 0-1mm depth].

EGC213 (<45 μm)
Major calcite, halite, minor gypsum, minor dolomite, minor quartz, and minor graphite (?) identified (subsample crushed for XRD) [Trench 2 by Big Cauldron, 2nd layer, 1mm-3cm depth; red fine soil].
EGC214 (<45 μm)
Calcite and halite identified, plus one low-angle unidentified peak (subsample crushed for XRD). [Trench 2, >3cm deep, yellow, fine-grained soil].
EGC218 (<45 μm)
Quartz, dolomite, and calcite peaks identified (subsample crushed for XRD). [Iron-stained, etched buff limestone].
EGC317 (<45 μm)
Calcite, minor gypsum, minor halite, minor dolomite, and minor quartz identified (subsample crushed for XRD) [Pit 1, sample 4, >15 mm depth; yellow-gray soil].

EGC329 (<45 μm)
Calcite, dolomite, minor halite, and minor quartz identified (subsample crushed for XRD). [Red travertine pavement].
EGC336 (<45 μm)
Only dolomite identified (subsample crushed for XRD). [Downstream creek white pitted rock].
+++++++++++++++++++++++++++++++++++++++
20.1.1b.2. East German Creek Springs area: Quantitative XRD analysis from Steve Grasby Nov. 2011


EGC600*
EGC601
EGC601B
EGC602
EGC604
EGC606
EGC608
EGC609*
EGC610

Quartz

2
1
1
1
1
3
5
6

Plag


tr

K-feld

Muscov








tr

Diopside
tr

Calcite
83
80
94
87
95
95
95
92
92

Dolomite
1
9
1
1
1
1
2
3
2

Halite
15
10
4
11
3
3

Gypsum
1

Sylvite

Pyrite

1



tr





G of F
1.77
2.55
2.46
2.41
2.41
2.49
2.45
2.25
2.75



EGC611*
EGC612*
EGC613
EGC615
EGC617
EGC618
EGC620

Quartz
9
6
21
3
2
4

Plag


2
1
tr
1

K-feld


tr
tr
tr

Muscov
tr

Diopside


Calcite
84
86
61
90
80
80
96

Dolomite
7
8
16
6
7
9
2

Halite




11
6
2

Gypsum


Sylvite

Pyrite









G of F
2.39
2.39
3.44
2.62
2.25
2.39
2.19


G of F: goodness of fit. tr: trace. * - smear mount

+++++++++++++++++++

All EGC-xx-xx


07-01
07-02
07-03
07-04
07-05*
07-06
07-07
07-08
07-09

Quartz


Plag


K-feld

Muscov


Diopside


Calcite


Dolomite


Halite
92
92
93
89
90
85
90
91
93

Gypsum
8
8
7
11
9
15
10
9
7

Sylvite




1

Pyrite











G of F
3.22
2.33
2.85
2.36
2.19
2.07
1.93
2.03
2.85


G of F: goodness of fit. tr: trace. * - smear mount

+++++++++++++++++++

All EGC-xx-xx


07-10
07-11
07-123
07-13
07-14
07-15
07-16
07-17
07-18
07-19

Quartz


Plag


K-feld

Muscov


Diopside


Calcite







1

Dolomite


Halite
88
90
92
93
92
86
93
93
94
90

Gypsum
12
9
8
7
8
14
7
6
6
9

Sylvite

1






tr
1

Pyrite












G of F
2.19
2.59
3.02
2.45
2.74
2.36
2.19
2.49
2.75
2.15


G of F: goodness of fit. tr: trace. * - smear mount

+++++++++++++++++++

All EGC-evap-xxxx


1
1-1000
2
2-1000
3-1000
4-1000
6-1000*
7-1000*
8-1000*

Quartz


1

Plag


K-feld

Muscov


Diopside


Calcite

tr
1



3
1
2

Dolomite





1

Halite
97
91
86
98
91
90
94
93
95

Gypsum
3
9
12
2
9
9
3
5
2

Sylvite







1
1

Pyrite











G of F
1.97
3.32
3.26
2.05
3.74
2.88
3.42
3.51
2.86


G of F: goodness of fit. tr: trace. * - smear mount

+++++++++++++++++++

All EGC-evap-xxxx


9-1000*
10-1000*
11-1000*
12-1000*

Quartz


Plag


K-feld

Muscov


Diopside


Calcite
2
3
1
2

Dolomite


Halite
95
93
97
95

Gypsum
2
3
1
3

Sylvite
1
1
1
tr

Pyrite






G of F
3.07
3.28
3.17
3.43


G of F: goodness of fit. tr: trace. * - smear mount

+++++++++++++++++++


GSQ008
GSQ008
GYP202
GYP202
GYP204
GYP204
GYP281
GYP281


<45
90-1000
<45*
90-1000
<45*
90-1000
<45
90-1000

Quartz
2
2
35
45
3
tr
7
17

Plag


1

K-feld
1
1
2
1

Muscov


Chlorite

Calcite
2

1


3

Dolomite
78
86
61
54

Halite
1

Gypsum
16
12


92
94
93
83

Anhydrite




5
3
tr
tr

Celestite










G of F
2.91
2.92
3.69
2.59
4.07^
3.69
3.85
3.15


G of F: goodness of fit. tr: trace.
* - smear mount

^ - SEM: S, Ca and traces of Si, O, no phosphorus.

+++++++++++++++++++

20.1.1b.2. East German Creek Springs area: Quantitative XRD analysis from Steve Grasby Nov. 2011


GYP613
GYP613
GYP650
GYP650
Gr. size (µm)
<45
90-1000
<45
90-1000

Quartz

3
22
27

Plag


K-feld


1
1

Muscov
5
5

Chlorite
10
10

Calcite


tr

Dolomite
78
68
77
72

Halite


Gypsum
5
6

Anhydrite


Celestite
2
8




G of F
4.42a
3.09b
2.48
2.79


G of F: goodness of fit. tr: trace. * - smear mount

a – High 14.8 Angstrom peak, Montmorillonite/hydrobiotite? Possible ML?

b – High 14.8 Angstrom peak. Montmorillonite/hydrobiotite?

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1.4b. XRD Data - Mafeking Quarry area

20.1.4b.1. Mafeking Quarry samples: University of Manitoba XRD analysis – November 2011

SC-9

(Clay lining in solution chimney #9 at Mafeking quarry). XRD shows major quartz, minor siderite, and minor kaolinite, plus some noise (amorphous component?) in the spectrum. From Raven Sharma – U of M: Nov. 2011.

+++++++++++++++++++++++++++++++++++++++++
20.1.4b.2. Mafeking Quarry area: Quantitative XRD analysis from Steve Grasby Nov. 2011

Mafeking silica nodules and clay


SC-18-01
SC-18-01
SC-18-20
SC-18-20
SC-18-21
SC-18-21


<45
90-1000
<45*
90-1000
<45
90-1000

Quartz
100
100
100
100
62
74

Plag


tr

4
4

K-feld




6
4

Muscov




22
12

Kaolinite

Chlorite




7
6

Dolomite
tr







G of F
2.94
2.79
2.96
2.32a
4.38
4.91b

G of F: goodness of fit. tr: trace.
* - smear mount

a – "Will make a good quartz standard!"

b – Illite. Clinochlore to be verified

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1b. XRD data from University of Manitoba

Sample ID

Description

E001 (EGC001?)

Calcite
E007 (EGC007?)

Calcite, halite, gypsum
E008 (EGC008?)

calcite, halite, gypsum
SC-9

Quartz, siderite, kaolinite

SH009 (?)

Quartz, hematite

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1c. Compositional Data - East German Creek Area 

20.1.1c. Compositional Data – East German Creek
Wt. %
EGC050
EGC051
EGC053
EGC056
EGC060
EGC062
SiO2
22.12
14.24
18.12
5.77
4.02
3.76
TiO2
0.17
0.12
0.18
0.04
0.06
0.03
Al2O3
3.57
2.52
3.40
0.69
1.11
0.61
(Fe2O3)*
2.01
5.40
2.21
7.32
0.55
5.46
Fe2O3
0.09
3.08
0.04
4.74
0.05
4.42
FeO
1.73
2.00
1.95
2.32
0.45
0.94
MnO
0.07
0.09
0.11
0.06
0.04
0.05
MgO
6.10
5.00
7.00
1.91
0.57
1.20
CaO
58.47
58.78
48.48
79.39
92.87
74.56
Na2O
4.52
10.45
13.66
2.80
0.00
1.79
K2O
0.78
1.13
1.26
0.49
0.08
0.19
P2O5
0.11
0.20
0.26
0.06
0.02
0.05

SO3
0.00
0.04
0.00
0.21
0.04
10.78

Cl
1.51
1.96
4.75
0.89
0.09
1.28



TOTAL
99.43
99.93
99.43
99.63
99.45
99.76
LOI
38.98
42.65
49.40
42.81
43.02
38.36



ppm
Rb
22
26
27
17
5
9

Sr
1567
1731
1290
3205
307
1373
Zr
<2
<2
<2
<2
24
<2
V
28
17
33
7
12


Cr
<2
<2
<2
<2
<2
<2
Co
Ba
292
177
183
85
54



Ni








Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1c. Compositional Data – East German Creek
Wt. %
EGC170
EGC172
EGC173
EGC174
EGC348
SiO2
14.06
7.09
5.48
18.59
6.45
TiO2
0.12
0.04
0.03
0.14
0.06
Al2O3
1.90
0.62
0.57
2.74
1.06
(Fe2O3)*
1.47
15.64
6.32
6.08
3.22
Fe2O3
0.03
13.71
4.63
4.17
2.10
FeO
1.30
1.74
1.52
1.72
1.01
MnO
0.10
0.05
0.04
0.13
0.05
MgO
7.58
3.16
2.07
7.01
2.43
CaO
68.74
68.64
84.05
60.31
82.56
Na2O
3.93
2.54
0.81
3.24
2.77
K2O
0.62
0.30
0.19
0.54
0.24
P2O5
0.21
0.10
0.07
0.45
0.05
SO3
0.00
0.06
0.00
0.00
0.03
Cl
0.49
0.91
0.00
0.64
0.51
TOTAL
99.22
99.15
99.63
99.87
99.43
LOI
50.79
43.13
42.67
54.23
43.61
ppm
Rb
18
10
12
10
7
Sr
3180
3150
3920
1972
1652
Zr
<2
<2
<2
<2
<2
V
18
7
<2
31
10
Cr
<2
<2
<2
<2
<2
Co

Ba
175
109
84
190
91
Ni








Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1c. Compositional Data – East German Creek
Wt. %
GYP056
GYP060
GYP062
GYP987
GypHill002
SiO2
1.44
0.64
2.10
1.77
2.14
TiO2
0.04
0.04
0.05
0.05
0.06
Al2O3
0.27
0.19
0.43
0.37
0.36
(Fe2O3)*
0.81
0.87
0.29
0.28
0.32
Fe2O3
0.41
0.68
0.12
0.16
0.22
FeO
0.36
0.17
0.15
0.11
0.09
MnO
0.03
0.03
0.03
0.03
0.03
MgO
0.92
0.01
0.91
0.69
0.66
CaO
40.73
41.89
40.02
41.13
41.56
Na2O
0.00
0.00
0.05
0.00
0.00
K2O
0.01
0.01
0.05
0.13
0.02
P2O5
0.01
0.00
0.01
0.00
0.01
SO3
55.35
55.82
55.24
55.35
55.14
Cl
0.08
0.05
0.09
0.04
0.05
TOTAL
99.69
99.55
99.27
99.84
100.35
LOI
22.57
21.58
22.14
21.48
21.97
ppm
Rb
18
21
12
16
10

Sr
4729
3627
1454
1583
1290
Zr
<2
<2
<2
<2
<2
V
11
4
7
<2
5
Cr
<2
<2
<2
<2
<2
Co



Ba
29
33
34
14
28
Ni








Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.4c. Compositional Data - XRF analysis of Mafeking Quarry samples
Wt. %
SC-5S
MAF602
MAF700
MAF701
SiO2
97.63
97.45
97.92
0.69
TiO2
0.02
0.00
0.02
0.01
Al2O3
1.27
0.51
0.35
0.27
(Fe2O3)*
(0.23)
0.01
(0.41)
1.39
Fe2O3
0.04
0.01
0.24
0.59
FeO
0.17
0.00
0.15
0.72
MnO
0.01
0.00
0.00
0.02
MgO
0.16
0.05
0.01
0.10
CaO
0.36
1.32
0.39
96.99
Na2O
0.01
0.00
0.00
0.00
K2O
0.03
0.02
0.04
0.02
P2O5
0.02
0.00
0.01
0.00
SO3

0.33
0.24


Cl

0.05



TOTAL
99.72
99.74
99.39
99.67
LOI
0.82
1.48
0.68
43.10
ppm
Rb

<2

2

Sr
80
270
1195
333
Zr
15
<2
48
<2
V
33
5
4
Cr
26
<2
18
<2
Co
5

27
Ba

175
Ni


20


Source
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1.4c. Compositional Data – Mafeking Quarry (continued)
Wt. %
MAF600a
MAF601
MAF604
MAF702
MAF704
MAF800
MAF900
SiO2
98.07
97.91
97.59
98.63
97.69
98.35
98.52
TiO2
0.00
0.01
0.01
0.00
0.01
0.00
0.00
Al2O3
0.27
1.09
0.83
1.19
0.80
1.25
0.86
(Fe2O3)*
0.00
0.07
0.22
0.00
0.18
0.00
0.00
Fe2O3
0.00
0.07
0.16
0.00
0.18
0.00
0.00
FeO
0.00
0.00
0.05
0.00
0.00
0.00
0.00
MnO
0.00
0.00
0.00
0.00
0.01
0.00
0.00
MgO
0.00
0.04
0.03
0.00
0.17
0.00
0.00
CaO
1.35
0.86
0.77
0.20
0.85
0.11
0.13
Na2O
0.00
0.00
0.00
0.00
0.00
0.00
0.00
K2O
0.02
0.08
0.04
0.02
0.05
0.02
0.01
P2O5
0.00
0.01
0.01
0.00
0.01
0.01
0.00
SO3
0.12
0.00
0.00
0.00
0.00
0.00
0.00
Cl
0.06
0.04
0.05
0.08
0.06
0.07
0.05
TOTAL
99.89
100.11
99.55
100.12
99.83
99.81
99.57
LOI
1.31
1.32
1.39
0.80
1.24
0.63
0.56
ppm
Rb
<2
5
4
<2
<2
<2
<2

Sr
169
200
669
247
59
111
17
Zr
<2
16
<2
18
<2
26
<2
V
13
8
14
8
2
8
7
Cr
<2
<2
<2
<2
<2
<2
<2
Co



Ba
75
198
183
234
79
166
53
Ni








Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - all Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.4c. XRF analysis of Mafeking Quarry samples - XRF Analyses (continued)

Wt. %
SC-9
SC-18-1
SC-18-01
SC-9C
SC-9N
SC-18-20
SC-18-21
SiO2
92.52
98.06
97.51
71.92
84.81
96.52
68.86

TiO2
0.02
0.03
0.05
0.66
0.07
0.23
0.86

Al2O3
0.52
1.03
1.17
13.20
1.15
1.78
17.45

(Fe2O3)*
(3.88)
(0.54)
0.20
6.68
8.08
0.37
2.42
FeO
3.04
0.09
0.17
3.08
6.22
0.32
0.59

Fe2O3
0.50
0.13
0.01
3.26
1.17
0.01
1.76

MnO
1.868
0.02
0.01
0.28
2.71
0.01
0.01

MgO
0.33
0.12
0.08
2.12
0.49
0.16
1.76

CaO
0.61
0.23
0.82
1.97
2.04
0.18
1.03

Na2O
0.11
0.03
0.00
0.04
0.00
0.00
0.08

K2O
0.08
0.13
0.15
2.66
0.31
0.33
6.81

P2O5
0.03
0.01
0.01
0.03
0.02
0.02
0.24

SO3
0.02
0.07



0.00


Cl





0.00
TOTAL
99.988
100.27
100.00
99.56
100.03
99.60
99.52

LOI
3.64
0.72
1.41
10.02
8.01
1.10
6.36

ppm

Rb


5
99
11
10
155

Sr
30
125
94
87
65
30
109

Zr
18
116
88
197
<2
305
170

V
39
17
Co
20

Cr
<1
80
<2
<2
<2
<2
21

Cu
355

Ni
3







Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
of analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - All Fe expressed as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.4c. XRF analysis of East German Creek summer 2018 rover trial (from Stan Mertzman – December 2018)
	
	DA18-29
	DA18-30
	DA18-31
	DA18-32
	DA18-33
	DA18-34
	DA18-35

	Specimen
	L1-R1-T1
	L1-R1-T2
	L1-R1-T3
	L1-R2-T1
	L1-R3-T1
	L1-R3-T3
	L1-R3-T3

	SiO2
	5.56
	2.54
	7.32
	3.29
	2.12
	2.65
	6.73

	TiO2
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00

	Al2O3
	0.35
	0.41
	0.83
	0.45
	0.20
	0.33
	0.12

	Fe2O3T
	12.68
	1.34
	4.80
	1.23
	8.66
	6.55
	20.70

	MnO
	0.01
	0.00
	0.01
	0.01
	0.04
	0.04
	0.02

	MgO
	1.92
	2.07
	3.05
	2.33
	1.34
	1.45
	1.25

	CaO
	70.70
	86.30
	79.54
	88.72
	86.06
	82.59
	62.41

	Na2O
	7.59
	5.96
	3.47
	3.00
	1.14
	5.47
	7.79

	K2O
	0.71
	0.64
	0.40
	0.18
	0.04
	0.40
	0.53

	P2O5
	0.13
	0.12
	0.10
	0.07
	0.09
	0.13
	0.13

	SO3
	0.25
	0.22
	0.21
	0.16
	0.23
	0.23
	0.09

	Total
	99.90
	99.60
	99.73
	99.44
	99.92
	99.84
	99.77

	LOI
	42.42
	48.23
	46.81
	43.20
	43.47
	41.49
	41.92

	FeO
	2.66
	0.86
	1.52
	0.38
	1.03
	1.59
	0.99

	Fe2O3
	9.72
	0.38
	3.11
	0.81
	7.52
	4.78
	19.60

	
	
	
	
	
	
	
	

	Sr
	2161
	2189
	2260
	2040
	1401
	1459
	1658

	Zr
	35
	40
	52
	41
	33
	35
	35

	V
	<2
	<2
	<2
	<2
	<2
	<2
	<2

	Cr
	<2
	<2
	<2
	<2
	<2
	<2
	<2

	Co
	<2
	<2
	<2
	<2
	<2
	<2
	<2

	
	
	
	
	
	
	
	

	%Cl
	2.14
	1.51
	0.74
	0.00
	0.00
	1.13
	0.00


	
	DA18-36
	DA18-37
	DA18-38
	DA18-39
	DA18-40
	DA18-41
	DA18-42

	Specimen
	L1-R4-T1
	L1-R4-T1
	L1-R4-T3
	L1-R5-T1
	L2-R7-T1
	L2-R7-T2
	L2-R7-T3

	SiO2
	6.32
	5.30
	5.20
	2.36
	5.23
	4.22
	7.65

	TiO2
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00
	0.00

	Al2O3
	0.99
	0.84
	0.89
	0.27
	0.80
	0.53
	0.95

	Fe2O3T
	3.13
	3.33
	2.71
	2.10
	5.75
	3.38
	4.08

	MnO
	0.01
	0.02
	0.01
	0.00
	0.01
	0.02
	0.02

	MgO
	2.62
	2.66
	2.39
	2.46
	3.00
	2.24
	2.80

	CaO
	83.92
	85.00
	87.33
	90.47
	83.68
	86.55
	76.77

	Na2O
	2.39
	2.31
	0.77
	1.46
	0.61
	2.29
	6.23

	K2O
	0.20
	0.11
	0.07
	0.11
	0.08
	0.10
	0.49

	P2O5
	0.08
	0.09
	0.07
	0.08
	0.08
	0.07
	0.10

	SO3
	0.35
	0.26
	0.44
	0.21
	0.20
	0.20
	0.43

	Total
	100.01
	99.92
	99.88
	99.52
	99.44
	99.60
	99.52

	LOI
	44.22
	44.86
	40.55
	43.65
	41.97
	44.60
	41.95

	FeO
	1.04
	0.93
	0.54
	0.31
	0.91
	1.34
	0.99

	Fe2O3
	1.97
	2.30
	2.11
	1.76
	4.74
	1.89
	2.98

	
	
	
	
	
	
	
	

	Sr
	1197
	1422
	1121
	2338
	1767
	2036
	1801

	Zr
	37
	40
	38
	45
	40
	48
	38

	V
	<2
	<2
	<2
	<2
	<2
	<2
	<2

	Cr
	<2
	<2
	<2
	<2
	<2
	<2
	<2

	Co
	<2
	<2
	<2
	<2
	<2
	<2
	<2

	
	
	
	
	
	
	
	

	%Cl
	0.24
	1.20
	0.00
	0.00
	0.00
	0.00
	5.33


	
	DA18-43
	DA18-44
	DA18-45
	DA18-46
	DA18-47
	DA18-48
	DA18-49

	Specimen
	L2-R8-T1
	L2-R8-T2
	L2-R9-T1
	L2-R9-T2
	L2-R10-T1
	L2-R11-T1
	ILL105

	SiO2
	0.00
	8.33
	8.13
	5.88
	0.01
	15.40
	57.09

	TiO2
	0.00
	0.00
	0.00
	0.00
	0.00
	0.04
	0.71

	Al2O3
	0.08
	0.68
	1.21
	0.77
	0.15
	1.95
	24.07

	Fe2O3T
	0.58
	3.14
	3.25
	3.57
	2.33
	2.92
	6.74

	MnO
	0.01
	0.03
	0.01
	0.02
	0.08
	0.02
	0.03

	MgO
	38.10
	4.90
	2.33
	2.20
	36.37
	5.39
	2.66

	CaO
	61.04
	81.62
	83.61
	86.62
	60.77
	65.21
	0.47

	Na2O
	0.07
	0.69
	1.05
	0.52
	0.06
	7.63
	0.24

	K2O
	0.00
	0.05
	0.09
	0.06
	0.00
	0.69
	8.03

	P2O5
	0.03
	0.08
	0.07
	0.07
	0.04
	0.15
	0.10

	SO3
	0.10
	0.13
	0.17
	0.12
	0.10
	0.17
	0.11

	Total
	100.01
	99.65
	99.92
	99.83
	99.91
	99.57
	100.25

	LOI
	48.19
	43.35
	42.22
	41.70
	47.34
	45.66
	6.67

	FeO
	0.33
	0.60
	0.80
	0.81
	0.31
	0.70
	1.43

	Fe2O3
	0.21
	2.47
	2.36
	2.67
	1.99
	2.14
	5.15

	
	
	
	
	
	
	
	

	Sr
	170
	1759
	1796
	1912
	308
	1471
	256

	Zr
	18
	35
	47
	43
	18
	92
	110

	V
	<2
	<2
	<2
	<2
	<2
	<2
	111

	Cr
	<2
	<2
	<2
	<2
	<2
	<2
	288

	Co
	<2
	<2
	<2
	<2
	<2
	<2
	10

	
	
	
	
	
	
	
	

	%Cl
	0.00
	0.00
	0.00
	0.00
	0.00
	3.78
	0.00


20.1d. Spectral Data - East German Creek area
Sample ID
Facility/File No.
Description









20.1.1d. East German Creek Springs Complex - Available Spectral Files

All are whole rock or soil spectra unless otherwise indicated.

“egc1” indicates prepared samples.

“egc2” indicates no sample preparation performed – raw soils or rock surfaces

EGC Brick3
PSF 111201a.004
surface; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

EGC Brick3
INO
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

++++++
EGC2-s1
PSF 100715a.001
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC3-s1
PSF 100715a.002
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

EGC3-r1
PSF 100715a.003
small rocks(?) (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC4-s1
PSF 100715a.004
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC6-s1
PSF 100715a.005
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC7-s1
PSF 100715a.006
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC8-s1
PSF 100715a.007
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC9-s1
PSF 100715a.008
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC10-s1
PSF 100715a.009
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++
EGC11-s1
PSF 100715a.010
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

EGC11-s2
PSF 100715a.011
sediments/rocks (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++

EGC12-s1
PSF 100715a.012
sediments (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

EGC12-s2
PSF 100715a.013
sediments/rocks (air-dried); 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100715_EGCseds].

++++++
++++++

EGC106
PSF egc2.052
red various clasts; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm resol., ASD.
EGC106
PSF egc2.053
orange various clasts; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm resol., ASD.

EGC106
PSF egc2.054
buff various clasts; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm resol., ASD.

++++++
EGC119
PSF egc1.010
Big Cauldron crust, white stuff; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC119
PSF egc2.026
Big Cauldron crust, white stuff; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC119
PSF egc2.027
Big Cauldron crust, white stuff; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC200
PSF egc1.011
red soil, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC200
PSF egc2.009
piece 1; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC200
PSF egc2.010
piece 2; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC201
PSF egc1.013
yellow soil, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC201
PSF egc2.011
piece 1, red side up; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC201
PSF egc2.012
piece 2, red side up; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC201
PSF egc2.013
piece 2, white side up; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC202
PSF egc1.005
brown soil, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC202
PSF egc2.014
“1.0000”?; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC202
PSF egc2.015
“2.0000”?; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC203
PSF egc1.015
white brains, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC203
PSF egc2.016
white side; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC203
PSF egc2.017
brown side; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC204
PSF egc1.014
brown pavement, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC204
PSF egc2.022
larger; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC204
PSF egc2.023
smaller; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC205
PSF egc1.008
black brains, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC205
PSF egc2.004
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC206
PSF egc1.016
buff soil, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC206
PSF egc2.008
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC207
PSF egc1.007
buff sand, surficial; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC207
PSF egc2.006
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC208
PSF egc1.009
Trench 1, red sand, 0-3 mm depth; 35°/0°; 0.35-2.5 µm; 500avg., 1 nm, ASD.

EGC208
PSF egc2.001
no description; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC212
PSF egc1.001
Trench 2, by Big Cauldron, surface, 0-1 mm depth; 35°/0°; 0.35-2.5 µm; 500avg., 1 nm, ASD.

EGC212
PSF egc2.002
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC213
PSF egc1.001
Trench 2, by Big Cauldron, layer 1, 1-30 mm depth; 35°/0°; 0.35-2.5 µm; 500avg., 1 nm, ASD.

EGC213
PSF egc2.005
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC214
PSF egc1.002
Trench 2, by Big Cauldron, layer 2, >30 mm depth; 35°/0°; 0.35-2.5 µm; 500 spectra averaged, 1 nm, ASD.

EGC214
PSF egc2.007
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC218
PSF egc1.004
iron-stained limestone; 35°/0°; 0.35-2.5 µm; 500avg., 1 nm, ASD.

EGC218
PSF egc2.028
red layer; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC218
PSF egc2.029
red layer; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC218
PSF egc2.030
red area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC219
PSF egc2.038
rock #4, grey top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC219
PSF egc2.039
rock #4, grey top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC219
PSF egc2.040
rock #4, reddish bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC221
PSF egc2.047
rock #6, reddest flat area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC221
PSF egc2.048
rock #6, reddest mottled area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC222
PSF egc2.058
rock #7, dark red; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC222
PSF egc2.059
rock #7, lighter red; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC317
PSF egc1.003
Pit #1, by Big Cauldron, sample 4, >15 mm depth; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC317
PSF egc2.003
same, in a sample cup; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC329
PSF egc1.006
Travertine pavement; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC329
PSF egc2.024
red layer; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC329
PSF egc2.025
red layer; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC331
PSF egc2.044
Black rock in creek: black area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC331
PSF egc2.045
Black rock in creek: silver area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC331
PSF egc2.046
Black rock in creek: brown bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC333
PSF egc2.049
Red rock in creek: reddest top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC333
PSF egc2.050
Red rock in creek: lighter area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC333
PSF egc2.051
Red rock in creek: black on bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC334
PSF egc2.035
Orange rock in creek; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC334
PSF egc2.036
Orange rock in creek: orange surface; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC334
PSF egc2.037
Orange rock in creek: grey bottom ridge; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC335
PSF egc2.031
White topped rock in creek; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC335
PSF egc2.032
White topped rock in creek: white top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC335
PSF egc2.033
White topped rock in creek: dark beige bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC335
PSF egc2.034
White topped rock in creek: white bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC336
PSF egc1.017
White limestone rock in creek; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC336
PSF egc2.018
White limestone rock in creek: white surface; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC336
PSF egc2.019
White limestone rock in creek: white surface; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC336
PSF egc2.020
White limestone rock in creek: white surface; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC336
PSF egc2.021
White limestone rock in creek: beige bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC339
PSF egc2.055
Orange-topped rock in creek; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC339
PSF egc2.056
Orange-topped rock in creek: grey on orange top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC339
PSF egc2.057
Orange-topped rock in creek: grey bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC340
PSF egc2.060
Orange-topped rock in creek; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC340
PSF egc2.061
Orange-topped rock in creek: red top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC340
PSF egc2.062
Orange-topped rock in creek: beige/orange/red bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC342
PSF egc2.041
Orange pitted rock: top orange; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC342
PSF egc2.042
Orange pitted rock: top orange; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC342
PSF egc2.043
Orange pitted rock: grey bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC343
PSF egc2.063
White pitted rock: white area; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC343
PSF egc2.064
White pitted rock: black tips on top; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

EGC343
PSF egc2.065
White pitted rock: brown bottom; 35°/0°; 0.35-2.5 µm; 500 avg., 1 nm res., ASD.

++++++
EGC620
PSF 111201a.051
unsorted grains; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

EGC620
PSF 111201a.028
whole rock; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

++++++
EGC EVAP1
PSF 100719a.001
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP2
PSF 100719a.002
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP3
PSF 100719a.003
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP4
PSF 100719a.004
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP6
PSF 100719a.005
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP7
PSF 100719a.006
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP8
PSF 100719a.007
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP9
PSF 100719a.009
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP10
PSF 100719a.008
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP11
PSF 100719a.010
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP12
PSF 100719a.012
<1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP1x
PSF 100719a.013
large single crystal; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

++++++

EGC EVAP2x
PSF 100719a.014
large single crystal; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD [directory: 100719_EGC_evap].

+++++++++++++++++++++++++++++++++++++++
20.1.1.1d. East German Creek Springs Complex – Field spectra (October 2, 2006)
Shot with D&P spectrometer in the field. Weather was partially overcast, necessitating frequent shots of reflectance standard (crinkled aluminum foil). Spectrometer located 32" above ground, providing a 2.5" field of view; 100 spectra shot to improve signal to noise.

EGC300
Transect 1, point B - surface soil: finer red sand. (Point A is Pit 2 surface). Shot field spectrum with D&P spectrometer. 5 metres south of point A.

EGC301
Transect 1, point C - surface soil: very fine buff silt. Shot field spectrum with D&P spectrometer.  4 metres south of point B.

EGC302
Transect 1, point D - surface soil: less red medium sand. Shot field spectrum with D&P spectrometer. 0.5 metres south of point C.

EGC303
Transect 1, point E - surface soil: buff silt. Shot field spectrum with D&P spectrometer. 4 metres south of point D.

EGC304
Transect 1, point F - surface soil travertine and buff silt; 50% of each in field of view. Shot field spectrum with D&P spectrometer. 2 metres south of point E.

EGC305
Transept 1, point G - surface soil. 1 metre south of point E.

EGC306
Transect 1, point H - surface soil: red-brown brains. Shot field spectrum with D&P spectrometer. 5 metres south of point G.

EGC307
Transect 1, point I - surface soil red brains. Shot field spectrum with D&P spectrometer. 7 metres south of point H.

EGC308
Transect 1, point J - surface soil: brown silt. Shot field spectrum with D&P spectrometer. Same location as point I.

EGC309
Transect 1, point K - surface soil: black brains. Shot field spectrum with D&P spectrometer. 4 metres south of points I and J.

EGC310
Transect 1, point L - surface soil: brown brains. Shot field spectrum with D&P spectrometer. 3 metres south and 3 metres east of point K.

EGC311
Transect 1, point M - surface soil: white brains. Shot field spectrum with D&P spectrometer. 3 metres south of point K.

EGC312
Transect 1, point N - surface soil: red silt with brains? Shot field spectrum with D&P spectrometer. 6 metres south of point M.

EGC313
Transect 1, point O - surface soil: red delta (recently abandoned channel). Shot field spectrum with D&P spectrometer. 15 metres west of point N.

EGC314
Pit 1 (50 cm north of edge of big cauldron), sample 1: 0-1 mm depth red soil.

EGC315
Pit 1 (50 cm north of edge of big cauldron), sample 2: 1-2 mm depth; anaerobic black layer.

EGC316
Pit 1 (50 cm north of edge of big cauldron), sample 3: 2-15 mm depth; medium brown sand.

EGC317
Pit 1 (50 cm north of edge of big cauldron), sample 4: >15 mm depth; yellow gray soil.

EGC318
Pit 2 (70 metres west of big cauldron). Sample 1: red sand, 0-1 mm depth.

EGC319
Pit 2 (70 metres west of big cauldron). Sample 2: light brown sand, 1-2 mm depth.

EGC320
Pit 2 (70 metres west of big cauldron). Sample 3: black-gray sand, 2-3 mm depth.

EGC321
Pit 2 (70 metres west of big cauldron). Sample 4: medium brown sand, 4 mm - 6 cm depth.

EGC322
Pit 2 (70 metres west of big cauldron). Sample 5: reddish gravel/sand, 6-30 cm depth.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.1d.15. East German Creek – samples collected during rover deployment: July 2018

ASD spectra: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4.Spectra of whole rock (no crushing or sample prep).
Abbreviations: R: Region of interest; T: Target of interest. Pictures of each target available.
ROI 8-1
PSF 180820a.00027.asd

[Directory: 180820 fast gypsumville]
ROI 10-1
PSF 180820a.00028.asd

[Directory: 180820 fast gypsumville]
ROI 1-1
PSF 180820a.00029.asd

[Directory: 180820 fast gypsumville]
ROI 1-2
PSF 180820a.00030.asd

[Directory: 180820 fast gypsumville]
ROI 1-3
PSF 180820a.00031.asd

[Directory: 180820 fast gypsumville]
ROI 3-1
PSF 180820a.00032.asd

[Directory: 180820 fast gypsumville]
ROI 4-1
PSF 180820a.00033.asd

[Directory: 180820 fast gypsumville]
ROI 4-2
PSF 180820a.00034.asd

[Directory: 180820 fast gypsumville]
ROI 11-1
PSF 180820a.00035.asd

[Directory: 180820 fast gypsumville]
ROI 7-2
PSF 180820a.00036.asd

[Directory: 180820 fast gypsumville]
ROI 7-3
PSF 180820a.00037.asd

[Directory: 180820 fast gypsumville]
ROI 5-2
PSF 180823a.00003.asd

[Directory: 180823 fast egc]
ROI 2-1
PSF 180822a.00001.asd

[Directory: 180822 fast gypsumville]
ROI 3-2 
PSF 180822a.00002.asd

[Directory: 180822 fast gypsumville]
ROI 4-3 
PSF 180822a.00003.asd

[Directory: 180822 fast gypsumville]
ROI 5-1 
PSF 180822a.00004.asd

[Directory: 180822 fast gypsumville]
ROI 7-1 
PSF 180822a.00005.asd

[Directory: 180822 fast gypsumville]
ROI 8-2 
PSF 180822a.00006.asd

[Directory: 180822 fast gypsumville]
ROI 9-1 
PSF 180822a.00007.asd

[Directory: 180822 fast gypsumville]
ROI 9-2 
PSF 180822a.00008.asd

[Directory: 180822 fast gypsumville]
ROI 3-3 
PSF 180822a.00009.asd

[Directory: 180822 fast gypsumville]
+++++++++++++++++++++++++++++++
(b) iRaman 532 nm  spectra: 174-4002 cm-1 range; ~4 cm-1 resolution; 5 or 20 spectra of the same spot averaged; auto-integration times [Directory: 180808 egc Raman].
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.
L1-R1-T1
PSF s1r1t1.txt
500 msec integration time; 20 spectra averaged.
L1-R1-T2
PSF s1r1t2.txt
500 msec integration time; 20 spectra averaged.

L1-R1-T3
PSF s1r1t3.txt
500 msec integration time; 20 spectra averaged.

L1-R2-T1
PSF s1r2t1.txt
100 msec integration time; 5 spectra averaged.

L1-R3-T1
PSF s1r3t1.txt
500 msec integration time; 20 spectra averaged.

L1-R3-T2
PSF s1r3t2.txt
500 msec integration time; 20 spectra averaged.

L1-R3-T3
PSF s1r3t3.txt
500 msec integration time; 20 spectra averaged.

L1-R4-T1
PSF s1r4t1.txt
100 msec integration time; 5 spectra averaged.

L1-R1-T1
PSF s1r1t1.txt
500 msec integration time; 20 spectra averaged.

L1-R4-T2
PSF s1r4t2.txt
500 msec integration time; 5 spectra averaged.

L1-R4-T3
PSF s1r4t3.txt
500 msec integration time; 5 spectra averaged.

L1-R5-T1
PSF s1r5t1.txt
50 msec integration time; 5 spectra averaged.

L1-R5-T2
PSF s1r5t2.txt
50 msec integration time; 5 spectra averaged.

L1-R5-T3
PSF s1r5t3.txt
500 msec integration time; 5 spectra averaged.

L2-R7-T1
PSF s2r7t1.txt
500 msec integration time; 20 spectra averaged.

L1-R7-T2
PSF s2r7t2.txt
500 msec integration time; 20 spectra averaged.

L1-R7-T3
PSF s1r7t3.txt
500 msec integration time; 20 spectra averaged.

L2-R8-T1
PSF s2r8t1.txt
200 msec integration time; 20 spectra averaged.

L2-R8-T2
PSF s2r8t2.txt
500 msec integration time; 20 spectra averaged.

L2-R9-T1
PSF s2r91t1.txt
500 msec integration time; 20 spectra averaged.

L2-R9-T2
PSF s2r9t2.txt
500 msec integration time; 20 spectra averaged.

L1-R10-T1
PSF s1r10t1.txt
500 msec integration time; 20 spectra averaged.

L2-R11-T1
PSF s1r11t1.txt
500 msec integration time; 20 spectra averaged.

++++++++++++++++++++++++++++++++
(c) iRaman 532 nm spectra: 174-4002 cm-1 range; ~4 cm-1 resolution; up to 9 separate spot spectra of the same sample for <150 µm powder; auto-integration times; 50 mW laser power [Directory: 181126 FAST powders; 181128 FAST powders Raman, etc.].
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.
L1-R4-T3
PSF 064 12A 9.txtr – 056 12A 9.txtr
500 msec integration time; 50 spectra averaged per spot (9 spots) [Directory: 181203 FAST powders raman].

L1-R4-T3
PSF 055 12A 9.txtr – 047 12A 1.txtr
250 or 500 msec integration time; 80 or 60 spectra averaged per spot (9 spots) [Directory: 181203 FAST powders raman]. Duplicate sample number – why?
L1-R1A-T7
PSF 001 4A 1.txtr – 009 4A 9.txtr

1000 or 500 msec integration time; 50 or 80 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L1-R2-T2
PSF 010 4B 1.txtr – 018 4B 9.txtr

250 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L2-R9-T2
PSF 019 4C 1.txtr – 027 4C 9.txtr

1000 msec integration time; 60 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L2-R9-T1
PSF 028 4D 1.txtr – 036 4D 9.txtr

1000 msec integration time; 60 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L1-R3-T3
PSF 037 4E 1.txtr – 045 4E 9.txtr

5500 msec integration time; 20 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L2-R11-T1
PSF 047 15A 1.txtr – 055 15A 9.txtr
500 msec integration time; 80 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L1-R2-T1
PSF 056 15B 1.txtr – 064 15B 9.txtr
250 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L2-R8-T1
PSF 065 15C 1.txtr – 073 15C 9.txtr
50 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L2-R7-T1
PSF 074 15D 1.txtr – 082 15D 9.txtr
1500 msec integration time; 50 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L1-R1-T1
PSF 083 15E 1.txtr – 091 15E 9.txtr
2000 msec integration time; 40 spectra averaged per spot (9 spots) [Directory: 190110 FAST powders raman].

L1-R1-T2
PSF 001 9A 1.txtr – 009 9A 9.txtr

800 msec integration time; 80 or 100 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L1-R4-T1
PSF 010 9B 1.txtr – 018 9B 9.txtr

800 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L2-R8-T2
PSF 019 9C 1.txtr – 0279 9C 9.txtr

800 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L2-R7-T3
PSF 028 9D 1.txtr – 036 9D 9.txtr

1000 msec integration time; 80 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L1-R1-T3
PSF 037 9E 1.txtr – 045 9E 9.txtr

1000 msec integration time; 80 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L1-R4-T2
PSF 046 7A 1.txtr – 054 7A 9.txtr

800 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L2-R10-T1
PSF 055 7B 1.txtr – 063 7B 9.txtr

400 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L1-R3-T1
PSF 064 7C 1.txtr – 072 7C 9.txtr

3000 or 1500 msec integration time; 20 or 50 spectra averaged per spot (9 spots) [Directory: 190114 FAST powders raman].

L1-R5-T1
PSF 190116_532a.001_7D-L1-R5-T1 1_sub150txtr – 


190116_532a.001_7D-L1-R5-T1 9_sub150txtr

400 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190116 FAST powders raman].

L2-R7-T2
PSF 190116_532a.010_7E-L2-R7-T2 1_sub150txtr – 


190116_532a.018_7E-L2-R7-T2 9_sub150txtr

800 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190116 FAST powders raman].

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.1.4d. Mafeking Quarry - Available Spectral Files

(i) ASD spectra:

EGC062
PSF 210625a.00006.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210625 Mafeking Quarry].

++++++

MAF600-a
PSF 210608a.00010.asd
first spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00011.asd
second spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00012.asd
third spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00013.asd
fourth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00014.asd
fifth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00015.asd
sixth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00017.asd
cleaned surface: spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00018.asd
another spot on cleaned surface: whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00019.asd
snother spot on cleaned surface: whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00020.asd
snother spot on cleaned surface: whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00021.asd
another spot on cleaned surface: whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF600-a
PSF 210608a.00022.asd
another spot on cleaned surface: whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

++++++

MAF601
PSF 210608a.00023.asd
first spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF601
PSF 210608a.00024.asd
second spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF601
PSF 210608a.00025.asd
third spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF601
PSF 210608a.00026.asd
fourth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF601
PSF 210608a.00027.asd
fifth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF601
PSF 210608a.00028.asd
sixth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF601
PSF 210902a00002.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

++++++

MAF603
PSF 100804a.001
whole rock surface, inner dark ring; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd.; ASD (directory: 100804_mafekingsilica).

MAF603
PSF 100804a.002
whole rock surface, second white ring; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd.; ASD (directory: 100804_mafekingsilica).

MAF603
PSF 100804a.003
whole rock surface, third dark ring; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd.; ASD (directory: 100804_mafekingsilica).

MAF603
PSF 100804a.004
whole rock surface, outer white ring; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd.; ASD (directory: 100804_mafekingsilica).

MAF603
PSF 100804a.005
whole rock surface, grey-green crust on other side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd.; ASD (directory: 100804_mafekingsilica).

MAF603
PSF 100804a.006
whole rock surface, white rock – other side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd.; ASD (directory: 100804_mafekingsilica).

++++++

MAF604
PSF 210608a.00029.asd
first spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF604
PSF 210608a.00030.asd
second spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF604
PSF 210608a.00031.asd
third spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF604
PSF 210608a.00032.asd
fourth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF604
PSF 210608a.00033.asd
fifth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF604
PSF 210608a.00034.asd
sixth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF604
PSF 210902a000203asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

++++++

MAF700
PSF 210608a.00035.asd
first spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF700
PSF 210608a.00036.asd
second spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF700
PSF 210608a.00037.asd
third spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF700
PSF 210608a.00038.asd
fourth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF700
PSF 210625a.00001.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210625 Mafeking Quarry].

++++++
MAF701
PSF 210625a.00002.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210625 Mafeking Quarry].

++++++

MAF702
PSF 210902a00004.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF702
PSF 210902a00022.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF702
PSF 210902a00023.asd
Rock, exterior surface; <1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF702
PSF 210902a00024.asd
Rock, exterior surface, different spot; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF702
PSF 210902a00025.asd
Rock, interior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF702
PSF 210902a00026.asd
Rock, interior surface, different spot; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

++++++

MAF704
PSF 210608a.00039.asd
first spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF704
PSF 210608a.00040.asd
second spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF704
PSF 210608a.00041.asd
third spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF704
PSF 210608a.00042.asd
fourth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF704
PSF 210608a.00043.asd
fifth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF704
PSF 210608a.00044.asd
sixth spot on whole rock; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF704
PSF 210902a00005.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

++++++

MAF800
PSF 210902a00006.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF800
PSF 210902a00027.asd
Rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF800
PSF 210902a00028.asd
Rock, exterior surface, different spot; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF800
PSF 210902a00029.asd
Rock, exterior surface, different spot; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF800
PSF 210902a00030.asd
Rock, interior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

MAF800
PSF 210902a00031.asd
Rock, interior surface, different spot; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

++++++

MAF900
PSF 210608a.00045.asd
first spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00046.asd
second spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00047.asd
third spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00048.asd
fourth spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00049.asd
fifth spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00050.asd
sixth spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00051.asd
seventh spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210608a.00052.asd
eighth spot on whole rock, exterior surface; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; absolute reflectance may be off due to sample height issue [Directory: 210608 crystal geyser].

MAF900
PSF 210902a00007.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210902 Mafeking and Utah samples].

++++++

SC-5S
PSF 090602a.045
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

SC-5S
PSF 090602a.046
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++
SC-9
PSF 080618a.025
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SC-9
PSF 080618a.026
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD.

SC-9
PSF 080618a.027
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot.

SC-9
PSF 080619a.005
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; air dried for 24 hours.

SC-9
PSF 080619a.006
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot; air dried for 24 hours.

SC-9
PSF 080619a.007
whole rock; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 200 spectra averaged, ASD; different spot; air dried for 24 hours.

SC-9
PSF 080913a.050
white sinter, unsorted; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD; air dried for many days.

SC-9
PSF 080913a.051
blue clay, unsorted; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD; air dried for many days.

SC-9
PSF 090121a.015
whiter portion, <45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

SC-9
PSF 090121a.016
whiter portion, 90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.
SC-9
PSF 111201a.015
whole rock; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

SC-9
INO SC9
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

++++++
SC-9C
PSF 210625a.00003.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210625 Mafeking Quarry].

++++++
SC-9N
PSF 210625a.00004.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210625 Mafeking Quarry].

++++++
SC17S
PSF 080913a.056
<45 µm; 30°/0°; 0.35-2.5 µm, 2-7 nm resol., 1 nm resampled; 500 spectra averaged, ASD.
SC18-20
PSF 100724a.005
90-1000 μm; 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC18-20
PSF 100724a.006
<45 μm; 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC-18-20
PSF 210625a.00005.asd
<1000 µm powder; i=30°/e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged [Directory: 210625 Mafeking Quarry].

++++++
SC18-21
PSF 100724a.007
90-1000 μm (clay lining solution chimney); 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC18-21
PSF 100724a.008
<45 μm (clay lining solution chimney); 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC18-01
PSF 100724a.009
90-1000 μm; 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC18-01
PSF 100724a.010
<45 μm; 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC18-21
PSF 100723a.016
surface (clay lining solution chimney; whole rock); 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

SC18-21
PSF 100723a.017
surface (clay lining solution chimney; whole rock); 30°/e°; 0.35-2.5 μm; 2-7 nm resolution, 1 nm output; 1000 spectra averaged; ASD (directory: 100724_Gypsumville).

++++++++++++++++++++++++++++
(ii) iRaman spectra: 174-4002 cm-1 range; ~4 cm-1 resolution
EGC062
PSF 210825_016_532_EGC062_1000umpowder.txtr

<1000 µm powder; 1200 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

EGC062
PSF 210825_017_532_EGC062_1000umpowder.txtr

<1000 µm powder; 1100 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

EGC062
PSF 210825_018_532_EGC062_1000umpowder.txtr

<1000 µm powder; 1000 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++

MAF600-a
PSF 210902_001_532_MAF600a_1000umpowder.txtr
<1000 µm powder; 4000 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF600-a
PSF 210902_002_532_MAF600a_1000umpowder.txtr
<1000 µm powder; 2400 msec integration time; 50 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF600-a
PSF 210902_003_532_MAF600a_1000umpowder.txtr
<1000 µm powder; 2400 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF600-a
PSF 210825_019_532_MAF600a_wholerock.txtr

whole rock; 1400 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF600-a
PSF 210825_020_532_MAF600a_wholerock.txtr

whole rock; 12000 msec integration time; 25 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF600-a
PSF 210825_021_532_MAF600a_wholerock.txtr

whole rock; 3000 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF600-a
PSF 210825_022_532_MAF600a_wholerock.txtr

whole rock; 1000 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++

MAF601
PSF 210902_004_532_MAF601_1000umpowder.txtr

<1000 µm powder; 1000 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF601
PSF 210902_005_532_MAF601_1000umpowder.txtr

<1000 µm powder; 400 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF601
PSF 210902_006_532_MAF601_1000umpowder.txtr

<1000 µm powder; 1000 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF601
PSF 210825_028_532_MAF601_wholerock.txtr

whole rock; 4500 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF601
PSF 210825_029_532_MAF601_wholerock.txtr

whole rock; 250 msec integration time; 400 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF601
PSF 210825_030_532_MAF601_wholerock.txtr

whole rock; 600 msec integration time; 300 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF601
PSF 210825_031_532_MAF601_wholerock.txtr

whole rock; 700 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++

MAF604
PSF 210902_007_532_MAF604_1000umpowder.txtr

<1000 µm powder; 700 msec integration time; 200 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF604
PSF 210902_008_532_MAF604_1000umpowder.txtr

<1000 µm powder; 500 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF604
PSF 210902_009_532_MAF604_1000umpowder.txtr

<1000 µm powder; 400 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF604
PSF 210825_032_532_MAF604_wholerock.txtr

whole rock; 1500 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF604
PSF 210825_033_532_MAF604_wholerock.txtr

whole rock; 1000 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF604
PSF 210825_034_532_MAF604_wholerock.txtr

whole rock; 2500 msec integration time; 40 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF604
PSF 210825_035_532_MAF604_wholerock.txtr

whole rock; 500 msec integration time; 300 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++
MAF700
PSF 210825_001_532_MAF700_1000umpowder.txtr

<1000 µm powder; 250 msec integration time; 400 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF700
PSF 210825_002_532_MAF700_1000umpowder.txtr

<1000 µm powder; 400 msec integration time; 300 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF700
PSF 210825_003_532_MAF700_1000umpowder.txtr

<1000 µm powder; 1500 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF700
PSF 210825_023_532_MAF700_wholerock.txtr

whole rock; 800 msec integration time; 300 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF700
PSF 210825_024_532_MAF700_wholerock.txtr

whole rock; 5000 msec integration time; 40 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++
MAF701
PSF 210825_004_532_MAF701_1000umpowder.txtr

<1000 µm powder; 2250 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF701
PSF 210825_005_532_MAF701_1000umpowder.txtr

<1000 µm powder; 1800 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF701
PSF 210825_006_532_MAF701_1000umpowder.txtr

<1000 µm powder; 1500 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++

MAF702
PSF 210902_010_532_MAF702_1000umpowder.txtr

<1000 µm powder; 700 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF702
PSF 210902_011_532_MAF702_1000umpowder.txtr

<1000 µm powder; 450 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF702
PSF 210902_012_532_MAF702_1000umpowder.txtr

<1000 µm powder; 350 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF702
PSF 210902_031_532_MAF702_wholerock.txtr

whole rock; 600 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF702
PSF 210902_032_532_MAF702_wholerock.txtr

whole rock; 400 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF702
PSF 210902_033_532_MAF702_wholerock.txtr

whole rock; 600 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF702
PSF 210902_034_532_MAF702_wholerockinterior.txtr

whole rock, interior; 1500 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

++++++

MAF704
PSF 210902_013_532_MAF704_1000umpowder.txtr

<1000 µm powder; 2000 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF704
PSF 210902_014_532_MAF704_1000umpowder.txtr

<1000 µm powder; 600 msec integration time; 300 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF704
PSF 210902_015_532_MAF704_1000umpowder.txtr

<1000 µm powder; 2500 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF704
PSF 210825_025_532_MAF704_wholerock.txtr

whole rock; 600 msec integration time; 300 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF704
PSF 210825_026_532_MAF704_wholerock.txtr

whole rock; 4000 msec integration time; 40 spectra averaged [Directory 210825 Mafeking Raman]. 

MAF704
PSF 210825_027_532_MAF704_wholerock.txtr

whole rock; 20000 msec integration time; 25 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++

MAF800
PSF 210902_016_532_MAF800_1000umpowder.txtr

<1000 µm powder; 2500 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF800
PSF 210902_017_532_MAF800_1000umpowder.txtr

<1000 µm powder; 2400 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF800
PSF 210902_018_532_MAF800_1000umpowder.txtr

<1000 µm powder; 1000 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF800
PSF 210902_027_532_MAF800_wholerock.txtr

whole rock; 10000 msec integration time; 25 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF800
PSF 210902_028_532_MAF800_wholerock.txtr

whole rock; 1300 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF800
PSF 210902_029_532_MAF800_wholerock.txtr

whole rock; 1500 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF800
PSF 210902_030_532_MAF800_wholerock.txtr

whole rock; 1000 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

++++++

MAF900
PSF 210902_019_532_MAF900_100umpowder.txtr

<1000 µm powder; 2000 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_020_532_MAF900_100umpowder.txtr

<1000 µm powder; 2000 msec integration time; 40 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_021_532_MAF900_100umpowder.txtr

<1000 µm powder; 1300 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_022_532_MAF900_wholerock.txtr

whole rock; 1600 msec integration time; 100 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_023_532_MAF900_wholerock.txtr

whole rock; 5000 msec integration time; 30 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_024_532_MAF900_wholerock.txtr

whole rock; 4000 msec integration time; 30 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_025_532_MAF900_wholerock.txtr

whole rock; 5500 msec integration time; 30 spectra averaged [Directory 210902 Mafeking Raman]. 

MAF900
PSF 210902_026_532_MAF900_wholerockinterior.txtr

whole rock, interior surface; 5500 msec integration time; 30 spectra averaged [Directory 210902 Mafeking Raman]. 

++++++

SC-9C
PSF 210825_007_532_SC-9C_1000umpowder.txtr

<1000 µm powder; 1500 msec integration time; 100 spectra averaged [Directory 210825 Mafeking Raman]. 

SC-9C
PSF 210825_008_532_SC-9C_1000umpowder.txtr

<1000 µm powder; 1500 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman].

SC-9C
PSF 210825_009_532_SC-9C_1000umpowder.txtr

<1000 µm powder; 2000 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

 ++++++

SC-9N
PSF 210825_010_532_SC-9N_1000umpowder.txtr

<1000 µm powder; 500 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

SC-9N
PSF 210825_011_532_SC-9N_1000umpowder.txtr

<1000 µm powder; 800 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

SC-9N
PSF 210825_012_532_SC-9N_1000umpowder.txtr

<1000 µm powder; 900 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++
SC-18-01
PSF 220121_001_532_SC-18-01_1000umpowder.txtr
<1000 µm powder; 1000 msec integration time; 400 spectra averaged [Directory 220121 Mafeking Raman]. 

++++++

SC-18-20
PSF 210825_013_532_SC-18-20_1000umpowder.txtr
<1000 µm powder; 1600 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

SC-18-20
PSF 210825_014_532_SC-18-20_1000umpowder.txtr
<1000 µm powder; 1500 msec integration time; 200 spectra averaged [Directory 210825 Mafeking Raman]. 

SC-18-20
PSF 210825_015_532_SC-18-20_1000umpowder.txtr
<1000 µm powder; 2000 msec integration time; 50 spectra averaged [Directory 210825 Mafeking Raman]. 

++++++

SC-18-21
PSF 220121_002_532_SC-18-21_1000umpowder.txtr
<1000 µm powder; 700 msec integration time; 400 spectra averaged [Directory 220121 Mafeking Raman]. 

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.1. East German Creek rover trials – summer 2018

(a) ASD spectra of crushed to <150 µm powders: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.
L2 RP3
PSF181123a00001.asd
[Directory: 181123 fast powders].

L1 RP3
PSF181123a00002.asd
[Directory: 181123 fast powders].

L2 R9 T1
PSF181123a00001.asd
[Directory: 181123 fast powders].

L1 RP6
PSF181123a00004.asd
[Directory: 181123 fast powders].

L1 R1A T8
PSF181123a00005.asd
[Directory: 181123 fast powders].

L1 R1A T7
PSF181123a00006.asd
[Directory: 181123 fast powders].

L1 R2 T2
PSF181123a00007.asd
[Directory: 181123 fast powders].

L2 R9 T2
PSF181123a00008.asd
[Directory: 181123 fast powders].

L2 R9 T1
PSF181123a00009.asd
[Directory: 181123 fast powders].

L1 R3 T3
PSF181123a00010.asd
[Directory: 181123 fast powders].

L1 R1A T4
PSF181123a00011.asd
[Directory: 181123 fast powders].

L1 R4 T1
PSF181123a00012.asd
[Directory: 181123 fast powders].

L2 R6 T1
PSF181123a00013.asd
[Directory: 181123 fast powders].

L1 R3 T1
PSF181123a00014.asd
[Directory: 181123 fast powders].

L1 R1B T2
PSF181123a00015.asd
[Directory: 181123 fast powders].

L1 RP2
PSF181123a00016.asd
[Directory: 181123 fast powders].

L1 R1B T3
PSF181123a00017.asd
[Directory: 181123 fast powders].

L2 R10 T1
PSF181123a00018.asd
[Directory: 181123 fast powders].

L2 RP1
PSF181123a00019.asd
[Directory: 181123 fast powders].

L1 R3 T3
PSF181123a00020.asd
[Directory: 181123 fast powders].

L2 RP2
PSF181123a00021.asd
[Directory: 181123 fast powders].

L1 RP5
PSF181123a00022.asd
[Directory: 181123 fast powders].

L2 R6 T3
PSF181123a00023.asd
[Directory: 181123 fast powders].

L1 RP1
PSF181123a00024.asd
[Directory: 181123 fast powders].

L1 RP4
PSF181123a00025.asd
[Directory: 181123 fast powders].

L 1R2 T1
PSF181123a00027.asd
[Directory: 181123 fast powders].

L1 R1A T1
PSF181123a00028.asd
[Directory: 181123 fast powders].

L1 R1B T1
PSF181123a00029.asd
[Directory: 181123 fast powders].

L1 R4 T2
PSF181123a00030.asd
[Directory: 181123 fast powders].

L1 R1A T6
PSF181123a00031.asd
[Directory: 181123 fast powders].

L2 R11 T1
PSF181123a00032.asd
[Directory: 181123 fast powders].

L1 R2 T1
PSF181123a00033.asd
[Directory: 181123 fast powders].

L2 R8 T1
PSF181123a00034.asd
[Directory: 181123 fast powders].

L2 R7 T1
PSF181123a00035.asd
[Directory: 181123 fast powders].

L1 R1 T1
PSF181123a00036.asd
[Directory: 181123 fast powders].

L1 R1 T2
PSF181123a00037.asd
[Directory: 181123 fast powders].

L1 R4 T1
PSF181123a00038.asd
[Directory: 181123 fast powders].

L2 R8 T2
PSF181123a00039.asd
[Directory: 181123 fast powders].

L2 R7 T3
PSF181123a00040.asd
[Directory: 181123 fast powders].

L1 R1 T3
PSF181123a00041.asd
[Directory: 181123 fast powders].

L1 R4 T2
PSF181123a00042.asd
[Directory: 181123 fast powders].

L2 R10 T1
PSF181123a00043.asd
[Directory: 181123 fast powders].

L1 R5 T1
PSF181123a00044.asd
[Directory: 181123 fast powders].

L2 R7 T2
PSF181123a00045.asd
[Directory: 181123 fast powders].

L2 R7 T2
PSF181123a00046.asd
[Directory: 181123 fast powders].

L21 R4 T2
PSF181123a00047.asd
[Directory: 181123 fast powders].

L1 R3 T2
PSF181123a00048.asd
[Directory: 181123 fast powders].

++++++++++++++++++++++++++++++++++
20.1.d. Samples measured by Katherin Winchell (summer 2016) – ASD and Raman

Notes from Katherine Winchell:

EGX005?
W1A East German Creek: Algal Mat in Tupperware

EGX006?
W1B East German Creek: Algal Mat in Tupperware
EGX007?
W1C East German Creek: Algal Mat in Tupperware

EGC174?
W2A EGC tan/green carpet from open tray

EGX001?
W2B EGC black carpet from open tray

EGC174?
W2C EGC tan carpet from open tray
EGC173?
W2D EGC white brains from open tray
EGX002?
W2E EGC black brains from open tray
EGC172
W2F EGC red brains from open tray (EGC 172)
EGC172
W2G underside of EGC red brains from open tray (EGC 172)

MAF602
W3A Mafeking Quarry: Silica nodule layering MAF602- crystal side
MAF602
W3B Mafeking Quarry: Silica nodule layering MAF602- matte side: high reflectance for such a full looking material.

++++++
20.20 sample ?
[W6. East German Creek: Post-Mars Box Algal Mats. Section 20.20. Probably in room F. Sample never found/zapped.

++++++

EGC050
W20A Black Brains EGC050. Fresh. Section 20.1 Skinnier sample.
Cross Section:
1. White
2. Greenish 
3. Tan 
4. Black 
5. Reddish knob on end

EGC050
W20B Black Brains EGC050. Fresh. Section 20.1 More square like.
Cross Section:
1. Tan curl
2. Black 
3. Grey 
4. Tan 
5. White 

EGC051
W21A Carpet EGC051- white splotch near center, green edge scraped with razor.
Cross Section:
1. Green (razored off)
2. Green (razored off)
3. Tan (razored off)
4. White splotch
5. Tan (near white splotch)
6. Darker tan
EGC051
W21B Carpet EGC051- white splotch near edge, not scraped with razor
Cross Section:
1. Tan-ish 
2. Darker tan
3. White 
EGC053
W22A Black Brains EGC053- T shaped sample, darker than sample B
Cross Section:
1. Black 
2. Tan 
3. White 
EGC053
W22B Black Brains EGC053- smaller and lighter than sample A
Cross Section:
1. Black 
2. Black 
3. Tan 
4. White 

EGC054
W23A Red Brains EGC054- thinner longer piece
Cross Section:
1. Dark red (top)
2. Orange (top)
3. Light red (top)
4. Yellow (side)
5. Black (side)
6. Green (bottom)
EGC054
W23B Red Brains EGC054- rounder piece
Cross Section:
1. Dark red
2. Orange (side)
3. Black (side)

EGC056
W24A White Brains EGC056- piece with more white, slightly heart shaped
Cross Section:
1. White 
2. White 
3. Light yellow brown
4. Darker brown

EGC056
W24B White Brains EGC056- overall lighter, but less bright white, rectangular shape
Cross Section:
1. White 
2. Brown 
3. Tan 
EGC060
W25A Fossiliferous Limestone EGC060- flatter sample, oval shaped fossil
Cross Section:
1. Limestone 
2. Limestone 
3. Fossil 
4. Fossil 
EGC060
W25B Fossiliferous Limestone EGC060
Cross Section:
1. Light limestone near fossil 
2. Reddish limestone 
3. Fossil 
4. Fossil 
5. Crystals 
GYP056
W26A Gypsum with endoliths GYP056- flatter piece
Cross Section:
1. Teal 
2. Green 
3. Light green
4. Brown 
5. White 

GYP056
W26B Gypsum with endoliths GYP056- taller piece
Cross Section:
1. Green 
2. Tan 
3. Grey 
4. Black 
5. White 

GYP060
W27A Gypsum with endoliths GYP060- isosceles triangle
Cross Section:
1. Crust 
2. Black (side)
3. Blue (side)
4. White (side)
GYP060
W27B Gypsum with endoliths GYP060- square-ish
Cross Section:
1. Greyish crust
2. Tan-ish crust
3. Black (exposed edge with razor) 
4. Teal (exposed edge with razor)
5. White (exposed edge with razor)
GYP062
W28A Gypsum (Selenite) GYP062- darker grey sample
Cross Section:
1. Dark grey & micaceous 
2. White 
3. Light micaceous 
4. Brown / tan 
5. Light (underside)
6. Dark (underside)
7. Micaceous (underside)

GYP062
W28B Gypsum (Selenite) GYP062- lighter and slightly larger sample
Cross Section:
1. Light micaceous 
2. Brown 
3. Grey 
4. Light (underside)
5. Dark (underside)
6. Micaceous (underside)
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 20.1.

20. Analogue Sites
20.2. Gypsumville - Lake St. Martin Crater area, MB, Canada
20.2.1. Gypsumville gypsum quarries (north, middle, and south)

20.2.1.1. Middle and North Quarries


20.2.1.2. South Quarry and “Stockpile”
20.2.2. Gypsumville aggregate pit (red beds)

20.2.2.1. Impact-melted and shocked granite


20.2.2.2. Gypsum in red beds


20.2.2.3. Carbonate melt/breccia


20.2.2.4. Red beds
20.2.3. Impact melt – exposed bedrock areas along Warpath Trail
20.2.4. Central uplift area – granitic exposures: Southernmost (better exposure)


20.2.4.1. Northernmost (more weathered) exposure
20.2.5. The Big Rock area – granitic uplifted bedrock exposure
20.2.6. White Elephant gypsum open pit mine
20.2.7. Drill cores from Manitoba Geological Survey
20.2.8. ENDOLITHS (mostly from south quarry)

“Wilks sample bag” (used by Wilks for granite shock paper)

20.2.9. Miscellaneous samples from July 2018 rover deployment

20.2.10. FAST rover field trial: July 2018

20.2.11. Unnamed dolomite quarry with shatter cones
+++++++++++++++++++++++++++++++++++++++

A. Sample consolidation/reorganization (some discarded) – April 2017

20.2.1. Gypsumville gypsum quarries (north, middle, and south)

20.2.1.1. Middle and North Quarries


GYP101


GYP102


GYP103


GYP107



GYP119


GYP143


GYQ134


GYQ135


GYQ136 (big sample)


GYQ137


GYQ138


GYQ139


GYQ140


GYQ141


SPT205


SPT206


SPT207


SPT208

++++++++++++++


20.2.1.2. South Quarry and “Stockpile”


GYP003


GYP004


GYP005


GYP006


GYP051


GYP127


GYP129


GYP160 (CSA sample suite)


GYP232


GYP613


GYP614


GYQ130


GYQ104 (big sample)


GYQ105 (big sample)


GYQ150


GYQ151


GYQ154


GYQ155 (big sample)


GYQ156


GYQ157


GYQ158


NGYQ101 (newly assigned sample)

+++++++++++++++
20.2.2. Gypsumville aggregate pit (red beds)


20.2.2.1. Impact-melted and shocked granite


GSQ010


GYP201


GYP207


GYP212


GYP216


GYP220


GYP221


GYP223


GYP225


GYP227


GYP228


GYP243


GYP248


GYP253


GYP280


GYP280a


GYP280b


GYP280c


GYP330


GYP659


GYP661-672


STM083


STM086


STM087

+++++++++++++++++++



20.2.2.2. Gypsum in red beds

GYP203


GYP204


GYP239


GYP284


GYP287


GYP289


GYP291


GYP297-298


GYP451-456


NGYP291 (newly assigned sample)


STM050-059


STM060-061


STM070


STM071


STM073-076


STM077-082


STM085


STM086

+++++++++++++++++++++


20.2.2.3. Carbonate melt/breccia

GSQ009


GYP201


GYP215


GYP222


GYP238


GYP240b


GYP242


GYP245


GYP247


GYP249


GYP251


GYP252


GYP254


GYP260 (2 of multiple pieces sent to Gordon Osinski (Oct. 2021)

GYP280d


GYP292


GYP294


GYP245


GYQ162


GYQ164


GYQ165 – sent to Gordon Osinski (Oct. 2021)

NGYP259 (newly assigned sample)


NGYP260 (newly assigned sample)


NGYP261 – green-stained carbonate impac6t melt – 4 fragments

+++++++++++++++++++++


20.2.2.4. Red beds

GSQ006


GSQ007


GSQ007a


GSQ008


GYP236


GYP660


STM009

++++++++++++++++++++++++

20.2.3. Impact melt – exposed bedrock areas along Warpath Trail


Some of GMR001 – 024 (rest sent to collaborator for age dating)

++++++++++++++++
20.2.4. Central uplift area – granitic exposures: Southernmost (better exposure)

GMR017-020


GMR025


GMR026


GYP200


GYP270


GYP307


GYP317 (big sample)


GYP318 (2 samples?)


GYP319 


GPY320


GYP321


GYP322


GYP323


GYP324


GYP325


NGYP200 (newly assigned sample)

++++++++++++++

20.2.4.1. Northernmost (more weathered) exposure

GYP350


GYP351


GYP352


GYP353


GYP354

++++++++++++++++

20.2.5. The Big Rock area – granitic uplifted bedrock exposure

GYP010


GYP012


GYP400


GYP401


GYP402


GYP403


GYP404


GYP405


GYQ159


STM032


STM033


STP050


STP051


STP052


STP053


STP054


STP055


STP056


STP057


STP058


STP059


STP060



STP061

++++++++++++++++++++++

20.2.6. White Elephant gypsum open pit mine

GWE001 – 010

+++++++++++++++++
20.2.7. Drill cores from Manitoba Geological Survey

See main list

++++++++++++++++++

20.2.8. ENDOLITHS (mostly from south quarry)

GSQA-04


GYP050-061 (suite; also why GYP060 below - different trip?)


GYP060


GYP107


GYP113


GYP128


GYP153


GYP155


GYP233


GYP235


GYP293


GYP600


GYP603


GYP609


GYP617


GYP HILL 002


GYQ001


GYQ002


GYQ004


GYQ006


GYQ110-122


NGYP619 (newly assigned sample)


SPT200


SPT201


SPT204

++++++++
Endolith-bearing gypsum cobbles from south (east?) quarry:

GYQ500
Endolith-bearing pieces of friable cobbles with distinct and continuous orange (outer) and green (inner) endolith layers – collected on August 12, 2025 during Research Methods field trip (east quarry).

++++++++++++++++++

“Wilks sample bag” (used by Wilks for granite shock paper)

GMR002


GYP316


GYQ007


GYQ071


SPT202


STM001

STM003


STM889


STM891

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

Sample ID
Description







20.2.a.
Thin sections made from various samples:



GYP317



LSM 1 -003



LSM 1-202



STM001



STM003



STM 030



STM889



STM891

++++++++++++++++++++++++++++++


20.2.1a. Gypsumville gypsum quarries area
Newly assigned samples (April 2017 during reorganization):

GSQA-04
Coarse selenite with endoliths (South quarry?)

GYP HILL 002 
Gypsum pebbles with small endoliths.

NGYP318
Coarse pink/while shocked granite

NGYQ001 
multi-grained gypsum cobble with partial endoliths and purple stain (S. quarry)

NGYP619
Gypsum with endoliths and purple stain – 2 pieces.

NGYP200
Central uplift- shocked granite.

NGYP259
Carbonate melt with coloured zonation

NGYP260
Carbonate melt with colour zonation, vesicular.

NGYP291
Gypsum nodule and gypsum-cemented breccia (from aggregate pit)

STM032
Pegmatite vein from The Big Rock

STM033
Pegmatite vein from The Big Rock

+++++++++++++++++++++++++++++++++++++

20.2.1a.1. Gypsum boulders collected August 2006 from middle quarry

SPT200-208 
See section 8 for sample descriptions, analytical data and spectra. (SPT200, 201, and 204 have endoliths)
+++++++

20.2.1a.2. Collected October 2006

GYP001
Red/pink-stained bedded gypsum/anhydrite. South quarry area (collected Oct./06).
GYP002
Pitted/bedded gypsum/anhydrite. South quarry area (collected Oct./06). (discarded)
GYP003
Minor pink stained gypsum/anhydrite. South quarry area (collected Oct./06).

GYP004
Red stained gypsum/anhydrite. South quarry area (collected Oct./06).

GYP005
Pitted and stained gypsum/anhydrite. South quarry area (collected Oct./06).

GYP006
Pitted and fractured gypsum/anhydrite. South quarry area (collected Oct./06).

+++++++
20.2.1a.3. Collected August 6, 2007

GYP101-104
Gypsum and anhydrite bedded samples – collected within quarry area (sent to Cornell, 08/07) (101-103 available)
GYP105
Gypsum-selenite boulder; middle quarry (most sent to Cornell, 08/07).

GYP106
Interbedded gypsum-red clay – multiple pieces; south end of south quarry (most sent to Cornell, 08/07).

GYP107
Pink-stained anhydrite layer; multiple pieces. North quarry area. Has endoliths.
GYP108
Gypsum-selenite boulder; middle quarry. (discarded)
GYP109
Massive anhydrite boulder; middle quarry.

GYP110
Massive anhydrite boulder; middle quarry (most sent to Cornell, 08/07).

GYP111
Massive anhydrite boulder; middle quarry.

GYP112
Red-stained anhydrite/gypsum; south quarry?

GYP113
Selenite; middle quarry; with endoliths.

GYP114
Selenite with minor red interbeds; middle quarry.

GYP115
Anhydrite with minor red interbed; middle quarry.

GYP116
Anhydrite with minor red interbeds; middle quarry. (discarded)
GYP117
Selenite crystal; middle quarry (sent to Cornell, 08/07).

GYP118
Selenite crystal; middle quarry (sent to Cornell, 08/07).

GYP119
Satin spar – fibrous gypsum; middle quarry.

GYP120
Laminated selenite crystals; middle quarry (sent to Cornell, 08/07).

GYP121-125
Red interbedded gypsum/anhydrite; unknown quarry locality; 5 major pieces.

GYP126
Massive anhydrite boulder; middle quarry.

GYP127-130
Massive, partially weathered anhydrite/gypsum; south quarry at head of Warpath Trail; 4 major pieces. (GYP128-129 have soil-line endoliths).
GYP131-139
Red interbedded gypsum/anhydrite; middle quarry; 9 major pieces.

GYP140
Massive bedded anhydrite/gypsum boulder; middle quarry.

GYP141
Red stained anhydrite, middle quarry (sent to Cornell, 08/07).

GYP142
Massive selenite; middle quarry.

GYP143
Pink-stained anhydrite/gypsum; middle quarry.

GYP144
Orange-stained anhydrite/gypsum; middle quarry.

GYP145
Minor red-stained anhydrite/gypsum; middle quarry.

GYP146
Bladed selenite aggregate; middle quarry (sent to Cornell, 08/07).

GYP147
Bladed selenite boulder with green algal staining; middle quarry.

GYP148
Bladed selenite boulder with green algal staining; middle quarry.

+++++++
20.2.1a.4. Collected August 15, 2007

GYP150
Piece of anhydrite boulder, middle quarry.

GYP151
Piece of selenite mass, middle quarry.

GYP152
Red-stained gypsum/anhydrite bed, 2 metres from top, middle quarry.

+++++++
20.2.1a.5. Collected June 16, 2008

GYP153-155
Three gypsum samples with interesting surface weathered textures; south quarry. Have endoliths.
+++++++

20.2.1a.6. Collected September 24, 2011 from recent stockpile at north end of South Quarry.

GYP160
Pink-purple stained gypsum boulder.

GYP161
White, fine-grained rock.

+++++++

20.2.1a.7. Collected June 5, 2012 from south and middle quarries for cryptoendoliths

(i) South quarry

GYQ001
Part of boulder with endoliths

GYQ002
Part of boulder with endoliths

GYQ003
Boulder with endoliths

GYQ004
Boulder with endoliths

GYQ005
Part of boulder with endoliths

GYQ006
Part of boulder with endoliths

GYQ007
Part of boulder with endoliths

++++++

(ii) Middle quarry by pond (north end of quarry)

GYQ008
Top layer of boulder by pond (north end of middle quarry); lots of blue

GYQ009
Part of boulder with endoliths

GYQ010
Part of boulder with endoliths

GYQ011
Part of boulder with endoliths

+++++++++++++++++++++++++++++++++++++++++++

20.2.1a.8. South quarry area – collected May 11-13, 2010 (GYP600 series)

GYP600
Surface-exposed gypsum sample, south quarry flats; for microtexture study. Has endoliths.
GYP601
Submerged sample in larger pool (Pool 2; south quarry); for cryptoendolith layers (brown over green).

GYP602
Surface-exposed sample, south quarry flats, by Pool 2; for microtexture study.

GYP603
Surface-exposed sample by larger pool (Pool 2; south quarry); for cryptoendolith study (clear layering on one part of the sample).

GYP604
Weathered and red-stained gypsum sample from new stockpile in south quarry area (for microtexture and colouring study).

GYP605
Submerged gypsum from Pool 2 (larger pool; south quarry); weathered surface texture and cryptoendoliths.

GYP606
Surface rock from north end of Pool 2 (larger pool; south quarry); for cryptoendoliths.

GYP607
Surface rock from Pool 2 (larger pool; south quarry) area; for surface microtexture. (discarded)
GYP608
Surface rock from Pool 2 (larger pool) area; for surface microtexture. (discarded)
GYP609
Surface rock from Pool 2 (larger pool) area; for surface microtexture. Has endoliths.
GYP610
Surface rock from Pool 2 (larger pool) area; for surface microtexture.

GYP611
Surface rock from Pool 2 (larger pool) area; for cryptoendoliths.

GYP612
Surface rock from Pool 2 (larger pool) area; for cryptoendoliths; 1 large piece and two smaller pieces (612a and 612b).

GYP613
Surface rock from new stockpile in south quarry area; solid pieces and interlayer purple fine-grained material scraped off gypsum boulders.

GYP614
Surface rock from new stockpile in south quarry area; solid pieces and interlayer purple fine-grained material scraped off gypsum boulders.

GYP615
Surface rock from new stockpile in south quarry area; piece with interlayer purple fine-grained material. (discarded)
GYP616
Surface rock from new stockpile in south quarry area; pieces with interlayer purple fine-grained material; 1 large piece and 5 smaller pieces. (discarded)
GYP617
Selenite (coarse-grained gypsum blades), from Pool 2 (larger pool) south quarry area; a bit of cryptoendolith on them; 2 large pieces.

GYP618
One larger pieces and many fragments of gypsum pieces from south quarry; for microtexture. (discarded).
+++++++++++++++++++++++++++++++++++++++++++++

20.2.1a.9. South quarry area – collected May 2013
GYQ099
Endolith-bearing gypsum boulder

6RB

Endolith-bearing gypsum boulder
+++++++++++++++++++++++++++++++++++++++++++++

20.2.1a.10. South quarry area – collected July 11, 2015
Collected for Mars 2020 gypsum calibration target and other purposes.

(i) Possible Mars 2020 calibration targets – from stockpile at south end of middle/north quarry access road
GYQ100
White gypsum cobble, with gnarly exterior surfaces; interior has fine saccharine indurated texture and minor banding and fractures.

GYQ101
White gypsum cobble, with gnarly exterior surfaces; interior has fine saccharine indurated texture and minor banding and fractures and faint green endolith staining on one surface.

GYQ102
White gypsum cobble, with gnarly exterior surfaces; interior has fine saccharine indurated texture and minor banding and fractures and faint green endolith staining on one surface.

++++++

(ii) Possible Mars 2020 calibration targets – from quarry wall/spoil pile at SW corner of south(east)quarry – at top of access road to south east quarry flats
GYQ103
White gypsum cobble; interior has fine saccharine indurated texture; no internal staining or fractures.

GYQ104
White gypsum cobble; interior has fine saccharine indurated texture; no internal staining or fractures; couple of exterior weathered/coated surfaces.

GYQ105
White gypsum cobble; interior has fine saccharine indurated texture; minor internal staining and fractures; couple of exterior weathered/coated surfaces.

++++++

(iii)  Endolith-containing samples – from flats on south quarry

GYQ110
Large gypsum cobble (~30 cm) with Fe oxide stained layering, reasonably indurated, weathered surfaces, and freshly exposed thick (~1 cm) green endolith layers.
GYQ111
Small (~4 inches) coarsely crystalline selenite with weathered surface and exposed green endoliths.

GYQ112
Large gypsum cobble (~30 cm) with Fe oxide stained layering, reasonably indurated, weathered surfaces, and freshly exposed thick (~1 cm) green endolith layers.

GYQ113
Small (~4 inches) granular, poorly indurated gypsum with green and orange-brown endolith layers.

GYQ114
Small (~4 inches) granular, poorly indurated gypsum with green and orange-brown endolith layers.

GYQ115
Small (~3 inches) granular, variable indurated gypsum with green and orange-brown endolith layers.

GYQ116
Small (~2 inches) granular, variable indurated gypsum with green-dark green-brown endolith layers.

GYQ117
Small (~2 inches) granular, variable indurated gypsum with green-dark green-brown endolith layers.

GYQ118
Small (~3 inches) well indurated saccharine fine-grained gypsum with green-blue shallow endolith layer under weathered surface

GYQ119
Small (~3 inches) well indurated saccharine fine-grained gypsum with green-blue shallow endolith layer under weathered surface

GYQ120
Small (~2 inches) well indurated saccharine fine-grained gypsum with green-blue shallow endolith layer.

GYQ121
Small (~3 inches) well indurated saccharine fine-grained gypsum with weathered surface, fracturing and brown and green endolith layers.

GYQ122
Small (3 inches) coarse selenite cobble with minor green endoliths on selenite crystals.

(iv) Miscellaneous-type samples – from flats on south quarry and stockpile

GYQ130
Large (10 inch) cobble of banded fine-grained gypsum with unknown brown layer, minor discontinuous faint green endolith layer, and weathered surfaces – stockpile area.

GYQ131
4” cobble with aligned acicular gypsum crystals (perpendicular to bedding plane?).

GYQ132
4” cobble with aligned acicular gypsum crystals (perpendicular to bedding plane?).

GYQ133
8” cobble of coarsely crystalline poorly-aligned gray-clear selenite crystals, and weathered surface – middle quarry area. (discarded)


GYQ134
4” cobble with coarse (few cm long) poorly aligned tabular selenite crystals – middle quarry area.
GYQ135
4” cobble with aligned selenite crystals and differential weathering parallel to crystal planes – middle quarry area.

GYQ136
Large (~12 inches) cobble of coarse, poorly-aligned selenite crystals and weathered surface – middle quarry area.

GYQ137
Small (2 inch) pebble of coarse selenite crystals (nothing special) – middle quarry area.

GYQ138
Small (4 inch) pebble of very coarse tabular selenite crystals – middle quarry area.


GYQ139
Small (4 inch) pebble of very coarse tabular, roughly aligned and radiating selenite crystals – middle quarry area.

GYQ140
Small (3 inch) white-clear selenite mass with some pink staining and minor green endoliths on buried in soil weathered surface – middle quarry area.

GYQ141
Cobble (~6 inches) of cm-size interlocking equidimensional clear-gray gypsum crystals – middle quarry area (?).

++++++++++++++++++++

20.2.1a.10. South quarry area – quarry and stockpile - collected August 6, 2015
(a) South quarry area: Collected for representative examples of folding and colour variations.

GYQ150
Gypsum cobble: bottom surface has hematitic brown staining overlain by vertically oriented selenite crystals; overlain in turn by vertically oriented pink selenite crystals and smooth pink upper surface.

GYQ151
Gypsum cobble, fine-medium grained with one brown-yellow stained face.

GYQ152
Pink-stained gypsum cobble. (discarded)
GYQ153
Rounded gypsum cobble with saccharine weathered surface and interior annular iron oxide (red-brown staining) – possibly reworked cobble?

GYQ154
Probably fissure-precipitated gypsum – vertically oriented gypsum crystals.

GYQ155
Gypsum cobble showing extreme sharp fold structure.

GYQ156
Red iron-stained gypsum cobble.

GYQ157
Lightly pink-stained lamellar gypsum (satin spar) vein fill (growth from both sides of fracture).

GYQ158
Satin spar (lamellar gypsum) vein fill (growth from both sides of fracture). (discarded)
++++++

(b) The “Big Rock” area

GYQ159
Weathered fragments of hydrothermally-altered pink basalt from The Big Rock.

++++++

(c) Aggregate pit area

GYQ160
Probable piece of carbonate impact melt-cemented clastics.

GYQ161
Probable piece of carbonate impact melt-cemented clastics. (discarded)
GYQ162
Probable piece of carbonate impact melt-cemented clastics.

GYQ163
Probable piece of carbonate impact melt-cemented clastics. (discarded)
GYQ164
Probable piece of carbonate impact melt-cemented clastics.

GYQ165
Probable piece of carbonate impact melt-cemented clastics.

++++++++++++++++++++++++++++++++++++

20.2.1a.11. South quarry area – quarry and stockpile - collected July 20, 2016
(a) South quarry area: Collected for representative examples of folding and colour variations and for endoliths.

GYP050
Gypsum boulder (~40 cm long) showing 90 degree fold structure.

GYP051
Gypsum cobble with fibrous gypsum vein fill oriented perpendicular to fracture.

GYP052
Soft pieces of gypsum boulder – black surface and abundant green endoliths.

GYP053
Small fragment of gypsum boulder with white surface and blue-green endolith layer.

GYP054
Fine-grained white gypsum cobble with white surface and blue-green endolith layer.

GYP055
Larger gypsum cobble with white surface and brown and blue-green endolith layers.

GYP056
Multiple pieces of gypsum cobble with white surface and brown and blue-green endolith layers.

GYP057
Gypsum cobble with white surface and blue-green endoliths.

GYP058
Gypsum cobble with white surface and blue-green endoliths.

GYP059
Few small fragments of gypsum cobble with white surface and blue-green endoliths.

GYP060
Multiple pieces of gypsum cobble with white-gray-black mottled surface and blue-green endoliths.

GYP061
Gypsum cobble with larger oriented selenite crystals and scattered blue-green endoliths.

GYP062
Gypsum cobble with larger oriented selenite crystals and scattered blue-green endoliths.

GYP061
Gypsum cobble with larger oriented selenite crystals.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2.2a. Gypsumville Aggregate Pit

Note: located a few hundred metres south of Rawluk's store along dirt road.

20.2.2a.1. Collected June 21, 2007 from aggregate pit

GSQ001-005
Samples from aggregate pit, Gypsumville – possible carbonate impact breccias and impact melts. GSQ001 sent to Gordon Osinski (Oct. 2021)
GSQ006
Sample from aggregate pit, Gypsumville – conglomerate? containing possible large limestone impact breccia/melt.

GSQ007
Samples from aggregate pit, Gypsumville, miscellaneous samples of conglomerate(?).

GSQ008
Sample from aggregate pit, Gypsumville, conglomerate (?) containing multi-hued possible limestone impact breccia/melt.

GSQ008,1
Unshocked carbonate clast from GSQ008.

GSQ009
Sample from aggregate pit, Gypsumville, possible limestone impact breccia/melt.

GSQ010
Sample from aggregate pit, Gypsumville, possible gneissic granite impact product. (discarded)
++++++++++++++++++++++++++++++++++++++++++++++

20.2.2a.2. Collected August 6, 2007

GYP201
Carbonate breccia?

GYP202
Granite (sent to Cornell, 08/07). Note: there is a shocked carbonate with the same sample ID.

GYP203
Red-stained selenite?

GYP204
Red- and purple-stained selenite?

GYP205
Carbonate breccia?

GYP206
Brecciated mass (sent to Cornell, 08/07).

GYP207
Gneissic granite?

GYP208
Gneissic granite? (discarded)
GYP209
Brecciated mass with carbonate breccia (sent to Cornell, 08/07).

GYP210
Carbonate breccia?

GYP211
Brecciated mass with trachyandesite? (sent to Cornell, 08/07).

GYP212
Brecciated mass with trachyandesite?

GYP213
Brecciated mass with trachyandesite?

GYP214
Trachyandesite (sent to Audrey Horne, Nov. 2015).
GYP215
Carbonate breccia?

GYP216
Trachyandesite?

GYP217
Brecciated mass?

GYP218
Trachyandesite
GYP219
Trachyandesite (sent to Cornell, 08/07).

GYP220
Trachyandesite with flow lines and carbonate melt.
GYP221
Trachyandesite
GYP222
Carbonate breccia

GYP223
Trachyandesite + carbonate breccia

GYP224
Trachyandesite + carbonate breccia (sent to Audrey Horne, Nov. 2015).
GYP225
Trachyandesite with flow lines
GYP226
Massive breccia (discarded)
GYP227
Trachyandesite with flow lines and carbonate melt
GYP228
Gneissic granite + breccia?

GYP229
Trachyandesite? (sent to Audrey Horne, Nov. 2015).
GYP230
Brecciated trachyandesite (?) in breccia?

GYP231
Red interbedded anhydrite/gypsum; from aggregate pit?

GYP232
Anhydrite/gypsum, fine grained; for texture; has soil line endoliths (from South Quarry)
GYP233
Anhydrite/gypsum, with weathered surface and green algal staining; from aggregate pit?

GYP234
Anhydrite/gypsum; from aggregate pit? (discarded)
GYP235
Anhydrite/gypsum with green algal staining; 2 pieces; from aggregate pit?

GYP236
Massive breccia

GYP237
Breccia with weathered trachyandesite(?), gneissic granite(?) and carbonate breccia(?) (sent to Cornell, 08/07).

GYP238
carbonate breccia

GYP239
Red-stained selenite?

GYP240
Carbonate breccia (large sample)
GYP241
Gneissic granite(?) in carbonate breccia(?) (discarded)
GYP242
Carbonate melt

GYP243
Trachyandesite (?) in breccia

GYP244
Gneissic granite (?) in breccia (discarded)
GYP245
Carbonate breccia

GYP246
Carbonate breccia

GYP247
Carbonate breccia

GYP248
Trachyandesite + carbonate melt
GYP249
Carbonate melt breccia – sent to Gordon Osinski (Oct. 2021)
GYP250
Carbonate breccia

GYP251
Carbonate melt
GYP252
Carbonate breccia

GYP253
Gneissic granite (?) in carbonate breccia

GYP254
Trachyandesite (?) in carbonate breccia

GYP255
Carbonate breccia (discarded)
GYP256
Carbonate breccia (discarded)
GYP257
Gneissic granite (?) in breccia

GYP258
Fragments and small samples from original sample bag containing GYP240-257

+++++++++++++++++++++++++++++++++++++++++

20.2.2a.3. Collected August 15, 2007- aggregate pit
GYP260
Possible carbonate breccias – multiple pieces

GYP280
Trachyandesite – multiple pieces (some to Audrey Hrone, Nov. 2015)

a – frothy impact melt (7 pieces)


b – Frothy impact melt (1 piece)


c – impact melt with flow lines (3 pieces)


d - layered
GYP281
Gypsum from aggregate pit

GYP282
Gypsum from aggregate pit

GYP283
Gypsum from aggregate pit

GYP284
Gypsum from aggregate pit

GYP285
Gypsum from aggregate pit

GYP286
Gypsum from aggregate pit

GYP287
Gypsum from aggregate pit

GYP288
Gypsum from aggregate pit (discarded)
GYP289
Gypsum from aggregate pit – 4 fragments of 1 piece

GYP290
Gypsum from aggregate pit

GYP291
Gypsum from aggregate pit

++++++++++++++++++++++++++++++++++++++++++

20.2.2a.4. Collected June 16, 2008

GYP292-296
Carbonate breccias

292: carbonate-welded breccia


293 – carbonate melt with endoliths


294 – carbonate melt + gypsum
GYP297-298
Discoloured gypsum from aggregate pit.
NWG001
Gypsum-bearing and gypsum-cemented samples from aggregate pit; multiple samples.
+++++++++++++++++++++++++++++++++++++++++++++

20.2.2a.5. Collected April 27/09

STM050-059
Gypsum nodules, various

STM060-069
Gypsum nodules, various

STM070
Piece of red bed with gypsum nodule and carbonate melt(?)

STM071
Gypsum cemented breccia

STM072
Gypsum nodule in breccia

STM073-076
Four pieces of gypsum nodule

STM077-082
Six pieces of gypsum nodule

STM083-098
Various pieces of red beds and gypsum nodules

083: impact melt


084: gypsum nodule


085: gnarly gypsum


086: shocked granite


087: shocked granite
STM099
Breccia from red beds

+++++++++++++++++++++++++++++++++++++++++++++++++

20.2.2a.6. Collected September 24, 2011

GYP450
Piece from aggregate pit – possible melted carbonate fragments; sample is in 4 pieces.

GYP451-456
Six small pieces of gypsum nodules and possible carbonate melt.

+++++++++++++++++++++++++++++++++++++

20.2.2a.7. Collected May 20, 2013
GYP330
Trachyandesite with partially consumed granite nodule in conglomerate.

STM889
Trachyandesite with partially consumed granite inclusions.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2.2a.8. Collected May 11-13, 2010 (GYP600 series)

GYP650-657
Eight pieces of presumed carbonate impact melt, from Gypsumville aggregate pit.

GYP658
Gypsum nodule from Gypsumville aggregate pit.

GYP659
Impact melt with embedded clasts from Gypsumville aggregate pit.

GYP660
Slab of red bed with various clasts from Gypsumville aggregate pit.

GYP661-672
Eleven pieces of impact melt from Gypsumville aggregate pit.

+++++++++++++++++++++++++++++++++

20.2.2a.9. Collected May 10, 2017 

LSX001
Cobble of purple-brown impact melt with minor vesicles and internal banding

LSX002
Smaller piece of purple-brown impact melt with vesicles and flow lines
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2.3a. Impact melt areas

Coordinates: 14 U 0537839 5744075 (from Jack Dubois, Apr. 8/08).

20.2.3a.1. Collected June 21, 2007 from impact melt area

GMR001
Trachyandesite melt rock with granitic inclusions – large sample; collected at southernmost exposure along Warpath Trail (sent to Audrey Horne, Nov. 2015).

GMR002-016
Trachyandesite melt rocks, some with granitic inclusions and zeolitic amygdules; collected at southernmost exposure along Warpath Trail (some pieces to Audrey Horne, Nov. 2015).
GMR017-020
Trachyandesite melt rocks (smaller), some with granitic inclusions and zeolitic amygdules; collected at southernmost exposure along Warpath Trail.

GMR021-024
Trachyandesite melt rocks (smaller), some with granitic inclusions and zeolitic amygdules; collected at southernmost exposure along Warpath Trail.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2.4a. Central Uplift Area

Two areas of central uplift bedrock are exposed within a few hundred metres of each other. The southern exposure is ~1 mile north on cut line (Jaworski Road?) located 6 miles east of Gypsumviile; the second is located an additional ~1 mile north (northern exposure).

20.2.4a.1. Collected August 15, 2007

GYP270
Possible granite breccias from central uplift – multiple pieces

+++++++++++++++++++++++++++++++++++++++++

20.2.4a.2. Southernmost exposure - collected Aug. 15, 2007 with Gordon Osinski 

(~1 mile north of highway along cutline) (aka “White Elephant” – a total misnomer; there is an actual White Elephant gypsum ridge)

GYP300-305
Intensely brecciated and unlayered granite

GYP306-315
Intensively brecciated and/or layered gneissic granite (smaller pieces) (315 sent to Cornell, 08/07).

GYP316
Trachyandesite erratic (?) at outcrop

GYP317
Large boulder of gneissic granite

GYP318-325
Brecciated and gneissic granite (325 sent to Cornell, 08/07). 
+++++++++++++++++++++++++++++++++++++++++++

20.2.4a.3. Southernmost exposure - collected June 16, 2008 

GMR025-026
Granite/gneiss breccia with interesting intergrowth textures (collected June 16, 2008).

+++++++++++++++++++++++++++++++++++++++++++++

20.2.4a.4. Southernmost exposure - collected April 19, 2009 

STM001-021
Fragments of gneissic (shocked granite), vermiform gneiss, samples with impact melt veins. Kept STM001, 003.
+++++++++++++++++++++++++++++++++++++++++++++

20.2.4a.5. Northernnmost exposure - collected Aug. 15, 2007 with Gordon Osinski 

(~2 miles north of highway along cutline (~1 mile north of main exposure (aka “White Elephant 2” – a total misnomer, there is an actual White Elephant gypsum ridge)

GYP350-372
Brecciated and gneissic (and somewhat more weathered) pieces: ~23 in total. Kept 350 and 351.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2.5a. The Big Rock area

Note: consists of an uplifted block of unshocked to mildly shocked Precambrian granites on the east rim of the crater. The site was partially excavated in 2011 and 2012 for aggregate for road building, exposing fresh surfaces.

20.2.5a.1. Collected June 21, 2009.
GYP200
Shocked granite “erratic” found at The Big Rock site.

GYP201
Impact melt from Gypsumville aggregate pit.

GYP202
Shocked carbonate from Gypsumville aggregate pit.

++++++
20.2.5a.2. Collected Aug. 15/07 with Gordon Osinski of CSA

GYP400
Massive granite from north end of outcrop

GYP401
Massive granite, from top of main outcrop

GYP402
Massive granite, perhaps with slickensided surfaces, bottom part of main outcrop (6 pieces)

GYP403
Massive granite (from granite vein?)

GYP404
Lower host rock

GYP405
Higher country rock

GYP406
Granite pegmatite vein, centre of exposure (discarded)
STP030
Lighter coloured granite country rock at top of hill just north of “Big Rock” cliff.

SPT031
Darker coloured granite country rock – face of Big Rock.

STP032-049
Various pieces of pegmatitic, quartz and feldspar filled vein cutting through darker country rock on face of Big Rock.
STM891
Dark granite country rock.

++++++++++++++++++++++++++++++++++++++++++++++++

20.2.5a.3. Collected September 24, 2011

Note: Big Rock was being blasted and removed for aggregate prior to Sept. 24/11 visit.

STP050
Fresh granite with pink-purple feldspar megacrysts from The Big Rock.

STP051
Medium-grained fresh granite from The Big Rock.

STP052
Finer-grained fresh granite from The Big Rock.

++++++++++++++++++++++++++++++++++++++++

20.2.5a.4. Collected May 20, 2013

Note: further blasting and quarrying has revealed area to the north of pre-existing Big Rock that shows evidence of alteration (such as more pervasive iron staining, fracture filling, alteration/weathering/dissolution, and partially altered granites (sericitized?).

STP053
Partially bleached granite nodule with thick fracture fill deposits (crystalline, brown); 6 pieces.

STP054
Partially bleached granite.

STP055
Mildly bleached granite.

STP056
Iron-stained and partially-altered granite with iron oxyhydroxide staining in weathered-out vesicles (9 pieces).

STP057
Foliated/gneissic and partially altered granite (3 pieces).

STP058
Partially bleached (sericitized?) granite (3 larger pieces and a number of smaller fragments).

STP059
Unaltered, finer-grained granite.

STP060
Unaltered, coarser-grained granite.
STP061
Granite with lichen
+++++++++++++++++++++++++++++++++++++++++

20.2.5a.5. Collected August 7, 2015
Note: further blasting and quarrying has revealed area to the west, north and east of pre-existing Big Rock that shows evidence of alteration (such as more pervasive iron staining, fracture filling, alteration/weathering/dissolution, and partially altered granites (sericitized?). Currently there is a large mound of blasted Precambrian granite at the site.
GYP010
Pink granite cobble with face showing iron-altered (red-orange) slickensiding on one face – possibly fracture movement during emplacement by cratering event?

GYP011
Pink granite cobble with vein of larger crystals including dark purple (orthoclase?) grains. (discarded)
GYP012
Pink granite cobble with upper and lower surfaces showing subsurface alteration: buff brown colour and dark brown staining.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2.6a. White Elephant gypsum open pit mine
20.2.6a.1. September 18-19. 2010 site visit
GWE001
Surficial gypsum nodule for weathered surface texture.

GWE002
Large selenite crystals with algal staining.

GWE003
Surficial gypsum nodule for weathered surface texture.

GWE004
Surficial gypsum nodule for weathered surface texture.

GWE005
Gypsum slab for weathered surface texture and massive microcrystalline texture.

GWE006
Gypsum nodule for weathered surface texture.

GWE007
Gypsum nodule for weathered surface texture.

GWE008
Two gypsum nodules for weathered surface texture and cryptoendoliths.

GWE009
Gypsum nodule for weathered surface texture and cryptoendoliths.

GWE010
Fracture fill in gypsum – reprecipitated gypsum?

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2.7a. Lake St. Martin Drill cores – from Manitoba Geological Survey 

20.2.7a.1. Sampled Nov. 2012

LSM-1a
Hole LSM-1; 33-42 foot interval (from mid-point): trachyandesite – light brown-green, vesicle-free.

LSM-3a
Hole LSM-33; 40 foot depth: anhydrite – blue-gray, some banding.

LSM-3b
Hole LSM-3; ~61 foot depth; anhydrite – blue-gray, some banding.

LSM-3c
Hole LSM-3; ~71 foot depth; anhydrite – blue-gray, some banding.

LSM-3d
Hole LSM-3; ~115 foot depth; glauberite – whitish powder; disaggregated in drill core box.

++++++++++++++++++++++++++++++++++++++

20.2.7a.2. Sampled Feb. 7, 2013

The following descriptions are of the intervals we sampled:

LSM-1 is comprised of the Trachyandesite melt sheet, from 0-214 feet. The top of the hole is very fine grained pale grey-greenish. Some spots are quite rusty. The core progressively becomes darker purple/reddish towards the base, eventually a somewhat sharp change from grey to purple occurs at ~160 feet. The contact between the melt sheet and underlying carbonates occurs at ~214 feet – lots of odd rock here, very different from the rest of the core. There is much calcite (much more at the base) and green/grey clay-coating throughout the core. The ID of the green stuff wasn’t constrained in the core logs (I have enough for XRD). Samples taken represent the melt sheet, as well as perceived alteration (hydrothermal?) products. 

LSM-M8 is a granitic breccia with much injected melt material with flow texture. Greenish-white calcite present.

LSM-M9 is a weathered limestone underneath highly altered/shocked granitic breccia. The section we sampled has visible pyrite and a black mineral that was not constrained in the core logs.

LSM-14 is microcrystalline brecciated carbonate. Some portions of the core were clearly melted, with many vesicules and clear flow lines. There are some calcite inclusions, with much of the same green mineral present in LSM-1.

SAMPLE
Depth (feet)

LSM-1b

3 

LSM-1c

6 

LSM-1d

11

LSM-1e

14

LSM-1f

23

LSM-1g

25

LSM-1h

29

LSM-1i

33

LSM-1j

33

LSM-1k

42

LSM-1l

43

LSM-1m
45

LSM-1n

55

LSM-1o

61

LSM-1p

66

LSM-1q

73

LSM-1r

73

LSM-1s

83

LSM-1t

85

LSM-1u

93

LSM-1v

95

LSM-1w
104

LSM-1x

109

LSM-1y

112

LSM-1z

114

LSM-1aa
122

LSM-1ab
127

LSM-1ac
131

LSM-1ad
134

LSM-1ae
145

LSM-1af
147

LSM-1ag
148

LSM-1ah
152

LSM-1aj
159

LSM-1ak
165

LSM-1al
167

LSM-1am
169

LSM-1an
175

LSM-1ao
180

LSM-1ap
182

LSM-1aq
182

LSM-1ar
183

LSM-1as
187

LSM-1at
193

LSM-1au
197

LSM-1av
198

LSM-1aw
199

LSM-1ax
202

LSM-1ay
203

LSM-1az
205

LSM-1ba
207

LSM-1bb
208

LSM-1bc
212

LSM-1bd
222

LSM-1be
232

LSM-1bf
238

LSM-1bg
242

LSM-1bh
249

LSM-1bi
252

LSM-1bj
268

LSM-1bk
272

LSM-1bl
274

LSM-1bm
275

LSM-1bn
275

LSM-1bo
284

LSM-1bp
288

LSM-1bq
291

LSM-1br
294

LSM-14a
75

LSM-14b
54

LSM-14c
80

LSM-14d
95

LSM-14e
121

LSM-14f
128

LSM-14g
132

LSM-14h
165

LSM-14i
172

LSM-14j
179

LSM-14k
185

LSM-M9a
266

LSM-M9b
269

LSM-M9c
285

LSM-M9d
292

LSM-M8a
205

LSM-M8b
207

LSM-M8c
210

LSM-M8
213

+++++++++++++++++++++++
20.2.8. Gypsumville – endoliths mostly

Samples collected May 10, 2017from middle (GYX001) and southwest end of south quarry
GYX001
selenite plus fine-grained gypsum with full color endoliths

GYX002
fine-grained gypsum with full color endoliths

GYX003
fine-grained gypsum with full color endoliths

GYX004
fine-grained gypsum with full color endoliths

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2.9a. Gypsumville – Lake St. Martin: samples from July 2018 rover deployment

Note: these are not sample acquired for the rover trials.

GLSM01
Large (~4 cm) selenite crystal with clean white upper surface, and endoliths in subsurface portion (from stockpile at road intersection to South Quarry).

GLSM02
Pink medium-grained gypsum cobble (from stockpile at road intersection to South Quarry).

GLSM03
Brown-yellow stained gypsum cobble (from stockpile at road intersection to South Quarry).

GLSM04
Fine-grained gypsum cobble with orange and green endolith layers in interior (flats at South Quarry).

GLSM05
Granite cobble with brown precipitates (along fractures); from “The Big Rock”.

+++++++++++++++++++++++++++++

20.2.10A. FAST rover field trial: July 2018
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.

(“DA” samples refer to sample numbering system used by Stan Mertzman)
L1 samples
L1-R1A-T1
DA18-1

L1-R1A-T2
Not sent for analysis

L1-R1A-T3
Not sent for analysis

L1-R1A-T4
DA18-2

L1-R1A-T6
DA18-3

L1-RA1-T7
DA18-4

L1-R1A-T8
DA18-5

L1-R1B-T1
DA18-6

L1-R1B-T2
DA18-7

L1-R1B-T3
DA18-8????? (maybe mislabelled – Stan numbers)

L1-R2-T1
DA18-9

L1-R2-T2
DA18-10

L1-R2-T3
DA18-11

L1-R3-T1
DA18-12

L1-R3-T3
DA18-14????? (maybe mislabelled – Stan numbers)

L1-R3-T3
DA18-13

L1-R4-T1
DA18-14

L1-R4-T2
DA18-15

L1-RP1
DA18-20

L1-RP2
DA18-21

L1-RP3
DA18-22

L1-RP4
DA18-23

L1-RP5
DA18-24

L1-RP6
DA18-25

L2 samples

L2-R6-T1
DA18-16
L2-R6-T2
DA18-17
L2-R9-T1
DA18-18

L2-R10-T1
DA18-19
L2-RP1
DA18-28

L2-RP2
DA18-27

L2-RP3
DA18-26
++++++++Maybe mislabelled – Stan numbers+++++++++

+++++++++++++++++++++++++++++++++
20.2.11.a. Unnamed dolomite quarry with shatter cones
Unnamed dolomite quarry located southwest of Gypsumville, ~2 km south of Highway 513 turnoff to Gypsumville. Near southwest rim of original crater; visible on east side of Highway 6 (~80 x 100 metres and 8 metres deep. Seems to contain abundant shattercones. See: http://craterexplorer.ca/st-martin-impact-structure/ and Issogonis article. Location of quarry is: 51° 40.760 minutes N, 98° 43.937 minutes W.
· Maybe at: 51.678624° N; 98.735044° W.

GUDQ01-xx
Approximately 20 buff to light brown samples of dolomite (?) showing variously sized radial striations that represent likely partial shatter cones. 

GYSC01-15
Approximately 15 samples of possible shatter cones collected from quarry in September 2021.

+++++++++++++

July 29, 2023 road trip to Gypusmville

GYSC20
Possible partial shatter cone: radiating sub-cm striations.

GYSC21
Possible partial shatter cone: radiating sub-cm striations.

GYSC22
Desiccated algal-sediment mat (curled up edges) – brown-red

GYSC23
Desiccated algal-sediment mat (curled up edges) – brown-red

+++++++++++++++++++

20.2c. Compositional Data - Gypsumville - St. Martin Crater area
20.2c.1. Analysis of St. Martin crater impact melt (from literature sources)
Analysis from Simonds and McGee (Proc. LPSC 10, pp. 2493-2518 (1979)).

Wt. %
Range for three pseudotachylites

Clast-poor impact melts (range)

SiO2
53.87 – 70.62


63.76-66.29

TiO2
0.35-0.70


0.35-0.49

Al2O3
13.99-17.10


15.11-15.83

Cr2O3
0.00




0.00

FeO*
2.84-7.94


2.84-3.49

MnO
0.05-0.27


0.02-0.06

MgO
1.41-4.02


2.35-3.37

CaO
2.27-6.03


4.77-5.66

Na2O
3.23-4.40


4.03-4.43

K2O
3.19-5.66


2.96-3.79

P2O5
0.07-0.22


0.11-0.14

Mo
0.07-0.94


0.03-0.42



Total
98.68-100.67


99.29-100.12



* - all Fe reported as FeO.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2c. Compositional Data - Gypsumville - St. Martin Crater area (continued)

20.2c.2. Gypsumville - Lake St. Martin samples - Sample Analyses by XRF
Wt. %
GYP160
GYP160
GYP161
GYP161
GYP250
GYP316
GYP317
SiO2
2.07
1.94
0.00
0.00
11.54
63.01
54.44
TiO2
0.01
0.00
0.00
0.00
0.04
0.41
0.71
Al2O3
0.25
0.29
0.00
0.01
1.98
17.88
16.51
FeO



0.38

0.19
0.86
Fe2O3



0.20

4.09
9.06
(Fe2O3)*
(0.33)
(0.64)
(0.06)
(0.62)
(1.19)
(4.30)
(10.02)
MnO
0.01
0.02
0.00
0.01
0.19
0.03
0.18
MgO
1.14
1.12
0.04
0.05
32.96
2.28
5.02
CaO
41.66
39.70
42.71
43.88
50.23
3.19
7.14
Na2O
0.03
0.04
0.04
0.01
0.26
3.82
3.85
K2O
0.03
0.02
0.00
0.00
0.60
4.81
1.93
P2O5
0.02
0.03
0.02
0.02
0.05
0.23
0.35
SO3
53.58
55.22
56.78
54.85
0.08
0.07
0.06


TOTAL
99.13
99.02
99.65
99.45
99.12
100.03
100.21
LOI
20.64
18.67
20.87
15.79
24.85
4.04
2.75


ppm

Sr
5491
8160
1930
5334
308
676
708
Zr
146
149
58
119
79
419
166
V
7
31
11
28
52
101
230
Ni
1
<2
1
<2
<2
35
<2
Cr
5
<2
6
<2
<2
64
74
Co
22
<2
13
<2
<2
<1
5


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2c. Compositional Data - Gypsumville - St. Martin Crater area (continued)

20.2c.2. Gypsumville - St. Martin Crater - Sample Analyses by XRF (continued)
Wt. %
LSM-1-3ft
LSM1-202
LSM14-
LSM14-
STM003
STM030
STM889

Depth


165ft
172ft




SiO2
66.89
65.25
0.00
7.42
63.01
72.05
66.01

TiO2
0.47
0.39
0.00
0.05
0.55
0.41
0.39

Al2O3
14.21
15.00
0.06
2.09
16.35
14.52
16.70

FeO
1.21
0.93
0.03
0.59
0.36
0.93
0.25

Fe2O3
2.04
2.36
00.3
0.18
6.06
1.46
3.24

(Fe2O3)*
(3.38)
(3.39)
(0.06)
(0.84)
(6.46)
(2.49)
(3.52)

MnO
0.06
0.06
0.03
0.05
0.08
0.05
0.06

MgO
2.97
3.39
0.54
33.62
2.67
0.71
3.20

CaO
4.75
3.81
99.36
54.89
3.74
1.90
2.52

Na2O
3.53
3.82
0.05
0.21
3.31
4.05
3.22

K2O
3.50
4.68
0.00
0.36
3.64
3.76
3.91

P2O5
0.15
0.14
0.01
0.05
0.19
0.13
0.14

SO3
0.05
0.06
0.06
0.14
0.06
0.07
0.07

TOTAL
99.96
99.99
100.17
99.72
100.06
100.14
99.74

LOI
2.53
2.77
43.61
44.25
3.18
0.67
6.11

ppm
Sr
520
431
191
181
652
369
525

Zr
98
218
51
67
200
358
204

V
96
99
30
51
149
69
100

Ni
<2
5
<2
<2
25
13
18

Cr
65
63
<2
<2
110
87
79

Co
<2
<2
<2
<2
<1
<1
3

Rb
75







Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2c. Compositional Data - Gypsumville - St. Martin Crater area (continued)

20.2c.2. Gypsumville - St. Martin Crater - Sample Analyses by XRF (continued)

Wt. %
STM-001
STM-001
STM-891



Vein



SiO2
60.14
59.83
63.19

TiO2
0.50
0.55
1.31

Al2O3
17.25
16.69
14.55

FeO
0.35
0.24
2.65

Fe2O3
6.39
7.13
4.84

(Fe2O3)*
(6.78)
(7.40)
(7.79)

MnO
0.09
0.10
0.11

MgO
2.94
2.99
1.69

CaO
5.28
5.47
3.18

Na2O
3.92
3.94
4.04

K2O
3.19
2.90
2.92

P2O5
0.22
0.25
0.59

SO3
0.07
0.08
0.06

TOTAL
100.38
100.20
99.43

LOI
2.90
3.76
1.30

ppm
Sr
820
695
490

Zr
133
162
667

V
150
168
144

Ni
10
12
3

Cr
68
69
43

Co
10
8
4

Rb
50
49
137

Source
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC






* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2c. Compositional Data - Gypsumville - St. Martin Crater area (continued)

20.2c.2. Gypsumville - St. Martin Crater - Sample Analyses by XRF (continued)


LSM
LSM
LSM
LSM
LSM
LSM

Sample
GYQ150
GYP616
GSQ009
GSQ009
GYP650
GYP650




Yellow
Red
White
Pink


Wt. %

SiO2
0.00
44.64
79.88
26.03
56.36
47.44

TiO2
0.00
0.23
0.03
0.04
0.08
0.11

Al2O3
0.02
4.96
1.63
2.23
3.49
4.07

Fe2O3T1
0.29
5.97
0.58
1.89
1.13
2.37

MnO
0.01
0.23
0.06
0.15
0.14
0.16

MgO
0.11
25.51
7.05
27.37
15.18
18.09

CaO
41.56
8.68
9.96
40.77
21.67
25.47

Na2O
0.11
0.28
0.17
0.37
0.24
0.28

K2O
0.00
0.58
0.54
0.87
1.57
1.91

P2O5
0.00
0.11
0.05
0.06
0.29
0.23

SO3
58.19
0.29
0.06
0.08
0.06
0.09

Total2
100.29
91.48
100.01
99.86
100.21
100.22

LOI3
20.97
18.96
13.52
38.12
24.92
28.61

FeO4
0.06
0.20
0.18
0.10
0.26
0.28

Fe2O34
0.22
5.75
0.38
1.78
0.84
2.06

ppm

Rb
<2
<2
2
8
16
29

Sr
841
75500
118
151
120
122

Zr
44
700
51
45
62
61

V
<1
92
25
24
24
37

Cr
37
58
43
65
51
54

Co
<1
23
<1
<1
<1
<1

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Phases IDed

by XRD










1 All Fe reported as Fe2O3.

2 Total reported on an LOI basis and all Fe as Fe2O3.

3 LOI: loss on ignition: % weight loss after heating in air at 950º for 1 hour.

4 Ferrous and ferric iron determined by wet chemistry.

20.2c. Compositional Data - Gypsumville - St. Martin Crater area (continued)

20.2c.2. Gypsumville - St. Martin Crater - Sample Analyses by XRF (continued)


LSM
LSM
Sample
STM084
NWG001

Wt. %

SiO2
1.09
7.44

TiO2
0.00
0.00

Al2O3
0.26
0.50

Fe2O3T1
0.32
0.61

MnO
0.01
0.01

MgO
0.14
0.78

CaO
41.20
37.20

Na2O
0.12
0.14

K2O
0.11
0.20

P2O5
0.00
0.06

SO3
56.32
52.95

Total2
99.57
99.89

LOI3
20.81
20.36

FeO4
0.04
0.09

Fe2O34
0.28
0.51

ppm

Rb
<2
<2

Sr
1350
2050

Zr
40
57

V
<1
<1

Cr
37
42

Co
<1
<1
Analysis
XRF/WC
XRF/WC


Mertzman
Mertzman

Phases IDed

by XRD










1 All Fe reported as Fe2O3.

2 Total reported on an LOI basis and all Fe as Fe2O3.

3 LOI: loss on ignition: % weight loss after heating in air at 950º for 1 hour.

4 Ferrous and ferric iron determined by wet chemistry.

20.2c.3. Gypsumville - Lake St. Martin - Sample Analyses - electron microprobe

Phases analyzed by electron microprobe by M. Izawa (Feb. 2014)
GYP316: plagioclase

STM003: plagioclase, magnetite

STM030: K-feldspar, plagioclase, magnetite, biotite.

STM889: pyroxene, plagioclase, magnetite.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2c.3. Gypsumville - Lake St. Martin - Sample Analyses

	
	
	
	
	
	

	Specimen
	R.10.I.19
	R.2.S.19
	R.2.S.20
	R.4.I.20
	R.9.I.19

	Wt.%:
	
	
	
	
	

	SiO2
	49.47
	39.42
	42.32
	41.97
	50.07

	TiO2
	2.17
	0.02
	2.88
	2.91
	2.28

	Al2O3
	12.80
	0.94
	11.56
	11.82
	13.75

	Fe2O3T
	11.34
	8.87
	12.90
	13.21
	11.58

	MnO
	0.14
	0.13
	0.19
	0.18
	0.14

	MgO
	11.64
	47.07
	13.80
	13.57
	9.22

	CaO
	8.29
	2.53
	10.51
	10.52
	9.01

	Na2O
	2.69
	0.15
	3.08
	3.05
	2.86

	K2O
	0.80
	0.01
	1.39
	1.39
	0.59

	P2O5
	0.38
	0.01
	0.89
	0.88
	0.32

	Total
	99.72
	99.15
	99.52
	99.50
	99.82

	LOI
	1.49
	2.39
	0.76
	0.84
	0.66

	FeO
	7.58
	6.93
	6.85
	8.45
	8.65

	Fe2O3
	2.92
	1.17
	5.29
	3.82
	1.97

	ppm:
	
	
	
	
	

	Sr
	335
	19
	653
	651
	303

	Zr
	117
	4
	163
	152
	96

	V
	174
	17
	266
	245
	178

	Cr
	445
	3152
	469
	434
	304

	Ni
	
	2954
	
	
	



Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman



XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

Fe2O3T: Total Fe reported as Fe2O3. 

Total: expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
20.2d. Spectral Data - Gypsumville – St. Martin Crater (mostly alphabetical order)
(a) ASD reflectance spectra
Sample ID
Facility/File No.
Description







GMR001
PSF 080129b.008
whole rock, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GMR001
PSF 080129b.009
whole rock, zeolite nodule; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++

GMR002
PSF 080129b.010
whole rock, shocked? granite clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GMR002
PSF 090728a.001
<45µm; 30°/0°; 0.35-2.5 µm, 1 nm output, 1000 spectra averaged; ASD.
++++++

GSQ007A
PSF 080129b.011
whole rock, limestone? nodule; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GSQ007A
PSF 080129b.012
whole rock, red clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GSQ007A
PSF 080129b.013
whole rock, unaltered limestone? clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GSQ007A
PSF 080129b.014
whole rock, dark spot; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++

GSQ008,1
PSF 100725a.003
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GSQ008,1
PSF 100725a.004
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GSQ008,1
PSF 100723a.013
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100723_deathchamber].

++++++

GSQ009A
PSF 080129b.015
whole rock, carbonate breccia?, lighter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GSQ009A
PSF 080129b.016
whole rock, carbonate breccia?, orange area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
GYP202
PSF 100725a.005
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP202
PSF 100725a.006
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP202
PSF 100723a.011
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100723_deathchamber].

++++++
GYP204
PSF 100724a.003
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP204
PSF 100724a.004
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP204
PSF 100723a.015
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100723_deathchamber].

++++++
GYP232
PSF 080129b.025
whole rock, clean gypsum, white area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP232
PSF 080129b.026
whole rock, clean gypsum, grubbier area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP232
PSF 080129b.027
whole rock, clean gypsum, white area on side of sample; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
GYP281
PSF 100724a.001
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP281
PSF 100724a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP281
PSF 100723a.014
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100723_deathchamber].

++++++
GYP290
PSF 080129b.028
whole rock, pink/altered gypsum, pink area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP290
PSF 080129b.029
whole rock, pink/altered gypsum, whiter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
GYP291
PSF 080129b.030
whole rock, pink/altered gypsum, pink area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP291
PSF 080129b.031
whole rock, pink/altered gypsum, white/yellow area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP291
PSF 080129b.032
whole rock, pink/altered gypsum, yellower area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
GYP306
PSF 080129b.019
whole rock, granite breccia/melt rock, red area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP306
PSF 080129b.020
whole rock, granite breccia/melt rock, white area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP306
PSF 080129b.021
whole rock, granite breccia/melt rock, other surface red area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
GYP307
PSF 080129b.022
whole rock, granite breccia/melt rock, trachyandesite area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP307
PSF 080129b.023
whole rock, granite breccia/melt rock, pink feldspar area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

GYP307
PSF 080129b.024
whole rock, granite breccia/melt rock, white area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
GYP401
PSF 080129b.017
whole rock, clean weathered surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged; larger piece.

GYP401
PSF 080129b.018
whole rock, clean weathered surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged; smaller piece.
++++++
GYP613
PSF 100725a.001
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP613
PSF 100725a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

++++++
GYP650
PSF 100725a.007
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP650
PSF 100725a.008
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100724_Gypsumville].

GYP650
PSF 100723a.012
whole rock surface; i=30°, e=0°; 0.35-2.5 μm; 1 nm spectral output; 1000 spectra averaged; ASD [directory: 100723_deathchamber].

++++++++++++++++++++++++++++++++++++
(b) ASD reflectance spectra - For Rebecca Wilks LSM shock study

(i) <45 μm powders

STM030
PSF 130423a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

STM891
PSF 130423a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

STM889
PSF 130423a.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

LSM-1-202
PSF 130423a.004
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

LSM-1-3
PSF 130423a.005
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

GYP317
PSF 130423a.006
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

LSM-14-172
PSF 130423a.007
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

GYP250
PSF 130423a.008
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

STM003-coarse
PSF 130423a.009
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

STM003-fine
PSF 130423a.010
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

LSM-14-165
PSF 130423a.011
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

STM001
PSF 130423a.012
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

STM001-vein
PSF 130423a.013
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130423a].

++++++++++

(ii) Whole rocks
LSM-1-3
PSF 130314b.005
whole rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301B].

STM891
PSF 130314.026
whole rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130314].
+++++

STM003a
PSF 130214b.004
whole rock – gneissic side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130214b].
STM003b
PSF 130214b.005
whole rock – finer gneiss; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130214b].
STM003c
PSF 130214b.006
whole rock – gray band; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130214b].
STM003d
PSF 130214b.007
whole rock – brown crystal; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130214b].
++++++

STM031a
PSF 130208.012
whole rock – weathered side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130208].
STM031b
PSF 130208.013
whole rock – fresh side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130208].
STM030
PSF 130208.030
whole rock – country rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130208].
+++++

STM030
PSF 130214.021
whole rock – Precambrian granite; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130214].
STM891
PSF 130214.026
whole rock – Precambrian granite; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130214].
LSM-14-165ft
PSF 130315a.003
whole rock – yellow crystal; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130315a].
LSM-14-165ft
PSF 130315a.004
whole rock – flat side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130315a].
LSM-14-165ft
PSF 130301a.005
whole rock – darker brown blotchy flat bottom; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130315a]; maybe 130315a.005?

LSM-14-165ft
PSF 130301a.006
whole rock – clear crystals; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130315a]; maybe 130315a.006?.
LSM-14-165ft
PSF 130301a.007
whole rock – outside of core lying flat; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130315a]; maybe 130315a.007?.
LSM-14-165ft
PSF 130301a.008
whole rock – lighter brown, blotchy; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130315a]; maybe 130315a.008?.
+++++

GYP250a
PSF 130301a.001
whole rock – carbonate melt, flat pointed side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
GYP250b
PSF 130301a.002
whole rock – carbonate melt, pinkish area, opposite side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
GYP250c
PSF 130301a.003
whole rock – carbonate melt, yellow area; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
GYP250d
PSF 130301a.004
whole rock – carbonate melt, probably not carbonate; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
STM889a
PSF 130301a.005
whole rock – granite melt, flat side; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
STM889b
PSF 130301a.006
whole rock – granite melt, redder area; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
STM889c
PSF 130301a.007
whole rock – granite melt, dark pocketed area; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 500 spectra averaged; ASD [Directory: 130301a].
++++++++++++++++++++++++++++
(b) Bruker Vertex 70 reflectance spectra

(i) <45 μm powders

STM030
PSF stm030
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

STM891
PSF stm891
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

STM889
PSF stm889
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

LSM-1-202
PSF lsm-1-202
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

LSM-1-3
PSF lsm-1-3
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

GYP317
PSF gyp317
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

LSM-14-172
PSF lsm-14-172
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

GYP250
PSF gyp250
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

STM003 coarse
PSF stm003 coarse
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

STM003 fine
PSF stm003 fine
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

LSM-14-165
PSF lsm-14-165
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

STM001
PSF stm001
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

STM001 vein
PSF stm001 vein
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

++++++++++++++++++++++++++

(ii) Whole rocks
STM889
PSF stm889 (1)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

GYP317
PSF gyp317 (2)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

STM001a
PSF stm001 (3)
whole rock: vein and a little bit of banding; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

STM001b
PSF stm001 (4)
whole rock: banding only; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

LSM-1-3
PSF lsm-1-3 (5)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

LSM-14-165
PSF lsm-14-165 (6)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

STM891
PSF stm891 (7)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

LSM-14-172
PSF lsm-14-172 (8)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

STM003a
PSF stm003 (9)
whole rock: coarse texture; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

STM003b
PSF stm003 (10)
whole rock: fine texture; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

GYP250
PSF gyp250 (11)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

LSM-1-202
PSF lsm-1-202 (12)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

STM030
PSF stm030 (13)
whole rock; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130428_WholeRock]

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2d.1. Sample spectra for cryptoendolith study – ASD reflectance spectra
GYP601,1
PSF 100615a.002
top (exposed surface) of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [directory: 100615_crypto].

GYP601,2
PSF 100615a.004
brown spot in interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].
STM030
PSF stm030
<45 µm; i=30°, e=0°; 1-25 μm; 2 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Directory: 130426_powder]

GYP601,3
PSF 100615a.005
green spot in interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP601,4
PSF 100615a.006
green and brown spot in interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP601,5
PSF 100617a.001
brown spot #1 on broken interior surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP601,6
PSF 100617a.003
brown spot #2 on broken interior surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP601,7
PSF 100617a.002
green spot on broken interior surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

++++++++

GYP605,1
PSF 100615a.007
top (exposed) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP605,2
PSF 100615a.008
green spot in interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

++++++++

GYP606,1
PSF 100615a.009
blue and green spot in interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP606,2
PSF 100615a.010
brown spot in interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

+++++++

GYP611,1
PSF 100615a.011
orange spot/crust on exterior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP611,2
PSF 100615a.012
green spot/crust on exterior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP611,3
PSF 100615a.013
orange spot on interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP611,4
PSF 100615a.014
green spot on interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP611,5
PSF 100615a.015
white spot on interior (broken) surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP611,6
PSF 100615a.016
blue spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP611,7
PSF 100615a.017
green spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

++++++++

GYP612,1
PSF 100616a.001
blue spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612,2
PSF 100616a.002
blue/greenish spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612,3
PSF 100616a.003
blue thin line on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612,4
PSF 100616a.004
brown spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612,5
PSF 100616a.005
white spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612,6
PSF 100617a.004
green spot on broken interior surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612,7
PSF 100617a.005
dirty green spot on broken interior surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

++++++

GYP612a,1
PSF 100616a.006
green spot with brown on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612a,2
PSF 100616a.007
“white, top of green” spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

++++++
GYP612b,1
PSF 100616a.008
orange spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612b,2
PSF 100616a.009
green and brownish spot on interior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

GYP612b,3
PSF 100616a.010
white (top) spot on exterior? surface of rock; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra avgd; ASD [dir: 100615_crypto].

++++++++++++++++++++++++++++++++

20.2d.2. Endolith reflectance spectra - ASD
Reflectance spectra measured on endoliths on various gypsum samples before (live) and after (dead) exposure of samples to Mars box environments (low carbon dioxide pressure for ~40 days). See Stromberg et al. 2014 for details.

Blue spot 1, Live gypsum
PSF 120223a.001
surface: blue spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Blue spot 2, Live gypsum
PSF 120223a.002
surface: blue spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Blue spot 3, Live gypsum
PSF 120223a.004
surface: blue spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Blue spot 4, Live gypsum
PSF 120223a.006
surface: blue spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Orange spot 1, Live gypsum
PSF 120223a.005
surface: orange spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Orange spot 2, Live gypsum
PSF 120223a.007
surface: orange spot on live gypsum – very faint spot; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Green spot 1, Live gypsum
PSF 120223a.008
surface: green spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Green spot 2, Live gypsum
PSF 120223a.009
surface: green spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

Green spot 3, Live gypsum
PSF 120223a.010
surface: green spot on live gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; ASD (directory: 120223_reflectance).

GYPPM Green band, Dead gypsum
PSF 120223a.011
surface: green band on dead gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120223_reflectance).

GYPPM Brown spot, Dead gypsum
PSF 120223a.012
surface: brown spot on dead gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120223_reflectance).

GYPPM Orange spot, Dead gypsum
PSF 120223a.013
surface: orange spot on dead gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120223_reflectance).

GYPPM Crust, Dead gypsum

PSF 120223a.014
surface: crust on dead gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120223_reflectance).

GYPPM Green band 2, Dead gypsum
PSF 120223a.015
surface: green band on dead gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120223_reflectance).

GYPPM Orange band 2, Dead gypsum
PSF 120223a.016
surface: orange band on dead gypsum; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120223_reflectance).

GYP605 green cryptos, gypsum

PSF 120223a.017
surface: green cryptos on gypsum samples; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure?; ASD (directory: 120223_reflectance).

GAB003 Cooked grains (A98)

PSF 120229a.002
500-1000 μm; Cooked gypsum samples, A98; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120229_reflectance).

GAB003 Cooked grains (A21)

PSF 120229a.003
45-90 μm; Cooked gypsum samples, A21; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120229_reflectance).

GAB003 Cooked grains (A22)

PSF 120229a.004
90-250 μm; Cooked gypsum samples, A22; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120229_reflectance).

GAB003 Cooked grains (A27)

PSF 120229a.005
250-500 μm; Cooked gypsum samples, A27; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120229_reflectance).

GAB003 Uncooked grains (A27UC)
PSF 120229a.006
250-500 μm; Uncooked gypsum samples, A27UC; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120229_reflectance).

GAB003 Uncooked grains (A98UC)
PSF 120229a.007
500-1000 μm; Uncooked gypsum samples, A98UC; i=30°, e=0°; 350-2500 nm; 500 spectra averaged; 1 nm output; post vacuum oven exposure; ASD (directory: 120229_reflectance).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2d.3. Endolith fluorescence spectra

Fluorescence induced with 405 nm UV laser; fluorescence spectra measured with Ocean Optics S2000 spectrometer.

Gypsum rock, Blue spot
PSF GypsumBlue1
surface – blue spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Blue spot
PSF GypsumBlue2
surface – blue spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Blue spot
PSF GypsumBlue3
surface – blue spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Blue spot
PSF GypsumBlue4
surface – blue spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Orange spot
PSF GypsumOrange1
surface – orange spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Orange spot
PSF GypsumOrange2
surface – orange spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Green spot
PSF GypsumGreen1
surface – green spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Green spot
PSF GypsumGreen2
surface – green spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Gypsum rock, Green spot
PSF GypsumGreen3
surface – green spot; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Dead gypsum, Green band
PSF DeadGypsumGreenBand1
surface – green band, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Dead gypsum, Brown spot
PSF DeadGypsumBrownSpot2
surface – brown spot, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Dead gypsum, Orange spot
PSF DeadGypsumOrangeSpot1
surface – orange spot, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Dead gypsum, White crust
PSF DeadGypsumCrust1
surface – white spot, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Dead gypsum, Another orange spot
PSF DeadGypsumOrange2
surface – another orange spot, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Dead gypsum, Green spot, visible
PSF Deadgypsumgreen2
surface – green spot - visible, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

GYP605, Green cryptos
PSF GYP605
surface – green cryptos, after vacuum oven exposure?; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

GYPPM Orange cryptos
PSF GYPPMorange cryptos
surface – orange cryptos, after vacuum oven exposure?; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Cooked gypsum grains (A98)
PSF A98_GAB003
500-1000 μm, sample A98, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Cooked gypsum grains (A21)
PSF A21_GAB003
45-90 μm, sample A21, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Cooked gypsum grains (A22)
PSF A22_GAB003
90-250 μm, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Cooked gypsum grains (A27)
PSF A27_GAB003
250-500 μm, after vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Uncooked gypsum grains (A27UC)
PSF A27UC_GAB003
250-500 μm, prior to vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

Uncooked gypsum grains (A98UC)
PSF A98UC_GAB003
500-1000 μm, prior to vacuum oven exposure; i=30°, e=0°; 400-860 nm; ~0.3 nm resolution; Ocean Optics S2000 (Directory: Destop/Tesia/ Fluorescence).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2d.4. Endoliths – 532 nm Raman spectra

Collected with 532 nm iRaman instrument: broken surfaces; i=0°/e=0°;  174-4000 cm-1; ~4 cm-1 resolution; 100 spectra averaged; 50 mW laser (directory: 140131).
GYQ099
PSF gyq099 2
Gypsum top cover
100% laser power; 1398 msec integration time; 20 spectra averaged.
GYQ099
PSF gyq099 3
Dark green layer 1
100% laser power; integration time not recorded; 2 spectra averaged.
GYQ099
PSF gyq099 4
Dark green layer 2
100% laser power; 65 msec integration time; 2 spectra averaged.
GYQ099
PSF gyq099 5
Orange layer 1
100% laser power; 729 msec integration time; 20 spectra averaged.
GYQ099
PSF gyq099 6
Orange layer 2
100% laser power; 578 msec integration time; 20 spectra averaged.
GYQ099
PSF gyq099 7
Green-blue layer 1
100% laser power; 259 msec integration time; 20 spectra averaged.
GYQ099
PSF gyq099 8
Green-blue layer 2
100% laser power; 195 msec integration time; 20 spectra averaged.
GYQ099
PSF gyq099 9
Dark orange surface coating 1
100% laser power; 5984 msec integration time; 20 spectra averaged.
GYQ099
PSF gyq099 10
Dark orange surface coating 2
100% laser power; 578 msec integration time; 20 spectra averaged.
6RB
PSF 6rb 10
Gypsum top crust
100% laser power; 2312 msec integration time; 20 spectra averaged.
6RB
PSF 6rb 11
Orange layer
100% laser power; integration time not recorded; 20 spectra averaged.
6RB
PSF 6rb 12
Dark green 1
100% laser power; 428 msec integration time; 20 spectra averaged.
6RB
PSF 6rb 13
Dark green 2
100% laser power; 595 msec integration time; 20 spectra averaged.
++++++++
GYQ007
PSF 130307_gyq007
 endolith (130307 directory)

GYQ008
PSF 130307_gyq008 endolith (130307 directory)

GYQ009
PSF 130307_gyq009 endolith (130307 directory)

GYQ009
PSF 130307_gyq009 blue endolith (130307 directory)

GYQ011
PSF 130307_gyq011 endolith (130307 directory)

++++++++++++++++++++++++++++++++++++

20.2d.4.1. Endoliths – 785 nm Raman spectra

Collected with 785 nm Rockhound Raman instrument: broken surfaces; i=0°/e=0°; 200-2000 cm-1; ~7 cm-1 resolution.
GYQ001
PSF gyq001 endolith (130307 directory).

GYQ007
PSF gyq007 endolith (130307 directory).

GYQ008
PSF gyq008 endolith (130307 directory).

GYQ011
PSF gyq011 endolith (130307 directory).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2d.5. Raman spectra - Lake St. Martin Crater samples 
Sample ID
Facility/File No.
Description







(a) 532 nm iRaman – whole rock samples: carbonates: 20 spectra averaged; granites: 5 spectra averaged. 

Collected with 532 nm iRaman instrument: whole rock surfaces; i=0°/e=0°;  174-4000 cm-1; ~4 cm-1 resolution; 50 mW laser (directory: TEST_R32; 130307iraman).
LSM-14-128
130307iraman_001
Flat yellow area.

++++++

STM890
130307iraman_002
Feldspar, pink.

STM890
130307iraman_003
Biotite spot, saturated; 2 averages.

STM890
130307iraman_004
Biotite spot, saturated; 5 averages.

STM890
130307iraman_005
Gray-black area.

STM890
130307iraman_006
Orange edge; blue spectra; ERROR.

STM890
130307iraman_007
Orange edge.

STM890
130307iraman_008
Quartz spot.

STM890
130307iraman_009
Biotite spot.

++++++

STM030
130307iraman_010
Primarily white with dark (black) mineral.

STM030
130307iraman_011
Primarily pink, step-like fracture area.

STM030
130307iraman_012
Quartz, pink, black equal mix.

++++++

LSM-1-202
130307iraman_013
Flat side; greenish with dark purple dots.

LSM-1-202
130307iraman_014
Flat side, purple only.

LSM-1-202
130307iraman_015
Top of core, green spot.

LSM-1-202
130307iraman_016
Flat portion, white spot.

++++++

LSM-1-3
130307iraman_017
Top half, broken.

LSM-1-3
130307iraman_018
End circular complete, flat portion.

LSM-1-3
130307iraman_019
Broken surface; dark brown; flat.

LSM-1-3
130307iraman_020
Crystal oval deposit.

LSM-1-3
130307iraman_021
Pink crystal above oval.

LSM-1-3
130307iraman_022
Dark nodule on curved side.

++++++

STM891
130307iraman_023
Fresh side.

STM891
130307iraman_024
Weathered side.

STM891
130307iraman_025
Pink.

STM891
130307iraman_026
Biotite spot.

++++++

LSM-14-172
130307iraman_027
Flow lines.

LSM-14-172
130307iraman_028
Smooth brown (light).

LSM-14-172
130307iraman_029
Rough brown (dark).

LSM-14-172
130307iraman_030
Rusty spot.

++++++

LSM-14-165
130307iraman_031
Flat white surface.

LSM-14-165
130307iraman_032
Rough bottom; dark brown.

LSM-14-165
130307iraman_033
Curved surface; light divided.

LSM-14-165
130307iraman_034
Crystal deposit in deepest portion; 5 averages.

++++++

STM889
130307iraman_035
Smooth dark surface.

STM889
130307iraman_036
Pinkish surface.

STM889
130307iraman_037
Darker reddish spot.

STM889
130307iraman_038
Yellow spotting.

++++++

GYP250
130307iraman_039
Red knob.

GYP250
130307iraman_040
Yellow spot.

GYP250
130307iraman_041
Green line (endolith?).

GYP250
130307iraman_042
Whitish bumpy area.

GYP250
130307iraman_043
Pick with dark dots.

GYP250
130307iraman_044
White chalky edge.

++++++

STM003
130307iraman_045
Gray band.

STM003
130307iraman_046
Fine gneiss.

STM003
130307iraman_047
Light band.

STM003
130307iraman_048
dark band.

STM003
130307iraman_050
Black spot surrounded by red.

STM003
130307iraman_051
Quartz? edge.

+++++

STM001
130307iraman_052
Flat dark red surface.

STM001
130307iraman_053
Red vein centre.

++++++++++++++++++++++++++++++++++++++++++++++++++++

(b) 532 nm iRaman – powdered samples: carbonates: 20 spectra averaged. 

Collected with 532 nm iRaman instrument: powdered samples; i=0°/e=0°;  174-4000 cm-1; ~4 cm-1 resolution; 50 mW laser (directory: TEST_R32 (collected 13/04/24)).
STM030
TEST_R32.0


STM891
TEST_R32.2


STM899
TEST_R32.3


LSM-1-202
TEST_R32.4


LSM-1-3
TEST_R32.5


GYP317
TEST_R32.6


LSM-14-172
TEST_R32.7


GYP250
TEST_R32.8


STM003
TEST_R32.9
Coarse.

STM003
TEST_R32.10
Fine.

LSM-14-165
TEST_R32.11


STM001
TEST_R32.12


STM001
TEST_R32.13
Vein.

++++++++++++++++++++++++++++++++++++++++++++

(c) 785 nm Rockhound Raman – whole rock samples: 5 spectra averaged unless otherwise indicated. 

Collected with 785 nm Delta Nu Rockhound Raman: whole rock surfaces; i=0°/e=0°;  100-2000 cm-1; ~4 cm-1 resolution; laser on low power setting (directory: 130315).
LSM-1-3
130315_001
Broken brown side.

LSM-1-3
130315_002
Broken brown side; baseline 200.

LSM-1-3
130315_003
Top bluish spot.

LSM-1-3
130315_004
Top bluish spot; baseline 200.

LSM-1-3
130315_005
Pink crystal.

LSM-1-3
130315_006
Pink crystal; baseline 180.

++++++

LSM-1-202
130315_007
Flat purple centre.

LSM-1-202
130315_008
Flat purple centre; baseline 180.

LSM-1-202
130315_010
Flat green spot.

LSM-1-202
130315_011
Flat green spot; baseline 160.

LSM-1-202
130315_013
Dark green dot on end.

LSM-1-202
130315_014
Dark green dot on end; baseline 200.

++++++

STM001
130315_016
Flat dark red/purple; 10 averages.

STM001
130315_017
Flat dark red/purple; 10 averages; baseline 150.

STM001
130315_019
Red intrusion vein; 20 averages.

STM001
130315_020
Red intrusion vein; 20 averages; baseline 100.

++++++

STM030
130315_022


STM030
130315_023
Baseline 150.

++++++

GYP250
130315_024
Yellow area.

GYP250
130315_025
Yellow area; baseline 100.

GYP250
130315_026
Green spotting.

GYP250
130315_027
Green spotting; baseline 150.

++++++

STM889
130315_029
Pinkish melt edge, flat.

STM889
130315_030
Pinkish melt edge, flat; baseline 200.

STM889
130315_031
Dark brown, flat.

STM889
130315_032
dark brown, flat; baseline 200.

++++++

STM891
130315_034
Fresh side, 1 average.

STM891
130315_035
Fresh side, 10 averages.

STM891
130315_036
Fresh side; baseline 150.

STM891
130315_037
Weathered.

STM891
130315_038
Weathered; baseline 200.

++++++++++++++++++++++++++++++++++++++++++++++++
(d) 785 nm Rockhound Raman – powdered samples. 

Collected with 785 nm delta Nu Rockhound Raman: whole rock surfaces; i=0°/e=0°;  100-2000 cm-1; ~4 cm-1 resolution; laser on low power setting (directory: 130425).
STM030
130425_001
20 averages.

STM030
130425_002
20 averages; baseline 150.

STM891
130425_004
20 averages.

STM891
130425_005
20 averages; baseline 180.

STM889
130425_007
20 averages.

STM889
130425_008
20 averages; baseline 150.

LSM-1-202
130425_010
20 averages.

LSM-1-202
130425_011
20 averages; baseline 180.

LSM-1-3
130425_013
20 averages.

GYP317
130425_015
20 averages.

GYP317
130425_016
20 averages; baseline 170.

LSM-14-172
130425_018
20 averages.

LSM-14-172
130425_019
20 averages; baseline 150.

GYP250
130425_021
20 averages.

GYP250
130425_022
20 averages; baseline 100.

STM003
130425_023
Coarse; 20 averages.

STM003
130425_024
Coarse; 20 averages; baseline 150.

STM003
130425_026
Fine; 20 averages.

STM003
130425_027
Fine; 20 averages; baseline 150.

LSM-14-165
130425_029
20 averages.

LSM-14-165
130425_030
20 averages; baseline 150.

STM001
130425_032
20 averages.

STM001
130425_033
20 averages; baseline 150.

STM001
130425_034
Vein; 20 averages.

STM001
130425_035
Vein; 20 averages; baseline 100.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2d.5. Endoliths – 785 nm Raman spectra

Collected with 785 nm Delta Nu Rockhound instrument: broken surfaces; i=0°/e=0°; 200-2000 cm-1; ~7 cm-1 resolution; 20 spectra averaged; 100? mW laser; 1000 spectra averaged; all acquired with laser on high power (directory: 140131).

GYQ099
PSF gyq099 2
Gypsum top crust

GYQ099
PSF gyq099 3
Blue-green layer

GYQ099
PSF gyq099 4
Dark green layer 1

GYQ099
PSF gyq099 5
Orange layer

GYQ099
PSF gyq099 6
Dark orange coating
6RB
PSF 6rb 7
Gypsum top crust

6RB
PSF 6rb 8
Dark green layer

6RB
PSF 6rb 9
Orange layer

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2d.6. Endoliths – 405 nm UV-induced fluorescence reflectance spectra
Using 50 mW? Wicked Laser laser. All spectra collected with Maya (Ocean Optics) spectrometer: broken rock surfaces; i=0°, e=0°; 200-1100 nm; ~0.47 nm resolution; 13 msec integration time; 500 spectra averaged.
GYQ099
PSF gyq099 2
Gypsum top cover
GYQ099
PSF gyq099 3
Dark green layer 1

GYQ099
PSF gyq099 5
Golden layer

GYQ099
PSF gyq099 7
Green-blue layer 1

GYQ099
PSF gyq099 9
Dark orange surface coating 1

6RB
PSF 6rb 10
Gypsum top crust

6RB
PSF 6rb 11
Dark orange 1

6RB
PSF 6rb 12
Dark orange 2

6RB
PSF 6rb 13
Dark green 1

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2d.7. Thermal emission spectra (80°C; 200 – 4000 cm-1, 2 cm-1 spectral resolution) and interpretation 
Josh Bandfield (University of Washington (UW) – September 2013
GYP250
UW (grain size?)
Contains some silicates and carbonates (not sure if sulphates would be identifiable even if dominant).

LSM14172
UW (grain size?)
Contains some silicates and carbonates (not sure if sulphates would be identifiable even if dominant).

STM001
UW (grain size?)
Appears to be mostly silica (very weak features).

STM001 (vein)
UW (grain size?)
Fine particulate silicates with plagioclase transparency feature).

STM003 (coarse)
UW (grain size?)
Fine particulate silicates with plagioclase transparency feature).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.2.10d. FAST rover field trial: July 2018

(a) ASD spectra: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged. Whole rock spectra (no crushing or sample prep).
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.
L2-R6-T1
PSF 180820a00001.asd
[Directory: 180820 fast gypsumville] 

L2-R6-T2 
PSF 180820a00002.asd
[Directory: 180820 fast gypsumville]

L2-R10-T1 
PSF 180820a00003.asd
[Directory: 180820 fast gypsumville]

L2-R9-T1 
PSF 180820a00004.asd
[Directory: 180820 fast gypsumville]
L1-R1A-T1 
PSF 180820a00005.asd
[Directory: 180820 fast gypsumville]
L1-R1A-T3 
PSF 180820a00006.asd
[Directory: 180820 fast gypsumville]
L1-R1A-T8 
PSF 180820a00007.asd
[Directory: 180820 fast gypsumville]
L1-R1A-T4 
PSF 180820a00008.asd
[Directory: 180820 fast gypsumville]
L1-R1B-T1 
PSF 180820a00009.asd
[Directory: 180820 fast gypsumville]
L1-R1B-T2 
PSF 180820a00010.asd
[Directory: 180820 fast gypsumville]
L1-R2-T2 
PSF 180820a00011.asd
[Directory: 180820 fast gypsumville]
L1-R2-T3 
PSF 180820a00012.asd
[Directory: 180820 fast gypsumville]
L1-R2-T1 
PSF 180820a00013.asd
[Directory: 180820 fast gypsumville]
L1-R3-T3 
PSF 180820a00014.asd
[Directory: 180820 fast gypsumville]
L1-R4-T2 
PSF 180820a00015.asd
[Directory: 180820 fast gypsumville]
L1-RP5 
PSF 180820a00016.asd
[Directory: 180820 fast gypsumville]
L1-RP2 
PSF 180820a00017.asd
[Directory: 180820 fast gypsumville]
L2-RP3 
PSF 180820a00018.asd
[Directory: 180820 fast gypsumville]
L2-RP1 
PSF 180820a00021.asd
[Directory: 180820 fast gypsumville]
L1-RP4 
PSF 180820a00022.asd
[Directory: 180820 fast gypsumville]
L1-RP1 
PSF 180820a00023.asd
[Directory: 180820 fast gypsumville]
L1-RP6 
PSF 180820a00024.asd
[Directory: 180820 fast gypsumville]
L1-RP3 
PSF 180820a00025.asd
[Directory: 180820 fast gypsumville]
L2-RP2 
PSF 180820a00026.asd
[Directory: 180820 fast gypsumville]
L1-R1A-T6 
PSF 180823a00001.asd
[Directory: 180823 fast egc]
L1-R1A-T2 
PSF 180823a00002.asd
[Directory: 180823 fast egc]
L1-RA1-T7 
PSF 180822a00010.asd
[Directory: 180822 fast gypsumville]
L1-R1B-T2 
PSF 180822a00011.asd
[Directory: 180822 fast gypsumville]
L1-R4-T1 
PSF 180822a00012.asd
[Directory: 180822 fast gypsumville]
L1-R3-T1 
PSF 180822a00013.asd
[Directory: 180822 fast gypsumville]
++++++++++++++++++++++++++++++
(b) iRaman 532 nm  spectra: 174-4002 cm-1 range; ~4 cm-1 resolution; 5 spectra of the same spot averaged; auto-integration times [Directory: 180824 Gypsumville Raman].
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.
Sample ID
PSF spectrum

Integration time

L1-R3-T1
PSF sample 1.txt
1000 msec integration time

L1-R4-T1
PSF sample 2.txt
200 msec integration time

L1-R8-T1
PSF sample 3.txt
200 msec integration time

L1-R7-T1
PSF sample 4.txt
200 msec integration time

L1-R6-T1
PSF sample 5.txt
200 msec integration time

L1-R1A-T1
PSF 1a1.txt
500 msec integration time

L1-R1B-T1
PSF 1b1.txt
500 msec integration time

L1-R1B-T2
PSF 1b2.txt
500 msec integration time

L1-R1B-T3
PSF 1b3.txt
500 msec integration time

L1-R2-T1
PSF 21.txt
5 msec integration time

L1-R2-T2
PSF 22.txt
100 msec integration time

L1-R2-T3
PSF 23.txt
50 msec integration time

L2-R3-T1
PSF roi1 r1.txt
1000 msec integration time

L2-R3-T3
PSF roi3 r3.txt
100 msec integration time

L1-R4-T1
PSF roi4 r1.txt
500 msec integration time

L2-R4-T2
PSF roi4 r2.txt
500 msec integration time

L2-R6-T1
PSF roi6 1.txt
20000 msec integration time

L2-R9-T1
PSF roi9 1.txt
200 msec integration time

L2-R10-T1
PSF roi10 1.txt
1000 msec integration time

L2-RP1
PSF rp1.txt
3000 msec integration time

L2-RP2
PSF rp2.txt
300 msec integration time

L2-RP3
PSF rp3.txt
20000 msec integration time

L1-RPIT1
PSF rppit1.txt
1000 msec integration time (“traverse”)

L1-RPIT2
PSF rppit2.txt
100 msec integration time (“traverse”)

L1-RPIT3
PSF rppit3.txt
1000 msec integration time (“traverse”)

L1-RPIT4
PSF rppit4.txt
100 msec integration time (“traverse”)

L1-RPIT5
PSF rppit5.txt
10 msec integration time (“traverse”)

L1-RPIT6
PSF rppit6.txt
100 msec integration time (“traverse”)

+++++++++++++++++++++++++++++++++++++++++++++++++++++
(ii) iRaman 532 nm spectra of FAST Gypsumville 2018 samples: <150 µm powders; ~85 µm spot size; ~4 cm-1 resolution; 100 spectra averaged (9 spots per sample) [Directory: 181126 FAST powders; 181128 FAST powders raman].

(c) iRaman 532 nm spectra: 174-4002 cm-1 range; ~4 cm-1 resolution; up to 9 separate spot spectra of the same sample for <150 µm powder; auto-integration times; 50 mW laser power [Directory: 181126 FAST powders; 181128 FAST powders Raman].
Abbreviations: L: Landing site; R: Region of interest; T: Target of interest. Photos available for all targets.
L1-RP2
PSF 000 11A 1.txtr – 008 11A 9.txtr
100 or 80 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181126 FAST powders].

L1-R1B-T3
PSF 009 11B 1.txtr – 017 11B 9.txtr
300 msec integration time; 50 or 75 spectra averaged per spot (9 spots) [Directory: 181126 FAST powders].

L2-R10-T1
PSF 018 11C 1.txtr – 026 11C 9.txtr
500 msec integration time; 50 or 75 spectra averaged per spot (9 spots) [Directory: 181126 FAST powders].

L2-RP1
PSF 027 11D 1.txtr – 035 11D 9.txtr
10,000 msec integration time; 20 spectra per spot averaged (9 spots) [Directory: 181126 FAST powders].

L1-R3-T3
PSF 036 11E 1.txtr – 044 11E 9.txtr
5000 msec integration time 2, 20 or 22 spectra averaged per spot (9 spots) [Directory: 181126 FAST powders].

+++++

L1-R1A-T1
PSF 012 8B 4.txtr – 009 8B 1.txtr

5000 msec integration time; 20 spectra averaged per spot (4 spots) [Directory: 181128 FAST powders raman].

L1-R1A-T1
PSF 017 8B 9.txtr – 013 8B 5.txtr

5000 msec integration time; 20 spectra averaged per spot (5 spots) [Directory: 181128 FAST powders raman].

+++++

L1-R2-T1
PSF 008 8A 9.txtr – 000 8A 1.txtr

50 msec integration time;100 spectra averaged per spot (9 spots) [Directory: 181128 FAST powders raman].

L1-R1A-T1
PSF 012 8B 4.txtr – 009 8B 1.txtr

5000 msec integration time; 20 spectra averaged per spot (4 spots) [Directory: 181128 FAST powders raman].

L1-R1A-T6
PSF 044 8E 9.txtr – 036 8E 1.txtr

500 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181128 FAST powders raman].

L1-R4-T2
PSF 035 8D 9.txtr – 027 8D 1.txtr

1000 msec integration time; 80 spectra averaged per spot (9 spots) [Directory: 181128 FAST powders raman].

L1-R1B-T1
PSF 026 8C 9.txtr – 018 8C 1.txtr

1000 msec integration time; 80 spectra averaged per spot (9 spots) [Directory: 181128 FAST powders raman].

+++++

L1-RP1
PSF 035 10D 7.txtr – 029 10D 1.txtr
10,000 msec integration time; 20 spectra averaged per spot (7 spots) [Directory: 181203 FAST powders raman].

L1-RP1
PSF 037 10D 9.txtr – 036 10D 8.txtr
10,000 msec integration time; 20 spectra averaged per spot (2 spots) [Directory: 181203 FAST powders raman].

+++++

L2-R6-T2
PSF 028 10C 9.txtr – 020 10C 1.txtr
2500 msec integration time; 50 or 20 spectra averaged per spot (9 spots) [Directory: 181203 FAST powders raman].

L1-RP5
PSF 019 10B 9.txtr – 011 10B 1.txtr
30 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181203 FAST powders raman].

L2-RP2
PSF 010 10A 9.txtr – 002 10A 1.txtr
1500 or 2500 msec integration time; 60 or 50 spectra averaged per spot (9 spots) [Directory: 181203 FAST powders raman].

L1-RP4
PSF 046 10E 9.txtr – 038 10E 1.txtr
50 msec integration time; 100 or 2 spectra averaged per spot (9 spots) [Directory: 181203 FAST powders raman].

L2-RP3
PSF 001 14A 1.txtr – 009 14A 9.txtr
100 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181219 FAST powders raman].

L1-RP3
PSF 010 14B 1.txtr – 018 14B 9.txtr
5000, 8000 or 10,000 msec integration time; 20 spectra averaged per spot (9 spots) [Directory: 181219 FAST powders raman].

L2-R9-T1
PSF 019 14C 1.txtr – 027 14C 9.txtr
1000 or 800 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181219 FAST powders raman].

L1-RP6
PSF 028 14D 1.txtr – 036 14D 9.txtr
100 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181219 FAST powders raman].

L1-R1A-T8
PSF 037 14E 1.txtr – 045 14E 9.txtr
100 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 181219 FAST powders raman].

L1-R1A-T4
PSF 190117_532a001_3A L1_R1A-T4 1_sub150.txtr – 


190117_532a009_3A L1_R1A-T4 9_sub150.txtr

500 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190117 FAST powders raman].

L1-R4-T1
PSF 190117_532a001_3B L1_R1A-T4 1_sub150.txtr – 


190117_532a009_3B L1_R1A-T4 9_sub150.txtr

2000 msec integration time; 100 or 50 spectra averaged per spot (9 spots) [Directory: 190117 FAST powders raman]. (Italicized part of sample header not updated?).
L1-R3-T1
PSF 190117_532a001_3D L1-R3-T1 1_sub150.txtr – 


190117_532a009_3D L1-R3-T1 9_sub150.txtr

500 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190121 FAST powders raman].

L1-R1B-T2
PSF 190117_532a001_3E L1-R1B-T2 1_sub150.txtr – 


190117_532a009_3E L1-R1B-T2 9_sub150.txtr

500 msec integration time; 100 spectra averaged per spot (9 spots) [Directory: 190121 FAST powders raman].

L2-R6-T1
PSF 190117_532a001_3C L2-R6-T1 1_sub150.txtr – 


190117_532a009_3C L2-R6-T1 8_sub150.txtr

15,000, 25,000 or 30,000 msec integration time; 20 spectra averaged per spot (8 spots) [Directory: 190121 FAST powders raman].

+++++++++++++++++++++++++++++++++++++++++++++++++
20.2.d. Samples measured by Katherin Winchell (summer 2016) – ASD and Raman

Notes from Katherine Winchell:

Sample ID?
W4 St. Martin Crater: Gypsum Endolith with blue-green and brown layering, section 20.2 of mineral bible. In a baggie.
Cross Section:
1. Blue
2. Blue
3. Black
4. White
++++++

Sample ID?
W19 Gypsumville Sulfate Gypsum
Cross Section:
1. Greenish and sandy
2. Greenish and sandy
3. Pinkish 
4. White 
5. Tan splotch 
+++++++++++++++++++++++++++++++++
Notes from Katherine Winchell (Dec. 20, 2019):

· The W1s were some fairly fresh Algal mat that was in a clear plastic tupperware.

· I found and left the W2 carpet and "brains" on metal trays on the back counter near the sink of the room that has the RAMAN spectrometer. I'm guessing that they have been moved by now. I remember someone saying that they had been drying out there for several months/years.

· I have in my notes from when I was looking for the St. Martian crater Gypsum endolith that became W4 to sample it that it was probably in room F. I likely did put it back where I found it if that is indeed where I found it. I have a note that this sample was too big to fit onto the plate for the ASD flat samples, but it looks like it did work for the ASD Layer Samples observation.

· I have a note that W19 is Sulfate Gypsum from Gypsumville and it is "SPT203," hopefully that's your notation system! I have a note that this sample was too big to fit onto the plate for the ASD flat samples, but it looks like it did work for the ASD Layer Samples observation. There should be a capsule of this sample in the baggie of 400 micron powdered samples that was left... somewhere in your lab.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.2e.d. Leire Coloma LSM/Gypsumville samples 
Spectral data for Leire Coloma 2025 Gypsumville samples

i) ASD4: i=30°, e=-°; 350-2500 nm; 1 nm output; 500 spectra averaged

	Sample #
	Basename
	Sample description
	Grain Size (microns):

	EGC055
	250721c.00001.asd
	spot 1
	whole rock

	EGC055
	250721c.00002.asd
	spot 2
	whole rock

	EGC055
	250721c.00003.asd
	spot 3
	whole rock

	EGC055
	250721c.00004.asd
	spot 4
	whole rock

	EGC055
	250721c.00005.asd
	spot 5
	whole rock

	EGC055
	250721c.00006.asd
	spot 6
	whole rock

	EGC055
	250721c.00007.asd
	spot 7
	whole rock

	EGC056
	250721c.00008.asd
	spot 1
	whole rock

	EGC056
	250721c.00009.asd
	spot 2
	whole rock

	EGC056
	250721c.00010.asd
	spot 3
	whole rock

	EGC056
	250721c.00011.asd
	spot 4
	whole rock

	EGC056
	250721c.00012.asd
	spot 5
	whole rock

	EGC057
	250722a.00001.asd
	spot 1
	whole rock

	EGC057
	250722a.00002.asd
	spot 2
	whole rock

	EGC057
	250722a.00003.asd
	spot 3
	whole rock

	EGC057
	250722a.00004.asd
	spot 4
	whole rock

	EGC057
	250722a.00005.asd
	spot 5
	whole rock

	EGC050
	250722a.00006.asd
	spot 1
	whole rock

	EGC050
	250722a.00007.asd
	spot 2
	whole rock

	EGC050
	250722a.00008.asd
	spot 3
	whole rock

	EGC050
	250722a.00009.asd
	spot 4
	whole rock

	EGC052
	250722a.00010.asd
	spot 1
	whole rock

	EGC052
	250722a.00011.asd
	spot 2
	whole rock

	EGC052
	250722a.00013.asd
	spot 3
	whole rock

	EGC052
	250722a.00014.asd
	spot 4
	whole rock

	EGC052
	250722a.00015.asd
	spot 5
	whole rock

	EGC051
	250722a.00016.asd
	spot 1
	whole rock

	EGC051
	250722a.00017.asd
	spot 2
	whole rock

	EGC051
	250722a.00018.asd
	spot 3
	whole rock

	EGC051
	250722a.00019.asd
	spot 4
	whole rock

	EGC051
	250722a.00020.asd
	spot 5
	whole rock

	EGC328
	250722a.00021.asd
	spot 1
	whole rock

	EGC328
	250722a.00022.asd
	spot 2
	whole rock

	EGC328
	250722a.00023.asd
	spot 3
	whole rock

	EGC328
	250722a.00024.asd
	spot 4
	whole rock

	GYP102
	250723a.00001.asd
	powder
	<45

	STP058
	250723a.00002.asd
	powder
	<45

	GMR025
	250723a.00003.asd
	powder
	<45

	STP060
	250723a.00004.asd
	powder
	<45

	GLSM03
	250723a.00005.asd
	powder
	<45

	S Pit 01
	250723a.00006.asd
	powder
	<45

	GSQ002
	250723a.00007.asd
	powder
	<45

	GYP294
	250723a.00008.asd
	powder
	<45

	GYP321
	250723a.00009.asd
	powder
	<45

	GMR026
	250723a.00010.asd
	powder
	<45

	STP057
	250723a.00012.asd
	powder
	<45

	GYP280c
	250723a.00013.asd
	powder
	<45

	GYP659
	250723a.00014.asd
	powder
	<45

	GYP905
	250723a.00015.asd
	powder
	<45

	GLSM04
	250723a.00016.asd
	powder
	<45

	STP056
	250723a.00017.asd
	powder
	<45

	GLSM05
	250723a.00018.asd
	powder
	<45

	LSM7-6 feet
	250724a.00001.asd
	powder
	<45

	LSM7-95 feet
	250724a.00002.asd
	powder
	<45

	LSM7-188 feet
	250724a.00003.asd
	powder
	<45

	LSM7-29 feet
	250724a.00004.asd
	powder
	<45

	LSM7-249 feet
	250724a.00005.asd
	powder
	<45

	LSM7-288 feet
	250724a.00006.asd
	powder
	<45

	LSM7-73 feet
	250724a.00007.asd
	powder
	<45

	EGC050
	250725a.00001.asd
	
	<45

	EGC055
	250725a.00002.asd
	
	<45

	EGC057
	250725a.00003.asd
	
	<45

	EGC052
	250725a.00004.asd
	
	<45

	EGC328
	250725a.00005.asd
	
	<45

	EGC051
	250725a.00006.asd
	
	<45

	EGC056
	250725a.00007.asd
	
	<45

	S Pit 01
	250716a.00001.asd
	Spot 1
	Whole Rock

	S Pit 01
	250716a.00002.asd
	Spot 2
	Whole Rock

	S Pit 01
	250716a.00003.asd
	Spot 3
	Whole Rock

	S Pit 01
	250716a.00004.asd
	Spot 4
	Whole Rock

	S Pit 01
	250716a.00005.asd
	Spot 5
	Whole Rock

	S Pit 01
	250716a.00006.asd
	Spot 6
	Whole Rock

	GYP321
	250716a.00007.asd
	Spot 1
	Whole Rock

	GYP321
	250716a.00011.asd
	Spot 2
	Whole Rock

	GYP321
	250716a.00012.asd
	Spot 3
	Whole Rock

	GYP321
	250716a.00013.asd
	Spot 4
	Whole Rock

	GYP321
	250716a.00014.asd
	Spot 5
	Whole Rock

	GMR025/026
	250716a.00015.asd
	Spot 1
	Whole Rock

	GMR025/026
	250716a.00017.asd
	Spot 2
	Whole Rock

	GMR025/026
	250716a.00018.asd
	Spot 3
	Whole Rock

	GMR025/026
	250716a.00019.asd
	Spot 4
	Whole Rock

	GMR025/026
	250716a.00020.asd
	Spot 5
	Whole Rock

	GMR025/026
	250716a.00021.asd
	Spot 6
	Whole Rock

	GMR025/026
	250716a.00022.asd
	Spot 7
	Whole Rock

	GYP102
	250716a.00023.asd
	Spot 1
	Whole Rock

	GYP102
	250716a.00024.asd
	Spot 2
	Whole Rock

	GLSM03
	250716a.00027.asd
	Spot 1
	Whole Rock

	GLSM03
	250716a.00028.asd
	Spot 2
	Whole Rock

	GLSM03
	250716a.00029.asd
	Spot 3
	Whole Rock

	GLSM03
	250716a.00030.asd
	Spot 4
	Whole Rock

	GLSM03
	250716a.00031.asd
	Spot 5
	Whole Rock

	GLSM04
	250716a.00032.asd
	Spot 1
	Whole Rock

	GLSM04
	250716a.00033.asd
	Spot 2
	Whole Rock

	GLSM04
	250716a.00034.asd
	Spot 3
	Whole Rock

	GLSM04
	250716a.00035.asd
	Spot 4
	Whole Rock

	GYP905
	250716a.00038.asd
	Spot 1
	Whole Rock

	GYP905
	250716a.00039.asd
	Spot 2
	Whole Rock

	GYP905
	250716a.00040.asd
	Spot 3
	Whole Rock

	GSQ002
	250716a.00041.asd
	Spot 1
	Whole Rock

	GSQ002
	250716a.00042.asd
	Spot 2
	Whole Rock

	GSQ002
	250716a.00043.asd
	Spot 3
	Whole Rock

	GSQ002
	250716a.00044.asd
	Spot 4
	Whole Rock

	GSQ002
	250716a.00045.asd
	Spot 5
	Whole Rock

	GSQ002
	250716a.00046.asd
	Spot 6
	Whole Rock

	GYP294
	250716a.00048.asd
	Spot 1
	Whole Rock

	GYP294
	250716a.00049.asd
	Spot 2
	Whole Rock

	GYP294
	250716a.00050.asd
	Spot 3
	Whole Rock

	GYP294
	250716a.00051.asd
	Spot 4
	Whole Rock

	GYP294
	250716a.00052.asd
	Spot 5
	Whole Rock

	GYP294
	250716a.00053.asd
	Spot 6
	Whole Rock

	GYP294
	250716a.00054.asd
	Spot 7
	Whole Rock

	GYP294
	250716a.00055.asd
	Spot 8
	Whole Rock

	ST060
	250716a.00057.asd
	Spot 1
	Whole Rock

	ST060
	250716a.00058.asd
	Spot 2
	Whole Rock

	ST060
	250716a.00059.asd
	Spot 3
	Whole Rock

	STP058
	250717a.00001.asd
	Spot 1
	whole rock 

	STP058
	250717a.00002.asd
	Spot 2
	whole rock 

	STP058
	250717a.00003.asd
	Spot 3
	whole rock 

	STP057
	250717a.00004.asd
	Spot 1
	whole rock 

	STP057
	250717a.00005.asd
	Spot 2
	whole rock 

	STP057
	250717a.00006.asd
	Spot 3
	whole rock 

	STP057
	250717a.00007.asd
	Spot 4
	whole rock 

	STP057
	250717a.00008.asd
	Spot 5
	whole rock 

	STP057
	250717a.00009.asd
	Spot 6
	whole rock 

	STP056
	250717a.00011.asd
	Spot 1
	whole rock 

	STP056
	250717a.00012.asd
	Spot 2
	whole rock 

	STP056
	250717a.00013.asd
	Spot 3
	whole rock 

	STP056
	250717a.00014.asd
	Spot 4
	whole rock 

	GYP280c
	250717a.00015.asd
	Spot 1
	whole rock 

	GYP280c
	250717a.00016.asd
	Spot 2
	whole rock 

	GYP280c
	250717a.00017.asd
	Spot 3
	whole rock 

	GYP280c
	250717a.00018.asd
	Spot 4
	whole rock 

	GYP280c
	250717a.00019.asd
	Spot 5
	whole rock 

	GYP280c
	250717a.00020.asd
	Spot 6
	whole rock 

	GYP659
	250717a.00022.asd
	Spot 1
	whole rock 

	GYP659
	250717a.00023.asd
	Spot 2
	whole rock 

	GYP659
	250717a.00024.asd
	Spot 3
	whole rock 

	GLSM05
	250717a.00025.asd
	Spot 1
	whole rock 

	GLSM05
	250717a.00026.asd
	Spot 2
	whole rock 

	GLSM05
	250717a.00027.asd
	Spot 3
	whole rock 

	GLSM05
	250717a.00028.asd
	Spot 4
	whole rock 

	GLSM05
	250717a.00029.asd
	Spot 5
	whole rock 

	LSM7-6 feet
	250717a.00030.asd
	Spot 1
	whole rock 

	LSM7-6 feet
	250717a.00032.asd
	Spot 2
	whole rock 

	LSM7-6 feet
	250717a.00033.asd
	Spot 3
	whole rock 

	LSM7-6 feet
	250717a.00034.asd
	Spot 4
	whole rock 

	LSM7-6 feet
	250717a.00035.asd
	Spot 5
	whole rock 

	LSM-7- 29 feet
	250717a.00036.asd
	Spot 1
	whole rock 

	LSM-7- 29 feet
	250717a.00037.asd
	Spot 2
	whole rock 

	LSM-7- 29 feet
	250717a.00038.asd
	Spot 3
	whole rock 

	LSM-7- 29 feet
	250717a.00039.asd
	Spot 4
	whole rock 

	LSM7- 73 feet
	250717a.00040.asd
	Spot 1
	whole rock 

	LSM7- 73 feet
	250717a.00041.asd
	Spot 2
	whole rock 

	LSM7- 73 feet
	250717a.00042.asd
	Spot 3
	whole rock 

	LSM7- 73 feet
	250717a.00043.asd
	Spot 4
	whole rock 

	LSM7- 73 feet
	250717a.00044.asd
	Spot 5
	whole rock 

	LSM7- 95 feet
	250717a.00046.asd
	Spot 1
	whole rock 

	LSM7- 95 feet
	250717a.00047.asd
	Spot 2
	whole rock 

	LSM7- 95 feet
	250717a.00048.asd
	Spot 3
	whole rock 

	LSM7- 188 feet
	250717a.00049.asd
	Spot 1
	whole rock 

	LSM7- 188 feet
	250717a.00050.asd
	Spot 2
	whole rock 

	LSM7- 188 feet
	250717a.00051.asd
	Spot 3
	whole rock 

	LSM7- 188 feet
	250717a.00052.asd
	Spot 4
	whole rock 

	LSM7- 249 feet
	250717a.00053.asd
	Spot 1
	whole rock 

	LSM7- 249 feet
	250717a.00054.asd
	Spot 2
	whole rock 

	LSM7- 249 feet
	250717a.00055.asd
	Spot 3
	whole rock 

	LSM7- 249 feet
	250717a.00056.asd
	Spot 4
	whole rock 

	LSM7- 249 feet
	250717a.00057.asd
	Spot 5
	whole rock 

	LSM7- 238 feet
	250717a.00059.asd
	Spot 1
	whole rock 

	LSM7- 238 feet
	250717a.00060.asd
	Spot 2
	whole rock 

	LSM7- 238 feet
	250717a.00061.asd
	Spot 3
	whole rock 

	LSM7- 238 feet
	250717a.00062.asd
	Spot 4
	whole rock 

	LSM7- 238 feet
	250717a.00063.asd
	Spot 5
	whole rock 

	LSM7- 73 feet
	250717a.00064.asd
	Spot 1
	Powder (scraped from hole)

	
	
	
	

	
	
	
	


++++++++++++++++++++++++++++++++++++++++++++++++

ii) Bruker Vertex 70 FTIR reflectance: i=30°, e=0°; 2-14 µm; 6 cm-1 resolution; 250 spectra averaged.

	Sample #
	Basename
	Grain Size (µm)

	LSM7 29 feet
	250729_vertex_mmct_000_LSM7_29feet_sub45.0.dpt
	<45

	GYP659
	250729_vertex_mmct_001_GYP659_sub45.0.dpt
	<45

	LSM7 188 feet
	250729_vertex_mmct_002_LSM7_188feet_sub45.1.dpt
	<45

	GMR026
	250729_vertex_mmct_003_GMR026_sub45.0.dpt
	<45

	GYP102
	250729_vertex_mmct_004_GYP102_sub45.0.dpt
	<45

	STP056
	250729_vertex_mmct_005_STP056_sub45.0.dpt
	<45

	GSQ002
	250729_vertex_mmct_006_GSQ002_sub45.0.dpt
	<45

	GYP280c
	250729_vertex_mmct_007_GYP280c_sub45.0.dpt
	<45

	GLSM05
	250729_vertex_mmct_008_GLSM05_sub45.0.dpt
	<45

	S Pit 01
	250729_vertex_mmct_009_SPit01_sub45.0.dpt
	<45

	GYP294
	250729_vertex_mmct_010_GYP294_sub45.1.dpt
	<45

	GYP905
	250729_vertex_mmct_011_GYP905_sub45.1.dpt
	<45

	STP058
	250729_vertex_mmct_012_STP058_sub45.1.dpt
	<45

	GLSM03
	250729_vertex_mmct_013_GLSM03_sub45.1.dpt
	<45

	GMR025
	250729_vertex_mmct_014_GMR025_sub45.0.dpt
	<45

	GLSM04
	250729_vertex_mmct_016_GLSM04_sub45.0.dpt
	<45

	STP057
	250729_vertex_mmct_017_STP057_sub45.0.dpt
	<45

	LSM7 288 feet
	250729_vertex_mmct_018_LSM7_288feet_sub45.0.dpt
	<45

	LSM7 249 feet
	250729_vertex_mmct_019_LSM7_249feet_sub45.0.dpt
	<45

	LSM7 6 feet
	250729_vertex_mmct_020_LSM7_6feet_sub45.0.dpt
	<45

	STP060
	250729_vertex_mmct_021_STP060_sub45.0.dpt
	<45

	GYP321
	250729_vertex_mmct_022_GYP321_sub45.0.dpt
	<45

	LSM7 95 feet
	250729_vertex_mmct_023_LSM7_95feet_sub45.0.dpt
	<45

	EGC328
	250729_vertex_mmct_024_EGC328_sub45.0.dpt
	<45

	EGC052
	250729_vertex_mmct_025_EGC052_sub45.0.dpt
	<45

	EGC057
	250729_vertex_mmct_026_EGC057_sub45.0.dpt
	<45

	EGC055
	250729_vertex_mmct_027_EGC055_sub45.0.dpt
	<45

	EGC051
	250729_vertex_mmct_028_EGC051_sub45.0.dpt
	<45

	EGC056
	250729_vertex_mmct_029_EGC056_sub45.0.dpt
	<45

	EGC050
	250729_vertex_mmct_030_EGC050_sub45.0.dpt
	<45

	apollo 11 simulant
	250729_vertex_mmct_031_Apollo11_sub45.0.dpt
	?

	LSM7 6 feet
	250729_vertex_mmct_031_Apollo11_sub45.0.dpt
	<45


+++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 20.2.

20. Analogue Sites
20.3. Impact Products  - Tasmania and Sudbury, ON, Canada
20.3a. Sample Descriptions - Impact Products - Tasmania and Sudbury, ON, Canada

Sample ID
Description










IMP001
Impactite, (var. Darwin Glass): Mount Darwin, Tasmania, Australia (S. Atkinson).

For information, see:

· Howard (2008)

· Howard (2009)

· Lo et al. (2002)

· Meisel et al. (1990)
IMP002
Melt Rock: Impact Melt Rock: Sudbury, Ontario (Collector's Marketing Group)

IMP003
Fallback Breccia: Sudbury, Ontario (Collector's Marketing Group)

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.3c. Compositional Data - Impact Products - Tasmania and Sudbury, ON, Canada
Wt. %
IMP001

SiO2
84.25

TiO2
0.58

Al2O3
8.41

Fe2O3
0.25

FeO
2.38

(Fe2O3)*
(2.90)

MnO
0.03

MgO
1.40

CaO
0.28

Na2O
0.13

K2O
1.92

P2O5
0.09


TOTAL
99.72

%LOI



ppm
Sr
33

Zr
418

V
70

Cr
193

Co
3


Source
Mertzman

Analysis
XRF/WC (June 2009)









* - all Fe as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.3d. Spectral Data - Impact  Products - Tasmania and Sudbury, ON, Canada

Sample 
Facility/File No.
Description








IMP001
PSF 090602a.041
<45 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

IMP001
PSF 090602a.042
90-1000 μm, i=30°,e=0°, 0.35-2.5 μm, 1 nm output, 100 avg., ASD.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.3.

20. Analogue Sites
20.4. Eagle Butte Crater, AB, Canada
This is an identified impact structure in SW Alberta.
20.4a. Eagle Butte Crater, Alberta, Canada - Sample Descriptions

Sample ID
Description











CRA01
Rock from glacial drift covering central dome of Eagle Butte impact crater, Alberta (collected June 2005).

CRA02
Rock from glacial drift covering central dome of Eagle Butte impact crater, Alberta (collected June 2005).

CRA03
Rock from glacial drift covering central dome of Eagle Butte impact crater, Alberta (collected June 2005).

CRA04
Rock from glacial drift covering central dome of Eagle Butte impact crater, Alberta (collected June 2005).

CRA10
Possible shatter cone in sandstone from glacial drift in Eagle Butte impact crater, Alberta (collected by Mark Zalcik ~2001).

CRA11
Possible shatter cone in sandstone from glacial drift in Eagle Butte impact crater, Alberta (collected by Mark Zalcik ~2001).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.4d. Spectral Data - Eagle Butte Crater, Alberta
Sample
Facility/File No.
Description








CRA10
PSF 080129b.004
whole rock, average area; 30°/0°; 0.35-2.5 µm, 1 nm output, ASD, 200 spectra averaged.

++++++
CRA11-001
PSF 080129b.001
whole rock, average area; 30°/0°; 0.35-2.5 µm, 1 nm output, ASD, 200 spectra averaged.

CRA11
PSF 080129b.002-003
whole rock, average area, other surface; 30°/0°; 0.35-2.5 µm, 1 nm output, ASD, 200 spectra averaged; same spectrum saved twice.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.4.

20. Analogue Sites
20.5. Poplar Bay, MB, Canada
This was identified as a possible impact crater on the basis of its circular shape and gravity anomaly.

20.5a. Sample Descriptions - Poplar Bay, MB, Canada
No evidence of an impact crater origin seen during two field visits.

Sample ID
Description










CRA101
Bedrock fragment (granite) from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (self-collected 2005).

CRA102
Bedrock fragment from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (self-collected 2005).

CRA103
Bedrock fragment from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (self-collected 2005).

CRA104
Bedrock fragment from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (self-collected 2005).

CRA105
Bedrock fragment from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (self-collected 2005).

CRA106
Bedrock fragment from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (collected Aug. 15/07).

CRA107
Bedrock fragment from Poplar Bay, Lac du Bonnet, Manitoba possible impact crater; no evidence of shock in the sample (south shore) (collected Aug. 15/07).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 20.5

20. Analogue Sites
20.6. Haughton Crater, Devon Island, NT, Canada
20.6.1. Samples provided by Richard Leveille

20.6.2. Samples provided by Gordon Osinski - temporary loan

20.6.3. Haughton Crater - GO samples: Samples to retain at U of W
+++++++++++++++++++++++++++++++++++++++++

20.6.1a. Samples provided by Richard Leveille – Canadian Space Agency summer 2007.

20.6.1a.1. Haughton Crater - RL samples - Sample descriptions

Sample ID
Description







HMP06-02
Haughton sample (unshocked)

HMP06-10-1
Haughton sample (unshocked)

HMP06-11-2
Haughton sample (unshocked)

HMP06-13
Haughton sample (unshocked)

HMP06-14-2
Haughton sample (unshocked)

HMP06-21b-4
Haughton sample (unshocked)

XRD and XRF data available for samples.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.6.1b. XRD Data - Haughton Crater - RL samples
Quantitative XRD phase abundances.

	XRD
	HMP06-02
	
	
	XRD
	HMP06-10-1

	Quartz
	5.49%
	
	
	quartz
	12.86%

	Gypsum
	75.17%
	
	
	gypsum
	32.81%

	Goethite
	8.35%
	
	
	anhydrite
	0.32%

	Calcite
	1.13%
	
	
	goethite
	9.95%

	Dolomite
	2.11%
	
	
	jarosite
	33.62%

	FeFe2(SO4)4(H2O)14
	1.96%
	roemerite
	
	dolomite-Fe
	1.51%

	Fe(SO4)(H2O)4
	0.75%
	rozenite
	
	Fe2(SO4)2(OH)5H2O
	7.80%

	Mg(SO4)(H2O)6
	1.58%
	hexahydrite
	
	Fe(SO4)(OH)(H2O)2
	0.81%

	Kaolinite
	1.96%
	
	
	FeSO4(H2O)4
	0.32%

	Chlorite
	0.00%
	
	
	kaolinite
	0.00%

	Mica
	0.45%
	
	
	Total
	100.00%

	amphibole
	1.05%
	
	
	
	

	Total
	100.00%
	
	
	
	

	XRD
	HMP06-11-2
	XRD
	HMP06-13
	XRD
	HMP06-14-2
	XRD
	HMP06-21b-4

	quartz
	13.79%
	quartz
	11.80%
	Quartz
	9.44%
	quartz
	7.82%

	gypsum
	58.94%
	gypsum
	70.08%
	Gypsum
	65.33%
	gypsum
	66.67%

	anhydrite
	0.57%
	anhydrite
	0.54%
	anhydrite
	0.31%
	anhydrite
	0.57%

	hematite
	0.31%
	hematite
	0.24%
	Hematite
	0.15%
	hematite
	0.17%

	calcite
	0.63%
	calcite
	0.90%
	Calcite
	0.26%
	calcite
	0.57%

	dolomite
	12.03%
	dolomite
	9.81%
	Dolomite
	11.79%
	dolomite
	15.65%

	goethite
	10.26%
	goethite
	4.09%
	Goethite
	6.97%
	goethite
	0.85%

	jarosite
	2.46%
	jarosite
	1.32%
	Jarosite
	5.03%
	jarosite
	6.92%

	Mica
	0.38%
	mica
	0.36%
	Mica
	0.26%
	pyrite
	0.51%

	Pyrite
	0.63%
	pyrite
	0.84%
	Pyrite
	0.46%
	rozenite
	0.28%

	Total
	100.00%
	Total
	99.98%
	Total
	100.00%
	Total
	100.01%

	XRF
	HMP06-02
	XRF
	HMP06-10-1
	XRF
	HMP06-11-2

	Na2O
	0.26
	Na2O
	1.19
	Na2O
	

	MgO
	0.97
	MgO
	0.40
	MgO
	0.70

	Al2O3
	1.72
	Al2O3
	1.14
	Al2O3
	1.68

	SiO2
	5.36
	SiO2
	3.73
	SiO2
	5.88

	SO3
	24.00
	SO3
	16.38
	SO3
	18.68

	Cl
	0.07
	Cl
	0.06
	Cl
	0.05

	K2O
	0.50
	K2O
	0.37
	K2O
	0.60

	CaO
	15.12
	CaO
	5.04
	CaO
	11.98

	TiO2
	0.09
	TiO2
	0.07
	TiO2
	0.11

	MnO
	
	MnO
	
	Cr2O3
	

	Fe2O3
	17.49
	Fe2O3
	28.40
	MnO
	

	
	
	CoO
	0.05
	Fe2O3
	41.92

	Total
	65.57
	Total
	56.8219
	Total
	81.63

	XRF
	HMP06-13
	XRF
	HMP06-14-2
	XRF
	HMP06-21b-4

	Na2O
	
	Na2O
	0.22
	Na2O
	

	MgO
	0.70
	MgO
	0.57
	MgO
	0.59

	Al2O3
	2.19
	Al2O3
	1.33
	Al2O3
	1.10

	SiO2
	6.48
	SiO2
	4.66
	SiO2
	4.84

	P2O5
	0.07
	P2O5
	
	P2O5
	0.00

	SO3
	23.33
	SO3
	21.83
	SO3
	25.44

	Cl
	0.00
	Cl
	0.04
	Cl
	

	K2O
	0.82
	K2O
	0.54
	K2O
	1.47

	CaO
	15.00
	CaO
	14.34
	CaO
	15.98

	TiO2
	0.14
	TiO2
	0.09
	TiO2
	0.08

	Cr2O3
	
	Cr2O3
	
	Cr2O3
	

	MnO
	0.03
	MnO
	0.01
	MnO
	0.01

	Fe2O3
	29.72
	Fe2O3
	37.79
	Fe2O3
	28.75

	Total
	78.51
	Total
	81.42
	Total
	78.26


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.6.1d. Spectral Data - Haughton samples - RL samples
(a) ASD spectra

Sample

Facility/File No.

Description







HMP06-10-2
PSF feb0907.002

<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

HMP06-02
PSF feb0907.003

<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

HMP06-11-2
PSF feb0907.004

<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

HMP06-13
PSF feb0907.005

<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

HMP06-21b-4
PSF feb0907.006

<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++

HMP06-10-1
PSF feb0907.007

<45 µm; 35°/0°; 0.35-2.5 µm; 1 nm resol.; 1000 avgd; ASD.

++++++++++++++++++++++++++++++++++++++++++++
(i) D&P 102F FTIR spectra (directory: mar 09 2007)

HMP06-02
PSF HMP06-02
<45 µm; 35°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

HMP06-13
PSF HMP06-13
<45 µm; 35°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

HMP06-10/1
PSF HMP06-10/1
<45 µm; 35°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

HMP06-10/2
PSF HMP06-10/2
<45 µm; 35°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

HMP06-11/2
PSF HMP06-11/2
<45 µm; 35°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

HMP06-21b/4
PSF HMP06-21b/4
<45 µm; 35°/0°; 2-16 µm; ~1.5 cm-1 resol.; 100 avg; D&P.

++++++++++++++++++++++++++++++
(ii) Bruker Vertex 70 – reflectance?; i=?, e=?; 500-500 cm-1; 1 cm-1 resolution; 256 scans averaged; Boxcar/zero fill: Blackman-Harris 3 Term [Directory: c:\Data\MCraig\Feb_26_011]. (“IR 3” in Excel sheet).
HMP06-093
PSF 06093.0

HMP06-093
PSF 06093.1

Axel Calcite
PSF Axcal

HMP99-006
PSF 99006.0

HMP02-038
PSF 02038.0

++++++++++

(iii) Bruker Vertex 70 – reflectance?; viewing geometry: “sample compartment”; 400-5000 cm-1; 2 cm-1 resolution; 128 scans averaged; Boxcar/zero fill: nil [Directory: c:\Data\100618]. (“IR 4” in Excel sheet).
Axel Calcite
PSF Axel Calcite (“Overtones frm 2-4 µm Missing” “water suppression”)

+++++++++++++++++++++++++++++++++++++++++++
20.6.2. Samples provided by Gordon Osinski - temporary loan

20.6.2a. Haughton Crater - GO samples - Sample descriptions

Sample ID
Description











HMP99-093
Carbonate: clast from melt breccias; black carbonate. Shock level: shatter cones. Sample not provided.

HMP01-050
Carbonate: Thumb Mountain Formation; outside crater. Shock level: none. XRF done; fluid inclusion slide available. TOC done. Polished thin section available.
HMP02-102
Sulfate: post-impact hydrothermal selenite. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Polished thin section available.
HMP02-119
Carbonate: Impact melt breccia. XRF done.
HMP02-136
Carbonate: Eleanor River Formation central uplift. “Note shatter cone surfaces”. Shock level: shatter cones. Organics, TOC done.
HMP04-006
Sulfate? (but listed under carbonates): Sulfate clast from impact melt breccia (IMB). Shock level: melt?. “Unknown sample” no slide.

HMP04-007
Sulfate: sulfate clast (white) from impact melt breccia (IMB). Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Polished thin section available.
HMP04-008
Sulfate: sulfate clast (brecciated) from impact melt breccia (IMB). Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Polished thin section available.
HMP04-032
Sulfate: sulfate clast from impact melt breccia (IMB). Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Polished thin section available.
HMP04-034
Sulfate: sulfate clast from impact melt breccia (IMB). XRF done; fluid inclusion slide available. Polished thin section available.
HMP04-040
Sulfate: sulfate clast from impact melt breccia (IMB). Fluid inclusion slide available. Polished thin section available.
HMP04-040
Two samples that look different labelled the same


HMP04-041
Sulfate: sulfate clast from parautochthonous breccias. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Polished thin section available.
HMP04-042
Sulfate: sulfate clast from parautochthonous breccias. XRF done; fluid inclusion slide available.

HMP04-053
Sulfate: Bay Fiord Formation sulfate from central uplift. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Image #04-012. Polished thin section available.
HMP05-010
Carbonate: Middle member of Allen Bay Formation. XRF available. TOC done. Polished thin section available.
HMP05-021
Carbonate: Ballistic ejecta; Thumb Mountain Formation. Shock level: low. XRF available. Polished thin section available.
HMP05-024
Carbonate: carbonate clast from impact melt breccia (IMB). XRF available. Polished thin section available.
HMP05-026
Carbonate: impact melt breccia. XRF available.
HMP05-035
Sulfate: Bay Fiord Formation Member A: sulphates. Shock level: outside crater. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Image #05-034-038. Polished thin section available.
HMP05-037
Sulfate: Bay Fiord Formation Member A: sulphates. Shock level: outside crater. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Sample not provided. Polished thin section available.
HMP05-038
Sulfate: Bay Fiord Formation Member A: sulphates. Shock level: outside crater. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Image #05-040-043. Polished thin section available.
HMP05-039
Sulfate: Bay Fiord Formation Member A: collapse breccia. Shock level: outside crater. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Polished thin section available.
HMP05-040
Sulfate: Bay Fiord Formation Member A: sulphates. Shock level: outside crater. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Image #05-044. Sample not provided. Polished thin section available.
HMP05-042
Sulfate: Bay Fiord Formation Member A: sulphates. Shock level: outside crater. Semi-quantitative XRD available (see below). XRF done; fluid inclusion slide available. Image #05-046,047. Polished thin section available.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.6.2a.1. Haughton Crater - GO samples: Double polished slides for fluid inclusion work (temporary loan from G. Osinski)

(sections can be removed from slides with acetone)
“FI” indicates presence of fluid inclusions (?)
04-007
04-007 FI

04-008 FI

04-032 FI

04-034 FI

04-040

04-040 FI

04-041 FI

04-042 FI

04-053 FI

05-035 FI

HMP-05-037 FI

HMP-05-038 FI

05-039 FI

05-040 FI

05-042 FI

Blank FI

+++++++++++++++++++++++++++++++++++++++++++
20.6.2b. XRD Data - Haughton Crater - GO samples

20.6.2b.1. Haughton Crater - GO samples - phases identified by XRD (data from G. Osinski, March ’08)
Ordered by XRD Lab Sample ID.

Gordon Osinski
XRD Lab
Phases identified by semi-quantitative XRD

Sample ID
Sample ID







04-034

06-007



06-009

91.0% 
quartz, low





9.0%
gypsum



06-010

99%
quartz, low





<1%
quartz





1%
Mg calcite (Mg0.03Ca0.97CO3)





<1%
dolomite





<1%
gismondine



06-011

89%
gypsum





4.0%
goethite





6.0%
calcite





1.0%
quartz



06-012

96%
gypsum





3%
calcite





1%
goethite





<1%
quartz



06-015

100%
quartz



06-016

97%
quartz





3%
Mg calcite





<1%
dolomite





<1%
gismondine



06-017

92%
quartz





3%
calcite





<1%
Mg calcite





5%
amorphous material



06-018

68%
quartz





32%
Mg calcite





<1%
dolomite





<1%
gismondine



06-019

95%
quartz





4%
Mg calcite





1%
dolomite





<1%
gismondine



06-020

94%
quartz





6%
Mg calcite





<1%
dolomite





<1%
gismondine

++++++

02-102

06-035

100% 
gypsum





<1%
quartz

++++++
04-007

06-036

100%
gypsum





<1%
quartz





<1%
gismondine

++++++
05-035

06-037

97%
gypsum





3%
quartz, low





<1%
quartz





<1%
gismondine

++++++
05-037

06-038

95%
gypsum





5%
dolomite





<1%
quartz





<1%
quartz

++++++

04-032

06-039

100%
gypsum





<1%
quartz





<1%
gismondine

++++++
05-038

06-040

84%
gypsum





3%
quartz, low





8%
dolomite





5%
gismondine

++++++
04-008

06-041

80%
gypsum





20%
quartz

++++++
04-040

06-042

99%
gypsum





1%
dolomite





<1%
gismondine

++++++
05-039

06-043

100%
gypsum





<1%
quartz, low

++++++
04-041

06-044

100%
gypsum





<1%
quartz, low





<1%
quartz





<1%
gismondine

++++++
05-040

06-045

69%
gypsum




30%
dolomite





1%
quartz, low





<1%
gismondine


06-046

5%
gypsum





6%
quartz, low





38%
dolomite





3%
gismondine

++++++
05-042

06-047

96%
gypsum





2%
dolomite





1%
quartz, low





<1%
quartz





<1%
gismondine



06-048

99%
gypsum




<1%
dolomite





1%
quartz, low





<1%
quartz





<1%
gismondine

++++++
04-053

06-049

97%
gypsum





3%
dolomite





<1%
quartz, low





<1%
quartz





<1%
gismondine


++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.6.2c. Haughton Crater - GO samples -Sample Analyses 
20.6.2c.1. XRF results for HMP samples from Gordon Osinski

Wt. %

02-102
04-007
04-008
04-032
04-034
04-040
04-041


SiO2

0.27
0.20
21.29
0.32
0.57
0.37
0.94
TiO2

0.014
0.014
0.012
0.014
0.013
0.012
0.020
Al2O3

0.02
<d/l
<d/l
0.05
0.08
0.02
0.18
Fe2O3*

0.02
0.04
0.10
0.06
0.09
0.02
0.12
MnO

0.006
0.003
0.004
<d/l
0.004
0.003
<d/l
MgO

0.01
0.02
0.08
0.11
0.66
0.11
0.08
CaO

32.11
32.00
25.83
31.90
32.23
31.95
31.26
Na2O

0.03
0.03
0.05
0.03
0.03
0.03
0.06
K2O

0.01
0.01
0.01
0.01
0.01
0.01
0.08
P2O5

0.009
0.010
0.010
0.008
0.012
0.010
0.010
CO2



SO3

46.35
45.20
33.18
45.75
40.83
46.64
53.44

ppm
BaO

<d/l
29
<d/l
133
143
<d/l
137
Co

<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
Cr2O3

<d/l
<d/l
37
<d/l
<d/l
<d/l
18
Ni

11
14
11
13
12
13
18
Br

<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
Cl

<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
F

960
990
1040
940
1000
960
1040

LOI (wt. %)
67.55
67.35
52.36
67.31
66.05
67.14
66.62

TOTAL

100.05
99.69
99.76
99.83
99.77
99.68
99.39

* - all Fe reported as Fe2O3.

d/l = detection limit.

Wt. %

04-053
05-035
05-037
05-038
05-039
05-040
05-042


SiO2

1.02
2.89
0.14
4.79
0.35
1.64
1.13
TiO2

0.013
0.013
0.010
0.044
0.009
0.020
0.017
Al2O3

0.03
0.03
0.03
0.78
0.03
0.21
0.13
Fe2O3*

0.03
0.05
0.03
0.19
0.05
0.45
0.12
MnO

0.004
0.004
0.004
0.005
0.003
0.018
0.006
MgO

0.98
0.16
2.49
0.96
0.12
4.57
0.87
CaO

31.77
31.32
31.51
30.38
32.27
31.24
31.71
Na2O

0.04
0.03
0.02
0.05
0.06
0.04
0.08
K2O

0.01
0.01
<d/l
0.47
0.01
0.04
0.02
P2O5

0.008
0.010
0.009
0.015
0.011
0.013
0.012
CO2



SO3

49.51
41.34
41.45
38.18
53.55
39.98
53.06

ppm
BaO

<d/l
<d/l
<d/l
83
<d/l
<d/l
<d/l
Co

<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
Cr2O3

27
25
<d/l
22
27
<d/l
16
Ni

17
11
13
11
12
12
13
Br

<d/l
<d/l
<d/l
<d/l
<d/l
1/0
<d/l
Cl

<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
<d/l
F

1540
1030
1020
1630
990
1060
1020

LOI (wt. %)
65.89
65.25
65.55
61.96
66.90
61.72
65.71

TOTAL

99.80
99.77
99.79
99.66
99.82
99.96
99.81

* - all Fe reported as Fe2O3.

d/l = detection limit.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.6.2c.2. Haughton Crater - samples from GO - Analytical data: Electron microprobe

Phases analyzed by electron microprobe by M. Izawa (Feb. 2014): 

HMP05-026: dolomite, mixed groundmass, calcite+quartz.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.6.2c.3. Haughton Crater - samples from GO - Sample Analyses
Sample analyzed by XRF and wet chemistry: Stan Mertzman, Franklin and Marshall College.

Wt. %
HMP-05-026
SiO2
19.89

TiO2
0.10

Al2O3
2.97

FeO
0.19

Fe2O3
0.96

(Fe2O3)*
(1.17)

MnO
0.02

MgO
15.84

CaO
58.66

Na2O
0.12

K2O
0.59

P2O5
0.04

SO3
0.29


TOTAL
99.69

LOI
37.20

ppm
Sr
523

Zr
90

V
42

Ni
15

Cr
17

Co
<1


Source
Mertzman

Analysis
XRF/WC







a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.6.2d. Spectral data - Haughton Crater - samples from GO
Sample

Facility/File No.

Description








HMP01-050
PSF 080129b.066
whole rock, exterior surface, crystalline area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP01-050
PSF 080129b.067
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP02-119
PSF 080129b.075
whole rock, broken exterior? surface, big bland clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP02-119
PSF 080129b.076
whole rock, broken exterior? surface, gray clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP02-119
PSF 080129b.077
whole rock, broken exterior? surface, white clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP02-119
PSF 080129b.078
whole rock, broken exterior? surface, “average” area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP02-136
PSF 080129b.072
whole rock, cone surface, lighter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP02-136
PSF 080129b.073
whole rock, cone surface, darker area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP02-136
PSF 080129b.074
whole rock, other cone surface, average lighter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP03-021
PSF 080129b.057
whole rock, exterior surface, average gray area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP03-021
PSF 080129b.058
whole rock, cut surface, average gray area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP04-006
PSF 080129b.041
whole rock, exterior surface, lighter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-006
PSF 080129b.042
whole rock, exterior surface, darker area adjacent to first spot; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-006
PSF 080129b.043
whole rock, exterior (“underside”) surface, gray area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-006
PSF 080129b.044
whole rock, exterior (“underside”) surface, gray crest; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-006
PSF 080129b.045
whole rock, exterior (“underside”) surface, black area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-006
PSF 080129b.046
whole rock, exterior surface, in the “cave” – crystalline area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP04-008
PSF 080129b.035
whole rock, exterior surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-008
PSF 080129b.036
whole rock, cut surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP04-034
PSF 080129b.053
whole rock, exterior surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-034
PSF 080129b.054
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP04-040
PSF 080129b.055
whole rock, exterior surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-040
PSF 080129b.056
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP04-041
PSF 080129b.047
whole rock, epoxied? exterior surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-041
PSF 080129b.048
whole rock, cut surface, gray clast area1; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-041
PSF 080129b.049
whole rock, cut surface, gray clast area2; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-041
PSF 080129b.050
whole rock, cut surface, gray clast area3; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-041
PSF 080129b.051
whole rock, cut surface, whiter vein area1; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-041
PSF 080129b.052
whole rock, cut surface, whiter vein area2; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP04-053
PSF 080129b.037
whole rock, exterior surface, white spot; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-053
PSF 080129b.038
whole rock, exterior surface, adjacent gray spot; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-053
PSF 080129b.039
whole rock, cut surface, gray spot; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP04-053
PSF 080129b.040
whole rock, exterior surface, whiter spot; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP05-010
PSF 080129b.059
whole rock, exterior surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP05-024
PSF 080129b.068
whole rock, exterior surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-024
PSF 080129b.069
whole rock, exterior other surface, darker area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-024
PSF 080129b.070
whole rock, exterior other surface, lighter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-024
PSF 080129b.071
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP05-026
PSF 080129b.060
whole rock, broken exterior? surface, mostly gray clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-026
PSF 080129b.061
whole rock, broken exterior? surface, next to gray clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-026
PSF 080129b.062
whole rock, broken exterior? other surface, white clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-026
PSF 080129b.063
whole rock, broken exterior? other surface, adjacent dark clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-026
PSF 080129b.064
whole rock, broken exterior? other surface, big gray-white clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-026
PSF 080129b.065
whole rock, broken exterior? other surface, smaller gray clast; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++
HMP05-038
PSF 080129b.033
whole rock, exterior surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP05-038
PSF 080129b.034
whole rock, cut surface, gray area away from veins; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.6.3a. Haughton Crater - GO samples: Samples to retain at U of W
20.6.3a. Sample Descriptions – Haughton Crater – GO Samples

Sample ID
Description










HMP001
Shock-blackened carbonate with shatter cone features.

+++++++++++++++++++++++++++++++

20.6.3d.Haughton Crater - GO samples: samples to retain at University of Winnipeg samples --  Spectral files
Sample
Facility/File No.
Description








HMP001
PSF 080129b.079
whole rock, cone surface, dark area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP001
PSF 080129b.080
whole rock, cone surface, lighter area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

HMP001
PSF 080129b.081
whole rock, black bottom away from cone striations; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

+++++++++++++++++++++++++++++++++++++
20.6.d. Samples measured by Katherin Winchell (summer 2016) – ASD and Raman

Notes from Katherine Winchell:

HMP002
W17 Haughton Shatter Cone HMP002
Cross Section:
1. Top 
2. Top 
3. Top 
4. Cracked edge
5. Cracked edge

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.6

20. Analogue Sites
20.7. Mistastin crater, NL, Canada
20.7a. Sample Descriptions - Mistastin Crater, NL, Canada
Samples from Cassandra Marion, Memorial University – July 2007

Sample ID
Description











CM065
Melt rock; has XRF, ICPMS data.

W05-60
Melt rock.

W05-67
Anorthosite – target rock; taken several km east of crater, should be unshocked.

W05-41
Anorthosite: very shocked anorthosite from Horseshoe island, centre of the crater.

CM010
Granodiorite – target rock; from Steep Creek, mildly shocked? trace element and dating on zircons done on this sample.
++++++

DIAP
Mistastin diaplectic glass; <45 µm dry sieved (from Western U)?
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.7c. Compositional Data - Mistastin Crater, NL, Canada
20.7c.1. Analytical data from Cassandra Marion.

Wt.%

CM010
CM065
W05-41
W05-60
W05-67


Na2O

2.15
4.091
3.57
3.76
4.20

MgO

0.22
1.337
1.32
1.60
2.99

Al2O3

11.59
22.137
25.01
20.74
26.70

SiO2

75.56
55.968
52.79
56.03
53.00

P2O5

0.07
0.223
0.22
0.23
0.05

S (ppm)

--
16.903
395
298
311

Cl (ppm)
--
383.465
343
67
72

K2O

4.95
1.463
0.71
1.76
0.52

CaO

1.14
7.623
9.69
6.93
9.77

Sc (ppm)
-8.17
2.953
8
12
12

TiO2

0.32
0.712
0.37
0.83
0.21

V (ppm)

-2.74
53.74
19.37
48.61
26.21

Cr (ppm)
-0.55
19.46
10.07
20.97
103.09

MnO

0.03
0.051
0.03
0.07
0.06

Fe2O3T1

2.39
4.669
2.15
5.76
4.15

Ba (ppm)2
2694
694
572
1115
318

Ce (ppm)2
93
77
<LD
111
<LD

Ni (ppm)
--
0.98
10.86
11.42
14.78

Cu (ppm)
--
--
8.88
11.73
13.11

Zn (ppm)
--
--
<LD
16.40
<LD

Ga (ppm)
--
--
25.39
19.18
20.21

As (ppm)
--
--
<LD
<LD
<LD

Rb (ppm)
--
--
3.26
31.09
1.15

Sr (ppm)

--
--
722.42
564.40
732.41

Y (ppm)

--
--
5.58
18.30
1.78

Zr (ppm)
--
--
38.70
311.75
18.99

Nb (ppm)
--
--
2/47
10.90
1.05

Pb (ppm)
--
--
<LD
8.41
<LD

Th (ppm)
--
--
<LD
<LD
<LD

U (ppm)

--
--
<LD
<LD
<LD


TOTAL

98.72
98.398
96.19
98.05
101.89

LOI (wt.%)
0.75
1.18
3.33
0.88
0.32


Analyses from Cassandra Marion – Memorial University (May 2008).

1 All Fe reported as Fe2O3. 2 Decimal places ignored. LD – lower detection limit?

++++++++++++++++++++++++++++++++++++++++++++++++

20.7c. Compositional Data - Mistastin Crater, NL, Canada (continued)
20.7c.2. Mistastin Crater, NL, Canada - Sample Analyses - XRF analyses
Wt. %
W05-41
W05-41
CM065
SiO2
55.48
55.52
56.44

TiO2
0.25
0.39
0.75

Al2O3
26.09
26.84
22.33

FeO
0.54
0.31
2.32

Fe2O3
1.45
1.19
2.47

(Fe2O3)*
(2.05)
(1.53)
(5.05)

MnO
0.04
0.040
0.08

MgO
0.79
0.40
1.44

CaO
9.62
9.60
7.92

Na2O
4.87
4.79
4.44

K2O
0.73
0.710
1.49

P2O5
0.24
0.084
0.27

SO3
0.05
0.40
0.07

TOTAL
100.21
100.30
100.28

LOI
2.47
2.59
1.35

ppm
Sr
840
830
676

Zr
85
92
242

V
67
17
87

Ni
5
<2
15

Cr
31
15
94

Co
<2
8
<1

Source
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC


a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++

20.7c.3. Mistastin Crater, NL, Canada - Sample Analyses: Electron microprobe

Phases analyzed by electron microprobe by M. Izawa (Feb. 2014): 

CM065: ilmenite, pyroxene, plagioclase, magnetite.

W05-41: magnetite, ilmenite, plagioclase.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.7d. Spectral Data - Mistastin Crater, NL, Canada
Sample
Facility/File No.
Description








CM010
PSF 080129b.087
whole rock, weathered surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

CM010
PSF 080129b.088
whole rock, broken surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

CM010
PSF 080129b.089
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
CM065
PSF 300807a.001
<45 µm; 35°/0°; 0.35-2.5 µm, 1 nm resol., ASD.

CM065
PSF 080129b.082
whole rock, weathered surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

CM065
PSF 080129b.083
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

CM065
PSF 080129b.084
whole rock, broken surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

++++++
W05-41
PSF 300807a.002
<45 µm; 35°/0°; 0.35-2.5 µm, 1 nm resol., ASD.

W05-41
PSF 080129b.085
whole rock, broken surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

W05-41
PSF 080129b.086
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

W05-41
PSF 111201a.036
<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

W05-41
PSF 111201a.007
whole rock; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

W05-41
INO
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 4 sets of spectra acquired.

++++++

W05-60
PSF 300807a.003
<45 µm; 35°/0°; 0.35-2.5 µm, 1 nm resol., ASD.

++++++
W05-67
PSF 300807a.004
<45 µm; 35°/0°; 0.35-2.5 µm, 1 nm resol., ASD.

W05-67
PSF 080129b.090
whole rock, least altered weathered surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

W05-67
PSF 080129b.091
whole rock, broken surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

W05-67
PSF 080129b.092
whole rock, cut surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

W05-67
PSF 111201a.037
<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

W05-67
PSF 111201a.008
whole rock; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

W05-67
INO W05-67
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 20.7.

20. Analogue Sites
20.8. West Hawk Lake, MB, Canada

This is a few km wide impact crater in Precambrian rocks on the Manitoba-Ontario border.
20.8a. Sample Descriptions - West Hawk Lake, MB, Canada

Sample ID
Description










WHL001-004
Basalt (4 pieces) first moraine east of West Hawk Lake beach (Aug. 15/07)

WHL005-008
Basalt (4 pieces) first road cut east of West Hawk Lake beach (Aug. 15/07).
WHL010
Basalt cobble with quartz-filled vein. Road cut on south side of Crescent Beach access road.

WHL011
Basalt cobble with gray-brown fracture surface. Road cut on south side of Crescent Beach access road.
WHL012
Basalt with minor brown iron oxide staining. Road cut on south side of Crescent Beach access road.
WHL013
Basalt with dark brown rind and gray-brown fracture surface. Road cut on south side of Crescent Beach access road.
WHL014
Basalt with dark brown rind and gray-brown fracture surface. Road cut on south side of Crescent Beach access road.
WHL015
Light-coloured fracture fill – feldspar-rich (?) from basalt outcrop. Road cut on south side of Crescent Beach access road.
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.8.

20. Analogue Sites
20.9. Frank Slide, AB, Canada
This is a large manmade landslide in SE Alberta.
20.9a. Sample Descriptions - Frank Slide, AB, Canada
Sample ID
Description










FSA001

Slickensided limestone; collected at rest stop on south side of highway; July 23, 2007.

FSA002

Slickensided limestone; collected at rest stop on south side of highway; July 23, 2007.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.9d. Spectral Data - Frank Slide, AB, Canada
Sample
Facility/File No.
Description







FSA001
PSF 080129b.005
whole rock, slickensided surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged; bad spectrum.

FSA001
PSF 080129b.006
whole rock, slickensided surface, average area; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

FSA001
PSF 080129b.007
whole rock, fractured surface away from slickensided surface; 30°/0°; 0.35-2.5 µm, 1 nm resol., ASD, 200 spectra averaged.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 20.9.

20. Analogue Sites
20.10. Saline Lakes, SK, Canada
20.10.1. Ceylon Lake, Saskatchewan

20.10.2. Chaplin, SK, Canada

20.10.3. West Coteau Lake, SK, Canada

20.10.4. Chappice Lake, SK, Canada

20.10.5. Freefight Lake, SK, Canada

20.10.6. Ingebright Lake, SK, Canada

20.10.7. Muskiki Lake, SK, Canada

20.10.8. Manito Lake, SK, Canada

++++++++++++++++++++++++++++++++++

20.10a. Sample Descriptions - Saline Lakes, SK, Canada
Sample ID
Description










20.10.1a. Ceylon Lake, Saskatchewan

Samples collected July 20, 2007 from the south end of the salt lake (Ceylon Salt Lake) located a few km SW of Ceylon, Saskatchewan. Samples collected from shoreline.

CSL001

Unsorted whitish crust – powder; no texture preserved.

CSL002

Unsorted whitish crust – powder; no texture preserved.
CSL003

White crust, texture preserved.

CSL004

White crust, texture preserved.

CSL005

White crust, texture preserved.

CSL006

White crust, texture preserved.

CSL006Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

CSL007

White crust, texture preserved.

CSL007Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

CSL008

White crust, texture preserved

CSL008Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

CSL009

White crust with subsurface green algal layer; texture preserved.

CSL010

White crust, texture preserved.

CSL008/010s
Supplemental material for CSL008 and 010.

+++++++++++++++++++++++++++++++++++++++++
20.10.2a. Chaplin, SK, Canada
(i) Samples collected from south side of Highway 1 on shore of Chaplin Lake from stockpile. Samples collected July 2004.

SPT158
Sulfate - mirabilite (Glauber’s salt) - Chaplin, Saskatchewan (self-collected) (Na2SO4·10H2O) (July 2004).

SPT158Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

++++++++++
(ii) Samples collected from beneath Trans-Canada Highway overpass which has thick deposits and small outflow creek. Thick deposits characterized by white fine-grained friable layer (few inches thick) overlying massive clear-while hard phenocrystic layer – June 28, 2018.
SK200
Friable fine-grained surficial sediments.

SK201
Massive clear-white underlying deposit.

SK202
Water sample from small outflow creek. ~150 mg of air-dried precipitate from 500 ml water sample: white powder (not completely dried after 1 week of air-drying, plus green algal clumps); creek water was grey-green.
+++++++++++++++++++++++++++++++
20.10.3a. West Coteau Lake, SK, Canada
Samples collected from northwest shore of West Coteau Lake in July 2005.

SPT200
Sulfate deposit - dry surface of west end of West Coteau Lake, Saskatchewan, Canada (collected July 2005).

SPT200Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

SPT201
Sulfate deposit - dry surface of west end of West Coteau Lake, Saskatchewan, Canada (collected July 2005).

SPT201Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

++++++++++++++++++++++++++++++++++++++++
20.10.4a. Chappice Lake, SK, Canada
Samples collected by Bill Last (University of Manitoba sometime in the 1980s-2000s).

Chappice-1
Evaporite sample from lake bed.
Chappice-1Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

Chappice-2
Evaporite sample from lake bed.
Chappice-2Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

++++++++++++++++++++++++++++++++++++++++++
20.10.5a. Freefight Lake, SK, Canada
Samples collected by Bill Last (University of Manitoba sometime in the 1980s-2000s).

Freefight-1
Evaporite sample from lake bed.
Freefight-1Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

+++++++++++++++++++++++++++++++++++++++++++
20.10.6a. Ingebright Lake, SK, Canada
Samples collected by Bill Last (University of Manitoba sometime in the 1980s-2000s).

Ingebright-1
Evaporite sample from lake bed.
Ingebright-1Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

++++++++++++++++++++++++++++++++++++++++++++
20.10.7a. Muskiki Lake, SK, Canada
Muskiki-1
Evaporite sample collected by Bill Last of the University of Manitoba sometime in the 1980s-2000s. 
Muskiki-2
Shoreline sediments collected June 20, 2013 by E. Cloutis; period of very high water level.

Muskiki-3
Nearshore water sample collected June 20, 2013 by E. Cloutis; period of very high water level.

+++++++++++++++++++++++++++++++++++++++++++++
20.10.8a. Manito (aka Manitou) Lake, SK, Canada

(i) Samples collected by Bill Last (University of Manitoba sometime in the 1980s-2000s).

Manito-1
Evaporite sample from lake bed.

Manito-1Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

Manito-2
Evaporite sample from lake bed.

Manito-2Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

Manito-3
Evaporite sample from lake bed.

Manito-3Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

Manito-4
Evaporite sample from lake bed.

Manito-4Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

Manito Island
Evaporite sample from lake bed.

Manito S.I.
Evaporite sample from lake bed.

Manito S.I.-Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

+++++++++++++++++++++++++++++++
(ii) Samples collected by E. Cloutis (July 14, 2018)

Collected from north shore of lake at Manitou Lake Bible Camp – along their access road.

SK100
Various cobbles collected from man-made pile along shoreline. Many show oolitic surface, porous.

++++++++++++++++++++++++++++++++++++++++++++++
20.10b. XRD data

Sample

Phases identified by XRD – May 2019

Freefight-1
hydromagnesite; basic hydromagnesite; quartz

Muskiki-1
Starkeyite (MgSO4·4H2O); bloedite (Na2Mg(SO4)2·4H2O); trace of halite
April 2020 (C-TAPE Bruker D8)

SK100

Aragonite; quartz; dolomite; calcite, magnesian

++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.10c. Compositional Data - Saline Lakes, SK, Canada
20.10c. Analytical data

From C-TAPE light element analyser (Feb. 2020)

Sample
C content (wt.%)
Calcite (wt.% equivalent; assuming all C in calcite)

SK100
6.90
57.47

++++++++++++++++++++++++++++++++++++++++++++

20.10.1c. Ceylon Lake, SK, Canada samples - Analyses.
Wt.%
CSL002
CSL004
CSL005
CSL006
CSL007
CSL008
CSL009
CSL010

SiO2
2.73
0.04
0.00
0.00
0.00
0.00
0.00
0.00
TiO2
0.02
0.01
0.00
0.00
0.01
0.01
0.00
0.00
Al2O3
0.38
0.06
0.00
0.00
0.00
0.00
0.01
0.00
(Fe2O3)*
(0.22)
(0.52)
(0.00)
(0.00)
(0.00)
(0.46)
(0.00)
(0.00)
MnO
0.009
0.016
0.006
0.006
0.006
0.026
0.007
0.005
MgO
0.74
0.32
1.33
0.24
0.38
0.42
0.64
0.50
CaO
0.67
0.34
0.16
0.16
0.16
0.33
0.66
0.25
Na2O
41.42
43.70
40.38
44.47
44.65
44.87
41.60
42.59
K2O
0.191
0.054
0.231
0.104
0.145
0.250
0.130
0.088
P2O5
0.024
0.020
0.023
0.015
0.014
0.019
0.025
0.019
SO3
53.85
55.20
56.66
55.45
55.02
53.96
56.16
55.58
Cl
0.00
0.00
0.42
0.00
0.04
0.00
0.09
0.11

TOTAL
100.254
100.280
99.212
100.445
100.427
100.345
99.322
99.142
LOI
2.23
1.67
4.14
1.18
1.44
1.81
3.12
1.76

ppm
Rb
4
<2
3
<2
6
8
<2
<2
Sr
55
62
48
45
49
80
145
58
Zr
48
27
27
25
23
26
32
23
V
21
19
18
14
21
21
18
17
Ni
<2
50
<2
<2
<2
100
10
<2
Cr
10
6
10
15
14
15
16
13
Co
10
15
<2
<2
<2
13
14
3

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.2c. Chaplin, SK, Canada samples - Analyses.

Wt.%
SPT158

SPT158
SiO2
1.94

5.45
TiO2
0.03

0.04
Al2O3
0.45

1.02
FeO


0.42

Fe2O3


0.19
(Fe2O3)*
(0.14)

(0.66)
MnO
0.008

0.02
MgO
0.10

0.27
CaO
0.30

0.57
Na2O
42.27

39.77
K2O
0.175

0.21
P2O5
0.023

0.05
SO3
55.14

51.35
Cl
0.00



TOTAL
100.573

99.41
LOI
0.74

1.66
ppm
Rb
2


Sr
36

121
Zr
31

80
V
22

35
Ni
<2

2
Cr
13

13
Co
<2

<2
Source
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC








* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.2c. Chaplin, SK, Canada samples - Analyses.

	
	Beige
	Gray

	Specimen
	SK100
	SK100

	Wt.%:
	
	

	SiO2
	71.39
	58.08

	TiO2
	0.14
	0.11

	Al2O3
	5.59
	4.94

	Fe2O3T
	1.28
	0.91

	MnO
	0.04
	0.04

	MgO
	2.35
	3.55

	CaO
	16.46
	29.56

	Na2O
	1.33
	1.45

	K2O
	1.30
	1.12

	P2O5
	0.07
	0.08

	Total
	99.95
	99.84

	LOI
	14.22
	22.24

	FeO
	0.53
	0.43

	Fe2O3
	0.69
	0.43

	ppm:
	
	

	Sr
	668
	1738

	Zr
	20
	6

	V
	21
	18

	Cr
	<2
	<2

	Ni
	
	



Mertzman
Mertzman




XRF/WC
XRF/WC

Fe2O3T: Total Fe reported as Fe2O3. 

Total: expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++
20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.2c. Chaplin, SK, Canada samples - Analyses.

	
	Laminations

	Specimen
	SK100

	Wt. %
	

	SiO2
	36.39

	TiO2
	0.16

	Al2O3
	4.08

	Fe2O3T
	0.95

	MnO
	0.06

	MgO
	6.27

	CaO
	49.42

	Na2O
	1.33

	K2O
	0.75

	P2O5
	0.11

	Total
	99.52

	LOI
	32.97

	FeO
	0.57

	Fe2O3
	0.32

	ppm:
	

	Sr
	2781

	Zr
	8

	V
	26

	Cr
	<2



Mertzman





XRF/WC


Fe2O3T: Total Fe reported as Fe2O3. 

Total: expressed on a volatile-free basis and all Fe reported as Fe2O3.

c. FeO determined by wet chemistry; Fe2O3 taken as difference between total Fe (from XRF) and FeO (from wet chemistry).

d. LOI: loss on ignition: % weight loss after heating the sample in air at 950°C for 60-90 minutes.

Note: Source of analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by X-ray fluorescence (XRF) and wet chemistry (WC) for Fe2+.
+++++++

20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.3c. West Coteau Lake, SK, Canada samples - Analyses.

Wt.%
SPT200
SPT201

SiO2
4.30
4.29

TiO2
0.05
0.05

Al2O3
0.87
0.89

(Fe2O3)*
(0.37)
(0.37)

MnO
0.018
0.018

MgO
1.17
1.17

CaO
1.87
1.87

Na2O
39.81
39.81

K2O
0.386
0.384

P2O5
0.051
0.052

SO3
50.83
51.89

Cl
0.00
0.00


TOTAL
99.719
100.789

LOI
9.34
5.02


ppm
Rb
20
5

Sr
266
264

Zr
56
52

V
21
25

Ni
20
15

Cr
32
25

Co
18
10


Source
Mertzman
Mertzman
Analysis
XRF
XRF


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.4c.Chappice Lake, SK, Canada  samples - Analyses.

Wt.%
Chappice-1
Chappice-2

SiO2
9.07
44.82

TiO2
0.02
0.11

Al2O3
0.84
3.20

(Fe2O3)*
(0.19)
(0.53)

MnO
0.039
0.037

MgO
1.76
1.99

CaO
85.40
49.20

Na2O
1.48
1.52

K2O
0.264
0.752

P2O5
0.157
0.079

SO3
0.55
0.31

Cl
0.00
0.00


TOTAL
99.768
99.242

LOI
42.35
27.64

ppm
Rb
5
10

Sr
5695
3152

Zr
172
196

V
14
31

Ni
<2
<2

Cr
6
30

Co
<2
<2


Source
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC








* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.5c. Freefight Lake, SK, Canada  samples - Analyses.

Wt.%
Freefight-1

SiO2
29.19

TiO2
0.17

Al2O3
2.73

(Fe2O3)*
(0.61)

MnO
0.041

MgO
50.79

CaO
11.87

Na2O
1.58

K2O
0.794

P2O5
0.071

SO3
2.12

Cl
0.00

TOTAL
99.966

LOI
45.69

ppm
Rb
11

Sr
970

Zr
277

V
33

Ni
3

Cr
45

Co
<2

Source
Mertzman
Analysis
XRF/WC










a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.6c. XRF data for Ingebright Lake samples (from Stan Mertzman May 2013).

Wt.%
Ingebright-1

SiO2
15.51

TiO2
0.25

Al2O3
3.23

(Fe2O3)*
(2.09)

FeO
0.24

Fe2O3
1.82

MnO
0.031

MgO
11.49

CaO
26.08

Na2O
7.04

K2O
0.676

P2O5
0.104

SO3
32.21

Cl
0.52

TOTAL
99.218

LOI
27.43

ppm
Rb
13

Sr
853

Zr
65

V
49

Ni
10

Cr
60

Co
7

Source
Mertzman
Analysis
XRF/WC










a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.7c. Muskiki Lake, SK, Canada samples - Analyses.

Wt.%
Muskiki-1

SiO2
0.00

TiO2
0.01

Al2O3
0.00

(Fe2O3)*
(0.00)

MnO
0.008
MgO
27.18
CaO
0.11
Na2O
21.12
K2O
0.254
P2O5
0.013
SO3
50.34
Cl
0.89

TOTAL
99.929
LOI
35.79

ppm
Rb
3
Sr
45
Zr
22
V
22
Ni
2
Cr
19
Co
8

Source
Mertzman
Analysis
XRF/WC










a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.10c. Compositional Data - Saline Lakes, SK, Canada (continued)

20.10.8c. Manito Lake, SK, Canada samples - Analyses.

Wt.%
Manito-1
Manito-2
Manito-3
Manito-4
Manito Is. 
Manito S.I.
SiO2
7.48
6.85
9.56
82.79
11.03
58.59
TiO2
0.03
0.05
0.05
0.16
0.06
0.49
Al2O3
0.74
0.67
2.09
6.58
1.04
5.22
(Fe2O3)*
(2.19)
(1.67)
(1.05)
(0.80)
(0.30)
(2.07)
FeO
0.39
0.51
0.71


0.76

Fe2O3
1.76
1.20
0.26


1.23

MnO
0.147
0.092
0.138
0.048
0.020
0.110
MgO
2.50
27.10
1.96
1.05
1.12
8.50
CaO
84.41
62.32
82.41
5.70
2.41
21.58
Na2O
0.87
0.35
0.96
1.80
35.16
1.59
K2O
0.145
0.049
0.274
1.400
0.482
1.044
P2O5
0.169
0.261
0.264
0.054
0.058
0.101
SO3
0.62
0.27
0.840
0.230
46.080
0.260

Cl
0.00
0.00
0.000
0.000
2.194
0.000

TOTAL
99.304
99.778
99.598
100.610
99.943
99.561
LOI
41.97
44.90
41.03
5.12
7.84
20.35

ppm
Rb
5
<2
5
25
4
25
Sr
3965
8571
2237
468
141
1027
Zr
135
276
91
136
60
570
V
24
35
40
52
23
68
Ni
<2
<2
<2
<2
<2
<2
Cr
15
15
13
35
25
100
Co
<2
<2
<2
<2
<2
<2

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC


a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.10d. Spectral Data - Saline Lakes, SK, Canada
Note: for ASD spectra, resolution is between 2 and 7 nm, with 1.4 nm steps that are internally resampled to provide data with 1 nm steps.

Sample
Facility/File No.
Description








CSL002
PSF 080730a.024
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.
CSL002
PSF 130226a.001
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL002
PSF 130226a.002
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL003
PSF 080730a.025
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL003
PSF 130226a.003
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL003
PSF 130226a.004
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL004
PSF 080730a.026
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL004
PSF 130226a.005
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL004
PSF 130226a.006
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL005
PSF 080730a.027
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL005
PSF 130226a.007
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL005
PSF 130226a.008
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL006
PSF 080730a.028
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL006
PSF 130226a.009
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL006
PSF 130226a.010
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL007
PSF 080730a.029
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL007
PSF 130226a.011
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL007
PSF 130226a.012
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL008
PSF 080730a.030
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL008
PSF 130226a.013
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL008
PSF 130226a.014
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL009
PSF 080730a.031
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL009
PSF 130226a.015
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL009
PSF 130226a.016
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

CSL010
PSF 080730a.032
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CSL010
PSF 130226a.017
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
CSL010
PSF 130226a.018
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
++++++

SPT158
PSF 080730a.002
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

SPT158
PSF 130226a.025
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
SPT158
PSF 130226a.026
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
+++++++

SPT200
PSF 130226a.027
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
SPT200
PSF 130226a.028
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
+++++++

SPT201
PSF 130226a.029
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
SPT201
PSF 130226a.030
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
+++++++++++++++++++++++++
Muskiki
PSF 130328a.001
whole rock; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].
Ingebright
PSF 130328a.002
whole rock; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito Island
PSF 130328a.003
whole rock; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 1
PSF 130328a.004
whole rock: side 1, yellow crust; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 1
PSF 130328a.005
whole rock; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 4
PSF 130328a.006
whole rock; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 3
PSF 130328a.007
whole rock: white coating; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 3
PSF 130328a.008
whole rock: yellow gray; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 2
PSF 130328a.009
whole rock: dark; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 2
PSF 130328a.010
whole rock: white rock; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito 2
PSF 130328a.011
whole rock: crust, pinkish white; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito S.I.
PSF 130328a.012
whole rock: top; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Manito S.I.
PSF 130328a.013
whole rock: bottom; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Chappice 1
PSF 130328a.014
whole rock: top; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Chappice 1
PSF 130328a.015
whole rock: bottom; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Chappice 1
PSF 130328a.016
whole rock: crust; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Chappice 2
PSF 130328a.017
whole rock: top; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Chappice 2
PSF 130328a.018
whole rock: bottom; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Chappice 2
PSF 130328a.019
whole rock: iron crust; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Freefight
PSF 130328a.020
whole rock: top; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Freefight
PSF 130328a.021
whole rock: bottom; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130328_SamSalts].

Freefight-1
PSF 005 freeflight-1.DPT
<45 µm powder; i=30°, e=0°; 2000-16000 nm; 4 cm-1 resolution; boxcar/zero fill=2; 5000 spectra averaged; Bruker Vertex 70 [Directory: 190522 mengel clays].

Freefight-1
PSF 190516a00002.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 190516 randoms 2].

Muskiki-1
PSF 190516a00003.asd
<45 µm powder; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD 4 [Directory: 190516 randoms 2].

+++++++++++++++++
Manito Lake 2018 possible stromatolites

(i) ASD spectra: i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD4 [Directory: 200110 Pavilion and Kelly lake].

SK100a 
PSF200110a00015.asd
Top crust, whole rock.

SK100b
PSF200110a00016.asd
Broken surface; beige layer.

SK100c
PSF200110a00017.asd
Broken surface; gray layer.

SK100d
PSF200110a00018.asd
Broken surface; brown layer.

SK100e
PSF200110a00019.asd
Broken surface; top laminations.

SK100f
PSF200110a00020.asd
Polished surface; top laminations.

SK100g
PSF200110a00021.asd
Polished surface; beige layer.

SK100h
PSF200110a00022.asd
Polished surface; gray layer.

SK100i
PSF200110a00023.asd
Polished surface; brown layer.

++++++++++++++++++++++++

(ii) Bruker Vertex 70 reflectance spectra: i=30°, e=0°; 1.27-16 µm; 4 cm-1 resolution; boxcar fill:2;  ~6 mm diameter viewed area; 2000 spectra averaged; Bruker Vertex 70 [Directory: 200428 stromatolites]. 

SK100
200428a.vertex.008.Specac_nMCT_MIR_KBr_b_6_6mmap_sk100_sub45.dpt
++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.10.

20. Analogue Sites
20.11. Ormiston, SK, Canada
This is a saline lake in south-central Saskatchewan that was mined for Na-sulfates. It has many similarities to other Saskatchewan saline lakes (see previous section).

20.11a. Sample Descriptions - Ormiston, SK, Canada
Samples collected July 20, 2007 from Ormiston Mine, now abandoned, located just south of Ormiston, Saskatchewan, Canada. Samples collected from western base of pile.

White material is generally confined to the uppermost surface of the pile in this location.

Sample ID
Description










ORM001
Unsorted white material from Ormiston Mining pile.

ORM002
Same as ORM001, less pure.

ORM002Bk
After heating to 950°C for 1 hour for XRF (Mertzman).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.11c. Compositional Data – Ormiston, SK, Canada

Wt.%
ORM001
ORM002

SiO2
1.32
10.94

TiO2
0.02
0.13

Al2O3
0.31
2.19

(Fe2O3)*
(0.14)
(3.16)

FeO

0.32

Fe2O3

2.80

MnO
0.010
0.116

MgO
0.25
2.05

CaO
0.61
3.78

Na2O
42.68
35.02

K2O
0.053
0.617

P2O5
0.018
0.047

SO3
55.04
41.72

Cl
0.00
0.00


TOTAL
100.458
99.767

LOI
1.08
5.94


ppm
Rb
<2
15

Sr
45
141

Zr
30
79

V
21
34

Ni
<2
400

Cr
15
35

Co
<2
30


Source
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC









a All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

XRF data from Stan Mertzman, Franklin and Marshall College - May 2013.

++++++++++++++++++++++++++++++++++
20.11d. Spectral Data: Ormiston, SK

ORM001
PSF 130226a.021
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
ORM001
PSF 130226a.022
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].

+++++++
ORM002
PSF 130226a.023
<45 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
ORM002
PSF 130226a.024
45-1000 µm; 30°/0°; 0.35-2.5 µm; 500 spectra averaged; ASD [Directory: 130226_Salts].
+++++++++++++++++++++++++++++++++++++++++++++

END of 20.11.

20. Analogue Sites
20.12. Bird River Sill, MB, Canada
The Bird River sill is a chromium/chromite-bearing deposit, located east of Lac du Bonnet, MB, Canada.

20.12a. Sample Descriptions - Bird River Sill, MB, Canada
Sample ID
Description










BRS001-030
Multiple pieces of chromite-bearing layers, serpentinized zones, and host basalt (collected Aug. 15/07; ~100 m in from Hwy 315).

BRS031-039
Multiple pieces of chromite-bearing layers, serpentinized zones, and host basalt (collected Aug. 15/07; ~100 m in from Hwy 315).
b. Samples collected July 2020 (off highway 315 north side of road – open area)
BRS100
Black-white medium-grained anorthositic gabbro.
BRS101
Black-white medium-grained anorthositic gabbro.
BRS102
Light-dark layered gabbroic-serpentinitic(?) cobble.

BRS103
Light-dark layered gabbroic-serpentinitic(?) cobble.

BRS104
Small black-grey gabbroic cobble with chromite grains/lenses

BRS105
Gray anorthositic gabbro cobble.

BRS106
Gray anorthositic gabbro cobble.

BRS107
Dark gray fine-grained gabbro cobble.
BRS108
Dark gray fine-grained gabbro cobble.

BRS109
Light-dark layered gabbroic-serpentinitic(?) cobble.

++++++++++++++++++
c. Samples collected on August 4, 2025 road trip

No good outcrops along portion of highway 315 that was investigated.
Geological maps: 

· Did not have geological map to investigate chromite deposits

· One chromite site previously visited was very overgrown

· West side map: Preliminary Map: PMAP2012-3 “Bedrock Geology of the Cat Creek Area, Bird River greenstone belt, southeastern Manitoba (part of NTS 52L12)

· East side map: Preliminary map PMAP2007-5 “Geology of the east part of the Bird River area, southeastern Manitoba (part of NTS 52L6).

· All small outcrops, 1 was rip rap pile

Stop1 Unit 7
UTM: 316693 5589052 (west side map)

· Unit 7 description: Leucogabbro: coarse to very coarse grained, locally megacrystic
· BRS201

· Sample description: medium green-gray cobble, red to black interior; lineated, aphanitic, non-vesicular 

Stop 2 Unit 7
UTM: 317223 5589435 (west side map)
· Unit 7 description: Leucogabbro: coarse to very coarse grained, locally megacrystic

· BRS202

· Sample description: gray-green interiors, aphanitic, sparkly

Stop 3 Unit 2
UTM: 327892 5593410 (east side map)
· BRS203

· Unit 2 description: Dunite, picrite, peridotite, anorthosite and gabbro

· Sample description: 3 cobbles, medium black interior, non-vesicular, no lineations; 1 piece has phenocrysts; other two are largely aphanitic

Stop 4 Unit 1a
UTM: 327115 5593646 (picture #2) (east side map)
· BRS204

· Unit 1a description: Basalt, locally pillowed

· Sample description: 6 cobbles, 1-6”, green-gray, dark brown to orange exteriors; dense, aphanitic, minor white veining

Stop 5 Unit 4c
UTM: 337270 5593638 (east side map)
· BRS205

· Unit 4c description: Basalt and andesite, aphyric to porphyritic, locally amygdaloidal and/or pillowed; locally altered (silicified/carbonatized/porphyroblastic ±garnet ± hornblende ± biotite).

· Sample description: 2 cobbles; medium gray; interior lineations and bancing; non-vesicular; phenocrystic

Stop 6 Unit 4c
UTM: 337221 5593715 (east side map)
· BRS206

· Unit 4c description: Basalt and andesite, aphyric to porphyritic, locally amygdaloidal and/or pillowed; locally altered (silicified/carbonatized/porphyroblastic ±garnet ± hornblende ± biotite).

· Sample description: 2 cobbles, medium black; internal lineated fabric; phenocrystic

Stop 7 Unit 7? Metabasalt?
UTM: 319515 5592886 (west side map)
· BRS207

· Unit 7 description: Leucogabbro: coarse to very coarse grained, locally megacrystic

· Sample description: 2 cobbles medium black, no fabric, dense, not vesicular; metabasalt; 1 cobble has mm-size black phenocrysts.
+++++++++++++++++++++++++++++++

20.12.d. Spectra

BRS101
PSF 251031a.00001
<1000 µm powder; i=30°, e=0°;0.35-2.5 µm; 1 nm output; 500 spectra averaged; empty and reshoot; ASD4 [Directory: 251031 Lunar Sim 2].

BRS101
PSF 251031a.00002
<1000 µm powder; i=30°, e=0°;0.35-2.5 µm; 1 nm output; 500 spectra averaged; empty and reshoot; ASD4 [Directory: 251031 Lunar Sim 2].

BRS101
PSF 251031a.00003
<1000 µm powder; i=30°, e=0°;0.35-2.5 µm; 1 nm output; 500 spectra averaged; empty and reshoot; ASD4 [Directory: 251031 Lunar Sim 2].

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.12.

20. Analogue Sites
20.13. Hecla Island, MB, Canada
Two former quarries on the island were sampled to investigate the spectral properties of blasting associated with quarrying on the spectral properties of lichens. Other sites were sampled to determine the spectrum-altering effects of iron oxyhydroxides and lichens on the spectral reflectance properties of limestone.
20.13.1. Limestone quarry
20.13.2. Limestone samples

++++++++++++++++++++++++++++++

20.13a. Sample Descriptions – Hecla Island, MB, Canada

Sample ID
Description










20.13.1a. Sample Descriptions - Hecla Island, MB, Canada - Limestone Quarry
Hecla Island Provincial Park, Manitoba hosts the remains of limestone quarries where explosives were used to quarry the rock; the remains of many of these blast holes (characterized by radial fracture patterns) are still evident. Samples were collected from the quarry on the north shore of the island.

HEC001
Samples proximate to blast hole in old quarry along north shore of Hecla Island. Site shows radial fractures. All samples include at least one surface of the blast hole. All samples from <5 cm from blast hole. HEC001b: wall of blast hole, HEC001f: fractured (by the blast) surface.
HEC002
Samples at least 15 cm from blast hole.

++++++++++++++++++++++++++++++++++++++++
20.13.2a. Sample Descriptions- Hecla Island, Manitoba limestone samples
Samples were collected for examining the effects of weathering, iron staining, and lichen cover on the spectral properties of limestone. Samples were collected in an abandoned limestone quarry on the south shore of the island.

LST001
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with abundant orange and black lichen.

LST002
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surfaces, one with sparse black lichen, one with some iron oxide staining.

LST003
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with sparse orange and rare black lichen.

LST004
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada.  Weathered surfaces with no apparent alteration and very minor lichen.

LST005
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surfaces with some iron staining.

LST006
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with abundant iron staining.

LST007
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with abundant iron staining.

LST008
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with red and black lichen.

LST009
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with red and black lichen.

LST010
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with abundant black lichen.

LST011
Limestone: South shore “Quarry” site, Hecla Island, Manitoba, Canada. Weathered surface with abundant black lichen.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.13d. Spectral Data - Hecla Island, MB, Canada

20.13.1d. Hecla Island, MB, Canada - Limestone Quarry - Available spectra

Sample
Facility/File No.
Description






HEC001b
PSF 090127a.014
whole rock, point 1, 0°/0°, bifurcated cable 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

HEC001b
PSF 090127a.017
whole rock, point 2, 0°/0°, bifurcated cable 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

HEC001f
PSF 090127a.015
whole rock, point 1, 0°/0°, bifurcated cable 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

HEC001f
PSF 090127a.016
whole rock, point 2, 0°/0°, bifurcated cable 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

++++++

HEC002
PSF 090127a.018
whole rock, point 1, 0°/0°, bifurcated cable 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

HEC002
PSF 090127a.019
whole rock, point 2, 0°/0°, bifurcated cable 0.35-2.5 µm, 1 nm output, 1000 averaged, ASD.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.13.

20. Analogue Sites
20.14. Central Manitoba and San Gold Mines, MB, Canada
Central Manitoba is an abandoned mine site (located on Highway 305 east of Bissett near Nopiming Park).

San Gold Mine is an active gold mine located in town of Bissett.

20.14a. Sample Descriptions – Central Manitoba and San Gold Mines, MB, Canada

Sample ID
Description










20.14.1a. Central Manitoba Mine, MB, Canada - Sample Descriptions
20.14.1a.1. Central Manitoba samples collected June 15, 2008

CMB1
Orange-red surficial sediments in gully closest to westernmost discharge pipe location (“gully 1). Top of ridge: 52° 45.101’ N 100° 52.934’ W 265 m elevation.
CMB2
Same location as CMB1; 20 cm depth (“gully 1”). 
CMB3
Gully just east of CMB1 gully; surficial gray sediments (“gully 2”). 52° 45.100’ N 100° 52.934’ W.
CMB4
“Gully 2”; surficial orange-red sediments 3 metres northwest of CMB3 location (toward “blue pond”).

CMB5
Surficial bluish sediments on flats 5 metres from “blue pond” toward “green pond”. 50° 54.285’ N 095° 20.399 W.
CMB6
Same location as CMB5, 1 metre depth.

CMB7
Surficial light red sediments just south of “green pond”. 50° 54.317’ N 095° 20.366’ W.
CMB8
Surficial light red sediments, west of “green pond”. 50° 54.323’ N 095° 20.391’ W
CMB9
Surficial light red sediments, just downstream of second discharge pipe (west of first discharge pipe). 50° 54.318’ N 095° 20.561’ W.
CMB10
Same approximate location as CMB3 (“gully 2”); gray-green (brochantite?) surficial sediments.

CMB11-20
Gangue rock samples from spoil piles.

CMB21-28
Copper green stained surface rocks; various locations in tailings area.

CMB29
Efflorescence off concrete wall of old mine building.  

++++++++++++++++++++++++++++++
20.14.1a.2. Central Manitoba samples collected June 14, 2013 

Note: remediation of the site begun prior to site visit – ponds drained, partial filling of site with fill and topsoil; demolition of old mine workings begun.

CMB100
Surficial "brick" of sediments near old tailings pipe outlet.

CMB101
Surface crust (white precipitates) near old tailings pipe outlet.

CMB102
Dark massive quartz country rock with minor pyrite inclusions.

CMB103
Fine surficial dry dust from remediation access road on S side of site.
CMB104
White and dark massive quartz from waste rock pile (2 pieces).

CMB105
Schistose country rock with saccharine quartz vein.

CMB106
Surface sediments (red) near old tailings pipe outlet (on the "peninsula").

CMB107
Subsurface sediments (gray) distal from old tailings pipe outlet.

+++++++++++++++++++++++++++++++++++++++
20.14.2a. San Gold Mine, MB, Canada - Sample Descriptions

20.14.2a.1. San Gold Mine samples collected June 14, 2013-06-19
SAN001

Fresh fine-grained discharged mine tailings (2 bags).

SAN002

Country rock used to construct tailings pond wall (dacite?) (3 pieces).
SAN003

Quartz and quartz-veined country rock (dacite?) use to construct tailings pond wall (8 pieces).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.14c. Central Manitoba and San Gold Mines, MB, Canada - Sample Analyses

Wt. %
CMB001
CMB002
CMB003
CMB004
CMB005
CMB006
CMB007
SiO2
83.69
85.55
77.26
83.08
82.72
81.47
81.73
TiO2
0.23
0.22
0.31
0.24
0.23
0.25
0.25
Al2O3
5.14
6.34
8.55
5.26
6.92
8.02
6.81
FeO
1.45
0.79
1.81
1.75
1.01
1.48
1.88
Fe2O3
4.21
2.71
2.97
4.12
2.39
2.05
3.30
(Fe2O3)*
(5.92)
(3.59)
(4.98)
(6.06)
(3.51)
(3.69)
(5.39)
MnO
0.03
0.02
0.05
0.03
0.04
0.05
0.05
MgO
1.27
0.50
1.34
1.44
0.65
0.83
1.39
CaO
2.01
1.36
2.63
1.89
2.31
2.05
1.48
Na2O
0.54
0.67
0.68
0.59
0.59
0.71
0.70
K2O
0.82
1.36
1.60
0.76
1.46
1.63
1.20
P2O5
0.05
0.06
0.07
0.05
0.06
0.07
0.07

TOTAL
99.70
99.67
97.47
99.40
98.49
98.77
99.07
LOI
3.71
2.88
3.94
3.96
2.38
1.96
2.94
ppm

Sr
61
65
76
64
68
77
70
Zr
88
124
136
90
130
137
116
V
76
47
74
59
47
54
80
Cr
81
52
75
128
42
54
116
Co
5
3
53
23
29
34
37
Cu
1195
920
18150
2825
7550
4135
5195
Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.14c. Central Manitoba and San Gold Mines, MB, Canada - Sample Analyses (continued)
Wt. %
CMB008
CMB9
CMB010
CMB100
CMB101
CMB103
CMB106
CMB107
SiO2
76.83
86.56
74.67
81.03
79.64
78.93
82.09
79.58
TiO2
0.28
0.26
0.18
0.26
0.23
0.28
0.24
0.20
Al2O3
8.23
3.14
4.22
6.37
5.48
6.31
5.24
7.07
FeO
2.43
1.25
1.99
2.67
3.99
2.71
1.57
2.92
Fe2O3
5.22
3.50
5.12
4.43
2.47
4.21
4.93
2.26
(Fe2O3)*
(7.92)
(4.89)
(7.33)
(7.40)
(6.90)
(7.22)
(6.67)
(5.51)
MnO
0.06
0.02
0.07
0.06
0.04
0.05
0.03
0.05
MgO
2.01
1.10
2.01
2.23
1.59
2.24
1.31
2.21
CaO
0.92
2.01
2.08
0.43
3.48
2.22
1.77
2.28
Na2O
0.74
0.62
0.40
0.50
0.44
0.87
0.48
0.49
K2O
1.40
0.31
0.43
0.87
0.79
0.71
0.81
1.14
P2O5
0.08
0.02
0.04
0.04
0.06
0.04
0.05
0.06
SO3

1.08







TOTAL
98.47
100.01
91.43
99.19
98.65
98.77
98.69
98.69
LOI
3.80
3.24
5.45
6.11
10.60
3.62
19.80
3.29

ppm

Sr
71
21
70
64
65
73
70
69
Zr
120
30
57
88
89
89
89
109
V
93
66
78
102
75
103
77
79
Ni

35

Cr
154
95
268
197
97
211
81
147
Co
48
29


Cu
11445

81615
3440
10820
8580
6245
8850
Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzm.
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.14c. Central Manitoba and San Gold Mines, MB, Canada - Sample Analyses (continued)
Wt. %
SAN001
SAN001


Fresh
Not fresh
SiO2
54.07
53.85
TiO2
0.65
0.66
Al2O3
15.47
16.32
FeO
7.19
6.71
Fe2O3
4.17
4.82
(Fe2O3)*
(12.16)
(12.28)
MnO
0.17
0.16
MgO
4.14
3.96
CaO
8.15
7.47
Na2O
2.96
2.95
K2O
1.89
2.02
P2O5
0.10
0.10
TOTAL
99.76
99.77
LOI
10.14
10.19
ppm

Sr
326
342
Zr
84
78
V
225
255
Cr
159
188
Co
46
39

Cu
224
165
Source
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.14d. Spectral Data - Central Manitoba and San Gold Mines, MB, Canada
Sample
Facility/File No.
Description







CMB1
PSF 080730a.010
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

CMB1
PSF 111201a.033
Unsorted powder; 0.35-2.5 μm; 30°/0°; 200 spectra averaged; ASD (directory 111201_optech).

++++++

CMB2
PSF 080730a.011
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB3
PSF 080730a.012
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB4
PSF 080730a.013
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB5
PSF 080730a.014
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB6
PSF 080730a.015
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB7
PSF 080730a.016
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB8
PSF 080730a.017
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB9
PSF 080730a.018
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

++++++

CMB10
PSF 080730a.019
unsorted powder; 0.35-2.5 μm, 30°/0°; 1000 spectra averaged; ASD.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
END of 20.14.

20. Analogue Sites
20.15. Iceland
20.15.1. Geysir - geyser deposits

20.15.2. Other localities (samples from Bjarni Gautason)

20.15.3. Hveragerdi - hot spring field

20.15.4. Dagmalafell (aka Midfell) - pillow lavas

20.15.5. Kvensodull - basaltic sand dunes (from Briony Horgan)
20.15.6. Iceland basalt sands and hot springs (from Claire Cousins)

20.15.7. Iceland samples – August 2017 trip

20.15.8. Other Iceland samples (August 2016)
20.15.9. Iceland samples – August 2018 trip
+++++++++++++++++++++++

20.15.1a. Sample Descriptions - Geysir, Iceland
20.15.1a.1. Samples collected by Melissa Rice (Cornell U), Aug. 23/08

Geysir-01
Brown-stained coarsely laminated sinter


Geysir-02
Buff-coloured sinter fragments

Geysir-03
Multi-hued fragmental sinter pieces

Geysir-04
Red-stained and buff coloured sediments (wet)

Geysir-05
Variously-coloured coarse sinter fragments

Geysir-06
Variously-coloured coarse sinter fragment

Geysir-07
Red-stained coarse sinter fragment

+++++++++++++++++++++++++

20.15.1a.2. Samples collected by Ed Cloutis: August 29-31, 2009.

ICE001
Silicified leaf on red/white silica sinter; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE002
Sinter: abundant silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE003
Massive lithified sinter with some red staining; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE004
Massive lithified sinter with some red staining; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE005
Sinter: abundant silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE006
Sinter: some lithified layers; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE007
Sinter: abundant silicified plant fragments and some lithified layers and red staining; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE008
Sinter: abundant silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE009
Sinter: partially lithified, abundant red staining; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE010
Sinter: abundant silicified plant fragments, some red staining; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE011
Sinter: partially lithified, with basalt fragments?; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE012
Sinter: partly lithified and silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE013
Sinter: partly lithified and abundant silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE014
Sinter: abundant silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE015
Sinter: abundant silicified plant fragments; dormant geyser mound ~100 m north of active field, Geysir, Iceland.

ICE016
Sinter: abundant silicified plant fragments – white and gray; dormant geyser mound ~100 m north of active field; Geysir, Iceland.

ICE017
Sinter: abundant silicified plant fragments – while and light brown with some orange staining; dormant geyser mound ~100 m north of active field; Geysir, Iceland.

ICE120
Red oxidized basaltic cinders. Landscape fill at summer house: Haukadalur (100 m from Geysir), Iceland. (2 pieces).

ICE130
Partially bleached basaltic pebble: Landscape fill at summer house: Haukadalur (100 m from Geysir), Iceland. (2 pieces).

ICE131
Partially bleached basaltic pebble: Landscape fill at summer house: Haukadalur (100 m from Geysir), Iceland. (2 pieces).

+++++++++++++++++++++++++++++++++++++++

20.15.2a. Sample Descriptions - Various Localities - Samples from Bjarni Gautason (August 2009)
ICE101
Þelamork Eyjafjördur, Iceland. Opal (?); silica sinter on vegetation (white crust on beige groundmass). Hand sample plus powder in vial; site located near Akureyri.

ICE102
Opal-CT; Reykjanes Gullbringusýsla, Iceland. NÍ610. (Massive, white, laminated, low density sample).

ICE103
Opal: Hveravellir Kjölur, Iceland. NÍ 14181. (Pure white fragments with beige coating).

ICE104
Smectite (?): Arnarnes Eyjafjördur, Iceland; submarine hydrothermal vent. (`Massive laminated beige low density, friable sample plus powder in vial).

ICE105
Opal: Sinter on surface (loose): Fremrinámur ketildyngja; NÍ 24322; N 65.42929° -16.63637° A. (Mostly white massive sinter).

ICE106
Opal-A white fibrous opal: Engidalur Krýsuvik Gullbringusýsla, Iceland. NÍ 1727. (White, fibrous, acicular, laminated sample).

ICE107
Opal (?), silica sinter (light coloured). Uxahver (UX-1) N-Iceland. (Beige powder in vial).

ICE108
Opal (?), silica sinter (dark coloured). Uxahver (UX-2) N-Iceland (Brown powder in vial).

ICE109
Opal-A: Hverin Eini, Reykjanes, Iceland (light colour under ML [ML stands for Medieval Layer – it refers to a tephra layer from an eruption believed to have occurred in 1226; this is a thick silica sinter and the tephra layer occurs within it, so this sample is from below the tephra layer]). Confirmed by XRD from Gautason – October 2009.

ICE110
Opal-A: Hverin Eini, Reykjanes, Iceland (darker sample above ML [ML stands for Medieval Layer – it refers to a tephra layer from an eruption believed to have occurred in 1226; this is a thick silica sinter and the tephra layer occurs within it, so this sample is from above the tephra layer]) Confirmed by XRD from Gautason – October 2009.

ICE111
Container labelled Selvallafjall. Unknown sample; may be one on Bjarni’s list; i.e., “Opal (?) silica sinter (extinct) N 64° 19.178’ WO 20° 17.581’. Beinhóll, Haukadalur S-Iceland”. It is located on Reykjanes not far from the Hverinn eini site. XRD indicates that this sample is carbonate: Gautason – October 2009.

++++++

Unnumbered 3
Container labelled Selvallafjall.

The two vials are Ast-1 from Arnarnes (or Arnarnesstrytur); this is the submarine hot spring that forms cones of smectite when hot water mixes with cold sea water. The other sample is from Thelamork an extinct hydrothermal hot spring site just outside Akureyri. I have bigger pieces of these two samples and on the latter one you can possibly see imprints of vegetation. An Excel sheet of sample descriptions is also available.

++++++++++++++++++++++++++++++++++++++++++

20.15.3a. Sample Descriptions - Hveragerdi, Iceland
Collected by Ed Cloutis - August 30, 2009.

ICE132
Red/orange/yellow stained basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE133
Red/orange laminated sinter on basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE134
Multi-hued sinter on basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE135
Yellow (sulphur)-coated sinter: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE136
Multi-hued sinter on basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE137
Brown and white sinter on basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE138
White and brown sinter on partially bleached basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

ICE139
White and yellow sinter on basalt: Hveragerdi, vents on east side of creek, N. of town on University campus. (2 pieces).

ICE140
Partially bleached basalt: Hveragerdi, vents on east side of creek, N. of town on University campus.

++++++

ICE150
Orange-yellow stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE151
Red-black-brown stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE152
Red-stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE153
White sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE154
Pink stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE155
Orange-yellow stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE156
Orange-brown stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

ICE157
Orange-yellow-red stained sinter: Hveragerdi geyser vents in town – adjacent to active vent.

+++++

ICE160
Brown-stained and partially bleached basalt: Hveragerdi geyser vents in town – adjacent to active vent.

ICE161
Partially-bleached basalt with some glassy coating: Hveragerdi geyser vents in town – adjacent to active vent.

+++++++++++++++++++++++++++++++++++++

20.15.4a. Sample Descriptions - Pillow lavas from Dagmalafell (aka Midfell)

Collected by Ed Cloutis - August 31, 2009.

ICE170
Multiple samples, most with glassy rinds; some are samples of olivine-bearing basalt. Collected within and at base of quarry on east side of Dagmalafell (August 31, 2009).

+++++++++++++++++++++++++++++++++++++

20.15.5a. Sample Descriptions - Kvensodull - Basaltic sand dunes
Black volcanic sand from the surface of a dune at Kvensodull, Iceland. Samples are taken at 100, 200, and 300 m along the profile across the dune. Samples sent from Birbeck College, UK for spectral analysis (for Briony Horgan?).

Birbeck

Description

Sample ID








Kv100

100 metres along the profile across the dune.

Kv200

200 metres along the profile across the dune.

Kv300

300 metres along the profile across the dune.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15.6a. Sample Descriptions – Iceland lacustrine/fluvial samples – from Claire Cousins (2015)
Hveragil



Hot spring carbonate; fluvial sediment
Sandur_001


Fluvial sediment
Sandur_002


Fluvial sediment
Sandur_003


Fluvial sediment
Sandur_004


Fluvial sediment
Sandur_005


Fluvial sediment
Sandur_006


Fluvial sediment
Sandur_007


Fluvial sediment
Sandur_008


Fluvial sediment
Sandur_009


Fluvial sediment
Volga_001


Fluvial sediment
Volga_002


Fluvial sediment
Volga_003


Fluvial sediment
Karahnjukar 002 (Karahn_002)
Glacial till
Karahnjukar 004 (Karahn_004)
Glacial till
++++++++++++++++++

20.15.6.2. Haugavatn hot springs samples from Claire Cousins (2017)

Various (mostly HAUxxx) - Haugavatn

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15.7a. Iceland - Other localities (August 2016)

ICE300
Minimally weathered vesicular basalt cobble from hiking mountain near Reykjavik (collected by Geneva Cloutis, June 2016).

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.15.8 Iceland 2017 

I-xxx-nnn  (xxx= site abbreviation and nnn=sample number

20.15.8.1. Sample Descriptions – Reykir (Day 1, site 1)

Collected by UWinnipeg: Aug 01, 2017

Location: 65° 34’ 27’ N, 17°45’ 48.1’ W

Silica deposits along the Fnjoska River associated with stream-level warm-hot water discharge. Warm-hot spots along the bank of the river, as well as at various levels up the bank. Mostly silica sinter, plus minor hydrothermal alteration of stream-reworked sediments.

I-REY-001 
Silica sinter from shore (white crust on basalt). Hand sample.

I-REY-002 
Silica sinter from river bank (large deposit of white silica crust on basalt). Hand sample.

I-REY-003 
Basaltic groundmass on the riverbank. Hand sample.

I-REY-004 
Silica inclusion from hillside (white silica inclusions within basalt). Hand sample.

I-REY-005 
Silica sinter from shore (large deposit of white crust on basalt). Hand sample.

I-REY-006 
Silica with iron oxide from shore (iron oxidized silica crust on basalt). Hand sample.

I-REY-007 
Silica submerged in heated water (silica deposit on basalt from river hot spot). Hand sample.

I-REY-008 
Silica from hillside (large deposit of white silica crust on large basalt cobble with small amount of iron oxidation). Hand sample.

I-REY-009 
Flakes of silica from hillside (pure? white silica crust layers with small amount of iron oxidation taken from basalt). Hand sample.       

I-REY-010 
MISSING???

I-REY-011 
Silica flakes and powder collected hillside (various sizes of white silica crust). Hand sample, powder.

I-REY-012
Silica precipitate on basalts from river bank (various degrees of silica coating on basalts, with small amounts of iron oxide). Hand sample.

I-REY-W013 
Water sample from Frijoska River.

20.15.8.2 Sample Descriptions – Illugastađir (Day1, site 2)  

Collected by UWinnipeg on August 1, 2017

Location: 65 36’ 29.1” N, 17 48’ 06” W

Basaltic aggregate quarry in Fnjoskadalur Valley: roadside quarry with small palagonitic soil outcrop on edge of quarry; transect down across bedding planes.
I-ILG-001 
Brown palagonitic soil 

I-ILG-002 
A Transect, sample 1/11: Surface layer: brown. Top of section. 

I-ILG-003 
A Transect, sample 2/11: Light compact layer fine grain dark brown, 5 cm down.

I-ILG-004 
A Transect, sample 3/11: Dark brown layer coarser grain, 10cm down.

I-ILG-005 
A Transect, sample 4/11: Lighter brown layer coarser grain, 20cm  down.

I-ILG-006 
A Transect 5/11: Darker brown compact layer 30-35cm down.

I-ILG-007 
A Transect, sample 6/11: Light brown fluffy layer, 35-40 cm down.

I-ILG-008 
A Transect, sample 7/11: Brown coarse. Above first six transect samples we started another transect: samples 7-11. First sample: top of clay, 5 cm down. 

I-ILG-009 
A Transect, sample 8/11: Light brown colour Bottom of clay, 20 cm down.

I-ILG-0010 
A Transect, sample 9/11: Brown Fine sand 15 cm down from sample 8.

I-ILG-0011 
A Transect, sample 10/11: Darker brown coarse sand 10 cm down. 

I-ILG-0012 
A Transect, sample 11/11: Brown coarse sand, 20 cm from top of Transect sample 1/11.

I-ILG-0013 
B Transect, sample 1/3: Bottom: light brown small chunks fine grained loose material. 

I-ILG-0014 
B Transect, sample 2/3: Middle: greyish brown medium and small chunks 

I-ILG-0015 
B Transect, sample 3/3: Top: darker brown medium cemented chunks of fine-grained loose material.  

20.15.8.3 Sample Descriptions – Draflastađir (Day 1, site 3) 

Collected by Uwinnipeg on August 1st, 2017

Location: 65 49’ 38.9” N 17 54’ 21.8” W   103 MASL

Fluvially-cut sediments with moderate angled cross-beds cut into by fluvial erosion; coarse and fine layers roughly interbedded.

Collected from young to old (top to bottom); roadside exposure along valley road. Gully cut into terrace perpendicular to valley; ~50 m up from valley floor.  

Transect A sampled every ~10 cm as follows:


I-DFL-000 Transect A, sample 1/8: Sandstone


I-DFL-001 Transect A, sample 2/8: Sandstone


I-DFL-002 Transect A, sample 3/8: Sandstone


I-DFL-003 Transect A, sample 4/8: Sandstone


I-DFL-004 Transect A, sample 5/8: Above contact layer


I-DFL-005 Transect A, sample 6/8: Contact layer


I-DFL-006 Transect A, sample 7/8: Below contact layer


I-DFL-007 Transect A, sample 8/8: Solid mudstone

Transect B Younger than Transect A ~ 4m above top of Transect A Sampled every ~10cm; from top to bottom:


I-DFL-008: Contact sand layer 


I-DFL-009: Courser sand layer, darker material


I-DFL-010: 8 cm down above conglomerate layer


I-DFL-011: Base of conglomerate layer


I-DFL-012: Darker sandy layer with conglomerate stones


I-DFL-013: Flat sand lens to the right of I-DFL-012


I-DFL-014: Bottom of main sand lens below I-DFL-012


I-DFL-015: High angle cross bed 


I-DFL-016: High angle cross bed 


I-DFL-017: Massive bed below entire section. 

20.15.8.4 Sample Descriptions – Fnjóská (Day 1 site 4) 

Collected by Uwinnipeg on August 1st, 2017

Location: 65 54’ 00.4” N 18 03’ 52.5” W

Sediments from mouth of Fnjóská river into Eyjafjörđur Fjord. Site consists mostly of coarser cobbles/boulders; finer sediments are rare. Vegetation is abundant. Sampled by bridge in low spots ~5 metres from river edge (sample 1); 20 metres from river edge (sample 2).

I-FNJ-000 
Mixed coarse sand

I-FNJ-000 
Fine-grained dark sand

20.15.8.5 Sample Descriptions – Fossgil (Day 2, site 1)

Collected by Uwinnipeg: August 02, 2017

Location 66° 10.412’ N, 17° 10.223’ W,  63 MASL
Samples taken bottom to top.
Transects along folding within layered volcanic sediments that had been cut into by a stream. Consists of reworked tuff, carbonate cemented

Transect A was conducted downwards on an anticline. Transect B was conducted downwards on a syncline. Transect C was conducted on the edge of an anticline.  

I-FOS-001 
Transect A, sample 1/6: dark brown columnar material (stringy like dark material?) from anticline area.

I-FOS-002 
Transect A, sample 2/6: light brown rock slabs with dark brown inclusions. Collected from bottom of cemented layer. Anticline area.

I-FOS-003 
Transect A, sample 3/6: light brown slab. Collected from contact layer. Anticline area.

I-FOS-004 
Transect A, sample 4/6: dark brown slab with light brown surface coating. Collect from fault area. Anticline area.

I-FOS-005 
Transect A, sample 5/6: medium brown flakey layer with distinguishable columnar shapes. Anticline area.

I-FOS-006 
Transect A, sample 6/6: cemented dark layer with light brown coating. Anticline.

I-FOS-007 
Transect B, sample 1/10: dark brown slabs with columnar (stringy like) deposits and light brown coating. Syncline area.

I-FOS-008 
Transect B, sample 2/10: dark slabs with few flakey columnar like deposit. Syncline area.

I-FOS-009 
Transect B, sample 3/10: light brown flakey slabs with columnar like deposits located below black layer. Syncline area.

I-FOS-010 
Transect B, sample 4/10: black slab extracted from between two flakey brown layers. Syncline area.

I-FOS-011 
Transect B, sample 5/10: light brown flakey slabs with columnar like deposits located above black layer. Syncline area.

I-FOS-012 
Transect B, sample 6/10: light brown and black slabs extracted from hard layer. Syncline area.

I-FOS-013 
Transect B, sample 7/10: light brown flakey columnar like layer. Extracted from a layer pinched by two regions of more hard material. Syncline area.

I-FOS-014 
Transect B, sample 8/10: large slab of medium brown sand with partial flakey layer? Extracted from contact between hard and flakey layers Syncline area.

I-FOS-015 
Transect B, sample 9/10: large slab of hard dark brown (nearly black) rock, coated in softer light brown sand. Extracted from large mass above fold. Syncline area.

I-FOS-016 
Transect B, sample 10/10: large slab of hard dark brown (nearly black) rock, coated in softer light brown sand. Extracted from highest region of mass above the fold. Syncline area.

I-FOS-017 
Transect C, sample 1/5: dark brown hard slabs with light brown coating. Extracted from middle of flat area (see photos).

I-FOS-018 
Transect C, sample 2/5: hard black slab with light brown coating. Extracted from top of large mass layer.

I-FOS-019 
Transect C, sample 3/5: slabs of light brown flakey layer. Extracted from contact zone between flat area and large mass.

I-FOS-020 
Transect C, sample 4/5: hard slabs of light brown and black material. Extracted from top of contact layer.

I-FOS-021 
Transect C, sample 5/5: Hard dark brown slabs with light brown coating. Extracted from top outcrop.

20.15.8.6. Sample Descriptions – Sanda (Day 2, site 2) 

Collected by Uwinnipeg on August 2nd, 2017 

Location: 66 08’ 73” N, 16 26’ 19” W

Shoreline on a small black sand beach along Sanda River. 

I-SAN-001 
Compact black sand fine grained on the shore 

I-SAN-002 
Compact black sand coarse grain with small black stones taken from in the water  

20.15.8.7. Sample Descriptions – Askja (Day 2, 2ite 3)

Collected by Uwinnipeg on August 2nd, 2017

Location: 65 40’ 27” N, 16 09’ 55” W

White ash deposits. Serendipitous find along road 864 through Holssandur desert.

I-ASK-001 
White ash a slightly grey colour. 

20.15.8.8 Sample Descriptions – Ljosavantnsskad (Day 3, site 1) 

Collected by UWinnipeg on August 3, 2017

Location: 65 42’ 51.9’’ N, 17 42’ 56’’ W

Roadside quarry (aka “Lost Phone Quarry”). River terrace deposit – reworked basalt/ash/tephra? Palagonitic soil exposure located near top of quarry. 

Two transects collected along a fold, Transect A was down the anticline and Transect B down the syncline. Note: Transect samples are numbered from the closest to the surface to the farthest from the surface (i.e., top to bottom).

I-LJO-001 Transect A 1/8 Sandy ash layer taken 10-15 cm down from the surface on the anticline

I-LJO-002 Transect A 2/8 Sandy ash layer taken from ~60 cm down from the surface on the anticline

I-LJO-003 Transect A 3/8 Sandy ash layer taken from ~65 cm down from the surface on the anticline

I-LJO-004 Transect A 4/8 Ash layer taken from ~100 cm down from the surface on the anticline

I-LJO-005 Transect A 5/8 Ash layer taken from ~120 cm down from the surface on the anticline

I-LJO-006 Transect A 6/8 Conglomerate layer taken ~160 cm down from the surface on the anticline

I-LJO-007 Transect A 7/8 Conglomerate layer taken ~210 cm down from the surface on the anticline

I-LJO-008 Transect A 8/8 Conglomerate layer taken ~240 cm down from the surface on the anticline 

I-LJO-009 Transect B 1/6 Ash layer collected at the top of the syncline 

I-LJO-010 Transect B 2/6 Silty layer on a slow flow layer of the syncline

I-LJO-011 Transect B 3/6 Clay ash layer taken on the syncline

I-LJO-012 Transect B 4/6 Silty layer on a slow flow layer of the syncline

I-LJO-013 Transect B 5/6 Conglomerate layer on a fast flow portion of the syncline

I-LJO-014 Transect B 6/6 Conglomerate layer on a fast flow portion of the syncline 

I-LJO-015 Transect C 1/3 Outer palagonite layer

I-LJO-016 Transect C 2/3 Middle Palagonite layer

I-LJO-017 Transect C 3/3 Inner Palagonite layer  

20.15.8.9. Sample Descriptions – Rofugardisholl (Day 3, site 2)

Collected by Uwinnipeg: August 03, 2017

Location 65° 34’ 02.8 N, 17° 02’ 08.5 W

Rootless cones near Myvatn, Sampled one of the closer, larger, vegetation free cones near the parking lot – Skatastadagigar). 

I-ROF-001 Transect A 1/3 small basalt fragments. Sampled from the bottom of rootless cone on lakeside.

I-ROF-002 Transect A 2/3 small basalt fragments. Sampled from halfway up the cone on lakeside.

I-ROF-003 Transect A 3/3 small and medium size basalt fragments. Sampled from top of the rootless cone on lakeside

I-ROF-004 small basalt fragments from top of rootless cone on west side.

I-ROF-005 small basalt fragments from top of the north side of rootless cone.

I-ROF-006 small basalt fragments from top of the north side of rootless cone. Vegetated area. 

20.15.8.10 Sample Descriptions – Bjarnaflagsstađ (Day 3, site 3) 

Collected by UWinnipeg on August 3, 2017

Location: 65 38’ 27” N, 16 50’ 43” W

Hot spring with vents/geothermal power plant, located on north side of highway 1 near Namafjall. A number of active vents and runoff pools. 

I-BJA-001 Brown/Orange deposit collected at the base of a steam vent 

I-BJA-002 Yellow/Green Sulfur deposit

I-BJA-003 Bright Yellow Sulfur deposit

I-BJA-004 Pink weathered basalt 

I-BJA-005 Altered basalt with potential biology - purple layers 

I-BJA-006 Altered basalt with potential biology - green and purple layers 

I-BJA-007 Several pieces of bleached basalt 

I-BJA-008 Red weathered basalt 

I-BJA-009 Red stained basalt 

I-BJA-W010 Water Sample 

20.15.8.11 Sample Descriptions - Krafla Power Plant and Viti crater (Day 3, Site 4)

Collected by Uwinnipeg on August 3rd, 2017 

Location: 65 42’ 11” N 16 46’ 13” W

Across from Krafla power plant was an outlet stream and culvert of silica-rich waste water. Sampled silica deposits from culvert, sewer pipe and in stream.

Also hiked Clay Hill and ~1975 basaltic flows.

I-KRP-000 
Precipitate from outlet pipe

I-KRP-001 
Large layered precipitate from stream as well country rock

I-KRP-002 
Murky white silica muddy deposit from depositional side of stream

20.15.8.12 Sample Descriptions – Myvatnsoraefi (Day 4, site 1)

Collected by UWinnipeg on August 4, 2017

Location: 65 06’ 37” N, 16 15’ 18” W 

Sand ripples and tephra in the highlands on the way to Askja volcano. Made multiple stops to collect/examine tephra and sand and examine winnowing. 

I-MYV-001 
Upper sand layer on a sand ripple, up to ~1mm

I-MYV-002 
Lower sand layer on sand ripple, from ~1-4 mm

I-MYV-003 
Black Sand

I-MYV-004 
Rhyodacite tephra from the 1875 Askja eruption

I-MYV-005 
Rhyodacite tephra from the 1875 Askja eruption

I-MYV-006 
Black Sand 

I-MYV-007 
Sand

I-MYV-008 
Sand

I-MYV-009 
Rhyodacite tephra 

20.15.8.13 Sample Descriptions – Holuhraun (Day 4, site 5) 

Collected by Uwinnipeg on August 4th, 2017

Location: 64 55’ 20.2” N 016 43’ 22.4” W

Basalt lava field from the 2014/15 eruption, at end of road beyond Askja volcano, north end of Vatnajokull ice cap.

I-HOL-000 
Top 1 to 4 mm soil in windblown ripple

I-HOL-001 
Top 1 mm soil in same windblown ripple

I-HOL-002 
Lava flow with white coating

I-HOL-003 
Lava flow with white coating

I-HOL-004 
Lava flow with yellow coating

I-HOL-005 
Lava Flow with red layer

I-HOL-006 
Lava flow

I-HOL-007 
Vesicular Lava Flow

I-HOL-008 
More vesicular flow 

I-HOL-009 
More red flow

20.15.8.14 Sample Description – Ystihver (Day 5, site 1)

Collected by Uwinnipeg on August 5th, 2017 

Location: 65 53’ 12” N, 17 18’ 20” W

Active hot spring on the private property with the greenhouses; low level eruptive hot spring with overflowing water. Precipitates show vertical veining of lighter-coloured material. Transects A and B are horizontal transects.
I-VER-001 
Transect A, sample 1/6: Surface layer four rocks, three medium one small, with pink main colour and white coating, greens reds and brown also scattered colours on the rocks

I-VER-002 
Transect A, sample 2/6: Brown small rocks with white or tinged pink coating 

I-VER-003 
Transect A, sample 3/6: Milky red/orange colour with brown and beige coating  

I-VER-004 
Transect A, sample: 4/6 Brownish grey small rocks 

I-VER-005 
Transect A, sample 5/6: Brown with pink/orange rocks larger sized rocks than other brown transect rocks 

I-VER-006 
Transect A, sample 6/6: Pinkish beige rocks with milky coloured pink rocks 

I-VER-007 
Transect B, sample 1/5, 15cm: Surface layer brownish black coloured rocks with loose gravel material

I-VER-008 
Transect B, sample 2/5, 15-23cm: Second layer loose gravel material with browns, reds, greys and blacks 

I-VER-009 
Transect B, sample 3/5, 23-28cm: Medium sized rocks with gravel material dark browns and blacks cemented sand rocks 

I-VER-0010 
Transect B, sample 4/5, 28-34cm: Assortment of colours with pinks, browns, greys and blacks flatter rocks or medium size very little loose material 

I-VER-0011 
Transect B, sample 5/5, 34-44cm: Reddish brown rocks of medium size little loose material 

I-VER-0012 
Surface precipitate light grey flat small rocks 

I-VER-0013 
West side of the pool reddish grey coloured flat medium rocks 

I-VER-0014 
Slime-covered rocks of brownish orange and green: rocks are dark grey colour 

I-VER-0015 
White crust with brown or grey sections: two medium sized rocks 

I-VER-W0016
Water sample clear no trace of solids floating within or any sediment 

20.15.8.15 Sample Descriptions – Heidarbot (Day 5, site 2)

Collected by Uwinnipeg on August 5th, 2017

Location: 65 55’ 31” N, 17 16’ 15” W

Quarry on a farm, transect taken across the layers, likely fluvially reworked basaltic sediments on top of river terrace. Has interesting light-coloured horizontal layer (groundwater precipitate?) that cross-cuts sediment cross beds and vertical dikes of coarse materials. 

I-BOT-001
Thin ash layer of white substance found between layers of rock and sand on rock face originally called 001 

I-BOT-002 
Two large black cemented together sandy rocks at the conglomerate layer fill with gravelly sand originally called 002

I-BOT-003 
Transect A, sample 1/10: displaced light layer single rock of greyish green browny colour 

I-BOT-004 
Transect A, sample 2/10: 10 cm down to the right. Multiple flat rocks with dark grey colouring and light bright green moss covering originally called A 001.

I-BOT-005 
Transect A, sample 3/10: 10cm down to the left, light brown coloured rock, small section of plant material stuck to the bottom originally called A002.

I-BOT-006 
Transect A sample 4/10: 38cm down. Cemented sandy material of grey colour with flakes of white having similar loose material originally called A 003. 

I-BOT-007 
Transect A, sample 5/10: 56cm down. Loose grainy material with a single cemented together rock of a dark grey colour with traces of plant material such as moss originally called A004 

I-BOT-008 
Transect A, sample 6/10: 85 cm down. Loosely cemented grainy material of dark grey colour with small amounts of brown and white specs. Originally called A 005 

I-BOT-009 
Transect A, sample 7/10: 110cm down. Loose coarse grainy material dark grey colour with specks of light brown and grey originally called A 006.

I-BOT-0010
Transect A, sample 8/10: 130cm down. Coarse grainy sand of dark grey colour with specks of light brown and light grey colour originally called A 007. 

I-BOT-0011 
Transect A, sample 9/10: 160cm down. Conglomerate layer of black coarse sand with brown speckled material originally called A 008.

I-BOT-0012 
Transect A, sample 10/10: 175cm down. Black coarse sand below the conglomerate layer with grey and brown specks originally called A 009.

I-BOT-0013 
Light brown coloured loose material with very small pieces having a white coating taken from white lichen area; originally called C 001

I-BOT-0014 
Light brown loose material with cemented together pieces no white coating the parent material of the lichen; originally called C 002

I-BOT-0015 
Light brown loose material with white coating some small pieces taken from white lichen area; originally called C003.

20.15.8.16 Sample Descriptions – Midfall (Day 7, site 1) 

Collected by Uwinnipeg on August 7th, 2017 

Location: 64 10’ 27.9” N, 21 02’ 53.6” W

Pillow basalts. Note: The crusty glass layer sample (I-MID-001) was collected from various locations throughout the site (tried to collect just glassy material). Fresh pillow basalts exposed in quarry excavated into side of hill. Equivalent to ICE170. 

I-MID-001 
Pillow basalt with the crusty glassy layer scraped off multiple rocks 

I-MID-002 
Medium sized pillow basalts with crusty glass layer

I-MID-003 
Mixed bag of weathered material mostly 

20.15.8.17 Sample Descriptions - Old Geyser (Day 7, site 2)

Location: 64 19’ 11’’ N, 27 17’ 34’’ W

Collected by UWinnipeg on August 7, 2017

Two old geysers near Geysir (north of main geyser field). Note: All transects taken at this location were collected from the surface down. The two geysers partially overlap each other with the summits separated by ~6 metres. Geyser deposits run down hill to river located east of the mounds.

20.15.8.17.1 Sample Descriptions - Old Geyser 1

I-OGS-001 
Transect A, sample 1/3: Red surface precipitate layer taken from the outside of Old Geyser 1

I-OGS-002 
Transect A, sample 2/3: Red/pink middle precipitate layer taken from the outside of Old    Geyser 1

I-OGS-003 
Transect A, sample 3/3: Brown/pink bottom precipitate layer taken from the outside of Old Geyser 1

I-OGS-004 
Precipitate sample taken from the outside of Old Geyser 1

I-OGS-005 
Transect C, sample 1/4: Surface precipitate layer near Old Geyser 1. Yellowish white in color, with some dark patches

I-OGS-006 
Transect C, sample 2/4: Light brown precipitate layer with dark coating, collected near Old Geyser 1 

I-OGS-007 
Transect C, sample 3/4: Light brown/white precipitate layer collected near Old Geyser 1

I-OGS-008 
Transect C, sample 4/4: Light brown/white precipitate layer, collected near Old Geyser 1

I-OGS-009 
Transect D, sample 1/7: Brown, white and black surface precipitate layer collected at the base of Old Geyser 1, near the river

I-OGS-010 
Transect D, sample 2/7: White, black and orangish precipitate layer collected at the base of Old Geyser 1, near the river 

I-OGS-011 
Transect D, sample 3/7: White precipitate layer taken from the base of Old Geyser 1, near the river

I-OGS-012 
Transect D, sample 4/7: Yellowish white precipitate layer collected at the base of Old Geyser 1, near the river 

I-OGS-013 
Transect D, sample 5/7: Light brown/yellowish precipitate layer collected at the base of Old Geyser 1, near the river

I-OGS-014 
Transect D, sample 6/7: White precipitate with dark areas collected at the base of Old Geyser 1, near the river 

I-OGS-015 
Transect D, sample 7/7: Dark precipitate layer with white inclusions collected at the base of Old Geyser 1, near the river

20.15.8.17.2 Sample Descriptions - Old Geyser 2

I-OGS-016 
Transect sample 1/10: White/yellow surface precipitate layer at Old Geyser 2

I-OGS-017 
Transect sample 2/10: Light brown/white precipitate layer at Old Geyser 2

I-OGS-018 
Transect sample 3/10: Light brown/white precipitate layer at Old Geyser 2

I-OGS-019 
Transect sample 4/10: White precipitate layer at Old Geyser 2

I-OGS-020 
Transect sample 5/10: White precipitate layer at Old Geyser 2

I-OGS-021 
Transect sample 6/10: White precipitate layer at Old Geyser 2

I-OGS-022 
Transect sample 7/10: White precipitate layer with black areas at Old Geyser 2

I-OGS-023 
Transect sample 8/10: Brown precipitate layer at Old Geyser 2

I-OGS-024 
Transect sample 9/10: White precipitate layer at Old Geyser 2

I-OGS-025 
Transect sample 10/10: White precipitate layer at Old Geyser 2

I-OGS-026 
“Big Rock”: Large sample broken off of a boulder near Old Geyser 2

20.15.8.17.3 Sample Descriptions - Geyser Outflow Channel 

I-OGS-027 
Brown/white precipitate sample taken from the Geyser outflow channel for the NW vent 

20.15.8.18 Sample Descriptions – Skiđaskalinn (Day 7, site 3) 

Collected by Uwinnipeg on August 7th , 2017 

Location: 64 01’ 50” N, 21 23’ 50” W

Vents and hot springs located adjacent to hotel. 

I-SKI-001 
Grey, brown and black medium-sized rocks with slight clay coating of light grey close to pipe 

I-SKI-002 
Fine-grained silica clay, grey in colour 

I-SKI-003 
A dozen plus light grey with brown coating small to medium sized pebbles taken from boulder 

I-SKI-004 
Mud from mud volcano: grey colour, large amount of sample collected 

I-SKI-005 
Beige/yellow staining from hill behind mud volcano 

I-SKI-006 
Yellow staining with white coating on 2 medium sized rocks collected from hill behind mud volcano

I-SKI-007 
Loose white material with grey and black chunks; crust collected from hill behind mud volcano

I-SKI-008 
Black slime collected from side of a wall by a vent 

I-SKI-009 
Black slime collected from the water in an outflow channel 

I-SKI-0010 
Surface layer of reddish orange loose material located above yellow staining on hill

I-SKI-0011 
Pink/orange loose material located above yellow staining on hill 

I-SKI-0012 
Orange loose material located above yellow staining on hill 

I-SKI-0013 
Red cemented material with loose material at very top of yellow stained hill 

20.15.8.19 Sample Descriptions - Obsidian Ridge (Day 5, site 3) 

Collected by Uwinnipeg on August 5th, 2017 

Location: 65 41.873’ N 16 43.706’ W 630 MASL

Exposure of massive glassy and partly vitreous dark obsidian. Outcrops shows some columnar structures, flow lines, and different degrees of vesicularity. Located east of Krafla power plant beyond end of service access road. 

I-OBR-000 
Red thermally-altered basalt at ridge west of Obsidian Ridge. 

I-OBR-001 
White coating on red altered rock at ridge west of Obsidian Ridge

I-OBR-002 
Darkest glassy material from ridge west of Obsidian Ridge

I-OBR-003 
White precipitated material on ridge west of Obsidian Ridge? 

I-OBR-004 
Soft most abundant chalky red material on ridge west of Obsidian Ridge?

I-OBR-005 
Red vein on ridge west of Obsidian Ridge?

I-OBR-006 
Mixed bag of samples

I-OBR-007 
Obsidian

I-OBR-008 
Host rock (?)

I-OBR-009 
Geode like shell with vesicular dark material inside 

I-OBR-010 
Glassy obsidian material mixed with host rock

I-OBR-011 
Misc. bag, contact between glassy and vesicular area

I-OBR-012 
Parent material from the west ridge, yellow overlain with obsidian 

20.15.8.20 Sample Descriptions – Kleifarvatn (Day 8, site 3) 

Location: 63 56 47 N, 21 58 06 W

Collected by UWinnipeg on August 8, 2017

Welded ash deposits – generally fine-grained, sampled at roadside cut just past north end of Kleifarvatn (lake) on Highway 42

I-KLA-001 Welded Ash

20.15.8.21 Sample Descriptions – Vatnsskardh (Day 8, site 4)

Collected by UWinnipeg on August 8, 2017

Location: 63 58’ 28” N,  21 57’ 13” W

Rift valley with some minor glassy basalts – mostly basaltic a’a flows

I-VAI-001 
Glassy basalt 

20.15.8.22 Sample Descriptions - Hveragerdi Geothermal Park (Day 8, site 1)

Collected by UWinnipeg on August 8, 2017

Location: 64 00’ 05” N, 21 11’ 20 W 

Geothermal Park, sampled around vent pipes

 I-HGP-001 
Possible steam bleached basalt

20.15.8.23 Sample Descriptions - Krafla Rhyolite Lava (Day 3, site 5) 

Collected by Uwinnipeg on August 03, 2017

Location 65° 38’ 28 N, 16° 50’ 43 W

I-KRL-001 
Basaltic lava flow with white (sulphur?) precipitate

I-KRL-002 
Rhyolite slabs. Light brown with black surfaces.

I-KRL-003 
Small fragments and powder from rhyolite steam dome. Yellowish white color, extremely fragile (likely sulphur precipitate?).

20.15.8.24 Sample Descriptions - Drekagil 

Collected by UWinnipeg on August 4, 2017 

Location: 65 02’ 31.7” N 016 35’ 41.5” W

The parking lot area on the way to Askja

I-DRE-001 
Vesicular basalt

I-DRE-002
Rhyolite

I-DRE-003
Obsidian 

20.15.8.25. Krysavik (Day 8, site 1)

Fumaroles on side of hill just north of abandoned town of Krysavik. Very friable and hot surfaces by vents.

No sampling done.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15.9a. Iceland samples – August 2018 trip

ICE200
Helgafell volcano (Reykanes peninsula) - subglacial hyaloclastite ridge (glassy, clastic pahoehoe crusts) – Highway 417 (Schopka et al., 2006).
ICE201
Five basaltic water-washed pebbles - Beach at light house just west of Aranarstapi (Malarrif); Sanefelsness peninsula, south coats)

ICE202
Glassy (“blue dragon”) basaltic pebble from rootless cone at Skutustathagigar park – Myvatn lake.

ICE203
Eight rhyolite cobbles and two quartz vein fill pebbles – Budakirkja beach, Buda bay, Snaefellsness peninsula, south coast.

ICE204
Poorly consolidated basaltic clay-silt cobble – gravel pit on Highway 821 south of Akureyri, north of Hrafnagil.

ICE205
Four basaltic cobbles with various types of clay-like alteration on surfaces – Highway 870 road cut at scenic lookout on Highway 870 – Tjornes peninsula past northern cape.
ICE206
Three hyaloclastite pebbles – black glassy basaltic fragments in brown  altered matrix: Tjornes Peninsula roadside turnout near Mana.
ICE207
Basaltic ash cobble with dark banding and weathered exterior surface – Tjornes peninsula near Mana.
ICE208
Two basaltic cobbles: weathered with resistant quartz veins and vesicle fill – Tjornes peninsula beach near Mana.

ICE209
Vesicular basalt cobble – sea water washed-eroded; Tjornes peninsula beach near Mana.

ICE210
Numerous pumice pebbles - water-washed/eroded and wave deposited: Tjornes peninsula beach near Mana.

ICE211
Fresh clam shells/fragments with various amounts and types of colouration: Tjornes peninsula beach near Mana.
ICE212
Surface sediments: upper 1 mm water/wind deposited/reworked; lag deposit; mouth of Asbyrgi canyon west of visitor center on Highway 861. (see also ICE 213).

ICE213
Near-surface sediments (1-3 mm deep) water/wind deposited/reworked lag deposit; mouth of Asbyrgi canyon west of visitor center on Highway 861. (see also ICE 212).

ICE214
Beach sand – basaltic (olivine-bearing; black-green); Budakirkja beach, Buda bay, Snaefellsness peninsula, south coast.

ICE215
Beach sand – rhyolitic-rich (pink); Budakirkja beach, Buda bay, Snaefellsness peninsula, south coast.

ICE216
Fine-grained weathered basaltic sediments on small outcrop – path to Godafoss falls near parking lot (collected wet, air-dried).
ICE217
Altered rhyolitic sediments, Rhyolite Hill at Krafla geothermal field (collected wet, air-dried).

ICE218
Red (iron oxyhydroxide-rich) sediments from surface deposit at Hverir hot springs (collected wet, air-dried) (see also ICE219)

ICE219
Orange-red (iron oxyhydroxide-rich) sediments from surface deposit at Hverir hot springs (collected wet, air-dried) (see also ICE218).

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.15b. XRD Data - Iceland
20.15b.2. Various localities

Analysis by David Bish - Indiana University

ICE102

Beautiful opal-CT, better ordered than many (from Dave Bish – December 2011).
ICE102

UW Bruker D8 (May 25 2016): cristobalite, beta, syn; tridymite (tridymite not a great match; low counts.
ICE134

Coating UW Bruker D8 (May 25, 2016): gypsum, syn; alunogen; quartz; anorthite, sodian; urbanite, syn (alumino-sulfate); tamarugite (Na-Al sulphate); alunite; wilcoxite (Mg-Al-F sulphate); low counts, broad peaks, noisy spectrum, low angle and 25° humps; low angle peak (~7°) not well fit.

ICE170

UW Bruker D8 (May 2016; quick scan): plagioclase (labradorite); forsterite. Some low angle scatter and small, broad amorphous hump.

++++++++++++++++++++++++++++++++
20.15b.6. Claire Cousins samples (2015)

Analyzed by Claire Cousins – quantitative qXRD data

Sample ID
Detrital
Phyllos
Phyllos
Phyllos
Phyllos
Zeolite
Gypsum
Calcite
Hemat
Mg-calc
Arag  Pyr



primary
total
Clay
Mica
Chlorite



basalt

group
group
group







Hveragil

4.4
2.7
1.6
0.0
1.1
1.2
0.0
5.4
0.0
50.4
32.6
0.2
Sandur_001
66.1
20.3
11.1
7.0
2.2
9.1
1.1
2.0
0.7
0.0
0.0
0.7
Sandur_002
27.9
39.3
32.6
4.6
2.1
28.7
2.5
0.0
1.3
0.0
0.0
0.3
Sandur_003
50.1
32.9
18.0
12.5
2.4
13.0
0.3
1.2
2.2
0.0
0.0
0.4
Sandur_004
39.8
32.3
22.9
7.7
1.7
24.0
1.9
0.2
1.1
0.0
0.0
0.5
Sandur_005
35.3
36.8
23.9
9.2
3.7
23.9
0.2
2.4
0.9
0.0
0.0
0.6
Sandur_006
51.3
27.3
15.4
9.9
2.0
17.0
1.6
1.1
0.3
0.0
0.0
0.6
Sandur_007
38.1
28.8
15.1
9.2
4.5
27.9
2.1
0.2
1.3
0.0
0.0
0.8
Sandur_008
47.8
31.1
17.2
10.7
3.2
17.5
1.5
1.0
1.0
0.0
0.0
0.2
Sandur_009
49.5
36.0
18.5
12.7
4.8
12.4
1.2
0.8
0.5
0.0
0.0
0.2
Volga_001
56.7
31.0
14.5
12.6
3.9
7.2
1.9
1.0
1.0
0.0
0.0
0.8
Volga_002
44.4
32.7
18.1
11.3
3.3
18.6
2.2
0.2
1.5
0.0
0.0
0.6
Volga_003
43.5
35.1
18.8
13.1
3.2
16.7
1.1
1.5
1.2
0.0
0.0
0.2
Karahn_004
73.8
20.0
11.6
4.8
3.6
1.9
1.0
1.3
0.8
0.0
0.0
1.0 
Abbreviations: Phyllos: phyllosilicates; Hemat: hematite; Mg-calcite: Mg-calcite; Arag.: aragonite; Pyr: pyrite.

Notes: Clay group, mica group, chlorite group are distribution of total phyllosilicates among these three subgroups.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

++++++++++++++++++++++++++++++++++++++++++++++++

20.15c. Compositional Data - Iceland
20.15c.1. Geysir, Iceland samples - Sample analyses
Wt. %
Geysir-02
Geysir-04

SiO2
97.72
82.54

TiO2
0.06
2.34

Al2O3
0.99
12.25

(Fe2O3)*
(0.30)
(1.55)

FeO

0.54

Fe2O3

0.95

MnO
0.008
0.018

MgO
0.17
0.36

CaO
0.53
0.30

Na2O
0.27
0.32

K2O
0.18
0.11

P2O5
0.02
0.03

SO3
0.04
0.03

TOTAL
100.288
99.848

LOI
6.46
8.55

ppm

Sr
46
37

Zr
19
128

V
33
131

Co
<1
5

Cr
<1
225

Cu
375
310

Ni
<1
<1

Source
Mertzman
Mertzman

Analysis
XRF/WC
XRF/WC







* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.15c. Compositional Data - Iceland (continued)





       DA18-85
Wt. %

ICE003
ICE005
ICE170

SiO2

98.97
97.64
46.39

TiO2

0.03

0.11
0.75

Al2O3

0.26

0.81
14.36

FeO

0.13

0.08
8.39

Fe2O3

-0.02
0.47
1.64

(Fe2O3)*

(0.12)
0.56
(10.96)

MnO

0.00

0.01
0.17

MgO

0.03

0.08
12.97

CaO

0.17

0.42
13.39

Na2O

0.06

0.00
1.35

K2O

0.05

0.04
0.02

P2O5

0.01

0.03
0.03

SO3

0.00

0.00
0.00

TOTAL

99.69
99.70
100.39

LOI

4.71

6.63
0.68

ppm
Sr

8

29
113

Zr

17

<2
26

V

6

24
259

Ni

<1


710

Cr

27

<2
953

Co

15

<2
73

Source

Mertzman
Mertzman
Mertzman

Analysis

XRF/WC
XRF/WC
XRF/WC





* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15c. Compositional Data - Iceland (continued)

20.15c.2. Various localities

Wt. %
ICE102
I-MID-001
SiO2
99.30
45.65
TiO2
0.01
0.66
Al2O3
0.07
13.97
(Fe2O3)*
(0.31)
10.67
FeO

8.39
Fe2O3

1.35
MnO
0.003
0.17
MgO
0.06
15.72
CaO
0.08
11.81
Na2O
0.07
1.20
K2O
0.00
0.03
P2O5
0.01
0.03
TOTAL
99.913
99.91
LOI
5.82
0.47
ppm

Sr
13
77
Zr
10
16
V
5
218
Co
<1

Cr
35
993
Ni
5


Source
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC



* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15c. Compositional Data - Iceland (continued)

20.157.c. August 2017 trip
Wt. %
1-OBR-011
I-OBR-007



 (Obsidian Ridge)
(Obsidian Ridge)

SiO2
74.31
74.93
TiO2
0.21
0.24
Al2O3
11.87
12.17
(Fe2O3)*
(4.27)
3.44
FeO
2.62
2.74
Fe2O3
1.36
0.39
MnO
0.14
0.10
MgO
0.16
0.22
CaO
1.70
1.73
Na2O
4.61
4.24
K2O
2.720
2.67
P2O5
0.040
0.03
SO3
0.07


TOTAL
100.100
99.77
LOI
0.46
0.57

ppm

Rb
105

Sr
118
89
Zr
510
359
V
15
8
Co
6
Cr
5
<2
Ni
3



Source
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15c.1. Analytical data: Electron microprobe

20.15c.4.1. Dagmalafell (aka Midfell)

Phases analyzed by electron microprobe by M. Izawa (Feb. 2014): 

ICE170: olivine, matrix, diopside, chromite.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.15d. Spectral Data - Iceland (alphabetical order - mostly)
Sample
Facility/File No.
Description









Geysir-01
PSF 080913a.025
whole rock, whiter area, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-01
PSF080913a.026
whole rock, buff area, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

++++++

Geysir-02
PSF080913a.027
whole rock, brightest white chip, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-02
PSF 090121a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

Geysir-02
PSF 090121a.002
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

++++++

Geysir-03
PSF080913a.028
whole rock, biggest slab, smoother surface, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-03
PSF080913a.029
whole rock, biggest slab, rough side, whiter area, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

++++++

Geysir-04
PSF080913a.030
whole rock, cleanest, whitest clump, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-04
PSF 090121a.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.

Geysir-04
PSF 090121a.004
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output spectral sampling interval; 1000 spectra averaged, ASD instrument.
Geysir-04
PSF 111201a.041
<90 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

Geysir-04
PSF 111201a.012
whole rock; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

++++++
Geysir-05
PSF080913a.031
whole rock, biggest whitest piece, rougher side, whitest spot, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-05
PSF080913a.032
whole rock, biggest whitest piece, smoother side, whitest spot, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

++++++

Geysir-06
PSF080913a.033
whole rock, concave (“mountain”) side, whiter slope, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-06
PSF080913a.034
whole rock, convex (“valley”) side, whiter slope, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

++++++

Geysir-07
PSF080913a.035
whole rock, whiter side, whiter spot, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

Geysir-07
PSF080913a.036
whole rock, red side, redder spot, i=0°, e=0° (bifurcated cable), 0.35-2.5 μm, 1 nm output sampling interval, 500 spectra averaged, ASD.

++++++
ICE102
PSF 100522a.003
whole rock; i=30,e=0; 0.35-2.5 μm; 1 nm output, 1000 spectra averaged, ASD [Directory: 100522a.003].

ICE102
PSF 091203a.001
<45 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203ICE].

ICE102
PSF 091211a.001
<45 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091211ICE; reshoot].

ICE102
PSF 091203a.002
45-90 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203ICE].

ICE102
PSF 091211a.002
45-90 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091211ICE; reshoot].

ICE102
PSF 091203a.003
90-1000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091203ICE].

ICE102
PSF 091211a.003
90-1000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091211ICE; reshoot].

ICE102
PSF 091211a.004
90-1000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091211ICE; reshoot].

ICE102
PSF 091211a.005
90-1000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091211ICE; reshoot].

ICE102
PSF 091211a.006
90-1000 μm dry sieved; i=30,e=0; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD [Directory 091211ICE; reshoot].

++++++
ICE130
PSF 101201a.001
whole rock surface – gray spot on exposed surface – spot indicated by red marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

ICE130
PSF 101201a.002
whole rock surface – gray spot on exposed surface – spot indicated by green marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

++++++
ICE134
PSF 101201a.003
whole rock surface – light beige spot on exposed surface – spot indicated by blue marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

ICE134
PSF 101201a.004
whole rock surface – light beige spot on exposed surface – spot indicated by yellow marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

++++++
ICE140
PSF 101201a.005
whole rock surface – light brown spot on exposed surface – spot indicated by green marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

ICE140
PSF 101201a.006
whole rock surface – light brown spot on exposed surface – spot indicated by blue marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

ICE140
PSF 101201a.007
whole rock surface – light brown spot on exposed surface – spot indicated by red marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

++++++
ICE160
PSF 101201a.010
whole rock surface – gray/white surface – spot indicated by blue marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

++++++
ICE161
PSF 101201a.011
whole rock surface – light gray spot on exposed surface – spot indicated by green marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

ICE161
PSF 101201a.012
whole rock surface – light gray spot on exposed surface – spot indicated by red marker on sample; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged, ASD [directory: 101201_iceland].

++++++
ICE170a
PSF 090929b.001
<45 μm – glassy exterior crust; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD.

ICE170a
PSF 090929b.002
45-90 μm – glassy exterior crust; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD.

ICE170b
PSF 090929b.003
<45 μm – crystalline interior; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD.

ICE170b
PSF 090929b.004
45-90 μm – crystalline interior; i=30°/e=0°; 0.35-2.5 μm; 1 nm output, 100 spectra averaged, ASD.

ICE170
PSF 111201a.040

<45 μm; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

ICE170
PSF 111201a.010

whole rock; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

ICE170
INO
 ICE170
whole rock; i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 2 sets of spectra acquired.

++++++
KV100
PSF 100801a.001
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD. [directory: 100801_brionysamples].

KV100
PSF 100801a.004
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD. [directory: 100801_brionysamples].

++++++

KV200
PSF 100801a.002
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD. [directory: 100801_brionysamples].

KV200
PSF 100801a.005
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD. [directory: 100801_brionysamples].

++++++

KV300
PSF 100801a.003
<45 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD. [directory: 100801_brionysamples].

KV300
PSF 100801a.006
90-1000 μm; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD. [directory: 100801_brionysamples].

+++++++++++++++++++++++++++++++++++
20.15.6d. Spectral Data – Iceland lacustrine/fluvial samples – from Claire Cousins (2015)
Measured at HOSERLab (2015)

Hveragil
PSF Hveragil 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Hveragil
PSF Hveragil sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Hveragil
PSF Hveragil whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].

Hveragil
PSF Hveragil <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Hveragil
PSF Hveragil 45-1000
45-1000 µm, hot spring carbonate; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Hveragil
PSF Hveragil 45-1000
45-1000 µm, hot spring carbonate; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212]. Re-shoot?
Hveragil
PSF Hveragil whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Hveragil
PSF Hveragil whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Hveragil
PSF Hveragil_1000.spec
45-1000 µm, hot spring carbonate; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Hveragil
PSF Hveragil_45.spec
<45 µm, hot spring carbonate; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Hveragil
PSF Hveragil_whole.spec
whole rock, hot spring carbonate; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].

Hveragil
PSF ag1ex.rtx
<45 µm, hot spring carbonate; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Hveragil
PSF hveragilwex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Hveragil
PSF sl1ex.rtx
45-1000 µm, hot spring carbonate; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
++++++

Karahnjukar 002
PSF Karahnjukar 002 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Karahnjukar 002
PSF Karahnjukar 002 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Karahnjukar 002
PSF Karahnjukar 002 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Karahnjukar 002
PSF Karahnjukar 002 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Karahnjukar 002
PSF Karahnjukar 002 45-1000
45-1000 µm, glacial till; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Karahnjukar 002
PSF Karahnjukar 002 45-1000
45-1000 µm, fluvial sediment (?); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Karahnjukar 002
PSF Karahnjukar 002 whole
whole rock, glacial till; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Karahnjukar 002
PSF Karahnjukar 002 whole
whole rock, glacial till; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Karahnjukar 002
PSF Karahnjukar002_1000.spec
45-1000 µm, glacial till; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Karahnjukar 002
PSF Karahnjukar002_45.spec
<45 µm, glacial till; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Karahnjukar 002
PSF Karahnjukar002_whole.spec
whole rock, glacial till; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].

Karahnjukar 002
PSF ag2ex.rtx
<45 µm, glacial till; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Karahnjukar 002
PSF karahn002wex.rtx
whole rock, glacial till; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Karahnjukar 002
PSF sl2ex.rtx
45-1000 µm, glacial till; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
++++++

Karahnjukar 004
PSF Karahnjukar 004 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Karahnjukar 004
PSF Karahnjukar 004 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Karahnjukar 004
PSF Karahnjukar 004 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Karahnjukar 004
PSF Karahnjukar 004 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Karahnjukar 004
PSF Karahnjukar 004 45-1000
45-1000 µm, glacial till; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Karahnjukar 004
PSF Karahnjukar 004 45-1000
45-1000 µm, fluvial sediment (?); i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212]. 
Karahnjukar 004
PSF Karahnjukar 004 whole
whole rock, glacial till; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Karahnjukar 004
PSF Karahnjukar 004 whole
whole rock, glacial till; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Karahnjukar 004
PSF Karahnjukar004_1000.spec
45-1000 µm, glacial till; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Karahnjukar 004
PSF Karahnjukar004_45.spec
<45 µm, glacial till; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Karahnjukar 004
PSF Karahnjukar004_whole.spec
whole rock, glacial till; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Karahnjukar 004
PSF ag3ex.rtx
<45 µm, glacial till; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Karahnjukar 004
PSF karahn004wex.rtx
whole rock, glacial till; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Karahnjukar 004
PSF sl3ex.rtx
45-1000 µm, glacial till; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 001
PSF Sandur 001 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 001
PSF Sandur 001 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 001
PSF Sandur 001 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 001
PSF Sandur 001 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 001
PSF Sandur 001 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 001
PSF Sandur 001 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 001
PSF Sandur 001 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 001
PSF Sandur 001 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 001
PSF Sandur 001 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 001
PSF Sandur001_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 001
PSF Sandur001_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 001
PSF Sandur001_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 001
PSF ah4ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 001
PSF ls4ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 001
PSF q4ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 002
PSF Sandur 002 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 002
PSF Sandur 002 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 002
PSF Sandur 002 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 002
PSF Sandur 002 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 002
PSF Sandur 002 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 002
PSF Sandur 002 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 002
PSF Sandur 002 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 002
PSF Sandur 002 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 002
PSF Sandur 002 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 002
PSF Sandur002_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 002
PSF Sandur002_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 002
PSF Sandur002_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 002
PSF ah5ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 002
PSF ls5ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 002
PSF q5ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 003
PSF Sandur 003 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 003
PSF Sandur 003 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 003
PSF Sandur 003 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 003
PSF Sandur 003 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 003
PSF Sandur 003 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212]. 
Sandur 003
PSF Sandur 003 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 003
PSF Sandur 003 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 003
PSF Sandur 003 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 003
PSF Sandur 003 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 003
PSF Sandur003_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 003
PSF Sandur003_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 003
PSF Sandur003_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 003
PSF ah6ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 003
PSF ls6ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 003
PSF q6ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 003
PSF sandur003wex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 004
PSF Sandur 004 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 004
PSF Sandur 004 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 004
PSF Sandur 004 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 004
PSF Sandur 004 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Sandur 004
PSF Sandur 004 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 004
PSF Sandur 004 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 004
PSF Sandur 004 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 004
PSF Sandur 004 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 004
PSF Sandur004_1000.spec
45-1000 µm, fluvial sediment; i=3-°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 004
PSF Sandur004_45.spec
<45 µm, fluvial sediment; i=3-°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 004
PSF Sandur004_whole.spec
whole rock, fluvial sediment; i=3-°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 004
PSF p1ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 004
PSF wf1ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 005
PSF Sandur 005 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 005
PSF Sandur 005 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 005
PSF Sandur 005 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 005
PSF Sandur 005 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Sandur 005
PSF Sandur 005 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 005
PSF Sandur 005 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 005
PSF Sandur 005 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 005
PSF Sandur 005 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 005
PSF Sandur005_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 005
PSF Sandur005_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 005
PSF Sandur005_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 005
PSF jf2ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 005
PSF p2ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 005
PSF wf2ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 006
PSF Sandur 006 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 006
PSF Sandur 006 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 006
PSF Sandur 006 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 006
PSF Sandur 006 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Sandur 006
PSF Sandur 006 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 006
PSF Sandur 006 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 006
PSF Sandur 006 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 006
PSF Sandur 006 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 006
PSF Sandur006_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 006
PSF Sandur006_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 006
PSF Sandur006_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 006
PSF jf3ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 006
PSF p3ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 006
PSF wf3ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 007
PSF Sandur 007 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 007
PSF Sandur 007 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 007
PSF Sandur 007 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 007
PSF Sandur 007 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Sandur 007
PSF Sandur 007 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 007
PSF Sandur 007 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 007
PSF Sandur 007 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 007
PSF Sandur 007 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 007
PSF Sandur007_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 007
PSF Sandur007_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 007
PSF Sandur007_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 007
PSF p4ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 007
PSF sandur007wex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 007
PSF wf4ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 008
PSF Sandur 008 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 008
PSF Sandur 008 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 008
PSF Sandur 008 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 008
PSF Sandur 008 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Sandur 008
PSF Sandur 008 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 008
PSF Sandur 008 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 008
PSF Sandur 008 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 008
PSF Sandur 008 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 008
PSF Sandur008_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 008
PSF Sandur008_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 008
PSF Sandur008_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 008
PSF jf5ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 008
PSF p5ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 008
PSF wf5ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Sandur 009
PSF Sandur 009 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 009
PSF Sandur 009 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 009
PSF Sandur 009 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Sandur 009
PSF Sandur 009 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; ASD [Directory: 141212].
Sandur 009
PSF Sandur 009 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 009
PSF Sandur 009 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 009
PSF Sandur 009 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Sandur 009
PSF Sandur 009 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Sandur 009
PSF Sandur009_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 009
PSF Sandur009_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 009
PSF Sandur009_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Sandur 009
PSF jf6ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 009
PSF p6ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Sandur 009
PSF wf6ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Volga 001
PSF Volga 001 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 001
PSF Volga 001 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 001
PSF Volga 001 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].

Volga 001
PSF Volga 001 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 001
PSF Volga 001 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 001
PSF Volga 001 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 001
PSF Volga 001 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 001
PSF Volga 001 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 001
PSF Volga 001 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 001
PSF Volga001_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 001
PSF Volga001_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 001
PSF Volga001_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 001
PSF ls1ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Volga 001
PSF q1ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Volga 001
PSF volga001wex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Volga 002
PSF Volga 002 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 002
PSF Volga 002 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 002
PSF Volga 002 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 002
PSF Volga 002 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 002
PSF Volga 002 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 002
PSF Volga 002 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 002
PSF Volga 002 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 002
PSF Volga 002 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 002
PSF Volga 002 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 002
PSF Volga002_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 002
PSF Volga002_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 002
PSF Volga002_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 002
PSF ls2ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Volga 002
PSF q2ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Volga 002
PSF volga002wex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
+++++

Volga 003
PSF Volga 003 45-1000
45-1000 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 003
PSF Volga 003 sub45
<45 µm; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 003
PSF Volga 003 whole
whole rock; i=30°, e=0°; 7000-400 cm-1; 6 cm-1 resolution; 1500 spectra averaged; Bruker Vertex 70 [Dir.: Claire Iceland IR].
Volga 003
PSF Volga 003 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 003
PSF Volga 003 <45
<45 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 003
PSF Volga 003 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 003
PSF Volga 003 45-1000
45-1000 µm, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 003
PSF Volga 003 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 2 mm spot size; ASD [Directory: 141212].
Volga 003
PSF Volga 003 whole
whole rock, fluvial sediment; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged; 4 mm spot size; ASD [Directory: 141212].
Volga 003
PSF Volga003_1000.spec
45-1000 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 003
PSF Volga003_45.spec
<45 µm, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 003
PSF Volga003_whole.spec
whole rock, fluvial sediment; i=30°, e=0°; ~350-1133 nm usable range (QTH light); ~0.4 nm resolution; 1000 spectra averaged; Maya [Directory: 141215 Claire Maya].
Volga 003
PSF ah3ex.rtx
whole rock, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Volga 003
PSF ls3ex.rtx
<45 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.
Volga 003
PSF q3ex.rtx
45-1000 µm, fluvial sediments; QTH light: i=30°, e=0°, IR glowbar: i=45°, e=0°; 2-5 µm usable range; 6 cm-1 resolution; 50 spectra averaged; D&P 102F.

+++++++++++++++++++++++++++++++++++++++++++++

20.15.d. Samples measured by Katherin Winchell (summer 2016) – ASD and Raman

Notes from Katherine Winchell:

ICE102
W5 Iceland Silica Deposits: with plant impressions? Section 20.15 of bible. ICE102
Transect:
1. Pinkish
2. Pinkish
3. White smooth
4. White smooth
5. White rough
6. White rough

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.15.

20. Analogue Sites
20.16. Navajo Sandstone iron concretions
20.16a. Sample Descriptions - Navajo Sandstone iron concretions
Sample ID
Description










NAV001
“Moqui marble” – ironstone concretion – base of Navajo Sandstone formation, Utah, USA (from Discovery Gemstones Ltd. – Edmonton, AB, Canada; July 2009).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.16.

20. Analogue Sites
20.17. Greece
20.17.1. Methana Peninsula

20.17.2. Kiato Beach

20.17.3. Santorini
20.17.4. Acropolis area

20.17.5. Poros, Greece
++++++++++++++++++++

20.17a. Sample Descriptions – Greece

Sample ID
Description










20.17.1a. Sample Descriptions - Methana Peninsula (August 2009)

GRC001

Dacite-rhyodacite, Methana town square monument site.

GRC002

Dacite-rhyodacite, lightly altered; Methana town square monument site.

GRC003

Dacite-rhyodacite: leached with silica sinter on one side: Thiafi Bay beach, north end.
GRC004

Dacite-rhyodacite: partially leached and altered: Thiafi Bay beach, north end.

GRC005

Dacite-rhyodacite: sulphur-stained (?) yellowish altered sample: Thiafi Bay beach, north end.

GRC006

Dacite-rhyodacite: heavily leached: Thiafi Bay beach, north end.

GRC007

Dacite-rhyodacite: darker (gray-black) (altered?) sample: Thiafi Bay beach, north end.

GRC008

Dacite-rhyodacite: leached with sulphur deposits: Thiafi Bay beach, north end.

GRC009

Dacite-rhyodacite: pervasively leached: Thiafi Bay beach, north end.

GRC010

Dacite-rhyodacite: bleached with silica sinter on one side: Thiafi Bay beach, north end.

GRC011
Dacite-rhyodacite: pervasively bleached and etched surface with silica sinter?: Thiafi Bay beach, north end.

GRC012

Dacite-rhyodacite: lightly (red-brown) altered sample: Thiafi Bay beach, north end.

GRC013

Dacite-rhyodacite: pervasively bleached and friable: Thiafi Bay beach, north end.

GRC014
Dacite-rhyodacite: pervasively bleached and friable, with sulphur staining (?): Thiafi Bay beach, north end.

GRC015

Dacite-rhyodacite: miscellaneous pieces of friable samples, unsorted: Thiafi Bay beach, north end.

GRC016

Dacite-rhyodacite: bleached: Thiafi Bay beach, north end.

++++++++++++++++++++++++++++++++++++++++

20.17.2a. Sample Descriptions - Kiato Beach (August 2009)

GRC100

Pumice balls, collected on Kiato beach, Greece (August 2009).
++++++++++++++++++++++++++++++++++++++++

20.17.3a. Sample Descriptions - Santorini (August 2011)

GRC100
Poorly consolidated ash. Road cut along road from Kamari Beach to Pyrgos, Santorini, Greece (collected August, 2011).

GRC101
Thermally welded (and altered) basaltic (?) flows and pumice: Red Beach, Santorini, Greece (collected August 2011).

GRC102
Poorly consolidated ash. Road cut along road from Kamari Beach to Pyrgos, Santorini, Greece (collected August, 2011).

GRC103-105
Basalt pebbles, Kamari Beach, Santorini, Greece (collected August 2011).
++++++++++++++++++++++++++++++++++
20.17.4a. Sample descriptions: Greece June 2018 – Acroplis area
GRC200
Three small marble fragments from northwest periphery of Agora, Acropolis, Athens, Greece (for marble+pigment weathering study).

GRC201
Soil from northwest periphery of Agora, Acropolis, Athens, Greece (for marble+pigment weathering study).
GRC202
Two red pottery fragments from northwest periphery of Agora, Acropolis, Athens, Greece.
+++++++++++++++++++++++++++++++++++++++++++++
20.17.5a. Poros, Greece (July 2019)

Note: serpentine is Eocene age Kranidi serpentine (ophiolitic); all samples collected at larger roadcuts.
GRC300
Three pieces of dacite; gray to medium brown with abundant light and dark phenocrysts; just east of Poros townsite.
GRC301
Serpentine cobble; white to dark green; highly fractured; site 2A on Poros (road cut just west of Mount Kamara on ring road; NW corner of island).

GRC310
Serpentine cobble: dark green, glassy, with some brown glassy Fe staining; site 2 on Poros (road cut just north of Mount Kamara on ring road; NW corner of island).

GRC311
Serpentine cobble: White to dark green, friable; glassy in spots; site 2 on Poros (road cut just north of Mount Kamara on ring road; NW corner of island).

GRC312
Serpentine cobble: Mostly dark green, with glassy (slickenside?) side; site 2 on Poros (road cut just north of Mount Kamara on ring road; NW corner of island).

GRC313
Serpentine? cobble: White to pale green, highly friable; heavily altered serpentine or altered serpentine in ???; site 2 on Poros (road cut just north of Mount Kamara on ring road; NW corner of island).

GRC314
Fragments from GRC310-213; site 2 on Poros (road cut just north of Mount Kamara on ring road; NW corner of island).

GRC320
Serpentine: Dark brown to black fragments with abundant glassy textures; site 1: side road south of Mount Vigla to east coast; north of Poros town.

GRC330
Serpentine: light to medium green cobble with orange iron staining on slickensided surface; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC331
Serpentine: medium green cobble with light areas and slickensided/glassy surface; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC332
Serpentine: light to medium green cobble with abundant white veins and slickensided surface; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC333
Serpentine: medium to dark green cobble with minor white staining and some glassy surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC334
Serpentine: medium to dark green cobble with minor white staining, some glassy surfaces, and caliche deposit on one face; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC335
Serpentine: medium to dark green cobble with white and beige deposits and some glassy and slickensided surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC336
Serpentine: medium to dark green cobble with some glassy surfaces, and caliche deposit on one face; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC337
Serpentine: medium to dark green cobble with some glassy and slickensided surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC338
Serpentine: medium to dark green cobble with some glassy and slickensided surfaces and white-beige deposits; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC339
Serpentine: mottled light to dark green/black cobble with some caliche; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC340
Serpentine: dark green-black cobble with some glassy and slickensided surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC341
Serpentine: dark green to black cobble with glassy surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC342
Serpentine: medium to dark green cobble with some glassy surfaces and beige deposits; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC343
Serpentine: medium to dark green cobble with some glassy and orange surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC344
Serpentine: medium to dark green cobble with some glassy and weathered surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC345
Serpentine: light to dark green cobble with some glassy and weathered surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC346
Serpentine: light to medium green cobble with some glassy and weathered surfaces; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC347
Serpentine: light to dark green cobble with some slickensided surfaces and iron staining; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC348
Serpentine: light to dark green cobble with some glassy surfaces and iron staining; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

GRC349
Serpentine: fragments of samples GRC330-348; site (new) 1A northwest of Mount Vigla (east-central part of Poros island).

+++++++++++++++++++++++

Samples collected from Poros Island – July 2022

GRC400
Andesite: dark cobble with light phenocrysts, one weathered surface; road cut on west side of Poros south peninsula. 37.50091° N, 23.46054° E.

GRC401
Dacite: medium brown cobble with light and dark phenocrysts; road cut on west side of Poros south peninsula. 37.49392° N, 23.46297° E.

GRC402
Dacite: light brown cobble with light and dark phenocrysts, one weathered face; road cut on west side of Poros south peninsula. 37.49392° N, 23.46297° E.

GRC403
Possible pyroclastic flow; 2 medium toned cobbles with large clasts; loose cobbles collected from proximity of Poros town bell tower. 37.49944° N, 23.45242° E, 102’ elevation.

GRC404
Serpentinite: dark, 3 small cobbles; black, dense, some glassy conchiodal surfaces. road cut on Poros island. 37.51394° N, 23.48909° E.

GRC405
Serpentinite: medium to dark, 4 small cobbles; from road surface on west side of Vagonia Beach, Poros island. 37.531705° N, 23.482774° E.

GRC406
Serpentinite: mesh framework cobble of light and dark green serpentinite. Road cut on north side of Poros island. 37.52556° N, 23.45696° E.

GRC407
Serpentinite: cobble with extensive light coloured veining and surficial deposits of white material. Road cut on north side of Poros island. 37.52556° N, 23.45696° E.

+++++++++++++++++++++++++++++++++++++++++++++++++

Samples collected from Poros Island – June 2024

GRC500
Serpentinite cobble; medium green with a slickensided pale green surface and minor quartz(?) veins. From NW north shore outcrop.

GRC501
Serpentinite cobble; Very drak green, brecciated with numerous pale green-white veins. From NW north shore outcrop.

GRC502
Serpentinite cobble, laminated/folded medium-pale green, with numerous light gray veins filled with quartz(?). Vagonis Bay.

GRC503
Serpentinite cobble, laminated/folded medium-pale green, with numerous light gray veins filled with quartz(?). Vagonis Bay.

GRC504
Serpentinite stones and powder; from GRC502 and GRC503. Vagonis Bay.

CRG505
Serpentinite stone (~1”); brecciated dark green clasts in medium-light green matrix. Vagonis Bay.
++++++++++++++++++++++++++++
Samples collected from Poros Island – June 2025
GRC500

Serpentinite cobble – possible altered pillow basalt? (~15 cm diameter); fragments of light-coloyred vein fill – central Poros Isalnd

++++++++++++++++++++++++++++++
20.17b. XRD analysis

GRC001-016 shot at U of W

CRG007 shot as part of CSA rock suite – Rietveld refinement done

Sample

XRD analysis/phases identified

GRC001
Whole rock (homogeneous, medium brown): anorthite (major); bioite-1M (moderate); calcite (trace, questionable, carbonate); some low angle tailing and small amorphous hump in 25-35° interval.

GRC002
Whole rock (homogeneous, medium brown): anorthite, sodian (major); hematite (moderate); cristobalite beta (moderate); pyrochlore (trace, niobate); tridymite (trace); pyrophanite (trace, Mn-Ti oxide); quartz syn (trace). Only minor low angle rise and 25-35° hump.

GRC004a
Yellow patch: albite, calcian (major); quartz (major); biotite-1M (moderate); grunerite (minor, Fe-Mg phyllosilicate); dioptase (trace, Cu-sulfate); sericite (trace). Many broad noisy peaks. Moderate low angle rise and 25-35° hump.

GRC004b
Grey-yellow patch: quartz (minor); albite, syn (major); hematite (minor); dolomite (minor). Moderate low angle rise and 25-35° hump.

GRC006a
Bleached outer surface: calcite, magnesium, syn (major); quartz (trace, questionable); hematite (trace); aragonite (trace, questionable). Small low angle rise; no hump.

GRC006b
Inside part: halite (moderate); cristobalite (moderate); quartz (minor). Major low angle rise and 25-35° hump.

GRC007
Rietveld: 87% plagioclase, 13% hornblende; glassy groundmass

GRC008a
bleached outer part: quartz (moderate); calcite (minor). Major low angle rise and amorphous hump.

GRC008b
Unaltered inner part: quartz (moderate); calcite (trace). Moderate low angle rise and 25-35° hump.

GRC009a
Outer bleached part: cristobalite (minor). Major low angle rise and amorphous hump.

GRC009b
Inner part: cristobalite (minor). Major low angle rise and amorphous hump.

GRC010a
Small amount of alteration; white altered rock: tamarugite (sulphate); montmorillonite, glyconated, oriented (minor); brushite (phosphate, minor); anhydrite, strontian, syn (minor); gypsum (minor). Small low angle rise and minor 25-35° hump.

GRC010b
Base rock: tamarugite (sulphate, minor). Major low angle rise and 25-35° amorphous hump.

GRC011a
Yellow outside: tamarugite (sulphate, major); montmorillonite-14A (moderate); copiapite (moderate); calcalcite, syn (carbonate, minor). Moderate low angle rise and 25-35° hump. Many broad noisy peaks.

GRC011b
Gray inside: tamarugite (sulphate, moderate); montmorillonite-14A (minor). Major low angle rise and 25-35° amorphous hump.

GRC012a
Altered: anorthite (moderate); cordierite (minor). Noisy spectrum with many peaks. Major low angle rise and 25-35° amorphous hump.

GRC012b
Unaltered: anorthite, sodian (moderate); magnesiohornblende, ferrous (moderate); grunerite (minor, Fe-Mg phyllosilicate); cristobalite (minor). Noisy spectrum with many peaks. Major low angle rise and 25-35° amorphous hump.

GRC013
Whole rock: cristobalite (moderate); quartz (minor). Major low angle rise and 25-35° amorphous hump.

GRC014a
Yellow (altered): tamarugite (sulphate, major); alunogen (Al sulphate, minor); magnesiocopiapite (sulphate, minor). Moderate low angle rise and 25-35° hump. Many broad noisy peaks.

GRC014b
Whole rock: tamarugite (sulphate, major); alunogen (Al sulphate, minor); magnesiocopiapite (sulphate, minor); opal-A (minor). Moderate low angle rise and 25-35° hump. Many broad noisy peaks.

GRC014c
Whitish outer layer (altered): tamarugite (sulphate, major); alunogen (Al sulphate, minor); magnesiocopiapite (sulphate, minor); opal-A (minor); cordierite (silicate, trace). Small low angle rise and 25-35° hump.

GRC015
Whole rock?: tamarugite (sulphate, major); alunogen (Al sulphate, minor); magnesiocopiapite (sulphate, minor); cordierite (silicate, trace); brushite (phosphate, trace). Small low angle rise and 25-35° hump. Many broad noisy peaks.

GRC016
Whole rock: aragonite (minor), quartz (minor); calcite (major). Small low angle rise, no 25-35° hump.
+++++++++++++++++

GRC504
chrysotile; lizardite; dolomite; magnetite; maybe huntite and ferrihydrite (June 2024).
+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.17c. Compositional Data - Greece samples

20.17c.1. Methana Peninsula samples - Sample Analyses

Wt.%
GRC001
GRC002
GRC003
GRC004
GRC005
GRC006
SiO2
60.39
62.96
88.81
63.23
82.46
89.00
TiO2
0.47
0.49
0.73
0.49
0.49
0.31
Al2O3
17.94
16.42
5.42
18.38
8.34
5.22
FeO
0.25
0.16
0.41
0.92
1.25
0.28
Fe2O3
4.76
5.57
0.40
4.39
1.05
0.19
(Fe2O3)*
(5.04)
(5.75)
(0.86)
(5.41)
(2.44)
(0.50)
MnO
0.14
0.13
0.03
0.13
0.07
0.03
MgO
3.00
3.03
0.15
2.38
0.60
0.17
CaO
6.77
5.74
0.43
4.74
0.97
0.16
Na2O
3.96
3.36
0.12
3.35
1.86
1.84
K2O
2.02
1.84
0.96
1.93
2.67
2.40
P2O5
0.15
0.13
0.05
0.10
0.05
0.04
SO3
0.06
0.06
0.06
0.05
0.10
0.08

Cl
0.00
0.00
0.00
0.00
0.00
0.53
TOTAL
99.94
99.91
99.73
100.19
100.05
99.75
%SO3
0.12
0.09
0.46
0.05
0.10
0.08
LOI
0.91
4.68
11.42
3.12
7.28
7.17
ppm

Rb
86.5
61.2
68.3
67.0
73.0
70.7

Sr
367
501
36
269
68
38

Y
17.7
21.4
11.2
19.5
16.7
6.4
Zr
131
138
239
177
238
201
V
86
74
46
85
25
22
Ni
14
54
7
17
5
5
Cr
28
75
30
31
21
38

Nb
7.7
7.3
15.5
9.9
16.0
14.8

Ga
18.3
20.0
7.8
20.0
11.3
5.2

Cu
22
29
16
14
11
12

Zn
53
53
20
49
32
11
Co
8
10
<1
7
<1
<1
Ba
507
470
676
524
563
699
La
26
32
24
31
30
18
Ce
49
51
35
54
55
31
U
1.3
2.0
2.1
1.4
4.7
3.5
Th
12.9
10.9
28.8
18.7
29.0
28.5
Sc
10
9
<1
9
<1
<1

Pb
20
11
15
15
33
19

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.17c. Compositional Data - Greece samples
20.17c.1. Methana Peninsula samples - Sample Analyses

Wt.%
GRC007
GRC008
GRC009
GRC010

SiO2
63.05
87.70
85.36
84.21
TiO2
0.50
0.41
0.55
0.47
Al2O3
17.14
6.81
7.90
8.39
FeO
3.43
0.34
0.46
0.72
Fe2O3
1.24
0.40
0.27
0.46
(Fe2O3)*
(5.05)
(0.78)
(0.78)
(1.26)
MnO
0.14
0.04
0.04
0.05
MgO
2.79
0.10
0.11
0.23
CaO
6.27
0.26
0.54
0.70
Na2O
3.33
1.11
1.84
1.96
K2O
1.94
2.83
2.66
2.74
P2O5
0.11
0.04
0.04
0.04
SO3
0.05
0.06
0.07
0.06
TOTAL
100.37
100.14
99.89
100.11
%SO3

0.69
0.58
1.76
%Cl

0.03
0.00
0.00
LOI
1.67
6.52
5.78
8.32
ppm

Rb

78.4
78.6
80.2

Sr
332
35
49
52
Y

6.3
14.6
16.1
Zr
178
221
250
237
V
149
24
27
33
Ni
20
6
5
14
Cr
64
21
21
17
Nb

18.0
18.0
14.7

Ga

7.9
10.6
11.9

Cu

15
10
10

Zn

19
25
24
Co
<1
<1
<1
<1
Ba

687
691
594

La

27
29
33

Ce

44
48
57

U

3.9
2.7
2.6

Th

34.0
30.8
30.5

Sc

<1
<1
<1

Pb

24
4
15
Source
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.17c. Compositional Data - Greece samples

20.17c.1. Methana Peninsula samples - Sample Analyses

Wt.%
GRC011
GRC012
GRC013
GRC014
GRC015
GRC016
SiO2
68.09
64.88
87.86
62.46
85.38
3.29
TiO2
0.61
0.48
0.45
0.51
0.52
0.01
Al2O3
15.50
16.91
5.81
17.63
7.80
0.97
FeO
0.22
2.67
0.31
0.34
0.72
0.19
Fe2O3
6.78
1.92
0.50
7.99
0.22
0.30
(Fe2O3)*
(7.02)
(4.89)
(0.84)
(8.37)
(1.02)
(0.51)
MnO
0.10
0.12
0.04
0.14
0.04
0.02
MgO
1.02
1.98
0.26
1.59
0.21
4.26
CaO
1.69
4.98
0.27
1.54
0.60
90.33
Na2O
3.86
3.46
1.88
5.40
1.81
0.47
K2O
1.92
2.17
2.41
2.21
2.71
0.09
P2O5
0.06
0.12
0.04
0.06
0.06
0.12
SO3
0.08
0.06
0.09
0.17
0.06
0.11
TOTAL
99.95
100.05
99.95
100.08
100.21
100.18
%SO3
21.79
0.34
1.36
26.38
1.26
0.92

%Cl
0.00
0.00
0.00
0.00
0.00
0.00
LOI
41.57
2.21
7.37
45.70
7.69
43.72
ppm

Rb
39.2
74.8
68.1
40.8
80.5
<0.5

Sr
105
280
42
71
77
1069

Y
7.6
27.1
7.0
9.9
18.5
<0.5
Zr
100
188
205
85
238
30
V
42
69
26
42
24
5
Ni
184
11
6
236
15
7
Cr
90
27
27
55
22
21

Nb
7.3
9.2
15.2
5.4
18.0
<0.5

Ga
13.6
19.6
6.0
13.8
9.3
2.5

Cu
28
11
12
32
7
1

Zn
97
55
13
141
28
7
Co
105
7
<1
135
1
<1

Ba
358
613
697
235
643
45

La
19
34
23
21
27
8

Ce
26
62
32
33
47
12

U
0.5
2.2
1.7
<0.5
2.3
1.9

Th
34.1
15.3
25.8
25.9
31.3
<0.5

Sc
1
8
<1
<1
<1
75

Pb
<1
2
16
<1
8
<1
Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.17.4c. Acropolis marble fragment

	Specimen
	GRC-200

	Wt. %
	GRC200

	SiO2
	14.37

	TiO2
	0.13

	Al2O3
	2.97

	Fe2O3T
	1.81

	MnO
	0.12

	MgO
	1.70

	CaO
	78.25

	Na2O
	0.27

	K2O
	0.23

	P2O5
	0.16

	Total
	100.01

	LOI
	38.17

	FeO
	0.55

	Fe2O3
	1.20

	ppm:
	

	Rb
	12

	Sr
	668

	Zr
	<3

	Cr
	<3

	V
	34

	Ba
	40

	Source
	Mertzman

XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

	Specimen
	GRC-504

	SiO2
	40.85

	TiO2
	0.01

	Al2O3
	0.54

	Fe2O3T
	10.54

	MnO
	0.14

	MgO
	43.20

	CaO
	4.05

	Na2O
	0.54

	K2O
	0.05

	P2O5
	0.01

	Total
	99.93

	LOI
	17.97

	FeO
	1.77

	Fe2O3
	8.57

	
	

	Rb
	<3

	Sr
	203

	Zr
	9

	Cr
	1112

	V
	7

	Ba
	16

	Source
	Mertzman

XRF/WC


* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.17d. Spectral Data - Greece samples

(a) ASD reflectance data: 0.35-2.5 μm

Sample
Facility/File No.
Description








GRC004a
PSF 100517a.001
Light granite-looking exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

GRC004b
PSF 100517a.002
Tan solid exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

++++++

GRC005a
PSF 100517a.003
Tan yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

GRC005b
PSF 100517a.004
White spots exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

++++++

GRC006
PSF 100517a.005
White crumbly exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

++++++

GRC008a
PSF 100517a.006
White bleached exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

GRC008b
PSF 100517b.001
Darker exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

++++++

GRC011a
PSF 100517b.002
Smooth spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

GRC011b
PSF 100517b.003
Rough exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

++++++

GRC012
PSF 100517b.004
Tan/dark vesicular exterior surface; i=30°, e=0°; 0.35-2.5 μm; 1000 spectra averaged; ASD (directory: 100430_surface).

+++++++++++++++++++++++++++++++++++++++++++++++
GRC001
PSF 130301a.001
Exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC002
PSF 130301a.002
Exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC002_zeo
PSF 130301a.003
Zeolites on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC003_y
PSF 130301a.004
Yellow leached exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC003_w
PSF 130301a.005
White exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC004_p
PSF 130301a.006
Pink exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC004_b
PSF 130301a.007
Brown exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC004_w
PSF 130301a.008
White exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC005_g
PSF 130301a.009
Gray exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC005_gy
PSF 130301a.010
Gray-yellow exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC005_y
PSF 130301a.011
Yellow exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC006_w
PSF 130301a.012
White bleached exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC006_pb
PSF 130301a.013
Pink-brown unaltered interior (?) general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC007_l
PSF 130301a.014
Light exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC007_d
PSF 130301a.015
Dark exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC008_w
PSF 130301a.016
White bleached exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC008_y
PSF 130301a.017
Yellow unaltered interior (?) general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC009
PSF 130301a.018
Exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC010_d
PSF 130301a.019
Dark exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC010
PSF 130301a.020
White altered exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC011_d
PSF 130301a.021
Dark grey inner interior (?) general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC011_y
PSF 130301a.022
Yellow exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC012
PSF 130301a.023
Exterior general surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130301_tori).
GRC001_p
PSF 130304a.001
Pink spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC001_bl
PSF 130304a.002
Black spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC001_w
PSF 130304a.003
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC002_w
PSF 130304a.004
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC002_p
PSF 130304a.005
Pink spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC003_y
PSF 130304a.006
Yellow spot on leached exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC003_w
PSF 130304a.007
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC004_p
PSF 130304a.008
Pink spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC004_b
PSF 130304a.009
Brown spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC004_w
PSF 130304a.010
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC005_g
PSF 130304a.011
Gray spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC005_yg
PSF 130304a.012
Yellow-gray spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC005_yw
PSF 130304a.013
Yellow-white spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC006_b
PSF 130304a.014
Brown spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC006_w
PSF 130304a.015
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC007_bl
PSF 130304a.016
Black spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC007_w_incl
PSF 130304a.017
White inclusions spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC007_b
PSF 130304a.018
Brown spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC008_y
PSF 130304a.019
Yellow spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC008_b_spots
PSF 130304a.020
Brown spots on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC008_w
PSF 130304a.021
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC008_g
PSF 130304a.022
Gray spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC009_w
PSF 130304a.025
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC010_yw
PSF 130304a.026
Yellow-white spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC010_w
PSF 130304a.027
White spot on altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC010_g
PSF 130304a.028
Gray spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC011_y
PSF 130304a.029
Yellow spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC011_w
PSF 130304a.030
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC011_g
PSF 130304a.031
Gray spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC012_p
PSF 130304a.032
Pink spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC012_bl
PSF 130304a.033
Black spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC013_b_spots
PSF 130304a.034
Brown spots on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC013_w
PSF 130304a.035
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC014_y
PSF 130304a.036
Yellow spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC014_dy
PSF 130304a.037
Dark yellow spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC014_w
PSF 130304a.038
White spot on altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC015_y1
PSF 130304a.039
Yellow 1 spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC015_y2
PSF 130304a.040
Yellow 2 spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC015_w
PSF 130304a.041
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC015_g
PSF 130304a.043
Gray spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC016_d
PSF 130304a.044
Dark spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC016_med
PSF 130304a.045
Medium-toned spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC016_w
PSF 130304a.046
White spot on exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130304_tori).
GRC002 45-850
PSF 130418a.001
45-850 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC002 <45
PSF 130418a.002
<45 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC013 45-850
PSF 130418a.003
45-850 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC013 <45
PSF 130418a.004
<45 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC014a 45-850
PSF 130418a.005
45-850 μm powder of altered yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC014a <45
PSF 130418a.006
<45 μm powder of altered yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC014b 45-850
PSF 130418a.007
45-850 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC014b <45
PSF 130418a.008
<45 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC014c 45-850
PSF 130418a.009
45-850 μm powder of altered whitish outer exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC014c <45
PSF 130418a.010
<45 μm powder of altered whitish outer exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC003a 45-850
PSF 130418a.011
45-850 μm powder of yellow leached exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC003a <45
PSF 130418a.012
<45 μm powder of yellow leached exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC003b 45-850
PSF 130418a.013
45-850 μm powder of outer white exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC003b <45
PSF 130418a.014
<45 μm powder of outer white exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC005a 45-850
PSF 130418a.015
45-850 μm powder of yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC005a <45
PSF 130418a.016
<45 μm powder of yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC005b 45-850
PSF 130418a.017
45-850 μm powder of gray-yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC005b <45
PSF 130418a.018
<45 μm powder of gray-yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC006a 45-850
PSF 130418a.019
45-850 μm powder of outer bleached exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC006a <45
PSF 130418a.020
<45 μm powder of outer bleached exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC006b 45-850
PSF 130418a.021
45-850 μm powder of interior (?) surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC006b <45
PSF 130418a.022
<45 μm powder of interior (?) surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC008a 45-850
PSF 130418a.023
45-850 μm powder of bleached outer exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC008a <45
PSF 130418a.024
<45 μm powder of bleached outer exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC008b 45-850
PSF 130418a.025
45-850 μm powder of unaltered interior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130418_methana).
GRC008b <45
PSF 130426a.017
<45 μm powder of unaltered interior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC001 45-850
PSF 130426a.020
45-850 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC001 <45
PSF 130426a.021
<45 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC004b 45-850
PSF 130426a.026
45-850 μm powder of unaltered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC004b <45
PSF 130426a.027
<45 μm powder of unaltered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC004a 45-850
PSF 130426a.028
45-850 μm powder of altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC004a <45
PSF 130426a.029
<45 μm powder of altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC007b 45-850
PSF 130426a.030
45-850 μm powder of white exterior surface (inclusions); i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC007b <45
PSF 130426a.031
<45 μm powder of shite exterior surface (inclusions); i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC007a 45-850
PSF 130426a.032
45-850 μm powder of brown exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC007a <45
PSF 130426a.033
<45 μm powder of brown exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC007c <45
PSF 130426a.034
45-850 μm powder of black exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC009a 45-850
PSF 130426a.005
45-850 μm powder of bleached outside exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC009a <45
PSF 130426a.006
<45 μm powder of bleached outside exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC009b 45-850
PSF 130426a.007
45-850 μm powder of interior (?) surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC009b <45
PSF 130426a.008
<45 μm powder of interior (?) surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC010a 45-850
PSF 130426a.011
45-850 μm powder of white altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC010a <45
PSF 130426a.012
<45 μm powder of white altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC010b 45-850
PSF 130426a.013
45-850 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC010b <45
PSF 130426a.014
<45 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC011a 45-850
PSF 130426a.001
45-850 μm powder of yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC011a <45
PSF 130426a.002
<45 μm powder of yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC011b 45-850
PSF 130426a.003
45-850 μm powder of gray interior (?) surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC011b <45
PSF 130426a.004
<45 μm powder of gray interior (?) surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC012a 45-850
PSF 130426a.022
45-850 μm powder of altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC012a <45
PSF 130426a.023
<45 μm powder of altered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC012b 45-850
PSF 130426a.024
45-850 μm powder of unaltered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC012b <45
PSF 130426a.025
<45 μm powder of unaltered exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC015b 45-850
PSF 130426a.015
45-850 μm powder of yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC015b <45
PSF 130426a.016
<45 μm powder of yellow exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC015a 45-850
PSF 130426a.018
45-850 μm powder of white exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC015a <45
PSF 130426a.019
<45 μm powder of white exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC016 45-850
PSF 130426a.009
45-850 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).
GRC016 <45
PSF 130426a.010
<45 μm powder of exterior surface; i=30°, e=0°; 0.35-2.5 μm; 250 spectra averaged; ASD (directory: 130426_torimethana).

GRC504
PSF 240619b.00003.asd
<1 mm powder; i=30°, e=0°; 0.35-2.5 μm; 500 spectra averaged; 1 nm otput; ASD4 (directory: 240619 Montreal and Greece).

+++++++++++++++++++++++++++++++++++++
(b) Bruker Vertex 70 FTIR reflectance data: 10,000 – 400 cm-1 (1-25 μm)

GRC005a <45
PSF AA_1
<45 μm powder of yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC005b 45-850
PSF AA_2
45-850 μm powder of gray-yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC005b <45
PSF AA_3
<45 μm powder of gray-yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC006a 45-850
PSF AA_4
45-850 μm powder of outer bleached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC006a <45
PSF AA_5
<45 μm powder of outer bleached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC006b 45-850
PSF AB_1
45-850 μm powder of interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC006b <45
PSF AB_2
<45 μm powder of interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC008a 45-850
PSF AB_4
45-850 μm powder of bleached outer exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC008a <45
PSF AB_4
<45 μm powder of bleached outer exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC008b 45-850
PSF AA_5
45-850 μm powder of bleached outer exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC003a 45-850
PSF AE_1
45-850 μm powder of outer yellow leached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC003a <45
PSF AE_2
<45 μm powder of outer yellow leached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC003b 45-850
PSF AE_3
45-850 μm powder of outer white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC003b <45
PSF AE_4
<45 μm powder of outer white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC005a 45-850
PSF AE_5
45-850 μm powder of yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC002 45-850
PSF A_1
45-850 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC002 <45
PSF A_2
<45 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC013 45-850
PSF A_3
45-850 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC013 <45
PSF A_4
<45 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC014a 45-850
PSF S_1
45-850 μm powder of altered yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC014a <45
PSF S_2
<45 μm powder of altered yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC014b 45-850
PSF S_3
45-850 μm powder of whole rock exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC014b <45
PSF S_4
<45 μm powder of whole rock exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC014c 45-850
PSF S_5
45-850 μm powder of altered outer whitish exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC014c <45
PSF S_6
<45 μm powder of altered outer whitish exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR1.xls).
GRC003a 45-850
PSF AE_1
45-850 μm powder of outer yellow leached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC003a <45
PSF AE_2
<45 μm powder of outer yellow leached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC003b 45-850
PSF AE_3
45-850 μm powder of outer white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC003b <45
PSF AE_4
<45 μm powder of outer white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC005a <45
PSF AE_5
<45 μm powder of yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC005a 45-850
PSF AE_5
45-850 μm powder of yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC009a 45-850
PSF Q_1
45-850 μm powder of outer bleached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC009a <45
PSF Q_2
<45 μm powder of outer bleached exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC009b 45-850
PSF Q_3
45-850 μm powder of interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC009b <45
PSF Q_4
<45 μm powder of interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC016 45-850
PSF Q_5
45-850 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC016 <45
PSF Q_6
<45 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR2.xls).
GRC007b 45-850
PSF A2_1
45-850 μm powder of white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC007b <45
PSF A2_2
<45 μm powder of white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC007a <45
PSF A2_3
<45 μm powder of brown exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC007c <45
PSF A2_4
<45 μm powder of black exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC004b <45
PSF AA2_1
<45 μm powder of unaltered exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC004a 45-850
PSF AA2_2
45-850 μm powder of altered exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC004a <45
PSF AA2_3
<45 μm powder of altered exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC007c 45-850
PSF AA2_4
45-850 μm powder of black exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC008b <45
PSF AB2_1
<45 μm powder of unaltered interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC015a 45-850
PSF AB2_2
45-850 μm powder of white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC015a <45
PSF AB2_3
<45 μm powder of white exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC001 45-850
PSF AB2_4
45-850 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC001 <45
PSF AB2_5
<45 μm powder of exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC010a 45-850
PSF AG_1
45-850 μm powder of white altered exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC010a <45
PSF AG_2
<45 μm powder of white altered exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC010b 45-850
PSF AG_3
45-850 μm powder of base rock exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC010b <45
PSF AG_4
<45 μm powder of base rock exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC015b 45-850
PSF AG_5
45-850 μm powder of yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC015b <45
PSF AG_6
<45 μm powder of yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC011a 45-850
PSF R_1
45-850 μm powder of outside yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC011a <45
PSF R_2
<45 μm powder of outside yellow exterior surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC011b 45-850
PSF R_3
45-850 μm powder of gray interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
GRC011b <45
PSF R_4
<45 μm powder of gray interior (?) surface; i=30°, e=0°; 1-25 μm; 1500 spectra averaged; 2 cm-1 resolution. Bruker Vertex 70 (directory: FTIR3.xls).
+++++++++++++++++++++++++++++++++++++++++++++

20.17.d.1. Greece samples - Thermal Emission Spectra

Thermal emission spectra (80°C; 200 – 4000 cm-1, 2 cm-1 spectral resolution) and interpretation - Josh Bandfield – June 2013and September 2013
Sample
Grain size
Interpretation








GRC001
(45-1000 µm)
Appears more like volcanic glass than the other samples.

++++++

GRC002
(<45 μm)
Plagioclase transparency feature appears to be present. Spectrum is typical of fine particulate silicates but is different from STM001 and STM003.

GRC002a
(45-1000 μm)
Mostly silica

++++++

GRC003a
(45-1000 μm)
Mostly silica

GRC003b
(45-1000 μm)
Mostly silica

++++++

GRC004a
(45-1000 μm)
Mostly silica.
GRC004a
(<45 μm)
Fine particulate silicates (plag feature appears to be present).

++++++

GRC005a
(45-1000 μm)
Mostly silica

GRC005b
(45-1000 μm)
Mostly silica

++++++

GRC006a
(45-1000 μm)
Mostly silica

GRC006b
(45-1000 μm)
Mostly silica

++++++

GRC008a
(45-1000 μm)
Amorphous component is present (spectrum seems questionable).

GRC008b
(45-1000 μm)
Mostly silica

++++++

GRC009a
(45-1000 μm)
This has a significant crystalline component (plag, px, etc.) and to first order looks like unweathered intermediate volcanics.

GRC009b
(45-1000 μm)
Mostly silica.
GRC009b
(<45 μm)
Mostly silica.

++++++

GRC010a
(<45 μm)
Fine particulate silicates (difficult to interpret spectral features).

GRC010b
(45-1000 μm)
Mostly silica.
GRC010b
(<45 μm)
Fine particulate silicates (silica feature is present).

++++++

GRC011a
(45-1000 μm)
Not sure what this is, appears amorphous

GRC011a
(<45 μm)
Probably mostly silica (low quality spectrum).

GRC011b
(45-1000 μm)
Mostly silica

++++++

GRC013
(45-1000 μm)
This appears to be more like volcanic glass than other samples maybe with a crystalline component

++++++

GRC014a
(<45 µm)
Appears to be mostly crystalline intermediate volcanics.

GRC014b
(<45 µm)
Appears to be mostly crystalline intermediate volcanics (perhaps higher amorphous silica content).

++++++

GRC015a
(45-1000 μm)
Seems to have a significant component (but no quartz)

++++++

GRC016
(45-1000 μm)
Carbonate (dominated by fine particulates, Mg.Ca?).

GRC016
(<45 μm)
Mostly fine particulate carbonate.

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

END of 20.17.

20. Analogue Sites
20.18. Serpentinites – QC, Canada
20.18.1. Thetford Mines area

20.18.2. Jeffrey Mine Area, Asbestos, QC, Canada

20.18.3. Norbestos Mine, QC, Canada
20.18.4. Local Geology Sites, Asbestos - Thetford Mines Area, QC, Canada
20.18.5. St. Lawrence Lowlands metamorphics
+++++++++++++++++++++++++++++++++++
The Jeffrey and Norbestos Mines were used for CSA rover field trials in 2011 and 2012.
+++++++++++++++++++++

20.18a. Sample Descriptions – Serpentinites – QC, Canada

Sample ID
Description










20.18.1a. Sample Descriptions - Thetford Mines Area, QC, Canada 

(i) Samples received from Michel Lamothe (January 2010).

ASB001
Serpentinized harzburgite (ultramafic) from Ordovician ophiolite of southern Quebec (La Brompton and Thetford Mines area).

ASB002
Carbonate-bearing serpentinized ultramafic from Ordovician ophiolite of southern Quebec (La Brompton and Thetford Mines area).

Note from Michel Lamothe: “Lavoie and Cousineau (1995) J of Sed Res have confirmed that these alterations are from salty (marine?) waters. Alain (Tremblay) and his PhD student Stephane de Souza will be happy to give you more information.”

++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18.2a. Sample Descriptions - Jeffrey Mine Area, Asbestos, QC, Canada

ASB1xx series: road barricade of waste rock: road just south of main mine entrance in Asbestos, PQ (June 2, 2010), and main pit (ASB150).

ASB100-102 
3 pebbles of serpentinite.

ASB103
Blue- sheened rock; probably from this locality
ASB104
Massive fibrous antigorite (?); maybe from this locality
ASB150
“Woody” – bladed pale green massive serpentinite, from lower level of open-pit mine (June 2011).
+++++++++++++++++++++++++++++++++++++
 ASB2xx series: spoil piles on N.  side of road between spoil piles N. of open pit mine in Asbestos (June 2, 2010).

ASB200
Fibrous chrysotile - 2 pieces

ASB201
Serpentine cobble with possible magnesium carbonate coating.

ASB202
Surface weathered sediment deposits at north spoil piles.

ASB203
Massive serpentinite cobble.

ASB204
Phlogopite-bearing (rodingite?) cobble.

ASB205
Rhodochrosite (?) + serpentinite cobble.

ASB206
Possible Mg-carbonate deposit on boulder.

ASB207
Red-orange weathered surface (pyroaurite/oxalate?) on serpentinite cobble.

ASB208
Magnesite (?) + serpentinite cobble.

ASB209
Massive albite/magnesium carbonate (?) cobble.

ASB210
Serpentinite pebble.

ASB211
Serpentinite + Mg-carbonate (?) cobble.

ASB212
Serpentinite cobble.

ASB213
Serpentinite cobble with chrysotile veins.

ASB214
Serpentinite cobble with buff-coloured weathered surface (may not be from this locality - loose in duffle bag).

ASB215
Albite (?) cobble.

ASB216
Serpentinite cobble with chrysotile veins.

ASB217
Serpentinite cobble with red-brown weathering.

ASB218
Serpentinite cobble with phlogopite? grains.

ASB219-225
Various serpentinite nodules with chrysotile veins.

ASB226
Albite (?) crystal with serpentinite vein.

ASB227
Serpentinite-rich "muck" surficial alluvial deposit.

ASB228
Serpentinite tabular/acicular crystal mass.

ASB229
Serpentinite cobble with brown weathering/alteration deposits

ASB230
Various pebbles of serpentinite with possible Mg-carbonates.

ASB231
Serpentinite + quartz (?) vein.

++++++++++++++++++++++++++++++++++++
ASB250 and higher series: spoil piles on N.  side of road north of Jeffrey Mine in Asbestos (Sept. 15, 2013).

ASB250
White fibrous delaminated material weathered from serpentinite boulder (many fragments).

ASB251
Weathered light-coloured asbestos vein-bearing serpentinite (1 large and many small pieces).

ASB252
Weathered, lighter-coloured delaminated fibrous serpentinite (many loose fragments).

ASB253
Partially weathered pyroxenite (?) cobble.

ASB254
Light-coloured and green weathered fibrous serpentinite (1 cobble and fragments).

ASB255
Light green weathered serpentinite with minor asbestos veins and white-coloured weathered surfaces (1 cobble).
ASB256
Light green and brown interior weathered serpentinite cobble.
ASB257
Massive dark green serpentinite with one face of light green tabular serpentine, one face with light grey thin weathering products (1 cobble).

ASB258
Very dark green-black serpentinite with glassy and matte faces and minor white weathering products on one face (possible Ceres, Bennu analogue) (1 cobble) (see also ASB265, 267, 268, 269).
ASB259
Dark and light green massive serpentinite with light green veins (1 broken cobble and a few fragments).

ASB260
Light and dark green-black serpentine with glassy, striated faces and light green striated, tabular light green vein faces (1 broken cobble).

ASB261
Three fragments of larger boulder: Dark green serpentinite with numerous asbestos veins, minor powdery white weathering products on some faces and some red-brown weathered faces.
ASB262
Three fragments of larger boulder: Massive dark green- grey/black serpentinite cobble with light green weathered face altered to ~2 mm depth.

ASB263
Fretwork texture serpentinite: dark green veins with orange-red clasts.

ASB264
Fretwork texture serpentine: orange and light green veins enclosing dark green serpentine clasts (1 pebble).

ASB265
Dark green-black serpentinite cobble with minor veining (possible Ceres, Bennu analogue); see also ASB258, 267, 268, 269).
ASB266
Mottled light green and dark green-black weathered serpentinite; variable thickness of weathered rind; grey to black interior. One broken face has mostly complete white "reaction front" between light green exterior and dark gray interior.

ASB267
Dark green-black massive serpentinite; matte and slickensided surfaces (possible Ceres, Bennu analogue); 1 broken cobble. See also ASB258, 265, 268, 269.

ASB268
Dark green-grey-black massive serpentinite; with glassy and matte surfaces and small light green "clasts". Possible Ceres, Bennu analogue. See also ASB258, 265, 267, 269.
 ASB269
Dark green-grey-black massive serpentinite with glassy and matte surfaces and small light green "clasts". Possible Ceres, Bennu analogue. See also ASB258, 265, 267, 268.
ASB270
Dark gray schist (1 cobble).
ASB271
Black-white mottled quartz+mica+?-bearing rock; weak foliation and minor quartz veining (1 cobble). 

ASB272
Foliated quartz+mica+? Rock with a few minor serpentinite veins (1 cobble).

ASB273
Massive quartz+mica+? Rock with buried in soil endolith ring (1 cobble).

ASB274
White, mottled black/white, and pink syenite? (alkali feldspar + mica at least?) (1 cobble).
ASB275
Syenite (? – pink areas); green areas – altered serpentinite/pyroxenite probably. 1 large cobble.

ASB276
Albitite (?): while albite-rich rock with soil line green endolith ring, and minor mica-bearing green serpentinite (?) (1 cobble).

ASB277
Syenite (?): while with minor pale green mineral (microcline?).

ASB278
Quartz cobble with veins/stringers of brown material and green material (altered pyroxenite?). 1 larger cobble.
ASB279
Albitite + quartz + syenite (?) cobble (large enclaves of each). 1 large cobble.

+++++++++++++++++++++++++++++++++++++++++
20.18.3a. Sample descriptions - Norbestos Mine, QC, Canada

20.18.3a.1. Norbestos Mine - June 2, 2010 site visit

ASB3xx: Norbestos Mine (abandoned), east of Asbestos, QC (June 2, 2010)

GPS coordinates: UTM19 279481 E 5077808 N (la petite mine Norbestos)

ASB300
Loose sediments in alluvial fan, base of tailings pile.

ASB301-302
Two pieces of serpentinite covered with white precipitate (Mg-carbonate?) from tailings pile.

ASB303
Variously altered serpentinite, with black, brown, beige precipitates; black may be tochilinite?

ASB304
Serpentinite covered with white precipitate (Mg-carbonate?) from tailings pile.


ASB305
Serpentinite covered with white precipitate (Mg-carbonate?) from tailings pile.


ASB306
Serpentinite covered with white precipitate (Mg-carbonate?) and black adhering fragments (tochilinite?) from tailings pile.


ASB307
Serpentinite with chrysotile vein and black adhering rock (tochilinite?), from tailings pile.

+++++++++++++++++++++++++++
20.18.3a.2. Samples collected May 2, 2012 during rover deployment site reconnaissance

ASB310
Magnesite-coated serpentinite.
ASB311
Magnesite-coated serpentinite.

ASB312
Magnesite-coated serpentinite; heavily veined.

ASB313
Magnesite-coated serpentinite

ASB314
Magnesite-coated serpentinite

ASB315
Magnesite-coated serpentinite

ASB316
Magnesite-coated serpentinite

ASB317
Magnesite-coated serpentinite

ASB320
Asbestos-veined serpentinite

ASB321
Black and green, veined, partly altered, slickensided serpentinite.
ASB322
Heavily iron-stained serpentinite

ASB323
Serpentinite boulder – multi-coloured

ASB324
Massive acicular serpentinite.

ASB325
Massive, acicular serpentinite.

ASB326
Massive, acicular serpentinite.

ASB327
Massive, acicular serpentinite. [Wet sieve powder series made.]
ASB328
Massive, acicular serpentinite.

ASB329
Two-tone serpentinite pebble.
ASB330
Partially-weathered serpentinite boulder

ASB331
Quartz pebble with minor serpentinite.

ASB332
Massive serpentinite boulder, some weathering, veining, fracture fill.

++++++++++++++++++++++++++++++++++++++

20.18.3a.3. Jeffrey Mine, Asbestos, QC rover trials – June 2011

Note: ASD and Raman spectra acquired of rocks collected at rover sampling points – rock samples stored at UWinnipeg.

Day 1:
10 sample collected (?), 11 Raman spectra acquired of the samples in the field; 10 ASD spectra collected of whole rocks and <45 μm powder.

Day 1 rover traverse sampling sites:

Site 1
0 metres from starting point

Site 2
5 metres from starting point

Site 3
10 metres from starting point

Site 4
15 metres from starting point

Site 5
20 metres from starting point

Site 6
25 metres from starting point

Site 7
30 metres from starting point

Site 8
35 metres from starting point

Site 9
40 metres from starting point (called Jeffrey-1 for Mars 2020 cal standard possibility)
Site 10
45 metres from starting point

+++++

Day 2: 
8 samples collected; 8 Raman spectra acquired of the samples in the field.

Day 2 rover traverse sampling sites:

Site 1
0 metres from starting point

Site 2
1 metres from starting point

Site 3
2 metres from starting point

Site 4
0 metres from starting point – station 2

Site 5
1 metres from starting point – station 2

Site 6
2 metres from starting point – station 2

Site 7
3 metres from starting point – station 2

Site 8
4 metres from starting point – station 2

+++++

Day 3:
10 samples collected; 10 Raman spectra acquired of the samples in the field.

Day 3 rover traverse sampling sites:
Site 1
0 metres from starting point

Site 2
1 metres from starting point

Site 3
2 metres from starting point

Site 4
3 metres from starting point

Site 5
4 metres from starting point

Site 6
5 metres from starting point

Site 7
6 metres from starting point

Site 8
7 metres from starting point

Site 9
8 metres from starting point

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18.3a.4. Samples from Jennifer Ronholm and Jackie Goordial (McGill – October 2013).

ASB-J01
aka Endolith 1: Small chip with green endolith layer – possibly quartz syenite. (Asbestos tailings dump). ASB-J01

ASB-J02
aka Endolith 2: 2 fragments, one white, one white adjoining serpentinite; possibly quartz syenite. Both contain green endolith layer. (Asbestos tailings dump). ASB-J02

ASB-J02A
mafic fraction

ASB-J02B
white fraction with small endolith inclusion

ASB-J02G
green fraction

ASB-J04
aka Endolith 4: 1 piece quartz syenite (?) with discontinuous green endolith layer. (Asbestos tailings dump). ASB-J04

ASB-J04W
white fraction; no apparent endoliths

ASB-J04G
green fraction

ASB-J04R
red/brown fraction

ASB-J05
aka Endolith 5: 1 piece, white with orange discontinuous endolith layer. Possibly quartz syenite? (Asbestos tailings dump). ASB-J05

ASB-J05A
endolith fraction

ASB-J05B
bulk fraction

ASB-J06
aka Woolite Sample 3: Light green serpentinite, tabular fragments (antigorite?). (Asbestos tailings dump). ASB-J06

ASB-J07
aka Colonized Little Rocks Sample 1: Small syenite (?) + serpentinite fragments with occasional green endolithic patches. (Asbestos tailings dump). ASB-J07

ASB-J08
aka Microbial Mat Biomineralization Sample 5: Wet brown algal mat (?), with hard mineral precipitate on top. (Asbestos tailings dump). ASB-J08

ASB-J09
aka Iron Precipitate Sample 2: Brown wet clump with vegetative fragments. (Asbestos tailings dump). ASB-J09

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.18.3.5a. Unknown provenance samples from Jeffrey Mine – likely from waste rock piles north of mine

ASBM01
Massive banded serpentinite

ASBM02
Pale green serpentinite cobble with coating of loose fibres and magnesite powder

ASBM03
Pieces of mottled white-pale green serpentinite

ASBM04
Pale green “slickensided” serpentine piece

ASBM05
Possible rodingite (pink rock) with some adhering serpentine

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18.4a. Sample Descriptions - Local Geology Sites, Asbestos - Thetford Mines Area, QC, Canada

ASB4xx series: Colline Belmina, west of Colleraine (June 3, 2010)

GPS coordinates: UTM19308779 E 5093160 N (Belmina (serpentinite near Alpha Base))

ASB400
Massive dunite (weathered serpentinized), cobble.

++++++++++++++++++++++++++++++++++++
ASB5xx series: Harzburgite exposure behind house on Vimy Ridge (June 3, 2010)

ASB500-510
Various fragments from harzburgite outcrop.

ASB511-513
Harzburgite pieces

++++++++++++++++++++++++++++++++++++
ASB6xx series: Normandie Mine tailings pile just north of Vimy Ridge (June 3, 2010).

GPS coordinates: UTM19 313290 E 5099666 N (Mine Normandie (tailing near road))
ASB600
Tailings pile muck - surficial alluvial deposit.

ASB601
Serpentinite boulder with chrysotile veins and orange weathering/precipitates.

ASB602-603
Dark veins in serpentinite; 2 pebbles.

ASB604
Light green weathered serpentinite cobble with some light brown weathering.

ASB605
Surficial weathering sludge.

ASB606
Serpentinite cobble with brown-orange weathering/precipitates.

ASB607-608
Serpentinite pebbles with brown-orange weathering/precipitates.

++++++++++++++++++++++++++++++++++++
ASB7xx series: Pillow basalt outcrop near Thetford Mines (June 3, 2010)
GPS coordinates: UTM19 327238 E 5097111 N (Carrière Saint-Francoise (boninite-basalt))

ASB700
Fragments of chilled margin (weathered)

ASB701
Partially weathered pillow basalt fragment.
+++++++++++++++++++++++++++++++++++++
ASB8xx series: Pillow basalts in quarry near Thetford Mines (June 3, 2010)
GPS coordinates: UTM19 327191 E 5097738 N (Lave coussin)

+ASB800
Fragment of pillow basalt

+++++++++++++++++++++++++++++++++++++
ASB9xx series: East Broughton, QC talc mine (June 3, 2010)
ASB900-901
Two pieces of serpentinite with weathered surfaces

ASB902
Numerous fragments of weathered talc

ASB903
Bladed/weathered serpentinite fragment

+++++++++++++++++++++++++++++++++++++++
ASB95x series: Black Lake/East Broughton area – 2022 Road Trip; near Black Lake tailings hill.

ASB950
Medium unsorted sediments; gray to black. 46.04894° N; 71.34659° W. From tailings pile near Black Lake.
ASB951
Unsorted fine-grained, pale beige sediments (talc-rich?) from “playa” by side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W. 
ASB952 
Various cobbles; foliated, beige to medium gray; likely talc-rich; from boulders and loose pieces side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W. 

ASB953
Chrysotile vein fillings; Thetford Mine, south overlook of pits; taken from weathering boulders in open area by fence; 46.07140° N; 71.31333° W. 
ASB954
Medium gray-green serpentinite cobble; some foliation; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

ASB955
Medium gray-green serpentinite cobble; highly foliated; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

ASB956
Light green serpentinite cobble; highly foliated; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

ASB957
Granny Smith apple green serpentinite cobble; highly foliated; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

ASB958
Dark green serpentinite cobble; with resinous surfaces; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

ASB959
Medium gray-green serpentinite cobble; highly foliated; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

ASB960
Two white/gray loose cobbles – possibly albitite; Thetford Mine, south overlook of pits; taken from weathering boulders in open area by fence; 46.07140° N; 71.31333° W. 

ASB961
Large light to medium green, somewhat friable serpentinite cobble; some foliation; from side of road just outside of open pit mine; East Broughton; Frontenac Mine; 46.22732° N; 71.08814° W.

+++++
ASB97x series: Black Lake/Thetford tailings pile inside of mine site. Road trip with Sherbrooke U students and Myriam Lemelin – June 29, 2023. Suitable for rover trials – flat area with berms of dumped waste rock and tailings fines. GPS pinned but not saved? Have address from Gaelle.
ASB970
Fine dark sediments from tailings pile – likely contains some chrysotile.

ASB971
Chrysotile vein in antogorite with dark magnetite-rich? upper and lower edges and red (hematite-rich?) vein.
ASB972
Likely albite-rich white cobble (albitite), evidence of cleavage planes.

ASB973
Likely albite-rich white cobble (albitite), evidence of cleavage planes.

ASB974
Thick (5 mm) chrysotile vein in antogorite with adjacent red (hematite-rich?) veins.

ASB975
Pink, garnetiferous rodingite (?).
ASB976
Thick (1 cm) chrysotile vein, discontinuous with back subveining, in antigorite.

ASB977
Medium- and dark-green “chicken wire” altered serpentinite cobble.

ASB978
Four small antigorite cobbles with magnesite coatings on upper (exposed) surfaces, from edge of roadway – more altered (whiter) than adjacent flats.
+++++++++++++

ASB98x series: Unreclaimed benches in Jeffrey Mine site. Road trip with Sherbrooke U students and Myriam Lemelin – June 29, 2023. Suitable for rover trials – flat area with berms of dumped waste rock and tailings fines. Val des Sources coordinates:45.76345° N, 71.96767° W 
ASB980
“Woody”; elongated fibrous mass; pale green to white.

ASB981
Albite-rich (albitite) cobble, with possible minor quartz vein.

ASB982
Pink, garnetiferous rodingite (?).

ASB983
Pink, garnetiferous rodingite (?).

ASB984
Albite cobble with adhering serpentinite.

++++++++++++++++++++++++++++++++
20.18.5. St. Lawrence Lowlands – west of Cowansville – metamorphic rocks. Road cut on north side of Highway 104. 45.21098° N; 72.78558° W.

QCL001
Banded slate; light gray and reddish bands. 

QCL002
Medium-gray phyllite; wavy texture. 

QCL003
Medium-gray phyllite; partial wavy texture.

QCL004
Dark gray phyllite; some wavy texture.

QCL005
Dark gray slate; thin foliation.

QCL006
Medium-gray phyllite; shiny.

+++++++++++++++++++++++++++++++++++++++++
20.18.6. Dulude Quarry, Mont-Saint Bruno. From ski hill just west of quarry – alonf fence line. June 2022 road trip

QCD001
Two cobbles: black hornfels (slate), with rusty exterior surfaces
+++++++++++++++++++++++++++++++++

20.18.7. Mont Sainte Hilaire Quarry – access road just outside of mine gate – June 2022

QCH001
Three cobbles of phenocrystic syenite.
++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18b. XRD Data - Serpentinites, QC, Canada
(i) Analyses at University of Winnipeg with Bruker D8 (June 2015)
Suffixes (-G,-R,-Y) refer to specific spots on the sample that were spectrally characterized as whole rock, then powdered for spectral measurements and XRD.

ASB150-G
lizardite, magnetite, brugnatellite

ASB150-R
antigorite, brucite, magnesite, magnetite, brugnatellite, hisingerite, kirschteinite

++++++

ASB203-G
antigorite, lizardite, magnesioferrite

ASB203-R
antigorite, lizardite, chrysotile, magnesite

ASB203-Y
lizardite, magnesioferrite

++++++

ASB300-R
lizardite, magnetite, chromite, stichtite, wustite, pentlandite

++++++

ASB306-R
lizardite, chrysotile, magnetite

++++++

ASB323-R
lizardite, chrysotile, nacrite

++++++

ASB326-R
lizardite, magnetite,

++++++

ASB330-R
lizardite, chrysotile, magnesite, magnetite, forsterite

ASB330-G
antigorite, lizardite, chrysotile, magnetite

++++++

ASB601-R
antigorite, lizardite, chrysotile, magnetite

++++++

ASB605-R
antigorite, lizardite, chrysotile

++++++

ASB900-G
lizardite, chrysotile, talc, clinochlore

ASB900-R
antigorite, chrysotile

ASB-900-Y
antigorite, talc, clinochlore

++++++

ASB901-G
antigorite, lizardite, magnetite

ASB901-R
antigorite, lizardite, magnetite, dickite

++++++

ASB902-G
talc, kammererite (Cr-bearing chlorite)
ASB902-R
talc, greenalite

ASB902-Y
talc, greenalite

ASB902
bulk - almost all chrysotile with unidentified clays (run by Terra XRD/XRF – January 2017)

+++++++

Jeffrey-1
chrysotile with some lizardite/antigorite (run with Terra XRD/XRF – Jan. 2017).

++++++++++++++++++++++++++++++++
20.18.3c.4. Samples from Jennifer Ronholm and Jackie Goordial (McGill – October 2013).

Run on UWinnipeg Bruker D8 - ~November 2013.

ASB-J01a
quartz, possible trace afghanite ((Na,K) 22 Ca 10 [Si 24 Al 24 O 96 ] (SO 4) 6 Cl 6, [2] is a hydrous sodium, calcium, potassium, sulfate, chloride, carbonate alumino-silicate mineral) and birnessite (nominally MnO 2 ·nH 2 O)
ASB-J01b
quartz, possible trace birnessite

ASB-J01c
quartz, possible trace afghanite

ASB-J01d
quartz, possible trace dolomite

ASB-J01e
major diopside, albite, and microcline. Minor grossular, prehnite, and biotite
ASB-J06
actinolite, minor clinochlore, chrysotile, and biotite
ASB-J02a
microcline with lesser prehnite, albite, and sericite

ASB-J02b
antigorite and lizardite
ASB-J04a
quartz and albite with minor microcline
ASB-J04b
quartz and albite with minor microcline
ASB-J04c
quartz and albite with minor microcline
ASB-J05
quartz and albite with minor microcline
ASB-J09
vermiculite with minor quartz, amphibole in the tremolite-actinolite series

ASB-J07
actinolite with clinochlore and antigorite

+++++++++++++++++++++++++++++++++++++++++++++

20.18c. Compositional Data – Serpentinites – QC, Canada (alphabetical order)

Aka ASB300
Wt. %
ASB003
ASB150
ASB200
ASB203
ASB230a
SiO2
40.48
12.20
18.97
38.02
37.80

TiO2
0.02
0.00
0.00
0.02
0.01

Al2O3
0.52
0.21
0.14
0.29
0.33

FeO
2.22
4.16
1.40
2.85
4.15

Fe2O3
8.96
25.25
0.76
9.00
13.03

(Fe2O3)*
(11.43)
(26.40)
(2.32)
(12.17)
(17.64)

MnO
0.15
0.30
0.230
0.18
0.14

MgO
45.41
59.03
7.17
48.79
44.05

CaO
0.50
0.04
70.98
0.26
0.07

Na2O
0.08
0.24
0.18
0.06
0.07

K2O
0.01
0.003
0.000
0.00
0.00

P2O5
0.01
0.005
0.002
0.00
0.01

SO3
0.00
0.07
0.080
0.10
0.06

TOTAL
98.61
98.498
100.072
99.89
100.18

LOI
15.87
25.25
37.76
16.63
14.72

ppm

Rb

<2
<3
Sr
100
<2
302
41
101

Zr
62
<2
10
22
55

V
41
25
2
21
71

Ni
3980
60

2540
2485

Cr
6450
298
<2
795
768

Co
144
154

117
117

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

a - Whole rock sample – rocky material plus fluffy phases.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18c. Compositional Data – Serpentinites – QC, Canada (alphabetical order)

Wt. %
ASB258
ASB265
ASB267

SiO2
44.17
43.05
43.07
TiO2
0.01
0.02
0.02
Al2O3
1.13
0.62
1.08
FeO
3.19
2.74
3.35
Fe2O3
7.50
11.20
9.74
(Fe2O3)*
(11.05)
(14.25)
(13.46)
MnO
0.18
0.18
0.22
MgO
42.53
41.32
40.99
CaO
0.08
0.12
0.37
Na2O
0.07
0.07
0.07
K2O
0.00
0.00
0.00
P2O5
0.14
0.03
0.20
SO3




TOTAL
99.36
99.66
99.48
LOI
11.94
11.83
11.77

ppm

Sr
77
76
76
Zr
25
33
25
V
83
109
117
Ni
1268
972
1833
Cr
6043
3524
3133
Co
114
187
137

Source
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC






* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

a - Whole rock sample – rocky material plus fluffy phases.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++
20.18c. Compositional Data – Serpentinites – QC, Canada (alphabetical order)

Wt. %
ASB306
ASB323
ASB326
ASB327
ASB330

SiO2
40.87
42.79
40.47
47.26
40.92
TiO2
0.00
0.00
0.00
0.00
0.00
Al2O3
0.29
0.23
0.38
0.34
0.20
FeO
1.35
2.42
2.61
0.18
2.82
Fe2O3
13.51
9.76
13.73
3.14
6.09
(Fe2O3)*
(15.01)
(12.45)
(16.63)
(3.34)
(9.22)
MnO
0.21
0.08
0.17
0.059
0.19
MgO
42.44
44.16
40.28
48.01
49.06
CaO
0.39
0.02
1.05
0.04
0.03
Na2O
0.18
0.16
0.19
0.05
0.15
K2O
0.003
0.000
0.012
0.000
0.000
P2O5
0.006
0.010
0.006
0.002
0.000
SO3
0.06
0.07
0.06
0.34
0.07

TOTAL
99.459
99.970
99.248
99.441
99.840
LOI
18.53
13.37
13.00
13.67
16.29

ppm

Rb
<2
<2
<2

<2

Sr
<2
<2
<2
91
2
Zr
<2
2
4
29
<2
V
25
27
10
16
31
Ni
60
1777
667
650
3151
Cr
298
1725
101
88
2145
Co
154
145
63
62
180

Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman


Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC





* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

a - Whole rock sample – rocky material plus fluffy phases.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18c. Compositional Data – Serpentinites – QC, Canada (alphabetical order)

Wt. %
ASB601
ASB605
ASB900
ASB901
ASB902
Jeffrey-1
SiO2
45.66
44.63
46.77
46.81
44.41
46.54
TiO2
0.02
0.06
0.00
0.00
0.02
0.06
Al2O3
0.51
2.29
2.60
1.47
0.97
1.01
FeO
0.33
2.66
3.39
2.13
4.22
1.77


Fe2O3
5.71
5.97
2.78
3.65
1.85
2.64
(Fe2O3)*
 (6.08)
(8.93)
(6.55)
(6.02)
(6.54)
4.61
MnO
0.08
0.16
0.51
0.22
0.17
0.09
MgO
46.27
41.99
42.84
44.61
35.79
45.38
CaO
0.05
1.07
0.02
0.02
10.54
0.24
Na2O
0.05
0.16
0.15
0.13
0.06
0.11
K2O
0.00
0.121
0.000
0.000
0.00
0.03
P2O5
0.01
0.038
0.000
0.000
0.01
0.01
SO3
0.00
0.06
0.06
0.06
0.21


TOTAL
98.73
99.509
99.500
99.340
98.72
98.08
LOI
13.32
11.71
12.89
12.53
20.92
13.97
ppm

Rb

<2
<2
<2

Sr
18
2
3
<2
2026
11
Zr
14
25
4
15
56
10
V
41
56
10
7
12
44
Ni
3575
1637
2325
1952
2013

Cr
2842
2075
1990
2810
1025
6807
Co
112
99
97
105
80


Source
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Mertzman
Analysis
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC
XRF/WC

* - All Fe reported as Fe2O3.

Note: Source and Analysis: Mertzman. Analyses by Stan Mertzman at Franklin and Marshall College (see Mertzman, 2000). Analysis done by XRF. Total is expressed on a volatile (LOI)-free basis and with all Fe reported as Fe2O3. Where both FeO and Fe2O3 are reported, FeO was determined by wet chemistry (WC) and Fe2O3 was taken as difference between total Fe and FeO.  LOI: loss on ignition = % weight loss after heating sample in air for 60-90 minutes.

a - Whole rock sample – rocky material plus fluffy phases.

+++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++++

20.18d. Spectral Data - Serpentinites, QC, Canada
Sample
Facility/File No.
Description








20.18.1d. Thetford Mines Area, QC, Canada 

ASB001
PSF 100304c.001
<45 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

ASB001
PSF 100304c.002
90-1000 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

++++++
ASB002A
PSF 100304c.003
green phase, <45 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

ASB002A
PSF 100304c.004
green phase, 90-1000 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

ASB002B
PSF 100304c.005
white phase, <45 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

ASB002B
PSF 100304c.006
white phase, 90-1000 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

ASB002C
PSF 100304c.007
red phase, <45 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

ASB002C
PSF 100304c.008
red phase, 90-1000 μm dry sieved; 30°/0°; 0.35-2.5 μm; 1 nm output; 1000 spectra averaged; ASD (directory: 100304c).

+++++++++++++++++++++++++++++++++++++

20.18.3d.1. Norbestos Mine, Asbestos, QC area – point spectra – spectral files 

ASB327
PSF 140406a.016
20-25 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406a.017
45-63 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406a.018
63-75 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406a.019
106-125 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406a.020
180-212 µm; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ASB327
PSF 140406b.016
20-25 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406b.017
45-63 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406b.018
63-75 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406b.019
106-125 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406b.020
180-212 µm; i=0°, e=18°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ASB327
PSF 140406c.016
20-25 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406c.017
45-63 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406c.018
63-75 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406c.019
106-125 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406c.020
180-212 µm; i=0°, e=30°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ASB327
PSF 140406d.016
20-25 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406d.017
45-63 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406d.018
63-75 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406d.019
106-125 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406d.020
180-212 µm; i=0°, e=45°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ASB327
PSF 140406e.016
20-25 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406e.017
45-63 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406e.018
63-75 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406e.019
106-125 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].

ASB327
PSF 140406e.020
180-212 µm; i=0°, e=60°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: Optical Constants].


++++++

ASB327
PSF 1
20-25 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 2
25-45 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 3
45-63 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 4
63-75 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 5
75-106 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 6
106-125 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 7
125-180 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

ASB327
PSF 8
180-212 µm, wet sieved; i=0°, e=0° (biconical); 0.2-0.55 µm; ~0.4 nm spectral resolution; 700 spectra averaged; Maya 2000 Pro; corrected to DUV mirror [Directory: 160125 run 6].

+++++++++++++++++++++++++++++++++++++++++++++++++

20.18.3d.4. Samples from Jennifer Ronholm and Jackie Goordial (McGill – October 2013).

(i) ASD reflectance spectra

All acquired at i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 500 spectra averaged.

ASB-J01a
PSF 131109a.001
Bulk sample; crushed, unsorted fine powder [Directory: 131109endoliths].
ASB-J01b
PSF 131109a.002
Exterior of sample; crushed, unsorted fine powder [Directory: 131109endoliths].
ASB-J01c
PSF 131109a.003
Interior of sample, orange; crushed, unsorted fine powder [Directory: 131109endoliths].
ASB-J01d
PSF 131109a.004
Interior of sample, white; crushed, unsorted fine powder [Directory: 131109endoliths].
ASB-J01e
PSF 131109a.005
Small chip with green endolith layer; crushed, unsorted fine powder [Directory: 131109endoliths].
ASB-J02a
PSF 131111a.001
White spot, small endolith inclusion; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J02b
PSF 131111a.002
Mafic spot; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J04a
PSF 131111a.003
Red-brown spot; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J04b
PSF 131111a.004
White spot, no apparent endoliths; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J04c
PSF 131111a.005
Green spot; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J05
PSF 131111a.008
White with orange discontinuous endolith layer; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J06
PSF 131109a.006
“Woolite” sample; light green serpentinite, tabular fragments (antigorite?); crushed, unsorted fine powder [Directory: 131109endoliths].
ASB-J07
PSF 131111a.011
Colonized little rocks, sample 1; crushed, unsorted fine powder [Directory: 131111endoliths].
ASB-J09
PSF 131111a.009
Fe precipitate, sample 2; crushed, unsorted fine powder [Directory: 131111endoliths].
++++++++++++++

(ii) iRaman 532 nm spectra

All acquired at i=e=0°; 174-4000 cm-1; ~4 cm-1 resolution; automatic integration time; 20 spectra averaged.

ASB-J01a
PSF a1
Bulk sample; crushed, unsorted fine powder; 7419 msec integration time [Directory: 131109endoliths].

ASB-J01b
PSF a2
Exterior of sample; crushed, unsorted fine powder; 2288 msec integration time [Directory: 131109endoliths].

ASB-J01c
PSF a3
Interior of sample, orange; crushed, unsorted fine powder; 5965 msec integration time [Directory: 131109endoliths].

ASB-J01d
PSF a4
Interior of sample, white; crushed, unsorted fine powder; 9950 msec integration time [Directory: 131109endoliths].

ASB-J01e
PSF a5
Small chip with green endolith layer; crushed, unsorted fine powder; 1436 msec integration time [Directory: 131109endoliths].

ASB-J02a
PSF ab1
White spot, small endolith inclusion; crushed, unsorted fine powder; 395 msec integration time [Directory: 131109endoliths].

ASB-J02b
PSF ab2
Mafic spot; crushed, unsorted fine powder; 14858 msec integration time [Directory: 131109endoliths].

ASB-J04a
PSF ab3
Red-brown spot; crushed, unsorted fine powder; 134 msec integration time [Directory: 131109endoliths].

ASB-J04b
PSF ab4
White spot, no apparent endoliths; crushed, unsorted fine powder; 546 msec integration time [Directory: 131109endoliths].

ASB-J04c
PSF ab5
Green spot; crushed, unsorted fine powder; 167 msec integration time [Directory: 131109endoliths].

ASB-J05
PSF c3
White with orange discontinuous endolith layer; crushed, unsorted fine powder; 305 msec integration time [Directory: 131109endoliths].

ASB-J06
PSF a6
“Woolite” sample; light green serpentinite, tabular fragments (antigorite?); crushed, unsorted fine powder; 5268 msec integration time [Directory: 131109endoliths].

ASB-J07
PSF c6
Colonized little rocks, sample 1; crushed, unsorted fine powder; 1428 msec integration time [Directory: 131109endoliths].

ASB-J09
PSF c4
Fe precipitate, sample 2; crushed, unsorted fine powder; 17844 msec integration time [Directory: 131109endoliths].

++++++++++++++

(iii) FTIR Reflectance spectra – Bruker Vertex 70

All spectra acquired at i=30°, e=0°; 7000-400 cm-1; 2 cm-1 resolution; 1500 spectra averaged.

ASB-J01a
PSF a1
Bulk sample; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J01b
PSF a2
Exterior of sample; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J01c
PSF a3
Interior of sample, orange; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J01d
PSF a4
Interior of sample, white; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J01e
PSF a5
Small chip with green endolith layer; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J02a
PSF ab1
White spot, small endolith inclusion; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J02b
PSF ab2
Mafic spot; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J04a
PSF ab3
Red-brown spot; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J04b
PSF ab4
White spot, no apparent endoliths; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J04c
PSF ab5
Green spot; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J05
PSF c3
White with orange discontinuous endolith layer; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J06
PSF a6
“Woolite” sample; light green serpentinite, tabular fragments (antigorite?); crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J07
PSF c6
Colonized little rocks, sample 1; crushed, unsorted fine powder [Directory: 131109endoliths].

ASB-J09
PSF c4
Fe precipitate, sample 2; crushed, unsorted fine powder [Directory: 131109endoliths].

+++++++++++++++++++++++++++++++++++++++++++++++++++
20.18.4a. Thetford Mines Area, QC, Canada – point spectra – spectral files
(i) Point spectra on whole rocks and powders for ASB100-ASB230. Note: also have accompanying photos of spots shot available. “Dot” indicates point in photo where spectrum as acquired (B:blue dot; G: green dot; R: red dot; Y:yellow dot).
ASB100-102-G
PSF 110217a.001
green spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).
++++++

ASB103-B
PSF 110217a.002
blue spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB104-R
PSF 110217a.003
green spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB150-G
PSF 150603.020
<400 µm powder from whole rock (aka “Woody”); green dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB150-Y
PSF 150603.021
<400 µm powder from whole rock; yellow dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB200-Y
PSF 110217a.004
average spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB201-G
PSF 110217a.005
light blue spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB201-B
PSF 110217a.006
gray spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB202
PSF 110217a.007
no description, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB203-R
PSF 110217a.008
light green spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB203-Y
PSF 110217a.009
dark green spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB203-G
PSF 110217a.010
black spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).
ASB203-G
PSF 150603.001
<400 µm powder from whole rock; green dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB203-R
PSF 150603.002
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB203-Y
PSF 150603.003
<400 µm powder from whole rock; yellow dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB204-B
PSF 110217a.011
average spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB205-R
PSF 110217a.012
pink spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB206
PSF 110217a.013
no description, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB207-Y1
PSF 110217a.014
brown spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB207-G
PSF 110217a.015
brown spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB207-B
PSF 110217a.016
reticulated surface spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB207-R
PSF 110217a.017
host rock spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

ASB207-Y2
PSF 110217a.018
blue-gray spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110217_asb).

++++++

ASB209-R
PSF 110218a.003
white spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB209-B
PSF 110218a.004
white spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB210-G
PSF 110218a.005
average spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB211-Y
PSF 110218a.006
white spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB212-R
PSF 110218a.007
green waxy spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB212-B
PSF 110218a.008
host rock spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB213-G
PSF 110218a.009
vein rock spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB213-Y
PSF 110218a.010
7.5 mm from vein (see above description) spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB213-R
PSF 110218a.011
15 mm from vein (see above description) spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB214-B
PSF 110218a.012
blue spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB214-G
PSF 110218a.013
blue spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB214-Y
PSF 110218a.014
weathered spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB214-R
PSF 110218a.015
host rock spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB215-B
PSF 110218a.016
average spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB216-G
PSF 110218a.017
vein spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB216-Y
PSF 110218a.018
vein spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB216-R
PSF 110218a.026
other spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB216-B
PSF 110218a.027
other spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB217-G
PSF 110218a.028
red spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB217-Y
PSF 110218a.029
white fluffy spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB217-R
PSF 110218a.030
host rock spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB218-B
PSF 110218a.031
medium green spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB218-G
PSF 110218a.032
white tip spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB219-225-Y
PSF 110218a.033
spot 1, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB219-225-R
PSF 110218a.034
spot 2, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB219-225-B
PSF 110218a.035
spot 3, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB219-225-G
PSF 110218a.036
spot 4, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB227
PSF 110218a.037
no description, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB228-Y
PSF 110218a.038
green spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++

ASB229-R
PSF 110218a.039
brown spot, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB229-B1
PSF 110218a.040
brown spot, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB229-G
PSF 110218a.041
white spot, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB229-Y1
PSF 110218a.042
white spot, yellow dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB229-Y2
PSF 111201a.001
whole rock, non-rusty surface, yellow dot; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

ASB229-B2
PSF 111201a.002
whole rock, rusty surface, blue dot; i=30, e=0; 0.35-2.5 μm; ASD; 1 nm output; 200 spectra averaged (Directory: 111201_optech).

ASB229
INO
whole rock;  i=30, e=0; 0.9-2.5 μm; INO Ocean Optics spectrometer; 6.5 nm output; 50 sets of 20 dark, 20 target spectra; 3 spectra acquired.
++++++
ASB230-R
PSF 110218a.043
spot 1, red dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB230-B
PSF 110218a.044
spot 2, blue dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

ASB230-G
PSF 110218a.045
spot 3, green dot, whole rock; 30°/0°; 0.35-2.5 μm; 1 nm output; 200 spectra averaged; ASD (directory 110218_asb).

++++++
ASB258
PSF 131020a.007
<45 μm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

ASB258
PSF 131021a.007
45-1000 μm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

++++++

ASB265
PSF 131020a.003
<45 μm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

ASB265
PSF 131021a.003
45-1000 μm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

++++++

ASB267
PSF 131020a.001
<45 μm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131020_serpentinites).

ASB267
PSF 131021a.001
45-1000 μm powder; i=30°, e=0°; 0.35-2.5 μm; 1 nm output; 100 W QTH light; ASD; 500 spectra averaged (directory: 131021serps).

++++++
ASB300-R
PSF 150603.004
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].

++++++

ASB306-R
PSF 150603.005
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB323-R
PSF 150603.006
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB326-R
PSF 150603.007
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB330-G
PSF 150603.008
<400 µm powder from whole rock; green dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB330-R
PSF 150603.009
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++
ASB601-R
PSF 150603.010
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
+++++

ASB605-R
PSF 150603.011
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB900-G
PSF 150603.012
<400 µm powder from whole rock; green dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB900-R
PSF 150603.003
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB900-Y
PSF 150603.014
<400 µm powder from whole rock; yellow dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++
ASB901-G
PSF 150603.015
<400 µm powder from whole rock; green dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB901-R
PSF 150603.016
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++

ASB902-G
PSF 150603.017
<400 µm powder from whole rock; green dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB902-R
PSF 150603.018
<400 µm powder from whole rock; red dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
ASB902-Y
PSF 150603.019
<400 µm powder from whole rock; yellow dot; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 200 spectra averaged; ASD [Directory: 150603 ASB].
++++++++++++++++++++++++++++++++
20.18.2d.2. Comparison of wet versus dry serpentinite samples
(variously saved as 110603a or 110602a)

ASB217
PSF 110603a.001
dry, dark green surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100W QTH light; 200 spectra averaged; ASD (directory: 110602_wet).

ASB217
PSF 110603a.002
wet, dark green surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100W QTH light; 200 spectra averaged; ASD (directory: 110602_wet).

ASB217
PSF 110603a.003
dry, whitish surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100W QTH light; 200 spectra averaged; ASD (directory: 110602_wet).

ASB217
PSF 110603a.004
wet, whitish surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100W QTH light; 200 spectra averaged; ASD (directory: 110602_wet).

ASB230
PSF 110603a.006
dry blue surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100W QTH light; 200 spectra averaged; ASD (directory: 110602_wet).

ASB230
PSF 110603a.007
wet blue surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; 100W QTH light; 200 spectra averaged; ASD (directory: 110602_wet).

+++++ Measured with plant probe+++++

ASB213
PSF 110603a.012
dry, dark green and orange surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB213
PSF 110603a.013
wet, dark green and orange surface; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB213
PSF 110603a.014
dry, white vein region; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB213
PSF 110603a.015
wet, white vein region; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB227
PSF 110603a.016
dry, fibrous muck; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB227
PSF 110603a.017
wet, fibrous muck; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB216
PSF 110603a.018
dry, green and white vein region; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB216
PSF 110603a.019
wet, green and white vein region with small puddle; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB216
PSF 110603a.020
wet, green and white vein region, puddle wiped up; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB219-225
PSF 110603a.021
dry, black and white vein region; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB219-225
PSF 110603a.022
wet, black and white vein region, with small pebble; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

ASB219-225
PSF 110603a.023
wet, black and white vein region, small puddle wiped up; i=30°, e=0°; 0.35-2.5 µm; 1 nm output; measured with ASD plant probe; 500 spectra avgd; ASD (directory: 110602_wet).

++++++++++++++++++++++++++++++++++++++++

20.18.2d.2-a. In-lab Raman spectra with BWTek iRaman instrument

Raman spectra: iRaman 532 instrument; 50 mW power, collection spot size ~80 μm; ~1 mm beam diameter; sampling volume: ~5 mm3; 174-4004 cm-1 range; 20 spectra averaged.

Legend: DH: David Hewson (operator); ITP: integration time powder (varying integration times for the same sample); P: powder; IT: integration time solid: varying integration time for the same sample); nothing: solid. Colours refer to points on the sample that were highlighted using coloured stickers and not the colour of the sample at that point. For integration time of solid surfaces, all were auto-integrated and if there was no appropriate integration time, the maximum (65535 msec) was used). The spectra labelled "TT" were used to examine how changing integration times changed the data. The colours refer to locations on the rock that were specified using colour stickers (not the colour of the rock).
Sample

PSF File



Description






i) Powdered samples

ASB200
DH-ITP-200-Red-100.txt
Powdered sample – red spot; 100 msec integration time; 100% laser power.
ASB200
DH-ITP-200-Red-200.txt
Powdered sample – red spot; 200 msec integration time; 100% laser power.

ASB200
DH-ITP-200-Red-300.txt
Powdered sample – red spot; 300 msec integration time; 100% laser power.

ASB200